## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-320_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-320_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-320_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-320_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_261-320_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_261-320_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_261-320_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_261-320_0_4_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_261-320_0_4_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_261-320_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_261-320_0_4_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_261-320_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_261-320_0_4_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_261-320_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_261-320_0_4_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_261-320_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_261-320_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_261-320_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_261-320_0_4_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_261-320_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_261-320_0_4_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_261-320_0_4_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_261-320_0_4_node_44 | 0.4 | n |  | TRUE
23 | bus_LV_261-320_0_4_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_261-320_0_4_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_261-320_0_4_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_261-320_0_4_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_261-320_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_261-320_0_4_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_261-320_0_4_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_261-320_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_261-320_0_4_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_261-320_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_261-320_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_261-320_0_4_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_261-320_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_261-320_0_4_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_261-320_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_261-320_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_261-320_0_4_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_261-320_0_4_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_261-320_0_4_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_261-320_0_4_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_261-320_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_261-320_0_4_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_261-320_0_4_node_47 | 0.4 | n |  | TRUE
46 | bus_MV_525_0_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-320_0_4_load_0 | 0 | 0.030407 | 0.0076206 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-320_0_4_load_1 | 1 | 0.016802 | 0.004211 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-320_0_4_load_4 | 3 | 0.020661 | 0.0051781 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-320_0_4_load_3 | 5 | 0.0093306 | 0.0023385 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-320_0_4_load_26 | 7 | 0.0079248 | 0.0019861 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-320_0_4_load_41 | 8 | 0.011272 | 0.0028249 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-320_0_4_load_29 | 12 | 0.015685 | 0.0039311 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-320_0_4_load_40 | 14 | 0.019248 | 0.0048239 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-320_0_4_load_45 | 18 | 0.004963 | 0.0012439 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-320_0_4_load_21 | 20 | 0.010741 | 0.002692 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-320_0_4_load_24 | 21 | 0.007974 | 0.0019985 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-320_0_4_load_44 | 22 | 0.004611 | 0.0011556 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-320_0_4_load_39 | 23 | 0.0087506 | 0.0021931 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-320_0_4_load_31 | 24 | 0.0089243 | 0.0022366 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-320_0_4_load_30 | 25 | 0.0028016 | 0.00070216 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-320_0_4_load_49 | 26 | 0.010359 | 0.0025963 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-320_0_4_load_34 | 29 | 0.0086433 | 0.0021662 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-320_0_4_load_25 | 30 | 0.0080115 | 0.0020079 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-320_0_4_load_42 | 31 | 0.0091627 | 0.0022964 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-320_0_4_load_33 | 33 | 0.0036948 | 0.000926 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-320_0_4_load_32 | 34 | 0.0048916 | 0.001226 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-320_0_4_load_43 | 36 | 0.0089213 | 0.0022359 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-320_0_4_load_37 | 37 | 0.0087501 | 0.002193 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-320_0_4_load_38 | 38 | 0.0087557 | 0.0021944 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-320_0_4_load_46 | 39 | 0.0032578 | 0.00081648 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-320_0_4_load_20 | 40 | 0.0089116 | 0.0022335 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-320_0_4_load_48 | 41 | 0.00499 | 0.0012506 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-320_0_4_load_23 | 42 | 0.0086914 | 0.0021783 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-320_0_4_load_35 | 43 | 0.039927 | 0.010007 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-320_0_4_load_22 | 44 | 0.0028713 | 0.00071962 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-320_0_4_load_47 | 45 | 0.0053225 | 0.001334 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-320_0_4_line_0 |  | 0 | 1 | 0.021349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-320_0_4_line_1 |  | 0 | 2 | 0.014213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-320_0_4_line_2 |  | 2 | 3 | 0.022552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-320_0_4_line_3 |  | 2 | 4 | 0.0093687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-320_0_4_line_4 |  | 4 | 7 | 0.022426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_261-320_0_4_line_5 |  | 4 | 8 | 0.012642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-320_0_4_line_6 |  | 5 | 6 | 0.014588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-320_0_4_line_7 |  | 6 | 22 | 0.021533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-320_0_4_line_8 |  | 6 | 19 | 0.0078101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-320_0_4_line_9 |  | 7 | 30 | 0.014627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_261-320_0_4_line_10 |  | 8 | 31 | 0.018477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-320_0_4_line_11 |  | 9 | 10 | 0.008044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-320_0_4_line_12 |  | 9 | 11 | 0.019364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-320_0_4_line_13 |  | 9 | 12 | 0.0089432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-320_0_4_line_14 |  | 10 | 29 | 0.0031296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-320_0_4_line_15 |  | 11 | 23 | 0.02405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-320_0_4_line_16 |  | 11 | 24 | 0.011676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-320_0_4_line_17 |  | 13 | 14 | 0.01543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-320_0_4_line_18 |  | 13 | 15 | 0.012082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-320_0_4_line_19 |  | 14 | 36 | 0.016533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-320_0_4_line_20 |  | 15 | 26 | 0.020276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-320_0_4_line_21 |  | 16 | 17 | 0.017209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-320_0_4_line_22 |  | 16 | 18 | 0.024196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-320_0_4_line_23 |  | 17 | 25 | 0.071297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-320_0_4_line_24 |  | 18 | 39 | 0.0089532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-320_0_4_line_25 |  | 19 | 20 | 0.01231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-320_0_4_line_26 |  | 19 | 21 | 0.024031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-320_0_4_line_27 |  | 20 | 40 | 0.017799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-320_0_4_line_28 |  | 21 | 30 | 0.014675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_261-320_0_4_line_29 |  | 22 | 41 | 0.014833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-320_0_4_line_30 |  | 23 | 38 | 0.016352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-320_0_4_line_31 |  | 24 | 42 | 0.016028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-320_0_4_line_32 |  | 25 | 35 | 0.018746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-320_0_4_line_33 |  | 26 | 27 | 0.0088845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-320_0_4_line_34 |  | 27 | 28 | 0.05493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-320_0_4_line_35 |  | 28 | 43 | 0.0052679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-320_0_4_line_36 |  | 31 | 36 | 0.016769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-320_0_4_line_37 |  | 32 | 33 | 0.026881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-320_0_4_line_38 |  | 32 | 34 | 0.0074406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-320_0_4_line_39 |  | 32 | 35 | 0.050722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-320_0_4_line_40 |  | 37 | 38 | 0.016346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-320_0_4_line_41 |  | 39 | 45 | 0.011825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-320_0_4_line_42 |  | 40 | 44 | 0.011428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-320_0_4_line_43 |  | 41 | 45 | 0.014284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-320_0_4_line_44 |  | 42 | 44 | 0.0050086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-320_0_4_trafo_26 | 0.63 MVA 20/0.4 kV | 46 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2680944.3777 | 1247893.9981 | 2680930.2436 | 1247877.9981
1 | 2680953.1164 | 1247905.0008 | 2680952.7445 | 1247903.4724 | 2680951.7032 | 1247902.2907 | 2680944.3777 | 1247893.9981
2 | 2680953.1164 | 1247905.0008 | 2680952.8024 | 1247906.4198 | 2680951.9182 | 1247907.5641 | 2680936.5841 | 1247919.8554
3 | 2680953.1164 | 1247905.0008 | 2680957.0149 | 1247901.596 | 2680960.1719 | 1247898.8371
4 | 2680960.1719 | 1247898.8371 | 2680959.2254 | 1247898.4572 | 2680958.4181 | 1247897.8457 | 2680944.8811 | 1247882.5927
5 | 2680960.1719 | 1247898.8371 | 2680961.5304 | 1247898.9112 | 2680962.8274 | 1247898.5175 | 2680963.8963 | 1247897.676 | 2680970.5377 | 1247892.2663
6 | 2680903.8102 | 1247848.0752 | 2680913.4684 | 1247859.0083
7 | 2680903.8102 | 1247848.0752 | 2680888.2053 | 1247862.913
8 | 2680903.8102 | 1247848.0752 | 2680906.6415 | 1247845.3896 | 2680909.4803 | 1247842.7041
9 | 2680935.1723 | 1247871.6532 | 2680944.8811 | 1247882.5927
10 | 2680970.5377 | 1247892.2663 | 2680984.8635 | 1247880.5974
11 | 2680960.392 | 1247774.3712 | 2680954.4861 | 1247779.8501
12 | 2680954.4861 | 1247779.8501 | 2680961.1818 | 1247786.7688 | 2680966.2986 | 1247792.0536 | 2680964.0087 | 1247792.7006
13 | 2680954.4861 | 1247779.8501 | 2680947.8437 | 1247785.8383
14 | 2680960.392 | 1247774.3712 | 2680959.0072 | 1247772.8956 | 2680958.2473 | 1247772.092
15 | 2680964.0087 | 1247792.7006 | 2680980.589 | 1247810.122
16 | 2680964.0087 | 1247792.7006 | 2680961.7113 | 1247793.3475 | 2680954.9596 | 1247799.7276
17 | 2681022.6476 | 1247849.8211 | 2681010.6841 | 1247859.5657
18 | 2681022.6476 | 1247849.8211 | 2681027.6664 | 1247855.0824 | 2681030.9874 | 1247858.5637
19 | 2681010.6841 | 1247859.5657 | 2680997.8656 | 1247870.0068
20 | 2681030.9874 | 1247858.5637 | 2681015.0967 | 1247871.1575
21 | 2680822.5822 | 1247908.6786 | 2680827.4967 | 1247913.8382 | 2680830.7849 | 1247917.5191 | 2680834.5116 | 1247913.9673
22 | 2680834.5116 | 1247913.9673 | 2680852.0466 | 1247897.2943
23 | 2680822.5822 | 1247908.6786 | 2680825.0355 | 1247906.566 | 2680825.5915 | 1247907.3297 | 2680826.2595 | 1247907.6391 | 2680827.1677 | 1247907.5069 | 2680874.6084 | 1247862.4021
24 | 2680852.0466 | 1247897.2943 | 2680858.5349 | 1247891.1249
25 | 2680909.4803 | 1247842.7041 | 2680918.4277 | 1247834.2492
26 | 2680909.4803 | 1247842.7041 | 2680925.4313 | 1247860.6773
27 | 2680931.3642 | 1247822.0245 | 2680918.4277 | 1247834.2492
28 | 2680935.1723 | 1247871.6532 | 2680925.4313 | 1247860.6773
29 | 2680877.4556 | 1247873.1342 | 2680888.2053 | 1247862.913
30 | 2680980.589 | 1247810.122 | 2680991.8622 | 1247821.9671
31 | 2680954.9596 | 1247799.7276 | 2680943.3104 | 1247810.7358
32 | 2680888.1941 | 1247849.4854 | 2680874.6084 | 1247862.4021
33 | 2681008.1338 | 1247876.6758 | 2681015.0967 | 1247871.1575
34 | 2681026.1263 | 1247920.765 | 2681033.2989 | 1247911.5674 | 2681025.5011 | 1247899.6521 | 2681015.6608 | 1247889.6214 | 2681008.1338 | 1247876.6758
35 | 2681026.1263 | 1247920.765 | 2681021.4956 | 1247923.2766
36 | 2680997.8656 | 1247870.0068 | 2680984.8635 | 1247880.5974
37 | 2680852.3196 | 1247848.7734 | 2680847.7918 | 1247844.0527 | 2680842.9553 | 1247848.6679 | 2680833.4974 | 1247838.8185
38 | 2680852.3196 | 1247848.7734 | 2680857.4696 | 1247854.1437
39 | 2680888.1941 | 1247849.4854 | 2680885.559 | 1247846.6474 | 2680870.7994 | 1247831.2348 | 2680869.5147 | 1247832.9408 | 2680852.3196 | 1247848.7734
40 | 2680991.8622 | 1247821.9671 | 2681003.131 | 1247833.8075
41 | 2680858.5349 | 1247891.1249 | 2680867.1042 | 1247882.9769
42 | 2680931.3642 | 1247822.0245 | 2680939.67 | 1247814.1758
43 | 2680867.1042 | 1247882.9769 | 2680877.4556 | 1247873.1342
44 | 2680943.3104 | 1247810.7358 | 2680939.67 | 1247814.1758

## bus_geodata
| x | y | coords
0 | 2680944.3777 | 1247893.9981
1 | 2680930.2436 | 1247877.9981
2 | 2680953.1164 | 1247905.0008
3 | 2680936.5841 | 1247919.8554
4 | 2680960.1719 | 1247898.8371
5 | 2680913.4684 | 1247859.0083
6 | 2680903.8102 | 1247848.0752
7 | 2680944.8811 | 1247882.5927
8 | 2680970.5377 | 1247892.2663
9 | 2680954.4861 | 1247779.8501
10 | 2680960.392 | 1247774.3712
11 | 2680964.0087 | 1247792.7006
12 | 2680947.8437 | 1247785.8383
13 | 2681022.6476 | 1247849.8211
14 | 2681010.6841 | 1247859.5657
15 | 2681030.9874 | 1247858.5637
16 | 2680834.5116 | 1247913.9673
17 | 2680822.5822 | 1247908.6786
18 | 2680852.0466 | 1247897.2943
19 | 2680909.4803 | 1247842.7041
20 | 2680918.4277 | 1247834.2492
21 | 2680925.4313 | 1247860.6773
22 | 2680888.2053 | 1247862.913
23 | 2680980.589 | 1247810.122
24 | 2680954.9596 | 1247799.7276
25 | 2680874.6084 | 1247862.4021
26 | 2681015.0967 | 1247871.1575
27 | 2681008.1338 | 1247876.6758
28 | 2681026.1263 | 1247920.765
29 | 2680958.2473 | 1247772.092
30 | 2680935.1723 | 1247871.6532
31 | 2680984.8635 | 1247880.5974
32 | 2680852.3196 | 1247848.7734
33 | 2680833.4974 | 1247838.8185
34 | 2680857.4696 | 1247854.1437
35 | 2680888.1941 | 1247849.4854
36 | 2680997.8656 | 1247870.0068
37 | 2681003.131 | 1247833.8075
38 | 2680991.8622 | 1247821.9671
39 | 2680858.5349 | 1247891.1249
40 | 2680931.3642 | 1247822.0245
41 | 2680877.4556 | 1247873.1342
42 | 2680943.3104 | 1247810.7358
43 | 2681021.4956 | 1247923.2766
44 | 2680939.67 | 1247814.1758
45 | 2680867.1042 | 1247882.9769
46 | 2680960.1719 | 1247898.8371

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99711 | -0.055532 | 0.030407 | 0.0076206
1 | 0.99678 | -0.061822 | 0.016802 | 0.004211
2 | 0.99772 | -0.043776 | 0 | 0
3 | 0.99729 | -0.051938 | 0.020661 | 0.0051781
4 | 0.99829 | -0.032649 | 0 | 0
5 | 0.99464 | -0.1027 | 0.0093306 | 0.0023385
6 | 0.99477 | -0.1003 | 0 | 0
7 | 1 | 0 | -0.32096 | -0.080787
8 | 0.99715 | -0.05454 | 0.011272 | 0.0028249
9 | 0.98985 | -0.19531 | 0 | 0
10 | 0.98979 | -0.19655 | 0 | 0
11 | 0.99028 | -0.18694 | 0 | 0
12 | 0.98972 | -0.19781 | 0.015685 | 0.0039311
13 | 0.9927 | -0.14012 | 0 | 0
14 | 0.99341 | -0.1264 | 0.019248 | 0.0048239
15 | 0.99214 | -0.15087 | 0 | 0
16 | 0.99276 | -0.1391 | 0 | 0
17 | 0.99258 | -0.14257 | 0 | 0
18 | 0.99301 | -0.13422 | 0.004963 | 0.0012439
19 | 0.99508 | -0.094271 | 0 | 0
20 | 0.99406 | -0.11395 | 0.010741 | 0.002692
21 | 0.99804 | -0.037503 | 0.007974 | 0.0019985
22 | 0.99409 | -0.11341 | 0.004611 | 0.0011556
23 | 0.9897 | -0.19817 | 0.0087506 | 0.0021931
24 | 0.99082 | -0.17644 | 0.0089243 | 0.0022366
25 | 0.99184 | -0.15695 | 0.0028016 | 0.00070216
26 | 0.99121 | -0.16894 | 0.010359 | 0.0025963
27 | 0.99088 | -0.17524 | 0 | 0
28 | 0.98887 | -0.21425 | 0 | 0
29 | 0.98976 | -0.19703 | 0.0086433 | 0.0021662
30 | 0.99899 | -0.019215 | 0.0080115 | 0.0020079
31 | 0.99567 | -0.082961 | 0.0091627 | 0.0022964
32 | 0.99129 | -0.16752 | 0 | 0
33 | 0.9912 | -0.16929 | 0.0036948 | 0.000926
34 | 0.99126 | -0.16817 | 0.0048916 | 0.001226
35 | 0.99169 | -0.1598 | 0 | 0
36 | 0.99446 | -0.10612 | 0.0089213 | 0.0022359
37 | 0.98931 | -0.20581 | 0.0087501 | 0.002193
38 | 0.98944 | -0.20326 | 0.0087557 | 0.0021944
39 | 0.99314 | -0.13164 | 0.0032578 | 0.00081648
40 | 0.99275 | -0.1391 | 0.0089116 | 0.0022335
41 | 0.99368 | -0.12125 | 0.00499 | 0.0012506
42 | 0.9917 | -0.15952 | 0.0086914 | 0.0021783
43 | 0.98868 | -0.218 | 0.039927 | 0.010007
44 | 0.99201 | -0.15347 | 0.0028713 | 0.00071962
45 | 0.99336 | -0.12754 | 0.0053225 | 0.001334
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.016807 | 0.0042139 | -0.016802 | -0.004211 | 5.0367e-06 | 2.9451e-06 | 0.025082 | 0.025083 | 0.025083 | 0.99711 | -0.055532 | 0.99678 | -0.061822 | 6.8908
1 | -0.047214 | -0.011835 | 0.04724 | 0.011851 | 2.646e-05 | 1.6749e-05 | 0.070459 | 0.070459 | 0.070459 | 0.99711 | -0.055532 | 0.99772 | -0.043776 | 19.357
2 | 0.020669 | 0.005183 | -0.020661 | -0.0051781 | 8.0368e-06 | 4.8492e-06 | 0.030827 | 0.030827 | 0.030827 | 0.99772 | -0.043776 | 0.99729 | -0.051938 | 8.4691
3 | -0.067909 | -0.017034 | 0.067945 | 0.017057 | 3.6042e-05 | 2.2945e-05 | 0.10129 | 0.10129 | 0.10129 | 0.99772 | -0.043776 | 0.99829 | -0.032649 | 27.826
4 | -0.16741 | -0.042207 | 0.16767 | 0.042374 | 0.00026202 | 0.0001671 | 0.24962 | 0.24962 | 0.24962 | 0.99829 | -0.032649 | 1 | 0 | 34.2889
5 | 0.099465 | 0.02515 | -0.099361 | -0.025083 | 0.00010432 | 6.6597e-05 | 0.14834 | 0.14834 | 0.14834 | 0.99829 | -0.032649 | 0.99715 | -0.05454 | 40.7519
6 | -0.0093306 | -0.0023385 | 0.0093317 | 0.002339 | 1.0659e-06 | 4.9284e-07 | 0.013959 | 0.013959 | 0.013959 | 0.99464 | -0.1027 | 0.99477 | -0.1003 | 3.8349
7 | 0.034596 | 0.0086914 | -0.034574 | -0.0086779 | 2.1631e-05 | 1.3565e-05 | 0.051757 | 0.051757 | 0.051757 | 0.99477 | -0.1003 | 0.99409 | -0.11341 | 14.219
8 | -0.043927 | -0.01103 | 0.04394 | 0.011038 | 1.2648e-05 | 7.9935e-06 | 0.065716 | 0.065716 | 0.065716 | 0.99477 | -0.1003 | 0.99508 | -0.094271 | 18.0539
9 | 0.15164 | 0.038412 | -0.1515 | -0.038323 | 0.00013981 | 8.9094e-05 | 0.22579 | 0.22579 | 0.22579 | 1 | 0 | 0.99899 | -0.019215 | 31.0145
10 | 0.088089 | 0.022258 | -0.087969 | -0.022182 | 0.00011984 | 7.646e-05 | 0.13152 | 0.13152 | 0.13152 | 0.99715 | -0.05454 | 0.99567 | -0.082961 | 36.1309
11 | 0.008644 | 0.0021665 | -0.0086435 | -0.0021663 | 5.0935e-07 | 2.2259e-07 | 0.012994 | 0.012994 | 0.012994 | 0.98985 | -0.19531 | 0.98979 | -0.19655 | 3.5699
12 | -0.024331 | -0.0060987 | 0.024341 | 0.0061047 | 9.7146e-06 | 5.9683e-06 | 0.036577 | 0.036577 | 0.036577 | 0.98985 | -0.19531 | 0.99028 | -0.18694 | 10.0485
13 | 0.015687 | 0.0039322 | -0.015685 | -0.0039311 | 1.8651e-06 | 1.0787e-06 | 0.023582 | 0.023582 | 0.023582 | 0.98985 | -0.19531 | 0.98972 | -0.19781 | 6.4786
14 | 0.0086435 | 0.0021663 | -0.0086433 | -0.0021662 | 1.9817e-07 | 8.6604e-08 | 0.012994 | 0.012994 | 0.012994 | 0.98979 | -0.19655 | 0.98976 | -0.19703 | 3.5699
15 | 0.026276 | 0.0065921 | -0.026262 | -0.0065834 | 1.4061e-05 | 8.6897e-06 | 0.039485 | 0.039485 | 0.039485 | 0.99028 | -0.18694 | 0.9897 | -0.19817 | 10.8475
16 | -0.050617 | -0.012697 | 0.050642 | 0.012713 | 2.5331e-05 | 1.6062e-05 | 0.076061 | 0.076061 | 0.076061 | 0.99028 | -0.18694 | 0.99082 | -0.17644 | 20.896
17 | -0.050449 | -0.012706 | 0.050482 | 0.012727 | 3.3108e-05 | 2.099e-05 | 0.075643 | 0.075643 | 0.075643 | 0.9927 | -0.14012 | 0.99341 | -0.1264 | 20.7812
18 | 0.050449 | 0.012706 | -0.050423 | -0.01269 | 2.5926e-05 | 1.6436e-05 | 0.075643 | 0.075644 | 0.075644 | 0.9927 | -0.14012 | 0.99214 | -0.15087 | 20.7812
19 | -0.06973 | -0.017551 | 0.069798 | 0.017594 | 6.767e-05 | 4.3094e-05 | 0.10447 | 0.10447 | 0.10447 | 0.99341 | -0.1264 | 0.99446 | -0.10612 | 28.7017
20 | 0.050423 | 0.01269 | -0.05038 | -0.012662 | 4.3507e-05 | 2.7583e-05 | 0.075644 | 0.075644 | 0.075644 | 0.99214 | -0.15087 | 0.99121 | -0.16894 | 20.7812
21 | 0.011402 | 0.0028609 | -0.011401 | -0.0028599 | 1.8853e-06 | 9.8413e-07 | 0.017092 | 0.017092 | 0.017092 | 0.99276 | -0.1391 | 0.99258 | -0.14257 | 4.6956
22 | -0.011402 | -0.0028609 | 0.011405 | 0.0028623 | 2.6507e-06 | 1.3835e-06 | 0.017092 | 0.017092 | 0.017092 | 0.99276 | -0.1391 | 0.99301 | -0.13422 | 4.6956
23 | 0.011401 | 0.0028599 | -0.011393 | -0.0028558 | 7.8108e-06 | 4.0781e-06 | 0.017092 | 0.017092 | 0.017092 | 0.99258 | -0.14257 | 0.99184 | -0.15695 | 4.6957
24 | -0.016368 | -0.0041061 | 0.01637 | 0.0041073 | 2.0201e-06 | 1.177e-06 | 0.024529 | 0.024529 | 0.024529 | 0.99301 | -0.13422 | 0.99314 | -0.13164 | 6.7387
25 | 0.091081 | 0.022963 | -0.090995 | -0.022909 | 8.5696e-05 | 5.4685e-05 | 0.13625 | 0.13625 | 0.13625 | 0.99508 | -0.094271 | 0.99406 | -0.11395 | 37.4308
26 | -0.13502 | -0.034002 | 0.13539 | 0.034237 | 0.00036757 | 0.00023493 | 0.20196 | 0.20196 | 0.20196 | 0.99508 | -0.094271 | 0.99804 | -0.037503 | 55.4846
27 | 0.080254 | 0.020217 | -0.080157 | -0.020155 | 9.6385e-05 | 6.1456e-05 | 0.12017 | 0.12017 | 0.12017 | 0.99406 | -0.11395 | 0.99275 | -0.1391 | 33.0136
28 | -0.14336 | -0.036235 | 0.14349 | 0.036315 | 0.00012584 | 8.0152e-05 | 0.21385 | 0.21385 | 0.21385 | 0.99804 | -0.037503 | 0.99899 | -0.019215 | 29.3754
29 | 0.029963 | 0.0075222 | -0.029952 | -0.0075153 | 1.1192e-05 | 6.9705e-06 | 0.044855 | 0.044855 | 0.044855 | 0.99409 | -0.11341 | 0.99368 | -0.12125 | 12.3229
30 | 0.017511 | 0.0043903 | -0.017507 | -0.0043878 | 4.2507e-06 | 2.5103e-06 | 0.026328 | 0.026328 | 0.026328 | 0.9897 | -0.19817 | 0.98944 | -0.20326 | 7.2331
31 | -0.059566 | -0.014949 | 0.059614 | 0.01498 | 4.8105e-05 | 3.0581e-05 | 0.089464 | 0.089464 | 0.089464 | 0.99082 | -0.17644 | 0.9917 | -0.15952 | 24.578
32 | 0.0085912 | 0.0021537 | -0.00859 | -0.0021532 | 1.1679e-06 | 5.0553e-07 | 0.012889 | 0.012889 | 0.012889 | 0.99184 | -0.15695 | 0.99169 | -0.1598 | 3.541
33 | 0.040021 | 0.010066 | -0.040009 | -0.010058 | 1.2031e-05 | 7.5853e-06 | 0.060092 | 0.060092 | 0.060092 | 0.99121 | -0.16894 | 0.99088 | -0.17524 | 16.5089
34 | 0.040009 | 0.010058 | -0.039934 | -0.010011 | 7.4384e-05 | 4.69e-05 | 0.060092 | 0.060093 | 0.060093 | 0.99088 | -0.17524 | 0.98887 | -0.21425 | 16.5089
35 | 0.039934 | 0.010011 | -0.039927 | -0.010007 | 7.1336e-06 | 4.4979e-06 | 0.060093 | 0.060093 | 0.060093 | 0.98887 | -0.21425 | 0.98868 | -0.218 | 16.5089
36 | 0.078806 | 0.019886 | -0.078719 | -0.01983 | 8.7299e-05 | 5.5654e-05 | 0.11782 | 0.11782 | 0.11782 | 0.99567 | -0.082961 | 0.99446 | -0.10612 | 32.369
37 | 0.0036951 | 0.00092585 | -0.0036948 | -0.000926 | 3.1013e-07 | -1.4804e-07 | 0.0055466 | 0.0055467 | 0.0055467 | 0.99129 | -0.16752 | 0.9912 | -0.16929 | 1.5238
38 | 0.0048917 | 0.001226 | -0.0048916 | -0.001226 | 1.5045e-07 | 3.6639e-10 | 0.0073429 | 0.007343 | 0.007343 | 0.99129 | -0.16752 | 0.99126 | -0.16817 | 2.0173
39 | -0.0085868 | -0.0021518 | 0.00859 | 0.0021532 | 3.1601e-06 | 1.3683e-06 | 0.01289 | 0.012889 | 0.01289 | 0.99129 | -0.16752 | 0.99169 | -0.1598 | 3.5411
40 | -0.0087501 | -0.002193 | 0.0087511 | 0.0021934 | 1.0617e-06 | 4.6958e-07 | 0.013161 | 0.013161 | 0.013161 | 0.98931 | -0.20581 | 0.98944 | -0.20326 | 3.6156
41 | -0.019628 | -0.0049238 | 0.019632 | 0.0049261 | 3.8354e-06 | 2.3016e-06 | 0.02941 | 0.02941 | 0.02941 | 0.99314 | -0.13164 | 0.99336 | -0.12754 | 8.0797
42 | 0.071246 | 0.017922 | -0.071197 | -0.017891 | 4.8891e-05 | 3.1142e-05 | 0.10681 | 0.10681 | 0.10681 | 0.99275 | -0.1391 | 0.99201 | -0.15347 | 29.344
43 | 0.024962 | 0.0062646 | -0.024954 | -0.00626 | 7.4856e-06 | 4.6058e-06 | 0.037383 | 0.037383 | 0.037383 | 0.99368 | -0.12125 | 0.99336 | -0.12754 | 10.27
44 | -0.068306 | -0.017158 | 0.068325 | 0.017171 | 1.9735e-05 | 1.2566e-05 | 0.10251 | 0.1025 | 0.10251 | 0.9917 | -0.15952 | 0.99201 | -0.15347 | 28.1607

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.32889 | 0.082773

## res_load
| p_mw | q_mvar
0 | 0.030407 | 0.0076206
1 | 0.016802 | 0.004211
2 | 0.020661 | 0.0051781
3 | 0.0093306 | 0.0023385
4 | 0.0079248 | 0.0019861
5 | 0.011272 | 0.0028249
6 | 0.015685 | 0.0039311
7 | 0.019248 | 0.0048239
8 | 0.004963 | 0.0012439
9 | 0.010741 | 0.002692
10 | 0.007974 | 0.0019985
11 | 0.004611 | 0.0011556
12 | 0.0087506 | 0.0021931
13 | 0.0089243 | 0.0022366
14 | 0.0028016 | 0.00070216
15 | 0.010359 | 0.0025963
16 | 0.0086433 | 0.0021662
17 | 0.0080115 | 0.0020079
18 | 0.0091627 | 0.0022964
19 | 0.0036948 | 0.000926
20 | 0.0048916 | 0.001226
21 | 0.0089213 | 0.0022359
22 | 0.0087501 | 0.002193
23 | 0.0087557 | 0.0021944
24 | 0.0032578 | 0.00081648
25 | 0.0089116 | 0.0022335
26 | 0.00499 | 0.0012506
27 | 0.0086914 | 0.0021783
28 | 0.039927 | 0.010007
29 | 0.0028713 | 0.00071962
30 | 0.0053225 | 0.001334

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1