## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-321_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-321_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-321_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-321_0_4_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_261-321_0_4_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_261-321_0_4_node_37 | 0.4 | n |  | TRUE
6 | bus_LV_261-321_0_4_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_261-321_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_261-321_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_261-321_0_4_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_261-321_0_4_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_261-321_0_4_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_261-321_0_4_node_38 | 0.4 | n |  | TRUE
13 | bus_LV_261-321_0_4_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_261-321_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_261-321_0_4_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_261-321_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_261-321_0_4_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_261-321_0_4_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_261-321_0_4_node_6 | 0.4 | n |  | TRUE
20 | bus_LV_261-321_0_4_node_4 | 0.4 | n |  | TRUE
21 | bus_LV_261-321_0_4_node_7 | 0.4 | n |  | TRUE
22 | bus_LV_261-321_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_261-321_0_4_node_5 | 0.4 | n |  | TRUE
24 | bus_LV_261-321_0_4_node_8 | 0.4 | n |  | TRUE
25 | bus_LV_261-321_0_4_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_261-321_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_261-321_0_4_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_261-321_0_4_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_261-321_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_261-321_0_4_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_261-321_0_4_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_261-321_0_4_node_3 | 0.4 | n |  | TRUE
33 | bus_LV_261-321_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_261-321_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_261-321_0_4_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_261-321_0_4_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_261-321_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_MV_525_0_node_146 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-321_0_4_load_0 | 0 | 0.0080294 | 0.0020123 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-321_0_4_load_1 | 1 | 0.018198 | 0.0045607 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-321_0_4_load_37 | 5 | 0.0095744 | 0.0023996 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-321_0_4_load_30 | 9 | 0.01855 | 0.004649 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-321_0_4_load_36 | 10 | 0.021008 | 0.0052651 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-321_0_4_load_38 | 12 | 0.011071 | 0.0027746 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-321_0_4_load_33 | 13 | 0.0084407 | 0.0021154 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-321_0_4_load_26 | 15 | 0.041345 | 0.010362 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-321_0_4_load_41 | 17 | 0.012349 | 0.003095 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-321_0_4_load_40 | 18 | 0.010368 | 0.0025986 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-321_0_4_load_4 | 20 | 0.0067415 | 0.0016896 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-321_0_4_load_5 | 23 | 0.0064751 | 0.0016228 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-321_0_4_load_8 | 24 | 0.01609 | 0.0040326 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-321_0_4_load_27 | 25 | 0.0081252 | 0.0020364 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-321_0_4_load_31 | 27 | 0.0073393 | 0.0018394 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-321_0_4_load_28 | 28 | 0.0085108 | 0.002133 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-321_0_4_load_34 | 30 | 0.0097699 | 0.0024486 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-321_0_4_load_32 | 31 | 0.0084692 | 0.0021226 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-321_0_4_load_3 | 32 | 0.046683 | 0.0117 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-321_0_4_load_29 | 33 | 0.0069033 | 0.0017301 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-321_0_4_load_25 | 34 | 0.019049 | 0.0047741 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-321_0_4_load_42 | 35 | 0.0076034 | 0.0019056 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-321_0_4_load_39 | 36 | 0.0073345 | 0.0018382 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-321_0_4_load_35 | 37 | 0.0079715 | 0.0019979 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-321_0_4_line_0 |  | 0 | 1 | 0.00071813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-321_0_4_line_1 |  | 1 | 2 | 0.013897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-321_0_4_line_2 |  | 2 | 3 | 0.04397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_261-321_0_4_line_3 |  | 3 | 24 | 0.015607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-321_0_4_line_4 |  | 3 | 8 | 0.013646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_261-321_0_4_line_5 |  | 3 | 14 | 0.030668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-321_0_4_line_6 |  | 3 | 16 | 0.051111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-321_0_4_line_7 |  | 4 | 5 | 0.0091477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-321_0_4_line_8 |  | 4 | 6 | 0.002642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-321_0_4_line_9 |  | 4 | 7 | 0.0097496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-321_0_4_line_10 |  | 5 | 37 | 0.016003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-321_0_4_line_11 |  | 6 | 13 | 0.025663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-321_0_4_line_12 |  | 6 | 11 | 0.0093919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-321_0_4_line_13 |  | 7 | 19 | 0.036883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-321_0_4_line_14 |  | 8 | 9 | 0.026031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_261-321_0_4_line_15 |  | 8 | 10 | 0.017105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-321_0_4_line_16 |  | 9 | 33 | 0.015478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_261-321_0_4_line_17 |  | 11 | 12 | 0.010953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-321_0_4_line_18 |  | 13 | 31 | 0.015982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-321_0_4_line_19 |  | 14 | 15 | 0.010599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-321_0_4_line_20 |  | 15 | 34 | 0.015082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-321_0_4_line_21 |  | 16 | 17 | 0.014882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-321_0_4_line_22 |  | 16 | 18 | 0.028766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-321_0_4_line_23 |  | 17 | 35 | 0.019772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-321_0_4_line_24 |  | 19 | 20 | 0.028344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-321_0_4_line_25 |  | 20 | 32 | 0.018029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-321_0_4_line_26 |  | 21 | 22 | 0.13104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-321_0_4_line_27 |  | 21 | 23 | 0.053236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-321_0_4_line_28 |  | 22 | 25 | 0.030438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-321_0_4_line_29 |  | 23 | 32 | 0.039608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-321_0_4_line_30 |  | 26 | 27 | 0.017258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_261-321_0_4_line_31 |  | 26 | 28 | 0.0097993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_261-321_0_4_line_32 |  | 27 | 36 | 0.013784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-321_0_4_line_33 |  | 28 | 33 | 0.016686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_261-321_0_4_line_34 |  | 29 | 30 | 0.012573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-321_0_4_line_35 |  | 29 | 31 | 0.023452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-321_0_4_line_36 |  | 30 | 36 | 0.015527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-321_0_4_trafo_2 | 0.63 MVA 20/0.4 kV | 38 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2680796.097 | 1247962.6902 | 2680796.5862 | 1247963.216
1 | 2680786.6371 | 1247952.5098 | 2680792.8599 | 1247959.2106 | 2680796.097 | 1247962.6902
2 | 2680754.2236 | 1247976.6527 | 2680758.2875 | 1247979.3878 | 2680774.2554 | 1247963.7827 | 2680786.6371 | 1247952.5098
3 | 2680754.2236 | 1247976.6527 | 2680765.5624 | 1247965.9291
4 | 2680754.2236 | 1247976.6527 | 2680758.2875 | 1247979.3878 | 2680765.5395 | 1247984.279
5 | 2680729.254 | 1247967.784 | 2680738.8202 | 1247978.5554 | 2680742.5804 | 1247979.7408 | 2680746.3637 | 1247979.7924 | 2680750.0236 | 1247978.9193 | 2680754.2236 | 1247976.6527
6 | 2680740.825 | 1247999.3757 | 2680731.9103 | 1247997.3306 | 2680734.8699 | 1247994.0908 | 2680738.5101 | 1247992.4391 | 2680741.1502 | 1247990.4736 | 2680750.1391 | 1247993.1647 | 2680758.2875 | 1247979.3878 | 2680754.2236 | 1247976.6527
7 | 2680825.7807 | 1247922.2544 | 2680819.1408 | 1247928.5466
8 | 2680825.7807 | 1247922.2544 | 2680827.7013 | 1247920.4348
9 | 2680819.2862 | 1247914.9827 | 2680822.4552 | 1247918.5396 | 2680825.7807 | 1247922.2544
10 | 2680807.5247 | 1247939.5544 | 2680819.1408 | 1247928.5466
11 | 2680827.7013 | 1247920.4348 | 2680844.5732 | 1247939.7722
12 | 2680827.7013 | 1247920.4348 | 2680830.7849 | 1247917.5191 | 2680834.5116 | 1247913.9673
13 | 2680802.96 | 1247888.1629 | 2680816.7514 | 1247902.5836 | 2680821.4577 | 1247907.5069 | 2680822.5822 | 1247908.6786 | 2680820.7862 | 1247910.2219 | 2680821.5233 | 1247910.9992 | 2680821.8137 | 1247911.8593 | 2680821.6201 | 1247912.7685 | 2680819.2862 | 1247914.9827
14 | 2680765.5395 | 1247984.279 | 2680767.4725 | 1247987.0852 | 2680769.7948 | 1247989.5964 | 2680771.0792 | 1247990.6702 | 2680779.6535 | 1247994.412 | 2680787.4463 | 1247996.8773
15 | 2680765.5395 | 1247984.279 | 2680765.8111 | 1247980.9803 | 2680767.0538 | 1247977.9061 | 2680774.6606 | 1247970.6976
16 | 2680787.4463 | 1247996.8773 | 2680802.2037 | 1248001.5459
17 | 2680834.5116 | 1247913.9673 | 2680842.4491 | 1247906.42
18 | 2680844.5732 | 1247939.7722 | 2680855.0805 | 1247951.8149
19 | 2680729.254 | 1247967.784 | 2680723.1748 | 1247959.1012
20 | 2680723.1748 | 1247959.1012 | 2680714.5244 | 1247946.746
21 | 2680740.825 | 1247999.3757 | 2680738.9752 | 1248002.097 | 2680729.9106 | 1248009.3223
22 | 2680740.825 | 1247999.3757 | 2680747.1435 | 1248000.7183 | 2680755.9297 | 1248002.7617 | 2680768.6118 | 1248006.7193
23 | 2680729.9106 | 1248009.3223 | 2680714.4494 | 1248021.6464
24 | 2680802.96 | 1247888.1629 | 2680781.9957 | 1247907.238
25 | 2680764.5063 | 1247906.0299 | 2680770.2577 | 1247907.9763 | 2680775.9392 | 1247908.4096 | 2680781.5768 | 1247907.6191 | 2680781.9957 | 1247907.238
26 | 2680688.3866 | 1247858.4367 | 2680701.2978 | 1247844.8913 | 2680732.5503 | 1247814.5278 | 2680764.2387 | 1247784.3483 | 2680768.0722 | 1247780.7201 | 2680771.0762 | 1247778.1035 | 2680782.4705 | 1247767.2619
27 | 2680688.3866 | 1247858.4367 | 2680698.9767 | 1247871.1345 | 2680707.3235 | 1247877.7307 | 2680715.0815 | 1247881.5279 | 2680727.3839 | 1247883.2856 | 2680732.2664 | 1247884.3563
28 | 2680782.4705 | 1247767.2619 | 2680803.1613 | 1247789.5858
29 | 2680764.5063 | 1247906.0299 | 2680764.5063 | 1247906.0299 | 2680750.1052 | 1247893.1132 | 2680745.1091 | 1247888.9421 | 2680739.1691 | 1247885.8701 | 2680732.2664 | 1247884.3563
30 | 2680827.5963 | 1248008.9759 | 2680833.8116 | 1248002.378 | 2680840.184 | 1247997.2275
31 | 2680827.5963 | 1248008.9759 | 2680822.8128 | 1248008.0656 | 2680818.1124 | 1248006.5787
32 | 2680850.9044 | 1247988.5625 | 2680840.184 | 1247997.2275
33 | 2680818.1124 | 1248006.5787 | 2680802.2037 | 1248001.5459
34 | 2680870.3004 | 1247969.6293 | 2680870.5391 | 1247970.9558 | 2680870.3019 | 1247972.2868 | 2680869.6216 | 1247973.434 | 2680862.9799 | 1247978.8022
35 | 2680870.3004 | 1247969.6293 | 2680869.6064 | 1247968.4634 | 2680855.0805 | 1247951.8149
36 | 2680862.9799 | 1247978.8022 | 2680850.9044 | 1247988.5625

## bus_geodata
| x | y | coords
0 | 2680796.5862 | 1247963.216
1 | 2680796.097 | 1247962.6902
2 | 2680786.6371 | 1247952.5098
3 | 2680754.2236 | 1247976.6527
4 | 2680825.7807 | 1247922.2544
5 | 2680819.1408 | 1247928.5466
6 | 2680827.7013 | 1247920.4348
7 | 2680819.2862 | 1247914.9827
8 | 2680765.5395 | 1247984.279
9 | 2680787.4463 | 1247996.8773
10 | 2680774.6606 | 1247970.6977
11 | 2680834.5116 | 1247913.9673
12 | 2680842.4491 | 1247906.42
13 | 2680844.5732 | 1247939.7722
14 | 2680729.254 | 1247967.784
15 | 2680723.1748 | 1247959.1012
16 | 2680740.825 | 1247999.3757
17 | 2680729.9106 | 1248009.3223
18 | 2680768.6118 | 1248006.7193
19 | 2680802.96 | 1247888.1629
20 | 2680781.9957 | 1247907.238
21 | 2680688.3866 | 1247858.4367
22 | 2680782.4705 | 1247767.2619
23 | 2680732.2664 | 1247884.3563
24 | 2680765.5624 | 1247965.9291
25 | 2680803.1613 | 1247789.5858
26 | 2680827.5963 | 1248008.9759
27 | 2680840.184 | 1247997.2275
28 | 2680818.1124 | 1248006.5787
29 | 2680870.3004 | 1247969.6293
30 | 2680862.9799 | 1247978.8022
31 | 2680855.0805 | 1247951.8149
32 | 2680764.5063 | 1247906.0299
33 | 2680802.2037 | 1248001.5459
34 | 2680714.5244 | 1247946.746
35 | 2680714.4494 | 1248021.6464
36 | 2680850.9044 | 1247988.5625
37 | 2680807.5247 | 1247939.5544
38 | 2680803.439 | 1247979.881

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99966 | -0.0064554 | 0.0080294 | 0.0020123
1 | 0.99967 | -0.0063548 | 0.018198 | 0.0045607
2 | 1 | 0 | -0.33141 | -0.084093
3 | 0.99596 | -0.076899 | 0 | 0
4 | 0.97882 | -0.40666 | 0 | 0
5 | 0.97868 | -0.40959 | 0.0095744 | 0.0023996
6 | 0.97904 | -0.40255 | 0 | 0
7 | 0.97821 | -0.41874 | 0 | 0
8 | 0.99515 | -0.092336 | 0 | 0
9 | 0.99377 | -0.11864 | 0.01855 | 0.004649
10 | 0.99482 | -0.098663 | 0.021008 | 0.0052651
11 | 0.97894 | -0.40444 | 0 | 0
12 | 0.97883 | -0.40665 | 0.011071 | 0.0027746
13 | 0.98134 | -0.35755 | 0.0084407 | 0.0021154
14 | 0.99427 | -0.1095 | 0 | 0
15 | 0.99368 | -0.12079 | 0.041345 | 0.010362
16 | 0.99454 | -0.10417 | 0 | 0
17 | 0.99427 | -0.1094 | 0.012349 | 0.003095
18 | 0.99427 | -0.10943 | 0.010368 | 0.0025986
19 | 0.97587 | -0.46456 | 0 | 0
20 | 0.97407 | -0.49991 | 0.0067415 | 0.0016896
21 | 0.9721 | -0.53887 | 0 | 0
22 | 0.9711 | -0.55854 | 0 | 0
23 | 0.9725 | -0.53089 | 0.0064751 | 0.0016228
24 | 0.99573 | -0.081312 | 0.01609 | 0.0040326
25 | 0.97087 | -0.56311 | 0.0081252 | 0.0020364
26 | 0.99127 | -0.16624 | 0 | 0
27 | 0.99016 | -0.18738 | 0.0073393 | 0.0018394
28 | 0.9919 | -0.15425 | 0.0085108 | 0.002133
29 | 0.98538 | -0.27928 | 0 | 0
30 | 0.98671 | -0.25368 | 0.0097699 | 0.0024486
31 | 0.98291 | -0.3272 | 0.0084692 | 0.0021226
32 | 0.97304 | -0.52023 | 0.046683 | 0.0117
33 | 0.99303 | -0.13262 | 0.0069033 | 0.0017301
34 | 0.99342 | -0.12586 | 0.019049 | 0.0047741
35 | 0.99414 | -0.11206 | 0.0076034 | 0.0019056
36 | 0.98849 | -0.21946 | 0.0073345 | 0.0018382
37 | 0.97856 | -0.41191 | 0.0079715 | 0.0019979
38 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0080294 | -0.0020123 | 0.0080294 | 0.0020124 | 3.8468e-08 | 1.5204e-08 | 0.011952 | 0.011952 | 0.011952 | 0.99966 | -0.0064554 | 0.99967 | -0.0063548 | 3.2835
1 | -0.026227 | -0.0065731 | 0.026235 | 0.006578 | 7.9424e-06 | 4.9009e-06 | 0.039039 | 0.039039 | 0.039039 | 0.99967 | -0.0063548 | 1 | 0 | 10.725
2 | 0.30352 | 0.077515 | -0.3024 | -0.076798 | 0.0011237 | 0.00071744 | 0.45216 | 0.45216 | 0.45216 | 1 | 0 | 0.99596 | -0.076899 | 41.4062
3 | 0.016094 | 0.0040345 | -0.01609 | -0.0040326 | 3.3837e-06 | 1.9625e-06 | 0.024045 | 0.024045 | 0.024045 | 0.99596 | -0.076899 | 0.99573 | -0.081312 | 6.6058
4 | 0.19541 | 0.049916 | -0.19526 | -0.049823 | 0.00014572 | 9.2731e-05 | 0.29229 | 0.29229 | 0.29229 | 0.99596 | -0.076899 | 0.99515 | -0.092336 | 26.7662
5 | 0.060525 | 0.015219 | -0.060431 | -0.01516 | 9.4078e-05 | 5.9812e-05 | 0.090446 | 0.090446 | 0.090446 | 0.99596 | -0.076899 | 0.99427 | -0.1095 | 24.8478
6 | 0.030369 | 0.0076284 | -0.03033 | -0.0076038 | 3.9469e-05 | 2.4596e-05 | 0.045379 | 0.045379 | 0.045379 | 0.99596 | -0.076899 | 0.99454 | -0.10417 | 12.4668
7 | 0.017549 | 0.0043992 | -0.017547 | -0.0043978 | 2.4416e-06 | 1.4477e-06 | 0.026679 | 0.026679 | 0.026679 | 0.97882 | -0.40666 | 0.97868 | -0.40959 | 7.3294
8 | -0.085958 | -0.021689 | 0.085975 | 0.0217 | 1.6931e-05 | 1.0803e-05 | 0.13073 | 0.13073 | 0.13073 | 0.97882 | -0.40666 | 0.97904 | -0.40255 | 35.9138
9 | 0.068409 | 0.01729 | -0.068369 | -0.017265 | 3.9581e-05 | 2.5209e-05 | 0.10405 | 0.10405 | 0.10405 | 0.97882 | -0.40666 | 0.97821 | -0.41874 | 28.5845
10 | 0.0079724 | 0.0019982 | -0.0079715 | -0.0019979 | 8.8179e-07 | 3.6328e-07 | 0.012122 | 0.012122 | 0.012122 | 0.97868 | -0.40959 | 0.97856 | -0.41191 | 3.3301
11 | -0.097048 | -0.024476 | 0.097257 | 0.024609 | 0.00020953 | 0.00013378 | 0.14756 | 0.14756 | 0.14756 | 0.97904 | -0.40255 | 0.98134 | -0.35755 | 40.5373
12 | 0.011073 | 0.0027757 | -0.011072 | -0.0027752 | 9.9754e-07 | 5.2033e-07 | 0.016829 | 0.01683 | 0.01683 | 0.97904 | -0.40255 | 0.97894 | -0.40444 | 4.6235
13 | 0.068369 | 0.017265 | -0.068219 | -0.017169 | 0.00014973 | 9.5367e-05 | 0.10405 | 0.10405 | 0.10405 | 0.97821 | -0.41874 | 0.97587 | -0.46456 | 28.5846
14 | 0.17425 | 0.044554 | -0.17403 | -0.044413 | 0.00022143 | 0.0001407 | 0.26086 | 0.26087 | 0.26087 | 0.99515 | -0.092336 | 0.99377 | -0.11864 | 23.8887
15 | 0.021014 | 0.0052689 | -0.021008 | -0.0052651 | 6.3337e-06 | 3.8314e-06 | 0.031423 | 0.031423 | 0.031423 | 0.99515 | -0.092336 | 0.99482 | -0.098663 | 8.6327
16 | 0.15548 | 0.039764 | -0.15537 | -0.039698 | 0.00010512 | 6.6675e-05 | 0.23309 | 0.23309 | 0.23309 | 0.99377 | -0.11864 | 0.99303 | -0.13262 | 21.3453
17 | 0.011072 | 0.0027752 | -0.011071 | -0.0027746 | 1.1633e-06 | 6.0685e-07 | 0.01683 | 0.01683 | 0.01683 | 0.97894 | -0.40444 | 0.97883 | -0.40665 | 4.6235
18 | -0.1057 | -0.026725 | 0.10585 | 0.026823 | 0.00015411 | 9.8427e-05 | 0.16035 | 0.16035 | 0.16035 | 0.98134 | -0.35755 | 0.98291 | -0.3272 | 44.0534
19 | 0.060431 | 0.01516 | -0.060399 | -0.015139 | 3.2515e-05 | 2.0672e-05 | 0.090446 | 0.090446 | 0.090446 | 0.99427 | -0.1095 | 0.99368 | -0.12079 | 24.8478
20 | 0.019054 | 0.0047769 | -0.019049 | -0.0047741 | 4.6046e-06 | 2.7516e-06 | 0.028533 | 0.028533 | 0.028533 | 0.99368 | -0.12079 | 0.99342 | -0.12586 | 7.8387
21 | 0.019959 | 0.0050039 | -0.019954 | -0.005001 | 4.9768e-06 | 2.9921e-06 | 0.029862 | 0.029862 | 0.029862 | 0.99454 | -0.10417 | 0.99427 | -0.1094 | 8.2039
22 | 0.010371 | 0.0025998 | -0.010368 | -0.0025986 | 2.5973e-06 | 1.2891e-06 | 0.015517 | 0.015517 | 0.015517 | 0.99454 | -0.10417 | 0.99427 | -0.10943 | 4.263
23 | 0.0076044 | 0.001906 | -0.0076034 | -0.0019056 | 9.6034e-07 | 3.5822e-07 | 0.011381 | 0.011381 | 0.011381 | 0.99427 | -0.1094 | 0.99414 | -0.11206 | 3.1266
24 | 0.068219 | 0.017169 | -0.068104 | -0.017096 | 0.00011507 | 7.329e-05 | 0.10405 | 0.10405 | 0.10405 | 0.97587 | -0.46456 | 0.97407 | -0.49991 | 28.5846
25 | 0.061363 | 0.015406 | -0.061303 | -0.015369 | 5.9421e-05 | 3.7805e-05 | 0.093749 | 0.09375 | 0.09375 | 0.97407 | -0.49991 | 0.97304 | -0.52023 | 25.7554
26 | 0.0081346 | 0.0020404 | -0.008127 | -0.0020371 | 7.62e-06 | 3.2539e-06 | 0.012452 | 0.012453 | 0.012453 | 0.9721 | -0.53887 | 0.9711 | -0.55854 | 3.4212
27 | -0.0081346 | -0.0020404 | 0.0081377 | 0.0020417 | 3.0956e-06 | 1.3209e-06 | 0.012452 | 0.012452 | 0.012452 | 0.9721 | -0.53887 | 0.9725 | -0.53089 | 3.421
28 | 0.008127 | 0.0020371 | -0.0081252 | -0.0020364 | 1.7701e-06 | 7.5638e-07 | 0.012453 | 0.012453 | 0.012453 | 0.9711 | -0.55854 | 0.97087 | -0.56311 | 3.4212
29 | -0.014613 | -0.0036645 | 0.01462 | 0.0036688 | 7.4257e-06 | 4.2607e-06 | 0.02236 | 0.02236 | 0.02236 | 0.9725 | -0.53089 | 0.97304 | -0.52023 | 6.1428
30 | 0.13972 | 0.035684 | -0.13958 | -0.035593 | 0.00014267 | 9.0866e-05 | 0.20998 | 0.20998 | 0.20998 | 0.99127 | -0.16624 | 0.99016 | -0.18738 | 28.8433
31 | -0.13972 | -0.035684 | 0.1398 | 0.035735 | 8.1012e-05 | 5.1595e-05 | 0.20998 | 0.20998 | 0.20998 | 0.99127 | -0.16624 | 0.9919 | -0.15425 | 28.8433
32 | 0.13224 | 0.033754 | -0.13204 | -0.033623 | 0.0002046 | 0.00013077 | 0.19895 | 0.19895 | 0.19895 | 0.99016 | -0.18738 | 0.98849 | -0.21946 | 54.6565
33 | -0.14831 | -0.037868 | 0.14847 | 0.037967 | 0.00015523 | 9.8915e-05 | 0.22275 | 0.22275 | 0.22275 | 0.9919 | -0.15425 | 0.99303 | -0.13262 | 30.597
34 | -0.11458 | -0.029114 | 0.11473 | 0.029205 | 0.0001414 | 9.0337e-05 | 0.17318 | 0.17318 | 0.17318 | 0.98538 | -0.27928 | 0.98671 | -0.25368 | 47.5757
35 | 0.11458 | 0.029114 | -0.11432 | -0.028946 | 0.00026374 | 0.0001685 | 0.17318 | 0.17318 | 0.17318 | 0.98538 | -0.27928 | 0.98291 | -0.3272 | 47.5757
36 | -0.1245 | -0.031653 | 0.1247 | 0.031785 | 0.00020559 | 0.00013138 | 0.18791 | 0.18791 | 0.18791 | 0.98671 | -0.25368 | 0.98849 | -0.21946 | 51.6233

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33141 | 0.084093

## res_load
| p_mw | q_mvar
0 | 0.0080294 | 0.0020123
1 | 0.018198 | 0.0045607
2 | 0.0095744 | 0.0023996
3 | 0.01855 | 0.004649
4 | 0.021008 | 0.0052651
5 | 0.011071 | 0.0027746
6 | 0.0084407 | 0.0021154
7 | 0.041345 | 0.010362
8 | 0.012349 | 0.003095
9 | 0.010368 | 0.0025986
10 | 0.0067415 | 0.0016896
11 | 0.0064751 | 0.0016228
12 | 0.01609 | 0.0040326
13 | 0.0081252 | 0.0020364
14 | 0.0073393 | 0.0018394
15 | 0.0085108 | 0.002133
16 | 0.0097699 | 0.0024486
17 | 0.0084692 | 0.0021226
18 | 0.046683 | 0.0117
19 | 0.0069033 | 0.0017301
20 | 0.019049 | 0.0047741
21 | 0.0076034 | 0.0019056
22 | 0.0073345 | 0.0018382
23 | 0.0079715 | 0.0019979

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1