## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-333_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-333_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-333_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-333_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-333_0_6_node_38 | 0.4 | n |  | TRUE
5 | bus_LV_261-333_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-333_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_261-333_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_261-333_0_6_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_261-333_0_6_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_261-333_0_6_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_261-333_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_261-333_0_6_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_261-333_0_6_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_261-333_0_6_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_261-333_0_6_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_261-333_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_261-333_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_261-333_0_6_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_261-333_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_261-333_0_6_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_261-333_0_6_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_261-333_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_261-333_0_6_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_261-333_0_6_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_261-333_0_6_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_261-333_0_6_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_261-333_0_6_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_261-333_0_6_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_261-333_0_6_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_261-333_0_6_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_261-333_0_6_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_261-333_0_6_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_261-333_0_6_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_261-333_0_6_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_261-333_0_6_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_261-333_0_6_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_261-333_0_6_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_261-333_0_6_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_261-333_0_6_node_34 | 0.4 | n |  | TRUE
40 | bus_MV_535_0_node_199 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-333_0_6_load_0 | 0 | 0.011309 | 0.0028344 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-333_0_6_load_1 | 1 | 0.0039655 | 0.00099384 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-333_0_6_load_38 | 4 | 0.0075337 | 0.0018881 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-333_0_6_load_40 | 8 | 0.0079893 | 0.0020023 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-333_0_6_load_35 | 9 | 0.01731 | 0.0043383 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-333_0_6_load_20 | 10 | 0.0097082 | 0.0024331 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-333_0_6_load_24 | 12 | 0.025988 | 0.0065133 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-333_0_6_load_25 | 13 | 0.027539 | 0.0069019 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-333_0_6_load_21 | 15 | 0.016805 | 0.0042117 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-333_0_6_load_30 | 18 | 0.026507 | 0.0066432 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-333_0_6_load_17 | 20 | 0.036146 | 0.0090589 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-333_0_6_load_39 | 21 | 0.051673 | 0.01295 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-333_0_6_load_29 | 24 | 0.024391 | 0.006113 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-333_0_6_load_26 | 25 | 0.044888 | 0.01125 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-333_0_6_load_19 | 26 | 0.01171 | 0.0029347 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-333_0_6_load_41 | 28 | 0.0080247 | 0.0020112 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-333_0_6_load_36 | 29 | 0.010269 | 0.0025737 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-333_0_6_load_42 | 30 | 0.024053 | 0.0060281 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-333_0_6_load_22 | 31 | 0.042073 | 0.010544 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-333_0_6_load_28 | 32 | 0.014635 | 0.003668 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-333_0_6_load_27 | 33 | 0.022213 | 0.005567 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-333_0_6_load_37 | 34 | 0.025677 | 0.0064353 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-333_0_6_load_18 | 35 | 0.0074226 | 0.0018603 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-333_0_6_load_33 | 36 | 0.00395 | 0.00098996 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-333_0_6_load_31 | 37 | 0.040576 | 0.010169 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-333_0_6_load_23 | 38 | 0.042486 | 0.010648 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-333_0_6_load_34 | 39 | 0.0077907 | 0.0019525 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-333_0_6_line_0 |  | 0 | 1 | 0.01627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-333_0_6_line_1 |  | 0 | 2 | 0.0077298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-333_0_6_line_2 |  | 2 | 3 | 0.005688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-333_0_6_line_3 |  | 3 | 4 | 0.01258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-333_0_6_line_4 |  | 4 | 7 | 0.0072243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-333_0_6_line_5 |  | 5 | 6 | 0.004022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-333_0_6_line_6 |  | 5 | 7 | 0.010588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-333_0_6_line_7 |  | 5 | 8 | 0.020926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-333_0_6_line_8 |  | 6 | 9 | 0.0097028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-333_0_6_line_9 |  | 7 | 10 | 0.014421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-333_0_6_line_10 |  | 8 | 28 | 0.011053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-333_0_6_line_11 |  | 9 | 29 | 0.014771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-333_0_6_line_12 |  | 11 | 12 | 0.011144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-333_0_6_line_13 |  | 11 | 13 | 0.012859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_261-333_0_6_line_14 |  | 11 | 14 | 0.018053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_261-333_0_6_line_15 |  | 11 | 15 | 0.021883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-333_0_6_line_16 |  | 12 | 28 | 0.011247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-333_0_6_line_17 |  | 13 | 30 | 0.011687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_261-333_0_6_line_18 |  | 14 | 26 | 0.012476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-333_0_6_line_19 |  | 14 | 27 | 0.020016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-333_0_6_line_20 |  | 15 | 31 | 0.0010776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-333_0_6_line_21 |  | 16 | 17 | 0.061558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-333_0_6_line_22 |  | 16 | 18 | 0.001891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-333_0_6_line_23 |  | 17 | 19 | 0.053327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-333_0_6_line_24 |  | 17 | 20 | 0.065205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-333_0_6_line_25 |  | 18 | 22 | 0.0063043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-333_0_6_line_26 |  | 19 | 21 | 0.02062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-333_0_6_line_27 |  | 22 | 23 | 0.015084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-333_0_6_line_28 |  | 23 | 24 | 0.02344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_261-333_0_6_line_29 |  | 23 | 25 | 0.0067362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-333_0_6_line_30 |  | 24 | 30 | 0.01098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_261-333_0_6_line_31 |  | 25 | 33 | 0.014422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-333_0_6_line_32 |  | 26 | 35 | 0.015604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-333_0_6_line_33 |  | 27 | 36 | 0.011925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-333_0_6_line_34 |  | 27 | 37 | 0.015623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-333_0_6_line_35 |  | 29 | 34 | 0.012967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-333_0_6_line_36 |  | 31 | 38 | 0.00026139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-333_0_6_line_37 |  | 32 | 33 | 0.0014825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-333_0_6_line_38 |  | 36 | 39 | 0.0099971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-333_0_6_trafo_16 | 0.63 MVA 20/0.4 kV | 40 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2681939.0209 | 1247387.6262 | 2681942.0855 | 1247384.1236 | 2681948.197 | 1247374.2452
1 | 2681934.3982 | 1247393.7911 | 2681936.2908 | 1247390.7595 | 2681938.1636 | 1247388.606 | 2681939.0209 | 1247387.6262
2 | 2681939.6786 | 1247395.9435 | 2681934.3982 | 1247393.7911
3 | 2681939.6786 | 1247395.9435 | 2681950.4672 | 1247399.6174 | 2681951.6504 | 1247399.5994
4 | 2681958.6956 | 1247398.3413 | 2681954.6755 | 1247399.5533 | 2681951.6504 | 1247399.5994
5 | 2681970.1879 | 1247406.2949 | 2681968.7644 | 1247405.4524 | 2681968.1912 | 1247404.2991 | 2681968.0928 | 1247403.2192
6 | 2681958.6956 | 1247398.3413 | 2681960.1731 | 1247399.1067 | 2681963.9155 | 1247401.0488 | 2681967.3354 | 1247402.8196 | 2681968.0928 | 1247403.2192
7 | 2681968.0928 | 1247403.2192 | 2681968.2739 | 1247402.1431 | 2681969.5214 | 1247399.8698 | 2681975.6867 | 1247392.116 | 2681980.2956 | 1247386.4095
8 | 2681970.1879 | 1247406.2949 | 2681979.3987 | 1247409.3455
9 | 2681958.6956 | 1247398.3413 | 2681961.615 | 1247396.9807 | 2681963.7511 | 1247394.9087 | 2681968.8924 | 1247388.4892
10 | 2681980.2956 | 1247386.4095 | 2681987.2403 | 1247377.8109
11 | 2681979.3987 | 1247409.3455 | 2681993.4206 | 1247413.9897
12 | 2682001.3093 | 1247360.3914 | 2681994.307 | 1247369.0613
13 | 2682001.3093 | 1247360.3914 | 2682009.3445 | 1247350.352
14 | 2682001.3093 | 1247360.3914 | 2681997.8562 | 1247357.7417 | 2682004.2712 | 1247349.4132 | 2682001.7911 | 1247347.4108
15 | 2682001.3093 | 1247360.3914 | 2682018.6567 | 1247373.73 | 2682018.6567 | 1247373.73
16 | 2681987.2403 | 1247377.8109 | 2681994.307 | 1247369.0613
17 | 2682016.6474 | 1247341.2275 | 2682009.3445 | 1247350.352
18 | 2682001.7911 | 1247347.4108 | 2681993.9922 | 1247357.1487
19 | 2681986.1857 | 1247334.8192 | 2682001.7911 | 1247347.4108
20 | 2682018.6567 | 1247373.73 | 2682018.0323 | 1247374.6082
21 | 2681966.9862 | 1247301.9074 | 2681967.4447 | 1247299.3452 | 2681968.5799 | 1247297.0036 | 2681970.2147 | 1247295.136 | 2681972.2659 | 1247293.7411 | 2681974.9477 | 1247292.6329 | 2681977.8439 | 1247292.4061 | 2681980.6673 | 1247293.0789 | 2681983.1391 | 1247294.592 | 2681984.4838 | 1247292.9427 | 2681988.2678 | 1247294.6074 | 2681994.6243 | 1247295.974 | 2682010.6255 | 1247299.6201 | 2682019.7511 | 1247305.0281
22 | 2682019.7511 | 1247305.0281 | 2682021.3778 | 1247305.9922
23 | 2681966.9862 | 1247301.9074 | 2681967.4447 | 1247299.3452 | 2681968.5799 | 1247297.0036 | 2681970.2147 | 1247295.136 | 2681972.2659 | 1247293.7411 | 2681974.9477 | 1247292.6329 | 2681977.8439 | 1247292.4061 | 2681980.6673 | 1247293.0789 | 2681983.1391 | 1247294.592 | 2681984.4838 | 1247292.9427 | 2681957.5603 | 1247281.073
24 | 2681966.9862 | 1247301.9074 | 2681919.3412 | 1247346.4232
25 | 2682026.8013 | 1247309.2064 | 2682021.3778 | 1247305.9922
26 | 2681957.5603 | 1247281.073 | 2681950.6536 | 1247288.3607 | 2681943.5134 | 1247296.1675
27 | 2682026.8013 | 1247309.2064 | 2682032.1215 | 1247312.3045 | 2682039.832 | 1247316.8033
28 | 2682039.832 | 1247316.8033 | 2682037.5081 | 1247317.1603 | 2682035.3941 | 1247318.1763 | 2682033.8236 | 1247319.7668 | 2682023.5082 | 1247332.6552
29 | 2682039.832 | 1247316.8033 | 2682042.2102 | 1247316.8919 | 2682044.1137 | 1247317.4408 | 2682046.2181 | 1247318.5423
30 | 2682016.6474 | 1247341.2275 | 2682023.5082 | 1247332.6552
31 | 2682058.9957 | 1247325.2301 | 2682046.2181 | 1247318.5423
32 | 2681993.9922 | 1247357.1487 | 2681984.2382 | 1247369.3279
33 | 2681986.1857 | 1247334.8192 | 2681978.755 | 1247344.1461
34 | 2681986.1857 | 1247334.8192 | 2681997.3543 | 1247323.8943
35 | 2682005.7438 | 1247418.0257 | 2681997.8658 | 1247415.462 | 2681993.4206 | 1247413.9897
36 | 2682017.8809 | 1247374.8213 | 2682018.0323 | 1247374.6082
37 | 2682058.9957 | 1247325.2301 | 2682060.3091 | 1247325.9175
38 | 2681972.5257 | 1247351.9651 | 2681978.755 | 1247344.1461

## bus_geodata
| x | y | coords
0 | 2681939.0209 | 1247387.6262
1 | 2681948.197 | 1247374.2452
2 | 2681934.3982 | 1247393.7911
3 | 2681939.6786 | 1247395.9435
4 | 2681951.6504 | 1247399.5994
5 | 2681968.0928 | 1247403.2192
6 | 2681970.1879 | 1247406.2949
7 | 2681958.6956 | 1247398.3413
8 | 2681980.2956 | 1247386.4095
9 | 2681979.3987 | 1247409.3455
10 | 2681968.8924 | 1247388.4892
11 | 2682001.3093 | 1247360.3914
12 | 2681994.307 | 1247369.0613
13 | 2682009.3445 | 1247350.352
14 | 2682001.7911 | 1247347.4108
15 | 2682018.6567 | 1247373.73
16 | 2682019.7511 | 1247305.0281
17 | 2681966.9862 | 1247301.9074
18 | 2682021.3778 | 1247305.9922
19 | 2681957.5603 | 1247281.073
20 | 2681919.3412 | 1247346.4232
21 | 2681943.5134 | 1247296.1675
22 | 2682026.8013 | 1247309.2064
23 | 2682039.832 | 1247316.8033
24 | 2682023.5082 | 1247332.6552
25 | 2682046.2181 | 1247318.5423
26 | 2681993.9922 | 1247357.1487
27 | 2681986.1857 | 1247334.8192
28 | 2681987.2403 | 1247377.8109
29 | 2681993.4206 | 1247413.9897
30 | 2682016.6474 | 1247341.2275
31 | 2682018.0323 | 1247374.6082
32 | 2682060.3091 | 1247325.9175
33 | 2682058.9957 | 1247325.2301
34 | 2682005.7438 | 1247418.0257
35 | 2681984.2382 | 1247369.3279
36 | 2681978.755 | 1247344.1461
37 | 2681997.3543 | 1247323.8943
38 | 2682017.8809 | 1247374.8213
39 | 2681972.5257 | 1247351.9651
40 | 2682004.2712 | 1247349.4132

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99217 | -0.15052 | 0.011309 | 0.0028344
1 | 0.99211 | -0.15167 | 0.0039655 | 0.00099384
2 | 0.99228 | -0.14843 | 0 | 0
3 | 0.99236 | -0.14689 | 0 | 0
4 | 0.99253 | -0.14349 | 0.0075337 | 0.0018881
5 | 0.993 | -0.13449 | 0 | 0
6 | 0.9928 | -0.13828 | 0 | 0
7 | 0.99268 | -0.14058 | 0 | 0
8 | 0.99464 | -0.10282 | 0.0079893 | 0.0020023
9 | 0.99233 | -0.14742 | 0.01731 | 0.0043383
10 | 0.99256 | -0.14306 | 0.0097082 | 0.0024331
11 | 0.99793 | -0.039508 | 0 | 0
12 | 0.99663 | -0.064464 | 0.025988 | 0.0065133
13 | 0.99713 | -0.054827 | 0.027539 | 0.0069019
14 | 1 | 0 | -0.57785 | -0.14579
15 | 0.99591 | -0.078407 | 0.016805 | 0.0042117
16 | 0.99141 | -0.16465 | 0 | 0
17 | 0.98642 | -0.261 | 0 | 0
18 | 0.99156 | -0.1617 | 0.026507 | 0.0066432
19 | 0.98388 | -0.31049 | 0 | 0
20 | 0.98425 | -0.30331 | 0.036146 | 0.0090589
21 | 0.9829 | -0.32969 | 0.051673 | 0.01295
22 | 0.99223 | -0.14893 | 0 | 0
23 | 0.99381 | -0.11845 | 0 | 0
24 | 0.99592 | -0.077987 | 0.024391 | 0.006113
25 | 0.99331 | -0.12817 | 0.044888 | 0.01125
26 | 0.99978 | -0.0041613 | 0.01171 | 0.0029347
27 | 0.99905 | -0.018269 | 0 | 0
28 | 0.99559 | -0.084574 | 0.0080247 | 0.0020112
29 | 0.99184 | -0.15682 | 0.010269 | 0.0025737
30 | 0.99648 | -0.067359 | 0.024053 | 0.0060281
31 | 0.99583 | -0.080009 | 0.042073 | 0.010544
32 | 0.99281 | -0.13795 | 0.014635 | 0.003668
33 | 0.99283 | -0.13757 | 0.022213 | 0.005567
34 | 0.99154 | -0.16272 | 0.025677 | 0.0064353
35 | 0.99968 | -0.0061812 | 0.0074226 | 0.0018603
36 | 0.99892 | -0.020715 | 0.00395 | 0.00098996
37 | 0.99847 | -0.029346 | 0.040576 | 0.010169
38 | 0.99582 | -0.080204 | 0.042486 | 0.010648
39 | 0.99885 | -0.022075 | 0.0077907 | 0.0019525
40 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0039657 | 0.00099377 | -0.0039655 | -0.00099384 | 2.1582e-07 | -7.1981e-08 | 0.0059476 | 0.0059476 | 0.0059476 | 0.99217 | -0.15052 | 0.99211 | -0.15167 | 1.634
1 | -0.015275 | -0.0038282 | 0.015277 | 0.0038291 | 1.5213e-06 | 8.7379e-07 | 0.022909 | 0.022909 | 0.022909 | 0.99217 | -0.15052 | 0.99228 | -0.14843 | 6.2937
2 | -0.015277 | -0.0038291 | 0.015278 | 0.0038297 | 1.1194e-06 | 6.4296e-07 | 0.022909 | 0.022909 | 0.022909 | 0.99228 | -0.14843 | 0.99236 | -0.14689 | 6.2937
3 | -0.015278 | -0.0038297 | 0.01528 | 0.0038311 | 2.4759e-06 | 1.422e-06 | 0.022909 | 0.022909 | 0.022909 | 0.99236 | -0.14689 | 0.99253 | -0.14349 | 6.2937
4 | -0.022814 | -0.0057193 | 0.022817 | 0.0057212 | 3.1694e-06 | 1.935e-06 | 0.034204 | 0.034203 | 0.034204 | 0.99253 | -0.14349 | 0.99268 | -0.14058 | 9.3966
5 | 0.053313 | 0.013383 | -0.053303 | -0.013377 | 9.628e-06 | 6.1099e-06 | 0.079897 | 0.079897 | 0.079897 | 0.993 | -0.13449 | 0.9928 | -0.13828 | 21.9498
6 | 0.032536 | 0.0081607 | -0.032526 | -0.0081548 | 9.4389e-06 | 5.904e-06 | 0.048758 | 0.048758 | 0.048758 | 0.993 | -0.13449 | 0.99268 | -0.14058 | 13.395
7 | -0.085849 | -0.021544 | 0.085979 | 0.021626 | 0.00012989 | 8.2856e-05 | 0.12865 | 0.12865 | 0.12865 | 0.993 | -0.13449 | 0.99464 | -0.10282 | 35.3447
8 | 0.053303 | 0.013377 | -0.05328 | -0.013362 | 2.3227e-05 | 1.474e-05 | 0.079897 | 0.079897 | 0.079897 | 0.9928 | -0.13828 | 0.99233 | -0.14742 | 21.9498
9 | 0.0097093 | 0.0024336 | -0.0097082 | -0.0024331 | 1.1455e-06 | 5.4674e-07 | 0.014554 | 0.014554 | 0.014554 | 0.99268 | -0.14058 | 0.99256 | -0.14306 | 3.9984
10 | -0.093968 | -0.023629 | 0.09405 | 0.023681 | 8.1944e-05 | 5.2301e-05 | 0.14061 | 0.14061 | 0.14061 | 0.99464 | -0.10282 | 0.99559 | -0.084574 | 38.6283
11 | 0.03597 | 0.0090236 | -0.035954 | -0.0090135 | 1.6116e-05 | 1.0124e-05 | 0.05394 | 0.05394 | 0.05394 | 0.99233 | -0.14742 | 0.99184 | -0.15682 | 14.8188
12 | 0.12831 | 0.032366 | -0.12816 | -0.032268 | 0.0001531 | 9.7841e-05 | 0.1914 | 0.1914 | 0.1914 | 0.99793 | -0.039508 | 0.99663 | -0.064464 | 52.583
13 | 0.27384 | 0.069328 | -0.27364 | -0.0692 | 0.00020124 | 0.00012812 | 0.40858 | 0.40858 | 0.40858 | 0.99793 | -0.039508 | 0.99713 | -0.054827 | 28.0615
14 | -0.50372 | -0.12722 | 0.50467 | 0.12783 | 0.00095566 | 0.00061068 | 0.75144 | 0.75144 | 0.75144 | 0.99793 | -0.039508 | 1 | 0 | 51.6099
15 | 0.10156 | 0.025529 | -0.10137 | -0.025409 | 0.00018825 | 0.0001202 | 0.15146 | 0.15146 | 0.15146 | 0.99793 | -0.039508 | 0.99591 | -0.078407 | 41.6104
16 | 0.10217 | 0.025755 | -0.10207 | -0.025692 | 9.8215e-05 | 6.2711e-05 | 0.1526 | 0.1526 | 0.1526 | 0.99663 | -0.064464 | 0.99559 | -0.084574 | 41.9233
17 | 0.2461 | 0.062298 | -0.24596 | -0.062204 | 0.00014796 | 9.4086e-05 | 0.36748 | 0.36748 | 0.36748 | 0.99713 | -0.054827 | 0.99648 | -0.067359 | 25.239
18 | 0.019137 | 0.0047975 | -0.019133 | -0.0047953 | 3.7938e-06 | 2.2644e-06 | 0.028476 | 0.028476 | 0.028476 | 1 | 0 | 0.99978 | -0.0041613 | 7.8232
19 | 0.052385 | 0.013155 | -0.05234 | -0.013126 | 4.5619e-05 | 2.8934e-05 | 0.077959 | 0.077959 | 0.077959 | 1 | 0 | 0.99905 | -0.018269 | 21.4174
20 | 0.084566 | 0.021197 | -0.08456 | -0.021193 | 6.4515e-06 | 4.1149e-06 | 0.12635 | 0.12635 | 0.12635 | 0.99591 | -0.078407 | 0.99583 | -0.080009 | 34.7125
21 | 0.088469 | 0.022423 | -0.088061 | -0.022163 | 0.00040756 | 0.00026005 | 0.13287 | 0.13287 | 0.13287 | 0.99141 | -0.16465 | 0.98642 | -0.261 | 36.5035
22 | -0.088469 | -0.022423 | 0.088481 | 0.022431 | 1.252e-05 | 7.9883e-06 | 0.13287 | 0.13287 | 0.13287 | 0.99141 | -0.16465 | 0.99156 | -0.1617 | 36.5035
23 | 0.051842 | 0.013058 | -0.05172 | -0.01298 | 0.00012238 | 7.7642e-05 | 0.078227 | 0.078228 | 0.078228 | 0.98642 | -0.261 | 0.98388 | -0.31049 | 21.4911
24 | 0.036219 | 0.0091048 | -0.036146 | -0.0090589 | 7.3017e-05 | 4.59e-05 | 0.054645 | 0.054646 | 0.054646 | 0.98642 | -0.261 | 0.98425 | -0.30331 | 15.0126
25 | -0.11499 | -0.029074 | 0.11506 | 0.029119 | 7.047e-05 | 4.502e-05 | 0.17265 | 0.17265 | 0.17265 | 0.99156 | -0.1617 | 0.99223 | -0.14893 | 47.4315
26 | 0.05172 | 0.01298 | -0.051673 | -0.01295 | 4.732e-05 | 3.0023e-05 | 0.078228 | 0.078228 | 0.078228 | 0.98388 | -0.31049 | 0.9829 | -0.32969 | 21.4911
27 | -0.11506 | -0.029119 | 0.11523 | 0.029227 | 0.0001686 | 0.00010771 | 0.17265 | 0.17265 | 0.17265 | 0.99223 | -0.14893 | 0.99381 | -0.11845 | 47.4315
28 | -0.19702 | -0.049747 | 0.1974 | 0.049991 | 0.00038279 | 0.00024438 | 0.29512 | 0.29512 | 0.29512 | 0.99381 | -0.11845 | 0.99592 | -0.077987 | 40.5386
29 | 0.081791 | 0.02052 | -0.081753 | -0.020495 | 3.7889e-05 | 2.4162e-05 | 0.12247 | 0.12247 | 0.12247 | 0.99381 | -0.11845 | 0.99331 | -0.12817 | 33.6458
30 | -0.22179 | -0.056104 | 0.2219 | 0.056176 | 0.00011316 | 7.1851e-05 | 0.33156 | 0.33156 | 0.33156 | 0.99592 | -0.077987 | 0.99648 | -0.067359 | 22.7722
31 | 0.036865 | 0.0092455 | -0.036848 | -0.0092352 | 1.6495e-05 | 1.037e-05 | 0.055227 | 0.055227 | 0.055227 | 0.99331 | -0.12817 | 0.99283 | -0.13757 | 15.1723
32 | 0.0074233 | 0.0018605 | -0.0074226 | -0.0018603 | 7.1428e-07 | 2.5254e-07 | 0.011048 | 0.011049 | 0.011049 | 0.99978 | -0.0041613 | 0.99968 | -0.0061812 | 3.0353
33 | 0.011743 | 0.0029434 | -0.011741 | -0.0029427 | 1.3679e-06 | 7.1935e-07 | 0.01749 | 0.01749 | 0.01749 | 0.99905 | -0.018269 | 0.99892 | -0.020715 | 4.8049
34 | 0.040597 | 0.010183 | -0.040576 | -0.010169 | 2.1423e-05 | 1.3506e-05 | 0.060469 | 0.060469 | 0.060469 | 0.99905 | -0.018269 | 0.99847 | -0.029346 | 16.6125
35 | 0.025684 | 0.0064398 | -0.025677 | -0.0064353 | 7.2206e-06 | 4.4539e-06 | 0.038534 | 0.038534 | 0.038534 | 0.99184 | -0.15682 | 0.99154 | -0.16272 | 10.5863
36 | 0.042487 | 0.010648 | -0.042486 | -0.010648 | 3.9507e-07 | 2.4944e-07 | 0.063486 | 0.063486 | 0.063486 | 0.99583 | -0.080009 | 0.99582 | -0.080204 | 17.4412
37 | -0.014635 | -0.003668 | 0.014636 | 0.0036681 | 2.675e-07 | 1.5203e-07 | 0.021936 | 0.021935 | 0.021936 | 0.99281 | -0.13795 | 0.99283 | -0.13757 | 6.0262
38 | 0.0077912 | 0.0019527 | -0.0077907 | -0.0019525 | 5.0497e-07 | 1.9232e-07 | 0.011606 | 0.011606 | 0.011606 | 0.99892 | -0.020715 | 0.99885 | -0.022075 | 3.1885

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.57785 | 0.14579

## res_load
| p_mw | q_mvar
0 | 0.011309 | 0.0028344
1 | 0.0039655 | 0.00099384
2 | 0.0075337 | 0.0018881
3 | 0.0079893 | 0.0020023
4 | 0.01731 | 0.0043383
5 | 0.0097082 | 0.0024331
6 | 0.025988 | 0.0065133
7 | 0.027539 | 0.0069019
8 | 0.016805 | 0.0042117
9 | 0.026507 | 0.0066432
10 | 0.036146 | 0.0090589
11 | 0.051673 | 0.01295
12 | 0.024391 | 0.006113
13 | 0.044888 | 0.01125
14 | 0.01171 | 0.0029347
15 | 0.0080247 | 0.0020112
16 | 0.010269 | 0.0025737
17 | 0.024053 | 0.0060281
18 | 0.042073 | 0.010544
19 | 0.014635 | 0.003668
20 | 0.022213 | 0.005567
21 | 0.025677 | 0.0064353
22 | 0.0074226 | 0.0018603
23 | 0.00395 | 0.00098996
24 | 0.040576 | 0.010169
25 | 0.042486 | 0.010648
26 | 0.0077907 | 0.0019525

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1