## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-337_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-337_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-337_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-337_0_3_node_20 | 0.4 | n |  | TRUE
4 | bus_LV_261-337_0_3_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_261-337_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-337_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_261-337_0_3_node_58 | 0.4 | n |  | TRUE
8 | bus_LV_261-337_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_261-337_0_3_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_261-337_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_261-337_0_3_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_261-337_0_3_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_261-337_0_3_node_65 | 0.4 | n |  | TRUE
14 | bus_LV_261-337_0_3_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_261-337_0_3_node_59 | 0.4 | n |  | TRUE
16 | bus_LV_261-337_0_3_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_261-337_0_3_node_49 | 0.4 | n |  | TRUE
18 | bus_LV_261-337_0_3_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_261-337_0_3_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_261-337_0_3_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_261-337_0_3_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_261-337_0_3_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_261-337_0_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_261-337_0_3_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_261-337_0_3_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_261-337_0_3_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_261-337_0_3_node_57 | 0.4 | n |  | TRUE
28 | bus_LV_261-337_0_3_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_261-337_0_3_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_261-337_0_3_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_261-337_0_3_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_261-337_0_3_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_261-337_0_3_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_261-337_0_3_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_261-337_0_3_node_70 | 0.4 | n |  | TRUE
36 | bus_LV_261-337_0_3_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_261-337_0_3_node_73 | 0.4 | n |  | TRUE
38 | bus_LV_261-337_0_3_node_72 | 0.4 | n |  | TRUE
39 | bus_LV_261-337_0_3_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_261-337_0_3_node_67 | 0.4 | n |  | TRUE
41 | bus_LV_261-337_0_3_node_68 | 0.4 | n |  | TRUE
42 | bus_LV_261-337_0_3_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_261-337_0_3_node_69 | 0.4 | n |  | TRUE
44 | bus_LV_261-337_0_3_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_261-337_0_3_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_261-337_0_3_node_71 | 0.4 | n |  | TRUE
47 | bus_LV_261-337_0_3_node_74 | 0.4 | n |  | TRUE
48 | bus_MV_547_0_node_80 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-337_0_3_load_0 | 0 | 0.042322 | 0.010607 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-337_0_3_load_19 | 4 | 0.0048718 | 0.001221 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-337_0_3_load_58 | 7 | 0.011389 | 0.0028544 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-337_0_3_load_24 | 11 | 0.0098566 | 0.0024703 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-337_0_3_load_27 | 12 | 0.0065745 | 0.0016477 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-337_0_3_load_65 | 13 | 0.0058808 | 0.0014739 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-337_0_3_load_28 | 14 | 0.0051894 | 0.0013006 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-337_0_3_load_49 | 17 | 0.036557 | 0.0091621 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-337_0_3_load_26 | 18 | 0.012792 | 0.003206 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-337_0_3_load_25 | 19 | 0.0098809 | 0.0024764 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-337_0_3_load_45 | 20 | 0.0050778 | 0.0012726 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-337_0_3_load_23 | 22 | 0.0098746 | 0.0024748 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-337_0_3_load_52 | 25 | 0.011193 | 0.0028051 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-337_0_3_load_56 | 26 | 0.058862 | 0.014752 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-337_0_3_load_57 | 27 | 0.038589 | 0.0096712 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-337_0_3_load_38 | 28 | 0.0064925 | 0.0016272 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-337_0_3_load_39 | 29 | 0.0019466 | 0.00048786 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-337_0_3_load_41 | 31 | 0.0076332 | 0.0019131 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-337_0_3_load_43 | 32 | 0.0078332 | 0.0019632 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-337_0_3_load_44 | 33 | 0.0093782 | 0.0023504 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-337_0_3_load_73 | 37 | 0.0044748 | 0.0011215 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-337_0_3_load_67 | 40 | 0.012179 | 0.0030523 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-337_0_3_load_47 | 42 | 0.0049891 | 0.0012504 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-337_0_3_load_69 | 43 | 0.0060999 | 0.0015288 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-337_0_3_load_55 | 45 | 0.031169 | 0.0078118 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-337_0_3_load_71 | 46 | 0.011713 | 0.0029355 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-337_0_3_load_74 | 47 | 0.0048345 | 0.0012116 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-337_0_3_line_0 |  | 0 | 1 | 0.04658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-337_0_3_line_1 |  | 1 | 2 | 0.026167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-337_0_3_line_2 |  | 2 | 3 | 0.019051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-337_0_3_line_3 |  | 2 | 4 | 0.021703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-337_0_3_line_4 |  | 3 | 13 | 0.035482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_261-337_0_3_line_5 |  | 3 | 6 | 0.008999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-337_0_3_line_6 |  | 5 | 6 | 0.12701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-337_0_3_line_7 |  | 5 | 7 | 0.005704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-337_0_3_line_8 |  | 6 | 12 | 0.011708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-337_0_3_line_9 |  | 7 | 15 | 0.055712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-337_0_3_line_10 |  | 8 | 9 | 0.03999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_261-337_0_3_line_11 |  | 8 | 10 | 0.94172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_261-337_0_3_line_12 |  | 9 | 16 | 0.01922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_261-337_0_3_line_13 |  | 9 | 17 | 0.021957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-337_0_3_line_14 |  | 10 | 11 | 0.0085231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-337_0_3_line_15 |  | 11 | 22 | 0.015703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-337_0_3_line_16 |  | 12 | 14 | 0.019141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-337_0_3_line_17 |  | 13 | 23 | 0.0014424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_261-337_0_3_line_18 |  | 15 | 39 | 0.007426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-337_0_3_line_19 |  | 15 | 34 | 0.026185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-337_0_3_line_20 |  | 16 | 44 | 0.003041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_261-337_0_3_line_21 |  | 16 | 27 | 0.055587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-337_0_3_line_22 |  | 18 | 19 | 0.018132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-337_0_3_line_23 |  | 19 | 22 | 0.015687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-337_0_3_line_24 |  | 20 | 21 | 0.023727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-337_0_3_line_25 |  | 21 | 42 | 0.002847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-337_0_3_line_26 |  | 21 | 39 | 0.018778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-337_0_3_line_27 |  | 23 | 24 | 0.029386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_261-337_0_3_line_28 |  | 24 | 25 | 0.01841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_261-337_0_3_line_29 |  | 25 | 44 | 0.019223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_261-337_0_3_line_30 |  | 26 | 27 | 0.02065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-337_0_3_line_31 |  | 28 | 29 | 0.0085845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-337_0_3_line_32 |  | 28 | 30 | 0.013126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-337_0_3_line_33 |  | 29 | 31 | 0.015535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-337_0_3_line_34 |  | 30 | 32 | 0.012467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-337_0_3_line_35 |  | 30 | 33 | 0.0027122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-337_0_3_line_36 |  | 33 | 36 | 0.012123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-337_0_3_line_37 |  | 34 | 35 | 0.022462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-337_0_3_line_38 |  | 35 | 37 | 0.00139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-337_0_3_line_39 |  | 35 | 38 | 0.009689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-337_0_3_line_40 |  | 36 | 40 | 0.014343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-337_0_3_line_41 |  | 36 | 41 | 0.007975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-337_0_3_line_42 |  | 38 | 47 | 0.01017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-337_0_3_line_43 |  | 38 | 41 | 0.014913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-337_0_3_line_44 |  | 39 | 43 | 0.002024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-337_0_3_line_45 |  | 41 | 46 | 0.001765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-337_0_3_line_46 |  | 44 | 45 | 0.011596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-337_0_3_trafo_55 | 0.63 MVA 20/0.4 kV | 48 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35
0 | 2682126.9552 | 1246487.691 | 2682118.997 | 1246533.5858
1 | 2682126.9552 | 1246487.691 | 2682121.6026 | 1246485.7822 | 2682102.2527 | 1246478.8537
2 | 2682084.2709 | 1246472.4112 | 2682102.2527 | 1246478.8537
3 | 2682102.2527 | 1246478.8537 | 2682099.4531 | 1246486.7985 | 2682095.2073 | 1246499.3805
4 | 2682084.2709 | 1246472.4112 | 2682076.9168 | 1246471.0084 | 2682066.4839 | 1246475.901 | 2682062.5481 | 1246480.7945 | 2682060.6727 | 1246486.3838 | 2682060.5002 | 1246490.6769
5 | 2682084.2709 | 1246472.4112 | 2682081.0784 | 1246463.9942
6 | 2682076.0317 | 1246372.3463 | 2682081.3312 | 1246376.456 | 2682085.8666 | 1246381.7337 | 2682089.2013 | 1246387.5174 | 2682090.8189 | 1246394.5449 | 2682090.582 | 1246400.7462 | 2682088.1789 | 1246408.4296 | 2682084.3998 | 1246412.914 | 2682058.8653 | 1246442.8603 | 2682056.1035 | 1246449.1712 | 2682057.7189 | 1246455.8206 | 2682059.8755 | 1246458.2967 | 2682064.0465 | 1246461.5123 | 2682068.6188 | 1246460.8528 | 2682073.1906 | 1246462.951 | 2682074.9046 | 1246463.564 | 2682079.9952 | 1246463.6568 | 2682081.0784 | 1246463.9942
7 | 2682076.0317 | 1246372.3463 | 2682070.6477 | 1246370.4627
8 | 2682081.0784 | 1246463.9942 | 2682092.1216 | 1246467.8841
9 | 2682017.5698 | 1246373.0382 | 2682021.463 | 1246369.5895 | 2682026.5939 | 1246367.3254 | 2682033.7177 | 1246366.2676 | 2682037.1235 | 1246365.8255 | 2682040.9079 | 1246365.3219 | 2682049.961 | 1246365.1581 | 2682059.0486 | 1246366.8629 | 2682067.626 | 1246369.4056 | 2682070.6477 | 1246370.4627
10 | 2681947.7729 | 1246486.5008 | 2681955.9934 | 1246492.441 | 2681956.5179 | 1246494.9389 | 2681956.497 | 1246495.906 | 2681957.4772 | 1246496.0419 | 2681977.6533 | 1246500.0569 | 2681982.5012 | 1246499.6681
11 | 2681836.9574 | 1246494.877 | 2681836.1969 | 1246494.6997 | 2681832.0853 | 1246493.7312 | 2681830.4287 | 1246493.3414 | 2681833.641 | 1246477.9078 | 2681861.359 | 1246341.7241 | 2681864.6824 | 1246321.5441 | 2681878.1414 | 1246238.1468 | 2681885.8661 | 1246189.2289 | 2681887.7623 | 1246177.2018 | 2681889.0539 | 1246169.0248 | 2681891.3059 | 1246154.7677 | 2681894.891 | 1246132.0562 | 2681902.312 | 1246084.902 | 2681902.5857 | 1246083.1378 | 2681906.8321 | 1246055.7765 | 2681909.3526 | 1246049.4289 | 2681910.7303 | 1246045.9565 | 2681918.6694 | 1246052.6266 | 2681916.1102 | 1246055.2153 | 2681914.0885 | 1246058.2674 | 2681912.6558 | 1246064.6301 | 2681908.6437 | 1246088.7033 | 2681897.6122 | 1246158.7577 | 2681894.9838 | 1246177.2905 | 2681886.0029 | 1246238.9337 | 2681873.8264 | 1246320.2694 | 2681875.2819 | 1246323.7365 | 2681874.0408 | 1246356.7101 | 2681871.4709 | 1246363.3572 | 2681919.0647 | 1246437.8576 | 2681929.1308 | 1246452.941 | 2681932.3749 | 1246449.9837 | 2681935.9932 | 1246449.4666 | 2681941.4895 | 1246470.4912 | 2681947.7729 | 1246486.5008
12 | 2681982.5012 | 1246499.6681 | 2682001.6014 | 1246502.2674
13 | 2681982.5012 | 1246499.6681 | 2681979.0577 | 1246521.3537
14 | 2681836.9574 | 1246494.877 | 2681838.8318 | 1246486.5626
15 | 2681842.2852 | 1246471.2438 | 2681838.8318 | 1246486.5626
16 | 2682092.1216 | 1246467.8841 | 2682110.1757 | 1246474.2436
17 | 2682060.4422 | 1246492.1181 | 2682060.5002 | 1246490.6769
18 | 2682017.5698 | 1246373.0382 | 2682014.6746 | 1246369.3399 | 2682012.936 | 1246367.2254
19 | 2682017.5698 | 1246373.0382 | 2682015.5081 | 1246378.9918 | 2682014.3823 | 1246395.9219 | 2682013.2422 | 1246398.6081
20 | 2682001.8247 | 1246499.2349 | 2682001.6014 | 1246502.2674
21 | 2682001.6014 | 1246502.2674 | 2681993.3082 | 1246557.2324
22 | 2681845.735 | 1246455.9409 | 2681849.7226 | 1246438.2528
23 | 2681842.2852 | 1246471.2438 | 2681845.735 | 1246455.9409
24 | 2681994.1204 | 1246368.0548 | 2681987.6497 | 1246369.4108 | 2681983.8856 | 1246368.9918 | 2681980.7684 | 1246367.1362 | 2681978.2653 | 1246363.4879 | 2681976.8328 | 1246359.9989 | 2681976.4302 | 1246358.5493
25 | 2681994.1748 | 1246365.209 | 2681994.1204 | 1246368.0548
26 | 2682012.936 | 1246367.2254 | 2681994.1204 | 1246368.0548
27 | 2682060.4422 | 1246492.1181 | 2682057.088 | 1246492.1162 | 2682050.2792 | 1246499.8943 | 2682047.0097 | 1246497.5919 | 2682041.3377 | 1246505.1189 | 2682039.0373 | 1246504.8425
28 | 2682039.0373 | 1246504.8425 | 2682027.5177 | 1246503.1041 | 2682020.833 | 1246502.0998
29 | 2682001.8247 | 1246499.2349 | 2682013.9851 | 1246501.071 | 2682020.833 | 1246502.0998
30 | 2682007.7841 | 1246564.9729 | 2681995.8365 | 1246562.932 | 2681992.5356 | 1246562.3526 | 2681993.3082 | 1246557.2324
31 | 2682022.9964 | 1246422.0156 | 2682014.4354 | 1246422.649
32 | 2682001.3448 | 1246423.6175 | 2682014.4354 | 1246422.649
33 | 2682022.9964 | 1246422.0156 | 2682020.2977 | 1246428.6832 | 2682019.8214 | 1246434.1695 | 2682019.7067 | 1246437.0033
34 | 2682001.3448 | 1246423.6175 | 2682001.0602 | 1246433.265 | 2682000.976 | 1246436.077
35 | 2682001.3448 | 1246423.6175 | 2681998.6394 | 1246423.8093
36 | 2681986.8513 | 1246421.6712 | 2681995.3101 | 1246424.0455 | 2681998.6394 | 1246423.8093
37 | 2681998.0409 | 1246396.4853 | 2682000.1503 | 1246396.3699 | 2682000.6455 | 1246403.1706 | 2682011.0349 | 1246400.3344 | 2682013.2422 | 1246398.6081
38 | 2681998.0409 | 1246396.4853 | 2681998.0375 | 1246395.0953
39 | 2681998.0409 | 1246396.4853 | 2681994.9002 | 1246396.8755 | 2681988.9324 | 1246399.5728
40 | 2681986.8513 | 1246421.6712 | 2681985.1634 | 1246427.3632 | 2681982.7354 | 1246431.9441 | 2681982.7361 | 1246435.1687
41 | 2681986.8513 | 1246421.6712 | 2681985.8624 | 1246419.9786 | 2681985.87 | 1246413.9632
42 | 2681979.2859 | 1246396.7596 | 2681980.8639 | 1246397.9267 | 2681988.9324 | 1246399.5728
43 | 2681985.87 | 1246413.9632 | 2681985.9473 | 1246407.8264 | 2681988.9324 | 1246399.5728
44 | 2682012.964 | 1246365.2021 | 2682012.936 | 1246367.2254
45 | 2681984.1013 | 1246414.0277 | 2681985.87 | 1246413.9632
46 | 2682003.9391 | 1246487.8336 | 2682001.8247 | 1246499.2349

## bus_geodata
| x | y | coords
0 | 2682118.997 | 1246533.5858
1 | 2682126.9552 | 1246487.691
2 | 2682102.2527 | 1246478.8537
3 | 2682084.2709 | 1246472.4112
4 | 2682095.2073 | 1246499.3805
5 | 2682076.0317 | 1246372.3463
6 | 2682081.0784 | 1246463.9942
7 | 2682070.6477 | 1246370.4627
8 | 2681947.7729 | 1246486.5008
9 | 2681982.5012 | 1246499.6681
10 | 2681836.9574 | 1246494.877
11 | 2681838.8318 | 1246486.5626
12 | 2682092.1216 | 1246467.8841
13 | 2682060.5002 | 1246490.6769
14 | 2682110.1757 | 1246474.2436
15 | 2682017.5698 | 1246373.0382
16 | 2682001.6014 | 1246502.2674
17 | 2681979.0577 | 1246521.3537
18 | 2681849.7226 | 1246438.2528
19 | 2681845.735 | 1246455.9409
20 | 2681976.4302 | 1246358.5493
21 | 2681994.1204 | 1246368.0548
22 | 2681842.2852 | 1246471.2438
23 | 2682060.4422 | 1246492.1181
24 | 2682039.0373 | 1246504.8425
25 | 2682020.833 | 1246502.0998
26 | 2682007.7841 | 1246564.9729
27 | 2681993.3082 | 1246557.2324
28 | 2682014.4354 | 1246422.649
29 | 2682022.9964 | 1246422.0156
30 | 2682001.3448 | 1246423.6175
31 | 2682019.7067 | 1246437.0033
32 | 2682000.976 | 1246436.077
33 | 2681998.6394 | 1246423.8093
34 | 2682013.2422 | 1246398.6081
35 | 2681998.0409 | 1246396.4853
36 | 2681986.8513 | 1246421.6713
37 | 2681998.0375 | 1246395.0953
38 | 2681988.9324 | 1246399.5728
39 | 2682012.936 | 1246367.2254
40 | 2681982.7361 | 1246435.1687
41 | 2681985.87 | 1246413.9632
42 | 2681994.1748 | 1246365.209
43 | 2682012.964 | 1246365.2021
44 | 2682001.8247 | 1246499.2349
45 | 2682003.9391 | 1246487.8336
46 | 2681984.1013 | 1246414.0277
47 | 2681979.2859 | 1246396.7596
48 | 2682001.8247 | 1246499.2349

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98918 | -0.20669 | 0.042322 | 0.010607
1 | 0.99099 | -0.17164 | 0 | 0
2 | 0.992 | -0.15201 | 0 | 0
3 | 0.99283 | -0.13609 | 0 | 0
4 | 0.9919 | -0.15388 | 0.0048718 | 0.001221
5 | 0.98079 | -0.36695 | 0 | 0
6 | 0.99194 | -0.15295 | 0 | 0
7 | 0.98029 | -0.37667 | 0.011389 | 0.0028544
8 | 0.99761 | -0.045268 | 0 | 0
9 | 0.99814 | -0.035359 | 0 | 0
10 | 0.97909 | -0.40183 | 0 | 0
11 | 0.97875 | -0.4084 | 0.0098566 | 0.0024703
12 | 0.99181 | -0.15539 | 0.0065745 | 0.0016477
13 | 0.99534 | -0.088213 | 0.0058808 | 0.0014739
14 | 0.99172 | -0.15715 | 0.0051894 | 0.0013006
15 | 0.976 | -0.46056 | 0 | 0
16 | 0.9986 | -0.026505 | 0 | 0
17 | 0.99741 | -0.049412 | 0.036557 | 0.0091621
18 | 0.97774 | -0.42841 | 0.012792 | 0.003206
19 | 0.97795 | -0.42419 | 0.0098809 | 0.0024764
20 | 0.9756 | -0.46843 | 0.0050778 | 0.0012726
21 | 0.97571 | -0.46622 | 0 | 0
22 | 0.97828 | -0.41771 | 0.0098746 | 0.0024748
23 | 0.99541 | -0.08687 | 0 | 0
24 | 0.99685 | -0.05953 | 0 | 0
25 | 0.99776 | -0.042442 | 0.011193 | 0.0028051
26 | 0.99255 | -0.14314 | 0.058862 | 0.014752
27 | 0.99366 | -0.12166 | 0.038589 | 0.0096712
28 | 0.97065 | -0.56599 | 0.0064925 | 0.0016272
29 | 0.97057 | -0.56751 | 0.0019466 | 0.00048786
30 | 0.97084 | -0.56208 | 0 | 0
31 | 0.97046 | -0.5697 | 0.0076332 | 0.0019131
32 | 0.97075 | -0.56389 | 0.0078332 | 0.0019632
33 | 0.9709 | -0.56088 | 0.0093782 | 0.0023504
34 | 0.97437 | -0.49247 | 0 | 0
35 | 0.97298 | -0.51993 | 0 | 0
36 | 0.97128 | -0.55343 | 0 | 0
37 | 0.97297 | -0.52004 | 0.0044748 | 0.0011215
38 | 0.97242 | -0.531 | 0 | 0
39 | 0.97589 | -0.46276 | 0 | 0
40 | 0.97112 | -0.55665 | 0.012179 | 0.0030523
41 | 0.97162 | -0.54673 | 0 | 0
42 | 0.9757 | -0.46648 | 0.0049891 | 0.0012504
43 | 0.97587 | -0.46299 | 0.0060999 | 0.0015288
44 | 0.99877 | -0.023378 | 0 | 0
45 | 1 | 0 | -0.3527 | -0.089717
46 | 0.9716 | -0.54711 | 0.011713 | 0.0029355
47 | 0.97237 | -0.53191 | 0.0048345 | 0.0012116
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.042322 | -0.010607 | 0.042393 | 0.010652 | 7.08e-05 | 4.4713e-05 | 0.063665 | 0.063665 | 0.063665 | 0.98918 | -0.20669 | 0.99099 | -0.17164 | 17.4905
1 | -0.042393 | -0.010652 | 0.042433 | 0.010677 | 3.9773e-05 | 2.5117e-05 | 0.063665 | 0.063665 | 0.063665 | 0.99099 | -0.17164 | 0.992 | -0.15201 | 17.4904
2 | -0.047305 | -0.011898 | 0.047341 | 0.011921 | 3.5987e-05 | 2.2785e-05 | 0.070973 | 0.070973 | 0.070973 | 0.992 | -0.15201 | 0.99283 | -0.13609 | 19.4982
3 | 0.0048723 | 0.001221 | -0.0048718 | -0.001221 | 4.3471e-07 | -1.947e-09 | 0.0073084 | 0.0073085 | 0.0073085 | 0.992 | -0.15201 | 0.9919 | -0.15388 | 2.0078
4 | -0.1549 | -0.039557 | 0.15526 | 0.039786 | 0.0003594 | 0.0002291 | 0.23243 | 0.23243 | 0.23243 | 0.99283 | -0.13609 | 0.99534 | -0.088213 | 31.9268
5 | 0.10756 | 0.027636 | -0.10747 | -0.02758 | 8.7968e-05 | 5.6183e-05 | 0.16145 | 0.16145 | 0.16145 | 0.99283 | -0.13609 | 0.99194 | -0.15295 | 44.3556
6 | -0.094724 | -0.024002 | 0.095709 | 0.024631 | 0.00098492 | 0.00062873 | 0.14381 | 0.1438 | 0.14381 | 0.98079 | -0.36695 | 0.99194 | -0.15295 | 39.5069
7 | 0.094724 | 0.024002 | -0.09468 | -0.023974 | 4.4234e-05 | 2.8238e-05 | 0.14381 | 0.14381 | 0.14381 | 0.98079 | -0.36695 | 0.98029 | -0.37667 | 39.5069
8 | 0.011766 | 0.0029491 | -0.011764 | -0.0029483 | 1.3678e-06 | 7.2425e-07 | 0.01765 | 0.01765 | 0.01765 | 0.99194 | -0.15295 | 0.99181 | -0.15539 | 4.8489
9 | 0.08329 | 0.02112 | -0.082956 | -0.020906 | 0.00033441 | 0.00021332 | 0.12652 | 0.12652 | 0.12652 | 0.98029 | -0.37667 | 0.976 | -0.46056 | 34.7575
10 | -0.043176 | -0.011097 | 0.043197 | 0.011108 | 2.0795e-05 | 1.1742e-05 | 0.064499 | 0.064498 | 0.064499 | 0.99761 | -0.045268 | 0.99814 | -0.035359 | 5.9065
11 | 0.043176 | 0.011097 | -0.042442 | -0.010651 | 0.00073466 | 0.00044604 | 0.064499 | 0.064507 | 0.064507 | 0.99761 | -0.045268 | 0.97909 | -0.40183 | 8.8609
12 | -0.079779 | -0.020286 | 0.079813 | 0.020307 | 3.4043e-05 | 2.1033e-05 | 0.11904 | 0.11904 | 0.11904 | 0.99814 | -0.035359 | 0.9986 | -0.026505 | 10.9008
13 | 0.036582 | 0.0091775 | -0.036557 | -0.0091621 | 2.4492e-05 | 1.5388e-05 | 0.054539 | 0.054539 | 0.054539 | 0.99814 | -0.035359 | 0.99741 | -0.049412 | 14.9832
14 | 0.042442 | 0.010651 | -0.042428 | -0.010642 | 1.33e-05 | 8.4048e-06 | 0.064507 | 0.064507 | 0.064507 | 0.97909 | -0.40183 | 0.97875 | -0.4084 | 17.7218
15 | 0.032572 | 0.0081719 | -0.032557 | -0.0081629 | 1.4442e-05 | 9.0455e-06 | 0.049522 | 0.049522 | 0.049522 | 0.97875 | -0.4084 | 0.97828 | -0.41771 | 13.605
16 | 0.0051899 | 0.0013006 | -0.0051894 | -0.0013006 | 4.3519e-07 | 3.1517e-08 | 0.0077864 | 0.0077864 | 0.0077864 | 0.99181 | -0.15539 | 0.99172 | -0.15715 | 2.1391
17 | -0.16114 | -0.04126 | 0.16115 | 0.041267 | 1.0491e-05 | 6.6578e-06 | 0.24122 | 0.24122 | 0.24122 | 0.99534 | -0.088213 | 0.99541 | -0.08687 | 22.0896
18 | 0.016171 | 0.0040537 | -0.016169 | -0.0040527 | 1.6927e-06 | 9.9055e-07 | 0.024655 | 0.024655 | 0.024655 | 0.976 | -0.46056 | 0.97589 | -0.46276 | 6.7733
19 | 0.066785 | 0.016853 | -0.066683 | -0.016788 | 0.00010189 | 6.488e-05 | 0.10186 | 0.10186 | 0.10186 | 0.976 | -0.46056 | 0.97437 | -0.49247 | 27.9843
20 | -0.17777 | -0.045052 | 0.17779 | 0.045069 | 2.6708e-05 | 1.6974e-05 | 0.26507 | 0.26507 | 0.26507 | 0.9986 | -0.026505 | 0.99877 | -0.023378 | 24.2736
21 | 0.097955 | 0.024745 | -0.09751 | -0.024462 | 0.00044453 | 0.00028377 | 0.14603 | 0.14603 | 0.14603 | 0.9986 | -0.026505 | 0.99366 | -0.12166 | 40.1186
22 | -0.012792 | -0.003206 | 0.012795 | 0.0032074 | 2.5771e-06 | 1.4219e-06 | 0.019468 | 0.019468 | 0.019468 | 0.97774 | -0.42841 | 0.97795 | -0.42419 | 5.3484
23 | -0.022676 | -0.0056838 | 0.022683 | 0.0056881 | 7.0028e-06 | 4.2849e-06 | 0.034503 | 0.034503 | 0.034503 | 0.97795 | -0.42419 | 0.97828 | -0.41771 | 9.4787
24 | -0.0050778 | -0.0012726 | 0.0050784 | 0.0012727 | 5.337e-07 | 4.5262e-08 | 0.0077449 | 0.0077448 | 0.0077449 | 0.9756 | -0.46843 | 0.97571 | -0.46622 | 2.1277
25 | 0.0049892 | 0.0012504 | -0.0049891 | -0.0012504 | 6.181e-08 | 4.0005e-09 | 0.0076088 | 0.0076089 | 0.0076089 | 0.97571 | -0.46622 | 0.9757 | -0.46648 | 2.0903
26 | -0.010068 | -0.0025231 | 0.010069 | 0.0025239 | 1.66e-06 | 8.2781e-07 | 0.015354 | 0.015354 | 0.015354 | 0.97571 | -0.46622 | 0.97589 | -0.46276 | 4.218
27 | -0.16115 | -0.041267 | 0.16137 | 0.041402 | 0.00021373 | 0.00013564 | 0.24122 | 0.24122 | 0.24122 | 0.99541 | -0.08687 | 0.99685 | -0.05953 | 22.0896
28 | -0.16137 | -0.041402 | 0.1615 | 0.041487 | 0.0001339 | 8.4974e-05 | 0.24122 | 0.24122 | 0.24122 | 0.99685 | -0.05953 | 0.99776 | -0.042442 | 22.0895
29 | -0.17269 | -0.044292 | 0.17285 | 0.044394 | 0.00015983 | 0.00010154 | 0.25791 | 0.25791 | 0.25791 | 0.99776 | -0.042442 | 0.99877 | -0.023378 | 23.6181
30 | -0.058862 | -0.014752 | 0.058922 | 0.01479 | 6.0302e-05 | 3.8326e-05 | 0.088245 | 0.088245 | 0.088245 | 0.99255 | -0.14314 | 0.99366 | -0.12166 | 24.2431
31 | 0.0095813 | 0.0024016 | -0.0095806 | -0.0024012 | 6.9453e-07 | 3.384e-07 | 0.014688 | 0.014688 | 0.014688 | 0.97065 | -0.56599 | 0.97057 | -0.56751 | 4.0353
32 | -0.016074 | -0.0040288 | 0.016077 | 0.0040305 | 2.9889e-06 | 1.7506e-06 | 0.024642 | 0.024641 | 0.024642 | 0.97065 | -0.56599 | 0.97084 | -0.56208 | 6.7696
33 | 0.007634 | 0.0019134 | -0.0076332 | -0.0019131 | 7.9802e-07 | 3.1877e-07 | 0.011704 | 0.011704 | 0.011704 | 0.97057 | -0.56751 | 0.97046 | -0.5697 | 3.2154
34 | 0.0078339 | 0.0019635 | -0.0078332 | -0.0019632 | 6.7402e-07 | 2.7722e-07 | 0.012007 | 0.012007 | 0.012007 | 0.97084 | -0.56208 | 0.97075 | -0.56389 | 3.2987
35 | -0.023911 | -0.005994 | 0.023912 | 0.0059948 | 1.366e-06 | 8.4072e-07 | 0.036649 | 0.036649 | 0.036649 | 0.97084 | -0.56208 | 0.9709 | -0.56088 | 10.0683
36 | -0.03329 | -0.0083452 | 0.033302 | 0.0083527 | 1.1835e-05 | 7.4243e-06 | 0.051022 | 0.051022 | 0.051022 | 0.9709 | -0.56088 | 0.97128 | -0.55343 | 14.0169
37 | 0.066683 | 0.016788 | -0.066596 | -0.016732 | 8.74e-05 | 5.5657e-05 | 0.10186 | 0.10186 | 0.10186 | 0.97437 | -0.49247 | 0.97298 | -0.51993 | 27.9843
38 | 0.0044749 | 0.0011215 | -0.0044748 | -0.0011215 | 2.4413e-08 | -1.6394e-09 | 0.0068436 | 0.0068436 | 0.0068436 | 0.97298 | -0.51993 | 0.97297 | -0.52004 | 1.8801
39 | 0.062121 | 0.015611 | -0.062088 | -0.01559 | 3.2805e-05 | 2.0875e-05 | 0.095019 | 0.095019 | 0.095019 | 0.97298 | -0.51993 | 0.97242 | -0.531 | 26.1042
40 | 0.012181 | 0.0030533 | -0.012179 | -0.0030523 | 1.873e-06 | 1.0213e-06 | 0.018661 | 0.018661 | 0.018661 | 0.97128 | -0.55343 | 0.97112 | -0.55665 | 5.1267
41 | -0.045483 | -0.011406 | 0.045497 | 0.011415 | 1.4522e-05 | 9.195e-06 | 0.069683 | 0.069683 | 0.069683 | 0.97128 | -0.55343 | 0.97162 | -0.54673 | 19.1436
42 | 0.0048347 | 0.0012116 | -0.0048345 | -0.0012116 | 2.0874e-07 | 7.4347e-09 | 0.0073982 | 0.0073982 | 0.0073982 | 0.97242 | -0.531 | 0.97237 | -0.53191 | 2.0325
43 | 0.057253 | 0.014378 | -0.05721 | -0.014351 | 4.2935e-05 | 2.7294e-05 | 0.087621 | 0.087621 | 0.087621 | 0.97242 | -0.531 | 0.97162 | -0.54673 | 24.0718
44 | 0.0061 | 0.0015288 | -0.0060999 | -0.0015288 | 6.5663e-08 | 1.6736e-08 | 0.0093012 | 0.0093012 | 0.0093012 | 0.97589 | -0.46276 | 0.97587 | -0.46299 | 2.5553
45 | 0.011713 | 0.0029357 | -0.011713 | -0.0029355 | 2.1299e-07 | 1.1445e-07 | 0.017939 | 0.017939 | 0.017939 | 0.97162 | -0.54673 | 0.9716 | -0.54711 | 4.9282
46 | -0.35065 | -0.089463 | 0.35105 | 0.089716 | 0.00039644 | 0.00025327 | 0.52298 | 0.52298 | 0.52298 | 0.99877 | -0.023378 | 1 | 0 | 47.8916

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38386 | 0.097528

## res_load
| p_mw | q_mvar
0 | 0.042322 | 0.010607
1 | 0.0048718 | 0.001221
2 | 0.011389 | 0.0028544
3 | 0.0098566 | 0.0024703
4 | 0.0065745 | 0.0016477
5 | 0.0058808 | 0.0014739
6 | 0.0051894 | 0.0013006
7 | 0.036557 | 0.0091621
8 | 0.012792 | 0.003206
9 | 0.0098809 | 0.0024764
10 | 0.0050778 | 0.0012726
11 | 0.0098746 | 0.0024748
12 | 0.011193 | 0.0028051
13 | 0.058862 | 0.014752
14 | 0.038589 | 0.0096712
15 | 0.0064925 | 0.0016272
16 | 0.0019466 | 0.00048786
17 | 0.0076332 | 0.0019131
18 | 0.0078332 | 0.0019632
19 | 0.0093782 | 0.0023504
20 | 0.0044748 | 0.0011215
21 | 0.012179 | 0.0030523
22 | 0.0049891 | 0.0012504
23 | 0.0060999 | 0.0015288
24 | 0.031169 | 0.0078118
25 | 0.011713 | 0.0029355
26 | 0.0048345 | 0.0012116

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1