## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-338_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-338_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-338_0_3_node_14 | 0.4 | n |  | TRUE
3 | bus_LV_261-338_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_261-338_0_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_261-338_0_3_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_261-338_0_3_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_261-338_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_261-338_0_3_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_261-338_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_261-338_0_3_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_261-338_0_3_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_261-338_0_3_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_261-338_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_261-338_0_3_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_261-338_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_261-338_0_3_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_261-338_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_261-338_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_261-338_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_261-338_0_3_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_261-338_0_3_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_261-338_0_3_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_261-338_0_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_261-338_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_261-338_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_261-338_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_261-338_0_3_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_261-338_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_261-338_0_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_261-338_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_261-338_0_3_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_261-338_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_261-338_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_MV_389_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-338_0_3_load_0 | 0 | 0.010966 | 0.0027483 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-338_0_3_load_30 | 8 | 0.012491 | 0.0031306 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-338_0_3_load_35 | 10 | 0.050469 | 0.012649 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-338_0_3_load_31 | 12 | 0.031289 | 0.0078417 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-338_0_3_load_28 | 14 | 0.0051154 | 0.001282 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-338_0_3_load_25 | 16 | 0.0070679 | 0.0017714 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-338_0_3_load_32 | 20 | 0.029169 | 0.0073105 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-338_0_3_load_34 | 21 | 0.014687 | 0.0036808 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-338_0_3_load_24 | 22 | 0.0048087 | 0.0012052 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-338_0_3_load_21 | 23 | 0.020558 | 0.0051523 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-338_0_3_load_19 | 24 | 0.0050601 | 0.0012682 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-338_0_3_load_17 | 25 | 0.011016 | 0.002761 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-338_0_3_load_16 | 26 | 0.038454 | 0.0096375 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-338_0_3_load_29 | 27 | 0.012205 | 0.0030588 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-338_0_3_load_18 | 28 | 0.013357 | 0.0033477 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-338_0_3_load_27 | 29 | 0.018126 | 0.0045428 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-338_0_3_load_26 | 30 | 0.0094007 | 0.002356 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-338_0_3_load_33 | 31 | 0.029436 | 0.0073774 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-338_0_3_load_22 | 32 | 0.011374 | 0.0028507 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-338_0_3_load_23 | 33 | 0.0094362 | 0.0023649 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-338_0_3_line_0 |  | 0 | 1 | 0.011297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-338_0_3_line_1 |  | 1 | 2 | 0.014019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-338_0_3_line_2 |  | 2 | 25 | 0.019133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-338_0_3_line_3 |  | 2 | 26 | 0.038023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-338_0_3_line_4 |  | 3 | 4 | 0.01562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-338_0_3_line_5 |  | 3 | 5 | 0.0082542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-338_0_3_line_6 |  | 4 | 13 | 0.007122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-338_0_3_line_7 |  | 4 | 14 | 0.017167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-338_0_3_line_8 |  | 5 | 25 | 0.0062108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-338_0_3_line_9 |  | 5 | 15 | 0.01085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_261-338_0_3_line_10 |  | 6 | 7 | 0.0080195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-338_0_3_line_11 |  | 6 | 8 | 0.010789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-338_0_3_line_12 |  | 7 | 12 | 0.017598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-338_0_3_line_13 |  | 8 | 27 | 0.013599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-338_0_3_line_14 |  | 9 | 10 | 0.01387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-338_0_3_line_15 |  | 9 | 11 | 0.028632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-338_0_3_line_16 |  | 11 | 28 | 0.030454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-338_0_3_line_17 |  | 13 | 24 | 0.025308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-338_0_3_line_18 |  | 14 | 29 | 0.0030188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-338_0_3_line_19 |  | 15 | 16 | 0.0094631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_261-338_0_3_line_20 |  | 16 | 30 | 0.017541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_261-338_0_3_line_21 |  | 17 | 18 | 0.098389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-338_0_3_line_22 |  | 17 | 19 | 0.011396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-338_0_3_line_23 |  | 17 | 20 | 0.03933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-338_0_3_line_24 |  | 18 | 21 | 0.016001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-338_0_3_line_25 |  | 19 | 22 | 0.021961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_261-338_0_3_line_26 |  | 19 | 23 | 0.018267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_261-338_0_3_line_27 |  | 21 | 31 | 0.024293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-338_0_3_line_28 |  | 22 | 30 | 0.017788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_261-338_0_3_line_29 |  | 23 | 32 | 0.01978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_261-338_0_3_line_30 |  | 24 | 28 | 0.018342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-338_0_3_line_31 |  | 27 | 33 | 0.01342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-338_0_3_line_32 |  | 32 | 33 | 0.013745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-338_0_3_trafo_22 | 0.63 MVA 20/0.4 kV | 34 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2678770.2828 | 1249081.0404 | 2678780.5643 | 1249076.3592
1 | 2678770.2828 | 1249081.0404 | 2678772.0801 | 1249085.0116 | 2678773.5619 | 1249088.2892 | 2678779.0776 | 1249085.7718
2 | 2678779.0776 | 1249085.7718 | 2678796.4884 | 1249077.8395
3 | 2678779.0776 | 1249085.7718 | 2678796.928 | 1249119.3446
4 | 2678798.6893 | 1249068.1084 | 2678800.4412 | 1249062.9946 | 2678800.9534 | 1249060.255 | 2678804.6225 | 1249058.6136 | 2678807.832 | 1249057.4666
5 | 2678802.2602 | 1249075.5502 | 2678800.4014 | 1249071.6671 | 2678798.6893 | 1249068.1084
6 | 2678807.832 | 1249057.4666 | 2678808.6908 | 1249059.8909 | 2678810.8501 | 1249063.9003
7 | 2678807.832 | 1249057.4666 | 2678807.1186 | 1249055.4667 | 2678808.4736 | 1249052.9496 | 2678805.1117 | 1249043.409 | 2678804.3228 | 1249041.4959
8 | 2678802.2602 | 1249075.5502 | 2678797.4557 | 1249077.3988 | 2678796.4884 | 1249077.8395
9 | 2678802.2602 | 1249075.5502 | 2678805.1891 | 1249075.6336 | 2678809.1083 | 1249076.7643 | 2678812.3499 | 1249078.8756
10 | 2678776.783 | 1249173.1607 | 2678778.6734 | 1249176.9442 | 2678780.365 | 1249180.3358
11 | 2678776.783 | 1249173.1607 | 2678786.3308 | 1249168.1358
12 | 2678780.365 | 1249180.3358 | 2678788.2325 | 1249196.0768
13 | 2678798.3649 | 1249161.8024 | 2678786.3308 | 1249168.1358
14 | 2678885.9355 | 1249071.6711 | 2678872.1657 | 1249073.6449
15 | 2678881.7108 | 1249043.5722 | 2678886.2762 | 1249063.0916 | 2678885.9355 | 1249071.6711
16 | 2678881.7108 | 1249043.5722 | 2678864.2763 | 1249047.4208 | 2678851.8894 | 1249049.7284
17 | 2678810.8501 | 1249063.9003 | 2678814.8258 | 1249063.0525 | 2678834.3294 | 1249054.634
18 | 2678803.172 | 1249038.7052 | 2678804.3228 | 1249041.4959
19 | 2678812.3499 | 1249078.8756 | 2678814.1128 | 1249080.8894 | 2678817.6599 | 1249085.5844 | 2678818.2613 | 1249086.2571
20 | 2678818.2613 | 1249086.2571 | 2678824.7731 | 1249093.5403 | 2678830.13 | 1249099.1705
21 | 2678853.8626 | 1249196.1021 | 2678857.4492 | 1249193.2811 | 2678868.3387 | 1249185.8538 | 2678892.4306 | 1249166.8716 | 2678894.6623 | 1249164.8665 | 2678895.5613 | 1249163.6998 | 2678895.9515 | 1249162.1817 | 2678895.3777 | 1249159.9057 | 2678894.3751 | 1249158.647 | 2678891.393 | 1249155.7608 | 2678886.9978 | 1249152.3887 | 2678870.8911 | 1249141.5999 | 2678867.1263 | 1249139.0813 | 2678865.2756 | 1249138.0003 | 2678863.2771 | 1249137.8069 | 2678861.1039 | 1249138.2561
22 | 2678853.9195 | 1249129.4097 | 2678858.2063 | 1249134.6928 | 2678861.1039 | 1249138.2561
23 | 2678861.1039 | 1249138.2561 | 2678859.19 | 1249139.0757 | 2678847.4463 | 1249144.8682 | 2678826.1085 | 1249156.1863
24 | 2678853.8626 | 1249196.1021 | 2678848.4751 | 1249200.3336 | 2678841.3687 | 1249206.0984
25 | 2678853.9195 | 1249129.4097 | 2678854.3299 | 1249126.3796 | 2678853.5861 | 1249123.8234 | 2678842.391 | 1249112.0572
26 | 2678853.9195 | 1249129.4097 | 2678853.2144 | 1249131.891 | 2678851.421 | 1249133.8797 | 2678839.9084 | 1249139.9386
27 | 2678822.503 | 1249221.4028 | 2678841.3687 | 1249206.0984
28 | 2678842.391 | 1249112.0572 | 2678830.13 | 1249099.1705
29 | 2678822.4041 | 1249149.1509 | 2678839.9084 | 1249139.9386
30 | 2678851.8894 | 1249049.7284 | 2678840.9905 | 1249051.7588 | 2678834.3294 | 1249054.634
31 | 2678798.3649 | 1249161.8024 | 2678810.2405 | 1249155.5525
32 | 2678810.2405 | 1249155.5525 | 2678822.4041 | 1249149.1509

## bus_geodata
| x | y | coords
0 | 2678780.5643 | 1249076.3592
1 | 2678770.2828 | 1249081.0404
2 | 2678779.0776 | 1249085.7718
3 | 2678798.6893 | 1249068.1084
4 | 2678807.832 | 1249057.4666
5 | 2678802.2602 | 1249075.5502
6 | 2678776.783 | 1249173.1607
7 | 2678780.365 | 1249180.3358
8 | 2678786.3308 | 1249168.1358
9 | 2678885.9355 | 1249071.6711
10 | 2678872.1657 | 1249073.6449
11 | 2678881.7108 | 1249043.5722
12 | 2678788.2325 | 1249196.0768
13 | 2678810.8501 | 1249063.9003
14 | 2678804.3228 | 1249041.4959
15 | 2678812.3499 | 1249078.8756
16 | 2678818.2613 | 1249086.2571
17 | 2678861.1039 | 1249138.2561
18 | 2678853.8626 | 1249196.1021
19 | 2678853.9195 | 1249129.4097
20 | 2678826.1085 | 1249156.1863
21 | 2678841.3687 | 1249206.0984
22 | 2678842.391 | 1249112.0572
23 | 2678839.9084 | 1249139.9386
24 | 2678834.3294 | 1249054.634
25 | 2678796.4884 | 1249077.8395
26 | 2678796.928 | 1249119.3446
27 | 2678798.3649 | 1249161.8024
28 | 2678851.8894 | 1249049.7284
29 | 2678803.172 | 1249038.7052
30 | 2678830.13 | 1249099.1705
31 | 2678822.503 | 1249221.4028
32 | 2678822.4041 | 1249149.1509
33 | 2678810.2405 | 1249155.5525
34 | 2678853.9195 | 1249129.4097

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98817 | -0.22693 | 0.010966 | 0.0027483
1 | 0.98828 | -0.22472 | 0 | 0
2 | 0.98842 | -0.22198 | 0 | 0
3 | 0.98894 | -0.21198 | 0 | 0
4 | 0.98761 | -0.23767 | 0 | 0
5 | 0.98964 | -0.19844 | 0 | 0
6 | 0.99765 | -0.045136 | 0 | 0
7 | 0.99742 | -0.049531 | 0 | 0
8 | 0.99796 | -0.039226 | 0.012491 | 0.0031306
9 | 0.98171 | -0.35248 | 0 | 0
10 | 0.98106 | -0.36515 | 0.050469 | 0.012649
11 | 0.98304 | -0.32638 | 0 | 0
12 | 0.99692 | -0.059182 | 0.031289 | 0.0078417
13 | 0.98716 | -0.24644 | 0 | 0
14 | 0.98724 | -0.2448 | 0.0051154 | 0.001282
15 | 0.9904 | -0.18372 | 0 | 0
16 | 0.99106 | -0.1709 | 0.0070679 | 0.0017714
17 | 0.99473 | -0.10058 | 0 | 0
18 | 0.99075 | -0.17736 | 0 | 0
19 | 0.99549 | -0.085881 | 0 | 0
20 | 0.99368 | -0.12081 | 0.029169 | 0.0073105
21 | 0.99011 | -0.18991 | 0.014687 | 0.0036808
22 | 0.99374 | -0.11951 | 0.0048087 | 0.0012052
23 | 0.99757 | -0.046261 | 0.020558 | 0.0051523
24 | 0.98555 | -0.27767 | 0.0050601 | 0.0012682
25 | 0.98929 | -0.20512 | 0.011016 | 0.002761
26 | 0.98708 | -0.2481 | 0.038454 | 0.0096375
27 | 0.9985 | -0.028812 | 0.012205 | 0.0030588
28 | 0.98446 | -0.2987 | 0.013357 | 0.0033477
29 | 0.98719 | -0.24578 | 0.018126 | 0.0045428
30 | 0.99235 | -0.14609 | 0.0094007 | 0.002356
31 | 0.98945 | -0.20263 | 0.029436 | 0.0073774
32 | 1 | 0 | -0.33781 | -0.085424
33 | 0.99918 | -0.015686 | 0.0094362 | 0.0023649
34 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010966 | -0.0027483 | 0.010967 | 0.0027489 | 1.1551e-06 | 5.9455e-07 | 0.016513 | 0.016513 | 0.016513 | 0.98817 | -0.22693 | 0.98828 | -0.22472 | 4.5365
1 | -0.010967 | -0.0027489 | 0.010968 | 0.0027496 | 1.4335e-06 | 7.3775e-07 | 0.016513 | 0.016513 | 0.016513 | 0.98828 | -0.22472 | 0.98842 | -0.22198 | 4.5365
2 | -0.04947 | -0.012417 | 0.04951 | 0.012443 | 3.9802e-05 | 2.5228e-05 | 0.074482 | 0.074482 | 0.074482 | 0.98842 | -0.22198 | 0.98929 | -0.20512 | 20.462
3 | 0.038502 | 0.0096677 | -0.038454 | -0.0096375 | 4.7915e-05 | 3.0179e-05 | 0.057969 | 0.057969 | 0.057969 | 0.98842 | -0.22198 | 0.98708 | -0.2481 | 15.9256
4 | 0.092608 | 0.023394 | -0.092494 | -0.023322 | 0.00011384 | 7.266e-05 | 0.13941 | 0.13941 | 0.13941 | 0.98894 | -0.21198 | 0.98761 | -0.23767 | 38.2993
5 | -0.092608 | -0.023394 | 0.092668 | 0.023433 | 6.0158e-05 | 3.8395e-05 | 0.13941 | 0.13941 | 0.13941 | 0.98894 | -0.21198 | 0.98964 | -0.19844 | 38.2993
6 | 0.069244 | 0.017492 | -0.069215 | -0.017473 | 2.9097e-05 | 1.8531e-05 | 0.10438 | 0.10438 | 0.10438 | 0.98761 | -0.23767 | 0.98716 | -0.24644 | 28.6752
7 | 0.02325 | 0.0058302 | -0.023242 | -0.0058254 | 7.9004e-06 | 4.8367e-06 | 0.035032 | 0.035032 | 0.035032 | 0.98761 | -0.23767 | 0.98724 | -0.2448 | 9.6242
8 | 0.060546 | 0.015216 | -0.060527 | -0.015204 | 1.9309e-05 | 1.2278e-05 | 0.091052 | 0.091052 | 0.091052 | 0.98964 | -0.19844 | 0.98929 | -0.20512 | 25.0142
9 | -0.15321 | -0.038649 | 0.15332 | 0.038718 | 0.00010805 | 6.8873e-05 | 0.23046 | 0.23046 | 0.23046 | 0.98964 | -0.19844 | 0.9904 | -0.18372 | 31.6567
10 | 0.03131 | 0.0078548 | -0.031303 | -0.0078507 | 6.5592e-06 | 4.0932e-06 | 0.046702 | 0.046702 | 0.046702 | 0.99765 | -0.045136 | 0.99742 | -0.049531 | 12.8302
11 | -0.03131 | -0.0078548 | 0.031319 | 0.0078603 | 8.8246e-06 | 5.5068e-06 | 0.046702 | 0.046702 | 0.046702 | 0.99765 | -0.045136 | 0.99796 | -0.039226 | 12.8302
12 | 0.031303 | 0.0078507 | -0.031289 | -0.0078417 | 1.4393e-05 | 8.9821e-06 | 0.046702 | 0.046702 | 0.046702 | 0.99742 | -0.049531 | 0.99692 | -0.059182 | 12.8302
13 | -0.04381 | -0.010991 | 0.043831 | 0.011005 | 2.1763e-05 | 1.3751e-05 | 0.065327 | 0.065327 | 0.065327 | 0.99796 | -0.039226 | 0.9985 | -0.028812 | 17.9469
14 | 0.0505 | 0.012668 | -0.050469 | -0.012649 | 3.0478e-05 | 1.9331e-05 | 0.076549 | 0.076549 | 0.076549 | 0.98171 | -0.35248 | 0.98106 | -0.36515 | 21.0299
15 | -0.0505 | -0.012668 | 0.050563 | 0.012708 | 6.2915e-05 | 3.9903e-05 | 0.076549 | 0.076549 | 0.076549 | 0.98171 | -0.35248 | 0.98304 | -0.32638 | 21.0298
16 | -0.050563 | -0.012708 | 0.050629 | 0.01275 | 6.6919e-05 | 4.2442e-05 | 0.076549 | 0.076548 | 0.076549 | 0.98304 | -0.32638 | 0.98446 | -0.2987 | 21.0298
17 | 0.069215 | 0.017473 | -0.069111 | -0.017407 | 0.0001034 | 6.5851e-05 | 0.10438 | 0.10438 | 0.10438 | 0.98716 | -0.24644 | 0.98555 | -0.27767 | 28.6752
18 | 0.018127 | 0.0045433 | -0.018126 | -0.0045428 | 8.4504e-07 | 5.0223e-07 | 0.027322 | 0.027322 | 0.027322 | 0.98724 | -0.2448 | 0.98719 | -0.24578 | 7.506
19 | -0.15332 | -0.038718 | 0.15342 | 0.038778 | 9.4238e-05 | 6.0069e-05 | 0.23046 | 0.23046 | 0.23046 | 0.9904 | -0.18372 | 0.99106 | -0.1709 | 31.6567
20 | -0.16048 | -0.040549 | 0.16068 | 0.040671 | 0.00019114 | 0.00012188 | 0.24107 | 0.24107 | 0.24107 | 0.99106 | -0.1709 | 0.99235 | -0.14609 | 33.1144
21 | 0.044329 | 0.011189 | -0.044167 | -0.011086 | 0.00016238 | 0.00010265 | 0.06634 | 0.066341 | 0.066341 | 0.99473 | -0.10058 | 0.99075 | -0.17736 | 18.2254
22 | -0.073527 | -0.018517 | 0.073579 | 0.01855 | 5.173e-05 | 3.2959e-05 | 0.11002 | 0.11002 | 0.11002 | 0.99473 | -0.10058 | 0.99549 | -0.085881 | 30.2253
23 | 0.029197 | 0.007328 | -0.029169 | -0.0073105 | 2.814e-05 | 1.75e-05 | 0.04368 | 0.04368 | 0.04368 | 0.99473 | -0.10058 | 0.99368 | -0.12081 | 12.0001
24 | 0.044167 | 0.011086 | -0.044141 | -0.011069 | 2.6408e-05 | 1.6695e-05 | 0.066341 | 0.066341 | 0.066341 | 0.99075 | -0.17736 | 0.99011 | -0.18991 | 18.2254
25 | 0.17539 | 0.044551 | -0.1751 | -0.044371 | 0.00028345 | 0.00018084 | 0.26237 | 0.26237 | 0.26237 | 0.99549 | -0.085881 | 0.99374 | -0.11951 | 36.0397
26 | -0.24896 | -0.063101 | 0.24944 | 0.063405 | 0.00047497 | 0.0003035 | 0.37239 | 0.37239 | 0.37239 | 0.99549 | -0.085881 | 0.99757 | -0.046261 | 51.1523
27 | 0.029454 | 0.0073885 | -0.029436 | -0.0073774 | 1.7852e-05 | 1.1113e-05 | 0.044268 | 0.044268 | 0.044268 | 0.99011 | -0.18991 | 0.98945 | -0.20263 | 12.1616
28 | 0.17029 | 0.043165 | -0.17008 | -0.043027 | 0.00021716 | 0.00013852 | 0.25517 | 0.25517 | 0.25517 | 0.99374 | -0.11951 | 0.99235 | -0.14609 | 35.0506
29 | -0.27 | -0.068557 | 0.2706 | 0.068942 | 0.00060251 | 0.00038509 | 0.40305 | 0.40305 | 0.40305 | 0.99757 | -0.046261 | 1 | 0 | 55.3645
30 | 0.064051 | 0.016139 | -0.063987 | -0.016098 | 6.4367e-05 | 4.0961e-05 | 0.096738 | 0.096738 | 0.096738 | 0.98555 | -0.27767 | 0.98446 | -0.2987 | 26.5763
31 | -0.056036 | -0.014063 | 0.056071 | 0.014086 | 3.51e-05 | 2.2288e-05 | 0.083515 | 0.083515 | 0.083515 | 0.9985 | -0.028812 | 0.99918 | -0.015686 | 22.9436
32 | 0.065556 | 0.016482 | -0.065507 | -0.016451 | 4.9067e-05 | 3.1223e-05 | 0.097567 | 0.097567 | 0.097567 | 1 | 0 | 0.99918 | -0.015686 | 26.8042

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.34918 | 0.088275

## res_load
| p_mw | q_mvar
0 | 0.010966 | 0.0027483
1 | 0.012491 | 0.0031306
2 | 0.050469 | 0.012649
3 | 0.031289 | 0.0078417
4 | 0.0051154 | 0.001282
5 | 0.0070679 | 0.0017714
6 | 0.029169 | 0.0073105
7 | 0.014687 | 0.0036808
8 | 0.0048087 | 0.0012052
9 | 0.020558 | 0.0051523
10 | 0.0050601 | 0.0012682
11 | 0.011016 | 0.002761
12 | 0.038454 | 0.0096375
13 | 0.012205 | 0.0030588
14 | 0.013357 | 0.0033477
15 | 0.018126 | 0.0045428
16 | 0.0094007 | 0.002356
17 | 0.029436 | 0.0073774
18 | 0.011374 | 0.0028507
19 | 0.0094362 | 0.0023649

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1