## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-344_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-344_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-344_0_6_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_261-344_0_6_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_261-344_0_6_node_29 | 0.4 | n |  | TRUE
5 | bus_LV_261-344_0_6_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_261-344_0_6_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_261-344_0_6_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_261-344_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_261-344_0_6_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_261-344_0_6_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_261-344_0_6_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_261-344_0_6_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_261-344_0_6_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_261-344_0_6_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_261-344_0_6_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_261-344_0_6_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_261-344_0_6_node_89 | 0.4 | n |  | TRUE
18 | bus_LV_261-344_0_6_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_261-344_0_6_node_98 | 0.4 | n |  | TRUE
20 | bus_LV_261-344_0_6_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_261-344_0_6_node_84 | 0.4 | n |  | TRUE
22 | bus_LV_261-344_0_6_node_90 | 0.4 | n |  | TRUE
23 | bus_LV_261-344_0_6_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_261-344_0_6_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_261-344_0_6_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_261-344_0_6_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_261-344_0_6_node_87 | 0.4 | n |  | TRUE
28 | bus_LV_261-344_0_6_node_101 | 0.4 | n |  | TRUE
29 | bus_LV_261-344_0_6_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_261-344_0_6_node_88 | 0.4 | n |  | TRUE
31 | bus_LV_261-344_0_6_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_261-344_0_6_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_261-344_0_6_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_261-344_0_6_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_261-344_0_6_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_261-344_0_6_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_261-344_0_6_node_79 | 0.4 | n |  | TRUE
38 | bus_LV_261-344_0_6_node_86 | 0.4 | n |  | TRUE
39 | bus_LV_261-344_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_261-344_0_6_node_78 | 0.4 | n |  | TRUE
41 | bus_LV_261-344_0_6_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_261-344_0_6_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_261-344_0_6_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_261-344_0_6_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_261-344_0_6_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_261-344_0_6_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_261-344_0_6_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_261-344_0_6_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_261-344_0_6_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_261-344_0_6_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_261-344_0_6_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_261-344_0_6_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_261-344_0_6_node_92 | 0.4 | n |  | TRUE
54 | bus_LV_261-344_0_6_node_93 | 0.4 | n |  | TRUE
55 | bus_LV_261-344_0_6_node_94 | 0.4 | n |  | TRUE
56 | bus_LV_261-344_0_6_node_91 | 0.4 | n |  | TRUE
57 | bus_LV_261-344_0_6_node_99 | 0.4 | n |  | TRUE
58 | bus_LV_261-344_0_6_node_77 | 0.4 | n |  | TRUE
59 | bus_LV_261-344_0_6_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_261-344_0_6_node_97 | 0.4 | n |  | TRUE
61 | bus_LV_261-344_0_6_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_261-344_0_6_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_261-344_0_6_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_261-344_0_6_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_261-344_0_6_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_261-344_0_6_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_261-344_0_6_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_261-344_0_6_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_261-344_0_6_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_261-344_0_6_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_261-344_0_6_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_261-344_0_6_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_261-344_0_6_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_261-344_0_6_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_261-344_0_6_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_261-344_0_6_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_261-344_0_6_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_261-344_0_6_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_261-344_0_6_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_261-344_0_6_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_261-344_0_6_node_100 | 0.4 | n |  | TRUE
82 | bus_LV_261-344_0_6_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_261-344_0_6_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_261-344_0_6_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_261-344_0_6_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_261-344_0_6_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_261-344_0_6_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_261-344_0_6_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_261-344_0_6_node_96 | 0.4 | n |  | TRUE
90 | bus_LV_261-344_0_6_node_95 | 0.4 | n |  | TRUE
91 | bus_MV_552_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-344_0_6_load_0 | 0 | 0.0093942 | 0.0023544 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-344_0_6_load_29 | 4 | 0.010432 | 0.0026146 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-344_0_6_load_28 | 6 | 0.0070522 | 0.0017675 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-344_0_6_load_30 | 7 | 0.001814 | 0.00045462 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-344_0_6_load_35 | 11 | 0.020553 | 0.0051511 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-344_0_6_load_43 | 14 | 0.01851 | 0.004639 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-344_0_6_load_48 | 15 | 0.047538 | 0.011914 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-344_0_6_load_89 | 17 | 0.010549 | 0.0026439 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-344_0_6_load_98 | 19 | 0.0080736 | 0.0020234 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-344_0_6_load_84 | 21 | 0.024276 | 0.0060842 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-344_0_6_load_90 | 22 | 0.0018423 | 0.00046173 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-344_0_6_load_33 | 23 | 0.021219 | 0.005318 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-344_0_6_load_34 | 24 | 0.022466 | 0.0056305 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-344_0_6_load_31 | 25 | 0.019686 | 0.0049338 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-344_0_6_load_87 | 27 | 0.0028751 | 0.00072056 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-344_0_6_load_101 | 28 | 0.0025858 | 0.00064806 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-344_0_6_load_88 | 30 | 0.013142 | 0.0032936 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-344_0_6_load_39 | 32 | 0.064517 | 0.01617 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-344_0_6_load_38 | 33 | 0.012664 | 0.0031739 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-344_0_6_load_40 | 35 | 0.0054007 | 0.0013535 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-344_0_6_load_86 | 38 | 0.013002 | 0.0032587 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-344_0_6_load_78 | 40 | 0.0017333 | 0.0004344 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-344_0_6_load_76 | 41 | 0.0054964 | 0.0013775 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-344_0_6_load_36 | 42 | 0.025307 | 0.0063425 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-344_0_6_load_32 | 43 | 0.019859 | 0.0049772 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-344_0_6_load_61 | 44 | 0.0029806 | 0.000747 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-344_0_6_load_50 | 46 | 0.0042659 | 0.0010691 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-344_0_6_load_47 | 48 | 0.0044594 | 0.0011176 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-344_0_6_load_63 | 50 | 0.0026157 | 0.00065555 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-344_0_6_load_53 | 51 | 0.0036027 | 0.00090292 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-344_0_6_load_41 | 52 | 0.010164 | 0.0025474 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-344_0_6_load_92 | 53 | 0.0018865 | 0.00047281 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-344_0_6_load_93 | 54 | 0.0018953 | 0.00047501 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-344_0_6_load_94 | 55 | 0.0089337 | 0.002239 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-344_0_6_load_91 | 56 | 0.0046129 | 0.0011561 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-344_0_6_load_99 | 57 | 0.0092525 | 0.0023189 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-344_0_6_load_77 | 58 | 0.0091357 | 0.0022896 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-344_0_6_load_97 | 60 | 0.0091 | 0.0022807 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-344_0_6_load_60 | 62 | 0.0029785 | 0.00074647 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-344_0_6_load_69 | 64 | 0.00051676 | 0.00012951 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-344_0_6_load_67 | 65 | 0.0029029 | 0.00072753 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-344_0_6_load_55 | 66 | 0.0113 | 0.0028321 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-344_0_6_load_49 | 69 | 0.0026527 | 0.00066483 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-344_0_6_load_52 | 70 | 0.0029296 | 0.00073423 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-344_0_6_load_65 | 72 | 0.002603 | 0.00065236 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-344_0_6_load_58 | 73 | 0.040515 | 0.010154 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-344_0_6_load_85 | 75 | 0.0046024 | 0.0011535 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-344_0_6_load_68 | 76 | 0.0089377 | 0.00224 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-344_0_6_load_66 | 77 | 0.0048521 | 0.001216 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-344_0_6_load_83 | 80 | 0.0046125 | 0.001156 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-344_0_6_load_100 | 81 | 0.0046115 | 0.0011558 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-344_0_6_load_71 | 83 | 0.0082276 | 0.002062 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-344_0_6_load_74 | 85 | 0.0083552 | 0.002094 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-344_0_6_load_75 | 86 | 0.0088772 | 0.0022248 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-344_0_6_load_80 | 87 | 0.0040604 | 0.0010176 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-344_0_6_load_82 | 88 | 0.0014371 | 0.00036016 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-344_0_6_load_95 | 90 | 0.010417 | 0.0026108 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 81 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-344_0_6_line_0 |  | 0 | 1 | 0.014023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-344_0_6_line_1 |  | 1 | 2 | 0.03946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-344_0_6_line_2 |  | 1 | 3 | 0.028949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-344_0_6_line_3 |  | 2 | 4 | 0.028533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-344_0_6_line_4 |  | 2 | 5 | 0.032676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-344_0_6_line_5 |  | 2 | 6 | 0.013923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-344_0_6_line_6 |  | 3 | 7 | 0.032142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-344_0_6_line_7 |  | 5 | 15 | 0.035239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-344_0_6_line_8 |  | 8 | 9 | 0.041481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-344_0_6_line_9 |  | 8 | 10 | 0.025117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-344_0_6_line_10 |  | 8 | 11 | 0.020975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_261-344_0_6_line_11 |  | 9 | 22 | 0.014541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-344_0_6_line_12 |  | 10 | 23 | 0.035576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-344_0_6_line_13 |  | 10 | 24 | 0.018314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-344_0_6_line_14 |  | 10 | 25 | 0.017712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-344_0_6_line_15 |  | 11 | 42 | 0.00010159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_261-344_0_6_line_16 |  | 12 | 13 | 0.046306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-344_0_6_line_17 |  | 12 | 14 | 0.027514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-344_0_6_line_18 |  | 13 | 46 | 0.022322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-344_0_6_line_19 |  | 14 | 47 | 0.019612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-344_0_6_line_20 |  | 15 | 48 | 0.028989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-344_0_6_line_21 |  | 16 | 17 | 0.0083728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-344_0_6_line_22 |  | 16 | 18 | 0.018249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-344_0_6_line_23 |  | 16 | 19 | 0.017931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-344_0_6_line_24 |  | 17 | 26 | 0.0089004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-344_0_6_line_25 |  | 18 | 20 | 0.020209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-344_0_6_line_26 |  | 18 | 21 | 0.026715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-344_0_6_line_27 |  | 19 | 53 | 0.015112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-344_0_6_line_28 |  | 20 | 28 | 0.022203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-344_0_6_line_29 |  | 22 | 56 | 0.01677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-344_0_6_line_30 |  | 25 | 43 | 0.025079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-344_0_6_line_31 |  | 26 | 27 | 0.020894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-344_0_6_line_32 |  | 27 | 29 | 0.013194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-344_0_6_line_33 |  | 29 | 30 | 0.02446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-344_0_6_line_34 |  | 30 | 60 | 0.024348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-344_0_6_line_35 |  | 31 | 32 | 0.044663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_261-344_0_6_line_36 |  | 31 | 33 | 0.014686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_261-344_0_6_line_37 |  | 32 | 48 | 0.0099381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-344_0_6_line_38 |  | 33 | 34 | 0.021483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_261-344_0_6_line_39 |  | 34 | 35 | 0.0129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_261-344_0_6_line_40 |  | 35 | 61 | 0.025118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_261-344_0_6_line_41 |  | 36 | 37 | 0.019161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-344_0_6_line_42 |  | 36 | 38 | 0.02924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-344_0_6_line_43 |  | 37 | 57 | 0.012708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-344_0_6_line_44 |  | 39 | 40 | 0.027488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_261-344_0_6_line_45 |  | 39 | 41 | 0.030574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_261-344_0_6_line_46 |  | 40 | 62 | 0.012642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_261-344_0_6_line_47 |  | 41 | 59 | 0.04273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_261-344_0_6_line_48 |  | 42 | 63 | 0.024157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_261-344_0_6_line_49 |  | 44 | 45 | 0.022753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-344_0_6_line_50 |  | 45 | 50 | 0.0034236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-344_0_6_line_51 |  | 45 | 63 | 0.037466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-344_0_6_line_52 |  | 46 | 69 | 0.0044841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-344_0_6_line_53 |  | 47 | 52 | 0.020179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-344_0_6_line_54 |  | 49 | 50 | 0.038375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-344_0_6_line_55 |  | 49 | 51 | 0.021939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-344_0_6_line_56 |  | 51 | 70 | 0.000456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-344_0_6_line_57 |  | 53 | 56 | 0.0087571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-344_0_6_line_58 |  | 54 | 55 | 0.010481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-344_0_6_line_59 |  | 55 | 90 | 0.0092403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-344_0_6_line_60 |  | 57 | 86 | 0.026102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-344_0_6_line_61 |  | 58 | 59 | 0.016706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-344_0_6_line_62 |  | 59 | 83 | 0.0075189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_261-344_0_6_line_63 |  | 60 | 89 | 0.0026105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-344_0_6_line_64 |  | 61 | 62 | 0.023635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_261-344_0_6_line_65 |  | 61 | 66 | 0.03919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-344_0_6_line_66 |  | 63 | 64 | 0.0096822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_261-344_0_6_line_67 |  | 64 | 65 | 0.0066056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_261-344_0_6_line_68 |  | 65 | 76 | 0.0033343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_261-344_0_6_line_69 |  | 67 | 68 | 0.005254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-344_0_6_line_70 |  | 67 | 69 | 0.017911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-344_0_6_line_71 |  | 68 | 70 | 0.020516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-344_0_6_line_72 |  | 71 | 72 | 0.017627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-344_0_6_line_73 |  | 71 | 73 | 0.015794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-344_0_6_line_74 |  | 72 | 77 | 0.0084216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-344_0_6_line_75 |  | 73 | 78 | 0.022031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-344_0_6_line_76 |  | 74 | 75 | 0.0035917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_261-344_0_6_line_77 |  | 74 | 76 | 0.017094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_261-344_0_6_line_78 |  | 75 | 81 | 0.013207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_261-344_0_6_line_79 |  | 78 | 79 | 0.007342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_261-344_0_6_line_80 |  | 79 | 80 | 0.020192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_261-344_0_6_line_81 |  | 79 | 81 | 0.025601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_261-344_0_6_line_82 |  | 80 | 82 | 0.0031739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_261-344_0_6_line_83 |  | 82 | 87 | 0.031576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_261-344_0_6_line_84 |  | 82 | 85 | 0.017814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_261-344_0_6_line_85 |  | 83 | 84 | 0.01756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_261-344_0_6_line_86 |  | 84 | 85 | 0.021729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_261-344_0_6_line_87 |  | 84 | 86 | 0.0054821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_261-344_0_6_line_88 |  | 87 | 88 | 0.013715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_261-344_0_6_line_89 |  | 89 | 90 | 0.021477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-344_0_6_trafo_100 | 0.63 MVA 20/0.4 kV | 91 | 81 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2686294.0016 | 1250932.0714 | 2686291.2886 | 1250918.3129
1 | 2686285.7345 | 1250966.8327 | 2686294.2576 | 1250944.5511 | 2686298.6122 | 1250936.8643 | 2686296.7708 | 1250935.7923 | 2686294.0016 | 1250932.0714
2 | 2686294.0016 | 1250932.0714 | 2686296.7708 | 1250935.7923 | 2686298.6122 | 1250936.8643 | 2686300.4313 | 1250937.9249 | 2686309.2185 | 1250937.4081 | 2686320.4811 | 1250936.9495
3 | 2686285.7345 | 1250966.8327 | 2686276.8613 | 1250991.3887 | 2686276.1955 | 1250993.7183
4 | 2686285.7345 | 1250966.8327 | 2686299.736 | 1250968.0264 | 2686312.549 | 1250972.5497 | 2686317.2955 | 1250974.2312
5 | 2686285.7345 | 1250966.8327 | 2686271.9263 | 1250965.0467
6 | 2686320.4811 | 1250936.9495 | 2686327.853 | 1250936.1674 | 2686351.7987 | 1250933.6143 | 2686352.4423 | 1250933.5456
7 | 2686317.2955 | 1250974.2312 | 2686323.6072 | 1250973.6783 | 2686350.8341 | 1250983.3769
8 | 2686366.8812 | 1251230.8137 | 2686372.4051 | 1251232.4955 | 2686379.5679 | 1251235.1574 | 2686387.2776 | 1251238.6168 | 2686396.1242 | 1251242.2819 | 2686405.6263 | 1251245.5229
9 | 2686366.8812 | 1251230.8137 | 2686365.5655 | 1251234.5862 | 2686371.0361 | 1251236.3006 | 2686369.2973 | 1251241.1345 | 2686367.0062 | 1251240.356 | 2686366.1566 | 1251242.7121 | 2686365.1495 | 1251245.5106 | 2686364.5831 | 1251247.0814 | 2686364.3473 | 1251247.7228
10 | 2686366.8812 | 1251230.8137 | 2686373.7825 | 1251211.0062
11 | 2686405.6263 | 1251245.5229 | 2686419.3891 | 1251250.2159
12 | 2686364.3473 | 1251247.7228 | 2686397.9245 | 1251259.4806
13 | 2686364.3473 | 1251247.7228 | 2686358.1912 | 1251264.9711
14 | 2686364.3473 | 1251247.7228 | 2686347.6534 | 1251241.8028
15 | 2686373.7825 | 1251211.0062 | 2686373.8159 | 1251210.9103
16 | 2686329.4871 | 1251078.3539 | 2686290.2498 | 1251064.1829 | 2686285.9054 | 1251062.3628
17 | 2686285.9054 | 1251062.3628 | 2686276.9408 | 1251088.3752
18 | 2686329.4871 | 1251078.3539 | 2686322.3657 | 1251099.5089
19 | 2686270.5507 | 1251106.9173 | 2686276.9408 | 1251088.3752
20 | 2686378.1427 | 1250993.1047 | 2686350.8341 | 1250983.3769
21 | 2686475.3921 | 1251267.279 | 2686478.0759 | 1251268.041 | 2686483.4838 | 1251266.6542
22 | 2686469.8165 | 1251284.6552 | 2686470.5995 | 1251282.2093 | 2686471.6118 | 1251279.055 | 2686473.9368 | 1251271.8168 | 2686475.3921 | 1251267.279
23 | 2686475.3921 | 1251267.279 | 2686458.1069 | 1251262.5114
24 | 2686491.3486 | 1251262.7418 | 2686486.6912 | 1251265.8317 | 2686483.4838 | 1251266.6542
25 | 2686469.8165 | 1251284.6552 | 2686489.1588 | 1251290.6976
26 | 2686469.8165 | 1251284.6552 | 2686444.6022 | 1251275.8259
27 | 2686458.1069 | 1251262.5114 | 2686444.1901 | 1251258.6729 | 2686443.5505 | 1251258.4548
28 | 2686489.1588 | 1251290.6976 | 2686487.6057 | 1251294.7002 | 2686485.2071 | 1251297.1559 | 2686482.0576 | 1251300.3679 | 2686478.921 | 1251309.8408
29 | 2686419.3891 | 1251250.2159 | 2686435.262 | 1251255.6285
30 | 2686347.6534 | 1251241.8028 | 2686324.0168 | 1251233.4206
31 | 2686491.3486 | 1251262.7418 | 2686495.2996 | 1251258.9188 | 2686499.8832 | 1251249.0004 | 2686501.3603 | 1251244.7817
32 | 2686505.7204 | 1251232.3286 | 2686501.3603 | 1251244.7817
33 | 2686505.7204 | 1251232.3286 | 2686482.5165 | 1251224.5895
34 | 2686459.4196 | 1251216.886 | 2686482.5165 | 1251224.5895
35 | 2686415.6234 | 1250980.9802 | 2686406.9625 | 1251003.3708 | 2686387.5045 | 1250996.4396
36 | 2686415.6234 | 1250980.9802 | 2686429.4968 | 1250985.7969
37 | 2686378.1427 | 1250993.1047 | 2686387.5045 | 1250996.4396
38 | 2686449.7915 | 1250992.843 | 2686429.4968 | 1250985.7969
39 | 2686449.7915 | 1250992.843 | 2686445.546 | 1251005.0245
40 | 2686437.2795 | 1251028.7431 | 2686445.546 | 1251005.0245
41 | 2686509.4055 | 1251147.4961 | 2686527.3472 | 1251154.3632
42 | 2686527.3472 | 1251154.3632 | 2686525.7474 | 1251158.454 | 2686527.9348 | 1251161.6773 | 2686529.3245 | 1251166.2788 | 2686523.943 | 1251181.5005
43 | 2686509.4055 | 1251147.4961 | 2686497.3342 | 1251143.5233
44 | 2686497.4078 | 1251049.9697 | 2686474.3734 | 1251041.8385 | 2686471.4872 | 1251040.8196
45 | 2686497.4078 | 1251049.9697 | 2686493.0676 | 1251062.3379 | 2686493.3186 | 1251067.8902 | 2686491.1694 | 1251079.6033
46 | 2686459.5667 | 1251036.6112 | 2686471.4872 | 1251040.8196
47 | 2686475.5079 | 1251109.9398 | 2686479.8512 | 1251097.3492 | 2686489.4962 | 1251098.5686 | 2686492.0444 | 1251092.0787 | 2686490.3742 | 1251083.9371 | 2686491.1694 | 1251079.6033
48 | 2686381.764 | 1251188.0984 | 2686373.8159 | 1251210.9103
49 | 2686345.9263 | 1251176.9121 | 2686338.2826 | 1251198.3425
50 | 2686345.9263 | 1251176.9121 | 2686342.761 | 1251175.6077
51 | 2686381.764 | 1251188.0984 | 2686350.8938 | 1251178.9638 | 2686345.9263 | 1251176.9121
52 | 2686320.935 | 1251103.7587 | 2686322.3657 | 1251099.5089
53 | 2686270.5507 | 1251106.9173 | 2686263.7002 | 1251125.8974
54 | 2686306.1496 | 1251164.579 | 2686327.5494 | 1251169.3387 | 2686342.761 | 1251175.6077
55 | 2686306.1496 | 1251164.579 | 2686312.976 | 1251143.7294
56 | 2686313.1179 | 1251143.296 | 2686312.976 | 1251143.7294
57 | 2686443.5505 | 1251258.4548 | 2686435.262 | 1251255.6285
58 | 2686418.2233 | 1251205.8084 | 2686418.3106 | 1251205.5332 | 2686418.5797 | 1251204.6809 | 2686427.4945 | 1251207.3252
59 | 2686436.3533 | 1251209.9528 | 2686427.4945 | 1251207.3252
60 | 2686497.3342 | 1251143.5233 | 2686472.5406 | 1251135.3633
61 | 2686475.5079 | 1251109.9398 | 2686483.3492 | 1251107.4968 | 2686491.8343 | 1251107.8491
62 | 2686475.5079 | 1251109.9398 | 2686473.0571 | 1251117.048
63 | 2686456.9432 | 1251216.0601 | 2686459.4196 | 1251216.886
64 | 2686437.2795 | 1251028.7431 | 2686459.5667 | 1251036.6112
65 | 2686437.2795 | 1251028.7431 | 2686424.3862 | 1251065.7517
66 | 2686381.764 | 1251188.0984 | 2686384.9491 | 1251178.9551
67 | 2686387.1221 | 1251172.7172 | 2686384.9491 | 1251178.9551
68 | 2686387.1221 | 1251172.7172 | 2686388.219 | 1251169.5684
69 | 2686315.2208 | 1251120.7336 | 2686319.5017 | 1251123.7983
70 | 2686315.2208 | 1251120.7336 | 2686320.935 | 1251103.7587
71 | 2686319.5017 | 1251123.7983 | 2686313.1179 | 1251143.296
72 | 2686374.5481 | 1251093.8332 | 2686369.0479 | 1251110.5798
73 | 2686374.5481 | 1251093.8332 | 2686389.4376 | 1251099.102
74 | 2686369.0479 | 1251110.5798 | 2686366.4201 | 1251118.5808
75 | 2686410.2069 | 1251106.4514 | 2686389.4376 | 1251099.102
76 | 2686393.8423 | 1251153.426 | 2686395.0243 | 1251150.0344
77 | 2686393.8423 | 1251153.426 | 2686388.219 | 1251169.5684
78 | 2686395.0243 | 1251150.0344 | 2686399.3707 | 1251137.5627
79 | 2686407.7957 | 1251113.3881 | 2686410.2069 | 1251106.4514
80 | 2686407.7957 | 1251113.3881 | 2686426.7971 | 1251120.2188
81 | 2686407.7957 | 1251113.3881 | 2686399.3707 | 1251137.5627
82 | 2686429.7838 | 1251121.2925 | 2686426.7971 | 1251120.2188
83 | 2686429.7838 | 1251121.2925 | 2686440.1244 | 1251091.4572
84 | 2686429.7838 | 1251121.2925 | 2686446.5723 | 1251127.2489
85 | 2686467.3334 | 1251133.6495 | 2686473.0571 | 1251117.048
86 | 2686467.3334 | 1251133.6495 | 2686450.0161 | 1251128.4708 | 2686446.5723 | 1251127.2489
87 | 2686467.3334 | 1251133.6495 | 2686472.5406 | 1251135.3633
88 | 2686444.6157 | 1251078.4987 | 2686440.1244 | 1251091.4572
89 | 2686456.9432 | 1251216.0601 | 2686436.3533 | 1251209.9528

## bus_geodata
| x | y | coords
0 | 2686291.2886 | 1250918.3129
1 | 2686294.0016 | 1250932.0714
2 | 2686285.7345 | 1250966.8327
3 | 2686320.4811 | 1250936.9495
4 | 2686276.1955 | 1250993.7183
5 | 2686317.2955 | 1250974.2312
6 | 2686271.9263 | 1250965.0467
7 | 2686352.4423 | 1250933.5456
8 | 2686366.8812 | 1251230.8137
9 | 2686405.6263 | 1251245.5228
10 | 2686364.3473 | 1251247.7228
11 | 2686373.7825 | 1251211.0062
12 | 2686285.9054 | 1251062.3628
13 | 2686329.4871 | 1251078.3539
14 | 2686276.9408 | 1251088.3752
15 | 2686350.8341 | 1250983.3769
16 | 2686475.3921 | 1251267.279
17 | 2686483.4838 | 1251266.6542
18 | 2686469.8165 | 1251284.6552
19 | 2686458.1069 | 1251262.5114
20 | 2686489.1588 | 1251290.6976
21 | 2686444.6022 | 1251275.8259
22 | 2686419.3891 | 1251250.2159
23 | 2686397.9245 | 1251259.4806
24 | 2686358.1912 | 1251264.9711
25 | 2686347.6534 | 1251241.8028
26 | 2686491.3486 | 1251262.7418
27 | 2686501.3603 | 1251244.7817
28 | 2686478.921 | 1251309.8408
29 | 2686505.7204 | 1251232.3286
30 | 2686482.5165 | 1251224.5895
31 | 2686415.6234 | 1250980.9802
32 | 2686387.5045 | 1250996.4396
33 | 2686429.4968 | 1250985.7969
34 | 2686449.7915 | 1250992.843
35 | 2686445.546 | 1251005.0245
36 | 2686527.3472 | 1251154.3632
37 | 2686509.4055 | 1251147.4961
38 | 2686523.9431 | 1251181.5005
39 | 2686497.4078 | 1251049.9697
40 | 2686471.4872 | 1251040.8196
41 | 2686491.1694 | 1251079.6033
42 | 2686373.8159 | 1251210.9103
43 | 2686324.0168 | 1251233.4206
44 | 2686338.2826 | 1251198.3425
45 | 2686345.9263 | 1251176.9121
46 | 2686322.3657 | 1251099.5089
47 | 2686270.5507 | 1251106.9173
48 | 2686378.1427 | 1250993.1047
49 | 2686306.1496 | 1251164.579
50 | 2686342.761 | 1251175.6077
51 | 2686312.976 | 1251143.7294
52 | 2686263.7002 | 1251125.8974
53 | 2686443.5505 | 1251258.4548
54 | 2686418.2233 | 1251205.8084
55 | 2686427.4945 | 1251207.3252
56 | 2686435.262 | 1251255.6285
57 | 2686497.3342 | 1251143.5233
58 | 2686491.8343 | 1251107.8491
59 | 2686475.5079 | 1251109.9398
60 | 2686459.4196 | 1251216.886
61 | 2686437.2795 | 1251028.7431
62 | 2686459.5667 | 1251036.6112
63 | 2686381.764 | 1251188.0984
64 | 2686384.9491 | 1251178.9551
65 | 2686387.1221 | 1251172.7172
66 | 2686424.3862 | 1251065.7517
67 | 2686315.2208 | 1251120.7336
68 | 2686319.5017 | 1251123.7983
69 | 2686320.935 | 1251103.7587
70 | 2686313.1179 | 1251143.296
71 | 2686374.5481 | 1251093.8332
72 | 2686369.0479 | 1251110.5798
73 | 2686389.4376 | 1251099.102
74 | 2686393.8423 | 1251153.426
75 | 2686395.0243 | 1251150.0344
76 | 2686388.219 | 1251169.5684
77 | 2686366.4201 | 1251118.5808
78 | 2686410.2069 | 1251106.4514
79 | 2686407.7957 | 1251113.3881
80 | 2686426.7971 | 1251120.2188
81 | 2686399.3707 | 1251137.5627
82 | 2686429.7838 | 1251121.2925
83 | 2686473.0571 | 1251117.048
84 | 2686467.3334 | 1251133.6495
85 | 2686446.5723 | 1251127.2489
86 | 2686472.5406 | 1251135.3633
87 | 2686440.1244 | 1251091.4572
88 | 2686444.6157 | 1251078.4987
89 | 2686456.9432 | 1251216.0601
90 | 2686436.3533 | 1251209.9528
91 | 2686393.8423 | 1251153.426

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97195 | -0.54155 | 0.0093942 | 0.0023544
1 | 0.97207 | -0.53912 | 0 | 0
2 | 0.97249 | -0.53097 | 0 | 0
3 | 0.97203 | -0.54009 | 0 | 0
4 | 0.97221 | -0.53646 | 0.010432 | 0.0026146
5 | 0.97336 | -0.5137 | 0 | 0
6 | 0.9724 | -0.53278 | 0.0070522 | 0.0017675
7 | 0.97197 | -0.54117 | 0.001814 | 0.00045462
8 | 0.99182 | -0.15611 | 0 | 0
9 | 0.98798 | -0.23004 | 0 | 0
10 | 0.98991 | -0.19323 | 0 | 0
11 | 0.9936 | -0.12209 | 0.020553 | 0.0051511
12 | 0.9878 | -0.23428 | 0 | 0
13 | 0.98902 | -0.21059 | 0 | 0
14 | 0.98708 | -0.24838 | 0.01851 | 0.004639
15 | 0.9743 | -0.49511 | 0.047538 | 0.011914
16 | 0.98166 | -0.35257 | 0 | 0
17 | 0.98122 | -0.36119 | 0.010549 | 0.0026439
18 | 0.98121 | -0.36144 | 0 | 0
19 | 0.98305 | -0.32543 | 0.0080736 | 0.0020234
20 | 0.98116 | -0.36238 | 0 | 0
21 | 0.98061 | -0.37319 | 0.024276 | 0.0060842
22 | 0.98663 | -0.2561 | 0.0018423 | 0.00046173
23 | 0.98922 | -0.20666 | 0.021219 | 0.005318
24 | 0.98953 | -0.20055 | 0.022466 | 0.0056305
25 | 0.98927 | -0.20569 | 0.019686 | 0.0049338
26 | 0.98084 | -0.36866 | 0 | 0
27 | 0.97994 | -0.38623 | 0.0028751 | 0.00072056
28 | 0.98111 | -0.36342 | 0.0025858 | 0.00064806
29 | 0.97941 | -0.39665 | 0 | 0
30 | 0.97842 | -0.416 | 0.013142 | 0.0032936
31 | 0.98013 | -0.38095 | 0 | 0
32 | 0.97711 | -0.43997 | 0.064517 | 0.01617
33 | 0.98079 | -0.36806 | 0.012664 | 0.0031739
34 | 0.98184 | -0.3476 | 0 | 0
35 | 0.98247 | -0.33533 | 0.0054007 | 0.0013535
36 | 0.99187 | -0.15473 | 0 | 0
37 | 0.9921 | -0.15032 | 0 | 0
38 | 0.99152 | -0.16147 | 0.013002 | 0.0032587
39 | 0.98724 | -0.24307 | 0 | 0
40 | 0.98571 | -0.2725 | 0.0017333 | 0.0004344
41 | 0.98894 | -0.21045 | 0.0054964 | 0.0013775
42 | 0.9936 | -0.12197 | 0.025307 | 0.0063425
43 | 0.98881 | -0.21457 | 0.019859 | 0.0049772
44 | 0.9936 | -0.12214 | 0.0029806 | 0.000747
45 | 0.99366 | -0.12094 | 0 | 0
46 | 0.98961 | -0.19919 | 0.0042659 | 0.0010691
47 | 0.9869 | -0.25195 | 0 | 0
48 | 0.97636 | -0.45462 | 0.0044594 | 0.0011176
49 | 0.99204 | -0.15224 | 0 | 0
50 | 0.99352 | -0.12365 | 0.0026157 | 0.00065555
51 | 0.99119 | -0.16862 | 0.0036027 | 0.00090292
52 | 0.98671 | -0.25562 | 0.010164 | 0.0025474
53 | 0.98434 | -0.30043 | 0.0018865 | 0.00047281
54 | 0.97715 | -0.44099 | 0.0018953 | 0.00047501
55 | 0.97717 | -0.44062 | 0.0089337 | 0.002239
56 | 0.9851 | -0.28568 | 0.0046129 | 0.0011561
57 | 0.99225 | -0.14739 | 0.0092525 | 0.0023189
58 | 0.99124 | -0.16636 | 0.0091357 | 0.0022896
59 | 0.99138 | -0.16365 | 0 | 0
60 | 0.97774 | -0.42946 | 0.0091 | 0.0022807
61 | 0.98374 | -0.31067 | 0 | 0
62 | 0.98502 | -0.28593 | 0.0029785 | 0.00074647
63 | 0.9953 | -0.089425 | 0 | 0
64 | 0.99613 | -0.073707 | 0.00051676 | 0.00012951
65 | 0.99669 | -0.062979 | 0.0029029 | 0.00072753
66 | 0.98333 | -0.31865 | 0.0113 | 0.0028321
67 | 0.99033 | -0.18522 | 0 | 0
68 | 0.9905 | -0.1819 | 0 | 0
69 | 0.98975 | -0.19656 | 0.0026527 | 0.00066483
70 | 0.99117 | -0.16893 | 0.0029296 | 0.00073423
71 | 0.99625 | -0.071466 | 0 | 0
72 | 0.99613 | -0.073774 | 0.002603 | 0.00065236
73 | 0.99636 | -0.069399 | 0.040515 | 0.010154
74 | 0.99849 | -0.028641 | 0 | 0
75 | 0.99881 | -0.022586 | 0.0046024 | 0.0011535
76 | 0.99697 | -0.057511 | 0.0089377 | 0.00224
77 | 0.99609 | -0.074492 | 0.0048521 | 0.001216
78 | 0.99732 | -0.050861 | 0 | 0
79 | 0.99764 | -0.044691 | 0 | 0
80 | 0.99607 | -0.074415 | 0.0046125 | 0.001156
81 | 1 | 0 | -0.60343 | -0.15395
82 | 0.99583 | -0.07901 | 0 | 0
83 | 0.99184 | -0.15504 | 0.0082276 | 0.002062
84 | 0.99293 | -0.13409 | 0 | 0
85 | 0.9945 | -0.10427 | 0.0083552 | 0.002094
86 | 0.99278 | -0.13711 | 0.0088772 | 0.0022248
87 | 0.99567 | -0.082062 | 0.0040604 | 0.0010176
88 | 0.99565 | -0.082408 | 0.0014371 | 0.00036016
89 | 0.97769 | -0.43047 | 0 | 0
90 | 0.97726 | -0.4388 | 0.010417 | 0.0026108
91 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0093942 | -0.0023544 | 0.0093952 | 0.0023549 | 1.0877e-06 | 5.2233e-07 | 0.014382 | 0.014382 | 0.014382 | 0.97195 | -0.54155 | 0.97207 | -0.53912 | 3.9511
1 | -0.011209 | -0.0028089 | 0.011214 | 0.0028112 | 4.3567e-06 | 2.2989e-06 | 0.017159 | 0.017159 | 0.017159 | 0.97207 | -0.53912 | 0.97249 | -0.53097 | 4.7139
2 | 0.0018141 | 0.00045398 | -0.0018141 | -0.00045428 | 8.3708e-08 | -3.0529e-07 | 0.0027768 | 0.0027769 | 0.0027769 | 0.97207 | -0.53912 | 0.97203 | -0.54009 | 0.76288
3 | 0.010435 | 0.002616 | -0.010432 | -0.0026146 | 2.728e-06 | 1.392e-06 | 0.015967 | 0.015967 | 0.015967 | 0.97249 | -0.53097 | 0.97221 | -0.53646 | 4.3866
4 | -0.028702 | -0.0071949 | 0.028725 | 0.0072096 | 2.3634e-05 | 1.472e-05 | 0.043917 | 0.043917 | 0.043917 | 0.97249 | -0.53097 | 0.97336 | -0.5137 | 12.0652
5 | 0.0070528 | 0.0017677 | -0.0070522 | -0.0017675 | 6.0807e-07 | 2.1643e-07 | 0.010792 | 0.010792 | 0.010792 | 0.97249 | -0.53097 | 0.9724 | -0.53278 | 2.9648
6 | 0.0018141 | 0.00045428 | -0.001814 | -0.00045462 | 9.2949e-08 | -3.3891e-07 | 0.0027769 | 0.002777 | 0.002777 | 0.97203 | -0.54009 | 0.97197 | -0.54117 | 0.76292
7 | -0.028725 | -0.0072096 | 0.028751 | 0.0072255 | 2.5487e-05 | 1.5873e-05 | 0.043917 | 0.043917 | 0.043917 | 0.97336 | -0.5137 | 0.9743 | -0.49511 | 12.0652
8 | 0.1013 | 0.025815 | -0.10094 | -0.025585 | 0.00036 | 0.00022987 | 0.15213 | 0.15213 | 0.15213 | 0.99182 | -0.15611 | 0.98798 | -0.23004 | 41.7935
9 | 0.083431 | 0.020987 | -0.083284 | -0.020892 | 0.00014764 | 9.4164e-05 | 0.1252 | 0.1252 | 0.1252 | 0.99182 | -0.15611 | 0.98991 | -0.19323 | 34.395
10 | -0.18473 | -0.046801 | 0.18503 | 0.046995 | 0.00030247 | 0.00019304 | 0.27733 | 0.27733 | 0.27733 | 0.99182 | -0.15611 | 0.9936 | -0.12209 | 38.0941
11 | 0.10094 | 0.025585 | -0.10081 | -0.025504 | 0.0001262 | 8.058e-05 | 0.15213 | 0.15213 | 0.15213 | 0.98798 | -0.23004 | 0.98663 | -0.2561 | 41.7935
12 | 0.021233 | 0.0053263 | -0.021219 | -0.005318 | 1.3592e-05 | 8.2418e-06 | 0.031919 | 0.031919 | 0.031919 | 0.98991 | -0.19323 | 0.98922 | -0.20666 | 8.7689
13 | 0.022474 | 0.0056352 | -0.022466 | -0.0056305 | 7.8381e-06 | 4.781e-06 | 0.033783 | 0.033783 | 0.033783 | 0.98991 | -0.19323 | 0.98953 | -0.20055 | 9.2811
14 | 0.039577 | 0.0099309 | -0.039554 | -0.009916 | 2.3512e-05 | 1.482e-05 | 0.059496 | 0.059496 | 0.059496 | 0.98991 | -0.19323 | 0.98927 | -0.20569 | 16.3451
15 | -0.20559 | -0.052146 | 0.20559 | 0.052146 | 1.2055e-06 | 7.6755e-07 | 0.30811 | 0.30811 | 0.30811 | 0.9936 | -0.12209 | 0.9936 | -0.12197 | 28.2148
16 | -0.028697 | -0.0072001 | 0.028729 | 0.0072203 | 3.2454e-05 | 2.0177e-05 | 0.043231 | 0.043231 | 0.043231 | 0.9878 | -0.23428 | 0.98902 | -0.21059 | 11.8768
17 | 0.028697 | 0.0072001 | -0.028677 | -0.0071881 | 1.9283e-05 | 1.1989e-05 | 0.043231 | 0.043232 | 0.043232 | 0.9878 | -0.23428 | 0.98708 | -0.24838 | 11.8768
18 | -0.028729 | -0.0072203 | 0.028745 | 0.00723 | 1.5644e-05 | 9.7255e-06 | 0.043231 | 0.043231 | 0.043231 | 0.98902 | -0.21059 | 0.98961 | -0.19919 | 11.8767
19 | 0.010168 | 0.0025491 | -0.010166 | -0.0025483 | 1.728e-06 | 8.5526e-07 | 0.015328 | 0.015328 | 0.015328 | 0.98708 | -0.24838 | 0.9869 | -0.25195 | 4.211
20 | -0.076289 | -0.01914 | 0.076437 | 0.019234 | 0.0001476 | 9.41e-05 | 0.11652 | 0.11652 | 0.11652 | 0.9743 | -0.49511 | 0.97636 | -0.45462 | 32.0111
21 | 0.057083 | 0.014371 | -0.05706 | -0.014356 | 2.352e-05 | 1.4947e-05 | 0.086551 | 0.086551 | 0.086551 | 0.98166 | -0.35257 | 0.98122 | -0.36119 | 23.7776
22 | 0.026887 | 0.0067473 | -0.026876 | -0.0067402 | 1.1369e-05 | 7.0454e-06 | 0.040759 | 0.040759 | 0.040759 | 0.98166 | -0.35257 | 0.98121 | -0.36144 | 11.1976
23 | -0.08397 | -0.021118 | 0.084079 | 0.021188 | 0.00010898 | 6.9521e-05 | 0.12731 | 0.12731 | 0.12731 | 0.98166 | -0.35257 | 0.98305 | -0.32543 | 34.9751
24 | 0.04651 | 0.011712 | -0.046494 | -0.011702 | 1.6614e-05 | 1.052e-05 | 0.070553 | 0.070553 | 0.070553 | 0.98122 | -0.36119 | 0.98084 | -0.36866 | 19.3826
25 | 0.0025861 | 0.00064769 | -0.0025859 | -0.00064787 | 1.1655e-07 | -1.8065e-07 | 0.0039216 | 0.0039217 | 0.0039217 | 0.98121 | -0.36144 | 0.98116 | -0.36238 | 1.0774
26 | 0.02429 | 0.0060925 | -0.024276 | -0.0060842 | 1.3595e-05 | 8.3635e-06 | 0.036837 | 0.036838 | 0.036838 | 0.98121 | -0.36144 | 0.98061 | -0.37319 | 10.1202
27 | -0.092153 | -0.023211 | 0.092263 | 0.023282 | 0.00011033 | 7.0419e-05 | 0.13953 | 0.13953 | 0.13953 | 0.98305 | -0.32543 | 0.98434 | -0.30043 | 38.3325
28 | 0.0025859 | 0.00064787 | -0.0025858 | -0.00064806 | 1.2806e-07 | -1.9845e-07 | 0.0039217 | 0.0039218 | 0.0039218 | 0.98116 | -0.36238 | 0.98111 | -0.36342 | 1.0774
29 | 0.09897 | 0.025043 | -0.098829 | -0.024953 | 0.00014028 | 8.9563e-05 | 0.14935 | 0.14935 | 0.14935 | 0.98663 | -0.2561 | 0.9851 | -0.28568 | 41.0302
30 | 0.019867 | 0.0049822 | -0.019859 | -0.0049772 | 8.3994e-06 | 5.0537e-06 | 0.029885 | 0.029885 | 0.029885 | 0.98927 | -0.20569 | 0.98881 | -0.21457 | 8.2102
31 | 0.046494 | 0.011702 | -0.046455 | -0.011677 | 3.9001e-05 | 2.4697e-05 | 0.070553 | 0.070553 | 0.070553 | 0.98084 | -0.36866 | 0.97994 | -0.38623 | 19.3826
32 | 0.04358 | 0.010957 | -0.043558 | -0.010943 | 2.1675e-05 | 1.3706e-05 | 0.066187 | 0.066187 | 0.066187 | 0.97994 | -0.38623 | 0.97941 | -0.39665 | 18.1833
33 | 0.043558 | 0.010943 | -0.043518 | -0.010917 | 4.0183e-05 | 2.541e-05 | 0.066187 | 0.066187 | 0.066187 | 0.97941 | -0.39665 | 0.97842 | -0.416 | 18.1833
34 | 0.030376 | 0.0076238 | -0.030357 | -0.0076116 | 1.9489e-05 | 1.2167e-05 | 0.046201 | 0.046201 | 0.046201 | 0.97842 | -0.416 | 0.97774 | -0.42946 | 12.6926
35 | 0.14588 | 0.036819 | -0.14547 | -0.036557 | 0.00041111 | 0.00026199 | 0.22157 | 0.22157 | 0.22157 | 0.98013 | -0.38095 | 0.97711 | -0.43997 | 30.4352
36 | -0.14588 | -0.036819 | 0.14597 | 0.036876 | 9.012e-05 | 5.7121e-05 | 0.22157 | 0.22157 | 0.22157 | 0.98013 | -0.38095 | 0.98079 | -0.36806 | 20.2901
37 | 0.080953 | 0.020388 | -0.080896 | -0.020351 | 5.6673e-05 | 3.6146e-05 | 0.12332 | 0.12332 | 0.12332 | 0.97711 | -0.43997 | 0.97636 | -0.45462 | 33.8782
38 | -0.15864 | -0.04005 | 0.15879 | 0.040149 | 0.00015569 | 9.8825e-05 | 0.24078 | 0.24078 | 0.24078 | 0.98079 | -0.36806 | 0.98184 | -0.3476 | 22.0495
39 | -0.15879 | -0.040149 | 0.15888 | 0.040208 | 9.3486e-05 | 5.9342e-05 | 0.24078 | 0.24078 | 0.24078 | 0.98184 | -0.3476 | 0.98247 | -0.33533 | 22.0495
40 | -0.16429 | -0.041562 | 0.16448 | 0.041685 | 0.0001946 | 0.00012359 | 0.24896 | 0.24896 | 0.24896 | 0.98247 | -0.33533 | 0.98374 | -0.31067 | 22.7986
41 | -0.013006 | -0.003261 | 0.013009 | 0.0032625 | 2.7358e-06 | 1.5036e-06 | 0.019513 | 0.019513 | 0.019513 | 0.99187 | -0.15473 | 0.9921 | -0.15032 | 5.3607
42 | 0.013006 | 0.003261 | -0.013002 | -0.0032587 | 4.1749e-06 | 2.2947e-06 | 0.019513 | 0.019513 | 0.019513 | 0.99187 | -0.15473 | 0.99152 | -0.16147 | 5.3607
43 | -0.013009 | -0.0032625 | 0.013011 | 0.0032635 | 1.8145e-06 | 9.9715e-07 | 0.019513 | 0.019513 | 0.019513 | 0.9921 | -0.15032 | 0.99225 | -0.14739 | 5.3607
44 | 0.18108 | 0.04607 | -0.18082 | -0.045907 | 0.00025641 | 0.00016305 | 0.27317 | 0.27318 | 0.27318 | 0.98724 | -0.24307 | 0.98571 | -0.2725 | 25.016
45 | -0.18108 | -0.04607 | 0.18136 | 0.046252 | 0.0002852 | 0.00018135 | 0.27317 | 0.27317 | 0.27317 | 0.98724 | -0.24307 | 0.98894 | -0.21045 | 25.016
46 | 0.17909 | 0.045473 | -0.17897 | -0.045399 | 0.00011567 | 7.3548e-05 | 0.27056 | 0.27056 | 0.27056 | 0.98571 | -0.2725 | 0.98502 | -0.28593 | 24.7764
47 | -0.18686 | -0.047629 | 0.18728 | 0.047898 | 0.00042308 | 0.00026913 | 0.28144 | 0.28144 | 0.28144 | 0.98894 | -0.21045 | 0.99138 | -0.16365 | 25.7733
48 | -0.23089 | -0.058489 | 0.23125 | 0.058719 | 0.00036151 | 0.00023042 | 0.34601 | 0.346 | 0.34601 | 0.9936 | -0.12197 | 0.9953 | -0.089425 | 31.6855
49 | -0.0029806 | -0.000747 | 0.0029807 | 0.00074681 | 1.7e-07 | -1.8591e-07 | 0.0044637 | 0.0044636 | 0.0044637 | 0.9936 | -0.12214 | 0.99366 | -0.12094 | 1.2263
50 | 0.04496 | 0.01135 | -0.044954 | -0.011347 | 5.8249e-06 | 3.6836e-06 | 0.067357 | 0.067357 | 0.067357 | 0.99366 | -0.12094 | 0.99352 | -0.12365 | 18.5047
51 | -0.047941 | -0.012097 | 0.048013 | 0.012143 | 7.2472e-05 | 4.5896e-05 | 0.071821 | 0.071821 | 0.071821 | 0.99366 | -0.12094 | 0.9953 | -0.089425 | 19.731
52 | -0.033011 | -0.0082991 | 0.033015 | 0.0083017 | 4.1445e-06 | 2.5948e-06 | 0.049645 | 0.049645 | 0.049645 | 0.98961 | -0.19919 | 0.98975 | -0.19656 | 13.6389
53 | 0.010166 | 0.0025483 | -0.010164 | -0.0025474 | 1.7779e-06 | 8.8007e-07 | 0.015328 | 0.015328 | 0.015328 | 0.9869 | -0.25195 | 0.98671 | -0.25562 | 4.2111
54 | -0.042281 | -0.010655 | 0.042339 | 0.010691 | 5.7917e-05 | 3.6571e-05 | 0.06344 | 0.06344 | 0.06344 | 0.99204 | -0.15224 | 0.99352 | -0.12365 | 17.4285
55 | 0.042281 | 0.010655 | -0.042248 | -0.010634 | 3.3111e-05 | 2.0908e-05 | 0.06344 | 0.06344 | 0.06344 | 0.99204 | -0.15224 | 0.99119 | -0.16862 | 17.4286
56 | 0.038645 | 0.0097307 | -0.038644 | -0.0097304 | 5.7587e-07 | 3.6268e-07 | 0.058031 | 0.058031 | 0.058031 | 0.99119 | -0.16862 | 0.99117 | -0.16893 | 15.9427
57 | -0.09415 | -0.023755 | 0.094216 | 0.023797 | 6.6574e-05 | 4.2496e-05 | 0.14238 | 0.14238 | 0.14238 | 0.98434 | -0.30043 | 0.9851 | -0.28568 | 39.1159
58 | -0.0018953 | -0.00047501 | 0.0018953 | 0.0004749 | 3.2741e-08 | -1.1034e-07 | 0.0028862 | 0.0028862 | 0.0028862 | 0.97715 | -0.44099 | 0.97717 | -0.44062 | 0.79291
59 | -0.010829 | -0.0027139 | 0.01083 | 0.0027144 | 9.4227e-07 | 4.8728e-07 | 0.01649 | 0.01649 | 0.01649 | 0.97717 | -0.44062 | 0.97726 | -0.4388 | 4.5303
60 | -0.022263 | -0.0055824 | 0.022274 | 0.005589 | 1.0912e-05 | 6.6461e-06 | 0.033388 | 0.033388 | 0.033388 | 0.99225 | -0.14739 | 0.99278 | -0.13711 | 9.1726
61 | -0.0091357 | -0.0022896 | 0.0091368 | 0.0022901 | 1.1782e-06 | 5.3868e-07 | 0.013714 | 0.013714 | 0.013714 | 0.99124 | -0.16636 | 0.99138 | -0.16365 | 3.7676
62 | -0.19642 | -0.050188 | 0.1965 | 0.05024 | 8.1879e-05 | 5.2111e-05 | 0.29516 | 0.29516 | 0.29516 | 0.99138 | -0.16365 | 0.99184 | -0.15504 | 27.0291
63 | 0.021257 | 0.0053309 | -0.021256 | -0.0053303 | 1.0246e-06 | 6.23e-07 | 0.032352 | 0.032352 | 0.032352 | 0.97774 | -0.42946 | 0.97769 | -0.43047 | 8.8878
64 | -0.17578 | -0.04452 | 0.17599 | 0.044653 | 0.00020914 | 0.00013295 | 0.26606 | 0.26606 | 0.26606 | 0.98374 | -0.31067 | 0.98502 | -0.28593 | 24.3644
65 | 0.011305 | 0.0028344 | -0.0113 | -0.0028321 | 4.2974e-06 | 2.2529e-06 | 0.0171 | 0.0171 | 0.0171 | 0.98374 | -0.31067 | 0.98333 | -0.31865 | 4.6978
66 | -0.27927 | -0.070862 | 0.27948 | 0.070997 | 0.00021129 | 0.00013485 | 0.41783 | 0.41783 | 0.41783 | 0.9953 | -0.089425 | 0.99613 | -0.073707 | 38.2624
67 | -0.28 | -0.071127 | 0.28014 | 0.071219 | 0.00014468 | 9.2338e-05 | 0.4186 | 0.4186 | 0.4186 | 0.99613 | -0.073707 | 0.99669 | -0.062979 | 38.3331
68 | -0.28304 | -0.071947 | 0.28312 | 0.071994 | 7.4552e-05 | 4.7583e-05 | 0.42293 | 0.42293 | 0.42293 | 0.99669 | -0.062979 | 0.99697 | -0.057511 | 38.7299
69 | -0.035687 | -0.0089787 | 0.035693 | 0.0089823 | 5.6675e-06 | 3.5596e-06 | 0.053633 | 0.053633 | 0.053633 | 0.99033 | -0.18522 | 0.9905 | -0.1819 | 14.7345
70 | 0.035687 | 0.0089787 | -0.035668 | -0.0089666 | 1.9321e-05 | 1.2135e-05 | 0.053633 | 0.053634 | 0.053634 | 0.99033 | -0.18522 | 0.98975 | -0.19656 | 14.7345
71 | -0.035693 | -0.0089823 | 0.035715 | 0.0089962 | 2.2131e-05 | 1.39e-05 | 0.053633 | 0.053633 | 0.053633 | 0.9905 | -0.1819 | 0.99117 | -0.16893 | 14.7345
72 | 0.007456 | 0.0018687 | -0.0074552 | -0.0018684 | 8.1978e-07 | 2.9517e-07 | 0.011136 | 0.011137 | 0.011137 | 0.99625 | -0.071466 | 0.99613 | -0.073774 | 3.0595
73 | -0.007456 | -0.0018687 | 0.0074567 | 0.001869 | 7.3455e-07 | 2.6443e-07 | 0.011136 | 0.011136 | 0.011136 | 0.99625 | -0.071466 | 0.99636 | -0.069399 | 3.0595
74 | 0.0048522 | 0.001216 | -0.0048521 | -0.001216 | 1.6592e-07 | -3.4408e-09 | 0.0072482 | 0.0072483 | 0.0072483 | 0.99613 | -0.073774 | 0.99609 | -0.074492 | 1.9913
75 | -0.047972 | -0.012023 | 0.048015 | 0.01205 | 4.2407e-05 | 2.6853e-05 | 0.071644 | 0.071644 | 0.071644 | 0.99636 | -0.069399 | 0.99732 | -0.050861 | 19.6826
76 | -0.29246 | -0.074494 | 0.29255 | 0.074548 | 8.5452e-05 | 5.4548e-05 | 0.43627 | 0.43627 | 0.43627 | 0.99849 | -0.028641 | 0.99881 | -0.022586 | 39.9515
77 | 0.29246 | 0.074494 | -0.29206 | -0.074234 | 0.00040669 | 0.00025961 | 0.43627 | 0.43627 | 0.43627 | 0.99849 | -0.028641 | 0.99697 | -0.057511 | 39.9515
78 | -0.29715 | -0.075702 | 0.29747 | 0.075909 | 0.00032418 | 0.00020695 | 0.44313 | 0.44313 | 0.44313 | 0.99881 | -0.022586 | 1 | 0 | 40.5794
79 | -0.048015 | -0.01205 | 0.048029 | 0.012059 | 1.4132e-05 | 8.9488e-06 | 0.071644 | 0.071644 | 0.071644 | 0.99732 | -0.050861 | 0.99764 | -0.044691 | 19.6825
80 | 0.25562 | 0.065558 | -0.25525 | -0.065323 | 0.00036793 | 0.00023468 | 0.3818 | 0.3818 | 0.3818 | 0.99764 | -0.044691 | 0.99607 | -0.074415 | 34.9635
81 | -0.30365 | -0.077616 | 0.30431 | 0.078036 | 0.00065797 | 0.0004201 | 0.45344 | 0.45344 | 0.45344 | 0.99764 | -0.044691 | 1 | 0 | 41.5242
82 | 0.25064 | 0.064167 | -0.25059 | -0.064131 | 5.5764e-05 | 3.5565e-05 | 0.37491 | 0.37491 | 0.37491 | 0.99607 | -0.074415 | 0.99583 | -0.07901 | 34.3325
83 | 0.0054983 | 0.0013777 | -0.0054975 | -0.0013776 | 7.9928e-07 | 1.0079e-07 | 0.0082158 | 0.0082159 | 0.0082159 | 0.99583 | -0.07901 | 0.99567 | -0.082062 | 2.2571
84 | 0.24509 | 0.062754 | -0.24479 | -0.062563 | 0.00029942 | 0.00019093 | 0.36669 | 0.3667 | 0.3667 | 0.99583 | -0.07901 | 0.9945 | -0.10427 | 33.5801
85 | -0.20473 | -0.052303 | 0.20494 | 0.052435 | 0.00020756 | 0.00013216 | 0.3075 | 0.3075 | 0.3075 | 0.99184 | -0.15504 | 0.99293 | -0.13409 | 28.1594
86 | -0.23609 | -0.060251 | 0.23643 | 0.060469 | 0.00034075 | 0.00021724 | 0.35419 | 0.35419 | 0.35419 | 0.99293 | -0.13409 | 0.9945 | -0.10427 | 32.4354
87 | 0.031156 | 0.0078167 | -0.031152 | -0.0078139 | 4.4822e-06 | 2.7977e-06 | 0.046694 | 0.046694 | 0.046694 | 0.99293 | -0.13409 | 0.99278 | -0.13711 | 12.8279
88 | 0.0014371 | 0.00036 | -0.0014371 | -0.00036016 | 2.3722e-08 | -1.6319e-07 | 0.0021477 | 0.0021477 | 0.0021477 | 0.99567 | -0.082062 | 0.99565 | -0.082408 | 0.59003
89 | 0.021256 | 0.0053303 | -0.021247 | -0.0053252 | 8.4293e-06 | 5.1255e-06 | 0.032352 | 0.032352 | 0.032352 | 0.97769 | -0.43047 | 0.97726 | -0.4388 | 8.8879

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60804 | 0.1551

## res_load
| p_mw | q_mvar
0 | 0.0093942 | 0.0023544
1 | 0.010432 | 0.0026146
2 | 0.0070522 | 0.0017675
3 | 0.001814 | 0.00045462
4 | 0.020553 | 0.0051511
5 | 0.01851 | 0.004639
6 | 0.047538 | 0.011914
7 | 0.010549 | 0.0026439
8 | 0.0080736 | 0.0020234
9 | 0.024276 | 0.0060842
10 | 0.0018423 | 0.00046173
11 | 0.021219 | 0.005318
12 | 0.022466 | 0.0056305
13 | 0.019686 | 0.0049338
14 | 0.0028751 | 0.00072056
15 | 0.0025858 | 0.00064806
16 | 0.013142 | 0.0032936
17 | 0.064517 | 0.01617
18 | 0.012664 | 0.0031739
19 | 0.0054007 | 0.0013535
20 | 0.013002 | 0.0032587
21 | 0.0017333 | 0.0004344
22 | 0.0054964 | 0.0013775
23 | 0.025307 | 0.0063425
24 | 0.019859 | 0.0049772
25 | 0.0029806 | 0.000747
26 | 0.0042659 | 0.0010691
27 | 0.0044594 | 0.0011176
28 | 0.0026157 | 0.00065555
29 | 0.0036027 | 0.00090292
30 | 0.010164 | 0.0025474
31 | 0.0018865 | 0.00047281
32 | 0.0018953 | 0.00047501
33 | 0.0089337 | 0.002239
34 | 0.0046129 | 0.0011561
35 | 0.0092525 | 0.0023189
36 | 0.0091357 | 0.0022896
37 | 0.0091 | 0.0022807
38 | 0.0029785 | 0.00074647
39 | 0.00051676 | 0.00012951
40 | 0.0029029 | 0.00072753
41 | 0.0113 | 0.0028321
42 | 0.0026527 | 0.00066483
43 | 0.0029296 | 0.00073423
44 | 0.002603 | 0.00065236
45 | 0.040515 | 0.010154
46 | 0.0046024 | 0.0011535
47 | 0.0089377 | 0.00224
48 | 0.0048521 | 0.001216
49 | 0.0046125 | 0.001156
50 | 0.0046115 | 0.0011558
51 | 0.0082276 | 0.002062
52 | 0.0083552 | 0.002094
53 | 0.0088772 | 0.0022248
54 | 0.0040604 | 0.0010176
55 | 0.0014371 | 0.00036016
56 | 0.010417 | 0.0026108

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1