## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-357_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-357_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_261-357_0_4_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_261-357_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_261-357_0_4_node_23 | 0.4 | n |  | TRUE
5 | bus_LV_261-357_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_261-357_0_4_node_60 | 0.4 | n |  | TRUE
7 | bus_LV_261-357_0_4_node_62 | 0.4 | n |  | TRUE
8 | bus_LV_261-357_0_4_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_261-357_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_261-357_0_4_node_71 | 0.4 | n |  | TRUE
11 | bus_LV_261-357_0_4_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_261-357_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_261-357_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_261-357_0_4_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_261-357_0_4_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_261-357_0_4_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_261-357_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_261-357_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_261-357_0_4_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_261-357_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_261-357_0_4_node_68 | 0.4 | n |  | TRUE
22 | bus_LV_261-357_0_4_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_261-357_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_261-357_0_4_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_261-357_0_4_node_64 | 0.4 | n |  | TRUE
26 | bus_LV_261-357_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_261-357_0_4_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_261-357_0_4_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_261-357_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_261-357_0_4_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_261-357_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_261-357_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_261-357_0_4_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_261-357_0_4_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_261-357_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_261-357_0_4_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_261-357_0_4_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_261-357_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_261-357_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_261-357_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_261-357_0_4_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_261-357_0_4_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_261-357_0_4_node_72 | 0.4 | n |  | TRUE
44 | bus_LV_261-357_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_261-357_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_261-357_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_261-357_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_261-357_0_4_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_261-357_0_4_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_261-357_0_4_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_261-357_0_4_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_261-357_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_261-357_0_4_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_261-357_0_4_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_261-357_0_4_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_261-357_0_4_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_261-357_0_4_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_261-357_0_4_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_261-357_0_4_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_261-357_0_4_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_261-357_0_4_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_261-357_0_4_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_261-357_0_4_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_261-357_0_4_node_48 | 0.4 | n |  | TRUE
65 | bus_MV_533_0_node_10 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-357_0_4_load_0 | 0 | 0.019342 | 0.0048476 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-357_0_4_load_60 | 6 | 0.01823 | 0.004569 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-357_0_4_load_62 | 7 | 0.0073195 | 0.0018344 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-357_0_4_load_31 | 8 | 0.019467 | 0.0048788 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-357_0_4_load_71 | 10 | 0.0060948 | 0.0015275 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-357_0_4_load_34 | 11 | 0.0069884 | 0.0017515 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-357_0_4_load_32 | 14 | 0.012042 | 0.003018 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-357_0_4_load_35 | 16 | 0.0063559 | 0.0015929 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-357_0_4_load_45 | 19 | 0.010233 | 0.0025647 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-357_0_4_load_68 | 21 | 0.0036109 | 0.00090497 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-357_0_4_load_67 | 22 | 0.0030121 | 0.00075491 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-357_0_4_load_44 | 24 | 0.0096072 | 0.0024078 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-357_0_4_load_64 | 25 | 0.0083726 | 0.0020984 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-357_0_4_load_55 | 27 | 0.018005 | 0.0045126 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-357_0_4_load_51 | 28 | 0.024712 | 0.0061935 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-357_0_4_load_65 | 30 | 0.0085048 | 0.0021315 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-357_0_4_load_58 | 33 | 0.0095877 | 0.0024029 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-357_0_4_load_61 | 34 | 0.011622 | 0.0029128 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-357_0_4_load_66 | 36 | 0.0072551 | 0.0018183 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-357_0_4_load_42 | 37 | 0.01019 | 0.002554 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-357_0_4_load_29 | 39 | 0.0073169 | 0.0018338 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-357_0_4_load_56 | 41 | 0.0069795 | 0.0017492 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-357_0_4_load_54 | 42 | 0.0071389 | 0.0017892 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-357_0_4_load_72 | 43 | 0.0076494 | 0.0019171 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-357_0_4_load_33 | 44 | 0.0052863 | 0.0013249 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-357_0_4_load_30 | 45 | 0.0074031 | 0.0018554 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-357_0_4_load_36 | 46 | 0.0065933 | 0.0016524 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-357_0_4_load_37 | 47 | 0.0059484 | 0.0014908 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-357_0_4_load_46 | 48 | 0.0033462 | 0.00083863 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-357_0_4_load_43 | 49 | 0.006046 | 0.0015153 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-357_0_4_load_63 | 50 | 0.0041937 | 0.0010511 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-357_0_4_load_53 | 51 | 0.0092506 | 0.0023184 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-357_0_4_load_49 | 52 | 0.024499 | 0.0061401 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-357_0_4_load_59 | 53 | 0.0044367 | 0.0011119 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-357_0_4_load_57 | 54 | 0.006058 | 0.0015183 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-357_0_4_load_70 | 55 | 0.0071965 | 0.0018036 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-357_0_4_load_69 | 56 | 0.0072559 | 0.0018185 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-357_0_4_load_50 | 57 | 0.0067469 | 0.0016909 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-357_0_4_load_40 | 58 | 0.0054413 | 0.0013637 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-357_0_4_load_52 | 59 | 0.02224 | 0.0055739 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-357_0_4_load_38 | 60 | 0.0096647 | 0.0024222 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-357_0_4_load_39 | 61 | 0.0088337 | 0.0022139 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-357_0_4_load_41 | 62 | 0.0044509 | 0.0011155 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-357_0_4_load_47 | 63 | 0.013777 | 0.0034528 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-357_0_4_load_48 | 64 | 0.0062476 | 0.0015658 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-357_0_4_line_0 |  | 0 | 1 | 0.0069165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-357_0_4_line_1 |  | 1 | 2 | 0.055325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-357_0_4_line_2 |  | 2 | 7 | 0.025787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-357_0_4_line_3 |  | 2 | 8 | 0.023708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-357_0_4_line_4 |  | 3 | 4 | 0.012239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_261-357_0_4_line_5 |  | 3 | 5 | 0.01484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_261-357_0_4_line_6 |  | 3 | 6 | 0.019812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-357_0_4_line_7 |  | 4 | 34 | 0.013951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-357_0_4_line_8 |  | 4 | 31 | 0.012447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_261-357_0_4_line_9 |  | 5 | 9 | 0.002057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-357_0_4_line_10 |  | 5 | 10 | 0.014635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-357_0_4_line_11 |  | 7 | 43 | 0.014603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-357_0_4_line_12 |  | 8 | 38 | 0.030012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-357_0_4_line_13 |  | 9 | 11 | 0.011374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-357_0_4_line_14 |  | 10 | 43 | 0.012209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-357_0_4_line_15 |  | 11 | 44 | 0.010258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-357_0_4_line_16 |  | 12 | 13 | 0.011419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-357_0_4_line_17 |  | 12 | 14 | 0.020239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-357_0_4_line_18 |  | 13 | 15 | 0.006344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-357_0_4_line_19 |  | 13 | 16 | 0.0086035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-357_0_4_line_20 |  | 14 | 44 | 0.014894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-357_0_4_line_21 |  | 15 | 25 | 0.01155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-357_0_4_line_22 |  | 16 | 46 | 0.010842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-357_0_4_line_23 |  | 17 | 18 | 0.002127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-357_0_4_line_24 |  | 17 | 19 | 0.0080018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-357_0_4_line_25 |  | 18 | 23 | 0.0141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-357_0_4_line_26 |  | 18 | 24 | 0.019788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_261-357_0_4_line_27 |  | 19 | 48 | 0.0068956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-357_0_4_line_28 |  | 20 | 21 | 0.0065559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-357_0_4_line_29 |  | 20 | 22 | 0.0031264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-357_0_4_line_30 |  | 22 | 29 | 0.012371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-357_0_4_line_31 |  | 23 | 28 | 0.010368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-357_0_4_line_32 |  | 23 | 26 | 0.006738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-357_0_4_line_33 |  | 24 | 49 | 0.013115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_261-357_0_4_line_34 |  | 25 | 50 | 0.015025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-357_0_4_line_35 |  | 26 | 27 | 0.026483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-357_0_4_line_36 |  | 27 | 51 | 0.017285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-357_0_4_line_37 |  | 28 | 52 | 0.022668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-357_0_4_line_38 |  | 29 | 30 | 0.018263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-357_0_4_line_39 |  | 30 | 50 | 0.00042453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-357_0_4_line_40 |  | 31 | 32 | 0.006903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_261-357_0_4_line_41 |  | 31 | 33 | 0.033261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-357_0_4_line_42 |  | 32 | 35 | 0.012992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_261-357_0_4_line_43 |  | 32 | 36 | 0.013805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_261-357_0_4_line_44 |  | 33 | 54 | 0.024055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-357_0_4_line_45 |  | 35 | 37 | 0.0082188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_261-357_0_4_line_46 |  | 36 | 57 | 0.012546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_261-357_0_4_line_47 |  | 37 | 58 | 0.012978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_261-357_0_4_line_48 |  | 38 | 39 | 0.014621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-357_0_4_line_49 |  | 39 | 45 | 0.014699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-357_0_4_line_50 |  | 40 | 41 | 0.027817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-357_0_4_line_51 |  | 40 | 42 | 0.018197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-357_0_4_line_52 |  | 41 | 56 | 0.016787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-357_0_4_line_53 |  | 42 | 59 | 0.026957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-357_0_4_line_54 |  | 46 | 47 | 0.010436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-357_0_4_line_55 |  | 49 | 62 | 0.0012187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_261-357_0_4_line_56 |  | 51 | 59 | 0.0011536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-357_0_4_line_57 |  | 53 | 54 | 0.013138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-357_0_4_line_58 |  | 55 | 56 | 0.015706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-357_0_4_line_59 |  | 57 | 64 | 0.020597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-357_0_4_line_60 |  | 58 | 60 | 0.018248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_261-357_0_4_line_61 |  | 60 | 61 | 0.019714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_261-357_0_4_line_62 |  | 61 | 62 | 0.018199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_261-357_0_4_line_63 |  | 63 | 64 | 0.0052607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-357_0_4_trafo_50 | 0.63 MVA 20/0.4 kV | 65 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2680850.267 | 1247433.4084 | 2680847.9636 | 1247435.5897 | 2680845.2538 | 1247438.1735
1 | 2680890.6289 | 1247409.9082 | 2680885.8001 | 1247414.4902 | 2680876.8647 | 1247422.2073 | 2680869.6959 | 1247415.0488 | 2680850.267 | 1247433.4084
2 | 2680890.6289 | 1247409.9082 | 2680900.5733 | 1247402.4273 | 2680911.5955 | 1247394.9083
3 | 2680890.6289 | 1247409.9082 | 2680907.0127 | 1247427.0443
4 | 2680938.7888 | 1247360.2401 | 2680939.5553 | 1247357.7599 | 2680939.8096 | 1247355.1837 | 2680939.5426 | 1247352.6115 | 2680939.0745 | 1247348.1685
5 | 2680938.7888 | 1247360.2401 | 2680942.031 | 1247365.6439 | 2680946.4254 | 1247372.9648
6 | 2680938.7888 | 1247360.2401 | 2680937.2797 | 1247362.8881 | 2680935.1795 | 1247365.1167 | 2680932.6186 | 1247366.794 | 2680923.883 | 1247372.8689
7 | 2680939.0745 | 1247348.1685 | 2680937.6132 | 1247334.2941
8 | 2680939.0745 | 1247348.1685 | 2680945.955 | 1247346.5724 | 2680951.1987 | 1247345.3542
9 | 2680946.4254 | 1247372.9648 | 2680948.477 | 1247373.1818
10 | 2680946.4254 | 1247372.9648 | 2680944.3751 | 1247373.2036 | 2680942.4246 | 1247373.8775 | 2680933.745 | 1247379.7985
11 | 2680923.6589 | 1247386.679 | 2680911.5955 | 1247394.9083
12 | 2680926.118 | 1247441.8046 | 2680920.7634 | 1247445.6121 | 2680910.1005 | 1247434.3584 | 2680907.0127 | 1247427.0443
13 | 2680948.477 | 1247373.1818 | 2680950.6271 | 1247373.9339 | 2680952.5362 | 1247375.1831 | 2680954.0845 | 1247376.8499 | 2680957.5372 | 1247379.7975
14 | 2680933.745 | 1247379.7985 | 2680923.6589 | 1247386.679
15 | 2680957.5372 | 1247379.7975 | 2680965.3386 | 1247386.4579
16 | 2680992.059 | 1247409.2698 | 2680996.0539 | 1247405.4661 | 2681000.332 | 1247401.3993
17 | 2680992.059 | 1247409.2698 | 2680976.6664 | 1247396.1287
18 | 2681000.332 | 1247401.3993 | 2681005.2318 | 1247405.447
19 | 2681000.332 | 1247401.3993 | 2680993.7751 | 1247395.829
20 | 2680976.6664 | 1247396.1287 | 2680965.3386 | 1247386.4579
21 | 2681005.2318 | 1247405.447 | 2681007.2981 | 1247404.5857 | 2681015.0201 | 1247399.3825
22 | 2680985.5123 | 1247388.8095 | 2680993.7751 | 1247395.829
23 | 2681056.2895 | 1247299.1669 | 2681057.4308 | 1247299.1158 | 2681058.3707 | 1247299.4288
24 | 2681058.3707 | 1247299.4288 | 2681059.1402 | 1247300.0509 | 2681063.8874 | 1247305.2119
25 | 2681046.8088 | 1247288.7297 | 2681050.2619 | 1247292.5241 | 2681056.2895 | 1247299.1669
26 | 2681056.2895 | 1247299.1669 | 2681055.2629 | 1247299.6643 | 2681050.0025 | 1247303.2061 | 2681046.6936 | 1247302.6827 | 2681039.2984 | 1247307.7341
27 | 2681068.5556 | 1247310.2871 | 2681063.8874 | 1247305.2119
28 | 2681055.7349 | 1247371.7457 | 2681061.1323 | 1247368.0242
29 | 2681055.7349 | 1247371.7457 | 2681053.1613 | 1247373.5207
30 | 2681042.9775 | 1247380.5444 | 2681053.1613 | 1247373.5207
31 | 2681046.8088 | 1247288.7297 | 2681038.2366 | 1247294.5613
32 | 2681046.8088 | 1247288.7297 | 2681048.1094 | 1247287.5243 | 2681048.8941 | 1247285.9339 | 2681049.0896 | 1247284.3465 | 2681048.7634 | 1247282.7854
33 | 2681028.4686 | 1247315.1316 | 2681039.2984 | 1247307.7341
34 | 2681027.48 | 1247390.9868 | 2681015.0201 | 1247399.3825
35 | 2681048.7634 | 1247282.7854 | 2681034.5397 | 1247260.4458
36 | 2681025.2564 | 1247245.8655 | 2681034.5397 | 1247260.4458
37 | 2681019.4942 | 1247307.3115 | 2681038.2366 | 1247294.5613
38 | 2681042.9775 | 1247380.5444 | 2681027.8321 | 1247390.7496
39 | 2681027.48 | 1247390.9868 | 2681027.8321 | 1247390.7496
40 | 2680951.1987 | 1247345.3542 | 2680952.617 | 1247347.1415 | 2680954.5724 | 1247348.3246 | 2680956.8856 | 1247348.7454
41 | 2680951.1987 | 1247345.3542 | 2680950.4879 | 1247343.1985 | 2680947.2174 | 1247312.3803
42 | 2680956.8856 | 1247348.7454 | 2680959.9759 | 1247353.6578 | 2680963.8132 | 1247359.7369
43 | 2680956.8856 | 1247348.7454 | 2680959.1951 | 1247348.3322 | 2680968.6695 | 1247341.8869
44 | 2680944.6788 | 1247288.4596 | 2680947.2174 | 1247312.3803
45 | 2680963.8132 | 1247359.7369 | 2680965.5577 | 1247358.1039 | 2680970.3712 | 1247354.816
46 | 2680968.6695 | 1247341.8869 | 2680979.0424 | 1247334.8303
47 | 2680970.3712 | 1247354.816 | 2680981.0878 | 1247347.4958
48 | 2680926.118 | 1247441.8046 | 2680939.3491 | 1247435.5835
49 | 2680939.3491 | 1247435.5835 | 2680952.6513 | 1247429.329
50 | 2680998.8378 | 1247208.4045 | 2680997.3767 | 1247208.0844 | 2680994.9014 | 1247207.9171 | 2680992.4562 | 1247208.3062 | 2680974.4247 | 1247219.7653
51 | 2680998.8378 | 1247208.4045 | 2681000.4444 | 1247209.127 | 2681003.07 | 1247211.0198 | 2681010.1586 | 1247222.1531
52 | 2680960.2566 | 1247228.7691 | 2680974.4247 | 1247219.7653
53 | 2681024.6368 | 1247244.8924 | 2681010.1586 | 1247222.1531
54 | 2680977.5586 | 1247382.0526 | 2680985.5123 | 1247388.8095
55 | 2681027.4622 | 1247315.819 | 2681028.4686 | 1247315.1316
56 | 2681024.6368 | 1247244.8924 | 2681025.2564 | 1247245.8655
57 | 2680944.6788 | 1247288.4596 | 2680943.2923 | 1247275.3947
58 | 2680960.2566 | 1247228.7691 | 2680947.0005 | 1247237.1934
59 | 2680996.072 | 1247323.2453 | 2680979.0424 | 1247334.8303
60 | 2680996.156 | 1247337.2033 | 2680981.0878 | 1247347.4958
61 | 2680996.156 | 1247337.2033 | 2681012.4349 | 1247326.0837
62 | 2681027.4622 | 1247315.819 | 2681012.4349 | 1247326.0837
63 | 2680996.072 | 1247323.2453 | 2681000.4216 | 1247320.2863

## bus_geodata
| x | y | coords
0 | 2680845.2538 | 1247438.1735
1 | 2680850.267 | 1247433.4084
2 | 2680890.6289 | 1247409.9082
3 | 2680938.7888 | 1247360.2401
4 | 2680939.0745 | 1247348.1685
5 | 2680946.4254 | 1247372.9648
6 | 2680923.883 | 1247372.8689
7 | 2680911.5955 | 1247394.9083
8 | 2680907.0127 | 1247427.0443
9 | 2680948.477 | 1247373.1818
10 | 2680933.745 | 1247379.7985
11 | 2680957.5372 | 1247379.7975
12 | 2680992.059 | 1247409.2698
13 | 2681000.332 | 1247401.3993
14 | 2680976.6664 | 1247396.1287
15 | 2681005.2318 | 1247405.447
16 | 2680993.7751 | 1247395.829
17 | 2681058.3707 | 1247299.4288
18 | 2681056.2895 | 1247299.1669
19 | 2681063.8874 | 1247305.2119
20 | 2681055.7349 | 1247371.7457
21 | 2681061.1323 | 1247368.0242
22 | 2681053.1613 | 1247373.5207
23 | 2681046.8088 | 1247288.7297
24 | 2681039.2984 | 1247307.7341
25 | 2681015.0201 | 1247399.3825
26 | 2681048.7634 | 1247282.7854
27 | 2681034.5397 | 1247260.4458
28 | 2681038.2366 | 1247294.5613
29 | 2681042.9775 | 1247380.5444
30 | 2681027.8321 | 1247390.7496
31 | 2680951.1987 | 1247345.3542
32 | 2680956.8856 | 1247348.7454
33 | 2680947.2174 | 1247312.3803
34 | 2680937.6132 | 1247334.2941
35 | 2680963.8132 | 1247359.7369
36 | 2680968.6695 | 1247341.8869
37 | 2680970.3712 | 1247354.816
38 | 2680926.118 | 1247441.8046
39 | 2680939.3491 | 1247435.5835
40 | 2680998.8378 | 1247208.4045
41 | 2680974.4247 | 1247219.7653
42 | 2681010.1586 | 1247222.1531
43 | 2680923.6589 | 1247386.679
44 | 2680965.3386 | 1247386.4579
45 | 2680952.6513 | 1247429.329
46 | 2680985.5123 | 1247388.8095
47 | 2680977.5586 | 1247382.0526
48 | 2681068.5556 | 1247310.2871
49 | 2681028.4686 | 1247315.1316
50 | 2681027.48 | 1247390.9868
51 | 2681025.2564 | 1247245.8655
52 | 2681019.4942 | 1247307.3115
53 | 2680943.2923 | 1247275.3947
54 | 2680944.6788 | 1247288.4596
55 | 2680947.0005 | 1247237.1934
56 | 2680960.2566 | 1247228.7691
57 | 2680979.0424 | 1247334.8303
58 | 2680981.0878 | 1247347.4958
59 | 2681024.6368 | 1247244.8924
60 | 2680996.156 | 1247337.2033
61 | 2681012.4349 | 1247326.0837
62 | 2681027.4622 | 1247315.819
63 | 2681000.4216 | 1247320.2863
64 | 2680996.072 | 1247323.2453
65 | 2680956.8856 | 1247348.7454

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9892 | -0.20769 | 0.019342 | 0.0048476
1 | 0.98932 | -0.2053 | 0 | 0
2 | 0.99031 | -0.18627 | 0 | 0
3 | 0.99514 | -0.092937 | 0 | 0
4 | 0.99575 | -0.081187 | 0 | 0
5 | 0.99415 | -0.11196 | 0 | 0
6 | 0.99481 | -0.099296 | 0.01823 | 0.004569
7 | 0.99157 | -0.16176 | 0.0073195 | 0.0018344
8 | 0.98956 | -0.20068 | 0.019467 | 0.0048788
9 | 0.99402 | -0.11453 | 0 | 0
10 | 0.99315 | -0.13123 | 0.0060948 | 0.0015275
11 | 0.99328 | -0.12877 | 0.0069884 | 0.0017515
12 | 0.99102 | -0.17254 | 0 | 0
13 | 0.99053 | -0.18199 | 0 | 0
14 | 0.99188 | -0.15582 | 0.012042 | 0.003018
15 | 0.99037 | -0.18511 | 0 | 0
16 | 0.99038 | -0.18488 | 0.0063559 | 0.0015929
17 | 0.98993 | -0.19312 | 0 | 0
18 | 0.98996 | -0.1926 | 0 | 0
19 | 0.98983 | -0.19505 | 0.010233 | 0.0025647
20 | 0.98961 | -0.19989 | 0 | 0
21 | 0.98959 | -0.20031 | 0.0036109 | 0.00090497
22 | 0.98962 | -0.19969 | 0.0030121 | 0.00075491
23 | 0.9883 | -0.22458 | 0 | 0
24 | 0.99124 | -0.16785 | 0.0096072 | 0.0024078
25 | 0.99007 | -0.1908 | 0.0083726 | 0.0020984
26 | 0.98782 | -0.23397 | 0 | 0
27 | 0.98592 | -0.27097 | 0.018005 | 0.0045126
28 | 0.98784 | -0.23369 | 0.024712 | 0.0061935
29 | 0.98969 | -0.19823 | 0 | 0
30 | 0.9898 | -0.19608 | 0.0085048 | 0.0021315
31 | 0.99642 | -0.068406 | 0 | 0
32 | 0.99683 | -0.060514 | 0 | 0
33 | 0.99581 | -0.08014 | 0.0095877 | 0.0024029
34 | 0.9956 | -0.084038 | 0.011622 | 0.0029128
35 | 0.99605 | -0.075347 | 0 | 0
36 | 0.99848 | -0.029041 | 0.0072551 | 0.0018183
37 | 0.99556 | -0.084742 | 0.01019 | 0.002554
38 | 0.98916 | -0.20855 | 0 | 0
39 | 0.98896 | -0.21238 | 0.0073169 | 0.0018338
40 | 0.98384 | -0.31153 | 0 | 0
41 | 0.98329 | -0.32227 | 0.0069795 | 0.0017492
42 | 0.9842 | -0.30451 | 0.0071389 | 0.0017892
43 | 0.99239 | -0.14602 | 0.0076494 | 0.0019171
44 | 0.99268 | -0.14036 | 0.0052863 | 0.0013249
45 | 0.98886 | -0.21432 | 0.0074031 | 0.0018554
46 | 0.99026 | -0.1873 | 0.0065933 | 0.0016524
47 | 0.9902 | -0.1884 | 0.0059484 | 0.0014908
48 | 0.98981 | -0.19546 | 0.0033462 | 0.00083863
49 | 0.99184 | -0.15619 | 0.006046 | 0.0015153
50 | 0.98981 | -0.19596 | 0.0041937 | 0.0010511
51 | 0.98496 | -0.2896 | 0.0092506 | 0.0023184
52 | 0.98733 | -0.24361 | 0.024499 | 0.0061401
53 | 0.99553 | -0.085604 | 0.0044367 | 0.0011119
54 | 0.99558 | -0.084579 | 0.006058 | 0.0015183
55 | 0.98296 | -0.32868 | 0.0071965 | 0.0018036
56 | 0.98306 | -0.32665 | 0.0072559 | 0.0018185
57 | 1 | 0 | -0.42312 | -0.10704
58 | 0.99483 | -0.09882 | 0.0054413 | 0.0013637
59 | 0.98491 | -0.29066 | 0.02224 | 0.0055739
60 | 0.99382 | -0.11806 | 0.0096647 | 0.0024222
61 | 0.9928 | -0.13778 | 0.0088337 | 0.0022139
62 | 0.9919 | -0.15506 | 0.0044509 | 0.0011155
63 | 0.99956 | -0.0084556 | 0.013777 | 0.0034528
64 | 0.99963 | -0.0071914 | 0.0062476 | 0.0015658
65 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.019342 | -0.0048476 | 0.019344 | 0.0048489 | 2.1957e-06 | 1.3164e-06 | 0.029096 | 0.029096 | 0.029096 | 0.9892 | -0.20769 | 0.98932 | -0.2053 | 7.9933
1 | -0.019344 | -0.0048489 | 0.019362 | 0.0048595 | 1.7563e-05 | 1.0529e-05 | 0.029096 | 0.029095 | 0.029096 | 0.98932 | -0.2053 | 0.99031 | -0.18627 | 7.9933
2 | -0.053581 | -0.013447 | 0.053644 | 0.013487 | 6.269e-05 | 3.9789e-05 | 0.080517 | 0.080516 | 0.080517 | 0.99031 | -0.18627 | 0.99157 | -0.16176 | 22.1199
3 | 0.034219 | 0.0085877 | -0.034196 | -0.0085729 | 2.3508e-05 | 1.474e-05 | 0.051421 | 0.051421 | 0.051421 | 0.99031 | -0.18627 | 0.98956 | -0.20068 | 14.1267
4 | -0.16436 | -0.041434 | 0.16446 | 0.041493 | 9.2474e-05 | 5.8706e-05 | 0.24586 | 0.24586 | 0.24586 | 0.99514 | -0.092937 | 0.99575 | -0.081187 | 22.5144
5 | 0.14613 | 0.036862 | -0.146 | -0.036778 | 0.00013295 | 8.4705e-05 | 0.21859 | 0.21859 | 0.21859 | 0.99514 | -0.092937 | 0.99415 | -0.11196 | 30.0259
6 | 0.018236 | 0.0045723 | -0.01823 | -0.004569 | 5.5243e-06 | 3.2783e-06 | 0.027269 | 0.027269 | 0.027269 | 0.99514 | -0.092937 | 0.99481 | -0.099296 | 7.4914
7 | 0.011624 | 0.0029137 | -0.011622 | -0.0029128 | 1.5786e-06 | 8.2884e-07 | 0.01737 | 0.017371 | 0.017371 | 0.99575 | -0.081187 | 0.9956 | -0.084038 | 4.7721
8 | -0.17608 | -0.044407 | 0.17619 | 0.044475 | 0.0001078 | 6.8506e-05 | 0.26323 | 0.26323 | 0.26323 | 0.99575 | -0.081187 | 0.99642 | -0.068406 | 24.1051
9 | 0.071125 | 0.017907 | -0.071116 | -0.017902 | 8.7469e-06 | 5.5714e-06 | 0.10649 | 0.10649 | 0.10649 | 0.99415 | -0.11196 | 0.99402 | -0.11453 | 29.2545
10 | 0.074871 | 0.01887 | -0.074802 | -0.018826 | 6.8967e-05 | 4.3949e-05 | 0.1121 | 0.1121 | 0.1121 | 0.99415 | -0.11196 | 0.99315 | -0.13123 | 30.7973
11 | -0.060963 | -0.015321 | 0.061009 | 0.015351 | 4.5848e-05 | 2.9154e-05 | 0.091501 | 0.091501 | 0.091501 | 0.99157 | -0.16176 | 0.99239 | -0.14602 | 25.1375
12 | 0.014729 | 0.0036941 | -0.014723 | -0.003691 | 5.5213e-06 | 3.1482e-06 | 0.022149 | 0.022149 | 0.022149 | 0.98956 | -0.20068 | 0.98916 | -0.20855 | 6.0849
13 | 0.071116 | 0.017902 | -0.071068 | -0.017871 | 4.8365e-05 | 3.0807e-05 | 0.10649 | 0.10649 | 0.10649 | 0.99402 | -0.11453 | 0.99328 | -0.12877 | 29.2545
14 | 0.068707 | 0.017299 | -0.068659 | -0.017268 | 4.8546e-05 | 3.0911e-05 | 0.10297 | 0.10297 | 0.10297 | 0.99315 | -0.13123 | 0.99239 | -0.14602 | 28.2886
15 | 0.064079 | 0.01612 | -0.064044 | -0.016097 | 3.5464e-05 | 2.2564e-05 | 0.096017 | 0.096017 | 0.096017 | 0.99328 | -0.12877 | 0.99268 | -0.14036 | 26.3784
16 | 0.046635 | 0.011703 | -0.046614 | -0.01169 | 2.0999e-05 | 1.3292e-05 | 0.070028 | 0.070028 | 0.070028 | 0.99102 | -0.17254 | 0.99053 | -0.18199 | 19.2384
17 | -0.046635 | -0.011703 | 0.046672 | 0.011727 | 3.7219e-05 | 2.3559e-05 | 0.070028 | 0.070028 | 0.070028 | 0.99102 | -0.17254 | 0.99188 | -0.15582 | 19.2384
18 | 0.027712 | 0.0069512 | -0.027708 | -0.0069486 | 4.1234e-06 | 2.5573e-06 | 0.041632 | 0.041632 | 0.041632 | 0.99053 | -0.18199 | 0.99037 | -0.18511 | 11.4374
19 | 0.018902 | 0.0047386 | -0.018899 | -0.004737 | 2.6015e-06 | 1.5542e-06 | 0.028396 | 0.028396 | 0.028396 | 0.99053 | -0.18199 | 0.99038 | -0.18488 | 7.8011
20 | -0.058714 | -0.014745 | 0.058757 | 0.014772 | 4.3345e-05 | 2.7548e-05 | 0.088093 | 0.088093 | 0.088093 | 0.99188 | -0.15582 | 0.99268 | -0.14036 | 24.2015
21 | 0.027708 | 0.0069486 | -0.0277 | -0.006944 | 7.5071e-06 | 4.656e-06 | 0.041632 | 0.041632 | 0.041632 | 0.99037 | -0.18511 | 0.99007 | -0.1908 | 11.4374
22 | 0.012543 | 0.0031441 | -0.012542 | -0.0031433 | 1.4441e-06 | 7.8472e-07 | 0.018846 | 0.018846 | 0.018846 | 0.99038 | -0.18488 | 0.99026 | -0.1873 | 5.1776
23 | -0.013581 | -0.003404 | 0.013581 | 0.0034042 | 3.324e-07 | 1.8539e-07 | 0.020414 | 0.020414 | 0.020414 | 0.98993 | -0.19312 | 0.98996 | -0.1926 | 5.6083
24 | 0.013581 | 0.003404 | -0.01358 | -0.0034033 | 1.2505e-06 | 6.9746e-07 | 0.020414 | 0.020414 | 0.020414 | 0.98993 | -0.19312 | 0.98983 | -0.19505 | 5.6083
25 | 0.12778 | 0.032215 | -0.12758 | -0.032091 | 0.00019519 | 0.00012474 | 0.19213 | 0.19213 | 0.19213 | 0.98996 | -0.1926 | 0.9883 | -0.22458 | 52.7832
26 | -0.14136 | -0.035619 | 0.14153 | 0.035726 | 0.00016761 | 0.00010676 | 0.21255 | 0.21254 | 0.21255 | 0.98996 | -0.1926 | 0.99124 | -0.16785 | 29.1958
27 | 0.0033462 | 0.00083858 | -0.0033462 | -0.00083863 | 6.5435e-08 | -4.6754e-08 | 0.0050304 | 0.0050304 | 0.0050304 | 0.98983 | -0.19505 | 0.98981 | -0.19546 | 1.382
28 | 0.0036109 | 0.00090493 | -0.0036109 | -0.00090497 | 7.2476e-08 | -3.7844e-08 | 0.0054295 | 0.0054296 | 0.0054296 | 0.98961 | -0.19989 | 0.98959 | -0.20031 | 1.4916
29 | -0.0036109 | -0.00090493 | 0.003611 | 0.00090491 | 3.4562e-08 | -1.8049e-08 | 0.0054295 | 0.0054295 | 0.0054295 | 0.98961 | -0.19989 | 0.98962 | -0.19969 | 1.4916
30 | -0.0066231 | -0.0016598 | 0.0066236 | 0.00166 | 4.6008e-07 | 1.3549e-07 | 0.0099587 | 0.0099586 | 0.0099587 | 0.98962 | -0.19969 | 0.98969 | -0.19823 | 2.7359
31 | 0.049245 | 0.012354 | -0.049223 | -0.012341 | 2.1376e-05 | 1.3548e-05 | 0.074148 | 0.074148 | 0.074148 | 0.9883 | -0.22458 | 0.98784 | -0.23369 | 20.3704
32 | 0.078337 | 0.019736 | -0.078302 | -0.019714 | 3.5172e-05 | 2.2424e-05 | 0.11798 | 0.11798 | 0.11798 | 0.9883 | -0.22458 | 0.98782 | -0.23397 | 32.4128
33 | -0.15113 | -0.038134 | 0.15122 | 0.038188 | 8.4452e-05 | 5.3542e-05 | 0.22697 | 0.22697 | 0.22697 | 0.99124 | -0.16785 | 0.99184 | -0.15619 | 20.7845
34 | 0.019328 | 0.0048456 | -0.019323 | -0.0048428 | 4.7543e-06 | 2.8496e-06 | 0.029049 | 0.029049 | 0.029049 | 0.99007 | -0.1908 | 0.98981 | -0.19596 | 7.9804
35 | 0.078302 | 0.019714 | -0.078163 | -0.019626 | 0.00013824 | 8.8137e-05 | 0.11798 | 0.11798 | 0.11798 | 0.98782 | -0.23397 | 0.98592 | -0.27097 | 32.4129
36 | 0.060158 | 0.015113 | -0.060105 | -0.015079 | 5.3449e-05 | 3.3987e-05 | 0.090808 | 0.090808 | 0.090808 | 0.98592 | -0.27097 | 0.98496 | -0.2896 | 24.9472
37 | 0.024511 | 0.0061472 | -0.024499 | -0.0061401 | 1.1589e-05 | 7.1268e-06 | 0.036923 | 0.036923 | 0.036923 | 0.98784 | -0.23369 | 0.98733 | -0.24361 | 10.1437
38 | -0.0066236 | -0.00166 | 0.0066242 | 0.0016602 | 6.7919e-07 | 1.9997e-07 | 0.0099586 | 0.0099585 | 0.0099586 | 0.98969 | -0.19823 | 0.9898 | -0.19608 | 2.7359
39 | -0.015129 | -0.0037917 | 0.015129 | 0.0037917 | 8.2352e-08 | 4.7249e-08 | 0.022744 | 0.022744 | 0.022744 | 0.9898 | -0.19608 | 0.98981 | -0.19596 | 6.2484
40 | -0.19628 | -0.049516 | 0.19636 | 0.049564 | 7.4198e-05 | 4.7217e-05 | 0.29324 | 0.29324 | 0.29324 | 0.99642 | -0.068406 | 0.99683 | -0.060514 | 26.8534
41 | 0.020096 | 0.0050409 | -0.020085 | -0.0050342 | 1.1235e-05 | 6.7574e-06 | 0.030012 | 0.030012 | 0.030012 | 0.99642 | -0.068406 | 0.99581 | -0.08014 | 8.2452
42 | 0.19667 | 0.049897 | -0.19653 | -0.049808 | 0.00014018 | 8.9208e-05 | 0.29379 | 0.29379 | 0.29379 | 0.99683 | -0.060514 | 0.99605 | -0.075347 | 26.9042
43 | -0.39303 | -0.09946 | 0.39362 | 0.09984 | 0.00059466 | 0.00038004 | 0.58703 | 0.58703 | 0.58703 | 0.99683 | -0.060514 | 0.99848 | -0.029041 | 53.7576
44 | 0.010497 | 0.0026313 | -0.010495 | -0.0026302 | 2.2195e-06 | 1.1076e-06 | 0.015686 | 0.015686 | 0.015686 | 0.99581 | -0.08014 | 0.99558 | -0.084579 | 4.3093
45 | 0.19653 | 0.049808 | -0.19644 | -0.049751 | 8.8675e-05 | 5.6431e-05 | 0.29379 | 0.29379 | 0.29379 | 0.99605 | -0.075347 | 0.99556 | -0.084742 | 26.9042
46 | -0.40088 | -0.10166 | 0.40144 | 0.10202 | 0.00056051 | 0.00035823 | 0.59784 | 0.59784 | 0.59784 | 0.99848 | -0.029041 | 1 | 0 | 54.7477
47 | 0.18625 | 0.047197 | -0.18612 | -0.047117 | 0.00012588 | 8.006e-05 | 0.27856 | 0.27856 | 0.27856 | 0.99556 | -0.084742 | 0.99483 | -0.09882 | 25.5095
48 | 0.014723 | 0.003691 | -0.014721 | -0.0036894 | 2.6897e-06 | 1.5338e-06 | 0.022149 | 0.022149 | 0.022149 | 0.98916 | -0.20855 | 0.98896 | -0.21238 | 6.0849
49 | 0.0074038 | 0.0018556 | -0.0074031 | -0.0018554 | 6.8406e-07 | 2.4921e-07 | 0.01114 | 0.01114 | 0.01114 | 0.98896 | -0.21238 | 0.98886 | -0.21432 | 3.0604
50 | 0.021447 | 0.00538 | -0.021436 | -0.0053733 | 1.0977e-05 | 6.6722e-06 | 0.032439 | 0.032439 | 0.032439 | 0.98384 | -0.31153 | 0.98329 | -0.32227 | 8.9118
51 | -0.021447 | -0.00538 | 0.021454 | 0.0053843 | 7.1805e-06 | 4.3644e-06 | 0.032439 | 0.032439 | 0.032439 | 0.98384 | -0.31153 | 0.9842 | -0.30451 | 8.9118
52 | 0.014456 | 0.0036241 | -0.014453 | -0.0036223 | 3.0128e-06 | 1.7153e-06 | 0.021877 | 0.021877 | 0.021877 | 0.98329 | -0.32227 | 0.98306 | -0.32665 | 6.0101
53 | -0.028593 | -0.0071735 | 0.028612 | 0.0071853 | 1.8894e-05 | 1.1749e-05 | 0.043232 | 0.043232 | 0.043232 | 0.9842 | -0.30451 | 0.98491 | -0.29066 | 11.877
54 | 0.0059487 | 0.0014909 | -0.0059484 | -0.0014908 | 3.1271e-07 | 6.5881e-08 | 0.0089388 | 0.0089389 | 0.0089389 | 0.99026 | -0.1873 | 0.9902 | -0.1884 | 2.4557
55 | -0.15726 | -0.039703 | 0.15727 | 0.039708 | 8.4874e-06 | 5.3847e-06 | 0.23604 | 0.23604 | 0.23604 | 0.99184 | -0.15619 | 0.9919 | -0.15506 | 21.6151
56 | 0.050854 | 0.012761 | -0.050851 | -0.012759 | 2.5537e-06 | 1.6197e-06 | 0.076833 | 0.076833 | 0.076833 | 0.98496 | -0.2896 | 0.98491 | -0.29066 | 21.1079
57 | -0.0044367 | -0.0011119 | 0.0044369 | 0.0011119 | 2.1667e-07 | -3.2167e-08 | 0.0066315 | 0.0066315 | 0.0066315 | 0.99553 | -0.085604 | 0.99558 | -0.084579 | 1.8219
58 | -0.0071965 | -0.0018036 | 0.0071972 | 0.0018039 | 6.9902e-07 | 2.4826e-07 | 0.010894 | 0.010894 | 0.010894 | 0.98296 | -0.32868 | 0.98306 | -0.32665 | 2.9929
59 | 0.020032 | 0.0050232 | -0.020025 | -0.0050191 | 6.8632e-06 | 4.1223e-06 | 0.029809 | 0.029809 | 0.029809 | 1 | 0 | 0.99963 | -0.0071914 | 8.1894
60 | 0.18068 | 0.045754 | -0.18052 | -0.045648 | 0.00016681 | 0.00010605 | 0.27042 | 0.27042 | 0.27042 | 0.99483 | -0.09882 | 0.99382 | -0.11806 | 24.7642
61 | 0.17085 | 0.043225 | -0.17069 | -0.043123 | 0.00016144 | 0.00010256 | 0.25595 | 0.25595 | 0.25595 | 0.99382 | -0.11806 | 0.9928 | -0.13778 | 23.439
62 | 0.16186 | 0.040909 | -0.16172 | -0.040824 | 0.00013401 | 8.5061e-05 | 0.24271 | 0.24271 | 0.24271 | 0.9928 | -0.13778 | 0.9919 | -0.15506 | 22.2266
63 | -0.013777 | -0.0034528 | 0.013778 | 0.0034533 | 8.2981e-07 | 4.6212e-07 | 0.020509 | 0.020509 | 0.020509 | 0.99956 | -0.0084556 | 0.99963 | -0.0071914 | 5.6344

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42987 | 0.10873

## res_load
| p_mw | q_mvar
0 | 0.019342 | 0.0048476
1 | 0.01823 | 0.004569
2 | 0.0073195 | 0.0018344
3 | 0.019467 | 0.0048788
4 | 0.0060948 | 0.0015275
5 | 0.0069884 | 0.0017515
6 | 0.012042 | 0.003018
7 | 0.0063559 | 0.0015929
8 | 0.010233 | 0.0025647
9 | 0.0036109 | 0.00090497
10 | 0.0030121 | 0.00075491
11 | 0.0096072 | 0.0024078
12 | 0.0083726 | 0.0020984
13 | 0.018005 | 0.0045126
14 | 0.024712 | 0.0061935
15 | 0.0085048 | 0.0021315
16 | 0.0095877 | 0.0024029
17 | 0.011622 | 0.0029128
18 | 0.0072551 | 0.0018183
19 | 0.01019 | 0.002554
20 | 0.0073169 | 0.0018338
21 | 0.0069795 | 0.0017492
22 | 0.0071389 | 0.0017892
23 | 0.0076494 | 0.0019171
24 | 0.0052863 | 0.0013249
25 | 0.0074031 | 0.0018554
26 | 0.0065933 | 0.0016524
27 | 0.0059484 | 0.0014908
28 | 0.0033462 | 0.00083863
29 | 0.006046 | 0.0015153
30 | 0.0041937 | 0.0010511
31 | 0.0092506 | 0.0023184
32 | 0.024499 | 0.0061401
33 | 0.0044367 | 0.0011119
34 | 0.006058 | 0.0015183
35 | 0.0071965 | 0.0018036
36 | 0.0072559 | 0.0018185
37 | 0.0067469 | 0.0016909
38 | 0.0054413 | 0.0013637
39 | 0.02224 | 0.0055739
40 | 0.0096647 | 0.0024222
41 | 0.0088337 | 0.0022139
42 | 0.0044509 | 0.0011155
43 | 0.013777 | 0.0034528
44 | 0.0062476 | 0.0015658

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1