## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-35_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-35_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-35_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-35_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-35_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-35_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-35_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_261-35_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_261-35_0_6_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_261-35_0_6_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_261-35_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_261-35_0_6_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_261-35_0_6_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_261-35_0_6_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_261-35_0_6_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_261-35_0_6_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_261-35_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_261-35_0_6_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_261-35_0_6_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_261-35_0_6_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_261-35_0_6_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_261-35_0_6_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_261-35_0_6_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_261-35_0_6_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_261-35_0_6_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_261-35_0_6_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_261-35_0_6_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_261-35_0_6_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_261-35_0_6_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_261-35_0_6_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_261-35_0_6_node_28 | 0.4 | n |  | TRUE
31 | bus_MV_540_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-35_0_6_load_0 | 0 | 0.021457 | 0.0053776 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-35_0_6_load_1 | 1 | 0.025262 | 0.0063312 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-35_0_6_load_3 | 3 | 0.018801 | 0.0047121 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-35_0_6_load_4 | 4 | 0.018695 | 0.0046854 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-35_0_6_load_5 | 5 | 0.024196 | 0.0060642 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-35_0_6_load_6 | 6 | 0.012872 | 0.003226 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-35_0_6_load_7 | 7 | 0.018317 | 0.0045908 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-35_0_6_load_33 | 8 | 0.020612 | 0.0051658 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-35_0_6_load_8 | 10 | 0.017704 | 0.0044371 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-35_0_6_load_10 | 11 | 0.026999 | 0.0067665 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-35_0_6_load_16 | 14 | 0.024284 | 0.0060862 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-35_0_6_load_17 | 15 | 0.013177 | 0.0033024 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-35_0_6_load_12 | 16 | 0.016389 | 0.0041075 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-35_0_6_load_29 | 17 | 0.014664 | 0.0036751 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-35_0_6_load_35 | 21 | 0.021642 | 0.0054241 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-35_0_6_load_36 | 23 | 0.019657 | 0.0049266 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-35_0_6_load_34 | 24 | 0.049899 | 0.012506 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-35_0_6_load_31 | 25 | 0.021812 | 0.0054665 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-35_0_6_load_30 | 26 | 0.023211 | 0.0058172 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-35_0_6_load_13 | 27 | 0.032289 | 0.0080925 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-35_0_6_load_15 | 28 | 0.022738 | 0.0056987 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-35_0_6_load_27 | 29 | 0.024627 | 0.0061722 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-35_0_6_load_28 | 30 | 0.03842 | 0.009629 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-35_0_6_line_0 |  | 0 | 1 | 0.015364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-35_0_6_line_1 |  | 0 | 2 | 0.013725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-35_0_6_line_2 |  | 1 | 3 | 0.0061633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-35_0_6_line_3 |  | 2 | 4 | 0.015199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-35_0_6_line_4 |  | 2 | 5 | 0.018826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-35_0_6_line_5 |  | 2 | 6 | 0.02183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-35_0_6_line_6 |  | 4 | 7 | 0.00073457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-35_0_6_line_7 |  | 6 | 8 | 0.010782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-35_0_6_line_8 |  | 8 | 9 | 0.022181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_261-35_0_6_line_9 |  | 9 | 25 | 0.024368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-35_0_6_line_10 |  | 9 | 28 | 0.014648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_261-35_0_6_line_11 |  | 10 | 11 | 0.0031551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-35_0_6_line_12 |  | 11 | 12 | 0.014069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-35_0_6_line_13 |  | 12 | 17 | 0.026129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-35_0_6_line_14 |  | 13 | 14 | 0.011591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-35_0_6_line_15 |  | 13 | 15 | 0.022377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-35_0_6_line_16 |  | 13 | 16 | 0.013496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_261-35_0_6_line_17 |  | 14 | 29 | 0.012463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-35_0_6_line_18 |  | 15 | 17 | 0.011019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-35_0_6_line_19 |  | 16 | 27 | 0.025694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_261-35_0_6_line_20 |  | 18 | 19 | 0.030178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-35_0_6_line_21 |  | 18 | 20 | 0.0089542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-35_0_6_line_22 |  | 18 | 21 | 0.015662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-35_0_6_line_23 |  | 19 | 24 | 0.014416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-35_0_6_line_24 |  | 19 | 25 | 0.0021291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-35_0_6_line_25 |  | 20 | 26 | 0.012355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-35_0_6_line_26 |  | 20 | 22 | 0.040319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-35_0_6_line_27 |  | 22 | 23 | 0.039635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-35_0_6_line_28 |  | 27 | 28 | 0.0077897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_261-35_0_6_line_29 |  | 29 | 30 | 0.012806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-35_0_6_trafo_13 | 0.63 MVA 20/0.4 kV | 31 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2683607.5966 | 1248234.7748 | 2683600.4221 | 1248248.3612
1 | 2683613.5845 | 1248222.4279 | 2683609.0303 | 1248232.0597 | 2683607.5966 | 1248234.7748
2 | 2683600.4221 | 1248248.3612 | 2683597.5441 | 1248253.8113
3 | 2683613.5845 | 1248222.4279 | 2683617.1746 | 1248224.38 | 2683626.95 | 1248229.6643
4 | 2683613.5845 | 1248222.4279 | 2683611.6499 | 1248221.4332 | 2683610.2552 | 1248220.7241 | 2683604.9688 | 1248218.0143 | 2683596.8298 | 1248213.8427
5 | 2683613.5845 | 1248222.4279 | 2683622.4537 | 1248202.4807
6 | 2683627.5962 | 1248230.0136 | 2683626.95 | 1248229.6643
7 | 2683626.8343 | 1248192.6285 | 2683622.4537 | 1248202.4807
8 | 2683635.8463 | 1248172.3604 | 2683626.8343 | 1248192.6285
9 | 2683635.8463 | 1248172.3604 | 2683645.8424 | 1248150.1375
10 | 2683635.8463 | 1248172.3604 | 2683648.9853 | 1248178.8366
11 | 2683651.2637 | 1248242.8077 | 2683649.9843 | 1248245.6918
12 | 2683662.4367 | 1248252.239 | 2683659.8054 | 1248250.8453 | 2683649.9843 | 1248245.6918
13 | 2683662.4367 | 1248252.239 | 2683674.9476 | 1248229.2997
14 | 2683690.938 | 1248199.9803 | 2683696.6638 | 1248189.902
15 | 2683690.938 | 1248199.9803 | 2683680.2237 | 1248219.6257
16 | 2683690.938 | 1248199.9803 | 2683678.8958 | 1248193.8861
17 | 2683702.8203 | 1248179.0655 | 2683696.6638 | 1248189.902
18 | 2683680.2237 | 1248219.6257 | 2683674.9476 | 1248229.2997
19 | 2683655.9704 | 1248182.2843 | 2683678.8958 | 1248193.8861
20 | 2683661.3957 | 1248125.9087 | 2683657.5565 | 1248124.4757 | 2683646.7158 | 1248148.1958
21 | 2683653.0112 | 1248122.7659 | 2683657.5565 | 1248124.4757 | 2683661.3957 | 1248125.9087
22 | 2683661.3957 | 1248125.9087 | 2683675.1535 | 1248133.3927
23 | 2683646.7158 | 1248148.1958 | 2683659.7699 | 1248154.3957
24 | 2683646.7158 | 1248148.1958 | 2683645.8424 | 1248150.1375
25 | 2683653.0112 | 1248122.7659 | 2683651.8541 | 1248122.3381 | 2683649.7423 | 1248126.9451 | 2683645.2802 | 1248124.6916 | 2683644.3329 | 1248124.2278
26 | 2683669.0095 | 1248085.742 | 2683662.638 | 1248100.5074 | 2683657.3362 | 1248112.7973 | 2683653.0112 | 1248122.7659
27 | 2683669.0095 | 1248085.742 | 2683671.5516 | 1248083.2983 | 2683686.0358 | 1248050.2221
28 | 2683648.9853 | 1248178.8366 | 2683655.61 | 1248182.1019 | 2683655.9704 | 1248182.2843
29 | 2683702.8203 | 1248179.0655 | 2683709.1459 | 1248167.9312

## bus_geodata
| x | y | coords
0 | 2683607.5966 | 1248234.7748
1 | 2683600.4221 | 1248248.3612
2 | 2683613.5845 | 1248222.4279
3 | 2683597.5441 | 1248253.8113
4 | 2683626.95 | 1248229.6643
5 | 2683596.8298 | 1248213.8427
6 | 2683622.4537 | 1248202.4807
7 | 2683627.5962 | 1248230.0136
8 | 2683626.8343 | 1248192.6285
9 | 2683635.8463 | 1248172.3604
10 | 2683651.2637 | 1248242.8077
11 | 2683649.9843 | 1248245.6918
12 | 2683662.4367 | 1248252.239
13 | 2683690.938 | 1248199.9803
14 | 2683696.6638 | 1248189.902
15 | 2683680.2237 | 1248219.6257
16 | 2683678.8958 | 1248193.8861
17 | 2683674.9476 | 1248229.2997
18 | 2683661.3957 | 1248125.9087
19 | 2683646.7158 | 1248148.1958
20 | 2683653.0112 | 1248122.7659
21 | 2683675.1535 | 1248133.3927
22 | 2683669.0095 | 1248085.742
23 | 2683686.0358 | 1248050.2221
24 | 2683659.7699 | 1248154.3957
25 | 2683645.8424 | 1248150.1375
26 | 2683644.3329 | 1248124.2278
27 | 2683655.9704 | 1248182.2843
28 | 2683648.9853 | 1248178.8366
29 | 2683702.8203 | 1248179.0655
30 | 2683709.1459 | 1248167.9312
31 | 2683635.8463 | 1248172.3604

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99157 | -0.16214 | 0.021457 | 0.0053776
1 | 0.99095 | -0.17415 | 0.025262 | 0.0063312
2 | 0.99239 | -0.14621 | 0 | 0
3 | 0.99084 | -0.17621 | 0.018801 | 0.0047121
4 | 0.99188 | -0.15617 | 0.018695 | 0.0046854
5 | 0.99197 | -0.15428 | 0.024196 | 0.0060642
6 | 0.99492 | -0.097374 | 0.012872 | 0.003226
7 | 0.99186 | -0.15641 | 0.018317 | 0.0045908
8 | 0.9963 | -0.070907 | 0.020612 | 0.0051658
9 | 0.99792 | -0.039757 | 0 | 0
10 | 0.99388 | -0.11783 | 0.017704 | 0.0044371
11 | 0.99393 | -0.11684 | 0.026999 | 0.0067665
12 | 0.9945 | -0.10575 | 0 | 0
13 | 0.99764 | -0.045224 | 0 | 0
14 | 0.99672 | -0.062968 | 0.024284 | 0.0060862
15 | 0.99616 | -0.073695 | 0.013177 | 0.0033024
16 | 0.99862 | -0.026349 | 0.016389 | 0.0041075
17 | 0.99557 | -0.085192 | 0.014664 | 0.0036751
18 | 0.99289 | -0.13668 | 0 | 0
19 | 0.99467 | -0.10232 | 0 | 0
20 | 0.99254 | -0.14347 | 0 | 0
21 | 0.99258 | -0.14268 | 0.021642 | 0.0054241
22 | 0.99181 | -0.15751 | 0 | 0
23 | 0.9911 | -0.17132 | 0.019657 | 0.0049266
24 | 0.99401 | -0.115 | 0.049899 | 0.012506
25 | 0.99489 | -0.098032 | 0.021812 | 0.0054665
26 | 0.99227 | -0.14855 | 0.023211 | 0.0058172
27 | 1 | 0 | -0.49978 | -0.12588
28 | 0.99924 | -0.014456 | 0.022738 | 0.0056987
29 | 0.99601 | -0.076764 | 0.024627 | 0.0061722
30 | 0.99556 | -0.085412 | 0.03842 | 0.009629
31 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.04409 | 0.01106 | -0.044065 | -0.011044 | 2.5226e-05 | 1.5947e-05 | 0.066169 | 0.066169 | 0.066169 | 0.99157 | -0.16214 | 0.99095 | -0.17415 | 18.1782
1 | -0.065547 | -0.016438 | 0.065597 | 0.01647 | 4.9801e-05 | 3.1696e-05 | 0.098369 | 0.098368 | 0.098369 | 0.99157 | -0.16214 | 0.99239 | -0.14621 | 27.0243
2 | 0.018803 | 0.0047132 | -0.018801 | -0.0047121 | 1.8426e-06 | 1.0999e-06 | 0.028235 | 0.028235 | 0.028235 | 0.99095 | -0.17415 | 0.99084 | -0.17621 | 7.757
3 | 0.03703 | 0.0092873 | -0.037012 | -0.0092762 | 1.7573e-05 | 1.105e-05 | 0.055526 | 0.055526 | 0.055526 | 0.99239 | -0.14621 | 0.99188 | -0.15617 | 15.2544
4 | 0.024206 | 0.0060699 | -0.024196 | -0.0060642 | 9.3006e-06 | 5.7092e-06 | 0.036296 | 0.036296 | 0.036296 | 0.99239 | -0.14621 | 0.99197 | -0.15428 | 9.9714
5 | -0.12683 | -0.031827 | 0.12713 | 0.032016 | 0.00029612 | 0.00018923 | 0.19019 | 0.19019 | 0.19019 | 0.99239 | -0.14621 | 0.99492 | -0.097374 | 52.2501
6 | 0.018318 | 0.0045909 | -0.018317 | -0.0045908 | 2.0802e-07 | 1.2365e-07 | 0.02748 | 0.02748 | 0.02748 | 0.99188 | -0.15617 | 0.99186 | -0.15641 | 7.5495
7 | -0.14 | -0.035242 | 0.14018 | 0.035355 | 0.00017736 | 0.00011337 | 0.20944 | 0.20944 | 0.20944 | 0.99492 | -0.097374 | 0.9963 | -0.070907 | 57.5389
8 | -0.16079 | -0.040521 | 0.16103 | 0.040674 | 0.00024001 | 0.00015303 | 0.24023 | 0.24023 | 0.24023 | 0.9963 | -0.070907 | 0.99792 | -0.039757 | 32.9981
9 | 0.13681 | 0.034517 | -0.13643 | -0.034273 | 0.00038059 | 0.00024326 | 0.20408 | 0.20408 | 0.20408 | 0.99792 | -0.039757 | 0.99489 | -0.098032 | 56.0671
10 | -0.29784 | -0.075191 | 0.2982 | 0.075422 | 0.00036147 | 0.00023077 | 0.44431 | 0.44431 | 0.44431 | 0.99792 | -0.039757 | 0.99924 | -0.014456 | 40.6877
11 | -0.017704 | -0.0044371 | 0.017705 | 0.0044376 | 8.3128e-07 | 4.9113e-07 | 0.026506 | 0.026506 | 0.026506 | 0.99388 | -0.11783 | 0.99393 | -0.11684 | 7.282
12 | -0.044704 | -0.011204 | 0.044728 | 0.011219 | 2.3631e-05 | 1.4941e-05 | 0.066927 | 0.066927 | 0.066927 | 0.99393 | -0.11684 | 0.9945 | -0.10575 | 18.3864
13 | -0.044728 | -0.011219 | 0.044771 | 0.011247 | 4.3889e-05 | 2.7749e-05 | 0.066927 | 0.066926 | 0.066927 | 0.9945 | -0.10575 | 0.99557 | -0.085192 | 18.3864
14 | 0.087463 | 0.021971 | -0.087389 | -0.021924 | 7.3994e-05 | 4.7205e-05 | 0.13047 | 0.13047 | 0.13047 | 0.99764 | -0.045224 | 0.99672 | -0.062968 | 35.844
15 | 0.072743 | 0.018308 | -0.072644 | -0.018245 | 9.8833e-05 | 6.2961e-05 | 0.10853 | 0.10853 | 0.10853 | 0.99764 | -0.045224 | 0.99616 | -0.073695 | 29.8148
16 | -0.16021 | -0.040279 | 0.16035 | 0.040371 | 0.00014455 | 9.2157e-05 | 0.239 | 0.239 | 0.239 | 0.99764 | -0.045224 | 0.99862 | -0.026349 | 32.8294
17 | 0.063105 | 0.015838 | -0.063063 | -0.015811 | 4.1488e-05 | 2.639e-05 | 0.094218 | 0.094218 | 0.094218 | 0.99672 | -0.062968 | 0.99601 | -0.076764 | 25.884
18 | 0.059468 | 0.014943 | -0.059435 | -0.014922 | 3.2616e-05 | 2.0731e-05 | 0.088843 | 0.088843 | 0.088843 | 0.99616 | -0.073695 | 0.99557 | -0.085192 | 24.4076
19 | -0.17674 | -0.044479 | 0.17696 | 0.04462 | 0.00022286 | 0.00014162 | 0.26342 | 0.26342 | 0.26342 | 0.99862 | -0.026349 | 1 | 0 | 24.1226
20 | -0.064562 | -0.016199 | 0.064668 | 0.016267 | 0.00010596 | 6.7425e-05 | 0.096764 | 0.096764 | 0.096764 | 0.99289 | -0.13668 | 0.99467 | -0.10232 | 26.5836
21 | 0.042914 | 0.010772 | -0.0429 | -0.010763 | 1.3891e-05 | 8.7746e-06 | 0.064319 | 0.06432 | 0.06432 | 0.99289 | -0.13668 | 0.99254 | -0.14347 | 17.6702
22 | 0.021649 | 0.0054278 | -0.021642 | -0.0054241 | 6.1825e-06 | 3.7543e-06 | 0.032445 | 0.032445 | 0.032445 | 0.99289 | -0.13668 | 0.99258 | -0.14268 | 8.9134
23 | 0.049929 | 0.012525 | -0.049899 | -0.012506 | 3.0164e-05 | 1.9118e-05 | 0.074697 | 0.074697 | 0.074697 | 0.99467 | -0.10232 | 0.99401 | -0.115 | 20.5212
24 | -0.1146 | -0.028792 | 0.11462 | 0.028807 | 2.3472e-05 | 1.4994e-05 | 0.17146 | 0.17146 | 0.17146 | 0.99467 | -0.10232 | 0.99489 | -0.098032 | 47.1048
25 | 0.023216 | 0.0058206 | -0.023211 | -0.0058172 | 5.6132e-06 | 3.4328e-06 | 0.034807 | 0.034807 | 0.034807 | 0.99254 | -0.14347 | 0.99227 | -0.14855 | 9.5623
26 | 0.019683 | 0.0049423 | -0.01967 | -0.0049343 | 1.3169e-05 | 7.9076e-06 | 0.029513 | 0.029513 | 0.029513 | 0.99254 | -0.14347 | 0.99181 | -0.15751 | 8.1079
27 | 0.01967 | 0.0049343 | -0.019657 | -0.0049266 | 1.2946e-05 | 7.7742e-06 | 0.029513 | 0.029513 | 0.029513 | 0.99181 | -0.15751 | 0.9911 | -0.17132 | 8.108
28 | 0.32116 | 0.081262 | -0.32094 | -0.08112 | 0.00022264 | 0.00014218 | 0.47817 | 0.47817 | 0.47817 | 1 | 0 | 0.99924 | -0.014456 | 43.7884
29 | 0.038436 | 0.009639 | -0.03842 | -0.009629 | 1.5836e-05 | 9.9683e-06 | 0.057425 | 0.057425 | 0.057425 | 0.99601 | -0.076764 | 0.99556 | -0.085412 | 15.7761

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.53207 | 0.13398

## res_load
| p_mw | q_mvar
0 | 0.021457 | 0.0053776
1 | 0.025262 | 0.0063312
2 | 0.018801 | 0.0047121
3 | 0.018695 | 0.0046854
4 | 0.024196 | 0.0060642
5 | 0.012872 | 0.003226
6 | 0.018317 | 0.0045908
7 | 0.020612 | 0.0051658
8 | 0.017704 | 0.0044371
9 | 0.026999 | 0.0067665
10 | 0.024284 | 0.0060862
11 | 0.013177 | 0.0033024
12 | 0.016389 | 0.0041075
13 | 0.014664 | 0.0036751
14 | 0.021642 | 0.0054241
15 | 0.019657 | 0.0049266
16 | 0.049899 | 0.012506
17 | 0.021812 | 0.0054665
18 | 0.023211 | 0.0058172
19 | 0.032289 | 0.0080925
20 | 0.022738 | 0.0056987
21 | 0.024627 | 0.0061722
22 | 0.03842 | 0.009629

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1