## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-362_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-362_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-362_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-362_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-362_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-362_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-362_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_261-362_0_4_node_67 | 0.4 | n |  | TRUE
8 | bus_LV_261-362_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_261-362_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_261-362_0_4_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_261-362_0_4_node_63 | 0.4 | n |  | TRUE
12 | bus_LV_261-362_0_4_node_59 | 0.4 | n |  | TRUE
13 | bus_LV_261-362_0_4_node_56 | 0.4 | n |  | TRUE
14 | bus_LV_261-362_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_261-362_0_4_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_261-362_0_4_node_55 | 0.4 | n |  | TRUE
17 | bus_LV_261-362_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_261-362_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_261-362_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_261-362_0_4_node_44 | 0.4 | n |  | TRUE
21 | bus_LV_261-362_0_4_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_261-362_0_4_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_261-362_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_261-362_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_261-362_0_4_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_261-362_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_261-362_0_4_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_261-362_0_4_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_261-362_0_4_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_261-362_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_261-362_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_261-362_0_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_261-362_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_261-362_0_4_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_261-362_0_4_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_261-362_0_4_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_261-362_0_4_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_261-362_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_261-362_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_261-362_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_261-362_0_4_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_261-362_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_261-362_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_261-362_0_4_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_261-362_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_261-362_0_4_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_261-362_0_4_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_261-362_0_4_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_261-362_0_4_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_261-362_0_4_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_261-362_0_4_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_261-362_0_4_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_261-362_0_4_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_261-362_0_4_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_261-362_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_261-362_0_4_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_261-362_0_4_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_261-362_0_4_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_261-362_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_261-362_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_261-362_0_4_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_261-362_0_4_node_34 | 0.4 | n |  | TRUE
63 | bus_LV_261-362_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_261-362_0_4_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_261-362_0_4_node_32 | 0.4 | n |  | TRUE
66 | bus_MV_525_0_node_84 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-362_0_4_load_0 | 0 | 0.011591 | 0.002905 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-362_0_4_load_1 | 1 | 0.011195 | 0.0028056 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-362_0_4_load_3 | 3 | 0.010016 | 0.0025101 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-362_0_4_load_67 | 7 | 0.011188 | 0.002804 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-362_0_4_load_39 | 10 | 0.013723 | 0.0034394 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-362_0_4_load_63 | 11 | 0.011405 | 0.0028584 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-362_0_4_load_59 | 12 | 0.011549 | 0.0028944 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-362_0_4_load_56 | 13 | 0.013166 | 0.0032998 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-362_0_4_load_53 | 15 | 0.01306 | 0.0032731 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-362_0_4_load_55 | 16 | 0.0078948 | 0.0019786 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-362_0_4_load_44 | 20 | 0.011937 | 0.0029918 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-362_0_4_load_41 | 21 | 0.024803 | 0.0062163 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-362_0_4_load_60 | 22 | 0.024652 | 0.0061785 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-362_0_4_load_47 | 25 | 0.025286 | 0.0063373 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-362_0_4_load_42 | 27 | 0.020716 | 0.005192 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-362_0_4_load_43 | 28 | 0.022572 | 0.0056571 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-362_0_4_load_48 | 29 | 0.011549 | 0.0028945 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-362_0_4_load_35 | 32 | 0.0096189 | 0.0024107 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-362_0_4_load_68 | 35 | 0.010418 | 0.0026109 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-362_0_4_load_52 | 36 | 0.019863 | 0.0049781 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-362_0_4_load_54 | 37 | 0.036738 | 0.0092074 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-362_0_4_load_38 | 39 | 0.013376 | 0.0033523 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-362_0_4_load_36 | 40 | 0.0085314 | 0.0021382 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-362_0_4_load_37 | 43 | 0.0092104 | 0.0023083 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-362_0_4_load_33 | 45 | 0.010015 | 0.00251 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-362_0_4_load_66 | 46 | 0.01003 | 0.0025137 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-362_0_4_load_64 | 51 | 0.0091518 | 0.0022937 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-362_0_4_load_65 | 53 | 0.01224 | 0.0030677 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-362_0_4_load_40 | 55 | 0.011187 | 0.0028038 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-362_0_4_load_57 | 56 | 0.0091602 | 0.0022958 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-362_0_4_load_62 | 57 | 0.019273 | 0.0048303 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-362_0_4_load_61 | 58 | 0.0082467 | 0.0020668 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-362_0_4_load_58 | 59 | 0.011768 | 0.0029494 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-362_0_4_load_46 | 60 | 0.020084 | 0.0050335 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-362_0_4_load_45 | 61 | 0.011413 | 0.0028603 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-362_0_4_load_34 | 62 | 0.0097366 | 0.0024402 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-362_0_4_load_51 | 63 | 0.025956 | 0.0065052 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-362_0_4_load_69 | 64 | 0.0099808 | 0.0025014 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-362_0_4_load_32 | 65 | 0.033104 | 0.0082966 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-362_0_4_line_0 |  | 0 | 1 | 0.013897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-362_0_4_line_1 |  | 0 | 2 | 0.0098401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-362_0_4_line_2 |  | 1 | 3 | 0.014121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-362_0_4_line_3 |  | 2 | 4 | 0.003757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_261-362_0_4_line_4 |  | 2 | 5 | 0.014341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_261-362_0_4_line_5 |  | 4 | 6 | 0.00852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_261-362_0_4_line_6 |  | 4 | 7 | 0.019492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_261-362_0_4_line_7 |  | 5 | 8 | 0.034131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-362_0_4_line_8 |  | 5 | 9 | 0.012564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_261-362_0_4_line_9 |  | 5 | 10 | 0.011229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_261-362_0_4_line_10 |  | 6 | 14 | 0.003746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_261-362_0_4_line_11 |  | 6 | 15 | 0.0073677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_261-362_0_4_line_12 |  | 7 | 30 | 0.020574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_261-362_0_4_line_13 |  | 8 | 11 | 0.011555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-362_0_4_line_14 |  | 9 | 12 | 0.017227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-362_0_4_line_15 |  | 9 | 13 | 0.009068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_261-362_0_4_line_16 |  | 10 | 55 | 0.015329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-362_0_4_line_17 |  | 13 | 56 | 0.013436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_261-362_0_4_line_18 |  | 14 | 16 | 0.016027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_261-362_0_4_line_19 |  | 16 | 20 | 0.0087435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_261-362_0_4_line_20 |  | 17 | 18 | 0.012832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_261-362_0_4_line_21 |  | 17 | 19 | 0.007475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_261-362_0_4_line_22 |  | 18 | 20 | 0.019714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_261-362_0_4_line_23 |  | 18 | 21 | 0.009113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_261-362_0_4_line_24 |  | 19 | 22 | 0.0038197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_261-362_0_4_line_25 |  | 21 | 26 | 0.011186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_261-362_0_4_line_26 |  | 23 | 24 | 0.011738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_261-362_0_4_line_27 |  | 23 | 25 | 0.0033008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_261-362_0_4_line_28 |  | 24 | 29 | 0.021954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_261-362_0_4_line_29 |  | 25 | 60 | 0.016959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_261-362_0_4_line_30 |  | 26 | 27 | 0.006741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_261-362_0_4_line_31 |  | 26 | 28 | 0.036865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_261-362_0_4_line_32 |  | 27 | 61 | 0.014092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_261-362_0_4_line_33 |  | 30 | 31 | 0.014357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_261-362_0_4_line_34 |  | 30 | 32 | 0.011371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-362_0_4_line_35 |  | 31 | 36 | 0.0070294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_261-362_0_4_line_36 |  | 31 | 37 | 0.015519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-362_0_4_line_37 |  | 32 | 62 | 7.8808e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-362_0_4_line_38 |  | 33 | 34 | 0.004907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-362_0_4_line_39 |  | 33 | 35 | 0.0128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-362_0_4_line_40 |  | 34 | 63 | 0.0058027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-362_0_4_line_41 |  | 34 | 47 | 0.005811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-362_0_4_line_42 |  | 36 | 63 | 0.015912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_261-362_0_4_line_43 |  | 38 | 39 | 0.0042683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-362_0_4_line_44 |  | 38 | 40 | 0.0084065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-362_0_4_line_45 |  | 39 | 58 | 0.012599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-362_0_4_line_46 |  | 40 | 49 | 0.015704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-362_0_4_line_47 |  | 41 | 42 | 0.003012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-362_0_4_line_48 |  | 41 | 43 | 0.015136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-362_0_4_line_49 |  | 42 | 50 | 0.011414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-362_0_4_line_50 |  | 42 | 51 | 0.0037169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-362_0_4_line_51 |  | 43 | 49 | 0.0047111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-362_0_4_line_52 |  | 44 | 45 | 0.005775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-362_0_4_line_53 |  | 44 | 46 | 0.018643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-362_0_4_line_54 |  | 46 | 53 | 0.013745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-362_0_4_line_55 |  | 47 | 48 | 0.004885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-362_0_4_line_56 |  | 48 | 64 | 0.031313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-362_0_4_line_57 |  | 50 | 52 | 0.009629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-362_0_4_line_58 |  | 51 | 54 | 0.011103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-362_0_4_line_59 |  | 52 | 53 | 0.003033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-362_0_4_line_60 |  | 54 | 55 | 0.011981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-362_0_4_line_61 |  | 56 | 59 | 0.011459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_261-362_0_4_line_62 |  | 57 | 58 | 0.014578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-362_0_4_line_63 |  | 60 | 61 | 0.013659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_261-362_0_4_line_64 |  | 62 | 65 | 0.02097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-362_0_4_trafo_53 | 0.63 MVA 20/0.4 kV | 66 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2681329.6547 | 1247883.3199 | 2681337.6296 | 1247894.7005
1 | 2681323.3809 | 1247875.9789 | 2681325.1509 | 1247876.8927 | 2681329.6547 | 1247883.3199
2 | 2681345.7332 | 1247906.2648 | 2681337.6296 | 1247894.7005
3 | 2681323.3809 | 1247875.9789 | 2681321.3978 | 1247875.7404 | 2681319.6704 | 1247876.1281
4 | 2681335.5324 | 1247868.3622 | 2681331.0299 | 1247871.1802 | 2681323.3809 | 1247875.9789
5 | 2681314.6667 | 1247869.2322 | 2681317.58 | 1247873.2418 | 2681319.6704 | 1247876.1281
6 | 2681319.6704 | 1247876.1281 | 2681318.1474 | 1247877.0301 | 2681303.3378 | 1247886.7628
7 | 2681362.2828 | 1247848.1699 | 2681337.4762 | 1247864.3192 | 2681336.4707 | 1247865.484 | 2681335.8098 | 1247866.8649 | 2681335.5324 | 1247868.3622
8 | 2681328.8049 | 1247857.751 | 2681332.5827 | 1247863.7072 | 2681335.5324 | 1247868.3622
9 | 2681335.5324 | 1247868.3622 | 2681335.6619 | 1247869.9317 | 2681336.2082 | 1247871.407 | 2681337.1349 | 1247872.6762 | 2681340.7721 | 1247878.0742
10 | 2681316.3716 | 1247866.0866 | 2681316.2658 | 1247867.186 | 2681315.5761 | 1247868.4663 | 2681314.6667 | 1247869.2322
11 | 2681314.6667 | 1247869.2322 | 2681308.4996 | 1247873.2632
12 | 2681286.144 | 1247898.0623 | 2681303.3378 | 1247886.7628
13 | 2681362.2828 | 1247848.1699 | 2681368.491 | 1247857.9152
14 | 2681328.8049 | 1247857.751 | 2681326.9093 | 1247857.1801 | 2681325.224 | 1247856.1563 | 2681317.663 | 1247845.245
15 | 2681328.8049 | 1247857.751 | 2681330.7675 | 1247857.8335 | 2681332.6841 | 1247857.4151 | 2681334.4409 | 1247856.5385 | 2681337.1034 | 1247854.8025
16 | 2681349.3375 | 1247890.7864 | 2681340.7721 | 1247878.0742
17 | 2681337.1034 | 1247854.8025 | 2681348.3584 | 1247847.4642
18 | 2681316.3716 | 1247866.0866 | 2681316.0841 | 1247865.0152 | 2681315.4546 | 1247864.1059 | 2681307.5221 | 1247852.7993
19 | 2681302.5005 | 1247845.6417 | 2681307.5221 | 1247852.7993
20 | 2681291.1782 | 1247829.5033 | 2681298.3362 | 1247825.265 | 2681302.1902 | 1247822.9161
21 | 2681302.1902 | 1247822.9161 | 2681308.6104 | 1247819.0568
22 | 2681291.1782 | 1247829.5033 | 2681302.5005 | 1247845.6417
23 | 2681291.1782 | 1247829.5033 | 2681288.7416 | 1247830.9376 | 2681283.3764 | 1247834.2122
24 | 2681308.6104 | 1247819.0568 | 2681311.8854 | 1247817.091
25 | 2681273.8279 | 1247840.0399 | 2681283.3764 | 1247834.2122
26 | 2681219.0725 | 1247877.784 | 2681228.6303 | 1247870.9321
27 | 2681228.6303 | 1247870.9321 | 2681231.3378 | 1247869.0441
28 | 2681219.0725 | 1247877.784 | 2681233.0402 | 1247894.7218
29 | 2681245.2485 | 1247859.3435 | 2681231.3378 | 1247869.0441
30 | 2681273.8279 | 1247840.0399 | 2681268.1714 | 1247843.7066
31 | 2681273.8279 | 1247840.0399 | 2681283.7502 | 1247854.5309 | 2681267.5245 | 1247864.9871
32 | 2681268.1714 | 1247843.7066 | 2681261.0784 | 1247848.3045 | 2681256.4527 | 1247851.5303
33 | 2681276.9109 | 1247893.9105 | 2681279.2756 | 1247898.2683 | 2681284.1455 | 1247895.0883 | 2681286.144 | 1247898.0623
34 | 2681286.144 | 1247898.0623 | 2681289.786 | 1247903.4606 | 2681292.4895 | 1247907.4984
35 | 2681276.9109 | 1247893.9105 | 2681271.0359 | 1247897.7701
36 | 2681276.9109 | 1247893.9105 | 2681289.9015 | 1247885.4195
37 | 2681292.5334 | 1247907.5639 | 2681292.4895 | 1247907.4984
38 | 2681252.8876 | 1247909.6929 | 2681256.0919 | 1247913.4173
39 | 2681256.0919 | 1247913.4173 | 2681258.5231 | 1247916.2304 | 2681266.111 | 1247911.2393
40 | 2681252.8876 | 1247909.6929 | 2681257.7373 | 1247906.5068
41 | 2681248.0176 | 1247912.884 | 2681252.8876 | 1247909.6929
42 | 2681257.7373 | 1247906.5068 | 2681271.0359 | 1247897.7701
43 | 2681387.4076 | 1247885.3085 | 2681387.9243 | 1247881.0716
44 | 2681387.4076 | 1247885.3085 | 2681386.3902 | 1247893.6532
45 | 2681387.9243 | 1247881.0716 | 2681389.4494 | 1247868.5653
46 | 2681384.4883 | 1247909.2415 | 2681384.6413 | 1247907.9983 | 2681386.3902 | 1247893.6532
47 | 2681364.3155 | 1247913.0119 | 2681365.9957 | 1247915.5146
48 | 2681365.9957 | 1247915.5146 | 2681373.3541 | 1247914.8262 | 2681380.2772 | 1247911.3537
49 | 2681364.3155 | 1247913.0119 | 2681361.6331 | 1247914.7431 | 2681354.7215 | 1247919.196
50 | 2681364.3155 | 1247913.0119 | 2681362.2381 | 1247909.9297
51 | 2681384.4883 | 1247909.2415 | 2681380.2772 | 1247911.3537
52 | 2681322.3859 | 1247946.2834 | 2681321.8314 | 1247945.4085 | 2681319.3482 | 1247941.3721
53 | 2681322.3859 | 1247946.2834 | 2681338.368 | 1247936.6852
54 | 2681350.1511 | 1247929.6088 | 2681338.368 | 1247936.6852
55 | 2681251.1229 | 1247916.6627 | 2681248.0176 | 1247912.884
56 | 2681251.1229 | 1247916.6627 | 2681270.9618 | 1247940.8895
57 | 2681354.7215 | 1247919.196 | 2681355.3445 | 1247921.6841 | 2681355.0979 | 1247924.2382 | 2681354.1936 | 1247926.2939 | 2681352.7274 | 1247928.0084
58 | 2681356.0325 | 1247900.7226 | 2681362.2381 | 1247909.9297
59 | 2681352.7274 | 1247928.0084 | 2681350.8228 | 1247929.2054 | 2681350.1511 | 1247929.6088
60 | 2681356.0325 | 1247900.7226 | 2681349.3375 | 1247890.7864
61 | 2681357.9576 | 1247841.2054 | 2681348.3584 | 1247847.4642
62 | 2681389.4494 | 1247868.5653 | 2681391.214 | 1247854.0942
63 | 2681256.4527 | 1247851.5303 | 2681245.2485 | 1247859.3435
64 | 2681304.6215 | 1247924.6791 | 2681301.0219 | 1247919.0817 | 2681295.2112 | 1247911.5632 | 2681292.5334 | 1247907.5639

## bus_geodata
| x | y | coords
0 | 2681329.6547 | 1247883.3199
1 | 2681337.6296 | 1247894.7005
2 | 2681323.3809 | 1247875.9789
3 | 2681345.7332 | 1247906.2648
4 | 2681319.6704 | 1247876.1281
5 | 2681335.5324 | 1247868.3622
6 | 2681314.6667 | 1247869.2322
7 | 2681303.3378 | 1247886.7628
8 | 2681362.2828 | 1247848.1699
9 | 2681328.8049 | 1247857.751
10 | 2681340.7721 | 1247878.0742
11 | 2681368.491 | 1247857.9152
12 | 2681317.663 | 1247845.245
13 | 2681337.1034 | 1247854.8025
14 | 2681316.3716 | 1247866.0866
15 | 2681308.4996 | 1247873.2632
16 | 2681307.5221 | 1247852.7993
17 | 2681302.1902 | 1247822.9161
18 | 2681291.1782 | 1247829.5033
19 | 2681308.6104 | 1247819.0568
20 | 2681302.5005 | 1247845.6417
21 | 2681283.3764 | 1247834.2122
22 | 2681311.8854 | 1247817.091
23 | 2681228.6303 | 1247870.9321
24 | 2681219.0725 | 1247877.784
25 | 2681231.3378 | 1247869.0441
26 | 2681273.8279 | 1247840.0399
27 | 2681268.1714 | 1247843.7066
28 | 2681267.5245 | 1247864.9871
29 | 2681233.0402 | 1247894.7218
30 | 2681286.144 | 1247898.0623
31 | 2681276.9109 | 1247893.9105
32 | 2681292.4895 | 1247907.4984
33 | 2681256.0919 | 1247913.4173
34 | 2681252.8876 | 1247909.6929
35 | 2681266.111 | 1247911.2393
36 | 2681271.0359 | 1247897.7701
37 | 2681289.9015 | 1247885.4195
38 | 2681387.4076 | 1247885.3085
39 | 2681387.9243 | 1247881.0716
40 | 2681386.3902 | 1247893.6532
41 | 2681365.9957 | 1247915.5146
42 | 2681364.3155 | 1247913.0119
43 | 2681380.2772 | 1247911.3537
44 | 2681322.3859 | 1247946.2834
45 | 2681319.3482 | 1247941.3721
46 | 2681338.368 | 1247936.6852
47 | 2681248.0176 | 1247912.884
48 | 2681251.1229 | 1247916.6627
49 | 2681384.4883 | 1247909.2415
50 | 2681354.7215 | 1247919.196
51 | 2681362.2381 | 1247909.9297
52 | 2681352.7274 | 1247928.0084
53 | 2681350.1511 | 1247929.6088
54 | 2681356.0325 | 1247900.7226
55 | 2681349.3375 | 1247890.7864
56 | 2681348.3584 | 1247847.4642
57 | 2681391.214 | 1247854.0942
58 | 2681389.4494 | 1247868.5653
59 | 2681357.9576 | 1247841.2054
60 | 2681245.2485 | 1247859.3435
61 | 2681256.4527 | 1247851.5303
62 | 2681292.5334 | 1247907.5639
63 | 2681257.7373 | 1247906.5068
64 | 2681270.9618 | 1247940.8895
65 | 2681304.6215 | 1247924.6791
66 | 2681314.6667 | 1247869.2322

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99784 | -0.04145 | 0.011591 | 0.002905
1 | 0.99757 | -0.046611 | 0.011195 | 0.0028056
2 | 0.99813 | -0.035801 | 0 | 0
3 | 0.99744 | -0.049088 | 0.010016 | 0.0025101
4 | 0.99832 | -0.032271 | 0 | 0
5 | 0.99754 | -0.047227 | 0 | 0
6 | 0.99906 | -0.018072 | 0 | 0
7 | 0.99758 | -0.046481 | 0.011188 | 0.002804
8 | 0.99718 | -0.054048 | 0 | 0
9 | 0.99741 | -0.049739 | 0 | 0
10 | 0.99689 | -0.059526 | 0.013723 | 0.0034394
11 | 0.99706 | -0.056358 | 0.011405 | 0.0028584
12 | 0.99723 | -0.053225 | 0.011549 | 0.0028944
13 | 0.99734 | -0.051093 | 0.013166 | 0.0032998
14 | 0.9989 | -0.021032 | 0 | 0
15 | 1 | 0 | -0.56628 | -0.14237
16 | 0.99824 | -0.033704 | 0.0078948 | 0.0019786
17 | 0.9971 | -0.055615 | 0 | 0
18 | 0.99718 | -0.054229 | 0 | 0
19 | 0.99706 | -0.056423 | 0 | 0
20 | 0.9979 | -0.040322 | 0.011937 | 0.0029918
21 | 0.99689 | -0.059679 | 0.024803 | 0.0062163
22 | 0.99703 | -0.056973 | 0.024652 | 0.0061785
23 | 0.99593 | -0.078343 | 0 | 0
24 | 0.9959 | -0.078939 | 0 | 0
25 | 0.99593 | -0.078176 | 0.025286 | 0.0063373
26 | 0.99661 | -0.065156 | 0 | 0
27 | 0.99647 | -0.06779 | 0.020716 | 0.005192
28 | 0.99642 | -0.068808 | 0.022572 | 0.0056571
29 | 0.99584 | -0.080053 | 0.011549 | 0.0028945
30 | 0.99685 | -0.060492 | 0 | 0
31 | 0.99651 | -0.066976 | 0 | 0
32 | 0.99631 | -0.070961 | 0.0096189 | 0.0024107
33 | 0.99581 | -0.080519 | 0 | 0
34 | 0.99586 | -0.079621 | 0 | 0
35 | 0.99569 | -0.082863 | 0.010418 | 0.0026109
36 | 0.9963 | -0.071062 | 0.019863 | 0.0049781
37 | 0.99599 | -0.076989 | 0.036738 | 0.0092074
38 | 0.9907 | -0.17902 | 0 | 0
39 | 0.99054 | -0.18212 | 0.013376 | 0.0033523
40 | 0.99101 | -0.17291 | 0.0085314 | 0.0021382
41 | 0.99275 | -0.13931 | 0 | 0
42 | 0.99291 | -0.13619 | 0 | 0
43 | 0.99194 | -0.15502 | 0.0092104 | 0.0023083
44 | 0.99178 | -0.15813 | 0 | 0
45 | 0.99173 | -0.15916 | 0.010015 | 0.00251
46 | 0.99195 | -0.15482 | 0.01003 | 0.0025137
47 | 0.9958 | -0.08064 | 0 | 0
48 | 0.99576 | -0.081497 | 0 | 0
49 | 0.99173 | -0.15915 | 0 | 0
50 | 0.99258 | -0.14271 | 0 | 0
51 | 0.99322 | -0.13022 | 0.0091518 | 0.0022937
52 | 0.99229 | -0.14821 | 0 | 0
53 | 0.9922 | -0.14994 | 0.01224 | 0.0030677
54 | 0.99424 | -0.1106 | 0 | 0
55 | 0.99534 | -0.089486 | 0.011187 | 0.0028038
56 | 0.99727 | -0.052325 | 0.0091602 | 0.0022958
57 | 0.98997 | -0.19327 | 0.019273 | 0.0048303
58 | 0.99022 | -0.18828 | 0.0082467 | 0.0020668
59 | 0.99723 | -0.053113 | 0.011768 | 0.0029494
60 | 0.99608 | -0.075432 | 0.020084 | 0.0050335
61 | 0.99625 | -0.072017 | 0.011413 | 0.0028603
62 | 0.9963 | -0.07102 | 0.0097366 | 0.0024402
63 | 0.99597 | -0.07754 | 0.025956 | 0.0065052
64 | 0.99548 | -0.086993 | 0.0099808 | 0.0025014
65 | 0.99567 | -0.083218 | 0.033104 | 0.0082966
66 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.021217 | 0.0053195 | -0.021211 | -0.0053163 | 5.2168e-06 | 3.1573e-06 | 0.03164 | 0.03164 | 0.03164 | 0.99784 | -0.04145 | 0.99757 | -0.046611 | 8.6922
1 | -0.032808 | -0.0082245 | 0.032816 | 0.00823 | 8.8326e-06 | 5.5243e-06 | 0.048925 | 0.048925 | 0.048925 | 0.99784 | -0.04145 | 0.99813 | -0.035801 | 13.4409
2 | 0.010017 | 0.0025107 | -0.010016 | -0.0025101 | 1.1822e-06 | 5.7226e-07 | 0.014941 | 0.014941 | 0.014941 | 0.99757 | -0.046611 | 0.99744 | -0.049088 | 4.1048
3 | -0.21557 | -0.054309 | 0.21561 | 0.054333 | 3.6401e-05 | 2.31e-05 | 0.32148 | 0.32148 | 0.32148 | 0.99813 | -0.035801 | 0.99832 | -0.032271 | 22.0796
4 | 0.18276 | 0.046079 | -0.18266 | -0.046016 | 9.9877e-05 | 6.3172e-05 | 0.27255 | 0.27255 | 0.27255 | 0.99813 | -0.035801 | 0.99754 | -0.047227 | 18.7194
5 | -0.38256 | -0.096304 | 0.38282 | 0.09647 | 0.00025985 | 0.00016586 | 0.57037 | 0.57037 | 0.57037 | 0.99832 | -0.032271 | 0.99906 | -0.018072 | 39.1735
6 | 0.16695 | 0.041971 | -0.16684 | -0.0419 | 0.00011319 | 7.1426e-05 | 0.24889 | 0.24889 | 0.24889 | 0.99832 | -0.032271 | 0.99758 | -0.046481 | 17.094
7 | 0.01141 | 0.002861 | -0.011406 | -0.002859 | 3.708e-06 | 1.9277e-06 | 0.017021 | 0.017021 | 0.017021 | 0.99754 | -0.047227 | 0.99718 | -0.054048 | 4.6761
8 | 0.045654 | 0.011444 | -0.045649 | -0.011441 | 5.4631e-06 | 2.8404e-06 | 0.068103 | 0.068103 | 0.068103 | 0.99754 | -0.047227 | 0.99741 | -0.049739 | 4.6774
9 | 0.12559 | 0.031711 | -0.12552 | -0.031664 | 7.3962e-05 | 4.7043e-05 | 0.18743 | 0.18743 | 0.18743 | 0.99754 | -0.047227 | 0.99689 | -0.059526 | 25.7459
10 | 0.18132 | 0.04559 | -0.18129 | -0.045574 | 2.5622e-05 | 1.6202e-05 | 0.27011 | 0.27011 | 0.27011 | 0.99906 | -0.018072 | 0.9989 | -0.021032 | 18.5515
11 | -0.56414 | -0.14206 | 0.56463 | 0.14237 | 0.00048793 | 0.00031189 | 0.84048 | 0.84048 | 0.84048 | 0.99906 | -0.018072 | 1 | 0 | 57.725
12 | 0.15565 | 0.039096 | -0.15554 | -0.039031 | 0.000104 | 6.5485e-05 | 0.2322 | 0.2322 | 0.2322 | 0.99758 | -0.046481 | 0.99685 | -0.060492 | 15.9478
13 | 0.011406 | 0.002859 | -0.011405 | -0.0028584 | 1.2553e-06 | 6.527e-07 | 0.017021 | 0.017021 | 0.017021 | 0.99718 | -0.054048 | 0.99706 | -0.056358 | 4.6761
14 | 0.011551 | 0.0028954 | -0.011549 | -0.0028944 | 1.9183e-06 | 1.0029e-06 | 0.017232 | 0.017232 | 0.017232 | 0.99741 | -0.049739 | 0.99723 | -0.053225 | 4.7342
15 | 0.034098 | 0.0085458 | -0.034096 | -0.0085448 | 2.2e-06 | 9.3463e-07 | 0.050871 | 0.050871 | 0.050871 | 0.99741 | -0.049739 | 0.99734 | -0.051093 | 3.4939
16 | 0.1118 | 0.028225 | -0.11164 | -0.028123 | 0.00016021 | 0.00010233 | 0.16695 | 0.16695 | 0.16695 | 0.99689 | -0.059526 | 0.99534 | -0.089486 | 45.8644
17 | 0.02093 | 0.005245 | -0.020929 | -0.005245 | 1.2283e-06 | 8.4833e-08 | 0.031227 | 0.031227 | 0.031227 | 0.99734 | -0.051093 | 0.99727 | -0.052325 | 2.1447
18 | 0.18129 | 0.045574 | -0.18118 | -0.045505 | 0.00010962 | 6.932e-05 | 0.27011 | 0.27011 | 0.27011 | 0.9989 | -0.021032 | 0.99824 | -0.033704 | 18.5515
19 | 0.17329 | 0.043526 | -0.17323 | -0.043491 | 5.4707e-05 | 3.4555e-05 | 0.25834 | 0.25834 | 0.25834 | 0.99824 | -0.033704 | 0.9979 | -0.040322 | 17.7432
20 | -0.024654 | -0.0061789 | 0.024656 | 0.0061793 | 1.6284e-06 | 3.7266e-07 | 0.036792 | 0.036792 | 0.036792 | 0.9971 | -0.055615 | 0.99718 | -0.054229 | 2.5269
21 | 0.024654 | 0.0061789 | -0.024653 | -0.0061787 | 9.4862e-07 | 2.1713e-07 | 0.036792 | 0.036792 | 0.036792 | 0.9971 | -0.055615 | 0.99706 | -0.056423 | 2.5269
22 | -0.16119 | -0.040432 | 0.16129 | 0.0405 | 0.00010694 | 6.741e-05 | 0.24054 | 0.24054 | 0.24054 | 0.99718 | -0.054229 | 0.9979 | -0.040322 | 16.5207
23 | 0.13653 | 0.034253 | -0.1365 | -0.034231 | 3.5467e-05 | 2.2224e-05 | 0.20375 | 0.20375 | 0.20375 | 0.99718 | -0.054229 | 0.99689 | -0.059679 | 13.9938
24 | 0.024653 | 0.0061787 | -0.024652 | -0.0061785 | 6.4633e-07 | 2.642e-07 | 0.036792 | 0.036792 | 0.036792 | 0.99706 | -0.056423 | 0.99703 | -0.056973 | 3.3692
25 | 0.11169 | 0.028014 | -0.11166 | -0.027996 | 2.9152e-05 | 1.8074e-05 | 0.16673 | 0.16673 | 0.16673 | 0.99689 | -0.059679 | 0.99661 | -0.065156 | 11.451
26 | 0.01155 | 0.0028933 | -0.01155 | -0.0028937 | 3.277e-07 | -4.0122e-07 | 0.017256 | 0.017257 | 0.017257 | 0.99593 | -0.078343 | 0.9959 | -0.078939 | 1.1852
27 | -0.01155 | -0.0028933 | 0.01155 | 0.0028932 | 9.215e-08 | -1.1283e-07 | 0.017256 | 0.017256 | 0.017256 | 0.99593 | -0.078343 | 0.99593 | -0.078176 | 1.1852
28 | 0.01155 | 0.0028937 | -0.011549 | -0.0028945 | 6.1293e-07 | -7.5031e-07 | 0.017257 | 0.017257 | 0.017257 | 0.9959 | -0.078939 | 0.99584 | -0.080053 | 1.1852
29 | -0.036836 | -0.0092305 | 0.036841 | 0.0092327 | 4.8158e-06 | 2.1992e-06 | 0.055036 | 0.055036 | 0.055036 | 0.99593 | -0.078176 | 0.99608 | -0.075432 | 3.78
30 | 0.089088 | 0.022339 | -0.089077 | -0.022332 | 1.1182e-05 | 6.8053e-06 | 0.13302 | 0.13302 | 0.13302 | 0.99661 | -0.065156 | 0.99647 | -0.06779 | 9.136
31 | 0.022576 | 0.0056577 | -0.022572 | -0.0056571 | 3.927e-06 | 5.9213e-07 | 0.033708 | 0.033708 | 0.033708 | 0.99661 | -0.065156 | 0.99642 | -0.068808 | 2.3151
32 | 0.068361 | 0.01714 | -0.068347 | -0.017132 | 1.3768e-05 | 8.0774e-06 | 0.10208 | 0.10208 | 0.10208 | 0.99647 | -0.06779 | 0.99625 | -0.072017 | 7.0113
33 | 0.10304 | 0.025854 | -0.10301 | -0.025835 | 3.1847e-05 | 1.9634e-05 | 0.15382 | 0.15382 | 0.15382 | 0.99685 | -0.060492 | 0.99651 | -0.066976 | 10.5645
34 | 0.052505 | 0.013176 | -0.052479 | -0.01316 | 2.6198e-05 | 1.6618e-05 | 0.078381 | 0.078381 | 0.078381 | 0.99685 | -0.060492 | 0.99631 | -0.070961 | 21.5333
35 | 0.066252 | 0.016616 | -0.066239 | -0.016608 | 1.29e-05 | 8.0731e-06 | 0.098933 | 0.098933 | 0.098933 | 0.99651 | -0.066976 | 0.9963 | -0.071062 | 13.5897
36 | 0.036756 | 0.0092184 | -0.036738 | -0.0092074 | 1.7532e-05 | 1.1019e-05 | 0.054887 | 0.054887 | 0.054887 | 0.99651 | -0.066976 | 0.99599 | -0.076989 | 15.0788
37 | 0.04286 | 0.010749 | -0.04286 | -0.010749 | 1.211e-07 | 7.6482e-08 | 0.064015 | 0.064015 | 0.064015 | 0.99631 | -0.070961 | 0.9963 | -0.07102 | 17.5866
38 | -0.010419 | -0.0026115 | 0.010419 | 0.0026117 | 4.4603e-07 | 2.2161e-07 | 0.015569 | 0.015569 | 0.015569 | 0.99581 | -0.080519 | 0.99586 | -0.079621 | 4.2772
39 | 0.010419 | 0.0026115 | -0.010418 | -0.0026109 | 1.1635e-06 | 5.7814e-07 | 0.015569 | 0.015569 | 0.015569 | 0.99581 | -0.080519 | 0.99569 | -0.082863 | 4.2772
40 | -0.020404 | -0.0051149 | 0.020406 | 0.0051161 | 2.0226e-06 | 1.219e-06 | 0.030488 | 0.030488 | 0.030488 | 0.99586 | -0.079621 | 0.99597 | -0.07754 | 8.3757
41 | 0.0099843 | 0.0025031 | -0.0099838 | -0.0025029 | 4.8501e-07 | 2.3481e-07 | 0.014919 | 0.014919 | 0.014919 | 0.99586 | -0.079621 | 0.9958 | -0.08064 | 4.0986
42 | 0.046376 | 0.01163 | -0.046362 | -0.011621 | 1.4314e-05 | 8.7468e-06 | 0.069267 | 0.069267 | 0.069267 | 0.9963 | -0.071062 | 0.99597 | -0.07754 | 9.5147
43 | 0.040914 | 0.010261 | -0.040908 | -0.010257 | 6.0451e-06 | 3.8139e-06 | 0.061455 | 0.061455 | 0.061455 | 0.9907 | -0.17902 | 0.99054 | -0.18212 | 16.8832
44 | -0.040914 | -0.010261 | 0.040926 | 0.010268 | 1.1906e-05 | 7.5115e-06 | 0.061455 | 0.061455 | 0.061455 | 0.9907 | -0.17902 | 0.99101 | -0.17291 | 16.8832
45 | 0.027533 | 0.0069049 | -0.027524 | -0.0068999 | 8.0828e-06 | 5.0109e-06 | 0.041362 | 0.041362 | 0.041362 | 0.99054 | -0.18212 | 0.99022 | -0.18828 | 11.3631
46 | -0.049458 | -0.012407 | 0.04949 | 0.012427 | 3.2479e-05 | 2.0584e-05 | 0.074265 | 0.074265 | 0.074265 | 0.99101 | -0.17291 | 0.99173 | -0.15915 | 20.4025
47 | -0.058754 | -0.01477 | 0.058763 | 0.014775 | 8.763e-06 | 5.5694e-06 | 0.088081 | 0.088081 | 0.088081 | 0.99275 | -0.13931 | 0.99291 | -0.13619 | 24.1982
48 | 0.058754 | 0.01477 | -0.05871 | -0.014742 | 4.4035e-05 | 2.7987e-05 | 0.088081 | 0.088081 | 0.088081 | 0.99275 | -0.13931 | 0.99194 | -0.15502 | 24.1982
49 | 0.032313 | 0.0081085 | -0.032303 | -0.0081022 | 1.0039e-05 | 6.2775e-06 | 0.048429 | 0.048429 | 0.048429 | 0.99291 | -0.13619 | 0.99258 | -0.14271 | 13.3048
50 | -0.091076 | -0.022884 | 0.091102 | 0.0229 | 2.5975e-05 | 1.6576e-05 | 0.13651 | 0.13651 | 0.13651 | 0.99291 | -0.13619 | 0.99322 | -0.13022 | 37.5029
51 | 0.0495 | 0.012433 | -0.04949 | -0.012427 | 9.7437e-06 | 6.1751e-06 | 0.074265 | 0.074265 | 0.074265 | 0.99194 | -0.15502 | 0.99173 | -0.15915 | 20.4025
52 | 0.010016 | 0.0025103 | -0.010015 | -0.00251 | 4.8902e-07 | 2.3845e-07 | 0.015027 | 0.015027 | 0.015027 | 0.99178 | -0.15813 | 0.99173 | -0.15916 | 4.1283
53 | -0.010016 | -0.0025103 | 0.010017 | 0.002511 | 1.5786e-06 | 7.6971e-07 | 0.015027 | 0.015027 | 0.015027 | 0.99178 | -0.15813 | 0.99195 | -0.15482 | 4.1283
54 | -0.020047 | -0.0050248 | 0.020052 | 0.0050276 | 4.6614e-06 | 2.8058e-06 | 0.030073 | 0.030073 | 0.030073 | 0.99195 | -0.15482 | 0.9922 | -0.14994 | 8.2617
55 | 0.0099838 | 0.0025029 | -0.0099834 | -0.0025027 | 4.0773e-07 | 1.974e-07 | 0.014919 | 0.014919 | 0.014919 | 0.9958 | -0.08064 | 0.99576 | -0.081497 | 4.0986
56 | 0.0099834 | 0.0025027 | -0.0099808 | -0.0025014 | 2.6136e-06 | 1.2655e-06 | 0.014919 | 0.014919 | 0.014919 | 0.99576 | -0.081497 | 0.99548 | -0.086993 | 4.0986
57 | 0.032303 | 0.0081022 | -0.032295 | -0.0080969 | 8.469e-06 | 5.2957e-06 | 0.048429 | 0.048429 | 0.048429 | 0.99258 | -0.14271 | 0.99229 | -0.14821 | 13.3048
58 | -0.10025 | -0.025194 | 0.10035 | 0.025254 | 9.396e-05 | 5.9991e-05 | 0.15022 | 0.15022 | 0.15022 | 0.99322 | -0.13022 | 0.99424 | -0.1106 | 41.2697
59 | 0.032295 | 0.0080969 | -0.032292 | -0.0080953 | 2.6676e-06 | 1.6681e-06 | 0.048429 | 0.048429 | 0.048429 | 0.99229 | -0.14821 | 0.9922 | -0.14994 | 13.3048
60 | -0.10035 | -0.025254 | 0.10045 | 0.025319 | 0.00010139 | 6.4735e-05 | 0.15022 | 0.15022 | 0.15022 | 0.99424 | -0.1106 | 0.99534 | -0.089486 | 41.2697
61 | 0.011769 | 0.0029492 | -0.011768 | -0.0029494 | 4.4168e-07 | -1.6587e-07 | 0.01756 | 0.01756 | 0.01756 | 0.99727 | -0.052325 | 0.99723 | -0.053113 | 1.608
62 | -0.019273 | -0.0048303 | 0.019278 | 0.0048331 | 4.588e-06 | 2.7488e-06 | 0.028969 | 0.028969 | 0.028969 | 0.98997 | -0.19327 | 0.99022 | -0.18828 | 7.9587
63 | -0.056925 | -0.014266 | 0.056934 | 0.014271 | 9.2605e-06 | 5.2154e-06 | 0.085039 | 0.085038 | 0.085039 | 0.99608 | -0.075432 | 0.99625 | -0.072017 | 5.8406
64 | 0.033123 | 0.0083087 | -0.033104 | -0.0082966 | 1.9247e-05 | 1.2045e-05 | 0.049473 | 0.049473 | 0.049473 | 0.9963 | -0.07102 | 0.99567 | -0.083218 | 13.5915

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.57934 | 0.14565

## res_load
| p_mw | q_mvar
0 | 0.011591 | 0.002905
1 | 0.011195 | 0.0028056
2 | 0.010016 | 0.0025101
3 | 0.011188 | 0.002804
4 | 0.013723 | 0.0034394
5 | 0.011405 | 0.0028584
6 | 0.011549 | 0.0028944
7 | 0.013166 | 0.0032998
8 | 0.01306 | 0.0032731
9 | 0.0078948 | 0.0019786
10 | 0.011937 | 0.0029918
11 | 0.024803 | 0.0062163
12 | 0.024652 | 0.0061785
13 | 0.025286 | 0.0063373
14 | 0.020716 | 0.005192
15 | 0.022572 | 0.0056571
16 | 0.011549 | 0.0028945
17 | 0.0096189 | 0.0024107
18 | 0.010418 | 0.0026109
19 | 0.019863 | 0.0049781
20 | 0.036738 | 0.0092074
21 | 0.013376 | 0.0033523
22 | 0.0085314 | 0.0021382
23 | 0.0092104 | 0.0023083
24 | 0.010015 | 0.00251
25 | 0.01003 | 0.0025137
26 | 0.0091518 | 0.0022937
27 | 0.01224 | 0.0030677
28 | 0.011187 | 0.0028038
29 | 0.0091602 | 0.0022958
30 | 0.019273 | 0.0048303
31 | 0.0082467 | 0.0020668
32 | 0.011768 | 0.0029494
33 | 0.020084 | 0.0050335
34 | 0.011413 | 0.0028603
35 | 0.0097366 | 0.0024402
36 | 0.025956 | 0.0065052
37 | 0.0099808 | 0.0025014
38 | 0.033104 | 0.0082966

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1