## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-363_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-363_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-363_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-363_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-363_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-363_0_4_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_261-363_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_261-363_0_4_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_261-363_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_261-363_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_261-363_0_4_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_261-363_0_4_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_261-363_0_4_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_261-363_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_261-363_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_261-363_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_261-363_0_4_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_261-363_0_4_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_261-363_0_4_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_261-363_0_4_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_261-363_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_261-363_0_4_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_261-363_0_4_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_261-363_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_261-363_0_4_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_261-363_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_261-363_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_261-363_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_261-363_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_261-363_0_4_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_261-363_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_261-363_0_4_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_261-363_0_4_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_261-363_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_261-363_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_261-363_0_4_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_261-363_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_MV_533_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-363_0_4_load_0 | 0 | 0.020467 | 0.0051296 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-363_0_4_load_1 | 1 | 0.011817 | 0.0029615 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-363_0_4_load_3 | 3 | 0.017449 | 0.0043731 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-363_0_4_load_40 | 5 | 0.030014 | 0.0075222 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-363_0_4_load_41 | 7 | 0.016793 | 0.0042088 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-363_0_4_load_17 | 10 | 0.0091224 | 0.0022863 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-363_0_4_load_28 | 11 | 0.0090188 | 0.0022603 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-363_0_4_load_27 | 12 | 0.014441 | 0.0036193 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-363_0_4_load_20 | 16 | 0.009986 | 0.0025027 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-363_0_4_load_31 | 17 | 0.015921 | 0.0039901 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-363_0_4_load_30 | 18 | 0.0092216 | 0.0023112 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-363_0_4_load_29 | 19 | 0.009569 | 0.0023982 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-363_0_4_load_34 | 21 | 0.017918 | 0.0044906 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-363_0_4_load_37 | 22 | 0.012709 | 0.0031851 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-363_0_4_load_18 | 23 | 0.011572 | 0.0029001 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-363_0_4_load_36 | 24 | 0.0091656 | 0.0022971 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-363_0_4_load_21 | 25 | 0.014993 | 0.0037577 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-363_0_4_load_19 | 26 | 0.009865 | 0.0024724 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-363_0_4_load_26 | 27 | 0.026088 | 0.0065384 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-363_0_4_load_24 | 28 | 0.012013 | 0.0030107 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-363_0_4_load_39 | 29 | 0.013783 | 0.0034544 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-363_0_4_load_25 | 30 | 0.0086009 | 0.0021556 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-363_0_4_load_32 | 31 | 0.014223 | 0.0035645 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-363_0_4_load_38 | 32 | 0.013098 | 0.0032826 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-363_0_4_load_22 | 33 | 0.011817 | 0.0029617 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-363_0_4_load_23 | 34 | 0.013838 | 0.003468 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-363_0_4_load_35 | 35 | 0.031504 | 0.0078957 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-363_0_4_load_33 | 36 | 0.013534 | 0.0033919 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-363_0_4_line_0 |  | 0 | 1 | 0.014725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-363_0_4_line_1 |  | 0 | 2 | 0.016987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-363_0_4_line_2 |  | 1 | 3 | 0.014944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-363_0_4_line_3 |  | 2 | 4 | 0.02334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-363_0_4_line_4 |  | 3 | 5 | 0.030479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-363_0_4_line_5 |  | 4 | 6 | 0.029594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-363_0_4_line_6 |  | 4 | 7 | 0.020775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-363_0_4_line_7 |  | 5 | 8 | 0.030333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-363_0_4_line_8 |  | 6 | 10 | 0.017373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-363_0_4_line_9 |  | 8 | 9 | 0.019471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-363_0_4_line_10 |  | 9 | 11 | 0.017032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-363_0_4_line_11 |  | 9 | 12 | 0.0046583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-363_0_4_line_12 |  | 10 | 23 | 0.011671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-363_0_4_line_13 |  | 11 | 24 | 0.0090246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_261-363_0_4_line_14 |  | 13 | 14 | 0.014641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-363_0_4_line_15 |  | 13 | 15 | 0.001254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-363_0_4_line_16 |  | 13 | 16 | 0.023963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-363_0_4_line_17 |  | 14 | 17 | 0.0094787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-363_0_4_line_18 |  | 14 | 18 | 0.022921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-363_0_4_line_19 |  | 15 | 19 | 0.0075802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-363_0_4_line_20 |  | 16 | 26 | 0.012631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-363_0_4_line_21 |  | 17 | 29 | 0.016457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_261-363_0_4_line_22 |  | 18 | 30 | 0.01258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-363_0_4_line_23 |  | 20 | 21 | 0.012333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_261-363_0_4_line_24 |  | 20 | 22 | 0.028374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_261-363_0_4_line_25 |  | 21 | 31 | 0.017045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_261-363_0_4_line_26 |  | 22 | 32 | 0.014073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_261-363_0_4_line_27 |  | 24 | 35 | 0.016304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_261-363_0_4_line_28 |  | 25 | 26 | 0.015816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-363_0_4_line_29 |  | 27 | 28 | 0.015049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-363_0_4_line_30 |  | 28 | 33 | 0.011934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-363_0_4_line_31 |  | 29 | 32 | 0.01463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_261-363_0_4_line_32 |  | 30 | 34 | 0.00017548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-363_0_4_line_33 |  | 31 | 36 | 0.014594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_261-363_0_4_line_34 |  | 33 | 34 | 0.014881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-363_0_4_line_35 |  | 35 | 36 | 0.019114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-363_0_4_trafo_33 | 0.63 MVA 20/0.4 kV | 37 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2681388.6251 | 1247777.0554 | 2681375.1004 | 1247782.8783
1 | 2681404.9524 | 1247772.6445 | 2681400.1765 | 1247773.3684 | 2681396.0782 | 1247774.2461 | 2681388.972 | 1247776.9061 | 2681388.6251 | 1247777.0554
2 | 2681361.6012 | 1247789.2744 | 2681369.6502 | 1247785.2248 | 2681375.1004 | 1247782.8783
3 | 2681404.9524 | 1247772.6445 | 2681402.3184 | 1247793.3902 | 2681400.782 | 1247795.2705
4 | 2681361.6012 | 1247789.2744 | 2681350.4385 | 1247794.8905 | 2681334.678 | 1247803.5503
5 | 2681400.782 | 1247795.2705 | 2681397.9626 | 1247798.7232 | 2681394.9234 | 1247823.6776
6 | 2681400.782 | 1247795.2705 | 2681391.4589 | 1247800.413 | 2681382.2371 | 1247804.5994
7 | 2681308.6104 | 1247819.0568 | 2681331.8994 | 1247805.0771 | 2681334.678 | 1247803.5503
8 | 2681394.9234 | 1247823.6776 | 2681387.5881 | 1247823.221 | 2681385.9703 | 1247823.3322 | 2681383.7122 | 1247824.4132 | 2681378.7709 | 1247827.6349
9 | 2681298.4452 | 1247802.4497 | 2681299.9522 | 1247804.9167 | 2681307.1699 | 1247816.702 | 2681308.6104 | 1247819.0568
10 | 2681298.4452 | 1247802.4497 | 2681313.0688 | 1247793.7187
11 | 2681298.4452 | 1247802.4497 | 2681294.5079 | 1247804.9391
12 | 2681378.7709 | 1247827.6349 | 2681368.9943 | 1247834.0093
13 | 2681320.9171 | 1247789.2675 | 2681316.5776 | 1247791.6238 | 2681313.0688 | 1247793.7187
14 | 2681319.1252 | 1247690.1844 | 2681324.6767 | 1247694.5971 | 2681330.5791 | 1247699.3037
15 | 2681318.5818 | 1247689.0539 | 2681319.1252 | 1247690.1844
16 | 2681319.1252 | 1247690.1844 | 2681319.2575 | 1247691.5539 | 2681318.8317 | 1247692.8601 | 2681305.0886 | 1247709.0194
17 | 2681330.5791 | 1247699.3037 | 2681332.082 | 1247699.8691 | 2681333.4598 | 1247700.7442 | 2681338.2227 | 1247704.7767
18 | 2681330.5791 | 1247699.3037 | 2681329.1122 | 1247699.417 | 2681327.6531 | 1247700.6201 | 2681314.894 | 1247715.4439
19 | 2681318.5818 | 1247689.0539 | 2681317.6016 | 1247687.8284 | 2681312.9929 | 1247683.9695
20 | 2681296.9052 | 1247718.6415 | 2681305.0886 | 1247709.0194
21 | 2681350.7829 | 1247715.4106 | 2681338.2227 | 1247704.7767
22 | 2681306.6874 | 1247724.9785 | 2681314.894 | 1247715.4439
23 | 2681392.0276 | 1247754.0535 | 2681386.7934 | 1247756.7948 | 2681380.9249 | 1247759.4079
24 | 2681392.0276 | 1247754.0535 | 2681391.2171 | 1247751.4738 | 2681389.9051 | 1247749.1096 | 2681388.5382 | 1247747.4452 | 2681386.9264 | 1247746.0109 | 2681372.6891 | 1247733.9571
25 | 2681365.383 | 1247766.4061 | 2681372.719 | 1247763.0618 | 2681380.9249 | 1247759.4079
26 | 2681372.6891 | 1247733.9571 | 2681361.9484 | 1247724.8637
27 | 2681335.2453 | 1247781.4879 | 2681320.9171 | 1247789.2675
28 | 2681296.9052 | 1247718.6415 | 2681286.6585 | 1247730.6897
29 | 2681289.0804 | 1247745.435 | 2681279.2633 | 1247756.8408
30 | 2681289.0804 | 1247745.435 | 2681296.8652 | 1247736.3903
31 | 2681361.9484 | 1247724.8637 | 2681350.7829 | 1247715.4106
32 | 2681306.573 | 1247725.1115 | 2681306.6874 | 1247724.9785
33 | 2681365.383 | 1247766.4061 | 2681358.5361 | 1247769.5275 | 2681352.2325 | 1247772.7272
34 | 2681296.8652 | 1247736.3903 | 2681306.573 | 1247725.1115
35 | 2681352.2325 | 1247772.7272 | 2681339.1482 | 1247779.3687 | 2681335.2453 | 1247781.4879

## bus_geodata
| x | y | coords
0 | 2681388.6251 | 1247777.0554
1 | 2681375.1004 | 1247782.8783
2 | 2681404.9524 | 1247772.6445
3 | 2681361.6012 | 1247789.2744
4 | 2681400.782 | 1247795.2705
5 | 2681334.678 | 1247803.5503
6 | 2681394.9234 | 1247823.6776
7 | 2681382.2371 | 1247804.5994
8 | 2681308.6104 | 1247819.0568
9 | 2681298.4452 | 1247802.4497
10 | 2681378.7709 | 1247827.6349
11 | 2681313.0688 | 1247793.7187
12 | 2681294.5079 | 1247804.9391
13 | 2681319.1252 | 1247690.1844
14 | 2681330.5791 | 1247699.3037
15 | 2681318.5818 | 1247689.0539
16 | 2681305.0886 | 1247709.0194
17 | 2681338.2227 | 1247704.7767
18 | 2681314.894 | 1247715.4439
19 | 2681312.9929 | 1247683.9695
20 | 2681392.0276 | 1247754.0535
21 | 2681380.9249 | 1247759.4079
22 | 2681372.6891 | 1247733.9571
23 | 2681368.9943 | 1247834.0093
24 | 2681320.9171 | 1247789.2675
25 | 2681286.6585 | 1247730.6897
26 | 2681296.9052 | 1247718.6415
27 | 2681279.2633 | 1247756.8408
28 | 2681289.0804 | 1247745.435
29 | 2681350.7829 | 1247715.4106
30 | 2681306.6874 | 1247724.9785
31 | 2681365.383 | 1247766.4061
32 | 2681361.9484 | 1247724.8637
33 | 2681296.8652 | 1247736.3903
34 | 2681306.573 | 1247725.1115
35 | 2681335.2453 | 1247781.4879
36 | 2681352.2325 | 1247772.7272
37 | 2681352.2325 | 1247772.7272

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98507 | -0.2871 | 0.020467 | 0.0051296
1 | 0.98586 | -0.27179 | 0.011817 | 0.0029615
2 | 0.98449 | -0.29855 | 0 | 0
3 | 0.98682 | -0.2531 | 0.017449 | 0.0043731
4 | 0.98368 | -0.3143 | 0 | 0
5 | 0.98927 | -0.20564 | 0.030014 | 0.0075222
6 | 0.98311 | -0.32534 | 0 | 0
7 | 0.98336 | -0.32058 | 0.016793 | 0.0042088
8 | 0.99254 | -0.14251 | 0 | 0
9 | 0.99464 | -0.10221 | 0 | 0
10 | 0.98278 | -0.33182 | 0.0091224 | 0.0022863
11 | 0.99671 | -0.062779 | 0.0090188 | 0.0022603
12 | 0.99458 | -0.1034 | 0.014441 | 0.0036193
13 | 0.98872 | -0.21669 | 0 | 0
14 | 0.98931 | -0.2051 | 0 | 0
15 | 0.98871 | -0.2169 | 0 | 0
16 | 0.98795 | -0.23159 | 0.009986 | 0.0025027
17 | 0.99041 | -0.18386 | 0.015921 | 0.0039901
18 | 0.98759 | -0.23846 | 0.0092216 | 0.0023112
19 | 0.98864 | -0.2182 | 0.009569 | 0.0023982
20 | 0.99598 | -0.076613 | 0 | 0
21 | 0.99701 | -0.056968 | 0.017918 | 0.0044906
22 | 0.99362 | -0.12197 | 0.012709 | 0.0031851
23 | 0.98266 | -0.33426 | 0.011572 | 0.0029001
24 | 0.99729 | -0.051647 | 0.0091656 | 0.0022971
25 | 0.98744 | -0.24143 | 0.014993 | 0.0037577
26 | 0.98766 | -0.2372 | 0.009865 | 0.0024724
27 | 0.98528 | -0.28345 | 0.026088 | 0.0065384
28 | 0.98564 | -0.2764 | 0.012013 | 0.0030107
29 | 0.99148 | -0.16313 | 0.013783 | 0.0034544
30 | 0.98676 | -0.25474 | 0.0086009 | 0.0021556
31 | 0.99857 | -0.027212 | 0.014223 | 0.0035645
32 | 0.99253 | -0.14296 | 0.013098 | 0.0032826
33 | 0.98606 | -0.26825 | 0.011817 | 0.0029617
34 | 0.98675 | -0.25494 | 0.013838 | 0.003468
35 | 0.99841 | -0.030261 | 0.031504 | 0.0078957
36 | 1 | 0 | -0.4004 | -0.10139
37 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.058027 | -0.01457 | 0.05807 | 0.014597 | 4.2435e-05 | 2.6971e-05 | 0.087663 | 0.087663 | 0.087663 | 0.98507 | -0.2871 | 0.98586 | -0.27179 | 24.0833
1 | 0.03756 | 0.00944 | -0.037539 | -0.0094271 | 2.0513e-05 | 1.2912e-05 | 0.056746 | 0.056746 | 0.056746 | 0.98507 | -0.2871 | 0.98449 | -0.29855 | 15.5896
2 | -0.069886 | -0.017558 | 0.069949 | 0.017598 | 6.2373e-05 | 3.9728e-05 | 0.1055 | 0.1055 | 0.1055 | 0.98586 | -0.27179 | 0.98682 | -0.2531 | 28.9831
3 | 0.037539 | 0.0094271 | -0.037511 | -0.0094094 | 2.8184e-05 | 1.7741e-05 | 0.056746 | 0.056746 | 0.056746 | 0.98449 | -0.29855 | 0.98368 | -0.3143 | 15.5896
4 | -0.087397 | -0.021971 | 0.087596 | 0.022098 | 0.00019857 | 0.0001267 | 0.13181 | 0.13181 | 0.13181 | 0.98682 | -0.2531 | 0.98927 | -0.20564 | 36.2113
5 | 0.020713 | 0.0051976 | -0.020702 | -0.005191 | 1.0896e-05 | 6.5982e-06 | 0.031335 | 0.031335 | 0.031335 | 0.98368 | -0.3143 | 0.98311 | -0.32534 | 8.6084
6 | 0.016798 | 0.0042118 | -0.016793 | -0.0042088 | 5.0308e-06 | 2.9561e-06 | 0.025412 | 0.025412 | 0.025412 | 0.98368 | -0.3143 | 0.98336 | -0.32058 | 6.9812
7 | -0.11761 | -0.02962 | 0.11797 | 0.029847 | 0.00035618 | 0.00022757 | 0.17695 | 0.17695 | 0.17695 | 0.98927 | -0.20564 | 0.99254 | -0.14251 | 48.6139
8 | 0.020702 | 0.005191 | -0.020695 | -0.0051871 | 6.3969e-06 | 3.8738e-06 | 0.031335 | 0.031335 | 0.031335 | 0.98311 | -0.32534 | 0.98278 | -0.33182 | 8.6084
9 | -0.11797 | -0.029847 | 0.11819 | 0.029993 | 0.00022864 | 0.00014608 | 0.17695 | 0.17695 | 0.17695 | 0.99254 | -0.14251 | 0.99464 | -0.10221 | 48.6138
10 | -0.13264 | -0.033613 | 0.13289 | 0.033774 | 0.00025181 | 0.00016094 | 0.19856 | 0.19856 | 0.19856 | 0.99464 | -0.10221 | 0.99671 | -0.062779 | 54.5494
11 | 0.014442 | 0.0036198 | -0.014441 | -0.0036193 | 8.1544e-07 | 4.6143e-07 | 0.021606 | 0.021606 | 0.021606 | 0.99464 | -0.10221 | 0.99458 | -0.1034 | 5.9356
12 | 0.011573 | 0.0029008 | -0.011572 | -0.0029001 | 1.3438e-06 | 7.1218e-07 | 0.017523 | 0.017523 | 0.017523 | 0.98278 | -0.33182 | 0.98266 | -0.33426 | 4.8139
13 | -0.14191 | -0.036034 | 0.14198 | 0.036083 | 7.6067e-05 | 4.8448e-05 | 0.21202 | 0.21202 | 0.21202 | 0.99671 | -0.062779 | 0.99729 | -0.051647 | 29.1242
14 | -0.044448 | -0.011153 | 0.044473 | 0.011168 | 2.4572e-05 | 1.5538e-05 | 0.066899 | 0.066899 | 0.066899 | 0.98872 | -0.21669 | 0.98931 | -0.2051 | 18.3789
15 | 0.0095697 | 0.0023985 | -0.0095696 | -0.0023985 | 9.7543e-08 | 4.6346e-08 | 0.014402 | 0.014402 | 0.014402 | 0.98872 | -0.21669 | 0.98871 | -0.2169 | 3.9567
16 | 0.034879 | 0.0087541 | -0.034854 | -0.0087386 | 2.4765e-05 | 1.5542e-05 | 0.052497 | 0.052497 | 0.052497 | 0.98872 | -0.21669 | 0.98795 | -0.23159 | 14.4222
17 | -0.12629 | -0.031768 | 0.12642 | 0.03185 | 0.00012832 | 8.2e-05 | 0.19 | 0.19 | 0.19 | 0.98931 | -0.2051 | 0.99041 | -0.18386 | 52.1973
18 | 0.081821 | 0.0206 | -0.081691 | -0.020517 | 0.00013025 | 8.3066e-05 | 0.1231 | 0.1231 | 0.1231 | 0.98931 | -0.2051 | 0.98759 | -0.23846 | 33.8185
19 | 0.0095696 | 0.0023985 | -0.009569 | -0.0023982 | 5.8963e-07 | 2.8016e-07 | 0.014402 | 0.014402 | 0.014402 | 0.98871 | -0.2169 | 0.98864 | -0.2182 | 3.9567
20 | 0.024868 | 0.0062359 | -0.024861 | -0.0062318 | 6.6456e-06 | 4.0915e-06 | 0.037456 | 0.037456 | 0.037456 | 0.98795 | -0.23159 | 0.98766 | -0.2372 | 10.2902
21 | -0.14234 | -0.03584 | 0.14248 | 0.03593 | 0.0001412 | 8.9947e-05 | 0.21392 | 0.21392 | 0.21392 | 0.99041 | -0.18386 | 0.99148 | -0.16313 | 29.3843
22 | 0.072469 | 0.018205 | -0.072413 | -0.01817 | 5.626e-05 | 3.5845e-05 | 0.1092 | 0.10921 | 0.10921 | 0.98759 | -0.23846 | 0.98676 | -0.25474 | 30.0014
23 | -0.18279 | -0.046311 | 0.18297 | 0.046421 | 0.00017268 | 0.00011019 | 0.27327 | 0.27327 | 0.27327 | 0.99598 | -0.076613 | 0.99701 | -0.056968 | 37.5373
24 | 0.18279 | 0.046311 | -0.1824 | -0.046057 | 0.00039729 | 0.00025353 | 0.27327 | 0.27327 | 0.27327 | 0.99598 | -0.076613 | 0.99362 | -0.12197 | 37.5374
25 | -0.20088 | -0.050911 | 0.20117 | 0.051095 | 0.00028766 | 0.00018366 | 0.30001 | 0.30001 | 0.30001 | 0.99701 | -0.056968 | 0.99857 | -0.027212 | 41.2107
26 | 0.16969 | 0.042872 | -0.16952 | -0.042763 | 0.00017056 | 0.00010879 | 0.25424 | 0.25424 | 0.25424 | 0.99362 | -0.12197 | 0.99253 | -0.14296 | 34.923
27 | -0.15115 | -0.03838 | 0.1513 | 0.038479 | 0.00015572 | 9.9238e-05 | 0.2257 | 0.2257 | 0.2257 | 0.99729 | -0.051647 | 0.99841 | -0.030261 | 31.0027
28 | -0.014993 | -0.0037577 | 0.014996 | 0.0037594 | 3.0277e-06 | 1.7354e-06 | 0.022594 | 0.022594 | 0.022594 | 0.98744 | -0.24143 | 0.98766 | -0.2372 | 6.2071
29 | -0.026088 | -0.0065384 | 0.026097 | 0.0065438 | 8.7603e-06 | 5.4149e-06 | 0.0394 | 0.0394 | 0.0394 | 0.98528 | -0.28345 | 0.98564 | -0.2764 | 10.8241
30 | -0.03811 | -0.0095544 | 0.038125 | 0.0095638 | 1.4814e-05 | 9.3287e-06 | 0.057535 | 0.057535 | 0.057535 | 0.98564 | -0.2764 | 0.98606 | -0.26825 | 15.8064
31 | -0.15627 | -0.039384 | 0.15642 | 0.039481 | 0.00015098 | 9.6246e-05 | 0.2346 | 0.2346 | 0.2346 | 0.99148 | -0.16313 | 0.99253 | -0.14296 | 32.2258
32 | 0.063812 | 0.016014 | -0.063811 | -0.016014 | 6.0942e-07 | 3.8779e-07 | 0.096235 | 0.096235 | 0.096235 | 0.98676 | -0.25474 | 0.98675 | -0.25494 | 26.4382
33 | -0.21539 | -0.05466 | 0.21568 | 0.05484 | 0.00028232 | 0.0001803 | 0.32121 | 0.32121 | 0.32121 | 0.99857 | -0.027212 | 1 | 0 | 44.1219
34 | -0.049942 | -0.012525 | 0.049974 | 0.012546 | 3.1699e-05 | 2.0097e-05 | 0.075368 | 0.075368 | 0.075368 | 0.98606 | -0.26825 | 0.98675 | -0.25494 | 20.7055
35 | -0.18281 | -0.046375 | 0.18308 | 0.046545 | 0.00026643 | 0.00017001 | 0.27265 | 0.27265 | 0.27265 | 0.99841 | -0.030261 | 1 | 0 | 37.4523

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41393 | 0.10478

## res_load
| p_mw | q_mvar
0 | 0.020467 | 0.0051296
1 | 0.011817 | 0.0029615
2 | 0.017449 | 0.0043731
3 | 0.030014 | 0.0075222
4 | 0.016793 | 0.0042088
5 | 0.0091224 | 0.0022863
6 | 0.0090188 | 0.0022603
7 | 0.014441 | 0.0036193
8 | 0.009986 | 0.0025027
9 | 0.015921 | 0.0039901
10 | 0.0092216 | 0.0023112
11 | 0.009569 | 0.0023982
12 | 0.017918 | 0.0044906
13 | 0.012709 | 0.0031851
14 | 0.011572 | 0.0029001
15 | 0.0091656 | 0.0022971
16 | 0.014993 | 0.0037577
17 | 0.009865 | 0.0024724
18 | 0.026088 | 0.0065384
19 | 0.012013 | 0.0030107
20 | 0.013783 | 0.0034544
21 | 0.0086009 | 0.0021556
22 | 0.014223 | 0.0035645
23 | 0.013098 | 0.0032826
24 | 0.011817 | 0.0029617
25 | 0.013838 | 0.003468
26 | 0.031504 | 0.0078957
27 | 0.013534 | 0.0033919

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1