## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-369_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-369_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-369_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-369_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_261-369_0_4_node_61 | 0.4 | n |  | TRUE
5 | bus_LV_261-369_0_4_node_60 | 0.4 | n |  | TRUE
6 | bus_LV_261-369_0_4_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_261-369_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_261-369_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_261-369_0_4_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_261-369_0_4_node_51 | 0.4 | n |  | TRUE
11 | bus_LV_261-369_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_261-369_0_4_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_261-369_0_4_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_261-369_0_4_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_261-369_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_261-369_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_261-369_0_4_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_261-369_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_261-369_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_261-369_0_4_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_261-369_0_4_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_261-369_0_4_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_261-369_0_4_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_261-369_0_4_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_261-369_0_4_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_261-369_0_4_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_261-369_0_4_node_68 | 0.4 | n |  | TRUE
28 | bus_LV_261-369_0_4_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_261-369_0_4_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_261-369_0_4_node_69 | 0.4 | n |  | TRUE
31 | bus_LV_261-369_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_261-369_0_4_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_261-369_0_4_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_261-369_0_4_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_261-369_0_4_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_261-369_0_4_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_261-369_0_4_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_261-369_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_261-369_0_4_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_261-369_0_4_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_261-369_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_261-369_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_261-369_0_4_node_15 | 0.4 | n |  | TRUE
44 | bus_LV_261-369_0_4_node_16 | 0.4 | n |  | TRUE
45 | bus_LV_261-369_0_4_node_17 | 0.4 | n |  | TRUE
46 | bus_LV_261-369_0_4_node_19 | 0.4 | n |  | TRUE
47 | bus_LV_261-369_0_4_node_20 | 0.4 | n |  | TRUE
48 | bus_LV_261-369_0_4_node_21 | 0.4 | n |  | TRUE
49 | bus_LV_261-369_0_4_node_70 | 0.4 | n |  | TRUE
50 | bus_LV_261-369_0_4_node_71 | 0.4 | n |  | TRUE
51 | bus_LV_261-369_0_4_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_261-369_0_4_node_72 | 0.4 | n |  | TRUE
53 | bus_LV_261-369_0_4_node_24 | 0.4 | n |  | TRUE
54 | bus_LV_261-369_0_4_node_73 | 0.4 | n |  | TRUE
55 | bus_LV_261-369_0_4_node_74 | 0.4 | n |  | TRUE
56 | bus_LV_261-369_0_4_node_27 | 0.4 | n |  | TRUE
57 | bus_LV_261-369_0_4_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_261-369_0_4_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_261-369_0_4_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_261-369_0_4_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_261-369_0_4_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_261-369_0_4_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_261-369_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_261-369_0_4_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_261-369_0_4_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_261-369_0_4_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_261-369_0_4_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_261-369_0_4_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_261-369_0_4_node_67 | 0.4 | n |  | TRUE
70 | bus_MV_525_0_node_90 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-369_0_4_load_0 | 0 | 0.0063984 | 0.0016036 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-369_0_4_load_4 | 3 | 0.010239 | 0.002566 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-369_0_4_load_61 | 4 | 0.0046882 | 0.001175 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-369_0_4_load_60 | 5 | 0.0010765 | 0.00026979 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-369_0_4_load_48 | 9 | 0.0014063 | 0.00035244 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-369_0_4_load_32 | 12 | 0.003747 | 0.00093909 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-369_0_4_load_29 | 13 | 0.010295 | 0.0025802 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-369_0_4_load_30 | 14 | 0.010297 | 0.0025808 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-369_0_4_load_23 | 17 | 0.0067061 | 0.0016807 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-369_0_4_load_54 | 20 | 0.04518 | 0.011323 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-369_0_4_load_37 | 21 | 0.0063975 | 0.0016034 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-369_0_4_load_35 | 22 | 0.0072228 | 0.0018102 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-369_0_4_load_25 | 23 | 0.011782 | 0.0029527 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-369_0_4_load_62 | 24 | 0.0044615 | 0.0011181 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-369_0_4_load_41 | 25 | 0.0049146 | 0.0012317 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-369_0_4_load_42 | 26 | 0.0087732 | 0.0021988 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-369_0_4_load_68 | 27 | 0.0073228 | 0.0018353 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-369_0_4_load_66 | 28 | 0.0073028 | 0.0018302 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-369_0_4_load_69 | 30 | 0.000651 | 0.00016316 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-369_0_4_load_18 | 31 | 0.0075789 | 0.0018995 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-369_0_4_load_33 | 32 | 0.035266 | 0.0088384 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-369_0_4_load_43 | 34 | 0.011323 | 0.0028379 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-369_0_4_load_44 | 35 | 0.0071893 | 0.0018018 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-369_0_4_load_47 | 36 | 0.00024521 | 6.1456e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-369_0_4_load_49 | 37 | 0.0022881 | 0.00057345 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-369_0_4_load_28 | 38 | 0.011753 | 0.0029455 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-369_0_4_load_45 | 40 | 0.0071862 | 0.001801 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-369_0_4_load_26 | 42 | 0.0159 | 0.0039849 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-369_0_4_load_15 | 43 | 0.0074801 | 0.0018747 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-369_0_4_load_19 | 46 | 0.0075258 | 0.0018862 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-369_0_4_load_20 | 47 | 0.0093102 | 0.0023334 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-369_0_4_load_21 | 48 | 0.0074374 | 0.001864 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-369_0_4_load_70 | 49 | 0.0062863 | 0.0015755 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-369_0_4_load_71 | 50 | 0.0069521 | 0.0017423 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-369_0_4_load_56 | 51 | 0.0063204 | 0.0015841 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-369_0_4_load_72 | 52 | 0.00664 | 0.0016641 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-369_0_4_load_24 | 53 | 0.0062945 | 0.0015776 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-369_0_4_load_73 | 54 | 0.0063589 | 0.0015937 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-369_0_4_load_74 | 55 | 0.0048535 | 0.0012164 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-369_0_4_load_27 | 56 | 0.0088648 | 0.0022217 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-369_0_4_load_34 | 57 | 0.036085 | 0.0090437 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-369_0_4_load_38 | 58 | 0.0072229 | 0.0018102 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-369_0_4_load_39 | 59 | 0.0051433 | 0.001289 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-369_0_4_load_59 | 60 | 0.0074304 | 0.0018622 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-369_0_4_load_55 | 62 | 0.0064413 | 0.0016143 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-369_0_4_load_58 | 63 | 0.0064969 | 0.0016283 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-369_0_4_load_46 | 64 | 0.0012665 | 0.00031742 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-369_0_4_load_52 | 66 | 0.0075387 | 0.0018894 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-369_0_4_load_53 | 67 | 0.0092399 | 0.0023157 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-369_0_4_load_63 | 68 | 0.020441 | 0.005123 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-369_0_4_load_67 | 69 | 0.0073517 | 0.0018425 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-369_0_4_line_0 |  | 0 | 1 | 0.016774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-369_0_4_line_1 |  | 1 | 2 | 0.02464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-369_0_4_line_2 |  | 1 | 3 | 0.0079493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-369_0_4_line_3 |  | 2 | 4 | 0.011681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-369_0_4_line_4 |  | 2 | 5 | 0.021085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-369_0_4_line_5 |  | 3 | 6 | 0.012781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-369_0_4_line_6 |  | 4 | 24 | 4.0824e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-369_0_4_line_7 |  | 5 | 7 | 0.016595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-369_0_4_line_8 |  | 6 | 25 | 0.017576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-369_0_4_line_9 |  | 6 | 26 | 0.0060806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-369_0_4_line_10 |  | 7 | 8 | 0.20467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-369_0_4_line_11 |  | 8 | 9 | 0.020263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-369_0_4_line_12 |  | 8 | 10 | 0.064633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-369_0_4_line_13 |  | 9 | 36 | 0.030286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-369_0_4_line_14 |  | 10 | 37 | 0.059815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-369_0_4_line_15 |  | 11 | 12 | 0.006951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-369_0_4_line_16 |  | 11 | 13 | 0.014909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-369_0_4_line_17 |  | 11 | 14 | 0.011799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-369_0_4_line_18 |  | 13 | 38 | 0.0012357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-369_0_4_line_19 |  | 14 | 33 | 0.0164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-369_0_4_line_20 |  | 15 | 16 | 0.030417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_261-369_0_4_line_21 |  | 15 | 17 | 0.01368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_261-369_0_4_line_22 |  | 16 | 23 | 0.015191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_261-369_0_4_line_23 |  | 17 | 39 | 0.0084436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_261-369_0_4_line_24 |  | 18 | 19 | 0.060179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-369_0_4_line_25 |  | 18 | 20 | 0.039449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-369_0_4_line_26 |  | 19 | 21 | 0.0036873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-369_0_4_line_27 |  | 19 | 22 | 0.01982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-369_0_4_line_28 |  | 21 | 40 | 0.017386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-369_0_4_line_29 |  | 22 | 41 | 0.0017727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-369_0_4_line_30 |  | 23 | 42 | 0.0034077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-369_0_4_line_31 |  | 24 | 68 | 0.013357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-369_0_4_line_32 |  | 25 | 62 | 0.010161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-369_0_4_line_33 |  | 27 | 28 | 0.017125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-369_0_4_line_34 |  | 28 | 69 | 0.017162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-369_0_4_line_35 |  | 29 | 30 | 0.01111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-369_0_4_line_36 |  | 29 | 31 | 0.020537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-369_0_4_line_37 |  | 30 | 69 | 0.017701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-369_0_4_line_38 |  | 31 | 44 | 0.014788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-369_0_4_line_39 |  | 32 | 33 | 0.0025211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-369_0_4_line_40 |  | 33 | 57 | 0.013513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-369_0_4_line_41 |  | 34 | 35 | 0.0066558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-369_0_4_line_42 |  | 35 | 40 | 0.017383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-369_0_4_line_43 |  | 36 | 64 | 0.0063287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-369_0_4_line_44 |  | 37 | 65 | 0.03865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-369_0_4_line_45 |  | 38 | 56 | 0.015501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-369_0_4_line_46 |  | 39 | 47 | 0.014989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_261-369_0_4_line_47 |  | 41 | 58 | 0.014732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-369_0_4_line_48 |  | 41 | 59 | 0.016454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-369_0_4_line_49 |  | 42 | 56 | 0.020234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-369_0_4_line_50 |  | 43 | 44 | 0.020386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-369_0_4_line_51 |  | 43 | 45 | 0.014957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_261-369_0_4_line_52 |  | 44 | 46 | 0.01339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-369_0_4_line_53 |  | 45 | 47 | 0.020333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_261-369_0_4_line_54 |  | 45 | 48 | 0.014551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_261-369_0_4_line_55 |  | 46 | 49 | 0.015235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-369_0_4_line_56 |  | 48 | 50 | 0.015206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_261-369_0_4_line_57 |  | 49 | 51 | 0.014726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-369_0_4_line_58 |  | 50 | 52 | 0.014354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-369_0_4_line_59 |  | 51 | 62 | 0.014912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-369_0_4_line_60 |  | 52 | 63 | 0.014587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-369_0_4_line_61 |  | 53 | 54 | 0.012875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-369_0_4_line_62 |  | 54 | 55 | 0.012922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-369_0_4_line_63 |  | 55 | 59 | 0.013069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-369_0_4_line_64 |  | 58 | 60 | 0.017467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-369_0_4_line_65 |  | 60 | 61 | 0.0012145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-369_0_4_line_66 |  | 61 | 63 | 0.016689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-369_0_4_line_67 |  | 65 | 66 | 0.014855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-369_0_4_line_68 |  | 66 | 67 | 0.072658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-369_0_4_trafo_71 | 0.63 MVA 20/0.4 kV | 70 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2681173.6096 | 1248547.2193 | 2681170.5961 | 1248556.6072 | 2681174.5879 | 1248562.2532
1 | 2681173.6096 | 1248547.2193 | 2681180.1978 | 1248542.6061 | 2681194.3276 | 1248533.8042
2 | 2681173.6096 | 1248547.2193 | 2681166.1464 | 1248544.482
3 | 2681194.3276 | 1248533.8042 | 2681190.8325 | 1248528.7304 | 2681187.82 | 1248524.105
4 | 2681194.3276 | 1248533.8042 | 2681212.2211 | 1248522.6506
5 | 2681154.1474 | 1248540.081 | 2681166.1464 | 1248544.482
6 | 2681187.7977 | 1248524.0708 | 2681187.82 | 1248524.105
7 | 2681226.3046 | 1248513.872 | 2681212.2211 | 1248522.6506
8 | 2681154.1474 | 1248540.081 | 2681139.4364 | 1248549.699
9 | 2681154.1474 | 1248540.081 | 2681148.3852 | 1248538.1392
10 | 2681226.3046 | 1248513.872 | 2681224.3192 | 1248522.073 | 2681241.1531 | 1248546.2992 | 2681255.4769 | 1248561.351 | 2681262.0897 | 1248571.4713 | 2681270.0846 | 1248567.8115 | 2681280.1331 | 1248564.2021 | 2681282.1119 | 1248568.0432 | 2681285.4221 | 1248573.9262 | 2681288.688 | 1248579.7308 | 2681289.9635 | 1248581.9944 | 2681292.2378 | 1248585.2168 | 2681294.5858 | 1248590.2194 | 2681296.8909 | 1248589.5394 | 2681298.3673 | 1248589.2705 | 2681300.9672 | 1248589.6731 | 2681302.5123 | 1248590.4504 | 2681312.8226 | 1248600.7772 | 2681328.0236 | 1248615.7189 | 2681300.2969 | 1248645.1269
11 | 2681300.2969 | 1248645.1269 | 2681287.7533 | 1248661.0401
12 | 2681240.5729 | 1248630.4754 | 2681249.4397 | 1248635.9231 | 2681260.7441 | 1248643.7059 | 2681278.8463 | 1248648.6465 | 2681300.2969 | 1248645.1269
13 | 2681268.4136 | 1248684.3158 | 2681274.5959 | 1248677.7319 | 2681287.7533 | 1248661.0401
14 | 2681240.5729 | 1248630.4754 | 2681229.067 | 1248625.2695 | 2681217.463 | 1248626.6782 | 2681202.5484 | 1248628.2862 | 2681189.2048 | 1248629.8825 | 2681182.392 | 1248631.7233
15 | 2681041.3223 | 1248585.6714 | 2681047.1369 | 1248581.837
16 | 2681041.3223 | 1248585.6714 | 2681033.325 | 1248573.0888
17 | 2681041.3223 | 1248585.6714 | 2681043.6393 | 1248587.9826 | 2681048.0967 | 1248595.251
18 | 2681033.325 | 1248573.0888 | 2681032.6622 | 1248572.0459
19 | 2681056.6704 | 1248609.2318 | 2681048.0967 | 1248595.251
20 | 2681005.4686 | 1248525.2038 | 2681031.5282 | 1248509.3927
21 | 2681031.5282 | 1248509.3927 | 2681038.8936 | 1248520.9205
22 | 2681005.4686 | 1248525.2038 | 2681009.7619 | 1248532.6679 | 2681013.1297 | 1248538.3214
23 | 2681043.4397 | 1248528.0358 | 2681038.8936 | 1248520.9205
24 | 2681059.9749 | 1248439.9972 | 2681064.4064 | 1248447.2965 | 2681081.9498 | 1248478.7817 | 2681086.5571 | 1248475.9871 | 2681095.2844 | 1248470.6914
25 | 2681059.9749 | 1248439.9972 | 2681025.6113 | 1248459.3722
26 | 2681095.2844 | 1248470.6914 | 2681098.4222 | 1248468.7549
27 | 2681095.2844 | 1248470.6914 | 2681106.9819 | 1248486.6919
28 | 2681113.2171 | 1248459.624 | 2681098.4222 | 1248468.7549
29 | 2681108.028 | 1248488.123 | 2681106.9819 | 1248486.6919
30 | 2681014.8736 | 1248541.249 | 2681013.1297 | 1248538.3214
31 | 2681180.1028 | 1248513.161 | 2681184.7821 | 1248519.4408 | 2681187.7977 | 1248524.0708
32 | 2681139.4364 | 1248549.699 | 2681130.932 | 1248555.2592
33 | 2681141.5887 | 1248590.1569 | 2681155.964 | 1248580.8502
34 | 2681141.5887 | 1248590.1569 | 2681127.1819 | 1248599.4841
35 | 2681102.9814 | 1248615.1583 | 2681112.323 | 1248609.1039
36 | 2681102.9814 | 1248615.1583 | 2681101.0157 | 1248612.0069 | 2681096.538 | 1248609.1992 | 2681090.2394 | 1248599.5324
37 | 2681112.323 | 1248609.1039 | 2681127.1819 | 1248599.4841
38 | 2681082.1662 | 1248587.142 | 2681090.2394 | 1248599.5324
39 | 2681056.6704 | 1248609.2318 | 2681057.9849 | 1248611.3832
40 | 2681045.1913 | 1248616.4135 | 2681056.6704 | 1248609.2318
41 | 2681133.6736 | 1248446.9989 | 2681128.0097 | 1248450.4945
42 | 2681128.0097 | 1248450.4945 | 2681113.2171 | 1248459.624
43 | 2681264.0814 | 1248688.9294 | 2681268.4136 | 1248684.3158
44 | 2681147.5291 | 1248647.8029 | 2681155.7118 | 1248642.5555 | 2681171.6191 | 1248634.6341 | 2681182.392 | 1248631.7233
45 | 2681024.3473 | 1248558.9635 | 2681032.6622 | 1248572.0459
46 | 2681043.4397 | 1248528.0358 | 2681051.6064 | 1248540.6041
47 | 2681108.028 | 1248488.123 | 2681115.862 | 1248500.5993
48 | 2681108.028 | 1248488.123 | 2681094.0306 | 1248496.7728
49 | 2681014.8736 | 1248541.249 | 2681016.1996 | 1248543.4749 | 2681018.1634 | 1248546.7708 | 2681019.3503 | 1248551.1013 | 2681024.3473 | 1248558.9635
50 | 2681082.1662 | 1248587.142 | 2681070.8277 | 1248570.1999
51 | 2681062.6851 | 1248557.654 | 2681068.9855 | 1248567.4473 | 2681070.8277 | 1248570.1999
52 | 2681082.1662 | 1248587.142 | 2681093.3739 | 1248579.8145
53 | 2681062.6851 | 1248557.654 | 2681051.6064 | 1248540.6041
54 | 2681062.6851 | 1248557.654 | 2681074.8669 | 1248549.695
55 | 2681106.1258 | 1248571.4774 | 2681093.3739 | 1248579.8145
56 | 2681074.8669 | 1248549.695 | 2681087.5966 | 1248541.3779
57 | 2681118.4511 | 1248563.4191 | 2681106.1258 | 1248571.4774
58 | 2681099.6131 | 1248533.5269 | 2681087.5966 | 1248541.3779
59 | 2681130.932 | 1248555.2592 | 2681118.4511 | 1248563.4191
60 | 2681099.6131 | 1248533.5269 | 2681111.8246 | 1248525.5485
61 | 2681060.9677 | 1248517.2042 | 2681071.9202 | 1248510.4361
62 | 2681071.9202 | 1248510.4361 | 2681082.9127 | 1248503.6432
63 | 2681082.9127 | 1248503.6432 | 2681094.0306 | 1248496.7728
64 | 2681115.862 | 1248500.5993 | 2681125.1502 | 1248515.3916
65 | 2681125.796 | 1248516.4201 | 2681125.1502 | 1248515.3916
66 | 2681125.796 | 1248516.4201 | 2681111.8246 | 1248525.5485
67 | 2681147.5291 | 1248647.8029 | 2681139.1908 | 1248660.097
68 | 2681139.1908 | 1248660.097 | 2681098.4069 | 1248720.229

## bus_geodata
| x | y | coords
0 | 2681174.5879 | 1248562.2532
1 | 2681173.6096 | 1248547.2193
2 | 2681194.3276 | 1248533.8042
3 | 2681166.1464 | 1248544.482
4 | 2681187.82 | 1248524.105
5 | 2681212.2211 | 1248522.6506
6 | 2681154.1474 | 1248540.081
7 | 2681226.3046 | 1248513.872
8 | 2681300.2969 | 1248645.1269
9 | 2681287.7533 | 1248661.0401
10 | 2681240.5729 | 1248630.4754
11 | 2681041.3223 | 1248585.6714
12 | 2681047.1369 | 1248581.837
13 | 2681033.325 | 1248573.0888
14 | 2681048.0967 | 1248595.251
15 | 2681031.5282 | 1248509.3927
16 | 2681005.4686 | 1248525.2038
17 | 2681038.8936 | 1248520.9205
18 | 2681059.9749 | 1248439.9972
19 | 2681095.2844 | 1248470.6914
20 | 2681025.6113 | 1248459.3722
21 | 2681098.4222 | 1248468.7549
22 | 2681106.9819 | 1248486.6919
23 | 2681013.1297 | 1248538.3214
24 | 2681187.7977 | 1248524.0708
25 | 2681139.4364 | 1248549.699
26 | 2681148.3852 | 1248538.1392
27 | 2681155.964 | 1248580.8502
28 | 2681141.5887 | 1248590.1569
29 | 2681102.9814 | 1248615.1583
30 | 2681112.323 | 1248609.1039
31 | 2681090.2394 | 1248599.5324
32 | 2681057.9849 | 1248611.3832
33 | 2681056.6704 | 1248609.2318
34 | 2681133.6736 | 1248446.9989
35 | 2681128.0097 | 1248450.4945
36 | 2681268.4136 | 1248684.3158
37 | 2681182.392 | 1248631.7233
38 | 2681032.6622 | 1248572.0459
39 | 2681043.4397 | 1248528.0358
40 | 2681113.2171 | 1248459.624
41 | 2681108.028 | 1248488.123
42 | 2681014.8736 | 1248541.249
43 | 2681070.8277 | 1248570.1999
44 | 2681082.1662 | 1248587.142
45 | 2681062.6851 | 1248557.654
46 | 2681093.3739 | 1248579.8145
47 | 2681051.6064 | 1248540.6041
48 | 2681074.8669 | 1248549.695
49 | 2681106.1258 | 1248571.4774
50 | 2681087.5966 | 1248541.3779
51 | 2681118.4511 | 1248563.4191
52 | 2681099.6131 | 1248533.5269
53 | 2681060.9677 | 1248517.2042
54 | 2681071.9202 | 1248510.4361
55 | 2681082.9127 | 1248503.6432
56 | 2681024.3473 | 1248558.9635
57 | 2681045.1913 | 1248616.4135
58 | 2681115.862 | 1248500.5993
59 | 2681094.0306 | 1248496.7728
60 | 2681125.1502 | 1248515.3916
61 | 2681125.796 | 1248516.4201
62 | 2681130.932 | 1248555.2592
63 | 2681111.8246 | 1248525.5485
64 | 2681264.0814 | 1248688.9294
65 | 2681147.5291 | 1248647.8029
66 | 2681139.1908 | 1248660.097
67 | 2681098.4069 | 1248720.229
68 | 2681180.1028 | 1248513.161
69 | 2681127.1819 | 1248599.4841
70 | 2681062.6851 | 1248557.654

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98481 | -0.29168 | 0.0063984 | 0.0016036
1 | 0.98491 | -0.28975 | 0 | 0
2 | 0.98371 | -0.3131 | 0 | 0
3 | 0.98534 | -0.28132 | 0.010239 | 0.002566
4 | 0.98339 | -0.31932 | 0.0046882 | 0.001175
5 | 0.98326 | -0.32187 | 0.0010765 | 0.00026979
6 | 0.98616 | -0.26543 | 0 | 0
7 | 0.98292 | -0.32845 | 0 | 0
8 | 0.97874 | -0.41002 | 0 | 0
9 | 0.97868 | -0.4111 | 0.0014063 | 0.00035244
10 | 0.97759 | -0.43248 | 0 | 0
11 | 0.98674 | -0.25468 | 0 | 0
12 | 0.98672 | -0.25515 | 0.003747 | 0.00093909
13 | 0.98791 | -0.23192 | 0.010295 | 0.0025802
14 | 0.98585 | -0.27194 | 0.010297 | 0.0025808
15 | 0.99448 | -0.10523 | 0 | 0
16 | 0.99314 | -0.13099 | 0 | 0
17 | 0.99509 | -0.093661 | 0.0067061 | 0.0016807
18 | 0.98718 | -0.24659 | 0 | 0
19 | 0.98968 | -0.19808 | 0 | 0
20 | 0.98554 | -0.27852 | 0.04518 | 0.011323
21 | 0.98957 | -0.20019 | 0.0063975 | 0.0016034
22 | 0.99109 | -0.17086 | 0.0072228 | 0.0018102
23 | 0.99213 | -0.15034 | 0.011782 | 0.0029527
24 | 0.98339 | -0.31934 | 0.0044615 | 0.0011181
25 | 0.98743 | -0.24086 | 0.0049146 | 0.0012317
26 | 0.98611 | -0.26638 | 0.0087732 | 0.0021988
27 | 0.99177 | -0.15756 | 0.0073228 | 0.0018353
28 | 0.99188 | -0.15533 | 0.0073028 | 0.0018302
29 | 0.99269 | -0.13955 | 0 | 0
30 | 0.99247 | -0.144 | 0.000651 | 0.00016316
31 | 0.99312 | -0.13134 | 0.0075789 | 0.0018995
32 | 0.98469 | -0.29455 | 0.035266 | 0.0088384
33 | 0.98478 | -0.29295 | 0 | 0
34 | 0.9888 | -0.21522 | 0.011323 | 0.0028379
35 | 0.98887 | -0.21388 | 0.0071893 | 0.0018018
36 | 0.97864 | -0.41193 | 0.00024521 | 6.1456e-05
37 | 0.97653 | -0.4533 | 0.0022881 | 0.00057345
38 | 0.98802 | -0.22981 | 0.011753 | 0.0029455
39 | 0.99548 | -0.086198 | 0 | 0
40 | 0.98916 | -0.20814 | 0.0071862 | 0.001801
41 | 0.99122 | -0.16821 | 0 | 0
42 | 0.99172 | -0.15832 | 0.0159 | 0.0039849
43 | 0.99615 | -0.073259 | 0.0074801 | 0.0018747
44 | 0.99353 | -0.12344 | 0 | 0
45 | 0.99716 | -0.053935 | 0 | 0
46 | 0.99218 | -0.14939 | 0.0075258 | 0.0018862
47 | 0.99617 | -0.072964 | 0.0093102 | 0.0023334
48 | 0.99853 | -0.027845 | 0.0074374 | 0.001864
49 | 0.99074 | -0.17695 | 0.0062863 | 0.0015755
50 | 1 | 0 | -0.45625 | -0.11585
51 | 0.98944 | -0.20203 | 0.0063204 | 0.0015841
52 | 0.99822 | -0.033822 | 0.00664 | 0.0016641
53 | 0.99045 | -0.18323 | 0.0062945 | 0.0015776
54 | 0.99052 | -0.18179 | 0.0063589 | 0.0015937
55 | 0.99067 | -0.17888 | 0.0048535 | 0.0012164
56 | 0.98955 | -0.20012 | 0.0088648 | 0.0022217
57 | 0.98433 | -0.30172 | 0.036085 | 0.0090437
58 | 0.99267 | -0.14024 | 0.0072229 | 0.0018102
59 | 0.99088 | -0.17482 | 0.0051433 | 0.001289
60 | 0.99451 | -0.10497 | 0.0074304 | 0.0018622
61 | 0.99464 | -0.10236 | 0 | 0
62 | 0.98821 | -0.2258 | 0.0064413 | 0.0016143
63 | 0.99651 | -0.066616 | 0.0064969 | 0.0016283
64 | 0.97863 | -0.41207 | 0.0012665 | 0.00031742
65 | 0.97593 | -0.46517 | 0 | 0
66 | 0.9757 | -0.46973 | 0.0075387 | 0.0018894
67 | 0.97507 | -0.48203 | 0.0092399 | 0.0023157
68 | 0.98314 | -0.32426 | 0.020441 | 0.005123
69 | 0.99211 | -0.15089 | 0.0073517 | 0.0018425
70 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0063984 | -0.0016036 | 0.006399 | 0.0016038 | 5.8793e-07 | 1.6282e-07 | 0.0096678 | 0.0096677 | 0.0096678 | 0.98481 | -0.29168 | 0.98491 | -0.28975 | 2.656
1 | 0.052886 | 0.013338 | -0.052827 | -0.0133 | 5.9033e-05 | 3.7468e-05 | 0.07993 | 0.07993 | 0.07993 | 0.98491 | -0.28975 | 0.98371 | -0.3131 | 21.9588
2 | -0.059285 | -0.014942 | 0.059309 | 0.014957 | 2.3931e-05 | 1.5214e-05 | 0.089598 | 0.089598 | 0.089598 | 0.98491 | -0.28975 | 0.98534 | -0.28132 | 24.6148
3 | 0.029604 | 0.0074245 | -0.029595 | -0.007419 | 8.7848e-06 | 5.474e-06 | 0.044783 | 0.044783 | 0.044783 | 0.98371 | -0.3131 | 0.98339 | -0.31932 | 12.3029
4 | 0.023222 | 0.005876 | -0.023213 | -0.00587 | 9.7678e-06 | 5.9839e-06 | 0.035148 | 0.035148 | 0.035148 | 0.98371 | -0.3131 | 0.98326 | -0.32187 | 9.6559
5 | -0.069547 | -0.017523 | 0.0696 | 0.017557 | 5.29e-05 | 3.3693e-05 | 0.10506 | 0.10506 | 0.10506 | 0.98534 | -0.28132 | 0.98616 | -0.26543 | 28.8625
6 | 0.024907 | 0.006244 | -0.024907 | -0.006244 | 2.1742e-08 | 1.3402e-08 | 0.037689 | 0.037689 | 0.037689 | 0.98339 | -0.31932 | 0.98339 | -0.31934 | 10.3541
7 | 0.022136 | 0.0056002 | -0.022129 | -0.0055959 | 6.9918e-06 | 4.2644e-06 | 0.033519 | 0.033519 | 0.033519 | 0.98326 | -0.32187 | 0.98292 | -0.32845 | 9.2084
8 | -0.078374 | -0.019756 | 0.078466 | 0.019814 | 9.2238e-05 | 5.8807e-05 | 0.1183 | 0.1183 | 0.1183 | 0.98616 | -0.26543 | 0.98743 | -0.24086 | 32.4994
9 | 0.0087736 | 0.0021989 | -0.0087732 | -0.0021988 | 3.9963e-07 | 1.7818e-07 | 0.013238 | 0.013238 | 0.013238 | 0.98616 | -0.26543 | 0.98611 | -0.26638 | 3.6369
10 | 0.022129 | 0.0055959 | -0.022043 | -0.0055433 | 8.6231e-05 | 5.2604e-05 | 0.033519 | 0.03352 | 0.03352 | 0.98292 | -0.32845 | 0.97874 | -0.41002 | 9.2087
11 | 0.0029182 | 0.00073075 | -0.0029181 | -0.00073091 | 1.4956e-07 | -1.5891e-07 | 0.0044365 | 0.0044366 | 0.0044366 | 0.97874 | -0.41002 | 0.97868 | -0.4111 | 1.2188
12 | 0.019125 | 0.0048126 | -0.019104 | -0.0048003 | 2.0501e-05 | 1.2309e-05 | 0.029083 | 0.029083 | 0.029083 | 0.97874 | -0.41002 | 0.97759 | -0.43248 | 7.9899
13 | 0.0015118 | 0.00037846 | -0.0015118 | -0.00037881 | 6.0002e-08 | -3.4215e-07 | 0.0022985 | 0.0022986 | 0.0022986 | 0.97868 | -0.4111 | 0.97864 | -0.41193 | 0.63148
14 | 0.019104 | 0.0048003 | -0.019085 | -0.0047889 | 1.8973e-05 | 1.1394e-05 | 0.029083 | 0.029084 | 0.029084 | 0.97759 | -0.43248 | 0.97653 | -0.4533 | 7.99
15 | 0.0037471 | 0.00093905 | -0.003747 | -0.00093909 | 8.3229e-08 | -3.5521e-08 | 0.0056506 | 0.0056507 | 0.0056507 | 0.98674 | -0.25468 | 0.98672 | -0.25515 | 1.5524
16 | -0.085551 | -0.021502 | 0.085645 | 0.021561 | 9.3087e-05 | 5.9385e-05 | 0.12903 | 0.12903 | 0.12903 | 0.98674 | -0.25468 | 0.98791 | -0.23192 | 35.4489
17 | 0.081804 | 0.020563 | -0.081737 | -0.02052 | 6.7358e-05 | 4.2959e-05 | 0.12338 | 0.12338 | 0.12338 | 0.98674 | -0.25468 | 0.98585 | -0.27194 | 33.8966
18 | -0.09594 | -0.024141 | 0.095949 | 0.024147 | 9.6814e-06 | 6.1803e-06 | 0.14454 | 0.14454 | 0.14454 | 0.98791 | -0.23192 | 0.98802 | -0.22981 | 39.709
19 | 0.07144 | 0.017939 | -0.071368 | -0.017893 | 7.1524e-05 | 4.5567e-05 | 0.10784 | 0.10784 | 0.10784 | 0.98585 | -0.27194 | 0.98478 | -0.29295 | 29.6266
20 | 0.145 | 0.036731 | -0.14482 | -0.036617 | 0.0001792 | 0.00011351 | 0.2171 | 0.2171 | 0.2171 | 0.99448 | -0.10523 | 0.99314 | -0.13099 | 19.8808
21 | -0.145 | -0.036731 | 0.14508 | 0.036782 | 8.0594e-05 | 5.1047e-05 | 0.2171 | 0.2171 | 0.2171 | 0.99448 | -0.10523 | 0.99509 | -0.093661 | 19.8807
22 | 0.14482 | 0.036617 | -0.14469 | -0.036532 | 0.00013425 | 8.5526e-05 | 0.2171 | 0.2171 | 0.2171 | 0.99314 | -0.13099 | 0.99213 | -0.15034 | 29.8212
23 | -0.15179 | -0.038463 | 0.15184 | 0.038497 | 5.4446e-05 | 3.4516e-05 | 0.22713 | 0.22713 | 0.22713 | 0.99509 | -0.093661 | 0.99548 | -0.086198 | 20.799
24 | -0.045249 | -0.011367 | 0.045354 | 0.011433 | 0.00010501 | 6.6435e-05 | 0.068215 | 0.068214 | 0.068215 | 0.98718 | -0.24659 | 0.98968 | -0.19808 | 18.7403
25 | 0.045249 | 0.011367 | -0.04518 | -0.011323 | 6.8838e-05 | 4.3553e-05 | 0.068215 | 0.068215 | 0.068215 | 0.98718 | -0.24659 | 0.98554 | -0.27852 | 18.7404
26 | 0.032115 | 0.0080556 | -0.032112 | -0.0080535 | 3.2243e-06 | 2.0162e-06 | 0.048289 | 0.048289 | 0.048289 | 0.98968 | -0.19808 | 0.98957 | -0.20019 | 13.2661
27 | -0.077469 | -0.019489 | 0.07757 | 0.019553 | 0.00010088 | 6.431e-05 | 0.1165 | 0.1165 | 0.1165 | 0.98968 | -0.19808 | 0.99109 | -0.17086 | 32.0064
28 | 0.025714 | 0.0064502 | -0.025705 | -0.0064442 | 9.7487e-06 | 6.0159e-06 | 0.038669 | 0.038669 | 0.038669 | 0.98957 | -0.20019 | 0.98916 | -0.20814 | 10.6233
29 | -0.084793 | -0.021363 | 0.084803 | 0.02137 | 1.0781e-05 | 6.8767e-06 | 0.12735 | 0.12735 | 0.12735 | 0.99109 | -0.17086 | 0.99122 | -0.16821 | 34.9855
30 | 0.1329 | 0.033579 | -0.13285 | -0.033547 | 5.0823e-05 | 3.2483e-05 | 0.19943 | 0.19943 | 0.19943 | 0.99213 | -0.15034 | 0.99172 | -0.15832 | 54.7879
31 | 0.020446 | 0.0051259 | -0.020441 | -0.005123 | 4.7943e-06 | 2.8989e-06 | 0.030938 | 0.030938 | 0.030938 | 0.98339 | -0.31934 | 0.98314 | -0.32426 | 8.4994
32 | -0.08338 | -0.021046 | 0.083441 | 0.021084 | 6.0208e-05 | 3.8403e-05 | 0.1257 | 0.1257 | 0.1257 | 0.98743 | -0.24086 | 0.98821 | -0.2258 | 34.534
33 | -0.0073228 | -0.0018353 | 0.0073236 | 0.0018355 | 7.752e-07 | 2.7512e-07 | 0.010987 | 0.010987 | 0.010987 | 0.99177 | -0.15756 | 0.99188 | -0.15533 | 3.0184
34 | -0.014626 | -0.0036658 | 0.014629 | 0.0036676 | 3.0987e-06 | 1.7616e-06 | 0.021942 | 0.021942 | 0.021942 | 0.99188 | -0.15533 | 0.99211 | -0.15089 | 6.0282
35 | 0.022644 | 0.0056805 | -0.022639 | -0.0056776 | 4.8005e-06 | 2.9287e-06 | 0.033945 | 0.033945 | 0.033945 | 0.99269 | -0.13955 | 0.99247 | -0.144 | 9.3255
36 | -0.022644 | -0.0056805 | 0.022653 | 0.0056859 | 8.8739e-06 | 5.4137e-06 | 0.033945 | 0.033945 | 0.033945 | 0.99269 | -0.13955 | 0.99312 | -0.13134 | 9.3255
37 | 0.021988 | 0.0055144 | -0.021981 | -0.0055101 | 7.215e-06 | 4.3889e-06 | 0.032969 | 0.032969 | 0.032969 | 0.99247 | -0.144 | 0.99211 | -0.15089 | 9.0574
38 | -0.030232 | -0.0075854 | 0.030243 | 0.0075925 | 1.138e-05 | 7.092e-06 | 0.0453 | 0.0453 | 0.0453 | 0.99312 | -0.13134 | 0.99353 | -0.12344 | 12.4451
39 | -0.035266 | -0.0088384 | 0.035268 | 0.0088401 | 2.685e-06 | 1.6863e-06 | 0.053292 | 0.053292 | 0.053292 | 0.98469 | -0.29455 | 0.98478 | -0.29295 | 14.6405
40 | 0.0361 | 0.0090531 | -0.036085 | -0.0090437 | 1.5079e-05 | 9.4785e-06 | 0.054549 | 0.054549 | 0.054549 | 0.98478 | -0.29295 | 0.98433 | -0.30172 | 14.9861
41 | -0.011323 | -0.0028379 | 0.011324 | 0.0028383 | 7.2476e-07 | 3.7846e-07 | 0.01704 | 0.01704 | 0.01704 | 0.9888 | -0.21522 | 0.98887 | -0.21388 | 4.6814
42 | -0.018514 | -0.0046401 | 0.018519 | 0.0046431 | 5.0591e-06 | 3.0148e-06 | 0.027859 | 0.027859 | 0.027859 | 0.98887 | -0.21388 | 0.98916 | -0.20814 | 7.6535
43 | 0.0012665 | 0.00031735 | -0.0012665 | -0.00031742 | 8.8014e-09 | -7.3886e-08 | 0.0019257 | 0.0019258 | 0.0019258 | 0.97864 | -0.41193 | 0.97863 | -0.41207 | 0.52906
44 | 0.016797 | 0.0042154 | -0.016788 | -0.0042098 | 9.4967e-06 | 5.5946e-06 | 0.025597 | 0.025597 | 0.025597 | 0.97653 | -0.4533 | 0.97593 | -0.46517 | 7.0322
45 | -0.1077 | -0.027093 | 0.10786 | 0.027191 | 0.00015301 | 9.7727e-05 | 0.16224 | 0.16224 | 0.16224 | 0.98802 | -0.22981 | 0.98955 | -0.20012 | 44.5717
46 | -0.15184 | -0.038497 | 0.15194 | 0.038558 | 9.6649e-05 | 6.1271e-05 | 0.22713 | 0.22713 | 0.22713 | 0.99548 | -0.086198 | 0.99617 | -0.072964 | 20.799
47 | -0.10747 | -0.027054 | 0.10761 | 0.027146 | 0.00014386 | 9.188e-05 | 0.16137 | 0.16137 | 0.16137 | 0.99122 | -0.16821 | 0.99267 | -0.14024 | 44.3325
48 | 0.022663 | 0.0056841 | -0.022656 | -0.0056798 | 7.1427e-06 | 4.3593e-06 | 0.034023 | 0.034023 | 0.034023 | 0.99122 | -0.16821 | 0.99088 | -0.17482 | 9.347
49 | 0.11695 | 0.029562 | -0.11672 | -0.029412 | 0.00023389 | 0.00014943 | 0.17557 | 0.17557 | 0.17557 | 0.99172 | -0.15832 | 0.98955 | -0.20012 | 48.2338
50 | 0.14109 | 0.035869 | -0.14075 | -0.035651 | 0.00034015 | 0.00021743 | 0.21094 | 0.21094 | 0.21094 | 0.99615 | -0.073259 | 0.99353 | -0.12344 | 57.9496
51 | -0.14857 | -0.037743 | 0.14871 | 0.037832 | 0.00013835 | 8.8155e-05 | 0.22211 | 0.22211 | 0.22211 | 0.99615 | -0.073259 | 0.99716 | -0.053935 | 30.5096
52 | 0.11051 | 0.028059 | -0.11037 | -0.027971 | 0.00013776 | 8.7996e-05 | 0.16564 | 0.16564 | 0.16564 | 0.99353 | -0.12344 | 0.99218 | -0.14939 | 45.5045
53 | 0.1614 | 0.040986 | -0.16125 | -0.040892 | 0.00014766 | 9.3708e-05 | 0.24103 | 0.24103 | 0.24103 | 0.99716 | -0.053935 | 0.99617 | -0.072964 | 22.0725
54 | -0.3101 | -0.078817 | 0.31049 | 0.079066 | 0.00039016 | 0.00024913 | 0.46314 | 0.46314 | 0.46314 | 0.99716 | -0.053935 | 0.99853 | -0.027845 | 42.4122
55 | 0.10284 | 0.026085 | -0.10271 | -0.025998 | 0.00013611 | 8.6915e-05 | 0.15435 | 0.15435 | 0.15435 | 0.99218 | -0.14939 | 0.99074 | -0.17695 | 42.4037
56 | -0.31793 | -0.08093 | 0.31836 | 0.081203 | 0.00042745 | 0.00027297 | 0.47422 | 0.47422 | 0.47422 | 0.99853 | -0.027845 | 1 | 0 | 43.4271
57 | 0.096421 | 0.024422 | -0.096305 | -0.024348 | 0.00011596 | 7.4023e-05 | 0.14491 | 0.14491 | 0.14491 | 0.99074 | -0.17695 | 0.98944 | -0.20203 | 39.8099
58 | 0.13625 | 0.034651 | -0.13602 | -0.034509 | 0.00022163 | 0.00014166 | 0.20291 | 0.20291 | 0.20291 | 1 | 0 | 0.99822 | -0.033822 | 55.7456
59 | 0.089984 | 0.022764 | -0.089882 | -0.022699 | 0.00010252 | 6.5422e-05 | 0.1354 | 0.1354 | 0.1354 | 0.98944 | -0.20203 | 0.98821 | -0.2258 | 37.1986
60 | 0.12938 | 0.032845 | -0.12918 | -0.032715 | 0.00020379 | 0.00013023 | 0.19302 | 0.19302 | 0.19302 | 0.99822 | -0.033822 | 0.99651 | -0.066616 | 53.0264
61 | -0.0062945 | -0.0015776 | 0.006295 | 0.0015777 | 4.3177e-07 | 1.1062e-07 | 0.0094567 | 0.0094566 | 0.0094567 | 0.99045 | -0.18323 | 0.99052 | -0.18179 | 2.598
62 | -0.012654 | -0.0031714 | 0.012656 | 0.0031723 | 1.751e-06 | 9.543e-07 | 0.019009 | 0.019009 | 0.019009 | 0.99052 | -0.18179 | 0.99067 | -0.17888 | 5.2223
63 | -0.017509 | -0.0043887 | 0.017513 | 0.0043907 | 3.3898e-06 | 2.0012e-06 | 0.026299 | 0.026299 | 0.026299 | 0.99067 | -0.17888 | 0.99088 | -0.17482 | 7.2251
64 | -0.11483 | -0.028956 | 0.11503 | 0.02908 | 0.00019422 | 0.00012407 | 0.1722 | 0.1722 | 0.1722 | 0.99267 | -0.14024 | 0.99451 | -0.10497 | 47.307
65 | -0.12246 | -0.030943 | 0.12247 | 0.030952 | 1.5305e-05 | 9.7793e-06 | 0.18332 | 0.18332 | 0.18332 | 0.99451 | -0.10497 | 0.99464 | -0.10236 | 50.3613
66 | -0.12247 | -0.030952 | 0.12268 | 0.031087 | 0.00021031 | 0.00013438 | 0.18332 | 0.18331 | 0.18332 | 0.99464 | -0.10236 | 0.99651 | -0.066616 | 50.3613
67 | 0.016788 | 0.0042098 | -0.016784 | -0.0042077 | 3.65e-06 | 2.1504e-06 | 0.025597 | 0.025597 | 0.025597 | 0.97593 | -0.46517 | 0.9757 | -0.46973 | 7.0322
68 | 0.0092453 | 0.0023183 | -0.0092399 | -0.0023157 | 5.4173e-06 | 2.5602e-06 | 0.0141 | 0.014101 | 0.014101 | 0.9757 | -0.46973 | 0.97507 | -0.48203 | 3.8738

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.46321 | 0.1176

## res_load
| p_mw | q_mvar
0 | 0.0063984 | 0.0016036
1 | 0.010239 | 0.002566
2 | 0.0046882 | 0.001175
3 | 0.0010765 | 0.00026979
4 | 0.0014063 | 0.00035244
5 | 0.003747 | 0.00093909
6 | 0.010295 | 0.0025802
7 | 0.010297 | 0.0025808
8 | 0.0067061 | 0.0016807
9 | 0.04518 | 0.011323
10 | 0.0063975 | 0.0016034
11 | 0.0072228 | 0.0018102
12 | 0.011782 | 0.0029527
13 | 0.0044615 | 0.0011181
14 | 0.0049146 | 0.0012317
15 | 0.0087732 | 0.0021988
16 | 0.0073228 | 0.0018353
17 | 0.0073028 | 0.0018302
18 | 0.000651 | 0.00016316
19 | 0.0075789 | 0.0018995
20 | 0.035266 | 0.0088384
21 | 0.011323 | 0.0028379
22 | 0.0071893 | 0.0018018
23 | 0.00024521 | 6.1456e-05
24 | 0.0022881 | 0.00057345
25 | 0.011753 | 0.0029455
26 | 0.0071862 | 0.001801
27 | 0.0159 | 0.0039849
28 | 0.0074801 | 0.0018747
29 | 0.0075258 | 0.0018862
30 | 0.0093102 | 0.0023334
31 | 0.0074374 | 0.001864
32 | 0.0062863 | 0.0015755
33 | 0.0069521 | 0.0017423
34 | 0.0063204 | 0.0015841
35 | 0.00664 | 0.0016641
36 | 0.0062945 | 0.0015776
37 | 0.0063589 | 0.0015937
38 | 0.0048535 | 0.0012164
39 | 0.0088648 | 0.0022217
40 | 0.036085 | 0.0090437
41 | 0.0072229 | 0.0018102
42 | 0.0051433 | 0.001289
43 | 0.0074304 | 0.0018622
44 | 0.0064413 | 0.0016143
45 | 0.0064969 | 0.0016283
46 | 0.0012665 | 0.00031742
47 | 0.0075387 | 0.0018894
48 | 0.0092399 | 0.0023157
49 | 0.020441 | 0.005123
50 | 0.0073517 | 0.0018425

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1