## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-373_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-373_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-373_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-373_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-373_0_8_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_261-373_0_8_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_261-373_0_8_node_96 | 0.4 | n |  | TRUE
7 | bus_LV_261-373_0_8_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_261-373_0_8_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_261-373_0_8_node_99 | 0.4 | n |  | TRUE
10 | bus_LV_261-373_0_8_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_261-373_0_8_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_261-373_0_8_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_261-373_0_8_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_261-373_0_8_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_261-373_0_8_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_261-373_0_8_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_261-373_0_8_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_261-373_0_8_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_261-373_0_8_node_98 | 0.4 | n |  | TRUE
20 | bus_LV_261-373_0_8_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_261-373_0_8_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_261-373_0_8_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_261-373_0_8_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_261-373_0_8_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_261-373_0_8_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_261-373_0_8_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_261-373_0_8_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_261-373_0_8_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_261-373_0_8_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_261-373_0_8_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_261-373_0_8_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_261-373_0_8_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_261-373_0_8_node_88 | 0.4 | n |  | TRUE
34 | bus_LV_261-373_0_8_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_261-373_0_8_node_86 | 0.4 | n |  | TRUE
36 | bus_LV_261-373_0_8_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_261-373_0_8_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_261-373_0_8_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_261-373_0_8_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_261-373_0_8_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_261-373_0_8_node_85 | 0.4 | n |  | TRUE
42 | bus_LV_261-373_0_8_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_261-373_0_8_node_97 | 0.4 | n |  | TRUE
44 | bus_LV_261-373_0_8_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_261-373_0_8_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_261-373_0_8_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_261-373_0_8_node_93 | 0.4 | n |  | TRUE
48 | bus_LV_261-373_0_8_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_261-373_0_8_node_91 | 0.4 | n |  | TRUE
50 | bus_LV_261-373_0_8_node_90 | 0.4 | n |  | TRUE
51 | bus_LV_261-373_0_8_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_261-373_0_8_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_261-373_0_8_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_261-373_0_8_node_95 | 0.4 | n |  | TRUE
55 | bus_LV_261-373_0_8_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_261-373_0_8_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_261-373_0_8_node_87 | 0.4 | n |  | TRUE
58 | bus_LV_261-373_0_8_node_94 | 0.4 | n |  | TRUE
59 | bus_LV_261-373_0_8_node_92 | 0.4 | n |  | TRUE
60 | bus_LV_261-373_0_8_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_261-373_0_8_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_261-373_0_8_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_261-373_0_8_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_261-373_0_8_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_261-373_0_8_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_261-373_0_8_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_261-373_0_8_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_261-373_0_8_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_261-373_0_8_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_261-373_0_8_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_261-373_0_8_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_261-373_0_8_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_261-373_0_8_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_261-373_0_8_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_261-373_0_8_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_261-373_0_8_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_261-373_0_8_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_261-373_0_8_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_261-373_0_8_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_261-373_0_8_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_261-373_0_8_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_261-373_0_8_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_261-373_0_8_node_89 | 0.4 | n |  | TRUE
84 | bus_LV_261-373_0_8_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_261-373_0_8_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_261-373_0_8_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_261-373_0_8_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_261-373_0_8_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_261-373_0_8_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_261-373_0_8_node_82 | 0.4 | n |  | TRUE
91 | bus_MV_543_0_node_186 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-373_0_8_load_0 | 0 | 0.061294 | 0.015362 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-373_0_8_load_2 | 2 | 0.00046024 | 0.00011535 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-373_0_8_load_96 | 6 | 0.0019576 | 0.00049062 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-373_0_8_load_46 | 8 | 0.023079 | 0.0057841 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-373_0_8_load_99 | 9 | 0.01025 | 0.0025688 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-373_0_8_load_34 | 11 | 0.0049795 | 0.001248 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-373_0_8_load_35 | 12 | 0.0067268 | 0.0016859 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-373_0_8_load_32 | 13 | 0.0053964 | 0.0013525 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-373_0_8_load_37 | 15 | 0.0049846 | 0.0012493 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-373_0_8_load_41 | 16 | 0.0060787 | 0.0015235 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-373_0_8_load_98 | 19 | 0.012202 | 0.0030582 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-373_0_8_load_51 | 21 | 0.0068038 | 0.0017052 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-373_0_8_load_50 | 22 | 0.013183 | 0.0033039 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-373_0_8_load_42 | 24 | 0.0060632 | 0.0015196 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-373_0_8_load_40 | 25 | 0.0053035 | 0.0013292 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-373_0_8_load_38 | 27 | 0.0051308 | 0.0012859 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-373_0_8_load_64 | 30 | 0.03456 | 0.0086617 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-373_0_8_load_52 | 31 | 0.019625 | 0.0049186 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-373_0_8_load_88 | 33 | 0.019332 | 0.0048451 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-373_0_8_load_44 | 37 | 0.0060736 | 0.0015222 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-373_0_8_load_43 | 39 | 0.0059985 | 0.0015034 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-373_0_8_load_85 | 41 | 0.033689 | 0.0084433 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-373_0_8_load_97 | 43 | 0.039054 | 0.0097878 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-373_0_8_load_45 | 44 | 0.0077773 | 0.0019492 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-373_0_8_load_48 | 46 | 0.0020193 | 0.00050608 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-373_0_8_load_91 | 49 | 0.019761 | 0.0049526 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-373_0_8_load_90 | 50 | 0.028855 | 0.0072316 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-373_0_8_load_47 | 52 | 0.0014838 | 0.00037188 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-373_0_8_load_95 | 54 | 0.003857 | 0.00096665 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-373_0_8_load_36 | 56 | 0.0014083 | 0.00035296 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-373_0_8_load_87 | 57 | 0.023078 | 0.0057838 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-373_0_8_load_94 | 58 | 0.0018873 | 0.000473 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-373_0_8_load_92 | 59 | 0.0043132 | 0.001081 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-373_0_8_load_39 | 60 | 0.0064407 | 0.0016142 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-373_0_8_load_49 | 61 | 0.0072974 | 0.0018289 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-373_0_8_load_69 | 63 | 0.0033427 | 0.00083775 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-373_0_8_load_54 | 64 | 0.0019223 | 0.00048179 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-373_0_8_load_68 | 66 | 0.0029767 | 0.00074602 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-373_0_8_load_66 | 67 | 0.0042582 | 0.0010672 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-373_0_8_load_70 | 68 | 0.010124 | 0.0025372 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-373_0_8_load_55 | 69 | 0.0031145 | 0.00078056 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-373_0_8_load_57 | 70 | 0.0025563 | 0.00064067 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-373_0_8_load_71 | 72 | 0.010005 | 0.0025074 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-373_0_8_load_67 | 75 | 0.0040396 | 0.0010124 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-373_0_8_load_75 | 76 | 0.011213 | 0.0028101 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-373_0_8_load_74 | 77 | 0.004409 | 0.001105 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-373_0_8_load_73 | 78 | 0.03184 | 0.0079799 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-373_0_8_load_65 | 79 | 0.0016599 | 0.00041601 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-373_0_8_load_72 | 80 | 0.0062143 | 0.0015575 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-373_0_8_load_77 | 81 | 0.0014339 | 0.00035937 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-373_0_8_load_76 | 82 | 0.0014372 | 0.00036021 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-373_0_8_load_89 | 83 | 0.019229 | 0.0048192 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-373_0_8_load_84 | 85 | 0.0046358 | 0.0011618 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-373_0_8_load_81 | 86 | 0.0044488 | 0.001115 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-373_0_8_load_79 | 88 | 0.011274 | 0.0028255 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-373_0_8_load_80 | 89 | 0.0015498 | 0.00038841 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-373_0_8_load_82 | 90 | 0.0014891 | 0.0003732 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-373_0_8_line_0 |  | 0 | 1 | 0.091419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-373_0_8_line_1 |  | 0 | 2 | 0.018122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-373_0_8_line_2 |  | 1 | 3 | 0.20288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-373_0_8_line_3 |  | 3 | 4 | 0.016846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-373_0_8_line_4 |  | 3 | 5 | 0.036139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-373_0_8_line_5 |  | 3 | 6 | 0.018668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-373_0_8_line_6 |  | 4 | 9 | 0.033893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-373_0_8_line_7 |  | 5 | 44 | 0.03428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-373_0_8_line_8 |  | 5 | 7 | 0.006059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-373_0_8_line_9 |  | 7 | 8 | 0.010393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-373_0_8_line_10 |  | 9 | 34 | 0.03072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_261-373_0_8_line_11 |  | 10 | 11 | 0.014676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-373_0_8_line_12 |  | 10 | 12 | 0.030981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-373_0_8_line_13 |  | 10 | 13 | 0.014812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-373_0_8_line_14 |  | 11 | 15 | 0.01652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-373_0_8_line_15 |  | 13 | 28 | 0.024069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-373_0_8_line_16 |  | 14 | 15 | 0.012849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-373_0_8_line_17 |  | 14 | 16 | 0.016575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-373_0_8_line_18 |  | 17 | 18 | 0.060495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-373_0_8_line_19 |  | 17 | 19 | 0.024069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-373_0_8_line_20 |  | 18 | 45 | 0.021817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-373_0_8_line_21 |  | 18 | 46 | 0.01348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-373_0_8_line_22 |  | 20 | 21 | 0.047107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-373_0_8_line_23 |  | 20 | 22 | 0.022551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-373_0_8_line_24 |  | 21 | 55 | 0.031444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-373_0_8_line_25 |  | 22 | 42 | 0.016044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-373_0_8_line_26 |  | 23 | 24 | 0.012408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-373_0_8_line_27 |  | 23 | 25 | 0.01556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-373_0_8_line_28 |  | 24 | 39 | 0.016408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-373_0_8_line_29 |  | 25 | 27 | 0.016493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-373_0_8_line_30 |  | 26 | 27 | 0.014752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-373_0_8_line_31 |  | 26 | 28 | 0.001635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-373_0_8_line_32 |  | 28 | 56 | 0.0061929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-373_0_8_line_33 |  | 29 | 30 | 0.018871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_261-373_0_8_line_34 |  | 29 | 31 | 0.023694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_261-373_0_8_line_35 |  | 30 | 38 | 0.024392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_261-373_0_8_line_36 |  | 31 | 42 | 0.030869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_261-373_0_8_line_37 |  | 32 | 33 | 0.033825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-373_0_8_line_38 |  | 32 | 34 | 0.0076321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_261-373_0_8_line_39 |  | 32 | 35 | 0.03883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_261-373_0_8_line_40 |  | 33 | 48 | 0.03578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-373_0_8_line_41 |  | 35 | 57 | 0.055086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-373_0_8_line_42 |  | 35 | 41 | 0.021447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_261-373_0_8_line_43 |  | 36 | 37 | 0.029641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-373_0_8_line_44 |  | 36 | 38 | 0.02977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-373_0_8_line_45 |  | 36 | 39 | 0.014369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-373_0_8_line_46 |  | 38 | 40 | 0.036334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-373_0_8_line_47 |  | 38 | 41 | 0.020091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_261-373_0_8_line_48 |  | 40 | 43 | 0.01578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-373_0_8_line_49 |  | 45 | 47 | 0.0112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-373_0_8_line_50 |  | 45 | 48 | 0.017055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-373_0_8_line_51 |  | 45 | 49 | 0.041825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-373_0_8_line_52 |  | 46 | 51 | 0.0023759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-373_0_8_line_53 |  | 47 | 58 | 0.010145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-373_0_8_line_54 |  | 47 | 53 | 0.015627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-373_0_8_line_55 |  | 48 | 50 | 0.028885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-373_0_8_line_56 |  | 49 | 59 | 0.023972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-373_0_8_line_57 |  | 51 | 52 | 0.017358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-373_0_8_line_58 |  | 53 | 54 | 0.01424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-373_0_8_line_59 |  | 55 | 62 | 0.031305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-373_0_8_line_60 |  | 55 | 63 | 0.027823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-373_0_8_line_61 |  | 56 | 60 | 0.012836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-373_0_8_line_62 |  | 59 | 85 | 0.0058701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-373_0_8_line_63 |  | 60 | 61 | 9.2993e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-373_0_8_line_64 |  | 62 | 64 | 0.012512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-373_0_8_line_65 |  | 63 | 68 | 0.029084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-373_0_8_line_66 |  | 64 | 69 | 0.0018945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-373_0_8_line_67 |  | 65 | 66 | 0.037661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-373_0_8_line_68 |  | 65 | 67 | 0.022844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-373_0_8_line_69 |  | 67 | 79 | 0.028606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-373_0_8_line_70 |  | 68 | 71 | 0.004826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-373_0_8_line_71 |  | 69 | 70 | 0.01497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-373_0_8_line_72 |  | 71 | 72 | 0.017463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-373_0_8_line_73 |  | 71 | 73 | 0.014214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-373_0_8_line_74 |  | 71 | 74 | 0.0086731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-373_0_8_line_75 |  | 72 | 78 | 0.032978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-373_0_8_line_76 |  | 73 | 76 | 0.025588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_261-373_0_8_line_77 |  | 73 | 77 | 0.014369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-373_0_8_line_78 |  | 74 | 75 | 0.015097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_261-373_0_8_line_79 |  | 75 | 79 | 0.020553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_261-373_0_8_line_80 |  | 77 | 80 | 0.02645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_261-373_0_8_line_81 |  | 78 | 83 | 0.024274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_261-373_0_8_line_82 |  | 81 | 82 | 1.3535e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_261-373_0_8_line_83 |  | 82 | 87 | 0.007476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_261-373_0_8_line_84 |  | 84 | 85 | 0.016438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_261-373_0_8_line_85 |  | 84 | 86 | 0.012766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_261-373_0_8_line_86 |  | 86 | 88 | 0.0018161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_261-373_0_8_line_87 |  | 87 | 88 | 0.015366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_261-373_0_8_line_88 |  | 87 | 89 | 0.011875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_261-373_0_8_line_89 |  | 89 | 90 | 0.021774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-373_0_8_trafo_21 | 0.63 MVA 20/0.4 kV | 91 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2684456.8511 | 1251701.5634 | 2684456.5363 | 1251696.6441 | 2684455.0941 | 1251693.4989 | 2684451.4949 | 1251691.8242 | 2684448.3652 | 1251691.6239 | 2684372.5066 | 1251688.4691
1 | 2684354.4005 | 1251687.7161 | 2684372.5066 | 1251688.4691
2 | 2684456.8511 | 1251701.5634 | 2684460.7439 | 1251701.7079 | 2684464.5765 | 1251701.8404 | 2684469.8237 | 1251702.8159 | 2684527.7629 | 1251704.9769 | 2684528.9397 | 1251705.0271 | 2684527.9537 | 1251683.1522 | 2684528.6344 | 1251663.4915 | 2684532.3535 | 1251637.2026 | 2684531.219 | 1251623.0869 | 2684530.8602 | 1251574.7122
3 | 2684530.8602 | 1251574.7122 | 2684531.0696 | 1251569.0331 | 2684519.9091 | 1251568.7849
4 | 2684530.8602 | 1251574.7122 | 2684531.0696 | 1251569.0331 | 2684544.5661 | 1251569.5593 | 2684544.7323 | 1251565.3252 | 2684548.6632 | 1251565.448 | 2684557.4381 | 1251565.7179
5 | 2684530.8602 | 1251574.7122 | 2684512.2064 | 1251573.9805
6 | 2684521.2831 | 1251534.9235 | 2684519.9983 | 1251566.2398 | 2684519.9091 | 1251568.7849
7 | 2684557.4381 | 1251565.7179 | 2684556.9162 | 1251550.9883 | 2684556.643 | 1251540.521 | 2684557.0682 | 1251531.4605
8 | 2684557.4381 | 1251565.7179 | 2684563.5113 | 1251565.9492
9 | 2684563.5113 | 1251565.9492 | 2684567.2017 | 1251570.2272 | 2684566.983 | 1251574.9721
10 | 2684521.2831 | 1251534.9235 | 2684522.4232 | 1251504.2278
11 | 2684349.6778 | 1251561.9433 | 2684364.3436 | 1251562.5042
12 | 2684349.6778 | 1251561.9433 | 2684318.7177 | 1251560.8096
13 | 2684349.6778 | 1251561.9433 | 2684349.745 | 1251559.3423 | 2684350.2212 | 1251547.141
14 | 2684380.8511 | 1251563.1356 | 2684364.3436 | 1251562.5042
15 | 2684351.1597 | 1251523.0908 | 2684350.2212 | 1251547.141
16 | 2684393.691 | 1251563.6267 | 2684380.8511 | 1251563.1356
17 | 2684393.691 | 1251563.6267 | 2684393.7931 | 1251561.2264 | 2684396.4105 | 1251561.3637 | 2684396.4606 | 1251560.4971 | 2684396.4967 | 1251559.5525 | 2684396.899 | 1251549.8229
18 | 2684554.5182 | 1251431.342 | 2684554.0764 | 1251434.2601 | 2684553.1133 | 1251455.1954 | 2684565.0902 | 1251455.9002 | 2684582.0332 | 1251454.0294 | 2684589.5701 | 1251454.315
19 | 2684589.5701 | 1251454.315 | 2684590.0407 | 1251463.6398 | 2684587.1234 | 1251474.4619 | 2684586.4971 | 1251477.0882 | 2684586.4816 | 1251477.9123
20 | 2684538.7367 | 1251423.233 | 2684538.6152 | 1251427.5123 | 2684541.4216 | 1251427.6302 | 2684543.1454 | 1251427.9661 | 2684544.0741 | 1251428.4797 | 2684545.0755 | 1251429.7172 | 2684545.7651 | 1251431.117 | 2684549.9293 | 1251431.2987 | 2684554.5182 | 1251431.342
21 | 2684554.5182 | 1251431.342 | 2684555.7872 | 1251429.6922 | 2684557.8451 | 1251428.3094 | 2684561.6397 | 1251428.4748 | 2684566.7571 | 1251428.6542
22 | 2684307.0656 | 1251484.6457 | 2684308.4678 | 1251444.4799 | 2684313.8735 | 1251440.1647
23 | 2684307.0656 | 1251484.6457 | 2684329.6003 | 1251485.4993
24 | 2684304.8632 | 1251418.2423 | 2684304.6325 | 1251423.8432 | 2684314.5453 | 1251424.2623 | 2684313.8735 | 1251440.1647
25 | 2684345.6326 | 1251486.1066 | 2684329.6003 | 1251485.4993
26 | 2684398.0056 | 1251523.0577 | 2684410.405 | 1251523.5234
27 | 2684398.0056 | 1251523.0577 | 2684382.4549 | 1251522.5256
28 | 2684410.405 | 1251523.5234 | 2684413.7507 | 1251523.6491 | 2684416.0649 | 1251524.4048 | 2684422.4135 | 1251524.373 | 2684426.6883 | 1251524.4889
29 | 2684365.9714 | 1251521.9617 | 2684382.4549 | 1251522.5256
30 | 2684351.2282 | 1251521.4572 | 2684365.9714 | 1251521.9617
31 | 2684351.1597 | 1251523.0908 | 2684351.2282 | 1251521.4572
32 | 2684351.1597 | 1251523.0908 | 2684344.9762 | 1251522.7501
33 | 2684399.1582 | 1251491.4393 | 2684418.0142 | 1251492.198
34 | 2684399.1582 | 1251491.4393 | 2684375.4828 | 1251490.49
35 | 2684442.3861 | 1251493.1786 | 2684418.0142 | 1251492.198
36 | 2684345.6326 | 1251486.1066 | 2684353.8257 | 1251486.4235 | 2684359.1516 | 1251489.8352 | 2684375.4828 | 1251490.49
37 | 2684524.1466 | 1251462.8102 | 2684522.7962 | 1251496.6052
38 | 2684522.4232 | 1251504.2278 | 2684522.6215 | 1251500.917 | 2684522.7962 | 1251496.6052
39 | 2684483.8956 | 1251494.7269 | 2684522.7962 | 1251496.6052
40 | 2684524.1466 | 1251462.8102 | 2684525.8493 | 1251427.0743
41 | 2684472.4629 | 1251442.1133 | 2684473.8444 | 1251443.6897 | 2684475.042 | 1251455.5157 | 2684476.5264 | 1251462.0529 | 2684479.0485 | 1251468.338 | 2684484.2256 | 1251478.4749 | 2684484.0383 | 1251487.9016 | 2684483.8956 | 1251494.7269
42 | 2684483.8956 | 1251494.7269 | 2684462.4625 | 1251493.9438
43 | 2684440.4151 | 1251521.8275 | 2684439.2885 | 1251551.447
44 | 2684440.4151 | 1251521.8275 | 2684441.0191 | 1251500.6425 | 2684442.0752 | 1251500.6909 | 2684442.2243 | 1251497.1126 | 2684442.3861 | 1251493.1786
45 | 2684440.4151 | 1251521.8275 | 2684435.9124 | 1251524.2096 | 2684433.6563 | 1251524.6778 | 2684426.6883 | 1251524.4889
46 | 2684442.3861 | 1251493.1786 | 2684442.2243 | 1251497.1126 | 2684442.0752 | 1251500.6909 | 2684443.3199 | 1251500.742 | 2684442.3006 | 1251528.2926
47 | 2684442.3861 | 1251493.1786 | 2684452.4425 | 1251493.5777 | 2684462.4625 | 1251493.9438
48 | 2684442.3006 | 1251528.2926 | 2684446.9177 | 1251528.4696 | 2684457.7741 | 1251525.7
49 | 2684538.7367 | 1251423.233 | 2684539.138 | 1251412.0414
50 | 2684525.8493 | 1251427.0743 | 2684530.5282 | 1251427.1633 | 2684538.6152 | 1251427.5123 | 2684538.7367 | 1251423.233
51 | 2684538.7367 | 1251423.233 | 2684525.7261 | 1251423.0139 | 2684496.9394 | 1251421.7985
52 | 2684569.1316 | 1251428.7374 | 2684566.7571 | 1251428.6542
53 | 2684549.3097 | 1251412.309 | 2684539.138 | 1251412.0414
54 | 2684539.7082 | 1251396.4267 | 2684539.138 | 1251412.0414
55 | 2684525.8493 | 1251427.0743 | 2684496.9886 | 1251425.8861
56 | 2684496.9394 | 1251421.7985 | 2684473.2199 | 1251420.797 | 2684472.9884 | 1251420.787
57 | 2684569.1316 | 1251428.7374 | 2684586.4789 | 1251429.3372
58 | 2684539.7082 | 1251396.4267 | 2684525.4958 | 1251395.532
59 | 2684304.8632 | 1251418.2423 | 2684305.02 | 1251414.6529 | 2684332.706 | 1251415.8589
60 | 2684304.8632 | 1251418.2423 | 2684332.6526 | 1251419.6053 | 2684332.6526 | 1251419.6053
61 | 2684336.0411 | 1251517.1975 | 2684335.9987 | 1251520.1728 | 2684338.3676 | 1251522.386 | 2684344.9762 | 1251522.7501
62 | 2684467.1237 | 1251420.5341 | 2684472.9884 | 1251420.787
63 | 2684336.0411 | 1251517.1975 | 2684336.0424 | 1251517.1045
64 | 2684332.706 | 1251415.8589 | 2684333.0545 | 1251403.3513
65 | 2684332.6526 | 1251419.6053 | 2684361.7216 | 1251420.5439
66 | 2684333.0545 | 1251403.3513 | 2684333.1073 | 1251401.4575
67 | 2684338.5505 | 1251342.5759 | 2684374.1917 | 1251330.1072
68 | 2684374.1917 | 1251330.1072 | 2684375.3168 | 1251338.0292 | 2684376.0793 | 1251345.9682 | 2684376.0363 | 1251352.8346
69 | 2684374.8684 | 1251381.4165 | 2684376.0318 | 1251353.5399 | 2684376.0363 | 1251352.8346
70 | 2684366.5451 | 1251420.6996 | 2684361.7216 | 1251420.5439
71 | 2684333.1073 | 1251401.4575 | 2684333.5242 | 1251386.4929
72 | 2684366.5451 | 1251420.6996 | 2684383.9957 | 1251421.3689
73 | 2684377.2797 | 1251417.4834 | 2684366.5494 | 1251417.2193 | 2684366.5451 | 1251420.6996
74 | 2684366.5451 | 1251420.6996 | 2684366.5494 | 1251417.2193 | 2684366.5479 | 1251412.0265
75 | 2684416.9495 | 1251422.6345 | 2684403.9127 | 1251422.1328 | 2684383.9957 | 1251421.3689
76 | 2684377.2797 | 1251417.4834 | 2684402.8548 | 1251418.2966
77 | 2684377.2797 | 1251417.4834 | 2684377.6694 | 1251403.1195
78 | 2684366.5479 | 1251412.0265 | 2684368.6529 | 1251412.101 | 2684373.0081 | 1251410.0059 | 2684373.8084 | 1251406.8149 | 2684374.0114 | 1251401.9514
79 | 2684374.8684 | 1251381.4165 | 2684374.0114 | 1251401.9514
80 | 2684378.3867 | 1251376.6797 | 2684377.6694 | 1251403.1195
81 | 2684441.2003 | 1251423.6895 | 2684426.8552 | 1251423.0158 | 2684416.9495 | 1251422.6345
82 | 2684451.9896 | 1251382.4183 | 2684451.99 | 1251382.4047
83 | 2684451.7321 | 1251389.8898 | 2684451.9896 | 1251382.4183
84 | 2684450.7014 | 1251419.8198 | 2684453.1908 | 1251419.9331 | 2684467.1237 | 1251420.5341
85 | 2684450.7014 | 1251419.8198 | 2684451.1407 | 1251407.0614
86 | 2684451.2032 | 1251405.2464 | 2684451.1407 | 1251407.0614
87 | 2684451.7321 | 1251389.8898 | 2684451.2032 | 1251405.2464
88 | 2684451.7321 | 1251389.8898 | 2684463.5995 | 1251390.3259
89 | 2684485.3585 | 1251391.1255 | 2684463.5995 | 1251390.3259

## bus_geodata
| x | y | coords
0 | 2684372.5066 | 1251688.4691
1 | 2684456.8511 | 1251701.5634
2 | 2684354.4005 | 1251687.7161
3 | 2684530.8602 | 1251574.7122
4 | 2684519.9091 | 1251568.7849
5 | 2684557.4381 | 1251565.7179
6 | 2684512.2064 | 1251573.9805
7 | 2684563.5113 | 1251565.9492
8 | 2684566.983 | 1251574.9721
9 | 2684521.2831 | 1251534.9235
10 | 2684349.6778 | 1251561.9433
11 | 2684364.3436 | 1251562.5042
12 | 2684318.7177 | 1251560.8096
13 | 2684350.2212 | 1251547.141
14 | 2684393.691 | 1251563.6267
15 | 2684380.8511 | 1251563.1356
16 | 2684396.899 | 1251549.8229
17 | 2684589.5701 | 1251454.315
18 | 2684554.5182 | 1251431.342
19 | 2684586.4816 | 1251477.9123
20 | 2684307.0656 | 1251484.6457
21 | 2684313.8735 | 1251440.1647
22 | 2684329.6003 | 1251485.4993
23 | 2684398.0056 | 1251523.0577
24 | 2684410.405 | 1251523.5234
25 | 2684382.4549 | 1251522.5256
26 | 2684351.2282 | 1251521.4572
27 | 2684365.9714 | 1251521.9617
28 | 2684351.1597 | 1251523.0908
29 | 2684399.1582 | 1251491.4393
30 | 2684418.0142 | 1251492.198
31 | 2684375.4828 | 1251490.49
32 | 2684522.7962 | 1251496.6052
33 | 2684524.1466 | 1251462.8102
34 | 2684522.4232 | 1251504.2278
35 | 2684483.8956 | 1251494.7269
36 | 2684440.4151 | 1251521.8275
37 | 2684439.2885 | 1251551.447
38 | 2684442.3861 | 1251493.1786
39 | 2684426.6883 | 1251524.4889
40 | 2684442.3006 | 1251528.2926
41 | 2684462.4625 | 1251493.9438
42 | 2684345.6326 | 1251486.1066
43 | 2684457.7741 | 1251525.7
44 | 2684557.0682 | 1251531.4605
45 | 2684538.7367 | 1251423.233
46 | 2684566.7571 | 1251428.6542
47 | 2684539.138 | 1251412.0414
48 | 2684525.8493 | 1251427.0743
49 | 2684496.9394 | 1251421.7985
50 | 2684496.9886 | 1251425.8861
51 | 2684569.1316 | 1251428.7374
52 | 2684586.4789 | 1251429.3372
53 | 2684539.7082 | 1251396.4267
54 | 2684525.4958 | 1251395.532
55 | 2684304.8632 | 1251418.2423
56 | 2684344.9762 | 1251522.7501
57 | 2684472.4629 | 1251442.1133
58 | 2684549.3097 | 1251412.309
59 | 2684472.9884 | 1251420.787
60 | 2684336.0411 | 1251517.1975
61 | 2684336.0424 | 1251517.1045
62 | 2684332.706 | 1251415.8589
63 | 2684332.6526 | 1251419.6053
64 | 2684333.0545 | 1251403.3513
65 | 2684374.1917 | 1251330.1072
66 | 2684338.5505 | 1251342.5759
67 | 2684376.0363 | 1251352.8346
68 | 2684361.7216 | 1251420.5439
69 | 2684333.1073 | 1251401.4575
70 | 2684333.5242 | 1251386.4929
71 | 2684366.5451 | 1251420.6996
72 | 2684383.9957 | 1251421.3689
73 | 2684377.2797 | 1251417.4834
74 | 2684366.5479 | 1251412.0265
75 | 2684374.0114 | 1251401.9514
76 | 2684402.8548 | 1251418.2966
77 | 2684377.6694 | 1251403.1195
78 | 2684416.9495 | 1251422.6345
79 | 2684374.8684 | 1251381.4165
80 | 2684378.3867 | 1251376.6797
81 | 2684451.99 | 1251382.4047
82 | 2684451.9896 | 1251382.4183
83 | 2684441.2003 | 1251423.6895
84 | 2684450.7014 | 1251419.8198
85 | 2684467.1237 | 1251420.5341
86 | 2684451.1407 | 1251407.0614
87 | 2684451.7321 | 1251389.8898
88 | 2684451.2032 | 1251405.2464
89 | 2684463.5995 | 1251390.3259
90 | 2684485.3585 | 1251391.1255
91 | 2684442.2243 | 1251497.1126

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97074 | -0.56411 | 0.061294 | 0.015362
1 | 0.97601 | -0.46025 | 0 | 0
2 | 0.97073 | -0.56426 | 0.00046024 | 0.00011535
3 | 0.98773 | -0.2337 | 0 | 0
4 | 0.98921 | -0.20528 | 0 | 0
5 | 0.9867 | -0.25365 | 0 | 0
6 | 0.98769 | -0.23436 | 0.0019576 | 0.00049062
7 | 0.98657 | -0.25615 | 0 | 0
8 | 0.98635 | -0.26045 | 0.023079 | 0.0057841
9 | 0.99219 | -0.14835 | 0.01025 | 0.0025688
10 | 0.99261 | -0.14214 | 0 | 0
11 | 0.9924 | -0.14631 | 0.0049795 | 0.001248
12 | 0.99242 | -0.14583 | 0.0067268 | 0.0016859
13 | 0.99292 | -0.13617 | 0.0053964 | 0.0013525
14 | 0.99216 | -0.15092 | 0 | 0
15 | 0.99223 | -0.14954 | 0.0049846 | 0.0012493
16 | 0.99207 | -0.15271 | 0.0060787 | 0.0015235
17 | 0.98475 | -0.29265 | 0 | 0
18 | 0.98543 | -0.27939 | 0 | 0
19 | 0.98448 | -0.29793 | 0.012202 | 0.0030582
20 | 0.98931 | -0.20247 | 0 | 0
21 | 0.98388 | -0.30683 | 0.0068038 | 0.0017052
22 | 0.99191 | -0.15291 | 0.013183 | 0.0033039
23 | 0.99568 | -0.082874 | 0 | 0
24 | 0.99629 | -0.071155 | 0.0060632 | 0.0015196
25 | 0.99492 | -0.09759 | 0.0053035 | 0.0013292
26 | 0.9936 | -0.12295 | 0 | 0
27 | 0.99419 | -0.11167 | 0.0051308 | 0.0012859
28 | 0.99354 | -0.1242 | 0 | 0
29 | 0.99765 | -0.044347 | 0 | 0
30 | 0.99856 | -0.02712 | 0.03456 | 0.0086617
31 | 0.99593 | -0.076879 | 0.019625 | 0.0049186
32 | 0.99393 | -0.11518 | 0 | 0
33 | 0.9902 | -0.18706 | 0.019332 | 0.0048451
34 | 0.99369 | -0.11989 | 0 | 0
35 | 0.99662 | -0.063978 | 0 | 0
36 | 0.99805 | -0.037375 | 0 | 0
37 | 0.99788 | -0.040526 | 0.0060736 | 0.0015222
38 | 1 | 0 | -0.59291 | -0.15114
39 | 0.99718 | -0.053937 | 0.0059985 | 0.0015034
40 | 0.99871 | -0.024765 | 0 | 0
41 | 0.99826 | -0.032928 | 0.033689 | 0.0084433
42 | 0.99396 | -0.11408 | 0 | 0
43 | 0.99815 | -0.03554 | 0.039054 | 0.0097878
44 | 0.98646 | -0.25842 | 0.0077773 | 0.0019492
45 | 0.98575 | -0.27324 | 0 | 0
46 | 0.98539 | -0.28024 | 0.0020193 | 0.00050608
47 | 0.98569 | -0.27439 | 0 | 0
48 | 0.98688 | -0.2513 | 0 | 0
49 | 0.98381 | -0.31108 | 0.019761 | 0.0049526
50 | 0.98611 | -0.26623 | 0.028855 | 0.0072316
51 | 0.98539 | -0.2803 | 0 | 0
52 | 0.98536 | -0.28076 | 0.0014838 | 0.00037188
53 | 0.98564 | -0.27548 | 0 | 0
54 | 0.98558 | -0.27646 | 0.003857 | 0.00096665
55 | 0.98045 | -0.37326 | 0 | 0
56 | 0.99345 | -0.12585 | 0.0014083 | 0.00035296
57 | 0.99547 | -0.086312 | 0.023078 | 0.0057838
58 | 0.98567 | -0.27474 | 0.0018873 | 0.000473
59 | 0.98313 | -0.3243 | 0.0043132 | 0.001081
60 | 0.99329 | -0.12897 | 0.0064407 | 0.0016142
61 | 0.99329 | -0.12898 | 0.0072974 | 0.0018289
62 | 0.98023 | -0.37757 | 0 | 0
63 | 0.97762 | -0.42857 | 0.0033427 | 0.00083775
64 | 0.98015 | -0.37929 | 0.0019223 | 0.00048179
65 | 0.9736 | -0.5075 | 0 | 0
66 | 0.9735 | -0.50956 | 0.0029767 | 0.00074602
67 | 0.97366 | -0.50624 | 0.0042582 | 0.0010672
68 | 0.97474 | -0.48494 | 0.010124 | 0.0025372
69 | 0.98014 | -0.37949 | 0.0031145 | 0.00078056
70 | 0.9801 | -0.38018 | 0.0025563 | 0.00064067
71 | 0.97431 | -0.49343 | 0 | 0
72 | 0.97332 | -0.51303 | 0.010005 | 0.0025074
73 | 0.97402 | -0.49913 | 0 | 0
74 | 0.97421 | -0.49549 | 0 | 0
75 | 0.97403 | -0.49908 | 0.0040396 | 0.0010124
76 | 0.97376 | -0.5044 | 0.011213 | 0.0028101
77 | 0.97388 | -0.50194 | 0.004409 | 0.001105
78 | 0.97175 | -0.54407 | 0.03184 | 0.0079799
79 | 0.97386 | -0.50244 | 0.0016599 | 0.00041601
80 | 0.97373 | -0.50496 | 0.0062143 | 0.0015575
81 | 0.98227 | -0.34107 | 0.0014339 | 0.00035937
82 | 0.98227 | -0.34107 | 0.0014372 | 0.00036021
83 | 0.97131 | -0.55269 | 0.019229 | 0.0048192
84 | 0.98266 | -0.3335 | 0 | 0
85 | 0.98299 | -0.32708 | 0.0046358 | 0.0011618
86 | 0.98241 | -0.33848 | 0.0044488 | 0.001115
87 | 0.98229 | -0.34069 | 0 | 0
88 | 0.98238 | -0.33905 | 0.011274 | 0.0028255
89 | 0.98226 | -0.34134 | 0.0015498 | 0.00038841
90 | 0.98223 | -0.34192 | 0.0014891 | 0.0003732
91 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.061755 | -0.015477 | 0.062062 | 0.015672 | 0.0003072 | 0.00019547 | 0.094662 | 0.094661 | 0.094662 | 0.97074 | -0.56411 | 0.97601 | -0.46025 | 26.006
1 | 0.00046025 | 0.00011513 | -0.00046024 | -0.00011535 | 3.382e-09 | -2.2187e-07 | 0.00070542 | 0.0007055 | 0.0007055 | 0.97074 | -0.56411 | 0.97073 | -0.56426 | 0.19382
2 | -0.062062 | -0.015672 | 0.062744 | 0.016106 | 0.00068174 | 0.00043375 | 0.094661 | 0.094661 | 0.094661 | 0.97601 | -0.46025 | 0.98773 | -0.2337 | 26.0059
3 | -0.095596 | -0.024353 | 0.095727 | 0.024437 | 0.00013128 | 8.3805e-05 | 0.14416 | 0.14416 | 0.14416 | 0.98773 | -0.2337 | 0.98921 | -0.20528 | 39.6037
4 | 0.030895 | 0.0077569 | -0.030865 | -0.0077386 | 2.9364e-05 | 1.8331e-05 | 0.046548 | 0.046548 | 0.046548 | 0.98773 | -0.2337 | 0.9867 | -0.25365 | 12.788
5 | 0.0019577 | 0.00049042 | -0.0019576 | -0.00049062 | 6.089e-08 | -1.9996e-07 | 0.0029492 | 0.0029493 | 0.0029493 | 0.98773 | -0.2337 | 0.98769 | -0.23436 | 0.81023
6 | -0.095727 | -0.024437 | 0.095992 | 0.024606 | 0.00026413 | 0.00016861 | 0.14416 | 0.14416 | 0.14416 | 0.98921 | -0.20528 | 0.99219 | -0.14835 | 39.6036
7 | 0.0077791 | 0.0019499 | -0.0077773 | -0.0019492 | 1.7692e-06 | 6.9456e-07 | 0.011731 | 0.011732 | 0.011732 | 0.9867 | -0.25365 | 0.98646 | -0.25842 | 3.223
8 | 0.023086 | 0.0057887 | -0.023084 | -0.005787 | 2.7543e-06 | 1.6854e-06 | 0.034817 | 0.034817 | 0.034817 | 0.9867 | -0.25365 | 0.98657 | -0.25615 | 9.5651
9 | 0.023084 | 0.005787 | -0.023079 | -0.0057841 | 4.7245e-06 | 2.891e-06 | 0.034817 | 0.034817 | 0.034817 | 0.98657 | -0.25615 | 0.98635 | -0.26045 | 9.5651
10 | -0.10624 | -0.027175 | 0.10639 | 0.027268 | 0.00014659 | 9.3022e-05 | 0.15953 | 0.15953 | 0.15953 | 0.99219 | -0.14835 | 0.99369 | -0.11989 | 21.9133
11 | 0.016049 | 0.0040237 | -0.016045 | -0.0040218 | 3.1857e-06 | 1.8492e-06 | 0.024059 | 0.024059 | 0.024059 | 0.99261 | -0.14214 | 0.9924 | -0.14631 | 6.6096
12 | 0.006728 | 0.0016863 | -0.0067268 | -0.0016859 | 1.1818e-06 | 3.5599e-07 | 0.010086 | 0.010086 | 0.010086 | 0.99261 | -0.14214 | 0.99242 | -0.14583 | 2.7709
13 | -0.022777 | -0.0057099 | 0.022783 | 0.0057139 | 6.476e-06 | 3.9531e-06 | 0.034145 | 0.034145 | 0.034145 | 0.99261 | -0.14214 | 0.99292 | -0.13617 | 9.3805
14 | 0.011066 | 0.0027738 | -0.011064 | -0.0027729 | 1.7056e-06 | 8.7815e-07 | 0.016593 | 0.016593 | 0.016593 | 0.9924 | -0.14631 | 0.99223 | -0.14954 | 4.5585
15 | -0.028179 | -0.0070663 | 0.028196 | 0.0070763 | 1.6098e-05 | 9.991e-06 | 0.042232 | 0.042232 | 0.042232 | 0.99292 | -0.13617 | 0.99354 | -0.1242 | 11.6022
16 | -0.0060793 | -0.0015236 | 0.0060797 | 0.0015237 | 4.0056e-07 | 9.0403e-08 | 0.0091175 | 0.0091175 | 0.0091175 | 0.99216 | -0.15092 | 0.99223 | -0.14954 | 2.5048
17 | 0.0060793 | 0.0015236 | -0.0060787 | -0.0015235 | 5.167e-07 | 1.1665e-07 | 0.0091175 | 0.0091176 | 0.0091176 | 0.99216 | -0.15092 | 0.99207 | -0.15271 | 2.5048
18 | -0.012205 | -0.0030598 | 0.012213 | 0.003064 | 7.7164e-06 | 4.1683e-06 | 0.018443 | 0.018443 | 0.018443 | 0.98475 | -0.29265 | 0.98543 | -0.27939 | 5.0668
19 | 0.012205 | 0.0030598 | -0.012202 | -0.0030582 | 3.0702e-06 | 1.6588e-06 | 0.018443 | 0.018443 | 0.018443 | 0.98475 | -0.29265 | 0.98448 | -0.29793 | 5.0668
20 | -0.015716 | -0.0039417 | 0.015721 | 0.0039443 | 4.6081e-06 | 2.6711e-06 | 0.023733 | 0.023733 | 0.023733 | 0.98543 | -0.27939 | 0.98575 | -0.27324 | 6.52
21 | 0.0035033 | 0.00087765 | -0.0035031 | -0.00087773 | 1.4145e-07 | -8.1192e-08 | 0.0052899 | 0.0052899 | 0.0052899 | 0.98543 | -0.27939 | 0.98539 | -0.28024 | 1.4533
22 | 0.12549 | 0.032141 | -0.12486 | -0.031737 | 0.00063102 | 0.00040325 | 0.189 | 0.189 | 0.189 | 0.98931 | -0.20247 | 0.98388 | -0.30683 | 51.9232
23 | -0.12549 | -0.032141 | 0.1258 | 0.032334 | 0.00030208 | 0.00019304 | 0.189 | 0.189 | 0.189 | 0.98931 | -0.20247 | 0.99191 | -0.15291 | 51.9231
24 | 0.11806 | 0.030032 | -0.11768 | -0.029792 | 0.00037659 | 0.00024062 | 0.17871 | 0.17871 | 0.17871 | 0.98388 | -0.30683 | 0.98045 | -0.37326 | 49.0963
25 | -0.13898 | -0.035638 | 0.13924 | 0.035805 | 0.00026224 | 0.00016763 | 0.20878 | 0.20878 | 0.20878 | 0.99191 | -0.15291 | 0.99396 | -0.11408 | 57.3559
26 | -0.053876 | -0.01355 | 0.053906 | 0.013569 | 3.0178e-05 | 1.9152e-05 | 0.080533 | 0.080533 | 0.080533 | 0.99568 | -0.082874 | 0.99629 | -0.071155 | 22.1244
27 | 0.053876 | 0.01355 | -0.053838 | -0.013526 | 3.7843e-05 | 2.4017e-05 | 0.080533 | 0.080533 | 0.080533 | 0.99568 | -0.082874 | 0.99492 | -0.09759 | 22.1244
28 | -0.059969 | -0.015089 | 0.060019 | 0.01512 | 4.9383e-05 | 3.1391e-05 | 0.089588 | 0.089588 | 0.089588 | 0.99629 | -0.071155 | 0.99718 | -0.053937 | 24.6122
29 | 0.048534 | 0.012197 | -0.048502 | -0.012176 | 3.26e-05 | 2.065e-05 | 0.072601 | 0.072601 | 0.072601 | 0.99492 | -0.09759 | 0.99419 | -0.11167 | 19.9453
30 | -0.043348 | -0.010876 | 0.043371 | 0.010891 | 2.3316e-05 | 1.4731e-05 | 0.064922 | 0.064922 | 0.064922 | 0.9936 | -0.12295 | 0.99419 | -0.11167 | 17.8356
31 | 0.043348 | 0.010876 | -0.043345 | -0.010874 | 2.5842e-06 | 1.6327e-06 | 0.064922 | 0.064922 | 0.064922 | 0.9936 | -0.12295 | 0.99354 | -0.1242 | 17.8356
32 | 0.01515 | 0.0037979 | -0.015148 | -0.0037972 | 1.1956e-06 | 6.8499e-07 | 0.02269 | 0.02269 | 0.02269 | 0.99354 | -0.1242 | 0.99345 | -0.12585 | 6.2335
33 | -0.15937 | -0.041045 | 0.1595 | 0.04113 | 0.00013373 | 8.4845e-05 | 0.2381 | 0.2381 | 0.2381 | 0.99765 | -0.044347 | 0.99856 | -0.02712 | 21.8037
34 | 0.15937 | 0.041045 | -0.15912 | -0.040884 | 0.00025186 | 0.00016057 | 0.2381 | 0.2381 | 0.2381 | 0.99765 | -0.044347 | 0.99593 | -0.076879 | 32.7056
35 | -0.19406 | -0.049792 | 0.19432 | 0.049954 | 0.0002557 | 0.00016269 | 0.2896 | 0.2896 | 0.2896 | 0.99856 | -0.02712 | 1 | 0 | 26.5198
36 | 0.13949 | 0.035966 | -0.13924 | -0.035805 | 0.00025228 | 0.00016065 | 0.20878 | 0.20878 | 0.20878 | 0.99593 | -0.076879 | 0.99396 | -0.11408 | 28.6779
37 | 0.12095 | 0.030682 | -0.12053 | -0.030416 | 0.00041646 | 0.0002661 | 0.1812 | 0.1812 | 0.1812 | 0.99393 | -0.11518 | 0.9902 | -0.18706 | 49.7797
38 | 0.10641 | 0.027283 | -0.10639 | -0.027268 | 2.4279e-05 | 1.5242e-05 | 0.15953 | 0.15953 | 0.15953 | 0.99393 | -0.11518 | 0.99369 | -0.11989 | 14.6088
39 | -0.22736 | -0.057965 | 0.22792 | 0.058324 | 0.00056349 | 0.00035912 | 0.34073 | 0.34073 | 0.34073 | 0.99393 | -0.11518 | 0.99662 | -0.063978 | 31.202
40 | 0.1012 | 0.025571 | -0.10089 | -0.025372 | 0.0003106 | 0.00019832 | 0.15215 | 0.15215 | 0.15215 | 0.9902 | -0.18706 | 0.98688 | -0.2513 | 41.7987
41 | 0.023102 | 0.0057988 | -0.023078 | -0.0057838 | 2.4582e-05 | 1.5015e-05 | 0.034496 | 0.034496 | 0.034496 | 0.99662 | -0.063978 | 0.99547 | -0.086312 | 9.477
42 | -0.25102 | -0.064123 | 0.2514 | 0.064364 | 0.00037745 | 0.00024073 | 0.37522 | 0.37522 | 0.37522 | 0.99662 | -0.063978 | 0.99826 | -0.032928 | 34.3609
43 | 0.0060745 | 0.0015224 | -0.0060736 | -0.0015222 | 9.1172e-07 | 1.9621e-07 | 0.0090566 | 0.0090568 | 0.0090568 | 0.99805 | -0.037375 | 0.99788 | -0.040526 | 2.4881
44 | -0.072144 | -0.018179 | 0.072273 | 0.018262 | 0.00012924 | 8.2324e-05 | 0.1076 | 0.1076 | 0.1076 | 0.99805 | -0.037375 | 1 | 0 | 29.5593
45 | 0.066069 | 0.016657 | -0.066017 | -0.016624 | 5.232e-05 | 3.3297e-05 | 0.098539 | 0.098539 | 0.098539 | 0.99805 | -0.037375 | 0.99718 | -0.053937 | 27.0713
46 | 0.03912 | 0.0098296 | -0.039074 | -0.0098005 | 4.6184e-05 | 2.9082e-05 | 0.05822 | 0.05822 | 0.05822 | 1 | 0 | 0.99871 | -0.024765 | 15.9946
47 | 0.28554 | 0.073097 | -0.28509 | -0.072807 | 0.00045455 | 0.00029012 | 0.42544 | 0.42544 | 0.42544 | 1 | 0 | 0.99826 | -0.032928 | 38.9595
48 | 0.039074 | 0.0098005 | -0.039054 | -0.0097878 | 2.0058e-05 | 1.2631e-05 | 0.05822 | 0.058221 | 0.058221 | 0.99871 | -0.024765 | 0.99815 | -0.03554 | 15.9947
49 | 0.005745 | 0.0014395 | -0.0057447 | -0.0014394 | 3.1586e-07 | 5.9383e-08 | 0.0086721 | 0.0086721 | 0.0086721 | 0.98575 | -0.27324 | 0.98569 | -0.27439 | 2.3825
50 | -0.071935 | -0.01808 | 0.072011 | 0.018128 | 7.544e-05 | 4.8064e-05 | 0.10861 | 0.10861 | 0.10861 | 0.98575 | -0.27324 | 0.98688 | -0.2513 | 29.837
51 | 0.050469 | 0.012696 | -0.050378 | -0.012638 | 9.1075e-05 | 5.7756e-05 | 0.076202 | 0.076202 | 0.076202 | 0.98575 | -0.27324 | 0.98381 | -0.31108 | 20.9346
52 | 0.0014839 | 0.00037165 | -0.0014839 | -0.00037168 | 4.4732e-09 | -2.7403e-08 | 0.0022407 | 0.0022407 | 0.0022407 | 0.98539 | -0.28024 | 0.98539 | -0.2803 | 0.61557
53 | 0.0018873 | 0.00047289 | -0.0018873 | -0.000473 | 3.0882e-08 | -1.0955e-07 | 0.0028491 | 0.0028491 | 0.0028491 | 0.98569 | -0.27439 | 0.98567 | -0.27474 | 0.78273
54 | 0.0038574 | 0.00096651 | -0.0038572 | -0.00096659 | 1.9871e-07 | -7.2006e-08 | 0.0058231 | 0.0058231 | 0.0058231 | 0.98569 | -0.27439 | 0.98564 | -0.27548 | 1.5998
55 | 0.028875 | 0.0072444 | -0.028855 | -0.0072316 | 2.0535e-05 | 1.2774e-05 | 0.043541 | 0.043541 | 0.043541 | 0.98688 | -0.2513 | 0.98611 | -0.26623 | 11.9618
56 | 0.030617 | 0.0076858 | -0.030598 | -0.0076738 | 1.9282e-05 | 1.2036e-05 | 0.046313 | 0.046314 | 0.046314 | 0.98381 | -0.31108 | 0.98313 | -0.3243 | 12.7235
57 | 0.0014839 | 0.00037168 | -0.0014838 | -0.00037188 | 3.2681e-08 | -2.0019e-07 | 0.0022407 | 0.0022407 | 0.0022407 | 0.98539 | -0.2803 | 0.98536 | -0.28076 | 0.61559
58 | 0.0038572 | 0.00096659 | -0.003857 | -0.00096665 | 1.8108e-07 | -6.5595e-08 | 0.0058231 | 0.0058232 | 0.0058232 | 0.98564 | -0.27548 | 0.98558 | -0.27646 | 1.5998
59 | 0.0075954 | 0.0019037 | -0.0075939 | -0.0019031 | 1.56e-06 | 6.0368e-07 | 0.011528 | 0.011528 | 0.011528 | 0.98045 | -0.37326 | 0.98023 | -0.37757 | 3.1669
60 | 0.11009 | 0.027888 | -0.10979 | -0.027702 | 0.00029162 | 0.00018629 | 0.16718 | 0.16718 | 0.16718 | 0.98045 | -0.37326 | 0.97762 | -0.42857 | 45.9295
61 | 0.01374 | 0.0034442 | -0.013738 | -0.0034431 | 2.0388e-06 | 1.1387e-06 | 0.02058 | 0.020581 | 0.020581 | 0.99345 | -0.12585 | 0.99329 | -0.12897 | 5.654
62 | 0.026285 | 0.0065928 | -0.026281 | -0.0065907 | 3.4844e-06 | 2.1556e-06 | 0.039785 | 0.039785 | 0.039785 | 0.98313 | -0.3243 | 0.98299 | -0.32708 | 10.93
63 | 0.0072974 | 0.0018289 | -0.0072974 | -0.0018289 | 4.1684e-09 | 1.4621e-09 | 0.010932 | 0.010932 | 0.010932 | 0.99329 | -0.12897 | 0.99329 | -0.12898 | 3.0033
64 | 0.0075939 | 0.0019031 | -0.0075933 | -0.0019029 | 6.2353e-07 | 2.4134e-07 | 0.011528 | 0.011528 | 0.011528 | 0.98023 | -0.37757 | 0.98015 | -0.37929 | 3.167
65 | 0.10645 | 0.026864 | -0.10617 | -0.026681 | 0.00028657 | 0.00018304 | 0.1621 | 0.1621 | 0.1621 | 0.97762 | -0.42857 | 0.97474 | -0.48494 | 44.5317
66 | 0.0056709 | 0.0014211 | -0.0056709 | -0.0014211 | 5.2658e-08 | 9.8238e-09 | 0.0086093 | 0.0086093 | 0.0086093 | 0.98015 | -0.37929 | 0.98014 | -0.37949 | 2.3652
67 | 0.0029769 | 0.00074574 | -0.0029767 | -0.00074602 | 2.9236e-07 | -2.8119e-07 | 0.0045497 | 0.0045499 | 0.0045499 | 0.9736 | -0.5075 | 0.9735 | -0.50956 | 1.25
68 | -0.0029769 | -0.00074574 | 0.0029771 | 0.00074557 | 1.7732e-07 | -1.7061e-07 | 0.0045497 | 0.0045496 | 0.0045497 | 0.9736 | -0.5075 | 0.97366 | -0.50624 | 1.2499
69 | -0.0072354 | -0.0018128 | 0.0072367 | 0.0018133 | 1.3116e-06 | 4.8354e-07 | 0.011057 | 0.011057 | 0.011057 | 0.97366 | -0.50624 | 0.97386 | -0.50244 | 3.0377
70 | 0.096042 | 0.024144 | -0.096003 | -0.024119 | 3.8916e-05 | 2.4846e-05 | 0.14664 | 0.14664 | 0.14664 | 0.97474 | -0.48494 | 0.97431 | -0.49343 | 40.286
71 | 0.0025564 | 0.00064054 | -0.0025563 | -0.00064067 | 8.4558e-08 | -1.3455e-07 | 0.003881 | 0.0038811 | 0.0038811 | 0.98014 | -0.37949 | 0.9801 | -0.38018 | 1.0662
72 | 0.061215 | 0.015396 | -0.061158 | -0.015359 | 5.7263e-05 | 3.6431e-05 | 0.09351 | 0.09351 | 0.09351 | 0.97431 | -0.49343 | 0.97332 | -0.51303 | 25.6894
73 | 0.021847 | 0.0054787 | -0.021841 | -0.0054751 | 5.9344e-06 | 3.6211e-06 | 0.033367 | 0.033367 | 0.033367 | 0.97431 | -0.49343 | 0.97402 | -0.49913 | 9.1668
74 | 0.012941 | 0.0032443 | -0.01294 | -0.0032436 | 1.2705e-06 | 7.0513e-07 | 0.019765 | 0.019765 | 0.019765 | 0.97431 | -0.49343 | 0.97421 | -0.49549 | 5.4298
75 | 0.051153 | 0.012852 | -0.051077 | -0.012804 | 7.5654e-05 | 4.8009e-05 | 0.078214 | 0.078214 | 0.078214 | 0.97332 | -0.51303 | 0.97175 | -0.54407 | 21.4875
76 | 0.011215 | 0.0028116 | -0.011213 | -0.0028101 | 2.817e-06 | 1.4845e-06 | 0.017134 | 0.017134 | 0.017134 | 0.97402 | -0.49913 | 0.97376 | -0.5044 | 4.7072
77 | 0.010626 | 0.0026634 | -0.010624 | -0.0026627 | 1.4199e-06 | 7.2992e-07 | 0.016233 | 0.016233 | 0.016233 | 0.97402 | -0.49913 | 0.97388 | -0.50194 | 4.4596
78 | 0.01294 | 0.0032436 | -0.012938 | -0.0032424 | 2.2115e-06 | 1.2274e-06 | 0.019765 | 0.019765 | 0.019765 | 0.97421 | -0.49549 | 0.97403 | -0.49908 | 5.4298
79 | 0.008898 | 0.0022299 | -0.0088966 | -0.0022293 | 1.4242e-06 | 6.557e-07 | 0.013593 | 0.013593 | 0.013593 | 0.97403 | -0.49908 | 0.97386 | -0.50244 | 3.7345
80 | 0.0062152 | 0.0015577 | -0.0062143 | -0.0015575 | 8.9448e-07 | 2.4341e-07 | 0.0094964 | 0.0094965 | 0.0094965 | 0.97388 | -0.50194 | 0.97373 | -0.50496 | 2.6089
81 | 0.019237 | 0.004824 | -0.019229 | -0.0048192 | 7.8992e-06 | 4.7549e-06 | 0.029458 | 0.029458 | 0.029458 | 0.97175 | -0.54407 | 0.97131 | -0.55269 | 8.0929
82 | -0.0014339 | -0.00035937 | 0.0014339 | 0.00035937 | 2.297e-11 | -1.4905e-10 | 0.0021722 | 0.0021722 | 0.0021722 | 0.98227 | -0.34107 | 0.98227 | -0.34107 | 0.59675
83 | -0.0028711 | -0.00071958 | 0.0028712 | 0.00071952 | 5.3034e-08 | -6.0693e-08 | 0.0043494 | 0.0043494 | 0.0043494 | 0.98227 | -0.34107 | 0.98229 | -0.34069 | 1.1949
84 | -0.021639 | -0.0054248 | 0.021646 | 0.0054288 | 6.6187e-06 | 4.0277e-06 | 0.032768 | 0.032768 | 0.032768 | 0.98266 | -0.3335 | 0.98299 | -0.32708 | 9.0022
85 | 0.021639 | 0.0054248 | -0.021634 | -0.0054217 | 5.1402e-06 | 3.1281e-06 | 0.032768 | 0.032768 | 0.032768 | 0.98266 | -0.3335 | 0.98241 | -0.33848 | 9.0022
86 | 0.017185 | 0.0043067 | -0.017185 | -0.0043064 | 4.6142e-07 | 2.7231e-07 | 0.02603 | 0.02603 | 0.02603 | 0.98241 | -0.33848 | 0.98238 | -0.33905 | 7.151
87 | -0.0059102 | -0.0014808 | 0.0059107 | 0.0014809 | 4.6185e-07 | 1.0106e-07 | 0.0089528 | 0.0089528 | 0.0089528 | 0.98229 | -0.34069 | 0.98238 | -0.33905 | 2.4596
88 | 0.003039 | 0.00076127 | -0.0030389 | -0.00076136 | 9.4375e-08 | -8.9924e-08 | 0.0046035 | 0.0046035 | 0.0046035 | 0.98229 | -0.34069 | 0.98226 | -0.34134 | 1.2647
89 | 0.0014891 | 0.00037296 | -0.0014891 | -0.0003732 | 4.1551e-08 | -2.4901e-07 | 0.0022558 | 0.0022559 | 0.0022559 | 0.98226 | -0.34134 | 0.98223 | -0.34192 | 0.61975

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59291 | 0.15114

## res_load
| p_mw | q_mvar
0 | 0.061294 | 0.015362
1 | 0.00046024 | 0.00011535
2 | 0.0019576 | 0.00049062
3 | 0.023079 | 0.0057841
4 | 0.01025 | 0.0025688
5 | 0.0049795 | 0.001248
6 | 0.0067268 | 0.0016859
7 | 0.0053964 | 0.0013525
8 | 0.0049846 | 0.0012493
9 | 0.0060787 | 0.0015235
10 | 0.012202 | 0.0030582
11 | 0.0068038 | 0.0017052
12 | 0.013183 | 0.0033039
13 | 0.0060632 | 0.0015196
14 | 0.0053035 | 0.0013292
15 | 0.0051308 | 0.0012859
16 | 0.03456 | 0.0086617
17 | 0.019625 | 0.0049186
18 | 0.019332 | 0.0048451
19 | 0.0060736 | 0.0015222
20 | 0.0059985 | 0.0015034
21 | 0.033689 | 0.0084433
22 | 0.039054 | 0.0097878
23 | 0.0077773 | 0.0019492
24 | 0.0020193 | 0.00050608
25 | 0.019761 | 0.0049526
26 | 0.028855 | 0.0072316
27 | 0.0014838 | 0.00037188
28 | 0.003857 | 0.00096665
29 | 0.0014083 | 0.00035296
30 | 0.023078 | 0.0057838
31 | 0.0018873 | 0.000473
32 | 0.0043132 | 0.001081
33 | 0.0064407 | 0.0016142
34 | 0.0072974 | 0.0018289
35 | 0.0033427 | 0.00083775
36 | 0.0019223 | 0.00048179
37 | 0.0029767 | 0.00074602
38 | 0.0042582 | 0.0010672
39 | 0.010124 | 0.0025372
40 | 0.0031145 | 0.00078056
41 | 0.0025563 | 0.00064067
42 | 0.010005 | 0.0025074
43 | 0.0040396 | 0.0010124
44 | 0.011213 | 0.0028101
45 | 0.004409 | 0.001105
46 | 0.03184 | 0.0079799
47 | 0.0016599 | 0.00041601
48 | 0.0062143 | 0.0015575
49 | 0.0014339 | 0.00035937
50 | 0.0014372 | 0.00036021
51 | 0.019229 | 0.0048192
52 | 0.0046358 | 0.0011618
53 | 0.0044488 | 0.001115
54 | 0.011274 | 0.0028255
55 | 0.0015498 | 0.00038841
56 | 0.0014891 | 0.0003732

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1