## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-374_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-374_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_261-374_0_6_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_261-374_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-374_0_6_node_30 | 0.4 | n |  | TRUE
5 | bus_LV_261-374_0_6_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_261-374_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_261-374_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_261-374_0_6_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_261-374_0_6_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_261-374_0_6_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_261-374_0_6_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_261-374_0_6_node_62 | 0.4 | n |  | TRUE
13 | bus_LV_261-374_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_261-374_0_6_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_261-374_0_6_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_261-374_0_6_node_45 | 0.4 | n |  | TRUE
17 | bus_LV_261-374_0_6_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_261-374_0_6_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_261-374_0_6_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_261-374_0_6_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_261-374_0_6_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_261-374_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_261-374_0_6_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_261-374_0_6_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_261-374_0_6_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_261-374_0_6_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_261-374_0_6_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_261-374_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_261-374_0_6_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_261-374_0_6_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_261-374_0_6_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_261-374_0_6_node_65 | 0.4 | n |  | TRUE
33 | bus_LV_261-374_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_261-374_0_6_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_261-374_0_6_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_261-374_0_6_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_261-374_0_6_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_261-374_0_6_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_261-374_0_6_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_261-374_0_6_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_261-374_0_6_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_261-374_0_6_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_261-374_0_6_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_261-374_0_6_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_261-374_0_6_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_261-374_0_6_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_261-374_0_6_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_261-374_0_6_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_261-374_0_6_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_261-374_0_6_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_261-374_0_6_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_261-374_0_6_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_261-374_0_6_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_261-374_0_6_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_261-374_0_6_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_261-374_0_6_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_261-374_0_6_node_48 | 0.4 | n |  | TRUE
58 | bus_MV_536_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-374_0_6_load_0 | 0 | 0.08817 | 0.022098 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-374_0_6_load_30 | 4 | 0.0093003 | 0.0023309 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-374_0_6_load_28 | 5 | 0.011778 | 0.0029519 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-374_0_6_load_40 | 8 | 0.0084867 | 0.002127 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-374_0_6_load_37 | 10 | 0.0087229 | 0.0021862 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-374_0_6_load_62 | 12 | 0.045058 | 0.011293 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-374_0_6_load_44 | 15 | 0.0029944 | 0.00075048 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-374_0_6_load_45 | 16 | 0.0029205 | 0.00073195 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-374_0_6_load_56 | 17 | 0.0027026 | 0.00067734 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-374_0_6_load_58 | 18 | 0.0027205 | 0.00068183 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-374_0_6_load_54 | 20 | 0.011661 | 0.0029224 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-374_0_6_load_29 | 21 | 0.013022 | 0.0032635 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-374_0_6_load_27 | 25 | 0.0086707 | 0.0021731 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-374_0_6_load_31 | 26 | 0.0038545 | 0.00096602 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-374_0_6_load_32 | 27 | 0.0032476 | 0.00081392 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-374_0_6_load_24 | 29 | 0.0045793 | 0.0011477 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-374_0_6_load_25 | 30 | 0.05723 | 0.014343 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-374_0_6_load_23 | 31 | 0.0047944 | 0.0012016 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-374_0_6_load_65 | 32 | 0.057846 | 0.014497 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-374_0_6_load_53 | 35 | 0.01001 | 0.0025087 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-374_0_6_load_64 | 36 | 0.065182 | 0.016336 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-374_0_6_load_39 | 37 | 0.0090585 | 0.0022703 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-374_0_6_load_63 | 38 | 0.076129 | 0.01908 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-374_0_6_load_35 | 39 | 0.0086732 | 0.0021737 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-374_0_6_load_61 | 40 | 0.0092825 | 0.0023264 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-374_0_6_load_51 | 42 | 0.0029673 | 0.00074367 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-374_0_6_load_52 | 43 | 0.0030103 | 0.00075445 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-374_0_6_load_47 | 44 | 0.0029981 | 0.00075139 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-374_0_6_load_43 | 45 | 0.0030323 | 0.00075997 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-374_0_6_load_46 | 46 | 0.0041579 | 0.0010421 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-374_0_6_load_55 | 47 | 0.0027351 | 0.00068549 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-374_0_6_load_59 | 48 | 0.0028318 | 0.00070972 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-374_0_6_load_57 | 49 | 0.0039026 | 0.00097809 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-374_0_6_load_60 | 50 | 0.0026378 | 0.0006611 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-374_0_6_load_34 | 51 | 0.0029888 | 0.00074907 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-374_0_6_load_33 | 52 | 0.0029494 | 0.0007392 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-374_0_6_load_36 | 53 | 0.0026321 | 0.00065968 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-374_0_6_load_38 | 54 | 0.0031433 | 0.00078778 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-374_0_6_load_41 | 55 | 0.0077804 | 0.0019499 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-374_0_6_load_42 | 56 | 0.0023754 | 0.00059533 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-374_0_6_load_48 | 57 | 0.0088547 | 0.0022192 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-374_0_6_line_0 |  | 0 | 1 | 0.016088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-374_0_6_line_1 |  | 1 | 2 | 0.006025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-374_0_6_line_2 |  | 2 | 11 | 0.022555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-374_0_6_line_3 |  | 2 | 12 | 0.011415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-374_0_6_line_4 |  | 3 | 4 | 0.022509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_261-374_0_6_line_5 |  | 3 | 5 | 0.0088923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_261-374_0_6_line_6 |  | 4 | 35 | 0.0071808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_261-374_0_6_line_7 |  | 5 | 21 | 0.020606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_261-374_0_6_line_8 |  | 6 | 7 | 0.0090624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-374_0_6_line_9 |  | 6 | 8 | 0.0039137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-374_0_6_line_10 |  | 7 | 9 | 0.00492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_261-374_0_6_line_11 |  | 7 | 10 | 0.0044302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_261-374_0_6_line_12 |  | 8 | 37 | 0.0078787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-374_0_6_line_13 |  | 9 | 26 | 0.022989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_261-374_0_6_line_14 |  | 10 | 39 | 0.0078837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_261-374_0_6_line_15 |  | 11 | 42 | 0.017728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_261-374_0_6_line_16 |  | 11 | 43 | 0.010252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-374_0_6_line_17 |  | 11 | 44 | 0.017702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-374_0_6_line_18 |  | 13 | 14 | 0.0086165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_261-374_0_6_line_19 |  | 13 | 15 | 0.0096392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_261-374_0_6_line_20 |  | 13 | 16 | 0.0094893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-374_0_6_line_21 |  | 14 | 17 | 0.0097492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-374_0_6_line_22 |  | 14 | 18 | 0.009671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_261-374_0_6_line_23 |  | 15 | 45 | 0.0076878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_261-374_0_6_line_24 |  | 16 | 46 | 0.0077849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-374_0_6_line_25 |  | 17 | 47 | 0.0075608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-374_0_6_line_26 |  | 18 | 48 | 0.0075296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_261-374_0_6_line_27 |  | 19 | 20 | 0.018224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_261-374_0_6_line_28 |  | 19 | 21 | 0.0092316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_261-374_0_6_line_29 |  | 20 | 50 | 0.023569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_261-374_0_6_line_30 |  | 22 | 23 | 0.016228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-374_0_6_line_31 |  | 22 | 24 | 0.057802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_261-374_0_6_line_32 |  | 22 | 25 | 0.005257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_261-374_0_6_line_33 |  | 23 | 32 | 0.038048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-374_0_6_line_34 |  | 24 | 27 | 0.013645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-374_0_6_line_35 |  | 24 | 26 | 0.011677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_261-374_0_6_line_36 |  | 25 | 29 | 0.0093802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_261-374_0_6_line_37 |  | 27 | 52 | 0.016222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-374_0_6_line_38 |  | 28 | 29 | 0.015386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-374_0_6_line_39 |  | 28 | 30 | 0.029439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-374_0_6_line_40 |  | 28 | 31 | 0.0067933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-374_0_6_line_41 |  | 30 | 38 | 0.029407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-374_0_6_line_42 |  | 32 | 33 | 0.067409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-374_0_6_line_43 |  | 33 | 34 | 0.065364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-374_0_6_line_44 |  | 34 | 36 | 0.018899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-374_0_6_line_45 |  | 35 | 42 | 0.017497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_261-374_0_6_line_46 |  | 39 | 53 | 0.017905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_261-374_0_6_line_47 |  | 40 | 41 | 0.0042789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-374_0_6_line_48 |  | 41 | 57 | 0.0036307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-374_0_6_line_49 |  | 43 | 49 | 0.0016402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-374_0_6_line_50 |  | 44 | 57 | 0.015983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-374_0_6_line_51 |  | 45 | 54 | 0.014626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_261-374_0_6_line_52 |  | 47 | 56 | 0.01521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-374_0_6_line_53 |  | 48 | 50 | 0.017074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_261-374_0_6_line_54 |  | 51 | 52 | 0.0078243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-374_0_6_line_55 |  | 53 | 54 | 0.0079097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_261-374_0_6_line_56 |  | 55 | 56 | 0.0071468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-374_0_6_trafo_31 | 0.63 MVA 20/0.4 kV | 58 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2682486.1326 | 1248595.3458 | 2682475.0345 | 1248606.9931
1 | 2682486.1326 | 1248595.3458 | 2682490.2942 | 1248590.9782
2 | 2682506.8305 | 1248606.3641 | 2682502.3583 | 1248602.1209 | 2682491.6864 | 1248592.4209 | 2682490.2942 | 1248590.9782
3 | 2682490.2942 | 1248590.9782 | 2682498.2362 | 1248582.7786
4 | 2682462.5938 | 1248653.8726 | 2682470.5511 | 1248645.377 | 2682475.1356 | 1248640.4594 | 2682477.958 | 1248637.4233
5 | 2682462.5938 | 1248653.8726 | 2682466.9734 | 1248661.6117
6 | 2682482.8471 | 1248632.1639 | 2682477.958 | 1248637.4233
7 | 2682477.1221 | 1248679.5451 | 2682466.9734 | 1248661.6117
8 | 2682581.4235 | 1248581.3507 | 2682584.6109 | 1248584.0304 | 2682588.3581 | 1248587.1849
9 | 2682581.4235 | 1248581.3507 | 2682578.7422 | 1248584.2016
10 | 2682588.3581 | 1248587.1849 | 2682589.7178 | 1248585.536 | 2682590.6086 | 1248585.5595 | 2682592.0643 | 1248586.7807
11 | 2682588.3581 | 1248587.1849 | 2682585.3094 | 1248590.3994
12 | 2682573.3446 | 1248589.9409 | 2682578.7422 | 1248584.2016
13 | 2682592.0643 | 1248586.7807 | 2682608.7781 | 1248602.5643
14 | 2682585.3094 | 1248590.3994 | 2682579.8843 | 1248596.1195
15 | 2682506.8305 | 1248606.3641 | 2682494.76 | 1248619.3487
16 | 2682506.8305 | 1248606.3641 | 2682514.259 | 1248613.4289
17 | 2682506.8305 | 1248606.3641 | 2682518.9334 | 1248593.4456
18 | 2682533.7668 | 1248631.9801 | 2682536.3457 | 1248634.4289 | 2682540.0128 | 1248637.9158
19 | 2682540.0128 | 1248637.9158 | 2682543.1135 | 1248634.8901 | 2682546.7653 | 1248631.0397
20 | 2682540.0128 | 1248637.9158 | 2682536.7206 | 1248641.1279 | 2682533.3687 | 1248644.688
21 | 2682533.7668 | 1248631.9801 | 2682536.6868 | 1248628.9185 | 2682540.4674 | 1248624.8986
22 | 2682533.7668 | 1248631.9801 | 2682531.2529 | 1248634.6248 | 2682527.1152 | 1248639.0003
23 | 2682552.0557 | 1248625.4616 | 2682546.7653 | 1248631.0397
24 | 2682533.3687 | 1248644.688 | 2682528.032 | 1248650.3559
25 | 2682545.6473 | 1248619.3909 | 2682540.4674 | 1248624.8986
26 | 2682527.1152 | 1248639.0003 | 2682521.9417 | 1248644.4712
27 | 2682481.791 | 1248687.5089 | 2682486.7507 | 1248681.6847 | 2682494.0161 | 1248674.0017
28 | 2682481.791 | 1248687.5089 | 2682477.1878 | 1248679.6613 | 2682477.1221 | 1248679.5451
29 | 2682510.2102 | 1248656.8769 | 2682494.0161 | 1248674.0017
30 | 2682658.7514 | 1248627.7735 | 2682662.8203 | 1248631.6776 | 2682664.0499 | 1248632.8623 | 2682664.9516 | 1248633.731 | 2682670.4588 | 1248639.0117
31 | 2682615.4874 | 1248611.4029 | 2682618.829 | 1248614.3961 | 2682620.1422 | 1248614.4589 | 2682622.6274 | 1248616.584 | 2682644.76 | 1248637.8748 | 2682648.4831 | 1248634.0906 | 2682651.6241 | 1248630.8876 | 2682653.6309 | 1248631.0379 | 2682655.48 | 1248630.5744 | 2682658.7514 | 1248627.7735
32 | 2682658.7514 | 1248627.7735 | 2682661.1877 | 1248623.1152
33 | 2682670.4588 | 1248639.0117 | 2682696.3568 | 1248611.1382
34 | 2682615.4874 | 1248611.4029 | 2682606.1681 | 1248621.3691
35 | 2682615.4874 | 1248611.4029 | 2682613.4441 | 1248609.5398 | 2682613.5658 | 1248607.8513 | 2682612.9428 | 1248606.4972 | 2682608.7781 | 1248602.5643
36 | 2682667.6679 | 1248616.3337 | 2682667.4259 | 1248616.6084 | 2682661.1877 | 1248623.1152
37 | 2682606.1681 | 1248621.3691 | 2682595.0885 | 1248633.2178
38 | 2682677.8389 | 1248604.7893 | 2682667.6679 | 1248616.3337
39 | 2682677.8389 | 1248604.7893 | 2682697.1355 | 1248584.6992 | 2682698.2194 | 1248583.5457
40 | 2682677.8389 | 1248604.7893 | 2682672.9224 | 1248600.1013
41 | 2682718.3574 | 1248562.1162 | 2682698.2194 | 1248583.5457
42 | 2682742.128 | 1248561.6543 | 2682727.2775 | 1248578.0925 | 2682704.2176 | 1248602.6779 | 2682696.3568 | 1248611.1382
43 | 2682742.128 | 1248561.6543 | 2682743.7167 | 1248563.0775 | 2682765.9091 | 1248583.8581 | 2682787.7438 | 1248603.7443 | 2682790.5209 | 1248605.5177
44 | 2682790.5209 | 1248605.5177 | 2682776.8048 | 1248618.5191
45 | 2682494.76 | 1248619.3487 | 2682482.8471 | 1248632.1639
46 | 2682567.5633 | 1248609.1106 | 2682579.8843 | 1248596.1195
47 | 2682532.3431 | 1248579.1324 | 2682535.2686 | 1248576.0098
48 | 2682532.3431 | 1248579.1324 | 2682529.8608 | 1248581.7819
49 | 2682515.4475 | 1248614.5593 | 2682514.259 | 1248613.4289
50 | 2682518.9334 | 1248593.4456 | 2682529.8608 | 1248581.7819
51 | 2682562.1203 | 1248614.8496 | 2682552.0557 | 1248625.4616
52 | 2682556.0674 | 1248608.3114 | 2682545.6473 | 1248619.3909
53 | 2682521.9417 | 1248644.4712 | 2682510.2102 | 1248656.8769
54 | 2682595.0885 | 1248633.2178 | 2682589.7445 | 1248638.9328
55 | 2682567.5633 | 1248609.1106 | 2682562.1203 | 1248614.8496
56 | 2682560.9636 | 1248603.1054 | 2682556.0674 | 1248608.3114

## bus_geodata
| x | y | coords
0 | 2682475.0345 | 1248606.9931
1 | 2682486.1326 | 1248595.3458
2 | 2682490.2942 | 1248590.9782
3 | 2682462.5938 | 1248653.8726
4 | 2682477.958 | 1248637.4233
5 | 2682466.9734 | 1248661.6117
6 | 2682581.4235 | 1248581.3507
7 | 2682588.3581 | 1248587.1849
8 | 2682578.7422 | 1248584.2016
9 | 2682592.0643 | 1248586.7807
10 | 2682585.3094 | 1248590.3994
11 | 2682506.8305 | 1248606.3641
12 | 2682498.2362 | 1248582.7786
13 | 2682540.0128 | 1248637.9158
14 | 2682533.7668 | 1248631.9801
15 | 2682546.7653 | 1248631.0397
16 | 2682533.3687 | 1248644.688
17 | 2682540.4674 | 1248624.8986
18 | 2682527.1152 | 1248639.0003
19 | 2682481.791 | 1248687.5089
20 | 2682494.0161 | 1248674.0017
21 | 2682477.1221 | 1248679.5451
22 | 2682658.7514 | 1248627.7735
23 | 2682670.4588 | 1248639.0117
24 | 2682615.4874 | 1248611.4029
25 | 2682661.1877 | 1248623.1152
26 | 2682608.7781 | 1248602.5643
27 | 2682606.1681 | 1248621.3691
28 | 2682677.8389 | 1248604.7893
29 | 2682667.6679 | 1248616.3337
30 | 2682698.2194 | 1248583.5457
31 | 2682672.9224 | 1248600.1013
32 | 2682696.3568 | 1248611.1382
33 | 2682742.128 | 1248561.6543
34 | 2682790.5209 | 1248605.5177
35 | 2682482.8471 | 1248632.1639
36 | 2682776.8048 | 1248618.5191
37 | 2682573.3446 | 1248589.9409
38 | 2682718.3574 | 1248562.1162
39 | 2682579.8843 | 1248596.1195
40 | 2682535.2686 | 1248576.0098
41 | 2682532.3431 | 1248579.1324
42 | 2682494.76 | 1248619.3487
43 | 2682514.259 | 1248613.4289
44 | 2682518.9334 | 1248593.4456
45 | 2682552.0557 | 1248625.4616
46 | 2682528.032 | 1248650.3559
47 | 2682545.6473 | 1248619.3909
48 | 2682521.9417 | 1248644.4712
49 | 2682515.4475 | 1248614.5593
50 | 2682510.2102 | 1248656.8769
51 | 2682589.7445 | 1248638.9328
52 | 2682595.0885 | 1248633.2178
53 | 2682567.5633 | 1248609.1106
54 | 2682562.1203 | 1248614.8496
55 | 2682560.9636 | 1248603.1054
56 | 2682556.0674 | 1248608.3115
57 | 2682529.8608 | 1248581.7819
58 | 2682615.4874 | 1248611.4029

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97516 | -0.47875 | 0.08817 | 0.022098
1 | 0.97647 | -0.45279 | 0 | 0
2 | 0.97697 | -0.44308 | 0 | 0
3 | 0.98365 | -0.31273 | 0 | 0
4 | 0.98237 | -0.33757 | 0.0093003 | 0.0023309
5 | 0.98415 | -0.30293 | 0.011778 | 0.0029519
6 | 0.9973 | -0.051172 | 0 | 0
7 | 0.99744 | -0.048386 | 0 | 0
8 | 0.99723 | -0.052376 | 0.0084867 | 0.002127
9 | 0.99789 | -0.039838 | 0 | 0
10 | 0.99706 | -0.055635 | 0.0087229 | 0.0021862
11 | 0.97976 | -0.38836 | 0 | 0
12 | 0.97649 | -0.45248 | 0.045058 | 0.011293
13 | 0.9918 | -0.15568 | 0 | 0
14 | 0.99115 | -0.1681 | 0 | 0
15 | 0.99255 | -0.14141 | 0.0029944 | 0.00075048
16 | 0.99174 | -0.15687 | 0.0029205 | 0.00073195
17 | 0.99101 | -0.17079 | 0.0027026 | 0.00067734
18 | 0.99047 | -0.18116 | 0.0027205 | 0.00068183
19 | 0.98599 | -0.26732 | 0 | 0
20 | 0.98717 | -0.24465 | 0.011661 | 0.0029224
21 | 0.9854 | -0.27882 | 0.013022 | 0.0032635
22 | 0.99411 | -0.11206 | 0 | 0
23 | 0.99227 | -0.14734 | 0 | 0
24 | 0.99898 | -0.019261 | 0 | 0
25 | 0.99387 | -0.11674 | 0.0086707 | 0.0021731
26 | 1 | 0 | -0.5915 | -0.15116
27 | 0.99887 | -0.021451 | 0.0032476 | 0.00081392
28 | 0.9913 | -0.16619 | 0 | 0
29 | 0.99325 | -0.12856 | 0.0045793 | 0.0011477
30 | 0.98769 | -0.23608 | 0.05723 | 0.014343
31 | 0.99127 | -0.16677 | 0.0047944 | 0.0012016
32 | 0.98795 | -0.23057 | 0.057846 | 0.014497
33 | 0.98388 | -0.30936 | 0 | 0
34 | 0.97993 | -0.38639 | 0 | 0
35 | 0.98198 | -0.34511 | 0.01001 | 0.0025087
36 | 0.97879 | -0.40877 | 0.065182 | 0.016336
37 | 0.99717 | -0.053626 | 0.0090585 | 0.0022703
38 | 0.98563 | -0.27616 | 0.076129 | 0.01908
39 | 0.9964 | -0.068147 | 0.0086732 | 0.0021737
40 | 0.97908 | -0.40176 | 0.0092825 | 0.0023264
41 | 0.97912 | -0.40104 | 0 | 0
42 | 0.98109 | -0.36244 | 0.0029673 | 0.00074367
43 | 0.9797 | -0.38965 | 0.0030103 | 0.00075445
44 | 0.97941 | -0.39516 | 0.0029981 | 0.00075139
45 | 0.99315 | -0.1299 | 0.0030323 | 0.00075997
46 | 0.99171 | -0.15744 | 0.0041579 | 0.0010421
47 | 0.99092 | -0.17252 | 0.0027351 | 0.00068549
48 | 0.98994 | -0.19122 | 0.0028318 | 0.00070972
49 | 0.97969 | -0.38977 | 0.0039026 | 0.00097809
50 | 0.98877 | -0.21378 | 0.0026378 | 0.0006611
51 | 0.99876 | -0.023543 | 0.0029888 | 0.00074907
52 | 0.99878 | -0.023134 | 0.0029494 | 0.0007392
53 | 0.99495 | -0.095713 | 0.0026321 | 0.00065968
54 | 0.99431 | -0.10779 | 0.0031433 | 0.00078778
55 | 0.99073 | -0.17625 | 0.0077804 | 0.0019499
56 | 0.99078 | -0.17527 | 0.0023754 | 0.00059533
57 | 0.97915 | -0.40043 | 0.0088547 | 0.0022192
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.08817 | -0.022098 | 0.088279 | 0.022167 | 0.00010921 | 6.9691e-05 | 0.13454 | 0.13454 | 0.13454 | 0.97516 | -0.47875 | 0.97647 | -0.45279 | 36.9619
1 | -0.088279 | -0.022167 | 0.08832 | 0.022193 | 4.0898e-05 | 2.6099e-05 | 0.13454 | 0.13454 | 0.13454 | 0.97647 | -0.45279 | 0.97697 | -0.44308 | 36.9618
2 | -0.1334 | -0.033499 | 0.13375 | 0.033722 | 0.00034925 | 0.00022323 | 0.2032 | 0.2032 | 0.2032 | 0.97697 | -0.44308 | 0.97976 | -0.38836 | 55.8248
3 | 0.045078 | 0.011305 | -0.045058 | -0.011293 | 2.0181e-05 | 1.2773e-05 | 0.068661 | 0.068661 | 0.068661 | 0.97697 | -0.44308 | 0.97649 | -0.45248 | 18.863
4 | 0.18471 | 0.046737 | -0.18449 | -0.046597 | 0.00021992 | 0.00013989 | 0.27958 | 0.27958 | 0.27958 | 0.98365 | -0.31273 | 0.98237 | -0.33757 | 25.6022
5 | -0.18471 | -0.046737 | 0.18479 | 0.046792 | 8.6881e-05 | 5.5265e-05 | 0.27958 | 0.27958 | 0.27958 | 0.98365 | -0.31273 | 0.98415 | -0.30293 | 25.6022
6 | 0.17519 | 0.044266 | -0.17512 | -0.044226 | 6.3267e-05 | 4.0218e-05 | 0.26549 | 0.26549 | 0.26549 | 0.98237 | -0.33757 | 0.98198 | -0.34511 | 24.3122
7 | -0.19657 | -0.049744 | 0.1968 | 0.049889 | 0.00022779 | 0.000145 | 0.29738 | 0.29738 | 0.29738 | 0.98415 | -0.30293 | 0.9854 | -0.27882 | 27.233
8 | -0.017547 | -0.0043981 | 0.017549 | 0.0043994 | 2.3294e-06 | 1.3725e-06 | 0.026181 | 0.026181 | 0.026181 | 0.9973 | -0.051172 | 0.99744 | -0.048386 | 7.1925
9 | 0.017547 | 0.0043981 | -0.017546 | -0.0043975 | 1.006e-06 | 5.9275e-07 | 0.026181 | 0.026181 | 0.026181 | 0.9973 | -0.051172 | 0.99723 | -0.052376 | 7.1925
10 | -0.30179 | -0.077249 | 0.30192 | 0.077329 | 0.00012498 | 7.9794e-05 | 0.4508 | 0.4508 | 0.4508 | 0.99744 | -0.048386 | 0.99789 | -0.039838 | 41.2818
11 | 0.28424 | 0.072849 | -0.28414 | -0.072786 | 9.9846e-05 | 6.3728e-05 | 0.42462 | 0.42462 | 0.42462 | 0.99744 | -0.048386 | 0.99706 | -0.055635 | 38.8843
12 | 0.009059 | 0.0022705 | -0.0090585 | -0.0022703 | 5.3985e-07 | 2.4272e-07 | 0.013517 | 0.013517 | 0.013517 | 0.99723 | -0.052376 | 0.99717 | -0.053626 | 3.7136
13 | -0.30192 | -0.077329 | 0.3025 | 0.077701 | 0.00058396 | 0.00037283 | 0.4508 | 0.4508 | 0.4508 | 0.99789 | -0.039838 | 1 | 0 | 41.2818
14 | 0.27542 | 0.0706 | -0.27525 | -0.070493 | 0.00016695 | 0.00010654 | 0.4116 | 0.4116 | 0.4116 | 0.99706 | -0.055635 | 0.9964 | -0.068147 | 37.6922
15 | -0.16181 | -0.040759 | 0.16201 | 0.040887 | 0.00020087 | 0.00012811 | 0.24582 | 0.24582 | 0.24582 | 0.97976 | -0.38836 | 0.98109 | -0.36244 | 33.7666
16 | 0.0069134 | 0.0017327 | -0.0069129 | -0.0017325 | 4.2382e-07 | 1.4215e-07 | 0.0105 | 0.0105 | 0.0105 | 0.97976 | -0.38836 | 0.9797 | -0.38965 | 2.8845
17 | 0.021147 | 0.0053041 | -0.02114 | -0.0053 | 6.8483e-06 | 4.16e-06 | 0.032119 | 0.032119 | 0.032119 | 0.97976 | -0.38836 | 0.97941 | -0.39516 | 8.8239
18 | 0.24659 | 0.062882 | -0.24645 | -0.062788 | 0.00014773 | 9.4216e-05 | 0.37035 | 0.37035 | 0.37035 | 0.9918 | -0.15568 | 0.99115 | -0.1681 | 33.9152
19 | -0.25367 | -0.064656 | 0.25385 | 0.064768 | 0.00017488 | 0.00011155 | 0.38097 | 0.38097 | 0.38097 | 0.9918 | -0.15568 | 0.99255 | -0.14141 | 34.8878
20 | 0.0070789 | 0.0017741 | -0.0070785 | -0.001774 | 4.0139e-07 | 1.3444e-07 | 0.010621 | 0.010621 | 0.010621 | 0.9918 | -0.15568 | 0.99174 | -0.15687 | 2.9178
21 | 0.015598 | 0.0039106 | -0.015596 | -0.0039095 | 2.005e-06 | 1.1575e-06 | 0.023418 | 0.023418 | 0.023418 | 0.99115 | -0.1681 | 0.99101 | -0.17079 | 6.4336
22 | 0.23085 | 0.058877 | -0.2307 | -0.058784 | 0.00014551 | 9.275e-05 | 0.34694 | 0.34694 | 0.34694 | 0.99115 | -0.1681 | 0.99047 | -0.18116 | 31.7707
23 | -0.25684 | -0.065518 | 0.25698 | 0.065609 | 0.00014278 | 9.1083e-05 | 0.38546 | 0.38546 | 0.38546 | 0.99255 | -0.14141 | 0.99315 | -0.1299 | 35.2988
24 | 0.004158 | 0.001042 | -0.0041579 | -0.0010421 | 1.1363e-07 | -2.7729e-08 | 0.0062387 | 0.0062387 | 0.0062387 | 0.99174 | -0.15687 | 0.99171 | -0.15744 | 1.7139
25 | 0.012894 | 0.0032321 | -0.012893 | -0.0032316 | 1.0627e-06 | 5.8273e-07 | 0.01936 | 0.01936 | 0.01936 | 0.99101 | -0.17079 | 0.99092 | -0.17252 | 5.3187
26 | 0.22798 | 0.058103 | -0.22787 | -0.058032 | 0.00011063 | 7.0515e-05 | 0.34285 | 0.34285 | 0.34285 | 0.99047 | -0.18116 | 0.98994 | -0.19122 | 31.3964
27 | -0.20994 | -0.053227 | 0.21017 | 0.053373 | 0.00022898 | 0.00014585 | 0.31705 | 0.31705 | 0.31705 | 0.98599 | -0.26732 | 0.98717 | -0.24465 | 29.0336
28 | 0.20994 | 0.053227 | -0.20982 | -0.053153 | 0.00011599 | 7.3883e-05 | 0.31705 | 0.31705 | 0.31705 | 0.98599 | -0.26732 | 0.9854 | -0.27882 | 29.0336
29 | -0.22183 | -0.056295 | 0.22216 | 0.056505 | 0.00032989 | 0.00021022 | 0.33462 | 0.33462 | 0.33462 | 0.98717 | -0.24465 | 0.98877 | -0.21378 | 30.6432
30 | 0.12429 | 0.03164 | -0.12408 | -0.031505 | 0.00021103 | 0.00013485 | 0.18622 | 0.18622 | 0.18622 | 0.99411 | -0.11206 | 0.99227 | -0.14734 | 51.1587
31 | -0.27665 | -0.070198 | 0.2779 | 0.070989 | 0.0012408 | 0.00079187 | 0.41441 | 0.41441 | 0.41441 | 0.99411 | -0.11206 | 0.99898 | -0.019261 | 37.9497
32 | 0.15236 | 0.038558 | -0.15233 | -0.038536 | 3.4218e-05 | 2.1695e-05 | 0.22819 | 0.22819 | 0.22819 | 0.99411 | -0.11206 | 0.99387 | -0.11674 | 20.8968
33 | 0.12408 | 0.031505 | -0.12359 | -0.031189 | 0.00049477 | 0.00031616 | 0.18622 | 0.18622 | 0.18622 | 0.99227 | -0.14734 | 0.98795 | -0.23057 | 51.1587
34 | 0.0091873 | 0.0023026 | -0.0091863 | -0.0023022 | 9.5822e-07 | 4.3464e-07 | 0.013685 | 0.013685 | 0.013685 | 0.99898 | -0.019261 | 0.99887 | -0.021451 | 3.7596
35 | -0.28708 | -0.073292 | 0.28735 | 0.073463 | 0.00026749 | 0.00017074 | 0.42809 | 0.42809 | 0.42809 | 0.99898 | -0.019261 | 1 | 0 | 39.2028
36 | 0.14366 | 0.036363 | -0.14358 | -0.036311 | 8.146e-05 | 5.1891e-05 | 0.21521 | 0.21521 | 0.21521 | 0.99387 | -0.11674 | 0.99325 | -0.12856 | 29.562
37 | 0.0059388 | 0.0014883 | -0.0059383 | -0.0014882 | 4.7613e-07 | 9.2401e-08 | 0.0088469 | 0.008847 | 0.008847 | 0.99887 | -0.021451 | 0.99878 | -0.023134 | 2.4305
38 | -0.13875 | -0.035003 | 0.139 | 0.035163 | 0.00025046 | 0.0001601 | 0.20835 | 0.20835 | 0.20835 | 0.9913 | -0.16619 | 0.99325 | -0.12856 | 57.2393
39 | 0.13395 | 0.033801 | -0.13351 | -0.033516 | 0.0004467 | 0.00028551 | 0.20115 | 0.20115 | 0.20115 | 0.9913 | -0.16619 | 0.98769 | -0.23608 | 55.2621
40 | 0.0047945 | 0.0012016 | -0.0047944 | -0.0012016 | 1.3195e-07 | -3.1281e-09 | 0.007197 | 0.007197 | 0.007197 | 0.9913 | -0.16619 | 0.99127 | -0.16677 | 1.9772
41 | 0.076275 | 0.019173 | -0.076129 | -0.01908 | 0.00014567 | 9.2853e-05 | 0.11493 | 0.11493 | 0.11493 | 0.98769 | -0.23608 | 0.98563 | -0.27616 | 31.575
42 | 0.06574 | 0.016692 | -0.065492 | -0.016534 | 0.00024822 | 0.000158 | 0.099093 | 0.099093 | 0.099093 | 0.98795 | -0.23057 | 0.98388 | -0.30936 | 27.2234
43 | 0.065492 | 0.016534 | -0.065251 | -0.01638 | 0.00024069 | 0.00015322 | 0.099093 | 0.099093 | 0.099093 | 0.98388 | -0.30936 | 0.97993 | -0.38639 | 27.2235
44 | 0.065251 | 0.01638 | -0.065182 | -0.016336 | 6.9592e-05 | 4.4301e-05 | 0.099093 | 0.099093 | 0.099093 | 0.97993 | -0.38639 | 0.97879 | -0.40877 | 27.2235
45 | 0.16511 | 0.041718 | -0.16498 | -0.041631 | 0.00013705 | 8.7046e-05 | 0.25032 | 0.25032 | 0.25032 | 0.98198 | -0.34511 | 0.98109 | -0.36244 | 22.9232
46 | 0.26658 | 0.068319 | -0.26622 | -0.068092 | 0.00035567 | 0.00022693 | 0.39865 | 0.39865 | 0.39865 | 0.9964 | -0.068147 | 0.99495 | -0.095713 | 36.5061
47 | -0.0092825 | -0.0023264 | 0.0092828 | 0.0023266 | 3.1935e-07 | 1.5057e-07 | 0.014108 | 0.014108 | 0.014108 | 0.97908 | -0.40176 | 0.97912 | -0.40104 | 3.8757
48 | -0.0092828 | -0.0023266 | 0.0092831 | 0.0023267 | 2.7098e-07 | 1.2776e-07 | 0.014108 | 0.014108 | 0.014108 | 0.97912 | -0.40104 | 0.97915 | -0.40043 | 3.8757
49 | 0.0039026 | 0.00097808 | -0.0039026 | -0.00097809 | 2.1611e-08 | -6.822e-09 | 0.0059275 | 0.0059275 | 0.0059275 | 0.9797 | -0.38965 | 0.97969 | -0.38977 | 1.6284
50 | 0.018142 | 0.0045486 | -0.018138 | -0.0045459 | 4.5538e-06 | 2.7133e-06 | 0.027564 | 0.027564 | 0.027564 | 0.97941 | -0.39516 | 0.97915 | -0.40043 | 7.5726
51 | -0.26002 | -0.066369 | 0.2603 | 0.066547 | 0.00027808 | 0.0001774 | 0.39001 | 0.39001 | 0.39001 | 0.99315 | -0.1299 | 0.99431 | -0.10779 | 35.7149
52 | 0.010157 | 0.0025461 | -0.010156 | -0.0025454 | 1.327e-06 | 6.5336e-07 | 0.015253 | 0.015253 | 0.015253 | 0.99092 | -0.17252 | 0.99078 | -0.17527 | 4.1904
53 | 0.22504 | 0.057322 | -0.22479 | -0.057166 | 0.00024468 | 0.00015594 | 0.33859 | 0.33859 | 0.33859 | 0.98994 | -0.19122 | 0.98877 | -0.21378 | 31.0067
54 | -0.0029888 | -0.00074907 | 0.0029889 | 0.000749 | 5.8178e-08 | -6.5163e-08 | 0.0044529 | 0.0044529 | 0.0044529 | 0.99876 | -0.023543 | 0.99878 | -0.023134 | 1.2233
55 | 0.26359 | 0.067433 | -0.26344 | -0.067334 | 0.00015404 | 9.8276e-05 | 0.39471 | 0.39471 | 0.39471 | 0.99495 | -0.095713 | 0.99431 | -0.10779 | 36.1456
56 | -0.0077804 | -0.0019499 | 0.0077807 | 0.0019501 | 3.6597e-07 | 1.4218e-07 | 0.011686 | 0.011686 | 0.011686 | 0.99073 | -0.17625 | 0.99078 | -0.17527 | 3.2103

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59536 | 0.15213

## res_load
| p_mw | q_mvar
0 | 0.08817 | 0.022098
1 | 0.0093003 | 0.0023309
2 | 0.011778 | 0.0029519
3 | 0.0084867 | 0.002127
4 | 0.0087229 | 0.0021862
5 | 0.045058 | 0.011293
6 | 0.0029944 | 0.00075048
7 | 0.0029205 | 0.00073195
8 | 0.0027026 | 0.00067734
9 | 0.0027205 | 0.00068183
10 | 0.011661 | 0.0029224
11 | 0.013022 | 0.0032635
12 | 0.0086707 | 0.0021731
13 | 0.0038545 | 0.00096602
14 | 0.0032476 | 0.00081392
15 | 0.0045793 | 0.0011477
16 | 0.05723 | 0.014343
17 | 0.0047944 | 0.0012016
18 | 0.057846 | 0.014497
19 | 0.01001 | 0.0025087
20 | 0.065182 | 0.016336
21 | 0.0090585 | 0.0022703
22 | 0.076129 | 0.01908
23 | 0.0086732 | 0.0021737
24 | 0.0092825 | 0.0023264
25 | 0.0029673 | 0.00074367
26 | 0.0030103 | 0.00075445
27 | 0.0029981 | 0.00075139
28 | 0.0030323 | 0.00075997
29 | 0.0041579 | 0.0010421
30 | 0.0027351 | 0.00068549
31 | 0.0028318 | 0.00070972
32 | 0.0039026 | 0.00097809
33 | 0.0026378 | 0.0006611
34 | 0.0029888 | 0.00074907
35 | 0.0029494 | 0.0007392
36 | 0.0026321 | 0.00065968
37 | 0.0031433 | 0.00078778
38 | 0.0077804 | 0.0019499
39 | 0.0023754 | 0.00059533
40 | 0.0088547 | 0.0022192

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1