## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-378_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-378_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-378_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-378_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-378_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-378_0_5_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_261-378_0_5_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_261-378_0_5_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_261-378_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_261-378_0_5_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_261-378_0_5_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_261-378_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_261-378_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_261-378_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_261-378_0_5_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_261-378_0_5_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_261-378_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_261-378_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_261-378_0_5_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_261-378_0_5_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_261-378_0_5_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_261-378_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_261-378_0_5_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_261-378_0_5_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_261-378_0_5_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_261-378_0_5_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_261-378_0_5_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_261-378_0_5_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_261-378_0_5_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_261-378_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_261-378_0_5_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_261-378_0_5_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_261-378_0_5_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_261-378_0_5_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_261-378_0_5_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_261-378_0_5_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_261-378_0_5_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_261-378_0_5_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_261-378_0_5_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_261-378_0_5_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_261-378_0_5_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_261-378_0_5_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_261-378_0_5_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_261-378_0_5_node_48 | 0.4 | n |  | TRUE
44 | bus_MV_532_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-378_0_5_load_0 | 0 | 0.013374 | 0.0033519 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-378_0_5_load_1 | 1 | 0.017158 | 0.0043001 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-378_0_5_load_40 | 6 | 0.017248 | 0.0043228 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-378_0_5_load_39 | 7 | 0.014837 | 0.0037186 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-378_0_5_load_41 | 10 | 0.016597 | 0.0041595 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-378_0_5_load_44 | 14 | 0.015815 | 0.0039635 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-378_0_5_load_25 | 15 | 0.026025 | 0.0065224 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-378_0_5_load_27 | 18 | 0.010362 | 0.0025969 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-378_0_5_load_28 | 20 | 0.0065068 | 0.0016308 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-378_0_5_load_29 | 22 | 0.016506 | 0.0041367 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-378_0_5_load_38 | 24 | 0.061851 | 0.015501 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-378_0_5_load_37 | 26 | 0.018963 | 0.0047525 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-378_0_5_load_34 | 28 | 0.02697 | 0.0067593 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-378_0_5_load_32 | 31 | 0.040555 | 0.010164 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-378_0_5_load_36 | 32 | 0.02104 | 0.0052731 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-378_0_5_load_31 | 33 | 0.041577 | 0.01042 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-378_0_5_load_47 | 34 | 0.0012651 | 0.00031707 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-378_0_5_load_43 | 36 | 0.061089 | 0.01531 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-378_0_5_load_30 | 37 | 0.01091 | 0.0027344 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-378_0_5_load_45 | 38 | 0.006462 | 0.0016195 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-378_0_5_load_35 | 40 | 0.012474 | 0.0031263 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-378_0_5_load_33 | 41 | 0.027408 | 0.0068691 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-378_0_5_load_42 | 42 | 0.016213 | 0.0040634 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-378_0_5_load_48 | 43 | 0.0069358 | 0.0017383 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-378_0_5_line_0 |  | 0 | 1 | 0.01368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-378_0_5_line_1 |  | 0 | 2 | 0.010518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-378_0_5_line_2 |  | 1 | 3 | 0.021463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-378_0_5_line_3 |  | 2 | 4 | 0.020866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-378_0_5_line_4 |  | 3 | 5 | 0.002063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-378_0_5_line_5 |  | 4 | 6 | 0.007675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-378_0_5_line_6 |  | 4 | 7 | 0.022161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-378_0_5_line_7 |  | 5 | 32 | 0.0097141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_261-378_0_5_line_8 |  | 5 | 29 | 0.0087849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_261-378_0_5_line_9 |  | 8 | 9 | 0.21937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-378_0_5_line_10 |  | 8 | 10 | 0.029548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-378_0_5_line_11 |  | 9 | 34 | 0.020025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-378_0_5_line_12 |  | 9 | 35 | 0.086099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-378_0_5_line_13 |  | 10 | 24 | 0.032682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-378_0_5_line_14 |  | 11 | 12 | 0.004616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-378_0_5_line_15 |  | 11 | 13 | 0.0080361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-378_0_5_line_16 |  | 11 | 14 | 0.0081271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-378_0_5_line_17 |  | 12 | 15 | 0.023817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-378_0_5_line_18 |  | 13 | 19 | 0.001939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-378_0_5_line_19 |  | 13 | 20 | 0.0054884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-378_0_5_line_20 |  | 16 | 17 | 0.0082285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-378_0_5_line_21 |  | 16 | 18 | 0.02365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-378_0_5_line_22 |  | 17 | 21 | 0.002036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-378_0_5_line_23 |  | 18 | 20 | 0.012254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-378_0_5_line_24 |  | 19 | 37 | 0.026886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-378_0_5_line_25 |  | 19 | 30 | 0.009248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-378_0_5_line_26 |  | 21 | 22 | 0.01032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-378_0_5_line_27 |  | 23 | 24 | 0.024744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-378_0_5_line_28 |  | 23 | 25 | 0.0087812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-378_0_5_line_29 |  | 23 | 26 | 0.031841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_261-378_0_5_line_30 |  | 25 | 33 | 0.023063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-378_0_5_line_31 |  | 25 | 27 | 0.009118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-378_0_5_line_32 |  | 26 | 40 | 0.011241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_261-378_0_5_line_33 |  | 27 | 28 | 0.02432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-378_0_5_line_34 |  | 28 | 41 | 0.038144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-378_0_5_line_35 |  | 29 | 30 | 0.003393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_261-378_0_5_line_36 |  | 29 | 31 | 0.0087927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-378_0_5_line_37 |  | 30 | 36 | 0.040155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-378_0_5_line_38 |  | 32 | 40 | 0.012306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_261-378_0_5_line_39 |  | 35 | 38 | 0.020421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-378_0_5_line_40 |  | 35 | 39 | 0.030332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-378_0_5_line_41 |  | 36 | 42 | 0.025964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-378_0_5_line_42 |  | 39 | 43 | 0.018341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-378_0_5_trafo_37 | 0.63 MVA 20/0.4 kV | 44 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2682687.4674 | 1246090.0411 | 2682690.5809 | 1246076.7199
1 | 2682685.0735 | 1246100.2835 | 2682687.4674 | 1246090.0411
2 | 2682694.7389 | 1246055.719 | 2682694.5466 | 1246059.7526 | 2682690.5809 | 1246076.7199
3 | 2682705.4197 | 1246105.1707 | 2682685.0735 | 1246100.2835
4 | 2682696.4651 | 1246054.9202 | 2682695.3459 | 1246054.9936 | 2682694.7389 | 1246055.719
5 | 2682712.9045 | 1246106.9653 | 2682705.4197 | 1246105.1707
6 | 2682705.4197 | 1246105.1707 | 2682710.6299 | 1246083.6307
7 | 2682696.4651 | 1246054.9202 | 2682705.7838 | 1246057.6634
8 | 2682698.7819 | 1246046.4463 | 2682697.4127 | 1246051.442 | 2682696.4651 | 1246054.9202
9 | 2682748.1252 | 1246159.6061 | 2682744.5538 | 1246188.1327 | 2682752.0895 | 1246188.9829 | 2682752.913 | 1246183.0345 | 2682840.3842 | 1246188.0813 | 2682848.8241 | 1246188.5662 | 2682850.3057 | 1246162.5678 | 2682855.5947 | 1246162.5417 | 2682858.292 | 1246162.5349 | 2682858.0508 | 1246170.0593 | 2682889.3136 | 1246171.7195 | 2682889.5439 | 1246173.0793 | 2682896.2661 | 1246173.2177
10 | 2682748.1252 | 1246159.6061 | 2682751.7917 | 1246130.2867
11 | 2682908.677 | 1246180.9413 | 2682900.7347 | 1246180.53 | 2682898.8304 | 1246180.559 | 2682898.9461 | 1246178.2255 | 2682899.0442 | 1246175.536 | 2682899.1071 | 1246173.2019 | 2682896.2661 | 1246173.2177
12 | 2682896.2661 | 1246173.2177 | 2682896.1092 | 1246180.6543 | 2682896.6636 | 1246185.3099 | 2682898.3847 | 1246194.0626 | 2682902.7 | 1246205.8538 | 2682908.8984 | 1246220.2065 | 2682919.7328 | 1246234.2237 | 2682932.7656 | 1246248.2495
13 | 2682751.7917 | 1246130.2867 | 2682755.8472 | 1246097.8574
14 | 2682684.9223 | 1246051.0009 | 2682685.5839 | 1246055.569
15 | 2682684.9223 | 1246051.0009 | 2682685.6989 | 1246047.865 | 2682686.852 | 1246043.1999
16 | 2682684.9223 | 1246051.0009 | 2682677.1362 | 1246048.6712
17 | 2682685.5839 | 1246055.569 | 2682680.0084 | 1246078.7244
18 | 2682688.6227 | 1246042.4573 | 2682687.8224 | 1246042.9577 | 2682686.852 | 1246043.1999
19 | 2682686.852 | 1246043.1999 | 2682681.6008 | 1246041.6037
20 | 2682645.0978 | 1246039.1039 | 2682646.1492 | 1246035.2268 | 2682647.2485 | 1246031.1614
21 | 2682647.2485 | 1246031.1614 | 2682669.8763 | 1246038.0397
22 | 2682645.0978 | 1246039.1039 | 2682644.4687 | 1246039.2508 | 2682643.9132 | 1246039.5322 | 2682643.3691 | 1246040.0805
23 | 2682681.6008 | 1246041.6037 | 2682669.8763 | 1246038.0397
24 | 2682688.6227 | 1246042.4573 | 2682689.1844 | 1246041.1865 | 2682693.4481 | 1246023.6775 | 2682695.2131 | 1246016.4134
25 | 2682688.6227 | 1246042.4573 | 2682691.3929 | 1246043.1854 | 2682695.4722 | 1246044.3097 | 2682697.3972 | 1246043.347
26 | 2682643.3691 | 1246040.0805 | 2682640.8572 | 1246050.0905
27 | 2682758.9176 | 1246073.3046 | 2682755.8472 | 1246097.8574
28 | 2682758.9176 | 1246073.3046 | 2682759.4193 | 1246069.2976 | 2682760.0064 | 1246064.5912
29 | 2682758.9176 | 1246073.3046 | 2682728.3724 | 1246064.3129
30 | 2682760.0064 | 1246064.5912 | 2682737.8942 | 1246058.0379
31 | 2682760.0064 | 1246064.5912 | 2682761.1375 | 1246055.5448
32 | 2682728.3724 | 1246064.3129 | 2682717.5892 | 1246061.1386
33 | 2682761.1375 | 1246055.5448 | 2682764.2545 | 1246031.425
34 | 2682764.2545 | 1246031.425 | 2682769.1431 | 1245993.5957
35 | 2682698.7819 | 1246046.4463 | 2682697.3972 | 1246043.347
36 | 2682698.7819 | 1246046.4463 | 2682707.2121 | 1246048.9448
37 | 2682697.3972 | 1246043.347 | 2682706.8875 | 1246004.3294
38 | 2682705.7838 | 1246057.6634 | 2682717.5892 | 1246061.1386
39 | 2682932.7656 | 1246248.2495 | 2682947.7978 | 1246234.3829
40 | 2682932.7656 | 1246248.2495 | 2682937.5738 | 1246254.4991 | 2682938.6932 | 1246252.7913 | 2682942.9458 | 1246249.0814 | 2682953.8659 | 1246239.149
41 | 2682711.8204 | 1245978.9916 | 2682709.6588 | 1245987.6216 | 2682709.8527 | 1245992.1387 | 2682706.8875 | 1246004.3294
42 | 2682953.8659 | 1246239.149 | 2682962.1403 | 1246248.7495 | 2682966.4757 | 1246245.063

## bus_geodata
| x | y | coords
0 | 2682687.4674 | 1246090.0411
1 | 2682690.5809 | 1246076.7199
2 | 2682685.0735 | 1246100.2835
3 | 2682694.7389 | 1246055.719
4 | 2682705.4197 | 1246105.1707
5 | 2682696.4651 | 1246054.9202
6 | 2682712.9045 | 1246106.9653
7 | 2682710.6299 | 1246083.6307
8 | 2682748.1252 | 1246159.6061
9 | 2682896.2661 | 1246173.2177
10 | 2682751.7917 | 1246130.2867
11 | 2682684.9223 | 1246051.0009
12 | 2682685.5839 | 1246055.569
13 | 2682686.852 | 1246043.1999
14 | 2682677.1362 | 1246048.6712
15 | 2682680.0084 | 1246078.7244
16 | 2682647.2485 | 1246031.1614
17 | 2682645.0978 | 1246039.1039
18 | 2682669.8763 | 1246038.0397
19 | 2682688.6227 | 1246042.4573
20 | 2682681.6008 | 1246041.6037
21 | 2682643.3691 | 1246040.0805
22 | 2682640.8572 | 1246050.0905
23 | 2682758.9176 | 1246073.3046
24 | 2682755.8472 | 1246097.8574
25 | 2682760.0064 | 1246064.5912
26 | 2682728.3724 | 1246064.3129
27 | 2682761.1375 | 1246055.5448
28 | 2682764.2545 | 1246031.425
29 | 2682698.7819 | 1246046.4463
30 | 2682697.3972 | 1246043.347
31 | 2682707.2121 | 1246048.9448
32 | 2682705.7838 | 1246057.6634
33 | 2682737.8942 | 1246058.0379
34 | 2682908.677 | 1246180.9413
35 | 2682932.7656 | 1246248.2495
36 | 2682706.8875 | 1246004.3294
37 | 2682695.2131 | 1246016.4134
38 | 2682947.7978 | 1246234.3829
39 | 2682953.8659 | 1246239.149
40 | 2682717.5892 | 1246061.1386
41 | 2682769.1431 | 1245993.5957
42 | 2682711.8204 | 1245978.9916
43 | 2682966.4757 | 1246245.063
44 | 2682758.9176 | 1246073.3046

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9952 | -0.092172 | 0.013374 | 0.0033519
1 | 0.99577 | -0.081234 | 0.017158 | 0.0043001
2 | 0.99489 | -0.098114 | 0 | 0
3 | 0.99699 | -0.057638 | 0 | 0
4 | 0.99428 | -0.10991 | 0 | 0
5 | 0.99711 | -0.055373 | 0 | 0
6 | 0.99416 | -0.11224 | 0.017248 | 0.0043228
7 | 0.99398 | -0.11571 | 0.014837 | 0.0037186
8 | 0.99382 | -0.11874 | 0 | 0
9 | 0.99088 | -0.17571 | 0 | 0
10 | 0.99422 | -0.11109 | 0.016597 | 0.0041595
11 | 0.99515 | -0.093194 | 0 | 0
12 | 0.99504 | -0.095309 | 0 | 0
13 | 0.99546 | -0.087279 | 0 | 0
14 | 0.99503 | -0.095457 | 0.015815 | 0.0039635
15 | 0.99447 | -0.10623 | 0.026025 | 0.0065224
16 | 0.99463 | -0.10317 | 0 | 0
17 | 0.99451 | -0.10556 | 0 | 0
18 | 0.99499 | -0.096296 | 0.010362 | 0.0025969
19 | 0.99559 | -0.084714 | 0 | 0
20 | 0.99529 | -0.090501 | 0.0065068 | 0.0016308
21 | 0.99448 | -0.10616 | 0 | 0
22 | 0.99432 | -0.10916 | 0.016506 | 0.0041367
23 | 0.99725 | -0.052613 | 0 | 0
24 | 0.99515 | -0.093082 | 0.061851 | 0.015501
25 | 0.99649 | -0.067392 | 0 | 0
26 | 1 | 0 | -0.49316 | -0.12408
27 | 0.99603 | -0.076099 | 0 | 0
28 | 0.99483 | -0.099362 | 0.02697 | 0.0067593
29 | 0.99657 | -0.065851 | 0 | 0
30 | 0.99631 | -0.070718 | 0 | 0
31 | 0.99624 | -0.072111 | 0.040555 | 0.010164
32 | 0.9979 | -0.040251 | 0.02104 | 0.0052731
33 | 0.99561 | -0.084238 | 0.041577 | 0.01042
34 | 0.99085 | -0.17616 | 0.0012651 | 0.00031707
35 | 0.98982 | -0.19621 | 0 | 0
36 | 0.99348 | -0.12538 | 0.061089 | 0.01531
37 | 0.99532 | -0.089873 | 0.01091 | 0.0027344
38 | 0.9897 | -0.19856 | 0.006462 | 0.0016195
39 | 0.98963 | -0.19996 | 0 | 0
40 | 0.99897 | -0.01962 | 0.012474 | 0.0031263
41 | 0.99388 | -0.11779 | 0.027408 | 0.0068691
42 | 0.9931 | -0.13281 | 0.016213 | 0.0040634
43 | 0.98951 | -0.20222 | 0.0069358 | 0.0017383
44 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.045493 | -0.011414 | 0.045517 | 0.011429 | 2.3739e-05 | 1.5015e-05 | 0.068025 | 0.068025 | 0.068025 | 0.9952 | -0.092172 | 0.99577 | -0.081234 | 18.6882
1 | 0.032119 | 0.0080619 | -0.03211 | -0.0080562 | 9.0985e-06 | 5.6864e-06 | 0.048028 | 0.048028 | 0.048028 | 0.9952 | -0.092172 | 0.99489 | -0.098114 | 13.1946
2 | -0.062674 | -0.015729 | 0.062745 | 0.015774 | 7.061e-05 | 4.4911e-05 | 0.093664 | 0.093664 | 0.093664 | 0.99577 | -0.081234 | 0.99699 | -0.057638 | 25.7319
3 | 0.03211 | 0.0080562 | -0.032092 | -0.0080449 | 1.8049e-05 | 1.1281e-05 | 0.048028 | 0.048028 | 0.048028 | 0.99489 | -0.098114 | 0.99428 | -0.10991 | 13.1946
4 | -0.062745 | -0.015774 | 0.062752 | 0.015778 | 6.787e-06 | 4.3168e-06 | 0.093664 | 0.093664 | 0.093664 | 0.99699 | -0.057638 | 0.99711 | -0.055373 | 25.7319
5 | 0.01725 | 0.004324 | -0.017248 | -0.0043228 | 1.9182e-06 | 1.1281e-06 | 0.025816 | 0.025816 | 0.025816 | 0.99428 | -0.10991 | 0.99416 | -0.11224 | 7.0924
6 | 0.014842 | 0.0037209 | -0.014837 | -0.0037186 | 4.1001e-06 | 2.3367e-06 | 0.022212 | 0.022212 | 0.022212 | 0.99428 | -0.10991 | 0.99398 | -0.11571 | 6.1022
7 | -0.26722 | -0.067206 | 0.26741 | 0.067329 | 0.00019317 | 0.00012325 | 0.39886 | 0.39886 | 0.39886 | 0.99711 | -0.055373 | 0.9979 | -0.040251 | 36.5252
8 | 0.20446 | 0.051428 | -0.20436 | -0.051363 | 0.00010228 | 6.5116e-05 | 0.30519 | 0.30519 | 0.30519 | 0.99711 | -0.055373 | 0.99657 | -0.065851 | 27.9479
9 | 0.014719 | 0.0037055 | -0.014679 | -0.0036828 | 3.9977e-05 | 2.2751e-05 | 0.022044 | 0.022045 | 0.022045 | 0.99382 | -0.11874 | 0.99088 | -0.17571 | 6.0563
10 | -0.014719 | -0.0037055 | 0.014724 | 0.0037086 | 5.3843e-06 | 3.0629e-06 | 0.022044 | 0.022044 | 0.022044 | 0.99382 | -0.11874 | 0.99422 | -0.11109 | 6.056
11 | 0.0012651 | 0.00031683 | -0.0012651 | -0.00031707 | 2.7105e-08 | -2.4059e-07 | 0.0018998 | 0.0018999 | 0.0018999 | 0.99088 | -0.17571 | 0.99085 | -0.17616 | 0.52195
12 | 0.013414 | 0.0033659 | -0.013401 | -0.0033587 | 1.3103e-05 | 7.2781e-06 | 0.020145 | 0.020145 | 0.020145 | 0.99088 | -0.17571 | 0.98982 | -0.19621 | 5.5344
13 | -0.031321 | -0.0078681 | 0.031348 | 0.0078849 | 2.6938e-05 | 1.6816e-05 | 0.046883 | 0.046883 | 0.046883 | 0.99422 | -0.11109 | 0.99515 | -0.093082 | 12.88
14 | 0.026041 | 0.0065324 | -0.026038 | -0.0065308 | 2.6248e-06 | 1.6199e-06 | 0.03894 | 0.03894 | 0.03894 | 0.99515 | -0.093194 | 0.99504 | -0.095309 | 10.6979
15 | -0.041857 | -0.010497 | 0.041869 | 0.010504 | 1.1806e-05 | 7.4512e-06 | 0.06259 | 0.06259 | 0.06259 | 0.99515 | -0.093194 | 0.99546 | -0.087279 | 17.1951
16 | 0.015816 | 0.0039645 | -0.015815 | -0.0039635 | 1.7046e-06 | 9.8539e-07 | 0.02365 | 0.02365 | 0.02365 | 0.99515 | -0.093194 | 0.99503 | -0.095457 | 6.4973
17 | 0.026038 | 0.0065308 | -0.026025 | -0.0065224 | 1.3543e-05 | 8.3584e-06 | 0.03894 | 0.03894 | 0.03894 | 0.99504 | -0.095309 | 0.99447 | -0.10623 | 10.6979
18 | -0.075266 | -0.018882 | 0.075275 | 0.018888 | 9.2051e-06 | 5.8661e-06 | 0.11252 | 0.11252 | 0.11252 | 0.99546 | -0.087279 | 0.99559 | -0.084714 | 30.9107
19 | 0.033397 | 0.0083781 | -0.033392 | -0.0083749 | 5.1299e-06 | 3.2118e-06 | 0.049925 | 0.049925 | 0.049925 | 0.99546 | -0.087279 | 0.99529 | -0.090501 | 13.7156
20 | 0.01651 | 0.0041394 | -0.016508 | -0.0041383 | 1.8827e-06 | 1.0981e-06 | 0.024701 | 0.024701 | 0.024701 | 0.99463 | -0.10317 | 0.99451 | -0.10556 | 6.7859
21 | -0.01651 | -0.0041394 | 0.016516 | 0.0041426 | 5.4111e-06 | 3.156e-06 | 0.024701 | 0.024701 | 0.024701 | 0.99463 | -0.10317 | 0.99499 | -0.096296 | 6.7859
22 | 0.016508 | 0.0041383 | -0.016508 | -0.0041381 | 4.6583e-07 | 2.7171e-07 | 0.024701 | 0.024701 | 0.024701 | 0.99451 | -0.10556 | 0.99448 | -0.10616 | 6.7859
23 | -0.026878 | -0.0067395 | 0.026885 | 0.0067441 | 7.4251e-06 | 4.5929e-06 | 0.040197 | 0.040197 | 0.040197 | 0.99499 | -0.096296 | 0.99529 | -0.090501 | 11.0431
24 | 0.010913 | 0.0027358 | -0.01091 | -0.0027344 | 2.6824e-06 | 1.3672e-06 | 0.016311 | 0.016311 | 0.016311 | 0.99559 | -0.084714 | 0.99532 | -0.089873 | 4.4811
25 | -0.086188 | -0.021624 | 0.086246 | 0.021661 | 5.7555e-05 | 3.6715e-05 | 0.12883 | 0.12883 | 0.12883 | 0.99559 | -0.084714 | 0.99631 | -0.070718 | 35.3918
26 | 0.016508 | 0.0041381 | -0.016506 | -0.0041367 | 2.3613e-06 | 1.3773e-06 | 0.024701 | 0.024701 | 0.024701 | 0.99448 | -0.10616 | 0.99432 | -0.10916 | 6.7859
27 | 0.093378 | 0.023501 | -0.093198 | -0.023386 | 0.00018022 | 0.00011502 | 0.13937 | 0.13937 | 0.13937 | 0.99725 | -0.052613 | 0.99515 | -0.093082 | 38.2873
28 | 0.096164 | 0.024181 | -0.096096 | -0.024137 | 6.7823e-05 | 4.3292e-05 | 0.14352 | 0.14352 | 0.14352 | 0.99725 | -0.052613 | 0.99649 | -0.067392 | 39.4272
29 | -0.18954 | -0.047682 | 0.19002 | 0.047987 | 0.00047775 | 0.00030492 | 0.28288 | 0.28288 | 0.28288 | 0.99725 | -0.052613 | 1 | 0 | 38.8572
30 | 0.041611 | 0.010441 | -0.041577 | -0.01042 | 3.3395e-05 | 2.1073e-05 | 0.06214 | 0.06214 | 0.06214 | 0.99649 | -0.067392 | 0.99561 | -0.084238 | 17.0715
31 | 0.054485 | 0.013696 | -0.054463 | -0.013682 | 2.2642e-05 | 1.4372e-05 | 0.081375 | 0.081375 | 0.081375 | 0.99649 | -0.067392 | 0.99603 | -0.076099 | 22.3558
32 | 0.30149 | 0.076091 | -0.30121 | -0.07591 | 0.00028303 | 0.00018069 | 0.44881 | 0.44881 | 0.44881 | 1 | 0 | 0.99897 | -0.01962 | 41.0997
33 | 0.054463 | 0.013682 | -0.054402 | -0.013643 | 6.0393e-05 | 3.8335e-05 | 0.081375 | 0.081375 | 0.081375 | 0.99603 | -0.076099 | 0.99483 | -0.099362 | 22.3558
34 | 0.027432 | 0.0068841 | -0.027408 | -0.0068691 | 2.4086e-05 | 1.492e-05 | 0.041035 | 0.041035 | 0.041035 | 0.99483 | -0.099362 | 0.99388 | -0.11779 | 11.2734
35 | 0.16379 | 0.041191 | -0.16376 | -0.041167 | 3.8068e-05 | 2.4275e-05 | 0.24462 | 0.24462 | 0.24462 | 0.99657 | -0.065851 | 0.99631 | -0.070718 | 33.6012
36 | 0.040568 | 0.010172 | -0.040555 | -0.010164 | 1.2099e-05 | 7.6285e-06 | 0.060575 | 0.060575 | 0.060575 | 0.99657 | -0.065851 | 0.99624 | -0.072111 | 16.6414
37 | 0.07751 | 0.019506 | -0.077308 | -0.019377 | 0.00020189 | 0.00012869 | 0.11579 | 0.11579 | 0.11579 | 0.99631 | -0.070718 | 0.99348 | -0.12538 | 31.8107
38 | -0.28845 | -0.072602 | 0.28873 | 0.072784 | 0.00028473 | 0.00018174 | 0.43023 | 0.43023 | 0.43023 | 0.9979 | -0.040251 | 0.99897 | -0.01962 | 39.3982
39 | 0.0064628 | 0.0016197 | -0.006462 | -0.0016195 | 7.2286e-07 | 2.0018e-07 | 0.0097156 | 0.0097157 | 0.0097157 | 0.98982 | -0.19621 | 0.9897 | -0.19856 | 2.6691
40 | 0.0069378 | 0.0017389 | -0.0069365 | -0.0017385 | 1.2373e-06 | 4.021e-07 | 0.01043 | 0.01043 | 0.01043 | 0.98982 | -0.19621 | 0.98963 | -0.19996 | 2.8654
41 | 0.016219 | 0.0040668 | -0.016213 | -0.0040634 | 5.7461e-06 | 3.3415e-06 | 0.024293 | 0.024293 | 0.024293 | 0.99348 | -0.12538 | 0.9931 | -0.13281 | 6.674
42 | 0.0069365 | 0.0017385 | -0.0069358 | -0.0017383 | 7.482e-07 | 2.4322e-07 | 0.01043 | 0.01043 | 0.01043 | 0.98963 | -0.19996 | 0.98951 | -0.20222 | 2.8654

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51212 | 0.12883

## res_load
| p_mw | q_mvar
0 | 0.013374 | 0.0033519
1 | 0.017158 | 0.0043001
2 | 0.017248 | 0.0043228
3 | 0.014837 | 0.0037186
4 | 0.016597 | 0.0041595
5 | 0.015815 | 0.0039635
6 | 0.026025 | 0.0065224
7 | 0.010362 | 0.0025969
8 | 0.0065068 | 0.0016308
9 | 0.016506 | 0.0041367
10 | 0.061851 | 0.015501
11 | 0.018963 | 0.0047525
12 | 0.02697 | 0.0067593
13 | 0.040555 | 0.010164
14 | 0.02104 | 0.0052731
15 | 0.041577 | 0.01042
16 | 0.0012651 | 0.00031707
17 | 0.061089 | 0.01531
18 | 0.01091 | 0.0027344
19 | 0.006462 | 0.0016195
20 | 0.012474 | 0.0031263
21 | 0.027408 | 0.0068691
22 | 0.016213 | 0.0040634
23 | 0.0069358 | 0.0017383

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1