## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-384_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-384_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-384_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-384_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-384_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-384_0_6_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_261-384_0_6_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_261-384_0_6_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_261-384_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_261-384_0_6_node_82 | 0.4 | n |  | TRUE
10 | bus_LV_261-384_0_6_node_79 | 0.4 | n |  | TRUE
11 | bus_LV_261-384_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_261-384_0_6_node_85 | 0.4 | n |  | TRUE
13 | bus_LV_261-384_0_6_node_84 | 0.4 | n |  | TRUE
14 | bus_LV_261-384_0_6_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_261-384_0_6_node_68 | 0.4 | n |  | TRUE
16 | bus_LV_261-384_0_6_node_70 | 0.4 | n |  | TRUE
17 | bus_LV_261-384_0_6_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_261-384_0_6_node_74 | 0.4 | n |  | TRUE
19 | bus_LV_261-384_0_6_node_83 | 0.4 | n |  | TRUE
20 | bus_LV_261-384_0_6_node_80 | 0.4 | n |  | TRUE
21 | bus_LV_261-384_0_6_node_78 | 0.4 | n |  | TRUE
22 | bus_LV_261-384_0_6_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_261-384_0_6_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_261-384_0_6_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_261-384_0_6_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_261-384_0_6_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_261-384_0_6_node_71 | 0.4 | n |  | TRUE
28 | bus_LV_261-384_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_261-384_0_6_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_261-384_0_6_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_261-384_0_6_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_261-384_0_6_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_261-384_0_6_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_261-384_0_6_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_261-384_0_6_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_261-384_0_6_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_261-384_0_6_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_261-384_0_6_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_261-384_0_6_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_261-384_0_6_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_261-384_0_6_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_261-384_0_6_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_261-384_0_6_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_261-384_0_6_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_261-384_0_6_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_261-384_0_6_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_261-384_0_6_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_261-384_0_6_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_261-384_0_6_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_261-384_0_6_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_261-384_0_6_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_261-384_0_6_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_261-384_0_6_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_261-384_0_6_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_261-384_0_6_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_261-384_0_6_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_261-384_0_6_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_261-384_0_6_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_261-384_0_6_node_20 | 0.4 | n |  | TRUE
60 | bus_LV_261-384_0_6_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_261-384_0_6_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_261-384_0_6_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_261-384_0_6_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_261-384_0_6_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_261-384_0_6_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_261-384_0_6_node_18 | 0.4 | n |  | TRUE
67 | bus_LV_261-384_0_6_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_261-384_0_6_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_261-384_0_6_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_261-384_0_6_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_261-384_0_6_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_261-384_0_6_node_81 | 0.4 | n |  | TRUE
73 | bus_LV_261-384_0_6_node_75 | 0.4 | n |  | TRUE
74 | bus_LV_261-384_0_6_node_77 | 0.4 | n |  | TRUE
75 | bus_MV_389_1_node_182 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-384_0_6_load_0 | 0 | 0.0026551 | 0.00066543 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-384_0_6_load_3 | 3 | 0.0026416 | 0.00066204 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-384_0_6_load_13 | 5 | 0.0060949 | 0.0015275 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-384_0_6_load_15 | 7 | 0.0081387 | 0.0020397 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-384_0_6_load_82 | 9 | 0.01304 | 0.0032681 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-384_0_6_load_85 | 12 | 0.00063742 | 0.00015975 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-384_0_6_load_84 | 13 | 0.00062879 | 0.00015759 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-384_0_6_load_16 | 14 | 0.013593 | 0.0034068 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-384_0_6_load_68 | 15 | 0.0026409 | 0.00066187 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-384_0_6_load_70 | 16 | 0.081101 | 0.020326 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-384_0_6_load_76 | 17 | 0.0025244 | 0.00063267 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-384_0_6_load_83 | 19 | 0.011116 | 0.0027859 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-384_0_6_load_80 | 20 | 0.011368 | 0.002849 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-384_0_6_load_71 | 27 | 0.060308 | 0.015115 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-384_0_6_load_17 | 30 | 0.0032937 | 0.00082547 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-384_0_6_load_49 | 31 | 0.0034338 | 0.0008606 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-384_0_6_load_52 | 37 | 0.0057686 | 0.0014457 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-384_0_6_load_51 | 38 | 0.0064255 | 0.0016104 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-384_0_6_load_59 | 39 | 0.0081538 | 0.0020435 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-384_0_6_load_61 | 40 | 0.016985 | 0.004257 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-384_0_6_load_60 | 43 | 0.016887 | 0.0042323 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-384_0_6_load_56 | 47 | 0.015306 | 0.0038361 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-384_0_6_load_57 | 50 | 0.078668 | 0.019716 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-384_0_6_load_63 | 51 | 0.0076191 | 0.0019095 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-384_0_6_load_55 | 53 | 0.0018621 | 0.0004667 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-384_0_6_load_54 | 54 | 0.0018632 | 0.00046696 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-384_0_6_load_62 | 55 | 0.0042365 | 0.0010618 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-384_0_6_load_50 | 58 | 0.018582 | 0.004657 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-384_0_6_load_64 | 60 | 0.065283 | 0.016361 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-384_0_6_load_65 | 61 | 0.050591 | 0.012679 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-384_0_6_load_73 | 63 | 0.0030345 | 0.00076051 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-384_0_6_load_69 | 65 | 0.015197 | 0.0038087 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-384_0_6_load_18 | 66 | 0.007551 | 0.0018925 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-384_0_6_load_53 | 67 | 0.0057114 | 0.0014314 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-384_0_6_load_48 | 69 | 0.0068961 | 0.0017283 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-384_0_6_load_58 | 70 | 0.0095352 | 0.0023897 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-384_0_6_load_72 | 71 | 0.0074898 | 0.0018771 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-384_0_6_load_81 | 72 | 0.012781 | 0.0032032 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-384_0_6_load_77 | 74 | 0.00092418 | 0.00023162 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-384_0_6_line_0 |  | 0 | 1 | 0.024182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_261-384_0_6_line_1 |  | 0 | 2 | 0.027016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_261-384_0_6_line_2 |  | 1 | 3 | 0.01347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_261-384_0_6_line_3 |  | 2 | 4 | 0.018855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_261-384_0_6_line_4 |  | 2 | 5 | 0.020931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-384_0_6_line_5 |  | 3 | 6 | 0.0090771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_261-384_0_6_line_6 |  | 4 | 7 | 0.04731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_261-384_0_6_line_7 |  | 5 | 14 | 0.024355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-384_0_6_line_8 |  | 6 | 15 | 0.016969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_261-384_0_6_line_9 |  | 7 | 16 | 0.046295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_261-384_0_6_line_10 |  | 8 | 9 | 0.0022756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-384_0_6_line_11 |  | 8 | 10 | 0.013479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-384_0_6_line_12 |  | 9 | 19 | 0.014398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-384_0_6_line_13 |  | 10 | 20 | 0.011273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-384_0_6_line_14 |  | 10 | 21 | 0.036963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-384_0_6_line_15 |  | 11 | 12 | 0.0054341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-384_0_6_line_16 |  | 11 | 13 | 0.018122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-384_0_6_line_17 |  | 13 | 19 | 0.014281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-384_0_6_line_18 |  | 14 | 62 | 0.0072336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-384_0_6_line_19 |  | 15 | 63 | 0.018106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-384_0_6_line_20 |  | 16 | 23 | 0.03352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_261-384_0_6_line_21 |  | 17 | 18 | 0.0073208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-384_0_6_line_22 |  | 18 | 73 | 0.002907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-384_0_6_line_23 |  | 18 | 63 | 0.0083048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-384_0_6_line_24 |  | 20 | 72 | 0.015306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-384_0_6_line_25 |  | 21 | 74 | 0.014992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-384_0_6_line_26 |  | 22 | 23 | 0.032109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-384_0_6_line_27 |  | 22 | 24 | 0.1509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-384_0_6_line_28 |  | 23 | 27 | 0.019623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_261-384_0_6_line_29 |  | 24 | 55 | 0.038189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-384_0_6_line_30 |  | 25 | 26 | 0.033914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_261-384_0_6_line_31 |  | 25 | 27 | 0.039241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_261-384_0_6_line_32 |  | 26 | 58 | 0.01768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-384_0_6_line_33 |  | 26 | 59 | 0.004152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_261-384_0_6_line_34 |  | 28 | 29 | 0.010022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_261-384_0_6_line_35 |  | 28 | 30 | 0.0031652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_261-384_0_6_line_36 |  | 29 | 31 | 0.026148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-384_0_6_line_37 |  | 29 | 32 | 0.020671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_261-384_0_6_line_38 |  | 30 | 66 | 0.030035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_261-384_0_6_line_39 |  | 31 | 38 | 0.02408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-384_0_6_line_40 |  | 32 | 34 | 0.016136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_261-384_0_6_line_41 |  | 32 | 39 | 0.0030669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-384_0_6_line_42 |  | 33 | 34 | 0.050987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_261-384_0_6_line_43 |  | 33 | 35 | 0.028769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_261-384_0_6_line_44 |  | 34 | 40 | 0.013668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-384_0_6_line_45 |  | 35 | 46 | 0.049489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-384_0_6_line_46 |  | 35 | 47 | 0.016184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_261-384_0_6_line_47 |  | 36 | 37 | 0.015361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-384_0_6_line_48 |  | 36 | 38 | 0.020876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-384_0_6_line_49 |  | 37 | 67 | 0.034666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-384_0_6_line_50 |  | 40 | 41 | 0.012479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-384_0_6_line_51 |  | 41 | 42 | 0.037457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-384_0_6_line_52 |  | 42 | 43 | 0.022073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-384_0_6_line_53 |  | 43 | 44 | 0.013707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-384_0_6_line_54 |  | 44 | 45 | 0.046181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-384_0_6_line_55 |  | 45 | 51 | 0.023645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-384_0_6_line_56 |  | 46 | 60 | 0.039722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-384_0_6_line_57 |  | 46 | 61 | 0.0081711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-384_0_6_line_58 |  | 47 | 48 | 0.0083067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_261-384_0_6_line_59 |  | 48 | 49 | 0.016335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_261-384_0_6_line_60 |  | 49 | 50 | 0.027785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-384_0_6_line_61 |  | 50 | 70 | 0.028663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-384_0_6_line_62 |  | 52 | 53 | 0.012095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-384_0_6_line_63 |  | 52 | 54 | 0.0033041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-384_0_6_line_64 |  | 54 | 56 | 0.016301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-384_0_6_line_65 |  | 56 | 57 | 0.033591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-384_0_6_line_66 |  | 57 | 67 | 0.027982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-384_0_6_line_67 |  | 57 | 68 | 0.023991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-384_0_6_line_68 |  | 59 | 66 | 0.020184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_261-384_0_6_line_69 |  | 62 | 64 | 0.006969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-384_0_6_line_70 |  | 64 | 65 | 0.05341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-384_0_6_line_71 |  | 65 | 71 | 0.02956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-384_0_6_line_72 |  | 68 | 69 | 0.012928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-384_0_6_line_73 |  | 73 | 74 | 0.013966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-384_0_6_trafo_33 | 0.63 MVA 20/0.4 kV | 75 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2679543.8782 | 1250037.8146 | 2679540.4737 | 1250013.8738
1 | 2679532.2099 | 1249988.5774 | 2679538.5869 | 1250000.6051 | 2679540.4737 | 1250013.8738
2 | 2679543.8782 | 1250037.8146 | 2679530.4225 | 1250037.1955
3 | 2679532.2099 | 1249988.5774 | 2679528.7613 | 1249975.4993 | 2679527.4869 | 1249970.3229
4 | 2679532.2099 | 1249988.5774 | 2679521.5863 | 1249985.7995 | 2679515.9112 | 1249993.9731
5 | 2679521.355 | 1250036.7783 | 2679530.4225 | 1250037.1955
6 | 2679527.4869 | 1249970.3229 | 2679497.0627 | 1249934.0934
7 | 2679497.4861 | 1250003.2336 | 2679497.4861 | 1250003.2336 | 2679505.5536 | 1250005.7547 | 2679509.8067 | 1250002.7651 | 2679515.9112 | 1249993.9731
8 | 2679521.355 | 1250036.7783 | 2679523.7461 | 1250053.5784
9 | 2679463.3904 | 1249905.2267 | 2679463.3904 | 1249905.2267 | 2679472.5545 | 1249907.062 | 2679474.7232 | 1249907.4914 | 2679497.0627 | 1249934.0934
10 | 2679450.6725 | 1250107.5604 | 2679448.4304 | 1250107.9491
11 | 2679461.9808 | 1250100.3734 | 2679455.0686 | 1250105.7291 | 2679450.6725 | 1250107.5604
12 | 2679448.4304 | 1250107.9491 | 2679439.0638 | 1250109.573 | 2679434.3117 | 1250110.7329
13 | 2679461.9808 | 1250100.3734 | 2679468.2474 | 1250091.0029
14 | 2679461.9808 | 1250100.3734 | 2679473.7224 | 1250095.7718 | 2679497.9842 | 1250092.706
15 | 2679402.8334 | 1250118.4163 | 2679397.8695 | 1250116.2051
16 | 2679402.8334 | 1250118.4163 | 2679420.4382 | 1250114.1192
17 | 2679434.3117 | 1250110.7329 | 2679420.4382 | 1250114.1192
18 | 2679490.9954 | 1250006.4266 | 2679497.4861 | 1250003.2336
19 | 2679523.7461 | 1250053.5784 | 2679524.0664 | 1250055.8287 | 2679525.4599 | 1250065.6324 | 2679525.2442 | 1250071.5588
20 | 2679442.8158 | 1249878.7648 | 2679452.8788 | 1249891.8315 | 2679463.3904 | 1249905.2267
21 | 2679524.9443 | 1250079.8582 | 2679530.3864 | 1250084.7548
22 | 2679522.5735 | 1250081.5498 | 2679524.9443 | 1250079.8582
23 | 2679524.9443 | 1250079.8582 | 2679525.0174 | 1250077.7909 | 2679525.2442 | 1250071.5588
24 | 2679476.756 | 1250078.2801 | 2679468.2474 | 1250091.0029
25 | 2679497.9842 | 1250092.706 | 2679512.9398 | 1250091.6614
26 | 2679427.2462 | 1249856.8623 | 2679429.1441 | 1249862.2918 | 2679430.1842 | 1249865.2412 | 2679436.6928 | 1249863.5383 | 2679438.3382 | 1249868.0859 | 2679439.5468 | 1249871.4267 | 2679440.7698 | 1249874.8123 | 2679441.5393 | 1249877.1132 | 2679442.8158 | 1249878.7648
27 | 2679427.2462 | 1249856.8623 | 2679429.1441 | 1249862.2918 | 2679430.1842 | 1249865.2412 | 2679436.6928 | 1249863.5383 | 2679438.1172 | 1249863.1682 | 2679446.2519 | 1249864.0779 | 2679455.9998 | 1249865.176 | 2679461.2395 | 1249865.7577 | 2679464.8209 | 1249867.8184 | 2679565.9789 | 1249834.7731
28 | 2679442.8158 | 1249878.7648 | 2679424.2318 | 1249885.0657
29 | 2679565.9789 | 1249834.7731 | 2679584.8825 | 1249844.5229 | 2679584.2866 | 1249850.6638 | 2679593.591 | 1249856.0478
30 | 2679366.423 | 1249881.4658 | 2679367.6128 | 1249885.0844 | 2679368.3819 | 1249887.4186 | 2679368.9623 | 1249889.1833 | 2679380.8621 | 1249884.6392 | 2679381.9459 | 1249887.7116 | 2679383.0586 | 1249890.8844 | 2679383.9602 | 1249893.465 | 2679386.6289 | 1249896.0248
31 | 2679386.6289 | 1249896.0248 | 2679399.4686 | 1249893.4616 | 2679424.2318 | 1249885.0657
32 | 2679366.423 | 1249881.4658 | 2679383.0558 | 1249875.4698
33 | 2679362.5081 | 1249882.8811 | 2679366.423 | 1249881.4658
34 | 2679303.0344 | 1249900.9096 | 2679304.3365 | 1249901.7832 | 2679305.8437 | 1249902.5595 | 2679307.9725 | 1249902.588 | 2679309.9996 | 1249902.3149 | 2679312.494 | 1249901.5477
35 | 2679312.494 | 1249901.5477 | 2679315.4594 | 1249900.4409
36 | 2679303.0344 | 1249900.9096 | 2679302.3912 | 1249899.8891 | 2679301.9002 | 1249898.7817 | 2679293.7317 | 1249876.5016
37 | 2679286.8089 | 1249909.9325 | 2679293.1708 | 1249907.8939 | 2679294.0456 | 1249906.8493 | 2679294.5155 | 1249905.588 | 2679294.1876 | 1249903.571 | 2679298.7816 | 1249902.187 | 2679303.0344 | 1249900.9096
38 | 2679315.4594 | 1249900.4409 | 2679343.5987 | 1249889.9386
39 | 2679293.7317 | 1249876.5016 | 2679289.5896 | 1249865.2035 | 2679285.5454 | 1249853.8561
40 | 2679286.8089 | 1249909.9325 | 2679287.859 | 1249913.2712 | 2679288.8437 | 1249916.4201 | 2679289.6691 | 1249919.0553 | 2679290.5018 | 1249921.7128 | 2679291.6313 | 1249925.3306
41 | 2679286.8089 | 1249909.9325 | 2679283.908 | 1249910.9277
42 | 2679291.6313 | 1249925.3306 | 2679293.1032 | 1249924.7943 | 2679300.55 | 1249922.3699 | 2679301.5939 | 1249925.0414 | 2679306.7347 | 1249923.4201 | 2679313.3412 | 1249941.4661 | 2679314.3699 | 1249944.1485 | 2679316.5535 | 1249949.6707 | 2679319.945 | 1249948.4374 | 2679319.3546 | 1249946.8505
43 | 2679319.3546 | 1249946.8505 | 2679319.945 | 1249948.4374 | 2679328.0255 | 1249970.2949 | 2679328.9429 | 1249973.9543
44 | 2679291.6313 | 1249925.3306 | 2679278.7775 | 1249929.977
45 | 2679328.9429 | 1249973.9543 | 2679329.0148 | 1249975.9123 | 2679328.4198 | 1249978.6285 | 2679327.2757 | 1249981.1817 | 2679325.921 | 1249983.6766 | 2679329.0189 | 1249985.1969 | 2679339.6133 | 1249990.7205 | 2679345.9041 | 1249993.996 | 2679351.2805 | 1250009.724
46 | 2679328.9429 | 1249973.9543 | 2679344.1933 | 1249968.5386
47 | 2679278.3687 | 1249834.253 | 2679278.3298 | 1249832.6402 | 2679278.6635 | 1249830.2762 | 2679280.0596 | 1249828.0711 | 2679281.342 | 1249827.0319 | 2679288.0802 | 1249824.7946
48 | 2679278.3687 | 1249834.253 | 2679282.4144 | 1249845.0706 | 2679285.5454 | 1249853.8561
49 | 2679288.0802 | 1249824.7946 | 2679296.0855 | 1249822.1366 | 2679299.7975 | 1249821.2189 | 2679320.8978 | 1249814.6853 | 2679321.2036 | 1249814.5969
50 | 2679267.0419 | 1249934.2194 | 2679278.7775 | 1249929.977
51 | 2679264.0236 | 1249962.2996 | 2679275.3735 | 1249958.2039 | 2679267.0419 | 1249934.2194
52 | 2679264.0236 | 1249962.2996 | 2679271.2575 | 1249983.1535
53 | 2679275.7497 | 1249996.1035 | 2679271.2575 | 1249983.1535
54 | 2679260.08 | 1250026.2383 | 2679258.1452 | 1250020.7417 | 2679258.6163 | 1250015.4441 | 2679262.0225 | 1250014.2332 | 2679259.9677 | 1250008.6794 | 2679257.7669 | 1250002.7457 | 2679275.7497 | 1249996.1035
55 | 2679260.08 | 1250026.2383 | 2679247.5803 | 1250031.0747 | 2679246.1945 | 1250033.6359 | 2679248.6844 | 1250040.5298
56 | 2679351.2805 | 1250009.724 | 2679346.1064 | 1250022.2973 | 2679348.9307 | 1250032.9651 | 2679334.7874 | 1250038.2272
57 | 2679351.2805 | 1250009.724 | 2679354.866 | 1250017.0664
58 | 2679351.0308 | 1249964.6764 | 2679350.2452 | 1249966.3894 | 2679344.1933 | 1249968.5386
59 | 2679357.8437 | 1249949.8234 | 2679351.0308 | 1249964.6764
60 | 2679357.8437 | 1249949.8234 | 2679356.8243 | 1249943.0714 | 2679363.4038 | 1249929.305 | 2679361.6341 | 1249923.8884 | 2679361.6341 | 1249923.8884
61 | 2679334.8145 | 1249934.0007 | 2679336.676 | 1249933.239 | 2679361.6341 | 1249923.8884
62 | 2679394.0961 | 1249811.5295 | 2679396.3447 | 1249813.8835 | 2679402.0069 | 1249820.6719
63 | 2679394.0961 | 1249811.5295 | 2679390.9566 | 1249810.4996
64 | 2679376.5592 | 1249803.4331 | 2679380.4645 | 1249804.4306 | 2679382.7477 | 1249805.3396 | 2679385.7501 | 1249807.2256 | 2679388.6535 | 1249809.7442 | 2679390.9566 | 1249810.4996
65 | 2679348.0863 | 1249806.8322 | 2679347.7254 | 1249810.6636 | 2679372.579 | 1249804.0803 | 2679376.5592 | 1249803.4331
66 | 2679348.0863 | 1249806.8322 | 2679321.2036 | 1249814.5969
67 | 2679345.6073 | 1249830.6944 | 2679346.783 | 1249819.5797 | 2679347.7254 | 1249810.6636 | 2679348.0863 | 1249806.8322
68 | 2679362.5081 | 1249882.8811 | 2679343.5987 | 1249889.9386
69 | 2679484.0145 | 1250006.7666 | 2679490.9954 | 1250006.4266
70 | 2679484.0145 | 1250006.7666 | 2679477.2189 | 1250000.6043 | 2679448.7978 | 1249991.7613 | 2679443.1571 | 1249978.4349
71 | 2679443.1571 | 1249978.4349 | 2679431.635 | 1249951.2133
72 | 2679345.6073 | 1249830.6944 | 2679348.2465 | 1249843.3501
73 | 2679522.5735 | 1250081.5498 | 2679512.9398 | 1250091.6614

## bus_geodata
| x | y | coords
0 | 2679540.4737 | 1250013.8737
1 | 2679543.8782 | 1250037.8146
2 | 2679532.2099 | 1249988.5774
3 | 2679530.4225 | 1250037.1955
4 | 2679527.4869 | 1249970.3229
5 | 2679515.9112 | 1249993.9731
6 | 2679521.355 | 1250036.7783
7 | 2679497.0627 | 1249934.0934
8 | 2679450.6725 | 1250107.5604
9 | 2679448.4304 | 1250107.9491
10 | 2679461.9808 | 1250100.3734
11 | 2679402.8334 | 1250118.4163
12 | 2679397.8695 | 1250116.2051
13 | 2679420.4382 | 1250114.1192
14 | 2679497.4861 | 1250003.2336
15 | 2679523.7461 | 1250053.5784
16 | 2679463.3904 | 1249905.2267
17 | 2679530.3864 | 1250084.7548
18 | 2679524.9443 | 1250079.8582
19 | 2679434.3117 | 1250110.7329
20 | 2679468.2474 | 1250091.0029
21 | 2679497.9842 | 1250092.706
22 | 2679427.2462 | 1249856.8623
23 | 2679442.8158 | 1249878.7648
24 | 2679565.9789 | 1249834.7731
25 | 2679386.6289 | 1249896.0248
26 | 2679366.423 | 1249881.4658
27 | 2679424.2318 | 1249885.0657
28 | 2679312.494 | 1249901.5477
29 | 2679303.0344 | 1249900.9096
30 | 2679315.4594 | 1249900.4409
31 | 2679293.7317 | 1249876.5016
32 | 2679286.8089 | 1249909.9325
33 | 2679319.3546 | 1249946.8505
34 | 2679291.6313 | 1249925.3305
35 | 2679328.9429 | 1249973.9543
36 | 2679278.3687 | 1249834.253
37 | 2679288.0802 | 1249824.7946
38 | 2679285.5454 | 1249853.8561
39 | 2679283.908 | 1249910.9277
40 | 2679278.7775 | 1249929.977
41 | 2679267.0419 | 1249934.2194
42 | 2679264.0236 | 1249962.2996
43 | 2679271.2575 | 1249983.1535
44 | 2679275.7497 | 1249996.1035
45 | 2679260.08 | 1250026.2383
46 | 2679351.2805 | 1250009.724
47 | 2679344.1933 | 1249968.5386
48 | 2679351.0308 | 1249964.6764
49 | 2679357.8437 | 1249949.8234
50 | 2679361.6341 | 1249923.8884
51 | 2679248.6844 | 1250040.5298
52 | 2679394.0961 | 1249811.5295
53 | 2679402.0069 | 1249820.6719
54 | 2679390.9566 | 1249810.4996
55 | 2679593.591 | 1249856.0478
56 | 2679376.5592 | 1249803.4331
57 | 2679348.0863 | 1249806.8322
58 | 2679383.0558 | 1249875.4698
59 | 2679362.5081 | 1249882.8811
60 | 2679334.7874 | 1250038.2272
61 | 2679354.866 | 1250017.0664
62 | 2679490.9954 | 1250006.4266
63 | 2679525.2442 | 1250071.5588
64 | 2679484.0145 | 1250006.7666
65 | 2679443.1571 | 1249978.4349
66 | 2679343.5987 | 1249889.9386
67 | 2679321.2036 | 1249814.5969
68 | 2679345.6073 | 1249830.6944
69 | 2679348.2465 | 1249843.3501
70 | 2679334.8145 | 1249934.0007
71 | 2679431.635 | 1249951.2133
72 | 2679476.756 | 1250078.2801
73 | 2679522.5735 | 1250081.5498
74 | 2679512.9398 | 1250091.6614
75 | 2679351.0308 | 1249964.6764

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97689 | -0.44475 | 0.0026551 | 0.00066543
1 | 0.97661 | -0.45017 | 0 | 0
2 | 0.97721 | -0.43844 | 0 | 0
3 | 0.97646 | -0.45319 | 0.0026416 | 0.00066204
4 | 0.97758 | -0.43112 | 0 | 0
5 | 0.97639 | -0.45464 | 0.0060949 | 0.0015275
6 | 0.97636 | -0.45514 | 0 | 0
7 | 0.97852 | -0.41278 | 0.0081387 | 0.0020397
8 | 0.97101 | -0.56037 | 0 | 0
9 | 0.97096 | -0.56144 | 0.01304 | 0.0032681
10 | 0.97133 | -0.55404 | 0 | 0
11 | 0.97076 | -0.56529 | 0 | 0
12 | 0.97076 | -0.56535 | 0.00063742 | 0.00015975
13 | 0.97078 | -0.56507 | 0.00062879 | 0.00015759
14 | 0.97556 | -0.47081 | 0.013593 | 0.0034068
15 | 0.97589 | -0.46425 | 0.0026409 | 0.00066187
16 | 0.97951 | -0.39349 | 0.081101 | 0.020326
17 | 0.97452 | -0.49127 | 0.0025244 | 0.00063267
18 | 0.97453 | -0.49093 | 0 | 0
19 | 0.97079 | -0.56474 | 0.011116 | 0.0027859
20 | 0.97108 | -0.55907 | 0.011368 | 0.002849
21 | 0.97304 | -0.52025 | 0 | 0
22 | 0.9806 | -0.37216 | 0 | 0
23 | 0.98073 | -0.36969 | 0 | 0
24 | 0.98001 | -0.38377 | 0 | 0
25 | 0.98335 | -0.31861 | 0 | 0
26 | 0.98499 | -0.28685 | 0 | 0
27 | 0.98146 | -0.35549 | 0.060308 | 0.015115
28 | 0.98802 | -0.22845 | 0 | 0
29 | 0.98855 | -0.21809 | 0 | 0
30 | 0.98785 | -0.23173 | 0.0032937 | 0.00082547
31 | 0.98779 | -0.23301 | 0.0034338 | 0.0008606
32 | 0.98979 | -0.19441 | 0 | 0
33 | 0.99428 | -0.1085 | 0 | 0
34 | 0.99077 | -0.17549 | 0 | 0
35 | 0.99626 | -0.070911 | 0 | 0
36 | 0.98673 | -0.25355 | 0 | 0
37 | 0.98642 | -0.25963 | 0.0057686 | 0.0014457
38 | 0.98715 | -0.24529 | 0.0064255 | 0.0016104
39 | 0.98976 | -0.19485 | 0.0081538 | 0.0020435
40 | 0.99025 | -0.18557 | 0.016985 | 0.004257
41 | 0.98997 | -0.191 | 0 | 0
42 | 0.98913 | -0.20735 | 0 | 0
43 | 0.98863 | -0.21699 | 0.016887 | 0.0042323
44 | 0.98854 | -0.21885 | 0 | 0
45 | 0.98822 | -0.22513 | 0 | 0
46 | 0.991 | -0.17215 | 0 | 0
47 | 0.99771 | -0.043261 | 0.015306 | 0.0038361
48 | 0.99848 | -0.028656 | 0 | 0
49 | 1 | 0 | -0.60038 | -0.15318
50 | 0.99777 | -0.04281 | 0.078668 | 0.019716
51 | 0.98805 | -0.22835 | 0.0076191 | 0.0019095
52 | 0.98545 | -0.27856 | 0 | 0
53 | 0.98543 | -0.27897 | 0.0018621 | 0.0004667
54 | 0.98545 | -0.27845 | 0.0018632 | 0.00046696
55 | 0.97986 | -0.3867 | 0.0042365 | 0.0010618
56 | 0.98551 | -0.27736 | 0 | 0
57 | 0.98562 | -0.27512 | 0 | 0
58 | 0.98469 | -0.29275 | 0.018582 | 0.004657
59 | 0.98521 | -0.28269 | 0 | 0
60 | 0.98862 | -0.21828 | 0.065283 | 0.016361
61 | 0.99062 | -0.17949 | 0.050591 | 0.012679
62 | 0.97541 | -0.47382 | 0 | 0
63 | 0.97495 | -0.48285 | 0.0030345 | 0.00076051
64 | 0.97526 | -0.47672 | 0 | 0
65 | 0.97414 | -0.49895 | 0.015197 | 0.0038087
66 | 0.98625 | -0.2625 | 0.007551 | 0.0018925
67 | 0.9859 | -0.26978 | 0.0057114 | 0.0014314
68 | 0.98547 | -0.27809 | 0 | 0
69 | 0.98539 | -0.27969 | 0.0068961 | 0.0017283
70 | 0.99752 | -0.047597 | 0.0095352 | 0.0023897
71 | 0.97393 | -0.50301 | 0.0074898 | 0.0018771
72 | 0.9709 | -0.56269 | 0.012781 | 0.0032032
73 | 0.9744 | -0.49362 | 0 | 0
74 | 0.97374 | -0.50658 | 0.00092418 | 0.00023162
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.061632 | 0.015556 | -0.061616 | -0.015547 | 1.5998e-05 | 8.7252e-06 | 0.093919 | 0.09392 | 0.09392 | 0.97689 | -0.44475 | 0.97661 | -0.45017 | 5.1604
1 | -0.064287 | -0.016221 | 0.064307 | 0.016232 | 1.9445e-05 | 1.0753e-05 | 0.097963 | 0.097963 | 0.097963 | 0.97689 | -0.44475 | 0.97721 | -0.43844 | 5.3826
2 | 0.061616 | 0.015547 | -0.061607 | -0.015542 | 8.9114e-06 | 4.8607e-06 | 0.09392 | 0.09392 | 0.09392 | 0.97661 | -0.45017 | 0.97646 | -0.45319 | 5.1604
3 | -0.10677 | -0.02691 | 0.10681 | 0.026933 | 3.7407e-05 | 2.2759e-05 | 0.16264 | 0.16264 | 0.16264 | 0.97721 | -0.43844 | 0.97758 | -0.43112 | 8.9363
4 | 0.042467 | 0.010678 | -0.042435 | -0.010657 | 3.2836e-05 | 2.0753e-05 | 0.064678 | 0.064678 | 0.064678 | 0.97721 | -0.43844 | 0.97639 | -0.45464 | 17.7688
5 | 0.058966 | 0.01488 | -0.05896 | -0.014877 | 5.5014e-06 | 2.9533e-06 | 0.089895 | 0.089895 | 0.089895 | 0.97646 | -0.45319 | 0.97636 | -0.45514 | 4.9393
6 | -0.10681 | -0.026933 | 0.10691 | 0.02699 | 9.3857e-05 | 5.71e-05 | 0.16264 | 0.16264 | 0.16264 | 0.97758 | -0.43112 | 0.97852 | -0.41278 | 8.9363
7 | 0.03634 | 0.0091294 | -0.036312 | -0.0091118 | 2.802e-05 | 1.7629e-05 | 0.05539 | 0.05539 | 0.05539 | 0.97639 | -0.45464 | 0.97556 | -0.47081 | 15.217
8 | 0.05896 | 0.014877 | -0.058935 | -0.014861 | 2.5712e-05 | 1.6031e-05 | 0.089895 | 0.089895 | 0.089895 | 0.97636 | -0.45514 | 0.97589 | -0.46425 | 12.3482
9 | -0.11504 | -0.029029 | 0.11515 | 0.029095 | 0.00010635 | 6.5155e-05 | 0.17502 | 0.17501 | 0.17502 | 0.97852 | -0.41278 | 0.97951 | -0.39349 | 9.6163
10 | 0.025425 | 0.0063728 | -0.025424 | -0.006372 | 1.2955e-06 | 8.0095e-07 | 0.038963 | 0.038963 | 0.038963 | 0.97101 | -0.56037 | 0.97096 | -0.56144 | 10.7041
11 | -0.025425 | -0.0063728 | 0.025433 | 0.0063775 | 7.6735e-06 | 4.7442e-06 | 0.038963 | 0.038963 | 0.038963 | 0.97101 | -0.56037 | 0.97133 | -0.55404 | 10.7041
12 | 0.012384 | 0.0031039 | -0.012382 | -0.0031028 | 1.9448e-06 | 1.0666e-06 | 0.018979 | 0.018979 | 0.018979 | 0.97096 | -0.56144 | 0.97079 | -0.56474 | 5.214
13 | 0.024157 | 0.006057 | -0.024151 | -0.0060535 | 5.7895e-06 | 3.5658e-06 | 0.037007 | 0.037008 | 0.037008 | 0.97133 | -0.55404 | 0.97108 | -0.55907 | 10.1669
14 | -0.04959 | -0.012435 | 0.04967 | 0.012485 | 7.9999e-05 | 5.0741e-05 | 0.07597 | 0.07597 | 0.07597 | 0.97133 | -0.55404 | 0.97304 | -0.52025 | 20.871
15 | 0.00063742 | 0.00015969 | -0.00063742 | -0.00015975 | 1.9453e-09 | -6.5939e-08 | 0.00097703 | 0.00097705 | 0.00097705 | 0.97076 | -0.56529 | 0.97076 | -0.56535 | 0.26842
16 | -0.00063742 | -0.00015969 | 0.00063742 | 0.00015947 | 6.4864e-09 | -2.199e-07 | 0.00097703 | 0.00097695 | 0.00097703 | 0.97076 | -0.56529 | 0.97078 | -0.56507 | 0.26841
17 | -0.0012662 | -0.00031706 | 0.0012662 | 0.00031689 | 2.0171e-08 | -1.6366e-07 | 0.0019408 | 0.0019407 | 0.0019408 | 0.97078 | -0.56507 | 0.97079 | -0.56474 | 0.53318
18 | 0.022718 | 0.005705 | -0.022715 | -0.005703 | 3.258e-06 | 1.9948e-06 | 0.034656 | 0.034656 | 0.034656 | 0.97556 | -0.47081 | 0.97541 | -0.47382 | 9.521
19 | 0.056294 | 0.0142 | -0.056244 | -0.014168 | 5.0062e-05 | 3.1814e-05 | 0.085868 | 0.085868 | 0.085868 | 0.97589 | -0.46425 | 0.97495 | -0.48285 | 23.5902
20 | -0.19625 | -0.04942 | 0.19648 | 0.049561 | 0.00022358 | 0.00014098 | 0.29822 | 0.29822 | 0.29822 | 0.97951 | -0.39349 | 0.98073 | -0.36969 | 16.3856
21 | -0.0025244 | -0.00063267 | 0.0025244 | 0.00063261 | 4.0788e-08 | -6.5108e-08 | 0.0038546 | 0.0038545 | 0.0038546 | 0.97452 | -0.49127 | 0.97453 | -0.49093 | 1.0589
22 | 0.050664 | 0.012762 | -0.050658 | -0.012757 | 6.5277e-06 | 4.1415e-06 | 0.077382 | 0.077382 | 0.077382 | 0.97453 | -0.49093 | 0.9744 | -0.49362 | 21.2589
23 | -0.053189 | -0.013394 | 0.053209 | 0.013407 | 2.0553e-05 | 1.305e-05 | 0.081237 | 0.081237 | 0.081237 | 0.97453 | -0.49093 | 0.97495 | -0.48285 | 22.3178
24 | 0.012783 | 0.0032044 | -0.012781 | -0.0032032 | 2.2023e-06 | 1.2202e-06 | 0.019588 | 0.019588 | 0.019588 | 0.97108 | -0.55907 | 0.9709 | -0.56269 | 5.3814
25 | -0.04967 | -0.012485 | 0.049702 | 0.012506 | 3.2447e-05 | 2.058e-05 | 0.07597 | 0.07597 | 0.07597 | 0.97304 | -0.52025 | 0.97374 | -0.50658 | 20.8709
26 | -0.0042394 | -0.0010613 | 0.0042399 | 0.0010612 | 4.9823e-07 | -8.6246e-08 | 0.0064327 | 0.0064325 | 0.0064327 | 0.9806 | -0.37216 | 0.98073 | -0.36969 | 1.7672
27 | 0.0042394 | 0.0010613 | -0.0042371 | -0.0010617 | 2.3417e-06 | -4.0373e-07 | 0.0064327 | 0.0064334 | 0.0064334 | 0.9806 | -0.37216 | 0.98001 | -0.38377 | 1.7674
28 | -0.20072 | -0.050623 | 0.20085 | 0.050709 | 0.00013659 | 8.6181e-05 | 0.30465 | 0.30465 | 0.30465 | 0.98073 | -0.36969 | 0.98146 | -0.35549 | 16.739
29 | 0.0042371 | 0.0010617 | -0.0042365 | -0.0010618 | 5.9274e-07 | -1.0176e-07 | 0.0064334 | 0.0064335 | 0.0064335 | 0.98001 | -0.38377 | 0.97986 | -0.3867 | 1.7675
30 | -0.26162 | -0.066116 | 0.26202 | 0.06637 | 0.00039904 | 0.00025323 | 0.39608 | 0.39608 | 0.39608 | 0.98335 | -0.31861 | 0.98499 | -0.28685 | 21.7628
31 | 0.26162 | 0.066116 | -0.26116 | -0.065823 | 0.00046171 | 0.00029301 | 0.39608 | 0.39608 | 0.39608 | 0.98335 | -0.31861 | 0.98146 | -0.35549 | 21.7629
32 | 0.018587 | 0.0046602 | -0.018582 | -0.004657 | 5.2278e-06 | 3.1208e-06 | 0.02808 | 0.02808 | 0.02808 | 0.98499 | -0.28685 | 0.98469 | -0.29275 | 7.7143
33 | -0.28061 | -0.07103 | 0.28066 | 0.071065 | 5.6025e-05 | 3.5592e-05 | 0.42416 | 0.42416 | 0.42416 | 0.98499 | -0.28685 | 0.98521 | -0.28269 | 23.3056
34 | -0.29225 | -0.074257 | 0.2924 | 0.07435 | 0.00014586 | 9.2709e-05 | 0.44052 | 0.44051 | 0.44052 | 0.98802 | -0.22845 | 0.98855 | -0.21809 | 24.2041
35 | 0.29225 | 0.074257 | -0.29221 | -0.074228 | 4.6067e-05 | 2.928e-05 | 0.44052 | 0.44052 | 0.44052 | 0.98802 | -0.22845 | 0.98785 | -0.23173 | 24.2041
36 | 0.032028 | 0.00805 | -0.032005 | -0.0080358 | 2.2798e-05 | 1.4256e-05 | 0.048218 | 0.048219 | 0.048219 | 0.98855 | -0.21809 | 0.98779 | -0.23301 | 13.2469
37 | -0.32443 | -0.0824 | 0.3248 | 0.082636 | 0.00037031 | 0.00023567 | 0.48873 | 0.48873 | 0.48873 | 0.98855 | -0.21809 | 0.98979 | -0.19441 | 26.8535
38 | 0.28891 | 0.073402 | -0.28849 | -0.073131 | 0.00042734 | 0.00027158 | 0.43555 | 0.43555 | 0.43555 | 0.98785 | -0.23173 | 0.98625 | -0.2625 | 23.9316
39 | 0.028572 | 0.0071752 | -0.028555 | -0.0071648 | 1.6732e-05 | 1.04e-05 | 0.043046 | 0.043046 | 0.043046 | 0.98779 | -0.23301 | 0.98715 | -0.24529 | 11.8258
40 | -0.33295 | -0.084679 | 0.33326 | 0.084873 | 0.00030374 | 0.00019336 | 0.50099 | 0.50099 | 0.50099 | 0.98979 | -0.19441 | 0.99077 | -0.17549 | 27.527
41 | 0.008154 | 0.0020436 | -0.0081538 | -0.0020435 | 1.7282e-07 | 7.1189e-08 | 0.012258 | 0.012258 | 0.012258 | 0.98979 | -0.19441 | 0.98976 | -0.19485 | 3.3677
42 | 0.37602 | 0.096082 | -0.37481 | -0.095308 | 0.0012138 | 0.00077356 | 0.5634 | 0.5634 | 0.5634 | 0.99428 | -0.1085 | 0.99077 | -0.17549 | 30.9563
43 | -0.37602 | -0.096082 | 0.37671 | 0.096518 | 0.0006849 | 0.00043647 | 0.5634 | 0.5634 | 0.5634 | 0.99428 | -0.1085 | 0.99626 | -0.070911 | 30.9562
44 | 0.041553 | 0.010436 | -0.041533 | -0.010423 | 1.9966e-05 | 1.2603e-05 | 0.062414 | 0.062415 | 0.062415 | 0.99077 | -0.17549 | 0.99025 | -0.18557 | 17.1468
45 | 0.1166 | 0.029504 | -0.11604 | -0.029144 | 0.00056352 | 0.00036001 | 0.17425 | 0.17425 | 0.17425 | 0.99626 | -0.070911 | 0.991 | -0.17215 | 47.8719
46 | -0.49331 | -0.12602 | 0.49397 | 0.12644 | 0.00066045 | 0.00042163 | 0.73766 | 0.73766 | 0.73766 | 0.99626 | -0.070911 | 0.99771 | -0.043261 | 40.5305
47 | 0.022121 | 0.0055491 | -0.022114 | -0.0055452 | 6.4109e-06 | 3.9068e-06 | 0.03336 | 0.03336 | 0.03336 | 0.98673 | -0.25355 | 0.98642 | -0.25963 | 9.165
48 | -0.022121 | -0.0055491 | 0.022129 | 0.0055544 | 8.7125e-06 | 5.3092e-06 | 0.03336 | 0.03336 | 0.03336 | 0.98673 | -0.25355 | 0.98715 | -0.24529 | 9.1649
49 | 0.016346 | 0.0040995 | -0.016338 | -0.0040948 | 7.9044e-06 | 4.6165e-06 | 0.024658 | 0.024659 | 0.024659 | 0.98642 | -0.25963 | 0.9859 | -0.26978 | 6.7743
50 | 0.024547 | 0.006166 | -0.024541 | -0.0061621 | 6.3687e-06 | 3.9155e-06 | 0.036891 | 0.036891 | 0.036891 | 0.99025 | -0.18557 | 0.98997 | -0.191 | 10.1349
51 | 0.024541 | 0.0061621 | -0.024522 | -0.0061504 | 1.9116e-05 | 1.1753e-05 | 0.036891 | 0.036891 | 0.036891 | 0.98997 | -0.191 | 0.98913 | -0.20735 | 10.135
52 | 0.024522 | 0.0061504 | -0.02451 | -0.0061434 | 1.1265e-05 | 6.9266e-06 | 0.036891 | 0.036891 | 0.036891 | 0.98913 | -0.20735 | 0.98863 | -0.21699 | 10.135
53 | 0.0076232 | 0.0019111 | -0.0076225 | -0.0019108 | 6.7672e-07 | 2.5736e-07 | 0.011474 | 0.011474 | 0.011474 | 0.98863 | -0.21699 | 0.98854 | -0.21885 | 3.1522
54 | 0.0076225 | 0.0019108 | -0.0076202 | -0.00191 | 2.2801e-06 | 8.6737e-07 | 0.011474 | 0.011474 | 0.011474 | 0.98854 | -0.21885 | 0.98822 | -0.22513 | 3.1523
55 | 0.0076202 | 0.00191 | -0.0076191 | -0.0019095 | 1.1674e-06 | 4.4426e-07 | 0.011474 | 0.011474 | 0.011474 | 0.98822 | -0.22513 | 0.98805 | -0.22835 | 3.1523
56 | 0.065427 | 0.016453 | -0.065283 | -0.016361 | 0.00014382 | 9.1535e-05 | 0.09826 | 0.09826 | 0.09826 | 0.991 | -0.17215 | 0.98862 | -0.21828 | 26.9946
57 | 0.050609 | 0.012691 | -0.050591 | -0.012679 | 1.7696e-05 | 1.122e-05 | 0.075994 | 0.075994 | 0.075994 | 0.991 | -0.17215 | 0.99062 | -0.17949 | 20.8774
58 | -0.50927 | -0.13028 | 0.50963 | 0.13051 | 0.0003603 | 0.00023005 | 0.76048 | 0.76048 | 0.76048 | 0.99771 | -0.043261 | 0.99848 | -0.028656 | 41.7848
59 | -0.50963 | -0.13051 | 0.51034 | 0.13096 | 0.00070853 | 0.00045239 | 0.76048 | 0.76048 | 0.76048 | 0.99848 | -0.028656 | 1 | 0 | 41.7848
60 | 0.088386 | 0.022222 | -0.088205 | -0.022107 | 0.00018029 | 0.00011502 | 0.13154 | 0.13154 | 0.13154 | 1 | 0 | 0.99777 | -0.04281 | 36.1385
61 | 0.0095374 | 0.0023908 | -0.0095352 | -0.0023897 | 2.1746e-06 | 1.0175e-06 | 0.014224 | 0.014224 | 0.014224 | 0.99777 | -0.04281 | 0.99752 | -0.047597 | 3.9076
62 | 0.0018622 | 0.00046656 | -0.0018621 | -0.0004667 | 3.5862e-08 | -1.3114e-07 | 0.0028118 | 0.0028119 | 0.0028119 | 0.98545 | -0.27856 | 0.98543 | -0.27897 | 0.77249
63 | -0.0018622 | -0.00046656 | 0.0018622 | 0.00046653 | 9.7961e-09 | -3.5826e-08 | 0.0028118 | 0.0028118 | 0.0028118 | 0.98545 | -0.27856 | 0.98545 | -0.27845 | 0.77248
64 | -0.0037254 | -0.00093348 | 0.0037256 | 0.0009334 | 1.9343e-07 | -8.3902e-08 | 0.0056252 | 0.0056251 | 0.0056252 | 0.98545 | -0.27845 | 0.98551 | -0.27736 | 1.5454
65 | -0.0037256 | -0.0009334 | 0.003726 | 0.00093323 | 3.9857e-07 | -1.7298e-07 | 0.0056251 | 0.0056249 | 0.0056251 | 0.98551 | -0.27736 | 0.98562 | -0.27512 | 1.5454
66 | -0.010624 | -0.002662 | 0.010626 | 0.0026634 | 2.6991e-06 | 1.3707e-06 | 0.016038 | 0.016038 | 0.016038 | 0.98562 | -0.27512 | 0.9859 | -0.26978 | 4.4062
67 | 0.0068976 | 0.0017288 | -0.0068966 | -0.0017285 | 9.756e-07 | 3.1868e-07 | 0.010414 | 0.010414 | 0.010414 | 0.98562 | -0.27512 | 0.98547 | -0.27809 | 2.8609
68 | -0.28066 | -0.071065 | 0.28094 | 0.071238 | 0.00027235 | 0.00017302 | 0.42416 | 0.42416 | 0.42416 | 0.98521 | -0.28269 | 0.98625 | -0.2625 | 23.3056
69 | 0.022715 | 0.005703 | -0.022712 | -0.0057011 | 3.1388e-06 | 1.9219e-06 | 0.034656 | 0.034656 | 0.034656 | 0.97541 | -0.47382 | 0.97526 | -0.47672 | 9.521
70 | 0.022712 | 0.0057011 | -0.022688 | -0.0056863 | 2.4056e-05 | 1.473e-05 | 0.034656 | 0.034657 | 0.034657 | 0.97526 | -0.47672 | 0.97414 | -0.49895 | 9.521
71 | 0.0074913 | 0.0018777 | -0.0074898 | -0.0018771 | 1.4515e-06 | 5.6106e-07 | 0.011443 | 0.011443 | 0.011443 | 0.97414 | -0.49895 | 0.97393 | -0.50301 | 3.1438
72 | 0.0068966 | 0.0017285 | -0.0068961 | -0.0017283 | 5.2574e-07 | 1.7177e-07 | 0.010414 | 0.010414 | 0.010414 | 0.98547 | -0.27809 | 0.98539 | -0.27969 | 2.8609
73 | 0.050658 | 0.012757 | -0.050626 | -0.012738 | 3.1361e-05 | 1.9897e-05 | 0.077382 | 0.077382 | 0.077382 | 0.9744 | -0.49362 | 0.97374 | -0.50658 | 21.2589

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60038 | 0.15318

## res_load
| p_mw | q_mvar
0 | 0.0026551 | 0.00066543
1 | 0.0026416 | 0.00066204
2 | 0.0060949 | 0.0015275
3 | 0.0081387 | 0.0020397
4 | 0.01304 | 0.0032681
5 | 0.00063742 | 0.00015975
6 | 0.00062879 | 0.00015759
7 | 0.013593 | 0.0034068
8 | 0.0026409 | 0.00066187
9 | 0.081101 | 0.020326
10 | 0.0025244 | 0.00063267
11 | 0.011116 | 0.0027859
12 | 0.011368 | 0.002849
13 | 0.060308 | 0.015115
14 | 0.0032937 | 0.00082547
15 | 0.0034338 | 0.0008606
16 | 0.0057686 | 0.0014457
17 | 0.0064255 | 0.0016104
18 | 0.0081538 | 0.0020435
19 | 0.016985 | 0.004257
20 | 0.016887 | 0.0042323
21 | 0.015306 | 0.0038361
22 | 0.078668 | 0.019716
23 | 0.0076191 | 0.0019095
24 | 0.0018621 | 0.0004667
25 | 0.0018632 | 0.00046696
26 | 0.0042365 | 0.0010618
27 | 0.018582 | 0.004657
28 | 0.065283 | 0.016361
29 | 0.050591 | 0.012679
30 | 0.0030345 | 0.00076051
31 | 0.015197 | 0.0038087
32 | 0.007551 | 0.0018925
33 | 0.0057114 | 0.0014314
34 | 0.0068961 | 0.0017283
35 | 0.0095352 | 0.0023897
36 | 0.0074898 | 0.0018771
37 | 0.012781 | 0.0032032
38 | 0.00092418 | 0.00023162

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1