## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-385_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-385_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-385_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-385_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_261-385_0_3_node_29 | 0.4 | n |  | TRUE
5 | bus_LV_261-385_0_3_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_261-385_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_261-385_0_3_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_261-385_0_3_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_261-385_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_261-385_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_261-385_0_3_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_261-385_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_261-385_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_261-385_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_261-385_0_3_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_261-385_0_3_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_261-385_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_261-385_0_3_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_261-385_0_3_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_261-385_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_261-385_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_261-385_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_261-385_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_261-385_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_261-385_0_3_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_261-385_0_3_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_261-385_0_3_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_261-385_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_261-385_0_3_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_261-385_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_261-385_0_3_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_261-385_0_3_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_261-385_0_3_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_261-385_0_3_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_261-385_0_3_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_261-385_0_3_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_261-385_0_3_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_261-385_0_3_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_261-385_0_3_node_16 | 0.4 | n |  | TRUE
40 | bus_LV_261-385_0_3_node_14 | 0.4 | n |  | TRUE
41 | bus_LV_261-385_0_3_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_261-385_0_3_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_261-385_0_3_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_261-385_0_3_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_261-385_0_3_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_261-385_0_3_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_261-385_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_261-385_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_261-385_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_MV_389_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-385_0_3_load_0 | 0 | 0.028676 | 0.0071869 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-385_0_3_load_29 | 4 | 0.0028253 | 0.00070808 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-385_0_3_load_18 | 5 | 0.0093654 | 0.0023472 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-385_0_3_load_48 | 8 | 0.012189 | 0.003055 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-385_0_3_load_34 | 11 | 0.016858 | 0.0042251 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-385_0_3_load_33 | 15 | 0.0066 | 0.0016541 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-385_0_3_load_47 | 16 | 0.0066184 | 0.0016587 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-385_0_3_load_43 | 18 | 0.005865 | 0.0014699 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-385_0_3_load_41 | 19 | 0.0065635 | 0.001645 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-385_0_3_load_17 | 22 | 0.0034336 | 0.00086055 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-385_0_3_load_15 | 23 | 0.0077697 | 0.0019473 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-385_0_3_load_24 | 24 | 0.0023864 | 0.00059808 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-385_0_3_load_49 | 25 | 0.0080961 | 0.0020291 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-385_0_3_load_50 | 26 | 0.0087473 | 0.0021923 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-385_0_3_load_27 | 27 | 0.0049368 | 0.0012373 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-385_0_3_load_30 | 29 | 0.0074664 | 0.0018713 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-385_0_3_load_32 | 31 | 0.016742 | 0.004196 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-385_0_3_load_35 | 33 | 0.016573 | 0.0041536 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-385_0_3_load_44 | 35 | 0.018984 | 0.0047578 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-385_0_3_load_45 | 36 | 0.005543 | 0.0013892 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-385_0_3_load_46 | 37 | 0.0058659 | 0.0014701 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-385_0_3_load_42 | 38 | 0.0023385 | 0.00058608 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-385_0_3_load_16 | 39 | 0.0027842 | 0.00069778 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-385_0_3_load_14 | 40 | 0.0077814 | 0.0019502 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-385_0_3_load_23 | 41 | 0.0055572 | 0.0013928 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-385_0_3_load_20 | 42 | 0.009405 | 0.0023571 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-385_0_3_load_21 | 43 | 0.0042395 | 0.0010625 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-385_0_3_load_26 | 45 | 0.0096702 | 0.0024236 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-385_0_3_load_28 | 46 | 0.0092123 | 0.0023088 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-385_0_3_load_36 | 47 | 0.014386 | 0.0036055 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-385_0_3_load_37 | 48 | 0.01006 | 0.0025213 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-385_0_3_load_39 | 49 | 0.0096216 | 0.0024114 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-385_0_3_line_0 |  | 0 | 1 | 0.020474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-385_0_3_line_1 |  | 1 | 2 | 0.0052318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_261-385_0_3_line_2 |  | 1 | 3 | 0.030333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_261-385_0_3_line_3 |  | 2 | 4 | 0.004077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_261-385_0_3_line_4 |  | 3 | 5 | 0.013234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_261-385_0_3_line_5 |  | 4 | 27 | 0.00028442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_261-385_0_3_line_6 |  | 5 | 30 | 0.026169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_261-385_0_3_line_7 |  | 6 | 7 | 0.007707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-385_0_3_line_8 |  | 6 | 8 | 4.2402e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-385_0_3_line_9 |  | 7 | 31 | 0.0069221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_261-385_0_3_line_10 |  | 7 | 29 | 0.048536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_261-385_0_3_line_11 |  | 8 | 32 | 0.0095379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-385_0_3_line_12 |  | 9 | 10 | 0.014084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_261-385_0_3_line_13 |  | 9 | 11 | 0.013991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_261-385_0_3_line_14 |  | 10 | 12 | 0.24678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_261-385_0_3_line_15 |  | 11 | 33 | 0.016219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_261-385_0_3_line_16 |  | 12 | 16 | 0.021506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-385_0_3_line_17 |  | 13 | 14 | 0.019908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_261-385_0_3_line_18 |  | 13 | 15 | 0.0040493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_261-385_0_3_line_19 |  | 14 | 23 | 0.014492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-385_0_3_line_20 |  | 14 | 24 | 0.02748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_261-385_0_3_line_21 |  | 15 | 28 | 0.025219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_261-385_0_3_line_22 |  | 16 | 37 | 0.017274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-385_0_3_line_23 |  | 17 | 18 | 0.026683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-385_0_3_line_24 |  | 17 | 19 | 0.010806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-385_0_3_line_25 |  | 18 | 37 | 0.01661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-385_0_3_line_26 |  | 19 | 38 | 0.010119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-385_0_3_line_27 |  | 20 | 21 | 0.11505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-385_0_3_line_28 |  | 20 | 22 | 0.032449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-385_0_3_line_29 |  | 21 | 25 | 0.021501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-385_0_3_line_30 |  | 21 | 26 | 0.017631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-385_0_3_line_31 |  | 22 | 39 | 0.018267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-385_0_3_line_32 |  | 23 | 40 | 0.017821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-385_0_3_line_33 |  | 24 | 41 | 0.010024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_261-385_0_3_line_34 |  | 27 | 44 | 0.036813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_261-385_0_3_line_35 |  | 28 | 29 | 0.022873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_261-385_0_3_line_36 |  | 30 | 42 | 0.012905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-385_0_3_line_37 |  | 30 | 43 | 0.016209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_261-385_0_3_line_38 |  | 31 | 47 | 0.023539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_261-385_0_3_line_39 |  | 32 | 34 | 0.022032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-385_0_3_line_40 |  | 33 | 47 | 0.015017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_261-385_0_3_line_41 |  | 34 | 49 | 0.026144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-385_0_3_line_42 |  | 34 | 48 | 0.013536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-385_0_3_line_43 |  | 35 | 36 | 0.012002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-385_0_3_line_44 |  | 36 | 49 | 0.0181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-385_0_3_line_45 |  | 39 | 40 | 0.027769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-385_0_3_line_46 |  | 41 | 44 | 0.017256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_261-385_0_3_line_47 |  | 44 | 45 | 0.014972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-385_0_3_line_48 |  | 45 | 46 | 0.014634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-385_0_3_trafo_21 | 0.63 MVA 20/0.4 kV | 50 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2678743.0144 | 1249102.1047 | 2678745.5361 | 1249111.8008 | 2678750.6441 | 1249117.2282 | 2678751.9606 | 1249119.9268
1 | 2678740.0527 | 1249099.3856 | 2678741.6015 | 1249102.7308 | 2678743.0144 | 1249102.1047
2 | 2678716.2592 | 1249116.3821 | 2678721.6921 | 1249113.2742 | 2678741.6015 | 1249102.7308 | 2678743.0144 | 1249102.1047
3 | 2678740.0527 | 1249099.3856 | 2678738.3424 | 1249095.6824
4 | 2678716.2592 | 1249116.3821 | 2678719.3704 | 1249120.9267 | 2678724.0866 | 1249127.0474
5 | 2678738.0873 | 1249095.808 | 2678738.3424 | 1249095.6824
6 | 2678740.059 | 1249147.7766 | 2678724.0866 | 1249127.0474
7 | 2678709.3299 | 1249204.2765 | 2678712.9927 | 1249211.0634
8 | 2678713.0134 | 1249211.1004 | 2678712.9927 | 1249211.0634
9 | 2678709.3299 | 1249204.2765 | 2678714.5684 | 1249201.5886 | 2678715.5664 | 1249201.8603
10 | 2678709.3299 | 1249204.2765 | 2678693.9338 | 1249175.7958 | 2678688.5349 | 1249160.564
11 | 2678717.6767 | 1249219.4206 | 2678713.0134 | 1249211.1004
12 | 2678774.9964 | 1249183.1554 | 2678780.365 | 1249180.3358 | 2678778.6734 | 1249176.9442 | 2678776.783 | 1249173.1607
13 | 2678776.783 | 1249173.1607 | 2678764.4025 | 1249179.6775
14 | 2678774.9964 | 1249183.1554 | 2678780.365 | 1249180.3358 | 2678812.129 | 1249163.6012 | 2678847.4463 | 1249144.8682 | 2678859.19 | 1249139.0757 | 2678861.1039 | 1249138.2561 | 2678863.2771 | 1249137.8069 | 2678865.2756 | 1249138.0003 | 2678867.1263 | 1249139.0813 | 2678870.8911 | 1249141.5999 | 2678886.9978 | 1249152.3887 | 2678891.393 | 1249155.7608 | 2678894.3751 | 1249158.647 | 2678895.3777 | 1249159.9057 | 2678895.9515 | 1249162.1817 | 2678895.5613 | 1249163.6998 | 2678894.6623 | 1249164.8665 | 2678892.4306 | 1249166.8716 | 2678868.3387 | 1249185.8538 | 2678857.4492 | 1249193.2811 | 2678853.8626 | 1249196.1021 | 2678848.4751 | 1249200.3336 | 2678813.979 | 1249228.3176
15 | 2678764.4025 | 1249179.6775 | 2678750.0503 | 1249187.2322
16 | 2678813.979 | 1249228.3176 | 2678805.1531 | 1249236.1616 | 2678797.1673 | 1249241.6649
17 | 2678656.4515 | 1249157.4517 | 2678653.7568 | 1249154.5249 | 2678658.9982 | 1249149.9133 | 2678656.474 | 1249146.6552 | 2678660.2666 | 1249143.67
18 | 2678656.4515 | 1249157.4517 | 2678659.6441 | 1249154.961
19 | 2678660.2666 | 1249143.67 | 2678651.3282 | 1249132.2625
20 | 2678660.2666 | 1249143.67 | 2678665.4709 | 1249139.5805 | 2678673.8031 | 1249133.6534 | 2678682.4778 | 1249127.4986
21 | 2678679.7037 | 1249139.6806 | 2678670.4378 | 1249146.5404 | 2678659.6441 | 1249154.961
22 | 2678782.7191 | 1249251.1241 | 2678790.1627 | 1249246.4921 | 2678797.1673 | 1249241.6649
23 | 2678744.9293 | 1249272.2211 | 2678768.3863 | 1249259.5038
24 | 2678744.9293 | 1249272.2211 | 2678739.4181 | 1249262.9262
25 | 2678768.3863 | 1249259.5038 | 2678775.1172 | 1249255.8546 | 2678782.7191 | 1249251.1241
26 | 2678734.2571 | 1249254.2218 | 2678739.4181 | 1249262.9262
27 | 2678591.9293 | 1249056.4557 | 2678585.8627 | 1249048.7029 | 2678602.9649 | 1249034.5971 | 2678607.0775 | 1249033.1061 | 2678611.1884 | 1249032.3156 | 2678615.958 | 1249032.5345 | 2678624.2992 | 1249035.047 | 2678627.3834 | 1249035.3659 | 2678629.9453 | 1249035.222 | 2678632.5908 | 1249033.8894 | 2678652.3376 | 1249021.9537 | 2678656.9788 | 1249021.0368 | 2678660.0348 | 1249021.7779 | 2678662.9127 | 1249023.9955 | 2678665.2286 | 1249024.1708 | 2678672.7303 | 1249035.8789 | 2678673.5129 | 1249037.2236
28 | 2678591.9293 | 1249056.4557 | 2678611.943 | 1249081.9978
29 | 2678654.662 | 1249047.6589 | 2678660.3999 | 1249044.3326 | 2678673.5129 | 1249037.2236
30 | 2678682.3643 | 1249052.4855 | 2678673.5129 | 1249037.2236
31 | 2678623.2099 | 1249096.377 | 2678611.943 | 1249081.9978
32 | 2678640.3369 | 1249118.235 | 2678651.3282 | 1249132.2625
33 | 2678682.4778 | 1249127.4986 | 2678684.0333 | 1249126.395 | 2678690.7793 | 1249121.8812
34 | 2678705.3668 | 1249112.6681 | 2678724.3565 | 1249102.5684 | 2678738.0873 | 1249095.808
35 | 2678679.7037 | 1249139.6806 | 2678682.2009 | 1249142.6937 | 2678688.5349 | 1249160.564
36 | 2678740.059 | 1249147.7766 | 2678746.7006 | 1249145.7633 | 2678752.0533 | 1249143.1303
37 | 2678740.059 | 1249147.7766 | 2678724.4971 | 1249152.3112
38 | 2678715.5664 | 1249201.8603 | 2678719.9781 | 1249203.0615 | 2678736.7615 | 1249194.2271
39 | 2678729.7169 | 1249237.894 | 2678717.6767 | 1249219.4206
40 | 2678736.7615 | 1249194.2271 | 2678750.0503 | 1249187.2322
41 | 2678729.7169 | 1249237.894 | 2678738.2462 | 1249231.9029 | 2678750.2763 | 1249225.5691 | 2678751.3728 | 1249223.749 | 2678751.3728 | 1249223.749
42 | 2678729.7169 | 1249237.894 | 2678719.1286 | 1249246.3269
43 | 2678774.6531 | 1249206.1125 | 2678764.2513 | 1249212.1005 | 2678764.2513 | 1249212.1005
44 | 2678751.3728 | 1249223.749 | 2678760.0779 | 1249219.3059 | 2678764.2513 | 1249212.1005
45 | 2678640.3369 | 1249118.235 | 2678623.2099 | 1249096.377
46 | 2678705.3668 | 1249112.6681 | 2678695.7818 | 1249118.534 | 2678690.7793 | 1249121.8812
47 | 2678705.3668 | 1249112.6681 | 2678696.8587 | 1249100.3488
48 | 2678688.7242 | 1249088.1849 | 2678694.4388 | 1249096.8448 | 2678696.8587 | 1249100.3488

## bus_geodata
| x | y | coords
0 | 2678751.9606 | 1249119.9268
1 | 2678743.0144 | 1249102.1047
2 | 2678740.0527 | 1249099.3856
3 | 2678716.2592 | 1249116.3821
4 | 2678738.3424 | 1249095.6824
5 | 2678724.0866 | 1249127.0474
6 | 2678712.9927 | 1249211.0634
7 | 2678709.3299 | 1249204.2765
8 | 2678713.0134 | 1249211.1004
9 | 2678776.783 | 1249173.1607
10 | 2678774.9964 | 1249183.1554
11 | 2678764.4025 | 1249179.6775
12 | 2678813.979 | 1249228.3176
13 | 2678656.4515 | 1249157.4517
14 | 2678660.2666 | 1249143.67
15 | 2678659.6441 | 1249154.961
16 | 2678797.1673 | 1249241.6649
17 | 2678744.9293 | 1249272.2211
18 | 2678768.3863 | 1249259.5038
19 | 2678739.4181 | 1249262.9262
20 | 2678591.9293 | 1249056.4557
21 | 2678673.5129 | 1249037.2236
22 | 2678611.943 | 1249081.9978
23 | 2678651.3282 | 1249132.2625
24 | 2678682.4778 | 1249127.4986
25 | 2678654.662 | 1249047.6589
26 | 2678682.3643 | 1249052.4855
27 | 2678738.0873 | 1249095.808
28 | 2678679.7037 | 1249139.6806
29 | 2678688.5349 | 1249160.564
30 | 2678740.059 | 1249147.7766
31 | 2678715.5664 | 1249201.8603
32 | 2678717.6767 | 1249219.4206
33 | 2678750.0503 | 1249187.2322
34 | 2678729.7169 | 1249237.894
35 | 2678774.6531 | 1249206.1125
36 | 2678764.2513 | 1249212.1005
37 | 2678782.7191 | 1249251.1241
38 | 2678734.2571 | 1249254.2218
39 | 2678623.2099 | 1249096.377
40 | 2678640.3369 | 1249118.235
41 | 2678690.7793 | 1249121.8812
42 | 2678752.0533 | 1249143.1303
43 | 2678724.4971 | 1249152.3112
44 | 2678705.3668 | 1249112.6681
45 | 2678696.8587 | 1249100.3488
46 | 2678688.7242 | 1249088.1849
47 | 2678736.7615 | 1249194.2271
48 | 2678719.1286 | 1249246.3269
49 | 2678751.3728 | 1249223.749
50 | 2678714.3304 | 1249155.2738

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9923 | -0.14649 | 0.028676 | 0.0071869
1 | 0.99284 | -0.1361 | 0 | 0
2 | 0.99246 | -0.14336 | 0 | 0
3 | 0.99531 | -0.088978 | 0 | 0
4 | 0.99216 | -0.14903 | 0.0028253 | 0.00070808
5 | 0.99638 | -0.068493 | 0.0093654 | 0.0023472
6 | 0.97997 | -0.38501 | 0 | 0
7 | 0.98037 | -0.37712 | 0 | 0
8 | 0.97997 | -0.38505 | 0.012189 | 0.003055
9 | 0.97901 | -0.40383 | 0 | 0
10 | 0.97889 | -0.40616 | 0 | 0
11 | 0.97913 | -0.40152 | 0.016858 | 0.0042251
12 | 0.97576 | -0.46755 | 0 | 0
13 | 0.98511 | -0.28484 | 0 | 0
14 | 0.98611 | -0.26551 | 0 | 0
15 | 0.98491 | -0.28877 | 0.0066 | 0.0016541
16 | 0.97522 | -0.47828 | 0.0066184 | 0.0016587
17 | 0.97443 | -0.49368 | 0 | 0
18 | 0.97466 | -0.48932 | 0.005865 | 0.0014699
19 | 0.97435 | -0.49544 | 0.0065635 | 0.001645
20 | 0.98365 | -0.31344 | 0 | 0
21 | 0.98186 | -0.34842 | 0 | 0
22 | 0.98415 | -0.3036 | 0.0034336 | 0.00086055
23 | 0.98559 | -0.27555 | 0.0077697 | 0.0019473
24 | 0.98781 | -0.23258 | 0.0023864 | 0.00059808
25 | 0.9817 | -0.35157 | 0.0080961 | 0.0020291
26 | 0.98172 | -0.35121 | 0.0087473 | 0.0021923
27 | 0.99214 | -0.14942 | 0.0049368 | 0.0012373
28 | 0.9837 | -0.31232 | 0 | 0
29 | 0.9826 | -0.33373 | 0.0074664 | 0.0018713
30 | 0.99859 | -0.026688 | 0 | 0
31 | 0.98018 | -0.38097 | 0.016742 | 0.004196
32 | 0.97958 | -0.39271 | 0 | 0
33 | 0.97935 | -0.39718 | 0.016573 | 0.0041536
34 | 0.97867 | -0.41042 | 0 | 0
35 | 0.97722 | -0.43893 | 0.018984 | 0.0047578
36 | 0.97743 | -0.43478 | 0.005543 | 0.0013892
37 | 0.97488 | -0.48482 | 0.0058659 | 0.0014701
38 | 0.97432 | -0.49588 | 0.0023385 | 0.00058608
39 | 0.9845 | -0.29693 | 0.0027842 | 0.00069778
40 | 0.98509 | -0.28542 | 0.0077814 | 0.0019502
41 | 0.98844 | -0.22045 | 0.0055572 | 0.0013928
42 | 0.99848 | -0.028809 | 0.009405 | 0.0023571
43 | 1 | 0 | -0.28898 | -0.073702
44 | 0.98956 | -0.19904 | 0 | 0
45 | 0.9893 | -0.20407 | 0.0096702 | 0.0024236
46 | 0.98917 | -0.20647 | 0.0092123 | 0.0023088
47 | 0.97963 | -0.39166 | 0.014386 | 0.0036055
48 | 0.97855 | -0.4129 | 0.01006 | 0.0025213
49 | 0.97784 | -0.42668 | 0.0096216 | 0.0024114
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.028676 | -0.0071869 | 0.02869 | 0.0071957 | 1.4197e-05 | 8.8217e-06 | 0.043002 | 0.043001 | 0.043002 | 0.9923 | -0.14649 | 0.99284 | -0.1361 | 11.8136
1 | 0.23807 | 0.06065 | -0.23798 | -0.060596 | 8.342e-05 | 5.3186e-05 | 0.35715 | 0.35715 | 0.35715 | 0.99284 | -0.1361 | 0.99246 | -0.14336 | 32.7063
2 | -0.26676 | -0.067845 | 0.26736 | 0.068233 | 0.00060713 | 0.00038738 | 0.40015 | 0.40015 | 0.40015 | 0.99284 | -0.1361 | 0.99531 | -0.088978 | 36.6442
3 | 0.23798 | 0.060596 | -0.23792 | -0.060555 | 6.5007e-05 | 4.1446e-05 | 0.35715 | 0.35715 | 0.35715 | 0.99246 | -0.14336 | 0.99216 | -0.14903 | 32.7063
4 | -0.26736 | -0.068233 | 0.26763 | 0.068402 | 0.00026489 | 0.00016902 | 0.40015 | 0.40015 | 0.40015 | 0.99531 | -0.088978 | 0.99638 | -0.068493 | 36.6441
5 | 0.23509 | 0.059847 | -0.23509 | -0.059844 | 4.4281e-06 | 2.823e-06 | 0.35292 | 0.35292 | 0.35292 | 0.99216 | -0.14903 | 0.99214 | -0.14942 | 32.3183
6 | -0.27699 | -0.070749 | 0.27756 | 0.071107 | 0.00056104 | 0.00035804 | 0.41414 | 0.41414 | 0.41414 | 0.99638 | -0.068493 | 0.99859 | -0.026688 | 37.9249
7 | -0.056493 | -0.014194 | 0.056514 | 0.014208 | 2.1273e-05 | 1.3517e-05 | 0.085793 | 0.085793 | 0.085793 | 0.97997 | -0.38501 | 0.98037 | -0.37712 | 23.5696
8 | 0.056493 | 0.014194 | -0.056493 | -0.014194 | 1.1703e-07 | 7.4371e-08 | 0.085793 | 0.085793 | 0.085793 | 0.97997 | -0.38501 | 0.97997 | -0.38505 | 23.5696
9 | 0.092003 | 0.023122 | -0.091987 | -0.023112 | 1.6878e-05 | 1.054e-05 | 0.13967 | 0.13967 | 0.13967 | 0.98037 | -0.37712 | 0.98018 | -0.38097 | 12.79
10 | -0.14852 | -0.03733 | 0.14883 | 0.037526 | 0.0003084 | 0.00019553 | 0.22546 | 0.22546 | 0.22546 | 0.98037 | -0.37712 | 0.9826 | -0.33373 | 20.6465
11 | 0.044303 | 0.011139 | -0.044287 | -0.011129 | 1.6193e-05 | 1.0243e-05 | 0.067285 | 0.067285 | 0.067285 | 0.97997 | -0.38505 | 0.97958 | -0.39271 | 18.4848
12 | 0.027361 | 0.0068918 | -0.027358 | -0.0068904 | 3.0463e-06 | 1.4184e-06 | 0.041598 | 0.041599 | 0.041599 | 0.97901 | -0.40383 | 0.97889 | -0.40616 | 3.8094
13 | -0.027361 | -0.0068918 | 0.027364 | 0.0068932 | 3.0263e-06 | 1.409e-06 | 0.041598 | 0.041598 | 0.041598 | 0.97901 | -0.40383 | 0.97913 | -0.40152 | 3.8094
14 | 0.027358 | 0.0068904 | -0.027277 | -0.0068453 | 8.0074e-05 | 4.5063e-05 | 0.041599 | 0.041601 | 0.041601 | 0.97889 | -0.40616 | 0.97576 | -0.46755 | 5.7144
15 | -0.044222 | -0.011118 | 0.044231 | 0.011124 | 9.1603e-06 | 5.2505e-06 | 0.067219 | 0.067218 | 0.067219 | 0.97913 | -0.40152 | 0.97935 | -0.39718 | 6.1555
16 | 0.027277 | 0.0068453 | -0.027264 | -0.0068366 | 1.3957e-05 | 8.6642e-06 | 0.041601 | 0.041601 | 0.041601 | 0.97576 | -0.46755 | 0.97522 | -0.47828 | 11.4288
17 | -0.16326 | -0.041284 | 0.16341 | 0.04138 | 0.00015149 | 9.6196e-05 | 0.24674 | 0.24674 | 0.24674 | 0.98511 | -0.28484 | 0.98611 | -0.26551 | 22.5949
18 | 0.16326 | 0.041284 | -0.16323 | -0.041265 | 3.0814e-05 | 1.9567e-05 | 0.24674 | 0.24674 | 0.24674 | 0.98511 | -0.28484 | 0.98491 | -0.28877 | 22.5949
19 | 0.038703 | 0.0097318 | -0.038684 | -0.0097201 | 1.8543e-05 | 1.1683e-05 | 0.058413 | 0.058413 | 0.058413 | 0.98611 | -0.26551 | 0.98559 | -0.27555 | 16.0476
20 | -0.20211 | -0.051112 | 0.20243 | 0.051316 | 0.00031986 | 0.00020366 | 0.30515 | 0.30515 | 0.30515 | 0.98611 | -0.26551 | 0.98781 | -0.23258 | 27.9441
21 | 0.15663 | 0.039611 | -0.15645 | -0.039498 | 0.00017671 | 0.00011213 | 0.23677 | 0.23677 | 0.23677 | 0.98491 | -0.28877 | 0.9837 | -0.31232 | 21.6818
22 | 0.020645 | 0.0051779 | -0.020639 | -0.005174 | 6.4285e-06 | 3.8988e-06 | 0.031502 | 0.031502 | 0.031502 | 0.97522 | -0.47828 | 0.97488 | -0.48482 | 8.6545
23 | -0.0089028 | -0.0022313 | 0.0089046 | 0.0022321 | 1.8493e-06 | 8.5112e-07 | 0.013595 | 0.013595 | 0.013595 | 0.97443 | -0.49368 | 0.97466 | -0.48932 | 3.7349
24 | 0.0089028 | 0.0022313 | -0.008902 | -0.002231 | 7.4895e-07 | 3.4473e-07 | 0.013595 | 0.013595 | 0.013595 | 0.97443 | -0.49368 | 0.97435 | -0.49544 | 3.7349
25 | -0.01477 | -0.0037021 | 0.014773 | 0.0037039 | 3.1671e-06 | 1.8199e-06 | 0.022549 | 0.022549 | 0.022549 | 0.97466 | -0.48932 | 0.97488 | -0.48482 | 6.1948
26 | 0.0023385 | 0.00058599 | -0.0023385 | -0.00058608 | 4.8402e-08 | -9.5055e-08 | 0.0035714 | 0.0035714 | 0.0035714 | 0.97435 | -0.49544 | 0.97432 | -0.49588 | 0.98116
27 | 0.016874 | 0.0042389 | -0.016846 | -0.0042224 | 2.8121e-05 | 1.654e-05 | 0.02553 | 0.02553 | 0.02553 | 0.98365 | -0.31344 | 0.98186 | -0.34842 | 7.0138
28 | -0.016874 | -0.0042389 | 0.016882 | 0.0042436 | 7.9308e-06 | 4.6636e-06 | 0.02553 | 0.025529 | 0.02553 | 0.98365 | -0.31344 | 0.98415 | -0.3036 | 7.0136
29 | 0.0080973 | 0.0020296 | -0.0080961 | -0.0020291 | 1.2142e-06 | 5.0521e-07 | 0.012272 | 0.012272 | 0.012272 | 0.98186 | -0.34842 | 0.9817 | -0.35157 | 3.3714
30 | 0.0087484 | 0.0021928 | -0.0087473 | -0.0021923 | 1.1622e-06 | 5.2087e-07 | 0.013258 | 0.013258 | 0.013258 | 0.98186 | -0.34842 | 0.98172 | -0.35121 | 3.6424
31 | -0.020315 | -0.0051041 | 0.020322 | 0.005108 | 6.4651e-06 | 3.9055e-06 | 0.030721 | 0.030721 | 0.030721 | 0.98415 | -0.3036 | 0.9845 | -0.29693 | 8.4398
32 | 0.030915 | 0.0077729 | -0.0309 | -0.0077638 | 1.4564e-05 | 9.0938e-06 | 0.046683 | 0.046683 | 0.046683 | 0.98559 | -0.27555 | 0.98509 | -0.28542 | 12.825
33 | -0.20482 | -0.051914 | 0.20494 | 0.05199 | 0.00011944 | 7.6057e-05 | 0.30874 | 0.30874 | 0.30874 | 0.98781 | -0.23258 | 0.98844 | -0.22045 | 28.2732
34 | 0.23015 | 0.058607 | -0.2296 | -0.058257 | 0.00054934 | 0.00035015 | 0.34551 | 0.34551 | 0.34551 | 0.99214 | -0.14942 | 0.98956 | -0.19904 | 31.6403
35 | 0.15645 | 0.039498 | -0.15629 | -0.039397 | 0.00016028 | 0.00010171 | 0.23677 | 0.23677 | 0.23677 | 0.9837 | -0.31232 | 0.9826 | -0.33373 | 21.6819
36 | 0.0094059 | 0.0023575 | -0.009405 | -0.0023571 | 9.5072e-07 | 4.3965e-07 | 0.014016 | 0.014016 | 0.014016 | 0.99859 | -0.026688 | 0.99848 | -0.028809 | 3.8506
37 | -0.28696 | -0.073465 | 0.28733 | 0.073702 | 0.00037143 | 0.00023707 | 0.42816 | 0.42816 | 0.42816 | 0.99859 | -0.026688 | 1 | 0 | 39.2084
38 | 0.075244 | 0.018916 | -0.075206 | -0.018892 | 3.8407e-05 | 2.3691e-05 | 0.11425 | 0.11425 | 0.11425 | 0.98018 | -0.38097 | 0.97963 | -0.39166 | 10.4625
39 | 0.044287 | 0.011129 | -0.04425 | -0.011105 | 3.7404e-05 | 2.3661e-05 | 0.067285 | 0.067285 | 0.067285 | 0.97958 | -0.39271 | 0.97867 | -0.41042 | 18.4848
40 | -0.060804 | -0.015277 | 0.06082 | 0.015287 | 1.6026e-05 | 9.6899e-06 | 0.092399 | 0.092399 | 0.092399 | 0.97935 | -0.39718 | 0.97963 | -0.39166 | 8.4615
41 | 0.034188 | 0.0085832 | -0.034162 | -0.0085665 | 2.6496e-05 | 1.6629e-05 | 0.051987 | 0.051987 | 0.051987 | 0.97867 | -0.41042 | 0.97784 | -0.42668 | 14.2821
42 | 0.010061 | 0.0025219 | -0.01006 | -0.0025213 | 1.188e-06 | 5.9022e-07 | 0.015298 | 0.015298 | 0.015298 | 0.97867 | -0.41042 | 0.97855 | -0.4129 | 4.2028
43 | -0.018984 | -0.0047578 | 0.018988 | 0.0047601 | 3.7609e-06 | 2.2566e-06 | 0.028907 | 0.028907 | 0.028907 | 0.97722 | -0.43893 | 0.97743 | -0.43478 | 7.9415
44 | -0.024531 | -0.0061493 | 0.02454 | 0.0061551 | 9.4665e-06 | 5.8316e-06 | 0.037345 | 0.037345 | 0.037345 | 0.97743 | -0.43478 | 0.97784 | -0.42668 | 10.2597
45 | -0.023106 | -0.0058058 | 0.023119 | 0.0058136 | 1.2705e-05 | 7.7776e-06 | 0.034929 | 0.034929 | 0.034929 | 0.9845 | -0.29693 | 0.98509 | -0.28542 | 9.5959
46 | -0.2105 | -0.053383 | 0.21071 | 0.053521 | 0.00021691 | 0.00013816 | 0.31711 | 0.31711 | 0.31711 | 0.98844 | -0.22045 | 0.98956 | -0.19904 | 29.0393
47 | 0.018888 | 0.0047356 | -0.018884 | -0.0047329 | 4.5293e-06 | 2.7065e-06 | 0.028403 | 0.028403 | 0.028403 | 0.98956 | -0.19904 | 0.9893 | -0.20407 | 7.803
48 | 0.0092133 | 0.0023093 | -0.0092123 | -0.0023088 | 1.0539e-06 | 4.8661e-07 | 0.013858 | 0.013858 | 0.013858 | 0.9893 | -0.20407 | 0.98917 | -0.20647 | 3.8072

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.29322 | 0.074764

## res_load
| p_mw | q_mvar
0 | 0.028676 | 0.0071869
1 | 0.0028253 | 0.00070808
2 | 0.0093654 | 0.0023472
3 | 0.012189 | 0.003055
4 | 0.016858 | 0.0042251
5 | 0.0066 | 0.0016541
6 | 0.0066184 | 0.0016587
7 | 0.005865 | 0.0014699
8 | 0.0065635 | 0.001645
9 | 0.0034336 | 0.00086055
10 | 0.0077697 | 0.0019473
11 | 0.0023864 | 0.00059808
12 | 0.0080961 | 0.0020291
13 | 0.0087473 | 0.0021923
14 | 0.0049368 | 0.0012373
15 | 0.0074664 | 0.0018713
16 | 0.016742 | 0.004196
17 | 0.016573 | 0.0041536
18 | 0.018984 | 0.0047578
19 | 0.005543 | 0.0013892
20 | 0.0058659 | 0.0014701
21 | 0.0023385 | 0.00058608
22 | 0.0027842 | 0.00069778
23 | 0.0077814 | 0.0019502
24 | 0.0055572 | 0.0013928
25 | 0.009405 | 0.0023571
26 | 0.0042395 | 0.0010625
27 | 0.0096702 | 0.0024236
28 | 0.0092123 | 0.0023088
29 | 0.014386 | 0.0036055
30 | 0.01006 | 0.0025213
31 | 0.0096216 | 0.0024114

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1