## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-388_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-388_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_261-388_0_4_node_20 | 0.4 | n |  | TRUE
3 | bus_LV_261-388_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-388_0_4_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_261-388_0_4_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_261-388_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_261-388_0_4_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_261-388_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_261-388_0_4_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_261-388_0_4_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_261-388_0_4_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_261-388_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_261-388_0_4_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_261-388_0_4_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_261-388_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_261-388_0_4_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_261-388_0_4_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_261-388_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_261-388_0_4_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_261-388_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_261-388_0_4_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_261-388_0_4_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_261-388_0_4_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_261-388_0_4_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_261-388_0_4_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_261-388_0_4_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_261-388_0_4_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_261-388_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_261-388_0_4_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_261-388_0_4_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_261-388_0_4_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_261-388_0_4_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_261-388_0_4_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_261-388_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_261-388_0_4_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_261-388_0_4_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_261-388_0_4_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_261-388_0_4_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_261-388_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_261-388_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_261-388_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_MV_535_0_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-388_0_4_load_0 | 0 | 0.0093174 | 0.0023352 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-388_0_4_load_22 | 5 | 0.055585 | 0.013931 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-388_0_4_load_26 | 9 | 0.0057239 | 0.0014346 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-388_0_4_load_27 | 10 | 0.012479 | 0.0031275 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-388_0_4_load_23 | 11 | 0.018608 | 0.0046637 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-388_0_4_load_25 | 13 | 0.0051106 | 0.0012808 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-388_0_4_load_49 | 14 | 0.006966 | 0.0017458 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-388_0_4_load_33 | 16 | 0.011621 | 0.0029124 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-388_0_4_load_32 | 17 | 0.015848 | 0.0039718 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-388_0_4_load_41 | 19 | 0.0047684 | 0.0011951 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-388_0_4_load_43 | 21 | 0.0085815 | 0.0021507 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-388_0_4_load_46 | 22 | 0.012196 | 0.0030566 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-388_0_4_load_29 | 23 | 0.027829 | 0.0069746 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-388_0_4_load_30 | 24 | 0.021691 | 0.0054362 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-388_0_4_load_31 | 25 | 0.044698 | 0.011202 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-388_0_4_load_28 | 26 | 0.030611 | 0.0076719 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-388_0_4_load_50 | 27 | 0.014713 | 0.0036874 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-388_0_4_load_40 | 29 | 0.007383 | 0.0018504 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-388_0_4_load_39 | 30 | 0.0071582 | 0.001794 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-388_0_4_load_44 | 31 | 0.030071 | 0.0075365 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-388_0_4_load_42 | 32 | 0.015632 | 0.0039178 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-388_0_4_load_48 | 33 | 0.0080914 | 0.0020279 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-388_0_4_load_24 | 34 | 0.013532 | 0.0033915 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-388_0_4_load_35 | 35 | 0.099925 | 0.025044 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-388_0_4_load_34 | 36 | 0.013406 | 0.0033598 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-388_0_4_load_47 | 37 | 0.026006 | 0.0065177 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-388_0_4_load_45 | 38 | 0.01333 | 0.0033407 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-388_0_4_load_38 | 39 | 0.0335 | 0.008396 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-388_0_4_load_37 | 40 | 0.021164 | 0.0053043 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-388_0_4_line_0 |  | 0 | 1 | 0.028275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-388_0_4_line_1 |  | 1 | 2 | 0.005379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-388_0_4_line_2 |  | 1 | 3 | 0.013704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-388_0_4_line_3 |  | 2 | 27 | 0.010698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-388_0_4_line_4 |  | 2 | 18 | 0.010121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-388_0_4_line_5 |  | 3 | 4 | 0.019868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_261-388_0_4_line_6 |  | 3 | 5 | 0.018873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_261-388_0_4_line_7 |  | 4 | 25 | 0.041538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_261-388_0_4_line_8 |  | 4 | 26 | 0.014216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-388_0_4_line_9 |  | 4 | 20 | 0.016054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-388_0_4_line_10 |  | 5 | 6 | 0.017694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_261-388_0_4_line_11 |  | 6 | 7 | 0.0169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_261-388_0_4_line_12 |  | 7 | 23 | 0.007287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_261-388_0_4_line_13 |  | 7 | 24 | 0.020575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-388_0_4_line_14 |  | 8 | 9 | 0.040331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-388_0_4_line_15 |  | 8 | 10 | 0.0078038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-388_0_4_line_16 |  | 8 | 11 | 0.010764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-388_0_4_line_17 |  | 9 | 33 | 0.0061068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-388_0_4_line_18 |  | 11 | 34 | 0.015316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-388_0_4_line_19 |  | 12 | 13 | 0.012701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-388_0_4_line_20 |  | 12 | 14 | 0.0020974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-388_0_4_line_21 |  | 13 | 34 | 0.015281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-388_0_4_line_22 |  | 14 | 18 | 0.0083675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-388_0_4_line_23 |  | 15 | 16 | 0.014538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-388_0_4_line_24 |  | 15 | 17 | 0.0057092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-388_0_4_line_25 |  | 16 | 37 | 0.013395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-388_0_4_line_26 |  | 18 | 19 | 0.01379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-388_0_4_line_27 |  | 19 | 29 | 0.013227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-388_0_4_line_28 |  | 20 | 21 | 0.014445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-388_0_4_line_29 |  | 20 | 22 | 0.024881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-388_0_4_line_30 |  | 21 | 32 | 0.020065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-388_0_4_line_31 |  | 22 | 37 | 0.015912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-388_0_4_line_32 |  | 23 | 39 | 0.019162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_261-388_0_4_line_33 |  | 24 | 38 | 0.017617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-388_0_4_line_34 |  | 28 | 29 | 0.010119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-388_0_4_line_35 |  | 28 | 30 | 0.0084691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-388_0_4_line_36 |  | 31 | 32 | 0.018691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-388_0_4_line_37 |  | 35 | 36 | 0.0077451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-388_0_4_line_38 |  | 36 | 41 | 0.0085255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-388_0_4_line_39 |  | 39 | 40 | 0.0043796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-388_0_4_line_40 |  | 40 | 41 | 0.011095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-388_0_4_trafo_31 | 0.63 MVA 20/0.4 kV | 42 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2682123.9535 | 1247453.9126 | 2682125.2713 | 1247448.7604 | 2682142.5894 | 1247433.6907
1 | 2682129.1452 | 1247455.3744 | 2682123.9535 | 1247453.9126
2 | 2682110.7637 | 1247450.1939 | 2682115.4362 | 1247451.5151 | 2682123.9535 | 1247453.9126
3 | 2682129.1452 | 1247455.3744 | 2682139.4413 | 1247458.2793
4 | 2682126.4193 | 1247465.1216 | 2682127.4206 | 1247461.544 | 2682127.969 | 1247459.5835 | 2682128.7796 | 1247456.6815 | 2682129.1452 | 1247455.3744
5 | 2682107.1868 | 1247459.7625 | 2682111.8219 | 1247461.0498 | 2682113.702 | 1247455.6497 | 2682115.4362 | 1247451.5151 | 2682110.7637 | 1247450.1939
6 | 2682110.7637 | 1247450.1939 | 2682092.5994 | 1247445.0705
7 | 2682107.1868 | 1247459.7625 | 2682105.3399 | 1247466.0304 | 2682080.7 | 1247490.8924
8 | 2682107.1868 | 1247459.7625 | 2682098.007 | 1247457.2002 | 2682093.5372 | 1247455.7961
9 | 2682107.1868 | 1247459.7625 | 2682111.8219 | 1247461.0498 | 2682110.5319 | 1247464.7458 | 2682113.9382 | 1247466.9501 | 2682112.3876 | 1247469.8308
10 | 2682075.6369 | 1247440.0447 | 2682081.7431 | 1247442.0084 | 2682092.5994 | 1247445.0705
11 | 2682064.1257 | 1247446.5568 | 2682067.7181 | 1247440.2352 | 2682069.0574 | 1247437.8854 | 2682075.6369 | 1247440.0447
12 | 2682064.1257 | 1247446.5568 | 2682059.4492 | 1247452.1453
13 | 2682064.1257 | 1247446.5568 | 2682044.5342 | 1247440.2729
14 | 2682137.9 | 1247527.2929 | 2682164.3392 | 1247520.5987 | 2682159.7275 | 1247508.3827
15 | 2682137.9 | 1247527.2929 | 2682139.8914 | 1247534.8383
16 | 2682137.9 | 1247527.2929 | 2682135.0375 | 1247516.9168
17 | 2682157.5706 | 1247502.6695 | 2682159.7275 | 1247508.3827
18 | 2682130.9646 | 1247502.1528 | 2682135.0375 | 1247516.9168
19 | 2682123.5229 | 1247475.1778 | 2682126.9007 | 1247487.4218
20 | 2682123.5229 | 1247475.1778 | 2682124.1034 | 1247473.1623
21 | 2682130.9646 | 1247502.1528 | 2682126.9007 | 1247487.4218
22 | 2682126.4193 | 1247465.1216 | 2682124.1034 | 1247473.1623
23 | 2682068.1511 | 1247521.334 | 2682067.6659 | 1247520.3711 | 2682067.9394 | 1247519.1629 | 2682068.647 | 1247518.2498 | 2682076.1024 | 1247510.0726
24 | 2682068.1511 | 1247521.334 | 2682070.2923 | 1247522.1643 | 2682071.8016 | 1247525.225
25 | 2682085.127 | 1247500.1745 | 2682076.1024 | 1247510.0726
26 | 2682126.4193 | 1247465.1216 | 2682136.2838 | 1247467.8714 | 2682139.7099 | 1247468.7978
27 | 2682139.7099 | 1247468.7978 | 2682152.4781 | 1247472.2504
28 | 2682112.3876 | 1247469.8308 | 2682114.7186 | 1247477.1351 | 2682116.4873 | 1247483.6777
29 | 2682112.3876 | 1247469.8308 | 2682109.2087 | 1247473.5673 | 2682095.8072 | 1247488.3796
30 | 2682121.7238 | 1247503.0477 | 2682116.4873 | 1247483.6777
31 | 2682095.8072 | 1247488.3796 | 2682086.2572 | 1247498.9349 | 2682085.127 | 1247500.1745
32 | 2682059.4492 | 1247452.1453 | 2682047.152 | 1247466.8403
33 | 2682027.7591 | 1247434.8925 | 2682044.5342 | 1247440.2729
34 | 2682162.2461 | 1247474.8917 | 2682152.4781 | 1247472.2504
35 | 2682162.2461 | 1247474.8917 | 2682170.4217 | 1247477.102
36 | 2682121.7238 | 1247503.0477 | 2682126.6016 | 1247521.0912
37 | 2682026.499 | 1247490.9466 | 2682031.6027 | 1247485.1209
38 | 2682037.2206 | 1247478.7082 | 2682031.6027 | 1247485.1209
39 | 2682044.3413 | 1247470.199 | 2682047.152 | 1247466.8403
40 | 2682037.2206 | 1247478.7082 | 2682044.3413 | 1247470.199

## bus_geodata
| x | y | coords
0 | 2682142.5894 | 1247433.6907
1 | 2682123.9535 | 1247453.9126
2 | 2682129.1452 | 1247455.3744
3 | 2682110.7637 | 1247450.1939
4 | 2682107.1868 | 1247459.7625
5 | 2682092.5994 | 1247445.0705
6 | 2682075.6369 | 1247440.0447
7 | 2682064.1257 | 1247446.5568
8 | 2682137.9 | 1247527.2929
9 | 2682159.7275 | 1247508.3827
10 | 2682139.8914 | 1247534.8383
11 | 2682135.0375 | 1247516.9168
12 | 2682123.5229 | 1247475.1778
13 | 2682126.9007 | 1247487.4218
14 | 2682124.1034 | 1247473.1623
15 | 2682068.1511 | 1247521.334
16 | 2682076.1024 | 1247510.0726
17 | 2682071.8016 | 1247525.225
18 | 2682126.4193 | 1247465.1216
19 | 2682139.7099 | 1247468.7978
20 | 2682112.3876 | 1247469.8308
21 | 2682116.4873 | 1247483.6777
22 | 2682095.8072 | 1247488.3796
23 | 2682059.4492 | 1247452.1453
24 | 2682044.5342 | 1247440.2729
25 | 2682080.7 | 1247490.8924
26 | 2682093.5372 | 1247455.7961
27 | 2682139.4413 | 1247458.2793
28 | 2682162.2461 | 1247474.8917
29 | 2682152.4781 | 1247472.2504
30 | 2682170.4217 | 1247477.102
31 | 2682126.6016 | 1247521.0912
32 | 2682121.7238 | 1247503.0477
33 | 2682157.5706 | 1247502.6695
34 | 2682130.9646 | 1247502.1528
35 | 2682026.499 | 1247490.9466
36 | 2682031.6027 | 1247485.1209
37 | 2682085.127 | 1247500.1745
38 | 2682027.7591 | 1247434.8925
39 | 2682047.152 | 1247466.8403
40 | 2682044.3413 | 1247470.199
41 | 2682037.2206 | 1247478.7082
42 | 2682107.1868 | 1247459.7625

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99125 | -0.16761 | 0.0093174 | 0.0023352
1 | 0.99149 | -0.16294 | 0 | 0
2 | 0.99098 | -0.17292 | 0 | 0
3 | 0.99293 | -0.13532 | 0 | 0
4 | 0.99475 | -0.10023 | 0 | 0
5 | 0.99168 | -0.15924 | 0.055585 | 0.013931
6 | 0.99075 | -0.17736 | 0 | 0
7 | 0.98985 | -0.19469 | 0 | 0
8 | 0.98703 | -0.2496 | 0 | 0
9 | 0.98651 | -0.25957 | 0.0057239 | 0.0014346
10 | 0.98694 | -0.25134 | 0.012479 | 0.0031275
11 | 0.98729 | -0.24454 | 0.018608 | 0.0046637
12 | 0.98948 | -0.20193 | 0 | 0
13 | 0.98874 | -0.21631 | 0.0051106 | 0.0012808
14 | 0.9896 | -0.19956 | 0.006966 | 0.0017458
15 | 0.99017 | -0.18887 | 0 | 0
16 | 0.99038 | -0.18477 | 0.011621 | 0.0029124
17 | 0.99008 | -0.19048 | 0.015848 | 0.0039718
18 | 0.99014 | -0.18907 | 0 | 0
19 | 0.9899 | -0.1938 | 0.0047684 | 0.0011951
20 | 0.99299 | -0.13421 | 0 | 0
21 | 0.99227 | -0.14808 | 0.0085815 | 0.0021507
22 | 0.99149 | -0.16314 | 0.012196 | 0.0030566
23 | 0.98952 | -0.20104 | 0.027829 | 0.0069746
24 | 0.98919 | -0.20752 | 0.021691 | 0.0054362
25 | 1 | 0 | -0.55812 | -0.14164
26 | 0.99435 | -0.1079 | 0.030611 | 0.0076719
27 | 0.99083 | -0.17571 | 0.014713 | 0.0036874
28 | 0.98966 | -0.19851 | 0 | 0
29 | 0.98972 | -0.19722 | 0.007383 | 0.0018504
30 | 0.9896 | -0.19959 | 0.0071582 | 0.001794
31 | 0.99092 | -0.1743 | 0.030071 | 0.0075365
32 | 0.99143 | -0.16433 | 0.015632 | 0.0039178
33 | 0.98647 | -0.26046 | 0.0080914 | 0.0020279
34 | 0.98792 | -0.23225 | 0.013532 | 0.0033915
35 | 0.98474 | -0.29398 | 0.099925 | 0.025044
36 | 0.98545 | -0.28008 | 0.013406 | 0.0033598
37 | 0.99071 | -0.17824 | 0.026006 | 0.0065177
38 | 0.98897 | -0.2117 | 0.01333 | 0.0033407
39 | 0.98804 | -0.22973 | 0.0335 | 0.008396
40 | 0.9875 | -0.24025 | 0.021164 | 0.0053043
41 | 0.98634 | -0.26276 | 0 | 0
42 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0093174 | -0.0023352 | 0.0093195 | 0.0023361 | 2.0743e-06 | 9.6296e-07 | 0.013987 | 0.013987 | 0.013987 | 0.99125 | -0.16761 | 0.99149 | -0.16294 | 3.8425
1 | 0.10483 | 0.026388 | -0.10478 | -0.026356 | 4.9957e-05 | 3.1903e-05 | 0.15737 | 0.15737 | 0.15737 | 0.99149 | -0.16294 | 0.99098 | -0.17292 | 43.2344
2 | -0.11415 | -0.028724 | 0.1143 | 0.028821 | 0.0001509 | 9.6401e-05 | 0.17136 | 0.17136 | 0.17136 | 0.99149 | -0.16294 | 0.99293 | -0.13532 | 47.0769
3 | 0.014715 | 0.0036885 | -0.014713 | -0.0036874 | 1.9586e-06 | 1.1157e-06 | 0.022095 | 0.022095 | 0.022095 | 0.99098 | -0.17292 | 0.99083 | -0.17571 | 6.0702
4 | 0.090069 | 0.022668 | -0.09 | -0.022624 | 6.9457e-05 | 4.4322e-05 | 0.13528 | 0.13528 | 0.13528 | 0.99098 | -0.17292 | 0.99014 | -0.18907 | 37.1643
5 | -0.40212 | -0.10149 | 0.4028 | 0.10192 | 0.00067699 | 0.00043224 | 0.60288 | 0.60288 | 0.60288 | 0.99293 | -0.13532 | 0.99475 | -0.10023 | 41.4064
6 | 0.28782 | 0.072669 | -0.28749 | -0.072459 | 0.00032947 | 0.00020988 | 0.43152 | 0.43152 | 0.43152 | 0.99293 | -0.13532 | 0.99168 | -0.15924 | 29.6372
7 | -0.5538 | -0.13993 | 0.55647 | 0.14164 | 0.002675 | 0.0017098 | 0.82881 | 0.82881 | 0.82881 | 0.99475 | -0.10023 | 1 | 0 | 56.924
8 | 0.030622 | 0.0076788 | -0.030611 | -0.0076719 | 1.1186e-05 | 6.9749e-06 | 0.045808 | 0.045808 | 0.045808 | 0.99475 | -0.10023 | 0.99435 | -0.1079 | 12.5847
9 | 0.12038 | 0.030333 | -0.12018 | -0.030208 | 0.00019533 | 0.00012481 | 0.18013 | 0.18013 | 0.18013 | 0.99475 | -0.10023 | 0.99299 | -0.13421 | 49.4857
10 | 0.2319 | 0.058528 | -0.2317 | -0.058401 | 0.00020102 | 0.00012774 | 0.34811 | 0.34811 | 0.34811 | 0.99168 | -0.15924 | 0.99075 | -0.17736 | 23.9089
11 | 0.2317 | 0.058401 | -0.23151 | -0.058279 | 0.000192 | 0.00012201 | 0.34811 | 0.34811 | 0.34811 | 0.99075 | -0.17736 | 0.98985 | -0.19469 | 23.9089
12 | 0.19646 | 0.049487 | -0.19641 | -0.049449 | 5.9625e-05 | 3.7785e-05 | 0.29543 | 0.29543 | 0.29543 | 0.98985 | -0.19469 | 0.98952 | -0.20104 | 20.2904
13 | 0.035045 | 0.0087919 | -0.035023 | -0.0087784 | 2.1416e-05 | 1.3442e-05 | 0.052685 | 0.052685 | 0.052685 | 0.98985 | -0.19469 | 0.98919 | -0.20752 | 14.4738
14 | 0.013822 | 0.0034663 | -0.013816 | -0.0034626 | 6.5678e-06 | 3.6882e-06 | 0.020839 | 0.020839 | 0.020839 | 0.98703 | -0.2496 | 0.98651 | -0.25957 | 5.725
15 | 0.01248 | 0.003128 | -0.012479 | -0.0031275 | 1.0359e-06 | 5.6323e-07 | 0.018814 | 0.018814 | 0.018814 | 0.98703 | -0.2496 | 0.98694 | -0.25134 | 5.1687
16 | -0.026302 | -0.0065943 | 0.026308 | 0.0065982 | 6.3466e-06 | 3.9242e-06 | 0.039653 | 0.039653 | 0.039653 | 0.98703 | -0.2496 | 0.98729 | -0.24454 | 10.8937
17 | 0.0080917 | 0.002028 | -0.0080914 | -0.0020279 | 3.4114e-07 | 1.4036e-07 | 0.012205 | 0.012205 | 0.012205 | 0.98651 | -0.25957 | 0.98647 | -0.26046 | 3.3531
18 | -0.044917 | -0.011262 | 0.044943 | 0.011279 | 2.6322e-05 | 1.665e-05 | 0.067699 | 0.067699 | 0.067699 | 0.98729 | -0.24454 | 0.98792 | -0.23225 | 18.5986
19 | 0.063674 | 0.016007 | -0.06363 | -0.015979 | 4.3688e-05 | 2.7797e-05 | 0.095772 | 0.095772 | 0.095772 | 0.98948 | -0.20193 | 0.98874 | -0.21631 | 26.3111
20 | -0.063674 | -0.016007 | 0.063681 | 0.016012 | 7.2144e-06 | 4.5902e-06 | 0.095772 | 0.095772 | 0.095772 | 0.98948 | -0.20193 | 0.9896 | -0.19956 | 26.3111
21 | 0.05852 | 0.014698 | -0.058475 | -0.01467 | 4.4459e-05 | 2.8258e-05 | 0.088081 | 0.088081 | 0.088081 | 0.98874 | -0.21631 | 0.98792 | -0.23225 | 24.1982
22 | -0.070647 | -0.017757 | 0.070682 | 0.01778 | 3.5421e-05 | 2.2562e-05 | 0.10625 | 0.10625 | 0.10625 | 0.9896 | -0.19956 | 0.99014 | -0.18907 | 29.1887
23 | -0.015849 | -0.0039725 | 0.015852 | 0.0039743 | 3.0927e-06 | 1.7923e-06 | 0.023818 | 0.023818 | 0.023818 | 0.99017 | -0.18887 | 0.99038 | -0.18477 | 6.5434
24 | 0.015849 | 0.0039725 | -0.015848 | -0.0039718 | 1.2146e-06 | 7.0388e-07 | 0.023818 | 0.023818 | 0.023818 | 0.99017 | -0.18887 | 0.99008 | -0.19048 | 6.5434
25 | -0.027473 | -0.0068868 | 0.027481 | 0.0068921 | 8.5584e-06 | 5.305e-06 | 0.041278 | 0.041278 | 0.041278 | 0.99038 | -0.18477 | 0.99071 | -0.17824 | 11.34
26 | 0.019317 | 0.0048437 | -0.019313 | -0.0048411 | 4.3583e-06 | 2.612e-06 | 0.029031 | 0.029031 | 0.029031 | 0.99014 | -0.18907 | 0.9899 | -0.1938 | 7.9756
27 | 0.014544 | 0.003646 | -0.014542 | -0.0036447 | 2.3709e-06 | 1.3474e-06 | 0.021863 | 0.021863 | 0.021863 | 0.9899 | -0.1938 | 0.98972 | -0.19722 | 6.0064
28 | 0.054371 | 0.013659 | -0.054335 | -0.013636 | 3.5968e-05 | 2.2833e-05 | 0.081487 | 0.081487 | 0.081487 | 0.99299 | -0.13421 | 0.99227 | -0.14808 | 22.3866
29 | 0.065813 | 0.016549 | -0.065722 | -0.016491 | 9.0784e-05 | 5.778e-05 | 0.098641 | 0.098641 | 0.098641 | 0.99299 | -0.13421 | 0.99149 | -0.16314 | 27.0991
30 | 0.045753 | 0.011486 | -0.045718 | -0.011463 | 3.5429e-05 | 2.2416e-05 | 0.068618 | 0.068618 | 0.068618 | 0.99227 | -0.14808 | 0.99143 | -0.16433 | 18.8512
31 | 0.053526 | 0.013434 | -0.053487 | -0.01341 | 3.8511e-05 | 2.4442e-05 | 0.080338 | 0.080338 | 0.080338 | 0.99149 | -0.16314 | 0.99071 | -0.17824 | 22.0708
32 | 0.16858 | 0.042474 | -0.16835 | -0.042327 | 0.00023103 | 0.00014737 | 0.25358 | 0.25358 | 0.25358 | 0.98952 | -0.20104 | 0.98804 | -0.22973 | 34.8325
33 | 0.013332 | 0.0033422 | -0.01333 | -0.0033407 | 2.6573e-06 | 1.4746e-06 | 0.020056 | 0.020056 | 0.020056 | 0.98919 | -0.20752 | 0.98897 | -0.2117 | 5.5098
34 | -0.0071586 | -0.0017941 | 0.007159 | 0.0017943 | 4.396e-07 | 1.5132e-07 | 0.010763 | 0.010763 | 0.010763 | 0.98966 | -0.19851 | 0.98972 | -0.19722 | 2.957
35 | 0.0071586 | 0.0017941 | -0.0071582 | -0.001794 | 3.6793e-07 | 1.2666e-07 | 0.010763 | 0.010763 | 0.010763 | 0.98966 | -0.19851 | 0.9896 | -0.19959 | 2.957
36 | -0.030071 | -0.0075365 | 0.030085 | 0.0075454 | 1.4292e-05 | 8.9062e-06 | 0.045156 | 0.045156 | 0.045156 | 0.99092 | -0.1743 | 0.99143 | -0.16433 | 12.4056
37 | -0.099925 | -0.025044 | 0.099991 | 0.025086 | 6.6218e-05 | 4.2281e-05 | 0.15099 | 0.15099 | 0.15099 | 0.98474 | -0.29398 | 0.98545 | -0.28008 | 41.4819
38 | -0.1134 | -0.028446 | 0.11349 | 0.028505 | 9.3745e-05 | 5.9888e-05 | 0.17124 | 0.17124 | 0.17124 | 0.98545 | -0.28008 | 0.98634 | -0.26276 | 47.043
39 | 0.13484 | 0.033931 | -0.13478 | -0.033888 | 6.7765e-05 | 4.3313e-05 | 0.20313 | 0.20313 | 0.20313 | 0.98804 | -0.22973 | 0.9875 | -0.24025 | 55.8044
40 | 0.11361 | 0.028583 | -0.11349 | -0.028505 | 0.000122 | 7.794e-05 | 0.17124 | 0.17124 | 0.17124 | 0.9875 | -0.24025 | 0.98634 | -0.26276 | 47.043

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60282 | 0.15285

## res_load
| p_mw | q_mvar
0 | 0.0093174 | 0.0023352
1 | 0.055585 | 0.013931
2 | 0.0057239 | 0.0014346
3 | 0.012479 | 0.0031275
4 | 0.018608 | 0.0046637
5 | 0.0051106 | 0.0012808
6 | 0.006966 | 0.0017458
7 | 0.011621 | 0.0029124
8 | 0.015848 | 0.0039718
9 | 0.0047684 | 0.0011951
10 | 0.0085815 | 0.0021507
11 | 0.012196 | 0.0030566
12 | 0.027829 | 0.0069746
13 | 0.021691 | 0.0054362
14 | 0.044698 | 0.011202
15 | 0.030611 | 0.0076719
16 | 0.014713 | 0.0036874
17 | 0.007383 | 0.0018504
18 | 0.0071582 | 0.001794
19 | 0.030071 | 0.0075365
20 | 0.015632 | 0.0039178
21 | 0.0080914 | 0.0020279
22 | 0.013532 | 0.0033915
23 | 0.099925 | 0.025044
24 | 0.013406 | 0.0033598
25 | 0.026006 | 0.0065177
26 | 0.01333 | 0.0033407
27 | 0.0335 | 0.008396
28 | 0.021164 | 0.0053043

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1