## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-390_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-390_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-390_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-390_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-390_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-390_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-390_0_7_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_261-390_0_7_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_261-390_0_7_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_261-390_0_7_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_261-390_0_7_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_261-390_0_7_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_261-390_0_7_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_261-390_0_7_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_261-390_0_7_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_261-390_0_7_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_261-390_0_7_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_261-390_0_7_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_261-390_0_7_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_261-390_0_7_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_261-390_0_7_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_261-390_0_7_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_261-390_0_7_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_261-390_0_7_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_261-390_0_7_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_261-390_0_7_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_261-390_0_7_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_261-390_0_7_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_261-390_0_7_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_261-390_0_7_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_261-390_0_7_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_261-390_0_7_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_261-390_0_7_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_261-390_0_7_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_261-390_0_7_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_261-390_0_7_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_261-390_0_7_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_261-390_0_7_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_261-390_0_7_node_33 | 0.4 | n |  | TRUE
39 | bus_MV_530_1_node_185 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-390_0_7_load_0 | 0 | 0.036993 | 0.0092713 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-390_0_7_load_1 | 1 | 0.01257 | 0.0031504 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-390_0_7_load_5 | 5 | 0.016561 | 0.0041505 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-390_0_7_load_41 | 8 | 0.044644 | 0.011189 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-390_0_7_load_37 | 9 | 0.015745 | 0.0039462 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-390_0_7_load_43 | 10 | 0.065482 | 0.016411 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-390_0_7_load_44 | 14 | 0.069877 | 0.017513 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-390_0_7_load_31 | 16 | 0.021208 | 0.0053152 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-390_0_7_load_29 | 17 | 0.013543 | 0.0033941 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-390_0_7_load_27 | 20 | 0.021844 | 0.0054747 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-390_0_7_load_38 | 22 | 0.018606 | 0.0046631 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-390_0_7_load_40 | 24 | 0.042386 | 0.010623 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-390_0_7_load_39 | 25 | 0.018846 | 0.0047232 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-390_0_7_load_35 | 27 | 0.01642 | 0.0041152 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-390_0_7_load_30 | 28 | 0.0058984 | 0.0014783 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-390_0_7_load_36 | 29 | 0.021311 | 0.0053411 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-390_0_7_load_28 | 32 | 0.0066251 | 0.0016604 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-390_0_7_load_42 | 33 | 0.062964 | 0.01578 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-390_0_7_load_26 | 34 | 0.018884 | 0.0047327 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-390_0_7_load_25 | 35 | 0.0084541 | 0.0021188 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-390_0_7_load_32 | 36 | 0.02965 | 0.0074311 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-390_0_7_load_34 | 37 | 0.014426 | 0.0036156 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-390_0_7_load_33 | 38 | 0.017718 | 0.0044404 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-390_0_7_line_0 |  | 0 | 1 | 0.022223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_261-390_0_7_line_1 |  | 0 | 2 | 0.014265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_261-390_0_7_line_2 |  | 1 | 3 | 0.001026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_261-390_0_7_line_3 |  | 2 | 4 | 0.005539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_261-390_0_7_line_4 |  | 2 | 5 | 0.011991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-390_0_7_line_5 |  | 3 | 6 | 0.02157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_261-390_0_7_line_6 |  | 4 | 7 | 0.0097513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_261-390_0_7_line_7 |  | 4 | 8 | 0.025039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-390_0_7_line_8 |  | 5 | 9 | 0.01453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-390_0_7_line_9 |  | 6 | 16 | 0.011738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-390_0_7_line_10 |  | 6 | 17 | 0.0095197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_261-390_0_7_line_11 |  | 7 | 10 | 0.015692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_261-390_0_7_line_12 |  | 10 | 14 | 0.030144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_261-390_0_7_line_13 |  | 11 | 12 | 0.009285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-390_0_7_line_14 |  | 11 | 13 | 0.000817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-390_0_7_line_15 |  | 11 | 14 | 0.010803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-390_0_7_line_16 |  | 12 | 15 | 0.003596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-390_0_7_line_17 |  | 13 | 33 | 0.011114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-390_0_7_line_18 |  | 15 | 36 | 0.0071151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-390_0_7_line_19 |  | 17 | 28 | 0.0080918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_261-390_0_7_line_20 |  | 18 | 19 | 0.020309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-390_0_7_line_21 |  | 18 | 20 | 0.010824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-390_0_7_line_22 |  | 19 | 29 | 0.0099699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-390_0_7_line_23 |  | 19 | 21 | 0.011511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-390_0_7_line_24 |  | 20 | 32 | 0.017184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-390_0_7_line_25 |  | 21 | 22 | 0.0094713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-390_0_7_line_26 |  | 22 | 25 | 0.015576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-390_0_7_line_27 |  | 23 | 24 | 0.015879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-390_0_7_line_28 |  | 23 | 25 | 0.011065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-390_0_7_line_29 |  | 26 | 27 | 0.010076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_261-390_0_7_line_30 |  | 26 | 28 | 0.0086096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_261-390_0_7_line_31 |  | 27 | 30 | 0.013211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_261-390_0_7_line_32 |  | 30 | 31 | 0.017896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-390_0_7_line_33 |  | 30 | 32 | 0.011535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-390_0_7_line_34 |  | 31 | 34 | 0.011889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-390_0_7_line_35 |  | 31 | 35 | 0.009014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-390_0_7_line_36 |  | 36 | 38 | 0.012763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-390_0_7_line_37 |  | 37 | 38 | 0.0094551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-390_0_7_trafo_4 | 0.63 MVA 20/0.4 kV | 39 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2682341.0851 | 1248599.8931 | 2682351.6701 | 1248619.4332
1 | 2682334.1894 | 1248587.4059 | 2682336.8949 | 1248592.1581 | 2682341.0851 | 1248599.8931
2 | 2682352.1588 | 1248620.3353 | 2682351.6701 | 1248619.4332
3 | 2682329.4518 | 1248590.2978 | 2682334.1894 | 1248587.4059
4 | 2682334.1894 | 1248587.4059 | 2682338.7342 | 1248584.8004 | 2682344.4288 | 1248581.1725
5 | 2682370.8426 | 1248609.4646 | 2682352.1588 | 1248620.3353
6 | 2682324.5315 | 1248581.8789 | 2682326.6856 | 1248585.5559 | 2682329.4518 | 1248590.2978
7 | 2682329.4518 | 1248590.2978 | 2682308.0928 | 1248603.3657
8 | 2682356.6828 | 1248573.3655 | 2682344.4288 | 1248581.1725
9 | 2682370.8426 | 1248609.4646 | 2682365.2077 | 1248599.1681
10 | 2682370.8426 | 1248609.4646 | 2682379.0716 | 1248604.6782
11 | 2682324.5315 | 1248581.8789 | 2682311.2138 | 1248590.1779
12 | 2682311.2138 | 1248590.1779 | 2682285.6306 | 1248606.1202
13 | 2682276.4618 | 1248611.8338 | 2682278.634 | 1248615.2998 | 2682281.3822 | 1248619.7078
14 | 2682276.4618 | 1248611.8338 | 2682275.776 | 1248612.2801
15 | 2682276.4618 | 1248611.8338 | 2682285.6306 | 1248606.1202
16 | 2682280.0085 | 1248622.9134 | 2682280.2275 | 1248621.2819 | 2682281.3822 | 1248619.7078
17 | 2682275.776 | 1248612.2801 | 2682274.726 | 1248610.6644 | 2682269.778 | 1248602.9236
18 | 2682280.0085 | 1248622.9134 | 2682281.2207 | 1248624.8094 | 2682282.3604 | 1248625.4034 | 2682284.1908 | 1248625.7401 | 2682285.0974 | 1248627.1999
19 | 2682379.0716 | 1248604.6782 | 2682386.0662 | 1248600.6097
20 | 2682376.6873 | 1248560.6209 | 2682394.1497 | 1248550.1669
21 | 2682394.1497 | 1248550.1669 | 2682395.5431 | 1248552.6103 | 2682399.4901 | 1248559.5822
22 | 2682376.6873 | 1248560.6209 | 2682378.8086 | 1248563.9417 | 2682382.0465 | 1248569.0279
23 | 2682374.5231 | 1248551.6953 | 2682376.2326 | 1248554.7547 | 2682373.8712 | 1248556.2118 | 2682376.6873 | 1248560.6209
24 | 2682399.4901 | 1248559.5822 | 2682407.9561 | 1248574.5362
25 | 2682374.5231 | 1248551.6953 | 2682366.4307 | 1248556.6166
26 | 2682366.4307 | 1248556.6166 | 2682364.0123 | 1248558.0874 | 2682353.1224 | 1248564.7095
27 | 2682343.6686 | 1248570.4584 | 2682342.5945 | 1248568.4086 | 2682337.0678 | 1248557.4349 | 2682336.5176 | 1248556.2815
28 | 2682343.6686 | 1248570.4584 | 2682353.1224 | 1248564.7095
29 | 2682393.5084 | 1248596.2809 | 2682402.2183 | 1248591.2158
30 | 2682393.5084 | 1248596.2809 | 2682386.0662 | 1248600.6097
31 | 2682413.639 | 1248584.5742 | 2682402.2183 | 1248591.2158
32 | 2682413.639 | 1248584.5742 | 2682418.2376 | 1248581.9028 | 2682413.5732 | 1248573.5541 | 2682416.1698 | 1248572.0224
33 | 2682413.639 | 1248584.5742 | 2682407.9561 | 1248574.5362
34 | 2682416.1698 | 1248572.0224 | 2682410.4621 | 1248561.5936
35 | 2682416.1698 | 1248572.0224 | 2682420.56 | 1248579.895
36 | 2682291.8307 | 1248638.042 | 2682285.0974 | 1248627.1999
37 | 2682291.8307 | 1248638.042 | 2682296.8189 | 1248646.0742

## bus_geodata
| x | y | coords
0 | 2682341.0851 | 1248599.8931
1 | 2682351.6701 | 1248619.4332
2 | 2682334.1894 | 1248587.4059
3 | 2682352.1588 | 1248620.3353
4 | 2682329.4518 | 1248590.2978
5 | 2682344.4288 | 1248581.1725
6 | 2682370.8426 | 1248609.4646
7 | 2682324.5315 | 1248581.8789
8 | 2682308.0928 | 1248603.3657
9 | 2682356.6828 | 1248573.3655
10 | 2682311.2138 | 1248590.1779
11 | 2682276.4618 | 1248611.8338
12 | 2682281.3822 | 1248619.7078
13 | 2682275.776 | 1248612.2801
14 | 2682285.6306 | 1248606.1202
15 | 2682280.0085 | 1248622.9134
16 | 2682365.2077 | 1248599.1681
17 | 2682379.0716 | 1248604.6782
18 | 2682394.1497 | 1248550.1669
19 | 2682376.6873 | 1248560.6209
20 | 2682399.4901 | 1248559.5822
21 | 2682374.5231 | 1248551.6953
22 | 2682366.4307 | 1248556.6166
23 | 2682343.6686 | 1248570.4584
24 | 2682336.5176 | 1248556.2815
25 | 2682353.1224 | 1248564.7095
26 | 2682393.5084 | 1248596.2809
27 | 2682402.2183 | 1248591.2158
28 | 2682386.0662 | 1248600.6097
29 | 2682382.0465 | 1248569.0279
30 | 2682413.639 | 1248584.5742
31 | 2682416.1698 | 1248572.0224
32 | 2682407.9561 | 1248574.5362
33 | 2682269.778 | 1248602.9236
34 | 2682410.4621 | 1248561.5936
35 | 2682420.56 | 1248579.895
36 | 2682285.0974 | 1248627.1999
37 | 2682296.8189 | 1248646.0742
38 | 2682291.8307 | 1248638.042
39 | 2682326.6856 | 1248585.5559

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99835 | -0.031422 | 0.036993 | 0.0092713
1 | 0.99681 | -0.060821 | 0.01257 | 0.0031504
2 | 0.9995 | -0.0095273 | 0 | 0
3 | 0.99674 | -0.062105 | 0 | 0
4 | 1 | 0 | -0.60598 | -0.15288
5 | 0.99915 | -0.016288 | 0.016561 | 0.0041505
6 | 0.99533 | -0.089142 | 0 | 0
7 | 0.99923 | -0.014748 | 0 | 0
8 | 0.99899 | -0.019503 | 0.044644 | 0.011189
9 | 0.99894 | -0.020283 | 0.015745 | 0.0039462
10 | 0.99799 | -0.038529 | 0.065482 | 0.016411
11 | 0.99408 | -0.11375 | 0 | 0
12 | 0.99356 | -0.12387 | 0 | 0
13 | 0.99403 | -0.11465 | 0 | 0
14 | 0.99531 | -0.090004 | 0.069877 | 0.017513
15 | 0.99335 | -0.1278 | 0 | 0
16 | 0.9951 | -0.093522 | 0.021208 | 0.0053152
17 | 0.99477 | -0.099913 | 0.013543 | 0.0033941
18 | 0.98805 | -0.22943 | 0 | 0
19 | 0.98615 | -0.26618 | 0 | 0
20 | 0.98905 | -0.20991 | 0.021844 | 0.0054747
21 | 0.9853 | -0.28267 | 0 | 0
22 | 0.98461 | -0.29625 | 0.018606 | 0.0046631
23 | 0.9833 | -0.32187 | 0 | 0
24 | 0.98267 | -0.33401 | 0.042386 | 0.010623
25 | 0.98373 | -0.31342 | 0.018846 | 0.0047232
26 | 0.99387 | -0.11721 | 0 | 0
27 | 0.99333 | -0.12749 | 0.01642 | 0.0041152
28 | 0.99432 | -0.10843 | 0.0058984 | 0.0014783
29 | 0.98596 | -0.26999 | 0.021311 | 0.0053411
30 | 0.99238 | -0.14582 | 0 | 0
31 | 0.99193 | -0.15449 | 0 | 0
32 | 0.991 | -0.17232 | 0.0066251 | 0.0016604
33 | 0.9934 | -0.12701 | 0.062964 | 0.01578
34 | 0.99173 | -0.15846 | 0.018884 | 0.0047327
35 | 0.99186 | -0.15584 | 0.0084541 | 0.0021188
36 | 0.99295 | -0.13557 | 0.02965 | 0.0074311
37 | 0.99245 | -0.14523 | 0.014426 | 0.0036156
38 | 0.99258 | -0.14282 | 0.017718 | 0.0044404
39 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.22858 | 0.058052 | -0.22825 | -0.057846 | 0.00032293 | 0.0002058 | 0.34096 | 0.34096 | 0.34096 | 0.99835 | -0.031422 | 0.99681 | -0.060821 | 31.2231
1 | -0.26557 | -0.067323 | 0.26585 | 0.067502 | 0.00027976 | 0.00017849 | 0.39609 | 0.39609 | 0.39609 | 0.99835 | -0.031422 | 0.9995 | -0.0095273 | 36.2723
2 | 0.21568 | 0.054696 | -0.21567 | -0.054687 | 1.3313e-05 | 8.4804e-06 | 0.32219 | 0.32219 | 0.32219 | 0.99681 | -0.060821 | 0.99674 | -0.062105 | 29.5048
3 | -0.29817 | -0.075607 | 0.2983 | 0.075694 | 0.00013662 | 8.722e-05 | 0.44421 | 0.44421 | 0.44421 | 0.9995 | -0.0095273 | 1 | 0 | 40.6786
4 | 0.03232 | 0.008105 | -0.032309 | -0.0080985 | 1.0411e-05 | 6.506e-06 | 0.048118 | 0.048118 | 0.048118 | 0.9995 | -0.0095273 | 0.99915 | -0.016288 | 13.2193
5 | 0.21567 | 0.054687 | -0.21539 | -0.054509 | 0.00027989 | 0.00017829 | 0.32219 | 0.32219 | 0.32219 | 0.99674 | -0.062105 | 0.99533 | -0.089142 | 29.5048
6 | 0.26134 | 0.06597 | -0.26115 | -0.065852 | 0.00018448 | 0.00011769 | 0.38904 | 0.38904 | 0.38904 | 1 | 0 | 0.99923 | -0.014748 | 35.6264
7 | 0.044685 | 0.011215 | -0.044644 | -0.011189 | 4.1521e-05 | 2.6246e-05 | 0.066498 | 0.066498 | 0.066498 | 1 | 0 | 0.99899 | -0.019503 | 18.2687
8 | 0.015748 | 0.0039479 | -0.015745 | -0.0039462 | 2.9973e-06 | 1.728e-06 | 0.023454 | 0.023454 | 0.023454 | 0.99915 | -0.016288 | 0.99894 | -0.020283 | 6.4435
9 | 0.021212 | 0.0053179 | -0.021208 | -0.0053152 | 4.4267e-06 | 2.6806e-06 | 0.031713 | 0.031713 | 0.031713 | 0.99533 | -0.089142 | 0.9951 | -0.093522 | 8.7124
10 | 0.19418 | 0.049191 | -0.19408 | -0.049127 | 0.00010041 | 6.389e-05 | 0.29048 | 0.29048 | 0.29048 | 0.99533 | -0.089142 | 0.99477 | -0.099913 | 26.6007
11 | 0.26115 | 0.065852 | -0.26086 | -0.065662 | 0.00029688 | 0.00018938 | 0.38904 | 0.38904 | 0.38904 | 0.99923 | -0.014748 | 0.99799 | -0.038529 | 35.6264
12 | 0.19537 | 0.049251 | -0.19489 | -0.048945 | 0.00047995 | 0.00030638 | 0.29141 | 0.29141 | 0.29141 | 0.99799 | -0.038529 | 0.99531 | -0.090004 | 40.0284
13 | 0.061872 | 0.015536 | -0.061842 | -0.015517 | 2.9872e-05 | 1.8998e-05 | 0.092624 | 0.092624 | 0.092624 | 0.99408 | -0.11375 | 0.99356 | -0.12387 | 25.4463
14 | 0.063004 | 0.015806 | -0.063001 | -0.015804 | 2.7253e-06 | 1.7336e-06 | 0.094315 | 0.094315 | 0.094315 | 0.99408 | -0.11375 | 0.99403 | -0.11465 | 25.9106
15 | -0.12488 | -0.031342 | 0.12502 | 0.031432 | 0.00014157 | 9.0467e-05 | 0.18694 | 0.18694 | 0.18694 | 0.99408 | -0.11375 | 0.99531 | -0.090004 | 51.3568
16 | 0.061842 | 0.015517 | -0.06183 | -0.01551 | 1.1569e-05 | 7.3577e-06 | 0.092624 | 0.092624 | 0.092624 | 0.99356 | -0.12387 | 0.99335 | -0.1278 | 25.4463
17 | 0.063001 | 0.015804 | -0.062964 | -0.01578 | 3.7073e-05 | 2.3583e-05 | 0.094315 | 0.094315 | 0.094315 | 0.99403 | -0.11465 | 0.9934 | -0.12701 | 25.9106
18 | 0.06183 | 0.01551 | -0.061807 | -0.015495 | 2.2891e-05 | 1.4558e-05 | 0.092624 | 0.092624 | 0.092624 | 0.99335 | -0.1278 | 0.99295 | -0.13557 | 25.4463
19 | 0.18053 | 0.045733 | -0.18046 | -0.045686 | 7.3858e-05 | 4.6954e-05 | 0.27022 | 0.27022 | 0.27022 | 0.99477 | -0.099913 | 0.99432 | -0.10843 | 24.7457
20 | 0.10154 | 0.025598 | -0.10136 | -0.025484 | 0.00017821 | 0.0001138 | 0.15297 | 0.15297 | 0.15297 | 0.98805 | -0.22943 | 0.98615 | -0.26618 | 42.0251
21 | -0.10154 | -0.025598 | 0.10163 | 0.025659 | 9.4985e-05 | 6.0652e-05 | 0.15297 | 0.15297 | 0.15297 | 0.98805 | -0.22943 | 0.98905 | -0.20991 | 42.025
22 | 0.021315 | 0.0053434 | -0.021311 | -0.0053411 | 3.8675e-06 | 2.348e-06 | 0.032163 | 0.032163 | 0.032163 | 0.98615 | -0.26618 | 0.98596 | -0.26999 | 8.836
23 | 0.080044 | 0.020141 | -0.079981 | -0.0201 | 6.3e-05 | 4.0173e-05 | 0.12081 | 0.12081 | 0.12081 | 0.98615 | -0.26618 | 0.9853 | -0.28267 | 33.1891
24 | -0.12348 | -0.031133 | 0.1237 | 0.031275 | 0.00022254 | 0.00014221 | 0.18584 | 0.18584 | 0.18584 | 0.98905 | -0.20991 | 0.991 | -0.17232 | 51.0537
25 | 0.079981 | 0.0201 | -0.07993 | -0.020067 | 5.1836e-05 | 3.3055e-05 | 0.12081 | 0.12081 | 0.12081 | 0.9853 | -0.28267 | 0.98461 | -0.29625 | 33.1891
26 | 0.061324 | 0.015404 | -0.061273 | -0.015372 | 5.0182e-05 | 3.1918e-05 | 0.09269 | 0.09269 | 0.09269 | 0.98461 | -0.29625 | 0.98373 | -0.31342 | 25.4642
27 | 0.042411 | 0.010638 | -0.042386 | -0.010623 | 2.453e-05 | 1.5498e-05 | 0.064183 | 0.064183 | 0.064183 | 0.9833 | -0.32187 | 0.98267 | -0.33401 | 17.6327
28 | -0.042411 | -0.010638 | 0.042428 | 0.010649 | 1.7092e-05 | 1.0799e-05 | 0.064183 | 0.064183 | 0.064183 | 0.9833 | -0.32187 | 0.98373 | -0.31342 | 17.6327
29 | 0.17449 | 0.044161 | -0.1744 | -0.044106 | 8.6055e-05 | 5.4684e-05 | 0.2614 | 0.2614 | 0.2614 | 0.99387 | -0.11721 | 0.99333 | -0.12749 | 23.9373
30 | -0.17449 | -0.044161 | 0.17456 | 0.044208 | 7.3534e-05 | 4.6727e-05 | 0.2614 | 0.2614 | 0.2614 | 0.99387 | -0.11721 | 0.99432 | -0.10843 | 23.9373
31 | 0.15798 | 0.039991 | -0.15784 | -0.039903 | 0.0001389 | 8.8556e-05 | 0.2368 | 0.2368 | 0.2368 | 0.99333 | -0.12749 | 0.99238 | -0.14582 | 32.5274
32 | 0.027353 | 0.0068608 | -0.027342 | -0.0068538 | 1.129e-05 | 6.9947e-06 | 0.041016 | 0.041016 | 0.041016 | 0.99238 | -0.14582 | 0.99193 | -0.15449 | 11.2682
33 | 0.13049 | 0.033042 | -0.13032 | -0.032936 | 0.00016581 | 0.00010597 | 0.19578 | 0.19578 | 0.19578 | 0.99238 | -0.14582 | 0.991 | -0.17232 | 53.7866
34 | 0.018887 | 0.0047348 | -0.018884 | -0.0047327 | 3.579e-06 | 2.1371e-06 | 0.028333 | 0.028334 | 0.028334 | 0.99193 | -0.15449 | 0.99173 | -0.15846 | 7.7839
35 | 0.0084546 | 0.002119 | -0.0084541 | -0.0021188 | 5.4374e-07 | 2.3164e-07 | 0.012683 | 0.012683 | 0.012683 | 0.99193 | -0.15449 | 0.99186 | -0.15584 | 3.4843
36 | 0.032157 | 0.0080639 | -0.032146 | -0.008057 | 1.1115e-05 | 6.9486e-06 | 0.048191 | 0.048191 | 0.048191 | 0.99295 | -0.13557 | 0.99258 | -0.14282 | 13.2393
37 | -0.014426 | -0.0036156 | 0.014428 | 0.0036166 | 1.6589e-06 | 9.3948e-07 | 0.02163 | 0.02163 | 0.02163 | 0.99245 | -0.14523 | 0.99258 | -0.14282 | 5.9423

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60598 | 0.15288

## res_load
| p_mw | q_mvar
0 | 0.036993 | 0.0092713
1 | 0.01257 | 0.0031504
2 | 0.016561 | 0.0041505
3 | 0.044644 | 0.011189
4 | 0.015745 | 0.0039462
5 | 0.065482 | 0.016411
6 | 0.069877 | 0.017513
7 | 0.021208 | 0.0053152
8 | 0.013543 | 0.0033941
9 | 0.021844 | 0.0054747
10 | 0.018606 | 0.0046631
11 | 0.042386 | 0.010623
12 | 0.018846 | 0.0047232
13 | 0.01642 | 0.0041152
14 | 0.0058984 | 0.0014783
15 | 0.021311 | 0.0053411
16 | 0.0066251 | 0.0016604
17 | 0.062964 | 0.01578
18 | 0.018884 | 0.0047327
19 | 0.0084541 | 0.0021188
20 | 0.02965 | 0.0074311
21 | 0.014426 | 0.0036156
22 | 0.017718 | 0.0044404

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1