## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-392_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-392_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-392_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-392_0_4_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_261-392_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_261-392_0_4_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_261-392_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_261-392_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_261-392_0_4_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_261-392_0_4_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_261-392_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_261-392_0_4_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_261-392_0_4_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_261-392_0_4_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_261-392_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_261-392_0_4_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_261-392_0_4_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_261-392_0_4_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_261-392_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_261-392_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_261-392_0_4_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_261-392_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_261-392_0_4_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_261-392_0_4_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_261-392_0_4_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_261-392_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_261-392_0_4_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_261-392_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_261-392_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_261-392_0_4_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_261-392_0_4_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_261-392_0_4_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_261-392_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_261-392_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_261-392_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_261-392_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_261-392_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_261-392_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_261-392_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_MV_530_1_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-392_0_4_load_0 | 0 | 0.031789 | 0.0079672 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-392_0_4_load_1 | 1 | 0.023775 | 0.0059585 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-392_0_4_load_3 | 2 | 0.023396 | 0.0058636 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-392_0_4_load_32 | 5 | 0.0074705 | 0.0018723 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-392_0_4_load_16 | 9 | 0.028809 | 0.0072202 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-392_0_4_load_21 | 11 | 0.0086047 | 0.0021565 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-392_0_4_load_34 | 12 | 0.014818 | 0.0037139 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-392_0_4_load_38 | 13 | 0.0097671 | 0.0024479 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-392_0_4_load_41 | 15 | 0.017126 | 0.0042921 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-392_0_4_load_42 | 16 | 0.018439 | 0.0046212 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-392_0_4_load_40 | 17 | 0.011376 | 0.0028511 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-392_0_4_load_17 | 18 | 0.01481 | 0.0037118 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-392_0_4_load_15 | 19 | 0.016219 | 0.0040649 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-392_0_4_load_23 | 20 | 0.014638 | 0.0036685 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-392_0_4_load_22 | 21 | 0.012504 | 0.0031338 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-392_0_4_load_30 | 22 | 0.0075489 | 0.0018919 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-392_0_4_load_33 | 23 | 0.013073 | 0.0032765 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-392_0_4_load_31 | 24 | 0.0078605 | 0.00197 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-392_0_4_load_19 | 25 | 0.014468 | 0.003626 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-392_0_4_load_35 | 26 | 0.0092381 | 0.0023153 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-392_0_4_load_20 | 27 | 0.016824 | 0.0042164 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-392_0_4_load_18 | 28 | 0.015393 | 0.0038578 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-392_0_4_load_43 | 29 | 0.0096684 | 0.0024231 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-392_0_4_load_37 | 30 | 0.0080065 | 0.0020066 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-392_0_4_load_39 | 31 | 0.014288 | 0.0035809 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-392_0_4_load_24 | 32 | 0.014993 | 0.0037575 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-392_0_4_load_25 | 33 | 0.014535 | 0.0036429 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-392_0_4_load_26 | 34 | 0.0055144 | 0.001382 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-392_0_4_load_27 | 35 | 0.010005 | 0.0025075 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-392_0_4_load_28 | 36 | 0.014824 | 0.0037152 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-392_0_4_load_29 | 37 | 0.01367 | 0.0034261 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-392_0_4_load_36 | 38 | 0.0078669 | 0.0019716 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-392_0_4_line_0 |  | 0 | 1 | 0.02597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-392_0_4_line_1 |  | 1 | 2 | 0.0087001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-392_0_4_line_2 |  | 2 | 3 | 0.0066059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-392_0_4_line_3 |  | 3 | 18 | 0.0075889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-392_0_4_line_4 |  | 3 | 19 | 0.019562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-392_0_4_line_5 |  | 4 | 5 | 0.023111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-392_0_4_line_6 |  | 4 | 6 | 0.002432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-392_0_4_line_7 |  | 5 | 22 | 0.011592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-392_0_4_line_8 |  | 6 | 12 | 0.0090982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-392_0_4_line_9 |  | 7 | 8 | 0.002466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-392_0_4_line_10 |  | 7 | 9 | 0.0042157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-392_0_4_line_11 |  | 8 | 13 | 0.019847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_261-392_0_4_line_12 |  | 8 | 10 | 0.01022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-392_0_4_line_13 |  | 9 | 19 | 0.013696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-392_0_4_line_14 |  | 10 | 11 | 0.02466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-392_0_4_line_15 |  | 11 | 25 | 0.019367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-392_0_4_line_16 |  | 12 | 26 | 0.014197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-392_0_4_line_17 |  | 13 | 29 | 0.010336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_261-392_0_4_line_18 |  | 14 | 15 | 0.011617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-392_0_4_line_19 |  | 14 | 16 | 0.013938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_261-392_0_4_line_20 |  | 14 | 17 | 0.023371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_261-392_0_4_line_21 |  | 15 | 30 | 0.011932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-392_0_4_line_22 |  | 16 | 29 | 0.012485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_261-392_0_4_line_23 |  | 17 | 31 | 0.00665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-392_0_4_line_24 |  | 20 | 21 | 0.00011302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-392_0_4_line_25 |  | 21 | 32 | 0.011122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-392_0_4_line_26 |  | 22 | 36 | 0.002305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-392_0_4_line_27 |  | 23 | 24 | 0.0061506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-392_0_4_line_28 |  | 24 | 37 | 0.011015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-392_0_4_line_29 |  | 25 | 28 | 0.016326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-392_0_4_line_30 |  | 26 | 38 | 0.0094242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-392_0_4_line_31 |  | 27 | 28 | 0.024229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-392_0_4_line_32 |  | 30 | 38 | 0.0089251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-392_0_4_line_33 |  | 31 | 34 | 0.007665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-392_0_4_line_34 |  | 32 | 33 | 0.0060769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-392_0_4_line_35 |  | 33 | 34 | 0.00054657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-392_0_4_line_36 |  | 35 | 36 | 0.014633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-392_0_4_line_37 |  | 35 | 37 | 0.0027223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-392_0_4_trafo_40 | 0.63 MVA 20/0.4 kV | 39 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2682424.2839 | 1248665.7154 | 2682436.1113 | 1248657.5071 | 2682442.2276 | 1248667.3327
1 | 2682442.2276 | 1248667.3327 | 2682449.6903 | 1248662.8606
2 | 2682455.3567 | 1248659.465 | 2682449.6903 | 1248662.8606
3 | 2682455.3567 | 1248659.465 | 2682451.591 | 1248652.8763
4 | 2682455.3567 | 1248659.465 | 2682464.86 | 1248676.5637
5 | 2682391.787 | 1248785.7857 | 2682389.8608 | 1248783.6462 | 2682378.1412 | 1248767.1543
6 | 2682394.1478 | 1248785.4516 | 2682393.0168 | 1248785.8695 | 2682391.787 | 1248785.7857
7 | 2682371.4267 | 1248757.7054 | 2682378.1412 | 1248767.1543
8 | 2682394.1478 | 1248785.4516 | 2682397.977 | 1248779.9896 | 2682399.5763 | 1248778.1632
9 | 2682473.5618 | 1248692.2201 | 2682474.8617 | 1248694.3176
10 | 2682473.5618 | 1248692.2201 | 2682471.5138 | 1248688.5353
11 | 2682474.8617 | 1248694.3176 | 2682461.1276 | 1248708.6454
12 | 2682474.8617 | 1248694.3176 | 2682477.2696 | 1248698.1984 | 2682480.2538 | 1248702.999
13 | 2682471.5138 | 1248688.5353 | 2682464.86 | 1248676.5637
14 | 2682480.2538 | 1248702.999 | 2682463.9081 | 1248721.463
15 | 2682463.9081 | 1248721.463 | 2682458.2489 | 1248727.8557 | 2682451.0821 | 1248735.9738
16 | 2682408.929 | 1248767.4818 | 2682399.5763 | 1248778.1632
17 | 2682461.1276 | 1248708.6454 | 2682458.6847 | 1248711.1939 | 2682454.147 | 1248716.2664
18 | 2682436.5301 | 1248735.9597 | 2682428.8771 | 1248744.6998
19 | 2682436.5301 | 1248735.9597 | 2682445.8229 | 1248725.5716
20 | 2682436.5301 | 1248735.9597 | 2682420.869 | 1248718.6128
21 | 2682428.8771 | 1248744.6998 | 2682421.0169 | 1248753.6767
22 | 2682445.8229 | 1248725.5716 | 2682454.147 | 1248716.2664
23 | 2682416.4126 | 1248713.6767 | 2682420.869 | 1248718.6128
24 | 2682399.4193 | 1248694.6338 | 2682399.4942 | 1248694.7185
25 | 2682406.8586 | 1248703.0524 | 2682399.4942 | 1248694.7185
26 | 2682371.4267 | 1248757.7054 | 2682370.0915 | 1248755.8265
27 | 2682350.095 | 1248727.6872 | 2682353.6578 | 1248732.7008
28 | 2682360.0385 | 1248741.6798 | 2682353.6578 | 1248732.7008
29 | 2682451.0821 | 1248735.9738 | 2682440.2773 | 1248748.2131
30 | 2682415.1373 | 1248760.3915 | 2682408.929 | 1248767.4818
31 | 2682424.1717 | 1248766.3138 | 2682431.2328 | 1248758.4582 | 2682440.2773 | 1248748.2131
32 | 2682421.0169 | 1248753.6767 | 2682415.1373 | 1248760.3915
33 | 2682416.4126 | 1248713.6767 | 2682411.2762 | 1248707.9874
34 | 2682406.8586 | 1248703.0524 | 2682408.603 | 1248705.0264 | 2682410.9099 | 1248707.5817
35 | 2682410.9099 | 1248707.5817 | 2682411.2762 | 1248707.9874
36 | 2682361.6154 | 1248743.8989 | 2682370.0915 | 1248755.8265
37 | 2682360.0385 | 1248741.6798 | 2682361.6154 | 1248743.8989

## bus_geodata
| x | y | coords
0 | 2682424.2839 | 1248665.7154
1 | 2682442.2276 | 1248667.3327
2 | 2682449.6903 | 1248662.8606
3 | 2682455.3567 | 1248659.465
4 | 2682391.787 | 1248785.7857
5 | 2682378.1412 | 1248767.1543
6 | 2682394.1478 | 1248785.4516
7 | 2682473.5618 | 1248692.2201
8 | 2682474.8617 | 1248694.3176
9 | 2682471.5138 | 1248688.5353
10 | 2682480.2538 | 1248702.999
11 | 2682463.9081 | 1248721.463
12 | 2682399.5763 | 1248778.1632
13 | 2682461.1276 | 1248708.6454
14 | 2682436.5301 | 1248735.9597
15 | 2682428.8771 | 1248744.6998
16 | 2682445.8229 | 1248725.5716
17 | 2682420.869 | 1248718.6128
18 | 2682451.591 | 1248652.8763
19 | 2682464.86 | 1248676.5637
20 | 2682399.4193 | 1248694.6338
21 | 2682399.4942 | 1248694.7185
22 | 2682371.4267 | 1248757.7054
23 | 2682350.095 | 1248727.6872
24 | 2682353.6578 | 1248732.7008
25 | 2682451.0821 | 1248735.9738
26 | 2682408.929 | 1248767.4818
27 | 2682424.1717 | 1248766.3138
28 | 2682440.2773 | 1248748.2131
29 | 2682454.147 | 1248716.2664
30 | 2682421.0169 | 1248753.6767
31 | 2682416.4126 | 1248713.6767
32 | 2682406.8586 | 1248703.0524
33 | 2682410.9099 | 1248707.5817
34 | 2682411.2762 | 1248707.9874
35 | 2682361.6154 | 1248743.8989
36 | 2682370.0915 | 1248755.8265
37 | 2682360.0385 | 1248741.6798
38 | 2682415.1373 | 1248760.3915
39 | 2682436.5301 | 1248735.9597

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9876 | -0.2387 | 0.031789 | 0.0079672
1 | 0.98836 | -0.22396 | 0.023775 | 0.0059585
2 | 0.9888 | -0.21534 | 0.023396 | 0.0058636
3 | 0.98928 | -0.20604 | 0 | 0
4 | 0.99109 | -0.17108 | 0 | 0
5 | 0.98951 | -0.20166 | 0.0074705 | 0.0018723
6 | 0.99125 | -0.16787 | 0 | 0
7 | 0.99288 | -0.13638 | 0 | 0
8 | 0.9932 | -0.13033 | 0 | 0
9 | 0.99235 | -0.14673 | 0.028809 | 0.0072202
10 | 0.99268 | -0.14032 | 0 | 0
11 | 0.99143 | -0.16446 | 0.0086047 | 0.0021565
12 | 0.99187 | -0.15586 | 0.014818 | 0.0037139
13 | 0.99496 | -0.096354 | 0.0097671 | 0.0024479
14 | 0.99741 | -0.049482 | 0 | 0
15 | 0.99601 | -0.076287 | 0.017126 | 0.0042921
16 | 0.99642 | -0.068383 | 0.018439 | 0.0046212
17 | 1 | 0 | -0.44478 | -0.11229
18 | 0.98918 | -0.20804 | 0.01481 | 0.0037118
19 | 0.99097 | -0.17343 | 0.016219 | 0.0040649
20 | 0.99857 | -0.027503 | 0.014638 | 0.0036685
21 | 0.99857 | -0.027474 | 0.012504 | 0.0031338
22 | 0.98879 | -0.21549 | 0.0075489 | 0.0018919
23 | 0.9877 | -0.23682 | 0.013073 | 0.0032765
24 | 0.98777 | -0.23538 | 0.0078605 | 0.00197
25 | 0.9906 | -0.18051 | 0.014468 | 0.003626
26 | 0.99304 | -0.13343 | 0.0092381 | 0.0023153
27 | 0.98975 | -0.19711 | 0.016824 | 0.0042164
28 | 0.99012 | -0.18986 | 0.015393 | 0.0038578
29 | 0.99561 | -0.083996 | 0.0096684 | 0.0024231
30 | 0.99476 | -0.1003 | 0.0080065 | 0.0020066
31 | 0.99954 | -0.0088678 | 0.014288 | 0.0035809
32 | 0.99885 | -0.0222 | 0.014993 | 0.0037575
33 | 0.99908 | -0.017727 | 0.014535 | 0.0036429
34 | 0.99911 | -0.017187 | 0.0055144 | 0.001382
35 | 0.98807 | -0.22958 | 0.010005 | 0.0025075
36 | 0.98867 | -0.21793 | 0.014824 | 0.0037152
37 | 0.98798 | -0.23126 | 0.01367 | 0.0034261
38 | 0.99389 | -0.11703 | 0.0078669 | 0.0019716
39 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.031789 | -0.0079672 | 0.031812 | 0.0079811 | 2.2342e-05 | 1.3966e-05 | 0.047897 | 0.047897 | 0.047897 | 0.9876 | -0.2387 | 0.98836 | -0.22396 | 13.1585
1 | -0.055586 | -0.01394 | 0.055609 | 0.013954 | 2.2851e-05 | 1.4513e-05 | 0.08369 | 0.08369 | 0.08369 | 0.98836 | -0.22396 | 0.9888 | -0.21534 | 22.9918
2 | -0.079005 | -0.019818 | 0.07904 | 0.01984 | 3.502e-05 | 2.2328e-05 | 0.1189 | 0.1189 | 0.1189 | 0.9888 | -0.21534 | 0.98928 | -0.20604 | 32.6642
3 | 0.014812 | 0.0037126 | -0.01481 | -0.0037118 | 1.4125e-06 | 8.0658e-07 | 0.022279 | 0.022279 | 0.022279 | 0.98928 | -0.20604 | 0.98918 | -0.20804 | 6.1205
4 | -0.093851 | -0.023553 | 0.093998 | 0.023646 | 0.00014621 | 9.3322e-05 | 0.14118 | 0.14118 | 0.14118 | 0.98928 | -0.20604 | 0.99097 | -0.17343 | 38.7847
5 | 0.074645 | 0.018782 | -0.074536 | -0.018713 | 0.00010891 | 6.9402e-05 | 0.1121 | 0.1121 | 0.1121 | 0.99109 | -0.17108 | 0.98951 | -0.20166 | 30.7964
6 | -0.074645 | -0.018782 | 0.074657 | 0.018789 | 1.146e-05 | 7.3033e-06 | 0.1121 | 0.1121 | 0.1121 | 0.99109 | -0.17108 | 0.99125 | -0.16787 | 30.7964
7 | 0.067066 | 0.01684 | -0.067022 | -0.016812 | 4.4224e-05 | 2.8154e-05 | 0.10086 | 0.10086 | 0.10086 | 0.98951 | -0.20166 | 0.98879 | -0.21549 | 27.7101
8 | -0.074657 | -0.018789 | 0.0747 | 0.018817 | 4.2873e-05 | 2.7322e-05 | 0.1121 | 0.1121 | 0.1121 | 0.99125 | -0.16787 | 0.99187 | -0.15586 | 30.7964
9 | -0.13924 | -0.035065 | 0.13928 | 0.035091 | 4.0289e-05 | 2.5753e-05 | 0.20873 | 0.20873 | 0.20873 | 0.99288 | -0.13638 | 0.9932 | -0.13033 | 57.3432
10 | 0.13924 | 0.035065 | -0.13917 | -0.035021 | 6.8876e-05 | 4.4026e-05 | 0.20873 | 0.20873 | 0.20873 | 0.99288 | -0.13638 | 0.99235 | -0.14673 | 57.3432
11 | -0.19471 | -0.04904 | 0.19503 | 0.049242 | 0.00031687 | 0.00020228 | 0.2918 | 0.2918 | 0.2918 | 0.9932 | -0.13033 | 0.99496 | -0.096354 | 40.0828
12 | 0.055435 | 0.013949 | -0.055409 | -0.013932 | 2.6448e-05 | 1.6794e-05 | 0.083073 | 0.083073 | 0.083073 | 0.9932 | -0.13033 | 0.99268 | -0.14032 | 22.8223
13 | 0.11036 | 0.027801 | -0.11022 | -0.027711 | 0.00014073 | 8.9892e-05 | 0.16553 | 0.16553 | 0.16553 | 0.99235 | -0.14673 | 0.99097 | -0.17343 | 45.4754
14 | 0.055409 | 0.013932 | -0.055345 | -0.013892 | 6.3818e-05 | 4.0525e-05 | 0.083073 | 0.083073 | 0.083073 | 0.99268 | -0.14032 | 0.99143 | -0.16446 | 22.8223
15 | 0.04674 | 0.011735 | -0.046704 | -0.011713 | 3.5748e-05 | 2.2629e-05 | 0.070159 | 0.070159 | 0.070159 | 0.99143 | -0.16446 | 0.9906 | -0.18051 | 19.2744
16 | -0.089518 | -0.02253 | 0.089614 | 0.022592 | 9.6069e-05 | 6.1301e-05 | 0.13433 | 0.13433 | 0.13433 | 0.99187 | -0.15586 | 0.99304 | -0.13343 | 36.9037
17 | -0.20479 | -0.05169 | 0.20492 | 0.051767 | 0.0001213 | 7.7232e-05 | 0.30641 | 0.30641 | 0.30641 | 0.99496 | -0.096354 | 0.99561 | -0.083996 | 28.0595
18 | 0.13232 | 0.033475 | -0.13215 | -0.033366 | 0.00016995 | 0.00010862 | 0.19751 | 0.19751 | 0.19751 | 0.99741 | -0.049482 | 0.99601 | -0.076287 | 54.2617
19 | 0.2334 | 0.059049 | -0.23318 | -0.058914 | 0.00021147 | 0.0001348 | 0.3484 | 0.3484 | 0.3484 | 0.99741 | -0.049482 | 0.99642 | -0.068383 | 31.9043
20 | -0.36571 | -0.092523 | 0.36658 | 0.09308 | 0.0008706 | 0.00055627 | 0.54591 | 0.54591 | 0.54591 | 0.99741 | -0.049482 | 1 | 0 | 49.9915
21 | 0.11502 | 0.029074 | -0.11489 | -0.02899 | 0.00013226 | 8.4491e-05 | 0.17193 | 0.17193 | 0.17193 | 0.99601 | -0.076287 | 0.99476 | -0.1003 | 47.2327
22 | 0.21475 | 0.054293 | -0.21458 | -0.05419 | 0.00016067 | 0.00010234 | 0.32086 | 0.32086 | 0.32086 | 0.99642 | -0.068383 | 0.99561 | -0.083996 | 29.3827
23 | 0.076546 | 0.019213 | -0.076514 | -0.019192 | 3.2359e-05 | 2.0622e-05 | 0.11391 | 0.11391 | 0.11391 | 1 | 0 | 0.99954 | -0.0088678 | 31.2945
24 | -0.014638 | -0.0036685 | 0.014638 | 0.0036685 | 2.0165e-08 | 1.1427e-08 | 0.021812 | 0.021812 | 0.021812 | 0.99857 | -0.027503 | 0.99857 | -0.027474 | 5.9923
25 | -0.027142 | -0.0068023 | 0.027148 | 0.0068065 | 6.8222e-06 | 4.2207e-06 | 0.040445 | 0.040445 | 0.040445 | 0.99857 | -0.027474 | 0.99885 | -0.0222 | 11.1112
26 | 0.059473 | 0.01492 | -0.059466 | -0.014916 | 6.9245e-06 | 4.4021e-06 | 0.089505 | 0.089505 | 0.089505 | 0.98879 | -0.21549 | 0.98867 | -0.21793 | 24.5892
27 | -0.013073 | -0.0032765 | 0.013074 | 0.003277 | 8.9472e-07 | 4.939e-07 | 0.019696 | 0.019696 | 0.019696 | 0.9877 | -0.23682 | 0.98777 | -0.23538 | 5.4109
28 | -0.020935 | -0.005247 | 0.020939 | 0.0052495 | 4.1084e-06 | 2.4883e-06 | 0.031537 | 0.031537 | 0.031537 | 0.98777 | -0.23538 | 0.98798 | -0.23126 | 8.664
29 | 0.032237 | 0.0080866 | -0.032222 | -0.0080776 | 1.4358e-05 | 8.9787e-06 | 0.048426 | 0.048426 | 0.048426 | 0.9906 | -0.18051 | 0.99012 | -0.18986 | 13.304
30 | -0.098852 | -0.024907 | 0.09893 | 0.024957 | 7.759e-05 | 4.9536e-05 | 0.14817 | 0.14817 | 0.14817 | 0.99304 | -0.13343 | 0.99389 | -0.11703 | 40.7067
31 | -0.016824 | -0.0042164 | 0.016829 | 0.0042198 | 5.8126e-06 | 3.4086e-06 | 0.025293 | 0.025293 | 0.025293 | 0.98975 | -0.19711 | 0.99012 | -0.18986 | 6.9487
32 | 0.10688 | 0.026983 | -0.1068 | -0.026928 | 8.5628e-05 | 5.4686e-05 | 0.15995 | 0.15995 | 0.15995 | 0.99476 | -0.1003 | 0.99389 | -0.11703 | 43.9424
33 | 0.062226 | 0.015611 | -0.062201 | -0.015596 | 2.4669e-05 | 1.5688e-05 | 0.092642 | 0.092642 | 0.092642 | 0.99954 | -0.0088678 | 0.99911 | -0.017187 | 25.451
34 | -0.042141 | -0.010564 | 0.04215 | 0.01057 | 8.9816e-06 | 5.6687e-06 | 0.06278 | 0.06278 | 0.06278 | 0.99885 | -0.0222 | 0.99908 | -0.017727 | 17.2472
35 | -0.056685 | -0.014213 | 0.056687 | 0.014214 | 1.461e-06 | 9.279e-07 | 0.084429 | 0.084429 | 0.084429 | 0.99908 | -0.017727 | 0.99911 | -0.017187 | 23.1947
36 | -0.044617 | -0.011185 | 0.044642 | 0.011201 | 2.4775e-05 | 1.5668e-05 | 0.067194 | 0.067194 | 0.067194 | 0.98807 | -0.22958 | 0.98867 | -0.21793 | 18.4598
37 | 0.034612 | 0.0086774 | -0.034609 | -0.0086756 | 2.7738e-06 | 1.7404e-06 | 0.052126 | 0.052126 | 0.052126 | 0.98807 | -0.22958 | 0.98798 | -0.23126 | 14.3204

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.45616 | 0.11514

## res_load
| p_mw | q_mvar
0 | 0.031789 | 0.0079672
1 | 0.023775 | 0.0059585
2 | 0.023396 | 0.0058636
3 | 0.0074705 | 0.0018723
4 | 0.028809 | 0.0072202
5 | 0.0086047 | 0.0021565
6 | 0.014818 | 0.0037139
7 | 0.0097671 | 0.0024479
8 | 0.017126 | 0.0042921
9 | 0.018439 | 0.0046212
10 | 0.011376 | 0.0028511
11 | 0.01481 | 0.0037118
12 | 0.016219 | 0.0040649
13 | 0.014638 | 0.0036685
14 | 0.012504 | 0.0031338
15 | 0.0075489 | 0.0018919
16 | 0.013073 | 0.0032765
17 | 0.0078605 | 0.00197
18 | 0.014468 | 0.003626
19 | 0.0092381 | 0.0023153
20 | 0.016824 | 0.0042164
21 | 0.015393 | 0.0038578
22 | 0.0096684 | 0.0024231
23 | 0.0080065 | 0.0020066
24 | 0.014288 | 0.0035809
25 | 0.014993 | 0.0037575
26 | 0.014535 | 0.0036429
27 | 0.0055144 | 0.001382
28 | 0.010005 | 0.0025075
29 | 0.014824 | 0.0037152
30 | 0.01367 | 0.0034261
31 | 0.0078669 | 0.0019716

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1