## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-394_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-394_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-394_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-394_0_5_node_30 | 0.4 | n |  | TRUE
4 | bus_LV_261-394_0_5_node_63 | 0.4 | n |  | TRUE
5 | bus_LV_261-394_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_261-394_0_5_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_261-394_0_5_node_62 | 0.4 | n |  | TRUE
8 | bus_LV_261-394_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_261-394_0_5_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_261-394_0_5_node_73 | 0.4 | n |  | TRUE
11 | bus_LV_261-394_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_261-394_0_5_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_261-394_0_5_node_77 | 0.4 | n |  | TRUE
14 | bus_LV_261-394_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_261-394_0_5_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_261-394_0_5_node_72 | 0.4 | n |  | TRUE
17 | bus_LV_261-394_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_261-394_0_5_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_261-394_0_5_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_261-394_0_5_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_261-394_0_5_node_76 | 0.4 | n |  | TRUE
22 | bus_LV_261-394_0_5_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_261-394_0_5_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_261-394_0_5_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_261-394_0_5_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_261-394_0_5_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_261-394_0_5_node_61 | 0.4 | n |  | TRUE
28 | bus_LV_261-394_0_5_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_261-394_0_5_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_261-394_0_5_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_261-394_0_5_node_66 | 0.4 | n |  | TRUE
32 | bus_LV_261-394_0_5_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_261-394_0_5_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_261-394_0_5_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_261-394_0_5_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_261-394_0_5_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_261-394_0_5_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_261-394_0_5_node_16 | 0.4 | n |  | TRUE
39 | bus_LV_261-394_0_5_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_261-394_0_5_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_261-394_0_5_node_85 | 0.4 | n |  | TRUE
42 | bus_LV_261-394_0_5_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_261-394_0_5_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_261-394_0_5_node_79 | 0.4 | n |  | TRUE
45 | bus_LV_261-394_0_5_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_261-394_0_5_node_80 | 0.4 | n |  | TRUE
47 | bus_LV_261-394_0_5_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_261-394_0_5_node_71 | 0.4 | n |  | TRUE
49 | bus_LV_261-394_0_5_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_261-394_0_5_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_261-394_0_5_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_261-394_0_5_node_78 | 0.4 | n |  | TRUE
53 | bus_LV_261-394_0_5_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_261-394_0_5_node_83 | 0.4 | n |  | TRUE
55 | bus_LV_261-394_0_5_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_261-394_0_5_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_261-394_0_5_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_261-394_0_5_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_261-394_0_5_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_261-394_0_5_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_261-394_0_5_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_261-394_0_5_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_261-394_0_5_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_261-394_0_5_node_38 | 0.4 | n |  | TRUE
65 | bus_LV_261-394_0_5_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_261-394_0_5_node_81 | 0.4 | n |  | TRUE
67 | bus_LV_261-394_0_5_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_261-394_0_5_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_261-394_0_5_node_40 | 0.4 | n |  | TRUE
70 | bus_LV_261-394_0_5_node_41 | 0.4 | n |  | TRUE
71 | bus_LV_261-394_0_5_node_45 | 0.4 | n |  | TRUE
72 | bus_LV_261-394_0_5_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_261-394_0_5_node_82 | 0.4 | n |  | TRUE
74 | bus_LV_261-394_0_5_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_261-394_0_5_node_84 | 0.4 | n |  | TRUE
76 | bus_MV_545_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-394_0_5_load_0 | 0 | 0.0036 | 0.00090225 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-394_0_5_load_63 | 4 | 0.055567 | 0.013926 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-394_0_5_load_62 | 7 | 0.0096724 | 0.0024241 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-394_0_5_load_73 | 10 | 0.0012117 | 0.00030368 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-394_0_5_load_77 | 13 | 0.0066808 | 0.0016744 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-394_0_5_load_72 | 16 | 0.0020643 | 0.00051736 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-394_0_5_load_34 | 19 | 0.0067733 | 0.0016976 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-394_0_5_load_76 | 21 | 0.0034674 | 0.00086902 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-394_0_5_load_75 | 23 | 0.0028356 | 0.00071066 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-394_0_5_load_53 | 25 | 0.0080457 | 0.0020164 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-394_0_5_load_54 | 26 | 0.0039692 | 0.00099478 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-394_0_5_load_61 | 27 | 0.0020395 | 0.00051115 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-394_0_5_load_48 | 28 | 0.0016437 | 0.00041195 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-394_0_5_load_67 | 30 | 0.013914 | 0.0034873 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-394_0_5_load_66 | 31 | 0.012754 | 0.0031964 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-394_0_5_load_43 | 33 | 0.0074089 | 0.0018568 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-394_0_5_load_42 | 34 | 0.011125 | 0.0027883 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-394_0_5_load_52 | 36 | 0.0018908 | 0.00047389 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-394_0_5_load_49 | 37 | 0.0020176 | 0.00050565 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-394_0_5_load_60 | 39 | 0.01288 | 0.003228 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-394_0_5_load_85 | 41 | 0.01702 | 0.0042657 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-394_0_5_load_74 | 43 | 0.0021822 | 0.0005469 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-394_0_5_load_79 | 44 | 0.0067792 | 0.001699 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-394_0_5_load_80 | 46 | 0.00093141 | 0.00023343 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-394_0_5_load_71 | 48 | 0.0028789 | 0.00072151 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-394_0_5_load_65 | 50 | 0.0016544 | 0.00041463 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-394_0_5_load_78 | 52 | 0.0067347 | 0.0016879 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-394_0_5_load_35 | 53 | 0.0012014 | 0.00030109 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-394_0_5_load_83 | 54 | 0.0028729 | 0.00072001 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-394_0_5_load_51 | 55 | 0.0025062 | 0.00062811 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-394_0_5_load_55 | 56 | 0.0028627 | 0.00071745 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-394_0_5_load_68 | 58 | 0.0067024 | 0.0016798 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-394_0_5_load_57 | 59 | 0.0020166 | 0.00050541 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-394_0_5_load_50 | 60 | 0.0023891 | 0.00059877 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-394_0_5_load_70 | 62 | 0.0078843 | 0.001976 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-394_0_5_load_39 | 63 | 0.0069257 | 0.0017358 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-394_0_5_load_38 | 64 | 0.0065998 | 0.0016541 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-394_0_5_load_44 | 65 | 0.00099457 | 0.00024926 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-394_0_5_load_81 | 66 | 0.0009196 | 0.00023047 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-394_0_5_load_58 | 67 | 0.032476 | 0.0081393 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-394_0_5_load_64 | 68 | 0.0019436 | 0.00048712 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-394_0_5_load_40 | 69 | 0.0064825 | 0.0016247 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-394_0_5_load_45 | 71 | 0.00096092 | 0.00024083 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-394_0_5_load_47 | 72 | 0.00095701 | 0.00023985 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-394_0_5_load_82 | 73 | 0.012287 | 0.0030794 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-394_0_5_load_56 | 74 | 0.0028466 | 0.00071343 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-394_0_5_load_84 | 75 | 0.0028427 | 0.00071244 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-394_0_5_line_0 |  | 0 | 1 | 0.014262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-394_0_5_line_1 |  | 1 | 2 | 0.074788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-394_0_5_line_2 |  | 2 | 3 | 0.15838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-394_0_5_line_3 |  | 2 | 4 | 0.052882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-394_0_5_line_4 |  | 3 | 49 | 0.03866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-394_0_5_line_5 |  | 3 | 50 | 0.21326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-394_0_5_line_6 |  | 4 | 7 | 0.0068226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-394_0_5_line_7 |  | 5 | 6 | 0.084726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-394_0_5_line_8 |  | 5 | 7 | 0.050164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-394_0_5_line_9 |  | 6 | 27 | 0.030545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-394_0_5_line_10 |  | 6 | 28 | 0.044637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-394_0_5_line_11 |  | 8 | 9 | 0.033684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-394_0_5_line_12 |  | 8 | 10 | 0.038494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-394_0_5_line_13 |  | 9 | 53 | 0.012474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-394_0_5_line_14 |  | 10 | 18 | 0.021853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-394_0_5_line_15 |  | 11 | 12 | 0.04534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-394_0_5_line_16 |  | 11 | 13 | 0.011733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-394_0_5_line_17 |  | 12 | 40 | 0.05323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-394_0_5_line_18 |  | 12 | 34 | 0.0099172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-394_0_5_line_19 |  | 13 | 51 | 0.019022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-394_0_5_line_20 |  | 14 | 15 | 0.015219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-394_0_5_line_21 |  | 14 | 16 | 0.034399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-394_0_5_line_22 |  | 15 | 43 | 0.017141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_261-394_0_5_line_23 |  | 15 | 35 | 0.019293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_261-394_0_5_line_24 |  | 17 | 18 | 0.001648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-394_0_5_line_25 |  | 17 | 19 | 0.01664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-394_0_5_line_26 |  | 19 | 49 | 0.032218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-394_0_5_line_27 |  | 20 | 21 | 0.016065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_261-394_0_5_line_28 |  | 20 | 22 | 0.028401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_261-394_0_5_line_29 |  | 20 | 23 | 0.0086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-394_0_5_line_30 |  | 21 | 54 | 0.0058966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_261-394_0_5_line_31 |  | 22 | 41 | 0.002869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-394_0_5_line_32 |  | 22 | 42 | 0.071851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-394_0_5_line_33 |  | 24 | 25 | 0.0067868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_261-394_0_5_line_34 |  | 24 | 26 | 0.015859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_261-394_0_5_line_35 |  | 25 | 55 | 0.022596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_261-394_0_5_line_36 |  | 26 | 56 | 0.0064208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_261-394_0_5_line_37 |  | 28 | 45 | 0.010926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-394_0_5_line_38 |  | 29 | 30 | 0.019028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_261-394_0_5_line_39 |  | 29 | 31 | 0.0023864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-394_0_5_line_40 |  | 30 | 57 | 0.0027932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_261-394_0_5_line_41 |  | 31 | 38 | 0.036015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-394_0_5_line_42 |  | 32 | 33 | 0.014195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-394_0_5_line_43 |  | 32 | 34 | 0.050947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-394_0_5_line_44 |  | 33 | 58 | 0.01802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-394_0_5_line_45 |  | 35 | 36 | 0.037228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-394_0_5_line_46 |  | 35 | 37 | 0.010399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_261-394_0_5_line_47 |  | 36 | 59 | 0.0081513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-394_0_5_line_48 |  | 37 | 60 | 0.019897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_261-394_0_5_line_49 |  | 38 | 39 | 0.016219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-394_0_5_line_50 |  | 39 | 61 | 0.016704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-394_0_5_line_51 |  | 40 | 44 | 2.1594e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-394_0_5_line_52 |  | 42 | 45 | 0.026248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-394_0_5_line_53 |  | 42 | 46 | 0.0087379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-394_0_5_line_54 |  | 43 | 47 | 0.012801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_261-394_0_5_line_55 |  | 45 | 65 | 0.0091265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-394_0_5_line_56 |  | 46 | 66 | 0.015581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-394_0_5_line_57 |  | 47 | 48 | 0.012736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_261-394_0_5_line_58 |  | 48 | 57 | 0.012502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_261-394_0_5_line_59 |  | 50 | 68 | 0.007194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-394_0_5_line_60 |  | 51 | 52 | 0.00015596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-394_0_5_line_61 |  | 54 | 75 | 0.0063989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_261-394_0_5_line_62 |  | 55 | 60 | 0.00087639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_261-394_0_5_line_63 |  | 56 | 74 | 0.006385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_261-394_0_5_line_64 |  | 57 | 62 | 0.023841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-394_0_5_line_65 |  | 58 | 70 | 0.0059991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-394_0_5_line_66 |  | 61 | 67 | 0.028684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-394_0_5_line_67 |  | 61 | 70 | 0.035558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-394_0_5_line_68 |  | 63 | 64 | 0.020702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-394_0_5_line_69 |  | 64 | 69 | 0.017126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-394_0_5_line_70 |  | 65 | 71 | 0.0063091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-394_0_5_line_71 |  | 69 | 70 | 0.015695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-394_0_5_line_72 |  | 71 | 72 | 0.0061892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-394_0_5_line_73 |  | 72 | 73 | 0.0060135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-394_0_5_line_74 |  | 74 | 75 | 0.0056024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-394_0_5_trafo_10 | 0.63 MVA 20/0.4 kV | 76 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2681245.5468 | 1245289.5258 | 2681244.3914 | 1245298.8501 | 2681243.7008 | 1245303.6674
1 | 2681245.5468 | 1245289.5258 | 2681247.1923 | 1245274.771 | 2681243.9023 | 1245265.6193 | 2681237.3584 | 1245260.1146 | 2681217.4069 | 1245257.0169 | 2681208.105 | 1245255.9222 | 2681196.2448 | 1245253.4803
2 | 2681095.1596 | 1245164.8779 | 2681091.1641 | 1245200.6492 | 2681104.1563 | 1245197.1354 | 2681110.9023 | 1245198.3729 | 2681167.1588 | 1245239.2609 | 2681181.2772 | 1245247.8603 | 2681196.2448 | 1245253.4803
3 | 2681196.2448 | 1245253.4803 | 2681188.774 | 1245305.8319
4 | 2681100.1869 | 1245126.5966 | 2681099.7524 | 1245128.5254 | 2681098.1592 | 1245135.6199 | 2681095.691 | 1245159.7259 | 2681095.1596 | 1245164.8779
5 | 2681095.1596 | 1245164.8779 | 2681112.1455 | 1245169.9138 | 2681127.749 | 1245177.6772 | 2681130.3579 | 1245179.7477 | 2681155.9954 | 1245206.3398 | 2681165.8407 | 1245215.7702 | 2681177.2098 | 1245223.7316 | 2681191.0759 | 1245230.3372 | 2681199.4528 | 1245232.7647 | 2681238.1102 | 1245237.2305 | 2681273.6028 | 1245244.3551 | 2681284.5752 | 1245246.2566
6 | 2681187.8101 | 1245312.5861 | 2681188.774 | 1245305.8319
7 | 2681162.485 | 1245428.8678 | 2681169.3999 | 1245426.583 | 2681162.019 | 1245403.2985 | 2681167.5293 | 1245400.9499 | 2681169.686 | 1245400.1677 | 2681176.1284 | 1245396.5199 | 2681179.833 | 1245390.2994 | 2681181.6529 | 1245376.581 | 2681184.9808 | 1245369.1768 | 2681180.7234 | 1245362.2468
8 | 2681180.7234 | 1245362.2468 | 2681187.8101 | 1245312.5861
9 | 2681133.4062 | 1245438.4771 | 2681162.485 | 1245428.8678
10 | 2681162.485 | 1245428.8678 | 2681154.6262 | 1245404.0646 | 2681150.6097 | 1245392.7792 | 2681148.2182 | 1245386.585
11 | 2681123.8443 | 1245053.278 | 2681126.5415 | 1245058.8412 | 2681128.3611 | 1245063.3693 | 2681132.4392 | 1245080.115 | 2681133.4018 | 1245085.4209
12 | 2681123.8443 | 1245053.278 | 2681097.5096 | 1245065.9939 | 2681090.0522 | 1245071.4673
13 | 2681133.4018 | 1245085.4209 | 2681123.763 | 1245093.3397
14 | 2681072.4347 | 1245084.3979 | 2681090.0522 | 1245071.4673
15 | 2680954.3055 | 1245419.0719 | 2680956.9077 | 1245407.7882 | 2680955.1616 | 1245406.7302 | 2680928.0484 | 1245390.2706
16 | 2680954.3055 | 1245419.0719 | 2680951.6549 | 1245418.9579 | 2680947.1901 | 1245422.7664 | 2680944.0955 | 1245423.6248
17 | 2680893.6162 | 1245395.7272 | 2680897.4723 | 1245387.2403 | 2680901.3067 | 1245374.8058 | 2680919.887 | 1245385.3446 | 2680923.1637 | 1245387.2017 | 2680928.0484 | 1245390.2706
18 | 2680928.0484 | 1245390.2706 | 2680934.5431 | 1245382.776
19 | 2680937.734 | 1245441.2842 | 2680942.2874 | 1245433.196 | 2680944.0955 | 1245423.6248
20 | 2681009.6805 | 1245451.9517 | 2681011.4009 | 1245447.7054 | 2681012.0989 | 1245445.8358 | 2681013.4321 | 1245442.2737 | 2681015.0209 | 1245437.7031
21 | 2681009.6805 | 1245451.9517 | 2680997.4518 | 1245484.1039
22 | 2681015.0209 | 1245437.7031 | 2681020.6621 | 1245421.5166
23 | 2681015.0209 | 1245437.7031 | 2681013.4321 | 1245442.2737 | 2681019.0959 | 1245445.8314 | 2681026.1465 | 1245449.0856
24 | 2681073.3378 | 1245085.7779 | 2681072.4347 | 1245084.3979
25 | 2681073.3378 | 1245085.7779 | 2681082.482 | 1245099.6799
26 | 2681100.1869 | 1245126.5966 | 2681082.482 | 1245099.6799
27 | 2681069.9966 | 1245333.9789 | 2681064.381 | 1245349.0306
28 | 2681069.9966 | 1245333.9789 | 2681073.256 | 1245325.495 | 2681078.2727 | 1245325.5414 | 2681081.0764 | 1245323.8563 | 2681091.9866 | 1245322.2709
29 | 2681069.9966 | 1245333.9789 | 2681078.0745 | 1245336.9298
30 | 2681064.381 | 1245349.0306 | 2681062.3199 | 1245354.5552
31 | 2681092.386 | 1245325.1118 | 2681092.1219 | 1245323.4291 | 2681091.9866 | 1245322.2709
32 | 2681091.9866 | 1245322.2709 | 2681091.0463 | 1245314.23 | 2681090.8424 | 1245313.1153 | 2681090.631 | 1245312.0005 | 2681093.9933 | 1245312.0131 | 2681097.2891 | 1245312.4696 | 2681100.4127 | 1245313.3685 | 2681103.0941 | 1245314.5505 | 2681105.3526 | 1245316.2604 | 2681107.5808 | 1245318.5369 | 2681117.3312 | 1245329.9229 | 2681121.171 | 1245334.8012 | 2681128.0732 | 1245345.0474 | 2681132.6512 | 1245352.849
33 | 2681048.1051 | 1245392.6557 | 2681045.7343 | 1245399.0149
34 | 2681048.1051 | 1245392.6557 | 2681053.6485 | 1245377.7975
35 | 2681045.7343 | 1245399.0149 | 2681040.9987 | 1245411.7169 | 2681037.6597 | 1245420.1178
36 | 2681055.8929 | 1245371.7818 | 2681053.6485 | 1245377.7975
37 | 2681144.2829 | 1245376.3919 | 2681148.2182 | 1245386.585
38 | 2681021.9941 | 1245372.54 | 2681020.4364 | 1245383.6824 | 2681017.9783 | 1245391.0606
39 | 2681021.9941 | 1245372.54 | 2681022.3211 | 1245370.1761
40 | 2681017.0955 | 1245393.7107 | 2681017.9783 | 1245391.0606
41 | 2681034.9776 | 1245336.4578 | 2681022.3211 | 1245370.1761
42 | 2680963.2064 | 1245345.4956 | 2680967.7881 | 1245332.0606
43 | 2680963.2064 | 1245345.4956 | 2680953.934 | 1245372.6777 | 2680950.1404 | 1245376.5843 | 2680934.5431 | 1245382.776
44 | 2680973.6046 | 1245315.0046 | 2680967.7881 | 1245332.0606
45 | 2681026.1465 | 1245449.0856 | 2681060.0262 | 1245464.5152
46 | 2681026.1465 | 1245449.0856 | 2681029.9872 | 1245439.4222
47 | 2681067.4445 | 1245467.8936 | 2681060.0262 | 1245464.5152
48 | 2681037.336 | 1245420.9323 | 2681029.9872 | 1245439.4222
49 | 2681034.9776 | 1245336.4578 | 2681026.4244 | 1245333.1052 | 2681019.979 | 1245330.2933
50 | 2681008.9116 | 1245321.869 | 2681007.691 | 1245324.9324 | 2681019.979 | 1245330.2933
51 | 2680893.6061 | 1245395.7462 | 2680893.6162 | 1245395.7272
52 | 2681132.6512 | 1245352.849 | 2681136.8834 | 1245361.0796 | 2681144.2829 | 1245376.3919
53 | 2681132.6512 | 1245352.849 | 2681129.0729 | 1245354.2678 | 2681124.4259 | 1245353.159 | 2681124.3338 | 1245353.2212
54 | 2681024.8751 | 1245409.4283 | 2681020.6621 | 1245421.5166
55 | 2681144.2829 | 1245376.3919 | 2681138.4569 | 1245378.6138 | 2681135.865 | 1245377.522 | 2681135.7918 | 1245377.551
56 | 2681111.4224 | 1245361.9432 | 2681124.3338 | 1245353.2212
57 | 2681024.8751 | 1245409.4283 | 2681016.9463 | 1245406.8404 | 2681018.3974 | 1245402.6909
58 | 2681017.0955 | 1245393.7107 | 2681021.1375 | 1245394.8556 | 2681018.3974 | 1245402.6909
59 | 2681291.6636 | 1245247.485 | 2681284.5752 | 1245246.2566
60 | 2680937.6592 | 1245441.421 | 2680937.734 | 1245441.2842
61 | 2681062.3199 | 1245354.5552 | 2681060.0831 | 1245360.5505
62 | 2681037.336 | 1245420.9323 | 2681037.6597 | 1245420.1178
63 | 2681058.1248 | 1245365.7995 | 2681055.8929 | 1245371.7818
64 | 2681017.0955 | 1245393.7107 | 2681012.7889 | 1245404.1928 | 2681006.4621 | 1245402.1494 | 2681003.8133 | 1245407.3762
65 | 2680975.5409 | 1245309.3266 | 2680973.6046 | 1245315.0046
66 | 2681008.9116 | 1245321.869 | 2681014.3879 | 1245305.4208 | 2681016.0798 | 1245301.0518 | 2681014.9268 | 1245294.4892
67 | 2681008.9116 | 1245321.869 | 2680996.9969 | 1245317.3364 | 2680981.8725 | 1245311.5813 | 2680975.5409 | 1245309.3266
68 | 2680983.7228 | 1245277.7525 | 2680991.3028 | 1245258.4886
69 | 2680983.7228 | 1245277.7525 | 2680978.2062 | 1245291.7725 | 2680977.897 | 1245293.8092
70 | 2681135.7918 | 1245377.551 | 2681129.9261 | 1245379.8745
71 | 2680975.5409 | 1245309.3266 | 2680977.897 | 1245293.8092
72 | 2681124.1719 | 1245382.1538 | 2681129.9261 | 1245379.8745
73 | 2681118.5811 | 1245384.3684 | 2681124.1719 | 1245382.1538
74 | 2681060.0831 | 1245360.5505 | 2681058.1248 | 1245365.7995

## bus_geodata
| x | y | coords
0 | 2681243.7008 | 1245303.6674
1 | 2681245.5468 | 1245289.5258
2 | 2681196.2448 | 1245253.4803
3 | 2681095.1596 | 1245164.8779
4 | 2681188.774 | 1245305.8319
5 | 2681180.7234 | 1245362.2468
6 | 2681162.485 | 1245428.8678
7 | 2681187.8101 | 1245312.5861
8 | 2681123.8443 | 1245053.278
9 | 2681133.4018 | 1245085.4209
10 | 2681090.0522 | 1245071.4673
11 | 2680954.3055 | 1245419.0719
12 | 2680928.0484 | 1245390.2706
13 | 2680944.0955 | 1245423.6248
14 | 2681009.6805 | 1245451.9517
15 | 2681015.0209 | 1245437.7031
16 | 2680997.4518 | 1245484.1039
17 | 2681073.3378 | 1245085.7779
18 | 2681072.4347 | 1245084.3979
19 | 2681082.482 | 1245099.6799
20 | 2681069.9966 | 1245333.9789
21 | 2681064.381 | 1245349.0306
22 | 2681091.9866 | 1245322.2709
23 | 2681078.0745 | 1245336.9298
24 | 2681048.1051 | 1245392.6557
25 | 2681045.7343 | 1245399.0149
26 | 2681053.6485 | 1245377.7975
27 | 2681133.4062 | 1245438.4771
28 | 2681148.2182 | 1245386.585
29 | 2681021.9941 | 1245372.54
30 | 2681017.9783 | 1245391.0606
31 | 2681022.3211 | 1245370.1761
32 | 2680963.2064 | 1245345.4956
33 | 2680967.7881 | 1245332.0606
34 | 2680934.5431 | 1245382.776
35 | 2681026.1465 | 1245449.0856
36 | 2681060.0262 | 1245464.5152
37 | 2681029.9872 | 1245439.4222
38 | 2681034.9776 | 1245336.4578
39 | 2681019.979 | 1245330.2933
40 | 2680893.6162 | 1245395.7272
41 | 2681092.386 | 1245325.1118
42 | 2681132.6512 | 1245352.849
43 | 2681020.6621 | 1245421.5166
44 | 2680893.6061 | 1245395.7462
45 | 2681144.2829 | 1245376.3919
46 | 2681124.3338 | 1245353.2212
47 | 2681024.8751 | 1245409.4283
48 | 2681018.3974 | 1245402.6909
49 | 2681100.1869 | 1245126.5966
50 | 2681284.5752 | 1245246.2566
51 | 2680937.734 | 1245441.2842
52 | 2680937.6592 | 1245441.421
53 | 2681123.763 | 1245093.3397
54 | 2681062.3199 | 1245354.5552
55 | 2681037.6597 | 1245420.1178
56 | 2681055.8929 | 1245371.7818
57 | 2681017.0955 | 1245393.7107
58 | 2680973.6046 | 1245315.0046
59 | 2681067.4445 | 1245467.8936
60 | 2681037.336 | 1245420.9323
61 | 2681008.9116 | 1245321.869
62 | 2681003.8133 | 1245407.3762
63 | 2680991.3028 | 1245258.4886
64 | 2680983.7228 | 1245277.7525
65 | 2681135.7918 | 1245377.551
66 | 2681111.4224 | 1245361.9432
67 | 2681014.9268 | 1245294.4892
68 | 2681291.6636 | 1245247.485
69 | 2680977.897 | 1245293.8092
70 | 2680975.5409 | 1245309.3266
71 | 2681129.9261 | 1245379.8745
72 | 2681124.1719 | 1245382.1538
73 | 2681118.5811 | 1245384.3684
74 | 2681058.1248 | 1245365.7995
75 | 2681060.0831 | 1245360.5505
76 | 2681063.2013 | 1245331.3841

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97296 | -0.52044 | 0.0036 | 0.00090225
1 | 0.97301 | -0.51949 | 0 | 0
2 | 0.97326 | -0.51453 | 0 | 0
3 | 0.97137 | -0.55191 | 0 | 0
4 | 0.97407 | -0.49858 | 0.055567 | 0.013926
5 | 0.97834 | -0.41469 | 0 | 0
6 | 0.98478 | -0.28954 | 0 | 0
7 | 0.97452 | -0.48957 | 0.0096724 | 0.0024241
8 | 0.97063 | -0.5666 | 0 | 0
9 | 0.97059 | -0.56735 | 0 | 0
10 | 0.97067 | -0.56574 | 0.0012117 | 0.00030368
11 | 0.97085 | -0.56273 | 0 | 0
12 | 0.97142 | -0.55149 | 0 | 0
13 | 0.9707 | -0.56564 | 0.0066808 | 0.0016744
14 | 0.98882 | -0.21246 | 0 | 0
15 | 0.98884 | -0.2119 | 0 | 0
16 | 0.98875 | -0.21373 | 0.0020643 | 0.00051736
17 | 0.97072 | -0.56469 | 0 | 0
18 | 0.97072 | -0.56477 | 0 | 0
19 | 0.97076 | -0.56395 | 0.0067733 | 0.0016976
20 | 1 | 0 | -0.31979 | -0.081938
21 | 0.99858 | -0.026671 | 0.0034674 | 0.00086902
22 | 0.99843 | -0.029603 | 0 | 0
23 | 0.99998 | -0.00042506 | 0.0028356 | 0.00071066
24 | 0.99475 | -0.099255 | 0 | 0
25 | 0.99421 | -0.1095 | 0.0080457 | 0.0020164
26 | 0.99601 | -0.075351 | 0.0039692 | 0.00099478
27 | 0.98473 | -0.29066 | 0.0020395 | 0.00051115
28 | 0.98826 | -0.22264 | 0.0016437 | 0.00041195
29 | 0.98377 | -0.3097 | 0 | 0
30 | 0.98487 | -0.28855 | 0.013914 | 0.0034873
31 | 0.9835 | -0.31501 | 0.012754 | 0.0031964
32 | 0.97309 | -0.51837 | 0 | 0
33 | 0.97351 | -0.51019 | 0.0074089 | 0.0018568
34 | 0.9716 | -0.54779 | 0.011125 | 0.0027883
35 | 0.99021 | -0.18572 | 0 | 0
36 | 0.99008 | -0.18831 | 0.0018908 | 0.00047389
37 | 0.99097 | -0.17127 | 0.0020176 | 0.00050565
38 | 0.97978 | -0.38719 | 0 | 0
39 | 0.97811 | -0.41988 | 0.01288 | 0.003228
40 | 0.97108 | -0.55816 | 0 | 0
41 | 0.99838 | -0.030456 | 0.01702 | 0.0042657
42 | 0.99159 | -0.15912 | 0 | 0
43 | 0.98765 | -0.23491 | 0.0021822 | 0.0005469
44 | 0.97108 | -0.55816 | 0.0067792 | 0.001699
45 | 0.98913 | -0.20602 | 0 | 0
46 | 0.99157 | -0.15941 | 0.00093141 | 0.00023343
47 | 0.98677 | -0.25188 | 0 | 0
48 | 0.98589 | -0.26879 | 0.0028789 | 0.00072151
49 | 0.97104 | -0.55848 | 0 | 0
50 | 0.97065 | -0.56611 | 0.0016544 | 0.00041463
51 | 0.97058 | -0.56801 | 0 | 0
52 | 0.97058 | -0.56803 | 0.0067347 | 0.0016879
53 | 0.97057 | -0.56763 | 0.0012014 | 0.00030109
54 | 0.99807 | -0.0363 | 0.0028729 | 0.00072001
55 | 0.9925 | -0.1421 | 0.0025062 | 0.00062811
56 | 0.99653 | -0.065467 | 0.0028627 | 0.00071745
57 | 0.98504 | -0.2851 | 0 | 0
58 | 0.97416 | -0.49736 | 0.0067024 | 0.0016798
59 | 0.99006 | -0.1886 | 0.0020166 | 0.00050541
60 | 0.99243 | -0.14334 | 0.0023891 | 0.00059877
61 | 0.97658 | -0.44973 | 0 | 0
62 | 0.98487 | -0.28848 | 0.0078843 | 0.001976
63 | 0.97377 | -0.50501 | 0.0069257 | 0.0017358
64 | 0.97391 | -0.50238 | 0.0065998 | 0.0016541
65 | 0.98901 | -0.20849 | 0.00099457 | 0.00024926
66 | 0.99156 | -0.15966 | 0.0009196 | 0.00023047
67 | 0.97572 | -0.46677 | 0.032476 | 0.0081393
68 | 0.97064 | -0.56637 | 0.0019436 | 0.00048712
69 | 0.97412 | -0.49812 | 0.0064825 | 0.0016247
70 | 0.97441 | -0.49235 | 0 | 0
71 | 0.98892 | -0.21008 | 0.00096092 | 0.00024083
72 | 0.98885 | -0.21155 | 0.00095701 | 0.00023985
73 | 0.98878 | -0.21286 | 0.012287 | 0.0030794
74 | 0.99706 | -0.055487 | 0.0028466 | 0.00071343
75 | 0.99753 | -0.0466 | 0.0028427 | 0.00071244
76 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0036 | -0.00090225 | 0.0036002 | 0.00090217 | 1.6212e-07 | -7.3378e-08 | 0.0055057 | 0.0055057 | 0.0055057 | 0.97296 | -0.52044 | 0.97301 | -0.51949 | 1.5126
1 | -0.0036002 | -0.00090217 | 0.003601 | 0.00090179 | 8.5008e-07 | -3.851e-07 | 0.0055057 | 0.0055053 | 0.0055057 | 0.97301 | -0.51949 | 0.97326 | -0.51453 | 1.5125
2 | 0.012815 | 0.0032167 | -0.012792 | -0.0032041 | 2.2805e-05 | 1.2631e-05 | 0.019595 | 0.019596 | 0.019596 | 0.97326 | -0.51453 | 0.97137 | -0.55191 | 5.3834
3 | -0.016416 | -0.0041185 | 0.016429 | 0.0041258 | 1.2494e-05 | 7.3383e-06 | 0.0251 | 0.0251 | 0.0251 | 0.97326 | -0.51453 | 0.97407 | -0.49858 | 6.8957
4 | 0.009192 | 0.0023035 | -0.0091891 | -0.0023021 | 2.8745e-06 | 1.3613e-06 | 0.014081 | 0.014081 | 0.014081 | 0.97137 | -0.55191 | 0.97104 | -0.55848 | 3.8684
5 | 0.0036005 | 0.00090059 | -0.003598 | -0.00090167 | 2.4326e-06 | -1.0811e-06 | 0.0055148 | 0.0055158 | 0.0055158 | 0.97137 | -0.55191 | 0.97065 | -0.56611 | 1.5153
6 | -0.071996 | -0.018052 | 0.072027 | 0.018072 | 3.095e-05 | 1.9723e-05 | 0.10999 | 0.10999 | 0.10999 | 0.97407 | -0.49858 | 0.97452 | -0.48957 | 30.216
7 | -0.081992 | -0.020683 | 0.082486 | 0.020998 | 0.00049449 | 0.00031541 | 0.12475 | 0.12475 | 0.12475 | 0.97834 | -0.41469 | 0.98478 | -0.28954 | 34.2733
8 | 0.081992 | 0.020683 | -0.081699 | -0.020496 | 0.00029278 | 0.00018675 | 0.12475 | 0.12476 | 0.12476 | 0.97834 | -0.41469 | 0.97452 | -0.48957 | 34.2734
9 | 0.0020396 | 0.00051083 | -0.0020395 | -0.00051115 | 1.0879e-07 | -3.1898e-07 | 0.0030817 | 0.0030819 | 0.0030819 | 0.98478 | -0.28954 | 0.98473 | -0.29066 | 0.84667
10 | -0.084526 | -0.021509 | 0.0848 | 0.021684 | 0.00027355 | 0.0001745 | 0.12784 | 0.12784 | 0.12784 | 0.98478 | -0.28954 | 0.98826 | -0.22264 | 35.1198
11 | 0.0012014 | 0.00030056 | -0.0012014 | -0.00030095 | 4.2845e-08 | -3.8889e-07 | 0.0018416 | 0.0018418 | 0.0018418 | 0.97063 | -0.5666 | 0.97059 | -0.56735 | 0.50599
12 | -0.0012014 | -0.00030056 | 0.0012015 | 0.00030011 | 4.8955e-08 | -4.4448e-07 | 0.0018416 | 0.0018415 | 0.0018416 | 0.97063 | -0.5666 | 0.97067 | -0.56574 | 0.50595
13 | 0.0012014 | 0.00030095 | -0.0012014 | -0.00030109 | 1.5869e-08 | -1.4401e-07 | 0.0018418 | 0.0018418 | 0.0018418 | 0.97059 | -0.56735 | 0.97057 | -0.56763 | 0.506
14 | -0.0024132 | -0.0006038 | 0.0024133 | 0.0006036 | 1.1213e-07 | -1.9838e-07 | 0.003699 | 0.0036989 | 0.003699 | 0.97067 | -0.56574 | 0.97072 | -0.56477 | 1.0162
15 | -0.013418 | -0.0033635 | 0.013425 | 0.0033676 | 7.1914e-06 | 4.0415e-06 | 0.020566 | 0.020566 | 0.020566 | 0.97085 | -0.56273 | 0.97142 | -0.55149 | 5.6501
16 | 0.013418 | 0.0033635 | -0.013416 | -0.0033625 | 1.861e-06 | 1.046e-06 | 0.020566 | 0.020566 | 0.020566 | 0.97085 | -0.56273 | 0.9707 | -0.56564 | 5.6501
17 | 0.0067813 | 0.0016997 | -0.0067792 | -0.001699 | 2.154e-06 | 7.1978e-07 | 0.010388 | 0.010388 | 0.010388 | 0.97142 | -0.55149 | 0.97108 | -0.55816 | 2.8538
18 | -0.020207 | -0.0050673 | 0.02021 | 0.0050695 | 3.5633e-06 | 2.1577e-06 | 0.030954 | 0.030954 | 0.030954 | 0.97142 | -0.55149 | 0.9716 | -0.54779 | 8.5038
19 | 0.0067355 | 0.0016881 | -0.0067347 | -0.0016879 | 7.6046e-07 | 2.5158e-07 | 0.010325 | 0.010325 | 0.010325 | 0.9707 | -0.56564 | 0.97058 | -0.56801 | 2.8366
20 | -0.0020644 | -0.000517 | 0.0020645 | 0.00051684 | 5.5076e-08 | -1.5998e-07 | 0.0031065 | 0.0031064 | 0.0031065 | 0.98882 | -0.21246 | 0.98884 | -0.2119 | 0.85344
21 | 0.0020644 | 0.000517 | -0.0020643 | -0.00051736 | 1.2449e-07 | -3.6155e-07 | 0.0031065 | 0.0031067 | 0.0031067 | 0.98882 | -0.21246 | 0.98875 | -0.21373 | 0.85348
22 | 0.1521 | 0.038769 | -0.15193 | -0.038661 | 0.0001687 | 0.00010753 | 0.22911 | 0.22911 | 0.22911 | 0.98884 | -0.2119 | 0.98765 | -0.23491 | 31.4708
23 | -0.15416 | -0.039285 | 0.15436 | 0.03941 | 0.00019506 | 0.00012434 | 0.23221 | 0.23221 | 0.23221 | 0.98884 | -0.2119 | 0.99021 | -0.18572 | 31.8975
24 | 0.0024133 | 0.00060358 | -0.0024133 | -0.0006036 | 8.4554e-09 | -1.4962e-08 | 0.0036989 | 0.0036989 | 0.0036989 | 0.97072 | -0.56469 | 0.97072 | -0.56477 | 1.0162
25 | -0.0024133 | -0.00060358 | 0.0024134 | 0.00060343 | 8.5371e-08 | -1.5108e-07 | 0.0036989 | 0.0036988 | 0.0036989 | 0.97072 | -0.56469 | 0.97076 | -0.56395 | 1.0162
26 | -0.0091867 | -0.002301 | 0.0091891 | 0.0023021 | 2.3955e-06 | 1.1347e-06 | 0.014081 | 0.014081 | 0.014081 | 0.97076 | -0.56395 | 0.97104 | -0.55848 | 3.8685
27 | 0.19366 | 0.049868 | -0.19341 | -0.049708 | 0.00025095 | 0.00016019 | 0.28864 | 0.28864 | 0.28864 | 1 | 0 | 0.99858 | -0.026671 | 39.6481
28 | 0.12165 | 0.031359 | -0.12148 | -0.031248 | 0.00017509 | 0.00011131 | 0.18133 | 0.18133 | 0.18133 | 1 | 0 | 0.99843 | -0.029603 | 24.9077
29 | 0.0028356 | 0.00071059 | -0.0028356 | -0.00071066 | 5.7417e-08 | -7.6076e-08 | 0.0042194 | 0.0042195 | 0.0042195 | 1 | 0 | 0.99998 | -0.00042506 | 1.1592
30 | 0.18994 | 0.048839 | -0.18985 | -0.048782 | 8.8843e-05 | 5.6705e-05 | 0.28347 | 0.28347 | 0.28347 | 0.99858 | -0.026671 | 0.99807 | -0.0363 | 38.9384
31 | 0.017021 | 0.0042661 | -0.01702 | -0.0042657 | 6.9234e-07 | 4.0558e-07 | 0.025367 | 0.025368 | 0.025368 | 0.99843 | -0.029603 | 0.99838 | -0.030456 | 6.9691
32 | 0.10445 | 0.026981 | -0.1038 | -0.026563 | 0.00065538 | 0.00041851 | 0.15596 | 0.15596 | 0.15596 | 0.99843 | -0.029603 | 0.99159 | -0.15912 | 42.8465
33 | 0.17391 | 0.044575 | -0.17382 | -0.04452 | 8.6351e-05 | 5.5089e-05 | 0.2605 | 0.2605 | 0.2605 | 0.99475 | -0.099255 | 0.99421 | -0.1095 | 35.7824
34 | -0.17391 | -0.044575 | 0.17411 | 0.044703 | 0.00020177 | 0.00012872 | 0.2605 | 0.2605 | 0.2605 | 0.99475 | -0.099255 | 0.99601 | -0.075351 | 35.7824
35 | 0.16578 | 0.042503 | -0.16551 | -0.042336 | 0.00026154 | 0.0001668 | 0.24845 | 0.24845 | 0.24845 | 0.99421 | -0.1095 | 0.9925 | -0.1421 | 34.1284
36 | -0.17808 | -0.045698 | 0.17816 | 0.045753 | 8.5456e-05 | 5.4524e-05 | 0.26643 | 0.26643 | 0.26643 | 0.99601 | -0.075351 | 0.99653 | -0.065467 | 36.5969
37 | -0.086443 | -0.022096 | 0.086513 | 0.02214 | 6.9578e-05 | 4.439e-05 | 0.13031 | 0.13031 | 0.13031 | 0.98826 | -0.22264 | 0.98913 | -0.20602 | 35.7997
38 | -0.12456 | -0.031605 | 0.12468 | 0.031685 | 0.00012682 | 8.0682e-05 | 0.18854 | 0.18854 | 0.18854 | 0.98377 | -0.3097 | 0.98487 | -0.28855 | 25.8984
39 | 0.12456 | 0.031605 | -0.12453 | -0.031584 | 3.1812e-05 | 2.0329e-05 | 0.18854 | 0.18854 | 0.18854 | 0.98377 | -0.3097 | 0.9835 | -0.31501 | 51.7968
40 | -0.1386 | -0.035173 | 0.13862 | 0.035187 | 2.3e-05 | 1.4649e-05 | 0.20956 | 0.20956 | 0.20956 | 0.98487 | -0.28855 | 0.98504 | -0.2851 | 28.7861
41 | 0.11177 | 0.028388 | -0.11139 | -0.028141 | 0.00038685 | 0.00024713 | 0.16924 | 0.16924 | 0.16924 | 0.9835 | -0.31501 | 0.97978 | -0.38719 | 46.4957
42 | -0.03138 | -0.0078853 | 0.031392 | 0.0078929 | 1.226e-05 | 7.6701e-06 | 0.047992 | 0.047992 | 0.047992 | 0.97309 | -0.51837 | 0.97351 | -0.51019 | 13.1846
43 | 0.03138 | 0.0078853 | -0.031336 | -0.0078577 | 4.4003e-05 | 2.753e-05 | 0.047992 | 0.047992 | 0.047992 | 0.97309 | -0.51837 | 0.9716 | -0.54779 | 13.1846
44 | -0.038801 | -0.0097498 | 0.038824 | 0.0097648 | 2.3776e-05 | 1.4993e-05 | 0.059316 | 0.059316 | 0.059316 | 0.97351 | -0.51019 | 0.97416 | -0.49736 | 16.2957
45 | 0.0039079 | 0.00097904 | -0.0039075 | -0.00097921 | 4.8144e-07 | -1.707e-07 | 0.0058724 | 0.0058726 | 0.0058726 | 0.99021 | -0.18572 | 0.99008 | -0.18831 | 1.6133
46 | -0.15826 | -0.040389 | 0.15837 | 0.040459 | 0.00011052 | 7.0466e-05 | 0.23809 | 0.23809 | 0.23809 | 0.99021 | -0.18572 | 0.99097 | -0.17127 | 32.7041
47 | 0.0020166 | 0.00050532 | -0.0020166 | -0.00050541 | 2.8079e-08 | -8.6856e-08 | 0.0030308 | 0.0030308 | 0.0030308 | 0.99008 | -0.18831 | 0.99006 | -0.1886 | 0.83265
48 | -0.16039 | -0.040965 | 0.16061 | 0.041103 | 0.00021689 | 0.00013829 | 0.24112 | 0.24112 | 0.24112 | 0.99097 | -0.17127 | 0.99243 | -0.14334 | 33.1202
49 | 0.11139 | 0.028141 | -0.11121 | -0.02803 | 0.00017421 | 0.00011129 | 0.16924 | 0.16924 | 0.16924 | 0.97978 | -0.38719 | 0.97811 | -0.41988 | 46.4958
50 | 0.098331 | 0.024802 | -0.098191 | -0.024712 | 0.00014028 | 8.9573e-05 | 0.14965 | 0.14965 | 0.14965 | 0.97811 | -0.41988 | 0.97658 | -0.44973 | 41.1127
51 | 0.0067792 | 0.001699 | -0.0067792 | -0.001699 | 8.7123e-10 | 2.9078e-10 | 0.010388 | 0.010388 | 0.010388 | 0.97108 | -0.55816 | 0.97108 | -0.55816 | 2.8538
52 | 0.10195 | 0.026099 | -0.10172 | -0.025952 | 0.00023097 | 0.00014748 | 0.15318 | 0.15318 | 0.15318 | 0.99159 | -0.15912 | 0.98913 | -0.20602 | 42.0834
53 | 0.0018511 | 0.00046362 | -0.001851 | -0.00046371 | 2.5281e-08 | -9.6532e-08 | 0.0027777 | 0.0027777 | 0.0027777 | 0.99159 | -0.15912 | 0.99157 | -0.15941 | 0.7631
54 | 0.14975 | 0.038114 | -0.14962 | -0.038036 | 0.0001224 | 7.8009e-05 | 0.22582 | 0.22582 | 0.22582 | 0.98765 | -0.23491 | 0.98677 | -0.25188 | 31.0192
55 | 0.015204 | 0.0038119 | -0.015202 | -0.0038109 | 1.7906e-06 | 1.0288e-06 | 0.022873 | 0.022873 | 0.022873 | 0.98913 | -0.20602 | 0.98901 | -0.20849 | 6.2838
56 | 0.00091961 | 0.00023028 | -0.0009196 | -0.00023047 | 1.1127e-08 | -1.9386e-07 | 0.00138 | 0.00138 | 0.00138 | 0.99157 | -0.15941 | 0.99156 | -0.15966 | 0.37913
57 | 0.14962 | 0.038036 | -0.1495 | -0.037959 | 0.00012178 | 7.7613e-05 | 0.22582 | 0.22582 | 0.22582 | 0.98677 | -0.25188 | 0.98589 | -0.26879 | 31.0192
58 | 0.14662 | 0.037237 | -0.14651 | -0.037164 | 0.00011498 | 7.3267e-05 | 0.22147 | 0.22147 | 0.22147 | 0.98589 | -0.26879 | 0.98504 | -0.2851 | 30.4224
59 | 0.0019436 | 0.00048704 | -0.0019436 | -0.00048712 | 2.3951e-08 | -7.3592e-08 | 0.0029796 | 0.0029796 | 0.0029796 | 0.97065 | -0.56611 | 0.97064 | -0.56637 | 0.81858
60 | 0.0067347 | 0.0016879 | -0.0067347 | -0.0016879 | 6.2344e-09 | 2.0624e-09 | 0.010325 | 0.010325 | 0.010325 | 0.97058 | -0.56801 | 0.97058 | -0.56803 | 2.8366
61 | 0.18698 | 0.048062 | -0.18688 | -0.048003 | 9.352e-05 | 5.9685e-05 | 0.27919 | 0.27919 | 0.27919 | 0.99807 | -0.0363 | 0.99753 | -0.0466 | 38.3501
62 | 0.16301 | 0.041708 | -0.163 | -0.041702 | 9.8391e-06 | 6.2744e-06 | 0.2447 | 0.2447 | 0.2447 | 0.9925 | -0.1421 | 0.99243 | -0.14334 | 33.6123
63 | -0.18103 | -0.04647 | 0.18111 | 0.046526 | 8.7728e-05 | 5.598e-05 | 0.2707 | 0.2707 | 0.2707 | 0.99653 | -0.065467 | 0.99706 | -0.055487 | 37.1841
64 | 0.0078855 | 0.0019765 | -0.0078843 | -0.001976 | 1.2686e-06 | 5.0847e-07 | 0.011912 | 0.011912 | 0.011912 | 0.98504 | -0.2851 | 0.98487 | -0.28848 | 3.2726
65 | -0.045527 | -0.011445 | 0.045538 | 0.011451 | 1.0883e-05 | 6.8906e-06 | 0.069554 | 0.069554 | 0.069554 | 0.97416 | -0.49736 | 0.97441 | -0.49235 | 19.1083
66 | 0.032502 | 0.0081558 | -0.032476 | -0.0081393 | 2.6386e-05 | 1.6528e-05 | 0.049527 | 0.049528 | 0.049528 | 0.97658 | -0.44973 | 0.97572 | -0.46677 | 13.6065
67 | 0.065689 | 0.016556 | -0.065555 | -0.016471 | 0.00013367 | 8.5105e-05 | 0.10012 | 0.10012 | 0.10012 | 0.97658 | -0.44973 | 0.97441 | -0.49235 | 27.5063
68 | -0.0069257 | -0.0017358 | 0.0069266 | 0.0017361 | 8.6948e-07 | 2.989e-07 | 0.010583 | 0.010583 | 0.010583 | 0.97377 | -0.50501 | 0.97391 | -0.50238 | 2.9075
69 | -0.013526 | -0.0033901 | 0.013529 | 0.0033917 | 2.7431e-06 | 1.5424e-06 | 0.020667 | 0.020667 | 0.020667 | 0.97391 | -0.50238 | 0.97412 | -0.49812 | 5.6777
70 | 0.014208 | 0.0035617 | -0.014207 | -0.003561 | 1.0811e-06 | 6.1098e-07 | 0.021377 | 0.021377 | 0.021377 | 0.98901 | -0.20849 | 0.98892 | -0.21008 | 5.8727
71 | -0.020012 | -0.0050163 | 0.020017 | 0.0050196 | 5.5e-06 | 3.3245e-06 | 0.030569 | 0.030569 | 0.030569 | 0.97412 | -0.49812 | 0.97441 | -0.49235 | 8.3981
72 | 0.013246 | 0.0033202 | -0.013245 | -0.0033197 | 9.2198e-07 | 5.1066e-07 | 0.019931 | 0.019931 | 0.019931 | 0.98892 | -0.21008 | 0.98885 | -0.21155 | 5.4755
73 | 0.012288 | 0.0030799 | -0.012287 | -0.0030794 | 7.7103e-07 | 4.1632e-07 | 0.018491 | 0.018491 | 0.018491 | 0.98885 | -0.21155 | 0.98878 | -0.21286 | 5.0799
74 | -0.18396 | -0.04724 | 0.18404 | 0.04729 | 7.9411e-05 | 5.0677e-05 | 0.27495 | 0.27495 | 0.27495 | 0.99706 | -0.055487 | 0.99753 | -0.0466 | 37.7676

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.31979 | 0.081938

## res_load
| p_mw | q_mvar
0 | 0.0036 | 0.00090225
1 | 0.055567 | 0.013926
2 | 0.0096724 | 0.0024241
3 | 0.0012117 | 0.00030368
4 | 0.0066808 | 0.0016744
5 | 0.0020643 | 0.00051736
6 | 0.0067733 | 0.0016976
7 | 0.0034674 | 0.00086902
8 | 0.0028356 | 0.00071066
9 | 0.0080457 | 0.0020164
10 | 0.0039692 | 0.00099478
11 | 0.0020395 | 0.00051115
12 | 0.0016437 | 0.00041195
13 | 0.013914 | 0.0034873
14 | 0.012754 | 0.0031964
15 | 0.0074089 | 0.0018568
16 | 0.011125 | 0.0027883
17 | 0.0018908 | 0.00047389
18 | 0.0020176 | 0.00050565
19 | 0.01288 | 0.003228
20 | 0.01702 | 0.0042657
21 | 0.0021822 | 0.0005469
22 | 0.0067792 | 0.001699
23 | 0.00093141 | 0.00023343
24 | 0.0028789 | 0.00072151
25 | 0.0016544 | 0.00041463
26 | 0.0067347 | 0.0016879
27 | 0.0012014 | 0.00030109
28 | 0.0028729 | 0.00072001
29 | 0.0025062 | 0.00062811
30 | 0.0028627 | 0.00071745
31 | 0.0067024 | 0.0016798
32 | 0.0020166 | 0.00050541
33 | 0.0023891 | 0.00059877
34 | 0.0078843 | 0.001976
35 | 0.0069257 | 0.0017358
36 | 0.0065998 | 0.0016541
37 | 0.00099457 | 0.00024926
38 | 0.0009196 | 0.00023047
39 | 0.032476 | 0.0081393
40 | 0.0019436 | 0.00048712
41 | 0.0064825 | 0.0016247
42 | 0.00096092 | 0.00024083
43 | 0.00095701 | 0.00023985
44 | 0.012287 | 0.0030794
45 | 0.0028466 | 0.00071343
46 | 0.0028427 | 0.00071244

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1