## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-395_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-395_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-395_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-395_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-395_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-395_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_261-395_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_261-395_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_261-395_0_4_node_64 | 0.4 | n |  | TRUE
9 | bus_LV_261-395_0_4_node_62 | 0.4 | n |  | TRUE
10 | bus_LV_261-395_0_4_node_75 | 0.4 | n |  | TRUE
11 | bus_LV_261-395_0_4_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_261-395_0_4_node_63 | 0.4 | n |  | TRUE
13 | bus_LV_261-395_0_4_node_61 | 0.4 | n |  | TRUE
14 | bus_LV_261-395_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_261-395_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_261-395_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_261-395_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_261-395_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_261-395_0_4_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_261-395_0_4_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_261-395_0_4_node_65 | 0.4 | n |  | TRUE
22 | bus_LV_261-395_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_261-395_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_261-395_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_261-395_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_261-395_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_261-395_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_261-395_0_4_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_261-395_0_4_node_76 | 0.4 | n |  | TRUE
30 | bus_LV_261-395_0_4_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_261-395_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_261-395_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_261-395_0_4_node_68 | 0.4 | n |  | TRUE
34 | bus_LV_261-395_0_4_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_261-395_0_4_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_261-395_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_261-395_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_261-395_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_261-395_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_261-395_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_261-395_0_4_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_261-395_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_261-395_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_261-395_0_4_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_261-395_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_261-395_0_4_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_261-395_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_261-395_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_261-395_0_4_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_261-395_0_4_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_261-395_0_4_node_74 | 0.4 | n |  | TRUE
52 | bus_LV_261-395_0_4_node_26 | 0.4 | n |  | TRUE
53 | bus_LV_261-395_0_4_node_27 | 0.4 | n |  | TRUE
54 | bus_LV_261-395_0_4_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_261-395_0_4_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_261-395_0_4_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_261-395_0_4_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_261-395_0_4_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_261-395_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_261-395_0_4_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_261-395_0_4_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_261-395_0_4_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_261-395_0_4_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_261-395_0_4_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_261-395_0_4_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_261-395_0_4_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_261-395_0_4_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_261-395_0_4_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_261-395_0_4_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_261-395_0_4_node_71 | 0.4 | n |  | TRUE
71 | bus_MV_494_0_node_131 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-395_0_4_load_0 | 0 | 0.0032571 | 0.0008163 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-395_0_4_load_1 | 1 | 0.0028238 | 0.00070771 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-395_0_4_load_3 | 3 | 0.0028239 | 0.00070773 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-395_0_4_load_4 | 4 | 0.0024499 | 0.00061399 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-395_0_4_load_6 | 5 | 0.0025747 | 0.00064529 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-395_0_4_load_7 | 6 | 0.011898 | 0.0029819 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-395_0_4_load_75 | 10 | 0.014152 | 0.0035469 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-395_0_4_load_28 | 11 | 0.095749 | 0.023997 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-395_0_4_load_63 | 12 | 0.0040634 | 0.0010184 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-395_0_4_load_61 | 13 | 0.0016688 | 0.00041824 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-395_0_4_load_9 | 14 | 0.011605 | 0.0029086 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-395_0_4_load_14 | 18 | 0.010879 | 0.0027265 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-395_0_4_load_38 | 19 | 0.0025842 | 0.00064766 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-395_0_4_load_37 | 20 | 0.0018552 | 0.00046495 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-395_0_4_load_65 | 21 | 0.012869 | 0.0032253 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-395_0_4_load_15 | 22 | 0.0040498 | 0.001015 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-395_0_4_load_16 | 23 | 0.0030938 | 0.00077538 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-395_0_4_load_18 | 25 | 0.0029582 | 0.0007414 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-395_0_4_load_34 | 28 | 0.0031877 | 0.00079891 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-395_0_4_load_76 | 29 | 0.002333 | 0.00058472 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-395_0_4_load_56 | 30 | 0.0053515 | 0.0013412 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-395_0_4_load_68 | 33 | 0.0024873 | 0.00062339 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-395_0_4_load_55 | 34 | 0.003661 | 0.00091753 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-395_0_4_load_53 | 35 | 0.0098691 | 0.0024734 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-395_0_4_load_29 | 37 | 0.010101 | 0.0025316 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-395_0_4_load_25 | 38 | 0.023097 | 0.0057885 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-395_0_4_load_33 | 39 | 0.006795 | 0.001703 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-395_0_4_load_66 | 41 | 0.0026369 | 0.00066087 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-395_0_4_load_35 | 42 | 0.0067986 | 0.0017039 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-395_0_4_load_43 | 44 | 0.0023064 | 0.00057805 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-395_0_4_load_39 | 45 | 0.0016507 | 0.0004137 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-395_0_4_load_69 | 49 | 0.0024846 | 0.00062271 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-395_0_4_load_74 | 51 | 0.0097 | 0.002431 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-395_0_4_load_27 | 53 | 0.0025288 | 0.00063377 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-395_0_4_load_72 | 54 | 0.0020185 | 0.00050589 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-395_0_4_load_70 | 55 | 0.0024822 | 0.0006221 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-395_0_4_load_73 | 56 | 0.0019399 | 0.00048619 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-395_0_4_load_67 | 57 | 0.0025911 | 0.0006494 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-395_0_4_load_40 | 58 | 0.0017626 | 0.00044175 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-395_0_4_load_42 | 59 | 0.0019677 | 0.00049315 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-395_0_4_load_57 | 60 | 0.0019577 | 0.00049066 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-395_0_4_load_45 | 61 | 0.0014343 | 0.00035946 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-395_0_4_load_58 | 62 | 0.0016574 | 0.00041538 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-395_0_4_load_47 | 64 | 0.0011961 | 0.00029976 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-395_0_4_load_48 | 65 | 0.0037766 | 0.0009465 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-395_0_4_load_59 | 68 | 0.0015667 | 0.00039265 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-395_0_4_load_60 | 69 | 0.0015264 | 0.00038256 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-395_0_4_load_71 | 70 | 0.0037466 | 0.00093899 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-395_0_4_line_0 |  | 0 | 1 | 0.036574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-395_0_4_line_1 |  | 0 | 2 | 0.047106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-395_0_4_line_2 |  | 1 | 3 | 0.0085259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-395_0_4_line_3 |  | 2 | 4 | 0.039887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-395_0_4_line_4 |  | 4 | 5 | 0.01218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-395_0_4_line_5 |  | 5 | 6 | 0.059359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-395_0_4_line_6 |  | 6 | 7 | 0.050022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-395_0_4_line_7 |  | 7 | 8 | 0.044974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_261-395_0_4_line_8 |  | 7 | 9 | 0.011124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-395_0_4_line_9 |  | 8 | 10 | 0.02314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-395_0_4_line_10 |  | 8 | 11 | 0.005046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_261-395_0_4_line_11 |  | 9 | 12 | 0.056244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-395_0_4_line_12 |  | 9 | 13 | 0.051638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-395_0_4_line_13 |  | 11 | 52 | 0.019587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-395_0_4_line_14 |  | 12 | 57 | 0.011982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-395_0_4_line_15 |  | 13 | 69 | 0.0070335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-395_0_4_line_16 |  | 14 | 15 | 0.0025519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-395_0_4_line_17 |  | 14 | 16 | 0.031212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-395_0_4_line_18 |  | 15 | 17 | 0.019036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-395_0_4_line_19 |  | 16 | 18 | 0.060836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-395_0_4_line_20 |  | 17 | 19 | 0.0057977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-395_0_4_line_21 |  | 17 | 20 | 0.013993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-395_0_4_line_22 |  | 19 | 21 | 0.026167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-395_0_4_line_23 |  | 21 | 53 | 0.0050505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-395_0_4_line_24 |  | 22 | 23 | 0.0072591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-395_0_4_line_25 |  | 22 | 24 | 0.058633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-395_0_4_line_26 |  | 23 | 25 | 0.0065015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-395_0_4_line_27 |  | 24 | 26 | 0.032966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-395_0_4_line_28 |  | 24 | 27 | 0.030991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-395_0_4_line_29 |  | 25 | 28 | 0.0066024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-395_0_4_line_30 |  | 26 | 29 | 0.020746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-395_0_4_line_31 |  | 27 | 30 | 0.032835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-395_0_4_line_32 |  | 28 | 39 | 0.018002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-395_0_4_line_33 |  | 30 | 46 | 0.025274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-395_0_4_line_34 |  | 31 | 32 | 0.032641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-395_0_4_line_35 |  | 31 | 33 | 0.090697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-395_0_4_line_36 |  | 32 | 34 | 0.02605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-395_0_4_line_37 |  | 32 | 35 | 0.026341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-395_0_4_line_38 |  | 33 | 48 | 0.0035192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-395_0_4_line_39 |  | 35 | 50 | 0.020909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-395_0_4_line_40 |  | 36 | 37 | 0.01312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-395_0_4_line_41 |  | 36 | 38 | 0.011729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-395_0_4_line_42 |  | 37 | 51 | 0.0072616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-395_0_4_line_43 |  | 38 | 52 | 0.03927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-395_0_4_line_44 |  | 39 | 42 | 0.01251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-395_0_4_line_45 |  | 40 | 41 | 0.018999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-395_0_4_line_46 |  | 40 | 42 | 0.0025845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-395_0_4_line_47 |  | 41 | 57 | 0.0054152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-395_0_4_line_48 |  | 43 | 44 | 0.018836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-395_0_4_line_49 |  | 43 | 45 | 0.0024442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-395_0_4_line_50 |  | 44 | 61 | 0.0041059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-395_0_4_line_51 |  | 45 | 58 | 0.0014701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-395_0_4_line_52 |  | 46 | 67 | 0.016607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-395_0_4_line_53 |  | 47 | 48 | 0.012462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-395_0_4_line_54 |  | 47 | 49 | 0.016158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-395_0_4_line_55 |  | 49 | 55 | 0.0045594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-395_0_4_line_56 |  | 50 | 66 | 0.01131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-395_0_4_line_57 |  | 51 | 54 | 0.02792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-395_0_4_line_58 |  | 52 | 53 | 0.022168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-395_0_4_line_59 |  | 54 | 56 | 0.007695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-395_0_4_line_60 |  | 55 | 70 | 0.0025557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-395_0_4_line_61 |  | 58 | 59 | 0.021669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-395_0_4_line_62 |  | 59 | 60 | 0.0097025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-395_0_4_line_63 |  | 60 | 62 | 0.021153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-395_0_4_line_64 |  | 61 | 63 | 0.026225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-395_0_4_line_65 |  | 62 | 68 | 0.0070996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-395_0_4_line_66 |  | 63 | 64 | 0.008797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-395_0_4_line_67 |  | 65 | 66 | 0.019997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-395_0_4_line_68 |  | 65 | 67 | 0.018304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-395_0_4_line_69 |  | 68 | 69 | 0.0068079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-395_0_4_trafo_8 | 0.63 MVA 20/0.4 kV | 71 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2686377.7339 | 1245324.6448 | 2686371.8159 | 1245324.3789 | 2686367.4852 | 1245324.4381 | 2686361.4416 | 1245326.9297 | 2686355.7545 | 1245327.7698 | 2686341.7771 | 1245326.5265
1 | 2686424.2531 | 1245323.6309 | 2686419.7919 | 1245325.9009 | 2686414.4375 | 1245326.212 | 2686389.0257 | 1245325.1522 | 2686377.7339 | 1245324.6448
2 | 2686333.2677 | 1245326.0819 | 2686337.8162 | 1245326.1742 | 2686341.7771 | 1245326.5265
3 | 2686424.2531 | 1245323.6309 | 2686426.3447 | 1245311.2967 | 2686430.6345 | 1245298.4942 | 2686433.1612 | 1245285.855 | 2686433.2894 | 1245284.8775
4 | 2686433.2894 | 1245284.8775 | 2686434.3005 | 1245277.1652 | 2686434.6592 | 1245272.7783 | 2686434.6592 | 1245272.7783
5 | 2686434.6592 | 1245272.7783 | 2686436.3056 | 1245268.1766 | 2686439.1849 | 1245257.7887 | 2686441.0709 | 1245248.1535 | 2686442.773 | 1245236.6254 | 2686447.0704 | 1245223.823 | 2686450.0188 | 1245217.5168 | 2686449.1493 | 1245215.9919
6 | 2686430.7231 | 1245180.4639 | 2686434.1968 | 1245183.728 | 2686434.7588 | 1245187.6836 | 2686433.1412 | 1245190.3064 | 2686431.7871 | 1245193.5224 | 2686432.4495 | 1245203.0279 | 2686433.4924 | 1245209.2366 | 2686435.8136 | 1245212.773 | 2686437.768 | 1245215.0365 | 2686441.8276 | 1245216.4745 | 2686449.1493 | 1245215.9919 | 2686449.1493 | 1245215.9919
7 | 2686430.7231 | 1245180.4639 | 2686434.7925 | 1245178.633 | 2686471.3158 | 1245160.8632
8 | 2686420.5606 | 1245185.0526 | 2686430.7231 | 1245180.4639
9 | 2686483.8097 | 1245180.3486 | 2686481.7042 | 1245177.5714 | 2686471.3158 | 1245160.8632
10 | 2686471.3158 | 1245160.8632 | 2686475.8531 | 1245158.6553
11 | 2686420.5606 | 1245185.0526 | 2686410.6677 | 1245181.517 | 2686399.4733 | 1245179.6526 | 2686391.5881 | 1245178.3479 | 2686380.523 | 1245176.4298 | 2686367.397 | 1245171.7797 | 2686366.251 | 1245171.3011
12 | 2686420.5606 | 1245185.0526 | 2686383.09 | 1245205.1106 | 2686375.1767 | 1245209.6784
13 | 2686493.4408 | 1245150.0333 | 2686476.2855 | 1245158.445 | 2686475.8531 | 1245158.6553
14 | 2686355.1948 | 1245166.6835 | 2686366.251 | 1245171.3011
15 | 2686369.0852 | 1245213.1946 | 2686375.1767 | 1245209.6784
16 | 2686565.4402 | 1245130.8915 | 2686567.7309 | 1245132.0164
17 | 2686595.3325 | 1245146.5393 | 2686585.9755 | 1245140.9764 | 2686567.7309 | 1245132.0164
18 | 2686547.1965 | 1245125.3323 | 2686558.1487 | 1245128.2609 | 2686565.4402 | 1245130.8915
19 | 2686595.3325 | 1245146.5393 | 2686596.756 | 1245152.5534 | 2686607.2415 | 1245169.8303 | 2686611.2444 | 1245174.1141 | 2686606.8854 | 1245178.6872 | 2686600.6081 | 1245174.915 | 2686600.6241 | 1245168.1324 | 2686599.9241 | 1245164.3194 | 2686597.8868 | 1245160.498
20 | 2686547.1965 | 1245125.3323 | 2686543.2915 | 1245126.7653 | 2686541.7951 | 1245127.4316
21 | 2686547.1965 | 1245125.3323 | 2686555.0012 | 1245118.6969 | 2686556.9452 | 1245115.4919
22 | 2686541.7951 | 1245127.4316 | 2686517.8908 | 1245138.0751
23 | 2686513.3408 | 1245140.2659 | 2686516.9593 | 1245138.4899 | 2686517.8908 | 1245138.0751
24 | 2686290.6472 | 1245138.0745 | 2686284.0376 | 1245135.0731
25 | 2686235.2475 | 1245103.1957 | 2686250.3808 | 1245116.3699 | 2686271.0746 | 1245129.1024 | 2686283.1521 | 1245134.671 | 2686284.0376 | 1245135.0731
26 | 2686290.6472 | 1245138.0745 | 2686296.5669 | 1245140.7626
27 | 2686235.2475 | 1245103.1957 | 2686227.4509 | 1245106.1846 | 2686224.4535 | 1245116.9156 | 2686220.834 | 1245129.8948
28 | 2686229.2409 | 1245075.0766 | 2686226.4277 | 1245084.0534 | 2686228.1784 | 1245093.0522 | 2686233.3854 | 1245101.334 | 2686235.2475 | 1245103.1957
29 | 2686296.5669 | 1245140.7626 | 2686302.5785 | 1245143.4924
30 | 2686220.834 | 1245129.8948 | 2686234.6219 | 1245133.2199 | 2686236.154 | 1245126.8388
31 | 2686229.2409 | 1245075.0766 | 2686233.4183 | 1245064.7853 | 2686241.5886 | 1245044.6518
32 | 2686302.5785 | 1245143.4924 | 2686318.9698 | 1245150.9356
33 | 2686251.0924 | 1245021.2323 | 2686241.5886 | 1245044.6518
34 | 2686288.8913 | 1245071.5969 | 2686288.148 | 1245076.9789 | 2686287.9284 | 1245081.6792 | 2686297.2062 | 1245082.3257 | 2686297.0536 | 1245086.0596 | 2686296.7842 | 1245092.6272 | 2686296.6666 | 1245095.5165
35 | 2686296.6666 | 1245095.5165 | 2686304.1651 | 1245095.8814 | 2686332.4652 | 1245098.4506 | 2686386.9425 | 1245104.1338
36 | 2686288.8913 | 1245071.5969 | 2686297.9102 | 1245073.4183 | 2686314.7021 | 1245074.8044
37 | 2686288.8913 | 1245071.5969 | 2686284.7791 | 1245070.136 | 2686282.6678 | 1245065.146 | 2686288.9158 | 1245049.8114
38 | 2686390.4426 | 1245104.499 | 2686386.9425 | 1245104.1338
39 | 2686296.8052 | 1245030.4483 | 2686288.9158 | 1245049.8114
40 | 2686475.2034 | 1245103.6332 | 2686482.9549 | 1245101.1555 | 2686487.6557 | 1245099.5061
41 | 2686475.2034 | 1245103.6332 | 2686479.7157 | 1245114.4591
42 | 2686487.6557 | 1245099.5061 | 2686493.6039 | 1245097.4191 | 2686494.4949 | 1245097.0673
43 | 2686493.4408 | 1245150.0333 | 2686482.6694 | 1245124.3573 | 2686483.6946 | 1245124.0053 | 2686479.7157 | 1245114.4591
44 | 2686330.3573 | 1245156.114 | 2686330.206 | 1245156.0379 | 2686318.9698 | 1245150.9356
45 | 2686332.6665 | 1245157.2747 | 2686350.1979 | 1245164.5966
46 | 2686332.6665 | 1245157.2747 | 2686330.3573 | 1245156.114
47 | 2686350.1979 | 1245164.5966 | 2686355.1948 | 1245166.6835
48 | 2686308.8062 | 1245249.4288 | 2686293.0769 | 1245259.7919
49 | 2686308.8062 | 1245249.4288 | 2686310.8696 | 1245248.1186
50 | 2686289.4743 | 1245261.7454 | 2686291.9141 | 1245260.5579 | 2686293.0769 | 1245259.7919
51 | 2686310.8696 | 1245248.1186 | 2686312.1106 | 1245247.3306
52 | 2686251.0924 | 1245021.2323 | 2686254.7211 | 1245012.3007 | 2686257.339 | 1245005.8452
53 | 2686390.4426 | 1245104.499 | 2686402.8688 | 1245105.8476
54 | 2686402.8688 | 1245105.8476 | 2686402.3152 | 1245121.9958
55 | 2686402.3152 | 1245121.9958 | 2686402.159 | 1245126.5525
56 | 2686296.8052 | 1245030.4483 | 2686286.1539 | 1245026.5572
57 | 2686519.524 | 1245084.7705 | 2686518.7264 | 1245085.2319 | 2686505.3516 | 1245092.4422 | 2686499.6615 | 1245095.0278 | 2686494.4949 | 1245097.0673
58 | 2686493.4408 | 1245150.0333 | 2686513.3408 | 1245140.2659
59 | 2686519.524 | 1245084.7705 | 2686526.1846 | 1245080.9172
60 | 2686402.159 | 1245126.5525 | 2686402.159 | 1245126.5525 | 2686403.2132 | 1245128.8807
61 | 2686312.1106 | 1245247.3306 | 2686330.4033 | 1245235.7151
62 | 2686330.4033 | 1245235.7151 | 2686333.7313 | 1245233.602 | 2686338.7201 | 1245230.7223
63 | 2686338.7201 | 1245230.7223 | 2686357.0403 | 1245220.1473
64 | 2686265.8943 | 1245273.2222 | 2686289.4743 | 1245261.7454
65 | 2686357.0403 | 1245220.1473 | 2686363.1891 | 1245216.598
66 | 2686265.8943 | 1245273.2222 | 2686268.1812 | 1245281.7173
67 | 2686286.1539 | 1245026.5572 | 2686282.4467 | 1245015.951 | 2686274.3191 | 1245012.6797
68 | 2686257.339 | 1245005.8452 | 2686274.3191 | 1245012.6797
69 | 2686363.1891 | 1245216.598 | 2686369.0852 | 1245213.1946

## bus_geodata
| x | y | coords
0 | 2686377.7339 | 1245324.6448
1 | 2686341.7771 | 1245326.5265
2 | 2686424.2531 | 1245323.6309
3 | 2686333.2677 | 1245326.0819
4 | 2686433.2894 | 1245284.8775
5 | 2686434.6592 | 1245272.7783
6 | 2686449.1493 | 1245215.9919
7 | 2686430.7231 | 1245180.4639
8 | 2686471.3158 | 1245160.8632
9 | 2686420.5606 | 1245185.0526
10 | 2686483.8097 | 1245180.3486
11 | 2686475.8531 | 1245158.6553
12 | 2686366.251 | 1245171.3011
13 | 2686375.1767 | 1245209.6784
14 | 2686567.7309 | 1245132.0164
15 | 2686565.4402 | 1245130.8915
16 | 2686595.3325 | 1245146.5393
17 | 2686547.1965 | 1245125.3323
18 | 2686597.8868 | 1245160.498
19 | 2686541.7951 | 1245127.4316
20 | 2686556.9452 | 1245115.4919
21 | 2686517.8908 | 1245138.0751
22 | 2686284.0376 | 1245135.0731
23 | 2686290.6472 | 1245138.0745
24 | 2686235.2475 | 1245103.1957
25 | 2686296.5669 | 1245140.7626
26 | 2686220.834 | 1245129.8948
27 | 2686229.2409 | 1245075.0766
28 | 2686302.5785 | 1245143.4924
29 | 2686236.154 | 1245126.8388
30 | 2686241.5886 | 1245044.6518
31 | 2686296.6666 | 1245095.5165
32 | 2686288.8913 | 1245071.5969
33 | 2686386.9425 | 1245104.1338
34 | 2686314.7021 | 1245074.8044
35 | 2686288.9158 | 1245049.8114
36 | 2686475.2034 | 1245103.6332
37 | 2686487.6557 | 1245099.5061
38 | 2686479.7157 | 1245114.4591
39 | 2686318.9698 | 1245150.9356
40 | 2686332.6665 | 1245157.2747
41 | 2686350.1979 | 1245164.5966
42 | 2686330.3573 | 1245156.114
43 | 2686308.8062 | 1245249.4288
44 | 2686293.0769 | 1245259.7919
45 | 2686310.8696 | 1245248.1186
46 | 2686251.0924 | 1245021.2323
47 | 2686402.8688 | 1245105.8476
48 | 2686390.4426 | 1245104.499
49 | 2686402.3152 | 1245121.9958
50 | 2686296.8052 | 1245030.4483
51 | 2686494.4949 | 1245097.0673
52 | 2686493.4408 | 1245150.0333
53 | 2686513.3408 | 1245140.2659
54 | 2686519.524 | 1245084.7705
55 | 2686402.159 | 1245126.5525
56 | 2686526.1846 | 1245080.9172
57 | 2686355.1948 | 1245166.6835
58 | 2686312.1106 | 1245247.3306
59 | 2686330.4034 | 1245235.7151
60 | 2686338.7201 | 1245230.7223
61 | 2686289.4743 | 1245261.7454
62 | 2686357.0403 | 1245220.1473
63 | 2686265.8943 | 1245273.2222
64 | 2686268.1812 | 1245281.7173
65 | 2686274.3191 | 1245012.6797
66 | 2686286.1539 | 1245026.5572
67 | 2686257.339 | 1245005.8452
68 | 2686363.1891 | 1245216.598
69 | 2686369.0852 | 1245213.1946
70 | 2686403.2132 | 1245128.8807
71 | 2686420.5606 | 1245185.0526

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99724 | -0.053005 | 0.0032571 | 0.0008163
1 | 0.99706 | -0.056627 | 0.0028238 | 0.00070771
2 | 0.99763 | -0.045655 | 0 | 0
3 | 0.99704 | -0.057049 | 0.0028239 | 0.00070773
4 | 0.99795 | -0.039434 | 0.0024499 | 0.00061399
5 | 0.99807 | -0.037013 | 0.0025747 | 0.00064529
6 | 0.99883 | -0.022551 | 0.011898 | 0.0029819
7 | 1 | 0 | -0.3196 | -0.080438
8 | 0.99591 | -0.078351 | 0 | 0
9 | 0.99907 | -0.017677 | 0 | 0
10 | 0.99562 | -0.084108 | 0.014152 | 0.0035469
11 | 0.99549 | -0.086554 | 0.095749 | 0.023997
12 | 0.99534 | -0.089037 | 0.0040634 | 0.0010184
13 | 0.99819 | -0.034554 | 0.0016688 | 0.00041824
14 | 0.99163 | -0.16102 | 0.011605 | 0.0029086
15 | 0.99169 | -0.16 | 0 | 0
16 | 0.99132 | -0.16704 | 0 | 0
17 | 0.99208 | -0.15242 | 0 | 0
18 | 0.99072 | -0.17879 | 0.010879 | 0.0027265
19 | 0.99221 | -0.14992 | 0.0025842 | 0.00064766
20 | 0.99205 | -0.15288 | 0.0018552 | 0.00046495
21 | 0.99285 | -0.13745 | 0.012869 | 0.0032253
22 | 0.99073 | -0.17761 | 0.0040498 | 0.001015
23 | 0.991 | -0.17243 | 0.0030938 | 0.00077538
24 | 0.98877 | -0.21539 | 0 | 0
25 | 0.99126 | -0.16743 | 0.0029582 | 0.0007414
26 | 0.9887 | -0.21676 | 0 | 0
27 | 0.98781 | -0.23412 | 0 | 0
28 | 0.99154 | -0.162 | 0.0031877 | 0.00079891
29 | 0.98866 | -0.21762 | 0.002333 | 0.00058472
30 | 0.98678 | -0.254 | 0.0053515 | 0.0013412
31 | 0.98331 | -0.32164 | 0 | 0
32 | 0.98365 | -0.31505 | 0 | 0
33 | 0.98237 | -0.33998 | 0.0024873 | 0.00062339
34 | 0.98356 | -0.31677 | 0.003661 | 0.00091753
35 | 0.98401 | -0.308 | 0.0098691 | 0.0024734
36 | 0.99196 | -0.15479 | 0 | 0
37 | 0.99167 | -0.16031 | 0.010101 | 0.0025316
38 | 0.99221 | -0.14985 | 0.023097 | 0.0057885
39 | 0.99236 | -0.14622 | 0.006795 | 0.001703
40 | 0.99316 | -0.13088 | 0 | 0
41 | 0.99426 | -0.10972 | 0.0026369 | 0.00066087
42 | 0.99301 | -0.13376 | 0.0067986 | 0.0017039
43 | 0.99739 | -0.050081 | 0 | 0
44 | 0.9973 | -0.051711 | 0.0023064 | 0.00057805
45 | 0.9974 | -0.049869 | 0.0016507 | 0.0004137
46 | 0.98612 | -0.26691 | 0 | 0
47 | 0.98224 | -0.34249 | 0 | 0
48 | 0.98234 | -0.34053 | 0 | 0
49 | 0.98211 | -0.34504 | 0.0024846 | 0.00062271
50 | 0.98449 | -0.29869 | 0 | 0
51 | 0.99158 | -0.16207 | 0.0097 | 0.002431
52 | 0.99389 | -0.11733 | 0 | 0
53 | 0.99303 | -0.1339 | 0.0025288 | 0.00063377
54 | 0.99148 | -0.16403 | 0.0020185 | 0.00050589
55 | 0.98209 | -0.34555 | 0.0024822 | 0.0006221
56 | 0.99147 | -0.16429 | 0.0019399 | 0.00048619
57 | 0.99458 | -0.10345 | 0.0025911 | 0.0006494
58 | 0.99741 | -0.049699 | 0.0017626 | 0.00044175
59 | 0.99757 | -0.046529 | 0.0019677 | 0.00049315
60 | 0.99766 | -0.044775 | 0.0019577 | 0.00049066
61 | 0.99729 | -0.0519 | 0.0014343 | 0.00035946
62 | 0.9979 | -0.040228 | 0.0016574 | 0.00041538
63 | 0.99727 | -0.05245 | 0 | 0
64 | 0.99726 | -0.052634 | 0.0011961 | 0.00029976
65 | 0.9852 | -0.28477 | 0.0037766 | 0.0009465
66 | 0.98474 | -0.29366 | 0 | 0
67 | 0.98568 | -0.27541 | 0 | 0
68 | 0.99799 | -0.038496 | 0.0015667 | 0.00039265
69 | 0.99809 | -0.03665 | 0.0015264 | 0.00038256
70 | 0.98208 | -0.34572 | 0.0037466 | 0.00093899
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0056487 | 0.0014155 | -0.0056477 | -0.0014154 | 9.7434e-07 | 1.4649e-07 | 0.0084285 | 0.0084287 | 0.0084287 | 0.99724 | -0.053005 | 0.99706 | -0.056627 | 2.3156
1 | -0.0089058 | -0.0022318 | 0.0089089 | 0.0022332 | 3.1193e-06 | 1.3815e-06 | 0.013288 | 0.013288 | 0.013288 | 0.99724 | -0.053005 | 0.99763 | -0.045655 | 3.6507
2 | 0.0028239 | 0.00070765 | -0.0028239 | -0.00070773 | 5.6787e-08 | -7.485e-08 | 0.0042144 | 0.0042145 | 0.0042145 | 0.99706 | -0.056627 | 0.99704 | -0.057049 | 1.1578
3 | -0.0089089 | -0.0022332 | 0.0089115 | 0.0022344 | 2.6412e-06 | 1.1694e-06 | 0.013288 | 0.013288 | 0.013288 | 0.99763 | -0.045655 | 0.99795 | -0.039434 | 3.6506
4 | -0.011361 | -0.0028484 | 0.011363 | 0.002849 | 1.3108e-06 | 6.7979e-07 | 0.016941 | 0.016941 | 0.016941 | 0.99795 | -0.039434 | 0.99807 | -0.037013 | 4.6541
5 | -0.013937 | -0.0034943 | 0.013947 | 0.0034997 | 9.6114e-06 | 5.375e-06 | 0.02078 | 0.020779 | 0.02078 | 0.99807 | -0.037013 | 0.99883 | -0.022551 | 5.7087
6 | -0.025845 | -0.0064816 | 0.025873 | 0.0064988 | 2.7811e-05 | 1.7144e-05 | 0.038505 | 0.038504 | 0.038505 | 0.99883 | -0.022551 | 1 | 0 | 10.5782
7 | 0.2002 | 0.050605 | -0.19945 | -0.050127 | 0.00074911 | 0.00047826 | 0.29805 | 0.29805 | 0.29805 | 1 | 0 | 0.99591 | -0.078351 | 40.9412
8 | 0.091878 | 0.023334 | -0.0918 | -0.023284 | 7.8095e-05 | 4.9835e-05 | 0.13682 | 0.13682 | 0.13682 | 1 | 0 | 0.99907 | -0.017677 | 37.5892
9 | 0.014156 | 0.0035491 | -0.014152 | -0.0035469 | 3.8821e-06 | 2.1836e-06 | 0.021151 | 0.021151 | 0.021151 | 0.99591 | -0.078351 | 0.99562 | -0.084108 | 5.8108
10 | 0.18529 | 0.046578 | -0.18522 | -0.046532 | 7.2544e-05 | 4.6297e-05 | 0.2769 | 0.2769 | 0.2769 | 0.99591 | -0.078351 | 0.99549 | -0.086554 | 38.0358
11 | 0.073081 | 0.018585 | -0.07283 | -0.018426 | 0.00025032 | 0.00015947 | 0.10894 | 0.10894 | 0.10894 | 0.99907 | -0.017677 | 0.99534 | -0.089037 | 29.9291
12 | 0.018719 | 0.0046987 | -0.018704 | -0.0046897 | 1.5055e-05 | 8.9598e-06 | 0.027883 | 0.027883 | 0.027883 | 0.99907 | -0.017677 | 0.99819 | -0.034554 | 7.6603
13 | 0.089473 | 0.022535 | -0.089341 | -0.022451 | 0.00013146 | 8.3879e-05 | 0.13378 | 0.13378 | 0.13378 | 0.99549 | -0.086554 | 0.99389 | -0.11733 | 36.7527
14 | 0.068767 | 0.017408 | -0.068719 | -0.017377 | 4.7545e-05 | 3.0273e-05 | 0.10287 | 0.10287 | 0.10287 | 0.99534 | -0.089037 | 0.99458 | -0.10345 | 28.2602
15 | 0.017036 | 0.0042715 | -0.017034 | -0.0042705 | 1.7011e-06 | 9.9676e-07 | 0.025396 | 0.025396 | 0.025396 | 0.99819 | -0.034554 | 0.99809 | -0.03665 | 6.9768
16 | -0.022493 | -0.0056398 | 0.022495 | 0.0056405 | 1.0903e-06 | 6.6487e-07 | 0.033754 | 0.033754 | 0.033754 | 0.99163 | -0.16102 | 0.99169 | -0.16 | 9.2731
17 | 0.010888 | 0.0027312 | -0.010885 | -0.0027296 | 3.1248e-06 | 1.5973e-06 | 0.016339 | 0.016339 | 0.016339 | 0.99163 | -0.16102 | 0.99132 | -0.16704 | 4.4888
18 | -0.022495 | -0.0056405 | 0.022503 | 0.0056454 | 8.1331e-06 | 4.9595e-06 | 0.033754 | 0.033754 | 0.033754 | 0.99169 | -0.16 | 0.99208 | -0.15242 | 9.2731
19 | 0.010885 | 0.0027296 | -0.010879 | -0.0027265 | 6.0907e-06 | 3.1142e-06 | 0.016339 | 0.01634 | 0.01634 | 0.99132 | -0.16704 | 0.99072 | -0.17879 | 4.4889
20 | -0.024358 | -0.0061102 | 0.024361 | 0.006112 | 2.9023e-06 | 1.7826e-06 | 0.036536 | 0.036536 | 0.036536 | 0.99208 | -0.15242 | 0.99221 | -0.14992 | 10.0375
21 | 0.0018552 | 0.00046479 | -0.0018552 | -0.00046495 | 4.0628e-08 | -1.5467e-07 | 0.0027825 | 0.0027826 | 0.0027826 | 0.99208 | -0.15242 | 0.99205 | -0.15288 | 0.76445
22 | -0.026945 | -0.0067597 | 0.026961 | 0.0067696 | 1.6025e-05 | 9.9178e-06 | 0.040412 | 0.040412 | 0.040412 | 0.99221 | -0.14992 | 0.99285 | -0.13745 | 11.1022
23 | -0.03983 | -0.0099949 | 0.039837 | 0.0099991 | 6.75e-06 | 4.2547e-06 | 0.059699 | 0.059699 | 0.059699 | 0.99285 | -0.13745 | 0.99303 | -0.1339 | 16.4008
24 | -0.040461 | -0.010219 | 0.040471 | 0.010226 | 1.0062e-05 | 6.3463e-06 | 0.060798 | 0.060798 | 0.060798 | 0.99073 | -0.17761 | 0.991 | -0.17243 | 16.7027
25 | 0.036411 | 0.0092044 | -0.036345 | -0.009163 | 6.5826e-05 | 4.1375e-05 | 0.054715 | 0.054716 | 0.054716 | 0.99073 | -0.17761 | 0.98877 | -0.21539 | 15.0318
26 | -0.043565 | -0.011001 | 0.043575 | 0.011008 | 1.0442e-05 | 6.599e-06 | 0.065443 | 0.065443 | 0.065443 | 0.991 | -0.17243 | 0.99126 | -0.16743 | 17.979
27 | 0.0023333 | 0.00058419 | -0.0023331 | -0.00058451 | 1.5241e-07 | -3.2526e-07 | 0.0035112 | 0.0035113 | 0.0035113 | 0.98877 | -0.21539 | 0.9887 | -0.21676 | 0.96465
28 | 0.034012 | 0.0085789 | -0.033982 | -0.0085597 | 3.047e-05 | 1.9104e-05 | 0.051204 | 0.051205 | 0.051205 | 0.98877 | -0.21539 | 0.98781 | -0.23412 | 14.0672
29 | -0.046534 | -0.011749 | 0.046546 | 0.011757 | 1.2092e-05 | 7.6536e-06 | 0.069884 | 0.069884 | 0.069884 | 0.99126 | -0.16743 | 0.99154 | -0.162 | 19.1989
30 | 0.0023331 | 0.00058451 | -0.002333 | -0.00058472 | 9.5921e-08 | -2.0465e-07 | 0.0035113 | 0.0035114 | 0.0035114 | 0.9887 | -0.21676 | 0.98866 | -0.21762 | 0.96468
31 | 0.033982 | 0.0085597 | -0.033949 | -0.0085395 | 3.2284e-05 | 2.0242e-05 | 0.051205 | 0.051205 | 0.051205 | 0.98781 | -0.23412 | 0.98678 | -0.254 | 14.0672
32 | -0.049733 | -0.012556 | 0.049771 | 0.01258 | 3.7637e-05 | 2.3856e-05 | 0.074668 | 0.074668 | 0.074668 | 0.99154 | -0.162 | 0.99236 | -0.14622 | 20.5131
33 | 0.028598 | 0.0071983 | -0.02858 | -0.0071873 | 1.7635e-05 | 1.0964e-05 | 0.043135 | 0.043135 | 0.043135 | 0.98678 | -0.254 | 0.98612 | -0.26691 | 11.8503
34 | -0.011213 | -0.0028133 | 0.011216 | 0.0028151 | 3.5246e-06 | 1.8416e-06 | 0.016969 | 0.016969 | 0.016969 | 0.98331 | -0.32164 | 0.98365 | -0.31505 | 4.6619
35 | 0.011213 | 0.0028133 | -0.011203 | -0.0028081 | 9.7939e-06 | 5.1187e-06 | 0.016969 | 0.01697 | 0.01697 | 0.98331 | -0.32164 | 0.98237 | -0.33998 | 4.662
36 | 0.0036613 | 0.00091739 | -0.003661 | -0.00091753 | 2.9967e-07 | -1.3885e-07 | 0.0055386 | 0.0055387 | 0.0055387 | 0.98365 | -0.31505 | 0.98356 | -0.31677 | 1.5216
37 | -0.014878 | -0.0037325 | 0.014883 | 0.0037354 | 5.004e-06 | 2.8681e-06 | 0.022508 | 0.022508 | 0.022508 | 0.98365 | -0.31505 | 0.98401 | -0.308 | 6.1834
38 | 0.0087157 | 0.0021848 | -0.0087155 | -0.0021847 | 2.3001e-07 | 1.0265e-07 | 0.013202 | 0.013202 | 0.013202 | 0.98237 | -0.33998 | 0.98234 | -0.34053 | 3.6269
39 | -0.024752 | -0.0062088 | 0.024763 | 0.0062156 | 1.0986e-05 | 6.7652e-06 | 0.037432 | 0.037431 | 0.037432 | 0.98401 | -0.308 | 0.98449 | -0.29869 | 10.2834
40 | 0.023767 | 0.005959 | -0.023761 | -0.0059552 | 6.2542e-06 | 3.8333e-06 | 0.035654 | 0.035654 | 0.035654 | 0.99196 | -0.15479 | 0.99167 | -0.16031 | 9.7951
41 | -0.023767 | -0.005959 | 0.023773 | 0.0059624 | 5.591e-06 | 3.4268e-06 | 0.035654 | 0.035654 | 0.035654 | 0.99196 | -0.15479 | 0.99221 | -0.14985 | 9.795
42 | 0.01366 | 0.0034235 | -0.013659 | -0.0034229 | 1.144e-06 | 6.3851e-07 | 0.020497 | 0.020497 | 0.020497 | 0.99167 | -0.16031 | 0.99158 | -0.16207 | 5.631
43 | -0.04687 | -0.011751 | 0.046942 | 0.011797 | 7.2762e-05 | 4.6059e-05 | 0.070292 | 0.070292 | 0.070292 | 0.99221 | -0.14985 | 0.99389 | -0.11733 | 19.3109
44 | -0.056566 | -0.014283 | 0.0566 | 0.014304 | 3.3779e-05 | 2.1457e-05 | 0.084857 | 0.084857 | 0.084857 | 0.99236 | -0.14622 | 0.99301 | -0.13376 | 23.3123
45 | -0.063407 | -0.016013 | 0.063471 | 0.016054 | 6.4359e-05 | 4.0944e-05 | 0.095044 | 0.095044 | 0.095044 | 0.99316 | -0.13088 | 0.99426 | -0.10972 | 26.1111
46 | 0.063407 | 0.016013 | -0.063398 | -0.016008 | 8.7551e-06 | 5.5699e-06 | 0.095044 | 0.095044 | 0.095044 | 0.99316 | -0.13088 | 0.99301 | -0.13376 | 26.1111
47 | -0.066108 | -0.016715 | 0.066128 | 0.016728 | 1.9899e-05 | 1.2665e-05 | 0.098991 | 0.098991 | 0.098991 | 0.99426 | -0.10972 | 0.99458 | -0.10345 | 27.1952
48 | 0.0049372 | 0.0012368 | -0.0049368 | -0.0012368 | 3.8323e-07 | -5.4424e-10 | 0.0073657 | 0.0073657 | 0.0073657 | 0.99739 | -0.050081 | 0.9973 | -0.051711 | 2.0236
49 | -0.0049372 | -0.0012368 | 0.0049372 | 0.0012368 | 4.9727e-08 | -7.4092e-11 | 0.0073657 | 0.0073656 | 0.0073657 | 0.99739 | -0.050081 | 0.9974 | -0.049869 | 2.0235
50 | 0.0026304 | 0.00065875 | -0.0026304 | -0.00065879 | 2.3714e-08 | -3.8399e-08 | 0.0039245 | 0.0039245 | 0.0039245 | 0.9973 | -0.051711 | 0.99729 | -0.0519 | 1.0782
51 | -0.0065879 | -0.0016505 | 0.006588 | 0.0016505 | 5.325e-08 | 1.4894e-08 | 0.0098283 | 0.0098283 | 0.0098283 | 0.9974 | -0.049869 | 0.99741 | -0.049699 | 2.7001
52 | 0.02858 | 0.0071873 | -0.028569 | -0.0071801 | 1.1587e-05 | 7.2041e-06 | 0.043135 | 0.043135 | 0.043135 | 0.98612 | -0.26691 | 0.98568 | -0.27541 | 11.8503
53 | -0.0087147 | -0.0021843 | 0.0087155 | 0.0021847 | 8.1452e-07 | 3.6354e-07 | 0.013202 | 0.013202 | 0.013202 | 0.98224 | -0.34249 | 0.98234 | -0.34053 | 3.6269
54 | 0.0087147 | 0.0021843 | -0.0087136 | -0.0021838 | 1.0561e-06 | 4.714e-07 | 0.013202 | 0.013202 | 0.013202 | 0.98224 | -0.34249 | 0.98211 | -0.34504 | 3.627
55 | 0.006229 | 0.0015611 | -0.0062288 | -0.0015611 | 1.5229e-07 | 3.9771e-08 | 0.0094376 | 0.0094377 | 0.0094377 | 0.98211 | -0.34504 | 0.98209 | -0.34555 | 2.5928
56 | -0.024763 | -0.0062156 | 0.024769 | 0.0062192 | 5.9425e-06 | 3.6593e-06 | 0.037431 | 0.037431 | 0.037431 | 0.98449 | -0.29869 | 0.98474 | -0.29366 | 10.2834
57 | 0.0039588 | 0.00099186 | -0.0039584 | -0.00099199 | 3.6952e-07 | -1.2363e-07 | 0.0059407 | 0.0059408 | 0.0059408 | 0.99158 | -0.16207 | 0.99148 | -0.16403 | 1.6321
58 | 0.042399 | 0.010654 | -0.042366 | -0.010633 | 3.3507e-05 | 2.1158e-05 | 0.063488 | 0.063488 | 0.063488 | 0.99389 | -0.11733 | 0.99303 | -0.1339 | 17.4418
59 | 0.0019399 | 0.0004861 | -0.0019399 | -0.00048619 | 2.446e-08 | -8.3584e-08 | 0.0029114 | 0.0029115 | 0.0029115 | 0.99148 | -0.16403 | 0.99147 | -0.16429 | 0.79985
60 | 0.0037466 | 0.00093897 | -0.0037466 | -0.00093899 | 3.0885e-08 | -1.2573e-08 | 0.0056767 | 0.0056767 | 0.0056767 | 0.98209 | -0.34555 | 0.98208 | -0.34572 | 1.5595
61 | -0.0083506 | -0.0020923 | 0.0083518 | 0.0020928 | 1.2611e-06 | 5.2425e-07 | 0.012458 | 0.012458 | 0.012458 | 0.99741 | -0.049699 | 0.99757 | -0.046529 | 3.4225
62 | -0.01032 | -0.0025859 | 0.01032 | 0.0025864 | 8.6208e-07 | 4.2505e-07 | 0.015393 | 0.015393 | 0.015393 | 0.99757 | -0.046529 | 0.99766 | -0.044775 | 4.2288
63 | -0.012278 | -0.003077 | 0.012281 | 0.0030784 | 2.6602e-06 | 1.4262e-06 | 0.018313 | 0.018313 | 0.018313 | 0.99766 | -0.044775 | 0.9979 | -0.040228 | 5.031
64 | 0.0011961 | 0.00029933 | -0.0011961 | -0.00029965 | 3.1318e-08 | -3.2214e-07 | 0.0017845 | 0.0017846 | 0.0017846 | 0.99729 | -0.0519 | 0.99727 | -0.05245 | 0.49028
65 | -0.013938 | -0.0034938 | 0.013939 | 0.0034945 | 1.1501e-06 | 6.4329e-07 | 0.020784 | 0.020784 | 0.020784 | 0.9979 | -0.040228 | 0.99799 | -0.038496 | 5.7099
66 | 0.0011961 | 0.00029965 | -0.0011961 | -0.00029976 | 1.0507e-08 | -1.0805e-07 | 0.0017846 | 0.0017847 | 0.0017847 | 0.99727 | -0.05245 | 0.99726 | -0.052634 | 0.49029
67 | 0.024779 | 0.0062257 | -0.024769 | -0.0062192 | 1.0507e-05 | 6.4696e-06 | 0.037431 | 0.037431 | 0.037431 | 0.9852 | -0.28477 | 0.98474 | -0.29366 | 10.2833
68 | -0.028556 | -0.0071722 | 0.028569 | 0.0071801 | 1.2772e-05 | 7.9406e-06 | 0.043135 | 0.043135 | 0.043135 | 0.9852 | -0.28477 | 0.98568 | -0.27541 | 11.8504
69 | -0.015506 | -0.0038871 | 0.015507 | 0.0038879 | 1.3646e-06 | 7.8441e-07 | 0.02312 | 0.02312 | 0.02312 | 0.99799 | -0.038496 | 0.99809 | -0.03665 | 6.3517

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.3196 | 0.080438

## res_load
| p_mw | q_mvar
0 | 0.0032571 | 0.0008163
1 | 0.0028238 | 0.00070771
2 | 0.0028239 | 0.00070773
3 | 0.0024499 | 0.00061399
4 | 0.0025747 | 0.00064529
5 | 0.011898 | 0.0029819
6 | 0.014152 | 0.0035469
7 | 0.095749 | 0.023997
8 | 0.0040634 | 0.0010184
9 | 0.0016688 | 0.00041824
10 | 0.011605 | 0.0029086
11 | 0.010879 | 0.0027265
12 | 0.0025842 | 0.00064766
13 | 0.0018552 | 0.00046495
14 | 0.012869 | 0.0032253
15 | 0.0040498 | 0.001015
16 | 0.0030938 | 0.00077538
17 | 0.0029582 | 0.0007414
18 | 0.0031877 | 0.00079891
19 | 0.002333 | 0.00058472
20 | 0.0053515 | 0.0013412
21 | 0.0024873 | 0.00062339
22 | 0.003661 | 0.00091753
23 | 0.0098691 | 0.0024734
24 | 0.010101 | 0.0025316
25 | 0.023097 | 0.0057885
26 | 0.006795 | 0.001703
27 | 0.0026369 | 0.00066087
28 | 0.0067986 | 0.0017039
29 | 0.0023064 | 0.00057805
30 | 0.0016507 | 0.0004137
31 | 0.0024846 | 0.00062271
32 | 0.0097 | 0.002431
33 | 0.0025288 | 0.00063377
34 | 0.0020185 | 0.00050589
35 | 0.0024822 | 0.0006221
36 | 0.0019399 | 0.00048619
37 | 0.0025911 | 0.0006494
38 | 0.0017626 | 0.00044175
39 | 0.0019677 | 0.00049315
40 | 0.0019577 | 0.00049066
41 | 0.0014343 | 0.00035946
42 | 0.0016574 | 0.00041538
43 | 0.0011961 | 0.00029976
44 | 0.0037766 | 0.0009465
45 | 0.0015667 | 0.00039265
46 | 0.0015264 | 0.00038256
47 | 0.0037466 | 0.00093899

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1