## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-399_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-399_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-399_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-399_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-399_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-399_0_4_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_261-399_0_4_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_261-399_0_4_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_261-399_0_4_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_261-399_0_4_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_261-399_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_261-399_0_4_node_59 | 0.4 | n |  | TRUE
12 | bus_LV_261-399_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_261-399_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_261-399_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_261-399_0_4_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_261-399_0_4_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_261-399_0_4_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_261-399_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_261-399_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_261-399_0_4_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_261-399_0_4_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_261-399_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_261-399_0_4_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_261-399_0_4_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_261-399_0_4_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_261-399_0_4_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_261-399_0_4_node_61 | 0.4 | n |  | TRUE
28 | bus_LV_261-399_0_4_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_261-399_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_261-399_0_4_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_261-399_0_4_node_63 | 0.4 | n |  | TRUE
32 | bus_LV_261-399_0_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_261-399_0_4_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_261-399_0_4_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_261-399_0_4_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_261-399_0_4_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_261-399_0_4_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_261-399_0_4_node_6 | 0.4 | n |  | TRUE
39 | bus_LV_261-399_0_4_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_261-399_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_261-399_0_4_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_261-399_0_4_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_261-399_0_4_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_261-399_0_4_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_261-399_0_4_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_261-399_0_4_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_261-399_0_4_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_261-399_0_4_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_261-399_0_4_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_261-399_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_261-399_0_4_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_261-399_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_261-399_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_261-399_0_4_node_54 | 0.4 | n |  | TRUE
55 | bus_MV_533_0_node_21 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-399_0_4_load_0 | 0 | 0.007679 | 0.0019245 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-399_0_4_load_1 | 1 | 0.0061756 | 0.0015477 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-399_0_4_load_44 | 7 | 0.0085723 | 0.0021484 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-399_0_4_load_41 | 9 | 0.0096953 | 0.0024299 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-399_0_4_load_5 | 10 | 0.0058341 | 0.0014622 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-399_0_4_load_59 | 11 | 0.0058252 | 0.0014599 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-399_0_4_load_7 | 13 | 0.004297 | 0.0010769 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-399_0_4_load_32 | 17 | 0.012363 | 0.0030985 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-399_0_4_load_39 | 21 | 0.098541 | 0.024697 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-399_0_4_load_46 | 24 | 0.011947 | 0.0029941 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-399_0_4_load_57 | 25 | 0.0098877 | 0.0024781 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-399_0_4_load_47 | 26 | 0.0072441 | 0.0018156 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-399_0_4_load_61 | 27 | 0.0081027 | 0.0020307 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-399_0_4_load_43 | 28 | 0.0067045 | 0.0016803 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-399_0_4_load_64 | 30 | 0.0058763 | 0.0014727 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-399_0_4_load_63 | 31 | 0.0061173 | 0.0015331 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-399_0_4_load_35 | 32 | 0.0073084 | 0.0018317 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-399_0_4_load_37 | 33 | 0.010996 | 0.0027558 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-399_0_4_load_38 | 34 | 0.0037149 | 0.00093104 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-399_0_4_load_48 | 35 | 0.0060305 | 0.0015114 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-399_0_4_load_42 | 37 | 0.0055979 | 0.001403 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-399_0_4_load_6 | 38 | 0.0038644 | 0.00096852 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-399_0_4_load_45 | 39 | 0.010871 | 0.0027245 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-399_0_4_load_33 | 40 | 0.0072891 | 0.0018268 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-399_0_4_load_58 | 41 | 0.0053122 | 0.0013314 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-399_0_4_load_56 | 42 | 0.0087547 | 0.0021941 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-399_0_4_load_65 | 43 | 0.0058802 | 0.0014737 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-399_0_4_load_55 | 44 | 0.0087532 | 0.0021938 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-399_0_4_load_62 | 45 | 0.0061392 | 0.0015386 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-399_0_4_load_53 | 46 | 0.0050912 | 0.001276 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-399_0_4_load_51 | 47 | 0.0045044 | 0.0011289 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-399_0_4_load_66 | 48 | 0.0058549 | 0.0014674 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-399_0_4_load_60 | 49 | 0.0058022 | 0.0014542 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-399_0_4_load_34 | 50 | 0.011126 | 0.0027884 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-399_0_4_load_36 | 51 | 0.010927 | 0.0027385 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-399_0_4_load_50 | 52 | 0.0045177 | 0.0011322 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-399_0_4_load_49 | 53 | 0.0038888 | 0.00097463 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-399_0_4_load_54 | 54 | 0.0052238 | 0.0013092 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-399_0_4_line_0 |  | 0 | 1 | 0.018292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-399_0_4_line_1 |  | 0 | 2 | 0.014147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-399_0_4_line_2 |  | 1 | 3 | 0.019012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-399_0_4_line_3 |  | 2 | 4 | 0.005199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-399_0_4_line_4 |  | 3 | 5 | 0.005306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-399_0_4_line_5 |  | 3 | 6 | 0.010323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-399_0_4_line_6 |  | 4 | 7 | 0.02571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_261-399_0_4_line_7 |  | 4 | 8 | 0.014214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-399_0_4_line_8 |  | 4 | 9 | 0.011121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_261-399_0_4_line_9 |  | 5 | 27 | 0.012015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-399_0_4_line_10 |  | 6 | 12 | 0.004479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-399_0_4_line_11 |  | 7 | 36 | 0.020961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-399_0_4_line_12 |  | 8 | 32 | 0.010124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-399_0_4_line_13 |  | 8 | 33 | 0.021752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-399_0_4_line_14 |  | 9 | 37 | 0.012297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_261-399_0_4_line_15 |  | 10 | 11 | 0.015782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-399_0_4_line_16 |  | 11 | 36 | 0.0052037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-399_0_4_line_17 |  | 12 | 13 | 0.010485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-399_0_4_line_18 |  | 13 | 38 | 0.010881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-399_0_4_line_19 |  | 14 | 15 | 0.004763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-399_0_4_line_20 |  | 14 | 16 | 0.0095258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-399_0_4_line_21 |  | 14 | 17 | 0.0083224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-399_0_4_line_22 |  | 15 | 26 | 0.019025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-399_0_4_line_23 |  | 16 | 28 | 0.0098254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_261-399_0_4_line_24 |  | 16 | 19 | 0.004467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_261-399_0_4_line_25 |  | 17 | 40 | 0.013789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-399_0_4_line_26 |  | 18 | 19 | 0.011406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-399_0_4_line_27 |  | 18 | 20 | 0.005182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-399_0_4_line_28 |  | 18 | 21 | 0.054191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-399_0_4_line_29 |  | 19 | 25 | 0.024699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-399_0_4_line_30 |  | 20 | 23 | 0.010434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-399_0_4_line_31 |  | 20 | 34 | 0.025094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-399_0_4_line_32 |  | 22 | 23 | 0.003672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-399_0_4_line_33 |  | 22 | 24 | 0.0095727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-399_0_4_line_34 |  | 23 | 35 | 0.01866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-399_0_4_line_35 |  | 24 | 39 | 0.015754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-399_0_4_line_36 |  | 25 | 44 | 0.01713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-399_0_4_line_37 |  | 27 | 45 | 0.017767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-399_0_4_line_38 |  | 28 | 37 | 0.010856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_261-399_0_4_line_39 |  | 29 | 30 | 0.0092647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-399_0_4_line_40 |  | 29 | 31 | 0.0064204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-399_0_4_line_41 |  | 30 | 43 | 0.015719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-399_0_4_line_42 |  | 31 | 45 | 0.015689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-399_0_4_line_43 |  | 32 | 50 | 6.8172e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-399_0_4_line_44 |  | 33 | 51 | 0.015212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-399_0_4_line_45 |  | 36 | 49 | 0.019324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-399_0_4_line_46 |  | 36 | 52 | 0.0037053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-399_0_4_line_47 |  | 41 | 42 | 0.017032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-399_0_4_line_48 |  | 42 | 54 | 0.012879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-399_0_4_line_49 |  | 44 | 54 | 0.012895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-399_0_4_line_50 |  | 46 | 47 | 0.016568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-399_0_4_line_51 |  | 47 | 53 | 0.014486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-399_0_4_line_52 |  | 48 | 49 | 0.018816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-399_0_4_line_53 |  | 52 | 53 | 0.0075024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-399_0_4_trafo_44 | 0.63 MVA 20/0.4 kV | 55 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2681218.6587 | 1247500.0562 | 2681229.3592 | 1247485.2207
1 | 2681210.3828 | 1247511.5302 | 2681218.6587 | 1247500.0562
2 | 2681240.4812 | 1247469.8007 | 2681229.3592 | 1247485.2207
3 | 2681207.3339 | 1247515.7471 | 2681210.3828 | 1247511.5302
4 | 2681240.4812 | 1247469.8007 | 2681243.5918 | 1247465.4958
5 | 2681240.4812 | 1247469.8007 | 2681244.501 | 1247473.0026 | 2681248.5507 | 1247476.2382
6 | 2681207.3339 | 1247515.7471 | 2681187.9545 | 1247498.8513
7 | 2681207.3339 | 1247515.7471 | 2681210.8121 | 1247518.7858 | 2681208.0276 | 1247522.4504 | 2681212.0739 | 1247525.3746
8 | 2681207.3339 | 1247515.7471 | 2681200.7595 | 1247524.7167
9 | 2681243.5918 | 1247465.4958 | 2681234.4483 | 1247457.7007
10 | 2681248.5507 | 1247476.2382 | 2681251.1762 | 1247472.6049
11 | 2681172.1547 | 1247485.0764 | 2681187.9545 | 1247498.8513
12 | 2681212.0739 | 1247525.3746 | 2681215.7612 | 1247528.0381 | 2681220.2799 | 1247531.3043
13 | 2681212.0739 | 1247525.3746 | 2681224.9332 | 1247507.8306
14 | 2681193.4896 | 1247534.6352 | 2681200.7595 | 1247524.7167
15 | 2681189.1262 | 1247493.5637 | 2681177.0726 | 1247483.3758
16 | 2681172.1547 | 1247485.0764 | 2681177.0726 | 1247483.3758 | 2681177.0726 | 1247483.3758
17 | 2681251.1762 | 1247472.6049 | 2681252.7512 | 1247473.4271 | 2681254.3833 | 1247474.4835 | 2681259.5259 | 1247478.877
18 | 2681267.7988 | 1247485.9448 | 2681259.5259 | 1247478.877
19 | 2681189.8294 | 1247561.7411 | 2681189.0107 | 1247560.8514 | 2681188.5047 | 1247559.7437 | 2681188.362 | 1247558.5853 | 2681188.5666 | 1247557.4317
20 | 2681181.2632 | 1247551.3162 | 2681184.788 | 1247554.2666 | 2681188.5666 | 1247557.4317
21 | 2681188.5666 | 1247557.4317 | 2681193.488 | 1247550.7204
22 | 2681189.8294 | 1247561.7411 | 2681204.3225 | 1247574.0665
23 | 2681181.2632 | 1247551.3162 | 2681187.0717 | 1247543.3915
24 | 2681181.2632 | 1247551.3162 | 2681180.4155 | 1247551.9939 | 2681179.3907 | 1247552.3691 | 2681178.2273 | 1247552.3754 | 2681177.2997 | 1247551.7178
25 | 2681201.6422 | 1247539.6004 | 2681193.488 | 1247550.7204
26 | 2681169.7725 | 1247560.2877 | 2681170.816 | 1247559.1011 | 2681173.026 | 1247556.5739 | 2681176.2716 | 1247552.8823 | 2681177.2997 | 1247551.7178
27 | 2681169.0878 | 1247565.0596 | 2681169.7804 | 1247564.1239 | 2681170.1882 | 1247563.0287 | 2681170.2934 | 1247561.9627 | 2681170.1191 | 1247560.904 | 2681169.7725 | 1247560.2877
28 | 2681169.7725 | 1247560.2877 | 2681128.3353 | 1247525.365
29 | 2681177.2997 | 1247551.7178 | 2681158.4755 | 1247535.7277
30 | 2681169.0878 | 1247565.0596 | 2681173.516 | 1247568.2225 | 2681177.5855 | 1247571.1136
31 | 2681169.0878 | 1247565.0596 | 2681152.4434 | 1247583.8387
32 | 2681177.5855 | 1247571.1136 | 2681178.4458 | 1247570.6139 | 2681179.4228 | 1247570.4272 | 2681180.2899 | 1247570.5391 | 2681180.9095 | 1247571.0702
33 | 2681180.9095 | 1247571.0702 | 2681188.1878 | 1247577.2883
34 | 2681177.5855 | 1247571.1136 | 2681165.3838 | 1247585.2313
35 | 2681188.1878 | 1247577.2883 | 2681200.1659 | 1247587.5216
36 | 2681145.4202 | 1247524.6379 | 2681158.4755 | 1247535.7277
37 | 2681234.4483 | 1247457.7007 | 2681220.9278 | 1247446.1741
38 | 2681193.4896 | 1247534.6352 | 2681187.0717 | 1247543.3915
39 | 2681204.1027 | 1247431.8303 | 2681197.0518 | 1247425.8204
40 | 2681204.1027 | 1247431.8303 | 2681208.9886 | 1247435.9956
41 | 2681197.0518 | 1247425.8204 | 2681185.0889 | 1247415.6238
42 | 2681220.9278 | 1247446.1741 | 2681208.9886 | 1247435.9956
43 | 2681220.3352 | 1247531.3442 | 2681220.2799 | 1247531.3043
44 | 2681224.9332 | 1247507.8306 | 2681229.7855 | 1247501.2106 | 2681233.9931 | 1247495.6111
45 | 2681172.1547 | 1247485.0764 | 2681157.5713 | 1247472.3987
46 | 2681172.1547 | 1247485.0764 | 2681168.6559 | 1247486.296
47 | 2681125.7767 | 1247507.9519 | 2681112.7959 | 1247496.9254
48 | 2681135.5921 | 1247516.2895 | 2681125.7767 | 1247507.9519
49 | 2681135.5921 | 1247516.2895 | 2681145.4202 | 1247524.6379
50 | 2681139.1618 | 1247461.4626 | 2681151.8354 | 1247472.1336
51 | 2681162.9169 | 1247481.4639 | 2681151.8354 | 1247472.1336
52 | 2681157.5713 | 1247472.3987 | 2681143.3709 | 1247460.054
53 | 2681162.9169 | 1247481.4639 | 2681168.6559 | 1247486.296 | 2681168.6559 | 1247486.296

## bus_geodata
| x | y | coords
0 | 2681218.6587 | 1247500.0562
1 | 2681229.3592 | 1247485.2207
2 | 2681210.3828 | 1247511.5302
3 | 2681240.4812 | 1247469.8008
4 | 2681207.3339 | 1247515.7471
5 | 2681243.5918 | 1247465.4958
6 | 2681248.5507 | 1247476.2382
7 | 2681187.9545 | 1247498.8513
8 | 2681212.0739 | 1247525.3746
9 | 2681200.7595 | 1247524.7167
10 | 2681189.1262 | 1247493.5637
11 | 2681177.0726 | 1247483.3758
12 | 2681251.1762 | 1247472.6049
13 | 2681259.5259 | 1247478.877
14 | 2681188.5666 | 1247557.4317
15 | 2681189.8294 | 1247561.7411
16 | 2681181.2632 | 1247551.3162
17 | 2681193.488 | 1247550.7204
18 | 2681169.7725 | 1247560.2877
19 | 2681177.2997 | 1247551.7178
20 | 2681169.0878 | 1247565.0596
21 | 2681128.3353 | 1247525.365
22 | 2681180.9095 | 1247571.0702
23 | 2681177.5855 | 1247571.1136
24 | 2681188.1878 | 1247577.2883
25 | 2681158.4755 | 1247535.7277
26 | 2681204.3225 | 1247574.0665
27 | 2681234.4483 | 1247457.7007
28 | 2681187.0717 | 1247543.3915
29 | 2681204.1027 | 1247431.8303
30 | 2681197.0518 | 1247425.8204
31 | 2681208.9886 | 1247435.9956
32 | 2681220.2799 | 1247531.3043
33 | 2681224.9332 | 1247507.8306
34 | 2681152.4434 | 1247583.8387
35 | 2681165.3838 | 1247585.2313
36 | 2681172.1547 | 1247485.0764
37 | 2681193.4896 | 1247534.6352
38 | 2681267.7988 | 1247485.9448
39 | 2681200.1659 | 1247587.5216
40 | 2681201.6422 | 1247539.6004
41 | 2681112.7959 | 1247496.9254
42 | 2681125.7767 | 1247507.9519
43 | 2681185.0889 | 1247415.6238
44 | 2681145.4202 | 1247524.6379
45 | 2681220.9278 | 1247446.1741
46 | 2681139.1618 | 1247461.4626
47 | 2681151.8354 | 1247472.1336
48 | 2681143.3709 | 1247460.054
49 | 2681157.5713 | 1247472.3987
50 | 2681220.3352 | 1247531.3442
51 | 2681233.9931 | 1247495.6111
52 | 2681168.6559 | 1247486.296
53 | 2681162.9169 | 1247481.4639
54 | 2681135.5921 | 1247516.2895
55 | 2681172.1547 | 1247485.0764

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9966 | -0.065147 | 0.007679 | 0.0019245
1 | 0.99582 | -0.080071 | 0.0061756 | 0.0015477
2 | 0.9973 | -0.051716 | 0 | 0
3 | 0.99512 | -0.093541 | 0 | 0
4 | 0.99755 | -0.046785 | 0 | 0
5 | 0.99497 | -0.096541 | 0 | 0
6 | 0.99505 | -0.095024 | 0 | 0
7 | 1 | 0 | -0.35763 | -0.09008
8 | 0.99703 | -0.056837 | 0 | 0
9 | 0.99681 | -0.060946 | 0.0096953 | 0.0024299
10 | 0.99908 | -0.017776 | 0.0058341 | 0.0014622
11 | 0.99916 | -0.016168 | 0.0058252 | 0.0014599
12 | 0.99501 | -0.095667 | 0 | 0
13 | 0.99494 | -0.097174 | 0.004297 | 0.0010769
14 | 0.99424 | -0.11029 | 0 | 0
15 | 0.99421 | -0.1109 | 0 | 0
16 | 0.99448 | -0.10577 | 0 | 0
17 | 0.9941 | -0.11317 | 0.012363 | 0.0030985
18 | 0.99276 | -0.13884 | 0 | 0
19 | 0.99413 | -0.11243 | 0 | 0
20 | 0.99261 | -0.14182 | 0 | 0
21 | 0.98786 | -0.23374 | 0.098541 | 0.024697
22 | 0.99225 | -0.14863 | 0 | 0
23 | 0.99233 | -0.14715 | 0 | 0
24 | 0.99205 | -0.1525 | 0.011947 | 0.0029941
25 | 0.99328 | -0.12897 | 0.0098877 | 0.0024781
26 | 0.99409 | -0.11333 | 0.0072441 | 0.0018156
27 | 0.99462 | -0.10334 | 0.0081027 | 0.0020307
28 | 0.99536 | -0.088824 | 0.0067045 | 0.0016803
29 | 0.9939 | -0.11714 | 0 | 0
30 | 0.9938 | -0.11906 | 0.0058763 | 0.0014727
31 | 0.99397 | -0.1158 | 0.0061173 | 0.0015331
32 | 0.99686 | -0.06011 | 0.0073084 | 0.0018317
33 | 0.9966 | -0.065202 | 0.010996 | 0.0027558
34 | 0.99252 | -0.14347 | 0.0037149 | 0.00093104
35 | 0.99223 | -0.14914 | 0.0060305 | 0.0015114
36 | 0.99921 | -0.015109 | 0 | 0
37 | 0.99603 | -0.075931 | 0.0055979 | 0.001403
38 | 0.9949 | -0.097915 | 0.0038644 | 0.00096852
39 | 0.9919 | -0.15554 | 0.010871 | 0.0027245
40 | 0.994 | -0.11495 | 0.0072891 | 0.0018268
41 | 0.99236 | -0.14666 | 0.0053122 | 0.0013314
42 | 0.99244 | -0.14506 | 0.0087547 | 0.0021941
43 | 0.99372 | -0.12069 | 0.0058802 | 0.0014737
44 | 0.99284 | -0.13746 | 0.0087532 | 0.0021938
45 | 0.99423 | -0.11086 | 0.0061392 | 0.0015386
46 | 0.99886 | -0.021941 | 0.0050912 | 0.001276
47 | 0.99894 | -0.020468 | 0.0045044 | 0.0011289
48 | 0.99891 | -0.020966 | 0.0058549 | 0.0014674
49 | 0.99901 | -0.019042 | 0.0058022 | 0.0014542
50 | 0.99686 | -0.060124 | 0.011126 | 0.0027884
51 | 0.99645 | -0.06812 | 0.010927 | 0.0027385
52 | 0.99915 | -0.016273 | 0.0045177 | 0.0011322
53 | 0.99906 | -0.01804 | 0.0038888 | 0.00097463
54 | 0.99261 | -0.14186 | 0.0052238 | 0.0013092
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.046543 | 0.011698 | -0.04651 | -0.011677 | 3.3138e-05 | 2.097e-05 | 0.069505 | 0.069505 | 0.069505 | 0.9966 | -0.065147 | 0.99582 | -0.080071 | 19.0949
1 | -0.054222 | -0.013623 | 0.054257 | 0.013645 | 3.4782e-05 | 2.2076e-05 | 0.080971 | 0.080971 | 0.080971 | 0.9966 | -0.065147 | 0.9973 | -0.051716 | 22.2448
2 | 0.040335 | 0.010129 | -0.040309 | -0.010113 | 2.5905e-05 | 1.6332e-05 | 0.060278 | 0.060278 | 0.060278 | 0.99582 | -0.080071 | 0.99512 | -0.093541 | 16.5598
3 | -0.054257 | -0.013645 | 0.05427 | 0.013653 | 1.2782e-05 | 8.1128e-06 | 0.080971 | 0.080971 | 0.080971 | 0.9973 | -0.051716 | 0.99755 | -0.046785 | 22.2447
4 | 0.032146 | 0.0080671 | -0.032141 | -0.0080643 | 4.598e-06 | 2.8738e-06 | 0.048071 | 0.048071 | 0.048071 | 0.99512 | -0.093541 | 0.99497 | -0.096541 | 13.2064
5 | 0.008163 | 0.002046 | -0.0081624 | -0.0020457 | 5.7675e-07 | 2.3502e-07 | 0.012206 | 0.012206 | 0.012206 | 0.99512 | -0.093541 | 0.99505 | -0.095024 | 3.3534
6 | -0.31392 | -0.079252 | 0.31463 | 0.079702 | 0.00070531 | 0.00045039 | 0.46847 | 0.46847 | 0.46847 | 0.99755 | -0.046785 | 1 | 0 | 42.9
7 | 0.040389 | 0.010134 | -0.04037 | -0.010122 | 1.935e-05 | 1.2198e-05 | 0.060252 | 0.060252 | 0.060252 | 0.99755 | -0.046785 | 0.99703 | -0.056837 | 16.5527
8 | 0.21926 | 0.055465 | -0.21911 | -0.05537 | 0.00014887 | 9.484e-05 | 0.32725 | 0.32725 | 0.32725 | 0.99755 | -0.046785 | 0.99681 | -0.060946 | 29.9675
9 | 0.032141 | 0.0080643 | -0.032131 | -0.0080578 | 1.0412e-05 | 6.5078e-06 | 0.048071 | 0.048072 | 0.048072 | 0.99497 | -0.096541 | 0.99462 | -0.10334 | 13.2065
10 | 0.0081624 | 0.0020457 | -0.0081621 | -0.0020456 | 2.5025e-07 | 1.0198e-07 | 0.012206 | 0.012206 | 0.012206 | 0.99505 | -0.095024 | 0.99501 | -0.095667 | 3.3534
11 | 0.041356 | 0.010378 | -0.041326 | -0.010359 | 2.9771e-05 | 1.8779e-05 | 0.061542 | 0.061542 | 0.061542 | 1 | 0 | 0.99921 | -0.015109 | 16.9072
12 | 0.018437 | 0.0046218 | -0.018434 | -0.0046201 | 2.8747e-06 | 1.7078e-06 | 0.027517 | 0.027517 | 0.027517 | 0.99703 | -0.056837 | 0.99686 | -0.06011 | 7.5596
13 | 0.021933 | 0.0055004 | -0.021924 | -0.0054951 | 8.7408e-06 | 5.3106e-06 | 0.032735 | 0.032735 | 0.032735 | 0.99703 | -0.056837 | 0.9966 | -0.065202 | 8.9931
14 | 0.20942 | 0.05294 | -0.20927 | -0.052844 | 0.00015038 | 9.5761e-05 | 0.31277 | 0.31277 | 0.31277 | 0.99681 | -0.060946 | 0.99603 | -0.075931 | 28.6422
15 | -0.0058341 | -0.0014622 | 0.0058345 | 0.0014622 | 4.4685e-07 | 7.9294e-08 | 0.0086892 | 0.0086891 | 0.0086892 | 0.99908 | -0.017776 | 0.99916 | -0.016168 | 2.3871
16 | -0.01166 | -0.0029222 | 0.01166 | 0.0029225 | 5.8838e-07 | 3.0841e-07 | 0.017364 | 0.017364 | 0.017364 | 0.99916 | -0.016168 | 0.99921 | -0.015109 | 4.7704
17 | 0.0081621 | 0.0020456 | -0.0081616 | -0.0020454 | 5.8581e-07 | 2.3874e-07 | 0.012206 | 0.012206 | 0.012206 | 0.99501 | -0.095667 | 0.99494 | -0.097174 | 3.3534
18 | 0.0038646 | 0.00096847 | -0.0038644 | -0.00096852 | 1.3631e-07 | -5.4064e-08 | 0.0057798 | 0.0057798 | 0.0057798 | 0.99494 | -0.097174 | 0.9949 | -0.097915 | 1.5879
19 | 0.0072452 | 0.0018159 | -0.007245 | -0.0018158 | 2.1001e-07 | 7.264e-08 | 0.010843 | 0.010843 | 0.010843 | 0.99424 | -0.11029 | 0.99421 | -0.1109 | 2.979
20 | -0.026901 | -0.006743 | 0.026906 | 0.0067466 | 5.7902e-06 | 3.5821e-06 | 0.040261 | 0.040261 | 0.040261 | 0.99424 | -0.11029 | 0.99448 | -0.10577 | 11.0606
21 | 0.019655 | 0.0049271 | -0.019653 | -0.0049255 | 2.7007e-06 | 1.6206e-06 | 0.029417 | 0.029417 | 0.029417 | 0.99424 | -0.11029 | 0.9941 | -0.11317 | 8.0817
22 | 0.007245 | 0.0018158 | -0.0072441 | -0.0018156 | 8.3888e-07 | 2.902e-07 | 0.010843 | 0.010844 | 0.010844 | 0.99421 | -0.1109 | 0.99409 | -0.11333 | 2.979
23 | -0.19668 | -0.049579 | 0.19684 | 0.049681 | 0.00015966 | 0.00010193 | 0.29439 | 0.29439 | 0.29439 | 0.99448 | -0.10577 | 0.99536 | -0.088824 | 40.4378
24 | 0.16977 | 0.042832 | -0.16972 | -0.042798 | 5.409e-05 | 3.4502e-05 | 0.25413 | 0.25413 | 0.25413 | 0.99448 | -0.10577 | 0.99413 | -0.11243 | 34.9075
25 | 0.0072897 | 0.001827 | -0.0072891 | -0.0018268 | 6.1568e-07 | 2.1528e-07 | 0.010912 | 0.010912 | 0.010912 | 0.9941 | -0.11317 | 0.994 | -0.11495 | 2.9977
26 | -0.13157 | -0.033155 | 0.13174 | 0.033262 | 0.00016646 | 0.00010639 | 0.19727 | 0.19727 | 0.19727 | 0.99276 | -0.13884 | 0.99413 | -0.11243 | 54.1957
27 | 0.032583 | 0.0081729 | -0.032579 | -0.00817 | 4.6354e-06 | 2.8997e-06 | 0.04884 | 0.04884 | 0.04884 | 0.99276 | -0.13884 | 0.99261 | -0.14182 | 13.4177
28 | 0.098988 | 0.024982 | -0.098541 | -0.024697 | 0.00044773 | 0.00028585 | 0.14843 | 0.14843 | 0.14843 | 0.99276 | -0.13884 | 0.98786 | -0.23374 | 40.7781
29 | 0.03798 | 0.0095361 | -0.03795 | -0.0095173 | 2.9939e-05 | 1.8841e-05 | 0.056854 | 0.056854 | 0.056854 | 0.99413 | -0.11243 | 0.99328 | -0.12897 | 15.6193
30 | 0.028863 | 0.0072391 | -0.028856 | -0.0072345 | 7.326e-06 | 4.5538e-06 | 0.043271 | 0.043271 | 0.043271 | 0.99261 | -0.14182 | 0.99233 | -0.14715 | 11.8877
31 | 0.0037152 | 0.00093091 | -0.0037149 | -0.00093104 | 2.9189e-07 | -1.3752e-07 | 0.0055694 | 0.0055695 | 0.0055695 | 0.99261 | -0.14182 | 0.99252 | -0.14347 | 1.5301
32 | -0.022823 | -0.005722 | 0.022825 | 0.005723 | 1.6132e-06 | 9.85e-07 | 0.034227 | 0.034227 | 0.034227 | 0.99225 | -0.14863 | 0.99233 | -0.14715 | 9.4031
33 | 0.022823 | 0.005722 | -0.022819 | -0.0057194 | 4.2055e-06 | 2.5679e-06 | 0.034227 | 0.034227 | 0.034227 | 0.99225 | -0.14863 | 0.99205 | -0.1525 | 9.4032
34 | 0.0060311 | 0.0015115 | -0.0060305 | -0.0015114 | 5.7231e-07 | 1.2524e-07 | 0.0090437 | 0.0090438 | 0.0090438 | 0.99233 | -0.14715 | 0.99223 | -0.14914 | 2.4845
35 | 0.010873 | 0.0027253 | -0.010871 | -0.0027245 | 1.5712e-06 | 8.0221e-07 | 0.016308 | 0.016308 | 0.016308 | 0.99205 | -0.1525 | 0.9919 | -0.15554 | 4.4803
36 | 0.028062 | 0.0070392 | -0.028051 | -0.0070321 | 1.1354e-05 | 7.0447e-06 | 0.042041 | 0.042041 | 0.042041 | 0.99328 | -0.12897 | 0.99284 | -0.13746 | 11.5499
37 | 0.024028 | 0.006027 | -0.024019 | -0.0060217 | 8.6105e-06 | 5.2802e-06 | 0.035949 | 0.035949 | 0.035949 | 0.99462 | -0.10334 | 0.99423 | -0.11086 | 9.8762
38 | -0.20354 | -0.051361 | 0.20367 | 0.051441 | 0.00012575 | 8.0058e-05 | 0.30441 | 0.30441 | 0.30441 | 0.99536 | -0.088824 | 0.99603 | -0.075931 | 27.8763
39 | 0.011758 | 0.0029471 | -0.011757 | -0.0029465 | 1.0766e-06 | 5.6898e-07 | 0.017603 | 0.017603 | 0.017603 | 0.9939 | -0.11714 | 0.9938 | -0.11906 | 4.8361
40 | -0.011758 | -0.0029471 | 0.011759 | 0.0029475 | 7.4609e-07 | 3.9428e-07 | 0.017603 | 0.017603 | 0.017603 | 0.9939 | -0.11714 | 0.99397 | -0.1158 | 4.8361
41 | 0.0058806 | 0.0014738 | -0.0058802 | -0.0014737 | 4.57e-07 | 8.8823e-08 | 0.008805 | 0.0088051 | 0.0088051 | 0.9938 | -0.11906 | 0.99372 | -0.12069 | 2.419
42 | -0.017876 | -0.0044806 | 0.01788 | 0.0044831 | 4.2134e-06 | 2.4932e-06 | 0.026761 | 0.026761 | 0.026761 | 0.99397 | -0.1158 | 0.99423 | -0.11086 | 7.352
43 | 0.011126 | 0.0027884 | -0.011126 | -0.0027884 | 7.0503e-09 | 3.6225e-09 | 0.016608 | 0.016608 | 0.016608 | 0.99686 | -0.06011 | 0.99686 | -0.060124 | 4.5626
44 | 0.010928 | 0.0027392 | -0.010927 | -0.0027385 | 1.5188e-06 | 7.7384e-07 | 0.016317 | 0.016317 | 0.016317 | 0.9966 | -0.065202 | 0.99645 | -0.06812 | 4.4827
45 | 0.01166 | 0.0029228 | -0.011658 | -0.0029216 | 2.1848e-06 | 1.1452e-06 | 0.017364 | 0.017364 | 0.017364 | 0.99921 | -0.015109 | 0.99901 | -0.019042 | 4.7703
46 | 0.018006 | 0.0045135 | -0.018005 | -0.0045129 | 9.9905e-07 | 5.9086e-07 | 0.026814 | 0.026814 | 0.026814 | 0.99921 | -0.015109 | 0.99915 | -0.016273 | 7.3665
47 | -0.0053122 | -0.0013314 | 0.0053126 | 0.0013314 | 4.0524e-07 | 3.9292e-08 | 0.0079655 | 0.0079654 | 0.0079655 | 0.99236 | -0.14666 | 0.99244 | -0.14506 | 2.1883
48 | -0.014067 | -0.0035255 | 0.014069 | 0.0035267 | 2.1484e-06 | 1.2085e-06 | 0.021092 | 0.021092 | 0.021092 | 0.99244 | -0.14506 | 0.99261 | -0.14186 | 5.7944
49 | 0.019297 | 0.0048384 | -0.019293 | -0.004836 | 4.0452e-06 | 2.4222e-06 | 0.028923 | 0.028923 | 0.028923 | 0.99284 | -0.13746 | 0.99261 | -0.14186 | 7.9458
50 | -0.0050912 | -0.001276 | 0.0050916 | 0.001276 | 3.5739e-07 | 1.185e-08 | 0.0075845 | 0.0075844 | 0.0075845 | 0.99886 | -0.021941 | 0.99894 | -0.020468 | 2.0836
51 | -0.009596 | -0.0024049 | 0.0095971 | 0.0024054 | 1.1099e-06 | 5.207e-07 | 0.014294 | 0.014294 | 0.014294 | 0.99894 | -0.020468 | 0.99906 | -0.01804 | 3.927
52 | -0.0058549 | -0.0014674 | 0.0058554 | 0.0014675 | 5.3673e-07 | 9.717e-08 | 0.0087217 | 0.0087216 | 0.0087217 | 0.99891 | -0.020966 | 0.99901 | -0.019042 | 2.3961
53 | 0.013487 | 0.0033807 | -0.013486 | -0.00338 | 1.1351e-06 | 6.2819e-07 | 0.020086 | 0.020086 | 0.020086 | 0.99915 | -0.016273 | 0.99906 | -0.01804 | 5.5182

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.3662 | 0.092228

## res_load
| p_mw | q_mvar
0 | 0.007679 | 0.0019245
1 | 0.0061756 | 0.0015477
2 | 0.0085723 | 0.0021484
3 | 0.0096953 | 0.0024299
4 | 0.0058341 | 0.0014622
5 | 0.0058252 | 0.0014599
6 | 0.004297 | 0.0010769
7 | 0.012363 | 0.0030985
8 | 0.098541 | 0.024697
9 | 0.011947 | 0.0029941
10 | 0.0098877 | 0.0024781
11 | 0.0072441 | 0.0018156
12 | 0.0081027 | 0.0020307
13 | 0.0067045 | 0.0016803
14 | 0.0058763 | 0.0014727
15 | 0.0061173 | 0.0015331
16 | 0.0073084 | 0.0018317
17 | 0.010996 | 0.0027558
18 | 0.0037149 | 0.00093104
19 | 0.0060305 | 0.0015114
20 | 0.0055979 | 0.001403
21 | 0.0038644 | 0.00096852
22 | 0.010871 | 0.0027245
23 | 0.0072891 | 0.0018268
24 | 0.0053122 | 0.0013314
25 | 0.0087547 | 0.0021941
26 | 0.0058802 | 0.0014737
27 | 0.0087532 | 0.0021938
28 | 0.0061392 | 0.0015386
29 | 0.0050912 | 0.001276
30 | 0.0045044 | 0.0011289
31 | 0.0058549 | 0.0014674
32 | 0.0058022 | 0.0014542
33 | 0.011126 | 0.0027884
34 | 0.010927 | 0.0027385
35 | 0.0045177 | 0.0011322
36 | 0.0038888 | 0.00097463
37 | 0.0052238 | 0.0013092

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1