## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-400_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-400_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-400_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-400_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-400_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-400_0_4_node_45 | 0.4 | n |  | TRUE
6 | bus_LV_261-400_0_4_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_261-400_0_4_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_261-400_0_4_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_261-400_0_4_node_49 | 0.4 | n |  | TRUE
10 | bus_LV_261-400_0_4_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_261-400_0_4_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_261-400_0_4_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_261-400_0_4_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_261-400_0_4_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_261-400_0_4_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_261-400_0_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_261-400_0_4_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_261-400_0_4_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_261-400_0_4_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_261-400_0_4_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_261-400_0_4_node_67 | 0.4 | n |  | TRUE
22 | bus_LV_261-400_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_261-400_0_4_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_261-400_0_4_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_261-400_0_4_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_261-400_0_4_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_261-400_0_4_node_8 | 0.4 | n |  | TRUE
28 | bus_LV_261-400_0_4_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_261-400_0_4_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_261-400_0_4_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_261-400_0_4_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_261-400_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_261-400_0_4_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_261-400_0_4_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_261-400_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_261-400_0_4_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_261-400_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_261-400_0_4_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_261-400_0_4_node_12 | 0.4 | n |  | TRUE
40 | bus_LV_261-400_0_4_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_261-400_0_4_node_64 | 0.4 | n |  | TRUE
42 | bus_LV_261-400_0_4_node_14 | 0.4 | n |  | TRUE
43 | bus_LV_261-400_0_4_node_10 | 0.4 | n |  | TRUE
44 | bus_LV_261-400_0_4_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_261-400_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_261-400_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_261-400_0_4_node_5 | 0.4 | n |  | TRUE
48 | bus_LV_261-400_0_4_node_6 | 0.4 | n |  | TRUE
49 | bus_LV_261-400_0_4_node_7 | 0.4 | n |  | TRUE
50 | bus_LV_261-400_0_4_node_9 | 0.4 | n |  | TRUE
51 | bus_LV_261-400_0_4_node_11 | 0.4 | n |  | TRUE
52 | bus_LV_261-400_0_4_node_13 | 0.4 | n |  | TRUE
53 | bus_LV_261-400_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_261-400_0_4_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_261-400_0_4_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_261-400_0_4_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_261-400_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_261-400_0_4_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_261-400_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_261-400_0_4_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_261-400_0_4_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_261-400_0_4_node_51 | 0.4 | n |  | TRUE
63 | bus_MV_533_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-400_0_4_load_0 | 0 | 0.013771 | 0.0034513 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-400_0_4_load_1 | 1 | 0.006736 | 0.0016882 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-400_0_4_load_2 | 2 | 0.013811 | 0.0034614 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-400_0_4_load_4 | 4 | 0.013757 | 0.0034479 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-400_0_4_load_45 | 5 | 0.01393 | 0.0034913 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-400_0_4_load_46 | 8 | 0.023712 | 0.0059427 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-400_0_4_load_49 | 9 | 0.0091424 | 0.0022913 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-400_0_4_load_56 | 10 | 0.010612 | 0.0026597 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-400_0_4_load_50 | 13 | 0.011056 | 0.0027709 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-400_0_4_load_55 | 15 | 0.0072428 | 0.0018152 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-400_0_4_load_67 | 21 | 0.0097564 | 0.0024452 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-400_0_4_load_48 | 24 | 0.019387 | 0.0048588 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-400_0_4_load_54 | 25 | 0.016131 | 0.0040428 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-400_0_4_load_8 | 27 | 0.0070876 | 0.0017763 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-400_0_4_load_66 | 28 | 0.017 | 0.0042606 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-400_0_4_load_59 | 30 | 0.00678 | 0.0016992 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-400_0_4_load_57 | 31 | 0.01097 | 0.0027492 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-400_0_4_load_61 | 34 | 0.010648 | 0.0026687 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-400_0_4_load_62 | 36 | 0.010311 | 0.0025843 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-400_0_4_load_47 | 38 | 0.033768 | 0.008463 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-400_0_4_load_65 | 40 | 0.010706 | 0.0026833 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-400_0_4_load_64 | 41 | 0.026894 | 0.0067402 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-400_0_4_load_14 | 42 | 0.015465 | 0.0038759 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-400_0_4_load_10 | 43 | 0.013521 | 0.0033887 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-400_0_4_load_44 | 44 | 0.0089424 | 0.0022412 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-400_0_4_load_40 | 45 | 0.00307 | 0.00076942 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-400_0_4_load_38 | 46 | 0.0072239 | 0.0018105 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-400_0_4_load_5 | 47 | 0.0086175 | 0.0021598 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-400_0_4_load_6 | 48 | 0.008508 | 0.0021323 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-400_0_4_load_7 | 49 | 0.008727 | 0.0021872 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-400_0_4_load_9 | 50 | 0.014545 | 0.0036454 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-400_0_4_load_11 | 51 | 0.0057099 | 0.001431 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-400_0_4_load_13 | 52 | 0.005647 | 0.0014153 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-400_0_4_load_41 | 53 | 0.0072114 | 0.0018073 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-400_0_4_load_42 | 54 | 0.005655 | 0.0014173 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-400_0_4_load_43 | 55 | 0.0061529 | 0.0015421 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-400_0_4_load_53 | 56 | 0.010405 | 0.0026077 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-400_0_4_load_52 | 57 | 0.016122 | 0.0040407 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-400_0_4_load_39 | 58 | 0.0091113 | 0.0022835 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-400_0_4_load_58 | 59 | 0.0099542 | 0.0024948 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-400_0_4_load_63 | 60 | 0.010291 | 0.0025793 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-400_0_4_load_60 | 61 | 0.0088626 | 0.0022212 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-400_0_4_load_51 | 62 | 0.010374 | 0.0026001 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-400_0_4_line_0 |  | 0 | 1 | 0.017131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_261-400_0_4_line_1 |  | 0 | 2 | 0.015693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_261-400_0_4_line_2 |  | 1 | 3 | 0.026506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_261-400_0_4_line_3 |  | 2 | 4 | 0.015698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-400_0_4_line_4 |  | 3 | 5 | 0.01416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_261-400_0_4_line_5 |  | 3 | 6 | 0.0079712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-400_0_4_line_6 |  | 3 | 7 | 0.010695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-400_0_4_line_7 |  | 4 | 8 | 0.018707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-400_0_4_line_8 |  | 5 | 9 | 0.017003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_261-400_0_4_line_9 |  | 6 | 10 | 0.011578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-400_0_4_line_10 |  | 7 | 44 | 0.013716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-400_0_4_line_11 |  | 8 | 37 | 0.025816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-400_0_4_line_12 |  | 9 | 13 | 0.016622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_261-400_0_4_line_13 |  | 10 | 59 | 0.016746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-400_0_4_line_14 |  | 11 | 12 | 0.0087358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-400_0_4_line_15 |  | 11 | 13 | 0.012829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_261-400_0_4_line_16 |  | 11 | 14 | 0.002575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_261-400_0_4_line_17 |  | 12 | 46 | 0.021563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-400_0_4_line_18 |  | 12 | 35 | 0.004859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-400_0_4_line_19 |  | 14 | 15 | 0.018731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_261-400_0_4_line_20 |  | 14 | 16 | 0.0083918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-400_0_4_line_21 |  | 15 | 56 | 0.015855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_261-400_0_4_line_22 |  | 16 | 26 | 0.003117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-400_0_4_line_23 |  | 16 | 27 | 0.022791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-400_0_4_line_24 |  | 17 | 18 | 0.001697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-400_0_4_line_25 |  | 17 | 19 | 0.0098945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-400_0_4_line_26 |  | 18 | 28 | 0.011042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-400_0_4_line_27 |  | 19 | 25 | 0.023088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-400_0_4_line_28 |  | 19 | 23 | 0.003875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-400_0_4_line_29 |  | 20 | 21 | 0.025807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-400_0_4_line_30 |  | 20 | 22 | 0.006473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-400_0_4_line_31 |  | 21 | 28 | 0.018094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-400_0_4_line_32 |  | 22 | 45 | 0.024304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-400_0_4_line_33 |  | 23 | 24 | 0.01206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-400_0_4_line_34 |  | 25 | 57 | 0.018613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-400_0_4_line_35 |  | 26 | 40 | 0.0092632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-400_0_4_line_36 |  | 27 | 48 | 0.014707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-400_0_4_line_37 |  | 29 | 30 | 0.024388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-400_0_4_line_38 |  | 29 | 31 | 0.011328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-400_0_4_line_39 |  | 30 | 60 | 0.013542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-400_0_4_line_40 |  | 31 | 59 | 0.016663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-400_0_4_line_41 |  | 32 | 33 | 0.043947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-400_0_4_line_42 |  | 32 | 34 | 0.012453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-400_0_4_line_43 |  | 33 | 41 | 0.0033086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-400_0_4_line_44 |  | 34 | 61 | 0.016705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-400_0_4_line_45 |  | 35 | 36 | 0.0065039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-400_0_4_line_46 |  | 36 | 61 | 0.015599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-400_0_4_line_47 |  | 37 | 38 | 0.020467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-400_0_4_line_48 |  | 37 | 39 | 0.010592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-400_0_4_line_49 |  | 39 | 42 | 0.012117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-400_0_4_line_50 |  | 39 | 43 | 0.025738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-400_0_4_line_51 |  | 43 | 51 | 0.01287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-400_0_4_line_52 |  | 46 | 58 | 0.012697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-400_0_4_line_53 |  | 47 | 48 | 0.016183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-400_0_4_line_54 |  | 47 | 49 | 0.016371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-400_0_4_line_55 |  | 49 | 50 | 0.01662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-400_0_4_line_56 |  | 51 | 52 | 0.0025254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-400_0_4_line_57 |  | 52 | 53 | 0.017638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-400_0_4_line_58 |  | 53 | 54 | 0.017655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-400_0_4_line_59 |  | 54 | 55 | 0.015708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-400_0_4_line_60 |  | 56 | 62 | 0.018583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-400_0_4_line_61 |  | 57 | 62 | 0.018586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-400_0_4_trafo_53 | 0.63 MVA 20/0.4 kV | 63 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2681206.5702 | 1247323.5291 | 2681217.453 | 1247310.2992
1 | 2681206.5702 | 1247323.5291 | 2681196.6006 | 1247335.6489
2 | 2681234.2917 | 1247289.8288 | 2681217.453 | 1247310.2992
3 | 2681196.6006 | 1247335.6489 | 2681186.6281 | 1247347.7722
4 | 2681234.2917 | 1247289.8288 | 2681223.507 | 1247280.6534
5 | 2681234.2917 | 1247289.8288 | 2681236.8035 | 1247286.7832 | 2681239.354 | 1247283.6714
6 | 2681234.2917 | 1247289.8288 | 2681238.2042 | 1247293.1626 | 2681242.4302 | 1247296.7675
7 | 2681186.6281 | 1247347.7722 | 2681174.744 | 1247362.2194
8 | 2681223.507 | 1247280.6534 | 2681210.5569 | 1247269.6358
9 | 2681239.354 | 1247283.6714 | 2681246.7105 | 1247274.731
10 | 2681242.4302 | 1247296.7675 | 2681252.8751 | 1247305.6574
11 | 2681158.3439 | 1247382.1565 | 2681174.744 | 1247362.2194
12 | 2681197.8972 | 1247258.8652 | 2681210.5569 | 1247269.6358
13 | 2681257.3504 | 1247261.8 | 2681246.7105 | 1247274.731
14 | 2681193.4223 | 1247244.347 | 2681190.4657 | 1247247.8869 | 2681187.8238 | 1247251.053
15 | 2681187.8238 | 1247251.053 | 2681188.689 | 1247251.3095 | 2681189.8053 | 1247251.9808 | 2681197.8972 | 1247258.8652
16 | 2681187.8238 | 1247251.053 | 2681186.8717 | 1247251.0734 | 2681185.3238 | 1247251.5859
17 | 2681193.4223 | 1247244.347 | 2681194.3563 | 1247245.6496 | 2681195.7272 | 1247246.4801 | 2681209.6971 | 1247258.3892
18 | 2681194.4196 | 1247239.9241 | 2681193.4058 | 1247241.1444 | 2681193.0741 | 1247242.7522 | 2681193.4223 | 1247244.347
19 | 2681185.3238 | 1247251.5859 | 2681184.1228 | 1247252.6813 | 2681173.257 | 1247265.8919
20 | 2681178.794 | 1247246.3149 | 2681181.603 | 1247248.5883 | 2681185.3238 | 1247251.5859
21 | 2681163.1856 | 1247278.1367 | 2681173.257 | 1247265.8919
22 | 2681178.8133 | 1247243.2462 | 2681179.0779 | 1247244.8844 | 2681178.794 | 1247246.3149
23 | 2681178.794 | 1247246.3149 | 2681178.0514 | 1247247.5834 | 2681164.5087 | 1247264.0509
24 | 2681104.2519 | 1247331.991 | 2681105.941 | 1247332.2031
25 | 2681105.941 | 1247332.2031 | 2681109.8329 | 1247335.9369 | 2681113.0837 | 1247339.0503
26 | 2681104.2519 | 1247331.991 | 2681102.6975 | 1247331.3137 | 2681101.4059 | 1247330.2063 | 2681096.2158 | 1247324.5923
27 | 2681113.0837 | 1247339.0503 | 2681127.7503 | 1247321.2187
28 | 2681112.4743 | 1247342.7335 | 2681112.2574 | 1247341.4741 | 2681112.4637 | 1247340.1982 | 2681113.0837 | 1247339.0503
29 | 2681066.414 | 1247292.3558 | 2681083.9329 | 1247311.3059
30 | 2681067.0836 | 1247286.4718 | 2681066.176 | 1247287.6603 | 2681065.6548 | 1247288.765 | 2681065.5214 | 1247289.6861 | 2681065.7481 | 1247290.7789 | 2681066.414 | 1247292.3558
31 | 2681096.2158 | 1247324.5923 | 2681083.9329 | 1247311.3059
32 | 2681067.0836 | 1247286.4718 | 2681084.5604 | 1247269.5825
33 | 2681112.4743 | 1247342.7335 | 2681113.0859 | 1247343.8538 | 2681121.3177 | 1247350.8205
34 | 2681139.574 | 1247306.8434 | 2681127.7503 | 1247321.2187
35 | 2681178.8133 | 1247243.2462 | 2681177.9565 | 1247241.8335 | 2681172.0508 | 1247237.0326
36 | 2681155.1669 | 1247275.4102 | 2681164.5087 | 1247264.0509
37 | 2681275.1356 | 1247240.1854 | 2681256.3477 | 1247224.6364
38 | 2681275.1356 | 1247240.1854 | 2681267.9376 | 1247248.9332
39 | 2681245.9151 | 1247216.0024 | 2681256.3477 | 1247224.6364
40 | 2681267.9376 | 1247248.9332 | 2681257.3504 | 1247261.8
41 | 2681227.0872 | 1247200.4203 | 2681223.487 | 1247197.4466 | 2681228.5906 | 1247195.4484 | 2681237.6937 | 1247182.1633 | 2681241.1432 | 1247184.5568 | 2681246.0404 | 1247179.4312 | 2681248.2734 | 1247177.9941 | 2681251.9577 | 1247178.6895
42 | 2681227.0872 | 1247200.4203 | 2681219.1512 | 1247210.0171
43 | 2681251.9577 | 1247178.6895 | 2681255.209 | 1247179.3022
44 | 2681208.5052 | 1247222.8908 | 2681219.1512 | 1247210.0171
45 | 2681194.4196 | 1247239.9241 | 2681198.5644 | 1247234.9119
46 | 2681208.5052 | 1247222.8908 | 2681198.5644 | 1247234.9119
47 | 2681158.3439 | 1247382.1565 | 2681142.7207 | 1247368.9343
48 | 2681158.3439 | 1247382.1565 | 2681162.2267 | 1247385.4454 | 2681166.4231 | 1247389.0054
49 | 2681166.4231 | 1247389.0054 | 2681175.6735 | 1247396.8323
50 | 2681166.4231 | 1247389.0054 | 2681182.7909 | 1247369.1424
51 | 2681182.7909 | 1247369.1424 | 2681190.9753 | 1247359.2103
52 | 2681219.3596 | 1247266.6264 | 2681209.6971 | 1247258.3892
53 | 2681144.8877 | 1247287.9094 | 2681155.1669 | 1247275.4102
54 | 2681144.8877 | 1247287.9094 | 2681134.4894 | 1247300.5534
55 | 2681134.4894 | 1247300.5534 | 2681123.9329 | 1247313.3897
56 | 2681190.9753 | 1247359.2103 | 2681192.5812 | 1247357.2614
57 | 2681192.5812 | 1247357.2614 | 2681203.7977 | 1247343.6498
58 | 2681203.7977 | 1247343.6498 | 2681215.0254 | 1247330.0244
59 | 2681215.0254 | 1247330.0244 | 2681225.0148 | 1247317.9019
60 | 2681151.3807 | 1247292.489 | 2681163.1856 | 1247278.1367
61 | 2681151.3807 | 1247292.489 | 2681139.574 | 1247306.8434

## bus_geodata
| x | y | coords
0 | 2681206.5702 | 1247323.5291
1 | 2681217.453 | 1247310.2992
2 | 2681196.6006 | 1247335.6489
3 | 2681234.2917 | 1247289.8288
4 | 2681186.6281 | 1247347.7722
5 | 2681223.507 | 1247280.6534
6 | 2681239.354 | 1247283.6714
7 | 2681242.4302 | 1247296.7675
8 | 2681174.744 | 1247362.2194
9 | 2681210.5569 | 1247269.6358
10 | 2681246.7105 | 1247274.731
11 | 2681187.8238 | 1247251.053
12 | 2681193.4223 | 1247244.347
13 | 2681197.8972 | 1247258.8652
14 | 2681185.3238 | 1247251.5859
15 | 2681173.257 | 1247265.8919
16 | 2681178.794 | 1247246.3149
17 | 2681105.941 | 1247332.2031
18 | 2681104.2519 | 1247331.991
19 | 2681113.0837 | 1247339.0503
20 | 2681066.414 | 1247292.3558
21 | 2681083.9329 | 1247311.3059
22 | 2681067.0836 | 1247286.4718
23 | 2681112.4743 | 1247342.7335
24 | 2681121.3177 | 1247350.8205
25 | 2681127.7503 | 1247321.2187
26 | 2681178.8133 | 1247243.2462
27 | 2681164.5087 | 1247264.0509
28 | 2681096.2158 | 1247324.5923
29 | 2681275.1356 | 1247240.1854
30 | 2681256.3477 | 1247224.6364
31 | 2681267.9376 | 1247248.9332
32 | 2681227.0872 | 1247200.4203
33 | 2681251.9577 | 1247178.6895
34 | 2681219.1512 | 1247210.0171
35 | 2681194.4196 | 1247239.9241
36 | 2681198.5644 | 1247234.9119
37 | 2681158.3439 | 1247382.1565
38 | 2681142.7207 | 1247368.9343
39 | 2681166.4231 | 1247389.0054
40 | 2681172.0508 | 1247237.0326
41 | 2681255.209 | 1247179.3022
42 | 2681175.6735 | 1247396.8323
43 | 2681182.7909 | 1247369.1424
44 | 2681252.8751 | 1247305.6574
45 | 2681084.5604 | 1247269.5825
46 | 2681209.6971 | 1247258.3892
47 | 2681144.8877 | 1247287.9094
48 | 2681155.1669 | 1247275.4102
49 | 2681134.4894 | 1247300.5534
50 | 2681123.9329 | 1247313.3897
51 | 2681190.9753 | 1247359.2103
52 | 2681192.5812 | 1247357.2614
53 | 2681203.7977 | 1247343.6498
54 | 2681215.0254 | 1247330.0244
55 | 2681225.0148 | 1247317.9019
56 | 2681163.1856 | 1247278.1367
57 | 2681139.574 | 1247306.8434
58 | 2681219.3596 | 1247266.6264
59 | 2681257.3504 | 1247261.8
60 | 2681245.9151 | 1247216.0024
61 | 2681208.5052 | 1247222.8908
62 | 2681151.3807 | 1247292.489
63 | 2681185.3238 | 1247251.5859

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98896 | -0.21151 | 0.013771 | 0.0034513
1 | 0.98979 | -0.19542 | 0.006736 | 0.0016882
2 | 0.98791 | -0.23172 | 0.013811 | 0.0034614
3 | 0.99114 | -0.16953 | 0 | 0
4 | 0.98602 | -0.26841 | 0.013757 | 0.0034479
5 | 0.9921 | -0.15092 | 0.01393 | 0.0034913
6 | 0.99078 | -0.17641 | 0 | 0
7 | 0.99105 | -0.17123 | 0 | 0
8 | 0.984 | -0.30767 | 0.023712 | 0.0059427
9 | 0.99334 | -0.12722 | 0.0091424 | 0.0022913
10 | 0.99027 | -0.18641 | 0.010612 | 0.0026597
11 | 0.9956 | -0.083904 | 0 | 0
12 | 0.99502 | -0.095133 | 0 | 0
13 | 0.99459 | -0.10322 | 0.011056 | 0.0027709
14 | 0.99586 | -0.07893 | 0 | 0
15 | 0.99808 | -0.036465 | 0.0072428 | 0.0018152
16 | 0.99541 | -0.087517 | 0 | 0
17 | 0.99465 | -0.10284 | 0 | 0
18 | 0.99461 | -0.10373 | 0 | 0
19 | 0.99492 | -0.097643 | 0 | 0
20 | 0.99402 | -0.11503 | 0 | 0
21 | 0.99409 | -0.11363 | 0.0097564 | 0.0024452
22 | 0.994 | -0.11538 | 0 | 0
23 | 0.99485 | -0.098966 | 0 | 0
24 | 0.99464 | -0.10308 | 0.019387 | 0.0048588
25 | 0.99596 | -0.077656 | 0.016131 | 0.0040428
26 | 0.99538 | -0.088104 | 0 | 0
27 | 0.99443 | -0.10657 | 0.0070876 | 0.0017763
28 | 0.99431 | -0.10954 | 0.017 | 0.0042606
29 | 0.98908 | -0.20949 | 0 | 0
30 | 0.98869 | -0.21691 | 0.00678 | 0.0016992
31 | 0.98925 | -0.20604 | 0.01097 | 0.0027492
32 | 0.99289 | -0.13625 | 0 | 0
33 | 0.99181 | -0.15717 | 0 | 0
34 | 0.99319 | -0.13033 | 0.010648 | 0.0026687
35 | 0.99477 | -0.099986 | 0 | 0
36 | 0.99443 | -0.10649 | 0.010311 | 0.0025843
37 | 0.98177 | -0.35105 | 0 | 0
38 | 0.98113 | -0.36356 | 0.033768 | 0.008463
39 | 0.98119 | -0.36243 | 0 | 0
40 | 0.99529 | -0.089848 | 0.010706 | 0.0026833
41 | 0.99173 | -0.15874 | 0.026894 | 0.0067402
42 | 0.98102 | -0.36582 | 0.015465 | 0.0038759
43 | 0.98015 | -0.38291 | 0.013521 | 0.0033887
44 | 0.99094 | -0.17341 | 0.0089424 | 0.0022412
45 | 0.99394 | -0.1167 | 0.00307 | 0.00076942
46 | 0.9947 | -0.10134 | 0.0072239 | 0.0018105
47 | 0.99341 | -0.12616 | 0.0086175 | 0.0021598
48 | 0.99388 | -0.11705 | 0.008508 | 0.0021323
49 | 0.99307 | -0.13289 | 0.008727 | 0.0021872
50 | 0.99284 | -0.13717 | 0.014545 | 0.0036454
51 | 0.97978 | -0.39 | 0.0057099 | 0.001431
52 | 0.97973 | -0.39113 | 0.005647 | 0.0014153
53 | 0.97942 | -0.39723 | 0.0072114 | 0.0018073
54 | 0.97922 | -0.40102 | 0.005655 | 0.0014173
55 | 0.97913 | -0.40277 | 0.0061529 | 0.0015421
56 | 1 | 0 | -0.49311 | -0.12492
57 | 0.99707 | -0.056307 | 0.016122 | 0.0040407
58 | 0.99459 | -0.10337 | 0.0091113 | 0.0022835
59 | 0.98968 | -0.19772 | 0.0099542 | 0.0024948
60 | 0.98857 | -0.21939 | 0.010291 | 0.0025793
61 | 0.99377 | -0.11925 | 0.0088626 | 0.0022212
62 | 0.99845 | -0.029795 | 0.010374 | 0.0026001
63 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.15908 | -0.040219 | 0.15921 | 0.040297 | 0.00012281 | 7.7941e-05 | 0.23949 | 0.23949 | 0.23949 | 0.98896 | -0.21151 | 0.98979 | -0.19542 | 21.931
1 | 0.14531 | 0.036768 | -0.14517 | -0.036678 | 0.00014083 | 8.9726e-05 | 0.21877 | 0.21877 | 0.21877 | 0.98896 | -0.21151 | 0.98791 | -0.23172 | 30.0504
2 | -0.16594 | -0.041985 | 0.16615 | 0.042116 | 0.00020644 | 0.0001311 | 0.24961 | 0.24961 | 0.24961 | 0.98979 | -0.19542 | 0.99114 | -0.16953 | 22.8583
3 | 0.13136 | 0.033216 | -0.13113 | -0.033069 | 0.0002307 | 0.00014745 | 0.19796 | 0.19796 | 0.19796 | 0.98791 | -0.23172 | 0.98602 | -0.26841 | 54.3858
4 | -0.22378 | -0.056591 | 0.22398 | 0.056718 | 0.0002 | 0.00012745 | 0.33615 | 0.33615 | 0.33615 | 0.99114 | -0.16953 | 0.9921 | -0.15092 | 30.7828
5 | 0.048688 | 0.012233 | -0.048672 | -0.012223 | 1.5977e-05 | 1.0122e-05 | 0.073108 | 0.073108 | 0.073108 | 0.99114 | -0.16953 | 0.99078 | -0.17641 | 20.0845
6 | 0.008944 | 0.0022419 | -0.0089433 | -0.0022416 | 7.2316e-07 | 3.25e-07 | 0.013428 | 0.013428 | 0.013428 | 0.99114 | -0.16953 | 0.99105 | -0.17123 | 3.689
7 | 0.11737 | 0.029621 | -0.11715 | -0.02948 | 0.00022028 | 0.00014074 | 0.1772 | 0.1772 | 0.1772 | 0.98602 | -0.26841 | 0.984 | -0.30767 | 48.6822
8 | -0.23791 | -0.060209 | 0.23818 | 0.060382 | 0.00027094 | 0.00017274 | 0.35704 | 0.35704 | 0.35704 | 0.9921 | -0.15092 | 0.99334 | -0.12722 | 32.6961
9 | 0.048672 | 0.012223 | -0.048649 | -0.012208 | 2.3205e-05 | 1.4702e-05 | 0.073108 | 0.073108 | 0.073108 | 0.99078 | -0.17641 | 0.99027 | -0.18641 | 20.0845
10 | 0.0089433 | 0.0022416 | -0.0089424 | -0.0022412 | 9.2744e-07 | 4.1684e-07 | 0.013428 | 0.013428 | 0.013428 | 0.99105 | -0.17123 | 0.99094 | -0.17341 | 3.689
11 | 0.093441 | 0.023538 | -0.093248 | -0.023414 | 0.00019341 | 0.00012346 | 0.14135 | 0.14135 | 0.14135 | 0.984 | -0.30767 | 0.98177 | -0.35105 | 38.8314
12 | -0.24733 | -0.062673 | 0.24761 | 0.062855 | 0.00028557 | 0.00018212 | 0.37074 | 0.37074 | 0.37074 | 0.99334 | -0.12722 | 0.99459 | -0.10322 | 33.9502
13 | 0.038037 | 0.0095481 | -0.038016 | -0.0095352 | 2.0518e-05 | 1.2916e-05 | 0.057161 | 0.057161 | 0.057161 | 0.99027 | -0.18641 | 0.98968 | -0.19772 | 15.7037
14 | 0.073211 | 0.018409 | -0.073172 | -0.018384 | 3.9238e-05 | 2.4999e-05 | 0.10944 | 0.10944 | 0.10944 | 0.9956 | -0.083904 | 0.99502 | -0.095133 | 30.0666
15 | 0.25891 | 0.06578 | -0.25867 | -0.065626 | 0.00024052 | 0.00015343 | 0.38728 | 0.38728 | 0.38728 | 0.9956 | -0.083904 | 0.99459 | -0.10322 | 35.4649
16 | -0.33212 | -0.084189 | 0.3322 | 0.08424 | 7.9416e-05 | 5.0726e-05 | 0.49672 | 0.49672 | 0.49672 | 0.9956 | -0.083904 | 0.99586 | -0.07893 | 45.4871
17 | 0.016341 | 0.0040972 | -0.016336 | -0.0040944 | 4.8291e-06 | 2.8106e-06 | 0.024438 | 0.024438 | 0.024438 | 0.99502 | -0.095133 | 0.9947 | -0.10134 | 6.7137
18 | 0.056831 | 0.014287 | -0.056818 | -0.014278 | 1.3166e-05 | 8.3633e-06 | 0.085005 | 0.085005 | 0.085005 | 0.99502 | -0.095133 | 0.99477 | -0.099986 | 23.3529
19 | -0.3905 | -0.098895 | 0.3913 | 0.099405 | 0.00079812 | 0.00051006 | 0.58385 | 0.58385 | 0.58385 | 0.99586 | -0.07893 | 0.99808 | -0.036465 | 53.4664
20 | 0.058305 | 0.014655 | -0.058281 | -0.01464 | 2.3892e-05 | 1.5182e-05 | 0.087134 | 0.087134 | 0.087134 | 0.99586 | -0.07893 | 0.99541 | -0.087517 | 23.9379
21 | -0.39854 | -0.10122 | 0.39924 | 0.10167 | 0.00070079 | 0.00044789 | 0.59465 | 0.59465 | 0.59465 | 0.99808 | -0.036465 | 1 | 0 | 54.4552
22 | 0.010708 | 0.0026839 | -0.010707 | -0.0026837 | 2.9948e-07 | 1.5115e-07 | 0.016007 | 0.016007 | 0.016007 | 0.99541 | -0.087517 | 0.99538 | -0.088104 | 4.3974
23 | 0.047573 | 0.011956 | -0.04753 | -0.011929 | 4.3238e-05 | 2.7376e-05 | 0.071127 | 0.071127 | 0.071127 | 0.99541 | -0.087517 | 0.99443 | -0.10657 | 19.5405
24 | 0.029839 | 0.007482 | -0.029838 | -0.0074812 | 1.2682e-06 | 7.896e-07 | 0.044641 | 0.044641 | 0.044641 | 0.99465 | -0.10284 | 0.99461 | -0.10373 | 12.2639
25 | -0.029839 | -0.007482 | 0.029846 | 0.0074866 | 7.3941e-06 | 4.6038e-06 | 0.044641 | 0.044641 | 0.044641 | 0.99465 | -0.10284 | 0.99492 | -0.097643 | 12.2639
26 | 0.029838 | 0.0074812 | -0.029829 | -0.0074761 | 8.252e-06 | 5.138e-06 | 0.044641 | 0.044641 | 0.044641 | 0.99461 | -0.10373 | 0.99431 | -0.10954 | 12.2639
27 | -0.049238 | -0.012348 | 0.049285 | 0.012378 | 4.6957e-05 | 2.9752e-05 | 0.073644 | 0.073644 | 0.073644 | 0.99492 | -0.097643 | 0.99596 | -0.077656 | 20.2318
28 | 0.019392 | 0.0048618 | -0.019391 | -0.0048611 | 1.2224e-06 | 7.3199e-07 | 0.029003 | 0.029003 | 0.029003 | 0.99492 | -0.097643 | 0.99485 | -0.098966 | 7.9679
29 | -0.0030703 | -0.00076918 | 0.0030705 | 0.00076897 | 2.0442e-07 | -2.0374e-07 | 0.004596 | 0.0045959 | 0.004596 | 0.99402 | -0.11503 | 0.99409 | -0.11363 | 1.2626
30 | 0.0030703 | 0.00076918 | -0.0030702 | -0.00076923 | 5.1274e-08 | -5.1092e-08 | 0.004596 | 0.004596 | 0.004596 | 0.99402 | -0.11503 | 0.994 | -0.11538 | 1.2626
31 | -0.012827 | -0.0032141 | 0.012829 | 0.0032155 | 2.5012e-06 | 1.3662e-06 | 0.0192 | 0.0192 | 0.0192 | 0.99409 | -0.11363 | 0.99431 | -0.10954 | 5.2746
32 | 0.0030702 | 0.00076923 | -0.00307 | -0.00076942 | 1.9252e-07 | -1.918e-07 | 0.004596 | 0.0045961 | 0.0045961 | 0.994 | -0.11538 | 0.99394 | -0.1167 | 1.2627
33 | 0.019391 | 0.0048611 | -0.019387 | -0.0048588 | 3.8044e-06 | 2.2783e-06 | 0.029003 | 0.029003 | 0.029003 | 0.99485 | -0.098966 | 0.99464 | -0.10308 | 7.968
34 | -0.065416 | -0.016421 | 0.065483 | 0.016463 | 6.6686e-05 | 4.2436e-05 | 0.097744 | 0.097744 | 0.097744 | 0.99596 | -0.077656 | 0.99707 | -0.056307 | 26.8528
35 | 0.010707 | 0.0026837 | -0.010706 | -0.0026833 | 8.9e-07 | 4.492e-07 | 0.016007 | 0.016007 | 0.016007 | 0.99538 | -0.088104 | 0.99529 | -0.089848 | 4.3974
36 | 0.040442 | 0.010152 | -0.040422 | -0.01014 | 2.0202e-05 | 1.2738e-05 | 0.060522 | 0.060522 | 0.060522 | 0.99443 | -0.10657 | 0.99388 | -0.11705 | 16.6269
37 | 0.017079 | 0.0042826 | -0.017073 | -0.0042791 | 6.038e-06 | 3.5514e-06 | 0.025695 | 0.025695 | 0.025695 | 0.98908 | -0.20949 | 0.98869 | -0.21691 | 7.059
38 | -0.017079 | -0.0042826 | 0.017081 | 0.0042843 | 2.8047e-06 | 1.6496e-06 | 0.025695 | 0.025695 | 0.025695 | 0.98908 | -0.20949 | 0.98925 | -0.20604 | 7.059
39 | 0.010293 | 0.0025799 | -0.010291 | -0.0025793 | 1.2186e-06 | 6.0626e-07 | 0.015491 | 0.015491 | 0.015491 | 0.98869 | -0.21691 | 0.98857 | -0.21939 | 4.2557
40 | -0.028051 | -0.0070335 | 0.028062 | 0.0070404 | 1.1125e-05 | 6.9059e-06 | 0.042195 | 0.042195 | 0.042195 | 0.98925 | -0.20604 | 0.98968 | -0.19772 | 11.592
41 | 0.026923 | 0.0067581 | -0.026896 | -0.0067415 | 2.6835e-05 | 1.6606e-05 | 0.040352 | 0.040352 | 0.040352 | 0.99289 | -0.13625 | 0.99181 | -0.15717 | 11.0858
42 | -0.026923 | -0.0067581 | 0.02693 | 0.0067628 | 7.6039e-06 | 4.7054e-06 | 0.040352 | 0.040352 | 0.040352 | 0.99289 | -0.13625 | 0.99319 | -0.13033 | 11.0857
43 | 0.026896 | 0.0067415 | -0.026894 | -0.0067402 | 2.0202e-06 | 1.2503e-06 | 0.040352 | 0.040352 | 0.040352 | 0.99181 | -0.15717 | 0.99173 | -0.15874 | 11.0858
44 | -0.037578 | -0.0094314 | 0.037598 | 0.0094439 | 1.986e-05 | 1.2494e-05 | 0.056305 | 0.056305 | 0.056305 | 0.99319 | -0.13033 | 0.99377 | -0.11925 | 15.4684
45 | 0.056818 | 0.014278 | -0.0568 | -0.014267 | 1.7624e-05 | 1.1195e-05 | 0.085005 | 0.085005 | 0.085005 | 0.99477 | -0.099986 | 0.99443 | -0.10649 | 23.3529
46 | 0.046489 | 0.011683 | -0.046461 | -0.011665 | 2.8316e-05 | 1.792e-05 | 0.069575 | 0.069575 | 0.069575 | 0.99443 | -0.10649 | 0.99377 | -0.11925 | 19.1141
47 | 0.033788 | 0.0084756 | -0.033768 | -0.008463 | 2.013e-05 | 1.2625e-05 | 0.051213 | 0.051213 | 0.051213 | 0.98177 | -0.35105 | 0.98113 | -0.36356 | 14.0695
48 | 0.05946 | 0.014939 | -0.059428 | -0.014918 | 3.2267e-05 | 2.0517e-05 | 0.090133 | 0.090133 | 0.090133 | 0.98177 | -0.35105 | 0.98119 | -0.36243 | 24.7619
49 | 0.015468 | 0.0038774 | -0.015465 | -0.0038759 | 2.5004e-06 | 1.4472e-06 | 0.023458 | 0.023458 | 0.023458 | 0.98119 | -0.36243 | 0.98102 | -0.36582 | 6.4444
50 | 0.04396 | 0.011041 | -0.043917 | -0.011014 | 4.2908e-05 | 2.7137e-05 | 0.066676 | 0.066676 | 0.066676 | 0.98119 | -0.36243 | 0.98015 | -0.38291 | 18.3175
51 | 0.030396 | 0.0076248 | -0.030386 | -0.0076184 | 1.0278e-05 | 6.4159e-06 | 0.046148 | 0.046148 | 0.046148 | 0.98015 | -0.38291 | 0.97978 | -0.39 | 12.6782
52 | 0.0091122 | 0.0022839 | -0.0091113 | -0.0022835 | 8.8474e-07 | 4.0144e-07 | 0.013631 | 0.013631 | 0.013631 | 0.9947 | -0.10134 | 0.99459 | -0.10337 | 3.7449
53 | -0.0319 | -0.0079986 | 0.031914 | 0.0080072 | 1.3857e-05 | 8.6586e-06 | 0.047784 | 0.047784 | 0.047784 | 0.99341 | -0.12616 | 0.99388 | -0.11705 | 13.1275
54 | 0.023283 | 0.0058388 | -0.023275 | -0.0058343 | 7.4671e-06 | 4.5671e-06 | 0.034876 | 0.034876 | 0.034876 | 0.99341 | -0.12616 | 0.99307 | -0.13289 | 9.5813
55 | 0.014548 | 0.0036471 | -0.014545 | -0.0036454 | 2.9617e-06 | 1.6805e-06 | 0.0218 | 0.0218 | 0.0218 | 0.99307 | -0.13289 | 0.99284 | -0.13717 | 5.9889
56 | 0.024676 | 0.0061874 | -0.024675 | -0.0061866 | 1.3301e-06 | 8.1945e-07 | 0.037477 | 0.037477 | 0.037477 | 0.97978 | -0.39 | 0.97973 | -0.39113 | 10.2958
57 | 0.019028 | 0.0047713 | -0.019022 | -0.004768 | 5.5242e-06 | 3.3135e-06 | 0.0289 | 0.0289 | 0.0289 | 0.97973 | -0.39113 | 0.97942 | -0.39723 | 7.9396
58 | 0.011811 | 0.0029606 | -0.011808 | -0.0029595 | 2.1318e-06 | 1.1422e-06 | 0.017944 | 0.017944 | 0.017944 | 0.97942 | -0.39723 | 0.97922 | -0.40102 | 4.9297
59 | 0.0061534 | 0.0015422 | -0.0061529 | -0.0015421 | 5.1505e-07 | 1.3204e-07 | 0.0093507 | 0.0093508 | 0.0093508 | 0.97922 | -0.40102 | 0.97913 | -0.40277 | 2.5689
60 | 0.092214 | 0.023254 | -0.092083 | -0.02317 | 0.00013131 | 8.3792e-05 | 0.13727 | 0.13727 | 0.13727 | 1 | 0 | 0.99845 | -0.029795 | 37.7105
61 | -0.081605 | -0.020504 | 0.081708 | 0.02057 | 0.00010341 | 6.5938e-05 | 0.12181 | 0.12181 | 0.12181 | 0.99707 | -0.056307 | 0.99845 | -0.029795 | 33.463

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50351 | 0.12753

## res_load
| p_mw | q_mvar
0 | 0.013771 | 0.0034513
1 | 0.006736 | 0.0016882
2 | 0.013811 | 0.0034614
3 | 0.013757 | 0.0034479
4 | 0.01393 | 0.0034913
5 | 0.023712 | 0.0059427
6 | 0.0091424 | 0.0022913
7 | 0.010612 | 0.0026597
8 | 0.011056 | 0.0027709
9 | 0.0072428 | 0.0018152
10 | 0.0097564 | 0.0024452
11 | 0.019387 | 0.0048588
12 | 0.016131 | 0.0040428
13 | 0.0070876 | 0.0017763
14 | 0.017 | 0.0042606
15 | 0.00678 | 0.0016992
16 | 0.01097 | 0.0027492
17 | 0.010648 | 0.0026687
18 | 0.010311 | 0.0025843
19 | 0.033768 | 0.008463
20 | 0.010706 | 0.0026833
21 | 0.026894 | 0.0067402
22 | 0.015465 | 0.0038759
23 | 0.013521 | 0.0033887
24 | 0.0089424 | 0.0022412
25 | 0.00307 | 0.00076942
26 | 0.0072239 | 0.0018105
27 | 0.0086175 | 0.0021598
28 | 0.008508 | 0.0021323
29 | 0.008727 | 0.0021872
30 | 0.014545 | 0.0036454
31 | 0.0057099 | 0.001431
32 | 0.005647 | 0.0014153
33 | 0.0072114 | 0.0018073
34 | 0.005655 | 0.0014173
35 | 0.0061529 | 0.0015421
36 | 0.010405 | 0.0026077
37 | 0.016122 | 0.0040407
38 | 0.0091113 | 0.0022835
39 | 0.0099542 | 0.0024948
40 | 0.010291 | 0.0025793
41 | 0.0088626 | 0.0022212
42 | 0.010374 | 0.0026001

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1