## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-401_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-401_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-401_0_7_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-401_0_7_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_261-401_0_7_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_261-401_0_7_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_261-401_0_7_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_261-401_0_7_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_261-401_0_7_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_261-401_0_7_node_46 | 0.4 | n |  | TRUE
10 | bus_LV_261-401_0_7_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_261-401_0_7_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_261-401_0_7_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_261-401_0_7_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_261-401_0_7_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_261-401_0_7_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_261-401_0_7_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_261-401_0_7_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_261-401_0_7_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_261-401_0_7_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_261-401_0_7_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_261-401_0_7_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_261-401_0_7_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_261-401_0_7_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_261-401_0_7_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_261-401_0_7_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_261-401_0_7_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_261-401_0_7_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_261-401_0_7_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_261-401_0_7_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_261-401_0_7_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_261-401_0_7_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_261-401_0_7_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_261-401_0_7_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_261-401_0_7_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_261-401_0_7_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_261-401_0_7_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_261-401_0_7_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_261-401_0_7_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_261-401_0_7_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_261-401_0_7_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_261-401_0_7_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_261-401_0_7_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_261-401_0_7_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_261-401_0_7_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_261-401_0_7_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_261-401_0_7_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_261-401_0_7_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_261-401_0_7_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_261-401_0_7_node_34 | 0.4 | n |  | TRUE
50 | bus_MV_533_0_node_105 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-401_0_7_load_0 | 0 | 0.0065714 | 0.001647 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-401_0_7_load_3 | 2 | 0.0071986 | 0.0018041 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-401_0_7_load_23 | 5 | 0.013768 | 0.0034505 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-401_0_7_load_48 | 8 | 0.024689 | 0.0061876 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-401_0_7_load_46 | 9 | 0.013624 | 0.0034145 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-401_0_7_load_25 | 12 | 0.0098377 | 0.0024656 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-401_0_7_load_27 | 13 | 0.014644 | 0.0036702 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-401_0_7_load_26 | 14 | 0.031734 | 0.0079533 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-401_0_7_load_24 | 15 | 0.030043 | 0.0075294 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-401_0_7_load_33 | 17 | 0.026084 | 0.0065374 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-401_0_7_load_32 | 18 | 0.028817 | 0.0072221 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-401_0_7_load_51 | 23 | 0.021723 | 0.0054443 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-401_0_7_load_31 | 26 | 0.021407 | 0.005365 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-401_0_7_load_50 | 29 | 0.011799 | 0.0029572 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-401_0_7_load_41 | 30 | 0.031902 | 0.0079955 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-401_0_7_load_30 | 31 | 0.025917 | 0.0064954 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-401_0_7_load_47 | 32 | 0.0097752 | 0.0024499 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-401_0_7_load_53 | 34 | 0.020235 | 0.0050714 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-401_0_7_load_29 | 35 | 0.026631 | 0.0066743 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-401_0_7_load_38 | 36 | 0.028442 | 0.0071283 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-401_0_7_load_37 | 38 | 0.01041 | 0.002609 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-401_0_7_load_44 | 39 | 0.016687 | 0.0041823 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-401_0_7_load_52 | 40 | 0.010089 | 0.0025284 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-401_0_7_load_45 | 41 | 0.009616 | 0.00241 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-401_0_7_load_28 | 42 | 0.016756 | 0.0041993 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-401_0_7_load_40 | 43 | 0.039661 | 0.00994 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-401_0_7_load_39 | 44 | 0.0082021 | 0.0020556 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-401_0_7_load_42 | 45 | 0.016231 | 0.004068 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-401_0_7_load_43 | 46 | 0.01639 | 0.0041077 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-401_0_7_load_36 | 47 | 0.014086 | 0.0035302 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-401_0_7_load_35 | 48 | 0.012376 | 0.0031017 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-401_0_7_load_34 | 49 | 0.035741 | 0.0089576 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-401_0_7_line_0 |  | 0 | 1 | 0.0038862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-401_0_7_line_1 |  | 1 | 2 | 0.02427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-401_0_7_line_2 |  | 1 | 3 | 0.0086879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-401_0_7_line_3 |  | 3 | 11 | 0.007614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-401_0_7_line_4 |  | 4 | 5 | 0.0050338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_261-401_0_7_line_5 |  | 4 | 6 | 0.011818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_261-401_0_7_line_6 |  | 5 | 40 | 0.014275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-401_0_7_line_7 |  | 6 | 14 | 0.015768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-401_0_7_line_8 |  | 6 | 15 | 0.0098161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_261-401_0_7_line_9 |  | 7 | 8 | 0.024868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-401_0_7_line_10 |  | 7 | 9 | 0.011886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-401_0_7_line_11 |  | 8 | 33 | 0.0099612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-401_0_7_line_12 |  | 9 | 41 | 0.0153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-401_0_7_line_13 |  | 10 | 11 | 0.011749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-401_0_7_line_14 |  | 10 | 12 | 0.0034454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_261-401_0_7_line_15 |  | 10 | 13 | 0.0091955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_261-401_0_7_line_16 |  | 11 | 31 | 0.018196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-401_0_7_line_17 |  | 12 | 15 | 0.020942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_261-401_0_7_line_18 |  | 13 | 42 | 0.0089606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_261-401_0_7_line_19 |  | 16 | 17 | 0.0058026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-401_0_7_line_20 |  | 16 | 18 | 0.013125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-401_0_7_line_21 |  | 17 | 33 | 0.0039579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-401_0_7_line_22 |  | 18 | 24 | 0.0080077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-401_0_7_line_23 |  | 19 | 20 | 0.004104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-401_0_7_line_24 |  | 19 | 21 | 0.011947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-401_0_7_line_25 |  | 20 | 30 | 0.018904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-401_0_7_line_26 |  | 21 | 34 | 0.020998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-401_0_7_line_27 |  | 21 | 22 | 0.006473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-401_0_7_line_28 |  | 22 | 23 | 0.0083549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-401_0_7_line_29 |  | 24 | 25 | 0.016198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_261-401_0_7_line_30 |  | 24 | 26 | 0.01625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-401_0_7_line_31 |  | 25 | 35 | 0.028249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_261-401_0_7_line_32 |  | 25 | 36 | 0.010261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_261-401_0_7_line_33 |  | 27 | 28 | 0.002817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-401_0_7_line_34 |  | 27 | 29 | 0.027605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-401_0_7_line_35 |  | 28 | 32 | 0.0087543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-401_0_7_line_36 |  | 30 | 44 | 0.022306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-401_0_7_line_37 |  | 32 | 41 | 0.014829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-401_0_7_line_38 |  | 34 | 40 | 0.016539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-401_0_7_line_39 |  | 35 | 42 | 0.013961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_261-401_0_7_line_40 |  | 36 | 47 | 0.01254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-401_0_7_line_41 |  | 37 | 38 | 0.028062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-401_0_7_line_42 |  | 37 | 39 | 0.011894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-401_0_7_line_43 |  | 38 | 48 | 0.021721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-401_0_7_line_44 |  | 39 | 46 | 0.023089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-401_0_7_line_45 |  | 43 | 44 | 0.018099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-401_0_7_line_46 |  | 45 | 46 | 0.022836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-401_0_7_line_47 |  | 47 | 49 | 0.016948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-401_0_7_line_48 |  | 48 | 49 | 0.00013528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-401_0_7_trafo_6 | 0.63 MVA 20/0.4 kV | 50 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2681128.4453 | 1247232.1823 | 2681127.9941 | 1247233.6883 | 2681125.8727 | 1247234.6125
1 | 2681128.4453 | 1247232.1823 | 2681141.3311 | 1247231.1467 | 2681151.1721 | 1247230.7032 | 2681152.6294 | 1247231.0218
2 | 2681130.8408 | 1247223.8312 | 2681129.627 | 1247228.0732 | 2681128.6914 | 1247231.3072 | 2681128.4453 | 1247232.1823
3 | 2681130.8408 | 1247223.8312 | 2681129.3771 | 1247222.5991 | 2681128.41 | 1247220.9625 | 2681128.0502 | 1247219.1006 | 2681128.3329 | 1247217.2142
4 | 2681107.961 | 1247246.9685 | 2681104.3413 | 1247250.4665
5 | 2681099.4621 | 1247238.7574 | 2681103.6296 | 1247242.784 | 2681107.961 | 1247246.9685
6 | 2681094.0759 | 1247260.3868 | 2681104.3413 | 1247250.4665
7 | 2681099.4621 | 1247238.7574 | 2681096.9416 | 1247241.3359 | 2681091.2449 | 1247247.4958 | 2681088.5243 | 1247250.1076
8 | 2681099.4621 | 1247238.7574 | 2681105.0593 | 1247230.6934
9 | 2681220.7827 | 1247195.2413 | 2681210.3316 | 1247186.7253 | 2681205.7071 | 1247185.739 | 2681200.4953 | 1247181.5962
10 | 2681220.7827 | 1247195.2413 | 2681213.232 | 1247204.4203
11 | 2681192.6975 | 1247175.3978 | 2681200.4953 | 1247181.5962
12 | 2681213.232 | 1247204.4203 | 2681203.512 | 1247216.2365
13 | 2681118.9653 | 1247210.6591 | 2681124.8162 | 1247213.1076 | 2681128.3329 | 1247217.2142
14 | 2681118.9653 | 1247210.6591 | 2681117.0007 | 1247213.4895
15 | 2681118.9653 | 1247210.6591 | 2681123.3682 | 1247204.6594 | 2681124.3216 | 1247203.1876
16 | 2681128.3329 | 1247217.2142 | 2681138.5397 | 1247202.1507
17 | 2681105.0593 | 1247230.6934 | 2681117.0007 | 1247213.4895
18 | 2681124.3216 | 1247203.1876 | 2681129.1932 | 1247195.667
19 | 2681185.0761 | 1247169.3001 | 2681189.607 | 1247172.9251
20 | 2681185.0761 | 1247169.3001 | 2681183.1719 | 1247167.6951 | 2681181.5925 | 1247166.6394 | 2681176.3729 | 1247164.4219 | 2681173.3624 | 1247163.8545
21 | 2681192.6975 | 1247175.3978 | 2681189.607 | 1247172.9251
22 | 2681165.4932 | 1247162.3715 | 2681173.3624 | 1247163.8545
23 | 2681055.9226 | 1247276.8344 | 2681058.1989 | 1247277.1991 | 2681059.9785 | 1247276.8677
24 | 2681059.9785 | 1247276.8677 | 2681063.5162 | 1247281.6528 | 2681067.0836 | 1247286.4718
25 | 2681055.9226 | 1247276.8344 | 2681053.9524 | 1247275.64 | 2681052.5726 | 1247273.7975 | 2681044.8985 | 1247261.7333
26 | 2681067.0836 | 1247286.4718 | 2681082.1832 | 1247271.8798
27 | 2681067.0836 | 1247286.4718 | 2681066.176 | 1247287.6603 | 2681065.6548 | 1247288.765 | 2681065.5214 | 1247289.6861 | 2681065.7481 | 1247290.7789 | 2681066.414 | 1247292.3558
28 | 2681066.414 | 1247292.3558 | 2681072.0856 | 1247298.4908
29 | 2681149.5728 | 1247159.3848 | 2681157.3636 | 1247160.8369 | 2681165.4932 | 1247162.3715
30 | 2681165.4932 | 1247162.3715 | 2681156.3782 | 1247175.8238
31 | 2681149.5728 | 1247159.3848 | 2681149.5513 | 1247163.165 | 2681148.9343 | 1247165.1914 | 2681136.7832 | 1247183.9498
32 | 2681149.5728 | 1247159.3848 | 2681139.486 | 1247157.5009
33 | 2681188.6766 | 1247234.5638 | 2681185.8766 | 1247234.9368
34 | 2681185.8766 | 1247234.9368 | 2681183.7838 | 1247233.8629 | 2681182.2998 | 1247232.4638 | 2681180.3946 | 1247230.3807 | 2681173.8296 | 1247228.7785 | 2681160.5836 | 1247225.5562
35 | 2681188.6766 | 1247234.5638 | 2681190.9622 | 1247231.4928 | 2681194.0917 | 1247227.6884
36 | 2681044.8985 | 1247261.7333 | 2681032.9263 | 1247242.9119
37 | 2681194.0917 | 1247227.6884 | 2681203.512 | 1247216.2365
38 | 2681094.0759 | 1247260.3868 | 2681082.1832 | 1247271.8798
39 | 2681136.7832 | 1247183.9498 | 2681129.1932 | 1247195.667
40 | 2681127.159 | 1247155.1985 | 2681139.486 | 1247157.5009
41 | 2681061.2441 | 1247144.5772 | 2681070.2828 | 1247144.812 | 2681073.3828 | 1247145.1546 | 2681089.0142 | 1247148.0742
42 | 2681061.2441 | 1247144.5772 | 2681052.7729 | 1247152.9262
43 | 2681110.3663 | 1247152.0621 | 2681089.0142 | 1247148.0742
44 | 2681052.7729 | 1247152.9262 | 2681036.3286 | 1247169.1335
45 | 2681023.212 | 1247227.6403 | 2681032.9263 | 1247242.9119
46 | 2681036.3286 | 1247169.1335 | 2681020.0646 | 1247185.1629
47 | 2681127.159 | 1247155.1985 | 2681110.4993 | 1247152.087
48 | 2681110.4993 | 1247152.087 | 2681110.3663 | 1247152.0621

## bus_geodata
| x | y | coords
0 | 2681125.8727 | 1247234.6125
1 | 2681128.4453 | 1247232.1823
2 | 2681152.6294 | 1247231.0218
3 | 2681130.8408 | 1247223.8312
4 | 2681107.961 | 1247246.9685
5 | 2681104.3413 | 1247250.4665
6 | 2681099.4621 | 1247238.7574
7 | 2681220.7827 | 1247195.2413
8 | 2681200.4953 | 1247181.5962
9 | 2681213.232 | 1247204.4203
10 | 2681118.9653 | 1247210.6591
11 | 2681128.3329 | 1247217.2142
12 | 2681117.0007 | 1247213.4895
13 | 2681124.3216 | 1247203.1876
14 | 2681088.5243 | 1247250.1076
15 | 2681105.0593 | 1247230.6934
16 | 2681185.0761 | 1247169.3001
17 | 2681189.607 | 1247172.9251
18 | 2681173.3624 | 1247163.8545
19 | 2681059.9785 | 1247276.8677
20 | 2681055.9226 | 1247276.8344
21 | 2681067.0836 | 1247286.4718
22 | 2681066.414 | 1247292.3558
23 | 2681072.0856 | 1247298.4908
24 | 2681165.4932 | 1247162.3715
25 | 2681149.5728 | 1247159.3848
26 | 2681156.3782 | 1247175.8238
27 | 2681185.8766 | 1247234.9368
28 | 2681188.6766 | 1247234.5638
29 | 2681160.5836 | 1247225.5562
30 | 2681044.8985 | 1247261.7333
31 | 2681138.5397 | 1247202.1507
32 | 2681194.0917 | 1247227.6884
33 | 2681192.6975 | 1247175.3978
34 | 2681082.1832 | 1247271.8798
35 | 2681136.7832 | 1247183.9498
36 | 2681139.486 | 1247157.5009
37 | 2681061.2441 | 1247144.5772
38 | 2681089.0142 | 1247148.0742
39 | 2681052.7729 | 1247152.9262
40 | 2681094.0759 | 1247260.3868
41 | 2681203.512 | 1247216.2365
42 | 2681129.1932 | 1247195.667
43 | 2681023.212 | 1247227.6403
44 | 2681032.9263 | 1247242.9119
45 | 2681020.0646 | 1247185.1629
46 | 2681036.3286 | 1247169.1335
47 | 2681127.159 | 1247155.1985
48 | 2681110.3663 | 1247152.0621
49 | 2681110.4993 | 1247152.087
50 | 2681124.8162 | 1247213.1076

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99935 | -0.012494 | 0.0065714 | 0.001647
1 | 0.99937 | -0.012048 | 0 | 0
2 | 0.99921 | -0.015098 | 0.0071986 | 0.0018041
3 | 0.99948 | -0.0099604 | 0 | 0
4 | 0.99739 | -0.049816 | 0 | 0
5 | 0.99706 | -0.056238 | 0.013768 | 0.0034505
6 | 0.99792 | -0.039773 | 0 | 0
7 | 0.98858 | -0.21967 | 0 | 0
8 | 0.9896 | -0.19982 | 0.024689 | 0.0061876
9 | 0.98809 | -0.22918 | 0.013624 | 0.0034145
10 | 1 | 0 | -0.61702 | -0.15588
11 | 0.99958 | -0.0081311 | 0 | 0
12 | 0.99977 | -0.0043487 | 0.0098377 | 0.0024656
13 | 0.99901 | -0.018943 | 0.014644 | 0.0036702
14 | 0.99746 | -0.048535 | 0.031734 | 0.0079533
15 | 0.99845 | -0.029624 | 0.030043 | 0.0075294
16 | 0.991 | -0.17277 | 0 | 0
17 | 0.99049 | -0.18261 | 0.026084 | 0.0065374
18 | 0.99215 | -0.15052 | 0.028817 | 0.0072221
19 | 0.99066 | -0.17939 | 0 | 0
20 | 0.99036 | -0.1852 | 0 | 0
21 | 0.99153 | -0.16248 | 0 | 0
22 | 0.9914 | -0.16497 | 0 | 0
23 | 0.99124 | -0.16819 | 0.021723 | 0.0054443
24 | 0.99306 | -0.1329 | 0 | 0
25 | 0.99415 | -0.11205 | 0 | 0
26 | 0.99275 | -0.13905 | 0.021407 | 0.005365
27 | 0.98724 | -0.24586 | 0 | 0
28 | 0.98727 | -0.24527 | 0 | 0
29 | 0.98694 | -0.25169 | 0.011799 | 0.0029572
30 | 0.98897 | -0.21204 | 0.031902 | 0.0079955
31 | 0.99915 | -0.016361 | 0.025917 | 0.0064954
32 | 0.98736 | -0.24342 | 0.0097752 | 0.0024499
33 | 0.99024 | -0.1875 | 0 | 0
34 | 0.99349 | -0.12477 | 0.020235 | 0.0050714
35 | 0.9967 | -0.062994 | 0.026631 | 0.0066743
36 | 0.99344 | -0.12567 | 0.028442 | 0.0071283
37 | 0.98789 | -0.23307 | 0 | 0
38 | 0.98916 | -0.20838 | 0.01041 | 0.002609
39 | 0.98735 | -0.24355 | 0.016687 | 0.0041823
40 | 0.99533 | -0.089286 | 0.010089 | 0.0025284
41 | 0.98765 | -0.2377 | 0.009616 | 0.00241
42 | 0.99808 | -0.036673 | 0.016756 | 0.0041993
43 | 0.98734 | -0.24391 | 0.039661 | 0.00994
44 | 0.98799 | -0.23108 | 0.0082021 | 0.0020556
45 | 0.98632 | -0.26366 | 0.016231 | 0.004068
46 | 0.98666 | -0.25702 | 0.01639 | 0.0041077
47 | 0.99204 | -0.15271 | 0.014086 | 0.0035302
48 | 0.99035 | -0.1853 | 0.012376 | 0.0031017
49 | 0.99036 | -0.18513 | 0.035741 | 0.0089576
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0065714 | -0.001647 | 0.0065716 | 0.001647 | 1.3953e-07 | 3.8377e-08 | 0.0097847 | 0.0097847 | 0.0097847 | 0.99935 | -0.012494 | 0.99937 | -0.012048 | 2.6881
1 | 0.0071997 | 0.0018045 | -0.0071986 | -0.0018041 | 1.0459e-06 | 3.5143e-07 | 0.01072 | 0.01072 | 0.01072 | 0.99937 | -0.012048 | 0.99921 | -0.015098 | 2.9451
2 | -0.013771 | -0.0034515 | 0.013773 | 0.0034523 | 1.3698e-06 | 7.6282e-07 | 0.020505 | 0.020505 | 0.020505 | 0.99937 | -0.012048 | 0.99948 | -0.0099604 | 5.6332
3 | -0.013773 | -0.0034523 | 0.013774 | 0.0034529 | 1.2005e-06 | 6.685e-07 | 0.020505 | 0.020505 | 0.020505 | 0.99948 | -0.0099604 | 0.99958 | -0.0081311 | 5.6332
4 | 0.14649 | 0.037066 | -0.14644 | -0.037037 | 4.5132e-05 | 2.8753e-05 | 0.21867 | 0.21867 | 0.21867 | 0.99739 | -0.049816 | 0.99706 | -0.056238 | 30.0375
5 | -0.14649 | -0.037066 | 0.14656 | 0.037111 | 7.0636e-05 | 4.4744e-05 | 0.21867 | 0.21867 | 0.21867 | 0.99739 | -0.049816 | 0.99792 | -0.039773 | 20.025
6 | 0.13268 | 0.033587 | -0.13247 | -0.033452 | 0.00021014 | 0.0001343 | 0.19813 | 0.19813 | 0.19813 | 0.99706 | -0.056238 | 0.99533 | -0.089286 | 54.4302
7 | 0.031747 | 0.0079616 | -0.031734 | -0.0079533 | 1.3251e-05 | 8.275e-06 | 0.047341 | 0.047341 | 0.047341 | 0.99792 | -0.039773 | 0.99746 | -0.048535 | 13.0057
8 | -0.17831 | -0.045072 | 0.17839 | 0.045127 | 8.6827e-05 | 5.5184e-05 | 0.26601 | 0.26601 | 0.26601 | 0.99792 | -0.039773 | 0.99845 | -0.029624 | 24.3602
9 | -0.044858 | -0.011258 | 0.044901 | 0.011285 | 4.2522e-05 | 2.6895e-05 | 0.067526 | 0.067526 | 0.067526 | 0.98858 | -0.21967 | 0.9896 | -0.19982 | 18.5511
10 | 0.044858 | 0.011258 | -0.044838 | -0.011246 | 2.0323e-05 | 1.2855e-05 | 0.067526 | 0.067526 | 0.067526 | 0.98858 | -0.21967 | 0.98809 | -0.22918 | 18.5511
11 | -0.06959 | -0.017473 | 0.06963 | 0.017499 | 4.0909e-05 | 2.6053e-05 | 0.10465 | 0.10465 | 0.10465 | 0.9896 | -0.19982 | 0.99024 | -0.1875 | 28.7499
12 | 0.031214 | 0.0078311 | -0.031201 | -0.0078231 | 1.2679e-05 | 7.9189e-06 | 0.047009 | 0.047009 | 0.047009 | 0.98809 | -0.22918 | 0.98765 | -0.2377 | 12.9146
13 | 0.039716 | 0.0099643 | -0.039701 | -0.0099546 | 1.539e-05 | 9.6957e-06 | 0.059102 | 0.059102 | 0.059102 | 1 | 0 | 0.99958 | -0.0081311 | 16.2369
14 | 0.21857 | 0.055312 | -0.21853 | -0.055283 | 4.5609e-05 | 2.9054e-05 | 0.32543 | 0.32543 | 0.32543 | 1 | 0 | 0.99977 | -0.0043487 | 29.8011
15 | 0.35708 | 0.090604 | -0.35675 | -0.090397 | 0.00032499 | 0.00020763 | 0.53173 | 0.53173 | 0.53173 | 1 | 0 | 0.99901 | -0.018943 | 48.6934
16 | 0.025927 | 0.0065017 | -0.025917 | -0.0064954 | 1.0165e-05 | 6.2674e-06 | 0.038598 | 0.038598 | 0.038598 | 0.99958 | -0.0081311 | 0.99915 | -0.016361 | 10.6038
17 | 0.20869 | 0.052818 | -0.20844 | -0.052657 | 0.00025285 | 0.000161 | 0.31079 | 0.31079 | 0.31079 | 0.99977 | -0.0043487 | 0.99845 | -0.029624 | 28.4603
18 | 0.34211 | 0.086727 | -0.34182 | -0.08654 | 0.00029124 | 0.00018604 | 0.50992 | 0.50992 | 0.50992 | 0.99901 | -0.018943 | 0.99808 | -0.036673 | 46.696
19 | 0.095776 | 0.024075 | -0.095731 | -0.024047 | 4.5018e-05 | 2.8737e-05 | 0.14384 | 0.14384 | 0.14384 | 0.991 | -0.17277 | 0.99049 | -0.18261 | 39.5154
20 | -0.095776 | -0.024075 | 0.095878 | 0.02414 | 0.00010183 | 6.4999e-05 | 0.14384 | 0.14384 | 0.14384 | 0.991 | -0.17277 | 0.99215 | -0.15052 | 39.5154
21 | 0.069647 | 0.017509 | -0.06963 | -0.017499 | 1.6255e-05 | 1.0352e-05 | 0.10465 | 0.10465 | 0.10465 | 0.99049 | -0.18261 | 0.99024 | -0.1875 | 28.7499
22 | -0.12469 | -0.031363 | 0.1248 | 0.03143 | 0.00010507 | 6.7141e-05 | 0.18705 | 0.18705 | 0.18705 | 0.99215 | -0.15052 | 0.99306 | -0.1329 | 51.3887
23 | 0.079958 | 0.020113 | -0.079935 | -0.020099 | 2.2208e-05 | 1.416e-05 | 0.12013 | 0.12013 | 0.12013 | 0.99066 | -0.17939 | 0.99036 | -0.1852 | 33.0017
24 | -0.079958 | -0.020113 | 0.080022 | 0.020155 | 6.4648e-05 | 4.122e-05 | 0.12013 | 0.12013 | 0.12013 | 0.99066 | -0.17939 | 0.99153 | -0.16248 | 33.0017
25 | 0.079935 | 0.020099 | -0.079833 | -0.020034 | 0.0001023 | 6.5227e-05 | 0.12013 | 0.12013 | 0.12013 | 0.99036 | -0.1852 | 0.98897 | -0.21204 | 33.0018
26 | -0.10175 | -0.025602 | 0.10193 | 0.02572 | 0.00018369 | 0.00011729 | 0.15274 | 0.15274 | 0.15274 | 0.99153 | -0.16248 | 0.99349 | -0.12477 | 41.9605
27 | 0.021729 | 0.0054479 | -0.021726 | -0.0054463 | 2.5813e-06 | 1.5685e-06 | 0.03261 | 0.03261 | 0.03261 | 0.99153 | -0.16248 | 0.9914 | -0.16497 | 8.9588
28 | 0.021726 | 0.0054463 | -0.021723 | -0.0054443 | 3.3318e-06 | 2.0246e-06 | 0.03261 | 0.03261 | 0.03261 | 0.9914 | -0.16497 | 0.99124 | -0.16819 | 8.9588
29 | -0.14621 | -0.036799 | 0.14636 | 0.036891 | 0.00014585 | 9.2926e-05 | 0.21914 | 0.21914 | 0.21914 | 0.99306 | -0.1329 | 0.99415 | -0.11205 | 30.1018
30 | 0.021413 | 0.0053688 | -0.021407 | -0.005365 | 6.2734e-06 | 3.8048e-06 | 0.032086 | 0.032086 | 0.032086 | 0.99306 | -0.1329 | 0.99275 | -0.13905 | 8.8149
31 | -0.29732 | -0.074958 | 0.29802 | 0.075405 | 0.00069981 | 0.00044678 | 0.44518 | 0.44518 | 0.44518 | 0.99415 | -0.11205 | 0.9967 | -0.062994 | 40.7676
32 | 0.15096 | 0.038066 | -0.15087 | -0.038004 | 9.8305e-05 | 6.2649e-05 | 0.22604 | 0.22604 | 0.22604 | 0.99415 | -0.11205 | 0.99344 | -0.12567 | 31.0496
33 | -0.011803 | -0.0029589 | 0.011803 | 0.0029591 | 3.3432e-07 | 1.7794e-07 | 0.01779 | 0.01779 | 0.01779 | 0.98724 | -0.24586 | 0.98727 | -0.24527 | 4.8873
34 | 0.011803 | 0.0029589 | -0.011799 | -0.0029572 | 3.2762e-06 | 1.7439e-06 | 0.01779 | 0.01779 | 0.01779 | 0.98724 | -0.24586 | 0.98694 | -0.25169 | 4.8874
35 | -0.011803 | -0.0029591 | 0.011804 | 0.0029597 | 1.039e-06 | 5.5298e-07 | 0.01779 | 0.01779 | 0.01779 | 0.98727 | -0.24527 | 0.98736 | -0.24342 | 4.8873
36 | 0.047931 | 0.012038 | -0.047887 | -0.012011 | 4.3516e-05 | 2.7564e-05 | 0.072126 | 0.072126 | 0.072126 | 0.98897 | -0.21204 | 0.98799 | -0.23108 | 19.8149
37 | -0.021579 | -0.0054096 | 0.021585 | 0.0054131 | 5.8813e-06 | 3.5744e-06 | 0.032522 | 0.032522 | 0.032522 | 0.98736 | -0.24342 | 0.98765 | -0.2377 | 8.9345
38 | -0.12217 | -0.030791 | 0.12238 | 0.030924 | 0.0002078 | 0.00013278 | 0.18304 | 0.18304 | 0.18304 | 0.99349 | -0.12477 | 0.99533 | -0.089286 | 50.2867
39 | -0.32465 | -0.082079 | 0.32506 | 0.082341 | 0.00041038 | 0.0002621 | 0.48494 | 0.48494 | 0.48494 | 0.9967 | -0.062994 | 0.99808 | -0.036673 | 44.4084
40 | 0.12242 | 0.030875 | -0.12226 | -0.030774 | 0.00015824 | 0.00010111 | 0.18344 | 0.18344 | 0.18344 | 0.99344 | -0.12567 | 0.99204 | -0.15271 | 50.3953
41 | -0.04936 | -0.01239 | 0.049418 | 0.012427 | 5.8181e-05 | 3.6876e-05 | 0.074355 | 0.074355 | 0.074355 | 0.98789 | -0.23307 | 0.98916 | -0.20838 | 20.4273
42 | 0.04936 | 0.01239 | -0.049335 | -0.012374 | 2.4659e-05 | 1.563e-05 | 0.074355 | 0.074355 | 0.074355 | 0.98789 | -0.23307 | 0.98735 | -0.24355 | 20.4273
43 | -0.059828 | -0.015036 | 0.059894 | 0.015078 | 6.6e-05 | 4.1961e-05 | 0.090015 | 0.090015 | 0.090015 | 0.98916 | -0.20838 | 0.99035 | -0.1853 | 24.7294
44 | 0.032648 | 0.0081918 | -0.032627 | -0.0081787 | 2.0964e-05 | 1.3122e-05 | 0.049206 | 0.049206 | 0.049206 | 0.98735 | -0.24355 | 0.98666 | -0.25702 | 13.5181
45 | -0.039661 | -0.00994 | 0.039685 | 0.0099552 | 2.425e-05 | 1.5288e-05 | 0.059773 | 0.059773 | 0.059773 | 0.98734 | -0.24391 | 0.98799 | -0.23108 | 16.4212
46 | -0.016231 | -0.004068 | 0.016236 | 0.004071 | 5.1349e-06 | 2.9948e-06 | 0.024488 | 0.024487 | 0.024488 | 0.98632 | -0.26366 | 0.98666 | -0.25702 | 6.7274
47 | 0.10818 | 0.027244 | -0.10801 | -0.027137 | 0.00016743 | 0.00010694 | 0.16231 | 0.16231 | 0.16231 | 0.99204 | -0.15271 | 0.99036 | -0.18513 | 44.5909
48 | -0.07227 | -0.018179 | 0.07227 | 0.01818 | 5.9841e-07 | 3.8124e-07 | 0.10861 | 0.10861 | 0.10861 | 0.99035 | -0.1853 | 0.99036 | -0.18513 | 29.8378

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.61702 | 0.15588

## res_load
| p_mw | q_mvar
0 | 0.0065714 | 0.001647
1 | 0.0071986 | 0.0018041
2 | 0.013768 | 0.0034505
3 | 0.024689 | 0.0061876
4 | 0.013624 | 0.0034145
5 | 0.0098377 | 0.0024656
6 | 0.014644 | 0.0036702
7 | 0.031734 | 0.0079533
8 | 0.030043 | 0.0075294
9 | 0.026084 | 0.0065374
10 | 0.028817 | 0.0072221
11 | 0.021723 | 0.0054443
12 | 0.021407 | 0.005365
13 | 0.011799 | 0.0029572
14 | 0.031902 | 0.0079955
15 | 0.025917 | 0.0064954
16 | 0.0097752 | 0.0024499
17 | 0.020235 | 0.0050714
18 | 0.026631 | 0.0066743
19 | 0.028442 | 0.0071283
20 | 0.01041 | 0.002609
21 | 0.016687 | 0.0041823
22 | 0.010089 | 0.0025284
23 | 0.009616 | 0.00241
24 | 0.016756 | 0.0041993
25 | 0.039661 | 0.00994
26 | 0.0082021 | 0.0020556
27 | 0.016231 | 0.004068
28 | 0.01639 | 0.0041077
29 | 0.014086 | 0.0035302
30 | 0.012376 | 0.0031017
31 | 0.035741 | 0.0089576

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1