## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-405_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-405_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-405_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-405_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-405_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-405_0_4_node_57 | 0.4 | n |  | TRUE
6 | bus_LV_261-405_0_4_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_261-405_0_4_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_261-405_0_4_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_261-405_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_261-405_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_261-405_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_261-405_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_261-405_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_261-405_0_4_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_261-405_0_4_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_261-405_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_261-405_0_4_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_261-405_0_4_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_261-405_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_261-405_0_4_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_261-405_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_261-405_0_4_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_261-405_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_261-405_0_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_261-405_0_4_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_261-405_0_4_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_261-405_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_261-405_0_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_261-405_0_4_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_261-405_0_4_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_261-405_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_261-405_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_261-405_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_261-405_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_261-405_0_4_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_261-405_0_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_261-405_0_4_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_261-405_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_261-405_0_4_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_261-405_0_4_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_261-405_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_261-405_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_261-405_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_261-405_0_4_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_261-405_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_261-405_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_261-405_0_4_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_261-405_0_4_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_261-405_0_4_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_261-405_0_4_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_261-405_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_261-405_0_4_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_261-405_0_4_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_261-405_0_4_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_261-405_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_261-405_0_4_node_40 | 0.4 | n |  | TRUE
57 | bus_MV_533_0_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-405_0_4_load_0 | 0 | 0.0052492 | 0.0013156 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-405_0_4_load_1 | 1 | 0.0069241 | 0.0017353 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-405_0_4_load_2 | 2 | 0.0087743 | 0.002199 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-405_0_4_load_3 | 3 | 0.0050131 | 0.0012564 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-405_0_4_load_4 | 4 | 0.018045 | 0.0045225 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-405_0_4_load_57 | 5 | 0.0094529 | 0.0023691 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-405_0_4_load_46 | 6 | 0.011608 | 0.0029092 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-405_0_4_load_5 | 9 | 0.011532 | 0.0028902 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-405_0_4_load_6 | 10 | 0.008627 | 0.0021621 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-405_0_4_load_8 | 12 | 0.011973 | 0.0030008 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-405_0_4_load_9 | 13 | 0.008508 | 0.0021323 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-405_0_4_load_30 | 14 | 0.0049221 | 0.0012336 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-405_0_4_load_45 | 15 | 0.014119 | 0.0035386 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-405_0_4_load_32 | 18 | 0.0099389 | 0.0024909 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-405_0_4_load_51 | 22 | 0.013485 | 0.0033795 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-405_0_4_load_47 | 25 | 0.010054 | 0.0025197 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-405_0_4_load_61 | 26 | 0.015253 | 0.0038227 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-405_0_4_load_33 | 28 | 0.0073851 | 0.0018509 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-405_0_4_load_31 | 29 | 0.012742 | 0.0031934 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-405_0_4_load_50 | 30 | 0.012704 | 0.0031838 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-405_0_4_load_44 | 35 | 0.0087343 | 0.002189 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-405_0_4_load_42 | 36 | 0.015666 | 0.0039263 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-405_0_4_load_56 | 37 | 0.0037965 | 0.00095149 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-405_0_4_load_38 | 38 | 0.0075932 | 0.001903 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-405_0_4_load_58 | 39 | 0.0051876 | 0.0013001 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-405_0_4_load_52 | 40 | 0.011631 | 0.0029151 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-405_0_4_load_36 | 41 | 0.011199 | 0.0028068 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-405_0_4_load_34 | 42 | 0.010219 | 0.002561 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-405_0_4_load_41 | 44 | 0.0058426 | 0.0014643 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-405_0_4_load_35 | 45 | 0.010874 | 0.0027254 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-405_0_4_load_39 | 46 | 0.019649 | 0.0049244 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-405_0_4_load_48 | 47 | 0.010734 | 0.0026901 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-405_0_4_load_60 | 48 | 0.0099498 | 0.0024937 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-405_0_4_load_55 | 49 | 0.0073561 | 0.0018436 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-405_0_4_load_49 | 50 | 0.012345 | 0.0030939 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-405_0_4_load_43 | 51 | 0.009241 | 0.002316 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-405_0_4_load_37 | 52 | 0.0132 | 0.0033082 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-405_0_4_load_59 | 53 | 0.005589 | 0.0014007 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-405_0_4_load_54 | 54 | 0.01187 | 0.0029748 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-405_0_4_load_53 | 55 | 0.01183 | 0.0029649 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-405_0_4_load_40 | 56 | 0.0095991 | 0.0024057 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-405_0_4_line_0 |  | 0 | 1 | 0.010797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_261-405_0_4_line_1 |  | 0 | 2 | 0.0094544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_261-405_0_4_line_2 |  | 1 | 3 | 0.0068354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_261-405_0_4_line_3 |  | 2 | 4 | 0.01771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_261-405_0_4_line_4 |  | 3 | 5 | 0.0074516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_261-405_0_4_line_5 |  | 4 | 6 | 0.016498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_261-405_0_4_line_6 |  | 5 | 7 | 0.025325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_261-405_0_4_line_7 |  | 6 | 8 | 0.0067472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_261-405_0_4_line_8 |  | 7 | 26 | 0.014197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_261-405_0_4_line_9 |  | 8 | 34 | 0.011747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_261-405_0_4_line_10 |  | 9 | 10 | 0.02533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_261-405_0_4_line_11 |  | 9 | 11 | 0.012107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-405_0_4_line_12 |  | 10 | 12 | 0.016218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_261-405_0_4_line_13 |  | 11 | 13 | 0.018255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-405_0_4_line_14 |  | 12 | 14 | 0.02418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_261-405_0_4_line_15 |  | 13 | 15 | 0.01348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-405_0_4_line_16 |  | 14 | 31 | 0.012194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_261-405_0_4_line_17 |  | 16 | 17 | 0.014215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-405_0_4_line_18 |  | 16 | 18 | 0.0244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-405_0_4_line_19 |  | 17 | 41 | 0.022264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-405_0_4_line_20 |  | 17 | 42 | 0.011499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-405_0_4_line_21 |  | 18 | 29 | 0.015543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-405_0_4_line_22 |  | 19 | 20 | 0.003945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-405_0_4_line_23 |  | 19 | 21 | 0.012668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-405_0_4_line_24 |  | 19 | 22 | 0.0095942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-405_0_4_line_25 |  | 20 | 40 | 0.022297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-405_0_4_line_26 |  | 21 | 30 | 0.010093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-405_0_4_line_27 |  | 23 | 24 | 0.014121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_261-405_0_4_line_28 |  | 23 | 25 | 0.021527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-405_0_4_line_29 |  | 24 | 39 | 0.025517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_261-405_0_4_line_30 |  | 25 | 47 | 0.013003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-405_0_4_line_31 |  | 26 | 48 | 0.014031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_261-405_0_4_line_32 |  | 27 | 28 | 0.022398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-405_0_4_line_33 |  | 27 | 29 | 0.010447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-405_0_4_line_34 |  | 28 | 49 | 0.010278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-405_0_4_line_35 |  | 30 | 50 | 0.015187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-405_0_4_line_36 |  | 31 | 32 | 0.002706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_261-405_0_4_line_37 |  | 31 | 33 | 0.0093759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-405_0_4_line_38 |  | 32 | 35 | 0.01905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_261-405_0_4_line_39 |  | 33 | 37 | 0.017267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-405_0_4_line_40 |  | 33 | 38 | 0.0040022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-405_0_4_line_41 |  | 34 | 36 | 0.013349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_261-405_0_4_line_42 |  | 35 | 51 | 0.010287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_261-405_0_4_line_43 |  | 36 | 51 | 0.01927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_261-405_0_4_line_44 |  | 38 | 52 | 0.016538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-405_0_4_line_45 |  | 39 | 53 | 0.0093678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_261-405_0_4_line_46 |  | 40 | 55 | 0.014745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-405_0_4_line_47 |  | 41 | 52 | 0.017963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-405_0_4_line_48 |  | 42 | 45 | 0.00035371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-405_0_4_line_49 |  | 43 | 44 | 0.02043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-405_0_4_line_50 |  | 43 | 45 | 0.011304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-405_0_4_line_51 |  | 43 | 46 | 0.014296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-405_0_4_line_52 |  | 46 | 56 | 0.0021064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-405_0_4_line_53 |  | 47 | 50 | 0.014079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-405_0_4_line_54 |  | 48 | 53 | 0.011245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_261-405_0_4_line_55 |  | 54 | 55 | 0.014886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-405_0_4_trafo_5 | 0.63 MVA 20/0.4 kV | 57 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2681312.5232 | 1247593.8847 | 2681304.6769 | 1247601.3018
1 | 2681312.5232 | 1247593.8847 | 2681319.3938 | 1247587.39
2 | 2681304.6769 | 1247601.3018 | 2681299.7096 | 1247605.9973
3 | 2681319.3938 | 1247587.39 | 2681332.2641 | 1247575.2239
4 | 2681294.2945 | 1247611.1162 | 2681299.7096 | 1247605.9973
5 | 2681344.253 | 1247563.8909 | 2681332.2641 | 1247575.2239
6 | 2681275.8906 | 1247628.5132 | 2681294.2945 | 1247611.1162
7 | 2681349.1563 | 1247559.2559 | 2681344.253 | 1247563.8909
8 | 2681275.8906 | 1247628.5132 | 2681275.1855 | 1247629.8045 | 2681275.066 | 1247631.3595 | 2681275.3736 | 1247632.6091 | 2681276.0086 | 1247633.6741 | 2681282.5495 | 1247639.3181
9 | 2681340.2042 | 1247551.6498 | 2681344.6616 | 1247555.4359 | 2681349.1563 | 1247559.2559
10 | 2681288.9753 | 1247583.7395 | 2681281.472 | 1247577.33 | 2681280.5644 | 1247576.3168 | 2681280.2717 | 1247575.0786 | 2681282.8615 | 1247562.5137
11 | 2681298.1806 | 1247591.6028 | 2681288.9753 | 1247583.7395
12 | 2681286.1353 | 1247546.63 | 2681282.8615 | 1247562.5137
13 | 2681298.1806 | 1247591.6028 | 2681311.5072 | 1247579.1266
14 | 2681286.1353 | 1247546.63 | 2681291.0165 | 1247522.948
15 | 2681321.3474 | 1247569.9143 | 2681311.5072 | 1247579.1266
16 | 2681293.6733 | 1247511.0598 | 2681293.1863 | 1247512.4208 | 2681291.0165 | 1247522.948
17 | 2681275.4059 | 1247575.7346 | 2681277.6086 | 1247565.4795 | 2681274.0114 | 1247564.5072
18 | 2681275.4059 | 1247575.7346 | 2681273.0619 | 1247573.7121 | 2681271.786 | 1247573.1164 | 2681270.4278 | 1247573.0088 | 2681269.2259 | 1247573.0813 | 2681267.5325 | 1247573.7363 | 2681256.1316 | 1247584.2574
19 | 2681274.0114 | 1247564.5072 | 2681278.5832 | 1247542.7173
20 | 2681274.0114 | 1247564.5072 | 2681270.3437 | 1247562.6223 | 2681263.8403 | 1247559.1435
21 | 2681256.1316 | 1247584.2574 | 2681244.7088 | 1247594.7986
22 | 2681251.0143 | 1247630.963 | 2681251.6209 | 1247631.8942 | 2681251.9311 | 1247632.9548 | 2681252.0855 | 1247633.8131 | 2681252.0209 | 1247634.6684
23 | 2681252.0209 | 1247634.6684 | 2681256.7243 | 1247638.6913 | 2681261.6441 | 1247642.9063
24 | 2681252.0209 | 1247634.6684 | 2681251.5568 | 1247635.4626 | 2681245.2481 | 1247641.416
25 | 2681251.0143 | 1247630.963 | 2681234.0613 | 1247616.4795
26 | 2681261.6441 | 1247642.9063 | 2681262.765 | 1247642.6881 | 2681263.9628 | 1247642.9158 | 2681269.8911 | 1247647.8796
27 | 2681318.5818 | 1247689.0539 | 2681323.6886 | 1247683.4865 | 2681328.0985 | 1247678.6212
28 | 2681318.5818 | 1247689.0539 | 2681317.6016 | 1247687.8284 | 2681302.2996 | 1247675.0158
29 | 2681328.0985 | 1247678.6212 | 2681308.7792 | 1247661.9511
30 | 2681302.2996 | 1247675.0158 | 2681292.3302 | 1247666.6683
31 | 2681293.1728 | 1247648.4847 | 2681282.5495 | 1247639.3181
32 | 2681237.0315 | 1247601.8835 | 2681219.9694 | 1247587.3732
33 | 2681237.0315 | 1247601.8835 | 2681244.7088 | 1247594.7986
34 | 2681219.9694 | 1247587.3732 | 2681212.1395 | 1247580.7144
35 | 2681281.5353 | 1247657.6296 | 2681269.8911 | 1247647.8796
36 | 2681296.1239 | 1247510.2706 | 2681294.7872 | 1247510.2523 | 2681293.6733 | 1247511.0598
37 | 2681286.4895 | 1247505.0347 | 2681290.0067 | 1247507.9851 | 2681293.6733 | 1247511.0598
38 | 2681296.1239 | 1247510.2706 | 2681298.506 | 1247511.7154 | 2681310.9169 | 1247522.2272
39 | 2681286.4895 | 1247505.0347 | 2681286.6103 | 1247503.3907 | 2681286.2935 | 1247502.2522 | 2681285.6135 | 1247501.1643 | 2681275.6124 | 1247492.6201
40 | 2681286.4895 | 1247505.0347 | 2681285.6677 | 1247508.9516
41 | 2681340.2042 | 1247551.6498 | 2681340.6561 | 1247549.5433 | 2681340.1671 | 1247547.7464 | 2681338.9527 | 1247545.9729 | 2681333.4716 | 1247541.3305
42 | 2681310.9169 | 1247522.2272 | 2681318.767 | 1247528.876
43 | 2681318.767 | 1247528.876 | 2681333.4716 | 1247541.3305
44 | 2681285.6677 | 1247508.9516 | 2681282.2717 | 1247525.1375
45 | 2681308.7792 | 1247661.9511 | 2681301.6868 | 1247655.8312
46 | 2681234.0613 | 1247616.4795 | 2681222.8507 | 1247606.902
47 | 2681278.5832 | 1247542.7173 | 2681282.2717 | 1247525.1375
48 | 2681263.5284 | 1247558.9767 | 2681263.8403 | 1247559.1435
49 | 2681257.7191 | 1247533.6392 | 2681253.5624 | 1247553.6413
50 | 2681253.5624 | 1247553.6413 | 2681259.4635 | 1247556.8023 | 2681263.5284 | 1247558.9767
51 | 2681253.5624 | 1247553.6413 | 2681242.0866 | 1247545.1155
52 | 2681242.0866 | 1247545.1155 | 2681240.3958 | 1247543.8593
53 | 2681292.3302 | 1247666.6683 | 2681281.5353 | 1247657.6296
54 | 2681301.6868 | 1247655.8312 | 2681293.1728 | 1247648.4847
55 | 2681222.8507 | 1247606.902 | 2681211.5324 | 1247597.2324

## bus_geodata
| x | y | coords
0 | 2681312.5232 | 1247593.8847
1 | 2681304.6769 | 1247601.3018
2 | 2681319.3938 | 1247587.39
3 | 2681299.7096 | 1247605.9973
4 | 2681332.2641 | 1247575.2239
5 | 2681294.2945 | 1247611.1162
6 | 2681344.253 | 1247563.8909
7 | 2681275.8906 | 1247628.5132
8 | 2681349.1563 | 1247559.2559
9 | 2681288.9753 | 1247583.7395
10 | 2681282.8615 | 1247562.5137
11 | 2681298.1806 | 1247591.6028
12 | 2681286.1353 | 1247546.63
13 | 2681311.5072 | 1247579.1266
14 | 2681291.0165 | 1247522.948
15 | 2681321.3474 | 1247569.9143
16 | 2681275.4059 | 1247575.7346
17 | 2681274.0114 | 1247564.5072
18 | 2681256.1316 | 1247584.2574
19 | 2681252.0209 | 1247634.6684
20 | 2681251.0143 | 1247630.963
21 | 2681261.6441 | 1247642.9063
22 | 2681245.2481 | 1247641.416
23 | 2681318.5818 | 1247689.0539
24 | 2681328.0985 | 1247678.6212
25 | 2681302.2996 | 1247675.0158
26 | 2681282.5495 | 1247639.3181
27 | 2681237.0315 | 1247601.8835
28 | 2681219.9694 | 1247587.3732
29 | 2681244.7088 | 1247594.7986
30 | 2681269.8911 | 1247647.8796
31 | 2681293.6733 | 1247511.0598
32 | 2681296.1239 | 1247510.2706
33 | 2681286.4895 | 1247505.0347
34 | 2681340.2042 | 1247551.6498
35 | 2681310.9169 | 1247522.2272
36 | 2681333.4716 | 1247541.3305
37 | 2681275.6124 | 1247492.6201
38 | 2681285.6677 | 1247508.9516
39 | 2681308.7792 | 1247661.9511
40 | 2681234.0613 | 1247616.4795
41 | 2681278.5832 | 1247542.7173
42 | 2681263.8403 | 1247559.1435
43 | 2681253.5624 | 1247553.6413
44 | 2681257.7191 | 1247533.6392
45 | 2681263.5284 | 1247558.9767
46 | 2681242.0866 | 1247545.1155
47 | 2681292.3302 | 1247666.6683
48 | 2681293.1728 | 1247648.4847
49 | 2681212.1395 | 1247580.7144
50 | 2681281.5353 | 1247657.6296
51 | 2681318.767 | 1247528.876
52 | 2681282.2717 | 1247525.1375
53 | 2681301.6868 | 1247655.8312
54 | 2681211.5324 | 1247597.2324
55 | 2681222.8507 | 1247606.902
56 | 2681240.3958 | 1247543.8593
57 | 2681298.1806 | 1247591.6028

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98332 | -0.3192 | 0.0052492 | 0.0013156
1 | 0.98281 | -0.32907 | 0.0069241 | 0.0017353
2 | 0.98378 | -0.31027 | 0.0087743 | 0.002199
3 | 0.9825 | -0.33504 | 0.0050131 | 0.0012564
4 | 0.98469 | -0.29263 | 0.018045 | 0.0045225
5 | 0.98218 | -0.34133 | 0.0094529 | 0.0023691
6 | 0.98563 | -0.27445 | 0.011608 | 0.0029092
7 | 0.98115 | -0.36127 | 0 | 0
8 | 0.98604 | -0.26656 | 0 | 0
9 | 1 | 0 | -0.41502 | -0.10611
10 | 0.997 | -0.056724 | 0.008627 | 0.0021621
11 | 0.99975 | -0.0047761 | 0 | 0
12 | 0.99512 | -0.0924 | 0.011973 | 0.0030008
13 | 0.99938 | -0.011982 | 0.008508 | 0.0021323
14 | 0.99241 | -0.14414 | 0.0049221 | 0.0012336
15 | 0.9992 | -0.015304 | 0.014119 | 0.0035386
16 | 0.98353 | -0.316 | 0 | 0
17 | 0.98402 | -0.30642 | 0 | 0
18 | 0.98268 | -0.33247 | 0.0099389 | 0.0024909
19 | 0.97186 | -0.5434 | 0 | 0
20 | 0.97173 | -0.54597 | 0 | 0
21 | 0.97243 | -0.532 | 0 | 0
22 | 0.97174 | -0.54579 | 0.013485 | 0.0033795
23 | 0.97766 | -0.42925 | 0 | 0
24 | 0.97829 | -0.41707 | 0 | 0
25 | 0.97576 | -0.46647 | 0.010054 | 0.0025197
26 | 0.98058 | -0.37247 | 0.015253 | 0.0038227
27 | 0.98215 | -0.34297 | 0 | 0
28 | 0.98184 | -0.34894 | 0.0073851 | 0.0018509
29 | 0.98229 | -0.34019 | 0.012742 | 0.0031934
30 | 0.9729 | -0.52292 | 0.012704 | 0.0031838
31 | 0.99106 | -0.16998 | 0 | 0
32 | 0.99087 | -0.17365 | 0 | 0
33 | 0.98994 | -0.19153 | 0 | 0
34 | 0.98675 | -0.25283 | 0 | 0
35 | 0.98952 | -0.19954 | 0.0087343 | 0.002189
36 | 0.98756 | -0.23725 | 0.015666 | 0.0039263
37 | 0.98988 | -0.1927 | 0.0037965 | 0.00095149
38 | 0.98948 | -0.20048 | 0.0075932 | 0.001903
39 | 0.97941 | -0.3951 | 0.0051876 | 0.0013001
40 | 0.97099 | -0.56053 | 0.011631 | 0.0029151
41 | 0.98594 | -0.26898 | 0.011199 | 0.0028068
42 | 0.98342 | -0.31806 | 0.010219 | 0.002561
43 | 0.98304 | -0.32551 | 0 | 0
44 | 0.98293 | -0.32766 | 0.0058426 | 0.0014643
45 | 0.98341 | -0.31835 | 0.010874 | 0.0027254
46 | 0.98266 | -0.33305 | 0.019649 | 0.0049244
47 | 0.97474 | -0.48663 | 0.010734 | 0.0026901
48 | 0.98007 | -0.38226 | 0.0099498 | 0.0024937
49 | 0.98177 | -0.3503 | 0.0073561 | 0.0018436
50 | 0.97377 | -0.50573 | 0.012345 | 0.0030939
51 | 0.98882 | -0.21302 | 0.009241 | 0.002316
52 | 0.98768 | -0.23528 | 0.0132 | 0.0033082
53 | 0.9797 | -0.38943 | 0.005589 | 0.0014007
54 | 0.9705 | -0.57026 | 0.01187 | 0.0029748
55 | 0.97067 | -0.56699 | 0.01183 | 0.0029649
56 | 0.98264 | -0.33341 | 0.0095991 | 0.0024057
57 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.1531 | 0.038787 | -0.15303 | -0.038741 | 7.254e-05 | 4.6015e-05 | 0.23184 | 0.23184 | 0.23184 | 0.98332 | -0.3192 | 0.98281 | -0.32907 | 21.2304
1 | -0.15835 | -0.040103 | 0.15842 | 0.040146 | 6.7947e-05 | 4.3126e-05 | 0.23978 | 0.23978 | 0.23978 | 0.98332 | -0.3192 | 0.98378 | -0.31027 | 21.9578
2 | 0.14611 | 0.037006 | -0.14607 | -0.036979 | 4.1864e-05 | 2.6533e-05 | 0.22135 | 0.22135 | 0.22135 | 0.98281 | -0.32907 | 0.9825 | -0.33504 | 20.2704
3 | -0.1672 | -0.042345 | 0.16734 | 0.042435 | 0.00014176 | 9.0051e-05 | 0.25305 | 0.25305 | 0.25305 | 0.98378 | -0.31027 | 0.98469 | -0.29263 | 23.1731
4 | 0.14105 | 0.035723 | -0.14101 | -0.035696 | 4.2561e-05 | 2.6956e-05 | 0.21376 | 0.21376 | 0.21376 | 0.9825 | -0.33504 | 0.98218 | -0.34133 | 19.5751
5 | -0.18538 | -0.046957 | 0.18554 | 0.04706 | 0.00016204 | 0.00010308 | 0.28032 | 0.28032 | 0.28032 | 0.98469 | -0.29263 | 0.98563 | -0.27445 | 25.6702
6 | 0.13156 | 0.033327 | -0.13143 | -0.033247 | 0.00012592 | 7.9626e-05 | 0.19944 | 0.19944 | 0.19944 | 0.98218 | -0.34133 | 0.98115 | -0.36127 | 18.2637
7 | -0.19715 | -0.04997 | 0.19723 | 0.050017 | 7.4818e-05 | 4.7626e-05 | 0.29784 | 0.29784 | 0.29784 | 0.98563 | -0.27445 | 0.98604 | -0.26656 | 27.275
8 | 0.13143 | 0.033247 | -0.13136 | -0.033202 | 7.0587e-05 | 4.4638e-05 | 0.19944 | 0.19944 | 0.19944 | 0.98115 | -0.36127 | 0.98058 | -0.37247 | 18.2637
9 | -0.19723 | -0.050017 | 0.19736 | 0.0501 | 0.00013026 | 8.2917e-05 | 0.29784 | 0.29784 | 0.29784 | 0.98604 | -0.26656 | 0.98675 | -0.25283 | 27.2749
10 | 0.39073 | 0.10043 | -0.38966 | -0.099744 | 0.0010736 | 0.00068611 | 0.5823 | 0.5823 | 0.5823 | 1 | 0 | 0.997 | -0.056724 | 53.3245
11 | 0.022642 | 0.0056801 | -0.022637 | -0.0056769 | 5.1543e-06 | 3.1399e-06 | 0.033694 | 0.033694 | 0.033694 | 1 | 0 | 0.99975 | -0.0047761 | 9.2567
12 | 0.38103 | 0.097582 | -0.38037 | -0.097162 | 0.00065731 | 0.00042005 | 0.56943 | 0.56943 | 0.56943 | 0.997 | -0.056724 | 0.99512 | -0.0924 | 52.1454
13 | 0.022637 | 0.0056769 | -0.02263 | -0.0056722 | 7.772e-06 | 4.7348e-06 | 0.033694 | 0.033694 | 0.033694 | 0.99975 | -0.0047761 | 0.99938 | -0.011982 | 9.2567
14 | 0.3684 | 0.094161 | -0.36748 | -0.093574 | 0.00091937 | 0.00058746 | 0.55152 | 0.55152 | 0.55152 | 0.99512 | -0.0924 | 0.99241 | -0.14414 | 50.5059
15 | 0.014122 | 0.0035399 | -0.014119 | -0.0035386 | 2.2348e-06 | 1.2537e-06 | 0.021026 | 0.021026 | 0.021026 | 0.99938 | -0.011982 | 0.9992 | -0.015304 | 5.7765
16 | 0.36256 | 0.09234 | -0.36211 | -0.092052 | 0.00045132 | 0.00028837 | 0.54414 | 0.54414 | 0.54414 | 0.99241 | -0.14414 | 0.99106 | -0.16998 | 49.8301
17 | -0.037468 | -0.0094073 | 0.037485 | 0.0094181 | 1.7134e-05 | 1.0785e-05 | 0.056693 | 0.056693 | 0.056693 | 0.98353 | -0.316 | 0.98402 | -0.30642 | 15.5751
18 | 0.037468 | 0.0094073 | -0.037439 | -0.0093888 | 2.9409e-05 | 1.8512e-05 | 0.056693 | 0.056693 | 0.056693 | 0.98353 | -0.316 | 0.98268 | -0.33247 | 15.5751
19 | -0.093724 | -0.023533 | 0.093891 | 0.023641 | 0.00016774 | 0.00010707 | 0.14174 | 0.14174 | 0.14174 | 0.98402 | -0.30642 | 0.98594 | -0.26898 | 38.9404
20 | 0.056238 | 0.014115 | -0.056207 | -0.014096 | 3.1192e-05 | 1.9817e-05 | 0.08505 | 0.08505 | 0.08505 | 0.98402 | -0.30642 | 0.98342 | -0.31806 | 23.3654
21 | 0.0275 | 0.0068979 | -0.02749 | -0.0068916 | 1.0108e-05 | 6.2724e-06 | 0.041644 | 0.041644 | 0.041644 | 0.98268 | -0.33247 | 0.98229 | -0.34019 | 11.4406
22 | 0.035369 | 0.0088784 | -0.035364 | -0.0088756 | 4.3392e-06 | 2.7282e-06 | 0.054158 | 0.054158 | 0.054158 | 0.97186 | -0.5434 | 0.97173 | -0.54597 | 14.8787
23 | -0.048855 | -0.012259 | 0.048881 | 0.012276 | 2.6584e-05 | 1.6856e-05 | 0.074807 | 0.074807 | 0.074807 | 0.97186 | -0.5434 | 0.97243 | -0.532 | 20.5514
24 | 0.013486 | 0.0033804 | -0.013485 | -0.0033795 | 1.534e-06 | 8.629e-07 | 0.020649 | 0.020649 | 0.020649 | 0.97186 | -0.5434 | 0.97174 | -0.54579 | 5.6728
25 | 0.035364 | 0.0088756 | -0.03534 | -0.0088602 | 2.4526e-05 | 1.542e-05 | 0.054158 | 0.054159 | 0.054159 | 0.97173 | -0.54597 | 0.97099 | -0.56053 | 14.8787
26 | -0.048881 | -0.012276 | 0.048903 | 0.012289 | 2.1181e-05 | 1.3431e-05 | 0.074807 | 0.074807 | 0.074807 | 0.97243 | -0.532 | 0.9729 | -0.52292 | 20.5514
27 | -0.095107 | -0.024012 | 0.095163 | 0.024047 | 5.5529e-05 | 3.5184e-05 | 0.14482 | 0.14482 | 0.14482 | 0.97766 | -0.42925 | 0.97829 | -0.41707 | 19.8925
28 | 0.095107 | 0.024012 | -0.094938 | -0.023904 | 0.0001693 | 0.00010808 | 0.14482 | 0.14482 | 0.14482 | 0.97766 | -0.42925 | 0.97576 | -0.46647 | 39.7851
29 | -0.095163 | -0.024047 | 0.095263 | 0.024111 | 0.00010034 | 6.3576e-05 | 0.14482 | 0.14482 | 0.14482 | 0.97829 | -0.41707 | 0.97941 | -0.3951 | 19.8925
30 | 0.084884 | 0.021384 | -0.084802 | -0.021332 | 8.1754e-05 | 5.2161e-05 | 0.12949 | 0.12949 | 0.12949 | 0.97576 | -0.46647 | 0.97474 | -0.48663 | 35.5731
31 | 0.11611 | 0.02938 | -0.11605 | -0.029345 | 5.4511e-05 | 3.4356e-05 | 0.17629 | 0.17629 | 0.17629 | 0.98058 | -0.37247 | 0.98007 | -0.38226 | 16.1441
32 | 0.014746 | 0.0036971 | -0.014742 | -0.0036947 | 4.1924e-06 | 2.3998e-06 | 0.022342 | 0.022342 | 0.022342 | 0.98215 | -0.34297 | 0.98184 | -0.34894 | 6.1378
33 | -0.014746 | -0.0036971 | 0.014748 | 0.0036982 | 1.9554e-06 | 1.1193e-06 | 0.022342 | 0.022341 | 0.022342 | 0.98215 | -0.34297 | 0.98229 | -0.34019 | 6.1378
34 | 0.0073566 | 0.0018438 | -0.0073561 | -0.0018436 | 4.7913e-07 | 1.7666e-07 | 0.011149 | 0.011149 | 0.011149 | 0.98184 | -0.34894 | 0.98177 | -0.3503 | 3.063
35 | -0.061606 | -0.015473 | 0.061657 | 0.015505 | 5.0577e-05 | 3.218e-05 | 0.094237 | 0.094237 | 0.094237 | 0.9729 | -0.52292 | 0.97377 | -0.50573 | 25.8892
36 | 0.23187 | 0.059087 | -0.23183 | -0.059061 | 4.1078e-05 | 2.6185e-05 | 0.34849 | 0.34849 | 0.34849 | 0.99106 | -0.16998 | 0.99087 | -0.17365 | 31.9127
37 | 0.13024 | 0.032965 | -0.1301 | -0.032879 | 0.0001346 | 8.6022e-05 | 0.19566 | 0.19566 | 0.19566 | 0.99106 | -0.16998 | 0.98994 | -0.19153 | 53.7522
38 | 0.23183 | 0.059061 | -0.23154 | -0.058876 | 0.00028919 | 0.00018435 | 0.34849 | 0.34849 | 0.34849 | 0.99087 | -0.17365 | 0.98952 | -0.19954 | 31.9127
39 | 0.0037967 | 0.0009514 | -0.0037965 | -0.00095149 | 2.1089e-07 | -8.7014e-08 | 0.0057069 | 0.005707 | 0.005707 | 0.98994 | -0.19153 | 0.98988 | -0.1927 | 1.5679
40 | 0.12631 | 0.031928 | -0.12625 | -0.031893 | 5.4151e-05 | 3.4605e-05 | 0.18995 | 0.18995 | 0.18995 | 0.98994 | -0.19153 | 0.98948 | -0.20048 | 52.1844
41 | -0.19736 | -0.0501 | 0.19751 | 0.050194 | 0.00014802 | 9.4224e-05 | 0.29784 | 0.29784 | 0.29784 | 0.98675 | -0.25283 | 0.98756 | -0.23725 | 27.2749
42 | 0.22281 | 0.056687 | -0.22266 | -0.056595 | 0.00014462 | 9.2159e-05 | 0.33535 | 0.33535 | 0.33535 | 0.98952 | -0.19954 | 0.98882 | -0.21302 | 30.71
43 | -0.21317 | -0.054121 | 0.21342 | 0.054279 | 0.00024889 | 0.00015855 | 0.32145 | 0.32145 | 0.32145 | 0.98756 | -0.23725 | 0.98882 | -0.21302 | 29.4365
44 | 0.11866 | 0.02999 | -0.11846 | -0.029864 | 0.00019768 | 0.0001263 | 0.17853 | 0.17853 | 0.17853 | 0.98948 | -0.20048 | 0.98768 | -0.23528 | 49.0473
45 | -0.10045 | -0.025411 | 0.10048 | 0.025428 | 2.7303e-05 | 1.712e-05 | 0.1527 | 0.1527 | 0.1527 | 0.97941 | -0.3951 | 0.9797 | -0.38943 | 13.9834
46 | 0.023709 | 0.0059452 | -0.023701 | -0.0059407 | 7.2995e-06 | 4.4894e-06 | 0.036334 | 0.036334 | 0.036334 | 0.97099 | -0.56053 | 0.97067 | -0.56699 | 9.9819
47 | -0.10509 | -0.026447 | 0.10526 | 0.026556 | 0.00016953 | 0.00010827 | 0.15865 | 0.15865 | 0.15865 | 0.98594 | -0.26898 | 0.98768 | -0.23528 | 43.5839
48 | 0.045988 | 0.011534 | -0.045988 | -0.011534 | 6.4232e-07 | 4.066e-07 | 0.069588 | 0.069588 | 0.069588 | 0.98342 | -0.31806 | 0.98341 | -0.31835 | 19.1176
49 | 0.0058432 | 0.0014644 | -0.0058426 | -0.0014643 | 5.9934e-07 | 1.2459e-07 | 0.0088447 | 0.0088448 | 0.0088448 | 0.98304 | -0.32551 | 0.98293 | -0.32766 | 2.4299
50 | -0.035101 | -0.0088012 | 0.035113 | 0.0088087 | 1.1968e-05 | 7.5161e-06 | 0.053134 | 0.053134 | 0.053134 | 0.98304 | -0.32551 | 0.98341 | -0.31835 | 14.5973
51 | 0.029258 | 0.0073368 | -0.029248 | -0.0073302 | 1.0516e-05 | 6.5491e-06 | 0.044289 | 0.044289 | 0.044289 | 0.98304 | -0.32551 | 0.98266 | -0.33305 | 12.1674
52 | 0.0095992 | 0.0024058 | -0.0095991 | -0.0024057 | 1.669e-07 | 8.0133e-08 | 0.014536 | 0.014536 | 0.014536 | 0.98266 | -0.33305 | 0.98264 | -0.33341 | 3.9934
53 | 0.074069 | 0.018642 | -0.074001 | -0.018599 | 6.7537e-05 | 4.3049e-05 | 0.1131 | 0.1131 | 0.1131 | 0.97474 | -0.48663 | 0.97377 | -0.50573 | 31.0716
54 | 0.1061 | 0.026852 | -0.10607 | -0.026829 | 3.6522e-05 | 2.2949e-05 | 0.16119 | 0.16119 | 0.16119 | 0.98007 | -0.38226 | 0.9797 | -0.38943 | 14.7607
55 | -0.01187 | -0.0029748 | 0.011871 | 0.0029758 | 1.8489e-06 | 9.9931e-07 | 0.018199 | 0.018199 | 0.018199 | 0.9705 | -0.57026 | 0.97067 | -0.56699 | 4.9997

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42656 | 0.109

## res_load
| p_mw | q_mvar
0 | 0.0052492 | 0.0013156
1 | 0.0069241 | 0.0017353
2 | 0.0087743 | 0.002199
3 | 0.0050131 | 0.0012564
4 | 0.018045 | 0.0045225
5 | 0.0094529 | 0.0023691
6 | 0.011608 | 0.0029092
7 | 0.011532 | 0.0028902
8 | 0.008627 | 0.0021621
9 | 0.011973 | 0.0030008
10 | 0.008508 | 0.0021323
11 | 0.0049221 | 0.0012336
12 | 0.014119 | 0.0035386
13 | 0.0099389 | 0.0024909
14 | 0.013485 | 0.0033795
15 | 0.010054 | 0.0025197
16 | 0.015253 | 0.0038227
17 | 0.0073851 | 0.0018509
18 | 0.012742 | 0.0031934
19 | 0.012704 | 0.0031838
20 | 0.0087343 | 0.002189
21 | 0.015666 | 0.0039263
22 | 0.0037965 | 0.00095149
23 | 0.0075932 | 0.001903
24 | 0.0051876 | 0.0013001
25 | 0.011631 | 0.0029151
26 | 0.011199 | 0.0028068
27 | 0.010219 | 0.002561
28 | 0.0058426 | 0.0014643
29 | 0.010874 | 0.0027254
30 | 0.019649 | 0.0049244
31 | 0.010734 | 0.0026901
32 | 0.0099498 | 0.0024937
33 | 0.0073561 | 0.0018436
34 | 0.012345 | 0.0030939
35 | 0.009241 | 0.002316
36 | 0.0132 | 0.0033082
37 | 0.005589 | 0.0014007
38 | 0.01187 | 0.0029748
39 | 0.01183 | 0.0029649
40 | 0.0095991 | 0.0024057

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1