## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-406_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-406_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-406_0_4_node_13 | 0.4 | n |  | TRUE
3 | bus_LV_261-406_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_261-406_0_4_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_261-406_0_4_node_47 | 0.4 | n |  | TRUE
6 | bus_LV_261-406_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_261-406_0_4_node_42 | 0.4 | n |  | TRUE
8 | bus_LV_261-406_0_4_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_261-406_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_261-406_0_4_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_261-406_0_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_261-406_0_4_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_261-406_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_261-406_0_4_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_261-406_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_261-406_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_261-406_0_4_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_261-406_0_4_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_261-406_0_4_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_261-406_0_4_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_261-406_0_4_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_261-406_0_4_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_261-406_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_261-406_0_4_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_261-406_0_4_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_261-406_0_4_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_261-406_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_261-406_0_4_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_261-406_0_4_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_261-406_0_4_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_261-406_0_4_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_261-406_0_4_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_261-406_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_261-406_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_261-406_0_4_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_261-406_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_261-406_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_261-406_0_4_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_261-406_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_261-406_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_261-406_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_261-406_0_4_node_22 | 0.4 | n |  | TRUE
43 | bus_MV_533_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-406_0_4_load_0 | 0 | 0.059475 | 0.014906 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-406_0_4_load_47 | 5 | 0.0075985 | 0.0019044 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-406_0_4_load_42 | 7 | 0.043528 | 0.010909 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-406_0_4_load_45 | 8 | 0.024722 | 0.006196 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-406_0_4_load_24 | 12 | 0.0067372 | 0.0016885 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-406_0_4_load_41 | 14 | 0.032133 | 0.0080533 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-406_0_4_load_36 | 17 | 0.0067826 | 0.0016999 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-406_0_4_load_26 | 18 | 0.0078918 | 0.0019779 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-406_0_4_load_30 | 19 | 0.0075583 | 0.0018943 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-406_0_4_load_35 | 20 | 0.038486 | 0.0096454 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-406_0_4_load_21 | 21 | 0.0046071 | 0.0011547 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-406_0_4_load_43 | 22 | 0.0075697 | 0.0018971 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-406_0_4_load_37 | 24 | 0.0079929 | 0.0020032 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-406_0_4_load_29 | 25 | 0.0029186 | 0.00073148 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-406_0_4_load_33 | 26 | 0.0056829 | 0.0014243 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-406_0_4_load_39 | 28 | 0.0041619 | 0.0010431 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-406_0_4_load_38 | 29 | 0.0039591 | 0.00099224 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-406_0_4_load_44 | 30 | 0.0055551 | 0.0013922 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-406_0_4_load_48 | 31 | 0.0056394 | 0.0014134 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-406_0_4_load_34 | 32 | 0.008009 | 0.0020073 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-406_0_4_load_23 | 33 | 0.0056024 | 0.0014041 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-406_0_4_load_25 | 34 | 0.0056289 | 0.0014107 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-406_0_4_load_40 | 35 | 0.02329 | 0.005837 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-406_0_4_load_31 | 36 | 0.0050979 | 0.0012776 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-406_0_4_load_20 | 37 | 0.0056409 | 0.0014137 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-406_0_4_load_46 | 38 | 0.0052705 | 0.0013209 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-406_0_4_load_32 | 39 | 0.0065649 | 0.0016453 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-406_0_4_load_27 | 40 | 0.0093829 | 0.0023516 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-406_0_4_load_28 | 41 | 0.003047 | 0.00076364 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-406_0_4_load_22 | 42 | 0.0055795 | 0.0013984 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-406_0_4_line_0 |  | 0 | 1 | 0.033899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-406_0_4_line_1 |  | 1 | 2 | 0.015813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-406_0_4_line_2 |  | 2 | 21 | 0.0087377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-406_0_4_line_3 |  | 2 | 22 | 0.011395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-406_0_4_line_4 |  | 3 | 4 | 0.00232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-406_0_4_line_5 |  | 3 | 5 | 0.0091799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-406_0_4_line_6 |  | 4 | 23 | 0.0091021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-406_0_4_line_7 |  | 4 | 24 | 0.022251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-406_0_4_line_8 |  | 5 | 31 | 0.01473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-406_0_4_line_9 |  | 6 | 7 | 0.0076182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-406_0_4_line_10 |  | 6 | 8 | 0.020679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-406_0_4_line_11 |  | 7 | 13 | 0.012552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_261-406_0_4_line_12 |  | 8 | 33 | 0.014199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-406_0_4_line_13 |  | 9 | 10 | 0.002439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-406_0_4_line_14 |  | 9 | 11 | 0.010046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-406_0_4_line_15 |  | 9 | 12 | 0.0054494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-406_0_4_line_16 |  | 10 | 27 | 0.0094536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-406_0_4_line_17 |  | 11 | 20 | 0.012731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-406_0_4_line_18 |  | 12 | 34 | 0.011027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-406_0_4_line_19 |  | 13 | 14 | 0.021735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_261-406_0_4_line_20 |  | 14 | 35 | 0.013847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_261-406_0_4_line_21 |  | 15 | 16 | 0.0097071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-406_0_4_line_22 |  | 15 | 17 | 0.020044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-406_0_4_line_23 |  | 16 | 18 | 0.0081354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-406_0_4_line_24 |  | 16 | 19 | 0.021014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-406_0_4_line_25 |  | 18 | 34 | 0.019844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-406_0_4_line_26 |  | 19 | 36 | 0.012467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-406_0_4_line_27 |  | 21 | 37 | 0.013938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-406_0_4_line_28 |  | 23 | 25 | 0.0064286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-406_0_4_line_29 |  | 23 | 26 | 0.010526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-406_0_4_line_30 |  | 24 | 29 | 0.014536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-406_0_4_line_31 |  | 25 | 40 | 0.0049851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-406_0_4_line_32 |  | 26 | 32 | 0.0030232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-406_0_4_line_33 |  | 27 | 28 | 0.0077576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_261-406_0_4_line_34 |  | 27 | 29 | 0.0033872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-406_0_4_line_35 |  | 28 | 35 | 0.011254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_261-406_0_4_line_36 |  | 30 | 31 | 0.013845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-406_0_4_line_37 |  | 33 | 42 | 0.015309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-406_0_4_line_38 |  | 36 | 39 | 0.012582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-406_0_4_line_39 |  | 37 | 42 | 0.015328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-406_0_4_line_40 |  | 38 | 39 | 0.013526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-406_0_4_line_41 |  | 40 | 41 | 0.0030092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-406_0_4_trafo_39 | 0.63 MVA 20/0.4 kV | 43 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2681451.6778 | 1247537.8474 | 2681450.6025 | 1247542.9919 | 2681446.0998 | 1247545.254 | 2681430.4602 | 1247562.9337
1 | 2681451.6778 | 1247537.8474 | 2681460.7971 | 1247539.8741 | 2681467.1152 | 1247541.273
2 | 2681467.1152 | 1247541.273 | 2681465.2763 | 1247549.8151
3 | 2681467.1152 | 1247541.273 | 2681467.7464 | 1247538.2128 | 2681468.4711 | 1247536.0434 | 2681469.7202 | 1247533.6477 | 2681471.8746 | 1247531.1724
4 | 2681527.3161 | 1247564.8509 | 2681527.1493 | 1247565.9939 | 2681526.6664 | 1247567.0547
5 | 2681527.3161 | 1247564.8509 | 2681527.0065 | 1247563.201 | 2681526.0739 | 1247561.8094 | 2681521.6598 | 1247558.007
6 | 2681526.6664 | 1247567.0547 | 2681529.9538 | 1247569.6796 | 2681533.7791 | 1247572.7344
7 | 2681526.6664 | 1247567.0547 | 2681512.1313 | 1247583.9016
8 | 2681521.6598 | 1247558.007 | 2681510.4993 | 1247548.3931
9 | 2681449.0478 | 1247627.5325 | 2681449.8476 | 1247629.2447 | 2681454.1765 | 1247632.9963
10 | 2681449.0478 | 1247627.5325 | 2681448.9771 | 1247625.5301 | 2681452.9073 | 1247607.2732
11 | 2681464.5388 | 1247638.5756 | 2681462.9086 | 1247639.0313 | 2681461.6337 | 1247638.9137 | 2681460.4469 | 1247638.4304 | 2681454.1765 | 1247632.9963
12 | 2681455.8955 | 1247593.3921 | 2681452.9073 | 1247607.2732
13 | 2681507.7983 | 1247606.035 | 2681507.5352 | 1247604.2968 | 2681507.6049 | 1247603.6195
14 | 2681501.1684 | 1247613.5828 | 2681504.8286 | 1247609.4189 | 2681507.7983 | 1247606.035
15 | 2681507.7983 | 1247606.035 | 2681508.7753 | 1247607.494 | 2681511.5459 | 1247609.9366
16 | 2681500.4232 | 1247597.4718 | 2681504.126 | 1247600.6473 | 2681507.6049 | 1247603.6195
17 | 2681501.1684 | 1247613.5828 | 2681500.0087 | 1247613.3333 | 2681498.5997 | 1247613.6253 | 2681497.4621 | 1247614.5103 | 2681491.8269 | 1247621.092
18 | 2681519.8176 | 1247617.2292 | 2681511.5459 | 1247609.9366
19 | 2681464.5388 | 1247638.5756 | 2681465.8675 | 1247637.5264 | 2681478.9592 | 1247622.3514
20 | 2681488.0046 | 1247611.8667 | 2681478.9592 | 1247622.3514
21 | 2681534.1893 | 1247642.8359 | 2681537.3786 | 1247639.4106 | 2681540.8055 | 1247635.7328
22 | 2681534.1893 | 1247642.8359 | 2681519.2364 | 1247629.488
23 | 2681540.8055 | 1247635.7328 | 2681534.7031 | 1247630.3527
24 | 2681540.8055 | 1247635.7328 | 2681555.4778 | 1247620.6892
25 | 2681534.7031 | 1247630.3527 | 2681519.8176 | 1247617.2292
26 | 2681564.1824 | 1247611.7644 | 2681555.4778 | 1247620.6892
27 | 2681462.343 | 1247563.441 | 2681465.2763 | 1247549.8151
28 | 2681533.7791 | 1247572.7344 | 2681529.5746 | 1247577.5974
29 | 2681533.7791 | 1247572.7344 | 2681540.6603 | 1247564.7697
30 | 2681512.1313 | 1247583.9016 | 2681502.6359 | 1247594.9072
31 | 2681529.5746 | 1247577.5974 | 2681526.3141 | 1247581.3684
32 | 2681542.6367 | 1247562.482 | 2681540.6603 | 1247564.7697
33 | 2681500.4232 | 1247597.4718 | 2681495.3557 | 1247603.3457
34 | 2681500.4232 | 1247597.4718 | 2681502.6359 | 1247594.9072
35 | 2681495.3557 | 1247603.3457 | 2681488.0046 | 1247611.8667
36 | 2681510.4993 | 1247548.3931 | 2681500.0099 | 1247539.3574
37 | 2681459.1172 | 1247578.4261 | 2681455.8955 | 1247593.3921
38 | 2681564.1824 | 1247611.7644 | 2681572.9671 | 1247602.7574
39 | 2681462.343 | 1247563.441 | 2681459.1172 | 1247578.4261
40 | 2681582.4318 | 1247593.0941 | 2681581.1812 | 1247594.3355 | 2681572.9671 | 1247602.7574
41 | 2681526.3141 | 1247581.3684 | 2681524.346 | 1247583.6448

## bus_geodata
| x | y | coords
0 | 2681430.4602 | 1247562.9337
1 | 2681451.6778 | 1247537.8474
2 | 2681467.1152 | 1247541.273
3 | 2681527.3161 | 1247564.8509
4 | 2681526.6664 | 1247567.0547
5 | 2681521.6598 | 1247558.007
6 | 2681449.0478 | 1247627.5325
7 | 2681454.1765 | 1247632.9963
8 | 2681452.9073 | 1247607.2732
9 | 2681507.7983 | 1247606.035
10 | 2681507.6049 | 1247603.6195
11 | 2681501.1684 | 1247613.5828
12 | 2681511.5459 | 1247609.9366
13 | 2681464.5388 | 1247638.5756
14 | 2681478.9592 | 1247622.3514
15 | 2681534.1893 | 1247642.8359
16 | 2681540.8055 | 1247635.7328
17 | 2681519.2364 | 1247629.488
18 | 2681534.7031 | 1247630.3527
19 | 2681555.4778 | 1247620.6892
20 | 2681491.8269 | 1247621.092
21 | 2681465.2763 | 1247549.8151
22 | 2681471.8746 | 1247531.1724
23 | 2681533.7791 | 1247572.7344
24 | 2681512.1313 | 1247583.9016
25 | 2681529.5746 | 1247577.5974
26 | 2681540.6603 | 1247564.7697
27 | 2681500.4232 | 1247597.4718
28 | 2681495.3557 | 1247603.3457
29 | 2681502.6359 | 1247594.9072
30 | 2681500.0099 | 1247539.3574
31 | 2681510.4993 | 1247548.3931
32 | 2681542.6367 | 1247562.482
33 | 2681455.8955 | 1247593.3921
34 | 2681519.8176 | 1247617.2292
35 | 2681488.0046 | 1247611.8667
36 | 2681564.1824 | 1247611.7644
37 | 2681462.343 | 1247563.441
38 | 2681582.4318 | 1247593.0941
39 | 2681572.9671 | 1247602.7574
40 | 2681526.3141 | 1247581.3684
41 | 2681524.346 | 1247583.6448
42 | 2681459.1172 | 1247578.4261
43 | 2681500.4232 | 1247597.4718

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98471 | -0.29457 | 0.059475 | 0.014906
1 | 0.98657 | -0.2584 | 0 | 0
2 | 0.98743 | -0.24157 | 0 | 0
3 | 0.99754 | -0.04723 | 0 | 0
4 | 0.99758 | -0.046466 | 0 | 0
5 | 0.99739 | -0.050252 | 0.0075985 | 0.0019044
6 | 0.99446 | -0.10605 | 0 | 0
7 | 0.99525 | -0.090861 | 0.043528 | 0.010909
8 | 0.9923 | -0.14739 | 0.024722 | 0.006196
9 | 0.9985 | -0.028832 | 0 | 0
10 | 0.9987 | -0.024994 | 0 | 0
11 | 0.99815 | -0.035593 | 0 | 0
12 | 0.99824 | -0.033743 | 0.0067372 | 0.0016885
13 | 0.99615 | -0.073568 | 0 | 0
14 | 0.99771 | -0.043698 | 0.032133 | 0.0080533
15 | 0.99679 | -0.061622 | 0 | 0
16 | 0.99685 | -0.060467 | 0 | 0
17 | 0.99667 | -0.064007 | 0.0067826 | 0.0016999
18 | 0.99709 | -0.056005 | 0.0078918 | 0.0019779
19 | 0.99639 | -0.069498 | 0.0075583 | 0.0018943
20 | 0.9977 | -0.044168 | 0.038486 | 0.0096454
21 | 0.98797 | -0.2311 | 0.0046071 | 0.0011547
22 | 0.98735 | -0.24311 | 0.0075697 | 0.0018971
23 | 0.99734 | -0.051097 | 0 | 0
24 | 0.99855 | -0.027843 | 0.0079929 | 0.0020032
25 | 0.99725 | -0.052826 | 0.0029186 | 0.00073148
26 | 0.99721 | -0.053623 | 0.0056829 | 0.0014243
27 | 0.99947 | -0.010134 | 0 | 0
28 | 1 | 0 | -0.36557 | -0.091963
29 | 0.99929 | -0.013668 | 0.0039591 | 0.00099224
30 | 0.99717 | -0.05449 | 0.0055551 | 0.0013922
31 | 0.99724 | -0.053142 | 0.0056394 | 0.0014134
32 | 0.99719 | -0.054047 | 0.008009 | 0.0020073
33 | 0.99115 | -0.16966 | 0.0056024 | 0.0014041
34 | 0.99779 | -0.042387 | 0.0056289 | 0.0014107
35 | 0.99891 | -0.02083 | 0.02329 | 0.005837
36 | 0.99619 | -0.073206 | 0.0050979 | 0.0012776
37 | 0.98889 | -0.21329 | 0.0056409 | 0.0014137
38 | 0.99599 | -0.077074 | 0.0052705 | 0.0013209
39 | 0.99606 | -0.075821 | 0.0065649 | 0.0016453
40 | 0.9972 | -0.053912 | 0.0093829 | 0.0023516
41 | 0.99719 | -0.054073 | 0.003047 | 0.00076364
42 | 0.98998 | -0.19219 | 0.0055795 | 0.0013984
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.059475 | -0.014906 | 0.059578 | 0.014971 | 0.00010268 | 6.5283e-05 | 0.089874 | 0.089874 | 0.089874 | 0.98471 | -0.29457 | 0.98657 | -0.2584 | 24.6906
1 | -0.059578 | -0.014971 | 0.059625 | 0.015002 | 4.7897e-05 | 3.0452e-05 | 0.089874 | 0.089873 | 0.089874 | 0.98657 | -0.2584 | 0.98743 | -0.24157 | 24.6905
2 | -0.067196 | -0.016899 | 0.067229 | 0.01692 | 3.3612e-05 | 2.14e-05 | 0.10128 | 0.10128 | 0.10128 | 0.98743 | -0.24157 | 0.98797 | -0.2311 | 27.8246
3 | 0.0075703 | 0.0018974 | -0.0075697 | -0.0018971 | 5.5613e-07 | 2.1017e-07 | 0.011408 | 0.011408 | 0.011408 | 0.98743 | -0.24157 | 0.98735 | -0.24311 | 3.1341
4 | -0.018798 | -0.0047124 | 0.018798 | 0.0047128 | 6.8405e-07 | 4.0751e-07 | 0.02804 | 0.02804 | 0.02804 | 0.99754 | -0.04723 | 0.99758 | -0.046466 | 7.7034
5 | 0.018798 | 0.0047124 | -0.018795 | -0.0047108 | 2.7067e-06 | 1.6125e-06 | 0.02804 | 0.028041 | 0.028041 | 0.99754 | -0.04723 | 0.99739 | -0.050252 | 7.7034
6 | 0.029051 | 0.0072842 | -0.029044 | -0.0072803 | 6.4096e-06 | 3.9833e-06 | 0.043334 | 0.043334 | 0.043334 | 0.99758 | -0.046466 | 0.99734 | -0.051097 | 11.9049
7 | -0.047849 | -0.011997 | 0.047891 | 0.012024 | 4.2506e-05 | 2.6913e-05 | 0.071374 | 0.071374 | 0.071374 | 0.99758 | -0.046466 | 0.99855 | -0.027843 | 19.6083
8 | 0.011196 | 0.0028065 | -0.011195 | -0.0028057 | 1.5413e-06 | 7.9425e-07 | 0.016704 | 0.016704 | 0.016704 | 0.99739 | -0.050252 | 0.99724 | -0.053142 | 4.5891
9 | -0.11393 | -0.028838 | 0.11401 | 0.028891 | 8.3124e-05 | 5.3101e-05 | 0.17058 | 0.17058 | 0.17058 | 0.99446 | -0.10605 | 0.99525 | -0.090861 | 46.8621
10 | 0.11393 | 0.028838 | -0.11371 | -0.028694 | 0.00022563 | 0.00014414 | 0.17058 | 0.17058 | 0.17058 | 0.99446 | -0.10605 | 0.9923 | -0.14739 | 46.8621
11 | -0.15754 | -0.0398 | 0.15767 | 0.039884 | 0.0001307 | 8.3321e-05 | 0.23566 | 0.23566 | 0.23566 | 0.99525 | -0.090861 | 0.99615 | -0.073568 | 32.3706
12 | 0.088984 | 0.022498 | -0.088889 | -0.022437 | 9.4905e-05 | 6.0556e-05 | 0.13351 | 0.13351 | 0.13351 | 0.9923 | -0.14739 | 0.99115 | -0.16966 | 36.6774
13 | -0.090125 | -0.022627 | 0.090142 | 0.022638 | 1.6502e-05 | 1.053e-05 | 0.13432 | 0.13432 | 0.13432 | 0.9985 | -0.028832 | 0.9987 | -0.024994 | 36.902
14 | 0.038514 | 0.0096631 | -0.038501 | -0.0096553 | 1.2412e-05 | 7.8122e-06 | 0.057399 | 0.057399 | 0.057399 | 0.9985 | -0.028832 | 0.99815 | -0.035593 | 15.769
15 | 0.051611 | 0.012964 | -0.051599 | -0.012956 | 1.2092e-05 | 7.6678e-06 | 0.076924 | 0.076924 | 0.076924 | 0.9985 | -0.028832 | 0.99824 | -0.033743 | 21.133
16 | -0.090142 | -0.022638 | 0.090206 | 0.022679 | 6.3963e-05 | 4.0813e-05 | 0.13432 | 0.13432 | 0.13432 | 0.9987 | -0.024994 | 0.99947 | -0.010134 | 36.902
17 | 0.038501 | 0.0096553 | -0.038486 | -0.0096454 | 1.5729e-05 | 9.9003e-06 | 0.057399 | 0.057399 | 0.057399 | 0.99815 | -0.035593 | 0.9977 | -0.044168 | 15.769
18 | 0.044862 | 0.011268 | -0.044843 | -0.011256 | 1.8498e-05 | 1.1694e-05 | 0.066881 | 0.066881 | 0.066881 | 0.99824 | -0.033743 | 0.99779 | -0.042387 | 18.374
19 | -0.15767 | -0.039884 | 0.1579 | 0.040028 | 0.00022632 | 0.00014428 | 0.23566 | 0.23566 | 0.23566 | 0.99615 | -0.073568 | 0.99771 | -0.043698 | 32.3705
20 | -0.19003 | -0.048081 | 0.19024 | 0.048215 | 0.0002088 | 0.00013327 | 0.28358 | 0.28358 | 0.28358 | 0.99771 | -0.043698 | 0.99891 | -0.02083 | 38.9535
21 | -0.0067834 | -0.0017001 | 0.0067837 | 0.0017002 | 3.7326e-07 | 1.1234e-07 | 0.010126 | 0.010126 | 0.010126 | 0.99679 | -0.061622 | 0.99685 | -0.060467 | 2.7819
22 | 0.0067834 | 0.0017001 | -0.0067826 | -0.0016999 | 7.7074e-07 | 2.3203e-07 | 0.010126 | 0.010126 | 0.010126 | 0.99679 | -0.061622 | 0.99667 | -0.064007 | 2.782
23 | -0.031291 | -0.0078474 | 0.031297 | 0.0078516 | 6.6562e-06 | 4.1539e-06 | 0.04671 | 0.04671 | 0.04671 | 0.99685 | -0.060467 | 0.99709 | -0.056005 | 12.8324
24 | 0.024507 | 0.0061472 | -0.024496 | -0.0061407 | 1.0547e-05 | 6.476e-06 | 0.036584 | 0.036584 | 0.036584 | 0.99685 | -0.060467 | 0.99639 | -0.069498 | 10.0505
25 | -0.039189 | -0.0098294 | 0.039215 | 0.0098455 | 2.5456e-05 | 1.6033e-05 | 0.058487 | 0.058487 | 0.058487 | 0.99709 | -0.056005 | 0.99779 | -0.042387 | 16.0679
26 | 0.016938 | 0.0042464 | -0.016935 | -0.0042447 | 2.9915e-06 | 1.7522e-06 | 0.025296 | 0.025296 | 0.025296 | 0.99639 | -0.069498 | 0.99619 | -0.073206 | 6.9495
27 | -0.071836 | -0.018075 | 0.071898 | 0.018114 | 6.1214e-05 | 3.8999e-05 | 0.10822 | 0.10822 | 0.10822 | 0.98797 | -0.2311 | 0.98889 | -0.21329 | 29.7309
28 | 0.01535 | 0.0038477 | -0.015349 | -0.003847 | 1.2645e-06 | 7.2541e-07 | 0.022903 | 0.022903 | 0.022903 | 0.99734 | -0.051097 | 0.99725 | -0.052826 | 6.292
29 | 0.013694 | 0.0034325 | -0.013692 | -0.0034316 | 1.6476e-06 | 9.1714e-07 | 0.020431 | 0.020431 | 0.020431 | 0.99734 | -0.051097 | 0.99721 | -0.053623 | 5.6129
30 | -0.055884 | -0.014027 | 0.055922 | 0.014051 | 3.781e-05 | 2.4008e-05 | 0.083285 | 0.083285 | 0.083285 | 0.99855 | -0.027843 | 0.99929 | -0.013668 | 22.8805
31 | 0.012431 | 0.0031155 | -0.01243 | -0.0031152 | 6.4312e-07 | 3.4656e-07 | 0.018548 | 0.018548 | 0.018548 | 0.99725 | -0.052826 | 0.9972 | -0.053912 | 5.0956
32 | 0.0080092 | 0.0020073 | -0.008009 | -0.0020073 | 1.6193e-07 | 6.4194e-08 | 0.011951 | 0.011951 | 0.011951 | 0.99721 | -0.053623 | 0.99719 | -0.054047 | 3.2833
33 | -0.1501 | -0.037728 | 0.15017 | 0.037775 | 7.2661e-05 | 4.6299e-05 | 0.2235 | 0.2235 | 0.2235 | 0.99947 | -0.010134 | 1 | 0 | 30.701
34 | 0.059891 | 0.01505 | -0.059881 | -0.015043 | 1.0102e-05 | 6.421e-06 | 0.08918 | 0.08918 | 0.08918 | 0.99947 | -0.010134 | 0.99929 | -0.013668 | 24.5001
35 | 0.21375 | 0.054188 | -0.21353 | -0.054052 | 0.00021375 | 0.0001365 | 0.31827 | 0.31828 | 0.31828 | 1 | 0 | 0.99891 | -0.02083 | 43.7191
36 | -0.0055551 | -0.0013922 | 0.0055555 | 0.0013923 | 3.5676e-07 | 4.7709e-08 | 0.0082896 | 0.0082895 | 0.0082896 | 0.99717 | -0.05449 | 0.99724 | -0.053142 | 2.2774
37 | 0.083286 | 0.021033 | -0.083196 | -0.020976 | 8.9836e-05 | 5.7298e-05 | 0.12509 | 0.12509 | 0.12509 | 0.99115 | -0.16966 | 0.98998 | -0.19219 | 34.3667
38 | 0.011837 | 0.0029671 | -0.011836 | -0.0029663 | 1.475e-06 | 7.8024e-07 | 0.017681 | 0.017681 | 0.017681 | 0.99619 | -0.073206 | 0.99606 | -0.075821 | 4.8576
39 | -0.077539 | -0.019528 | 0.077617 | 0.019578 | 7.8295e-05 | 4.9912e-05 | 0.11671 | 0.11671 | 0.11671 | 0.98889 | -0.21329 | 0.98998 | -0.19219 | 32.0627
40 | -0.0052705 | -0.0013209 | 0.0052709 | 0.0013209 | 3.145e-07 | 2.5232e-08 | 0.0078742 | 0.0078741 | 0.0078742 | 0.99599 | -0.077074 | 0.99606 | -0.075821 | 2.1632
41 | 0.003047 | 0.00076362 | -0.003047 | -0.00076364 | 2.3328e-08 | -2.4327e-08 | 0.0045467 | 0.0045467 | 0.0045467 | 0.9972 | -0.053912 | 0.99719 | -0.054073 | 1.2491

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36973 | 0.093006

## res_load
| p_mw | q_mvar
0 | 0.059475 | 0.014906
1 | 0.0075985 | 0.0019044
2 | 0.043528 | 0.010909
3 | 0.024722 | 0.006196
4 | 0.0067372 | 0.0016885
5 | 0.032133 | 0.0080533
6 | 0.0067826 | 0.0016999
7 | 0.0078918 | 0.0019779
8 | 0.0075583 | 0.0018943
9 | 0.038486 | 0.0096454
10 | 0.0046071 | 0.0011547
11 | 0.0075697 | 0.0018971
12 | 0.0079929 | 0.0020032
13 | 0.0029186 | 0.00073148
14 | 0.0056829 | 0.0014243
15 | 0.0041619 | 0.0010431
16 | 0.0039591 | 0.00099224
17 | 0.0055551 | 0.0013922
18 | 0.0056394 | 0.0014134
19 | 0.008009 | 0.0020073
20 | 0.0056024 | 0.0014041
21 | 0.0056289 | 0.0014107
22 | 0.02329 | 0.005837
23 | 0.0050979 | 0.0012776
24 | 0.0056409 | 0.0014137
25 | 0.0052705 | 0.0013209
26 | 0.0065649 | 0.0016453
27 | 0.0093829 | 0.0023516
28 | 0.003047 | 0.00076364
29 | 0.0055795 | 0.0013984

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1