## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-40_1_1_node_3 | 0.4 | n |  | TRUE
1 | bus_LV_261-40_1_1_node_128 | 0.4 | n |  | TRUE
2 | bus_LV_261-40_1_1_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_261-40_1_1_node_123 | 0.4 | n |  | TRUE
4 | bus_LV_261-40_1_1_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_261-40_1_1_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_261-40_1_1_node_226 | 0.4 | n |  | TRUE
7 | bus_LV_261-40_1_1_node_227 | 0.4 | n |  | TRUE
8 | bus_LV_261-40_1_1_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_261-40_1_1_node_92 | 0.4 | n |  | TRUE
10 | bus_LV_261-40_1_1_node_89 | 0.4 | n |  | TRUE
11 | bus_LV_261-40_1_1_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_261-40_1_1_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_261-40_1_1_node_97 | 0.4 | n |  | TRUE
14 | bus_LV_261-40_1_1_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_261-40_1_1_node_224 | 0.4 | n |  | TRUE
16 | bus_LV_261-40_1_1_node_221 | 0.4 | n |  | TRUE
17 | bus_LV_261-40_1_1_node_116 | 0.4 | n |  | TRUE
18 | bus_LV_261-40_1_1_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_261-40_1_1_node_228 | 0.4 | n |  | TRUE
20 | bus_LV_261-40_1_1_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_261-40_1_1_node_214 | 0.4 | n |  | TRUE
22 | bus_LV_261-40_1_1_node_212 | 0.4 | n |  | TRUE
23 | bus_LV_261-40_1_1_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_261-40_1_1_node_86 | 0.4 | n |  | TRUE
25 | bus_LV_261-40_1_1_node_104 | 0.4 | n |  | TRUE
26 | bus_LV_261-40_1_1_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_261-40_1_1_node_100 | 0.4 | n |  | TRUE
28 | bus_LV_261-40_1_1_node_87 | 0.4 | n |  | TRUE
29 | bus_LV_261-40_1_1_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_261-40_1_1_node_82 | 0.4 | n |  | TRUE
31 | bus_LV_261-40_1_1_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_261-40_1_1_node_73 | 0.4 | n |  | TRUE
33 | bus_LV_261-40_1_1_node_74 | 0.4 | n |  | TRUE
34 | bus_LV_261-40_1_1_node_78 | 0.4 | n |  | TRUE
35 | bus_LV_261-40_1_1_node_79 | 0.4 | n |  | TRUE
36 | bus_LV_261-40_1_1_node_80 | 0.4 | n |  | TRUE
37 | bus_LV_261-40_1_1_node_83 | 0.4 | n |  | TRUE
38 | bus_LV_261-40_1_1_node_84 | 0.4 | n |  | TRUE
39 | bus_LV_261-40_1_1_node_85 | 0.4 | n |  | TRUE
40 | bus_LV_261-40_1_1_node_91 | 0.4 | n |  | TRUE
41 | bus_LV_261-40_1_1_node_88 | 0.4 | n |  | TRUE
42 | bus_LV_261-40_1_1_node_90 | 0.4 | n |  | TRUE
43 | bus_LV_261-40_1_1_node_96 | 0.4 | n |  | TRUE
44 | bus_LV_261-40_1_1_node_93 | 0.4 | n |  | TRUE
45 | bus_LV_261-40_1_1_node_94 | 0.4 | n |  | TRUE
46 | bus_LV_261-40_1_1_node_95 | 0.4 | n |  | TRUE
47 | bus_LV_261-40_1_1_node_98 | 0.4 | n |  | TRUE
48 | bus_LV_261-40_1_1_node_120 | 0.4 | n |  | TRUE
49 | bus_LV_261-40_1_1_node_117 | 0.4 | n |  | TRUE
50 | bus_LV_261-40_1_1_node_99 | 0.4 | n |  | TRUE
51 | bus_LV_261-40_1_1_node_101 | 0.4 | n |  | TRUE
52 | bus_LV_261-40_1_1_node_102 | 0.4 | n |  | TRUE
53 | bus_LV_261-40_1_1_node_213 | 0.4 | n |  | TRUE
54 | bus_LV_261-40_1_1_node_106 | 0.4 | n |  | TRUE
55 | bus_LV_261-40_1_1_node_118 | 0.4 | n |  | TRUE
56 | bus_LV_261-40_1_1_node_119 | 0.4 | n |  | TRUE
57 | bus_LV_261-40_1_1_node_121 | 0.4 | n |  | TRUE
58 | bus_LV_261-40_1_1_node_122 | 0.4 | n |  | TRUE
59 | bus_LV_261-40_1_1_node_203 | 0.4 | n |  | TRUE
60 | bus_LV_261-40_1_1_node_124 | 0.4 | n |  | TRUE
61 | bus_LV_261-40_1_1_node_125 | 0.4 | n |  | TRUE
62 | bus_LV_261-40_1_1_node_126 | 0.4 | n |  | TRUE
63 | bus_LV_261-40_1_1_node_205 | 0.4 | n |  | TRUE
64 | bus_LV_261-40_1_1_node_204 | 0.4 | n |  | TRUE
65 | bus_LV_261-40_1_1_node_206 | 0.4 | n |  | TRUE
66 | bus_LV_261-40_1_1_node_215 | 0.4 | n |  | TRUE
67 | bus_LV_261-40_1_1_node_216 | 0.4 | n |  | TRUE
68 | bus_LV_261-40_1_1_node_218 | 0.4 | n |  | TRUE
69 | bus_LV_261-40_1_1_node_219 | 0.4 | n |  | TRUE
70 | bus_LV_261-40_1_1_node_217 | 0.4 | n |  | TRUE
71 | bus_LV_261-40_1_1_node_220 | 0.4 | n |  | TRUE
72 | bus_LV_261-40_1_1_node_236 | 0.4 | n |  | TRUE
73 | bus_LV_261-40_1_1_node_232 | 0.4 | n |  | TRUE
74 | bus_LV_261-40_1_1_node_231 | 0.4 | n |  | TRUE
75 | bus_LV_261-40_1_1_node_222 | 0.4 | n |  | TRUE
76 | bus_LV_261-40_1_1_node_223 | 0.4 | n |  | TRUE
77 | bus_LV_261-40_1_1_node_225 | 0.4 | n |  | TRUE
78 | bus_LV_261-40_1_1_node_233 | 0.4 | n |  | TRUE
79 | bus_MV_0_node_215 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-40_1_1_load_128 | 1 | 0.0015727 | 0.00039415 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-40_1_1_load_123 | 3 | 0.0025454 | 0.00063793 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-40_1_1_load_226 | 6 | 0.0003421 | 8.5739e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-40_1_1_load_92 | 9 | 0.00040054 | 0.00010039 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-40_1_1_load_97 | 13 | 0.00047558 | 0.00011919 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-40_1_1_load_224 | 15 | 0.00052994 | 0.00013282 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-40_1_1_load_221 | 16 | 0.00032621 | 8.1757e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-40_1_1_load_228 | 19 | 0.00029348 | 7.3552e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-40_1_1_load_212 | 22 | 0.00021346 | 5.3498e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-40_1_1_load_86 | 24 | 0.0011218 | 0.00028115 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-40_1_1_load_87 | 28 | 0.00024567 | 6.1571e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-40_1_1_load_82 | 30 | 0.00024555 | 6.1541e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-40_1_1_load_73 | 32 | 0.00025829 | 6.4734e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-40_1_1_load_74 | 33 | 0.00028411 | 7.1205e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-40_1_1_load_78 | 34 | 0.0025716 | 0.0006445 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-40_1_1_load_79 | 35 | 0.00018842 | 4.7222e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-40_1_1_load_80 | 36 | 0.00037764 | 9.4644e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-40_1_1_load_91 | 40 | 0.00056085 | 0.00014056 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-40_1_1_load_88 | 41 | 0.00054535 | 0.00013668 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-40_1_1_load_90 | 42 | 0.0012298 | 0.00030822 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-40_1_1_load_93 | 44 | 0.00028605 | 7.169e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-40_1_1_load_94 | 45 | 0.00044633 | 0.00011186 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-40_1_1_load_95 | 46 | 0.00028864 | 7.2339e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-40_1_1_load_120 | 48 | 0.0002117 | 5.3058e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-40_1_1_load_117 | 49 | 0.0013317 | 0.00033375 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-40_1_1_load_99 | 50 | 0.00069775 | 0.00017487 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-40_1_1_load_101 | 51 | 0.0010431 | 0.00026143 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-40_1_1_load_106 | 54 | 0.00087387 | 0.00021901 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-40_1_1_load_118 | 55 | 0.00025483 | 6.3867e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-40_1_1_load_119 | 56 | 0.00042538 | 0.00010661 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-40_1_1_load_121 | 57 | 0.00059232 | 0.00014845 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-40_1_1_load_122 | 58 | 0.00022039 | 5.5235e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-40_1_1_load_203 | 59 | 0.0023308 | 0.00058415 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-40_1_1_load_124 | 60 | 0.00049078 | 0.000123 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-40_1_1_load_126 | 62 | 0.0012548 | 0.00031449 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-40_1_1_load_205 | 63 | 0.00041409 | 0.00010378 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-40_1_1_load_204 | 64 | 0.00094901 | 0.00023784 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-40_1_1_load_206 | 65 | 0.00074434 | 0.00018655 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-40_1_1_load_215 | 66 | 0.023055 | 0.0057781 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-40_1_1_load_218 | 68 | 0.00019061 | 4.7771e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-40_1_1_load_219 | 69 | 0.00031059 | 7.784e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-40_1_1_load_220 | 71 | 0.0024914 | 0.0006244 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-40_1_1_load_236 | 72 | 0.0087194 | 0.0021853 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-40_1_1_load_232 | 73 | 0.00029694 | 7.442e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-40_1_1_load_231 | 74 | 0.00021874 | 5.4822e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-40_1_1_load_222 | 75 | 0.00036826 | 9.2294e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-40_1_1_load_223 | 76 | 0.00021464 | 5.3795e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-40_1_1_load_233 | 78 | 0.00018628 | 4.6686e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-40_1_1_line_0 |  | 0 | 1 | 0.046464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-40_1_1_line_1 |  | 0 | 2 | 0.020426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-40_1_1_line_2 |  | 1 | 64 | 0.008417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-40_1_1_line_3 |  | 2 | 3 | 0.024105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-40_1_1_line_4 |  | 3 | 60 | 0.023606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-40_1_1_line_5 |  | 4 | 5 | 0.098479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-40_1_1_line_6 |  | 4 | 6 | 0.04064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-40_1_1_line_7 |  | 4 | 7 | 0.036904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-40_1_1_line_8 |  | 5 | 15 | 0.010931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-40_1_1_line_9 |  | 7 | 18 | 0.052879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-40_1_1_line_10 |  | 8 | 9 | 0.019848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-40_1_1_line_11 |  | 8 | 10 | 0.021568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-40_1_1_line_12 |  | 9 | 43 | 0.048472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-40_1_1_line_13 |  | 10 | 40 | 0.013864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-40_1_1_line_14 |  | 10 | 41 | 0.01035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-40_1_1_line_15 |  | 11 | 12 | 0.010888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-40_1_1_line_16 |  | 11 | 13 | 0.0065145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-40_1_1_line_17 |  | 12 | 17 | 0.022365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-40_1_1_line_18 |  | 13 | 46 | 0.010053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-40_1_1_line_19 |  | 14 | 15 | 0.012247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-40_1_1_line_20 |  | 14 | 16 | 0.0027915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-40_1_1_line_21 |  | 16 | 75 | 0.0050043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-40_1_1_line_22 |  | 17 | 33 | 0.020431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-40_1_1_line_23 |  | 18 | 19 | 0.073296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-40_1_1_line_24 |  | 20 | 21 | 0.033081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-40_1_1_line_25 |  | 20 | 22 | 0.014689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-40_1_1_line_26 |  | 21 | 68 | 0.014554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-40_1_1_line_27 |  | 21 | 69 | 0.07945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-40_1_1_line_28 |  | 22 | 52 | 0.0045995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-40_1_1_line_29 |  | 23 | 24 | 0.006028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-40_1_1_line_30 |  | 23 | 25 | 0.004501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-40_1_1_line_31 |  | 24 | 29 | 0.050183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-40_1_1_line_32 |  | 25 | 54 | 0.0067108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-40_1_1_line_33 |  | 26 | 27 | 0.039601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-40_1_1_line_34 |  | 26 | 28 | 0.036295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-40_1_1_line_35 |  | 27 | 51 | 0.031808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-40_1_1_line_36 |  | 27 | 52 | 0.15496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-40_1_1_line_37 |  | 28 | 38 | 0.030703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-40_1_1_line_38 |  | 29 | 30 | 0.011939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-40_1_1_line_39 |  | 30 | 37 | 0.00056862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-40_1_1_line_40 |  | 31 | 32 | 0.010985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-40_1_1_line_41 |  | 31 | 33 | 0.01546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-40_1_1_line_42 |  | 32 | 34 | 0.012246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-40_1_1_line_43 |  | 34 | 35 | 0.02545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-40_1_1_line_44 |  | 35 | 36 | 0.071249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-40_1_1_line_45 |  | 37 | 38 | 0.008244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-40_1_1_line_46 |  | 38 | 39 | 0.008937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-40_1_1_line_47 |  | 39 | 40 | 0.046861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-40_1_1_line_48 |  | 41 | 42 | 0.005408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-40_1_1_line_49 |  | 43 | 47 | 0.015508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-40_1_1_line_50 |  | 43 | 45 | 0.030251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-40_1_1_line_51 |  | 44 | 45 | 0.010592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-40_1_1_line_52 |  | 44 | 46 | 0.0027346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-40_1_1_line_53 |  | 47 | 48 | 0.013617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-40_1_1_line_54 |  | 47 | 49 | 0.0056212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-40_1_1_line_55 |  | 48 | 58 | 0.016284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-40_1_1_line_56 |  | 49 | 55 | 0.0087337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-40_1_1_line_57 |  | 50 | 51 | 0.0055432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-40_1_1_line_58 |  | 52 | 53 | 0.053008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-40_1_1_line_59 |  | 53 | 66 | 0.057772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-40_1_1_line_60 |  | 53 | 67 | 0.14153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-40_1_1_line_61 |  | 55 | 56 | 0.019448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-40_1_1_line_62 |  | 56 | 57 | 0.0068447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-40_1_1_line_63 |  | 57 | 59 | 0.00066031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-40_1_1_line_64 |  | 59 | 64 | 0.032774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-40_1_1_line_65 |  | 60 | 61 | 0.028795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-40_1_1_line_66 |  | 61 | 62 | 0.1223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-40_1_1_line_67 |  | 62 | 63 | 0.00036094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-40_1_1_line_68 |  | 63 | 65 | 0.04302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-40_1_1_line_69 |  | 67 | 70 | 0.16325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-40_1_1_line_70 |  | 67 | 71 | 0.12683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-40_1_1_line_71 |  | 68 | 73 | 0.0051289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-40_1_1_line_72 |  | 69 | 74 | 0.015299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-40_1_1_line_73 |  | 70 | 72 | 0.004963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-40_1_1_line_74 |  | 73 | 77 | 0.00814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-40_1_1_line_75 |  | 75 | 76 | 0.044146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-40_1_1_line_76 |  | 76 | 77 | 0.010714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_261-40_1_1_line_77 |  | 77 | 78 | 0.018787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-40_1_1_trafo_215 | 0.63 MVA 20/0.4 kV | 79 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2685683.0803 | 1249217.9013 | 2685694.027 | 1249211.8328 | 2685718.2594 | 1249196.7051 | 2685722.5701 | 1249193.485
1 | 2685683.0803 | 1249217.9013 | 2685668.2347 | 1249231.9751
2 | 2685729.3134 | 1249188.4477 | 2685729.3134 | 1249188.4477 | 2685722.5701 | 1249193.485
3 | 2685668.2347 | 1249231.9751 | 2685668.8388 | 1249248.6852 | 2685667.8193 | 1249255.9987
4 | 2685664.282 | 1249279.3359 | 2685665.9152 | 1249269.6586 | 2685667.8193 | 1249255.9987
5 | 2686100.6541 | 1249131.4195 | 2686111.8697 | 1249124.0435 | 2686127.582 | 1249115.3764 | 2686141.2288 | 1249107.5132 | 2686161.8102 | 1249122.3345 | 2686173.4503 | 1249128.8641 | 2686178.8266 | 1249140.3175
6 | 2686178.8266 | 1249140.3175 | 2686181.809 | 1249149.1675 | 2686186.0564 | 1249153.0877 | 2686186.6674 | 1249156.2434 | 2686185.6526 | 1249158.5192 | 2686178.5189 | 1249160.9507 | 2686173.9054 | 1249162.9962 | 2686168.1252 | 1249165.8143 | 2686167.4536 | 1249166.2507
7 | 2686178.8266 | 1249140.3175 | 2686187.6004 | 1249135.7194 | 2686191.4871 | 1249136.3986 | 2686193.6103 | 1249138.9091 | 2686201.5567 | 1249146.5415 | 2686203.9678 | 1249150.0236 | 2686207.7146 | 1249152.5355
8 | 2686100.6541 | 1249131.4195 | 2686093.5023 | 1249139.686
9 | 2686207.7146 | 1249152.5355 | 2686212.2056 | 1249148.5311 | 2686213.3137 | 1249145.0335 | 2686211.0185 | 1249143.4434 | 2686208.0861 | 1249143.0894 | 2686210.8101 | 1249139.6042 | 2686215.1697 | 1249138.9226 | 2686235.1269 | 1249145.2509 | 2686241.8388 | 1249148.9735
10 | 2685831.6314 | 1249080.8365 | 2685823.1437 | 1249098.7778
11 | 2685851.6532 | 1249088.9992 | 2685848.6139 | 1249087.6764 | 2685845.4973 | 1249086.4859 | 2685831.6314 | 1249080.8365
12 | 2685791.402 | 1249127.9117 | 2685801.3289 | 1249129.1896 | 2685812.9118 | 1249120.4062 | 2685823.1437 | 1249098.7778
13 | 2685851.6532 | 1249088.9992 | 2685853.2469 | 1249084.808 | 2685856.654 | 1249076.0687
14 | 2685851.6532 | 1249088.9992 | 2685847.8384 | 1249098.6209
15 | 2685799.9383 | 1249067.2121 | 2685809.7232 | 1249072.0462
16 | 2685809.7232 | 1249072.0462 | 2685807.6621 | 1249074.0957 | 2685805.4538 | 1249076.9488
17 | 2685778.1209 | 1249070.3988 | 2685786.9557 | 1249067.3132 | 2685797.3826 | 1249066.9193 | 2685799.9383 | 1249067.2121
18 | 2685805.4538 | 1249076.9488 | 2685801.6365 | 1249081.8809 | 2685800.2749 | 1249085.4457
19 | 2686087.4825 | 1249150.2534 | 2686091.353 | 1249142.1703 | 2686093.5023 | 1249139.686
20 | 2686087.4825 | 1249150.2534 | 2686085.8359 | 1249152.5076
21 | 2686085.8359 | 1249152.5076 | 2686082.8841 | 1249156.5486
22 | 2685778.1209 | 1249070.3988 | 2685767.2272 | 1249071.7422 | 2685757.8071 | 1249072.5553
23 | 2686241.8388 | 1249148.9735 | 2686242.2361 | 1249155.9179 | 2686239.1021 | 1249161.1206 | 2686206.8279 | 1249197.901 | 2686199.0226 | 1249206.1182
24 | 2686013.9042 | 1249177.5726 | 2686010.1278 | 1249172.9366 | 2686009.8186 | 1249168.2286 | 2686007.6245 | 1249164.872 | 2686007.3013 | 1249162.1653 | 2686008.4142 | 1249157.2889 | 2686007.525 | 1249154.0402 | 2686005.4091 | 1249152.0636 | 2686001.1515 | 1249150.9232
25 | 2686001.1515 | 1249150.9232 | 2685990.7361 | 1249161.2807
26 | 2686013.9042 | 1249177.5726 | 2686024.4482 | 1249167.5403
27 | 2686013.9042 | 1249177.5726 | 2686019.4624 | 1249185.348 | 2686019.1864 | 1249190.3143 | 2686020.5328 | 1249194.3258 | 2686020.518 | 1249200.5413 | 2686021.9077 | 1249215.6061 | 2686021.9933 | 1249222.7126 | 2686026.525 | 1249229.4167 | 2686027.1309 | 1249245.9379 | 2686024.1188 | 1249252.9276
28 | 2685987.4746 | 1249164.5239 | 2685990.7361 | 1249161.2807
29 | 2685940.656 | 1249030.178 | 2685936.8846 | 1249034.8805
30 | 2685940.656 | 1249030.178 | 2685943.8065 | 1249026.9546
31 | 2685894.8608 | 1249060.0033 | 2685918.8891 | 1249046.0077 | 2685926.4593 | 1249045.2502 | 2685933.1191 | 1249039.5758 | 2685936.8846 | 1249034.8805
32 | 2685943.8065 | 1249026.9546 | 2685939.841 | 1249021.5407
33 | 2685905.8748 | 1249146.7166 | 2685906.5818 | 1249143.2687 | 2685909.7625 | 1249138.4779 | 2685911.4773 | 1249133.7436 | 2685912.3122 | 1249108.4591
34 | 2685912.3122 | 1249108.4591 | 2685905.6947 | 1249103.415 | 2685903.1511 | 1249096.5507 | 2685903.9127 | 1249090.3794 | 2685900.9903 | 1249082.0419 | 2685895.7771 | 1249079.9938
35 | 2685905.8748 | 1249146.7166 | 2685901.1294 | 1249147.4484 | 2685897.8369 | 1249149.5356 | 2685894.4662 | 1249153.3674 | 2685890.7848 | 1249158.3177 | 2685886.9757 | 1249160.0972 | 2685881.8519 | 1249161.4129 | 2685881.2434 | 1249159.1524
36 | 2685905.8748 | 1249146.7166 | 2685905.361 | 1249157.1503 | 2685911.9014 | 1249161.2592 | 2685918.0432 | 1249159.0132 | 2685919.3989 | 1249156.6533 | 2685920.7772 | 1249152.2144 | 2685921.4594 | 1249139.0256 | 2685921.6055 | 1249136.2367 | 2685924.0574 | 1249132.2359 | 2685926.3688 | 1249129.5897 | 2685932.3807 | 1249119.1134 | 2685937.2808 | 1249116.5714 | 2685941.9245 | 1249119.2074 | 2685943.0519 | 1249129.9873 | 2685952.5755 | 1249142.4013 | 2685959.0751 | 1249150.8797 | 2685961.5538 | 1249163.2471 | 2685987.4746 | 1249164.5239
37 | 2685884.274 | 1249056.8365 | 2685882.2793 | 1249064.202 | 2685883.9923 | 1249073.1446 | 2685887.0314 | 1249076.5578 | 2685895.7771 | 1249079.9938
38 | 2685894.8608 | 1249060.0033 | 2685888.3672 | 1249049.9852
39 | 2685888.3672 | 1249049.9852 | 2685888.0579 | 1249049.508
40 | 2685742.4043 | 1249073.8847 | 2685741.0243 | 1249084.7829
41 | 2685742.4043 | 1249073.8847 | 2685757.8071 | 1249072.5553
42 | 2685741.0243 | 1249084.7829 | 2685740.6053 | 1249088.0915 | 2685733.3045 | 1249093.2009
43 | 2685729.5141 | 1249118.362 | 2685730.1871 | 1249112.4146 | 2685733.3045 | 1249093.2009 | 2685733.3045 | 1249093.2009
44 | 2685729.5141 | 1249118.362 | 2685728.8969 | 1249123.8156 | 2685728.3893 | 1249138.0188 | 2685728.8866 | 1249148.0113 | 2685726.4847 | 1249154.8372 | 2685722.5207 | 1249158.9719 | 2685714.3918 | 1249170.1738 | 2685714.1908 | 1249165.801 | 2685716.6626 | 1249162.5009 | 2685716.2903 | 1249156.274
45 | 2685884.274 | 1249056.8365 | 2685888.0579 | 1249049.508
46 | 2685884.274 | 1249056.8365 | 2685875.6309 | 1249059.2019
47 | 2685875.6309 | 1249059.2019 | 2685874.3993 | 1249061.8528 | 2685867.7425 | 1249060.5554 | 2685866.3792 | 1249063.9604 | 2685872.9943 | 1249067.6145 | 2685872.7167 | 1249070.0901 | 2685871.215 | 1249072.1032 | 2685859.8508 | 1249067.8688 | 2685856.654 | 1249076.0687
48 | 2685845.8452 | 1249103.6482 | 2685847.8384 | 1249098.6209
49 | 2685791.402 | 1249127.9117 | 2685786.7625 | 1249142.7111
50 | 2685791.402 | 1249127.9117 | 2685795.9182 | 1249098.0002
51 | 2685795.9182 | 1249098.0002 | 2685796.2048 | 1249096.1018 | 2685799.2992 | 1249088.0003
52 | 2685800.2749 | 1249085.4457 | 2685799.2992 | 1249088.0003
53 | 2685786.7625 | 1249142.7111 | 2685783.6682 | 1249132.1585 | 2685784.2731 | 1249129.6095
54 | 2685786.7625 | 1249142.7111 | 2685782.0023 | 1249145.7008
55 | 2685787.7932 | 1249113.7177 | 2685787.2791 | 1249116.9438 | 2685784.2731 | 1249129.6095
56 | 2685774.6063 | 1249150.3458 | 2685782.0023 | 1249145.7008
57 | 2685881.2434 | 1249159.1524 | 2685879.8025 | 1249153.7997 | 2685879.8025 | 1249153.7997
58 | 2685996.3041 | 1249212.2655 | 2686001.9219 | 1249184.2037 | 2685987.4746 | 1249164.5239
59 | 2685996.3041 | 1249212.2655 | 2685971.1583 | 1249213.7908 | 2685951.4941 | 1249204.9658 | 2685948.0583 | 1249213.2888 | 2685948.1932 | 1249215.4368
60 | 2685945.429 | 1249312.8029 | 2685950.747 | 1249302.7836 | 2685971.1818 | 1249301.6791 | 2685982.0112 | 1249298.5004 | 2685988.9144 | 1249295.8096 | 2685993.2945 | 1249291.103 | 2685997.1948 | 1249283.5539 | 2685998.4936 | 1249280.9597 | 2686005.7171 | 1249255.1674 | 2686008.5575 | 1249244.6897 | 2686006.5125 | 1249237.31 | 2686002.3446 | 1249231.5564 | 2686000.3427 | 1249224.8446 | 2686000.3168 | 1249218.306 | 2685996.3041 | 1249212.2655
61 | 2685758.2376 | 1249160.8383 | 2685760.4403 | 1249159.2427 | 2685774.6063 | 1249150.3458
62 | 2685758.2376 | 1249160.8383 | 2685752.6944 | 1249164.8537
63 | 2685752.6944 | 1249164.8537 | 2685752.1597 | 1249165.2411
64 | 2685752.1597 | 1249165.2411 | 2685743.7655 | 1249171.3216 | 2685735.5138 | 1249181.0985 | 2685729.3134 | 1249188.4477
65 | 2685656.5848 | 1249307.0517 | 2685660.0751 | 1249294.9264 | 2685663.5283 | 1249283.8013 | 2685664.282 | 1249279.3359
66 | 2685656.5848 | 1249307.0517 | 2685680.0499 | 1249317.7877 | 2685690.8955 | 1249323.9157 | 2685709.1852 | 1249332.7534 | 2685736.9467 | 1249323.6702 | 2685754.2393 | 1249316.8819 | 2685767.7344 | 1249308.4051
67 | 2685767.7344 | 1249308.4051 | 2685768.0401 | 1249308.2131
68 | 2685768.0401 | 1249308.2131 | 2685772.079 | 1249305.676 | 2685785.9766 | 1249296.5925 | 2685805.1661 | 1249286.5739
69 | 2685945.429 | 1249312.8029 | 2685950.747 | 1249302.7836 | 2685971.1818 | 1249301.6791 | 2685982.0112 | 1249298.5004 | 2685988.9144 | 1249295.8096 | 2685993.2945 | 1249291.103 | 2685997.1948 | 1249283.5539 | 2685998.4936 | 1249280.9597 | 2686002.3591 | 1249286.7312 | 2686002.4381 | 1249292.2142 | 2685997.0016 | 1249299.9856 | 2685994.7284 | 1249308.8482 | 2685990.9188 | 1249312.2288 | 2685987.5063 | 1249309.5773 | 2685984.5558 | 1249309.957 | 2685977.2813 | 1249316.3785 | 2685976.0264 | 1249317.5167 | 2685972.5736 | 1249320.7691 | 2685969.6552 | 1249323.0952 | 2685968.9548 | 1249326.0873 | 2685973.9596 | 1249334.0102 | 2685974.1303 | 1249339.9394 | 2685976.2035 | 1249343.8168 | 2685978.9229 | 1249344.7903 | 2685981.7816 | 1249344.4982 | 2685983.7934 | 1249342.1923
70 | 2685945.429 | 1249312.8029 | 2685963.8449 | 1249337.3772 | 2686021.7508 | 1249414.1013
71 | 2686029.5253 | 1249168.2673 | 2686024.4482 | 1249167.5403
72 | 2686024.1188 | 1249252.9276 | 2686023.9737 | 1249253.2642 | 2686024.6754 | 1249265.7837 | 2686024.1499 | 1249268.1187
73 | 2685983.7934 | 1249342.1923 | 2685988.7568 | 1249342.5646
74 | 2686037.5831 | 1249169.4212 | 2686029.5253 | 1249168.2673
75 | 2686082.8841 | 1249156.5486 | 2686079.8393 | 1249160.7169 | 2686067.8913 | 1249167.582 | 2686053.315 | 1249158.875 | 2686046.4824 | 1249163.4554
76 | 2686037.5831 | 1249169.4212 | 2686046.4824 | 1249163.4554
77 | 2686037.5831 | 1249169.4212 | 2686036.0979 | 1249188.1498

## bus_geodata
| x | y | coords
0 | 2685683.0803 | 1249217.9013
1 | 2685722.5701 | 1249193.485
2 | 2685668.2347 | 1249231.9751
3 | 2685667.8193 | 1249255.9987
4 | 2686178.8266 | 1249140.3175
5 | 2686100.6541 | 1249131.4195
6 | 2686167.4536 | 1249166.2507
7 | 2686207.7146 | 1249152.5355
8 | 2685831.6314 | 1249080.8365
9 | 2685823.1437 | 1249098.7778
10 | 2685851.6532 | 1249088.9992
11 | 2685809.7232 | 1249072.0462
12 | 2685799.9383 | 1249067.2121
13 | 2685805.4538 | 1249076.9488
14 | 2686087.4825 | 1249150.2534
15 | 2686093.5023 | 1249139.686
16 | 2686085.8359 | 1249152.5076
17 | 2685778.1209 | 1249070.3988
18 | 2686241.8388 | 1249148.9735
19 | 2686199.0226 | 1249206.1182
20 | 2686001.1515 | 1249150.9232
21 | 2686013.9042 | 1249177.5726
22 | 2685990.7361 | 1249161.2806
23 | 2685940.656 | 1249030.178
24 | 2685936.8846 | 1249034.8805
25 | 2685943.8065 | 1249026.9546
26 | 2685912.3122 | 1249108.4591
27 | 2685905.8748 | 1249146.7166
28 | 2685895.7771 | 1249079.9938
29 | 2685894.8608 | 1249060.0033
30 | 2685888.3672 | 1249049.9852
31 | 2685742.4043 | 1249073.8847
32 | 2685741.0243 | 1249084.7829
33 | 2685757.8071 | 1249072.5553
34 | 2685733.3045 | 1249093.2009
35 | 2685729.5141 | 1249118.362
36 | 2685716.2903 | 1249156.274
37 | 2685888.0579 | 1249049.508
38 | 2685884.274 | 1249056.8365
39 | 2685875.6309 | 1249059.2019
40 | 2685856.654 | 1249076.0687
41 | 2685847.8384 | 1249098.6209
42 | 2685845.8452 | 1249103.6482
43 | 2685791.402 | 1249127.9117
44 | 2685799.2992 | 1249088.0003
45 | 2685795.9182 | 1249098.0002
46 | 2685800.2749 | 1249085.4457
47 | 2685786.7625 | 1249142.7111
48 | 2685784.2731 | 1249129.6095
49 | 2685782.0023 | 1249145.7008
50 | 2685879.8025 | 1249153.7997
51 | 2685881.2434 | 1249159.1524
52 | 2685987.4746 | 1249164.5239
53 | 2685996.3041 | 1249212.2655
54 | 2685939.841 | 1249021.5407
55 | 2685774.6063 | 1249150.3458
56 | 2685758.2376 | 1249160.8383
57 | 2685752.6944 | 1249164.8537
58 | 2685787.7932 | 1249113.7177
59 | 2685752.1597 | 1249165.2411
60 | 2685664.282 | 1249279.3359
61 | 2685656.5848 | 1249307.0517
62 | 2685767.7344 | 1249308.4051
63 | 2685768.0401 | 1249308.2131
64 | 2685729.3134 | 1249188.4477
65 | 2685805.1661 | 1249286.5739
66 | 2685948.1932 | 1249215.4368
67 | 2685945.429 | 1249312.8029
68 | 2686024.4482 | 1249167.5403
69 | 2686024.1188 | 1249252.9276
70 | 2685983.7934 | 1249342.1923
71 | 2686021.7508 | 1249414.1013
72 | 2685988.7568 | 1249342.5646
73 | 2686029.5253 | 1249168.2673
74 | 2686024.1499 | 1249268.1187
75 | 2686082.8841 | 1249156.5486
76 | 2686046.4824 | 1249163.4554
77 | 2686037.5831 | 1249169.4212
78 | 2686036.0979 | 1249188.1498
79 | 2685948.1932 | 1249215.4368

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98647 | -0.26078 | 0 | 0
1 | 0.98671 | -0.25624 | 0.0015727 | 0.00039415
2 | 0.98637 | -0.26278 | 0 | 0
3 | 0.98625 | -0.26514 | 0.0025454 | 0.00063793
4 | 0.99606 | -0.075435 | 0 | 0
5 | 0.99612 | -0.074321 | 0 | 0
6 | 0.99605 | -0.07568 | 0.0003421 | 8.5739e-05
7 | 0.99605 | -0.075629 | 0 | 0
8 | 0.9888 | -0.21555 | 0 | 0
9 | 0.98845 | -0.22225 | 0.00040054 | 0.00010039
10 | 0.98917 | -0.20827 | 0 | 0
11 | 0.98737 | -0.24339 | 0 | 0
12 | 0.98733 | -0.24411 | 0 | 0
13 | 0.98739 | -0.24296 | 0.00047558 | 0.00011919
14 | 0.99614 | -0.073944 | 0 | 0
15 | 0.99613 | -0.074197 | 0.00052994 | 0.00013282
16 | 0.99614 | -0.073886 | 0.00032621 | 8.1757e-05
17 | 0.98725 | -0.24558 | 0 | 0
18 | 0.99604 | -0.075904 | 0 | 0
19 | 0.99602 | -0.076284 | 0.00029348 | 7.3552e-05
20 | 0.99641 | -0.068733 | 0 | 0
21 | 0.99631 | -0.070647 | 0 | 0
22 | 0.99645 | -0.067883 | 0.00021346 | 5.3498e-05
23 | 0.99039 | -0.18469 | 0 | 0
24 | 0.99039 | -0.18459 | 0.0011218 | 0.00028115
25 | 0.99038 | -0.18476 | 0 | 0
26 | 0.99198 | -0.15392 | 0 | 0
27 | 0.99284 | -0.13726 | 0 | 0
28 | 0.99119 | -0.16922 | 0.00024567 | 6.1571e-05
29 | 0.99048 | -0.18281 | 0 | 0
30 | 0.99051 | -0.18239 | 0.00024555 | 6.1541e-05
31 | 0.98714 | -0.24787 | 0 | 0
32 | 0.9871 | -0.24853 | 0.00025829 | 6.4734e-05
33 | 0.98718 | -0.24693 | 0.00028411 | 7.1205e-05
34 | 0.98707 | -0.24922 | 0.0025716 | 0.0006445
35 | 0.98705 | -0.24948 | 0.00018842 | 4.7222e-05
36 | 0.98703 | -0.24996 | 0.00037764 | 9.4644e-05
37 | 0.99051 | -0.18237 | 0 | 0
38 | 0.99052 | -0.18204 | 0 | 0
39 | 0.99035 | -0.18542 | 0 | 0
40 | 0.98943 | -0.20315 | 0.00056085 | 0.00014056
41 | 0.98915 | -0.20859 | 0.00054535 | 0.00013668
42 | 0.98915 | -0.20871 | 0.0012298 | 0.00030822
43 | 0.98763 | -0.23829 | 0 | 0
44 | 0.98744 | -0.24199 | 0.00028605 | 7.169e-05
45 | 0.98748 | -0.2411 | 0.00044633 | 0.00011186
46 | 0.98743 | -0.24221 | 0.00028864 | 7.2339e-05
47 | 0.98744 | -0.24199 | 0 | 0
48 | 0.98743 | -0.2421 | 0.0002117 | 5.3058e-05
49 | 0.98737 | -0.24329 | 0.0013317 | 0.00033375
50 | 0.99279 | -0.13831 | 0.00069775 | 0.00017487
51 | 0.99279 | -0.13824 | 0.0010431 | 0.00026143
52 | 0.99647 | -0.067599 | 0 | 0
53 | 0.99787 | -0.040625 | 0 | 0
54 | 0.99038 | -0.18486 | 0.00087387 | 0.00021901
55 | 0.98728 | -0.2451 | 0.00025483 | 6.3867e-05
56 | 0.98708 | -0.24904 | 0.00042538 | 0.00010661
57 | 0.98701 | -0.25038 | 0.00059232 | 0.00014845
58 | 0.98743 | -0.24216 | 0.00022039 | 5.5235e-05
59 | 0.987 | -0.2505 | 0.0023308 | 0.00058415
60 | 0.98619 | -0.26637 | 0.00049078 | 0.000123
61 | 0.98612 | -0.26762 | 0 | 0
62 | 0.98585 | -0.27292 | 0.0012548 | 0.00031449
63 | 0.98585 | -0.27292 | 0.00041409 | 0.00010378
64 | 0.98676 | -0.25518 | 0.00094901 | 0.00023784
65 | 0.98582 | -0.2735 | 0.00074434 | 0.00018655
66 | 1 | 0 | -0.04218 | -0.010263
67 | 0.99643 | -0.068467 | 0 | 0
68 | 0.99627 | -0.071353 | 0.00019061 | 4.7771e-05
69 | 0.99627 | -0.071388 | 0.00031059 | 7.784e-05
70 | 0.99513 | -0.093496 | 0 | 0
71 | 0.99614 | -0.074021 | 0.0024914 | 0.0006244
72 | 0.99509 | -0.094258 | 0.0087194 | 0.0021853
73 | 0.99626 | -0.071585 | 0.00029694 | 7.442e-05
74 | 0.99627 | -0.071447 | 0.00021874 | 5.4822e-05
75 | 0.99615 | -0.073754 | 0.00036826 | 9.2294e-05
76 | 0.99622 | -0.072303 | 0.00021464 | 5.3795e-05
77 | 0.99624 | -0.07191 | 0 | 0
78 | 0.99624 | -0.071972 | 0.00018628 | 4.6686e-05
79 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0054515 | -0.0013637 | 0.0054526 | 0.0013639 | 1.1779e-06 | 1.6052e-07 | 0.0082222 | 0.008222 | 0.0082222 | 0.98647 | -0.26078 | 0.98671 | -0.25624 | 2.2588
1 | 0.0054515 | 0.0013637 | -0.0054509 | -0.0013636 | 5.1784e-07 | 7.0668e-08 | 0.0082222 | 0.0082223 | 0.0082223 | 0.98647 | -0.26078 | 0.98637 | -0.26278 | 2.2589
2 | -0.0070253 | -0.001758 | 0.0070257 | 0.0017581 | 3.5423e-07 | 1.1919e-07 | 0.010594 | 0.010594 | 0.010594 | 0.98671 | -0.25624 | 0.98676 | -0.25518 | 2.9103
3 | 0.0054509 | 0.0013636 | -0.0054503 | -0.0013636 | 6.1113e-07 | 8.3477e-08 | 0.0082223 | 0.0082224 | 0.0082224 | 0.98637 | -0.26278 | 0.98625 | -0.26514 | 2.2589
4 | 0.002905 | 0.00072563 | -0.0029048 | -0.00072582 | 1.6999e-07 | -1.9243e-07 | 0.004382 | 0.0043821 | 0.0043821 | 0.98625 | -0.26514 | 0.98619 | -0.26637 | 1.2039
5 | -0.0006356 | -0.00015665 | 0.00063563 | 0.00015539 | 3.3215e-08 | -1.2606e-06 | 0.00094859 | 0.00094815 | 0.00094859 | 0.99606 | -0.075435 | 0.99612 | -0.074321 | 0.2606
6 | 0.00034211 | 8.5213e-05 | -0.0003421 | -8.5739e-05 | 3.9792e-09 | -5.2642e-07 | 0.00051089 | 0.00051107 | 0.00051107 | 0.99606 | -0.075435 | 0.99605 | -0.07568 | 0.14041
7 | 0.00029349 | 7.1437e-05 | -0.00029349 | -7.1916e-05 | 2.6523e-09 | -4.7864e-07 | 0.00043771 | 0.00043787 | 0.00043787 | 0.99606 | -0.075435 | 0.99605 | -0.075629 | 0.12029
8 | -0.00063563 | -0.00015539 | 0.00063563 | 0.00015525 | 3.6848e-09 | -1.3994e-07 | 0.00094815 | 0.0009481 | 0.00094815 | 0.99612 | -0.074321 | 0.99613 | -0.074197 | 0.26048
9 | 0.00029349 | 7.1916e-05 | -0.00029348 | -7.2601e-05 | 3.804e-09 | -6.8583e-07 | 0.00043787 | 0.00043811 | 0.00043811 | 0.99605 | -0.075629 | 0.99604 | -0.075904 | 0.12036
10 | 0.01895 | 0.0047532 | -0.018944 | -0.0047496 | 6.0535e-06 | 3.6198e-06 | 0.028519 | 0.028519 | 0.028519 | 0.9888 | -0.21555 | 0.98845 | -0.22225 | 7.8349
11 | -0.01895 | -0.0047532 | 0.018957 | 0.0047572 | 6.5782e-06 | 3.9333e-06 | 0.028519 | 0.028519 | 0.028519 | 0.9888 | -0.21555 | 0.98917 | -0.20827 | 7.8349
12 | 0.018544 | 0.0046492 | -0.018529 | -0.0046408 | 1.4166e-05 | 8.4452e-06 | 0.027916 | 0.027916 | 0.027916 | 0.98845 | -0.22225 | 0.98763 | -0.23829 | 7.6693
13 | -0.020732 | -0.0052019 | 0.020737 | 0.0052049 | 5.0574e-06 | 3.0587e-06 | 0.031189 | 0.031189 | 0.031189 | 0.98917 | -0.20827 | 0.98943 | -0.20315 | 8.5685
14 | 0.0017752 | 0.00044472 | -0.0017752 | -0.00044483 | 2.7678e-08 | -1.1515e-07 | 0.0026704 | 0.0026704 | 0.0026704 | 0.98917 | -0.20827 | 0.98915 | -0.20859 | 0.73363
15 | 0.003681 | 0.00092052 | -0.0036809 | -0.00092058 | 1.2562e-07 | -5.8852e-08 | 0.0055468 | 0.0055469 | 0.0055469 | 0.98737 | -0.24339 | 0.98733 | -0.24411 | 1.5239
16 | -0.003681 | -0.00092052 | 0.0036811 | 0.00092049 | 7.5162e-08 | -3.5218e-08 | 0.0055468 | 0.0055468 | 0.0055468 | 0.98737 | -0.24339 | 0.98739 | -0.24296 | 1.5239
17 | 0.0036809 | 0.00092058 | -0.0036807 | -0.0009207 | 2.5805e-07 | -1.2085e-07 | 0.0055469 | 0.005547 | 0.005547 | 0.98733 | -0.24411 | 0.98725 | -0.24558 | 1.5239
18 | -0.0041567 | -0.0010397 | 0.0041568 | 0.0010396 | 1.4789e-07 | -3.3933e-08 | 0.0062635 | 0.0062635 | 0.0062635 | 0.98739 | -0.24296 | 0.98743 | -0.24221 | 1.7207
19 | 0.0011656 | 0.00028792 | -0.0011656 | -0.00028807 | 1.39e-08 | -1.5054e-07 | 0.0017397 | 0.0017397 | 0.0017397 | 0.99614 | -0.073944 | 0.99613 | -0.074197 | 0.47795
20 | -0.0011656 | -0.00028792 | 0.0011656 | 0.00028788 | 3.1682e-09 | -3.4313e-08 | 0.0017397 | 0.0017397 | 0.0017397 | 0.99614 | -0.073944 | 0.99614 | -0.073886 | 0.47793
21 | -0.0014918 | -0.00036964 | 0.0014918 | 0.00036958 | 9.3065e-09 | -5.9191e-08 | 0.0022269 | 0.0022269 | 0.0022269 | 0.99614 | -0.073886 | 0.99615 | -0.073754 | 0.6118
22 | 0.0036807 | 0.0009207 | -0.0036804 | -0.00092081 | 2.3575e-07 | -1.1036e-07 | 0.005547 | 0.0055471 | 0.0055471 | 0.98725 | -0.24558 | 0.98718 | -0.24693 | 1.5239
23 | 0.00029348 | 7.2601e-05 | -0.00029348 | -7.3552e-05 | 5.2796e-09 | -9.5059e-07 | 0.00043811 | 0.00043844 | 0.00043844 | 0.99604 | -0.075904 | 0.99602 | -0.076284 | 0.12045
24 | 0.0032785 | 0.00081463 | -0.0032782 | -0.00081487 | 2.9708e-07 | -2.4071e-07 | 0.0048936 | 0.0048937 | 0.0048937 | 0.99641 | -0.068733 | 0.99631 | -0.070647 | 1.3444
25 | -0.0032785 | -0.00081463 | 0.0032786 | 0.00081452 | 1.3191e-07 | -1.0691e-07 | 0.0048936 | 0.0048935 | 0.0048936 | 0.99641 | -0.068733 | 0.99645 | -0.067883 | 1.3444
26 | 0.0027489 | 0.00068343 | -0.0027488 | -0.00068356 | 9.1907e-08 | -1.3071e-07 | 0.0041036 | 0.0041036 | 0.0041036 | 0.99631 | -0.070647 | 0.99627 | -0.071353 | 1.1274
27 | 0.00052935 | 0.00013144 | -0.00052933 | -0.00013246 | 1.8611e-08 | -1.0227e-06 | 0.00079017 | 0.00079053 | 0.00079053 | 0.99631 | -0.070647 | 0.99627 | -0.071388 | 0.21718
28 | -0.0034921 | -0.00086802 | 0.0034921 | 0.00086799 | 4.686e-08 | -2.9926e-08 | 0.0052123 | 0.0052123 | 0.0052123 | 0.99645 | -0.067883 | 0.99647 | -0.067599 | 1.4319
29 | -0.00087388 | -0.00021887 | 0.00087388 | 0.0002188 | 3.8964e-09 | -7.5076e-08 | 0.0013129 | 0.0013129 | 0.0013129 | 0.99039 | -0.18469 | 0.99039 | -0.18459 | 0.36069
30 | 0.00087388 | 0.00021887 | -0.00087388 | -0.00021893 | 2.9095e-09 | -5.6058e-08 | 0.0013129 | 0.0013129 | 0.0013129 | 0.99039 | -0.18469 | 0.99038 | -0.18476 | 0.3607
31 | -0.0019957 | -0.00049994 | 0.0019958 | 0.0004994 | 1.6917e-07 | -5.3757e-07 | 0.0029983 | 0.0029981 | 0.0029983 | 0.99039 | -0.18459 | 0.99048 | -0.18281 | 0.82371
32 | 0.00087388 | 0.00021893 | -0.00087387 | -0.00021901 | 4.3381e-09 | -8.3579e-08 | 0.0013129 | 0.001313 | 0.001313 | 0.99038 | -0.18476 | 0.99038 | -0.18486 | 0.36071
33 | -0.023838 | -0.0060003 | 0.023857 | 0.006012 | 1.8998e-05 | 1.1647e-05 | 0.035768 | 0.035768 | 0.035768 | 0.99198 | -0.15392 | 0.99284 | -0.13726 | 9.8263
34 | 0.023838 | 0.0060003 | -0.023821 | -0.0059897 | 1.7413e-05 | 1.0676e-05 | 0.035768 | 0.035768 | 0.035768 | 0.99198 | -0.15392 | 0.99119 | -0.16922 | 9.8264
35 | 0.001741 | 0.00043587 | -0.0017409 | -0.00043623 | 8.1202e-08 | -3.5935e-07 | 0.0026091 | 0.0026092 | 0.0026092 | 0.99284 | -0.13726 | 0.99279 | -0.13824 | 0.71682
36 | -0.025598 | -0.0064479 | 0.025684 | 0.0065006 | 8.5579e-05 | 5.2759e-05 | 0.038377 | 0.038376 | 0.038377 | 0.99284 | -0.13726 | 0.99647 | -0.067599 | 10.543
37 | 0.023575 | 0.0059281 | -0.023561 | -0.0059192 | 1.4428e-05 | 8.8382e-06 | 0.035399 | 0.035399 | 0.035399 | 0.99119 | -0.16922 | 0.99052 | -0.18204 | 9.7251
38 | -0.0019958 | -0.0004994 | 0.0019959 | 0.00049928 | 4.0241e-08 | -1.2791e-07 | 0.0029981 | 0.002998 | 0.0029981 | 0.99048 | -0.18281 | 0.99051 | -0.18239 | 0.82365
39 | -0.0022414 | -0.00056082 | 0.0022414 | 0.00056081 | 2.4172e-09 | -5.772e-09 | 0.0033669 | 0.0033669 | 0.0033669 | 0.99051 | -0.18239 | 0.99051 | -0.18237 | 0.92498
40 | 0.0033962 | 0.00084971 | -0.0033961 | -0.00084978 | 1.0794e-07 | -7.1346e-08 | 0.0051189 | 0.0051189 | 0.0051189 | 0.98714 | -0.24787 | 0.9871 | -0.24853 | 1.4063
41 | -0.0033962 | -0.00084971 | 0.0033963 | 0.00084961 | 1.5191e-07 | -1.0043e-07 | 0.0051189 | 0.0051188 | 0.0051189 | 0.98714 | -0.24787 | 0.98718 | -0.24693 | 1.4063
42 | 0.0031378 | 0.00078504 | -0.0031377 | -0.00078514 | 1.0273e-07 | -9.0793e-08 | 0.0047296 | 0.0047296 | 0.0047296 | 0.9871 | -0.24853 | 0.98707 | -0.24922 | 1.2993
43 | 0.00056607 | 0.00014064 | -0.00056606 | -0.00014096 | 6.9439e-09 | -3.2086e-07 | 0.00085292 | 0.00085304 | 0.00085304 | 0.98707 | -0.24922 | 0.98705 | -0.24948 | 0.23435
44 | 0.00037764 | 9.3738e-05 | -0.00037763 | -9.4643e-05 | 8.6549e-09 | -9.0513e-07 | 0.00056899 | 0.00056931 | 0.00056931 | 0.98705 | -0.24948 | 0.98703 | -0.24996 | 0.1564
45 | -0.0022414 | -0.00056081 | 0.0022415 | 0.00056073 | 3.5045e-08 | -8.3685e-08 | 0.0033669 | 0.0033669 | 0.0033669 | 0.99051 | -0.18237 | 0.99052 | -0.18204 | 0.92498
46 | 0.021319 | 0.0053585 | -0.021316 | -0.0053564 | 3.4388e-06 | 2.0858e-06 | 0.032032 | 0.032032 | 0.032032 | 0.99052 | -0.18204 | 0.99035 | -0.18542 | 8.8001
47 | 0.021316 | 0.0053564 | -0.021298 | -0.0053455 | 1.8031e-05 | 1.0938e-05 | 0.032032 | 0.032033 | 0.032033 | 0.99035 | -0.18542 | 0.98943 | -0.20315 | 8.8002
48 | 0.0012298 | 0.00030815 | -0.0012298 | -0.00030822 | 6.9413e-09 | -6.4976e-08 | 0.00185 | 0.0018501 | 0.0018501 | 0.98915 | -0.20859 | 0.98915 | -0.20871 | 0.50826
49 | 0.013351 | 0.0033452 | -0.013348 | -0.0033439 | 2.3529e-06 | 1.3075e-06 | 0.020114 | 0.020115 | 0.020115 | 0.98763 | -0.23829 | 0.98744 | -0.24199 | 5.526
50 | 0.0051788 | 0.0012956 | -0.0051781 | -0.0012955 | 6.905e-07 | 5.4873e-08 | 0.0078018 | 0.007802 | 0.007802 | 0.98763 | -0.23829 | 0.98748 | -0.2411 | 2.1434
51 | -0.0047316 | -0.0011837 | 0.0047318 | 0.0011837 | 2.019e-07 | -6.2856e-09 | 0.0071295 | 0.0071294 | 0.0071295 | 0.98744 | -0.24199 | 0.98748 | -0.2411 | 1.9586
52 | 0.0044455 | 0.001112 | -0.0044455 | -0.001112 | 4.6012e-08 | -5.5324e-09 | 0.0066984 | 0.0066984 | 0.0066984 | 0.98744 | -0.24199 | 0.98743 | -0.24221 | 1.8402
53 | 0.00043209 | 0.00010791 | -0.00043209 | -0.00010808 | 2.1643e-09 | -1.728e-07 | 0.00065101 | 0.00065107 | 0.00065107 | 0.98744 | -0.24199 | 0.98743 | -0.2421 | 0.17887
54 | 0.012916 | 0.003236 | -0.012915 | -0.0032355 | 7.9855e-07 | 4.3917e-07 | 0.019464 | 0.019464 | 0.019464 | 0.98744 | -0.24199 | 0.98737 | -0.24329 | 5.3471
55 | 0.00022039 | 5.5026e-05 | -0.00022039 | -5.5234e-05 | 6.7341e-10 | -2.0787e-07 | 0.00033204 | 0.00033212 | 0.00033212 | 0.98743 | -0.2421 | 0.98743 | -0.24216 | 0.091241
56 | 0.011584 | 0.0029018 | -0.011583 | -0.0029013 | 9.9805e-07 | 5.2706e-07 | 0.017457 | 0.017457 | 0.017457 | 0.98737 | -0.24329 | 0.98728 | -0.2451 | 4.7958
57 | -0.00069775 | -0.00017487 | 0.00069775 | 0.0001748 | 2.2734e-09 | -7.0222e-08 | 0.0010458 | 0.0010458 | 0.0010458 | 0.99279 | -0.13831 | 0.99279 | -0.13824 | 0.28731
58 | -0.029176 | -0.0073686 | 0.029214 | 0.0073921 | 3.7767e-05 | 2.3479e-05 | 0.043588 | 0.043588 | 0.043588 | 0.99647 | -0.067599 | 0.99787 | -0.040625 | 11.9748
59 | -0.040451 | -0.010213 | 0.04053 | 0.010263 | 7.8894e-05 | 4.9736e-05 | 0.060346 | 0.060346 | 0.060346 | 0.99787 | -0.040625 | 1 | 0 | 16.5786
60 | 0.011237 | 0.0028208 | -0.011222 | -0.0028131 | 1.4905e-05 | 7.6933e-06 | 0.016758 | 0.016759 | 0.016759 | 0.99787 | -0.040625 | 0.99643 | -0.068467 | 4.6041
61 | 0.011328 | 0.0028374 | -0.011326 | -0.0028363 | 2.1257e-06 | 1.1118e-06 | 0.017073 | 0.017073 | 0.017073 | 0.98728 | -0.2451 | 0.98708 | -0.24904 | 4.6903
62 | 0.0109 | 0.0027297 | -0.0109 | -0.0027293 | 6.9301e-07 | 3.5604e-07 | 0.016431 | 0.016431 | 0.016431 | 0.98708 | -0.24904 | 0.98701 | -0.25038 | 4.5141
63 | 0.010307 | 0.0025809 | -0.010307 | -0.0025808 | 5.9785e-08 | 2.9824e-08 | 0.015538 | 0.015538 | 0.015538 | 0.98701 | -0.25038 | 0.987 | -0.2505 | 4.2688
64 | 0.0079765 | 0.0019967 | -0.0079747 | -0.001996 | 1.7771e-06 | 7.1857e-07 | 0.012025 | 0.012025 | 0.012025 | 0.987 | -0.2505 | 0.98676 | -0.25518 | 3.3035
65 | 0.002414 | 0.00060282 | -0.0024139 | -0.0006031 | 1.432e-07 | -2.7573e-07 | 0.0036416 | 0.0036418 | 0.0036418 | 0.98619 | -0.26637 | 0.98612 | -0.26762 | 1.0005
66 | 0.0024139 | 0.0006031 | -0.0024133 | -0.00060427 | 6.0833e-07 | -1.1705e-06 | 0.0036418 | 0.0036423 | 0.0036423 | 0.98612 | -0.26762 | 0.98585 | -0.27292 | 1.0006
67 | 0.0011585 | 0.00028979 | -0.0011585 | -0.00028979 | 4.1422e-10 | -4.3374e-09 | 0.0017483 | 0.0017483 | 0.0017483 | 0.98585 | -0.27292 | 0.98585 | -0.27292 | 0.48031
68 | 0.00074436 | 0.00018601 | -0.00074434 | -0.00018655 | 2.036e-08 | -5.3549e-07 | 0.0011233 | 0.0011235 | 0.0011235 | 0.98585 | -0.27292 | 0.98582 | -0.2735 | 0.30866
69 | 0.0087301 | 0.00219 | -0.0087197 | -0.0021854 | 1.0407e-05 | 4.5367e-06 | 0.013038 | 0.013039 | 0.013039 | 0.99643 | -0.068467 | 0.99513 | -0.093496 | 3.582
70 | 0.0024921 | 0.00062317 | -0.0024914 | -0.0006244 | 6.5865e-07 | -1.2301e-06 | 0.003721 | 0.0037216 | 0.0037216 | 0.99643 | -0.068467 | 0.99614 | -0.074021 | 1.0224
71 | 0.0025582 | 0.00063579 | -0.0025581 | -0.00063584 | 2.8051e-08 | -4.8833e-08 | 0.003819 | 0.003819 | 0.003819 | 0.99627 | -0.071353 | 0.99626 | -0.071585 | 1.0492
72 | 0.00021874 | 5.4623e-05 | -0.00021874 | -5.4822e-05 | 6.1226e-10 | -1.9883e-07 | 0.00032664 | 0.00032671 | 0.00032671 | 0.99627 | -0.071388 | 0.99627 | -0.071447 | 0.089756
73 | 0.0087197 | 0.0021854 | -0.0087194 | -0.0021853 | 3.164e-07 | 1.3802e-07 | 0.013039 | 0.013039 | 0.013039 | 0.99513 | -0.093496 | 0.99509 | -0.094258 | 3.582
74 | 0.0022612 | 0.00056142 | -0.0022612 | -0.0005615 | 3.478e-08 | -8.3733e-08 | 0.0033755 | 0.0033755 | 0.0033755 | 0.99626 | -0.071585 | 0.99624 | -0.07191 | 0.92734
75 | -0.0018601 | -0.00046187 | 0.0018602 | 0.00046138 | 1.2766e-07 | -4.9306e-07 | 0.002777 | 0.0027768 | 0.002777 | 0.99615 | -0.073754 | 0.99622 | -0.072303 | 0.76291
76 | -0.0020748 | -0.00051517 | 0.0020749 | 0.00051506 | 3.8545e-08 | -1.1483e-07 | 0.0030974 | 0.0030974 | 0.0030974 | 0.99622 | -0.072303 | 0.99624 | -0.07191 | 0.85094
77 | 0.00018628 | 4.6441e-05 | -0.00018628 | -4.6686e-05 | 5.4522e-10 | -2.4428e-07 | 0.00027815 | 0.00027823 | 0.00027823 | 0.99624 | -0.07191 | 0.99624 | -0.071972 | 0.076437

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.065235 | 0.016041

## res_load
| p_mw | q_mvar
0 | 0.0015727 | 0.00039415
1 | 0.0025454 | 0.00063793
2 | 0.0003421 | 8.5739e-05
3 | 0.00040054 | 0.00010039
4 | 0.00047558 | 0.00011919
5 | 0.00052994 | 0.00013282
6 | 0.00032621 | 8.1757e-05
7 | 0.00029348 | 7.3552e-05
8 | 0.00021346 | 5.3498e-05
9 | 0.0011218 | 0.00028115
10 | 0.00024567 | 6.1571e-05
11 | 0.00024555 | 6.1541e-05
12 | 0.00025829 | 6.4734e-05
13 | 0.00028411 | 7.1205e-05
14 | 0.0025716 | 0.0006445
15 | 0.00018842 | 4.7222e-05
16 | 0.00037764 | 9.4644e-05
17 | 0.00056085 | 0.00014056
18 | 0.00054535 | 0.00013668
19 | 0.0012298 | 0.00030822
20 | 0.00028605 | 7.169e-05
21 | 0.00044633 | 0.00011186
22 | 0.00028864 | 7.2339e-05
23 | 0.0002117 | 5.3058e-05
24 | 0.0013317 | 0.00033375
25 | 0.00069775 | 0.00017487
26 | 0.0010431 | 0.00026143
27 | 0.00087387 | 0.00021901
28 | 0.00025483 | 6.3867e-05
29 | 0.00042538 | 0.00010661
30 | 0.00059232 | 0.00014845
31 | 0.00022039 | 5.5235e-05
32 | 0.0023308 | 0.00058415
33 | 0.00049078 | 0.000123
34 | 0.0012548 | 0.00031449
35 | 0.00041409 | 0.00010378
36 | 0.00094901 | 0.00023784
37 | 0.00074434 | 0.00018655
38 | 0.023055 | 0.0057781
39 | 0.00019061 | 4.7771e-05
40 | 0.00031059 | 7.784e-05
41 | 0.0024914 | 0.0006244
42 | 0.0087194 | 0.0021853
43 | 0.00029694 | 7.442e-05
44 | 0.00021874 | 5.4822e-05
45 | 0.00036826 | 9.2294e-05
46 | 0.00021464 | 5.3795e-05
47 | 0.00018628 | 4.6686e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1