## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-417_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-417_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-417_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-417_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_261-417_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-417_0_4_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_261-417_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_261-417_0_4_node_73 | 0.4 | n |  | TRUE
8 | bus_LV_261-417_0_4_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_261-417_0_4_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_261-417_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_261-417_0_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_261-417_0_4_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_261-417_0_4_node_60 | 0.4 | n |  | TRUE
14 | bus_LV_261-417_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_261-417_0_4_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_261-417_0_4_node_68 | 0.4 | n |  | TRUE
17 | bus_LV_261-417_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_261-417_0_4_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_261-417_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_261-417_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_261-417_0_4_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_261-417_0_4_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_261-417_0_4_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_261-417_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_261-417_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_261-417_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_261-417_0_4_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_261-417_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_261-417_0_4_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_261-417_0_4_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_261-417_0_4_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_261-417_0_4_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_261-417_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_261-417_0_4_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_261-417_0_4_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_261-417_0_4_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_261-417_0_4_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_261-417_0_4_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_261-417_0_4_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_261-417_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_261-417_0_4_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_261-417_0_4_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_261-417_0_4_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_261-417_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_261-417_0_4_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_261-417_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_261-417_0_4_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_261-417_0_4_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_261-417_0_4_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_261-417_0_4_node_74 | 0.4 | n |  | TRUE
51 | bus_LV_261-417_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_261-417_0_4_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_261-417_0_4_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_261-417_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_261-417_0_4_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_261-417_0_4_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_261-417_0_4_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_261-417_0_4_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_261-417_0_4_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_261-417_0_4_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_261-417_0_4_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_261-417_0_4_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_261-417_0_4_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_261-417_0_4_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_261-417_0_4_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_261-417_0_4_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_261-417_0_4_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_261-417_0_4_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_261-417_0_4_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_261-417_0_4_node_64 | 0.4 | n |  | TRUE
71 | bus_MV_533_0_node_48 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-417_0_4_load_0 | 0 | 0.0066685 | 0.0016713 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-417_0_4_load_1 | 1 | 0.0075675 | 0.0018966 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-417_0_4_load_4 | 4 | 0.019744 | 0.0049482 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-417_0_4_load_32 | 5 | 0.018953 | 0.0047501 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-417_0_4_load_73 | 7 | 0.0199 | 0.0049875 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-417_0_4_load_47 | 8 | 0.0081378 | 0.0020395 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-417_0_4_load_44 | 9 | 0.0071122 | 0.0017825 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-417_0_4_load_60 | 13 | 0.006879 | 0.001724 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-417_0_4_load_68 | 16 | 0.0070475 | 0.0017663 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-417_0_4_load_39 | 18 | 0.012988 | 0.0032551 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-417_0_4_load_34 | 21 | 0.010572 | 0.0026496 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-417_0_4_load_46 | 23 | 0.0047635 | 0.0011939 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-417_0_4_load_58 | 27 | 0.0097484 | 0.0024432 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-417_0_4_load_61 | 29 | 0.018148 | 0.0045483 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-417_0_4_load_57 | 30 | 0.0057556 | 0.0014425 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-417_0_4_load_54 | 31 | 0.0092099 | 0.0023082 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-417_0_4_load_35 | 33 | 0.01494 | 0.0037443 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-417_0_4_load_33 | 34 | 0.020983 | 0.0052589 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-417_0_4_load_38 | 36 | 0.0020818 | 0.00052174 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-417_0_4_load_51 | 37 | 0.0021905 | 0.000549 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-417_0_4_load_52 | 38 | 0.0019784 | 0.00049583 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-417_0_4_load_43 | 41 | 0.0058592 | 0.0014684 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-417_0_4_load_40 | 43 | 0.016462 | 0.0041258 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-417_0_4_load_50 | 47 | 0.0013969 | 0.0003501 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-417_0_4_load_62 | 49 | 0.019927 | 0.0049942 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-417_0_4_load_74 | 50 | 0.024424 | 0.0061213 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-417_0_4_load_41 | 51 | 0.043897 | 0.011002 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-417_0_4_load_67 | 52 | 0.013621 | 0.0034138 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-417_0_4_load_72 | 53 | 0.013738 | 0.003443 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-417_0_4_load_45 | 54 | 0.0073899 | 0.0018521 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-417_0_4_load_56 | 55 | 0.0084033 | 0.0021061 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-417_0_4_load_66 | 56 | 0.0080574 | 0.0020194 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-417_0_4_load_36 | 57 | 0.0021171 | 0.0005306 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-417_0_4_load_37 | 58 | 0.0022643 | 0.0005675 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-417_0_4_load_59 | 59 | 0.0097326 | 0.0024392 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-417_0_4_load_55 | 60 | 0.0057698 | 0.001446 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-417_0_4_load_49 | 61 | 0.0011735 | 0.0002941 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-417_0_4_load_53 | 62 | 0.0034471 | 0.00086393 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-417_0_4_load_42 | 63 | 0.0085179 | 0.0021348 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-417_0_4_load_48 | 64 | 0.0011693 | 0.00029306 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-417_0_4_load_69 | 65 | 0.0052693 | 0.0013206 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-417_0_4_load_70 | 66 | 0.007466 | 0.0018712 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-417_0_4_load_63 | 67 | 0.0077412 | 0.0019401 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-417_0_4_load_65 | 68 | 0.0080507 | 0.0020177 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-417_0_4_load_71 | 69 | 0.0090296 | 0.002263 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-417_0_4_load_64 | 70 | 0.010139 | 0.0025411 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-417_0_4_line_0 |  | 0 | 1 | 0.024974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-417_0_4_line_1 |  | 0 | 2 | 0.0080699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-417_0_4_line_2 |  | 2 | 3 | 0.023235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-417_0_4_line_3 |  | 3 | 6 | 0.0099582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-417_0_4_line_4 |  | 3 | 7 | 0.030463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-417_0_4_line_5 |  | 4 | 5 | 0.017285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-417_0_4_line_6 |  | 5 | 28 | 0.012494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-417_0_4_line_7 |  | 6 | 8 | 0.010403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-417_0_4_line_8 |  | 6 | 9 | 0.022497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-417_0_4_line_9 |  | 9 | 54 | 0.014434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-417_0_4_line_10 |  | 10 | 11 | 0.004504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-417_0_4_line_11 |  | 10 | 12 | 0.0099265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_261-417_0_4_line_12 |  | 10 | 13 | 0.0068745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_261-417_0_4_line_13 |  | 11 | 23 | 0.012028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-417_0_4_line_14 |  | 12 | 41 | 0.00572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-417_0_4_line_15 |  | 12 | 14 | 0.003656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_261-417_0_4_line_16 |  | 13 | 55 | 0.01495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_261-417_0_4_line_17 |  | 14 | 15 | 0.0091758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-417_0_4_line_18 |  | 14 | 16 | 0.015912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-417_0_4_line_19 |  | 15 | 42 | 0.005507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-417_0_4_line_20 |  | 15 | 43 | 0.0095935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-417_0_4_line_21 |  | 16 | 56 | 0.014553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-417_0_4_line_22 |  | 17 | 18 | 0.012564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-417_0_4_line_23 |  | 17 | 19 | 0.010247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-417_0_4_line_24 |  | 19 | 30 | 0.019609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_261-417_0_4_line_25 |  | 19 | 31 | 0.0098514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_261-417_0_4_line_26 |  | 20 | 21 | 0.012893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-417_0_4_line_27 |  | 20 | 22 | 0.079232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-417_0_4_line_28 |  | 21 | 42 | 0.02456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-417_0_4_line_29 |  | 22 | 50 | 0.06491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-417_0_4_line_30 |  | 23 | 54 | 0.012737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-417_0_4_line_31 |  | 24 | 25 | 0.009953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-417_0_4_line_32 |  | 24 | 26 | 0.054915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-417_0_4_line_33 |  | 24 | 27 | 0.0089717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-417_0_4_line_34 |  | 25 | 28 | 0.017629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-417_0_4_line_35 |  | 25 | 29 | 0.0094576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-417_0_4_line_36 |  | 26 | 38 | 0.052637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-417_0_4_line_37 |  | 27 | 59 | 0.010401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-417_0_4_line_38 |  | 28 | 44 | 0.007941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-417_0_4_line_39 |  | 29 | 48 | 0.011216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-417_0_4_line_40 |  | 30 | 59 | 0.010632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_261-417_0_4_line_41 |  | 31 | 60 | 0.013452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_261-417_0_4_line_42 |  | 32 | 33 | 0.011257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-417_0_4_line_43 |  | 32 | 34 | 0.036683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-417_0_4_line_44 |  | 33 | 39 | 0.027543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-417_0_4_line_45 |  | 35 | 36 | 0.026639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-417_0_4_line_46 |  | 35 | 37 | 0.010435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-417_0_4_line_47 |  | 36 | 58 | 0.0095112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-417_0_4_line_48 |  | 37 | 61 | 0.011944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-417_0_4_line_49 |  | 38 | 62 | 0.024911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-417_0_4_line_50 |  | 39 | 40 | 0.002773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-417_0_4_line_51 |  | 40 | 46 | 0.0089657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-417_0_4_line_52 |  | 40 | 51 | 0.020654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-417_0_4_line_53 |  | 41 | 63 | 0.01462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-417_0_4_line_54 |  | 44 | 53 | 0.011504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-417_0_4_line_55 |  | 45 | 46 | 0.004515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-417_0_4_line_56 |  | 45 | 47 | 0.021624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-417_0_4_line_57 |  | 46 | 52 | 0.0076314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-417_0_4_line_58 |  | 47 | 64 | 0.010311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-417_0_4_line_59 |  | 48 | 49 | 0.0098251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-417_0_4_line_60 |  | 49 | 67 | 0.020113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-417_0_4_line_61 |  | 52 | 68 | 0.01591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-417_0_4_line_62 |  | 53 | 69 | 0.012487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-417_0_4_line_63 |  | 55 | 60 | 0.01342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_261-417_0_4_line_64 |  | 56 | 70 | 0.0052914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-417_0_4_line_65 |  | 57 | 58 | 0.0079162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-417_0_4_line_66 |  | 61 | 64 | 0.0097875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-417_0_4_line_67 |  | 65 | 66 | 0.01363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-417_0_4_line_68 |  | 66 | 69 | 0.012603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-417_0_4_line_69 |  | 68 | 70 | 0.0098312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-417_0_4_trafo_60 | 0.63 MVA 20/0.4 kV | 71 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2681587.7264 | 1247510.3258 | 2681571.3934 | 1247529.2185
1 | 2681593.0041 | 1247504.221 | 2681587.7264 | 1247510.3258
2 | 2681593.0041 | 1247504.221 | 2681589.0196 | 1247501.2084 | 2681593.5158 | 1247495.5772 | 2681597.5759 | 1247490.3626 | 2681594.8266 | 1247488.1565 | 2681594.1012 | 1247487.6239
3 | 2681594.1012 | 1247487.6239 | 2681594.8266 | 1247488.1565 | 2681597.5759 | 1247490.3626 | 2681601.6868 | 1247494.0663
4 | 2681594.1012 | 1247487.6239 | 2681614.1776 | 1247464.712
5 | 2681612.9396 | 1247518.7326 | 2681626.8495 | 1247528.9941
6 | 2681635.1584 | 1247537.7701 | 2681634.408 | 1247535.2246 | 2681632.8391 | 1247533.4128 | 2681626.8495 | 1247528.9941
7 | 2681601.6868 | 1247494.0663 | 2681607.9467 | 1247499.6899 | 2681609.5528 | 1247500.8619
8 | 2681601.6868 | 1247494.0663 | 2681616.1749 | 1247476.8554
9 | 2681616.1749 | 1247476.8554 | 2681625.4701 | 1247465.8133
10 | 2681645.3867 | 1247446.6886 | 2681644.7968 | 1247446.1912 | 2681643.9325 | 1247445.8791 | 2681643.0259 | 1247445.8889 | 2681642.13 | 1247446.2212 | 2681641.4186 | 1247446.8675
11 | 2681645.3867 | 1247446.6886 | 2681648.1865 | 1247443.5804 | 2681652.0371 | 1247439.3192
12 | 2681645.3867 | 1247446.6886 | 2681650.6409 | 1247451.1217
13 | 2681641.4186 | 1247446.8675 | 2681633.6725 | 1247456.0694
14 | 2681652.0371 | 1247439.3192 | 2681656.4269 | 1247442.9864
15 | 2681652.0371 | 1247439.3192 | 2681651.4822 | 1247438.4776 | 2681651.2161 | 1247437.5066 | 2681651.235 | 1247436.684 | 2681651.4649 | 1247435.8977
16 | 2681662.0674 | 1247460.7626 | 2681650.6409 | 1247451.1217
17 | 2681644.3384 | 1247430.1176 | 2681647.4236 | 1247432.6175 | 2681651.4649 | 1247435.8977
18 | 2681651.4649 | 1247435.8977 | 2681661.815 | 1247423.8113
19 | 2681639.7206 | 1247429.2089 | 2681641.3184 | 1247430.5653 | 2681642.0909 | 1247430.9651 | 2681642.9512 | 1247431.0214 | 2681643.7411 | 1247430.7098 | 2681644.3384 | 1247430.1176
20 | 2681644.3384 | 1247430.1176 | 2681650.6051 | 1247422.8537
21 | 2681671.281 | 1247412.7573 | 2681661.815 | 1247423.8113
22 | 2681697.3874 | 1247477.2049 | 2681687.7454 | 1247469.1499
23 | 2681690.1345 | 1247484.4436 | 2681693.16 | 1247481.4053 | 2681697.3874 | 1247477.2049
24 | 2681690.1345 | 1247484.4436 | 2681676.2909 | 1247498.3312
25 | 2681690.1345 | 1247484.4436 | 2681682.6051 | 1247478.0908
26 | 2681611.1543 | 1247404.9869 | 2681620.9879 | 1247413.325
27 | 2681554.9734 | 1247425.6626 | 2681580.0925 | 1247396.3199 | 2681584.8768 | 1247399.955 | 2681585.3582 | 1247399.5502 | 2681586.6941 | 1247399.0794 | 2681588.2642 | 1247399.1566 | 2681589.6673 | 1247399.8431 | 2681592.2806 | 1247396.5655 | 2681607.2148 | 1247409.1246 | 2681611.1543 | 1247404.9869
28 | 2681639.7206 | 1247429.2089 | 2681620.9879 | 1247413.325
29 | 2681601.5136 | 1247435.332 | 2681587.425 | 1247452.9845 | 2681570.3107 | 1247438.5718 | 2681562.4778 | 1247431.9815 | 2681554.9734 | 1247425.6626
30 | 2681625.4701 | 1247465.8133 | 2681633.6725 | 1247456.0694
31 | 2681656.081 | 1247520.2564 | 2681652.0827 | 1247523.7261 | 2681650.1921 | 1247524.9899 | 2681647.8505 | 1247525.5359
32 | 2681656.081 | 1247520.2564 | 2681661.9794 | 1247525.7973 | 2681668.8918 | 1247532.2972 | 2681673.2988 | 1247526.5759 | 2681694.5387 | 1247505.2306
33 | 2681656.081 | 1247520.2564 | 2681657.4751 | 1247517.2067 | 2681661.4416 | 1247513.2275
34 | 2681635.1584 | 1247537.7701 | 2681642.1858 | 1247530.9952 | 2681647.8505 | 1247525.5359
35 | 2681647.8505 | 1247525.5359 | 2681645.5515 | 1247525.7377 | 2681643.6026 | 1247525.1994 | 2681641.4568 | 1247524.1468 | 2681639.2456 | 1247522.5325
36 | 2681694.5387 | 1247505.2306 | 2681720.7119 | 1247478.3493 | 2681723.5669 | 1247476.7208 | 2681731.9509 | 1247468.3722
37 | 2681661.4416 | 1247513.2275 | 2681668.7845 | 1247505.8613
38 | 2681635.1584 | 1247537.7701 | 2681635.0228 | 1247539.3917 | 2681634.5627 | 1247540.9865 | 2681631.4409 | 1247544.4461
39 | 2681630.1872 | 1247515.919 | 2681639.2456 | 1247522.5325
40 | 2681668.7845 | 1247505.8613 | 2681676.2909 | 1247498.3312
41 | 2681682.6051 | 1247478.0908 | 2681672.3239 | 1247469.4163
42 | 2681659.2484 | 1247350.131 | 2681667.8531 | 1247357.3887
43 | 2681659.2484 | 1247350.131 | 2681650.006 | 1247360.3112 | 2681647.6695 | 1247365.972 | 2681636.6954 | 1247378.7045
44 | 2681688.9067 | 1247375.1466 | 2681667.8531 | 1247357.3887
45 | 2681749.5715 | 1247425.3971 | 2681730.667 | 1247444.1652
46 | 2681749.5715 | 1247425.3971 | 2681741.5614 | 1247418.7086
47 | 2681730.667 | 1247444.1652 | 2681723.9173 | 1247450.8663
48 | 2681741.5614 | 1247418.7086 | 2681732.3931 | 1247411.0529
49 | 2681731.9509 | 1247468.3722 | 2681749.6028 | 1247450.7948
50 | 2681688.9067 | 1247375.1466 | 2681689.5562 | 1247375.7004 | 2681689.7827 | 1247376.2595 | 2681689.8273 | 1247376.8605 | 2681689.6289 | 1247377.5472
51 | 2681689.6289 | 1247377.5472 | 2681692.9734 | 1247380.4176 | 2681696.4297 | 1247383.3896
52 | 2681689.6289 | 1247377.5472 | 2681689.1981 | 1247378.1195 | 2681676.1743 | 1247393.2157
53 | 2681667.6472 | 1247452.3599 | 2681656.4269 | 1247442.9864
54 | 2681631.4409 | 1247544.4461 | 2681623.276 | 1247552.5507
55 | 2681700.3676 | 1247384.3112 | 2681699.1578 | 1247383.3049 | 2681698.1141 | 1247382.8457 | 2681697.2141 | 1247382.9334 | 2681696.4297 | 1247383.3896
56 | 2681700.3676 | 1247384.3112 | 2681716.9655 | 1247398.1707
57 | 2681696.4297 | 1247383.3896 | 2681691.466 | 1247389.1861
58 | 2681724.8803 | 1247404.7796 | 2681716.9655 | 1247398.1707
59 | 2681630.1872 | 1247515.919 | 2681632.5856 | 1247512.8831 | 2681636.2011 | 1247508.1499
60 | 2681638.578 | 1247492.9621 | 2681643.899 | 1247497.6499 | 2681639.4778 | 1247503.8603 | 2681636.2011 | 1247508.1499
61 | 2681691.466 | 1247389.1861 | 2681681.1173 | 1247401.2708
62 | 2681614.414 | 1247561.3475 | 2681623.276 | 1247552.5507
63 | 2681662.0674 | 1247460.7626 | 2681672.3239 | 1247469.4163
64 | 2681674.7227 | 1247408.7382 | 2681671.281 | 1247412.7573
65 | 2681718.2995 | 1247456.4436 | 2681723.9173 | 1247450.8663
66 | 2681724.8803 | 1247404.7796 | 2681732.3931 | 1247411.0529
67 | 2681595.7963 | 1247579.828 | 2681605.4696 | 1247570.226
68 | 2681605.4696 | 1247570.226 | 2681614.414 | 1247561.3475
69 | 2681674.7227 | 1247408.7382 | 2681681.1173 | 1247401.2708

## bus_geodata
| x | y | coords
0 | 2681587.7264 | 1247510.3258
1 | 2681571.3934 | 1247529.2185
2 | 2681593.0041 | 1247504.221
3 | 2681594.1012 | 1247487.6239
4 | 2681612.9396 | 1247518.7326
5 | 2681626.8495 | 1247528.9941
6 | 2681601.6868 | 1247494.0663
7 | 2681614.1776 | 1247464.712
8 | 2681609.5528 | 1247500.8619
9 | 2681616.1749 | 1247476.8554
10 | 2681645.3867 | 1247446.6886
11 | 2681641.4186 | 1247446.8675
12 | 2681652.0371 | 1247439.3192
13 | 2681650.6409 | 1247451.1217
14 | 2681651.4649 | 1247435.8977
15 | 2681644.3384 | 1247430.1176
16 | 2681661.815 | 1247423.8113
17 | 2681697.3874 | 1247477.2049
18 | 2681687.7454 | 1247469.1499
19 | 2681690.1345 | 1247484.4436
20 | 2681611.1543 | 1247404.9869
21 | 2681620.9879 | 1247413.325
22 | 2681554.9734 | 1247425.6626
23 | 2681633.6725 | 1247456.0694
24 | 2681656.081 | 1247520.2564
25 | 2681647.8505 | 1247525.5359
26 | 2681694.5387 | 1247505.2306
27 | 2681661.4416 | 1247513.2275
28 | 2681635.1584 | 1247537.7701
29 | 2681639.2456 | 1247522.5325
30 | 2681676.2909 | 1247498.3312
31 | 2681682.6051 | 1247478.0908
32 | 2681659.2484 | 1247350.131
33 | 2681667.8531 | 1247357.3887
34 | 2681636.6954 | 1247378.7045
35 | 2681749.5715 | 1247425.3971
36 | 2681730.667 | 1247444.1652
37 | 2681741.5614 | 1247418.7086
38 | 2681731.9509 | 1247468.3722
39 | 2681688.9067 | 1247375.1466
40 | 2681689.6289 | 1247377.5472
41 | 2681656.4269 | 1247442.9864
42 | 2681639.7206 | 1247429.2089
43 | 2681650.6051 | 1247422.8537
44 | 2681631.4409 | 1247544.4461
45 | 2681700.3676 | 1247384.3112
46 | 2681696.4297 | 1247383.3896
47 | 2681716.9655 | 1247398.1707
48 | 2681630.1872 | 1247515.919
49 | 2681636.2011 | 1247508.1499
50 | 2681601.5136 | 1247435.332
51 | 2681676.1743 | 1247393.2157
52 | 2681691.466 | 1247389.1861
53 | 2681623.276 | 1247552.5507
54 | 2681625.4701 | 1247465.8133
55 | 2681662.0673 | 1247460.7626
56 | 2681671.281 | 1247412.7573
57 | 2681718.2995 | 1247456.4436
58 | 2681723.9173 | 1247450.8663
59 | 2681668.7845 | 1247505.8613
60 | 2681672.3239 | 1247469.4163
61 | 2681732.3931 | 1247411.0529
62 | 2681749.6028 | 1247450.7948
63 | 2681667.6472 | 1247452.3599
64 | 2681724.8803 | 1247404.7796
65 | 2681595.7963 | 1247579.828
66 | 2681605.4696 | 1247570.226
67 | 2681638.578 | 1247492.9621
68 | 2681681.1173 | 1247401.2708
69 | 2681614.414 | 1247561.3475
70 | 2681674.7227 | 1247408.7382
71 | 2681645.3867 | 1247446.6886

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99535 | -0.08942 | 0.0066685 | 0.0016713
1 | 0.99518 | -0.092745 | 0.0075675 | 0.0018966
2 | 0.99545 | -0.087398 | 0 | 0
3 | 0.99575 | -0.081582 | 0 | 0
4 | 0.98839 | -0.22348 | 0.019744 | 0.0049482
5 | 0.9887 | -0.21739 | 0.018953 | 0.0047501
6 | 0.99606 | -0.075607 | 0 | 0
7 | 0.9952 | -0.092244 | 0.0199 | 0.0049875
8 | 0.99599 | -0.077095 | 0.0081378 | 0.0020395
9 | 0.99693 | -0.058913 | 0.0071122 | 0.0017825
10 | 0.99916 | -0.015981 | 0 | 0
11 | 0.99891 | -0.020822 | 0 | 0
12 | 0.99823 | -0.03376 | 0 | 0
13 | 1 | 0 | -0.45849 | -0.11576
14 | 0.99791 | -0.039856 | 0 | 0
15 | 0.99748 | -0.048125 | 0 | 0
16 | 0.99589 | -0.078686 | 0.0070475 | 0.0017663
17 | 0.9957 | -0.082259 | 0 | 0
18 | 0.99555 | -0.085128 | 0.012988 | 0.0032551
19 | 0.99582 | -0.07992 | 0 | 0
20 | 0.99624 | -0.072108 | 0 | 0
21 | 0.99652 | -0.066578 | 0.010572 | 0.0026496
22 | 0.99447 | -0.10616 | 0 | 0
23 | 0.99824 | -0.033761 | 0.0047635 | 0.0011939
24 | 0.99144 | -0.1643 | 0 | 0
25 | 0.99034 | -0.1855 | 0 | 0
26 | 0.99116 | -0.16959 | 0 | 0
27 | 0.99247 | -0.14436 | 0.0097484 | 0.0024432
28 | 0.98914 | -0.20878 | 0 | 0
29 | 0.98994 | -0.19321 | 0.018148 | 0.0045483
30 | 0.99446 | -0.10592 | 0.0057556 | 0.0014425
31 | 0.99656 | -0.06576 | 0.0092099 | 0.0023082
32 | 0.98843 | -0.22259 | 0 | 0
33 | 0.98865 | -0.21837 | 0.01494 | 0.0037443
34 | 0.98773 | -0.23633 | 0.020983 | 0.0052589
35 | 0.98966 | -0.19877 | 0 | 0
36 | 0.9895 | -0.20184 | 0.0020818 | 0.00052174
37 | 0.98972 | -0.19757 | 0.0021905 | 0.000549
38 | 0.9909 | -0.17466 | 0.0019784 | 0.00049583
39 | 0.98956 | -0.20075 | 0 | 0
40 | 0.98965 | -0.19897 | 0 | 0
41 | 0.99816 | -0.035198 | 0.0058592 | 0.0014684
42 | 0.99731 | -0.051502 | 0 | 0
43 | 0.99734 | -0.050892 | 0.016462 | 0.0041258
44 | 0.98888 | -0.2138 | 0 | 0
45 | 0.99025 | -0.18724 | 0 | 0
46 | 0.99031 | -0.18624 | 0 | 0
47 | 0.99001 | -0.19201 | 0.0013969 | 0.0003501
48 | 0.98966 | -0.19873 | 0 | 0
49 | 0.98941 | -0.20357 | 0.019927 | 0.0049942
50 | 0.99302 | -0.13414 | 0.024424 | 0.0061213
51 | 0.98882 | -0.21512 | 0.043897 | 0.011002
52 | 0.99095 | -0.17375 | 0.013621 | 0.0034138
53 | 0.98851 | -0.22108 | 0.013738 | 0.003443
54 | 0.99758 | -0.046419 | 0.0073899 | 0.0018521
55 | 0.99872 | -0.024403 | 0.0084033 | 0.0021061
56 | 0.99412 | -0.11253 | 0.0080574 | 0.0020194
57 | 0.98945 | -0.20288 | 0.0021171 | 0.0005306
58 | 0.98947 | -0.20258 | 0.0022643 | 0.0005675
59 | 0.99376 | -0.11951 | 0.0097326 | 0.0024392
60 | 0.99762 | -0.045374 | 0.0057698 | 0.001446
61 | 0.98982 | -0.19573 | 0.0011735 | 0.0002941
62 | 0.99082 | -0.17618 | 0.0034471 | 0.00086393
63 | 0.99804 | -0.037377 | 0.0085179 | 0.0021348
64 | 0.98991 | -0.19402 | 0.0011693 | 0.00029306
65 | 0.98805 | -0.23008 | 0.0052693 | 0.0013206
66 | 0.98811 | -0.2288 | 0.007466 | 0.0018712
67 | 0.98927 | -0.20634 | 0.0077412 | 0.0019401
68 | 0.9925 | -0.1439 | 0.0080507 | 0.0020177
69 | 0.98826 | -0.22593 | 0.0090296 | 0.002263
70 | 0.99352 | -0.12411 | 0.010139 | 0.0025411
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0075687 | 0.001897 | -0.0075675 | -0.0018966 | 1.1991e-06 | 4.4285e-07 | 0.011315 | 0.011315 | 0.011315 | 0.99535 | -0.08942 | 0.99518 | -0.092745 | 3.1086
1 | -0.014237 | -0.0035683 | 0.014239 | 0.0035691 | 1.3709e-06 | 7.725e-07 | 0.021284 | 0.021284 | 0.021284 | 0.99535 | -0.08942 | 0.99545 | -0.087398 | 5.8474
2 | -0.014239 | -0.0035691 | 0.014243 | 0.0035713 | 3.9472e-06 | 2.2241e-06 | 0.021284 | 0.021284 | 0.021284 | 0.99545 | -0.087398 | 0.99575 | -0.081582 | 5.8473
3 | -0.034153 | -0.0085649 | 0.034163 | 0.008571 | 9.7277e-06 | 6.0962e-06 | 0.051039 | 0.051039 | 0.051039 | 0.99575 | -0.081582 | 0.99606 | -0.075607 | 14.0216
4 | 0.01991 | 0.0049936 | -0.0199 | -0.0049875 | 1.0114e-05 | 6.0768e-06 | 0.029755 | 0.029755 | 0.029755 | 0.99575 | -0.081582 | 0.9952 | -0.092244 | 8.1744
5 | -0.019744 | -0.0049482 | 0.019749 | 0.0049517 | 5.727e-06 | 3.4437e-06 | 0.029724 | 0.029724 | 0.029724 | 0.98839 | -0.22348 | 0.9887 | -0.21739 | 8.166
6 | -0.038703 | -0.0097018 | 0.038719 | 0.0097118 | 1.5896e-05 | 1.0013e-05 | 0.058249 | 0.058249 | 0.058249 | 0.9887 | -0.21739 | 0.98914 | -0.20878 | 16.0025
7 | 0.0081384 | 0.0020398 | -0.0081378 | -0.0020395 | 5.7666e-07 | 2.3366e-07 | 0.012158 | 0.012158 | 0.012158 | 0.99606 | -0.075607 | 0.99599 | -0.077095 | 3.3401
8 | -0.042301 | -0.010611 | 0.042335 | 0.010632 | 3.3694e-05 | 2.1271e-05 | 0.063197 | 0.063197 | 0.063197 | 0.99606 | -0.075607 | 0.99693 | -0.058913 | 17.3617
9 | -0.049447 | -0.012414 | 0.049476 | 0.012433 | 2.9489e-05 | 1.8685e-05 | 0.073812 | 0.073812 | 0.073812 | 0.99693 | -0.058913 | 0.99758 | -0.046419 | 20.2781
10 | 0.061717 | 0.015534 | -0.061702 | -0.015525 | 1.4276e-05 | 9.0775e-06 | 0.091936 | 0.091936 | 0.091936 | 0.99916 | -0.015981 | 0.99891 | -0.020822 | 25.2571
11 | 0.20633 | 0.052237 | -0.20616 | -0.052125 | 0.00017596 | 0.00011235 | 0.30747 | 0.30747 | 0.30747 | 0.99916 | -0.015981 | 0.99823 | -0.03376 | 42.2348
12 | -0.26805 | -0.067771 | 0.26825 | 0.067903 | 0.00020562 | 0.00013142 | 0.3994 | 0.3994 | 0.3994 | 0.99916 | -0.015981 | 1 | 0 | 54.8633
13 | 0.061702 | 0.015525 | -0.061664 | -0.015501 | 3.8124e-05 | 2.4242e-05 | 0.091936 | 0.091936 | 0.091936 | 0.99891 | -0.020822 | 0.99824 | -0.033761 | 25.2571
14 | 0.014379 | 0.0036042 | -0.014378 | -0.0036036 | 9.8546e-07 | 5.5592e-07 | 0.021434 | 0.021434 | 0.021434 | 0.99823 | -0.03376 | 0.99816 | -0.035198 | 5.8885
15 | 0.19178 | 0.048521 | -0.19172 | -0.048485 | 5.6085e-05 | 3.5799e-05 | 0.28603 | 0.28603 | 0.28603 | 0.99823 | -0.03376 | 0.99791 | -0.039856 | 39.2905
16 | 0.18859 | 0.047858 | -0.18837 | -0.047717 | 0.00022108 | 0.0001411 | 0.28083 | 0.28083 | 0.28083 | 1 | 0 | 0.99872 | -0.024403 | 38.5758
17 | 0.051591 | 0.012979 | -0.051571 | -0.012966 | 2.0373e-05 | 1.2919e-05 | 0.076946 | 0.076946 | 0.076946 | 0.99791 | -0.039856 | 0.99748 | -0.048125 | 21.139
18 | 0.14013 | 0.035506 | -0.13987 | -0.035339 | 0.00026088 | 0.00016675 | 0.20909 | 0.20909 | 0.20909 | 0.99791 | -0.039856 | 0.99589 | -0.078686 | 57.4421
19 | 0.035106 | 0.0088387 | -0.0351 | -0.0088352 | 5.667e-06 | 3.555e-06 | 0.052384 | 0.052384 | 0.052384 | 0.99748 | -0.048125 | 0.99731 | -0.051502 | 14.3913
20 | 0.016464 | 0.0041271 | -0.016462 | -0.0041258 | 2.1703e-06 | 1.2638e-06 | 0.024561 | 0.024561 | 0.024561 | 0.99748 | -0.048125 | 0.99734 | -0.050892 | 6.7476
21 | 0.13282 | 0.033573 | -0.13261 | -0.033436 | 0.00021516 | 0.00013752 | 0.19856 | 0.19856 | 0.19856 | 0.99589 | -0.078686 | 0.99412 | -0.11253 | 54.5493
22 | 0.01299 | 0.003256 | -0.012988 | -0.0032551 | 1.7755e-06 | 9.7292e-07 | 0.019412 | 0.019412 | 0.019412 | 0.9957 | -0.082259 | 0.99555 | -0.085128 | 5.3331
23 | -0.01299 | -0.003256 | 0.012991 | 0.0032568 | 1.4481e-06 | 7.9348e-07 | 0.019412 | 0.019412 | 0.019412 | 0.9957 | -0.082259 | 0.99582 | -0.07992 | 5.3331
24 | 0.15153 | 0.038304 | -0.15134 | -0.038184 | 0.00018869 | 0.00012025 | 0.22654 | 0.22654 | 0.22654 | 0.99582 | -0.07992 | 0.99446 | -0.10592 | 31.1184
25 | -0.16452 | -0.041561 | 0.16463 | 0.041632 | 0.00011174 | 7.1257e-05 | 0.24595 | 0.24595 | 0.24595 | 0.99582 | -0.07992 | 0.99656 | -0.06576 | 33.7849
26 | -0.024497 | -0.0061658 | 0.024503 | 0.0061697 | 6.4759e-06 | 3.9767e-06 | 0.036598 | 0.036598 | 0.036598 | 0.99624 | -0.072108 | 0.99652 | -0.066578 | 10.0545
27 | 0.024497 | 0.0061658 | -0.024457 | -0.0061413 | 3.9798e-05 | 2.4441e-05 | 0.036598 | 0.036599 | 0.036599 | 0.99624 | -0.072108 | 0.99447 | -0.10616 | 10.0546
28 | -0.035075 | -0.0088193 | 0.0351 | 0.0088352 | 2.5274e-05 | 1.5855e-05 | 0.052385 | 0.052384 | 0.052385 | 0.99652 | -0.066578 | 0.99731 | -0.051502 | 14.3914
29 | 0.024457 | 0.0061413 | -0.024424 | -0.0061213 | 3.2605e-05 | 2.0026e-05 | 0.036599 | 0.036599 | 0.036599 | 0.99447 | -0.10616 | 0.99302 | -0.13414 | 10.0547
30 | 0.056901 | 0.014307 | -0.056866 | -0.014285 | 3.4375e-05 | 2.1833e-05 | 0.084835 | 0.084835 | 0.084835 | 0.99824 | -0.033761 | 0.99758 | -0.046419 | 23.3064
31 | 0.1203 | 0.030259 | -0.12018 | -0.030181 | 0.00012173 | 7.7778e-05 | 0.18059 | 0.18059 | 0.18059 | 0.99144 | -0.1643 | 0.99034 | -0.1855 | 49.6137
32 | 0.0054285 | 0.0013599 | -0.0054271 | -0.0013598 | 1.367e-06 | 1.6688e-07 | 0.0081472 | 0.0081475 | 0.0081475 | 0.99144 | -0.1643 | 0.99116 | -0.16959 | 2.2383
33 | -0.12573 | -0.031619 | 0.12585 | 0.031696 | 0.00011985 | 7.6589e-05 | 0.18874 | 0.18874 | 0.18874 | 0.99144 | -0.1643 | 0.99247 | -0.14436 | 51.852
34 | 0.074331 | 0.018679 | -0.074249 | -0.018627 | 8.2485e-05 | 5.2564e-05 | 0.1117 | 0.1117 | 0.1117 | 0.99034 | -0.1855 | 0.98914 | -0.20878 | 30.6876
35 | 0.045848 | 0.011502 | -0.045831 | -0.011491 | 1.6832e-05 | 1.0651e-05 | 0.068891 | 0.068891 | 0.068891 | 0.99034 | -0.1855 | 0.98994 | -0.19321 | 18.9262
36 | 0.0054271 | 0.0013598 | -0.0054258 | -0.0013596 | 1.3103e-06 | 1.6038e-07 | 0.0081475 | 0.0081477 | 0.0081477 | 0.99116 | -0.16959 | 0.9909 | -0.17466 | 2.2384
37 | -0.1356 | -0.034139 | 0.13576 | 0.034242 | 0.00016129 | 0.00010309 | 0.20336 | 0.20336 | 0.20336 | 0.99247 | -0.14436 | 0.99376 | -0.11951 | 55.8673
38 | 0.03553 | 0.0089149 | -0.035522 | -0.0089095 | 8.5087e-06 | 5.3436e-06 | 0.053454 | 0.053454 | 0.053454 | 0.98914 | -0.20878 | 0.98888 | -0.2138 | 14.6851
39 | 0.027683 | 0.0069432 | -0.027676 | -0.0069387 | 7.2831e-06 | 4.517e-06 | 0.041613 | 0.041613 | 0.041613 | 0.98994 | -0.19321 | 0.98966 | -0.19873 | 11.4321
40 | 0.14559 | 0.036741 | -0.14549 | -0.036681 | 9.4682e-05 | 6.0321e-05 | 0.21793 | 0.21793 | 0.21793 | 0.99446 | -0.10592 | 0.99376 | -0.11951 | 29.9355
41 | -0.17384 | -0.043941 | 0.17401 | 0.044049 | 0.00017012 | 0.00010852 | 0.25971 | 0.25971 | 0.25971 | 0.99656 | -0.06576 | 0.99762 | -0.045374 | 35.6739
42 | -0.020997 | -0.0052672 | 0.021001 | 0.0052698 | 4.2182e-06 | 2.5553e-06 | 0.031611 | 0.031611 | 0.031611 | 0.98843 | -0.22259 | 0.98865 | -0.21837 | 8.6844
43 | 0.020997 | 0.0052672 | -0.020983 | -0.0052589 | 1.3746e-05 | 8.3277e-06 | 0.031611 | 0.031611 | 0.031611 | 0.98843 | -0.22259 | 0.98773 | -0.23633 | 8.6844
44 | -0.035941 | -0.0090141 | 0.035971 | 0.0090331 | 3.0226e-05 | 1.8991e-05 | 0.054097 | 0.054097 | 0.054097 | 0.98865 | -0.21837 | 0.98956 | -0.20075 | 14.8619
45 | 0.0064643 | 0.00162 | -0.0064634 | -0.0016197 | 9.4371e-07 | 2.6173e-07 | 0.0097195 | 0.0097196 | 0.0097196 | 0.98966 | -0.19877 | 0.9895 | -0.20184 | 2.6702
46 | -0.0064643 | -0.00162 | 0.0064647 | 0.0016201 | 3.6968e-07 | 1.025e-07 | 0.0097195 | 0.0097194 | 0.0097195 | 0.98966 | -0.19877 | 0.98972 | -0.19757 | 2.6702
47 | 0.0043816 | 0.001098 | -0.0043815 | -0.001098 | 1.5485e-07 | -2.3064e-08 | 0.0065891 | 0.0065891 | 0.0065891 | 0.9895 | -0.20184 | 0.98947 | -0.20258 | 1.8102
48 | -0.0086553 | -0.0021691 | 0.008656 | 0.0021694 | 7.5847e-07 | 3.3191e-07 | 0.013013 | 0.013013 | 0.013013 | 0.98972 | -0.19757 | 0.98982 | -0.19573 | 3.575
49 | 0.0034474 | 0.00086377 | -0.0034471 | -0.00086393 | 2.5035e-07 | -1.6064e-07 | 0.0051768 | 0.0051769 | 0.0051769 | 0.9909 | -0.17466 | 0.99082 | -0.17618 | 1.4222
50 | -0.035971 | -0.0090331 | 0.035974 | 0.009035 | 3.0432e-06 | 1.912e-06 | 0.054097 | 0.054097 | 0.054097 | 0.98956 | -0.20075 | 0.98965 | -0.19897 | 14.8619
51 | -0.079906 | -0.020058 | 0.079954 | 0.020089 | 4.8541e-05 | 3.0951e-05 | 0.12016 | 0.12016 | 0.12016 | 0.98965 | -0.19897 | 0.99031 | -0.18624 | 33.0098
52 | 0.043931 | 0.011023 | -0.043897 | -0.011002 | 3.3798e-05 | 2.1366e-05 | 0.066059 | 0.066059 | 0.066059 | 0.98965 | -0.19897 | 0.98882 | -0.21512 | 18.148
53 | 0.0085188 | 0.0021352 | -0.0085179 | -0.0021348 | 8.8424e-07 | 3.7483e-07 | 0.0127 | 0.0127 | 0.0127 | 0.99816 | -0.035198 | 0.99804 | -0.037377 | 3.4889
54 | 0.035522 | 0.0089095 | -0.035509 | -0.0089018 | 1.2327e-05 | 7.7416e-06 | 0.053454 | 0.053454 | 0.053454 | 0.98888 | -0.2138 | 0.98851 | -0.22108 | 14.6851
55 | -0.0124 | -0.0031091 | 0.012401 | 0.0031095 | 5.879e-07 | 3.1817e-07 | 0.018634 | 0.018634 | 0.018634 | 0.99025 | -0.18724 | 0.99031 | -0.18624 | 5.1192
56 | 0.0124 | 0.0031091 | -0.012398 | -0.0031076 | 2.8156e-06 | 1.5239e-06 | 0.018634 | 0.018634 | 0.018634 | 0.99025 | -0.18724 | 0.99001 | -0.19201 | 5.1193
57 | -0.092355 | -0.023198 | 0.09241 | 0.023234 | 5.5125e-05 | 3.5182e-05 | 0.13879 | 0.13879 | 0.13879 | 0.99031 | -0.18624 | 0.99095 | -0.17375 | 38.129
58 | 0.011001 | 0.0027575 | -0.011 | -0.002757 | 1.0571e-06 | 5.4399e-07 | 0.016535 | 0.016535 | 0.016535 | 0.99001 | -0.19201 | 0.98991 | -0.19402 | 4.5425
59 | 0.027676 | 0.0069387 | -0.027669 | -0.0069347 | 6.3801e-06 | 3.957e-06 | 0.041613 | 0.041613 | 0.041613 | 0.98966 | -0.19873 | 0.98941 | -0.20357 | 11.4321
60 | 0.0077422 | 0.0019405 | -0.0077412 | -0.0019401 | 1.0226e-06 | 3.9619e-07 | 0.011644 | 0.011644 | 0.011644 | 0.98941 | -0.20357 | 0.98927 | -0.20634 | 3.1989
61 | -0.10603 | -0.026647 | 0.10618 | 0.026744 | 0.0001513 | 9.6625e-05 | 0.15924 | 0.15924 | 0.15924 | 0.99095 | -0.17375 | 0.9925 | -0.1439 | 43.7482
62 | 0.021772 | 0.0054588 | -0.021767 | -0.0054558 | 5.0298e-06 | 3.059e-06 | 0.032774 | 0.032774 | 0.032774 | 0.98851 | -0.22108 | 0.98826 | -0.22593 | 9.004
63 | 0.17996 | 0.045611 | -0.17978 | -0.045495 | 0.00018114 | 0.00011558 | 0.26831 | 0.26831 | 0.26831 | 0.99872 | -0.024403 | 0.99762 | -0.045374 | 36.856
64 | 0.12455 | 0.031416 | -0.12448 | -0.031372 | 6.9017e-05 | 4.4102e-05 | 0.1865 | 0.1865 | 0.1865 | 0.99412 | -0.11253 | 0.99352 | -0.12411 | 51.236
65 | -0.0021171 | -0.0005306 | 0.0021171 | 0.00053052 | 3.0093e-08 | -8.2418e-08 | 0.0031839 | 0.0031839 | 0.0031839 | 0.98945 | -0.20288 | 0.98947 | -0.20258 | 0.8747
66 | -0.0098295 | -0.0024635 | 0.0098303 | 0.0024639 | 8.0144e-07 | 3.871e-07 | 0.014777 | 0.014777 | 0.014777 | 0.98982 | -0.19573 | 0.98991 | -0.19402 | 4.0596
67 | -0.0052693 | -0.0013206 | 0.0052696 | 0.0013206 | 3.2187e-07 | 3.1422e-08 | 0.0079356 | 0.0079356 | 0.0079356 | 0.98805 | -0.23008 | 0.98811 | -0.2288 | 2.1801
68 | -0.012736 | -0.0031918 | 0.012737 | 0.0031927 | 1.7384e-06 | 9.5109e-07 | 0.019179 | 0.019179 | 0.019179 | 0.98811 | -0.2288 | 0.98826 | -0.22593 | 5.2689
69 | -0.11423 | -0.028762 | 0.11434 | 0.028831 | 0.0001082 | 6.912e-05 | 0.17131 | 0.17131 | 0.17131 | 0.9925 | -0.1439 | 0.99352 | -0.12411 | 47.0641

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.46537 | 0.11748

## res_load
| p_mw | q_mvar
0 | 0.0066685 | 0.0016713
1 | 0.0075675 | 0.0018966
2 | 0.019744 | 0.0049482
3 | 0.018953 | 0.0047501
4 | 0.0199 | 0.0049875
5 | 0.0081378 | 0.0020395
6 | 0.0071122 | 0.0017825
7 | 0.006879 | 0.001724
8 | 0.0070475 | 0.0017663
9 | 0.012988 | 0.0032551
10 | 0.010572 | 0.0026496
11 | 0.0047635 | 0.0011939
12 | 0.0097484 | 0.0024432
13 | 0.018148 | 0.0045483
14 | 0.0057556 | 0.0014425
15 | 0.0092099 | 0.0023082
16 | 0.01494 | 0.0037443
17 | 0.020983 | 0.0052589
18 | 0.0020818 | 0.00052174
19 | 0.0021905 | 0.000549
20 | 0.0019784 | 0.00049583
21 | 0.0058592 | 0.0014684
22 | 0.016462 | 0.0041258
23 | 0.0013969 | 0.0003501
24 | 0.019927 | 0.0049942
25 | 0.024424 | 0.0061213
26 | 0.043897 | 0.011002
27 | 0.013621 | 0.0034138
28 | 0.013738 | 0.003443
29 | 0.0073899 | 0.0018521
30 | 0.0084033 | 0.0021061
31 | 0.0080574 | 0.0020194
32 | 0.0021171 | 0.0005306
33 | 0.0022643 | 0.0005675
34 | 0.0097326 | 0.0024392
35 | 0.0057698 | 0.001446
36 | 0.0011735 | 0.0002941
37 | 0.0034471 | 0.00086393
38 | 0.0085179 | 0.0021348
39 | 0.0011693 | 0.00029306
40 | 0.0052693 | 0.0013206
41 | 0.007466 | 0.0018712
42 | 0.0077412 | 0.0019401
43 | 0.0080507 | 0.0020177
44 | 0.0090296 | 0.002263
45 | 0.010139 | 0.0025411

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1