## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-425_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-425_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-425_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-425_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-425_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-425_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_261-425_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_261-425_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_261-425_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_261-425_0_4_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_261-425_0_4_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_261-425_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_261-425_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_261-425_0_4_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_261-425_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_261-425_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_261-425_0_4_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_261-425_0_4_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_261-425_0_4_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_261-425_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_261-425_0_4_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_261-425_0_4_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_261-425_0_4_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_261-425_0_4_node_49 | 0.4 | n |  | TRUE
24 | bus_LV_261-425_0_4_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_261-425_0_4_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_261-425_0_4_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_261-425_0_4_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_261-425_0_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_261-425_0_4_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_261-425_0_4_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_261-425_0_4_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_261-425_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_261-425_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_261-425_0_4_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_261-425_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_261-425_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_261-425_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_261-425_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_261-425_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_261-425_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_261-425_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_261-425_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_261-425_0_4_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_261-425_0_4_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_261-425_0_4_node_44 | 0.4 | n |  | TRUE
46 | bus_MV_527_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-425_0_4_load_0 | 0 | 0.0030079 | 0.00075385 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-425_0_4_load_1 | 1 | 0.0031156 | 0.00078083 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-425_0_4_load_2 | 2 | 0.0031073 | 0.00077876 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-425_0_4_load_3 | 3 | 0.0027639 | 0.00069269 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-425_0_4_load_4 | 4 | 0.0027591 | 0.0006915 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-425_0_4_load_6 | 5 | 0.0040539 | 0.001016 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-425_0_4_load_5 | 6 | 0.0039819 | 0.00099795 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-425_0_4_load_7 | 7 | 0.0031023 | 0.00077751 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-425_0_4_load_8 | 8 | 0.0028943 | 0.00072537 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-425_0_4_load_25 | 9 | 0.002901 | 0.00072706 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-425_0_4_load_23 | 10 | 0.0034234 | 0.00085799 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-425_0_4_load_9 | 11 | 0.018168 | 0.0045532 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-425_0_4_load_19 | 13 | 0.0075586 | 0.0018944 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-425_0_4_load_42 | 16 | 0.02267 | 0.0056816 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-425_0_4_load_53 | 17 | 0.024652 | 0.0061784 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-425_0_4_load_46 | 18 | 0.045934 | 0.011512 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-425_0_4_load_41 | 20 | 0.01257 | 0.0031503 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-425_0_4_load_52 | 21 | 0.0074065 | 0.0018563 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-425_0_4_load_49 | 23 | 0.02308 | 0.0057844 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-425_0_4_load_50 | 24 | 0.039214 | 0.0098279 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-425_0_4_load_48 | 26 | 0.035912 | 0.0090003 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-425_0_4_load_35 | 27 | 0.049616 | 0.012435 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-425_0_4_load_34 | 29 | 0.0089936 | 0.002254 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-425_0_4_load_31 | 30 | 0.0032795 | 0.00082193 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-425_0_4_load_28 | 32 | 0.0035383 | 0.00088679 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-425_0_4_load_29 | 33 | 0.0030145 | 0.00075552 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-425_0_4_load_51 | 34 | 0.021543 | 0.0053991 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-425_0_4_load_20 | 35 | 0.0027792 | 0.00069652 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-425_0_4_load_21 | 36 | 0.0031488 | 0.00078916 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-425_0_4_load_22 | 37 | 0.0030693 | 0.00076924 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-425_0_4_load_24 | 38 | 0.0039609 | 0.0009927 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-425_0_4_load_26 | 39 | 0.003822 | 0.00095788 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-425_0_4_load_27 | 40 | 0.017829 | 0.0044684 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-425_0_4_load_30 | 41 | 0.0025102 | 0.00062911 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-425_0_4_load_32 | 42 | 0.0030903 | 0.00077451 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-425_0_4_load_47 | 43 | 0.02938 | 0.0073634 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-425_0_4_load_43 | 44 | 0.0080501 | 0.0020175 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-425_0_4_load_44 | 45 | 0.0083139 | 0.0020837 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-425_0_4_line_0 |  | 0 | 1 | 6.2533e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-425_0_4_line_1 |  | 0 | 2 | 0.015128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-425_0_4_line_2 |  | 1 | 3 | 0.0085841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-425_0_4_line_3 |  | 2 | 4 | 0.00028194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-425_0_4_line_4 |  | 3 | 5 | 0.0016768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-425_0_4_line_5 |  | 5 | 6 | 0.013551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-425_0_4_line_6 |  | 6 | 7 | 0.0056032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-425_0_4_line_7 |  | 7 | 8 | 0.0077769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-425_0_4_line_8 |  | 8 | 9 | 0.0052975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-425_0_4_line_9 |  | 9 | 10 | 0.0084844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-425_0_4_line_10 |  | 10 | 36 | 0.00017074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-425_0_4_line_11 |  | 11 | 12 | 0.022984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-425_0_4_line_12 |  | 12 | 13 | 0.01431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_261-425_0_4_line_13 |  | 12 | 14 | 0.045654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-425_0_4_line_14 |  | 12 | 15 | 0.049417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-425_0_4_line_15 |  | 13 | 21 | 0.019449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_261-425_0_4_line_16 |  | 14 | 18 | 0.04333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-425_0_4_line_17 |  | 15 | 16 | 0.018644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-425_0_4_line_18 |  | 15 | 17 | 0.028535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-425_0_4_line_19 |  | 16 | 19 | 0.029256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-425_0_4_line_20 |  | 18 | 31 | 0.045332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-425_0_4_line_21 |  | 19 | 20 | 0.0085998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-425_0_4_line_22 |  | 21 | 34 | 0.019228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_261-425_0_4_line_23 |  | 22 | 23 | 0.0093561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_261-425_0_4_line_24 |  | 22 | 24 | 0.027168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_261-425_0_4_line_25 |  | 23 | 25 | 0.03528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_261-425_0_4_line_26 |  | 24 | 34 | 0.019592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_261-425_0_4_line_27 |  | 25 | 26 | 0.013592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-425_0_4_line_28 |  | 25 | 27 | 0.025903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-425_0_4_line_29 |  | 26 | 40 | 0.012446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-425_0_4_line_30 |  | 27 | 28 | 0.026555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-425_0_4_line_31 |  | 28 | 29 | 0.021595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-425_0_4_line_32 |  | 28 | 30 | 0.061238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-425_0_4_line_33 |  | 30 | 42 | 0.0090233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-425_0_4_line_34 |  | 31 | 43 | 0.012286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-425_0_4_line_35 |  | 31 | 44 | 0.0035503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-425_0_4_line_36 |  | 32 | 33 | 0.0025425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-425_0_4_line_37 |  | 33 | 41 | 0.0061971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-425_0_4_line_38 |  | 35 | 36 | 0.0089228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-425_0_4_line_39 |  | 35 | 37 | 7.9196e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-425_0_4_line_40 |  | 37 | 38 | 0.013931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-425_0_4_line_41 |  | 38 | 39 | 0.01016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-425_0_4_line_42 |  | 39 | 40 | 0.013688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-425_0_4_line_43 |  | 41 | 42 | 0.017104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-425_0_4_line_44 |  | 44 | 45 | 0.021155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-425_0_4_trafo_51 | 0.63 MVA 20/0.4 kV | 46 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2680102.2784 | 1248429.1017 | 2680102.3136 | 1248429.1534
1 | 2680102.2784 | 1248429.1017 | 2680093.7675 | 1248416.5948
2 | 2680107.1429 | 1248436.2503 | 2680102.3136 | 1248429.1534
3 | 2680093.6089 | 1248416.3617 | 2680093.7675 | 1248416.5948
4 | 2680108.0862 | 1248437.6365 | 2680107.1429 | 1248436.2503
5 | 2680115.71 | 1248448.8399 | 2680108.0862 | 1248437.6365
6 | 2680115.71 | 1248448.8399 | 2680118.8623 | 1248453.4723 | 2680118.8623 | 1248453.4723
7 | 2680118.8623 | 1248453.4723 | 2680126.3966 | 1248455.3996
8 | 2680131.5288 | 1248456.7125 | 2680131.5288 | 1248456.7125 | 2680126.3966 | 1248455.3996
9 | 2680136.3734 | 1248463.6778 | 2680131.5288 | 1248456.7125
10 | 2680136.3734 | 1248463.6778 | 2680136.4709 | 1248463.8179
11 | 2680074.2461 | 1248473.9957 | 2680059.2991 | 1248456.5354
12 | 2680074.2461 | 1248473.9957 | 2680083.5512 | 1248484.867
13 | 2680074.2461 | 1248473.9957 | 2680071.1064 | 1248476.6442 | 2680077.6042 | 1248484.2486 | 2680098.0937 | 1248508.2318
14 | 2680048.1448 | 1248503.7095 | 2680073.0397 | 1248487.2669 | 2680077.6042 | 1248484.2486 | 2680071.1064 | 1248476.6442 | 2680074.2461 | 1248473.9957
15 | 2680083.5512 | 1248484.867 | 2680096.1982 | 1248499.6425
16 | 2680098.0937 | 1248508.2318 | 2680062.6624 | 1248533.1733
17 | 2680048.1448 | 1248503.7095 | 2680032.5824 | 1248513.9773
18 | 2680048.1448 | 1248503.7095 | 2680039.083 | 1248489.6769 | 2680035.1297 | 1248487.1439 | 2680031.535 | 1248480.9798
19 | 2680008.1626 | 1248530.0892 | 2680032.5824 | 1248513.9773
20 | 2680066.8021 | 1248567.1523 | 2680067.6417 | 1248566.4965 | 2680051.1032 | 1248541.3103 | 2680062.6624 | 1248533.1733
21 | 2680008.1626 | 1248530.0892 | 2680012.8457 | 1248537.3021
22 | 2680096.1982 | 1248499.6425 | 2680108.7013 | 1248514.2501
23 | 2680140.3748 | 1248548.11 | 2680148.4594 | 1248543.4007
24 | 2680140.3748 | 1248548.11 | 2680137.9172 | 1248547.2317 | 2680136.3294 | 1248546.254 | 2680134.3779 | 1248544.2484 | 2680121.4412 | 1248529.1343
25 | 2680177.777 | 1248523.7867 | 2680151.1763 | 1248541.8181 | 2680148.4594 | 1248543.4007
26 | 2680121.4412 | 1248529.1343 | 2680108.7013 | 1248514.2501
27 | 2680177.777 | 1248523.7867 | 2680170.1133 | 1248512.5617
28 | 2680177.777 | 1248523.7867 | 2680199.2185 | 1248509.2525
29 | 2680170.1133 | 1248512.5617 | 2680163.0953 | 1248502.2825
30 | 2680221.1998 | 1248494.3525 | 2680199.2185 | 1248509.2525
31 | 2680221.1998 | 1248494.3525 | 2680239.0566 | 1248482.2089
32 | 2680221.1998 | 1248494.3525 | 2680186.5176 | 1248443.8826
33 | 2680186.5176 | 1248443.8826 | 2680184.4795 | 1248440.9167 | 2680181.4353 | 1248436.4267
34 | 2680066.8021 | 1248567.1523 | 2680073.8743 | 1248577.1982
35 | 2680066.8021 | 1248567.1523 | 2680064.7774 | 1248564.236
36 | 2680162.9742 | 1248423.3575 | 2680161.5929 | 1248421.223
37 | 2680162.9742 | 1248423.3575 | 2680162.9742 | 1248423.3575 | 2680168.5472 | 1248426.0677
38 | 2680141.5646 | 1248471.1439 | 2680139.5 | 1248468.173 | 2680136.4709 | 1248463.8179
39 | 2680141.5646 | 1248471.1439 | 2680141.6098 | 1248471.209
40 | 2680141.6098 | 1248471.209 | 2680149.5596 | 1248482.6487
41 | 2680155.3575 | 1248490.9918 | 2680149.5596 | 1248482.6487
42 | 2680155.3575 | 1248490.9918 | 2680157.0198 | 1248493.3838 | 2680163.0953 | 1248502.2825
43 | 2680181.4353 | 1248436.4267 | 2680177.2972 | 1248430.3229 | 2680168.5472 | 1248426.0677
44 | 2680052.7123 | 1248546.8583 | 2680064.7774 | 1248564.236

## bus_geodata
| x | y | coords
0 | 2680102.2784 | 1248429.1017
1 | 2680102.3136 | 1248429.1534
2 | 2680093.7675 | 1248416.5948
3 | 2680107.1429 | 1248436.2503
4 | 2680093.6089 | 1248416.3617
5 | 2680108.0862 | 1248437.6365
6 | 2680115.71 | 1248448.8399
7 | 2680118.8623 | 1248453.4723
8 | 2680126.3966 | 1248455.3996
9 | 2680131.5288 | 1248456.7125
10 | 2680136.3734 | 1248463.6778
11 | 2680059.2991 | 1248456.5354
12 | 2680074.2461 | 1248473.9957
13 | 2680083.5512 | 1248484.867
14 | 2680098.0937 | 1248508.2318
15 | 2680048.1448 | 1248503.7095
16 | 2680032.5824 | 1248513.9773
17 | 2680031.535 | 1248480.9798
18 | 2680062.6624 | 1248533.1733
19 | 2680008.1626 | 1248530.0892
20 | 2680012.8457 | 1248537.3021
21 | 2680096.1982 | 1248499.6425
22 | 2680140.3748 | 1248548.11
23 | 2680148.4594 | 1248543.4007
24 | 2680121.4412 | 1248529.1343
25 | 2680177.777 | 1248523.7867
26 | 2680170.1133 | 1248512.5617
27 | 2680199.2185 | 1248509.2525
28 | 2680221.1998 | 1248494.3525
29 | 2680239.0566 | 1248482.2089
30 | 2680186.5176 | 1248443.8826
31 | 2680066.8021 | 1248567.1523
32 | 2680161.5929 | 1248421.223
33 | 2680162.9742 | 1248423.3575
34 | 2680108.7013 | 1248514.2501
35 | 2680141.5646 | 1248471.1439
36 | 2680136.4709 | 1248463.8179
37 | 2680141.6098 | 1248471.209
38 | 2680149.5596 | 1248482.6487
39 | 2680155.3575 | 1248490.9918
40 | 2680163.0953 | 1248502.2825
41 | 2680168.5472 | 1248426.0677
42 | 2680181.4353 | 1248436.4267
43 | 2680073.8743 | 1248577.1982
44 | 2680064.7774 | 1248564.236
45 | 2680052.7123 | 1248546.8583
46 | 2680140.3748 | 1248548.11

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98638 | -0.26229 | 0.0030079 | 0.00075385
1 | 0.98639 | -0.26228 | 0.0031156 | 0.00078083
2 | 0.9863 | -0.26388 | 0.0031073 | 0.00077876
3 | 0.98648 | -0.26044 | 0.0027639 | 0.00069269
4 | 0.9863 | -0.2639 | 0.0027591 | 0.0006915
5 | 0.9865 | -0.26 | 0.0040539 | 0.001016
6 | 0.98674 | -0.25543 | 0.0039819 | 0.00099795
7 | 0.98685 | -0.25315 | 0.0031023 | 0.00077751
8 | 0.98704 | -0.24954 | 0.0028943 | 0.00072537
9 | 0.98718 | -0.24681 | 0.002901 | 0.00072706
10 | 0.98743 | -0.24201 | 0.0034234 | 0.00085799
11 | 0.9953 | -0.089874 | 0.018168 | 0.0045532
12 | 0.99568 | -0.08253 | 0 | 0
13 | 0.99679 | -0.061201 | 0.0075586 | 0.0018944
14 | 0.99183 | -0.1564 | 0 | 0
15 | 0.99298 | -0.13471 | 0 | 0
16 | 0.99237 | -0.14633 | 0.02267 | 0.0056816
17 | 0.99233 | -0.14715 | 0.024652 | 0.0061784
18 | 0.98818 | -0.22705 | 0.045934 | 0.011512
19 | 0.99204 | -0.15284 | 0 | 0
20 | 0.99194 | -0.15476 | 0.01257 | 0.0031503
21 | 0.99837 | -0.031003 | 0.0074065 | 0.0018563
22 | 0.9953 | -0.089744 | 0 | 0
23 | 0.99443 | -0.10645 | 0.02308 | 0.0057844
24 | 0.99783 | -0.041406 | 0.039214 | 0.0098279
25 | 0.99153 | -0.16248 | 0 | 0
26 | 0.99021 | -0.18797 | 0.035912 | 0.0090003
27 | 0.98977 | -0.19654 | 0.049616 | 0.012435
28 | 0.98917 | -0.20809 | 0 | 0
29 | 0.989 | -0.21155 | 0.0089936 | 0.002254
30 | 0.98831 | -0.22494 | 0.0032795 | 0.00082193
31 | 0.98628 | -0.26413 | 0 | 0
32 | 0.98802 | -0.23055 | 0.0035383 | 0.00088679
33 | 0.98803 | -0.23039 | 0.0030145 | 0.00075552
34 | 1 | 0 | -0.432 | -0.10928
35 | 0.98775 | -0.2358 | 0.0027792 | 0.00069652
36 | 0.98743 | -0.2419 | 0.0031488 | 0.00078916
37 | 0.98775 | -0.23574 | 0.0030693 | 0.00076924
38 | 0.98831 | -0.22477 | 0.0039609 | 0.0009927
39 | 0.98876 | -0.21606 | 0.003822 | 0.00095788
40 | 0.98941 | -0.2034 | 0.017829 | 0.0044684
41 | 0.98807 | -0.22967 | 0.0025102 | 0.00062911
42 | 0.98821 | -0.2269 | 0.0030903 | 0.00077451
43 | 0.98594 | -0.2706 | 0.02938 | 0.0073634
44 | 0.98622 | -0.26517 | 0.0080501 | 0.0020175
45 | 0.98606 | -0.26833 | 0.0083139 | 0.0020837
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0088747 | -0.0022242 | 0.0088747 | 0.0022242 | 4.2049e-09 | 1.8898e-09 | 0.013388 | 0.013388 | 0.013388 | 0.98638 | -0.26229 | 0.98639 | -0.26228 | 3.678
1 | 0.0058669 | 0.0014703 | -0.0058664 | -0.0014703 | 4.4438e-07 | 9.1314e-08 | 0.0088505 | 0.0088505 | 0.0088505 | 0.98638 | -0.26229 | 0.9863 | -0.26388 | 2.4315
2 | -0.01199 | -0.003005 | 0.011991 | 0.0030056 | 1.0532e-06 | 5.6446e-07 | 0.018088 | 0.018088 | 0.018088 | 0.98639 | -0.26228 | 0.98648 | -0.26044 | 4.9692
3 | 0.0027591 | 0.0006915 | -0.0027591 | -0.0006915 | 1.832e-09 | -2.4258e-09 | 0.0041626 | 0.0041626 | 0.0041626 | 0.9863 | -0.26388 | 0.9863 | -0.2639 | 1.1436
4 | -0.014755 | -0.0036983 | 0.014756 | 0.0036985 | 3.1149e-07 | 1.7795e-07 | 0.022257 | 0.022257 | 0.022257 | 0.98648 | -0.26044 | 0.9865 | -0.26 | 6.1146
5 | -0.018809 | -0.0047145 | 0.018814 | 0.0047169 | 4.0906e-06 | 2.4449e-06 | 0.028372 | 0.028372 | 0.028372 | 0.9865 | -0.26 | 0.98674 | -0.25543 | 7.7945
6 | -0.022795 | -0.0057149 | 0.022798 | 0.0057164 | 2.4831e-06 | 1.5176e-06 | 0.034376 | 0.034376 | 0.034376 | 0.98674 | -0.25543 | 0.98685 | -0.25315 | 9.4441
7 | -0.0259 | -0.0064939 | 0.025905 | 0.0064966 | 4.4481e-06 | 2.7474e-06 | 0.039054 | 0.039054 | 0.039054 | 0.98685 | -0.25315 | 0.98704 | -0.24954 | 10.7292
8 | -0.028799 | -0.007222 | 0.028803 | 0.0072243 | 3.7448e-06 | 2.329e-06 | 0.043417 | 0.043417 | 0.043417 | 0.98704 | -0.24954 | 0.98718 | -0.24681 | 11.9279
9 | -0.031704 | -0.0079514 | 0.031711 | 0.0079559 | 7.2666e-06 | 4.5421e-06 | 0.04779 | 0.04779 | 0.04779 | 0.98718 | -0.24681 | 0.98743 | -0.24201 | 13.1292
10 | -0.035134 | -0.0088139 | 0.035135 | 0.008814 | 1.7951e-07 | 1.127e-07 | 0.052949 | 0.052949 | 0.052949 | 0.98743 | -0.24201 | 0.98743 | -0.2419 | 14.5465
11 | -0.018168 | -0.0045532 | 0.018174 | 0.004557 | 6.3586e-06 | 3.7707e-06 | 0.027161 | 0.027161 | 0.027161 | 0.9953 | -0.089874 | 0.99568 | -0.08253 | 7.4619
12 | -0.17066 | -0.043128 | 0.17084 | 0.043239 | 0.00017471 | 0.00011144 | 0.25518 | 0.25518 | 0.25518 | 0.99568 | -0.08253 | 0.99679 | -0.061201 | 35.0517
13 | 0.092408 | 0.023441 | -0.092081 | -0.023233 | 0.00032699 | 0.00020868 | 0.1382 | 0.1382 | 0.1382 | 0.99568 | -0.08253 | 0.99183 | -0.1564 | 37.9674
14 | 0.060081 | 0.015129 | -0.059931 | -0.015034 | 0.00014949 | 9.503e-05 | 0.089814 | 0.089814 | 0.089814 | 0.99568 | -0.08253 | 0.99298 | -0.13471 | 24.6743
15 | -0.1784 | -0.045134 | 0.17865 | 0.045299 | 0.00025892 | 0.0001652 | 0.26646 | 0.26646 | 0.26646 | 0.99679 | -0.061201 | 0.99837 | -0.031003 | 36.6016
16 | 0.092081 | 0.023233 | -0.091771 | -0.023035 | 0.00031034 | 0.00019806 | 0.1382 | 0.1382 | 0.1382 | 0.99183 | -0.1564 | 0.98818 | -0.22705 | 37.9675
17 | 0.035264 | 0.0088469 | -0.035245 | -0.0088347 | 1.9527e-05 | 1.2257e-05 | 0.052848 | 0.052849 | 0.052849 | 0.99298 | -0.13471 | 0.99237 | -0.14633 | 14.5188
18 | 0.024667 | 0.0061874 | -0.024652 | -0.0061784 | 1.4622e-05 | 8.9894e-06 | 0.036966 | 0.036966 | 0.036966 | 0.99298 | -0.13471 | 0.99233 | -0.14715 | 10.1555
19 | 0.012575 | 0.0031531 | -0.012571 | -0.003151 | 3.9008e-06 | 2.1187e-06 | 0.018856 | 0.018856 | 0.018856 | 0.99237 | -0.14633 | 0.99204 | -0.15284 | 5.1803
20 | 0.045836 | 0.011523 | -0.045755 | -0.011471 | 8.1013e-05 | 5.1269e-05 | 0.069033 | 0.069034 | 0.069034 | 0.98818 | -0.22705 | 0.98628 | -0.26413 | 18.9653
21 | 0.012571 | 0.003151 | -0.01257 | -0.0031503 | 1.1467e-06 | 6.2284e-07 | 0.018856 | 0.018856 | 0.018856 | 0.99204 | -0.15284 | 0.99194 | -0.15476 | 5.1803
22 | -0.18606 | -0.047155 | 0.18634 | 0.047332 | 0.00027762 | 0.00017717 | 0.2775 | 0.2775 | 0.2775 | 0.99837 | -0.031003 | 1 | 0 | 38.1179
23 | 0.20384 | 0.051506 | -0.20368 | -0.051402 | 0.00016308 | 0.00010413 | 0.3049 | 0.3049 | 0.3049 | 0.9953 | -0.089744 | 0.99443 | -0.10645 | 41.8817
24 | -0.20384 | -0.051506 | 0.20432 | 0.051808 | 0.00047355 | 0.00030236 | 0.3049 | 0.3049 | 0.3049 | 0.9953 | -0.089744 | 0.99783 | -0.041406 | 41.8817
25 | 0.1806 | 0.045617 | -0.18012 | -0.045309 | 0.00048354 | 0.00030855 | 0.27036 | 0.27036 | 0.27036 | 0.99443 | -0.10645 | 0.99153 | -0.16248 | 37.1378
26 | -0.24353 | -0.061636 | 0.24401 | 0.061946 | 0.00048505 | 0.00030992 | 0.36338 | 0.36338 | 0.36338 | 0.99783 | -0.041406 | 1 | 0 | 49.9142
27 | 0.10592 | 0.026658 | -0.10579 | -0.026575 | 0.00012885 | 8.2291e-05 | 0.159 | 0.159 | 0.159 | 0.99153 | -0.16248 | 0.99021 | -0.18797 | 43.6812
28 | 0.074193 | 0.018651 | -0.074073 | -0.018574 | 0.00012047 | 7.6767e-05 | 0.11136 | 0.11136 | 0.11136 | 0.99153 | -0.16248 | 0.98977 | -0.19654 | 30.5946
29 | 0.069881 | 0.017575 | -0.06983 | -0.017542 | 5.1491e-05 | 3.2794e-05 | 0.10503 | 0.10503 | 0.10503 | 0.99021 | -0.18797 | 0.98941 | -0.2034 | 28.8554
30 | 0.024456 | 0.0061392 | -0.024443 | -0.0061309 | 1.3465e-05 | 8.2764e-06 | 0.036771 | 0.036771 | 0.036771 | 0.98977 | -0.19654 | 0.98917 | -0.20809 | 10.102
31 | 0.0089951 | 0.0022547 | -0.0089936 | -0.002254 | 1.4827e-06 | 6.718e-07 | 0.013531 | 0.013532 | 0.013532 | 0.98917 | -0.20809 | 0.989 | -0.21155 | 3.7175
32 | 0.015448 | 0.0038762 | -0.015435 | -0.003869 | 1.2403e-05 | 7.1524e-06 | 0.02324 | 0.02324 | 0.02324 | 0.98917 | -0.20809 | 0.98831 | -0.22494 | 6.3847
33 | 0.012156 | 0.0030471 | -0.012155 | -0.0030465 | 1.1335e-06 | 6.0981e-07 | 0.018302 | 0.018302 | 0.018302 | 0.98831 | -0.22494 | 0.98821 | -0.2269 | 5.0281
34 | 0.029389 | 0.007369 | -0.02938 | -0.0073634 | 9.0584e-06 | 5.6406e-06 | 0.044342 | 0.044342 | 0.044342 | 0.98628 | -0.26413 | 0.98594 | -0.2706 | 12.1818
35 | 0.016366 | 0.0041022 | -0.016365 | -0.0041017 | 8.1171e-07 | 4.7419e-07 | 0.024692 | 0.024692 | 0.024692 | 0.98628 | -0.26413 | 0.98622 | -0.26517 | 6.7835
36 | -0.0035383 | -0.00088679 | 0.0035383 | 0.00088677 | 2.7075e-08 | -1.5234e-08 | 0.0053289 | 0.0053289 | 0.0053289 | 0.98802 | -0.23055 | 0.98803 | -0.23039 | 1.464
37 | -0.0065529 | -0.0016423 | 0.0065531 | 0.0016424 | 2.2634e-07 | 6.5488e-08 | 0.009869 | 0.0098689 | 0.009869 | 0.98803 | -0.23039 | 0.98807 | -0.22967 | 2.7113
38 | 0.038294 | 0.0096102 | -0.038283 | -0.0096032 | 1.1138e-05 | 7.014e-06 | 0.057694 | 0.057694 | 0.057694 | 0.98775 | -0.2358 | 0.98743 | -0.2419 | 15.8501
39 | -0.041074 | -0.010307 | 0.041074 | 0.010307 | 1.1372e-07 | 7.1769e-08 | 0.061881 | 0.061881 | 0.061881 | 0.98775 | -0.2358 | 0.98775 | -0.23574 | 17.0003
40 | -0.044143 | -0.011076 | 0.044166 | 0.011091 | 2.3105e-05 | 1.4609e-05 | 0.066505 | 0.066505 | 0.066505 | 0.98775 | -0.23574 | 0.98831 | -0.22477 | 18.2706
41 | -0.048127 | -0.012083 | 0.048147 | 0.012096 | 2.0009e-05 | 1.2675e-05 | 0.072468 | 0.072468 | 0.072468 | 0.98831 | -0.22477 | 0.98876 | -0.21606 | 19.9089
42 | -0.051969 | -0.013054 | 0.052 | 0.013074 | 3.1405e-05 | 1.9924e-05 | 0.07822 | 0.07822 | 0.07822 | 0.98876 | -0.21606 | 0.98941 | -0.2034 | 21.4891
43 | -0.0090633 | -0.0022715 | 0.0090645 | 0.002272 | 1.1949e-06 | 5.4565e-07 | 0.013649 | 0.013649 | 0.013649 | 0.98807 | -0.22967 | 0.98821 | -0.2269 | 3.7498
44 | 0.0083152 | 0.0020842 | -0.0083139 | -0.0020837 | 1.2487e-06 | 5.2928e-07 | 0.012546 | 0.012546 | 0.012546 | 0.98622 | -0.26517 | 0.98606 | -0.26833 | 3.4467

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.45355 | 0.11468

## res_load
| p_mw | q_mvar
0 | 0.0030079 | 0.00075385
1 | 0.0031156 | 0.00078083
2 | 0.0031073 | 0.00077876
3 | 0.0027639 | 0.00069269
4 | 0.0027591 | 0.0006915
5 | 0.0040539 | 0.001016
6 | 0.0039819 | 0.00099795
7 | 0.0031023 | 0.00077751
8 | 0.0028943 | 0.00072537
9 | 0.002901 | 0.00072706
10 | 0.0034234 | 0.00085799
11 | 0.018168 | 0.0045532
12 | 0.0075586 | 0.0018944
13 | 0.02267 | 0.0056816
14 | 0.024652 | 0.0061784
15 | 0.045934 | 0.011512
16 | 0.01257 | 0.0031503
17 | 0.0074065 | 0.0018563
18 | 0.02308 | 0.0057844
19 | 0.039214 | 0.0098279
20 | 0.035912 | 0.0090003
21 | 0.049616 | 0.012435
22 | 0.0089936 | 0.002254
23 | 0.0032795 | 0.00082193
24 | 0.0035383 | 0.00088679
25 | 0.0030145 | 0.00075552
26 | 0.021543 | 0.0053991
27 | 0.0027792 | 0.00069652
28 | 0.0031488 | 0.00078916
29 | 0.0030693 | 0.00076924
30 | 0.0039609 | 0.0009927
31 | 0.003822 | 0.00095788
32 | 0.017829 | 0.0044684
33 | 0.0025102 | 0.00062911
34 | 0.0030903 | 0.00077451
35 | 0.02938 | 0.0073634
36 | 0.0080501 | 0.0020175
37 | 0.0083139 | 0.0020837

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1