## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-42_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-42_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-42_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-42_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-42_0_4_node_23 | 0.4 | n |  | TRUE
5 | bus_LV_261-42_0_4_node_76 | 0.4 | n |  | TRUE
6 | bus_LV_261-42_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_261-42_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_261-42_0_4_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_261-42_0_4_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_261-42_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_261-42_0_4_node_73 | 0.4 | n |  | TRUE
12 | bus_LV_261-42_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_261-42_0_4_node_72 | 0.4 | n |  | TRUE
14 | bus_LV_261-42_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_261-42_0_4_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_261-42_0_4_node_71 | 0.4 | n |  | TRUE
17 | bus_LV_261-42_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_261-42_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_261-42_0_4_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_261-42_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_261-42_0_4_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_261-42_0_4_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_261-42_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_261-42_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_261-42_0_4_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_261-42_0_4_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_261-42_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_261-42_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_261-42_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_261-42_0_4_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_261-42_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_261-42_0_4_node_64 | 0.4 | n |  | TRUE
33 | bus_LV_261-42_0_4_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_261-42_0_4_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_261-42_0_4_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_261-42_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_261-42_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_261-42_0_4_node_82 | 0.4 | n |  | TRUE
39 | bus_LV_261-42_0_4_node_79 | 0.4 | n |  | TRUE
40 | bus_LV_261-42_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_261-42_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_261-42_0_4_node_81 | 0.4 | n |  | TRUE
43 | bus_LV_261-42_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_261-42_0_4_node_68 | 0.4 | n |  | TRUE
45 | bus_LV_261-42_0_4_node_67 | 0.4 | n |  | TRUE
46 | bus_LV_261-42_0_4_node_77 | 0.4 | n |  | TRUE
47 | bus_LV_261-42_0_4_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_261-42_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_261-42_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_261-42_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_261-42_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_261-42_0_4_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_261-42_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_261-42_0_4_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_261-42_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_261-42_0_4_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_261-42_0_4_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_261-42_0_4_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_261-42_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_261-42_0_4_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_261-42_0_4_node_30 | 0.4 | n |  | TRUE
62 | bus_LV_261-42_0_4_node_31 | 0.4 | n |  | TRUE
63 | bus_LV_261-42_0_4_node_80 | 0.4 | n |  | TRUE
64 | bus_LV_261-42_0_4_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_261-42_0_4_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_261-42_0_4_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_261-42_0_4_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_261-42_0_4_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_261-42_0_4_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_261-42_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_261-42_0_4_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_261-42_0_4_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_261-42_0_4_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_261-42_0_4_node_57 | 0.4 | n |  | TRUE
75 | bus_MV_528_0_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-42_0_4_load_0 | 0 | 0.0074647 | 0.0018708 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-42_0_4_load_3 | 3 | 0.020214 | 0.0050662 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-42_0_4_load_23 | 4 | 0.020383 | 0.0051085 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-42_0_4_load_49 | 8 | 0.044842 | 0.011238 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-42_0_4_load_50 | 9 | 0.0032281 | 0.00080904 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-42_0_4_load_73 | 11 | 0.0017964 | 0.00045023 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-42_0_4_load_72 | 13 | 0.0017258 | 0.00043254 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-42_0_4_load_71 | 16 | 0.0044127 | 0.0011059 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-42_0_4_load_65 | 19 | 0.004363 | 0.0010935 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-42_0_4_load_53 | 21 | 0.0032344 | 0.00081061 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-42_0_4_load_38 | 22 | 0.029324 | 0.0073492 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-42_0_4_load_51 | 25 | 0.0058603 | 0.0014687 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-42_0_4_load_52 | 26 | 0.0032625 | 0.00081765 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-42_0_4_load_62 | 30 | 0.0084076 | 0.0021071 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-42_0_4_load_64 | 32 | 0.015524 | 0.0038908 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-42_0_4_load_63 | 34 | 0.047816 | 0.011984 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-42_0_4_load_54 | 35 | 0.0084039 | 0.0021062 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-42_0_4_load_82 | 38 | 0.018118 | 0.0045409 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-42_0_4_load_34 | 41 | 0.019972 | 0.0050054 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-42_0_4_load_81 | 42 | 0.020055 | 0.0050263 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-42_0_4_load_68 | 44 | 0.0016649 | 0.00041726 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-42_0_4_load_67 | 45 | 0.0018739 | 0.00046965 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-42_0_4_load_77 | 46 | 0.020218 | 0.0050671 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-42_0_4_load_78 | 47 | 0.0049226 | 0.0012337 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-42_0_4_load_32 | 49 | 0.008484 | 0.0021263 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-42_0_4_load_74 | 52 | 0.0074304 | 0.0018622 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-42_0_4_load_41 | 54 | 0.020391 | 0.0051105 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-42_0_4_load_39 | 55 | 0.025359 | 0.0063556 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-42_0_4_load_61 | 56 | 0.0049777 | 0.0012475 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-42_0_4_load_59 | 57 | 0.0052409 | 0.0013135 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-42_0_4_load_66 | 58 | 0.0018578 | 0.00046561 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-42_0_4_load_44 | 60 | 0.0082388 | 0.0020648 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-42_0_4_load_30 | 61 | 0.019967 | 0.0050042 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-42_0_4_load_31 | 62 | 0.020149 | 0.0050499 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-42_0_4_load_69 | 64 | 0.0016665 | 0.00041766 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-42_0_4_load_75 | 65 | 0.0064532 | 0.0016173 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-42_0_4_load_43 | 66 | 0.0089012 | 0.0022309 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-42_0_4_load_47 | 68 | 0.012855 | 0.0032219 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-42_0_4_load_60 | 70 | 0.015463 | 0.0038753 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-42_0_4_load_58 | 71 | 0.0032192 | 0.0008068 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-42_0_4_load_55 | 72 | 0.0035423 | 0.00088778 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-42_0_4_load_56 | 73 | 0.0032279 | 0.00080898 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-42_0_4_load_57 | 74 | 0.0083105 | 0.0020828 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 68 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-42_0_4_line_0 |  | 0 | 1 | 0.01201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-42_0_4_line_1 |  | 0 | 2 | 0.019888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-42_0_4_line_2 |  | 1 | 3 | 0.024154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-42_0_4_line_3 |  | 2 | 4 | 0.012564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-42_0_4_line_4 |  | 3 | 5 | 0.023083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-42_0_4_line_5 |  | 4 | 36 | 0.026082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-42_0_4_line_6 |  | 5 | 46 | 0.0087055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-42_0_4_line_7 |  | 5 | 47 | 0.023058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-42_0_4_line_8 |  | 6 | 7 | 0.031792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-42_0_4_line_9 |  | 6 | 8 | 0.058525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-42_0_4_line_10 |  | 7 | 9 | 0.01797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-42_0_4_line_11 |  | 9 | 23 | 0.044685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-42_0_4_line_12 |  | 10 | 11 | 0.0068187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-42_0_4_line_13 |  | 10 | 12 | 0.025404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-42_0_4_line_14 |  | 10 | 13 | 0.012664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-42_0_4_line_15 |  | 12 | 19 | 0.019467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-42_0_4_line_16 |  | 12 | 14 | 0.014384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-42_0_4_line_17 |  | 14 | 15 | 0.013468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-42_0_4_line_18 |  | 14 | 16 | 0.017993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-42_0_4_line_19 |  | 15 | 35 | 0.019024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-42_0_4_line_20 |  | 15 | 20 | 0.014649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-42_0_4_line_21 |  | 16 | 27 | 0.017129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-42_0_4_line_22 |  | 17 | 18 | 0.0085219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-42_0_4_line_23 |  | 17 | 19 | 0.0030071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-42_0_4_line_24 |  | 18 | 22 | 0.054687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-42_0_4_line_25 |  | 20 | 21 | 0.017311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-42_0_4_line_26 |  | 21 | 26 | 0.026517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-42_0_4_line_27 |  | 23 | 24 | 0.00916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-42_0_4_line_28 |  | 23 | 25 | 0.019619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-42_0_4_line_29 |  | 24 | 26 | 0.025329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-42_0_4_line_30 |  | 25 | 56 | 0.0017308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-42_0_4_line_31 |  | 27 | 28 | 0.0091948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-42_0_4_line_32 |  | 28 | 29 | 0.008571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-42_0_4_line_33 |  | 29 | 30 | 0.022867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-42_0_4_line_34 |  | 30 | 57 | 0.0024931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-42_0_4_line_35 |  | 31 | 32 | 0.021501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-42_0_4_line_36 |  | 31 | 33 | 0.045382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-42_0_4_line_37 |  | 31 | 34 | 0.01939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-42_0_4_line_38 |  | 33 | 58 | 0.009419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-42_0_4_line_39 |  | 33 | 59 | 0.021309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_261-42_0_4_line_40 |  | 33 | 60 | 0.0057797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_261-42_0_4_line_41 |  | 36 | 61 | 0.0094882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-42_0_4_line_42 |  | 36 | 62 | 0.019051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-42_0_4_line_43 |  | 37 | 38 | 0.010507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-42_0_4_line_44 |  | 37 | 39 | 0.004161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-42_0_4_line_45 |  | 39 | 61 | 0.015162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-42_0_4_line_46 |  | 40 | 41 | 0.017451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-42_0_4_line_47 |  | 40 | 42 | 0.0056028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-42_0_4_line_48 |  | 41 | 48 | 0.010353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-42_0_4_line_49 |  | 42 | 63 | 0.010953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-42_0_4_line_50 |  | 43 | 44 | 0.019821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-42_0_4_line_51 |  | 43 | 45 | 0.055704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-42_0_4_line_52 |  | 44 | 64 | 0.0063083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-42_0_4_line_53 |  | 45 | 59 | 0.021771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-42_0_4_line_54 |  | 48 | 49 | 0.026949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-42_0_4_line_55 |  | 50 | 51 | 0.022622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-42_0_4_line_56 |  | 50 | 52 | 0.023191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-42_0_4_line_57 |  | 51 | 55 | 0.031273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_261-42_0_4_line_58 |  | 51 | 59 | 0.003326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_261-42_0_4_line_59 |  | 52 | 65 | 0.039341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-42_0_4_line_60 |  | 53 | 54 | 0.021276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_261-42_0_4_line_61 |  | 53 | 55 | 0.015394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_261-42_0_4_line_62 |  | 54 | 63 | 0.029358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_261-42_0_4_line_63 |  | 57 | 74 | 0.017533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_261-42_0_4_line_64 |  | 60 | 66 | 0.026469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_261-42_0_4_line_65 |  | 62 | 63 | 0.011469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-42_0_4_line_66 |  | 66 | 67 | 0.031695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_261-42_0_4_line_67 |  | 67 | 68 | 0.039529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_261-42_0_4_line_68 |  | 67 | 69 | 0.007564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_261-42_0_4_line_69 |  | 69 | 70 | 0.019745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_261-42_0_4_line_70 |  | 70 | 71 | 0.01942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_261-42_0_4_line_71 |  | 71 | 73 | 0.011896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_261-42_0_4_line_72 |  | 72 | 73 | 0.015702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_261-42_0_4_line_73 |  | 72 | 74 | 0.0064664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-42_0_4_trafo_47 | 0.63 MVA 20/0.4 kV | 75 | 68 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2682591.9121 | 1251913.1821 | 2682580.2316 | 1251910.3902
1 | 2682560.8882 | 1251905.7665 | 2682580.2316 | 1251910.3902
2 | 2682591.9121 | 1251913.1821 | 2682586.5084 | 1251900.1526 | 2682587.8825 | 1251890.1985
3 | 2682560.8882 | 1251905.7665 | 2682559.9414 | 1251893.2385
4 | 2682590.9742 | 1251867.3237 | 2682589.9844 | 1251874.9712 | 2682587.8825 | 1251890.1985
5 | 2682557.976 | 1251867.2305 | 2682559.9414 | 1251893.2385
6 | 2682590.9742 | 1251867.3237 | 2682599.5315 | 1251868.923
7 | 2682590.9742 | 1251867.3237 | 2682593.3896 | 1251850 | 2682594.2276 | 1251844.4968
8 | 2682539.2631 | 1251947.4965 | 2682545.209 | 1251947.079 | 2682546.3407 | 1251955.2342 | 2682559.0459 | 1251954.5329 | 2682559.3555 | 1251959.3964
9 | 2682559.3555 | 1251959.3964 | 2682563.1892 | 1252017.7956
10 | 2682539.2631 | 1251947.4965 | 2682521.335 | 1251948.7255
11 | 2682478.0789 | 1251955.7397 | 2682520.7929 | 1251950.2524 | 2682521.335 | 1251948.7255
12 | 2682354.9672 | 1251996.9583 | 2682348.1492 | 1251996.8635
13 | 2682354.9672 | 1251996.9583 | 2682364.0073 | 1251994.938 | 2682363.0398 | 1251987.4412 | 2682371.4844 | 1251985.913
14 | 2682354.9672 | 1251996.9583 | 2682356.6757 | 1252003.8205 | 2682356.7616 | 1252009.4118
15 | 2682371.4844 | 1251985.913 | 2682376.432 | 1251985.0922 | 2682378.4962 | 1251984.8318 | 2682380.8434 | 1251985.3871 | 2682383.1799 | 1251986.7095 | 2682384.6936 | 1251988.5764 | 2682386.7375 | 1251992.4855 | 2682386.9812 | 1251992.875
16 | 2682371.4844 | 1251985.913 | 2682370.5853 | 1251981.0969 | 2682369.5456 | 1251975.5338 | 2682373.2924 | 1251974.7631
17 | 2682373.2924 | 1251974.7631 | 2682379.7036 | 1251973.4512 | 2682386.528 | 1251972.2786
18 | 2682373.2924 | 1251974.7631 | 2682372.4771 | 1251970.4374 | 2682364.8629 | 1251959.1788
19 | 2682386.528 | 1251972.2786 | 2682381.5464 | 1251969.0291 | 2682378.3229 | 1251964.7366 | 2682373.9233 | 1251958.4073
20 | 2682401.009 | 1251969.8003 | 2682386.528 | 1251972.2786
21 | 2682355.2673 | 1251944.9903 | 2682364.8629 | 1251959.1788
22 | 2682388.576 | 1251995.4243 | 2682392.8006 | 1251994.4935 | 2682396.8966 | 1251993.5831
23 | 2682388.576 | 1251995.4243 | 2682386.9812 | 1251992.875
24 | 2682396.8966 | 1251993.5831 | 2682398.5927 | 1252002.9581 | 2682402.3205 | 1252023.6254 | 2682406.6142 | 1252047.4
25 | 2682401.009 | 1251969.8003 | 2682418.0322 | 1251966.6554
26 | 2682444.1078 | 1251961.8383 | 2682418.0322 | 1251966.6554
27 | 2682469.0158 | 1251957.2369 | 2682478.0789 | 1251955.7397
28 | 2682478.0789 | 1251955.7397 | 2682476.382 | 1251936.1945
29 | 2682469.0158 | 1251957.2369 | 2682444.1078 | 1251961.8383
30 | 2682476.382 | 1251936.1945 | 2682476.2323 | 1251934.4702
31 | 2682355.2673 | 1251944.9903 | 2682358.7962 | 1251942.5264 | 2682362.8127 | 1251939.7357
32 | 2682362.8127 | 1251939.7357 | 2682362.8003 | 1251937.912 | 2682363.1374 | 1251936.4711 | 2682360.3693 | 1251931.9849
33 | 2682360.3693 | 1251931.9849 | 2682382.7254 | 1251927.1766
34 | 2682382.7254 | 1251927.1766 | 2682385.1628 | 1251926.6524
35 | 2682436.2952 | 1251831.5099 | 2682439.9281 | 1251841.101 | 2682442.3283 | 1251842.7356 | 2682450.6224 | 1251843.8963
36 | 2682436.2952 | 1251831.5099 | 2682464.3719 | 1251824.5843 | 2682470.6573 | 1251826.362 | 2682469.3427 | 1251836.2066
37 | 2682436.2952 | 1251831.5099 | 2682433.049 | 1251838.6034 | 2682424.6364 | 1251844.324 | 2682424.1574 | 1251845.6557
38 | 2682469.3427 | 1251836.2066 | 2682460.1172 | 1251834.1767
39 | 2682475.4046 | 1251816.087 | 2682472.3502 | 1251821.3262 | 2682470.6573 | 1251826.362 | 2682469.3427 | 1251836.2066
40 | 2682469.3427 | 1251836.2066 | 2682469.6659 | 1251841.9773
41 | 2682557.976 | 1251867.2305 | 2682548.6721 | 1251869.0913
42 | 2682557.976 | 1251867.2305 | 2682556.7003 | 1251848.2221
43 | 2682533.962 | 1251874.5681 | 2682523.4459 | 1251875.2444
44 | 2682533.962 | 1251874.5681 | 2682533.6802 | 1251870.4167
45 | 2682533.6802 | 1251870.4167 | 2682540.4613 | 1251870.7336 | 2682548.6721 | 1251869.0913
46 | 2682554.94 | 1251820.2531 | 2682552.6846 | 1251802.9487
47 | 2682554.94 | 1251820.2531 | 2682555.2758 | 1251825.8459
48 | 2682551.3465 | 1251792.6824 | 2682552.6846 | 1251802.9487
49 | 2682555.9324 | 1251836.7793 | 2682555.2758 | 1251825.8459
50 | 2682427.1028 | 1251762.0302 | 2682445.284 | 1251754.137
51 | 2682427.1028 | 1251762.0302 | 2682428.3205 | 1251765.105 | 2682441.8646 | 1251799.0521 | 2682455.9867 | 1251806.2428
52 | 2682451.0705 | 1251751.6248 | 2682445.284 | 1251754.137
53 | 2682475.4046 | 1251816.087 | 2682472.5785 | 1251814.6911 | 2682455.9867 | 1251806.2428
54 | 2682551.3465 | 1251792.6824 | 2682554.0493 | 1251802.9278 | 2682570.3815 | 1251803.7589
55 | 2682477.2921 | 1251813.3446 | 2682478.3553 | 1251811.7915 | 2682481.8421 | 1251808.0261 | 2682488.0549 | 1251803.6316 | 2682495.4653 | 1251800.5102
56 | 2682495.4653 | 1251800.5102 | 2682494.0625 | 1251796.6322 | 2682487.6496 | 1251799.1337 | 2682483.2968 | 1251787.7541
57 | 2682477.2921 | 1251813.3446 | 2682494.4492 | 1251823.0573 | 2682498.0178 | 1251825.342 | 2682501.7696 | 1251825.8502 | 2682505.0818 | 1251824.6174
58 | 2682475.4046 | 1251816.087 | 2682477.2921 | 1251813.3446
59 | 2682483.2968 | 1251787.7541 | 2682478.5971 | 1251775.4678 | 2682503.1436 | 1251766.3451
60 | 2682519.5087 | 1251819.2478 | 2682526.649 | 1251839.2955
61 | 2682519.5087 | 1251819.2478 | 2682505.0818 | 1251824.6174
62 | 2682555.9324 | 1251836.7793 | 2682539.1076 | 1251837.3453 | 2682526.649 | 1251839.2955
63 | 2682402.304 | 1251922.9657 | 2682385.1628 | 1251926.6524
64 | 2682469.6659 | 1251841.9773 | 2682469.8444 | 1251845.1647 | 2682471.3427 | 1251868.3927
65 | 2682555.9324 | 1251836.7793 | 2682556.7003 | 1251848.2221
66 | 2682473.3828 | 1251900.0216 | 2682471.3427 | 1251868.3927
67 | 2682473.3828 | 1251900.0216 | 2682487.3673 | 1251907.1882 | 2682511.1691 | 1251906.3968
68 | 2682473.8966 | 1251907.5677 | 2682473.3828 | 1251900.0216
69 | 2682473.8966 | 1251907.5677 | 2682454.5929 | 1251911.7195
70 | 2682435.6066 | 1251915.803 | 2682454.5929 | 1251911.7195
71 | 2682435.6066 | 1251915.803 | 2682423.9768 | 1251918.3043
72 | 2682408.6258 | 1251921.606 | 2682423.9768 | 1251918.3043
73 | 2682408.6258 | 1251921.606 | 2682402.304 | 1251922.9657

## bus_geodata
| x | y | coords
0 | 2682580.2316 | 1251910.3902
1 | 2682591.9121 | 1251913.1821
2 | 2682560.8882 | 1251905.7665
3 | 2682587.8825 | 1251890.1985
4 | 2682559.9414 | 1251893.2385
5 | 2682590.9742 | 1251867.3237
6 | 2682559.3555 | 1251959.3964
7 | 2682539.2631 | 1251947.4965
8 | 2682563.1892 | 1252017.7956
9 | 2682521.335 | 1251948.7255
10 | 2682354.9672 | 1251996.9583
11 | 2682348.1492 | 1251996.8635
12 | 2682371.4844 | 1251985.913
13 | 2682356.7616 | 1252009.4118
14 | 2682373.2924 | 1251974.7631
15 | 2682386.528 | 1251972.2786
16 | 2682364.8629 | 1251959.1788
17 | 2682388.576 | 1251995.4243
18 | 2682396.8966 | 1251993.5831
19 | 2682386.9812 | 1251992.875
20 | 2682401.009 | 1251969.8003
21 | 2682418.0322 | 1251966.6554
22 | 2682406.6142 | 1252047.4
23 | 2682478.0789 | 1251955.7397
24 | 2682469.0158 | 1251957.2369
25 | 2682476.382 | 1251936.1945
26 | 2682444.1078 | 1251961.8383
27 | 2682355.2673 | 1251944.9903
28 | 2682362.8127 | 1251939.7357
29 | 2682360.3693 | 1251931.9849
30 | 2682382.7254 | 1251927.1766
31 | 2682436.2952 | 1251831.5099
32 | 2682450.6224 | 1251843.8963
33 | 2682469.3427 | 1251836.2066
34 | 2682424.1574 | 1251845.6557
35 | 2682373.9233 | 1251958.4073
36 | 2682557.976 | 1251867.2305
37 | 2682533.962 | 1251874.5681
38 | 2682523.4459 | 1251875.2444
39 | 2682533.6802 | 1251870.4167
40 | 2682554.94 | 1251820.2531
41 | 2682552.6846 | 1251802.9487
42 | 2682555.2758 | 1251825.8459
43 | 2682427.1028 | 1251762.0302
44 | 2682445.284 | 1251754.137
45 | 2682455.9867 | 1251806.2428
46 | 2682599.5315 | 1251868.923
47 | 2682594.2276 | 1251844.4968
48 | 2682551.3465 | 1251792.6824
49 | 2682570.3815 | 1251803.7589
50 | 2682495.4653 | 1251800.5102
51 | 2682477.2921 | 1251813.3446
52 | 2682483.2968 | 1251787.7541
53 | 2682519.5087 | 1251819.2478
54 | 2682526.649 | 1251839.2955
55 | 2682505.0818 | 1251824.6174
56 | 2682476.2323 | 1251934.4702
57 | 2682385.1628 | 1251926.6524
58 | 2682460.1172 | 1251834.1767
59 | 2682475.4046 | 1251816.087
60 | 2682469.6659 | 1251841.9773
61 | 2682548.6721 | 1251869.0913
62 | 2682556.7003 | 1251848.2221
63 | 2682555.9324 | 1251836.7793
64 | 2682451.0705 | 1251751.6248
65 | 2682503.1436 | 1251766.3451
66 | 2682471.3427 | 1251868.3927
67 | 2682473.3828 | 1251900.0216
68 | 2682511.1691 | 1251906.3968
69 | 2682473.8966 | 1251907.5677
70 | 2682454.5929 | 1251911.7195
71 | 2682435.6066 | 1251915.803
72 | 2682408.6258 | 1251921.606
73 | 2682423.9768 | 1251918.3043
74 | 2682402.304 | 1251922.9657
75 | 2682515.0076 | 1251915.8462

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97687 | -0.4458 | 0.0074647 | 0.0018708
1 | 0.97637 | -0.45576 | 0 | 0
2 | 0.97785 | -0.42664 | 0 | 0
3 | 0.97535 | -0.47581 | 0.020214 | 0.0050662
4 | 0.97847 | -0.41455 | 0.020383 | 0.0051085
5 | 0.97481 | -0.48645 | 0 | 0
6 | 0.97292 | -0.52176 | 0 | 0
7 | 0.97425 | -0.49554 | 0 | 0
8 | 0.97047 | -0.5702 | 0.044842 | 0.011238
9 | 0.97501 | -0.48075 | 0.0032281 | 0.00080904
10 | 0.98275 | -0.32998 | 0 | 0
11 | 0.98274 | -0.3302 | 0.0017964 | 0.00045023
12 | 0.98283 | -0.32836 | 0 | 0
13 | 0.98273 | -0.33037 | 0.0017258 | 0.00043254
14 | 0.98332 | -0.31871 | 0 | 0
15 | 0.9824 | -0.33665 | 0 | 0
16 | 0.98518 | -0.28277 | 0.0044127 | 0.0011059
17 | 0.98214 | -0.3418 | 0 | 0
18 | 0.98191 | -0.34631 | 0 | 0
19 | 0.98222 | -0.3402 | 0.004363 | 0.0010935
20 | 0.9815 | -0.35397 | 0 | 0
21 | 0.98045 | -0.37448 | 0.0032344 | 0.00081061
22 | 0.98043 | -0.37535 | 0.029324 | 0.0073492
23 | 0.97701 | -0.44145 | 0 | 0
24 | 0.97752 | -0.4316 | 0 | 0
25 | 0.97682 | -0.44533 | 0.0058603 | 0.0014687
26 | 0.97891 | -0.40442 | 0.0032625 | 0.00081765
27 | 0.98702 | -0.24732 | 0 | 0
28 | 0.98801 | -0.22835 | 0 | 0
29 | 0.98893 | -0.2107 | 0 | 0
30 | 0.99138 | -0.16377 | 0.0084076 | 0.0021071
31 | 0.98813 | -0.2269 | 0 | 0
32 | 0.98783 | -0.23286 | 0.015524 | 0.0038908
33 | 0.99077 | -0.17572 | 0 | 0
34 | 0.98728 | -0.24346 | 0.047816 | 0.011984
35 | 0.98225 | -0.33954 | 0.0084039 | 0.0021062
36 | 0.98024 | -0.37985 | 0 | 0
37 | 0.97958 | -0.39276 | 0 | 0
38 | 0.97941 | -0.39622 | 0.018118 | 0.0045409
39 | 0.97965 | -0.39139 | 0 | 0
40 | 0.98297 | -0.32672 | 0 | 0
41 | 0.98251 | -0.33568 | 0.019972 | 0.0050054
42 | 0.98312 | -0.32385 | 0.020055 | 0.0050263
43 | 0.9893 | -0.20423 | 0 | 0
44 | 0.98923 | -0.20541 | 0.0016649 | 0.00041726
45 | 0.98947 | -0.20093 | 0.0018739 | 0.00046965
46 | 0.97464 | -0.48968 | 0.020218 | 0.0050671
47 | 0.9747 | -0.48853 | 0.0049226 | 0.0012337
48 | 0.98243 | -0.33727 | 0 | 0
49 | 0.98222 | -0.3414 | 0.008484 | 0.0021263
50 | 0.9891 | -0.20805 | 0 | 0
51 | 0.98938 | -0.20246 | 0 | 0
52 | 0.9888 | -0.21379 | 0.0074304 | 0.0018622
53 | 0.98704 | -0.24771 | 0 | 0
54 | 0.98605 | -0.2668 | 0.020391 | 0.0051105
55 | 0.98775 | -0.23393 | 0.025359 | 0.0063556
56 | 0.97681 | -0.44549 | 0.0049777 | 0.0012475
57 | 0.99167 | -0.15829 | 0.0052409 | 0.0013135
58 | 0.99076 | -0.17603 | 0.0018578 | 0.00046561
59 | 0.98957 | -0.19891 | 0 | 0
60 | 0.99119 | -0.16777 | 0.0082388 | 0.0020648
61 | 0.97991 | -0.38641 | 0.019967 | 0.0050042
62 | 0.98221 | -0.34147 | 0.020149 | 0.0050499
63 | 0.98361 | -0.31427 | 0 | 0
64 | 0.98923 | -0.2056 | 0.0016665 | 0.00041766
65 | 0.98857 | -0.21832 | 0.0064532 | 0.0016173
66 | 0.99313 | -0.13048 | 0.0089012 | 0.0022309
67 | 0.99553 | -0.084785 | 0 | 0
68 | 1 | 0 | -0.49957 | -0.12786
69 | 0.99524 | -0.090203 | 0 | 0
70 | 0.9945 | -0.10436 | 0.015463 | 0.0038753
71 | 0.99383 | -0.11698 | 0.0032192 | 0.0008068
72 | 0.99292 | -0.13433 | 0.0035423 | 0.00088778
73 | 0.99344 | -0.12455 | 0.0032279 | 0.00080898
74 | 0.99272 | -0.13825 | 0.0083105 | 0.0020828
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.045436 | 0.011418 | -0.045415 | -0.011404 | 2.158e-05 | 1.3661e-05 | 0.069222 | 0.069222 | 0.069222 | 0.97687 | -0.4458 | 0.97637 | -0.45576 | 19.017
1 | -0.052901 | -0.013289 | 0.05295 | 0.01332 | 4.8442e-05 | 3.0753e-05 | 0.080592 | 0.080592 | 0.080592 | 0.97687 | -0.4458 | 0.97785 | -0.42664 | 22.1408
2 | 0.045415 | 0.011404 | -0.045371 | -0.011377 | 4.3402e-05 | 2.7476e-05 | 0.069222 | 0.069222 | 0.069222 | 0.97637 | -0.45576 | 0.97535 | -0.47581 | 19.017
3 | -0.05295 | -0.01332 | 0.05298 | 0.013339 | 3.0601e-05 | 1.9427e-05 | 0.080592 | 0.080592 | 0.080592 | 0.97785 | -0.42664 | 0.97847 | -0.41455 | 22.1407
4 | 0.025157 | 0.0063106 | -0.025144 | -0.0063028 | 1.2752e-05 | 7.8735e-06 | 0.038382 | 0.038382 | 0.038382 | 0.97535 | -0.47581 | 0.97481 | -0.48645 | 10.5446
5 | -0.073363 | -0.018447 | 0.073485 | 0.018525 | 0.00012179 | 7.762e-05 | 0.11159 | 0.11159 | 0.11159 | 0.97847 | -0.41455 | 0.98024 | -0.37985 | 30.6566
6 | 0.020221 | 0.005069 | -0.020218 | -0.0050671 | 3.1105e-06 | 1.8822e-06 | 0.030867 | 0.030868 | 0.030868 | 0.97481 | -0.48645 | 0.97464 | -0.48968 | 8.4801
7 | 0.0049231 | 0.0012337 | -0.0049226 | -0.0012337 | 4.8832e-07 | 2.5104e-08 | 0.0075149 | 0.007515 | 0.007515 | 0.97481 | -0.48645 | 0.9747 | -0.48853 | 2.0646
8 | -0.044945 | -0.011304 | 0.045002 | 0.01134 | 5.6358e-05 | 3.5674e-05 | 0.068755 | 0.068755 | 0.068755 | 0.97292 | -0.52176 | 0.97425 | -0.49554 | 18.8888
9 | 0.044945 | 0.011304 | -0.044842 | -0.011238 | 0.00010375 | 6.5675e-05 | 0.068755 | 0.068756 | 0.068756 | 0.97292 | -0.52176 | 0.97047 | -0.5702 | 18.8889
10 | -0.045002 | -0.01134 | 0.045034 | 0.01136 | 3.1856e-05 | 2.0164e-05 | 0.068755 | 0.068755 | 0.068755 | 0.97425 | -0.49554 | 0.97501 | -0.48075 | 18.8888
11 | -0.048262 | -0.012169 | 0.048353 | 0.012227 | 9.0973e-05 | 5.7665e-05 | 0.073682 | 0.073682 | 0.073682 | 0.97501 | -0.48075 | 0.97701 | -0.44145 | 20.2422
12 | 0.0017964 | 0.00045015 | -0.0017964 | -0.00045023 | 1.8919e-08 | -7.4288e-08 | 0.00272 | 0.0027201 | 0.0027201 | 0.98275 | -0.32998 | 0.98274 | -0.3302 | 0.74727
13 | -0.0035223 | -0.00088255 | 0.0035226 | 0.0008824 | 2.7096e-07 | -1.4849e-07 | 0.0053332 | 0.0053331 | 0.0053332 | 0.98275 | -0.32998 | 0.98283 | -0.32836 | 1.4652
14 | 0.0017259 | 0.0004324 | -0.0017258 | -0.00043254 | 3.2429e-08 | -1.397e-07 | 0.0026132 | 0.0026132 | 0.0026132 | 0.98275 | -0.32998 | 0.98273 | -0.33037 | 0.71792
15 | 0.033755 | 0.0084852 | -0.033736 | -0.0084733 | 1.9072e-05 | 1.196e-05 | 0.051114 | 0.051114 | 0.051114 | 0.98283 | -0.32836 | 0.98222 | -0.3402 | 14.0424
16 | -0.037277 | -0.0093676 | 0.037295 | 0.0093785 | 1.7187e-05 | 1.0817e-05 | 0.056447 | 0.056447 | 0.056447 | 0.98283 | -0.32836 | 0.98332 | -0.31871 | 15.5075
17 | 0.074474 | 0.01892 | -0.07441 | -0.018879 | 6.4252e-05 | 4.0951e-05 | 0.11279 | 0.11279 | 0.11279 | 0.98332 | -0.31871 | 0.9824 | -0.33665 | 30.9862
18 | -0.11177 | -0.028299 | 0.11196 | 0.028422 | 0.00019326 | 0.00012346 | 0.16924 | 0.16924 | 0.16924 | 0.98332 | -0.31871 | 0.98518 | -0.28277 | 46.4937
19 | 0.008405 | 0.0021067 | -0.0084039 | -0.0021062 | 1.1563e-06 | 4.9917e-07 | 0.012731 | 0.012731 | 0.012731 | 0.9824 | -0.33665 | 0.98225 | -0.33954 | 3.4975
20 | 0.066005 | 0.016773 | -0.06595 | -0.016738 | 5.4999e-05 | 3.5014e-05 | 0.10006 | 0.10006 | 0.10006 | 0.9824 | -0.33665 | 0.9815 | -0.35397 | 27.4887
21 | -0.11637 | -0.029528 | 0.11657 | 0.029655 | 0.00019874 | 0.00012698 | 0.1759 | 0.1759 | 0.1759 | 0.98518 | -0.28277 | 0.98702 | -0.24732 | 48.3247
22 | 0.02937 | 0.0073784 | -0.029364 | -0.0073745 | 6.3296e-06 | 3.9431e-06 | 0.044505 | 0.044505 | 0.044505 | 0.98214 | -0.3418 | 0.98191 | -0.34631 | 12.2266
23 | -0.02937 | -0.0073784 | 0.029373 | 0.0073798 | 2.2335e-06 | 1.3914e-06 | 0.044505 | 0.044505 | 0.044505 | 0.98214 | -0.3418 | 0.98222 | -0.3402 | 12.2265
24 | 0.029364 | 0.0073745 | -0.029324 | -0.0073492 | 4.0619e-05 | 2.5306e-05 | 0.044505 | 0.044505 | 0.044505 | 0.98191 | -0.34631 | 0.98043 | -0.37535 | 12.2266
25 | 0.06595 | 0.016738 | -0.065885 | -0.016696 | 6.4994e-05 | 4.1378e-05 | 0.10006 | 0.10006 | 0.10006 | 0.9815 | -0.35397 | 0.98045 | -0.37448 | 27.4888
26 | 0.062651 | 0.015886 | -0.062561 | -0.015828 | 9.0027e-05 | 5.7284e-05 | 0.09515 | 0.09515 | 0.09515 | 0.98045 | -0.37448 | 0.97891 | -0.40442 | 26.1402
27 | -0.059193 | -0.014944 | 0.059221 | 0.014962 | 2.7942e-05 | 1.7768e-05 | 0.090191 | 0.090191 | 0.090191 | 0.97701 | -0.44145 | 0.97752 | -0.4316 | 24.7779
28 | 0.01084 | 0.0027173 | -0.010838 | -0.0027163 | 2.0054e-06 | 1.0378e-06 | 0.01651 | 0.01651 | 0.01651 | 0.97701 | -0.44145 | 0.97682 | -0.44533 | 4.5357
29 | -0.059221 | -0.014962 | 0.059298 | 0.015011 | 7.7266e-05 | 4.9132e-05 | 0.090191 | 0.090191 | 0.090191 | 0.97752 | -0.4316 | 0.97891 | -0.40442 | 24.7779
30 | 0.0049778 | 0.0012475 | -0.0049777 | -0.0012475 | 3.7319e-08 | 2.2186e-09 | 0.0075828 | 0.0075828 | 0.0075828 | 0.97682 | -0.44533 | 0.97681 | -0.44549 | 2.0832
31 | -0.11657 | -0.029655 | 0.11668 | 0.029723 | 0.00010669 | 6.8162e-05 | 0.1759 | 0.1759 | 0.1759 | 0.98702 | -0.24732 | 0.98801 | -0.22835 | 48.3246
32 | -0.11668 | -0.029723 | 0.11678 | 0.029787 | 9.9449e-05 | 6.3538e-05 | 0.1759 | 0.1759 | 0.1759 | 0.98801 | -0.22835 | 0.98893 | -0.2107 | 48.3246
33 | -0.11678 | -0.029787 | 0.11704 | 0.029956 | 0.00026533 | 0.00016952 | 0.1759 | 0.1759 | 0.1759 | 0.98893 | -0.2107 | 0.99138 | -0.16377 | 48.3246
34 | -0.12545 | -0.032064 | 0.12549 | 0.032085 | 3.3227e-05 | 2.1233e-05 | 0.18852 | 0.18852 | 0.18852 | 0.99138 | -0.16377 | 0.99167 | -0.15829 | 51.7914
35 | 0.015529 | 0.0038933 | -0.015524 | -0.0038908 | 4.4093e-06 | 2.5466e-06 | 0.023385 | 0.023385 | 0.023385 | 0.98813 | -0.2269 | 0.98783 | -0.23286 | 6.4245
36 | -0.063383 | -0.015901 | 0.063538 | 0.016 | 0.00015506 | 9.8654e-05 | 0.095453 | 0.095452 | 0.095453 | 0.98813 | -0.2269 | 0.99077 | -0.17572 | 26.2233
37 | 0.047854 | 0.012008 | -0.047816 | -0.011984 | 3.7764e-05 | 2.3921e-05 | 0.072068 | 0.072068 | 0.072068 | 0.98813 | -0.2269 | 0.98728 | -0.24346 | 19.7988
38 | 0.0018578 | 0.00046551 | -0.0018578 | -0.00046561 | 2.7499e-08 | -1.037e-07 | 0.0027902 | 0.0027903 | 0.0027903 | 0.99077 | -0.17572 | 0.99076 | -0.17603 | 0.76655
39 | 0.24691 | 0.062695 | -0.24663 | -0.06252 | 0.00027514 | 0.00017499 | 0.37111 | 0.37111 | 0.37111 | 0.99077 | -0.17572 | 0.98957 | -0.19891 | 25.4886
40 | -0.3123 | -0.07916 | 0.31242 | 0.079236 | 0.00011937 | 7.6097e-05 | 0.46936 | 0.46936 | 0.46936 | 0.99077 | -0.17572 | 0.99119 | -0.16777 | 32.236
41 | 0.038106 | 0.0095577 | -0.038094 | -0.0095502 | 1.1907e-05 | 7.5007e-06 | 0.057848 | 0.057848 | 0.057848 | 0.98024 | -0.37985 | 0.97991 | -0.38641 | 15.8923
42 | -0.11159 | -0.028083 | 0.1118 | 0.028214 | 0.0002051 | 0.00013103 | 0.16944 | 0.16944 | 0.16944 | 0.98024 | -0.37985 | 0.98221 | -0.34147 | 46.5488
43 | 0.018121 | 0.0045427 | -0.018118 | -0.0045409 | 2.9857e-06 | 1.7786e-06 | 0.027527 | 0.027527 | 0.027527 | 0.97958 | -0.39276 | 0.97941 | -0.39622 | 7.5625
44 | -0.018121 | -0.0045427 | 0.018123 | 0.0045434 | 1.1824e-06 | 7.0434e-07 | 0.027527 | 0.027527 | 0.027527 | 0.97958 | -0.39276 | 0.97965 | -0.39139 | 7.5625
45 | -0.018123 | -0.0045434 | 0.018127 | 0.004546 | 4.3084e-06 | 2.5664e-06 | 0.027527 | 0.027527 | 0.027527 | 0.97965 | -0.39139 | 0.97991 | -0.38641 | 7.5625
46 | 0.02847 | 0.0071403 | -0.028458 | -0.0071327 | 1.2156e-05 | 7.5589e-06 | 0.0431 | 0.0431 | 0.0431 | 0.98297 | -0.32672 | 0.98251 | -0.33568 | 11.8407
47 | -0.02847 | -0.0071403 | 0.028474 | 0.0071427 | 3.903e-06 | 2.4269e-06 | 0.0431 | 0.0431 | 0.0431 | 0.98297 | -0.32672 | 0.98312 | -0.32385 | 11.8407
48 | 0.0084864 | 0.0021273 | -0.0084857 | -0.002127 | 6.4135e-07 | 2.7936e-07 | 0.012853 | 0.012853 | 0.012853 | 0.98251 | -0.33568 | 0.98243 | -0.33727 | 3.531
49 | -0.048529 | -0.012169 | 0.048552 | 0.012183 | 2.2162e-05 | 1.4045e-05 | 0.073455 | 0.073455 | 0.073455 | 0.98312 | -0.32385 | 0.98361 | -0.31427 | 20.18
50 | 0.0033316 | 0.00083472 | -0.0033314 | -0.00083485 | 1.8664e-07 | -1.3503e-07 | 0.005011 | 0.0050111 | 0.0050111 | 0.9893 | -0.20423 | 0.98923 | -0.20541 | 1.3767
51 | -0.0033316 | -0.00083472 | 0.0033321 | 0.00083434 | 5.245e-07 | -3.7968e-07 | 0.005011 | 0.0050107 | 0.005011 | 0.9893 | -0.20423 | 0.98947 | -0.20093 | 1.3766
52 | 0.0016665 | 0.00041759 | -0.0016665 | -0.00041766 | 1.4865e-08 | -7.1473e-08 | 0.0025068 | 0.0025068 | 0.0025068 | 0.98923 | -0.20541 | 0.98923 | -0.2056 | 0.68868
53 | -0.005206 | -0.001304 | 0.0052065 | 0.001304 | 5.0038e-07 | 4.0579e-08 | 0.0078288 | 0.0078287 | 0.0078288 | 0.98947 | -0.20093 | 0.98957 | -0.19891 | 2.1508
54 | 0.0084857 | 0.002127 | -0.008484 | -0.0021263 | 1.6695e-06 | 7.2729e-07 | 0.012853 | 0.012853 | 0.012853 | 0.98243 | -0.33727 | 0.98222 | -0.3414 | 3.531
55 | -0.013889 | -0.0034821 | 0.013893 | 0.0034842 | 3.7038e-06 | 2.08e-06 | 0.020895 | 0.020895 | 0.020895 | 0.9891 | -0.20805 | 0.98938 | -0.20246 | 5.7404
56 | 0.013889 | 0.0034821 | -0.013885 | -0.00348 | 3.797e-06 | 2.1325e-06 | 0.020895 | 0.020895 | 0.020895 | 0.9891 | -0.20805 | 0.9888 | -0.21379 | 5.7404
57 | 0.22749 | 0.057706 | -0.22715 | -0.057487 | 0.00034371 | 0.00021837 | 0.34239 | 0.34239 | 0.34239 | 0.98938 | -0.20246 | 0.98775 | -0.23393 | 23.5159
58 | -0.24139 | -0.06119 | 0.24143 | 0.061216 | 4.1152e-05 | 2.6166e-05 | 0.36329 | 0.36329 | 0.36329 | 0.98938 | -0.20246 | 0.98957 | -0.19891 | 24.951
59 | 0.0064546 | 0.0016177 | -0.0064532 | -0.0016173 | 1.392e-06 | 3.8634e-07 | 0.0097134 | 0.0097136 | 0.0097136 | 0.9888 | -0.21379 | 0.98857 | -0.21832 | 2.6686
60 | 0.20166 | 0.051047 | -0.20147 | -0.05093 | 0.00018456 | 0.00011703 | 0.30419 | 0.30419 | 0.30419 | 0.98704 | -0.24771 | 0.98605 | -0.2668 | 20.8921
61 | -0.20166 | -0.051047 | 0.20179 | 0.051132 | 0.00013354 | 8.4676e-05 | 0.30419 | 0.30419 | 0.30419 | 0.98704 | -0.24771 | 0.98775 | -0.23393 | 20.8921
62 | 0.18108 | 0.045819 | -0.18067 | -0.045557 | 0.00041151 | 0.00026262 | 0.27342 | 0.27342 | 0.27342 | 0.98605 | -0.2668 | 0.98361 | -0.31427 | 37.5574
63 | -0.13073 | -0.033398 | 0.13085 | 0.033479 | 0.00012679 | 8.0691e-05 | 0.19638 | 0.19638 | 0.19638 | 0.99167 | -0.15829 | 0.99272 | -0.13825 | 26.9759
64 | -0.32066 | -0.081301 | 0.32124 | 0.081668 | 0.00057584 | 0.00036717 | 0.48173 | 0.48172 | 0.48173 | 0.99119 | -0.16777 | 0.99313 | -0.13048 | 33.0855
65 | -0.13195 | -0.033264 | 0.13212 | 0.033374 | 0.00017197 | 0.00010991 | 0.19996 | 0.19996 | 0.19996 | 0.98221 | -0.34147 | 0.98361 | -0.31427 | 54.9349
66 | -0.33014 | -0.083899 | 0.33087 | 0.084364 | 0.00072824 | 0.00046443 | 0.49506 | 0.49506 | 0.49506 | 0.99313 | -0.13048 | 0.99553 | -0.084785 | 34.0015
67 | -0.49588 | -0.12655 | 0.49792 | 0.12786 | 0.0020403 | 0.0013037 | 0.742 | 0.742 | 0.742 | 0.99553 | -0.084785 | 1 | 0 | 50.9615
68 | 0.16501 | 0.042189 | -0.16497 | -0.042162 | 4.3242e-05 | 2.7281e-05 | 0.24694 | 0.24694 | 0.24694 | 0.99553 | -0.084785 | 0.99524 | -0.090203 | 16.9601
69 | 0.16497 | 0.042162 | -0.16485 | -0.042091 | 0.00011288 | 7.1217e-05 | 0.24694 | 0.24694 | 0.24694 | 0.99524 | -0.090203 | 0.9945 | -0.10436 | 16.9601
70 | 0.14939 | 0.038215 | -0.1493 | -0.038158 | 9.1194e-05 | 5.7357e-05 | 0.2238 | 0.2238 | 0.2238 | 0.9945 | -0.10436 | 0.99383 | -0.11698 | 15.3711
71 | 0.14608 | 0.037351 | -0.14603 | -0.037318 | 5.348e-05 | 3.3611e-05 | 0.21898 | 0.21898 | 0.21898 | 0.99383 | -0.11698 | 0.99344 | -0.12455 | 15.0401
72 | -0.14273 | -0.036466 | 0.1428 | 0.036509 | 6.7509e-05 | 4.2393e-05 | 0.21415 | 0.21415 | 0.21415 | 0.99292 | -0.13433 | 0.99344 | -0.12455 | 14.7081
73 | 0.13919 | 0.035578 | -0.13916 | -0.035562 | 2.644e-05 | 1.6587e-05 | 0.20884 | 0.20884 | 0.20884 | 0.99292 | -0.13433 | 0.99272 | -0.13825 | 14.3435

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51242 | 0.13108

## res_load
| p_mw | q_mvar
0 | 0.0074647 | 0.0018708
1 | 0.020214 | 0.0050662
2 | 0.020383 | 0.0051085
3 | 0.044842 | 0.011238
4 | 0.0032281 | 0.00080904
5 | 0.0017964 | 0.00045023
6 | 0.0017258 | 0.00043254
7 | 0.0044127 | 0.0011059
8 | 0.004363 | 0.0010935
9 | 0.0032344 | 0.00081061
10 | 0.029324 | 0.0073492
11 | 0.0058603 | 0.0014687
12 | 0.0032625 | 0.00081765
13 | 0.0084076 | 0.0021071
14 | 0.015524 | 0.0038908
15 | 0.047816 | 0.011984
16 | 0.0084039 | 0.0021062
17 | 0.018118 | 0.0045409
18 | 0.019972 | 0.0050054
19 | 0.020055 | 0.0050263
20 | 0.0016649 | 0.00041726
21 | 0.0018739 | 0.00046965
22 | 0.020218 | 0.0050671
23 | 0.0049226 | 0.0012337
24 | 0.008484 | 0.0021263
25 | 0.0074304 | 0.0018622
26 | 0.020391 | 0.0051105
27 | 0.025359 | 0.0063556
28 | 0.0049777 | 0.0012475
29 | 0.0052409 | 0.0013135
30 | 0.0018578 | 0.00046561
31 | 0.0082388 | 0.0020648
32 | 0.019967 | 0.0050042
33 | 0.020149 | 0.0050499
34 | 0.0016665 | 0.00041766
35 | 0.0064532 | 0.0016173
36 | 0.0089012 | 0.0022309
37 | 0.012855 | 0.0032219
38 | 0.015463 | 0.0038753
39 | 0.0032192 | 0.0008068
40 | 0.0035423 | 0.00088778
41 | 0.0032279 | 0.00080898
42 | 0.0083105 | 0.0020828

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1