## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-437_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-437_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-437_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-437_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-437_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_261-437_0_3_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_261-437_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_261-437_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_261-437_0_3_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_261-437_0_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_261-437_0_3_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_261-437_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_261-437_0_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_261-437_0_3_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_261-437_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_261-437_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_261-437_0_3_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_261-437_0_3_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_261-437_0_3_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_261-437_0_3_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_261-437_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_261-437_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_261-437_0_3_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_261-437_0_3_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_261-437_0_3_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_261-437_0_3_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_261-437_0_3_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_261-437_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_261-437_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_261-437_0_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_261-437_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_261-437_0_3_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_261-437_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_261-437_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_261-437_0_3_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_261-437_0_3_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_261-437_0_3_node_40 | 0.4 | n |  | TRUE
37 | bus_MV_529_0_node_136 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-437_0_3_load_0 | 0 | 0.015983 | 0.0040058 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-437_0_3_load_1 | 1 | 0.014293 | 0.0035822 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-437_0_3_load_38 | 8 | 0.014787 | 0.0037059 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-437_0_3_load_22 | 10 | 0.09017 | 0.022599 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-437_0_3_load_17 | 12 | 0.020923 | 0.0052438 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-437_0_3_load_20 | 13 | 0.010583 | 0.0026524 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-437_0_3_load_29 | 16 | 0.0043965 | 0.0011019 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-437_0_3_load_27 | 17 | 0.0074169 | 0.0018588 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-437_0_3_load_25 | 18 | 0.0071254 | 0.0017858 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-437_0_3_load_23 | 19 | 0.012193 | 0.0030558 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-437_0_3_load_35 | 22 | 0.013605 | 0.0034097 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-437_0_3_load_34 | 24 | 0.01959 | 0.0049098 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-437_0_3_load_37 | 25 | 0.015269 | 0.0038268 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-437_0_3_load_24 | 26 | 0.013799 | 0.0034584 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-437_0_3_load_18 | 27 | 0.017886 | 0.0044827 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-437_0_3_load_21 | 28 | 0.0097344 | 0.0024397 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-437_0_3_load_28 | 29 | 0.0044948 | 0.0011265 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-437_0_3_load_26 | 30 | 0.0061628 | 0.0015446 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-437_0_3_load_39 | 31 | 0.019435 | 0.004871 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-437_0_3_load_19 | 32 | 0.018642 | 0.0046722 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-437_0_3_load_30 | 33 | 0.0027739 | 0.00069521 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-437_0_3_load_31 | 34 | 0.0098819 | 0.0024766 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-437_0_3_load_33 | 35 | 0.0099899 | 0.0025037 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-437_0_3_load_40 | 36 | 0.010177 | 0.0025506 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-437_0_3_line_0 |  | 0 | 1 | 0.020647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_261-437_0_3_line_1 |  | 0 | 2 | 0.018758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_261-437_0_3_line_2 |  | 1 | 3 | 0.011558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_261-437_0_3_line_3 |  | 2 | 4 | 0.07166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_261-437_0_3_line_4 |  | 3 | 5 | 0.01813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_261-437_0_3_line_5 |  | 4 | 9 | 0.06208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-437_0_3_line_6 |  | 4 | 10 | 0.016308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-437_0_3_line_7 |  | 5 | 25 | 0.011202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_261-437_0_3_line_8 |  | 5 | 22 | 0.030629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-437_0_3_line_9 |  | 6 | 7 | 0.008167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-437_0_3_line_10 |  | 6 | 8 | 0.037674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_261-437_0_3_line_11 |  | 7 | 11 | 0.072969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-437_0_3_line_12 |  | 7 | 12 | 0.0098078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-437_0_3_line_13 |  | 8 | 25 | 6.0226e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_261-437_0_3_line_14 |  | 9 | 17 | 0.013718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-437_0_3_line_15 |  | 11 | 13 | 0.016445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-437_0_3_line_16 |  | 12 | 27 | 0.016454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-437_0_3_line_17 |  | 13 | 28 | 0.014893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-437_0_3_line_18 |  | 14 | 15 | 0.040737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-437_0_3_line_19 |  | 14 | 16 | 0.011092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-437_0_3_line_20 |  | 15 | 18 | 0.018135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-437_0_3_line_21 |  | 15 | 19 | 0.019657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-437_0_3_line_22 |  | 16 | 29 | 0.014764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-437_0_3_line_23 |  | 17 | 30 | 0.020559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-437_0_3_line_24 |  | 19 | 26 | 0.018486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-437_0_3_line_25 |  | 20 | 21 | 0.19994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-437_0_3_line_26 |  | 20 | 22 | 0.011975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-437_0_3_line_27 |  | 21 | 23 | 0.14178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-437_0_3_line_28 |  | 21 | 24 | 0.04921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-437_0_3_line_29 |  | 23 | 33 | 0.019632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-437_0_3_line_30 |  | 27 | 32 | 0.019814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-437_0_3_line_31 |  | 29 | 30 | 0.017885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-437_0_3_line_32 |  | 31 | 32 | 0.020455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-437_0_3_line_33 |  | 33 | 34 | 0.015534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-437_0_3_line_34 |  | 34 | 35 | 0.015343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-437_0_3_line_35 |  | 35 | 36 | 0.013332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-437_0_3_trafo_4 | 0.63 MVA 20/0.4 kV | 37 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2680221.9204 | 1247364.8313 | 2680220.0926 | 1247344.2654
1 | 2680216.7681 | 1247381.6795 | 2680222.6748 | 1247373.32 | 2680221.9204 | 1247364.8313
2 | 2680219.0695 | 1247332.7528 | 2680220.0926 | 1247344.2654
3 | 2680159.1902 | 1247407.72 | 2680164.1714 | 1247409.6999 | 2680166.8441 | 1247405.3217 | 2680175.9697 | 1247408.0471 | 2680184.9867 | 1247408.7473 | 2680188.0049 | 1247408.4212 | 2680205.0879 | 1247395.8096 | 2680212.1528 | 1247387.2656 | 2680216.7681 | 1247381.6795
4 | 2680219.0695 | 1247332.7528 | 2680217.4632 | 1247314.6956
5 | 2680126.3059 | 1247447.1155 | 2680130.6191 | 1247437.6002 | 2680134.7385 | 1247426.7813 | 2680145.8662 | 1247430.59 | 2680147.2767 | 1247426.2725 | 2680148.545 | 1247422.4091 | 2680151.3283 | 1247422.1465 | 2680153.7249 | 1247420.3109 | 2680155.9239 | 1247417.4496 | 2680159.1902 | 1247407.72
6 | 2680159.1902 | 1247407.72 | 2680160.4729 | 1247403.9124 | 2680160.0704 | 1247398.4919 | 2680160.144 | 1247395.2794 | 2680160.3896 | 1247391.6467
7 | 2680217.4632 | 1247314.6956 | 2680211.6559 | 1247315.1508 | 2680206.2968 | 1247315.5835
8 | 2680217.4632 | 1247314.6956 | 2680214.7536 | 1247284.1863
9 | 2680160.4807 | 1247318.4502 | 2680168.614 | 1247317.4816
10 | 2680168.614 | 1247317.4816 | 2680200.5701 | 1247316.0459 | 2680206.2368 | 1247315.5884
11 | 2680110.0244 | 1247333.9575 | 2680114.2897 | 1247326.8766 | 2680116.5426 | 1247323.3823 | 2680119.9501 | 1247322.2052 | 2680123.2172 | 1247323.5837 | 2680131.5764 | 1247328.8116 | 2680140.3907 | 1247332.222 | 2680155.6718 | 1247336.1203 | 2680160.4807 | 1247318.4502
12 | 2680160.4807 | 1247318.4502 | 2680156.4927 | 1247309.4897
13 | 2680206.2368 | 1247315.5884 | 2680206.2968 | 1247315.5835
14 | 2680126.3059 | 1247447.1155 | 2680112.7396 | 1247445.0787
15 | 2680110.0244 | 1247333.9575 | 2680106.2961 | 1247332.0391 | 2680101.5878 | 1247328.3061 | 2680098.6749 | 1247325.865 | 2680096.8922 | 1247324.1952
16 | 2680156.4927 | 1247309.4897 | 2680155.4364 | 1247293.0699
17 | 2680094.2897 | 1247309.6526 | 2680094.5131 | 1247311.8764 | 2680095.7963 | 1247322.0011 | 2680096.8922 | 1247324.1952 | 2680096.8922 | 1247324.1952
18 | 2680033.0554 | 1247407.0605 | 2680033.68 | 1247411.1497 | 2680033.7776 | 1247415.1095 | 2680038.4294 | 1247414.6386 | 2680044.92 | 1247414.4816 | 2680049.1526 | 1247435.5318
19 | 2680049.1526 | 1247435.5318 | 2680060.1215 | 1247437.1787
20 | 2680033.0554 | 1247407.0605 | 2680025.9784 | 1247407.5765 | 2680015.0509 | 1247409.1431
21 | 2680033.0554 | 1247407.0605 | 2680040.3971 | 1247406.5259 | 2680052.6923 | 1247406.4157
22 | 2680074.7218 | 1247439.3708 | 2680060.1215 | 1247437.1787
23 | 2680092.4083 | 1247442.0262 | 2680112.7396 | 1247445.0787
24 | 2680071.1596 | 1247407.1324 | 2680068.0985 | 1247406.8889 | 2680054.2519 | 1247406.4017 | 2680052.6923 | 1247406.4157
25 | 2680213.6943 | 1247272.2582 | 2680217.5097 | 1247271.6427 | 2680220.1924 | 1247271.5567 | 2680223.6268 | 1247272.3037 | 2680226.2891 | 1247273.1625 | 2680229.1521 | 1247273.7128 | 2680235.2338 | 1247273.0835 | 2680226.7443 | 1247262.4164 | 2680193.3742 | 1247225.4159 | 2680176.047 | 1247208.5805 | 2680184.1684 | 1247197.8936 | 2680193.3647 | 1247192.0582 | 2680195.5896 | 1247190.6428 | 2680203.7386 | 1247189.0852 | 2680258.8514 | 1247186.2731
26 | 2680213.6943 | 1247272.2582 | 2680214.7536 | 1247284.1863
27 | 2680258.8514 | 1247186.2731 | 2680267.9147 | 1247185.8065 | 2680273.5085 | 1247185.5153 | 2680307.2672 | 1247183.7822 | 2680316.1119 | 1247217.849 | 2680328.8563 | 1247267.9137 | 2680330.9189 | 1247274.0127
28 | 2680258.8514 | 1247186.2731 | 2680260.5939 | 1247235.4522
29 | 2680330.9189 | 1247274.0127 | 2680322.5469 | 1247275.8673 | 2680311.5163 | 1247276.6322
30 | 2680155.4364 | 1247293.0699 | 2680154.1644 | 1247273.2963
31 | 2680074.7218 | 1247439.3708 | 2680092.4083 | 1247442.0262
32 | 2680154.1644 | 1247273.2963 | 2680152.8512 | 1247252.883
33 | 2680296.0199 | 1247277.7068 | 2680311.5163 | 1247276.6322
34 | 2680296.0199 | 1247277.7068 | 2680280.7142 | 1247278.7681
35 | 2680267.4137 | 1247279.6904 | 2680280.7142 | 1247278.7681

## bus_geodata
| x | y | coords
0 | 2680221.9204 | 1247364.8313
1 | 2680220.0926 | 1247344.2654
2 | 2680216.7681 | 1247381.6795
3 | 2680219.0695 | 1247332.7528
4 | 2680159.1902 | 1247407.72
5 | 2680217.4632 | 1247314.6956
6 | 2680168.614 | 1247317.4816
7 | 2680160.4807 | 1247318.4502
8 | 2680206.2368 | 1247315.5884
9 | 2680126.3059 | 1247447.1155
10 | 2680160.3896 | 1247391.6467
11 | 2680110.0244 | 1247333.9575
12 | 2680156.4927 | 1247309.4897
13 | 2680096.8922 | 1247324.1952
14 | 2680049.1526 | 1247435.5318
15 | 2680033.0554 | 1247407.0605
16 | 2680060.1215 | 1247437.1787
17 | 2680112.7396 | 1247445.0787
18 | 2680015.0509 | 1247409.1431
19 | 2680052.6923 | 1247406.4157
20 | 2680213.6943 | 1247272.2582
21 | 2680258.8514 | 1247186.2731
22 | 2680214.7536 | 1247284.1863
23 | 2680330.9189 | 1247274.0127
24 | 2680260.5939 | 1247235.4522
25 | 2680206.2968 | 1247315.5835
26 | 2680071.1596 | 1247407.1324
27 | 2680155.4364 | 1247293.0699
28 | 2680094.2897 | 1247309.6526
29 | 2680074.7218 | 1247439.3708
30 | 2680092.4083 | 1247442.0262
31 | 2680152.8512 | 1247252.883
32 | 2680154.1644 | 1247273.2963
33 | 2680311.5163 | 1247276.6322
34 | 2680296.0199 | 1247277.7068
35 | 2680280.7142 | 1247278.7681
36 | 2680267.4137 | 1247279.6904
37 | 2680160.4807 | 1247318.4502

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99005 | -0.18966 | 0.015983 | 0.0040058
1 | 0.99159 | -0.16001 | 0.014293 | 0.0035822
2 | 0.98878 | -0.214 | 0 | 0
3 | 0.99253 | -0.14199 | 0 | 0
4 | 0.98395 | -0.30757 | 0 | 0
5 | 0.99401 | -0.1138 | 0 | 0
6 | 1 | 0 | -0.3754 | -0.095381
7 | 0.99928 | -0.013848 | 0 | 0
8 | 0.99527 | -0.089774 | 0.014787 | 0.0037059
9 | 0.98075 | -0.3699 | 0 | 0
10 | 0.98259 | -0.33408 | 0.09017 | 0.022599
11 | 0.99793 | -0.039763 | 0 | 0
12 | 0.99859 | -0.027019 | 0.020923 | 0.0052438
13 | 0.99763 | -0.045612 | 0.010583 | 0.0026524
14 | 0.97757 | -0.43218 | 0 | 0
15 | 0.97631 | -0.45682 | 0 | 0
16 | 0.97791 | -0.42548 | 0.0043965 | 0.0011019
17 | 0.98004 | -0.38373 | 0.0074169 | 0.0018588
18 | 0.97619 | -0.45918 | 0.0071254 | 0.0017858
19 | 0.97584 | -0.46617 | 0.012193 | 0.0030558
20 | 0.99155 | -0.16067 | 0 | 0
21 | 0.98183 | -0.34833 | 0 | 0
22 | 0.99214 | -0.14954 | 0.013605 | 0.0034097
23 | 0.97751 | -0.43285 | 0 | 0
24 | 0.98094 | -0.36577 | 0.01959 | 0.0049098
25 | 0.99526 | -0.08991 | 0.015269 | 0.0038268
26 | 0.9756 | -0.47084 | 0.013799 | 0.0034584
27 | 0.99776 | -0.043128 | 0.017886 | 0.0044827
28 | 0.9975 | -0.048151 | 0.0097344 | 0.0024397
29 | 0.97842 | -0.41539 | 0.0044948 | 0.0011265
30 | 0.97912 | -0.40172 | 0.0061628 | 0.0015446
31 | 0.99671 | -0.06332 | 0.019435 | 0.004871
32 | 0.99707 | -0.056347 | 0.018642 | 0.0046722
33 | 0.97691 | -0.44461 | 0.0027739 | 0.00069521
34 | 0.97648 | -0.45314 | 0.0098819 | 0.0024766
35 | 0.97619 | -0.4588 | 0.0099899 | 0.0025037
36 | 0.97606 | -0.46128 | 0.010177 | 0.0025506
37 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.16304 | -0.041363 | 0.16327 | 0.041511 | 0.0002328 | 0.00014846 | 0.24523 | 0.24523 | 0.24523 | 0.99005 | -0.18966 | 0.99159 | -0.16001 | 33.6849
1 | 0.14706 | 0.037357 | -0.14689 | -0.037247 | 0.0001721 | 0.00010966 | 0.2212 | 0.2212 | 0.2212 | 0.99005 | -0.18966 | 0.98878 | -0.214 | 30.3852
2 | -0.17757 | -0.045093 | 0.17772 | 0.045192 | 0.00015412 | 9.8336e-05 | 0.26667 | 0.26667 | 0.26667 | 0.99159 | -0.16001 | 0.99253 | -0.14199 | 36.6311
3 | 0.14689 | 0.037247 | -0.14623 | -0.036828 | 0.00065745 | 0.00041894 | 0.2212 | 0.2212 | 0.2212 | 0.98878 | -0.214 | 0.98395 | -0.30757 | 30.3852
4 | -0.17772 | -0.045192 | 0.17796 | 0.045346 | 0.00024175 | 0.00015425 | 0.26667 | 0.26667 | 0.26667 | 0.99253 | -0.14199 | 0.99401 | -0.1138 | 36.6311
5 | 0.055945 | 0.014157 | -0.055778 | -0.014051 | 0.00016683 | 0.00010598 | 0.084653 | 0.084653 | 0.084653 | 0.98395 | -0.30757 | 0.98075 | -0.3699 | 23.2564
6 | 0.090284 | 0.022672 | -0.09017 | -0.022599 | 0.00011403 | 7.2772e-05 | 0.13655 | 0.13655 | 0.13655 | 0.98395 | -0.30757 | 0.98259 | -0.33408 | 37.5142
7 | -0.24479 | -0.062402 | 0.24507 | 0.062583 | 0.00028261 | 0.00018058 | 0.36682 | 0.36682 | 0.36682 | 0.99401 | -0.1138 | 0.99526 | -0.08991 | 50.3875
8 | 0.066826 | 0.017056 | -0.06671 | -0.016983 | 0.0001152 | 7.333e-05 | 0.10015 | 0.10015 | 0.10015 | 0.99401 | -0.1138 | 0.99214 | -0.14954 | 27.5129
9 | 0.097423 | 0.024499 | -0.097359 | -0.024458 | 6.4388e-05 | 4.1101e-05 | 0.145 | 0.145 | 0.145 | 1 | 0 | 0.99928 | -0.013848 | 39.8341
10 | 0.27633 | 0.070882 | -0.27513 | -0.070116 | 0.0011976 | 0.00076549 | 0.41176 | 0.41176 | 0.41176 | 1 | 0 | 0.99527 | -0.089774 | 56.56
11 | 0.02035 | 0.0051112 | -0.020324 | -0.005096 | 2.5132e-05 | 1.513e-05 | 0.030306 | 0.030307 | 0.030307 | 0.99928 | -0.013848 | 0.99793 | -0.039763 | 8.326
12 | 0.077009 | 0.019347 | -0.076961 | -0.019316 | 4.8379e-05 | 3.0834e-05 | 0.11469 | 0.11469 | 0.11469 | 0.99928 | -0.013848 | 0.99859 | -0.027019 | 31.5082
13 | 0.26034 | 0.06641 | -0.26034 | -0.066409 | 1.7145e-06 | 1.0957e-06 | 0.38965 | 0.38965 | 0.38965 | 0.99527 | -0.089774 | 0.99526 | -0.08991 | 53.5233
14 | 0.055778 | 0.014051 | -0.055741 | -0.014027 | 3.6865e-05 | 2.3421e-05 | 0.084653 | 0.084653 | 0.084653 | 0.98075 | -0.3699 | 0.98004 | -0.38373 | 23.2564
15 | 0.020324 | 0.005096 | -0.020319 | -0.0050926 | 5.664e-06 | 3.4102e-06 | 0.030307 | 0.030307 | 0.030307 | 0.99793 | -0.039763 | 0.99763 | -0.045612 | 8.326
16 | 0.056038 | 0.014072 | -0.055994 | -0.014045 | 4.3032e-05 | 2.7326e-05 | 0.083512 | 0.083512 | 0.083512 | 0.99859 | -0.027019 | 0.99776 | -0.043128 | 22.9429
17 | 0.0097356 | 0.0024402 | -0.0097344 | -0.0024397 | 1.1777e-06 | 5.5928e-07 | 0.014521 | 0.014521 | 0.014521 | 0.99763 | -0.045612 | 0.9975 | -0.048151 | 3.9894
18 | 0.033172 | 0.0083337 | -0.033133 | -0.0083093 | 3.896e-05 | 2.4424e-05 | 0.050501 | 0.050501 | 0.050501 | 0.97757 | -0.43218 | 0.97631 | -0.45682 | 13.8738
19 | -0.033172 | -0.0083337 | 0.033183 | 0.0083403 | 1.0608e-05 | 6.6499e-06 | 0.050501 | 0.050501 | 0.050501 | 0.97757 | -0.43218 | 0.97791 | -0.42548 | 13.8738
20 | 0.0071262 | 0.0017861 | -0.0071254 | -0.0017858 | 8.0225e-07 | 2.8669e-07 | 0.010861 | 0.010861 | 0.010861 | 0.97631 | -0.45682 | 0.97619 | -0.45918 | 2.9839
21 | 0.026007 | 0.0065232 | -0.025995 | -0.006516 | 1.1583e-05 | 7.1671e-06 | 0.03964 | 0.03964 | 0.03964 | 0.97631 | -0.45682 | 0.97584 | -0.46617 | 10.89
22 | -0.037579 | -0.0094422 | 0.037597 | 0.0094536 | 1.8108e-05 | 1.1404e-05 | 0.05719 | 0.05719 | 0.05719 | 0.97791 | -0.42548 | 0.97842 | -0.41539 | 15.7117
23 | 0.048324 | 0.012168 | -0.048283 | -0.012142 | 4.1527e-05 | 2.6319e-05 | 0.073392 | 0.073392 | 0.073392 | 0.98004 | -0.38373 | 0.97912 | -0.40172 | 20.1627
24 | 0.013802 | 0.0034602 | -0.013799 | -0.0034584 | 3.0708e-06 | 1.7344e-06 | 0.021047 | 0.021047 | 0.021047 | 0.97584 | -0.46617 | 0.9756 | -0.47084 | 5.7822
25 | 0.053077 | 0.013555 | -0.0526 | -0.013252 | 0.00047677 | 0.00030258 | 0.079742 | 0.079743 | 0.079743 | 0.99155 | -0.16067 | 0.98183 | -0.34833 | 21.9074
26 | -0.053077 | -0.013555 | 0.053105 | 0.013573 | 2.8555e-05 | 1.8121e-05 | 0.079742 | 0.079742 | 0.079742 | 0.99155 | -0.16067 | 0.99214 | -0.14954 | 21.9072
27 | 0.032993 | 0.0083326 | -0.03286 | -0.0082493 | 0.00013305 | 8.337e-05 | 0.050026 | 0.050027 | 0.050027 | 0.98183 | -0.34833 | 0.97751 | -0.43285 | 13.7435
28 | 0.019607 | 0.0049196 | -0.01959 | -0.0049098 | 1.6297e-05 | 9.8081e-06 | 0.029717 | 0.029717 | 0.029717 | 0.98183 | -0.34833 | 0.98094 | -0.36577 | 8.1641
29 | 0.03286 | 0.0082493 | -0.032842 | -0.0082377 | 1.8425e-05 | 1.1546e-05 | 0.050027 | 0.050027 | 0.050027 | 0.97751 | -0.43285 | 0.97691 | -0.44461 | 13.7436
30 | 0.038108 | 0.0095622 | -0.038084 | -0.0095471 | 2.4004e-05 | 1.5104e-05 | 0.056837 | 0.056838 | 0.056838 | 0.99776 | -0.043128 | 0.99707 | -0.056347 | 15.6147
31 | -0.042092 | -0.01058 | 0.04212 | 0.010597 | 2.7494e-05 | 1.7371e-05 | 0.064026 | 0.064026 | 0.064026 | 0.97842 | -0.41539 | 0.97912 | -0.40172 | 17.5896
32 | -0.019435 | -0.004871 | 0.019442 | 0.0048749 | 6.4582e-06 | 3.8665e-06 | 0.029016 | 0.029016 | 0.029016 | 0.99671 | -0.06332 | 0.99707 | -0.056347 | 7.9714
33 | 0.030068 | 0.0075425 | -0.030056 | -0.0075349 | 1.222e-05 | 7.6262e-06 | 0.045801 | 0.045801 | 0.045801 | 0.97691 | -0.44461 | 0.97648 | -0.45314 | 12.5828
34 | 0.020174 | 0.0050582 | -0.020168 | -0.005055 | 5.4377e-06 | 3.2883e-06 | 0.030743 | 0.030743 | 0.030743 | 0.97648 | -0.45314 | 0.97619 | -0.4588 | 8.4459
35 | 0.010178 | 0.0025513 | -0.010177 | -0.0025506 | 1.2035e-06 | 6.036e-07 | 0.015515 | 0.015515 | 0.015515 | 0.97619 | -0.4588 | 0.97606 | -0.46128 | 4.2624

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.3754 | 0.095381

## res_load
| p_mw | q_mvar
0 | 0.015983 | 0.0040058
1 | 0.014293 | 0.0035822
2 | 0.014787 | 0.0037059
3 | 0.09017 | 0.022599
4 | 0.020923 | 0.0052438
5 | 0.010583 | 0.0026524
6 | 0.0043965 | 0.0011019
7 | 0.0074169 | 0.0018588
8 | 0.0071254 | 0.0017858
9 | 0.012193 | 0.0030558
10 | 0.013605 | 0.0034097
11 | 0.01959 | 0.0049098
12 | 0.015269 | 0.0038268
13 | 0.013799 | 0.0034584
14 | 0.017886 | 0.0044827
15 | 0.0097344 | 0.0024397
16 | 0.0044948 | 0.0011265
17 | 0.0061628 | 0.0015446
18 | 0.019435 | 0.004871
19 | 0.018642 | 0.0046722
20 | 0.0027739 | 0.00069521
21 | 0.0098819 | 0.0024766
22 | 0.0099899 | 0.0025037
23 | 0.010177 | 0.0025506

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1