## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-440_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-440_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-440_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-440_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-440_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-440_0_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_261-440_0_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_261-440_0_3_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_261-440_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_261-440_0_3_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_261-440_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_261-440_0_3_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_261-440_0_3_node_38 | 0.4 | n |  | TRUE
13 | bus_LV_261-440_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_261-440_0_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_261-440_0_3_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_261-440_0_3_node_45 | 0.4 | n |  | TRUE
17 | bus_LV_261-440_0_3_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_261-440_0_3_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_261-440_0_3_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_261-440_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_261-440_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_261-440_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_261-440_0_3_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_261-440_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_261-440_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_261-440_0_3_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_261-440_0_3_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_261-440_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_261-440_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_261-440_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_261-440_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_261-440_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_261-440_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_261-440_0_3_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_261-440_0_3_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_261-440_0_3_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_261-440_0_3_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_261-440_0_3_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_261-440_0_3_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_261-440_0_3_node_44 | 0.4 | n |  | TRUE
41 | bus_MV_529_1_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-440_0_3_load_0 | 0 | 0.0095748 | 0.0023997 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-440_0_3_load_1 | 1 | 0.0082756 | 0.0020741 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-440_0_3_load_4 | 4 | 0.010642 | 0.002667 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-440_0_3_load_34 | 7 | 0.0044712 | 0.0011206 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-440_0_3_load_35 | 9 | 0.0028456 | 0.00071317 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-440_0_3_load_38 | 12 | 0.0075126 | 0.0018828 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-440_0_3_load_26 | 15 | 0.003121 | 0.00078219 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-440_0_3_load_45 | 16 | 0.08463 | 0.02121 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-440_0_3_load_19 | 17 | 0.012768 | 0.0031998 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-440_0_3_load_40 | 18 | 0.011296 | 0.002831 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-440_0_3_load_41 | 19 | 0.0022306 | 0.00055905 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-440_0_3_load_18 | 20 | 0.0077824 | 0.0019504 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-440_0_3_load_16 | 21 | 0.016662 | 0.004176 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-440_0_3_load_20 | 22 | 0.011641 | 0.0029174 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-440_0_3_load_29 | 23 | 0.003567 | 0.00089397 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-440_0_3_load_27 | 24 | 0.0031492 | 0.00078927 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-440_0_3_load_25 | 25 | 0.0043312 | 0.0010855 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-440_0_3_load_37 | 26 | 0.0059811 | 0.001499 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-440_0_3_load_39 | 27 | 0.0072207 | 0.0018097 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-440_0_3_load_21 | 28 | 0.0027052 | 0.00067798 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-440_0_3_load_22 | 29 | 0.0028105 | 0.00070437 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-440_0_3_load_23 | 30 | 0.0023666 | 0.00059313 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-440_0_3_load_24 | 31 | 0.0027101 | 0.00067921 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-440_0_3_load_28 | 32 | 0.0091794 | 0.0023006 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-440_0_3_load_30 | 33 | 0.0044712 | 0.0011206 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-440_0_3_load_32 | 35 | 0.078051 | 0.019562 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-440_0_3_load_33 | 36 | 0.0040729 | 0.0010208 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-440_0_3_load_36 | 37 | 0.0056865 | 0.0014252 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-440_0_3_load_42 | 38 | 0.0059967 | 0.0015029 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-440_0_3_load_43 | 39 | 0.0052343 | 0.0013118 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-440_0_3_load_44 | 40 | 0.0050221 | 0.0012587 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-440_0_3_line_0 |  | 0 | 1 | 0.01526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-440_0_3_line_1 |  | 0 | 2 | 0.019193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-440_0_3_line_2 |  | 1 | 3 | 0.02315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-440_0_3_line_3 |  | 2 | 4 | 0.022966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-440_0_3_line_4 |  | 3 | 5 | 0.056646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-440_0_3_line_5 |  | 3 | 6 | 0.0072085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-440_0_3_line_6 |  | 4 | 7 | 0.048058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-440_0_3_line_7 |  | 5 | 16 | 0.02384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_261-440_0_3_line_8 |  | 6 | 17 | 0.012987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-440_0_3_line_9 |  | 6 | 10 | 0.040991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-440_0_3_line_10 |  | 7 | 8 | 0.030613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-440_0_3_line_11 |  | 8 | 9 | 0.056199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-440_0_3_line_12 |  | 9 | 19 | 0.0058284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-440_0_3_line_13 |  | 10 | 11 | 0.030647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-440_0_3_line_14 |  | 10 | 12 | 0.017709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-440_0_3_line_15 |  | 11 | 20 | 0.015588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-440_0_3_line_16 |  | 11 | 21 | 0.0097696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-440_0_3_line_17 |  | 13 | 14 | 0.005313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-440_0_3_line_18 |  | 13 | 15 | 0.044962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-440_0_3_line_19 |  | 14 | 18 | 0.017197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-440_0_3_line_20 |  | 15 | 25 | 0.025075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-440_0_3_line_21 |  | 16 | 26 | 0.072128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_261-440_0_3_line_22 |  | 17 | 22 | 0.01627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-440_0_3_line_23 |  | 18 | 19 | 0.013851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-440_0_3_line_24 |  | 20 | 27 | 0.019777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-440_0_3_line_25 |  | 23 | 24 | 0.016145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-440_0_3_line_26 |  | 24 | 32 | 0.0028511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-440_0_3_line_27 |  | 25 | 31 | 0.025578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-440_0_3_line_28 |  | 26 | 37 | 0.030395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_261-440_0_3_line_29 |  | 28 | 29 | 0.021046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-440_0_3_line_30 |  | 29 | 30 | 0.021497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-440_0_3_line_31 |  | 30 | 31 | 0.01677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-440_0_3_line_32 |  | 32 | 33 | 0.01479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-440_0_3_line_33 |  | 33 | 34 | 0.019126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-440_0_3_line_34 |  | 34 | 35 | 0.001282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-440_0_3_line_35 |  | 34 | 36 | 0.021812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-440_0_3_line_36 |  | 35 | 37 | 0.0088755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-440_0_3_line_37 |  | 36 | 38 | 0.0056202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-440_0_3_line_38 |  | 38 | 39 | 7.2016e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-440_0_3_line_39 |  | 39 | 40 | 0.0049646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-440_0_3_trafo_36 | 0.63 MVA 20/0.4 kV | 41 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2679680.9142 | 1247505.0106 | 2679667.4555 | 1247512.2039
1 | 2679697.9689 | 1247496.2131 | 2679691.3009 | 1247499.4592 | 2679680.9142 | 1247505.0106
2 | 2679647.1111 | 1247523.2496 | 2679653.8389 | 1247519.4816 | 2679667.4555 | 1247512.2039
3 | 2679697.9689 | 1247496.2131 | 2679709.0435 | 1247516.3321
4 | 2679647.1111 | 1247523.2496 | 2679632.3162 | 1247531.5236 | 2679597.7215 | 1247551.2402
5 | 2679643.5623 | 1247516.9751 | 2679645.4363 | 1247520.2916 | 2679647.1111 | 1247523.2496
6 | 2679747.7345 | 1247536.9006 | 2679729.284 | 1247516.5154 | 2679715.9459 | 1247518.1151 | 2679709.0435 | 1247516.3321
7 | 2679597.7215 | 1247551.2402 | 2679607.9382 | 1247572.7804
8 | 2679643.5623 | 1247516.9751 | 2679632.1867 | 1247523.2413
9 | 2679643.5623 | 1247516.9751 | 2679632.3302 | 1247493.3849 | 2679618.7511 | 1247499.4292
10 | 2679774.0272 | 1247521.2205 | 2679747.7345 | 1247536.9006
11 | 2679774.0272 | 1247521.2205 | 2679794.4969 | 1247554.876 | 2679803.3745 | 1247569.148
12 | 2679806.4529 | 1247574.097 | 2679803.3745 | 1247569.148
13 | 2679646.1275 | 1247485.7201 | 2679632.3302 | 1247493.3849 | 2679618.7511 | 1247499.4292
14 | 2679618.7511 | 1247499.4292 | 2679617.2743 | 1247496.3405 | 2679615.6434 | 1247495.1733 | 2679613.7821 | 1247494.8481 | 2679609.239 | 1247485.504
15 | 2679646.1275 | 1247485.7201 | 2679638.8524 | 1247471.9335
16 | 2679646.1275 | 1247485.7201 | 2679652.5519 | 1247482.0482 | 2679654.771 | 1247481.2165
17 | 2679821.5349 | 1247601.0735 | 2679821.8312 | 1247603.7461 | 2679820.9369 | 1247606.2137
18 | 2679820.9369 | 1247606.2137 | 2679818.9291 | 1247607.2318 | 2679816.8345 | 1247607.9708 | 2679778.3588 | 1247616.3481 | 2679777.2708 | 1247616.5789
19 | 2679821.5349 | 1247601.0735 | 2679820.5504 | 1247597.3353 | 2679813.7544 | 1247585.8668
20 | 2679752.741 | 1247621.781 | 2679777.2708 | 1247616.5789
21 | 2679655.715 | 1247569.3699 | 2679644.6957 | 1247586.074 | 2679637.1251 | 1247592.9885 | 2679627.3727 | 1247595.8819 | 2679615.9378 | 1247589.646 | 2679607.9382 | 1247572.7804
22 | 2679632.1867 | 1247523.2413 | 2679617.9356 | 1247531.0915
23 | 2679813.7544 | 1247585.8668 | 2679813.357 | 1247585.1963 | 2679806.4529 | 1247574.097
24 | 2679638.8524 | 1247471.9335 | 2679638.3271 | 1247470.938 | 2679630.0923 | 1247454.203
25 | 2679729.0602 | 1247596.0985 | 2679728.7178 | 1247595.6544 | 2679715.6678 | 1247587.135
26 | 2679713.2804 | 1247585.5765 | 2679715.6678 | 1247587.135
27 | 2679752.741 | 1247621.781 | 2679727.7194 | 1247627.0874
28 | 2679655.715 | 1247569.3699 | 2679665.3442 | 1247554.773 | 2679676.2156 | 1247561.733
29 | 2679669.6977 | 1247639.3997 | 2679683.2037 | 1247636.528 | 2679690.2847 | 1247635.0263
30 | 2679690.2847 | 1247635.0263 | 2679711.3144 | 1247630.5665
31 | 2679711.3144 | 1247630.5665 | 2679727.7194 | 1247627.0874
32 | 2679713.2804 | 1247585.5765 | 2679704.8401 | 1247580.0665 | 2679700.8954 | 1247577.492
33 | 2679684.7702 | 1247567.2097 | 2679692.7852 | 1247572.1988 | 2679700.8954 | 1247577.492
34 | 2679684.7702 | 1247567.2097 | 2679683.6905 | 1247566.5184
35 | 2679684.7702 | 1247567.2097 | 2679672.497 | 1247585.2408
36 | 2679683.6905 | 1247566.5184 | 2679676.2156 | 1247561.733
37 | 2679672.497 | 1247585.2408 | 2679669.3346 | 1247589.8868
38 | 2679669.2941 | 1247589.9464 | 2679669.3346 | 1247589.8868
39 | 2679666.5005 | 1247594.0504 | 2679669.2941 | 1247589.9464

## bus_geodata
| x | y | coords
0 | 2679680.9142 | 1247505.0106
1 | 2679667.4555 | 1247512.2039
2 | 2679697.9689 | 1247496.2131
3 | 2679647.1111 | 1247523.2496
4 | 2679709.0435 | 1247516.3321
5 | 2679597.7215 | 1247551.2402
6 | 2679643.5623 | 1247516.9751
7 | 2679747.7345 | 1247536.9006
8 | 2679774.0272 | 1247521.2205
9 | 2679803.3745 | 1247569.148
10 | 2679618.7511 | 1247499.4292
11 | 2679646.1275 | 1247485.7201
12 | 2679609.239 | 1247485.504
13 | 2679820.9369 | 1247606.2137
14 | 2679821.5349 | 1247601.0735
15 | 2679777.2708 | 1247616.5789
16 | 2679607.9382 | 1247572.7804
17 | 2679632.1867 | 1247523.2413
18 | 2679813.7544 | 1247585.8668
19 | 2679806.4529 | 1247574.097
20 | 2679638.8524 | 1247471.9335
21 | 2679654.771 | 1247481.2165
22 | 2679617.9356 | 1247531.0915
23 | 2679729.0602 | 1247596.0985
24 | 2679715.6678 | 1247587.135
25 | 2679752.741 | 1247621.781
26 | 2679655.715 | 1247569.3699
27 | 2679630.0923 | 1247454.203
28 | 2679669.6977 | 1247639.3997
29 | 2679690.2847 | 1247635.0263
30 | 2679711.3144 | 1247630.5665
31 | 2679727.7194 | 1247627.0874
32 | 2679713.2804 | 1247585.5765
33 | 2679700.8954 | 1247577.492
34 | 2679684.7702 | 1247567.2097
35 | 2679683.6905 | 1247566.5184
36 | 2679672.497 | 1247585.2408
37 | 2679676.2156 | 1247561.733
38 | 2679669.3346 | 1247589.8868
39 | 2679669.2941 | 1247589.9464
40 | 2679666.5005 | 1247594.0505
41 | 2679684.7702 | 1247567.2097

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97907 | -0.40209 | 0.0095748 | 0.0023997
1 | 0.97991 | -0.3857 | 0.0082756 | 0.0020741
2 | 0.97818 | -0.4194 | 0 | 0
3 | 0.98136 | -0.35743 | 0 | 0
4 | 0.97712 | -0.44015 | 0.010642 | 0.002667
5 | 0.98825 | -0.22408 | 0 | 0
6 | 0.98093 | -0.36573 | 0 | 0
7 | 0.97537 | -0.47433 | 0.0044712 | 0.0011206
8 | 0.97439 | -0.49366 | 0 | 0
9 | 0.97258 | -0.52924 | 0.0028456 | 0.00071317
10 | 0.97944 | -0.39486 | 0 | 0
11 | 0.97855 | -0.41251 | 0 | 0
12 | 0.97932 | -0.39728 | 0.0075126 | 0.0018828
13 | 0.97165 | -0.54762 | 0 | 0
14 | 0.97174 | -0.54585 | 0 | 0
15 | 0.9709 | -0.56262 | 0.003121 | 0.00078219
16 | 0.9897 | -0.19626 | 0.08463 | 0.02121
17 | 0.98064 | -0.37147 | 0.012768 | 0.0031998
18 | 0.97203 | -0.54013 | 0.011296 | 0.002831
19 | 0.97241 | -0.53263 | 0.0022306 | 0.00055905
20 | 0.97833 | -0.41677 | 0.0077824 | 0.0019504
21 | 0.97839 | -0.41548 | 0.016662 | 0.004176
22 | 0.98046 | -0.3749 | 0.011641 | 0.0029174
23 | 0.99836 | -0.031556 | 0.003567 | 0.00089397
24 | 0.99841 | -0.030549 | 0.0031492 | 0.00078927
25 | 0.97055 | -0.56954 | 0.0043312 | 0.0010855
26 | 0.99689 | -0.058884 | 0.0059811 | 0.001499
27 | 0.9782 | -0.41937 | 0.0072207 | 0.0018097
28 | 0.97001 | -0.58025 | 0.0027052 | 0.00067798
29 | 0.97006 | -0.5792 | 0.0028105 | 0.00070437
30 | 0.97017 | -0.577 | 0.0023666 | 0.00059313
31 | 0.97029 | -0.57456 | 0.0027101 | 0.00067921
32 | 0.99843 | -0.030214 | 0.0091794 | 0.0023006
33 | 0.99864 | -0.026104 | 0.0044712 | 0.0011206
34 | 0.999 | -0.019298 | 0 | 0
35 | 0.99904 | -0.018387 | 0.078051 | 0.019562
36 | 0.99859 | -0.027044 | 0.0040729 | 0.0010208
37 | 1 | 0 | -0.34575 | -0.087702
38 | 0.99851 | -0.028641 | 0.0059967 | 0.0015029
39 | 0.99851 | -0.028654 | 0.0052343 | 0.0013118
40 | 0.99849 | -0.02909 | 0.0050221 | 0.0012587
41 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.059393 | -0.014993 | 0.05944 | 0.015023 | 4.667e-05 | 2.9677e-05 | 0.090307 | 0.090307 | 0.090307 | 0.97907 | -0.40209 | 0.97991 | -0.3857 | 24.8096
1 | 0.049819 | 0.012594 | -0.049777 | -0.012567 | 4.1305e-05 | 2.6194e-05 | 0.075755 | 0.075755 | 0.075755 | 0.97907 | -0.40209 | 0.97818 | -0.4194 | 20.8118
2 | -0.067716 | -0.017097 | 0.067808 | 0.017156 | 9.1875e-05 | 5.8508e-05 | 0.10287 | 0.10287 | 0.10287 | 0.97991 | -0.3857 | 0.98136 | -0.35743 | 28.262
3 | 0.049777 | 0.012567 | -0.049728 | -0.012536 | 4.9423e-05 | 3.1343e-05 | 0.075755 | 0.075755 | 0.075755 | 0.97818 | -0.4194 | 0.97712 | -0.44015 | 20.8118
4 | -0.13152 | -0.033168 | 0.13236 | 0.033708 | 0.00084536 | 0.00054031 | 0.19949 | 0.19949 | 0.19949 | 0.98136 | -0.35743 | 0.98825 | -0.22408 | 54.8049
5 | 0.063708 | 0.016012 | -0.063683 | -0.015996 | 2.5234e-05 | 1.6058e-05 | 0.096616 | 0.096616 | 0.096616 | 0.98136 | -0.35743 | 0.98093 | -0.36573 | 26.543
6 | 0.039086 | 0.0098691 | -0.039022 | -0.0098288 | 6.3907e-05 | 4.03e-05 | 0.059549 | 0.05955 | 0.05955 | 0.97712 | -0.44015 | 0.97537 | -0.47433 | 16.3598
7 | -0.13236 | -0.033708 | 0.13254 | 0.033821 | 0.00017789 | 0.00011324 | 0.19949 | 0.19949 | 0.19949 | 0.98825 | -0.22408 | 0.9897 | -0.19626 | 27.4024
8 | 0.024417 | 0.0061224 | -0.02441 | -0.0061183 | 6.6817e-06 | 4.1124e-06 | 0.03704 | 0.03704 | 0.03704 | 0.98093 | -0.36573 | 0.98064 | -0.37147 | 10.1758
9 | 0.039267 | 0.0098738 | -0.039212 | -0.0098394 | 5.456e-05 | 3.4402e-05 | 0.059577 | 0.059577 | 0.059577 | 0.98093 | -0.36573 | 0.97944 | -0.39486 | 16.3673
10 | 0.034551 | 0.0087082 | -0.034519 | -0.0086882 | 3.1918e-05 | 2.0046e-05 | 0.052728 | 0.052729 | 0.052729 | 0.97537 | -0.47433 | 0.97439 | -0.49366 | 14.4859
11 | 0.034519 | 0.0086882 | -0.034461 | -0.0086514 | 5.8594e-05 | 3.6802e-05 | 0.052729 | 0.052729 | 0.052729 | 0.97439 | -0.49366 | 0.97258 | -0.52924 | 14.4859
12 | 0.031615 | 0.0079382 | -0.03161 | -0.007935 | 5.1148e-06 | 3.2011e-06 | 0.048375 | 0.048375 | 0.048375 | 0.97258 | -0.52924 | 0.97241 | -0.53263 | 13.2899
13 | 0.031698 | 0.0079563 | -0.031672 | -0.0079396 | 2.6658e-05 | 1.6676e-05 | 0.048162 | 0.048162 | 0.048162 | 0.97944 | -0.39486 | 0.97855 | -0.41251 | 13.2314
14 | 0.0075135 | 0.0018832 | -0.0075126 | -0.0018828 | 8.6528e-07 | 3.3094e-07 | 0.011415 | 0.011415 | 0.011415 | 0.97944 | -0.39486 | 0.97932 | -0.39728 | 3.136
15 | 0.015007 | 0.0037622 | -0.015004 | -0.0037604 | 3.0443e-06 | 1.7526e-06 | 0.022821 | 0.022821 | 0.022821 | 0.97855 | -0.41251 | 0.97833 | -0.41677 | 6.2694
16 | 0.016665 | 0.0041774 | -0.016662 | -0.004176 | 2.3527e-06 | 1.383e-06 | 0.025341 | 0.025342 | 0.025342 | 0.97855 | -0.41251 | 0.97839 | -0.41548 | 6.962
17 | -0.018066 | -0.0045345 | 0.018068 | 0.0045354 | 1.5254e-06 | 9.1045e-07 | 0.02767 | 0.02767 | 0.02767 | 0.97165 | -0.54762 | 0.97174 | -0.54585 | 7.6016
18 | 0.018066 | 0.0045345 | -0.018054 | -0.0045268 | 1.2909e-05 | 7.7053e-06 | 0.02767 | 0.02767 | 0.02767 | 0.97165 | -0.54762 | 0.9709 | -0.56262 | 7.6017
19 | -0.018068 | -0.0045354 | 0.018073 | 0.0045384 | 4.9372e-06 | 2.9467e-06 | 0.02767 | 0.02767 | 0.02767 | 0.97174 | -0.54585 | 0.97203 | -0.54013 | 7.6016
20 | 0.014933 | 0.0037446 | -0.014928 | -0.0037418 | 4.9255e-06 | 2.8423e-06 | 0.022887 | 0.022887 | 0.022887 | 0.9709 | -0.56262 | 0.97055 | -0.56954 | 6.2876
21 | -0.21717 | -0.055032 | 0.21861 | 0.055954 | 0.0014437 | 0.00092211 | 0.32673 | 0.32673 | 0.32673 | 0.9897 | -0.19626 | 0.99689 | -0.058884 | 44.8805
22 | 0.011642 | 0.0029184 | -0.011641 | -0.0029174 | 1.9042e-06 | 1.0135e-06 | 0.017666 | 0.017666 | 0.017666 | 0.98064 | -0.37147 | 0.98046 | -0.3749 | 4.8534
23 | -0.029369 | -0.0073694 | 0.029379 | 0.007376 | 1.05e-05 | 6.5483e-06 | 0.044962 | 0.044962 | 0.044962 | 0.97203 | -0.54013 | 0.97241 | -0.53263 | 12.3522
24 | 0.0072216 | 0.00181 | -0.0072207 | -0.0018097 | 8.9477e-07 | 3.2435e-07 | 0.010984 | 0.010984 | 0.010984 | 0.97833 | -0.41677 | 0.9782 | -0.41937 | 3.0176
25 | -0.003567 | -0.00089397 | 0.0035671 | 0.00089387 | 1.7113e-07 | -1.0161e-07 | 0.0053164 | 0.0053164 | 0.0053164 | 0.99836 | -0.031556 | 0.99841 | -0.030549 | 1.4606
26 | -0.0067164 | -0.0016831 | 0.0067165 | 0.0016832 | 1.0713e-07 | 3.1275e-08 | 0.01001 | 0.01001 | 0.01001 | 0.99841 | -0.030549 | 0.99843 | -0.030214 | 2.75
27 | 0.010596 | 0.0026563 | -0.010594 | -0.002655 | 2.5317e-06 | 1.3043e-06 | 0.016246 | 0.016247 | 0.016247 | 0.97055 | -0.56954 | 0.97029 | -0.57456 | 4.4633
28 | -0.22459 | -0.057453 | 0.22524 | 0.057863 | 0.0006421 | 0.00041015 | 0.33566 | 0.33566 | 0.33566 | 0.99689 | -0.058884 | 1 | 0 | 46.1067
29 | -0.0027052 | -0.00067798 | 0.0027053 | 0.0006778 | 1.3591e-07 | -1.7283e-07 | 0.0041498 | 0.0041497 | 0.0041498 | 0.97001 | -0.58025 | 0.97006 | -0.5792 | 1.1401
30 | -0.0055158 | -0.0013822 | 0.0055163 | 0.0013823 | 5.7708e-07 | 1.0391e-07 | 0.0084608 | 0.0084607 | 0.0084608 | 0.97006 | -0.5792 | 0.97017 | -0.577 | 2.3244
31 | -0.007883 | -0.0019754 | 0.0078839 | 0.0019758 | 9.1928e-07 | 3.8123e-07 | 0.012091 | 0.01209 | 0.012091 | 0.97017 | -0.577 | 0.97029 | -0.57456 | 3.3216
32 | -0.015896 | -0.0039837 | 0.015899 | 0.0039855 | 3.1128e-06 | 1.7987e-06 | 0.02369 | 0.02369 | 0.02369 | 0.99843 | -0.030214 | 0.99864 | -0.026104 | 6.5084
33 | -0.02037 | -0.0051061 | 0.020377 | 0.0051101 | 6.6076e-06 | 3.9785e-06 | 0.030353 | 0.030353 | 0.030353 | 0.99864 | -0.026104 | 0.999 | -0.019298 | 8.3387
34 | -0.040712 | -0.01021 | 0.040713 | 0.010211 | 1.768e-06 | 1.1148e-06 | 0.060643 | 0.060643 | 0.060643 | 0.999 | -0.019298 | 0.99904 | -0.018387 | 16.6601
35 | 0.020335 | 0.0050994 | -0.020327 | -0.0050949 | 7.5045e-06 | 4.5174e-06 | 0.03029 | 0.03029 | 0.03029 | 0.999 | -0.019298 | 0.99859 | -0.027044 | 8.3215
36 | -0.11876 | -0.029772 | 0.11887 | 0.029839 | 0.00010415 | 6.6539e-05 | 0.1769 | 0.1769 | 0.1769 | 0.99904 | -0.018387 | 1 | 0 | 48.5977
37 | 0.016254 | 0.0040741 | -0.016253 | -0.0040734 | 1.2364e-06 | 7.1779e-07 | 0.024221 | 0.024221 | 0.024221 | 0.99859 | -0.027044 | 0.99851 | -0.028641 | 6.6541
38 | 0.010256 | 0.0025705 | -0.010256 | -0.0025705 | 6.3086e-09 | 3.097e-09 | 0.015285 | 0.015285 | 0.015285 | 0.99851 | -0.028641 | 0.99851 | -0.028654 | 4.1991
39 | 0.0050222 | 0.0012587 | -0.0050221 | -0.0012587 | 1.0428e-07 | 1.8043e-09 | 0.0074842 | 0.0074843 | 0.0074843 | 0.99851 | -0.028654 | 0.99849 | -0.02909 | 2.0561

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35144 | 0.089127

## res_load
| p_mw | q_mvar
0 | 0.0095748 | 0.0023997
1 | 0.0082756 | 0.0020741
2 | 0.010642 | 0.002667
3 | 0.0044712 | 0.0011206
4 | 0.0028456 | 0.00071317
5 | 0.0075126 | 0.0018828
6 | 0.003121 | 0.00078219
7 | 0.08463 | 0.02121
8 | 0.012768 | 0.0031998
9 | 0.011296 | 0.002831
10 | 0.0022306 | 0.00055905
11 | 0.0077824 | 0.0019504
12 | 0.016662 | 0.004176
13 | 0.011641 | 0.0029174
14 | 0.003567 | 0.00089397
15 | 0.0031492 | 0.00078927
16 | 0.0043312 | 0.0010855
17 | 0.0059811 | 0.001499
18 | 0.0072207 | 0.0018097
19 | 0.0027052 | 0.00067798
20 | 0.0028105 | 0.00070437
21 | 0.0023666 | 0.00059313
22 | 0.0027101 | 0.00067921
23 | 0.0091794 | 0.0023006
24 | 0.0044712 | 0.0011206
25 | 0.078051 | 0.019562
26 | 0.0040729 | 0.0010208
27 | 0.0056865 | 0.0014252
28 | 0.0059967 | 0.0015029
29 | 0.0052343 | 0.0013118
30 | 0.0050221 | 0.0012587

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1