## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-445_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-445_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-445_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-445_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-445_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-445_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-445_0_5_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_261-445_0_5_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_261-445_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_261-445_0_5_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_261-445_0_5_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_261-445_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_261-445_0_5_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_261-445_0_5_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_261-445_0_5_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_261-445_0_5_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_261-445_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_261-445_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_261-445_0_5_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_261-445_0_5_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_261-445_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_261-445_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_261-445_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_261-445_0_5_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_261-445_0_5_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_261-445_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_261-445_0_5_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_261-445_0_5_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_261-445_0_5_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_261-445_0_5_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_261-445_0_5_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_261-445_0_5_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_261-445_0_5_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_261-445_0_5_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_261-445_0_5_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_261-445_0_5_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_261-445_0_5_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_261-445_0_5_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_261-445_0_5_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_261-445_0_5_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_261-445_0_5_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_261-445_0_5_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_261-445_0_5_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_261-445_0_5_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_261-445_0_5_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_261-445_0_5_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_261-445_0_5_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_261-445_0_5_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_261-445_0_5_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_261-445_0_5_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_261-445_0_5_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_261-445_0_5_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_261-445_0_5_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_261-445_0_5_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_261-445_0_5_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_261-445_0_5_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_261-445_0_5_node_46 | 0.4 | n |  | TRUE
57 | bus_MV_529_0_node_141 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-445_0_5_load_0 | 0 | 0.0073888 | 0.0018518 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-445_0_5_load_1 | 1 | 0.0072779 | 0.001824 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-445_0_5_load_4 | 4 | 0.0076484 | 0.0019169 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-445_0_5_load_9 | 7 | 0.019575 | 0.004906 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-445_0_5_load_54 | 9 | 0.0081199 | 0.002035 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-445_0_5_load_56 | 10 | 0.017607 | 0.0044126 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-445_0_5_load_55 | 13 | 0.017197 | 0.00431 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-445_0_5_load_33 | 14 | 0.0074469 | 0.0018664 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-445_0_5_load_10 | 16 | 0.024222 | 0.0060705 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-445_0_5_load_11 | 17 | 0.024142 | 0.0060507 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-445_0_5_load_36 | 18 | 0.019482 | 0.0048827 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-445_0_5_load_20 | 19 | 0.0071874 | 0.0018013 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-445_0_5_load_14 | 22 | 0.0060271 | 0.0015105 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-445_0_5_load_18 | 23 | 0.007547 | 0.0018915 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-445_0_5_load_15 | 25 | 0.0077695 | 0.0019472 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-445_0_5_load_34 | 26 | 0.0054176 | 0.0013578 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-445_0_5_load_51 | 27 | 0.015948 | 0.0039969 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-445_0_5_load_49 | 28 | 0.0091289 | 0.0022879 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-445_0_5_load_16 | 29 | 0.0073899 | 0.0018521 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-445_0_5_load_17 | 30 | 0.0076074 | 0.0019066 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-445_0_5_load_35 | 34 | 0.0078254 | 0.0019612 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-445_0_5_load_50 | 35 | 0.017506 | 0.0043874 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-445_0_5_load_21 | 36 | 0.0071901 | 0.001802 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-445_0_5_load_48 | 37 | 0.010112 | 0.0025344 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-445_0_5_load_45 | 40 | 0.0018777 | 0.00047059 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-445_0_5_load_52 | 42 | 0.012111 | 0.0030352 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-445_0_5_load_57 | 43 | 0.0052675 | 0.0013202 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-445_0_5_load_53 | 45 | 0.012892 | 0.0032311 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-445_0_5_load_40 | 46 | 0.0023304 | 0.00058405 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-445_0_5_load_47 | 47 | 0.0028313 | 0.00070959 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-445_0_5_load_43 | 48 | 0.011063 | 0.0027728 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-445_0_5_load_42 | 49 | 0.0022762 | 0.00057047 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-445_0_5_load_58 | 50 | 0.010393 | 0.0026047 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-445_0_5_load_38 | 51 | 0.010306 | 0.002583 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-445_0_5_load_37 | 52 | 0.007912 | 0.0019829 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-445_0_5_load_39 | 53 | 0.0059831 | 0.0014995 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-445_0_5_load_41 | 54 | 0.0016625 | 0.00041667 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-445_0_5_load_44 | 55 | 0.0099739 | 0.0024997 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-445_0_5_load_46 | 56 | 0.010001 | 0.0025064 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-445_0_5_line_0 |  | 0 | 1 | 0.015434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-445_0_5_line_1 |  | 0 | 2 | 0.017069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-445_0_5_line_2 |  | 1 | 3 | 0.022682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_261-445_0_5_line_3 |  | 2 | 4 | 0.0044741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-445_0_5_line_4 |  | 2 | 5 | 0.094815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-445_0_5_line_5 |  | 3 | 6 | 0.009049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_261-445_0_5_line_6 |  | 3 | 7 | 0.024893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-445_0_5_line_7 |  | 5 | 8 | 0.076878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-445_0_5_line_8 |  | 5 | 9 | 0.059964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-445_0_5_line_9 |  | 6 | 14 | 0.016349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-445_0_5_line_10 |  | 6 | 15 | 0.005585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_261-445_0_5_line_11 |  | 8 | 10 | 0.021857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-445_0_5_line_12 |  | 9 | 13 | 0.037779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-445_0_5_line_13 |  | 11 | 12 | 0.026934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-445_0_5_line_14 |  | 11 | 13 | 0.01612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-445_0_5_line_15 |  | 12 | 18 | 0.027795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-445_0_5_line_16 |  | 15 | 19 | 0.024758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_261-445_0_5_line_17 |  | 16 | 17 | 0.024299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-445_0_5_line_18 |  | 17 | 20 | 0.0080157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-445_0_5_line_19 |  | 19 | 36 | 0.023985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_261-445_0_5_line_20 |  | 20 | 21 | 0.012168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_261-445_0_5_line_21 |  | 20 | 22 | 0.029253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_261-445_0_5_line_22 |  | 21 | 23 | 0.0074257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-445_0_5_line_23 |  | 21 | 24 | 0.00628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_261-445_0_5_line_24 |  | 22 | 25 | 0.019953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_261-445_0_5_line_25 |  | 23 | 26 | 0.036268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-445_0_5_line_26 |  | 24 | 27 | 0.022886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-445_0_5_line_27 |  | 24 | 28 | 0.018343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-445_0_5_line_28 |  | 25 | 29 | 0.026051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_261-445_0_5_line_29 |  | 26 | 34 | 0.014204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-445_0_5_line_30 |  | 28 | 35 | 0.014069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-445_0_5_line_31 |  | 29 | 30 | 0.015755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_261-445_0_5_line_32 |  | 30 | 31 | 0.023674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_261-445_0_5_line_33 |  | 31 | 32 | 0.076569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_261-445_0_5_line_34 |  | 31 | 33 | 0.023476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_261-445_0_5_line_35 |  | 32 | 37 | 0.01553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-445_0_5_line_36 |  | 33 | 36 | 0.0082696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_261-445_0_5_line_37 |  | 37 | 47 | 0.0054185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-445_0_5_line_38 |  | 38 | 39 | 0.010833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-445_0_5_line_39 |  | 38 | 40 | 0.012226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-445_0_5_line_40 |  | 39 | 41 | 0.053685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-445_0_5_line_41 |  | 39 | 42 | 0.016303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-445_0_5_line_42 |  | 40 | 48 | 0.012363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-445_0_5_line_43 |  | 41 | 43 | 0.021078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-445_0_5_line_44 |  | 42 | 49 | 0.014063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-445_0_5_line_45 |  | 43 | 50 | 0.03325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-445_0_5_line_46 |  | 44 | 45 | 0.061449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-445_0_5_line_47 |  | 44 | 46 | 0.042676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-445_0_5_line_48 |  | 46 | 51 | 0.012457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-445_0_5_line_49 |  | 47 | 56 | 0.011844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-445_0_5_line_50 |  | 48 | 55 | 0.016161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-445_0_5_line_51 |  | 49 | 54 | 0.011426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-445_0_5_line_52 |  | 51 | 52 | 7.6951e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-445_0_5_line_53 |  | 52 | 53 | 6.3025e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-445_0_5_line_54 |  | 53 | 54 | 0.013288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-445_0_5_line_55 |  | 55 | 56 | 0.020174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-445_0_5_trafo_19 | 0.63 MVA 20/0.4 kV | 57 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2680220.7851 | 1247188.2154 | 2680236.1987 | 1247187.4289
1 | 2680203.7386 | 1247189.0852 | 2680220.7851 | 1247188.2154
2 | 2680258.8514 | 1247186.2731 | 2680236.1987 | 1247187.4289
3 | 2680203.7386 | 1247189.0852 | 2680203.217 | 1247184.6415
4 | 2680143.0476 | 1247159.7545 | 2680154.922 | 1247177.6502 | 2680165.1039 | 1247198.3585 | 2680171.5243 | 1247205.0835 | 2680176.047 | 1247208.5805 | 2680184.1684 | 1247197.8936 | 2680193.3647 | 1247192.0582 | 2680195.5896 | 1247190.6428 | 2680203.7386 | 1247189.0852
5 | 2680267.9147 | 1247185.8065 | 2680258.8514 | 1247186.2731
6 | 2680258.8514 | 1247186.2731 | 2680259.7328 | 1247211.1506
7 | 2680077.1155 | 1247157.1287 | 2680077.7106 | 1247165.0759 | 2680097.7853 | 1247170.9179 | 2680110.3192 | 1247162.3809 | 2680125.7886 | 1247161.3225 | 2680143.0476 | 1247159.7545
8 | 2680143.0476 | 1247159.7545 | 2680138.9149 | 1247154.228 | 2680120.7556 | 1247134.6573 | 2680102.1548 | 1247115.9721
9 | 2680267.9147 | 1247185.8065 | 2680264.8061 | 1247169.7556
10 | 2680273.5085 | 1247185.5153 | 2680267.9147 | 1247185.8065
11 | 2680077.1155 | 1247157.1287 | 2680075.1132 | 1247135.3636
12 | 2680102.1548 | 1247115.9721 | 2680086.041 | 1247099.7853 | 2680074.6749 | 1247090.0914
13 | 2680061.205 | 1247081.2365 | 2680051.77 | 1247076.7725 | 2680057.8581 | 1247068.9712 | 2680058.2644 | 1247062.383
14 | 2680061.205 | 1247081.2365 | 2680074.6749 | 1247090.0914
15 | 2680058.2644 | 1247062.383 | 2680058.602 | 1247056.9614 | 2680060.8138 | 1247054.2782 | 2680072.8315 | 1247039.7092
16 | 2680273.5085 | 1247185.5153 | 2680272.7723 | 1247160.7686
17 | 2680192.0201 | 1247142.9941 | 2680191.3598 | 1247118.7038
18 | 2680191.142 | 1247110.6911 | 2680191.3598 | 1247118.7038
19 | 2680272.7723 | 1247160.7686 | 2680272.1849 | 1247141.0206 | 2680274.5679 | 1247137.5282
20 | 2680187.5879 | 1247099.2458 | 2680191.0466 | 1247107.1316 | 2680191.142 | 1247110.6911
21 | 2680191.142 | 1247110.6911 | 2680205.7358 | 1247121.3184 | 2680205.6413 | 1247128.2999 | 2680209.852 | 1247128.0581
22 | 2680187.5879 | 1247099.2458 | 2680194.86 | 1247097.743 | 2680194.86 | 1247097.743
23 | 2680183.7193 | 1247094.2899 | 2680187.5879 | 1247099.2458
24 | 2680209.852 | 1247128.0581 | 2680229.7721 | 1247126.9142 | 2680229.7721 | 1247126.9142
25 | 2680194.86 | 1247097.743 | 2680204.6412 | 1247102.2897 | 2680217.9161 | 1247103.2032 | 2680220.7491 | 1247102.63 | 2680221.8841 | 1247100.8107 | 2680222.4278 | 1247093.6907
26 | 2680183.7193 | 1247094.2899 | 2680180.9499 | 1247098.5444 | 2680175.3934 | 1247100.5485 | 2680163.4504 | 1247101.1209
27 | 2680183.7193 | 1247094.2899 | 2680183.3735 | 1247082.9992 | 2680186.1729 | 1247076.5323
28 | 2680229.7721 | 1247126.9142 | 2680229.7305 | 1247129.9825 | 2680234.0388 | 1247129.7962 | 2680252.3817 | 1247126.3142
29 | 2680223.5092 | 1247079.5283 | 2680222.4278 | 1247093.6907
30 | 2680194.4847 | 1247065.1809 | 2680186.1729 | 1247076.5323
31 | 2680267.8605 | 1247123.3759 | 2680252.3817 | 1247126.3142
32 | 2680291.1191 | 1247118.9608 | 2680267.8605 | 1247123.3759
33 | 2680272.7653 | 1247044.6249 | 2680281.7662 | 1247080.5729 | 2680284.2026 | 1247090.3129 | 2680291.1191 | 1247118.9608
34 | 2680279.2289 | 1247130.6973 | 2680293.2647 | 1247127.863 | 2680291.1191 | 1247118.9608
35 | 2680272.7653 | 1247044.6249 | 2680262.4289 | 1247046.4863 | 2680257.405 | 1247046.2964
36 | 2680279.2289 | 1247130.6973 | 2680274.5679 | 1247137.5282
37 | 2680257.405 | 1247046.2964 | 2680256.0113 | 1247046.2438 | 2680253.1901 | 1247043.3746
38 | 2680214.0085 | 1247002.3436 | 2680215.5155 | 1246994.2581 | 2680216.0034 | 1246991.6962
39 | 2680214.0085 | 1247002.3436 | 2680213.3162 | 1247006.0592 | 2680214.2551 | 1247008.6849 | 2680213.1427 | 1247014.2325
40 | 2680216.0034 | 1246991.6962 | 2680217.1342 | 1246985.7293 | 2680241.1983 | 1246990.9809 | 2680242.6026 | 1246983.7835 | 2680242.8865 | 1246982.3419 | 2680243.163 | 1246980.889 | 2680244.4206 | 1246974.4791 | 2680245.598 | 1246968.424
41 | 2680216.0034 | 1246991.6962 | 2680204.7962 | 1246989.2428 | 2680200.1743 | 1246987.8402
42 | 2680213.1427 | 1247014.2325 | 2680210.7119 | 1247026.3547
43 | 2680245.598 | 1246968.424 | 2680224.9114 | 1246964.3794
44 | 2680200.1743 | 1246987.8402 | 2680198.8905 | 1246987.4505 | 2680189.3189 | 1246983.585 | 2680187.0079 | 1246982.9431
45 | 2680224.9114 | 1246964.3794 | 2680218.897 | 1246963.2034 | 2680208.1724 | 1246961.9241 | 2680198.8164 | 1246961.6641 | 2680191.8603 | 1246961.3972
46 | 2680095.0449 | 1247025.4639 | 2680099.065 | 1247013.0647 | 2680108.9216 | 1246965.6633
47 | 2680108.9216 | 1246965.6633 | 2680150.6386 | 1246974.6603
48 | 2680162.8154 | 1246977.2864 | 2680150.6386 | 1246974.6603
49 | 2680244.8864 | 1247034.9294 | 2680244.8864 | 1247034.9294 | 2680253.1901 | 1247043.3746
50 | 2680225.1704 | 1247030.6538 | 2680210.4883 | 1247027.4698 | 2680210.7119 | 1247026.3547
51 | 2680175.9412 | 1246980.1173 | 2680179.9343 | 1246980.9784 | 2680187.0079 | 1246982.9431
52 | 2680162.8906 | 1246977.3027 | 2680162.8154 | 1246977.2864
53 | 2680162.9522 | 1246977.3159 | 2680162.8906 | 1246977.3027
54 | 2680175.9412 | 1246980.1173 | 2680162.9522 | 1246977.3159
55 | 2680225.1704 | 1247030.6538 | 2680244.8864 | 1247034.9294

## bus_geodata
| x | y | coords
0 | 2680220.7851 | 1247188.2154
1 | 2680236.1987 | 1247187.4289
2 | 2680203.7386 | 1247189.0852
3 | 2680258.8514 | 1247186.2731
4 | 2680203.217 | 1247184.6415
5 | 2680143.0476 | 1247159.7545
6 | 2680267.9147 | 1247185.8065
7 | 2680259.7328 | 1247211.1506
8 | 2680077.1155 | 1247157.1287
9 | 2680102.1548 | 1247115.9721
10 | 2680075.1132 | 1247135.3636
11 | 2680061.205 | 1247081.2365
12 | 2680058.2644 | 1247062.383
13 | 2680074.6749 | 1247090.0914
14 | 2680264.8061 | 1247169.7556
15 | 2680273.5085 | 1247185.5153
16 | 2680192.0201 | 1247142.9941
17 | 2680191.3598 | 1247118.7038
18 | 2680072.8315 | 1247039.7092
19 | 2680272.7723 | 1247160.7686
20 | 2680191.142 | 1247110.6911
21 | 2680187.5879 | 1247099.2458
22 | 2680209.852 | 1247128.0581
23 | 2680194.86 | 1247097.743
24 | 2680183.7193 | 1247094.2899
25 | 2680229.7721 | 1247126.9142
26 | 2680222.4278 | 1247093.6907
27 | 2680163.4504 | 1247101.1209
28 | 2680186.1729 | 1247076.5323
29 | 2680252.3817 | 1247126.3142
30 | 2680267.8605 | 1247123.3759
31 | 2680291.1191 | 1247118.9608
32 | 2680272.7653 | 1247044.6249
33 | 2680279.2289 | 1247130.6973
34 | 2680223.5092 | 1247079.5283
35 | 2680194.4847 | 1247065.1809
36 | 2680274.5679 | 1247137.5282
37 | 2680257.405 | 1247046.2964
38 | 2680214.0085 | 1247002.3436
39 | 2680216.0034 | 1246991.6962
40 | 2680213.1427 | 1247014.2325
41 | 2680245.598 | 1246968.424
42 | 2680200.1743 | 1246987.8402
43 | 2680224.9114 | 1246964.3794
44 | 2680108.9216 | 1246965.6633
45 | 2680095.0449 | 1247025.4639
46 | 2680150.6386 | 1246974.6603
47 | 2680253.1901 | 1247043.3746
48 | 2680210.7119 | 1247026.3547
49 | 2680187.0079 | 1246982.9431
50 | 2680191.8603 | 1246961.3972
51 | 2680162.8154 | 1246977.2864
52 | 2680162.8906 | 1246977.3027
53 | 2680162.9522 | 1246977.3159
54 | 2680175.9412 | 1246980.1173
55 | 2680225.1704 | 1247030.6538
56 | 2680244.8864 | 1247034.9294
57 | 2680187.5879 | 1247099.2458

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9835 | -0.31542 | 0.0073888 | 0.0018518
1 | 0.98461 | -0.29391 | 0.0072779 | 0.001824
2 | 0.98238 | -0.337 | 0 | 0
3 | 0.9855 | -0.27665 | 0 | 0
4 | 0.98235 | -0.33762 | 0.0076484 | 0.0019169
5 | 0.97687 | -0.44448 | 0 | 0
6 | 0.98579 | -0.271 | 0 | 0
7 | 0.98505 | -0.2854 | 0.019575 | 0.004906
8 | 0.97561 | -0.46924 | 0 | 0
9 | 0.97436 | -0.49368 | 0.0081199 | 0.002035
10 | 0.97525 | -0.47629 | 0.017607 | 0.0044126
11 | 0.97278 | -0.52494 | 0 | 0
12 | 0.97229 | -0.53461 | 0 | 0
13 | 0.97307 | -0.51915 | 0.017197 | 0.00431
14 | 0.98568 | -0.27319 | 0.0074469 | 0.0018664
15 | 0.98599 | -0.26727 | 0 | 0
16 | 0.99725 | -0.052251 | 0.024222 | 0.0060705
17 | 0.99779 | -0.041941 | 0.024142 | 0.0060507
18 | 0.97178 | -0.5446 | 0.019482 | 0.0048827
19 | 0.98684 | -0.25075 | 0.0071874 | 0.0018013
20 | 0.99814 | -0.035156 | 0 | 0
21 | 0.99934 | -0.012454 | 0 | 0
22 | 0.99568 | -0.081664 | 0.0060271 | 0.0015105
23 | 0.9992 | -0.015149 | 0.007547 | 0.0018915
24 | 1 | 0 | -0.39064 | -0.09955
25 | 0.99404 | -0.11281 | 0.0077695 | 0.0019472
26 | 0.99876 | -0.023538 | 0.0054176 | 0.0013578
27 | 0.99967 | -0.0063637 | 0.015948 | 0.0039969
28 | 0.99956 | -0.0085193 | 0.0091289 | 0.0022879
29 | 0.99196 | -0.15244 | 0.0073899 | 0.0018521
30 | 0.99074 | -0.17579 | 0.0076074 | 0.0019066
31 | 0.98896 | -0.20993 | 0 | 0
32 | 0.9848 | -0.29009 | 0 | 0
33 | 0.98804 | -0.22753 | 0 | 0
34 | 0.99866 | -0.025481 | 0.0078254 | 0.0019612
35 | 0.99933 | -0.012817 | 0.017506 | 0.0043874
36 | 0.98772 | -0.23374 | 0.0071901 | 0.001802
37 | 0.98311 | -0.32281 | 0.010112 | 0.0025344
38 | 0.97674 | -0.44697 | 0 | 0
39 | 0.97603 | -0.46106 | 0 | 0
40 | 0.97755 | -0.43109 | 0.0018777 | 0.00047059
41 | 0.97524 | -0.47646 | 0 | 0
42 | 0.97518 | -0.47762 | 0.012111 | 0.0030352
43 | 0.97494 | -0.48251 | 0.0052675 | 0.0013202
44 | 0.973 | -0.52074 | 0 | 0
45 | 0.97226 | -0.53534 | 0.012892 | 0.0032311
46 | 0.97351 | -0.51062 | 0.0023304 | 0.00058405
47 | 0.98257 | -0.33326 | 0.0028313 | 0.00070959
48 | 0.97839 | -0.41464 | 0.011063 | 0.0027728
49 | 0.97462 | -0.48881 | 0.0022762 | 0.00057047
50 | 0.97462 | -0.48885 | 0.010393 | 0.0026047
51 | 0.97369 | -0.50713 | 0.010306 | 0.002583
52 | 0.97369 | -0.50709 | 0.007912 | 0.0019829
53 | 0.97369 | -0.50705 | 0.0059831 | 0.0014995
54 | 0.97418 | -0.49743 | 0.0016625 | 0.00041667
55 | 0.97966 | -0.38993 | 0.0099739 | 0.0024997
56 | 0.98142 | -0.35553 | 0.010001 | 0.0025064
57 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.078041 | -0.019787 | 0.078122 | 0.019838 | 8.0801e-05 | 5.1517e-05 | 0.11816 | 0.11816 | 0.11816 | 0.9835 | -0.31542 | 0.98461 | -0.29391 | 32.4606
1 | 0.070652 | 0.017935 | -0.070579 | -0.017888 | 7.3251e-05 | 4.6664e-05 | 0.10698 | 0.10698 | 0.10698 | 0.9835 | -0.31542 | 0.98238 | -0.337 | 29.3894
2 | -0.085399 | -0.021662 | 0.08547 | 0.021707 | 7.0943e-05 | 4.4826e-05 | 0.12916 | 0.12916 | 0.12916 | 0.98461 | -0.29391 | 0.9855 | -0.27665 | 17.7411
3 | 0.0076487 | 0.001917 | -0.0076484 | -0.0019169 | 2.252e-07 | 8.7482e-08 | 0.011585 | 0.011585 | 0.011585 | 0.98238 | -0.337 | 0.98235 | -0.33762 | 3.1828
4 | 0.06293 | 0.015971 | -0.062606 | -0.015765 | 0.00032355 | 0.00020588 | 0.095392 | 0.095392 | 0.095392 | 0.98238 | -0.337 | 0.97687 | -0.44448 | 26.2067
5 | -0.10505 | -0.026618 | 0.10508 | 0.026636 | 2.8497e-05 | 1.7892e-05 | 0.15873 | 0.15873 | 0.15873 | 0.9855 | -0.27665 | 0.98579 | -0.271 | 14.5353
6 | 0.019583 | 0.0049109 | -0.019575 | -0.004906 | 8.1624e-06 | 4.9069e-06 | 0.02957 | 0.02957 | 0.02957 | 0.9855 | -0.27665 | 0.98505 | -0.2854 | 8.1237
7 | 0.017633 | 0.0044285 | -0.017613 | -0.0044162 | 2.0805e-05 | 1.2354e-05 | 0.026863 | 0.026864 | 0.026864 | 0.97687 | -0.44448 | 0.97561 | -0.46924 | 7.3801
8 | 0.044973 | 0.011337 | -0.044867 | -0.01127 | 0.0001056 | 6.6837e-05 | 0.068529 | 0.068529 | 0.068529 | 0.97687 | -0.44448 | 0.97436 | -0.49368 | 18.8267
9 | 0.0074477 | 0.0018667 | -0.0074469 | -0.0018664 | 7.7486e-07 | 2.8749e-07 | 0.011242 | 0.011242 | 0.011242 | 0.98579 | -0.271 | 0.98568 | -0.27319 | 3.0885
10 | -0.11253 | -0.028503 | 0.11255 | 0.028515 | 2.0168e-05 | 1.2694e-05 | 0.16997 | 0.16997 | 0.16997 | 0.98579 | -0.271 | 0.98599 | -0.26727 | 15.5648
11 | 0.017613 | 0.0044162 | -0.017607 | -0.0044126 | 5.915e-06 | 3.5128e-06 | 0.026864 | 0.026864 | 0.026864 | 0.97561 | -0.46924 | 0.97525 | -0.47629 | 7.3802
12 | 0.036748 | 0.009235 | -0.036703 | -0.009207 | 4.4632e-05 | 2.8095e-05 | 0.056129 | 0.056129 | 0.056129 | 0.97436 | -0.49368 | 0.97307 | -0.51915 | 15.4201
13 | 0.0195 | 0.0048937 | -0.019491 | -0.0048882 | 8.9882e-06 | 5.4182e-06 | 0.029831 | 0.029831 | 0.029831 | 0.97278 | -0.52494 | 0.97229 | -0.53461 | 8.1954
14 | -0.0195 | -0.0048937 | 0.019506 | 0.0048969 | 5.3793e-06 | 3.2426e-06 | 0.029831 | 0.029831 | 0.029831 | 0.97278 | -0.52494 | 0.97307 | -0.51915 | 8.1953
15 | 0.019491 | 0.0048882 | -0.019482 | -0.0048827 | 9.2757e-06 | 5.5919e-06 | 0.029831 | 0.029831 | 0.029831 | 0.97229 | -0.53461 | 0.97178 | -0.5446 | 8.1954
16 | -0.11255 | -0.028515 | 0.11264 | 0.028572 | 8.9402e-05 | 5.6269e-05 | 0.16997 | 0.16997 | 0.16997 | 0.98599 | -0.26727 | 0.98684 | -0.25075 | 15.5647
17 | -0.024222 | -0.0060705 | 0.024233 | 0.0060778 | 1.1902e-05 | 7.3003e-06 | 0.036141 | 0.036141 | 0.036141 | 0.99725 | -0.052251 | 0.99779 | -0.041941 | 9.9289
18 | -0.048376 | -0.012128 | 0.048392 | 0.012138 | 1.5645e-05 | 9.9084e-06 | 0.072145 | 0.072145 | 0.072145 | 0.99779 | -0.041941 | 0.99814 | -0.035156 | 19.8201
19 | -0.11983 | -0.030373 | 0.11993 | 0.030435 | 9.8008e-05 | 6.1805e-05 | 0.1808 | 0.1808 | 0.1808 | 0.98684 | -0.25075 | 0.98772 | -0.23374 | 16.5572
20 | -0.32502 | -0.083288 | 0.32538 | 0.083517 | 0.00035806 | 0.00022868 | 0.48519 | 0.48519 | 0.48519 | 0.99814 | -0.035156 | 0.99934 | -0.012454 | 44.4316
21 | 0.27663 | 0.07115 | -0.27601 | -0.070752 | 0.00062386 | 0.00039812 | 0.41305 | 0.41305 | 0.41305 | 0.99814 | -0.035156 | 0.99568 | -0.081664 | 37.8251
22 | 0.020799 | 0.0052153 | -0.020796 | -0.0052137 | 2.6709e-06 | 1.6121e-06 | 0.03097 | 0.03097 | 0.03097 | 0.99934 | -0.012454 | 0.9992 | -0.015149 | 8.5083
23 | -0.34618 | -0.088732 | 0.34639 | 0.088866 | 0.00020914 | 0.0001336 | 0.51616 | 0.51616 | 0.51616 | 0.99934 | -0.012454 | 1 | 0 | 47.2677
24 | 0.26998 | 0.069241 | -0.26957 | -0.068981 | 0.00040716 | 0.00025981 | 0.40404 | 0.40404 | 0.40404 | 0.99568 | -0.081664 | 0.99404 | -0.11281 | 37.0003
25 | 0.013249 | 0.0033222 | -0.013244 | -0.0033193 | 5.295e-06 | 2.914e-06 | 0.019731 | 0.019731 | 0.019731 | 0.9992 | -0.015149 | 0.99876 | -0.023538 | 5.4207
26 | 0.015953 | 0.0039997 | -0.015948 | -0.0039969 | 4.8362e-06 | 2.795e-06 | 0.023738 | 0.023739 | 0.023739 | 1 | 0 | 0.99967 | -0.0063637 | 6.5216
27 | 0.026649 | 0.0066841 | -0.026638 | -0.0066774 | 1.0817e-05 | 6.6826e-06 | 0.039656 | 0.039656 | 0.039656 | 1 | 0 | 0.99956 | -0.0085193 | 10.8946
28 | 0.26181 | 0.067034 | -0.2613 | -0.066714 | 0.00050145 | 0.00031992 | 0.39241 | 0.39241 | 0.39241 | 0.99404 | -0.11281 | 0.99196 | -0.15244 | 35.9352
29 | 0.0078262 | 0.0019615 | -0.0078254 | -0.0019612 | 7.2414e-07 | 2.7759e-07 | 0.01166 | 0.01166 | 0.01166 | 0.99876 | -0.023538 | 0.99866 | -0.025481 | 3.2033
30 | 0.01751 | 0.0043895 | -0.017506 | -0.0043874 | 3.5848e-06 | 2.1099e-06 | 0.026066 | 0.026066 | 0.026066 | 0.99956 | -0.0085193 | 0.99933 | -0.012817 | 7.1611
31 | 0.25391 | 0.064862 | -0.25363 | -0.06468 | 0.00028637 | 0.00018267 | 0.38133 | 0.38133 | 0.38133 | 0.99196 | -0.15244 | 0.99074 | -0.17579 | 34.9201
32 | 0.24602 | 0.062773 | -0.24562 | -0.062515 | 0.00040491 | 0.00025823 | 0.3699 | 0.3699 | 0.3699 | 0.99074 | -0.17579 | 0.98896 | -0.20993 | 33.8739
33 | 0.11835 | 0.030186 | -0.1179 | -0.029896 | 0.00045624 | 0.00029004 | 0.17827 | 0.17827 | 0.17827 | 0.98896 | -0.20993 | 0.9848 | -0.29009 | 24.4873
34 | 0.12726 | 0.032329 | -0.12715 | -0.032261 | 0.00010777 | 6.8069e-05 | 0.19164 | 0.19164 | 0.19164 | 0.98896 | -0.20993 | 0.98804 | -0.22753 | 17.5491
35 | 0.1179 | 0.029896 | -0.11771 | -0.029778 | 0.00018508 | 0.00011825 | 0.17827 | 0.17827 | 0.17827 | 0.9848 | -0.29009 | 0.98311 | -0.32281 | 48.9747
36 | 0.12715 | 0.032261 | -0.12712 | -0.032237 | 3.7962e-05 | 2.3978e-05 | 0.19164 | 0.19164 | 0.19164 | 0.98804 | -0.22753 | 0.98772 | -0.23374 | 17.5491
37 | 0.1076 | 0.027243 | -0.10755 | -0.027209 | 5.3962e-05 | 3.4467e-05 | 0.16296 | 0.16296 | 0.16296 | 0.98311 | -0.32281 | 0.98257 | -0.33326 | 44.7698
38 | 0.071321 | 0.017944 | -0.071273 | -0.017913 | 4.7979e-05 | 3.0571e-05 | 0.10868 | 0.10868 | 0.10868 | 0.97674 | -0.44697 | 0.97603 | -0.46106 | 29.8567
39 | -0.071321 | -0.017944 | 0.071375 | 0.017978 | 5.4151e-05 | 3.4504e-05 | 0.10868 | 0.10868 | 0.10868 | 0.97674 | -0.44697 | 0.97755 | -0.43109 | 29.8567
40 | 0.015679 | 0.0039358 | -0.015668 | -0.0039291 | 1.1506e-05 | 6.6935e-06 | 0.023907 | 0.023907 | 0.023907 | 0.97603 | -0.46106 | 0.97524 | -0.47646 | 6.5678
41 | 0.055593 | 0.013978 | -0.05555 | -0.01395 | 4.3933e-05 | 2.7914e-05 | 0.084772 | 0.084772 | 0.084772 | 0.97603 | -0.46106 | 0.97518 | -0.47762 | 23.289
42 | -0.073253 | -0.018449 | 0.07331 | 0.018486 | 5.7677e-05 | 3.6758e-05 | 0.11154 | 0.11154 | 0.11154 | 0.97755 | -0.43109 | 0.97839 | -0.41464 | 30.6419
43 | 0.015668 | 0.0039291 | -0.015663 | -0.0039264 | 4.5176e-06 | 2.6284e-06 | 0.023907 | 0.023907 | 0.023907 | 0.97524 | -0.47646 | 0.97494 | -0.48251 | 6.5678
44 | 0.043439 | 0.010914 | -0.043416 | -0.0109 | 2.3176e-05 | 1.4657e-05 | 0.066293 | 0.066293 | 0.066293 | 0.97518 | -0.47762 | 0.97462 | -0.48881 | 18.2123
45 | 0.010396 | 0.0026063 | -0.010393 | -0.0026047 | 3.1393e-06 | 1.5946e-06 | 0.015867 | 0.015867 | 0.015867 | 0.97494 | -0.48251 | 0.97462 | -0.48885 | 4.3592
46 | 0.012901 | 0.0032361 | -0.012892 | -0.0032311 | 8.9713e-06 | 4.979e-06 | 0.019731 | 0.019731 | 0.019731 | 0.973 | -0.52074 | 0.97226 | -0.53534 | 5.4207
47 | -0.012901 | -0.0032361 | 0.012908 | 0.0032396 | 6.2304e-06 | 3.4571e-06 | 0.019731 | 0.019731 | 0.019731 | 0.973 | -0.52074 | 0.97351 | -0.51062 | 5.4206
48 | -0.015238 | -0.0038236 | 0.01524 | 0.0038251 | 2.5344e-06 | 1.4671e-06 | 0.023293 | 0.023293 | 0.023293 | 0.97351 | -0.51062 | 0.97369 | -0.50713 | 6.3991
49 | 0.10472 | 0.026499 | -0.1046 | -0.026428 | 0.00011182 | 7.1417e-05 | 0.15867 | 0.15867 | 0.15867 | 0.98257 | -0.33326 | 0.98142 | -0.35553 | 43.5919
50 | -0.084374 | -0.021259 | 0.084474 | 0.021322 | 9.9855e-05 | 6.3704e-05 | 0.12836 | 0.12836 | 0.12836 | 0.97839 | -0.41464 | 0.97966 | -0.38993 | 35.2644
51 | 0.041139 | 0.010329 | -0.041123 | -0.010319 | 1.6908e-05 | 1.0679e-05 | 0.062817 | 0.062817 | 0.062817 | 0.97462 | -0.48881 | 0.97418 | -0.49743 | 17.2575
52 | -0.025547 | -0.0064081 | 0.025547 | 0.0064081 | 4.3988e-08 | 2.7194e-08 | 0.039043 | 0.039043 | 0.039043 | 0.97369 | -0.50713 | 0.97369 | -0.50709 | 10.7261
53 | -0.033459 | -0.008391 | 0.033459 | 0.0083911 | 6.1796e-08 | 3.8768e-08 | 0.051134 | 0.051134 | 0.051134 | 0.97369 | -0.50709 | 0.97369 | -0.50705 | 14.0479
54 | -0.039442 | -0.0098906 | 0.03946 | 0.009902 | 1.8105e-05 | 1.1422e-05 | 0.060278 | 0.060278 | 0.060278 | 0.97369 | -0.50705 | 0.97418 | -0.49743 | 16.5599
55 | -0.094448 | -0.023822 | 0.094603 | 0.023921 | 0.00015581 | 9.9466e-05 | 0.14351 | 0.14351 | 0.14351 | 0.97966 | -0.38993 | 0.98142 | -0.35553 | 39.4263

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39064 | 0.09955

## res_load
| p_mw | q_mvar
0 | 0.0073888 | 0.0018518
1 | 0.0072779 | 0.001824
2 | 0.0076484 | 0.0019169
3 | 0.019575 | 0.004906
4 | 0.0081199 | 0.002035
5 | 0.017607 | 0.0044126
6 | 0.017197 | 0.00431
7 | 0.0074469 | 0.0018664
8 | 0.024222 | 0.0060705
9 | 0.024142 | 0.0060507
10 | 0.019482 | 0.0048827
11 | 0.0071874 | 0.0018013
12 | 0.0060271 | 0.0015105
13 | 0.007547 | 0.0018915
14 | 0.0077695 | 0.0019472
15 | 0.0054176 | 0.0013578
16 | 0.015948 | 0.0039969
17 | 0.0091289 | 0.0022879
18 | 0.0073899 | 0.0018521
19 | 0.0076074 | 0.0019066
20 | 0.0078254 | 0.0019612
21 | 0.017506 | 0.0043874
22 | 0.0071901 | 0.001802
23 | 0.010112 | 0.0025344
24 | 0.0018777 | 0.00047059
25 | 0.012111 | 0.0030352
26 | 0.0052675 | 0.0013202
27 | 0.012892 | 0.0032311
28 | 0.0023304 | 0.00058405
29 | 0.0028313 | 0.00070959
30 | 0.011063 | 0.0027728
31 | 0.0022762 | 0.00057047
32 | 0.010393 | 0.0026047
33 | 0.010306 | 0.002583
34 | 0.007912 | 0.0019829
35 | 0.0059831 | 0.0014995
36 | 0.0016625 | 0.00041667
37 | 0.0099739 | 0.0024997
38 | 0.010001 | 0.0025064

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1