## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-452_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-452_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-452_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-452_0_4_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_261-452_0_4_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_261-452_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_261-452_0_4_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_261-452_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_261-452_0_4_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_261-452_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_261-452_0_4_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_261-452_0_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_261-452_0_4_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_261-452_0_4_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_261-452_0_4_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_261-452_0_4_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_261-452_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_261-452_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_261-452_0_4_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_261-452_0_4_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_261-452_0_4_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_261-452_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_261-452_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_261-452_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_261-452_0_4_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_261-452_0_4_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_261-452_0_4_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_261-452_0_4_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_261-452_0_4_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_261-452_0_4_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_261-452_0_4_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_261-452_0_4_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_261-452_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_261-452_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_261-452_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_261-452_0_4_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_261-452_0_4_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_261-452_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_261-452_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_261-452_0_4_node_39 | 0.4 | n |  | TRUE
40 | bus_MV_529_1_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-452_0_4_load_0 | 0 | 0.0067166 | 0.0016833 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-452_0_4_load_1 | 1 | 0.0085193 | 0.0021351 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-452_0_4_load_23 | 6 | 0.042971 | 0.010769 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-452_0_4_load_42 | 8 | 0.011938 | 0.002992 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-452_0_4_load_41 | 10 | 0.0129 | 0.0032331 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-452_0_4_load_32 | 12 | 0.052743 | 0.013219 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-452_0_4_load_31 | 13 | 0.025243 | 0.0063266 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-452_0_4_load_29 | 14 | 0.044297 | 0.011102 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-452_0_4_load_26 | 15 | 0.03075 | 0.0077067 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-452_0_4_load_30 | 18 | 0.00047629 | 0.00011937 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-452_0_4_load_33 | 19 | 0.047464 | 0.011896 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-452_0_4_load_20 | 21 | 0.0056434 | 0.0014144 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-452_0_4_load_17 | 22 | 0.0080581 | 0.0020195 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-452_0_4_load_18 | 23 | 0.0021655 | 0.00054273 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-452_0_4_load_24 | 24 | 0.055122 | 0.013815 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-452_0_4_load_43 | 25 | 0.0023454 | 0.00058782 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-452_0_4_load_27 | 27 | 0.024452 | 0.0061283 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-452_0_4_load_46 | 28 | 0.010845 | 0.0027181 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-452_0_4_load_44 | 30 | 0.0015213 | 0.00038128 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-452_0_4_load_22 | 33 | 0.0068082 | 0.0017063 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-452_0_4_load_25 | 34 | 0.039688 | 0.0099467 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-452_0_4_load_45 | 35 | 0.0011741 | 0.00029426 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-452_0_4_load_40 | 36 | 0.0011333 | 0.00028404 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-452_0_4_load_28 | 37 | 0.066906 | 0.016768 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-452_0_4_load_36 | 38 | 0.0011401 | 0.00028574 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-452_0_4_load_39 | 39 | 0.0011026 | 0.00027635 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-452_0_4_line_0 |  | 0 | 1 | 0.023696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-452_0_4_line_1 |  | 1 | 2 | 0.019272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-452_0_4_line_2 |  | 2 | 3 | 0.028812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-452_0_4_line_3 |  | 2 | 4 | 0.029364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-452_0_4_line_4 |  | 3 | 20 | 0.015895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-452_0_4_line_5 |  | 3 | 21 | 0.0035298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-452_0_4_line_6 |  | 4 | 13 | 0.012653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_261-452_0_4_line_7 |  | 4 | 14 | 0.006812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_261-452_0_4_line_8 |  | 4 | 5 | 0.036395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_261-452_0_4_line_9 |  | 5 | 6 | 0.017475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_261-452_0_4_line_10 |  | 6 | 24 | 0.0048272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_261-452_0_4_line_11 |  | 7 | 8 | 0.0080986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-452_0_4_line_12 |  | 7 | 9 | 0.0095148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-452_0_4_line_13 |  | 7 | 10 | 0.042952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-452_0_4_line_14 |  | 9 | 11 | 0.037806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-452_0_4_line_15 |  | 9 | 12 | 0.016105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_261-452_0_4_line_16 |  | 11 | 15 | 0.018291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-452_0_4_line_17 |  | 12 | 13 | 0.022062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_261-452_0_4_line_18 |  | 15 | 27 | 0.012777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-452_0_4_line_19 |  | 16 | 17 | 0.03738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-452_0_4_line_20 |  | 16 | 18 | 0.0077192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-452_0_4_line_21 |  | 17 | 19 | 0.0078462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-452_0_4_line_22 |  | 19 | 31 | 0.030863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-452_0_4_line_23 |  | 20 | 28 | 0.036068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-452_0_4_line_24 |  | 21 | 32 | 0.03119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-452_0_4_line_25 |  | 22 | 23 | 0.0097318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-452_0_4_line_26 |  | 23 | 32 | 0.011273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-452_0_4_line_27 |  | 24 | 34 | 0.018007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-452_0_4_line_28 |  | 25 | 26 | 0.030679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-452_0_4_line_29 |  | 26 | 29 | 0.010034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-452_0_4_line_30 |  | 26 | 31 | 0.011601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-452_0_4_line_31 |  | 27 | 37 | 0.0053931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-452_0_4_line_32 |  | 29 | 30 | 0.0039724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-452_0_4_line_33 |  | 31 | 38 | 0.022435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-452_0_4_line_34 |  | 32 | 33 | 0.015324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-452_0_4_line_35 |  | 34 | 35 | 0.038705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-452_0_4_line_36 |  | 35 | 36 | 0.0001629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-452_0_4_line_37 |  | 36 | 39 | 0.0070006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-452_0_4_line_38 |  | 38 | 39 | 0.00026649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-452_0_4_trafo_29 | 0.63 MVA 20/0.4 kV | 40 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2679614.766 | 1247983.4107 | 2679619.4769 | 1247986.227 | 2679630.1373 | 1247992.7194 | 2679634.8188 | 1247996.0159
1 | 2679650.2088 | 1248007.5998 | 2679642.7743 | 1248001.6178 | 2679634.8188 | 1247996.0159
2 | 2679667.4154 | 1247984.4585 | 2679659.9126 | 1247994.7874 | 2679650.2088 | 1248007.5998
3 | 2679650.2088 | 1248007.5998 | 2679646.1181 | 1248013.0043 | 2679648.9539 | 1248020.0476 | 2679653.9799 | 1248025.9749 | 2679657.0749 | 1248028.3405 | 2679655.0531 | 1248030.9819
4 | 2679679.6191 | 1247994.6854 | 2679667.4154 | 1247984.4585
5 | 2679667.4154 | 1247984.4585 | 2679669.0622 | 1247982.19 | 2679669.4965 | 1247981.6074
6 | 2679655.0531 | 1248030.9819 | 2679647.8577 | 1248025.7481 | 2679644.6973 | 1248023.7189
7 | 2679655.0531 | 1248030.9819 | 2679660.5631 | 1248034.9873
8 | 2679683.9528 | 1248047.6045 | 2679657.0749 | 1248028.3405 | 2679655.0531 | 1248030.9819
9 | 2679683.9528 | 1248047.6045 | 2679674.2743 | 1248062.154
10 | 2679671.6007 | 1248066.1732 | 2679674.2743 | 1248062.154
11 | 2679604.4394 | 1248001.97 | 2679598.8161 | 1248007.798
12 | 2679604.4394 | 1248001.97 | 2679608.2396 | 1248005.2567 | 2679611.6366 | 1248008.1934
13 | 2679604.4394 | 1248001.97 | 2679605.5303 | 1247998.3487 | 2679604.5617 | 1247995.1111 | 2679601.2586 | 1247991.9311 | 2679587.0184 | 1247981.4879 | 2679576.1558 | 1247973.3938
14 | 2679585.3126 | 1248035.3932 | 2679609.495 | 1248010.1883 | 2679611.6366 | 1248008.1934
15 | 2679611.6366 | 1248008.1934 | 2679613.7868 | 1248007.2438 | 2679616.3975 | 1248006.8674 | 2679618.7195 | 1248007.1877 | 2679620.8745 | 1248008.1285 | 2679622.7051 | 1248009.5986 | 2679626.1327 | 1248011.7992
16 | 2679585.3126 | 1248035.3932 | 2679598.4174 | 1248048.1534
17 | 2679644.6973 | 1248023.7189 | 2679626.1327 | 1248011.7992
18 | 2679607.5716 | 1248057.0668 | 2679598.4174 | 1248048.1534
19 | 2679715.9476 | 1248076.6779 | 2679726.1503 | 1248086.2888 | 2679709.8382 | 1248103.015
20 | 2679715.9476 | 1248076.6779 | 2679709.8984 | 1248071.8828
21 | 2679709.8382 | 1248103.015 | 2679704.3601 | 1248108.6323
22 | 2679682.8124 | 1248130.7276 | 2679704.3601 | 1248108.6323
23 | 2679679.6191 | 1247994.6854 | 2679682.629 | 1247997.2055 | 2679707.9368 | 1248017.0214
24 | 2679687.8379 | 1247956.3902 | 2679686.0254 | 1247958.623 | 2679676.646 | 1247972.0178 | 2679669.4965 | 1247981.6074
25 | 2679673.1992 | 1247941.3269 | 2679679.9816 | 1247948.306
26 | 2679687.8379 | 1247956.3902 | 2679679.9816 | 1247948.306
27 | 2679671.6007 | 1248066.1732 | 2679663.4405 | 1248078.4403 | 2679661.2922 | 1248080.9109
28 | 2679674.4564 | 1248138.799 | 2679652.3896 | 1248160.1118
29 | 2679682.1255 | 1248145.2957 | 2679674.4564 | 1248138.799
30 | 2679682.8124 | 1248130.7276 | 2679674.4564 | 1248138.799
31 | 2679611.4355 | 1248060.8291 | 2679607.5716 | 1248057.0668
32 | 2679682.1255 | 1248145.2957 | 2679685.1573 | 1248147.8625
33 | 2679682.8124 | 1248130.7276 | 2679667.197 | 1248114.6187
34 | 2679687.8379 | 1247956.3902 | 2679696.386 | 1247945.8418 | 2679697.7456 | 1247944.7442
35 | 2679661.2922 | 1248080.9109 | 2679648.5123 | 1248095.6079 | 2679651.95 | 1248098.8898 | 2679662.0256 | 1248109.2838
36 | 2679662.0256 | 1248109.2838 | 2679662.139 | 1248109.4008
37 | 2679667.0115 | 1248114.4274 | 2679662.139 | 1248109.4008
38 | 2679667.0115 | 1248114.4274 | 2679667.197 | 1248114.6187

## bus_geodata
| x | y | coords
0 | 2679614.766 | 1247983.4107
1 | 2679634.8188 | 1247996.0159
2 | 2679650.2088 | 1248007.5998
3 | 2679667.4154 | 1247984.4585
4 | 2679655.053 | 1248030.9819
5 | 2679683.9528 | 1248047.6045
6 | 2679674.2743 | 1248062.154
7 | 2679604.4394 | 1248001.97
8 | 2679598.8161 | 1248007.798
9 | 2679611.6366 | 1248008.1934
10 | 2679576.1558 | 1247973.3938
11 | 2679585.3126 | 1248035.3932
12 | 2679626.1327 | 1248011.7992
13 | 2679644.6973 | 1248023.7189
14 | 2679660.5631 | 1248034.9873
15 | 2679598.4174 | 1248048.1534
16 | 2679715.9476 | 1248076.6779
17 | 2679709.8382 | 1248103.015
18 | 2679709.8984 | 1248071.8828
19 | 2679704.3601 | 1248108.6323
20 | 2679679.6191 | 1247994.6854
21 | 2679669.4965 | 1247981.6074
22 | 2679673.1992 | 1247941.3269
23 | 2679679.9816 | 1247948.306
24 | 2679671.6007 | 1248066.1732
25 | 2679652.3896 | 1248160.1118
26 | 2679674.4564 | 1248138.799
27 | 2679607.5716 | 1248057.0668
28 | 2679707.9368 | 1248017.0214
29 | 2679682.1255 | 1248145.2957
30 | 2679685.1573 | 1248147.8625
31 | 2679682.8124 | 1248130.7276
32 | 2679687.8379 | 1247956.3902
33 | 2679697.7456 | 1247944.7442
34 | 2679661.2922 | 1248080.9109
35 | 2679662.0256 | 1248109.2838
36 | 2679662.1389 | 1248109.4008
37 | 2679611.4355 | 1248060.8291
38 | 2679667.197 | 1248114.6187
39 | 2679667.0115 | 1248114.4274
40 | 2679655.053 | 1248030.9819

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99756 | -0.046851 | 0.0067166 | 0.0016833
1 | 0.9977 | -0.044064 | 0.0085193 | 0.0021351
2 | 0.99797 | -0.038923 | 0 | 0
3 | 0.99709 | -0.055842 | 0 | 0
4 | 0.99927 | -0.013897 | 0 | 0
5 | 0.99766 | -0.044781 | 0 | 0
6 | 0.99689 | -0.059645 | 0.042971 | 0.010769
7 | 0.99632 | -0.07049 | 0 | 0
8 | 0.99623 | -0.072187 | 0.011938 | 0.002992
9 | 0.99653 | -0.066341 | 0 | 0
10 | 0.99581 | -0.080224 | 0.0129 | 0.0032331
11 | 0.9923 | -0.14771 | 0 | 0
12 | 0.99762 | -0.045595 | 0.052743 | 0.013219
13 | 0.99862 | -0.026326 | 0.025243 | 0.0063266
14 | 1 | 0 | -0.47204 | -0.11888
15 | 0.99025 | -0.18733 | 0.03075 | 0.0077067
16 | 0.99017 | -0.18927 | 0 | 0
17 | 0.99019 | -0.18895 | 0 | 0
18 | 0.99017 | -0.18934 | 0.00047629 | 0.00011937
19 | 0.99019 | -0.18889 | 0.047464 | 0.011896
20 | 0.99694 | -0.058865 | 0 | 0
21 | 0.99702 | -0.057246 | 0.0056434 | 0.0014144
22 | 0.99636 | -0.069965 | 0.0080581 | 0.0020195
23 | 0.99643 | -0.068588 | 0.0021655 | 0.00054273
24 | 0.99656 | -0.066047 | 0.055122 | 0.013815
25 | 0.99144 | -0.16469 | 0.0023454 | 0.00058782
26 | 0.99151 | -0.16342 | 0 | 0
27 | 0.98918 | -0.2081 | 0.024452 | 0.0061283
28 | 0.99658 | -0.065728 | 0.010845 | 0.0027181
29 | 0.99149 | -0.16369 | 0 | 0
30 | 0.99149 | -0.16379 | 0.0015213 | 0.00038128
31 | 0.99155 | -0.16262 | 0 | 0
32 | 0.99654 | -0.066565 | 0 | 0
33 | 0.99644 | -0.068397 | 0.0068082 | 0.0017063
34 | 0.99498 | -0.09645 | 0.039688 | 0.0099467
35 | 0.99298 | -0.13494 | 0.0011741 | 0.00029426
36 | 0.99297 | -0.13509 | 0.0011333 | 0.00028404
37 | 0.98885 | -0.21453 | 0.066906 | 0.016768
38 | 0.99261 | -0.14204 | 0.0011401 | 0.00028574
39 | 0.99262 | -0.14179 | 0.0011026 | 0.00027635
40 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0067166 | -0.0016833 | 0.0067175 | 0.0016836 | 8.9194e-07 | 2.6144e-07 | 0.010019 | 0.010019 | 0.010019 | 0.99756 | -0.046851 | 0.9977 | -0.044064 | 2.7524
1 | -0.015237 | -0.0038187 | 0.015241 | 0.0038209 | 3.7322e-06 | 2.1368e-06 | 0.022725 | 0.022725 | 0.022725 | 0.9977 | -0.044064 | 0.99797 | -0.038923 | 6.2431
2 | 0.033564 | 0.0084268 | -0.033537 | -0.0084099 | 2.7066e-05 | 1.6946e-05 | 0.05005 | 0.050051 | 0.050051 | 0.99797 | -0.038923 | 0.99709 | -0.055842 | 13.7502
3 | -0.048804 | -0.012248 | 0.048863 | 0.012285 | 5.8319e-05 | 3.694e-05 | 0.072775 | 0.072775 | 0.072775 | 0.99797 | -0.038923 | 0.99927 | -0.013897 | 19.9932
4 | 0.01085 | 0.0027207 | -0.010849 | -0.0027199 | 1.563e-06 | 7.9303e-07 | 0.016193 | 0.016193 | 0.016193 | 0.99709 | -0.055842 | 0.99694 | -0.058865 | 4.4487
5 | 0.022686 | 0.0056892 | -0.022685 | -0.0056883 | 1.5174e-06 | 9.2508e-07 | 0.033857 | 0.033857 | 0.033857 | 0.99709 | -0.055842 | 0.99702 | -0.057246 | 9.3015
6 | 0.22623 | 0.057202 | -0.2261 | -0.057116 | 0.00013477 | 8.559e-05 | 0.33706 | 0.33706 | 0.33706 | 0.99927 | -0.013897 | 0.99862 | -0.026326 | 23.1498
7 | -0.47008 | -0.11868 | 0.47039 | 0.11888 | 0.0003132 | 0.00020009 | 0.7003 | 0.7003 | 0.7003 | 0.99927 | -0.013897 | 1 | 0 | 48.0975
8 | 0.19498 | 0.049191 | -0.1947 | -0.049009 | 0.00028787 | 0.00018233 | 0.29046 | 0.29047 | 0.29047 | 0.99927 | -0.013897 | 0.99766 | -0.044781 | 19.9495
9 | 0.1947 | 0.049009 | -0.19456 | -0.048921 | 0.00013822 | 8.7548e-05 | 0.29047 | 0.29047 | 0.29047 | 0.99766 | -0.044781 | 0.99689 | -0.059645 | 19.9496
10 | 0.15159 | 0.038152 | -0.15154 | -0.038122 | 4.6362e-05 | 2.9546e-05 | 0.22632 | 0.22632 | 0.22632 | 0.99689 | -0.059645 | 0.99656 | -0.066047 | 31.0886
11 | 0.011939 | 0.0029925 | -0.011938 | -0.002992 | 9.6564e-07 | 5.1255e-07 | 0.017831 | 0.017831 | 0.017831 | 0.99632 | -0.07049 | 0.99623 | -0.072187 | 4.8988
12 | -0.024845 | -0.0062288 | 0.02485 | 0.0062319 | 4.913e-06 | 3.0204e-06 | 0.037107 | 0.037107 | 0.037107 | 0.99632 | -0.07049 | 0.99653 | -0.066341 | 10.1943
13 | 0.012906 | 0.0032363 | -0.0129 | -0.0032331 | 5.9849e-06 | 3.2712e-06 | 0.019276 | 0.019276 | 0.019276 | 0.99632 | -0.07049 | 0.99581 | -0.080224 | 5.2957
14 | 0.12293 | 0.031128 | -0.12245 | -0.030822 | 0.00047826 | 0.0003056 | 0.18367 | 0.18367 | 0.18367 | 0.99653 | -0.066341 | 0.9923 | -0.14771 | 50.4588
15 | -0.14778 | -0.037359 | 0.14793 | 0.037453 | 0.00014718 | 9.3778e-05 | 0.22078 | 0.22078 | 0.22078 | 0.99653 | -0.066341 | 0.99762 | -0.045595 | 30.3265
16 | 0.12245 | 0.030822 | -0.12222 | -0.030674 | 0.00023139 | 0.00014785 | 0.18367 | 0.18367 | 0.18367 | 0.9923 | -0.14771 | 0.99025 | -0.18733 | 50.4588
17 | -0.20067 | -0.050672 | 0.20085 | 0.050789 | 0.00018546 | 0.00011754 | 0.29945 | 0.29945 | 0.29945 | 0.99762 | -0.045595 | 0.99862 | -0.026326 | 20.5664
18 | 0.091469 | 0.022967 | -0.091379 | -0.02291 | 9.0537e-05 | 5.7779e-05 | 0.13746 | 0.13746 | 0.13746 | 0.99025 | -0.18733 | 0.98918 | -0.2081 | 37.7645
19 | -0.00047629 | -0.00011927 | 0.0004763 | 0.0001188 | 7.1791e-09 | -4.7622e-07 | 0.00071573 | 0.00071556 | 0.00071573 | 0.99017 | -0.18927 | 0.99019 | -0.18895 | 0.19663
20 | 0.00047629 | 0.00011927 | -0.00047629 | -0.00011937 | 1.4829e-09 | -9.834e-08 | 0.00071573 | 0.00071577 | 0.00071577 | 0.99017 | -0.18927 | 0.99017 | -0.18934 | 0.19664
21 | -0.0004763 | -0.0001188 | 0.0004763 | 0.0001187 | 1.5065e-09 | -9.9962e-08 | 0.00071556 | 0.00071553 | 0.00071556 | 0.99019 | -0.18895 | 0.99019 | -0.18889 | 0.19658
22 | -0.047941 | -0.012014 | 0.048001 | 0.012052 | 6.0068e-05 | 3.8046e-05 | 0.072043 | 0.072042 | 0.072043 | 0.99019 | -0.18889 | 0.99155 | -0.16262 | 19.7919
23 | 0.010849 | 0.0027199 | -0.010845 | -0.0027181 | 3.5467e-06 | 1.7998e-06 | 0.016193 | 0.016193 | 0.016193 | 0.99694 | -0.058865 | 0.99658 | -0.065728 | 4.4487
24 | 0.017041 | 0.0042739 | -0.017034 | -0.0042694 | 7.5666e-06 | 4.4361e-06 | 0.025435 | 0.025435 | 0.025435 | 0.99702 | -0.057246 | 0.99654 | -0.066565 | 6.9876
25 | -0.0080581 | -0.0020195 | 0.0080586 | 0.0020198 | 5.2853e-07 | 2.115e-07 | 0.012034 | 0.012034 | 0.012034 | 0.99636 | -0.069965 | 0.99643 | -0.068588 | 3.3061
26 | -0.010224 | -0.0025625 | 0.010225 | 0.002563 | 9.8545e-07 | 4.8384e-07 | 0.015268 | 0.015268 | 0.015268 | 0.99643 | -0.068588 | 0.99654 | -0.066565 | 4.1946
27 | 0.096419 | 0.024308 | -0.096279 | -0.024218 | 0.00014006 | 8.9406e-05 | 0.14402 | 0.14402 | 0.14402 | 0.99656 | -0.066047 | 0.99498 | -0.09645 | 39.5658
28 | -0.0023454 | -0.00058782 | 0.0023456 | 0.00058752 | 1.4255e-07 | -3.0441e-07 | 0.0035202 | 0.00352 | 0.0035202 | 0.99144 | -0.16469 | 0.99151 | -0.16342 | 0.96708
29 | 0.0015214 | 0.00038112 | -0.0015213 | -0.00038123 | 1.9614e-08 | -1.1686e-07 | 0.0022831 | 0.0022832 | 0.0022832 | 0.99151 | -0.16342 | 0.99149 | -0.16369 | 0.62725
30 | -0.0038669 | -0.00096863 | 0.0038671 | 0.00096858 | 1.4651e-07 | -5.5865e-08 | 0.0058032 | 0.0058031 | 0.0058032 | 0.99151 | -0.16342 | 0.99155 | -0.16262 | 1.5943
31 | 0.066926 | 0.016781 | -0.066906 | -0.016768 | 2.05e-05 | 1.3051e-05 | 0.10068 | 0.10068 | 0.10068 | 0.98918 | -0.2081 | 0.98885 | -0.21453 | 27.6592
32 | 0.0015213 | 0.00038123 | -0.0015213 | -0.00038128 | 7.7654e-09 | -4.6262e-08 | 0.0022832 | 0.0022832 | 0.0022832 | 0.99149 | -0.16369 | 0.99149 | -0.16379 | 0.62725
33 | -0.051868 | -0.013021 | 0.051919 | 0.013053 | 5.0983e-05 | 3.234e-05 | 0.077846 | 0.077846 | 0.077846 | 0.99155 | -0.16262 | 0.99261 | -0.14204 | 21.3862
34 | 0.0068088 | 0.0017065 | -0.0068082 | -0.0017063 | 5.94e-07 | 1.8052e-07 | 0.010167 | 0.010167 | 0.010167 | 0.99654 | -0.066565 | 0.99644 | -0.068397 | 2.7931
35 | 0.056591 | 0.014271 | -0.056487 | -0.014205 | 0.00010404 | 6.6085e-05 | 0.084665 | 0.084665 | 0.084665 | 0.99498 | -0.09645 | 0.99298 | -0.13494 | 23.2597
36 | 0.055313 | 0.013911 | -0.055313 | -0.013911 | 4.1987e-07 | 2.6661e-07 | 0.082906 | 0.082906 | 0.082906 | 0.99298 | -0.13494 | 0.99297 | -0.13509 | 22.7763
37 | 0.054179 | 0.013627 | -0.054162 | -0.013616 | 1.7312e-05 | 1.0989e-05 | 0.081208 | 0.081208 | 0.081208 | 0.99297 | -0.13509 | 0.99262 | -0.14179 | 22.3098
38 | -0.053059 | -0.013339 | 0.053059 | 0.013339 | 6.3249e-07 | 4.0135e-07 | 0.079555 | 0.079555 | 0.079555 | 0.99261 | -0.14204 | 0.99262 | -0.14179 | 21.8557

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51634 | 0.12998

## res_load
| p_mw | q_mvar
0 | 0.0067166 | 0.0016833
1 | 0.0085193 | 0.0021351
2 | 0.042971 | 0.010769
3 | 0.011938 | 0.002992
4 | 0.0129 | 0.0032331
5 | 0.052743 | 0.013219
6 | 0.025243 | 0.0063266
7 | 0.044297 | 0.011102
8 | 0.03075 | 0.0077067
9 | 0.00047629 | 0.00011937
10 | 0.047464 | 0.011896
11 | 0.0056434 | 0.0014144
12 | 0.0080581 | 0.0020195
13 | 0.0021655 | 0.00054273
14 | 0.055122 | 0.013815
15 | 0.0023454 | 0.00058782
16 | 0.024452 | 0.0061283
17 | 0.010845 | 0.0027181
18 | 0.0015213 | 0.00038128
19 | 0.0068082 | 0.0017063
20 | 0.039688 | 0.0099467
21 | 0.0011741 | 0.00029426
22 | 0.0011333 | 0.00028404
23 | 0.066906 | 0.016768
24 | 0.0011401 | 0.00028574
25 | 0.0011026 | 0.00027635

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1