## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-453_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-453_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-453_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-453_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-453_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-453_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-453_0_4_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_261-453_0_4_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_261-453_0_4_node_66 | 0.4 | n |  | TRUE
9 | bus_LV_261-453_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_261-453_0_4_node_54 | 0.4 | n |  | TRUE
11 | bus_LV_261-453_0_4_node_73 | 0.4 | n |  | TRUE
12 | bus_LV_261-453_0_4_node_72 | 0.4 | n |  | TRUE
13 | bus_LV_261-453_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_261-453_0_4_node_74 | 0.4 | n |  | TRUE
15 | bus_LV_261-453_0_4_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_261-453_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_261-453_0_4_node_71 | 0.4 | n |  | TRUE
18 | bus_LV_261-453_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_261-453_0_4_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_261-453_0_4_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_261-453_0_4_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_261-453_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_261-453_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_261-453_0_4_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_261-453_0_4_node_81 | 0.4 | n |  | TRUE
26 | bus_LV_261-453_0_4_node_68 | 0.4 | n |  | TRUE
27 | bus_LV_261-453_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_261-453_0_4_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_261-453_0_4_node_77 | 0.4 | n |  | TRUE
30 | bus_LV_261-453_0_4_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_261-453_0_4_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_261-453_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_261-453_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_261-453_0_4_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_261-453_0_4_node_62 | 0.4 | n |  | TRUE
36 | bus_LV_261-453_0_4_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_261-453_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_261-453_0_4_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_261-453_0_4_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_261-453_0_4_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_261-453_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_261-453_0_4_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_261-453_0_4_node_75 | 0.4 | n |  | TRUE
44 | bus_LV_261-453_0_4_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_261-453_0_4_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_261-453_0_4_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_261-453_0_4_node_69 | 0.4 | n |  | TRUE
48 | bus_LV_261-453_0_4_node_79 | 0.4 | n |  | TRUE
49 | bus_LV_261-453_0_4_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_261-453_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_261-453_0_4_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_261-453_0_4_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_261-453_0_4_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_261-453_0_4_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_261-453_0_4_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_261-453_0_4_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_261-453_0_4_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_261-453_0_4_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_261-453_0_4_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_261-453_0_4_node_36 | 0.4 | n |  | TRUE
61 | bus_LV_261-453_0_4_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_261-453_0_4_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_261-453_0_4_node_40 | 0.4 | n |  | TRUE
64 | bus_LV_261-453_0_4_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_261-453_0_4_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_261-453_0_4_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_261-453_0_4_node_76 | 0.4 | n |  | TRUE
68 | bus_LV_261-453_0_4_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_261-453_0_4_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_261-453_0_4_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_261-453_0_4_node_64 | 0.4 | n |  | TRUE
72 | bus_MV_529_1_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-453_0_4_load_0 | 0 | 0.0032263 | 0.00080859 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-453_0_4_load_1 | 1 | 0.0019501 | 0.00048875 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-453_0_4_load_3 | 3 | 0.0091567 | 0.0022949 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-453_0_4_load_4 | 4 | 0.0011273 | 0.00028253 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-453_0_4_load_27 | 7 | 0.003475 | 0.00087093 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-453_0_4_load_66 | 8 | 0.014063 | 0.0035246 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-453_0_4_load_73 | 11 | 0.0068798 | 0.0017243 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-453_0_4_load_72 | 12 | 0.0066705 | 0.0016718 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-453_0_4_load_74 | 14 | 0.0052336 | 0.0013117 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-453_0_4_load_71 | 17 | 0.0043908 | 0.0011004 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-453_0_4_load_45 | 21 | 0.018992 | 0.0047599 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-453_0_4_load_49 | 24 | 0.05308 | 0.013303 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-453_0_4_load_81 | 25 | 0.0030751 | 0.00077069 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-453_0_4_load_68 | 26 | 0.0064051 | 0.0016053 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-453_0_4_load_78 | 28 | 0.0099416 | 0.0024916 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-453_0_4_load_77 | 29 | 0.0055834 | 0.0013993 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-453_0_4_load_46 | 30 | 0.014226 | 0.0035654 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-453_0_4_load_44 | 31 | 0.0094771 | 0.0023752 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-453_0_4_load_62 | 35 | 0.052463 | 0.013149 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-453_0_4_load_60 | 36 | 0.018587 | 0.0046584 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-453_0_4_load_52 | 38 | 0.0052476 | 0.0013152 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-453_0_4_load_67 | 39 | 0.0081108 | 0.0020328 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-453_0_4_load_50 | 40 | 0.016523 | 0.0041411 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-453_0_4_load_59 | 42 | 0.0056423 | 0.0014141 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-453_0_4_load_75 | 43 | 0.0066205 | 0.0016593 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-453_0_4_load_53 | 44 | 0.0055477 | 0.0013904 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-453_0_4_load_80 | 45 | 0.0032435 | 0.00081291 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-453_0_4_load_70 | 46 | 0.0068928 | 0.0017275 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-453_0_4_load_69 | 47 | 0.0066036 | 0.001655 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-453_0_4_load_79 | 48 | 0.011192 | 0.0028049 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-453_0_4_load_47 | 49 | 0.01128 | 0.0028271 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-453_0_4_load_43 | 50 | 0.0048376 | 0.0012124 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-453_0_4_load_65 | 51 | 0.010425 | 0.0026129 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-453_0_4_load_63 | 52 | 0.0071517 | 0.0017924 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-453_0_4_load_58 | 53 | 0.0074291 | 0.0018619 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-453_0_4_load_51 | 54 | 0.0052259 | 0.0013097 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-453_0_4_load_29 | 55 | 0.0019694 | 0.00049357 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-453_0_4_load_37 | 56 | 0.0017603 | 0.00044118 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-453_0_4_load_35 | 57 | 0.0017866 | 0.00044777 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-453_0_4_load_33 | 58 | 0.001375 | 0.0003446 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-453_0_4_load_34 | 59 | 0.0014481 | 0.00036293 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-453_0_4_load_36 | 60 | 0.0021125 | 0.00052943 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-453_0_4_load_38 | 61 | 0.001353 | 0.0003391 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-453_0_4_load_39 | 62 | 0.0066217 | 0.0016596 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-453_0_4_load_41 | 64 | 0.0063601 | 0.001594 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-453_0_4_load_42 | 65 | 0.011381 | 0.0028524 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-453_0_4_load_48 | 66 | 0.0094539 | 0.0023694 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-453_0_4_load_76 | 67 | 0.010553 | 0.0026448 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-453_0_4_load_55 | 68 | 0.0060463 | 0.0015153 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-453_0_4_load_56 | 69 | 0.006978 | 0.0017489 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-453_0_4_load_57 | 70 | 0.0043391 | 0.0010875 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-453_0_4_load_64 | 71 | 0.011381 | 0.0028524 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-453_0_4_line_0 |  | 0 | 1 | 0.02557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-453_0_4_line_1 |  | 0 | 2 | 0.014636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-453_0_4_line_2 |  | 1 | 3 | 0.025265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-453_0_4_line_3 |  | 2 | 4 | 0.027598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-453_0_4_line_4 |  | 2 | 5 | 0.022651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-453_0_4_line_5 |  | 3 | 6 | 0.025514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-453_0_4_line_6 |  | 4 | 7 | 0.010375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-453_0_4_line_7 |  | 5 | 8 | 0.035884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-453_0_4_line_8 |  | 6 | 31 | 0.011422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-453_0_4_line_9 |  | 7 | 41 | 0.017619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-453_0_4_line_10 |  | 8 | 42 | 0.025504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-453_0_4_line_11 |  | 9 | 10 | 0.019485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-453_0_4_line_12 |  | 9 | 11 | 0.016103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-453_0_4_line_13 |  | 9 | 12 | 0.018025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-453_0_4_line_14 |  | 10 | 43 | 0.044482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-453_0_4_line_15 |  | 10 | 44 | 0.020283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-453_0_4_line_16 |  | 11 | 45 | 0.0057951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-453_0_4_line_17 |  | 12 | 13 | 0.0097404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-453_0_4_line_18 |  | 13 | 14 | 0.032632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-453_0_4_line_19 |  | 13 | 15 | 0.0083457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-453_0_4_line_20 |  | 15 | 26 | 0.016601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-453_0_4_line_21 |  | 15 | 16 | 0.009066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-453_0_4_line_22 |  | 16 | 17 | 0.035821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-453_0_4_line_23 |  | 18 | 19 | 0.023642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_261-453_0_4_line_24 |  | 18 | 20 | 0.017365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-453_0_4_line_25 |  | 18 | 21 | 0.025296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-453_0_4_line_26 |  | 19 | 34 | 0.03082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-453_0_4_line_27 |  | 19 | 35 | 0.034228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-453_0_4_line_28 |  | 19 | 36 | 0.023276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_261-453_0_4_line_29 |  | 20 | 30 | 0.037956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-453_0_4_line_30 |  | 20 | 22 | 0.020858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-453_0_4_line_31 |  | 22 | 23 | 0.041207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-453_0_4_line_32 |  | 22 | 24 | 0.014409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-453_0_4_line_33 |  | 23 | 25 | 0.024769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-453_0_4_line_34 |  | 24 | 32 | 0.018324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-453_0_4_line_35 |  | 26 | 47 | 0.036881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-453_0_4_line_36 |  | 27 | 28 | 0.005962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-453_0_4_line_37 |  | 27 | 29 | 0.018699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-453_0_4_line_38 |  | 28 | 48 | 0.019192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-453_0_4_line_39 |  | 30 | 49 | 0.028766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-453_0_4_line_40 |  | 31 | 50 | 0.019917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-453_0_4_line_41 |  | 32 | 33 | 0.054927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-453_0_4_line_42 |  | 33 | 40 | 0.0059492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-453_0_4_line_43 |  | 34 | 51 | 0.011006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-453_0_4_line_44 |  | 34 | 52 | 0.026918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-453_0_4_line_45 |  | 36 | 53 | 0.015843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_261-453_0_4_line_46 |  | 37 | 38 | 0.055867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-453_0_4_line_47 |  | 37 | 39 | 0.025115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-453_0_4_line_48 |  | 38 | 54 | 0.012794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-453_0_4_line_49 |  | 41 | 55 | 0.0099135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-453_0_4_line_50 |  | 42 | 70 | 0.00047566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-453_0_4_line_51 |  | 43 | 67 | 0.021663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-453_0_4_line_52 |  | 44 | 54 | 0.012982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-453_0_4_line_53 |  | 46 | 47 | 0.028245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-453_0_4_line_54 |  | 48 | 66 | 0.019386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-453_0_4_line_55 |  | 49 | 66 | 0.0081924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-453_0_4_line_56 |  | 50 | 65 | 0.01609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-453_0_4_line_57 |  | 51 | 67 | 0.010216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-453_0_4_line_58 |  | 52 | 71 | 0.031723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-453_0_4_line_59 |  | 53 | 69 | 0.027193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_261-453_0_4_line_60 |  | 56 | 57 | 0.0072181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-453_0_4_line_61 |  | 57 | 58 | 0.0038115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-453_0_4_line_62 |  | 58 | 59 | 0.01657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-453_0_4_line_63 |  | 59 | 60 | 0.0062282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-453_0_4_line_64 |  | 60 | 61 | 0.0094999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-453_0_4_line_65 |  | 61 | 62 | 0.0064544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-453_0_4_line_66 |  | 62 | 63 | 0.0030801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-453_0_4_line_67 |  | 63 | 64 | 0.016053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-453_0_4_line_68 |  | 64 | 65 | 0.011467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-453_0_4_line_69 |  | 68 | 69 | 0.03344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-453_0_4_line_70 |  | 68 | 70 | 0.023505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-453_0_4_trafo_56 | 0.63 MVA 20/0.4 kV | 72 | 69 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2679430.9019 | 1247702.9314 | 2679405.8849 | 1247708.2211
1 | 2679445.2213 | 1247699.9036 | 2679430.9019 | 1247702.9314
2 | 2679405.8849 | 1247708.2211 | 2679381.1667 | 1247713.4476
3 | 2679445.2213 | 1247699.9036 | 2679446.4163 | 1247704.8566 | 2679451.0937 | 1247717.0948 | 2679455.8279 | 1247725.2169
4 | 2679445.2213 | 1247699.9036 | 2679443.7309 | 1247692.2003 | 2679454.6237 | 1247689.8556 | 2679453.8484 | 1247686.276
5 | 2679356.205 | 1247718.7256 | 2679381.1667 | 1247713.4476
6 | 2679461.9725 | 1247733.5004 | 2679458.4032 | 1247729.6352 | 2679455.8279 | 1247725.2169
7 | 2679453.8484 | 1247686.276 | 2679440.986 | 1247689.0501 | 2679435.6531 | 1247690.2017 | 2679418.7765 | 1247693.8661
8 | 2679356.205 | 1247718.7256 | 2679357.315 | 1247722.1318 | 2679359.0634 | 1247725.2463 | 2679362.2141 | 1247728.1246
9 | 2679473.9259 | 1247746.4444 | 2679461.9725 | 1247733.5004
10 | 2679393.8534 | 1247699.2774 | 2679418.7765 | 1247693.8661
11 | 2679309.8504 | 1247624.0032 | 2679326.5974 | 1247634.0456
12 | 2679309.8504 | 1247624.0032 | 2679298.8564 | 1247635.7695
13 | 2679309.8504 | 1247624.0032 | 2679296.9015 | 1247611.4648
14 | 2679326.5974 | 1247634.0456 | 2679323.9035 | 1247642.8827 | 2679320.4838 | 1247647.8183 | 2679310.2119 | 1247653.9965 | 2679295.8335 | 1247662.2547 | 2679295.2645 | 1247662.6101
15 | 2679326.5974 | 1247634.0456 | 2679332.6873 | 1247636.1508 | 2679339.5757 | 1247637.2882 | 2679346.4316 | 1247637.469
16 | 2679294.9 | 1247640.0038 | 2679298.8564 | 1247635.7695
17 | 2679289.904 | 1247604.6891 | 2679296.9015 | 1247611.4648
18 | 2679289.904 | 1247604.6891 | 2679278.4186 | 1247605.0247 | 2679269.3109 | 1247608.8613 | 2679258.4947 | 1247611.9855
19 | 2679289.904 | 1247604.6891 | 2679292.981 | 1247602.2173 | 2679296.4093 | 1247599.4612
20 | 2679296.4093 | 1247599.4612 | 2679305.8009 | 1247608.838 | 2679308.1996 | 1247611.1477
21 | 2679297.2839 | 1247591.1112 | 2679295.66 | 1247592.8019 | 2679295.799 | 1247596.5286 | 2679296.4093 | 1247599.4612
22 | 2679297.2839 | 1247591.1112 | 2679302.9465 | 1247589.5969 | 2679313.9389 | 1247578.6916 | 2679324.0551 | 1247568.3377
23 | 2679273.5076 | 1247727.6594 | 2679274.7963 | 1247731.8241 | 2679277.6011 | 1247736.7096 | 2679285.7109 | 1247739.698 | 2679290.4084 | 1247741.4287
24 | 2679290.4084 | 1247741.4287 | 2679291.6739 | 1247745.6376 | 2679294.2672 | 1247748.8301 | 2679301.4251 | 1247754.0852
25 | 2679290.4084 | 1247741.4287 | 2679291.7524 | 1247738.0776 | 2679293.6518 | 1247736.1126 | 2679299.3093 | 1247732.708 | 2679306.8332 | 1247729.8065 | 2679311.015 | 1247728.868
26 | 2679274.5128 | 1247697.1173 | 2679272.2982 | 1247723.7737 | 2679273.5076 | 1247727.6594
27 | 2679273.5076 | 1247727.6594 | 2679267.1935 | 1247729.8989 | 2679262.084 | 1247730.7312 | 2679255.8805 | 1247729.7809 | 2679240.0236 | 1247727.1351
28 | 2679273.5076 | 1247727.6594 | 2679275.9232 | 1247726.6354 | 2679278.7369 | 1247725.7724 | 2679289.3467 | 1247722.5563 | 2679295.7434 | 1247720.8393
29 | 2679301.4251 | 1247754.0852 | 2679317.3842 | 1247765.974 | 2679321.1733 | 1247767.8593 | 2679325.2228 | 1247769.4702 | 2679332.8608 | 1247775.0601
30 | 2679289.4292 | 1247771.1484 | 2679296.3049 | 1247761.3665 | 2679301.4251 | 1247754.0852
31 | 2679267.1272 | 1247799.2262 | 2679284.3841 | 1247768.3011 | 2679289.4292 | 1247771.1484
32 | 2679289.4292 | 1247771.1484 | 2679301.8715 | 1247778.4145
33 | 2679267.1272 | 1247799.2262 | 2679288.7292 | 1247811.3436
34 | 2679317.7835 | 1247787.495 | 2679314.2358 | 1247785.6351 | 2679301.8715 | 1247778.4145
35 | 2679308.1996 | 1247611.1477 | 2679313.7875 | 1247616.5282 | 2679320.7014 | 1247621.9691 | 2679328.6479 | 1247625.8782 | 2679335.1335 | 1247627.7663 | 2679339.7782 | 1247628.5757
36 | 2679398.6284 | 1247823.1917 | 2679393.8172 | 1247819.6707
37 | 2679398.6284 | 1247823.1917 | 2679401.6203 | 1247827.635 | 2679412.3692 | 1247835.5389
38 | 2679378.3298 | 1247808.3362 | 2679393.8172 | 1247819.6707
39 | 2679332.8608 | 1247775.0601 | 2679356.0744 | 1247792.0488
40 | 2679362.2141 | 1247728.1246 | 2679376.9192 | 1247741.5583
41 | 2679317.7835 | 1247787.495 | 2679319.9764 | 1247787.869 | 2679324.3286 | 1247789.4395 | 2679345.3833 | 1247804.8991 | 2679338.2989 | 1247813.8997 | 2679334.7607 | 1247820.9242 | 2679334.7255 | 1247823.559
42 | 2679334.7255 | 1247823.559 | 2679329.2414 | 1247825.8651
43 | 2679274.5128 | 1247697.1173 | 2679275.9579 | 1247686.2064
44 | 2679274.5128 | 1247697.1173 | 2679283.6735 | 1247696.6505 | 2679300.8673 | 1247692.2602
45 | 2679295.7434 | 1247720.8393 | 2679300.1183 | 1247719.6649 | 2679311.1725 | 1247717.2562
46 | 2679421.1082 | 1247606.0457 | 2679402.5642 | 1247615.1262 | 2679381.1409 | 1247626.014 | 2679371.0627 | 1247630.8728
47 | 2679421.1082 | 1247606.0457 | 2679429.4012 | 1247629.7518
48 | 2679359.296 | 1247635.8291 | 2679361.4089 | 1247635.2678 | 2679368.5743 | 1247632.0724 | 2679371.0627 | 1247630.8728
49 | 2679473.9259 | 1247746.4444 | 2679480.5047 | 1247753.8603
50 | 2679393.3886 | 1247699.3784 | 2679393.8534 | 1247699.2774
51 | 2679295.2645 | 1247662.6101 | 2679285.1319 | 1247668.9387 | 2679281.7061 | 1247672.6401 | 2679279.2585 | 1247676.6214
52 | 2679359.296 | 1247635.8291 | 2679358.1418 | 1247636.1358 | 2679353.4352 | 1247636.7733 | 2679346.4316 | 1247637.469
53 | 2679339.7782 | 1247628.5757 | 2679341.9759 | 1247628.9587 | 2679350.5073 | 1247628.6727 | 2679354.2977 | 1247628.2008 | 2679362.1043 | 1247626.2038 | 2679367.1467 | 1247623.7672
54 | 2679378.3298 | 1247808.3362 | 2679362.6855 | 1247796.8871
55 | 2679356.0744 | 1247792.0488 | 2679362.6855 | 1247796.8871
56 | 2679388.7987 | 1247752.4105 | 2679376.9192 | 1247741.5583
57 | 2679275.9579 | 1247686.2064 | 2679277.7081 | 1247682.983 | 2679279.2585 | 1247676.6214 | 2679279.2585 | 1247676.6214
58 | 2679330.3227 | 1247680.7628 | 2679310.2379 | 1247689.8674 | 2679300.8673 | 1247692.2602
59 | 2679337.7425 | 1247711.4702 | 2679320.9349 | 1247715.1289 | 2679311.1725 | 1247717.2562
60 | 2679449.1045 | 1247805.546 | 2679443.6443 | 1247800.825
61 | 2679440.7611 | 1247798.3321 | 2679443.6443 | 1247800.825
62 | 2679440.7611 | 1247798.3321 | 2679428.2268 | 1247787.4947
63 | 2679428.2268 | 1247787.4947 | 2679423.5155 | 1247783.4212
64 | 2679416.3292 | 1247777.2079 | 2679423.5155 | 1247783.4212
65 | 2679416.3292 | 1247777.2079 | 2679411.4467 | 1247772.9864
66 | 2679409.1168 | 1247770.9719 | 2679411.4467 | 1247772.9864
67 | 2679409.1168 | 1247770.9719 | 2679397.265 | 1247760.1449
68 | 2679388.7987 | 1247752.4105 | 2679397.265 | 1247760.1449
69 | 2679370.4191 | 1247704.3655 | 2679355.3414 | 1247707.6393 | 2679337.7425 | 1247711.4702
70 | 2679370.4191 | 1247704.3655 | 2679393.3886 | 1247699.3784

## bus_geodata
| x | y | coords
0 | 2679430.9019 | 1247702.9314
1 | 2679405.8849 | 1247708.2211
2 | 2679445.2213 | 1247699.9036
3 | 2679381.1667 | 1247713.4476
4 | 2679455.8279 | 1247725.2169
5 | 2679453.8484 | 1247686.276
6 | 2679356.205 | 1247718.7256
7 | 2679461.9725 | 1247733.5004
8 | 2679418.7765 | 1247693.8661
9 | 2679309.8504 | 1247624.0032
10 | 2679326.5974 | 1247634.0456
11 | 2679298.8564 | 1247635.7695
12 | 2679296.9015 | 1247611.4648
13 | 2679289.904 | 1247604.6891
14 | 2679258.4947 | 1247611.9855
15 | 2679296.4093 | 1247599.4612
16 | 2679297.2839 | 1247591.1112
17 | 2679324.0551 | 1247568.3377
18 | 2679290.4084 | 1247741.4287
19 | 2679273.5076 | 1247727.6594
20 | 2679301.4251 | 1247754.0852
21 | 2679311.015 | 1247728.868
22 | 2679289.4292 | 1247771.1484
23 | 2679267.1272 | 1247799.2262
24 | 2679301.8715 | 1247778.4145
25 | 2679288.7292 | 1247811.3436
26 | 2679308.1996 | 1247611.1477
27 | 2679398.6284 | 1247823.1917
28 | 2679393.8172 | 1247819.6707
29 | 2679412.3692 | 1247835.5389
30 | 2679332.8608 | 1247775.0601
31 | 2679362.2141 | 1247728.1246
32 | 2679317.7835 | 1247787.495
33 | 2679334.7255 | 1247823.559
34 | 2679274.5128 | 1247697.1173
35 | 2679240.0236 | 1247727.1351
36 | 2679295.7434 | 1247720.8393
37 | 2679421.1082 | 1247606.0457
38 | 2679371.0627 | 1247630.8728
39 | 2679429.4012 | 1247629.7518
40 | 2679329.2414 | 1247825.8651
41 | 2679473.9259 | 1247746.4444
42 | 2679393.8534 | 1247699.2774
43 | 2679295.2645 | 1247662.6101
44 | 2679346.4316 | 1247637.469
45 | 2679294.9 | 1247640.0038
46 | 2679367.1467 | 1247623.7672
47 | 2679339.7782 | 1247628.5757
48 | 2679378.3298 | 1247808.3362
49 | 2679356.0744 | 1247792.0488
50 | 2679376.9192 | 1247741.5583
51 | 2679275.9579 | 1247686.2064
52 | 2679300.8673 | 1247692.2602
53 | 2679311.1725 | 1247717.2562
54 | 2679359.296 | 1247635.8291
55 | 2679480.5047 | 1247753.8603
56 | 2679449.1045 | 1247805.546
57 | 2679443.6443 | 1247800.825
58 | 2679440.7611 | 1247798.3321
59 | 2679428.2268 | 1247787.4947
60 | 2679423.5155 | 1247783.4212
61 | 2679416.3292 | 1247777.2079
62 | 2679411.4467 | 1247772.9864
63 | 2679409.1168 | 1247770.9719
64 | 2679397.265 | 1247760.1449
65 | 2679388.7987 | 1247752.4105
66 | 2679362.6855 | 1247796.8871
67 | 2679279.2585 | 1247676.6214
68 | 2679370.4191 | 1247704.3655
69 | 2679337.7425 | 1247711.4702
70 | 2679393.3886 | 1247699.3784
71 | 2679330.3227 | 1247680.7628
72 | 2679273.5076 | 1247727.6594

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98833 | -0.22363 | 0.0032263 | 0.00080859
1 | 0.98692 | -0.25087 | 0.0019501 | 0.00048875
2 | 0.98917 | -0.20723 | 0 | 0
3 | 0.98558 | -0.27698 | 0.0091567 | 0.0022949
4 | 0.98901 | -0.21046 | 0.0011273 | 0.00028253
5 | 0.99062 | -0.17926 | 0 | 0
6 | 0.98443 | -0.29922 | 0 | 0
7 | 0.98896 | -0.21147 | 0.003475 | 0.00087093
8 | 0.99292 | -0.13511 | 0.014063 | 0.0035246
9 | 0.98274 | -0.33229 | 0 | 0
10 | 0.98357 | -0.31601 | 0 | 0
11 | 0.98259 | -0.33523 | 0.0068798 | 0.0017243
12 | 0.98214 | -0.34408 | 0.0066705 | 0.0016718
13 | 0.98187 | -0.34927 | 0 | 0
14 | 0.98171 | -0.35236 | 0.0052336 | 0.0013117
15 | 0.98168 | -0.35294 | 0 | 0
16 | 0.98165 | -0.35366 | 0 | 0
17 | 0.9815 | -0.35651 | 0.0043908 | 0.0011004
18 | 0.99148 | -0.16303 | 0 | 0
19 | 0.99314 | -0.13094 | 0 | 0
20 | 0.98933 | -0.20449 | 0 | 0
21 | 0.99104 | -0.17155 | 0.018992 | 0.0047599
22 | 0.98794 | -0.23152 | 0 | 0
23 | 0.98782 | -0.23379 | 0 | 0
24 | 0.98702 | -0.24945 | 0.05308 | 0.013303
25 | 0.98775 | -0.23515 | 0.0030751 | 0.00077069
26 | 0.98138 | -0.35892 | 0.0064051 | 0.0016053
27 | 0.98487 | -0.29128 | 0 | 0
28 | 0.9849 | -0.29068 | 0.0099416 | 0.0024916
29 | 0.98477 | -0.29315 | 0.0055834 | 0.0013993
30 | 0.98718 | -0.24627 | 0.014226 | 0.0035654
31 | 0.98392 | -0.30919 | 0.0094771 | 0.0023752
32 | 0.98674 | -0.25487 | 0 | 0
33 | 0.9859 | -0.27113 | 0 | 0
34 | 0.98983 | -0.19465 | 0 | 0
35 | 0.9915 | -0.16272 | 0.052463 | 0.013149
36 | 0.99544 | -0.086835 | 0.018587 | 0.0046584
37 | 0.98232 | -0.34046 | 0 | 0
38 | 0.98274 | -0.33228 | 0.0052476 | 0.0013152
39 | 0.98214 | -0.34414 | 0.0081108 | 0.0020328
40 | 0.98581 | -0.27289 | 0.016523 | 0.0041411
41 | 0.98892 | -0.21209 | 0 | 0
42 | 0.99488 | -0.097538 | 0.0056423 | 0.0014141
43 | 0.98647 | -0.25971 | 0.0066205 | 0.0016593
44 | 0.98312 | -0.32484 | 0.0055477 | 0.0013904
45 | 0.98257 | -0.33557 | 0.0032435 | 0.00081291
46 | 0.98074 | -0.37146 | 0.0068928 | 0.0017275
47 | 0.98092 | -0.36793 | 0.0066036 | 0.001655
48 | 0.98517 | -0.28533 | 0.011192 | 0.0028049
49 | 0.98592 | -0.27071 | 0.01128 | 0.0028271
50 | 0.9832 | -0.3232 | 0.0048376 | 0.0012124
51 | 0.98884 | -0.21387 | 0.010425 | 0.0026129
52 | 0.98937 | -0.20353 | 0.0071517 | 0.0017924
53 | 0.9971 | -0.05521 | 0.0074291 | 0.0018619
54 | 0.9829 | -0.32919 | 0.0052259 | 0.0013097
55 | 0.98891 | -0.21243 | 0.0019694 | 0.00049357
56 | 0.9819 | -0.34881 | 0.0017603 | 0.00044118
57 | 0.98191 | -0.34858 | 0.0017866 | 0.00044777
58 | 0.98192 | -0.34834 | 0.001375 | 0.0003446
59 | 0.982 | -0.34686 | 0.0014481 | 0.00036293
60 | 0.98203 | -0.34614 | 0.0021125 | 0.00052943
61 | 0.98211 | -0.34469 | 0.001353 | 0.0003391
62 | 0.98216 | -0.34354 | 0.0066217 | 0.0016596
63 | 0.98221 | -0.34263 | 0 | 0
64 | 0.98246 | -0.33785 | 0.0063601 | 0.001594
65 | 0.9827 | -0.33313 | 0.011381 | 0.0028524
66 | 0.98565 | -0.27603 | 0.0094539 | 0.0023694
67 | 0.98801 | -0.22985 | 0.010553 | 0.0026448
68 | 0.99694 | -0.058184 | 0.0060463 | 0.0015153
69 | 1 | 0 | -0.4548 | -0.11559
70 | 0.99492 | -0.096792 | 0.0043391 | 0.0010875
71 | 0.98904 | -0.20997 | 0.011381 | 0.0028524
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.059899 | 0.015118 | -0.059821 | -0.015068 | 7.8051e-05 | 4.9626e-05 | 0.090221 | 0.090221 | 0.090221 | 0.98833 | -0.22363 | 0.98692 | -0.25087 | 24.786
1 | -0.063125 | -0.015927 | 0.063175 | 0.015958 | 4.9616e-05 | 3.1566e-05 | 0.095078 | 0.095078 | 0.095078 | 0.98833 | -0.22363 | 0.98917 | -0.20723 | 26.1205
2 | 0.057871 | 0.01458 | -0.057798 | -0.014534 | 7.2174e-05 | 4.5869e-05 | 0.087281 | 0.087281 | 0.087281 | 0.98692 | -0.25087 | 0.98558 | -0.27698 | 23.9783
3 | 0.0065731 | 0.0016471 | -0.0065721 | -0.0016468 | 1.0118e-06 | 2.9337e-07 | 0.0098878 | 0.0098879 | 0.0098879 | 0.98917 | -0.20723 | 0.98901 | -0.21046 | 2.7165
4 | -0.069748 | -0.017605 | 0.069841 | 0.017665 | 9.3588e-05 | 5.9605e-05 | 0.10497 | 0.10497 | 0.10497 | 0.98917 | -0.20723 | 0.99062 | -0.17926 | 28.8369
5 | 0.048642 | 0.012239 | -0.04859 | -0.012206 | 5.1625e-05 | 3.2715e-05 | 0.073456 | 0.073456 | 0.073456 | 0.98558 | -0.27698 | 0.98443 | -0.29922 | 20.1803
6 | 0.0054448 | 0.0013642 | -0.0054445 | -0.0013642 | 2.6109e-07 | 3.3965e-08 | 0.0081918 | 0.0081919 | 0.0081919 | 0.98901 | -0.21046 | 0.98896 | -0.21147 | 2.2505
7 | -0.069841 | -0.017665 | 0.06999 | 0.017759 | 0.00014826 | 9.4424e-05 | 0.10497 | 0.10497 | 0.10497 | 0.99062 | -0.17926 | 0.99292 | -0.13511 | 28.8368
8 | 0.04859 | 0.012206 | -0.048567 | -0.012191 | 2.3111e-05 | 1.4646e-05 | 0.073456 | 0.073456 | 0.073456 | 0.98443 | -0.29922 | 0.98392 | -0.30919 | 20.1803
9 | 0.0019695 | 0.00049327 | -0.0019694 | -0.00049346 | 5.8016e-08 | -1.8893e-07 | 0.0029632 | 0.0029633 | 0.0029633 | 0.98896 | -0.21147 | 0.98892 | -0.21209 | 0.81409
10 | -0.084053 | -0.021284 | 0.084205 | 0.021381 | 0.00015194 | 9.6909e-05 | 0.12604 | 0.12604 | 0.12604 | 0.99292 | -0.13511 | 0.99488 | -0.097538 | 34.6268
11 | -0.046367 | -0.011636 | 0.046403 | 0.011659 | 3.6021e-05 | 2.2807e-05 | 0.070213 | 0.070212 | 0.070213 | 0.98274 | -0.33229 | 0.98357 | -0.31601 | 19.2892
12 | 0.010125 | 0.0025378 | -0.010123 | -0.0025371 | 1.4193e-06 | 7.0433e-07 | 0.015331 | 0.015331 | 0.015331 | 0.98274 | -0.33229 | 0.98259 | -0.33523 | 4.2117
13 | 0.036242 | 0.0090987 | -0.036222 | -0.0090859 | 2.0359e-05 | 1.2801e-05 | 0.054882 | 0.054882 | 0.054882 | 0.98274 | -0.33229 | 0.98214 | -0.34408 | 15.0775
14 | -0.070556 | -0.017719 | 0.070746 | 0.01784 | 0.0001901 | 0.0001211 | 0.10675 | 0.10675 | 0.10675 | 0.98357 | -0.31601 | 0.98647 | -0.25971 | 29.3282
15 | 0.024153 | 0.0060596 | -0.024142 | -0.0060534 | 1.0157e-05 | 6.2431e-06 | 0.036542 | 0.036542 | 0.036542 | 0.98357 | -0.31601 | 0.98312 | -0.32484 | 10.039
16 | 0.0032436 | 0.00081287 | -0.0032435 | -0.00081291 | 5.2434e-08 | -3.9844e-08 | 0.004912 | 0.004912 | 0.004912 | 0.98259 | -0.33523 | 0.98257 | -0.33557 | 1.3495
17 | 0.029552 | 0.0074141 | -0.029544 | -0.0074095 | 7.3231e-06 | 4.5636e-06 | 0.044776 | 0.044776 | 0.044776 | 0.98214 | -0.34408 | 0.98187 | -0.34927 | 12.301
18 | 0.0052343 | 0.0013117 | -0.0052336 | -0.0013117 | 7.7002e-07 | 8.0156e-08 | 0.0079325 | 0.0079327 | 0.0079327 | 0.98187 | -0.34927 | 0.98171 | -0.35236 | 2.1793
19 | 0.02431 | 0.0060978 | -0.024306 | -0.0060952 | 4.2482e-06 | 2.6133e-06 | 0.036843 | 0.036843 | 0.036843 | 0.98187 | -0.34927 | 0.98168 | -0.35294 | 10.1218
20 | 0.019914 | 0.0049948 | -0.019908 | -0.0049914 | 5.6729e-06 | 3.4208e-06 | 0.030187 | 0.030187 | 0.030187 | 0.98168 | -0.35294 | 0.98138 | -0.35892 | 8.2931
21 | 0.0043916 | 0.0011004 | -0.0043914 | -0.0011004 | 1.5064e-07 | -1.8207e-08 | 0.0066566 | 0.0066566 | 0.0066566 | 0.98168 | -0.35294 | 0.98165 | -0.35366 | 1.8287
22 | 0.0043914 | 0.0011004 | -0.0043908 | -0.0011004 | 5.9523e-07 | -7.1843e-08 | 0.0066566 | 0.0066568 | 0.0066568 | 0.98165 | -0.35366 | 0.9815 | -0.35651 | 1.8288
23 | -0.154 | -0.038845 | 0.15424 | 0.038996 | 0.00023698 | 0.00015105 | 0.23121 | 0.23121 | 0.23121 | 0.99148 | -0.16303 | 0.99314 | -0.13094 | 31.7599
24 | 0.135 | 0.034081 | -0.13473 | -0.03391 | 0.00026755 | 0.00017101 | 0.2027 | 0.2027 | 0.2027 | 0.99148 | -0.16303 | 0.98933 | -0.20449 | 55.6858
25 | 0.019 | 0.0047645 | -0.018992 | -0.0047599 | 7.7138e-06 | 4.6107e-06 | 0.028516 | 0.028516 | 0.028516 | 0.99148 | -0.16303 | 0.99104 | -0.17155 | 7.8341
26 | 0.11752 | 0.029809 | -0.11716 | -0.02958 | 0.00035883 | 0.00022925 | 0.1762 | 0.1762 | 0.1762 | 0.99314 | -0.13094 | 0.98983 | -0.19465 | 48.407
27 | 0.052543 | 0.013199 | -0.052463 | -0.013149 | 7.9571e-05 | 5.0484e-05 | 0.078735 | 0.078735 | 0.078735 | 0.99314 | -0.13094 | 0.9915 | -0.16272 | 21.6306
28 | -0.3243 | -0.082004 | 0.32498 | 0.082444 | 0.00068764 | 0.00043919 | 0.48615 | 0.48615 | 0.48615 | 0.99314 | -0.13094 | 0.99544 | -0.086835 | 44.5191
29 | 0.061881 | 0.015587 | -0.061758 | -0.015508 | 0.00012337 | 7.8473e-05 | 0.093101 | 0.093101 | 0.093101 | 0.98933 | -0.20449 | 0.98718 | -0.24627 | 25.5773
30 | 0.072851 | 0.018323 | -0.072757 | -0.018263 | 9.3948e-05 | 5.9859e-05 | 0.1096 | 0.1096 | 0.1096 | 0.98933 | -0.20449 | 0.98794 | -0.23152 | 30.1086
31 | 0.0030756 | 0.00077019 | -0.0030753 | -0.0007705 | 3.3159e-07 | -3.1537e-07 | 0.0046322 | 0.0046324 | 0.0046324 | 0.98794 | -0.23152 | 0.98782 | -0.23379 | 1.2726
32 | 0.069681 | 0.017493 | -0.069622 | -0.017455 | 5.9529e-05 | 3.7914e-05 | 0.10496 | 0.10496 | 0.10496 | 0.98794 | -0.23152 | 0.98702 | -0.24945 | 28.836
33 | 0.0030753 | 0.0007705 | -0.0030751 | -0.00077069 | 1.9932e-07 | -1.8949e-07 | 0.0046324 | 0.0046325 | 0.0046325 | 0.98782 | -0.23379 | 0.98775 | -0.23515 | 1.2727
34 | 0.016542 | 0.004152 | -0.016538 | -0.0041495 | 4.2743e-06 | 2.5014e-06 | 0.024941 | 0.024941 | 0.024941 | 0.98702 | -0.24945 | 0.98674 | -0.25487 | 6.8518
35 | 0.013503 | 0.0033861 | -0.013498 | -0.0033829 | 5.7981e-06 | 3.245e-06 | 0.020475 | 0.020475 | 0.020475 | 0.98138 | -0.35892 | 0.98092 | -0.36793 | 5.6251
36 | -0.0055839 | -0.0013994 | 0.0055841 | 0.0013994 | 1.5913e-07 | 2.5975e-08 | 0.0084366 | 0.0084366 | 0.0084366 | 0.98487 | -0.29128 | 0.9849 | -0.29068 | 2.3178
37 | 0.0055839 | 0.0013994 | -0.0055834 | -0.0013993 | 4.991e-07 | 8.1501e-08 | 0.0084366 | 0.0084367 | 0.0084367 | 0.98487 | -0.29128 | 0.98477 | -0.29315 | 2.3178
38 | -0.015526 | -0.0038911 | 0.01553 | 0.0038933 | 3.9599e-06 | 2.29e-06 | 0.023457 | 0.023457 | 0.023457 | 0.9849 | -0.29068 | 0.98517 | -0.28533 | 6.4442
39 | 0.047532 | 0.011943 | -0.047477 | -0.011908 | 5.5391e-05 | 3.5083e-05 | 0.071658 | 0.071658 | 0.071658 | 0.98718 | -0.24627 | 0.98592 | -0.27071 | 19.6862
40 | 0.03909 | 0.0098163 | -0.039064 | -0.0097998 | 2.6109e-05 | 1.6457e-05 | 0.059124 | 0.059124 | 0.059124 | 0.98392 | -0.30919 | 0.9832 | -0.3232 | 16.2428
41 | 0.016538 | 0.0041495 | -0.016525 | -0.004142 | 1.2813e-05 | 7.499e-06 | 0.024941 | 0.024941 | 0.024941 | 0.98674 | -0.25487 | 0.9859 | -0.27113 | 6.8519
42 | 0.016525 | 0.004142 | -0.016523 | -0.0041411 | 1.3878e-06 | 8.1231e-07 | 0.024941 | 0.024941 | 0.024941 | 0.9859 | -0.27113 | 0.98581 | -0.27289 | 6.8519
43 | 0.098614 | 0.024929 | -0.098523 | -0.024871 | 9.0799e-05 | 5.797e-05 | 0.14832 | 0.14832 | 0.14832 | 0.98983 | -0.19465 | 0.98884 | -0.21387 | 40.748
44 | 0.018544 | 0.0046513 | -0.018536 | -0.0046466 | 7.8457e-06 | 4.6754e-06 | 0.027879 | 0.027879 | 0.027879 | 0.98983 | -0.19465 | 0.98937 | -0.20353 | 7.6591
45 | -0.34357 | -0.087102 | 0.34409 | 0.087436 | 0.00052308 | 0.00033415 | 0.51393 | 0.51393 | 0.51393 | 0.99544 | -0.086835 | 0.9971 | -0.05521 | 47.0635
46 | -0.0081122 | -0.0020333 | 0.0081154 | 0.0020347 | 3.1635e-06 | 1.3171e-06 | 0.012288 | 0.012288 | 0.012288 | 0.98232 | -0.34046 | 0.98274 | -0.33228 | 3.3759
47 | 0.0081122 | 0.0020333 | -0.0081108 | -0.0020328 | 1.4222e-06 | 5.9231e-07 | 0.012288 | 0.012289 | 0.012289 | 0.98232 | -0.34046 | 0.98214 | -0.34414 | 3.376
48 | -0.013363 | -0.0033498 | 0.013365 | 0.0033509 | 1.9643e-06 | 1.095e-06 | 0.020234 | 0.020234 | 0.020234 | 0.98274 | -0.33228 | 0.9829 | -0.32919 | 5.5587
49 | 0.0019694 | 0.00049346 | -0.0019694 | -0.00049357 | 3.2644e-08 | -1.063e-07 | 0.0029633 | 0.0029633 | 0.0029633 | 0.98892 | -0.21209 | 0.98891 | -0.21243 | 0.8141
50 | -0.089847 | -0.022795 | 0.08985 | 0.022797 | 3.2259e-06 | 2.0584e-06 | 0.13448 | 0.13448 | 0.13448 | 0.99488 | -0.097538 | 0.99492 | -0.096792 | 36.9451
51 | -0.077366 | -0.019499 | 0.077477 | 0.01957 | 0.00011071 | 7.058e-05 | 0.11674 | 0.11674 | 0.11674 | 0.98647 | -0.25971 | 0.98801 | -0.22985 | 32.0716
52 | 0.018595 | 0.004663 | -0.018591 | -0.0046607 | 3.8564e-06 | 2.3035e-06 | 0.028145 | 0.028145 | 0.028145 | 0.98312 | -0.32484 | 0.9829 | -0.32919 | 7.7322
53 | -0.0068928 | -0.0017275 | 0.0068939 | 0.0017279 | 1.1584e-06 | 3.849e-07 | 0.010458 | 0.010458 | 0.010458 | 0.98074 | -0.37146 | 0.98092 | -0.36793 | 2.8731
54 | -0.026721 | -0.0066982 | 0.026733 | 0.0067055 | 1.1842e-05 | 7.3321e-06 | 0.04036 | 0.04036 | 0.04036 | 0.98517 | -0.28533 | 0.98565 | -0.27603 | 11.088
55 | 0.036196 | 0.0090807 | -0.036187 | -0.0090749 | 9.1696e-06 | 5.7641e-06 | 0.054633 | 0.054633 | 0.054633 | 0.98592 | -0.27071 | 0.98565 | -0.27603 | 15.009
56 | 0.034226 | 0.0085874 | -0.03421 | -0.0085772 | 1.6192e-05 | 1.0159e-05 | 0.051803 | 0.051803 | 0.051803 | 0.9832 | -0.3232 | 0.9827 | -0.33313 | 14.2315
57 | 0.088098 | 0.022258 | -0.08803 | -0.022215 | 6.7393e-05 | 4.3e-05 | 0.13263 | 0.13263 | 0.13263 | 0.98884 | -0.21387 | 0.98801 | -0.22985 | 36.438
58 | 0.011385 | 0.0028542 | -0.011381 | -0.0028524 | 3.488e-06 | 1.825e-06 | 0.017123 | 0.017123 | 0.017123 | 0.98937 | -0.20353 | 0.98904 | -0.20997 | 4.7041
59 | -0.35152 | -0.089298 | 0.35246 | 0.089897 | 0.00093694 | 0.00059858 | 0.52502 | 0.52502 | 0.52502 | 0.9971 | -0.05521 | 1 | 0 | 48.0787
60 | -0.0017603 | -0.00044118 | 0.0017603 | 0.0004411 | 1.9263e-08 | -7.8972e-08 | 0.0026677 | 0.0026677 | 0.0026677 | 0.9819 | -0.34881 | 0.98191 | -0.34858 | 0.73288
61 | -0.003547 | -0.00088887 | 0.003547 | 0.00088885 | 4.1296e-08 | -2.1782e-08 | 0.0053752 | 0.0053752 | 0.0053752 | 0.98191 | -0.34858 | 0.98192 | -0.34834 | 1.4767
62 | -0.004922 | -0.0012335 | 0.0049223 | 0.0012335 | 3.4569e-07 | 1.163e-08 | 0.0074588 | 0.0074587 | 0.0074588 | 0.98192 | -0.34834 | 0.982 | -0.34686 | 2.0491
63 | -0.0063704 | -0.0015964 | 0.0063707 | 0.0015965 | 2.1763e-07 | 6.0487e-08 | 0.009653 | 0.009653 | 0.009653 | 0.982 | -0.34686 | 0.98203 | -0.34614 | 2.6519
64 | -0.0084831 | -0.0021259 | 0.0084837 | 0.0021261 | 5.886e-07 | 2.565e-07 | 0.012854 | 0.012854 | 0.012854 | 0.98203 | -0.34614 | 0.98211 | -0.34469 | 3.5313
65 | -0.0098367 | -0.0024652 | 0.0098373 | 0.0024655 | 5.3763e-07 | 2.6241e-07 | 0.014904 | 0.014904 | 0.014904 | 0.98211 | -0.34469 | 0.98216 | -0.34354 | 4.0945
66 | -0.016459 | -0.0041251 | 0.01646 | 0.0041255 | 7.182e-07 | 4.2067e-07 | 0.024936 | 0.024936 | 0.024936 | 0.98216 | -0.34354 | 0.98221 | -0.34263 | 6.8506
67 | -0.01646 | -0.0041255 | 0.016463 | 0.0041277 | 3.7431e-06 | 2.1924e-06 | 0.024936 | 0.024936 | 0.024936 | 0.98221 | -0.34263 | 0.98246 | -0.33785 | 6.8505
68 | -0.022824 | -0.0057217 | 0.022829 | 0.0057248 | 5.1388e-06 | 3.1436e-06 | 0.034569 | 0.034569 | 0.034569 | 0.98246 | -0.33785 | 0.9827 | -0.33313 | 9.4969
69 | -0.10041 | -0.025511 | 0.10069 | 0.025692 | 0.00028213 | 0.00018013 | 0.14999 | 0.14999 | 0.14999 | 0.99694 | -0.058184 | 1 | 0 | 41.2072
70 | 0.094365 | 0.023996 | -0.09419 | -0.023884 | 0.00017516 | 0.0001118 | 0.14097 | 0.14097 | 0.14097 | 0.99694 | -0.058184 | 0.99492 | -0.096792 | 38.728

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.46178 | 0.11734

## res_load
| p_mw | q_mvar
0 | 0.0032263 | 0.00080859
1 | 0.0019501 | 0.00048875
2 | 0.0091567 | 0.0022949
3 | 0.0011273 | 0.00028253
4 | 0.003475 | 0.00087093
5 | 0.014063 | 0.0035246
6 | 0.0068798 | 0.0017243
7 | 0.0066705 | 0.0016718
8 | 0.0052336 | 0.0013117
9 | 0.0043908 | 0.0011004
10 | 0.018992 | 0.0047599
11 | 0.05308 | 0.013303
12 | 0.0030751 | 0.00077069
13 | 0.0064051 | 0.0016053
14 | 0.0099416 | 0.0024916
15 | 0.0055834 | 0.0013993
16 | 0.014226 | 0.0035654
17 | 0.0094771 | 0.0023752
18 | 0.052463 | 0.013149
19 | 0.018587 | 0.0046584
20 | 0.0052476 | 0.0013152
21 | 0.0081108 | 0.0020328
22 | 0.016523 | 0.0041411
23 | 0.0056423 | 0.0014141
24 | 0.0066205 | 0.0016593
25 | 0.0055477 | 0.0013904
26 | 0.0032435 | 0.00081291
27 | 0.0068928 | 0.0017275
28 | 0.0066036 | 0.001655
29 | 0.011192 | 0.0028049
30 | 0.01128 | 0.0028271
31 | 0.0048376 | 0.0012124
32 | 0.010425 | 0.0026129
33 | 0.0071517 | 0.0017924
34 | 0.0074291 | 0.0018619
35 | 0.0052259 | 0.0013097
36 | 0.0019694 | 0.00049357
37 | 0.0017603 | 0.00044118
38 | 0.0017866 | 0.00044777
39 | 0.001375 | 0.0003446
40 | 0.0014481 | 0.00036293
41 | 0.0021125 | 0.00052943
42 | 0.001353 | 0.0003391
43 | 0.0066217 | 0.0016596
44 | 0.0063601 | 0.001594
45 | 0.011381 | 0.0028524
46 | 0.0094539 | 0.0023694
47 | 0.010553 | 0.0026448
48 | 0.0060463 | 0.0015153
49 | 0.006978 | 0.0017489
50 | 0.0043391 | 0.0010875
51 | 0.011381 | 0.0028524

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1