## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-45_1_5_node_56 | 0.4 | n |  | TRUE
1 | bus_LV_261-45_1_5_node_57 | 0.4 | n |  | TRUE
2 | bus_LV_261-45_1_5_node_123 | 0.4 | n |  | TRUE
3 | bus_LV_261-45_1_5_node_65 | 0.4 | n |  | TRUE
4 | bus_LV_261-45_1_5_node_81 | 0.4 | n |  | TRUE
5 | bus_LV_261-45_1_5_node_94 | 0.4 | n |  | TRUE
6 | bus_LV_261-45_1_5_node_63 | 0.4 | n |  | TRUE
7 | bus_LV_261-45_1_5_node_64 | 0.4 | n |  | TRUE
8 | bus_LV_261-45_1_5_node_85 | 0.4 | n |  | TRUE
9 | bus_LV_261-45_1_5_node_86 | 0.4 | n |  | TRUE
10 | bus_LV_261-45_1_5_node_87 | 0.4 | n |  | TRUE
11 | bus_LV_261-45_1_5_node_88 | 0.4 | n |  | TRUE
12 | bus_LV_261-45_1_5_node_89 | 0.4 | n |  | TRUE
13 | bus_LV_261-45_1_5_node_90 | 0.4 | n |  | TRUE
14 | bus_LV_261-45_1_5_node_114 | 0.4 | n |  | TRUE
15 | bus_LV_261-45_1_5_node_112 | 0.4 | n |  | TRUE
16 | bus_LV_261-45_1_5_node_95 | 0.4 | n |  | TRUE
17 | bus_LV_261-45_1_5_node_91 | 0.4 | n |  | TRUE
18 | bus_LV_261-45_1_5_node_106 | 0.4 | n |  | TRUE
19 | bus_LV_261-45_1_5_node_103 | 0.4 | n |  | TRUE
20 | bus_LV_261-45_1_5_node_92 | 0.4 | n |  | TRUE
21 | bus_LV_261-45_1_5_node_93 | 0.4 | n |  | TRUE
22 | bus_LV_261-45_1_5_node_97 | 0.4 | n |  | TRUE
23 | bus_LV_261-45_1_5_node_101 | 0.4 | n |  | TRUE
24 | bus_LV_261-45_1_5_node_96 | 0.4 | n |  | TRUE
25 | bus_LV_261-45_1_5_node_99 | 0.4 | n |  | TRUE
26 | bus_LV_261-45_1_5_node_100 | 0.4 | n |  | TRUE
27 | bus_LV_261-45_1_5_node_121 | 0.4 | n |  | TRUE
28 | bus_LV_261-45_1_5_node_102 | 0.4 | n |  | TRUE
29 | bus_LV_261-45_1_5_node_104 | 0.4 | n |  | TRUE
30 | bus_LV_261-45_1_5_node_105 | 0.4 | n |  | TRUE
31 | bus_LV_261-45_1_5_node_107 | 0.4 | n |  | TRUE
32 | bus_LV_261-45_1_5_node_117 | 0.4 | n |  | TRUE
33 | bus_LV_261-45_1_5_node_108 | 0.4 | n |  | TRUE
34 | bus_LV_261-45_1_5_node_109 | 0.4 | n |  | TRUE
35 | bus_LV_261-45_1_5_node_110 | 0.4 | n |  | TRUE
36 | bus_LV_261-45_1_5_node_111 | 0.4 | n |  | TRUE
37 | bus_LV_261-45_1_5_node_113 | 0.4 | n |  | TRUE
38 | bus_LV_261-45_1_5_node_115 | 0.4 | n |  | TRUE
39 | bus_LV_261-45_1_5_node_116 | 0.4 | n |  | TRUE
40 | bus_LV_261-45_1_5_node_122 | 0.4 | n |  | TRUE
41 | bus_MV_359_0_node_166 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-45_1_5_load_56 | 0 | 0.0018345 | 0.00045977 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-45_1_5_load_123 | 2 | 0.0018113 | 0.00045396 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-45_1_5_load_65 | 3 | 0.0018867 | 0.00047285 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-45_1_5_load_81 | 4 | 0.012455 | 0.0031215 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-45_1_5_load_94 | 5 | 0.0050355 | 0.001262 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-45_1_5_load_63 | 6 | 0.0049597 | 0.001243 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-45_1_5_load_64 | 7 | 0.0074602 | 0.0018697 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-45_1_5_load_85 | 8 | 0.012536 | 0.0031419 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-45_1_5_load_86 | 9 | 0.01241 | 0.0031103 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-45_1_5_load_88 | 11 | 0.0067355 | 0.0016881 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-45_1_5_load_114 | 14 | 0.0072831 | 0.0018253 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-45_1_5_load_112 | 15 | 0.013529 | 0.0033906 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-45_1_5_load_95 | 16 | 0.0069469 | 0.0017411 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-45_1_5_load_92 | 20 | 0.025127 | 0.0062975 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-45_1_5_load_93 | 21 | 0.0032719 | 0.00082002 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-45_1_5_load_101 | 23 | 0.0070296 | 0.0017618 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-45_1_5_load_96 | 24 | 0.0035848 | 0.00089843 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-45_1_5_load_99 | 25 | 0.0053709 | 0.0013461 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-45_1_5_load_100 | 26 | 0.0018699 | 0.00046863 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-45_1_5_load_121 | 27 | 0.0018095 | 0.00045351 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-45_1_5_load_102 | 28 | 0.005525 | 0.0013847 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-45_1_5_load_104 | 29 | 0.0037105 | 0.00092995 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-45_1_5_load_117 | 32 | 0.005516 | 0.0013824 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-45_1_5_load_108 | 33 | 0.0018683 | 0.00046824 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-45_1_5_load_109 | 34 | 0.001811 | 0.00045389 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-45_1_5_load_110 | 35 | 0.0018108 | 0.00045383 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-45_1_5_load_111 | 36 | 0.0018694 | 0.00046852 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-45_1_5_load_113 | 37 | 0.0070977 | 0.0017788 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-45_1_5_load_115 | 38 | 0.01773 | 0.0044437 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-45_1_5_load_116 | 39 | 0.0036091 | 0.00090452 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-45_1_5_load_122 | 40 | 0.0018689 | 0.0004684 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-45_1_5_line_0 |  | 0 | 1 | 0.10833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_261-45_1_5_line_1 |  | 0 | 2 | 0.11152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_261-45_1_5_line_2 |  | 1 | 3 | 0.079639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-45_1_5_line_3 |  | 1 | 4 | 0.096582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-45_1_5_line_4 |  | 1 | 5 | 0.10084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_261-45_1_5_line_5 |  | 2 | 36 | 0.019968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-45_1_5_line_6 |  | 2 | 40 | 0.0071393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_261-45_1_5_line_7 |  | 3 | 6 | 0.011569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-45_1_5_line_8 |  | 5 | 20 | 0.060009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-45_1_5_line_9 |  | 6 | 7 | 0.00031464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-45_1_5_line_10 |  | 8 | 9 | 0.029915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-45_1_5_line_11 |  | 8 | 10 | 0.02863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-45_1_5_line_12 |  | 10 | 11 | 0.00081811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-45_1_5_line_13 |  | 10 | 12 | 0.0087283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-45_1_5_line_14 |  | 11 | 13 | 0.0084513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-45_1_5_line_15 |  | 12 | 14 | 0.024074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-45_1_5_line_16 |  | 12 | 15 | 0.0082257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-45_1_5_line_17 |  | 13 | 16 | 0.062791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_261-45_1_5_line_18 |  | 14 | 38 | 0.029363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-45_1_5_line_19 |  | 15 | 37 | 0.032036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-45_1_5_line_20 |  | 16 | 23 | 0.037651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_261-45_1_5_line_21 |  | 17 | 18 | 0.00351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-45_1_5_line_22 |  | 17 | 19 | 0.004326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-45_1_5_line_23 |  | 18 | 32 | 0.024775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-45_1_5_line_24 |  | 19 | 25 | 0.047617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_261-45_1_5_line_25 |  | 19 | 28 | 0.017359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_261-45_1_5_line_26 |  | 21 | 22 | 0.038496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-45_1_5_line_27 |  | 22 | 25 | 0.014912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_261-45_1_5_line_28 |  | 22 | 26 | 0.012465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_261-45_1_5_line_29 |  | 22 | 24 | 0.03301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-45_1_5_line_30 |  | 23 | 28 | 0.030307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_261-45_1_5_line_31 |  | 26 | 27 | 0.0049115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_261-45_1_5_line_32 |  | 27 | 40 | 0.019159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_261-45_1_5_line_33 |  | 29 | 30 | 0.017655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-45_1_5_line_34 |  | 30 | 31 | 0.003876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-45_1_5_line_35 |  | 31 | 32 | 0.022891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-45_1_5_line_36 |  | 33 | 34 | 0.021626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-45_1_5_line_37 |  | 33 | 35 | 0.0070037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-45_1_5_line_38 |  | 34 | 36 | 0.0071739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-45_1_5_line_39 |  | 38 | 39 | 0.00014419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-45_1_5_trafo_94 | 0.63 MVA 20/0.4 kV | 41 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2683047.6626 | 1243111.506 | 2683004.9884 | 1243152.2385 | 2682979.3494 | 1243180.7784 | 2682971.1207 | 1243188.0348
1 | 2683048.5894 | 1243268.2605 | 2682971.1207 | 1243188.0348
2 | 2683047.6626 | 1243111.506 | 2683000.7584 | 1243119.6113 | 2682996.968 | 1243118.224 | 2682979.9162 | 1243104.609 | 2682976.3221 | 1243105.4038 | 2682974.3191 | 1243103.9043
3 | 2683047.6626 | 1243111.506 | 2683067.3115 | 1243089.1759 | 2683072.3865 | 1243077.1049 | 2683075.4498 | 1243067.7966 | 2683078.8884 | 1243061.3845 | 2683083.7971 | 1243054.704 | 2683103.6367 | 1243034.4128
4 | 2683106.4048 | 1243193.4654 | 2683047.6626 | 1243111.506
5 | 2683048.5894 | 1243268.2605 | 2683052.475 | 1243263.9171 | 2683062.2029 | 1243253.6555
6 | 2683048.5894 | 1243268.2605 | 2683043.8293 | 1243273.5814
7 | 2682965.0578 | 1243096.9713 | 2682974.3191 | 1243103.9043
8 | 2683106.4048 | 1243193.4654 | 2683116.4959 | 1243134.3111
9 | 2682965.0578 | 1243096.9713 | 2682964.8059 | 1243096.7827
10 | 2683182.4258 | 1243189.0496 | 2683198.1837 | 1243172.6251 | 2683203.1126 | 1243167.441
11 | 2683162.6049 | 1243209.7089 | 2683182.4258 | 1243189.0496
12 | 2683162.0389 | 1243210.2996 | 2683162.6049 | 1243209.7089
13 | 2683162.6049 | 1243209.7089 | 2683165.7371 | 1243212.7439 | 2683168.8769 | 1243215.779
14 | 2683156.1918 | 1243216.4017 | 2683162.0389 | 1243210.2996
15 | 2683168.8769 | 1243215.779 | 2683185.3074 | 1243198.1836
16 | 2683168.8769 | 1243215.779 | 2683163.1656 | 1243221.6986
17 | 2683156.1918 | 1243216.4017 | 2683137.9495 | 1243235.4488 | 2683137.3018 | 1243239.5983 | 2683128.0158 | 1243250.6429 | 2683120.5198 | 1243260.7118 | 2683117.6451 | 1243265.0874
18 | 2683205.452 | 1243176.8201 | 2683203.3706 | 1243178.9913 | 2683186.3511 | 1243197.0659 | 2683185.3074 | 1243198.1836
19 | 2683163.1656 | 1243221.6986 | 2683156.7576 | 1243228.3405 | 2683147.4233 | 1243237.9722 | 2683141.282 | 1243245.0809
20 | 2683117.6451 | 1243265.0874 | 2683114.5262 | 1243269.8345 | 2683100.1492 | 1243294.6511 | 2683097.4841 | 1243296.5819 | 2683097.4841 | 1243296.5819
21 | 2683082.6898 | 1243342.0188 | 2683079.4669 | 1243340.606
22 | 2683075.4925 | 1243338.8713 | 2683079.4669 | 1243340.606
23 | 2683082.6898 | 1243342.0188 | 2683071.0217 | 1243363.8745
24 | 2683075.4925 | 1243338.8713 | 2683064.3657 | 1243332.9557 | 2683052.2336 | 1243326.4924 | 2683035.0488 | 1243313.9602
25 | 2683075.4925 | 1243338.8713 | 2683083.5014 | 1243323.4704
26 | 2683024.2981 | 1243304.2187 | 2682986.8954 | 1243295.1097
27 | 2683024.2981 | 1243304.2187 | 2683027.1594 | 1243306.0934 | 2683028.4021 | 1243309.113 | 2683035.0488 | 1243313.9602
28 | 2683024.2981 | 1243304.2187 | 2683029.7477 | 1243293.0077
29 | 2683024.2981 | 1243304.2187 | 2683021.9789 | 1243307.9 | 2683017.1654 | 1243317.5174 | 2683006.0625 | 1243331.5628
30 | 2683097.4841 | 1243296.5819 | 2683083.5014 | 1243323.4704
31 | 2683032.1935 | 1243288.7668 | 2683030.9604 | 1243290.5131 | 2683029.7477 | 1243293.0077
32 | 2683032.1935 | 1243288.7668 | 2683039.4973 | 1243278.4238 | 2683043.8293 | 1243273.5814
33 | 2683056.7499 | 1243382.3627 | 2683065.1868 | 1243366.8546
34 | 2683060.2408 | 1243384.0684 | 2683056.7499 | 1243382.3627
35 | 2683060.2408 | 1243384.0684 | 2683071.0217 | 1243363.8745
36 | 2683080.7522 | 1243231.6851 | 2683072.0009 | 1243243.3199 | 2683067.1384 | 1243248.4492
37 | 2683080.7522 | 1243231.6851 | 2683084.9622 | 1243226.088
38 | 2683067.1384 | 1243248.4492 | 2683062.2029 | 1243253.6555
39 | 2683205.5518 | 1243176.716 | 2683205.452 | 1243176.8201

## bus_geodata
| x | y | coords
0 | 2682971.1207 | 1243188.0348
1 | 2683047.6626 | 1243111.506
2 | 2683048.5894 | 1243268.2605
3 | 2682974.3191 | 1243103.9043
4 | 2683103.6367 | 1243034.4128
5 | 2683106.4048 | 1243193.4654
6 | 2682965.0578 | 1243096.9713
7 | 2682964.8059 | 1243096.7827
8 | 2683182.4258 | 1243189.0496
9 | 2683203.1126 | 1243167.441
10 | 2683162.6049 | 1243209.7089
11 | 2683162.0389 | 1243210.2996
12 | 2683168.8769 | 1243215.779
13 | 2683156.1918 | 1243216.4017
14 | 2683185.3074 | 1243198.1836
15 | 2683163.1656 | 1243221.6986
16 | 2683117.6451 | 1243265.0874
17 | 2683079.4669 | 1243340.606
18 | 2683082.6898 | 1243342.0188
19 | 2683075.4925 | 1243338.8713
20 | 2683116.4959 | 1243134.3111
21 | 2682986.8954 | 1243295.1097
22 | 2683024.2981 | 1243304.2187
23 | 2683097.4841 | 1243296.5819
24 | 2683006.0625 | 1243331.5628
25 | 2683035.0488 | 1243313.9602
26 | 2683029.7477 | 1243293.0077
27 | 2683032.1935 | 1243288.7668
28 | 2683083.5014 | 1243323.4704
29 | 2683065.1868 | 1243366.8546
30 | 2683056.7499 | 1243382.3627
31 | 2683060.2408 | 1243384.0684
32 | 2683071.0217 | 1243363.8745
33 | 2683080.7522 | 1243231.6851
34 | 2683067.1384 | 1243248.4492
35 | 2683084.9622 | 1243226.088
36 | 2683062.2029 | 1243253.6555
37 | 2683141.282 | 1243245.0809
38 | 2683205.452 | 1243176.8201
39 | 2683205.5518 | 1243176.716
40 | 2683043.8293 | 1243273.5814
41 | 2683156.1918 | 1243216.4017

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99022 | -0.1858 | 0.0018345 | 0.00045977
1 | 0.99486 | -0.097322 | 0 | 0
2 | 0.98551 | -0.27653 | 0.0018113 | 0.00045396
3 | 0.99382 | -0.11741 | 0.0018867 | 0.00047285
4 | 0.99376 | -0.11853 | 0.012455 | 0.0031215
5 | 1 | 0 | -0.19498 | -0.04959
6 | 0.99369 | -0.11995 | 0.0049597 | 0.001243
7 | 0.99369 | -0.11999 | 0.0074602 | 0.0018697
8 | 0.9755 | -0.4718 | 0.012536 | 0.0031419
9 | 0.97515 | -0.4786 | 0.01241 | 0.0031103
10 | 0.97616 | -0.45873 | 0 | 0
11 | 0.97622 | -0.45762 | 0.0067355 | 0.0016881
12 | 0.97576 | -0.46659 | 0 | 0
13 | 0.97686 | -0.44512 | 0 | 0
14 | 0.97512 | -0.47922 | 0.0072831 | 0.0018253
15 | 0.97561 | -0.4697 | 0.013529 | 0.0033906
16 | 0.97922 | -0.39881 | 0.0069469 | 0.0017411
17 | 0.98164 | -0.35161 | 0 | 0
18 | 0.98161 | -0.3522 | 0 | 0
19 | 0.98168 | -0.35089 | 0 | 0
20 | 0.99863 | -0.026318 | 0.025127 | 0.0062975
21 | 0.98371 | -0.31142 | 0.0032719 | 0.00082002
22 | 0.98382 | -0.30915 | 0 | 0
23 | 0.98024 | -0.37878 | 0.0070296 | 0.0017618
24 | 0.98371 | -0.31128 | 0.0035848 | 0.00089843
25 | 0.98329 | -0.31945 | 0.0053709 | 0.0013461
26 | 0.98429 | -0.30003 | 0.0018699 | 0.00046863
27 | 0.98448 | -0.29639 | 0.0018095 | 0.00045351
28 | 0.98114 | -0.36141 | 0.005525 | 0.0013847
29 | 0.98125 | -0.35932 | 0.0037105 | 0.00092995
30 | 0.98131 | -0.35813 | 0 | 0
31 | 0.98132 | -0.35787 | 0 | 0
32 | 0.9814 | -0.35633 | 0.005516 | 0.0013824
33 | 0.98526 | -0.2813 | 0.0018683 | 0.00046824
34 | 0.98534 | -0.27987 | 0.001811 | 0.00045389
35 | 0.98525 | -0.28153 | 0.0018108 | 0.00045383
36 | 0.98537 | -0.27917 | 0.0018694 | 0.00046852
37 | 0.9754 | -0.47387 | 0.0070977 | 0.0017788
38 | 0.97454 | -0.49071 | 0.01773 | 0.0044437
39 | 0.97454 | -0.49072 | 0.0036091 | 0.00090452
40 | 0.98523 | -0.28197 | 0.0018689 | 0.0004684
41 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.13999 | -0.035667 | 0.14059 | 0.036047 | 0.00060039 | 0.00038005 | 0.21057 | 0.21056 | 0.21057 | 0.99022 | -0.1858 | 0.99486 | -0.097322 | 19.2826
1 | 0.13815 | 0.035208 | -0.13755 | -0.034827 | 0.00060202 | 0.00038101 | 0.20781 | 0.20781 | 0.20781 | 0.99022 | -0.1858 | 0.98551 | -0.27653 | 19.0303
2 | 0.014322 | 0.0035941 | -0.014308 | -0.0035864 | 1.3706e-05 | 7.7391e-06 | 0.021423 | 0.021423 | 0.021423 | 0.99486 | -0.097322 | 0.99382 | -0.11741 | 5.8855
3 | 0.012467 | 0.0031283 | -0.012455 | -0.0031215 | 1.2596e-05 | 6.809e-06 | 0.018649 | 0.018649 | 0.018649 | 0.99486 | -0.097322 | 0.99376 | -0.11853 | 5.1234
4 | -0.16737 | -0.04277 | 0.16817 | 0.043273 | 0.0007918 | 0.0005028 | 0.25064 | 0.25063 | 0.25064 | 0.99486 | -0.097322 | 1 | 0 | 22.952
5 | 0.007361 | 0.0018447 | -0.00736 | -0.0018443 | 9.2495e-07 | 3.3758e-07 | 0.011114 | 0.011114 | 0.011114 | 0.98551 | -0.27653 | 0.98537 | -0.27917 | 3.0534
6 | 0.12838 | 0.032528 | -0.12834 | -0.032507 | 3.3574e-05 | 2.1214e-05 | 0.19396 | 0.19396 | 0.19396 | 0.98551 | -0.27653 | 0.98523 | -0.28197 | 17.7621
7 | 0.012421 | 0.0031136 | -0.01242 | -0.0031127 | 1.5006e-06 | 8.1053e-07 | 0.018598 | 0.018599 | 0.018599 | 0.99382 | -0.11741 | 0.99369 | -0.11995 | 5.1095
8 | 0.025159 | 0.0063169 | -0.025127 | -0.0062975 | 3.1546e-05 | 1.9403e-05 | 0.037441 | 0.037441 | 0.037441 | 1 | 0 | 0.99863 | -0.026318 | 10.286
9 | 0.0074602 | 0.0018697 | -0.0074602 | -0.0018697 | 1.4726e-08 | 5.3488e-09 | 0.011171 | 0.011171 | 0.011171 | 0.99369 | -0.11995 | 0.99369 | -0.11999 | 3.0691
10 | 0.012414 | 0.0031125 | -0.01241 | -0.0031103 | 4.0229e-06 | 2.2013e-06 | 0.018937 | 0.018937 | 0.018937 | 0.9755 | -0.4718 | 0.97515 | -0.4786 | 5.2025
11 | -0.024951 | -0.0062544 | 0.024966 | 0.006264 | 1.5552e-05 | 9.5955e-06 | 0.03806 | 0.03806 | 0.03806 | 0.9755 | -0.4718 | 0.97616 | -0.45873 | 10.456
12 | -0.074267 | -0.018639 | 0.074271 | 0.018641 | 3.9326e-06 | 2.5066e-06 | 0.11322 | 0.11322 | 0.11322 | 0.97616 | -0.45873 | 0.97622 | -0.45762 | 31.1039
13 | 0.049301 | 0.012375 | -0.049283 | -0.012363 | 1.8489e-05 | 1.1724e-05 | 0.075159 | 0.075159 | 0.075159 | 0.97616 | -0.45873 | 0.97576 | -0.46659 | 20.648
14 | -0.081006 | -0.020329 | 0.081055 | 0.02036 | 4.8326e-05 | 3.0823e-05 | 0.12349 | 0.12348 | 0.12349 | 0.97622 | -0.45762 | 0.97686 | -0.44512 | 33.9245
15 | 0.028652 | 0.0071914 | -0.028634 | -0.0071806 | 1.7238e-05 | 1.0732e-05 | 0.043697 | 0.043697 | 0.043697 | 0.97576 | -0.46659 | 0.97512 | -0.47922 | 12.0046
16 | 0.020631 | 0.0051718 | -0.020628 | -0.00517 | 3.0534e-06 | 1.8514e-06 | 0.031462 | 0.031462 | 0.031462 | 0.97576 | -0.46659 | 0.97561 | -0.4697 | 8.6435
17 | -0.081055 | -0.02036 | 0.081234 | 0.020474 | 0.00017953 | 0.00011332 | 0.12348 | 0.12348 | 0.12348 | 0.97686 | -0.44512 | 0.97922 | -0.39881 | 16.9622
18 | 0.021351 | 0.0053553 | -0.021339 | -0.0053482 | 1.169e-05 | 7.1156e-06 | 0.032583 | 0.032583 | 0.032583 | 0.97512 | -0.47922 | 0.97454 | -0.49071 | 8.9514
19 | 0.0070991 | 0.0017793 | -0.0070977 | -0.0017788 | 1.4085e-06 | 5.0148e-07 | 0.010828 | 0.010828 | 0.010828 | 0.97561 | -0.4697 | 0.9754 | -0.47387 | 2.9747
20 | -0.088181 | -0.022215 | 0.088266 | 0.022267 | 8.456e-05 | 5.2696e-05 | 0.13404 | 0.13404 | 0.13404 | 0.97922 | -0.39881 | 0.98024 | -0.37878 | 12.2748
21 | 0.0092291 | 0.0023131 | -0.0092288 | -0.002313 | 2.5762e-07 | 1.205e-07 | 0.01399 | 0.01399 | 0.01399 | 0.98164 | -0.35161 | 0.98161 | -0.3522 | 3.8434
22 | -0.0092291 | -0.0023131 | 0.0092294 | 0.0023133 | 3.175e-07 | 1.4851e-07 | 0.01399 | 0.01399 | 0.01399 | 0.98164 | -0.35161 | 0.98168 | -0.35089 | 3.8434
23 | 0.0092288 | 0.002313 | -0.009227 | -0.0023122 | 1.8184e-06 | 8.5065e-07 | 0.01399 | 0.01399 | 0.01399 | 0.98161 | -0.3522 | 0.9814 | -0.35633 | 3.8434
24 | -0.11018 | -0.027809 | 0.11035 | 0.027913 | 0.00016616 | 0.00010453 | 0.16708 | 0.16708 | 0.16708 | 0.98168 | -0.35089 | 0.98329 | -0.31945 | 15.3003
25 | 0.10095 | 0.025495 | -0.1009 | -0.025463 | 5.0854e-05 | 3.1888e-05 | 0.15309 | 0.15309 | 0.15309 | 0.98168 | -0.35089 | 0.98114 | -0.36141 | 14.0192
26 | -0.0032719 | -0.00082002 | 0.0032723 | 0.00081976 | 3.536e-07 | -2.6247e-07 | 0.0049493 | 0.0049491 | 0.0049493 | 0.98371 | -0.31142 | 0.98382 | -0.30915 | 1.3597
27 | 0.11577 | 0.029295 | -0.11572 | -0.029259 | 5.7222e-05 | 3.6054e-05 | 0.17521 | 0.17521 | 0.17521 | 0.98382 | -0.30915 | 0.98329 | -0.31945 | 16.0446
28 | -0.12263 | -0.031013 | 0.12269 | 0.031047 | 5.3662e-05 | 3.3869e-05 | 0.18558 | 0.18558 | 0.18558 | 0.98382 | -0.30915 | 0.98429 | -0.30003 | 16.9943
29 | 0.0035851 | 0.00089824 | -0.0035848 | -0.00089843 | 3.6397e-07 | -1.8618e-07 | 0.0054224 | 0.0054225 | 0.0054225 | 0.98382 | -0.30915 | 0.98371 | -0.31128 | 1.4897
30 | -0.095295 | -0.024029 | 0.095375 | 0.024079 | 7.9333e-05 | 4.9626e-05 | 0.14471 | 0.14471 | 0.14471 | 0.98024 | -0.37878 | 0.98114 | -0.36141 | 13.2519
31 | -0.12456 | -0.031516 | 0.12458 | 0.03153 | 2.1793e-05 | 1.376e-05 | 0.1884 | 0.1884 | 0.1884 | 0.98429 | -0.30003 | 0.98448 | -0.29639 | 17.2532
32 | -0.12639 | -0.031983 | 0.12647 | 0.032038 | 8.7496e-05 | 5.5266e-05 | 0.19114 | 0.19114 | 0.19114 | 0.98448 | -0.29639 | 0.98523 | -0.28197 | 17.5036
33 | -0.0037105 | -0.00092995 | 0.0037107 | 0.00092986 | 2.0961e-07 | -8.8872e-08 | 0.0056269 | 0.0056268 | 0.0056269 | 0.98125 | -0.35932 | 0.98131 | -0.35813 | 1.5458
34 | -0.0037107 | -0.00092986 | 0.0037108 | 0.00092984 | 4.6018e-08 | -1.9516e-08 | 0.0056268 | 0.0056268 | 0.0056268 | 0.98131 | -0.35813 | 0.98132 | -0.35787 | 1.5458
35 | -0.0037108 | -0.00092984 | 0.0037111 | 0.00092972 | 2.7178e-07 | -1.1529e-07 | 0.0056268 | 0.0056267 | 0.0056268 | 0.98132 | -0.35787 | 0.9814 | -0.35633 | 1.5458
36 | -0.0036791 | -0.00092199 | 0.0036794 | 0.00092188 | 2.5038e-07 | -1.152e-07 | 0.0055565 | 0.0055564 | 0.0055565 | 0.98526 | -0.2813 | 0.98534 | -0.27987 | 1.5265
37 | 0.0018108 | 0.00045376 | -0.0018108 | -0.00045383 | 1.9644e-08 | -7.6622e-08 | 0.0027348 | 0.0027349 | 0.0027349 | 0.98526 | -0.2813 | 0.98525 | -0.28153 | 0.75134
38 | -0.0054904 | -0.0013758 | 0.0054906 | 0.0013758 | 1.8494e-07 | 2.6982e-08 | 0.0082913 | 0.0082913 | 0.0082913 | 0.98534 | -0.27987 | 0.98537 | -0.27917 | 2.2778
39 | 0.0036091 | 0.00090452 | -0.0036091 | -0.00090452 | 1.6426e-09 | -7.4578e-10 | 0.0055107 | 0.0055107 | 0.0055107 | 0.97454 | -0.49071 | 0.97454 | -0.49072 | 1.5139

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.20001 | 0.050852

## res_load
| p_mw | q_mvar
0 | 0.0018345 | 0.00045977
1 | 0.0018113 | 0.00045396
2 | 0.0018867 | 0.00047285
3 | 0.012455 | 0.0031215
4 | 0.0050355 | 0.001262
5 | 0.0049597 | 0.001243
6 | 0.0074602 | 0.0018697
7 | 0.012536 | 0.0031419
8 | 0.01241 | 0.0031103
9 | 0.0067355 | 0.0016881
10 | 0.0072831 | 0.0018253
11 | 0.013529 | 0.0033906
12 | 0.0069469 | 0.0017411
13 | 0.025127 | 0.0062975
14 | 0.0032719 | 0.00082002
15 | 0.0070296 | 0.0017618
16 | 0.0035848 | 0.00089843
17 | 0.0053709 | 0.0013461
18 | 0.0018699 | 0.00046863
19 | 0.0018095 | 0.00045351
20 | 0.005525 | 0.0013847
21 | 0.0037105 | 0.00092995
22 | 0.005516 | 0.0013824
23 | 0.0018683 | 0.00046824
24 | 0.001811 | 0.00045389
25 | 0.0018108 | 0.00045383
26 | 0.0018694 | 0.00046852
27 | 0.0070977 | 0.0017788
28 | 0.01773 | 0.0044437
29 | 0.0036091 | 0.00090452
30 | 0.0018689 | 0.0004684

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1