## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-462_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-462_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-462_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-462_0_4_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_261-462_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_261-462_0_4_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_261-462_0_4_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_261-462_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_261-462_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_261-462_0_4_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_261-462_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_261-462_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_261-462_0_4_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_261-462_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_261-462_0_4_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_261-462_0_4_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_261-462_0_4_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_261-462_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_261-462_0_4_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_261-462_0_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_261-462_0_4_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_261-462_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_261-462_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_261-462_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_261-462_0_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_261-462_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_261-462_0_4_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_261-462_0_4_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_261-462_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_261-462_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_261-462_0_4_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_261-462_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_261-462_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_261-462_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_261-462_0_4_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_261-462_0_4_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_261-462_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_261-462_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_261-462_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_261-462_0_4_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_261-462_0_4_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_261-462_0_4_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_261-462_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_261-462_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_261-462_0_4_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_261-462_0_4_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_261-462_0_4_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_261-462_0_4_node_44 | 0.4 | n |  | TRUE
48 | bus_MV_546_0_node_12 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-462_0_4_load_0 | 0 | 0.019404 | 0.0048632 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-462_0_4_load_2 | 2 | 0.0076315 | 0.0019126 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-462_0_4_load_27 | 6 | 0.060059 | 0.015052 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-462_0_4_load_33 | 9 | 0.024133 | 0.0060484 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-462_0_4_load_29 | 12 | 0.023831 | 0.0059727 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-462_0_4_load_50 | 16 | 0.0091594 | 0.0022956 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-462_0_4_load_51 | 18 | 0.032658 | 0.0081849 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-462_0_4_load_28 | 20 | 0.026704 | 0.0066926 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-462_0_4_load_23 | 24 | 0.019392 | 0.0048601 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-462_0_4_load_25 | 25 | 0.088675 | 0.022224 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-462_0_4_load_46 | 27 | 0.0018549 | 0.00046488 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-462_0_4_load_31 | 28 | 0.021819 | 0.0054684 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-462_0_4_load_35 | 30 | 0.005175 | 0.001297 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-462_0_4_load_26 | 31 | 0.0058529 | 0.0014669 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-462_0_4_load_32 | 32 | 0.040279 | 0.010095 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-462_0_4_load_22 | 33 | 0.01477 | 0.0037018 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-462_0_4_load_48 | 34 | 0.0028185 | 0.00070637 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-462_0_4_load_45 | 35 | 0.0016699 | 0.00041851 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-462_0_4_load_30 | 36 | 0.019722 | 0.0049427 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-462_0_4_load_34 | 37 | 0.01784 | 0.0044712 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-462_0_4_load_36 | 38 | 0.0072993 | 0.0018294 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-462_0_4_load_37 | 39 | 0.0012501 | 0.0003133 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-462_0_4_load_40 | 41 | 0.0010312 | 0.00025845 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-462_0_4_load_41 | 43 | 0.004226 | 0.0010591 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-462_0_4_load_43 | 45 | 0.0011397 | 0.00028563 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-462_0_4_load_49 | 46 | 0.0031004 | 0.00077704 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-462_0_4_load_44 | 47 | 0.0017814 | 0.00044646 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-462_0_4_line_0 |  | 0 | 1 | 0.019632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-462_0_4_line_1 |  | 1 | 2 | 0.035866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-462_0_4_line_2 |  | 2 | 3 | 0.042591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-462_0_4_line_3 |  | 3 | 16 | 0.034258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-462_0_4_line_4 |  | 3 | 17 | 0.025396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-462_0_4_line_5 |  | 4 | 5 | 0.017181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_261-462_0_4_line_6 |  | 4 | 6 | 0.042001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_261-462_0_4_line_7 |  | 5 | 19 | 0.018636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_261-462_0_4_line_8 |  | 5 | 12 | 0.051081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-462_0_4_line_9 |  | 5 | 20 | 0.025089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-462_0_4_line_10 |  | 6 | 10 | 0.030994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-462_0_4_line_11 |  | 7 | 8 | 0.034095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-462_0_4_line_12 |  | 7 | 9 | 0.029111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-462_0_4_line_13 |  | 8 | 12 | 0.034222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-462_0_4_line_14 |  | 9 | 13 | 0.037924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-462_0_4_line_15 |  | 10 | 11 | 0.064956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-462_0_4_line_16 |  | 11 | 16 | 0.043655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-462_0_4_line_17 |  | 13 | 14 | 0.12234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-462_0_4_line_18 |  | 13 | 15 | 0.041139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-462_0_4_line_19 |  | 14 | 28 | 0.0050591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-462_0_4_line_20 |  | 15 | 32 | 0.0090545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-462_0_4_line_21 |  | 17 | 18 | 0.035802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-462_0_4_line_22 |  | 19 | 29 | 0.025074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_261-462_0_4_line_23 |  | 19 | 30 | 0.013576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-462_0_4_line_24 |  | 21 | 22 | 0.075382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-462_0_4_line_25 |  | 21 | 23 | 0.047174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-462_0_4_line_26 |  | 21 | 24 | 0.012803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-462_0_4_line_27 |  | 22 | 26 | 0.028398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-462_0_4_line_28 |  | 22 | 27 | 0.019779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-462_0_4_line_29 |  | 23 | 25 | 0.015679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-462_0_4_line_30 |  | 24 | 33 | 0.038484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-462_0_4_line_31 |  | 25 | 29 | 0.066117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_261-462_0_4_line_32 |  | 26 | 34 | 0.010721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-462_0_4_line_33 |  | 27 | 35 | 0.027124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-462_0_4_line_34 |  | 28 | 36 | 0.014205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-462_0_4_line_35 |  | 29 | 31 | 0.00113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-462_0_4_line_36 |  | 30 | 37 | 0.019162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-462_0_4_line_37 |  | 34 | 46 | 0.021262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-462_0_4_line_38 |  | 35 | 47 | 0.065473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-462_0_4_line_39 |  | 37 | 38 | 8.974e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-462_0_4_line_40 |  | 39 | 40 | 0.023898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-462_0_4_line_41 |  | 40 | 41 | 0.037997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-462_0_4_line_42 |  | 41 | 45 | 0.015265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-462_0_4_line_43 |  | 42 | 43 | 0.014917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-462_0_4_line_44 |  | 42 | 44 | 0.011166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-462_0_4_line_45 |  | 44 | 46 | 0.0097428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-462_0_4_line_46 |  | 45 | 47 | 0.019018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-462_0_4_trafo_27 | 0.63 MVA 20/0.4 kV | 48 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2684395.2875 | 1252510.2613 | 2684393.4172 | 1252509.6342 | 2684376.8306 | 1252503.573
1 | 2684395.2875 | 1252510.2613 | 2684407.7081 | 1252476.6147
2 | 2684422.4576 | 1252436.6595 | 2684407.7081 | 1252476.6147
3 | 2684422.4576 | 1252436.6595 | 2684454.3666 | 1252449.1276
4 | 2684413.1462 | 1252421.1708 | 2684410.9413 | 1252427.5998 | 2684424.0598 | 1252432.268 | 2684422.4576 | 1252436.6595
5 | 2684493.1268 | 1252569.111 | 2684495.1288 | 1252572.6756 | 2684501.4584 | 1252569.141 | 2684504.4052 | 1252574.1868
6 | 2684493.1268 | 1252569.111 | 2684484.9056 | 1252554.4717 | 2684472.5615 | 1252532.4892
7 | 2684504.4052 | 1252574.1868 | 2684516.072 | 1252567.3814 | 2684520.5761 | 1252564.8437
8 | 2684504.4052 | 1252574.1868 | 2684464.4658 | 1252596.423 | 2684459.7792 | 1252599.0416
9 | 2684504.4052 | 1252574.1868 | 2684517.0663 | 1252595.8471
10 | 2684457.386 | 1252505.4647 | 2684472.5615 | 1252532.4892
11 | 2684429.9042 | 1252615.7339 | 2684425.7931 | 1252611.8835 | 2684447.1519 | 1252599.6676 | 2684445.2831 | 1252596.294
12 | 2684445.2831 | 1252596.294 | 2684419.9317 | 1252610.6023
13 | 2684429.9042 | 1252615.7339 | 2684459.7792 | 1252599.0416
14 | 2684386.9049 | 1252629.2427 | 2684419.9317 | 1252610.6023
15 | 2684495.0274 | 1252465.0153 | 2684493.0351 | 1252466.588 | 2684488.7676 | 1252468.9401 | 2684461.7318 | 1252483.8659 | 2684458.3757 | 1252489.5223 | 2684459.3555 | 1252494.907 | 2684463.0995 | 1252501.7433 | 2684457.386 | 1252505.4647
16 | 2684495.0274 | 1252465.0153 | 2684454.3666 | 1252449.1276
17 | 2684319.0602 | 1252700.5862 | 2684309.3223 | 1252683.7905 | 2684307.0393 | 1252679.8217 | 2684344.8936 | 1252657.6548 | 2684349.9837 | 1252654.7584 | 2684359.7603 | 1252649.2379 | 2684357.832 | 1252645.7967 | 2684386.9049 | 1252629.2427
18 | 2684366.494 | 1252593.4917 | 2684385.9552 | 1252627.5723 | 2684386.2129 | 1252628.0208 | 2684386.9049 | 1252629.2427
19 | 2684319.0602 | 1252700.5862 | 2684322.16 | 1252704.5843
20 | 2684366.494 | 1252593.4917 | 2684358.002 | 1252596.6333
21 | 2684413.1462 | 1252421.1708 | 2684379.5814 | 1252408.7119
22 | 2684520.5761 | 1252564.8437 | 2684542.4727 | 1252552.5135
23 | 2684520.5761 | 1252564.8437 | 2684527.4206 | 1252576.5676
24 | 2684553.3577 | 1252450.8922 | 2684566.9406 | 1252455.8009 | 2684596.1892 | 1252466.6821 | 2684621.2951 | 1252475.9142 | 2684621.758 | 1252474.6866 | 2684622.2938 | 1252473.1041
25 | 2684613.7328 | 1252512.3559 | 2684612.1877 | 1252511.6889 | 2684606.9326 | 1252509.7346 | 2684610.1049 | 1252505.3321 | 2684611.3767 | 1252501.8922 | 2684613.9104 | 1252495.1788 | 2684614.5132 | 1252493.6641 | 2684619.436 | 1252480.8469 | 2684621.2951 | 1252475.9142 | 2684621.758 | 1252474.6866 | 2684622.2938 | 1252473.1041
26 | 2684622.2938 | 1252473.1041 | 2684626.5707 | 1252462.1792 | 2684626.0798 | 1252461.2272
27 | 2684553.3577 | 1252450.8922 | 2684551.3837 | 1252450.1301 | 2684526.6454 | 1252441.037
28 | 2684553.3577 | 1252450.8922 | 2684560.0473 | 1252432.2786
29 | 2684613.7328 | 1252512.3559 | 2684600.0764 | 1252520.0592
30 | 2684630.9181 | 1252425.9479 | 2684620.8573 | 1252451.1004 | 2684626.0798 | 1252461.2272
31 | 2684542.4727 | 1252552.5135 | 2684571.9167 | 1252535.9434 | 2684600.0764 | 1252520.0592
32 | 2684526.6454 | 1252441.037 | 2684516.5913 | 1252437.3136
33 | 2684569.2211 | 1252406.7527 | 2684560.0473 | 1252432.2786
34 | 2684322.16 | 1252704.5843 | 2684325.5372 | 1252708.9402 | 2684330.473 | 1252712.1128 | 2684332.0871 | 1252714.432
35 | 2684543.0627 | 1252553.4782 | 2684542.4727 | 1252552.5135
36 | 2684537.0817 | 1252593.1159 | 2684527.4206 | 1252576.5676
37 | 2684516.5913 | 1252437.3136 | 2684496.6522 | 1252429.9294
38 | 2684565.9137 | 1252357.1526 | 2684571.9124 | 1252359.2324 | 2684584.683 | 1252363.9516 | 2684583.2401 | 1252367.7449 | 2684569.2211 | 1252406.7527
39 | 2684537.1269 | 1252593.1934 | 2684537.0817 | 1252593.1159
40 | 2684497.6215 | 1252333.4754 | 2684497.2355 | 1252335.1378 | 2684492.246 | 1252356.7606
41 | 2684497.6215 | 1252333.4754 | 2684533.5217 | 1252345.9222
42 | 2684533.5217 | 1252345.9222 | 2684547.9445 | 1252350.9226
43 | 2684463.0746 | 1252417.246 | 2684473.8853 | 1252421.2698 | 2684477.0752 | 1252422.5051
44 | 2684487.5158 | 1252426.5458 | 2684477.0752 | 1252422.5051
45 | 2684487.5158 | 1252426.5458 | 2684496.6522 | 1252429.9294
46 | 2684547.9445 | 1252350.9226 | 2684565.9137 | 1252357.1526

## bus_geodata
| x | y | coords
0 | 2684376.8306 | 1252503.573
1 | 2684395.2875 | 1252510.2613
2 | 2684407.7081 | 1252476.6147
3 | 2684422.4576 | 1252436.6595
4 | 2684493.1268 | 1252569.1111
5 | 2684504.4052 | 1252574.1868
6 | 2684472.5615 | 1252532.4892
7 | 2684445.2831 | 1252596.294
8 | 2684429.9042 | 1252615.7339
9 | 2684419.9317 | 1252610.6023
10 | 2684457.386 | 1252505.4647
11 | 2684495.0274 | 1252465.0153
12 | 2684459.7792 | 1252599.0416
13 | 2684386.9049 | 1252629.2427
14 | 2684319.0602 | 1252700.5862
15 | 2684366.494 | 1252593.4917
16 | 2684454.3666 | 1252449.1276
17 | 2684413.1462 | 1252421.1708
18 | 2684379.5814 | 1252408.7119
19 | 2684520.5761 | 1252564.8437
20 | 2684517.0663 | 1252595.8471
21 | 2684622.2938 | 1252473.1041
22 | 2684553.3578 | 1252450.8922
23 | 2684613.7328 | 1252512.3559
24 | 2684626.0798 | 1252461.2272
25 | 2684600.0764 | 1252520.0592
26 | 2684526.6454 | 1252441.037
27 | 2684560.0473 | 1252432.2786
28 | 2684322.16 | 1252704.5843
29 | 2684542.4727 | 1252552.5135
30 | 2684527.4206 | 1252576.5676
31 | 2684543.0627 | 1252553.4782
32 | 2684358.002 | 1252596.6333
33 | 2684630.9181 | 1252425.9479
34 | 2684516.5913 | 1252437.3136
35 | 2684569.2211 | 1252406.7527
36 | 2684332.0871 | 1252714.432
37 | 2684537.0817 | 1252593.1159
38 | 2684537.1269 | 1252593.1934
39 | 2684492.246 | 1252356.7606
40 | 2684497.6215 | 1252333.4754
41 | 2684533.5217 | 1252345.9222
42 | 2684477.0752 | 1252422.5051
43 | 2684463.0746 | 1252417.246
44 | 2684487.5158 | 1252426.5458
45 | 2684547.9445 | 1252350.9226
46 | 2684496.6522 | 1252429.9294
47 | 2684565.9137 | 1252357.1526
48 | 2684457.386 | 1252505.4647

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98725 | -0.24517 | 0.019404 | 0.0048632
1 | 0.9876 | -0.23836 | 0 | 0
2 | 0.98824 | -0.22593 | 0.0076315 | 0.0019126
3 | 0.98929 | -0.2054 | 0 | 0
4 | 0.99568 | -0.081956 | 0 | 0
5 | 0.99391 | -0.11569 | 0 | 0
6 | 1 | 0 | -0.41086 | -0.10487
7 | 0.98099 | -0.36361 | 0 | 0
8 | 0.98436 | -0.2984 | 0 | 0
9 | 0.97811 | -0.41964 | 0.024133 | 0.0060484
10 | 0.99804 | -0.037273 | 0 | 0
11 | 0.99393 | -0.11587 | 0 | 0
12 | 0.98774 | -0.2334 | 0.023831 | 0.0059727
13 | 0.97522 | -0.47634 | 0 | 0
14 | 0.97047 | -0.56995 | 0 | 0
15 | 0.97367 | -0.50676 | 0 | 0
16 | 0.99117 | -0.16905 | 0.0091594 | 0.0022956
17 | 0.98853 | -0.22018 | 0 | 0
18 | 0.98746 | -0.24106 | 0.032658 | 0.0081849
19 | 0.99289 | -0.13521 | 0 | 0
20 | 0.9933 | -0.12751 | 0.026704 | 0.0066926
21 | 0.98438 | -0.30021 | 0 | 0
22 | 0.98306 | -0.32585 | 0 | 0
23 | 0.98668 | -0.25531 | 0 | 0
24 | 0.98397 | -0.30808 | 0.019392 | 0.0048601
25 | 0.98745 | -0.24043 | 0.088675 | 0.022224
26 | 0.9828 | -0.33105 | 0 | 0
27 | 0.9829 | -0.32897 | 0.0018549 | 0.00046488
28 | 0.97027 | -0.57384 | 0.021819 | 0.0054684
29 | 0.99176 | -0.15704 | 0 | 0
30 | 0.99252 | -0.14248 | 0.005175 | 0.001297
31 | 0.99175 | -0.15716 | 0.0058529 | 0.0014669
32 | 0.97333 | -0.51347 | 0.040279 | 0.010095
33 | 0.98345 | -0.31832 | 0.01477 | 0.0037018
34 | 0.9827 | -0.33301 | 0.0028185 | 0.00070637
35 | 0.98273 | -0.33233 | 0.0016699 | 0.00041851
36 | 0.97001 | -0.57903 | 0.019722 | 0.0049427
37 | 0.99208 | -0.15101 | 0.01784 | 0.0044712
38 | 0.99208 | -0.15102 | 0.0072993 | 0.0018294
39 | 0.98225 | -0.34169 | 0.0012501 | 0.0003133
40 | 0.98228 | -0.34115 | 0 | 0
41 | 0.98233 | -0.34029 | 0.0010312 | 0.00025845
42 | 0.98247 | -0.33742 | 0 | 0
43 | 0.98241 | -0.33856 | 0.004226 | 0.0010591
44 | 0.98251 | -0.33657 | 0 | 0
45 | 0.98236 | -0.33966 | 0.0011397 | 0.00028563
46 | 0.98255 | -0.33583 | 0.0031004 | 0.00077704
47 | 0.98242 | -0.33849 | 0.0017814 | 0.00044646
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.019404 | -0.0048632 | 0.019411 | 0.0048669 | 6.2972e-06 | 3.7791e-06 | 0.029247 | 0.029247 | 0.029247 | 0.98725 | -0.24517 | 0.9876 | -0.23836 | 8.0348
1 | -0.019411 | -0.0048669 | 0.019422 | 0.0048738 | 1.1504e-05 | 6.9036e-06 | 0.029247 | 0.029246 | 0.029247 | 0.9876 | -0.23836 | 0.98824 | -0.22593 | 8.0348
2 | -0.027054 | -0.0067865 | 0.02708 | 0.0068029 | 2.6505e-05 | 1.6417e-05 | 0.040737 | 0.040737 | 0.040737 | 0.98824 | -0.22593 | 0.98929 | -0.2054 | 11.1916
3 | -0.059794 | -0.015023 | 0.059898 | 0.015089 | 0.00010394 | 6.6083e-05 | 0.08995 | 0.08995 | 0.08995 | 0.98929 | -0.2054 | 0.99117 | -0.16905 | 24.7115
4 | 0.032714 | 0.0082197 | -0.032691 | -0.0082052 | 2.3065e-05 | 1.4435e-05 | 0.049213 | 0.049213 | 0.049213 | 0.98929 | -0.2054 | 0.98853 | -0.22018 | 13.52
5 | 0.33825 | 0.086269 | -0.3377 | -0.085918 | 0.00054995 | 0.0003513 | 0.50604 | 0.50604 | 0.50604 | 0.99568 | -0.081956 | 0.99391 | -0.11569 | 46.3403
6 | -0.33825 | -0.086269 | 0.33959 | 0.087128 | 0.0013444 | 0.00085878 | 0.50604 | 0.50603 | 0.50604 | 0.99568 | -0.081956 | 1 | 0 | 46.3402
7 | 0.17899 | 0.045284 | -0.17882 | -0.045177 | 0.00016747 | 0.00010646 | 0.26813 | 0.26813 | 0.26813 | 0.99391 | -0.11569 | 0.99289 | -0.13521 | 24.5536
8 | 0.13199 | 0.033932 | -0.13124 | -0.033453 | 0.00075027 | 0.00047951 | 0.19791 | 0.19791 | 0.19791 | 0.99391 | -0.11569 | 0.98774 | -0.2334 | 54.3705
9 | 0.026719 | 0.0067019 | -0.026704 | -0.0066926 | 1.5056e-05 | 9.311e-06 | 0.040003 | 0.040004 | 0.040004 | 0.99391 | -0.11569 | 0.9933 | -0.12751 | 10.99
10 | 0.06962 | 0.017743 | -0.069495 | -0.017663 | 0.00012499 | 7.9585e-05 | 0.1037 | 0.1037 | 0.1037 | 1 | 0 | 0.99804 | -0.037273 | 28.489
11 | -0.10673 | -0.02705 | 0.10707 | 0.027265 | 0.00033557 | 0.00021434 | 0.16201 | 0.16201 | 0.16201 | 0.98099 | -0.36361 | 0.98436 | -0.2984 | 44.5076
12 | 0.10673 | 0.02705 | -0.10645 | -0.026867 | 0.00028652 | 0.00018301 | 0.16201 | 0.16201 | 0.16201 | 0.98099 | -0.36361 | 0.97811 | -0.41964 | 44.5076
13 | -0.10707 | -0.027265 | 0.10741 | 0.02748 | 0.00033683 | 0.00021513 | 0.16201 | 0.16201 | 0.16201 | 0.98436 | -0.2984 | 0.98774 | -0.2334 | 44.5075
14 | 0.082314 | 0.020819 | -0.082091 | -0.020677 | 0.00022325 | 0.00014241 | 0.12529 | 0.12529 | 0.12529 | 0.97811 | -0.41964 | 0.97522 | -0.47634 | 34.4213
15 | 0.069495 | 0.017663 | -0.069233 | -0.017496 | 0.00026195 | 0.0001668 | 0.1037 | 0.1037 | 0.1037 | 0.99804 | -0.037273 | 0.99393 | -0.11587 | 28.489
16 | 0.069233 | 0.017496 | -0.069057 | -0.017384 | 0.00017604 | 0.0001121 | 0.1037 | 0.1037 | 0.1037 | 0.99393 | -0.11587 | 0.99117 | -0.16905 | 28.4891
17 | 0.04174 | 0.010537 | -0.041554 | -0.010419 | 0.00018625 | 0.00011768 | 0.063715 | 0.063716 | 0.063716 | 0.97522 | -0.47634 | 0.97047 | -0.56995 | 17.5043
18 | 0.040351 | 0.01014 | -0.040292 | -0.010103 | 5.8498e-05 | 3.6926e-05 | 0.061578 | 0.061578 | 0.061578 | 0.97522 | -0.47634 | 0.97367 | -0.50676 | 16.9172
19 | 0.041554 | 0.010419 | -0.041546 | -0.010414 | 7.7018e-06 | 4.8667e-06 | 0.063716 | 0.063716 | 0.063716 | 0.97047 | -0.56995 | 0.97027 | -0.57384 | 17.5043
20 | 0.040292 | 0.010103 | -0.040279 | -0.010095 | 1.2875e-05 | 8.1276e-06 | 0.061578 | 0.061579 | 0.061579 | 0.97367 | -0.50676 | 0.97333 | -0.51347 | 16.9172
21 | 0.032691 | 0.0082052 | -0.032658 | -0.0081849 | 3.2516e-05 | 2.0352e-05 | 0.049213 | 0.049213 | 0.049213 | 0.98853 | -0.22018 | 0.98746 | -0.24106 | 13.52
22 | 0.14849 | 0.037567 | -0.14833 | -0.037468 | 0.00015539 | 9.8477e-05 | 0.22266 | 0.22266 | 0.22266 | 0.99289 | -0.13521 | 0.99176 | -0.15704 | 20.3902
23 | 0.030335 | 0.0076104 | -0.030325 | -0.0076038 | 1.0523e-05 | 6.5593e-06 | 0.045465 | 0.045465 | 0.045465 | 0.99289 | -0.13521 | 0.99252 | -0.14248 | 12.4905
24 | 0.018904 | 0.0047457 | -0.018881 | -0.0047318 | 2.3089e-05 | 1.382e-05 | 0.028579 | 0.02858 | 0.02858 | 0.98438 | -0.30021 | 0.98306 | -0.32585 | 7.8516
25 | -0.053086 | -0.01332 | 0.0532 | 0.013392 | 0.00011393 | 7.2316e-05 | 0.080253 | 0.080252 | 0.080253 | 0.98438 | -0.30021 | 0.98668 | -0.25531 | 22.0474
26 | 0.034182 | 0.008574 | -0.034169 | -0.0085659 | 1.282e-05 | 8.0422e-06 | 0.051673 | 0.051673 | 0.051673 | 0.98438 | -0.30021 | 0.98397 | -0.30808 | 14.196
27 | 0.01015 | 0.0025445 | -0.010147 | -0.0025433 | 2.5137e-06 | 1.2488e-06 | 0.015364 | 0.015364 | 0.015364 | 0.98306 | -0.32585 | 0.9828 | -0.33105 | 4.2208
28 | 0.0087314 | 0.0021873 | -0.0087301 | -0.0021867 | 1.2955e-06 | 5.784e-07 | 0.013216 | 0.013216 | 0.013216 | 0.98306 | -0.32585 | 0.9829 | -0.32897 | 3.6308
29 | -0.0532 | -0.013392 | 0.053238 | 0.013416 | 3.7868e-05 | 2.4035e-05 | 0.080252 | 0.080252 | 0.080252 | 0.98668 | -0.25531 | 0.98745 | -0.24043 | 22.0474
30 | 0.014777 | 0.0037059 | -0.01477 | -0.0037018 | 7.2077e-06 | 4.1243e-06 | 0.022348 | 0.022348 | 0.022348 | 0.98397 | -0.30808 | 0.98345 | -0.31832 | 6.1396
31 | -0.14191 | -0.03564 | 0.14248 | 0.036001 | 0.00056709 | 0.00036124 | 0.21388 | 0.21388 | 0.21388 | 0.98745 | -0.24043 | 0.99176 | -0.15704 | 29.3791
32 | 0.010147 | 0.0025433 | -0.010146 | -0.0025428 | 9.4903e-07 | 4.7153e-07 | 0.015364 | 0.015364 | 0.015364 | 0.9828 | -0.33105 | 0.9827 | -0.33301 | 4.2208
33 | 0.0068752 | 0.0017219 | -0.0068741 | -0.0017215 | 1.1019e-06 | 3.6146e-07 | 0.010408 | 0.010408 | 0.010408 | 0.9829 | -0.32897 | 0.98273 | -0.33233 | 2.8594
34 | 0.019727 | 0.0049457 | -0.019722 | -0.0049427 | 4.8755e-06 | 2.9449e-06 | 0.030254 | 0.030254 | 0.030254 | 0.97027 | -0.57384 | 0.97001 | -0.57903 | 8.3115
35 | 0.005853 | 0.0014669 | -0.0058529 | -0.0014669 | 3.2679e-08 | 6.3331e-09 | 0.0087817 | 0.0087817 | 0.0087817 | 0.99176 | -0.15704 | 0.99175 | -0.15716 | 2.4126
36 | 0.02515 | 0.0063069 | -0.02514 | -0.0063006 | 1.0217e-05 | 6.2912e-06 | 0.037707 | 0.037707 | 0.037707 | 0.99252 | -0.14248 | 0.99208 | -0.15101 | 10.359
37 | 0.0073279 | 0.0018364 | -0.007327 | -0.0018361 | 9.8171e-07 | 3.5896e-07 | 0.011096 | 0.011096 | 0.011096 | 0.9827 | -0.33301 | 0.98255 | -0.33583 | 3.0484
38 | 0.0052042 | 0.001303 | -0.0052027 | -0.0013028 | 1.5245e-06 | 1.4637e-07 | 0.0078796 | 0.0078799 | 0.0078799 | 0.98273 | -0.33233 | 0.98242 | -0.33849 | 2.1648
39 | 0.0072993 | 0.0018294 | -0.0072993 | -0.0018294 | 4.0342e-09 | 1.4239e-09 | 0.010948 | 0.010948 | 0.010948 | 0.99208 | -0.15101 | 0.99208 | -0.15102 | 3.0077
40 | -0.0012501 | -0.0003133 | 0.0012501 | 0.00031302 | 3.2137e-08 | -2.8193e-07 | 0.0018937 | 0.0018936 | 0.0018937 | 0.98225 | -0.34169 | 0.98228 | -0.34115 | 0.52026
41 | -0.0012501 | -0.00031302 | 0.0012502 | 0.00031257 | 5.109e-08 | -4.4831e-07 | 0.0018936 | 0.0018935 | 0.0018936 | 0.98228 | -0.34115 | 0.98233 | -0.34029 | 0.52023
42 | -0.0022814 | -0.00057101 | 0.0022814 | 0.00057086 | 6.8352e-08 | -1.4951e-07 | 0.0034555 | 0.0034555 | 0.0034555 | 0.98233 | -0.34029 | 0.98236 | -0.33966 | 0.94932
43 | 0.0042262 | 0.0010591 | -0.004226 | -0.0010591 | 2.2919e-07 | -4.2208e-08 | 0.0064008 | 0.0064009 | 0.0064009 | 0.98247 | -0.33742 | 0.98241 | -0.33856 | 1.7585
44 | -0.0042262 | -0.0010591 | 0.0042264 | 0.0010591 | 1.7155e-07 | -3.1611e-08 | 0.0064008 | 0.0064008 | 0.0064008 | 0.98247 | -0.33742 | 0.98251 | -0.33657 | 1.7585
45 | -0.0042264 | -0.0010591 | 0.0042265 | 0.001059 | 1.4969e-07 | -2.7594e-08 | 0.0064008 | 0.0064007 | 0.0064008 | 0.98251 | -0.33657 | 0.98255 | -0.33583 | 1.7585
46 | -0.0034211 | -0.00085649 | 0.0034213 | 0.00085637 | 1.9149e-07 | -1.1824e-07 | 0.0051818 | 0.0051817 | 0.0051818 | 0.98236 | -0.33966 | 0.98242 | -0.33849 | 1.4236

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.47092 | 0.11992

## res_load
| p_mw | q_mvar
0 | 0.019404 | 0.0048632
1 | 0.0076315 | 0.0019126
2 | 0.060059 | 0.015052
3 | 0.024133 | 0.0060484
4 | 0.023831 | 0.0059727
5 | 0.0091594 | 0.0022956
6 | 0.032658 | 0.0081849
7 | 0.026704 | 0.0066926
8 | 0.019392 | 0.0048601
9 | 0.088675 | 0.022224
10 | 0.0018549 | 0.00046488
11 | 0.021819 | 0.0054684
12 | 0.005175 | 0.001297
13 | 0.0058529 | 0.0014669
14 | 0.040279 | 0.010095
15 | 0.01477 | 0.0037018
16 | 0.0028185 | 0.00070637
17 | 0.0016699 | 0.00041851
18 | 0.019722 | 0.0049427
19 | 0.01784 | 0.0044712
20 | 0.0072993 | 0.0018294
21 | 0.0012501 | 0.0003133
22 | 0.0010312 | 0.00025845
23 | 0.004226 | 0.0010591
24 | 0.0011397 | 0.00028563
25 | 0.0031004 | 0.00077704
26 | 0.0017814 | 0.00044646

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1