## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-466_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-466_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-466_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-466_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-466_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-466_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-466_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_261-466_0_6_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_261-466_0_6_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_261-466_0_6_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_261-466_0_6_node_45 | 0.4 | n |  | TRUE
11 | bus_LV_261-466_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_261-466_0_6_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_261-466_0_6_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_261-466_0_6_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_261-466_0_6_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_261-466_0_6_node_48 | 0.4 | n |  | TRUE
17 | bus_LV_261-466_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_261-466_0_6_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_261-466_0_6_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_261-466_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_261-466_0_6_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_261-466_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_261-466_0_6_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_261-466_0_6_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_261-466_0_6_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_261-466_0_6_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_261-466_0_6_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_261-466_0_6_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_261-466_0_6_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_261-466_0_6_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_261-466_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_261-466_0_6_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_261-466_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_261-466_0_6_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_261-466_0_6_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_261-466_0_6_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_261-466_0_6_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_261-466_0_6_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_261-466_0_6_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_261-466_0_6_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_261-466_0_6_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_261-466_0_6_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_261-466_0_6_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_261-466_0_6_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_261-466_0_6_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_261-466_0_6_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_261-466_0_6_node_31 | 0.4 | n |  | TRUE
48 | bus_MV_551_0_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-466_0_6_load_0 | 0 | 0.017759 | 0.0044508 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-466_0_6_load_1 | 1 | 0.025829 | 0.0064735 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-466_0_6_load_5 | 5 | 0.0053443 | 0.0013394 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-466_0_6_load_27 | 8 | 0.02052 | 0.0051427 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-466_0_6_load_29 | 9 | 0.0026646 | 0.00066781 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-466_0_6_load_45 | 10 | 0.0011962 | 0.00029979 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-466_0_6_load_43 | 13 | 0.0076897 | 0.0019272 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-466_0_6_load_48 | 16 | 0.00092556 | 0.00023197 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-466_0_6_load_28 | 18 | 0.00469 | 0.0011754 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-466_0_6_load_51 | 19 | 0.0032614 | 0.00081738 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-466_0_6_load_46 | 21 | 0.0049496 | 0.0012405 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-466_0_6_load_42 | 25 | 0.038045 | 0.0095351 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-466_0_6_load_36 | 27 | 0.0067566 | 0.0016934 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-466_0_6_load_47 | 28 | 0.025227 | 0.0063225 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-466_0_6_load_49 | 30 | 0.044213 | 0.011081 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-466_0_6_load_50 | 37 | 0.0058581 | 0.0014682 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-466_0_6_load_40 | 38 | 0.009644 | 0.002417 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-466_0_6_load_38 | 39 | 0.0083075 | 0.002082 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-466_0_6_load_33 | 40 | 0.057989 | 0.014533 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-466_0_6_load_34 | 41 | 0.018911 | 0.0047396 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-466_0_6_load_32 | 42 | 0.092402 | 0.023158 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-466_0_6_load_41 | 43 | 0.0093747 | 0.0023495 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-466_0_6_load_37 | 44 | 0.0090642 | 0.0022717 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-466_0_6_load_52 | 45 | 0.022516 | 0.0056431 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-466_0_6_load_30 | 46 | 0.042209 | 0.010578 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-466_0_6_line_0 |  | 0 | 1 | 0.017479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-466_0_6_line_1 |  | 0 | 2 | 0.014769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-466_0_6_line_2 |  | 1 | 3 | 0.029492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-466_0_6_line_3 |  | 2 | 4 | 0.037586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_261-466_0_6_line_4 |  | 2 | 5 | 0.17416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_261-466_0_6_line_5 |  | 3 | 6 | 0.069634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-466_0_6_line_6 |  | 4 | 7 | 0.031196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-466_0_6_line_7 |  | 4 | 8 | 0.036143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-466_0_6_line_8 |  | 5 | 9 | 0.00090287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_261-466_0_6_line_9 |  | 6 | 10 | 0.16585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-466_0_6_line_10 |  | 7 | 17 | 0.088662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-466_0_6_line_11 |  | 7 | 18 | 0.0086843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-466_0_6_line_12 |  | 9 | 33 | 0.24729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_261-466_0_6_line_13 |  | 11 | 12 | 0.015582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-466_0_6_line_14 |  | 11 | 13 | 0.0089985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-466_0_6_line_15 |  | 12 | 35 | 0.03196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-466_0_6_line_16 |  | 12 | 23 | 0.11272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-466_0_6_line_17 |  | 14 | 15 | 0.063184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-466_0_6_line_18 |  | 14 | 16 | 0.0074401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-466_0_6_line_19 |  | 15 | 20 | 0.13087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-466_0_6_line_20 |  | 17 | 19 | 0.030341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-466_0_6_line_21 |  | 19 | 37 | 0.014775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-466_0_6_line_22 |  | 20 | 21 | 0.046197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-466_0_6_line_23 |  | 21 | 36 | 0.044036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-466_0_6_line_24 |  | 22 | 23 | 0.044541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_261-466_0_6_line_25 |  | 22 | 24 | 0.011238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_261-466_0_6_line_26 |  | 22 | 25 | 0.027734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_261-466_0_6_line_27 |  | 23 | 28 | 0.019419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_261-466_0_6_line_28 |  | 23 | 26 | 0.021818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-466_0_6_line_29 |  | 24 | 41 | 0.013792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-466_0_6_line_30 |  | 24 | 29 | 0.042842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_261-466_0_6_line_31 |  | 25 | 42 | 0.018996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-466_0_6_line_32 |  | 26 | 27 | 0.020139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-466_0_6_line_33 |  | 28 | 31 | 0.011234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_261-466_0_6_line_34 |  | 29 | 30 | 0.015322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_261-466_0_6_line_35 |  | 30 | 34 | 0.058431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_261-466_0_6_line_36 |  | 31 | 32 | 0.004496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_261-466_0_6_line_37 |  | 32 | 43 | 0.043567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-466_0_6_line_38 |  | 32 | 44 | 0.041932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_261-466_0_6_line_39 |  | 33 | 34 | 0.17553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_261-466_0_6_line_40 |  | 35 | 45 | 0.007884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-466_0_6_line_41 |  | 35 | 36 | 0.033427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-466_0_6_line_42 |  | 38 | 39 | 0.016513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-466_0_6_line_43 |  | 39 | 44 | 0.022963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_261-466_0_6_line_44 |  | 40 | 41 | 0.041595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-466_0_6_line_45 |  | 42 | 47 | 0.0029234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-466_0_6_line_46 |  | 46 | 47 | 0.029902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-466_0_6_trafo_38 | 0.63 MVA 20/0.4 kV | 48 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30
0 | 2685601.177 | 1250487.1622 | 2685593.4732 | 1250483.6879 | 2685585.9978 | 1250478.6257
1 | 2685614.6407 | 1250493.2341 | 2685601.177 | 1250487.1622
2 | 2685561.5778 | 1250462.089 | 2685585.9978 | 1250478.6257
3 | 2685614.6407 | 1250493.2341 | 2685623.1762 | 1250464.736 | 2685626.3827 | 1250457.5769
4 | 2685614.6407 | 1250493.2341 | 2685608.6014 | 1250508.3471 | 2685600.8353 | 1250522.7902 | 2685592.3807 | 1250537.3457 | 2685577.7065 | 1250559.1168 | 2685538.1933 | 1250610.7408 | 2685522.8557 | 1250628.8219 | 2685516.7334 | 1250636.322
5 | 2685561.5778 | 1250462.089 | 2685555.885 | 1250466.8103 | 2685508.3353 | 1250507.1434
6 | 2685646.0682 | 1250433.3431 | 2685639.5158 | 1250441.6325 | 2685629.7309 | 1250453.1442 | 2685626.3827 | 1250457.5769
7 | 2685626.3827 | 1250457.5769 | 2685611.2388 | 1250453.8443 | 2685608.9702 | 1250453.0554 | 2685607.2863 | 1250451.5076 | 2685606.1131 | 1250449.1 | 2685602.9453 | 1250436.3074
8 | 2685516.1624 | 1250637.0214 | 2685516.7334 | 1250636.322
9 | 2685508.3353 | 1250507.1434 | 2685451.8224 | 1250553.9301 | 2685433.8976 | 1250573.9423 | 2685416.008 | 1250592.0537 | 2685393.712 | 1250616.2728 | 2685388.649 | 1250621.4484
10 | 2685646.0682 | 1250433.3431 | 2685652.8011 | 1250423.5331 | 2685658.164 | 1250415.0042 | 2685675.1937 | 1250408.412 | 2685684.3425 | 1250404.8749 | 2685693.5451 | 1250401.7945 | 2685710.7702 | 1250394.7494 | 2685720.0973 | 1250390.3699
11 | 2685646.0682 | 1250433.3431 | 2685638.6788 | 1250428.7809
12 | 2685432.4099 | 1250840.3764 | 2685432.9396 | 1250832.9674 | 2685432.9112 | 1250828.6526 | 2685432.4347 | 1250824.5316 | 2685429.5785 | 1250815.8061 | 2685413.9432 | 1250776.5846 | 2685411.3446 | 1250765.7057 | 2685411.77 | 1250761.8534 | 2685412.3517 | 1250756.5911 | 2685418.1824 | 1250743.8545 | 2685434.6773 | 1250730.2931 | 2685447.4669 | 1250719.7696 | 2685457.885 | 1250710.3683 | 2685504.5718 | 1250651.2194 | 2685510.5204 | 1250643.9331 | 2685516.1624 | 1250637.0214
13 | 2685759.9515 | 1250872.275 | 2685762.3104 | 1250869.9407 | 2685765.257 | 1250867.1702 | 2685768.5894 | 1250862.7818 | 2685770.423 | 1250860.7623
14 | 2685770.423 | 1250860.7623 | 2685773.5191 | 1250861.2186 | 2685776.9973 | 1250863.4484 | 2685777.8753 | 1250864.9476
15 | 2685759.9515 | 1250872.275 | 2685755.8303 | 1250874.3058 | 2685748.5643 | 1250875.6017 | 2685745.7173 | 1250869.9229 | 2685739.2256 | 1250857.8866
16 | 2685687.7409 | 1250933.9548 | 2685706.0284 | 1250912.3363 | 2685753.2367 | 1250897.5413 | 2685765.5377 | 1250892.6267 | 2685760.6794 | 1250880.9143 | 2685759.071 | 1250876.2542 | 2685759.9515 | 1250872.275
17 | 2685673.9426 | 1250669.2342 | 2685673.1005 | 1250673.692 | 2685673.0998 | 1250679.4852 | 2685674.6186 | 1250683.0432 | 2685676.9739 | 1250685.6681 | 2685679.1748 | 1250686.4338 | 2685669.3673 | 1250694.3091 | 2685652.6201 | 1250707.5214 | 2685644.8331 | 1250712.4571
18 | 2685673.9426 | 1250669.2342 | 2685675.4931 | 1250664.8644 | 2685676.791 | 1250662.3795
19 | 2685644.8331 | 1250712.4571 | 2685645.7453 | 1250713.5933 | 2685648.3038 | 1250716.7771 | 2685649.6172 | 1250717.8413 | 2685651.5123 | 1250718.3469 | 2685653.9805 | 1250718.3826 | 2685656.5802 | 1250718.7204 | 2685657.9503 | 1250720.0301 | 2685659.7722 | 1250722.4693 | 2685666.4608 | 1250731.3616 | 2685668.1489 | 1250732.6091 | 2685672.245 | 1250733.3578 | 2685675.357 | 1250734.2924 | 2685677.1757 | 1250736.4314 | 2685680.3149 | 1250740.7022 | 2685684.0682 | 1250742.1798 | 2685685.4679 | 1250744.057 | 2685686.6241 | 1250745.5415 | 2685689.2029 | 1250748.8924 | 2685694.34 | 1250745.5197 | 2685696.4598 | 1250747.196 | 2685699.9927 | 1250748.259 | 2685703.6144 | 1250747.3551 | 2685706.6696 | 1250744.9086 | 2685708.9636 | 1250741.8506 | 2685709.522 | 1250738.7341 | 2685708.6742 | 1250733.151 | 2685711.7278 | 1250730.8156 | 2685714.9834 | 1250734.8657 | 2685718.8114 | 1250739.5357 | 2685732.6109 | 1250757.3264
20 | 2685720.0973 | 1250390.3699 | 2685722.3824 | 1250382.7194 | 2685722.4454 | 1250375.2369 | 2685718.3161 | 1250369.9844 | 2685711.9414 | 1250370.159 | 2685710.2835 | 1250369.419
21 | 2685698.0247 | 1250361.3852 | 2685705.0926 | 1250367.1021 | 2685710.2835 | 1250369.419
22 | 2685732.6109 | 1250757.3264 | 2685717.599 | 1250765.9269 | 2685712.6383 | 1250769.102 | 2685708.3366 | 1250772.6535 | 2685705.5758 | 1250776.6722 | 2685704.184 | 1250780.5105 | 2685703.6205 | 1250785.0169 | 2685704.1141 | 1250788.9141
23 | 2685724.4479 | 1250827.8836 | 2685705.8753 | 1250794.0563 | 2685704.1693 | 1250789.3503 | 2685704.1141 | 1250788.9141
24 | 2685657.0932 | 1250966.1693 | 2685669.9446 | 1250954.5019 | 2685684.6379 | 1250937.6238 | 2685687.7409 | 1250933.9548
25 | 2685648.0504 | 1250972.877 | 2685657.0932 | 1250966.1693
26 | 2685657.0932 | 1250966.1693 | 2685650.1238 | 1250949.0446 | 2685643.299 | 1250942.808 | 2685643.299 | 1250942.808
27 | 2685687.7409 | 1250933.9548 | 2685685.2874 | 1250928.7376 | 2685682.6384 | 1250917.7244 | 2685681.8087 | 1250915.5515
28 | 2685687.7409 | 1250933.9548 | 2685684.6379 | 1250937.6238 | 2685688.9197 | 1250941.6999 | 2685693.3057 | 1250941.1851 | 2685696.7233 | 1250942.9025 | 2685699.5036 | 1250942.2311
29 | 2685648.0504 | 1250972.877 | 2685655.8054 | 1250984.2827
30 | 2685648.0504 | 1250972.877 | 2685626.9418 | 1250981.3117 | 2685616.9407 | 1250983.8136 | 2685607.2799 | 1250981.5835
31 | 2685624.7097 | 1250938.8966 | 2685643.299 | 1250942.808
32 | 2685699.5036 | 1250942.2311 | 2685696.2451 | 1250937.347 | 2685708.4258 | 1250929.9169
33 | 2685677.8014 | 1250905.056 | 2685681.8087 | 1250915.5515
34 | 2685607.2799 | 1250981.5835 | 2685594.4512 | 1250973.2058
35 | 2685546.5231 | 1250939.8526 | 2685553.7698 | 1250945.1168 | 2685565.6465 | 1250954.3952 | 2685594.4512 | 1250973.2058
36 | 2685673.6521 | 1250903.2947 | 2685677.8014 | 1250905.056
37 | 2685673.6521 | 1250903.2947 | 2685633.6925 | 1250885.9365
38 | 2685673.6521 | 1250903.2947 | 2685676.6743 | 1250895.2991 | 2685664.7508 | 1250864.1171
39 | 2685432.4099 | 1250840.3764 | 2685443.9932 | 1250840.1988 | 2685455.7054 | 1250840.5012 | 2685457.8497 | 1250840.9992 | 2685459.5701 | 1250841.58 | 2685460.7312 | 1250842.2083 | 2685462.0009 | 1250843.1607 | 2685486.4115 | 1250861.2151 | 2685521.3475 | 1250888.0282 | 2685523.0176 | 1250891.0434 | 2685518.5199 | 1250903.9994 | 2685513.5719 | 1250916.2483 | 2685546.5231 | 1250939.8526
40 | 2685731.7596 | 1250860.4694 | 2685733.0738 | 1250859.9102 | 2685739.2256 | 1250857.8866
41 | 2685739.2256 | 1250857.8866 | 2685724.4479 | 1250827.8836
42 | 2685660.0592 | 1250825.8178 | 2685659.0002 | 1250842.2969
43 | 2685664.7508 | 1250864.1171 | 2685658.6271 | 1250848.1028 | 2685659.0002 | 1250842.2969
44 | 2685690.0894 | 1250983.6351 | 2685672.0152 | 1250992.4492 | 2685667.2185 | 1250993.1804 | 2685662.4203 | 1250994.0117 | 2685655.8054 | 1250984.2827
45 | 2685621.849 | 1250938.2947 | 2685624.7097 | 1250938.8966
46 | 2685621.849 | 1250938.2947 | 2685624.8339 | 1250918.245 | 2685615.3073 | 1250916.8306

## bus_geodata
| x | y | coords
0 | 2685601.177 | 1250487.1622
1 | 2685585.9978 | 1250478.6257
2 | 2685614.6407 | 1250493.2341
3 | 2685561.5778 | 1250462.089
4 | 2685626.3827 | 1250457.5769
5 | 2685516.7334 | 1250636.322
6 | 2685508.3353 | 1250507.1434
7 | 2685646.0682 | 1250433.3431
8 | 2685602.9453 | 1250436.3074
9 | 2685516.1624 | 1250637.0214
10 | 2685388.649 | 1250621.4484
11 | 2685770.423 | 1250860.7623
12 | 2685759.9515 | 1250872.275
13 | 2685777.8753 | 1250864.9476
14 | 2685673.9426 | 1250669.2342
15 | 2685644.8331 | 1250712.4571
16 | 2685676.791 | 1250662.3795
17 | 2685720.0973 | 1250390.3699
18 | 2685638.6788 | 1250428.7809
19 | 2685710.2835 | 1250369.419
20 | 2685732.6109 | 1250757.3264
21 | 2685704.1141 | 1250788.9141
22 | 2685657.0932 | 1250966.1693
23 | 2685687.7409 | 1250933.9548
24 | 2685648.0504 | 1250972.877
25 | 2685643.299 | 1250942.808
26 | 2685699.5036 | 1250942.2311
27 | 2685708.4258 | 1250929.9169
28 | 2685681.8087 | 1250915.5515
29 | 2685607.2799 | 1250981.5835
30 | 2685594.4512 | 1250973.2058
31 | 2685677.8014 | 1250905.056
32 | 2685673.6521 | 1250903.2947
33 | 2685432.4099 | 1250840.3764
34 | 2685546.5231 | 1250939.8526
35 | 2685739.2256 | 1250857.8866
36 | 2685724.4479 | 1250827.8836
37 | 2685698.0247 | 1250361.3852
38 | 2685660.0592 | 1250825.8178
39 | 2685659.0002 | 1250842.2969
40 | 2685690.0894 | 1250983.6351
41 | 2685655.8054 | 1250984.2827
42 | 2685624.7097 | 1250938.8966
43 | 2685633.6925 | 1250885.9365
44 | 2685664.7508 | 1250864.1171
45 | 2685731.7596 | 1250860.4694
46 | 2685615.3073 | 1250916.8306
47 | 2685621.849 | 1250938.2947
48 | 2685673.6521 | 1250903.2947

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97176 | -0.54527 | 0.017759 | 0.0044508
1 | 0.97132 | -0.554 | 0.025829 | 0.0064735
2 | 0.97238 | -0.53307 | 0 | 0
3 | 0.97129 | -0.55466 | 0 | 0
4 | 0.97178 | -0.54497 | 0 | 0
5 | 0.97881 | -0.40687 | 0.0053443 | 0.0013394
6 | 0.97121 | -0.5562 | 0 | 0
7 | 0.97137 | -0.55293 | 0 | 0
8 | 0.97108 | -0.55867 | 0.02052 | 0.0051427
9 | 0.97883 | -0.40659 | 0.0026646 | 0.00066781
10 | 0.97103 | -0.55988 | 0.0011962 | 0.00029979
11 | 0.9878 | -0.23362 | 0 | 0
12 | 0.98791 | -0.23148 | 0 | 0
13 | 0.98774 | -0.23486 | 0.0076897 | 0.0019272
14 | 0.98645 | -0.25986 | 0 | 0
15 | 0.98651 | -0.25881 | 0 | 0
16 | 0.98645 | -0.25999 | 0.00092556 | 0.00023197
17 | 0.97062 | -0.56788 | 0 | 0
18 | 0.97134 | -0.55368 | 0.00469 | 0.0011754
19 | 0.97036 | -0.573 | 0.0032614 | 0.00081738
20 | 0.98662 | -0.25663 | 0 | 0
21 | 0.98666 | -0.25586 | 0.0049496 | 0.0012405
22 | 0.98851 | -0.21944 | 0 | 0
23 | 0.99165 | -0.15909 | 0 | 0
24 | 0.98808 | -0.2278 | 0 | 0
25 | 0.9863 | -0.26224 | 0.038045 | 0.0095351
26 | 0.99151 | -0.16171 | 0 | 0
27 | 0.99139 | -0.16412 | 0.0067566 | 0.0016934
28 | 0.99317 | -0.12996 | 0.025227 | 0.0063225
29 | 0.98703 | -0.24793 | 0 | 0
30 | 0.98666 | -0.25514 | 0.044213 | 0.011081
31 | 0.9941 | -0.11214 | 0 | 0
32 | 0.99447 | -0.10502 | 0 | 0
33 | 0.98285 | -0.32848 | 0 | 0
34 | 0.98571 | -0.27341 | 0 | 0
35 | 0.98708 | -0.2477 | 0 | 0
36 | 0.9869 | -0.25122 | 0 | 0
37 | 0.97028 | -0.57461 | 0.0058581 | 0.0014682
38 | 0.99986 | -0.0027761 | 0.009644 | 0.002417
39 | 1 | 0 | -0.48584 | -0.12407
40 | 0.98488 | -0.29 | 0.057989 | 0.014533
41 | 0.9871 | -0.24675 | 0.018911 | 0.0047396
42 | 0.98395 | -0.30817 | 0.092402 | 0.023158
43 | 0.9941 | -0.11223 | 0.0093747 | 0.0023495
44 | 0.99802 | -0.037501 | 0.0090642 | 0.0022717
45 | 0.98691 | -0.25088 | 0.022516 | 0.0056431
46 | 0.98267 | -0.33315 | 0.042209 | 0.010578
47 | 0.98383 | -0.31039 | 0 | 0
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.027037 | 0.0067772 | -0.027026 | -0.0067702 | 1.1235e-05 | 6.9741e-06 | 0.041401 | 0.041401 | 0.041401 | 0.97176 | -0.54527 | 0.97132 | -0.554 | 11.374
1 | -0.044796 | -0.011228 | 0.044822 | 0.011245 | 2.606e-05 | 1.6496e-05 | 0.068595 | 0.068595 | 0.068595 | 0.97176 | -0.54527 | 0.97238 | -0.53307 | 18.8448
2 | 0.0011965 | 0.00029673 | -0.0011965 | -0.00029707 | 3.7116e-08 | -3.4128e-07 | 0.0018319 | 0.001832 | 0.001832 | 0.97132 | -0.554 | 0.97129 | -0.55466 | 0.5033
3 | 0.034377 | 0.0086306 | -0.034357 | -0.008619 | 1.9507e-05 | 1.1553e-05 | 0.052612 | 0.052612 | 0.052612 | 0.97238 | -0.53307 | 0.97178 | -0.54497 | 7.2269
4 | -0.079199 | -0.019875 | 0.079679 | 0.020178 | 0.00047974 | 0.00030268 | 0.12121 | 0.1212 | 0.12121 | 0.97238 | -0.53307 | 0.97881 | -0.40687 | 16.6492
5 | 0.0011965 | 0.00029707 | -0.0011964 | -0.00029787 | 8.7655e-08 | -8.0568e-07 | 0.001832 | 0.0018323 | 0.0018323 | 0.97129 | -0.55466 | 0.97121 | -0.5562 | 0.50338
6 | 0.013824 | 0.0034682 | -0.013819 | -0.0034652 | 5.2426e-06 | 2.9689e-06 | 0.021169 | 0.021169 | 0.021169 | 0.97178 | -0.54497 | 0.97137 | -0.55293 | 5.8158
7 | 0.020533 | 0.0051508 | -0.02052 | -0.0051427 | 1.34e-05 | 8.1284e-06 | 0.031443 | 0.031443 | 0.031443 | 0.97178 | -0.54497 | 0.97108 | -0.55867 | 8.6381
8 | -0.085023 | -0.021517 | 0.085024 | 0.021518 | 1.1326e-06 | 6.6813e-07 | 0.12933 | 0.12933 | 0.12933 | 0.97881 | -0.40687 | 0.97883 | -0.40659 | 7.106
9 | 0.0011964 | 0.00029787 | -0.0011962 | -0.00029979 | 2.0889e-07 | -1.9183e-06 | 0.0018323 | 0.0018331 | 0.0018331 | 0.97121 | -0.5562 | 0.97103 | -0.55988 | 0.50359
10 | 0.0091287 | 0.0022898 | -0.0091222 | -0.0022867 | 6.5025e-06 | 3.0649e-06 | 0.013985 | 0.013985 | 0.013985 | 0.97137 | -0.55293 | 0.97062 | -0.56788 | 3.842
11 | 0.0046902 | 0.0011754 | -0.00469 | -0.0011754 | 1.6811e-07 | 9.1092e-11 | 0.0071847 | 0.0071848 | 0.0071848 | 0.97137 | -0.55293 | 0.97134 | -0.55368 | 1.9738
12 | -0.087689 | -0.022186 | 0.088019 | 0.022381 | 0.00032994 | 0.00019555 | 0.13338 | 0.13337 | 0.13338 | 0.97883 | -0.40659 | 0.98285 | -0.32848 | 7.3286
13 | -0.0076901 | -0.0019274 | 0.0076909 | 0.0019277 | 7.8414e-07 | 3.0236e-07 | 0.011584 | 0.011584 | 0.011584 | 0.9878 | -0.23362 | 0.98791 | -0.23148 | 3.1825
14 | 0.0076901 | 0.0019274 | -0.0076897 | -0.0019272 | 4.5284e-07 | 1.7464e-07 | 0.011584 | 0.011584 | 0.011584 | 0.9878 | -0.23362 | 0.98774 | -0.23486 | 3.1825
15 | 0.028419 | 0.0071287 | -0.028397 | -0.007115 | 2.1963e-05 | 1.3647e-05 | 0.042808 | 0.042808 | 0.042808 | 0.98791 | -0.23148 | 0.98708 | -0.2477 | 11.7604
16 | -0.03611 | -0.0090563 | 0.036235 | 0.0091349 | 0.00012505 | 7.8586e-05 | 0.054392 | 0.054391 | 0.054392 | 0.98791 | -0.23148 | 0.99165 | -0.15909 | 14.9429
17 | -0.00092557 | -0.00023188 | 0.00092561 | 0.0002311 | 4.6175e-08 | -7.7712e-07 | 0.0013961 | 0.0013959 | 0.0013961 | 0.98645 | -0.25986 | 0.98651 | -0.25881 | 0.38355
18 | 0.00092557 | 0.00023188 | -0.00092556 | -0.00023197 | 5.4385e-09 | -9.1501e-08 | 0.0013961 | 0.0013962 | 0.0013962 | 0.98645 | -0.25986 | 0.98645 | -0.25999 | 0.38356
19 | -0.00092561 | -0.0002311 | 0.00092571 | 0.00022949 | 9.558e-08 | -1.6099e-06 | 0.0013959 | 0.0013953 | 0.0013959 | 0.98651 | -0.25881 | 0.98662 | -0.25663 | 0.38348
20 | 0.0091222 | 0.0022867 | -0.00912 | -0.0022857 | 2.2253e-06 | 1.0493e-06 | 0.013985 | 0.013985 | 0.013985 | 0.97062 | -0.56788 | 0.97036 | -0.573 | 3.8421
21 | 0.0058586 | 0.0014683 | -0.0058581 | -0.0014682 | 4.472e-07 | 1.037e-07 | 0.0089839 | 0.008984 | 0.008984 | 0.97036 | -0.573 | 0.97028 | -0.57461 | 2.4681
22 | -0.00092571 | -0.00022949 | 0.00092574 | 0.00022892 | 3.3721e-08 | -5.6841e-07 | 0.0013953 | 0.0013951 | 0.0013953 | 0.98662 | -0.25663 | 0.98666 | -0.25586 | 0.38331
23 | -0.0058753 | -0.0014694 | 0.0058766 | 0.0014697 | 1.2962e-06 | 2.6701e-07 | 0.0088597 | 0.0088595 | 0.0088597 | 0.98666 | -0.25586 | 0.9869 | -0.25122 | 2.434
24 | -0.38325 | -0.09692 | 0.38436 | 0.09763 | 0.001113 | 0.00070946 | 0.57722 | 0.57722 | 0.57722 | 0.98851 | -0.21944 | 0.99165 | -0.15909 | 31.7153
25 | 0.20989 | 0.053202 | -0.20981 | -0.053148 | 8.4253e-05 | 5.3202e-05 | 0.31617 | 0.31617 | 0.31617 | 0.98851 | -0.21944 | 0.98808 | -0.2278 | 17.3718
26 | 0.17336 | 0.043718 | -0.173 | -0.043492 | 0.00035438 | 0.00022609 | 0.26105 | 0.26105 | 0.26105 | 0.98851 | -0.21944 | 0.9863 | -0.26224 | 35.8588
27 | -0.42735 | -0.10846 | 0.42795 | 0.10884 | 0.0005998 | 0.00038262 | 0.64175 | 0.64175 | 0.64175 | 0.99165 | -0.15909 | 0.99317 | -0.12996 | 35.261
28 | 0.0067582 | 0.0016939 | -0.0067574 | -0.0016936 | 8.4143e-07 | 2.5708e-07 | 0.010141 | 0.010141 | 0.010141 | 0.99165 | -0.15909 | 0.99151 | -0.16171 | 2.786
29 | 0.07709 | 0.019394 | -0.07702 | -0.019349 | 6.9742e-05 | 4.4458e-05 | 0.11612 | 0.11612 | 0.11612 | 0.98808 | -0.2278 | 0.9871 | -0.24675 | 31.9014
30 | 0.13272 | 0.033755 | -0.13259 | -0.033675 | 0.00012859 | 7.9554e-05 | 0.20005 | 0.20005 | 0.20005 | 0.98808 | -0.2278 | 0.98703 | -0.24793 | 10.9916
31 | 0.13496 | 0.033957 | -0.13466 | -0.033768 | 0.00029545 | 0.00018885 | 0.20365 | 0.20365 | 0.20365 | 0.9863 | -0.26224 | 0.98395 | -0.30817 | 55.9488
32 | 0.0067574 | 0.0016936 | -0.0067566 | -0.0016934 | 7.7671e-07 | 2.3738e-07 | 0.010141 | 0.010141 | 0.010141 | 0.99151 | -0.16171 | 0.99139 | -0.16412 | 2.7861
33 | -0.45318 | -0.11516 | 0.45357 | 0.11541 | 0.00038909 | 0.00024829 | 0.67955 | 0.67955 | 0.67955 | 0.99317 | -0.12996 | 0.9941 | -0.11214 | 37.3377
34 | 0.13259 | 0.033675 | -0.13254 | -0.033647 | 4.5987e-05 | 2.8453e-05 | 0.20005 | 0.20005 | 0.20005 | 0.98703 | -0.24793 | 0.98666 | -0.25514 | 10.9916
35 | 0.088331 | 0.022566 | -0.088253 | -0.02252 | 7.795e-05 | 4.6161e-05 | 0.13337 | 0.13337 | 0.13337 | 0.98666 | -0.25514 | 0.98571 | -0.27341 | 7.328
36 | -0.45357 | -0.11541 | 0.45373 | 0.11551 | 0.00015571 | 9.9365e-05 | 0.67955 | 0.67955 | 0.67955 | 0.9941 | -0.11214 | 0.99447 | -0.10502 | 37.3377
37 | 0.009378 | 0.002351 | -0.0093747 | -0.0023495 | 3.2171e-06 | 1.4939e-06 | 0.014032 | 0.014033 | 0.014033 | 0.99447 | -0.10502 | 0.9941 | -0.11223 | 3.8551
38 | -0.4631 | -0.11786 | 0.46462 | 0.11883 | 0.0015128 | 0.00096549 | 0.69358 | 0.69358 | 0.69358 | 0.99447 | -0.10502 | 0.99802 | -0.037501 | 38.1087
39 | -0.088019 | -0.022381 | 0.088253 | 0.02252 | 0.00023418 | 0.00013872 | 0.13337 | 0.13337 | 0.13337 | 0.98285 | -0.32848 | 0.98571 | -0.27341 | 7.3283
40 | 0.022519 | 0.0056451 | -0.022516 | -0.0056431 | 3.4074e-06 | 2.08e-06 | 0.033949 | 0.033949 | 0.033949 | 0.98708 | -0.2477 | 0.98691 | -0.25088 | 9.3265
41 | 0.0058776 | 0.0014699 | -0.0058766 | -0.0014697 | 9.8387e-07 | 2.0248e-07 | 0.0088593 | 0.0088595 | 0.0088595 | 0.98708 | -0.2477 | 0.9869 | -0.25122 | 2.4339
42 | -0.009644 | -0.002417 | 0.0096453 | 0.0024176 | 1.2756e-06 | 5.9977e-07 | 0.014353 | 0.014352 | 0.014353 | 0.99986 | -0.0027761 | 1 | 0 | 3.943
43 | 0.47454 | 0.12165 | -0.47368 | -0.1211 | 0.00086107 | 0.00054958 | 0.70709 | 0.70709 | 0.70709 | 1 | 0 | 0.99802 | -0.037501 | 38.8511
44 | -0.057989 | -0.014533 | 0.058109 | 0.01461 | 0.00011973 | 7.6099e-05 | 0.087614 | 0.087613 | 0.087614 | 0.98488 | -0.29 | 0.9871 | -0.24675 | 24.0697
45 | 0.042259 | 0.01061 | -0.042254 | -0.010607 | 4.4784e-06 | 2.829e-06 | 0.063915 | 0.063915 | 0.063915 | 0.98395 | -0.30817 | 0.98383 | -0.31039 | 17.559
46 | -0.042209 | -0.010578 | 0.042254 | 0.010607 | 4.5807e-05 | 2.8937e-05 | 0.063915 | 0.063915 | 0.063915 | 0.98267 | -0.33315 | 0.98383 | -0.31039 | 17.559

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49415 | 0.12615

## res_load
| p_mw | q_mvar
0 | 0.017759 | 0.0044508
1 | 0.025829 | 0.0064735
2 | 0.0053443 | 0.0013394
3 | 0.02052 | 0.0051427
4 | 0.0026646 | 0.00066781
5 | 0.0011962 | 0.00029979
6 | 0.0076897 | 0.0019272
7 | 0.00092556 | 0.00023197
8 | 0.00469 | 0.0011754
9 | 0.0032614 | 0.00081738
10 | 0.0049496 | 0.0012405
11 | 0.038045 | 0.0095351
12 | 0.0067566 | 0.0016934
13 | 0.025227 | 0.0063225
14 | 0.044213 | 0.011081
15 | 0.0058581 | 0.0014682
16 | 0.009644 | 0.002417
17 | 0.0083075 | 0.002082
18 | 0.057989 | 0.014533
19 | 0.018911 | 0.0047396
20 | 0.092402 | 0.023158
21 | 0.0093747 | 0.0023495
22 | 0.0090642 | 0.0022717
23 | 0.022516 | 0.0056431
24 | 0.042209 | 0.010578

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1