## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-46_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-46_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-46_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-46_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-46_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-46_0_8_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-46_0_8_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_261-46_0_8_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_261-46_0_8_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_261-46_0_8_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_261-46_0_8_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_261-46_0_8_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_261-46_0_8_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_261-46_0_8_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_261-46_0_8_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_261-46_0_8_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_261-46_0_8_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_261-46_0_8_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_261-46_0_8_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_261-46_0_8_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_261-46_0_8_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_261-46_0_8_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_261-46_0_8_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_261-46_0_8_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_261-46_0_8_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_261-46_0_8_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_261-46_0_8_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_261-46_0_8_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_261-46_0_8_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_261-46_0_8_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_261-46_0_8_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_261-46_0_8_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_261-46_0_8_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_261-46_0_8_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_261-46_0_8_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_261-46_0_8_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_261-46_0_8_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_261-46_0_8_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_261-46_0_8_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_261-46_0_8_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_261-46_0_8_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_261-46_0_8_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_261-46_0_8_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_261-46_0_8_node_29 | 0.4 | n |  | TRUE
44 | bus_MV_359_0_node_46 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-46_0_8_load_0 | 0 | 0.0598 | 0.014987 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-46_0_8_load_1 | 1 | 0.031567 | 0.0079114 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-46_0_8_load_2 | 2 | 0.039248 | 0.0098364 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-46_0_8_load_3 | 3 | 0.010662 | 0.0026722 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-46_0_8_load_30 | 8 | 0.01512 | 0.0037895 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-46_0_8_load_47 | 11 | 0.013087 | 0.00328 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-46_0_8_load_23 | 13 | 0.010625 | 0.0026628 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-46_0_8_load_20 | 15 | 0.010489 | 0.0026289 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-46_0_8_load_42 | 17 | 0.0096764 | 0.0024251 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-46_0_8_load_43 | 19 | 0.0020024 | 0.00050185 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-46_0_8_load_35 | 21 | 0.030396 | 0.0076179 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-46_0_8_load_46 | 22 | 0.010058 | 0.0025206 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-46_0_8_load_45 | 24 | 0.0065714 | 0.001647 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-46_0_8_load_22 | 26 | 0.0060802 | 0.0015238 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-46_0_8_load_24 | 28 | 0.0062409 | 0.0015641 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-46_0_8_load_21 | 29 | 0.010942 | 0.0027423 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-46_0_8_load_32 | 30 | 0.0049602 | 0.0012431 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-46_0_8_load_33 | 31 | 0.0078624 | 0.0019705 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-46_0_8_load_31 | 32 | 0.060483 | 0.015159 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-46_0_8_load_36 | 35 | 0.0019125 | 0.00047931 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-46_0_8_load_34 | 36 | 0.030952 | 0.0077572 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-46_0_8_load_28 | 37 | 0.020184 | 0.0050586 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-46_0_8_load_40 | 39 | 0.0096808 | 0.0024262 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-46_0_8_load_44 | 41 | 0.0019825 | 0.00049686 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-46_0_8_load_27 | 42 | 0.029733 | 0.0074518 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-46_0_8_load_29 | 43 | 0.033009 | 0.0082728 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-46_0_8_line_0 |  | 0 | 1 | 0.030797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_261-46_0_8_line_1 |  | 0 | 2 | 0.032864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_261-46_0_8_line_2 |  | 1 | 3 | 0.027336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_261-46_0_8_line_3 |  | 2 | 4 | 0.2107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_261-46_0_8_line_4 |  | 3 | 5 | 0.031126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_261-46_0_8_line_5 |  | 4 | 6 | 0.073684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_261-46_0_8_line_6 |  | 5 | 7 | 0.003537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_261-46_0_8_line_7 |  | 6 | 8 | 0.16132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_261-46_0_8_line_8 |  | 6 | 9 | 0.12319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-46_0_8_line_9 |  | 7 | 10 | 0.068553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_261-46_0_8_line_10 |  | 7 | 11 | 0.072041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-46_0_8_line_11 |  | 8 | 37 | 0.030519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_261-46_0_8_line_12 |  | 9 | 20 | 0.089798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-46_0_8_line_13 |  | 10 | 18 | 0.040049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-46_0_8_line_14 |  | 12 | 13 | 0.019311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-46_0_8_line_15 |  | 12 | 14 | 0.027779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-46_0_8_line_16 |  | 12 | 15 | 0.048736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-46_0_8_line_17 |  | 13 | 28 | 0.049558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-46_0_8_line_18 |  | 14 | 16 | 0.039577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-46_0_8_line_19 |  | 14 | 17 | 0.018727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-46_0_8_line_20 |  | 15 | 29 | 0.0038415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-46_0_8_line_21 |  | 16 | 22 | 0.011972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-46_0_8_line_22 |  | 18 | 19 | 0.060778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-46_0_8_line_23 |  | 19 | 34 | 0.014461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-46_0_8_line_24 |  | 20 | 21 | 0.020143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-46_0_8_line_25 |  | 21 | 36 | 0.046983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-46_0_8_line_26 |  | 22 | 23 | 0.015251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-46_0_8_line_27 |  | 23 | 24 | 0.018052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-46_0_8_line_28 |  | 24 | 40 | 0.025895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-46_0_8_line_29 |  | 25 | 26 | 0.016799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-46_0_8_line_30 |  | 25 | 27 | 0.004693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-46_0_8_line_31 |  | 26 | 29 | 0.033529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-46_0_8_line_32 |  | 27 | 30 | 0.13454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-46_0_8_line_33 |  | 31 | 32 | 0.056592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-46_0_8_line_34 |  | 32 | 43 | 0.0085306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-46_0_8_line_35 |  | 33 | 34 | 0.037778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-46_0_8_line_36 |  | 33 | 35 | 0.010015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-46_0_8_line_37 |  | 34 | 41 | 0.022671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-46_0_8_line_38 |  | 35 | 38 | 0.016601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-46_0_8_line_39 |  | 37 | 42 | 0.021686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-46_0_8_line_40 |  | 38 | 39 | 0.012532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-46_0_8_line_41 |  | 40 | 41 | 0.019508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-46_0_8_line_42 |  | 42 | 43 | 0.022478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-46_0_8_trafo_2 | 0.63 MVA 20/0.4 kV | 44 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2682411.1783 | 1245366.7745 | 2682411.3702 | 1245397.5712
1 | 2682411.1783 | 1245366.7745 | 2682410.9735 | 1245333.9116
2 | 2682411.3702 | 1245397.5712 | 2682411.5406 | 1245424.9062
3 | 2682413.3073 | 1245141.7692 | 2682442.7769 | 1245208.6607 | 2682446.3491 | 1245216.9497 | 2682448.576 | 1245224.1748 | 2682449.828 | 1245231.9534 | 2682450.2014 | 1245239.8755 | 2682449.3603 | 1245248.7369 | 2682447.2139 | 1245258.5476 | 2682443.8119 | 1245266.8174 | 2682439.3741 | 1245274.5836 | 2682433.654 | 1245282.1875 | 2682420.9409 | 1245296.5658 | 2682416.5134 | 1245303.0534 | 2682413.1226 | 1245310.5229 | 2682411.5098 | 1245316.7383 | 2682410.9183 | 1245325.0473 | 2682410.9735 | 1245333.9116
4 | 2682411.7345 | 1245456.0318 | 2682411.5406 | 1245424.9062
5 | 2682479.1912 | 1245151.0804 | 2682478.2392 | 1245142.3831 | 2682413.3073 | 1245141.7692
6 | 2682411.7345 | 1245456.0318 | 2682411.7534 | 1245459.568
7 | 2682479.1912 | 1245151.0804 | 2682482.0711 | 1245171.6577 | 2682484.4832 | 1245174.2598 | 2682492.3008 | 1245217.9447 | 2682499.775 | 1245260.235 | 2682499.8731 | 1245261.8709 | 2682499.5654 | 1245263.3455 | 2682498.7496 | 1245264.4127 | 2682497.8999 | 1245265.2014 | 2682496.7285 | 1245265.7522 | 2682470.9963 | 1245270.3089 | 2682468.818 | 1245271.0013 | 2682467.4465 | 1245271.8162 | 2682465.9394 | 1245273.1518 | 2682464.7146 | 1245274.8249 | 2682464.007 | 1245276.8054 | 2682463.5432 | 1245278.6447 | 2682463.517 | 1245280.5235 | 2682463.9246 | 1245282.7308 | 2682464.013 | 1245283.2249
8 | 2682479.1912 | 1245151.0804 | 2682483.6256 | 1245150.6306 | 2682504.5931 | 1245267.4962
9 | 2682411.7534 | 1245459.568 | 2682412.0085 | 1245517.8585 | 2682412.7192 | 1245521.6267 | 2682413.764 | 1245524.1986 | 2682415.0704 | 1245525.3398 | 2682416.9797 | 1245525.5109
10 | 2682451.2457 | 1245421.7781 | 2682455.2439 | 1245441.259 | 2682452.8537 | 1245448.4977 | 2682445.1499 | 1245455.8627 | 2682431.3337 | 1245459.9292 | 2682411.7534 | 1245459.568
11 | 2682464.013 | 1245283.2249 | 2682469.3886 | 1245313.2664
12 | 2682519.8644 | 1245355.9842 | 2682504.5931 | 1245267.4962
13 | 2682402.9956 | 1245500.8987 | 2682403.0882 | 1245518.7019 | 2682403.1717 | 1245524.6518 | 2682403.0647 | 1245526.3738 | 2682407.9369 | 1245525.3852 | 2682413.764 | 1245524.1986 | 2682415.0704 | 1245525.3398 | 2682416.9797 | 1245525.5109
14 | 2682347.5244 | 1245297.6248 | 2682366.8044 | 1245298.7124
15 | 2682344.2386 | 1245324.1986 | 2682344.6322 | 1245312.729 | 2682344.7885 | 1245310.1738 | 2682345.5296 | 1245308.5051 | 2682346.7916 | 1245307.4107 | 2682347.4138 | 1245307.2192 | 2682347.4699 | 1245302.094 | 2682347.5244 | 1245297.6248
16 | 2682347.5244 | 1245297.6248 | 2682345.2366 | 1245295.8696 | 2682344.2152 | 1245293.2424 | 2682343.5458 | 1245283.7706 | 2682341.0712 | 1245254.6595 | 2682340.7716 | 1245250.3475
17 | 2682366.8044 | 1245298.7124 | 2682398.2629 | 1245300.4869 | 2682402.2834 | 1245299.8979 | 2682406.1543 | 1245298.117 | 2682409.8034 | 1245295.4436 | 2682413.304 | 1245291.5959
18 | 2682374.8923 | 1245339.0238 | 2682369.0101 | 1245333.2935 | 2682367.0924 | 1245325.0164 | 2682344.2386 | 1245324.1986
19 | 2682344.2386 | 1245324.1986 | 2682343.5976 | 1245342.9141
20 | 2682340.5054 | 1245246.5153 | 2682340.7716 | 1245250.3475
21 | 2682374.8923 | 1245339.0238 | 2682386.8622 | 1245339.2488
22 | 2682402.9956 | 1245500.8987 | 2682402.6624 | 1245440.1215
23 | 2682402.5831 | 1245425.6604 | 2682402.6624 | 1245440.1215
24 | 2682519.8644 | 1245355.9842 | 2682500.0811 | 1245359.7752
25 | 2682476.5105 | 1245332.6588 | 2682480.9126 | 1245358.1218 | 2682482.7406 | 1245360.8826 | 2682485.5863 | 1245362.1787 | 2682489.733 | 1245361.7582 | 2682500.0811 | 1245359.7752
26 | 2682402.1103 | 1245339.5355 | 2682386.8622 | 1245339.2488
27 | 2682402.1103 | 1245339.5355 | 2682402.2039 | 1245357.5869
28 | 2682402.3382 | 1245383.4818 | 2682402.2039 | 1245357.5869
29 | 2682332.6498 | 1245201.0481 | 2682336.9998 | 1245200.6859 | 2682337.4362 | 1245206.2627 | 2682337.9703 | 1245213.0822
30 | 2682332.6498 | 1245201.0481 | 2682327.9595 | 1245201.4388
31 | 2682337.9703 | 1245213.0822 | 2682339.8495 | 1245237.0742 | 2682340.5054 | 1245246.5153
32 | 2682327.9595 | 1245201.4388 | 2682331.0207 | 1245238.3749 | 2682334.8894 | 1245289.5325 | 2682335.4528 | 1245300.6484 | 2682335.6255 | 1245311.6143 | 2682335.0088 | 1245326.6389 | 2682334.698 | 1245335.6761
33 | 2682481.202 | 1245363.9301 | 2682482.6814 | 1245364.5956 | 2682484.0706 | 1245365.2154 | 2682485.3528 | 1245365.3889 | 2682486.8794 | 1245365.3656 | 2682489.3315 | 1245365.0884 | 2682512.2463 | 1245360.9707 | 2682513.773 | 1245360.9475 | 2682514.7292 | 1245361.1943 | 2682515.485 | 1245361.7274 | 2682515.8714 | 1245362.7336 | 2682519.2974 | 1245382.8045
34 | 2682481.202 | 1245363.9301 | 2682481.202 | 1245363.9301 | 2682480.1723 | 1245362.9929 | 2682479.1442 | 1245361.9445 | 2682478.3217 | 1245360.7766 | 2682477.6595 | 1245359.4887 | 2682477.1675 | 1245356.7391
35 | 2682368.338 | 1245423.5388 | 2682379.9725 | 1245423.1334 | 2682384.0848 | 1245420.2884 | 2682392.7974 | 1245420.265 | 2682394.2091 | 1245423.6203 | 2682398.9686 | 1245425.8547 | 2682402.5831 | 1245425.6604
36 | 2682368.338 | 1245423.5388 | 2682368.4772 | 1245413.5252
37 | 2682402.5831 | 1245425.6604 | 2682402.4515 | 1245402.9898
38 | 2682371.0786 | 1245397.6024 | 2682369.9731 | 1245399.9443 | 2682370.7694 | 1245405.1703 | 2682368.499 | 1245411.9548 | 2682368.4772 | 1245413.5252
39 | 2682473.2083 | 1245334.613 | 2682469.3886 | 1245313.2664
40 | 2682371.0786 | 1245397.6024 | 2682367.4276 | 1245394.9831 | 2682359.7615 | 1245392.5638
41 | 2682402.3382 | 1245383.4818 | 2682402.4515 | 1245402.9898
42 | 2682473.2083 | 1245334.613 | 2682477.1675 | 1245356.7391

## bus_geodata
| x | y | coords
0 | 2682411.1783 | 1245366.7745
1 | 2682411.3702 | 1245397.5712
2 | 2682410.9735 | 1245333.9116
3 | 2682411.5406 | 1245424.9062
4 | 2682413.3073 | 1245141.7692
5 | 2682411.7345 | 1245456.0318
6 | 2682479.1912 | 1245151.0804
7 | 2682411.7534 | 1245459.568
8 | 2682464.013 | 1245283.2249
9 | 2682504.5931 | 1245267.4962
10 | 2682416.9797 | 1245525.5109
11 | 2682451.2457 | 1245421.7781
12 | 2682347.5244 | 1245297.6248
13 | 2682366.8044 | 1245298.7124
14 | 2682344.2386 | 1245324.1986
15 | 2682340.7716 | 1245250.3475
16 | 2682374.8923 | 1245339.0238
17 | 2682343.5976 | 1245342.9141
18 | 2682402.9956 | 1245500.8987
19 | 2682402.6624 | 1245440.1215
20 | 2682519.8644 | 1245355.9842
21 | 2682500.0811 | 1245359.7752
22 | 2682386.8622 | 1245339.2488
23 | 2682402.1103 | 1245339.5355
24 | 2682402.2039 | 1245357.5869
25 | 2682332.6498 | 1245201.0481
26 | 2682337.9703 | 1245213.0822
27 | 2682327.9595 | 1245201.4388
28 | 2682413.3041 | 1245291.5959
29 | 2682340.5054 | 1245246.5153
30 | 2682334.698 | 1245335.6761
31 | 2682519.2974 | 1245382.8045
32 | 2682481.202 | 1245363.9301
33 | 2682368.338 | 1245423.5388
34 | 2682402.5831 | 1245425.6604
35 | 2682368.4772 | 1245413.5252
36 | 2682476.5105 | 1245332.6588
37 | 2682469.3886 | 1245313.2664
38 | 2682371.0786 | 1245397.6024
39 | 2682359.7615 | 1245392.5638
40 | 2682402.3382 | 1245383.4818
41 | 2682402.4515 | 1245402.9898
42 | 2682473.2083 | 1245334.613
43 | 2682477.1675 | 1245356.7391
44 | 2682411.7345 | 1245456.0318

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99844 | -0.0296 | 0.0598 | 0.014987
1 | 0.9974 | -0.049352 | 0.031567 | 0.0079114
2 | 1 | 0 | -0.44402 | -0.11405
3 | 0.99667 | -0.063132 | 0.010662 | 0.0026722
4 | 0.98879 | -0.21152 | 0 | 0
5 | 0.99592 | -0.07739 | 0 | 0
6 | 0.98487 | -0.28661 | 0 | 0
7 | 0.99583 | -0.079011 | 0 | 0
8 | 0.97861 | -0.40798 | 0.01512 | 0.0037895
9 | 0.97781 | -0.42341 | 0 | 0
10 | 0.99389 | -0.11573 | 0 | 0
11 | 0.99497 | -0.095597 | 0.013087 | 0.00328
12 | 0.97302 | -0.51943 | 0 | 0
13 | 0.97272 | -0.52543 | 0.010625 | 0.0026628
14 | 0.9743 | -0.49423 | 0 | 0
15 | 0.97154 | -0.54862 | 0.010489 | 0.0026289
16 | 0.97648 | -0.45143 | 0 | 0
17 | 0.97413 | -0.49756 | 0.0096764 | 0.0024251
18 | 0.99049 | -0.18043 | 0 | 0
19 | 0.98532 | -0.27946 | 0.0020024 | 0.00050185
20 | 0.97266 | -0.52437 | 0 | 0
21 | 0.97151 | -0.54716 | 0.030396 | 0.0076179
22 | 0.97714 | -0.43852 | 0.010058 | 0.0025206
23 | 0.97812 | -0.41931 | 0 | 0
24 | 0.97928 | -0.39662 | 0.0065714 | 0.001647
25 | 0.97104 | -0.55856 | 0 | 0
26 | 0.97112 | -0.55702 | 0.0060802 | 0.0015238
27 | 0.97102 | -0.55899 | 0 | 0
28 | 0.97243 | -0.53113 | 0.0062409 | 0.0015641
29 | 0.97146 | -0.55018 | 0.010942 | 0.0027423
30 | 0.9704 | -0.57134 | 0.0049602 | 0.0012431
31 | 0.97072 | -0.56315 | 0.0078624 | 0.0019705
32 | 0.97114 | -0.55492 | 0.060483 | 0.015159
33 | 0.98372 | -0.31054 | 0 | 0
34 | 0.98412 | -0.30266 | 0 | 0
35 | 0.98361 | -0.31264 | 0.0019125 | 0.00047931
36 | 0.97015 | -0.57406 | 0.030952 | 0.0077572
37 | 0.97646 | -0.45008 | 0.020184 | 0.0050586
38 | 0.98346 | -0.31553 | 0 | 0
39 | 0.98335 | -0.31772 | 0.0096808 | 0.0024262
40 | 0.98111 | -0.36108 | 0 | 0
41 | 0.98248 | -0.33439 | 0.0019825 | 0.00049686
42 | 0.97381 | -0.50219 | 0.029733 | 0.0074518
43 | 0.97168 | -0.54415 | 0.033009 | 0.0082728
44 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.14862 | 0.038043 | -0.14848 | -0.037954 | 0.00014201 | 8.9279e-05 | 0.22178 | 0.22178 | 0.22178 | 0.99844 | -0.0296 | 0.9974 | -0.049352 | 15.2321
1 | -0.20842 | -0.05303 | 0.20872 | 0.053219 | 0.0002978 | 0.00018887 | 0.3109 | 0.3109 | 0.3109 | 0.99844 | -0.0296 | 1 | 0 | 21.3531
2 | 0.11691 | 0.030042 | -0.11684 | -0.029994 | 7.8202e-05 | 4.8623e-05 | 0.17469 | 0.17469 | 0.17469 | 0.9974 | -0.049352 | 0.99667 | -0.063132 | 11.9977
3 | 0.23364 | 0.060828 | -0.23125 | -0.059303 | 0.0023988 | 0.0015243 | 0.34848 | 0.34848 | 0.34848 | 1 | 0 | 0.98879 | -0.21152 | 23.9342
4 | 0.10617 | 0.027322 | -0.1061 | -0.027276 | 7.3558e-05 | 4.5456e-05 | 0.15877 | 0.15877 | 0.15877 | 0.99667 | -0.063132 | 0.99592 | -0.07739 | 10.9045
5 | 0.23125 | 0.059303 | -0.23041 | -0.05877 | 0.0008389 | 0.00053313 | 0.34848 | 0.34848 | 0.34848 | 0.98879 | -0.21152 | 0.98487 | -0.28661 | 23.9343
6 | 0.1061 | 0.027276 | -0.10609 | -0.027271 | 8.3587e-06 | 5.1655e-06 | 0.15877 | 0.15877 | 0.15877 | 0.99592 | -0.07739 | 0.99583 | -0.079011 | 10.9045
7 | 0.16825 | 0.042879 | -0.16727 | -0.04226 | 0.00097923 | 0.00061855 | 0.25446 | 0.25446 | 0.25446 | 0.98487 | -0.28661 | 0.97861 | -0.40798 | 17.4765
8 | 0.06216 | 0.015892 | -0.061752 | -0.015632 | 0.00040843 | 0.00025984 | 0.094028 | 0.094029 | 0.094029 | 0.98487 | -0.28661 | 0.97781 | -0.42341 | 25.8321
9 | 0.092994 | 0.023985 | -0.092828 | -0.023882 | 0.00016604 | 0.00010359 | 0.1392 | 0.1392 | 0.1392 | 0.99583 | -0.079011 | 0.99389 | -0.11573 | 12.7472
10 | 0.013098 | 0.0032856 | -0.013087 | -0.00328 | 1.0349e-05 | 5.6868e-06 | 0.019572 | 0.019572 | 0.019572 | 0.99583 | -0.079011 | 0.99497 | -0.095597 | 5.377
11 | 0.15215 | 0.038471 | -0.15184 | -0.038275 | 0.00030658 | 0.00019545 | 0.23147 | 0.23147 | 0.23147 | 0.97861 | -0.40798 | 0.97646 | -0.45008 | 31.795
12 | 0.061752 | 0.015632 | -0.061454 | -0.015442 | 0.00029773 | 0.00018943 | 0.094029 | 0.094029 | 0.094029 | 0.97781 | -0.42341 | 0.97266 | -0.52437 | 25.8322
13 | 0.092828 | 0.023882 | -0.092537 | -0.023696 | 0.000291 | 0.00018572 | 0.1392 | 0.1392 | 0.1392 | 0.99389 | -0.11573 | 0.99049 | -0.18043 | 38.2415
14 | 0.016872 | 0.0042302 | -0.016867 | -0.0042274 | 4.8213e-06 | 2.8458e-06 | 0.025803 | 0.025803 | 0.025803 | 0.97302 | -0.51943 | 0.97272 | -0.52543 | 7.0887
15 | -0.049398 | -0.0124 | 0.049457 | 0.012438 | 5.9458e-05 | 3.7708e-05 | 0.07555 | 0.07555 | 0.07555 | 0.97302 | -0.51943 | 0.9743 | -0.49423 | 20.7555
16 | 0.032526 | 0.0081696 | -0.03248 | -0.0081413 | 4.5229e-05 | 2.8342e-05 | 0.049747 | 0.049747 | 0.049747 | 0.97302 | -0.51943 | 0.97154 | -0.54862 | 13.6668
17 | 0.0062426 | 0.0015646 | -0.0062409 | -0.0015641 | 1.6949e-06 | 4.6971e-07 | 0.0095496 | 0.0095499 | 0.0095499 | 0.97272 | -0.52543 | 0.97243 | -0.53113 | 2.6236
18 | -0.059135 | -0.014863 | 0.059256 | 0.01494 | 0.0001211 | 7.7009e-05 | 0.090331 | 0.09033 | 0.090331 | 0.9743 | -0.49423 | 0.97648 | -0.45143 | 24.8161
19 | 0.0096779 | 0.0024259 | -0.0096764 | -0.0024251 | 1.5342e-06 | 7.4874e-07 | 0.014781 | 0.014781 | 0.014781 | 0.9743 | -0.49423 | 0.97413 | -0.49756 | 4.0607
20 | 0.021991 | 0.0055124 | -0.021989 | -0.0055115 | 1.6343e-06 | 9.9837e-07 | 0.033682 | 0.033682 | 0.033682 | 0.97154 | -0.54862 | 0.97146 | -0.55018 | 9.2533
21 | -0.059256 | -0.01494 | 0.059293 | 0.014964 | 3.6632e-05 | 2.3295e-05 | 0.09033 | 0.09033 | 0.09033 | 0.97648 | -0.45143 | 0.97714 | -0.43852 | 24.8161
22 | 0.092537 | 0.023696 | -0.092095 | -0.023414 | 0.00044162 | 0.00028186 | 0.1392 | 0.1392 | 0.1392 | 0.99049 | -0.18043 | 0.98532 | -0.27946 | 38.2416
23 | 0.090093 | 0.022912 | -0.089992 | -0.022848 | 0.00010056 | 6.4176e-05 | 0.13618 | 0.13618 | 0.13618 | 0.98532 | -0.27946 | 0.98412 | -0.30266 | 37.4108
24 | 0.061454 | 0.015442 | -0.061387 | -0.0154 | 6.6786e-05 | 4.2494e-05 | 0.094029 | 0.094029 | 0.094029 | 0.97266 | -0.52437 | 0.97151 | -0.54716 | 25.8323
25 | 0.030991 | 0.007782 | -0.030952 | -0.0077572 | 3.9708e-05 | 2.4832e-05 | 0.047474 | 0.047474 | 0.047474 | 0.97151 | -0.54716 | 0.97015 | -0.57406 | 13.0423
26 | -0.06935 | -0.017484 | 0.069414 | 0.017525 | 6.3831e-05 | 4.0661e-05 | 0.10565 | 0.10565 | 0.10565 | 0.97714 | -0.43852 | 0.97812 | -0.41931 | 29.0237
27 | -0.069414 | -0.017525 | 0.06949 | 0.017573 | 7.5554e-05 | 4.8128e-05 | 0.10565 | 0.10565 | 0.10565 | 0.97812 | -0.41931 | 0.97928 | -0.39662 | 29.0237
28 | -0.076061 | -0.01922 | 0.076191 | 0.019303 | 0.00012984 | 8.277e-05 | 0.11563 | 0.11563 | 0.11563 | 0.97928 | -0.39662 | 0.98111 | -0.36108 | 31.7669
29 | -0.0049632 | -0.0012434 | 0.0049636 | 0.0012434 | 3.6438e-07 | 2.5375e-08 | 0.0076054 | 0.0076053 | 0.0076054 | 0.97104 | -0.55856 | 0.97112 | -0.55702 | 2.0894
30 | 0.0049632 | 0.0012434 | -0.0049631 | -0.0012433 | 1.0179e-07 | 7.0954e-09 | 0.0076054 | 0.0076054 | 0.0076054 | 0.97104 | -0.55856 | 0.97102 | -0.55899 | 2.0894
31 | -0.011044 | -0.0027672 | 0.011047 | 0.0027691 | 3.6004e-06 | 1.8892e-06 | 0.016922 | 0.016922 | 0.016922 | 0.97112 | -0.55702 | 0.97146 | -0.55018 | 4.6488
32 | 0.0049631 | 0.0012433 | -0.0049602 | -0.0012431 | 2.9186e-06 | 2.0468e-07 | 0.0076054 | 0.007606 | 0.007606 | 0.97102 | -0.55899 | 0.9704 | -0.57134 | 2.0896
33 | -0.0078624 | -0.0019705 | 0.0078655 | 0.0019718 | 3.0826e-06 | 1.273e-06 | 0.012052 | 0.012052 | 0.012052 | 0.97072 | -0.56315 | 0.97114 | -0.55492 | 3.3111
34 | -0.068349 | -0.01713 | 0.068384 | 0.017153 | 3.5086e-05 | 2.2349e-05 | 0.10473 | 0.10473 | 0.10473 | 0.97114 | -0.55492 | 0.97168 | -0.54415 | 28.7712
35 | -0.011597 | -0.0029073 | 0.011601 | 0.0029096 | 4.3594e-06 | 2.3102e-06 | 0.017542 | 0.017542 | 0.017542 | 0.98372 | -0.31054 | 0.98412 | -0.30266 | 4.8193
36 | 0.011597 | 0.0029073 | -0.011596 | -0.0029067 | 1.1557e-06 | 6.1249e-07 | 0.017542 | 0.017542 | 0.017542 | 0.98372 | -0.31054 | 0.98361 | -0.31264 | 4.8193
37 | 0.078391 | 0.019938 | -0.078271 | -0.019862 | 0.00011965 | 7.6289e-05 | 0.11863 | 0.11863 | 0.11863 | 0.98412 | -0.30266 | 0.98248 | -0.33439 | 32.5917
38 | 0.0096832 | 0.0024274 | -0.0096818 | -0.0024267 | 1.3359e-06 | 6.443e-07 | 0.014649 | 0.014649 | 0.014649 | 0.98361 | -0.31264 | 0.98346 | -0.31553 | 4.0245
39 | 0.13166 | 0.033216 | -0.13133 | -0.033007 | 0.0003276 | 0.00020939 | 0.20071 | 0.20071 | 0.20071 | 0.97646 | -0.45008 | 0.97381 | -0.50219 | 55.14
40 | 0.0096818 | 0.0024267 | -0.0096808 | -0.0024262 | 1.0085e-06 | 4.8644e-07 | 0.014649 | 0.014649 | 0.014649 | 0.98346 | -0.31553 | 0.98335 | -0.31772 | 4.0245
41 | -0.076191 | -0.019303 | 0.076289 | 0.019365 | 9.7814e-05 | 6.2354e-05 | 0.11563 | 0.11563 | 0.11563 | 0.98111 | -0.36108 | 0.98248 | -0.33439 | 31.7668
42 | 0.1016 | 0.025555 | -0.10139 | -0.025425 | 0.00020323 | 0.00012979 | 0.15528 | 0.15528 | 0.15528 | 0.97381 | -0.50219 | 0.97168 | -0.54415 | 42.6583

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48326 | 0.12388

## res_load
| p_mw | q_mvar
0 | 0.0598 | 0.014987
1 | 0.031567 | 0.0079114
2 | 0.039248 | 0.0098364
3 | 0.010662 | 0.0026722
4 | 0.01512 | 0.0037895
5 | 0.013087 | 0.00328
6 | 0.010625 | 0.0026628
7 | 0.010489 | 0.0026289
8 | 0.0096764 | 0.0024251
9 | 0.0020024 | 0.00050185
10 | 0.030396 | 0.0076179
11 | 0.010058 | 0.0025206
12 | 0.0065714 | 0.001647
13 | 0.0060802 | 0.0015238
14 | 0.0062409 | 0.0015641
15 | 0.010942 | 0.0027423
16 | 0.0049602 | 0.0012431
17 | 0.0078624 | 0.0019705
18 | 0.060483 | 0.015159
19 | 0.0019125 | 0.00047931
20 | 0.030952 | 0.0077572
21 | 0.020184 | 0.0050586
22 | 0.0096808 | 0.0024262
23 | 0.0019825 | 0.00049686
24 | 0.029733 | 0.0074518
25 | 0.033009 | 0.0082728

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1