## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-479_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-479_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-479_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_261-479_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-479_0_4_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_261-479_0_4_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_261-479_0_4_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_261-479_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_261-479_0_4_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_261-479_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_261-479_0_4_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_261-479_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_261-479_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_261-479_0_4_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_261-479_0_4_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_261-479_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_261-479_0_4_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_261-479_0_4_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_261-479_0_4_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_261-479_0_4_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_261-479_0_4_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_261-479_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_261-479_0_4_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_261-479_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_261-479_0_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_261-479_0_4_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_261-479_0_4_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_261-479_0_4_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_261-479_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_261-479_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_261-479_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_MV_524_0_node_162 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-479_0_4_load_0 | 0 | 0.014249 | 0.0035712 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-479_0_4_load_20 | 5 | 0.015866 | 0.0039765 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-479_0_4_load_31 | 6 | 0.02493 | 0.0062481 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-479_0_4_load_32 | 10 | 0.017359 | 0.0043507 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-479_0_4_load_14 | 11 | 0.016592 | 0.0041584 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-479_0_4_load_27 | 13 | 0.027669 | 0.0069344 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-479_0_4_load_25 | 14 | 0.017428 | 0.004368 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-479_0_4_load_24 | 17 | 0.0069728 | 0.0017476 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-479_0_4_load_29 | 18 | 0.013599 | 0.0034082 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-479_0_4_load_30 | 20 | 0.059067 | 0.014804 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-479_0_4_load_33 | 22 | 0.010647 | 0.0026685 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-479_0_4_load_12 | 23 | 0.0084056 | 0.0021067 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-479_0_4_load_23 | 24 | 0.015826 | 0.0039664 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-479_0_4_load_26 | 25 | 0.015898 | 0.0039844 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-479_0_4_load_13 | 27 | 0.010755 | 0.0026954 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-479_0_4_load_15 | 28 | 0.016774 | 0.004204 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-479_0_4_load_16 | 29 | 0.023492 | 0.0058876 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-479_0_4_load_18 | 30 | 0.020133 | 0.0050457 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-479_0_4_line_0 |  | 0 | 1 | 0.036866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-479_0_4_line_1 |  | 1 | 2 | 0.031338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-479_0_4_line_2 |  | 2 | 6 | 0.055677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-479_0_4_line_3 |  | 3 | 4 | 0.054617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_261-479_0_4_line_4 |  | 3 | 5 | 0.0034262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_261-479_0_4_line_5 |  | 4 | 11 | 0.039895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_261-479_0_4_line_6 |  | 5 | 16 | 0.020689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_261-479_0_4_line_7 |  | 6 | 7 | 0.038939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_261-479_0_4_line_8 |  | 7 | 8 | 0.028967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_261-479_0_4_line_9 |  | 8 | 20 | 0.026766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-479_0_4_line_10 |  | 8 | 21 | 0.031102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-479_0_4_line_11 |  | 8 | 9 | 0.012544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_261-479_0_4_line_12 |  | 9 | 10 | 0.064138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_261-479_0_4_line_13 |  | 10 | 22 | 0.0010233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_261-479_0_4_line_14 |  | 11 | 23 | 0.0018137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_261-479_0_4_line_15 |  | 12 | 13 | 0.023415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-479_0_4_line_16 |  | 12 | 14 | 0.055918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-479_0_4_line_17 |  | 13 | 15 | 0.030137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-479_0_4_line_18 |  | 15 | 16 | 0.043656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_261-479_0_4_line_19 |  | 15 | 17 | 0.018621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-479_0_4_line_20 |  | 16 | 19 | 0.072044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-479_0_4_line_21 |  | 17 | 24 | 0.0068642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-479_0_4_line_22 |  | 18 | 19 | 0.025136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-479_0_4_line_23 |  | 19 | 26 | 0.008702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-479_0_4_line_24 |  | 20 | 30 | 0.018296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-479_0_4_line_25 |  | 21 | 29 | 0.0028348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-479_0_4_line_26 |  | 22 | 28 | 0.021474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_261-479_0_4_line_27 |  | 23 | 27 | 0.019746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_261-479_0_4_line_28 |  | 25 | 26 | 0.013333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-479_0_4_line_29 |  | 27 | 28 | 0.00088078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-479_0_4_trafo_10 | 0.63 MVA 20/0.4 kV | 31 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2680901.0718 | 1253058.7568 | 2680913.7083 | 1253093.3892
1 | 2680901.0718 | 1253058.7568 | 2680907.2594 | 1253057.129 | 2680913.3526 | 1253074.0025 | 2680920.3504 | 1253073.8313
2 | 2680920.3504 | 1253073.8313 | 2680950.1873 | 1253075.5735 | 2680975.9089 | 1253077.4459
3 | 2680956.2428 | 1253173.0179 | 2680961.6131 | 1253184.2441 | 2680967.6923 | 1253193.2895 | 2680971.0712 | 1253195.6263 | 2680974.9019 | 1253196.9352 | 2680978.2743 | 1253196.4365 | 2680981.8626 | 1253195.0512 | 2680985.6508 | 1253201.1186 | 2680990.2585 | 1253208.5093
4 | 2680990.2585 | 1253208.5093 | 2680993.2071 | 1253206.7645
5 | 2680956.2428 | 1253173.0179 | 2680983.9321 | 1253175.0534 | 2680985.0096 | 1253162.9701
6 | 2681011.0124 | 1253196.2283 | 2680993.2071 | 1253206.7645
7 | 2681014.7915 | 1253079.426 | 2680991.1909 | 1253078.5583 | 2680975.9089 | 1253077.4459
8 | 2681014.7915 | 1253079.426 | 2681031.3757 | 1253080.1645 | 2681040.2441 | 1253088.8812
9 | 2681040.2441 | 1253088.8812 | 2681055.928 | 1253090.8861 | 2681066.8273 | 1253091.9806
10 | 2681040.2441 | 1253088.8812 | 2681057.6177 | 1253070.5384 | 2681062.92 | 1253067.9869
11 | 2681040.2441 | 1253088.8812 | 2681039.1607 | 1253095.8049 | 2681034.7603 | 1253099.1805
12 | 2681034.7603 | 1253099.1805 | 2681031.831 | 1253098.729 | 2681026.1204 | 1253094.7257 | 2681022.5772 | 1253094.4659 | 2681019.6173 | 1253096.249 | 2681011.0231 | 1253095.6199 | 2680992.7669 | 1253098.5058 | 2680989.4317 | 1253113.3825 | 2680989.0012 | 1253118.2095
13 | 2680989.0012 | 1253118.2095 | 2680988.9103 | 1253119.2287
14 | 2680985.1707 | 1253161.1636 | 2680985.0096 | 1253162.9701
15 | 2681093.2237 | 1253144.1918 | 2681073.3815 | 1253156.6243
16 | 2681093.2237 | 1253144.1918 | 2681109.1175 | 1253167.7714 | 2681112.2216 | 1253177.499 | 2681114.3465 | 1253184.8891 | 2681116.9519 | 1253194.1095
17 | 2681047.8438 | 1253172.6255 | 2681073.3815 | 1253156.6243
18 | 2681011.0124 | 1253196.2283 | 2681047.8438 | 1253172.6255
19 | 2681047.8438 | 1253172.6255 | 2681059.9049 | 1253186.8123
20 | 2681048.663 | 1253255.0094 | 2681045.9457 | 1253250.6467 | 2681036.5466 | 1253242.134 | 2681032.8582 | 1253230.9864 | 2681031.3341 | 1253223.8046 | 2681028.0414 | 1253212.9626 | 2681011.0124 | 1253196.2283
21 | 2681062.7703 | 1253193.0097 | 2681060.469 | 1253187.476 | 2681059.9049 | 1253186.8123
22 | 2681048.663 | 1253255.0094 | 2681025.9946 | 1253265.8713
23 | 2681048.663 | 1253255.0094 | 2681056.4147 | 1253251.0124
24 | 2681066.8273 | 1253091.9806 | 2681085.0318 | 1253093.8087
25 | 2681062.92 | 1253067.9869 | 2681060.121 | 1253067.5382
26 | 2680987.0029 | 1253140.6183 | 2680988.9103 | 1253119.2287
27 | 2680985.1707 | 1253161.1636 | 2680986.9247 | 1253141.4956
28 | 2681056.4147 | 1253251.0124 | 2681068.0551 | 1253244.5115
29 | 2680986.9247 | 1253141.4956 | 2680987.0029 | 1253140.6183

## bus_geodata
| x | y | coords
0 | 2680913.7083 | 1253093.3892
1 | 2680901.0718 | 1253058.7568
2 | 2680920.3504 | 1253073.8313
3 | 2680990.2585 | 1253208.5093
4 | 2680956.2428 | 1253173.0179
5 | 2680993.2071 | 1253206.7645
6 | 2680975.9089 | 1253077.4459
7 | 2681014.7915 | 1253079.426
8 | 2681040.2441 | 1253088.8812
9 | 2681034.7603 | 1253099.1805
10 | 2680989.0012 | 1253118.2095
11 | 2680985.0096 | 1253162.9701
12 | 2681093.2237 | 1253144.1918
13 | 2681073.3815 | 1253156.6243
14 | 2681116.9519 | 1253194.1095
15 | 2681047.8438 | 1253172.6255
16 | 2681011.0124 | 1253196.2283
17 | 2681059.9049 | 1253186.8123
18 | 2681025.9946 | 1253265.8713
19 | 2681048.663 | 1253255.0094
20 | 2681066.8273 | 1253091.9806
21 | 2681062.92 | 1253067.9869
22 | 2680988.9103 | 1253119.2287
23 | 2680985.1707 | 1253161.1636
24 | 2681062.7703 | 1253193.0097
25 | 2681068.0551 | 1253244.5115
26 | 2681056.4147 | 1253251.0124
27 | 2680986.9247 | 1253141.4956
28 | 2680987.0029 | 1253140.6183
29 | 2681060.121 | 1253067.5382
30 | 2681085.0318 | 1253093.8087
31 | 2681043.5437 | 1253167.574

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97031 | -0.57232 | 0.014249 | 0.0035712
1 | 0.9708 | -0.5626 | 0 | 0
2 | 0.97122 | -0.55434 | 0 | 0
3 | 0.99192 | -0.15272 | 0 | 0
4 | 0.98626 | -0.26094 | 0 | 0
5 | 0.99227 | -0.14598 | 0.015866 | 0.0039765
6 | 0.97196 | -0.53969 | 0.02493 | 0.0062481
7 | 0.97267 | -0.52563 | 0 | 0
8 | 0.9732 | -0.51518 | 0 | 0
9 | 0.97403 | -0.49881 | 0 | 0
10 | 0.97828 | -0.41559 | 0.017359 | 0.0043507
11 | 0.98213 | -0.34078 | 0.016592 | 0.0041584
12 | 0.99839 | -0.030853 | 0 | 0
13 | 0.99877 | -0.023719 | 0.027669 | 0.0069344
14 | 0.99751 | -0.047909 | 0.017428 | 0.004368
15 | 1 | 0 | -0.34303 | -0.08777
16 | 0.99457 | -0.10244 | 0 | 0
17 | 0.99961 | -0.0074024 | 0.0069728 | 0.0017476
18 | 0.99231 | -0.14601 | 0.013599 | 0.0034082
19 | 0.99263 | -0.13996 | 0 | 0
20 | 0.97122 | -0.55427 | 0.059067 | 0.014804
21 | 0.97252 | -0.52863 | 0 | 0
22 | 0.97836 | -0.4141 | 0.010647 | 0.0026685
23 | 0.98195 | -0.34415 | 0.0084056 | 0.0021067
24 | 0.99952 | -0.0092975 | 0.015826 | 0.0039664
25 | 0.99231 | -0.14616 | 0.015898 | 0.0039844
26 | 0.9925 | -0.14241 | 0 | 0
27 | 0.98014 | -0.37945 | 0.010755 | 0.0026954
28 | 0.98006 | -0.38094 | 0.016774 | 0.004204
29 | 0.97246 | -0.52986 | 0.023492 | 0.0058876
30 | 0.97088 | -0.56107 | 0.020133 | 0.0050457
31 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.014249 | -0.0035712 | 0.014256 | 0.003575 | 6.6014e-06 | 3.7693e-06 | 0.021852 | 0.021852 | 0.021852 | 0.97031 | -0.57232 | 0.9708 | -0.5626 | 6.0033
1 | -0.014256 | -0.003575 | 0.014262 | 0.0035782 | 5.6115e-06 | 3.2037e-06 | 0.021852 | 0.021852 | 0.021852 | 0.9708 | -0.5626 | 0.97122 | -0.55434 | 6.0033
2 | -0.014262 | -0.0035782 | 0.014272 | 0.0035839 | 9.9696e-06 | 5.691e-06 | 0.021852 | 0.021852 | 0.021852 | 0.97122 | -0.55434 | 0.97196 | -0.53969 | 6.0032
3 | 0.22603 | 0.058053 | -0.22485 | -0.057298 | 0.0011809 | 0.0007544 | 0.33958 | 0.33959 | 0.33959 | 0.99192 | -0.15272 | 0.98626 | -0.26094 | 46.6464
4 | -0.22603 | -0.058053 | 0.22611 | 0.0581 | 7.4082e-05 | 4.7324e-05 | 0.33958 | 0.33958 | 0.33958 | 0.99192 | -0.15272 | 0.99227 | -0.14598 | 46.6463
5 | 0.22485 | 0.057298 | -0.22399 | -0.056747 | 0.00086262 | 0.00055107 | 0.33959 | 0.33959 | 0.33959 | 0.98626 | -0.26094 | 0.98213 | -0.34078 | 46.6464
6 | -0.24197 | -0.062077 | 0.24249 | 0.062404 | 0.00051222 | 0.00032729 | 0.36338 | 0.36338 | 0.36338 | 0.99227 | -0.14598 | 0.99457 | -0.10244 | 49.9146
7 | -0.039202 | -0.009832 | 0.039228 | 0.0098479 | 2.63e-05 | 1.5866e-05 | 0.060018 | 0.060018 | 0.060018 | 0.97196 | -0.53969 | 0.97267 | -0.52563 | 8.2443
8 | -0.039228 | -0.0098479 | 0.039248 | 0.0098597 | 1.9564e-05 | 1.1802e-05 | 0.060018 | 0.060018 | 0.060018 | 0.97267 | -0.52563 | 0.9732 | -0.51518 | 8.2442
9 | 0.079354 | 0.019948 | -0.079206 | -0.019853 | 0.00014781 | 9.4268e-05 | 0.12135 | 0.12135 | 0.12135 | 0.9732 | -0.51518 | 0.97122 | -0.55427 | 33.3388
10 | 0.023508 | 0.0058977 | -0.023493 | -0.0058884 | 1.507e-05 | 9.2587e-06 | 0.035946 | 0.035946 | 0.035946 | 0.9732 | -0.51518 | 0.97252 | -0.52863 | 9.8752
11 | -0.14211 | -0.035705 | 0.14222 | 0.035776 | 0.00011108 | 7.0777e-05 | 0.21732 | 0.21732 | 0.21732 | 0.9732 | -0.51518 | 0.97403 | -0.49881 | 29.8512
12 | -0.14222 | -0.035776 | 0.14279 | 0.036138 | 0.00056794 | 0.00036188 | 0.21732 | 0.21732 | 0.21732 | 0.97403 | -0.49881 | 0.97828 | -0.41559 | 29.8512
13 | -0.16015 | -0.040488 | 0.16016 | 0.040496 | 1.1396e-05 | 7.268e-06 | 0.24372 | 0.24372 | 0.24372 | 0.97828 | -0.41559 | 0.97836 | -0.4141 | 33.4781
14 | 0.2074 | 0.052589 | -0.20736 | -0.052567 | 3.3624e-05 | 2.1474e-05 | 0.31445 | 0.31445 | 0.31445 | 0.98213 | -0.34078 | 0.98195 | -0.34415 | 43.1933
15 | -0.017443 | -0.0043763 | 0.017448 | 0.0043798 | 5.9349e-06 | 3.492e-06 | 0.025998 | 0.025998 | 0.025998 | 0.99839 | -0.030853 | 0.99877 | -0.023719 | 7.1424
16 | 0.017443 | 0.0043763 | -0.017428 | -0.004368 | 1.4173e-05 | 8.3403e-06 | 0.025998 | 0.025998 | 0.025998 | 0.99839 | -0.030853 | 0.99751 | -0.047909 | 7.1424
17 | -0.045117 | -0.011314 | 0.045168 | 0.011346 | 5.1065e-05 | 3.2287e-05 | 0.06722 | 0.06722 | 0.06722 | 0.99877 | -0.023719 | 1 | 0 | 18.4671
18 | 0.2734 | 0.070704 | -0.27204 | -0.069834 | 0.00136 | 0.00086924 | 0.40761 | 0.40761 | 0.40761 | 1 | 0 | 0.99457 | -0.10244 | 55.9902
19 | 0.022808 | 0.0057197 | -0.0228 | -0.0057148 | 8.0439e-06 | 4.9039e-06 | 0.03394 | 0.033941 | 0.033941 | 1 | 0 | 0.99961 | -0.0074024 | 9.3243
20 | 0.029558 | 0.0074304 | -0.029505 | -0.0073975 | 5.2855e-05 | 3.2894e-05 | 0.044231 | 0.044232 | 0.044232 | 0.99457 | -0.10244 | 0.99263 | -0.13996 | 12.1515
21 | 0.015828 | 0.0039672 | -0.015826 | -0.0039664 | 1.4289e-06 | 8.2452e-07 | 0.023561 | 0.023561 | 0.023561 | 0.99961 | -0.0074024 | 0.99952 | -0.0092975 | 6.4728
22 | -0.013599 | -0.0034082 | 0.013603 | 0.0034104 | 3.9197e-06 | 2.1838e-06 | 0.020392 | 0.020392 | 0.020392 | 0.99231 | -0.14601 | 0.99263 | -0.13996 | 5.6022
23 | 0.015903 | 0.0039871 | -0.015901 | -0.003986 | 1.8546e-06 | 1.0745e-06 | 0.02384 | 0.02384 | 0.02384 | 0.99263 | -0.13996 | 0.9925 | -0.14241 | 6.5493
24 | 0.020139 | 0.0050496 | -0.020133 | -0.0050457 | 6.5323e-06 | 3.9544e-06 | 0.030856 | 0.030856 | 0.030856 | 0.97122 | -0.55427 | 0.97088 | -0.56107 | 8.4769
25 | 0.023493 | 0.0058884 | -0.023492 | -0.0058876 | 1.3736e-06 | 8.4391e-07 | 0.035946 | 0.035946 | 0.035946 | 0.97252 | -0.52863 | 0.97246 | -0.52986 | 9.8752
26 | -0.17081 | -0.043164 | 0.17108 | 0.043338 | 0.00027201 | 0.00017355 | 0.25991 | 0.25991 | 0.25991 | 0.97836 | -0.4141 | 0.98006 | -0.38094 | 35.7025
27 | 0.19896 | 0.050461 | -0.19862 | -0.050246 | 0.00033702 | 0.0002152 | 0.30171 | 0.30171 | 0.30171 | 0.98195 | -0.34415 | 0.98014 | -0.37945 | 41.4437
28 | -0.015898 | -0.0039844 | 0.015901 | 0.003986 | 2.8415e-06 | 1.6463e-06 | 0.02384 | 0.02384 | 0.02384 | 0.99231 | -0.14616 | 0.9925 | -0.14241 | 6.5494
29 | 0.18787 | 0.04755 | -0.18785 | -0.047542 | 1.345e-05 | 8.5858e-06 | 0.28538 | 0.28538 | 0.28538 | 0.98014 | -0.37945 | 0.98006 | -0.38094 | 39.2008

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.34303 | 0.08777

## res_load
| p_mw | q_mvar
0 | 0.014249 | 0.0035712
1 | 0.015866 | 0.0039765
2 | 0.02493 | 0.0062481
3 | 0.017359 | 0.0043507
4 | 0.016592 | 0.0041584
5 | 0.027669 | 0.0069344
6 | 0.017428 | 0.004368
7 | 0.0069728 | 0.0017476
8 | 0.013599 | 0.0034082
9 | 0.059067 | 0.014804
10 | 0.010647 | 0.0026685
11 | 0.0084056 | 0.0021067
12 | 0.015826 | 0.0039664
13 | 0.015898 | 0.0039844
14 | 0.010755 | 0.0026954
15 | 0.016774 | 0.004204
16 | 0.023492 | 0.0058876
17 | 0.020133 | 0.0050457

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1