## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-481_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-481_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-481_0_4_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_261-481_0_4_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_261-481_0_4_node_45 | 0.4 | n |  | TRUE
5 | bus_LV_261-481_0_4_node_2 | 0.4 | n |  | TRUE
6 | bus_LV_261-481_0_4_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_261-481_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_261-481_0_4_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_261-481_0_4_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_261-481_0_4_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_261-481_0_4_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_261-481_0_4_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_261-481_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_261-481_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_261-481_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_261-481_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_261-481_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_261-481_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_261-481_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_261-481_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_261-481_0_4_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_261-481_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_261-481_0_4_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_261-481_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_261-481_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_261-481_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_261-481_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_261-481_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_261-481_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_261-481_0_4_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_261-481_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_261-481_0_4_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_261-481_0_4_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_261-481_0_4_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_261-481_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_261-481_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_261-481_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_261-481_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_261-481_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_261-481_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_261-481_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_261-481_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_261-481_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_MV_524_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-481_0_4_load_0 | 0 | 0.029417 | 0.0073726 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-481_0_4_load_6 | 3 | 0.036833 | 0.0092313 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-481_0_4_load_45 | 4 | 0.0062244 | 0.00156 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-481_0_4_load_3 | 6 | 0.00044969 | 0.0001127 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-481_0_4_load_4 | 7 | 0.0033568 | 0.00084129 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-481_0_4_load_36 | 8 | 0.00022201 | 5.564e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-481_0_4_load_37 | 10 | 0.00055514 | 0.00013913 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-481_0_4_load_29 | 11 | 0.0065408 | 0.0016393 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-481_0_4_load_9 | 15 | 0.0096908 | 0.0024287 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-481_0_4_load_13 | 16 | 0.008256 | 0.0020692 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-481_0_4_load_10 | 17 | 0.00729 | 0.001827 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-481_0_4_load_11 | 19 | 0.0055517 | 0.0013914 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-481_0_4_load_12 | 20 | 0.0055615 | 0.0013938 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-481_0_4_load_16 | 22 | 0.022785 | 0.0057104 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-481_0_4_load_24 | 23 | 0.014256 | 0.0035729 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-481_0_4_load_18 | 24 | 0.050722 | 0.012712 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-481_0_4_load_19 | 25 | 0.0084341 | 0.0021138 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-481_0_4_load_14 | 26 | 0.0875 | 0.02193 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-481_0_4_load_20 | 28 | 0.013042 | 0.0032687 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-481_0_4_load_28 | 30 | 8.3157e-05 | 2.0841e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-481_0_4_load_43 | 32 | 0.00053778 | 0.00013478 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-481_0_4_load_44 | 33 | 0.00046244 | 0.0001159 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-481_0_4_load_42 | 34 | 0.0008042 | 0.00020155 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-481_0_4_load_27 | 35 | 0.037104 | 0.0092991 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-481_0_4_load_30 | 36 | 0.00012007 | 3.0092e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-481_0_4_load_31 | 37 | 0.00072773 | 0.00018239 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-481_0_4_load_32 | 38 | 0.001032 | 0.00025864 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-481_0_4_load_35 | 41 | 0.00064949 | 0.00016278 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-481_0_4_load_40 | 42 | 0.000398 | 9.9748e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-481_0_4_load_41 | 43 | 0.00012716 | 3.187e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-481_0_4_line_0 |  | 0 | 1 | 0.031417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-481_0_4_line_1 |  | 1 | 2 | 0.064196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-481_0_4_line_2 |  | 2 | 3 | 0.056894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-481_0_4_line_3 |  | 2 | 4 | 0.098992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-481_0_4_line_4 |  | 3 | 13 | 0.043502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-481_0_4_line_5 |  | 5 | 6 | 0.03399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-481_0_4_line_6 |  | 5 | 7 | 0.050524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-481_0_4_line_7 |  | 6 | 8 | 0.0071237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-481_0_4_line_8 |  | 7 | 9 | 0.01559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-481_0_4_line_9 |  | 8 | 10 | 0.015549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-481_0_4_line_10 |  | 9 | 11 | 0.018862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-481_0_4_line_11 |  | 9 | 12 | 0.011609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-481_0_4_line_12 |  | 10 | 40 | 0.028644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-481_0_4_line_13 |  | 11 | 30 | 0.013138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-481_0_4_line_14 |  | 12 | 29 | 0.016782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-481_0_4_line_15 |  | 13 | 14 | 0.015767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-481_0_4_line_16 |  | 13 | 15 | 0.013693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-481_0_4_line_17 |  | 14 | 16 | 0.022722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_261-481_0_4_line_18 |  | 14 | 17 | 0.018223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_261-481_0_4_line_19 |  | 16 | 18 | 0.03336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_261-481_0_4_line_20 |  | 17 | 19 | 0.023439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_261-481_0_4_line_21 |  | 18 | 24 | 0.044305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-481_0_4_line_22 |  | 18 | 25 | 0.0027923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_261-481_0_4_line_23 |  | 19 | 20 | 0.034607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_261-481_0_4_line_24 |  | 20 | 21 | 0.051389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_261-481_0_4_line_25 |  | 21 | 22 | 0.021707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-481_0_4_line_26 |  | 21 | 23 | 0.022206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-481_0_4_line_27 |  | 22 | 27 | 0.017235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-481_0_4_line_28 |  | 23 | 29 | 0.025751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-481_0_4_line_29 |  | 25 | 28 | 0.036013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-481_0_4_line_30 |  | 26 | 27 | 0.055398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-481_0_4_line_31 |  | 30 | 35 | 0.027428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-481_0_4_line_32 |  | 31 | 32 | 0.026058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-481_0_4_line_33 |  | 31 | 33 | 0.05574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-481_0_4_line_34 |  | 32 | 34 | 0.036529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-481_0_4_line_35 |  | 34 | 43 | 0.019771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-481_0_4_line_36 |  | 36 | 37 | 0.0090309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-481_0_4_line_37 |  | 36 | 38 | 0.014495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-481_0_4_line_38 |  | 37 | 39 | 0.043666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-481_0_4_line_39 |  | 38 | 40 | 0.031204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-481_0_4_line_40 |  | 39 | 41 | 0.018953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-481_0_4_line_41 |  | 40 | 42 | 0.013779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-481_0_4_line_42 |  | 42 | 43 | 0.0070904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-481_0_4_trafo_19 | 0.63 MVA 20/0.4 kV | 44 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2681295.1371 | 1253744.9197 | 2681326.5542 | 1253744.8199
1 | 2681252.5946 | 1253721.3628 | 2681252.5632 | 1253741.7888 | 2681253.668 | 1253743.761 | 2681255.9648 | 1253744.6376 | 2681295.1371 | 1253744.9197
2 | 2681252.5946 | 1253721.3628 | 2681252.9149 | 1253700.2181 | 2681253.9193 | 1253664.4855
3 | 2681252.5946 | 1253721.3628 | 2681154.1751 | 1253710.7303
4 | 2681255.1416 | 1253621.0003 | 2681253.9193 | 1253664.4855
5 | 2681429.2084 | 1253700.7945 | 2681463.1886 | 1253701.6033
6 | 2681429.2084 | 1253700.7945 | 2681429.3728 | 1253650.271
7 | 2681470.3103 | 1253701.7728 | 2681463.1886 | 1253701.6033
8 | 2681429.4236 | 1253634.6812 | 2681429.3728 | 1253650.271
9 | 2681470.3103 | 1253701.7728 | 2681485.8548 | 1253702.1428
10 | 2681429.4236 | 1253634.6812 | 2681448.2714 | 1253635.419
11 | 2681429.4625 | 1253623.073 | 2681429.4236 | 1253634.6812
12 | 2681514.4903 | 1253702.8243 | 2681485.8548 | 1253702.1428
13 | 2681448.2714 | 1253635.419 | 2681461.3998 | 1253635.9328 | 2681461.3998 | 1253635.9328
14 | 2681429.4625 | 1253623.073 | 2681429.4141 | 1253606.2931
15 | 2681255.1416 | 1253621.0003 | 2681270.9543 | 1253621.2174
16 | 2681255.1416 | 1253621.0003 | 2681241.4526 | 1253621.3155
17 | 2681270.9543 | 1253621.2174 | 2681293.6738 | 1253621.5204
18 | 2681270.9543 | 1253621.2174 | 2681271.598 | 1253603.4574 | 2681272.0492 | 1253603.4655
19 | 2681327.0307 | 1253621.9652 | 2681293.6738 | 1253621.5204
20 | 2681295.4843 | 1253603.887 | 2681272.0492 | 1253603.4655
21 | 2681327.0307 | 1253621.9652 | 2681327.6219 | 1253666.2621
22 | 2681327.0307 | 1253621.9652 | 2681329.8227 | 1253622.0028
23 | 2681330.0853 | 1253604.5094 | 2681295.4843 | 1253603.887
24 | 2681381.4658 | 1253605.4337 | 2681330.0853 | 1253604.5094
25 | 2681381.4658 | 1253605.4337 | 2681382.1383 | 1253583.737
26 | 2681381.4658 | 1253605.4337 | 2681403.6678 | 1253605.8316
27 | 2681382.6724 | 1253566.5099 | 2681382.1383 | 1253583.737
28 | 2681429.4141 | 1253606.2931 | 2681403.6678 | 1253605.8316
29 | 2681329.8227 | 1253622.0028 | 2681365.8321 | 1253622.487
30 | 2681382.6724 | 1253566.5099 | 2681327.2823 | 1253565.599
31 | 2681462.0847 | 1253663.3521 | 2681461.3998 | 1253635.9328
32 | 2681488.155 | 1253603.154 | 2681495.834 | 1253628.0548
33 | 2681488.155 | 1253603.154 | 2681543.8938 | 1253603.4568
34 | 2681506.1274 | 1253663.1011 | 2681500.0805 | 1253641.8248 | 2681495.834 | 1253628.0548
35 | 2681510.8733 | 1253682.2706 | 2681509.7316 | 1253675.783 | 2681506.1274 | 1253663.1011
36 | 2681516.1963 | 1253748.0376 | 2681516.149 | 1253748.4036 | 2681515.124 | 1253755.984 | 2681515.0115 | 1253756.9901
37 | 2681516.1963 | 1253748.0376 | 2681518.0569 | 1253733.662
38 | 2681521.0669 | 1253799.4873 | 2681517.1202 | 1253788.5582 | 2681514.2124 | 1253778.3549 | 2681513.8109 | 1253774.6355 | 2681514.2894 | 1253763.4448 | 2681515.0115 | 1253756.9901
39 | 2681514.4903 | 1253702.8243 | 2681518.0599 | 1253720.3199 | 2681518.1502 | 1253732.9417 | 2681518.0569 | 1253733.662
40 | 2681521.0669 | 1253799.4873 | 2681540.0196 | 1253799.4362
41 | 2681514.4903 | 1253702.8243 | 2681512.1022 | 1253689.2537
42 | 2681512.1022 | 1253689.2537 | 2681510.8733 | 1253682.2706

## bus_geodata
| x | y | coords
0 | 2681326.5542 | 1253744.8199
1 | 2681295.1371 | 1253744.9197
2 | 2681252.5946 | 1253721.3628
3 | 2681253.9193 | 1253664.4855
4 | 2681154.1751 | 1253710.7303
5 | 2681429.2084 | 1253700.7945
6 | 2681463.1886 | 1253701.6033
7 | 2681429.3728 | 1253650.271
8 | 2681470.3103 | 1253701.7728
9 | 2681429.4236 | 1253634.6812
10 | 2681485.8548 | 1253702.1428
11 | 2681448.2714 | 1253635.4189
12 | 2681429.4625 | 1253623.073
13 | 2681255.1416 | 1253621.0003
14 | 2681270.9543 | 1253621.2174
15 | 2681241.4526 | 1253621.3155
16 | 2681293.6738 | 1253621.5204
17 | 2681272.0492 | 1253603.4655
18 | 2681327.0307 | 1253621.9652
19 | 2681295.4843 | 1253603.887
20 | 2681330.0853 | 1253604.5094
21 | 2681381.4658 | 1253605.4337
22 | 2681382.1383 | 1253583.737
23 | 2681403.6678 | 1253605.8316
24 | 2681327.6219 | 1253666.2621
25 | 2681329.8227 | 1253622.0028
26 | 2681327.2823 | 1253565.599
27 | 2681382.6724 | 1253566.5099
28 | 2681365.8321 | 1253622.487
29 | 2681429.4141 | 1253606.2931
30 | 2681461.3998 | 1253635.9328
31 | 2681488.155 | 1253603.154
32 | 2681495.834 | 1253628.0548
33 | 2681543.8938 | 1253603.4568
34 | 2681506.1274 | 1253663.1011
35 | 2681462.0847 | 1253663.3521
36 | 2681516.1963 | 1253748.0376
37 | 2681515.0115 | 1253756.9901
38 | 2681518.0569 | 1253733.662
39 | 2681521.0669 | 1253799.4873
40 | 2681514.4903 | 1253702.8243
41 | 2681540.0196 | 1253799.4362
42 | 2681512.1022 | 1253689.2537
43 | 2681510.8733 | 1253682.2706
44 | 2681327.0307 | 1253621.9652

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9863 | -0.26328 | 0.029417 | 0.0073726
1 | 0.98715 | -0.24674 | 0 | 0
2 | 0.98888 | -0.21302 | 0 | 0
3 | 0.99075 | -0.17694 | 0.036833 | 0.0092313
4 | 0.98832 | -0.22401 | 0.0062244 | 0.00156
5 | 0.98171 | -0.35135 | 0 | 0
6 | 0.98152 | -0.3551 | 0.00044969 | 0.0001127
7 | 0.98199 | -0.34578 | 0.0033568 | 0.00084129
8 | 0.98148 | -0.35582 | 0.00022201 | 5.564e-05
9 | 0.98213 | -0.34311 | 0 | 0
10 | 0.9814 | -0.35735 | 0.00055514 | 0.00013913
11 | 0.98136 | -0.35803 | 0.0065408 | 0.0016393
12 | 0.9827 | -0.33196 | 0 | 0
13 | 0.99364 | -0.12111 | 0 | 0
14 | 0.99483 | -0.098265 | 0 | 0
15 | 0.99352 | -0.12345 | 0.0096908 | 0.0024287
16 | 0.99677 | -0.061214 | 0.008256 | 0.0020692
17 | 0.99372 | -0.11927 | 0.00729 | 0.001827
18 | 0.99971 | -0.0054737 | 0 | 0
19 | 0.99236 | -0.14535 | 0.0055517 | 0.0013914
20 | 0.9904 | -0.18285 | 0.0055615 | 0.0013938
21 | 0.98617 | -0.26434 | 0 | 0
22 | 0.98396 | -0.30734 | 0.022785 | 0.0057104
23 | 0.98479 | -0.29122 | 0.014256 | 0.0035729
24 | 0.99767 | -0.044745 | 0.050722 | 0.012712
25 | 1 | 0 | -0.35634 | -0.090584
26 | 0.97806 | -0.42245 | 0.0875 | 0.02193
27 | 0.98256 | -0.33453 | 0 | 0
28 | 0.99957 | -0.0081902 | 0.013042 | 0.0032687
29 | 0.98352 | -0.31587 | 0 | 0
30 | 0.98091 | -0.36688 | 8.3157e-05 | 2.0841e-05
31 | 0.98115 | -0.36223 | 0 | 0
32 | 0.98116 | -0.36202 | 0.00053778 | 0.00013478
33 | 0.98113 | -0.3627 | 0.00046244 | 0.0001159
34 | 0.9812 | -0.36135 | 0.0008042 | 0.00020155
35 | 0.97997 | -0.38533 | 0.037104 | 0.0092991
36 | 0.98118 | -0.3617 | 0.00012007 | 3.0092e-05
37 | 0.98117 | -0.36192 | 0.00072773 | 0.00018239
38 | 0.9812 | -0.3613 | 0.001032 | 0.00025864
39 | 0.98114 | -0.36244 | 0 | 0
40 | 0.98127 | -0.35987 | 0 | 0
41 | 0.98113 | -0.36266 | 0.00064949 | 0.00016278
42 | 0.98124 | -0.36046 | 0.000398 | 9.9748e-05
43 | 0.98123 | -0.3607 | 0.00012716 | 3.187e-05
44 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.029417 | -0.0073726 | 0.02944 | 0.007387 | 2.3206e-05 | 1.445e-05 | 0.044381 | 0.044381 | 0.044381 | 0.9863 | -0.26328 | 0.98715 | -0.24674 | 12.1926
1 | -0.02944 | -0.007387 | 0.029488 | 0.0074166 | 4.7416e-05 | 2.9524e-05 | 0.044381 | 0.044381 | 0.044381 | 0.98715 | -0.24674 | 0.98888 | -0.21302 | 12.1926
2 | -0.035715 | -0.0089774 | 0.035777 | 0.0090161 | 6.1642e-05 | 3.872e-05 | 0.053752 | 0.053751 | 0.053752 | 0.98888 | -0.21302 | 0.99075 | -0.17694 | 14.7669
3 | 0.0062277 | 0.0015608 | -0.0062244 | -0.00156 | 3.2601e-06 | 8.1719e-07 | 0.009371 | 0.0093715 | 0.0093715 | 0.98888 | -0.21302 | 0.98832 | -0.22401 | 2.5746
4 | -0.07261 | -0.018247 | 0.072804 | 0.018371 | 0.00019408 | 0.00012365 | 0.10907 | 0.10907 | 0.10907 | 0.99075 | -0.17694 | 0.99364 | -0.12111 | 29.9648
5 | 0.0060884 | 0.0015224 | -0.0060873 | -0.0015221 | 1.0852e-06 | 2.6488e-07 | 0.0092272 | 0.0092273 | 0.0092273 | 0.98171 | -0.35135 | 0.98152 | -0.3551 | 2.535
6 | -0.0060884 | -0.0015224 | 0.00609 | 0.0015228 | 1.6131e-06 | 3.9338e-07 | 0.0092272 | 0.009227 | 0.0092272 | 0.98171 | -0.35135 | 0.98199 | -0.34578 | 2.5349
7 | 0.0056376 | 0.0014094 | -0.0056374 | -0.0014094 | 1.9508e-07 | 3.4823e-08 | 0.0085456 | 0.0085456 | 0.0085456 | 0.98152 | -0.3551 | 0.98148 | -0.35582 | 2.3477
8 | -0.0094468 | -0.0023641 | 0.009448 | 0.0023646 | 1.1977e-06 | 5.693e-07 | 0.014314 | 0.014313 | 0.014314 | 0.98199 | -0.34578 | 0.98213 | -0.34311 | 3.9323
9 | 0.0054154 | 0.0013537 | -0.005415 | -0.0013537 | 3.9294e-07 | 5.499e-08 | 0.008209 | 0.0082091 | 0.0082091 | 0.98148 | -0.35582 | 0.9814 | -0.35735 | 2.2553
10 | 0.043807 | 0.011009 | -0.043776 | -0.01099 | 3.117e-05 | 1.971e-05 | 0.066383 | 0.066383 | 0.066383 | 0.98213 | -0.34311 | 0.98136 | -0.35803 | 18.2371
11 | -0.053255 | -0.013374 | 0.053284 | 0.013392 | 2.8349e-05 | 1.7996e-05 | 0.080696 | 0.080696 | 0.080696 | 0.98213 | -0.34311 | 0.9827 | -0.33196 | 22.1694
12 | 0.0048599 | 0.0012145 | -0.0048593 | -0.0012145 | 5.8304e-07 | 1.1256e-08 | 0.0073674 | 0.0073675 | 0.0073675 | 0.9814 | -0.35735 | 0.98127 | -0.35987 | 2.024
13 | 0.037235 | 0.0093504 | -0.03722 | -0.0093405 | 1.5709e-05 | 9.8876e-06 | 0.056465 | 0.056465 | 0.056465 | 0.98136 | -0.35803 | 0.98091 | -0.36688 | 15.5125
14 | -0.053284 | -0.013392 | 0.053325 | 0.013418 | 4.0981e-05 | 2.6015e-05 | 0.080696 | 0.080696 | 0.080696 | 0.9827 | -0.33196 | 0.98352 | -0.31587 | 22.1693
15 | -0.082496 | -0.0208 | 0.082587 | 0.020858 | 9.0306e-05 | 5.7592e-05 | 0.12359 | 0.12359 | 0.12359 | 0.99364 | -0.12111 | 0.99483 | -0.098265 | 33.9522
16 | 0.0096919 | 0.0024293 | -0.0096908 | -0.0024287 | 1.0817e-06 | 5.1494e-07 | 0.014514 | 0.014514 | 0.014514 | 0.99364 | -0.12111 | 0.99352 | -0.12345 | 3.9874
17 | -0.28119 | -0.071592 | 0.2817 | 0.071913 | 0.00050339 | 0.00032128 | 0.421 | 0.421 | 0.421 | 0.99483 | -0.098265 | 0.99677 | -0.061214 | 38.5528
18 | 0.19861 | 0.050734 | -0.19841 | -0.050606 | 0.00020149 | 0.00012824 | 0.29741 | 0.29741 | 0.29741 | 0.99483 | -0.098265 | 0.99372 | -0.11927 | 27.2354
19 | -0.28995 | -0.073983 | 0.29074 | 0.074482 | 0.00078298 | 0.0004998 | 0.43332 | 0.43332 | 0.43332 | 0.99677 | -0.061214 | 0.99971 | -0.0054737 | 39.6814
20 | 0.19112 | 0.048779 | -0.19088 | -0.048626 | 0.00024048 | 0.000153 | 0.28649 | 0.2865 | 0.2865 | 0.99372 | -0.11927 | 0.99236 | -0.14535 | 26.2358
21 | 0.050817 | 0.012772 | -0.050722 | -0.012712 | 9.5087e-05 | 6.0276e-05 | 0.075651 | 0.075652 | 0.075652 | 0.99971 | -0.0054737 | 0.99767 | -0.044745 | 20.7834
22 | -0.34155 | -0.087255 | 0.34164 | 0.087313 | 9.0419e-05 | 5.7758e-05 | 0.50897 | 0.50897 | 0.50897 | 0.99971 | -0.0054737 | 1 | 0 | 46.6091
23 | 0.18532 | 0.047235 | -0.18499 | -0.047022 | 0.00033473 | 0.00021289 | 0.27817 | 0.27817 | 0.27817 | 0.99236 | -0.14535 | 0.9904 | -0.18285 | 25.4735
24 | 0.17943 | 0.045628 | -0.17873 | -0.04518 | 0.00070146 | 0.00044762 | 0.26982 | 0.26982 | 0.26982 | 0.9904 | -0.18285 | 0.98617 | -0.26434 | 37.0626
25 | 0.111 | 0.028094 | -0.11077 | -0.027948 | 0.0002286 | 0.00014603 | 0.16758 | 0.16758 | 0.16758 | 0.98617 | -0.26434 | 0.98396 | -0.30734 | 46.0382
26 | 0.06773 | 0.017086 | -0.067643 | -0.017031 | 8.7038e-05 | 5.5421e-05 | 0.10224 | 0.10224 | 0.10224 | 0.98617 | -0.26434 | 0.98479 | -0.29122 | 28.0871
27 | 0.087983 | 0.022238 | -0.087869 | -0.022165 | 0.00011454 | 7.3086e-05 | 0.13312 | 0.13312 | 0.13312 | 0.98396 | -0.30734 | 0.98256 | -0.33453 | 36.572
28 | 0.053387 | 0.013458 | -0.053325 | -0.013418 | 6.2882e-05 | 3.9917e-05 | 0.080696 | 0.080696 | 0.080696 | 0.98479 | -0.29122 | 0.98352 | -0.31587 | 22.1693
29 | 0.013047 | 0.0032715 | -0.013042 | -0.0032687 | 5.0906e-06 | 2.7857e-06 | 0.019415 | 0.019415 | 0.019415 | 1 | 0 | 0.99957 | -0.0081902 | 5.3339
30 | -0.0875 | -0.02193 | 0.087869 | 0.022165 | 0.00036815 | 0.00023492 | 0.13312 | 0.13312 | 0.13312 | 0.97806 | -0.42245 | 0.98256 | -0.33453 | 36.5721
31 | 0.037136 | 0.0093196 | -0.037104 | -0.0092991 | 3.2647e-05 | 2.0548e-05 | 0.056339 | 0.056339 | 0.056339 | 0.98091 | -0.36688 | 0.97997 | -0.38533 | 15.4779
32 | -0.00046245 | -0.0001152 | 0.00046245 | 0.00011487 | 4.8024e-09 | -3.2603e-07 | 0.0007011 | 0.00070098 | 0.0007011 | 0.98115 | -0.36223 | 0.98116 | -0.36202 | 0.19261
33 | 0.00046245 | 0.0001152 | -0.00046244 | -0.0001159 | 1.0278e-08 | -6.9736e-07 | 0.0007011 | 0.00070135 | 0.00070135 | 0.98115 | -0.36223 | 0.98113 | -0.3627 | 0.19268
34 | -0.0010002 | -0.00024966 | 0.0010003 | 0.00024921 | 3.1503e-08 | -4.412e-07 | 0.0015166 | 0.0015164 | 0.0015166 | 0.98116 | -0.36202 | 0.9812 | -0.36135 | 0.41664
35 | -0.0018045 | -0.00045076 | 0.0018045 | 0.00045055 | 5.5499e-08 | -2.1421e-07 | 0.002736 | 0.0027359 | 0.002736 | 0.9812 | -0.36135 | 0.98123 | -0.3607 | 0.75165
36 | 0.0013773 | 0.00034428 | -0.0013772 | -0.00034439 | 1.477e-08 | -1.0461e-07 | 0.0020884 | 0.0020884 | 0.0020884 | 0.98118 | -0.3617 | 0.98117 | -0.36192 | 0.57374
37 | -0.0014973 | -0.00037438 | 0.0014974 | 0.00037421 | 2.8021e-08 | -1.6515e-07 | 0.0022705 | 0.0022704 | 0.0022705 | 0.98118 | -0.3617 | 0.9812 | -0.3613 | 0.62376
38 | 0.00064951 | 0.000162 | -0.0006495 | -0.00016254 | 1.5883e-08 | -5.4132e-07 | 0.00098476 | 0.00098496 | 0.00098496 | 0.98117 | -0.36192 | 0.98114 | -0.36244 | 0.27059
39 | -0.0025294 | -0.00063286 | 0.0025295 | 0.00063257 | 1.7214e-07 | -2.8399e-07 | 0.0038355 | 0.0038353 | 0.0038355 | 0.9812 | -0.3613 | 0.98127 | -0.35987 | 1.0537
40 | 0.0006495 | 0.00016254 | -0.00064949 | -0.00016278 | 6.8956e-09 | -2.3494e-07 | 0.00098496 | 0.00098504 | 0.00098504 | 0.98114 | -0.36244 | 0.98113 | -0.36266 | 0.27062
41 | 0.0023298 | 0.00058196 | -0.0023297 | -0.00058209 | 6.4469e-08 | -1.328e-07 | 0.0035322 | 0.0035323 | 0.0035323 | 0.98127 | -0.35987 | 0.98124 | -0.36046 | 0.9704
42 | 0.0019317 | 0.00048235 | -0.0019317 | -0.00048242 | 2.2807e-08 | -7.4967e-08 | 0.0029287 | 0.0029287 | 0.0029287 | 0.98124 | -0.36046 | 0.98123 | -0.3607 | 0.8046

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36478 | 0.092698

## res_load
| p_mw | q_mvar
0 | 0.029417 | 0.0073726
1 | 0.036833 | 0.0092313
2 | 0.0062244 | 0.00156
3 | 0.00044969 | 0.0001127
4 | 0.0033568 | 0.00084129
5 | 0.00022201 | 5.564e-05
6 | 0.00055514 | 0.00013913
7 | 0.0065408 | 0.0016393
8 | 0.0096908 | 0.0024287
9 | 0.008256 | 0.0020692
10 | 0.00729 | 0.001827
11 | 0.0055517 | 0.0013914
12 | 0.0055615 | 0.0013938
13 | 0.022785 | 0.0057104
14 | 0.014256 | 0.0035729
15 | 0.050722 | 0.012712
16 | 0.0084341 | 0.0021138
17 | 0.0875 | 0.02193
18 | 0.013042 | 0.0032687
19 | 8.3157e-05 | 2.0841e-05
20 | 0.00053778 | 0.00013478
21 | 0.00046244 | 0.0001159
22 | 0.0008042 | 0.00020155
23 | 0.037104 | 0.0092991
24 | 0.00012007 | 3.0092e-05
25 | 0.00072773 | 0.00018239
26 | 0.001032 | 0.00025864
27 | 0.00064949 | 0.00016278
28 | 0.000398 | 9.9748e-05
29 | 0.00012716 | 3.187e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1