## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-485_0_9_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-485_0_9_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-485_0_9_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-485_0_9_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-485_0_9_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-485_0_9_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_261-485_0_9_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_261-485_0_9_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_261-485_0_9_node_69 | 0.4 | n |  | TRUE
9 | bus_LV_261-485_0_9_node_68 | 0.4 | n |  | TRUE
10 | bus_LV_261-485_0_9_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_261-485_0_9_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_261-485_0_9_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_261-485_0_9_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_261-485_0_9_node_80 | 0.4 | n |  | TRUE
15 | bus_LV_261-485_0_9_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_261-485_0_9_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_261-485_0_9_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_261-485_0_9_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_261-485_0_9_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_261-485_0_9_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_261-485_0_9_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_261-485_0_9_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_261-485_0_9_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_261-485_0_9_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_261-485_0_9_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_261-485_0_9_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_261-485_0_9_node_81 | 0.4 | n |  | TRUE
28 | bus_LV_261-485_0_9_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_261-485_0_9_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_261-485_0_9_node_77 | 0.4 | n |  | TRUE
31 | bus_LV_261-485_0_9_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_261-485_0_9_node_76 | 0.4 | n |  | TRUE
33 | bus_LV_261-485_0_9_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_261-485_0_9_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_261-485_0_9_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_261-485_0_9_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_261-485_0_9_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_261-485_0_9_node_71 | 0.4 | n |  | TRUE
39 | bus_LV_261-485_0_9_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_261-485_0_9_node_66 | 0.4 | n |  | TRUE
41 | bus_LV_261-485_0_9_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_261-485_0_9_node_78 | 0.4 | n |  | TRUE
43 | bus_LV_261-485_0_9_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_261-485_0_9_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_261-485_0_9_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_261-485_0_9_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_261-485_0_9_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_261-485_0_9_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_261-485_0_9_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_261-485_0_9_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_261-485_0_9_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_261-485_0_9_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_261-485_0_9_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_261-485_0_9_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_261-485_0_9_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_261-485_0_9_node_72 | 0.4 | n |  | TRUE
57 | bus_LV_261-485_0_9_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_261-485_0_9_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_261-485_0_9_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_261-485_0_9_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_261-485_0_9_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_261-485_0_9_node_75 | 0.4 | n |  | TRUE
63 | bus_LV_261-485_0_9_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_261-485_0_9_node_36 | 0.4 | n |  | TRUE
65 | bus_LV_261-485_0_9_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_261-485_0_9_node_79 | 0.4 | n |  | TRUE
67 | bus_LV_261-485_0_9_node_37 | 0.4 | n |  | TRUE
68 | bus_LV_261-485_0_9_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_261-485_0_9_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_261-485_0_9_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_261-485_0_9_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_261-485_0_9_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_261-485_0_9_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_261-485_0_9_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_261-485_0_9_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_261-485_0_9_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_261-485_0_9_node_74 | 0.4 | n |  | TRUE
78 | bus_MV_389_1_node_179 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-485_0_9_load_0 | 0 | 0.0011054 | 0.00027704 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-485_0_9_load_1 | 1 | 0.01229 | 0.0030801 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-485_0_9_load_3 | 3 | 0.014421 | 0.0036143 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-485_0_9_load_4 | 4 | 0.0054822 | 0.001374 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-485_0_9_load_29 | 5 | 0.013798 | 0.0034581 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-485_0_9_load_30 | 6 | 0.00072571 | 0.00018188 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-485_0_9_load_68 | 9 | 0.0041691 | 0.0010449 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-485_0_9_load_40 | 13 | 0.00096171 | 0.00024103 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-485_0_9_load_80 | 14 | 0.0032136 | 0.0008054 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-485_0_9_load_46 | 17 | 0.0035729 | 0.00089545 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-485_0_9_load_41 | 19 | 0.0022334 | 0.00055975 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-485_0_9_load_39 | 21 | 0.00060307 | 0.00015114 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-485_0_9_load_33 | 22 | 0.0052005 | 0.0013034 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-485_0_9_load_32 | 24 | 0.0034213 | 0.00085745 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-485_0_9_load_61 | 26 | 0.00088496 | 0.00022179 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-485_0_9_load_81 | 27 | 0.0012101 | 0.00030328 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-485_0_9_load_77 | 30 | 0.0078689 | 0.0019721 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-485_0_9_load_76 | 32 | 0.014662 | 0.0036748 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-485_0_9_load_73 | 34 | 0.013469 | 0.0033756 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-485_0_9_load_71 | 38 | 0.029769 | 0.0074607 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-485_0_9_load_67 | 39 | 0.029988 | 0.0075156 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-485_0_9_load_66 | 40 | 0.013723 | 0.0034393 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-485_0_9_load_78 | 42 | 0.031484 | 0.0078906 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-485_0_9_load_28 | 44 | 0.032095 | 0.0080438 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-485_0_9_load_43 | 45 | 0.0012415 | 0.00031114 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-485_0_9_load_62 | 46 | 0.026467 | 0.0066332 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-485_0_9_load_38 | 47 | 0.0020387 | 0.00051094 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-485_0_9_load_35 | 48 | 0.0092567 | 0.0023199 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-485_0_9_load_54 | 49 | 0.026603 | 0.0066673 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-485_0_9_load_52 | 50 | 0.026981 | 0.0067621 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-485_0_9_load_27 | 51 | 0.03263 | 0.0081777 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-485_0_9_load_31 | 52 | 0.0055004 | 0.0013785 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-485_0_9_load_47 | 53 | 0.03955 | 0.0099123 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-485_0_9_load_42 | 54 | 0.005631 | 0.0014113 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-485_0_9_load_60 | 55 | 0.0047053 | 0.0011793 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-485_0_9_load_72 | 56 | 0.013909 | 0.0034858 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-485_0_9_load_70 | 57 | 0.029889 | 0.007491 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-485_0_9_load_51 | 58 | 0.0038652 | 0.00096871 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-485_0_9_load_45 | 59 | 0.00024759 | 6.2053e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-485_0_9_load_63 | 60 | 0.0073583 | 0.0018442 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-485_0_9_load_75 | 62 | 0.032229 | 0.0080774 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-485_0_9_load_44 | 63 | 0.0021192 | 0.00053113 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-485_0_9_load_36 | 64 | 0.0037661 | 0.00094387 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-485_0_9_load_53 | 65 | 0.022458 | 0.0056286 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-485_0_9_load_79 | 66 | 0.020894 | 0.0052366 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-485_0_9_load_37 | 67 | 0.00052622 | 0.00013188 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-485_0_9_load_48 | 68 | 0.003402 | 0.00085263 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-485_0_9_load_49 | 69 | 0.0041571 | 0.0010419 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-485_0_9_load_50 | 70 | 0.003432 | 0.00086014 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-485_0_9_load_56 | 71 | 0.006461 | 0.0016193 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-485_0_9_load_57 | 72 | 0.00041992 | 0.00010524 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-485_0_9_load_58 | 73 | 0.00096479 | 0.0002418 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-485_0_9_load_59 | 74 | 0.0019046 | 0.00047734 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-485_0_9_load_65 | 76 | 0.0009239 | 0.00023155 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-485_0_9_load_74 | 77 | 0.014349 | 0.0035962 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-485_0_9_line_0 |  | 0 | 1 | 0.017537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-485_0_9_line_1 |  | 0 | 2 | 0.059442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-485_0_9_line_2 |  | 1 | 3 | 0.017566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_261-485_0_9_line_3 |  | 2 | 4 | 0.022179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-485_0_9_line_4 |  | 3 | 5 | 0.043508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_261-485_0_9_line_5 |  | 4 | 6 | 0.029562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-485_0_9_line_6 |  | 5 | 51 | 0.043537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_261-485_0_9_line_7 |  | 6 | 52 | 0.029654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-485_0_9_line_8 |  | 7 | 8 | 0.005159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_261-485_0_9_line_9 |  | 7 | 9 | 0.039344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_261-485_0_9_line_10 |  | 8 | 43 | 0.030829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_261-485_0_9_line_11 |  | 9 | 47 | 0.0097391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_261-485_0_9_line_12 |  | 10 | 11 | 0.027527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-485_0_9_line_13 |  | 10 | 12 | 0.053001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-485_0_9_line_14 |  | 10 | 13 | 0.02488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-485_0_9_line_15 |  | 11 | 14 | 0.02419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-485_0_9_line_16 |  | 12 | 47 | 0.065965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_261-485_0_9_line_17 |  | 12 | 48 | 0.02133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_261-485_0_9_line_18 |  | 15 | 16 | 0.062335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-485_0_9_line_19 |  | 15 | 17 | 0.0028434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-485_0_9_line_20 |  | 16 | 45 | 0.0039715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_261-485_0_9_line_21 |  | 16 | 18 | 0.015993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_261-485_0_9_line_22 |  | 17 | 53 | 0.033275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-485_0_9_line_23 |  | 18 | 19 | 0.049808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_261-485_0_9_line_24 |  | 18 | 20 | 0.062966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-485_0_9_line_25 |  | 18 | 21 | 0.023913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-485_0_9_line_26 |  | 19 | 54 | 0.00050702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_261-485_0_9_line_27 |  | 20 | 22 | 0.045056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-485_0_9_line_28 |  | 20 | 23 | 0.072288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-485_0_9_line_29 |  | 20 | 24 | 0.01508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-485_0_9_line_30 |  | 23 | 27 | 0.058101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-485_0_9_line_31 |  | 23 | 25 | 0.007226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-485_0_9_line_32 |  | 25 | 26 | 0.068634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-485_0_9_line_33 |  | 26 | 55 | 0.043053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-485_0_9_line_34 |  | 28 | 29 | 0.032362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-485_0_9_line_35 |  | 28 | 30 | 0.0082044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-485_0_9_line_36 |  | 29 | 46 | 0.030405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-485_0_9_line_37 |  | 30 | 32 | 0.017626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-485_0_9_line_38 |  | 31 | 32 | 0.05089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-485_0_9_line_39 |  | 31 | 33 | 0.01979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-485_0_9_line_40 |  | 31 | 34 | 0.00068468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-485_0_9_line_41 |  | 33 | 49 | 0.033489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-485_0_9_line_42 |  | 34 | 56 | 0.034877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-485_0_9_line_43 |  | 35 | 36 | 0.010355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_261-485_0_9_line_44 |  | 35 | 37 | 0.054098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_261-485_0_9_line_45 |  | 35 | 38 | 0.020539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-485_0_9_line_46 |  | 36 | 39 | 0.019483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-485_0_9_line_47 |  | 36 | 40 | 0.025783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_261-485_0_9_line_48 |  | 37 | 41 | 0.036072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-485_0_9_line_49 |  | 37 | 42 | 0.0054711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_261-485_0_9_line_50 |  | 38 | 57 | 0.017808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-485_0_9_line_51 |  | 39 | 58 | 0.012765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-485_0_9_line_52 |  | 40 | 59 | 0.015193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_261-485_0_9_line_53 |  | 41 | 50 | 0.019181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-485_0_9_line_54 |  | 42 | 62 | 0.0048537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_261-485_0_9_line_55 |  | 43 | 44 | 0.027975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_261-485_0_9_line_56 |  | 44 | 51 | 0.018811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_261-485_0_9_line_57 |  | 45 | 63 | 0.025667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_261-485_0_9_line_58 |  | 46 | 61 | 0.017074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-485_0_9_line_59 |  | 48 | 64 | 0.0056933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_261-485_0_9_line_60 |  | 50 | 65 | 0.0044161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-485_0_9_line_61 |  | 52 | 66 | 0.029584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-485_0_9_line_62 |  | 54 | 67 | 0.0092173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_261-485_0_9_line_63 |  | 55 | 73 | 0.032664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-485_0_9_line_64 |  | 56 | 77 | 0.011331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-485_0_9_line_65 |  | 58 | 70 | 0.024622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-485_0_9_line_66 |  | 59 | 63 | 0.021142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_261-485_0_9_line_67 |  | 60 | 61 | 0.03083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-485_0_9_line_68 |  | 62 | 77 | 0.018326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-485_0_9_line_69 |  | 64 | 67 | 0.015523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_261-485_0_9_line_70 |  | 68 | 69 | 0.01735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-485_0_9_line_71 |  | 68 | 70 | 0.013701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-485_0_9_line_72 |  | 71 | 72 | 0.0086641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-485_0_9_line_73 |  | 71 | 73 | 0.0878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-485_0_9_line_74 |  | 72 | 74 | 0.028586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-485_0_9_line_75 |  | 74 | 75 | 0.17231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-485_0_9_line_76 |  | 75 | 76 | 0.11284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-485_0_9_trafo_19 | 0.63 MVA 20/0.4 kV | 78 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2678969.6035 | 1249984.2681 | 2678953.1379 | 1249990.3048
1 | 2678966.6228 | 1249950.2218 | 2678977.9385 | 1249950.9398 | 2678988.0793 | 1249977.4944 | 2678969.6035 | 1249984.2681
2 | 2678936.6458 | 1249996.3512 | 2678953.1379 | 1249990.3048
3 | 2678966.6228 | 1249950.2218 | 2678945.9005 | 1249958.1285
4 | 2678895.7963 | 1250011.3277 | 2678936.6458 | 1249996.3512
5 | 2678945.9005 | 1249958.1285 | 2678918.2802 | 1249968.667
6 | 2678854.9201 | 1250026.314 | 2678895.7963 | 1250011.3277
7 | 2678890.5746 | 1249979.2381 | 2678918.2802 | 1249968.667
8 | 2678803.1004 | 1250012.6139 | 2678801.5578 | 1250007.6898
9 | 2678801.5578 | 1250007.6898 | 2678776.3334 | 1250019.5633 | 2678766.1328 | 1250024.7976
10 | 2678803.1004 | 1250012.6139 | 2678810.994 | 1250042.4185
11 | 2678766.1328 | 1250024.7976 | 2678758.6967 | 1250028.6134 | 2678757.483 | 1250029.2724
12 | 2678638.3544 | 1250108.8746 | 2678641.1214 | 1250105.1864 | 2678643.0506 | 1250102.6101 | 2678646.3627 | 1250100.5192 | 2678651.6773 | 1250097.1539 | 2678654.563 | 1250095.3242 | 2678657.5187 | 1250095.0521 | 2678660.6105 | 1250094.7596
13 | 2678700.3632 | 1250062.2411 | 2678686.548 | 1250070.6528 | 2678668.7867 | 1250081.7252 | 2678665.591 | 1250084.1512 | 2678663.2202 | 1250086.9996 | 2678661.2959 | 1250090.9103 | 2678660.6105 | 1250094.7596
14 | 2678660.6105 | 1250094.7596 | 2678660.708 | 1250099.3642 | 2678662.2063 | 1250104.221 | 2678667.6432 | 1250118.4066
15 | 2678638.3544 | 1250108.8746 | 2678633.1383 | 1250108.8054 | 2678628.6751 | 1250109.4578 | 2678623.0314 | 1250111.4511 | 2678617.731 | 1250113.7491 | 2678615.3954 | 1250115.1034
16 | 2678700.3632 | 1250062.2411 | 2678721.2572 | 1250049.5203 | 2678739.8287 | 1250038.8591 | 2678757.483 | 1250029.2724
17 | 2678700.3632 | 1250062.2411 | 2678707.8645 | 1250082.2086
18 | 2678751.2636 | 1250152.1385 | 2678752.5952 | 1250155.9034 | 2678754.3709 | 1250160.9085 | 2678755.1349 | 1250163.0646 | 2678756.5903 | 1250167.1759 | 2678760.658 | 1250171.2774 | 2678761.8128 | 1250172.438 | 2678764.5843 | 1250175.2324 | 2678767.761 | 1250173.6624 | 2678770.1777 | 1250172.4714 | 2678770.2422 | 1250169.3255 | 2678770.831 | 1250167.065 | 2678781.3549 | 1250159.7328 | 2678790.8368 | 1250155.2555
19 | 2678790.8368 | 1250155.2555 | 2678792.9942 | 1250157.1078
20 | 2678751.2636 | 1250152.1385 | 2678754.9804 | 1250150.7391
21 | 2678751.2636 | 1250152.1385 | 2678736.2621 | 1250157.799
22 | 2678823.9308 | 1250144.8545 | 2678792.9942 | 1250157.1078
23 | 2678736.2621 | 1250157.799 | 2678718.7458 | 1250111.173
24 | 2678721.4076 | 1250204.6694 | 2678726.8427 | 1250204.1634 | 2678731.1853 | 1250202.9202 | 2678734.0395 | 1250201.7573 | 2678737.3339 | 1250199.8552 | 2678739.899 | 1250194.3185 | 2678741.801 | 1250190.9524 | 2678745.953 | 1250184.7363 | 2678742.4373 | 1250173.1812 | 2678738.4392 | 1250163.8434 | 2678736.2621 | 1250157.799
25 | 2678736.2621 | 1250157.799 | 2678715.79 | 1250165.4994 | 2678713.8425 | 1250166.1099
26 | 2678718.5675 | 1250110.6983 | 2678718.7458 | 1250111.173
27 | 2678738.4826 | 1250246.349 | 2678731.9397 | 1250231.3622 | 2678725.3821 | 1250216.353 | 2678721.4076 | 1250204.6694
28 | 2678768.8606 | 1250230.641 | 2678763.0319 | 1250232.3649 | 2678756.8897 | 1250232.1053 | 2678752.1278 | 1250230.8189 | 2678746.5188 | 1250227.9311 | 2678741.2648 | 1250223.9028 | 2678736.8945 | 1250215.8722 | 2678735.9737 | 1250206.7644 | 2678737.3339 | 1250199.8552 | 2678734.0395 | 1250201.7573 | 2678731.1853 | 1250202.9202 | 2678726.8427 | 1250204.1634 | 2678721.4076 | 1250204.6694
29 | 2678721.4076 | 1250204.6694 | 2678717.1584 | 1250203.9903 | 2678713.4512 | 1250193.8707
30 | 2678768.8606 | 1250230.641 | 2678791.3561 | 1250284.2349
31 | 2678768.8606 | 1250230.641 | 2678770.356 | 1250229.4712 | 2678771.2027 | 1250227.6811 | 2678774.2853 | 1250226.3767
32 | 2678774.2853 | 1250226.3767 | 2678779.9149 | 1250226.0067 | 2678818.9305 | 1250211.4147 | 2678822.1382 | 1250210.9236 | 2678840.0224 | 1250208.1872
33 | 2678840.0224 | 1250208.1872 | 2678845.1367 | 1250207.4047 | 2678850.9581 | 1250207.938 | 2678864.1792 | 1250237.1156
34 | 2679008.6447 | 1250029.6734 | 2679023.4265 | 1250022.9877 | 2679023.1937 | 1250022.3286 | 2679022.6406 | 1250020.7756 | 2679022.0804 | 1250019.1892 | 2679021.5567 | 1250017.6922 | 2679020.8438 | 1250015.6701 | 2679019.0619 | 1250010.576 | 2679018.0802 | 1250007.7608
35 | 2679018.0802 | 1250007.7608 | 2679010.5276 | 1250010.9655
36 | 2679008.6447 | 1250029.6734 | 2679009.1701 | 1250031.0369 | 2679009.3967 | 1250059.9801
37 | 2678994.3023 | 1250017.8502 | 2679010.5276 | 1250010.9655
38 | 2678949.4119 | 1250041.7264 | 2678953.47 | 1250039.1786 | 2678973.6756 | 1250027.7393 | 2678990.6918 | 1250019.3821 | 2678994.3023 | 1250017.8502
39 | 2678949.4119 | 1250041.7264 | 2678951.9258 | 1250045.7073 | 2678953.6338 | 1250048.4209 | 2678955.0681 | 1250050.6972 | 2678955.9259 | 1250052.0541 | 2678956.7908 | 1250053.4333 | 2678957.9887 | 1250055.3284 | 2678954.7335 | 1250057.1086
40 | 2678948.8319 | 1250042.0903 | 2678949.4119 | 1250041.7264
41 | 2678954.7335 | 1250057.1086 | 2678955.1266 | 1250090.5956
42 | 2678919.311 | 1250060.663 | 2678926.2127 | 1250056.2837 | 2678948.8319 | 1250042.0903
43 | 2678829.2967 | 1250110.4117 | 2678833.6148 | 1250108.7457 | 2678838.9647 | 1250106.7042
44 | 2678838.9647 | 1250106.7042 | 2678840.474 | 1250107.3248 | 2678842.2927 | 1250107.9605 | 2678844.4167 | 1250107.7775 | 2678846.5053 | 1250106.8491 | 2678885.5516 | 1250082.0837
45 | 2678838.9647 | 1250106.7042 | 2678837.714 | 1250105.3755 | 2678836.9766 | 1250104.0536 | 2678831.2182 | 1250087.8452
46 | 2678829.2967 | 1250110.4117 | 2678828.8707 | 1250108.3823 | 2678822.9488 | 1250092.0107
47 | 2678829.2967 | 1250110.4117 | 2678829.354 | 1250113.4814 | 2678828.5066 | 1250116.4501 | 2678826.7559 | 1250118.6506 | 2678820.3249 | 1250122.5013 | 2678812.0926 | 1250126.8667
48 | 2678885.5516 | 1250082.0837 | 2678887.5501 | 1250085.0903 | 2678890.8659 | 1250090.0936 | 2678891.6875 | 1250091.3277 | 2678892.5684 | 1250092.6515 | 2678894.0856 | 1250094.94 | 2678899.9947 | 1250091.1714 | 2678900.0471 | 1250104.8044
49 | 2678885.5516 | 1250082.0837 | 2678890.1712 | 1250079.1525
50 | 2678825.2566 | 1250071.065 | 2678831.2182 | 1250087.8452
51 | 2678822.9488 | 1250092.0107 | 2678818.6068 | 1250080.0067
52 | 2678798.6042 | 1250133.8497 | 2678800.6467 | 1250132.9362 | 2678812.0926 | 1250126.8667
53 | 2678900.0471 | 1250104.8044 | 2678900.0418 | 1250123.9851
54 | 2678890.1712 | 1250079.1525 | 2678894.2695 | 1250076.5521
55 | 2678810.994 | 1250042.4185 | 2678837.2591 | 1250032.789
56 | 2678854.9201 | 1250026.314 | 2678837.2591 | 1250032.789
57 | 2678779.1288 | 1250142.0424 | 2678758.9654 | 1250149.2387 | 2678754.9804 | 1250150.7391
58 | 2679009.5304 | 1250077.0533 | 2679009.3967 | 1250059.9801
59 | 2678707.8645 | 1250082.2086 | 2678709.8667 | 1250087.5382
60 | 2678900.0418 | 1250123.9851 | 2678900.0406 | 1250128.4011
61 | 2678890.5746 | 1249979.2381 | 2678862.9345 | 1249989.7842
62 | 2678715.3259 | 1250102.0698 | 2678718.5675 | 1250110.6983
63 | 2678864.1792 | 1250237.1156 | 2678877.6605 | 1250266.8674
64 | 2678919.311 | 1250060.663 | 2678909.7437 | 1250066.7335
65 | 2678818.6068 | 1250080.0067 | 2678810.2317 | 1250056.8528
66 | 2678798.6042 | 1250133.8497 | 2678784.8563 | 1250139.9982 | 2678779.1288 | 1250142.0424
67 | 2679009.5304 | 1250077.0533 | 2679038.32 | 1250066.0236
68 | 2678909.7437 | 1250066.7335 | 2678894.2695 | 1250076.5521
69 | 2678715.3259 | 1250102.0698 | 2678709.8667 | 1250087.5382
70 | 2678801.2256 | 1250027.1706 | 2678803.0496 | 1250032.3277 | 2678805.515 | 1250041.1002 | 2678806.1142 | 1250043.8022
71 | 2678810.2317 | 1250056.8528 | 2678807.9198 | 1250050.4613 | 2678806.7045 | 1250046.4644 | 2678806.1142 | 1250043.8022
72 | 2678957.5261 | 1250245.9609 | 2678965.8839 | 1250243.6773
73 | 2678957.5261 | 1250245.9609 | 2678946.3852 | 1250249.0049 | 2678906.5183 | 1250261.1831 | 2678880.1049 | 1250272.2619 | 2678877.6605 | 1250266.8674
74 | 2678965.8839 | 1250243.6773 | 2678978.8242 | 1250240.1416 | 2678993.4456 | 1250236.0926
75 | 2679164.0271 | 1250224.5449 | 2679143.9095 | 1250220.9403 | 2679111.3917 | 1250219.8388 | 2679068.824 | 1250222.773 | 2679029.1509 | 1250228.3147 | 2679013.7769 | 1250231.3231 | 2679009.3175 | 1250231.6973 | 2678993.4456 | 1250236.0926
76 | 2679164.0271 | 1250224.5449 | 2679133.8285 | 1250232.3808 | 2679085.8138 | 1250247.4623 | 2679058.4388 | 1250263.242

## bus_geodata
| x | y | coords
0 | 2678969.6035 | 1249984.2681
1 | 2678953.1379 | 1249990.3048
2 | 2678966.6228 | 1249950.2218
3 | 2678936.6458 | 1249996.3512
4 | 2678945.9005 | 1249958.1285
5 | 2678895.7963 | 1250011.3277
6 | 2678918.2802 | 1249968.667
7 | 2678801.5578 | 1250007.6898
8 | 2678803.1004 | 1250012.6139
9 | 2678766.1328 | 1250024.7976
10 | 2678660.6105 | 1250094.7596
11 | 2678638.3544 | 1250108.8746
12 | 2678700.3632 | 1250062.2411
13 | 2678667.6432 | 1250118.4066
14 | 2678615.3954 | 1250115.1034
15 | 2678790.8368 | 1250155.2555
16 | 2678751.2636 | 1250152.1385
17 | 2678792.9942 | 1250157.1078
18 | 2678736.2621 | 1250157.799
19 | 2678718.7458 | 1250111.173
20 | 2678721.4076 | 1250204.6694
21 | 2678713.8425 | 1250166.1099
22 | 2678738.4826 | 1250246.349
23 | 2678768.8606 | 1250230.641
24 | 2678713.4512 | 1250193.8707
25 | 2678774.2853 | 1250226.3767
26 | 2678840.0224 | 1250208.1872
27 | 2678791.3561 | 1250284.2349
28 | 2679018.0802 | 1250007.7608
29 | 2679008.6447 | 1250029.6734
30 | 2679010.5276 | 1250010.9655
31 | 2678949.4119 | 1250041.7264
32 | 2678994.3023 | 1250017.8502
33 | 2678954.7335 | 1250057.1086
34 | 2678948.8319 | 1250042.0903
35 | 2678838.9647 | 1250106.7042
36 | 2678829.2967 | 1250110.4117
37 | 2678885.5516 | 1250082.0837
38 | 2678831.2182 | 1250087.8452
39 | 2678822.9488 | 1250092.0107
40 | 2678812.0926 | 1250126.8667
41 | 2678900.0471 | 1250104.8044
42 | 2678890.1712 | 1250079.1525
43 | 2678810.994 | 1250042.4185
44 | 2678837.2591 | 1250032.789
45 | 2678754.9804 | 1250150.7391
46 | 2679009.3967 | 1250059.9801
47 | 2678757.483 | 1250029.2724
48 | 2678707.8645 | 1250082.2086
49 | 2678955.1266 | 1250090.5956
50 | 2678900.0418 | 1250123.9851
51 | 2678854.9201 | 1250026.314
52 | 2678890.5746 | 1249979.2381
53 | 2678823.9308 | 1250144.8545
54 | 2678718.5675 | 1250110.6983
55 | 2678864.1792 | 1250237.1156
56 | 2678919.311 | 1250060.663
57 | 2678825.2566 | 1250071.065
58 | 2678818.6068 | 1250080.0067
59 | 2678798.6042 | 1250133.8497
60 | 2679038.32 | 1250066.0236
61 | 2679009.5304 | 1250077.0533
62 | 2678894.2695 | 1250076.5521
63 | 2678779.1288 | 1250142.0424
64 | 2678709.8667 | 1250087.5382
65 | 2678900.0406 | 1250128.4011
66 | 2678862.9345 | 1249989.7842
67 | 2678715.3259 | 1250102.0698
68 | 2678806.1142 | 1250043.8022
69 | 2678801.2256 | 1250027.1706
70 | 2678810.2317 | 1250056.8528
71 | 2678957.5261 | 1250245.9609
72 | 2678965.8839 | 1250243.6773
73 | 2678877.6605 | 1250266.8674
74 | 2678993.4456 | 1250236.0926
75 | 2679164.0271 | 1250224.5449
76 | 2679058.4388 | 1250263.242
77 | 2678909.7437 | 1250066.7335
78 | 2678887.5501 | 1250085.0903

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97627 | -0.45737 | 0.0011054 | 0.00027704
1 | 0.97682 | -0.44656 | 0.01229 | 0.0030801
2 | 0.97446 | -0.49287 | 0 | 0
3 | 0.9772 | -0.43918 | 0.014421 | 0.0036143
4 | 0.97379 | -0.50616 | 0.0054822 | 0.001374
5 | 0.97781 | -0.42719 | 0.013798 | 0.0034581
6 | 0.97304 | -0.52091 | 0.00072571 | 0.00018188
7 | 0.98109 | -0.36301 | 0 | 0
8 | 0.98093 | -0.36625 | 0 | 0
9 | 0.98236 | -0.33829 | 0.0041691 | 0.0010449
10 | 0.9847 | -0.29286 | 0 | 0
11 | 0.98462 | -0.29445 | 0 | 0
12 | 0.98491 | -0.28888 | 0 | 0
13 | 0.98468 | -0.29329 | 0.00096171 | 0.00024103
14 | 0.98455 | -0.29585 | 0.0032136 | 0.0008054
15 | 0.98704 | -0.24804 | 0 | 0
16 | 0.98951 | -0.20007 | 0 | 0
17 | 0.98693 | -0.25023 | 0.0035729 | 0.00089545
18 | 0.98878 | -0.21414 | 0 | 0
19 | 0.98681 | -0.25213 | 0.0022334 | 0.00055975
20 | 0.98727 | -0.2435 | 0 | 0
21 | 0.98877 | -0.21439 | 0.00060307 | 0.00015114
22 | 0.98705 | -0.24769 | 0.0052005 | 0.0013034
23 | 0.9861 | -0.26615 | 0 | 0
24 | 0.98722 | -0.24443 | 0.0034213 | 0.00085745
25 | 0.986 | -0.26825 | 0 | 0
26 | 0.98497 | -0.28831 | 0.00088496 | 0.00022179
27 | 0.98604 | -0.26741 | 0.0012101 | 0.00030328
28 | 0.98949 | -0.20213 | 0 | 0
29 | 0.98848 | -0.22164 | 0 | 0
30 | 0.98974 | -0.19719 | 0.0078689 | 0.0019721
31 | 0.99305 | -0.13329 | 0 | 0
32 | 0.99042 | -0.18412 | 0.014662 | 0.0036748
33 | 0.99257 | -0.1426 | 0 | 0
34 | 0.9931 | -0.13229 | 0.013469 | 0.0033756
35 | 0.99548 | -0.08584 | 0 | 0
36 | 0.99476 | -0.099638 | 0 | 0
37 | 1 | 0 | -0.60808 | -0.15435
38 | 0.99436 | -0.10742 | 0.029769 | 0.0074607
39 | 0.99396 | -0.11504 | 0.029988 | 0.0075156
40 | 0.99322 | -0.12898 | 0.013723 | 0.0034393
41 | 0.99838 | -0.031135 | 0 | 0
42 | 0.99976 | -0.0044926 | 0.031484 | 0.0078906
43 | 0.97993 | -0.38568 | 0 | 0
44 | 0.97903 | -0.40333 | 0.032095 | 0.0080438
45 | 0.98973 | -0.19581 | 0.0012415 | 0.00031114
46 | 0.98754 | -0.24 | 0.026467 | 0.0066332
47 | 0.98268 | -0.332 | 0.0020387 | 0.00051094
48 | 0.98565 | -0.27458 | 0.0092567 | 0.0023199
49 | 0.99175 | -0.15838 | 0.026603 | 0.0066673
50 | 0.99752 | -0.047731 | 0.026981 | 0.0067621
51 | 0.97856 | -0.41247 | 0.03263 | 0.0081777
52 | 0.97231 | -0.53533 | 0.0055004 | 0.0013785
53 | 0.98572 | -0.27381 | 0.03955 | 0.0099123
54 | 0.98679 | -0.25251 | 0.005631 | 0.0014113
55 | 0.98436 | -0.30022 | 0.0047053 | 0.0011793
56 | 0.99618 | -0.07303 | 0.013909 | 0.0034858
57 | 0.99388 | -0.1168 | 0.029889 | 0.007491
58 | 0.99379 | -0.11839 | 0.0038652 | 0.00096871
59 | 0.99236 | -0.14538 | 0.00024759 | 6.2053e-05
60 | 0.98722 | -0.2463 | 0.0073583 | 0.0018442
61 | 0.98742 | -0.24225 | 0 | 0
62 | 0.99942 | -0.011136 | 0.032229 | 0.0080774
63 | 0.99117 | -0.16824 | 0.0021192 | 0.00053113
64 | 0.98586 | -0.27053 | 0.0037661 | 0.00094387
65 | 0.99743 | -0.049469 | 0.022458 | 0.0056286
66 | 0.97173 | -0.54673 | 0.020894 | 0.0052366
67 | 0.98644 | -0.25923 | 0.00052622 | 0.00013188
68 | 0.99345 | -0.12499 | 0.003402 | 0.00085263
69 | 0.99338 | -0.12627 | 0.0041571 | 0.0010419
70 | 0.99354 | -0.12317 | 0.003432 | 0.00086014
71 | 0.98325 | -0.32188 | 0.006461 | 0.0016193
72 | 0.98322 | -0.32239 | 0.00041992 | 0.00010524
73 | 0.98403 | -0.30651 | 0.00096479 | 0.0002418
74 | 0.98315 | -0.32385 | 0.0019046 | 0.00047734
75 | 0.983 | -0.32675 | 0 | 0
76 | 0.98291 | -0.32863 | 0.0009239 | 0.00023155
77 | 0.99733 | -0.051096 | 0.014349 | 0.0035962
78 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.033833 | -0.0085258 | 0.03385 | 0.0085368 | 1.75e-05 | 1.098e-05 | 0.051584 | 0.051584 | 0.051584 | 0.97627 | -0.45737 | 0.97682 | -0.44656 | 14.1715
1 | 0.032727 | 0.0082487 | -0.032672 | -0.008214 | 5.5503e-05 | 3.478e-05 | 0.049899 | 0.0499 | 0.0499 | 0.97627 | -0.45737 | 0.97446 | -0.49287 | 13.7087
2 | -0.04614 | -0.011617 | 0.046156 | 0.011627 | 1.6279e-05 | 9.9788e-06 | 0.070305 | 0.070305 | 0.070305 | 0.97682 | -0.44656 | 0.9772 | -0.43918 | 9.6573
3 | 0.032672 | 0.008214 | -0.032651 | -0.008201 | 2.071e-05 | 1.2978e-05 | 0.0499 | 0.0499 | 0.0499 | 0.97446 | -0.49287 | 0.97379 | -0.50616 | 13.7087
4 | -0.060577 | -0.015241 | 0.060612 | 0.015261 | 3.4723e-05 | 2.0041e-05 | 0.092265 | 0.092264 | 0.092265 | 0.9772 | -0.43918 | 0.97781 | -0.42719 | 6.3369
5 | 0.027169 | 0.006827 | -0.02715 | -0.0068152 | 1.9114e-05 | 1.1865e-05 | 0.041523 | 0.041523 | 0.041523 | 0.97379 | -0.50616 | 0.97304 | -0.52091 | 11.4073
6 | -0.07441 | -0.018719 | 0.074463 | 0.018751 | 5.2359e-05 | 3.1324e-05 | 0.11326 | 0.11326 | 0.11326 | 0.97781 | -0.42719 | 0.97856 | -0.41247 | 7.779
7 | 0.026424 | 0.0066333 | -0.026406 | -0.006622 | 1.8162e-05 | 1.1255e-05 | 0.040413 | 0.040413 | 0.040413 | 0.97304 | -0.52091 | 0.97231 | -0.53533 | 11.1025
8 | 0.1395 | 0.03517 | -0.13948 | -0.035156 | 2.1667e-05 | 1.3607e-05 | 0.21166 | 0.21166 | 0.21166 | 0.98109 | -0.36301 | 0.98093 | -0.36625 | 14.5369
9 | -0.1395 | -0.03517 | 0.13967 | 0.035274 | 0.00016524 | 0.00010376 | 0.21166 | 0.21166 | 0.21166 | 0.98109 | -0.36301 | 0.98236 | -0.33829 | 14.5369
10 | 0.13948 | 0.035156 | -0.13935 | -0.035075 | 0.00012948 | 8.1311e-05 | 0.21166 | 0.21166 | 0.21166 | 0.98093 | -0.36625 | 0.97993 | -0.38568 | 14.537
11 | -0.14384 | -0.036319 | 0.14388 | 0.036346 | 4.338e-05 | 2.727e-05 | 0.21797 | 0.21797 | 0.21797 | 0.98236 | -0.33829 | 0.98268 | -0.332 | 14.9706
12 | 0.003214 | 0.00080504 | -0.0032138 | -0.00080523 | 2.4349e-07 | -1.9431e-07 | 0.0048567 | 0.0048568 | 0.0048568 | 0.9847 | -0.29286 | 0.98462 | -0.29445 | 1.3343
13 | -0.0041758 | -0.0010458 | 0.0041766 | 0.0010456 | 7.913e-07 | -1.6793e-07 | 0.0063099 | 0.0063096 | 0.0063099 | 0.9847 | -0.29286 | 0.98491 | -0.28888 | 1.7335
14 | 0.00096173 | 0.00024072 | -0.00096171 | -0.00024103 | 1.9704e-08 | -3.0388e-07 | 0.0014532 | 0.0014533 | 0.0014533 | 0.9847 | -0.29286 | 0.98468 | -0.29329 | 0.39926
15 | 0.0032138 | 0.00080523 | -0.0032136 | -0.0008054 | 2.1398e-07 | -1.707e-07 | 0.0048568 | 0.0048569 | 0.0048569 | 0.98462 | -0.29445 | 0.98455 | -0.29585 | 1.3343
16 | 0.14622 | 0.037047 | -0.14592 | -0.036857 | 0.0003022 | 0.00019006 | 0.22106 | 0.22106 | 0.22106 | 0.98491 | -0.28888 | 0.98268 | -0.332 | 15.1826
17 | -0.1504 | -0.038092 | 0.1505 | 0.038157 | 0.00010338 | 6.5074e-05 | 0.22737 | 0.22737 | 0.22737 | 0.98491 | -0.28888 | 0.98565 | -0.27458 | 15.6159
18 | -0.043172 | -0.010839 | 0.043271 | 0.010901 | 9.9039e-05 | 6.2586e-05 | 0.065091 | 0.065091 | 0.065091 | 0.98704 | -0.24804 | 0.98951 | -0.20007 | 17.8822
19 | 0.043172 | 0.010839 | -0.043168 | -0.010836 | 4.5176e-06 | 2.8549e-06 | 0.065091 | 0.065091 | 0.065091 | 0.98704 | -0.24804 | 0.98693 | -0.25023 | 17.8822
20 | -0.24261 | -0.061562 | 0.24265 | 0.061593 | 4.963e-05 | 3.1559e-05 | 0.3651 | 0.3651 | 0.3651 | 0.98951 | -0.20007 | 0.98973 | -0.19581 | 25.0754
21 | 0.19933 | 0.050661 | -0.1992 | -0.050575 | 0.00013495 | 8.5545e-05 | 0.30001 | 0.30001 | 0.30001 | 0.98951 | -0.20007 | 0.98878 | -0.21414 | 20.6049
22 | 0.039595 | 0.0099403 | -0.03955 | -0.0099123 | 4.448e-05 | 2.8042e-05 | 0.059704 | 0.059704 | 0.059704 | 0.98693 | -0.25023 | 0.98572 | -0.27381 | 16.4023
23 | 0.17241 | 0.043834 | -0.17209 | -0.043635 | 0.00031487 | 0.00019897 | 0.25968 | 0.25968 | 0.25968 | 0.98878 | -0.21414 | 0.98681 | -0.25213 | 17.835
24 | 0.02619 | 0.0065899 | -0.026153 | -0.0065672 | 3.6697e-05 | 2.268e-05 | 0.039423 | 0.039423 | 0.039423 | 0.98878 | -0.21414 | 0.98727 | -0.2435 | 10.8305
25 | 0.00060308 | 0.00015084 | -0.00060307 | -0.00015114 | 7.3856e-09 | -3.02e-07 | 0.00090746 | 0.00090757 | 0.00090757 | 0.98878 | -0.21414 | 0.98877 | -0.21439 | 0.24933
26 | 0.16986 | 0.043076 | -0.16985 | -0.043074 | 3.1227e-06 | 1.9726e-06 | 0.25631 | 0.25631 | 0.25631 | 0.98681 | -0.25213 | 0.98679 | -0.25251 | 17.6037
27 | 0.0052016 | 0.0013035 | -0.0052005 | -0.0013034 | 1.0385e-06 | 8.8615e-08 | 0.0078398 | 0.00784 | 0.00784 | 0.98727 | -0.2435 | 0.98705 | -0.24769 | 2.1538
28 | 0.01753 | 0.0044064 | -0.017511 | -0.0043952 | 1.8931e-05 | 1.1193e-05 | 0.026426 | 0.026427 | 0.026427 | 0.98727 | -0.2435 | 0.9861 | -0.26615 | 7.2601
29 | 0.0034214 | 0.00085735 | -0.0034213 | -0.00085745 | 1.5038e-07 | -9.6583e-08 | 0.0051567 | 0.0051568 | 0.0051568 | 0.98727 | -0.2435 | 0.98722 | -0.24443 | 1.4167
30 | 0.0012102 | 0.00030259 | -0.0012101 | -0.00030328 | 7.2649e-08 | -6.9466e-07 | 0.0018259 | 0.0018262 | 0.0018262 | 0.9861 | -0.26615 | 0.98604 | -0.26741 | 0.50169
31 | 0.016301 | 0.0040926 | -0.0163 | -0.0040917 | 1.64e-06 | 9.574e-07 | 0.024601 | 0.024601 | 0.024601 | 0.9861 | -0.26615 | 0.986 | -0.26825 | 6.7585
32 | 0.0163 | 0.0040917 | -0.016284 | -0.0040826 | 1.5577e-05 | 9.0947e-06 | 0.024601 | 0.024601 | 0.024601 | 0.986 | -0.26825 | 0.98497 | -0.28831 | 6.7586
33 | 0.015399 | 0.0038608 | -0.01539 | -0.0038558 | 8.7381e-06 | 5.0448e-06 | 0.023264 | 0.023264 | 0.023264 | 0.98497 | -0.28831 | 0.98436 | -0.30022 | 6.3913
34 | 0.033889 | 0.0085165 | -0.033857 | -0.0084968 | 3.1529e-05 | 1.9763e-05 | 0.050971 | 0.050971 | 0.050971 | 0.98949 | -0.20213 | 0.98848 | -0.22164 | 14.003
35 | -0.033889 | -0.0085165 | 0.033897 | 0.0085216 | 7.9932e-06 | 5.0102e-06 | 0.050971 | 0.050971 | 0.050971 | 0.98949 | -0.20213 | 0.98974 | -0.19719 | 14.003
36 | 0.033857 | 0.0084968 | -0.033827 | -0.0084782 | 2.9623e-05 | 1.8569e-05 | 0.050971 | 0.050971 | 0.050971 | 0.98848 | -0.22164 | 0.98754 | -0.24 | 14.003
37 | -0.041766 | -0.010494 | 0.041792 | 0.01051 | 2.6068e-05 | 1.6457e-05 | 0.062801 | 0.062801 | 0.062801 | 0.98974 | -0.19719 | 0.99042 | -0.18412 | 17.2531
38 | 0.056591 | 0.014272 | -0.056454 | -0.014185 | 0.00013733 | 8.7235e-05 | 0.08483 | 0.08483 | 0.08483 | 0.99305 | -0.13329 | 0.99042 | -0.18412 | 23.305
39 | 0.026635 | 0.006687 | -0.026623 | -0.0066797 | 1.1824e-05 | 7.3112e-06 | 0.039915 | 0.039915 | 0.039915 | 0.99305 | -0.13329 | 0.99257 | -0.1426 | 10.9656
40 | -0.083226 | -0.020959 | 0.08323 | 0.020962 | 3.9954e-06 | 2.5482e-06 | 0.12474 | 0.12474 | 0.12474 | 0.99305 | -0.13329 | 0.9931 | -0.13229 | 34.2705
41 | 0.026623 | 0.0066797 | -0.026603 | -0.0066673 | 2.0008e-05 | 1.2373e-05 | 0.039915 | 0.039915 | 0.039915 | 0.99257 | -0.1426 | 0.99175 | -0.15838 | 10.9656
42 | -0.096699 | -0.024337 | 0.096974 | 0.024513 | 0.0002747 | 0.00017536 | 0.14493 | 0.14493 | 0.14493 | 0.9931 | -0.13229 | 0.99618 | -0.07303 | 39.8146
43 | 0.30623 | 0.078068 | -0.30603 | -0.077938 | 0.00020382 | 0.00012991 | 0.45822 | 0.45822 | 0.45822 | 0.99548 | -0.08584 | 0.99476 | -0.099638 | 31.4709
44 | -0.36597 | -0.093067 | 0.36749 | 0.094037 | 0.0015203 | 0.00097019 | 0.54751 | 0.54751 | 0.54751 | 0.99548 | -0.08584 | 1 | 0 | 37.6039
45 | 0.059733 | 0.014999 | -0.059671 | -0.01496 | 6.1417e-05 | 3.904e-05 | 0.089297 | 0.089297 | 0.089297 | 0.99548 | -0.08584 | 0.99436 | -0.10742 | 24.5321
46 | 0.044883 | 0.011263 | -0.04485 | -0.011242 | 3.2938e-05 | 2.0828e-05 | 0.067143 | 0.067143 | 0.067143 | 0.99476 | -0.099638 | 0.99396 | -0.11504 | 18.4459
47 | 0.26115 | 0.066675 | -0.26078 | -0.06644 | 0.00036968 | 0.00023526 | 0.39107 | 0.39107 | 0.39107 | 0.99476 | -0.099638 | 0.99322 | -0.12898 | 26.8595
48 | 0.049554 | 0.012463 | -0.049481 | -0.012417 | 7.3581e-05 | 4.6619e-05 | 0.073753 | 0.073753 | 0.073753 | 1 | 0 | 0.99838 | -0.031135 | 20.2618
49 | 0.18939 | 0.047849 | -0.18935 | -0.047823 | 4.0776e-05 | 2.5809e-05 | 0.28195 | 0.28195 | 0.28195 | 1 | 0 | 0.99976 | -0.0044926 | 19.365
50 | 0.029903 | 0.0074993 | -0.029889 | -0.007491 | 1.3373e-05 | 8.3277e-06 | 0.04475 | 0.04475 | 0.04475 | 0.99436 | -0.10742 | 0.99388 | -0.1168 | 12.2939
51 | 0.014862 | 0.0037262 | -0.01486 | -0.0037248 | 2.3698e-06 | 1.3513e-06 | 0.02225 | 0.02225 | 0.02225 | 0.99396 | -0.11504 | 0.99379 | -0.11839 | 6.1126
52 | 0.24705 | 0.063001 | -0.24686 | -0.062876 | 0.00019554 | 0.00012436 | 0.37052 | 0.37052 | 0.37052 | 0.99322 | -0.12898 | 0.99236 | -0.14538 | 25.4475
53 | 0.049481 | 0.012417 | -0.049442 | -0.012392 | 3.9125e-05 | 2.4789e-05 | 0.073753 | 0.073753 | 0.073753 | 0.99838 | -0.031135 | 0.99752 | -0.047731 | 20.2618
54 | 0.15787 | 0.039932 | -0.15782 | -0.0399 | 5.0299e-05 | 3.2064e-05 | 0.23509 | 0.23509 | 0.23509 | 0.99976 | -0.0044926 | 0.99942 | -0.011136 | 32.2932
55 | 0.13935 | 0.035075 | -0.13923 | -0.035001 | 0.00011749 | 7.3786e-05 | 0.21166 | 0.21166 | 0.21166 | 0.97993 | -0.38568 | 0.97903 | -0.40333 | 14.537
56 | 0.10714 | 0.026957 | -0.10709 | -0.026928 | 4.6784e-05 | 2.8996e-05 | 0.16288 | 0.16288 | 0.16288 | 0.97903 | -0.40333 | 0.97856 | -0.41247 | 11.1867
57 | -0.2439 | -0.061904 | 0.24422 | 0.062111 | 0.00032404 | 0.00020606 | 0.36696 | 0.36696 | 0.36696 | 0.98973 | -0.19581 | 0.99117 | -0.16824 | 25.2036
58 | 0.0073605 | 0.001845 | -0.0073598 | -0.0018447 | 7.8758e-07 | 2.8563e-07 | 0.011091 | 0.011091 | 0.011091 | 0.98754 | -0.24 | 0.98742 | -0.24225 | 3.047
59 | -0.15976 | -0.040477 | 0.15979 | 0.040497 | 3.1088e-05 | 1.9606e-05 | 0.24134 | 0.24134 | 0.24134 | 0.98565 | -0.27458 | 0.98586 | -0.27053 | 16.5756
60 | 0.02246 | 0.0056298 | -0.022458 | -0.0056286 | 1.859e-06 | 1.1321e-06 | 0.033505 | 0.033505 | 0.033505 | 0.99752 | -0.047731 | 0.99743 | -0.049469 | 9.2046
61 | 0.020906 | 0.0052435 | -0.020894 | -0.0052366 | 1.1357e-05 | 6.9017e-06 | 0.031995 | 0.031995 | 0.031995 | 0.97231 | -0.53533 | 0.97173 | -0.54673 | 8.7899
62 | 0.16422 | 0.041662 | -0.16417 | -0.041629 | 5.3069e-05 | 3.3494e-05 | 0.24782 | 0.24782 | 0.24782 | 0.98679 | -0.25251 | 0.98644 | -0.25923 | 17.0205
63 | 0.010685 | 0.0026765 | -0.010682 | -0.0026749 | 3.1955e-06 | 1.63e-06 | 0.016152 | 0.016152 | 0.016152 | 0.98436 | -0.30022 | 0.98403 | -0.30651 | 4.4373
64 | -0.11088 | -0.027998 | 0.111 | 0.028073 | 0.00011666 | 7.4517e-05 | 0.1657 | 0.1657 | 0.1657 | 0.99618 | -0.07303 | 0.99733 | -0.051096 | 45.5222
65 | 0.010995 | 0.0027561 | -0.010992 | -0.0027548 | 2.5024e-06 | 1.2826e-06 | 0.016463 | 0.016463 | 0.016463 | 0.99379 | -0.11839 | 0.99354 | -0.12317 | 4.5227
66 | 0.24661 | 0.062814 | -0.24634 | -0.062642 | 0.00027155 | 0.0001727 | 0.37014 | 0.37014 | 0.37014 | 0.99236 | -0.14538 | 0.99117 | -0.16824 | 25.422
67 | -0.0073583 | -0.0018442 | 0.0073598 | 0.0018447 | 1.4222e-06 | 5.1591e-07 | 0.011091 | 0.011091 | 0.011091 | 0.98722 | -0.2463 | 0.98742 | -0.24225 | 3.047
68 | 0.12559 | 0.031823 | -0.12535 | -0.031669 | 0.0002406 | 0.00015374 | 0.18711 | 0.18711 | 0.18711 | 0.99942 | -0.011136 | 0.99733 | -0.051096 | 51.4037
69 | -0.16356 | -0.041441 | 0.16364 | 0.041497 | 8.8805e-05 | 5.6043e-05 | 0.24703 | 0.24703 | 0.24703 | 0.98586 | -0.27053 | 0.98644 | -0.25923 | 16.966
70 | 0.0041574 | 0.0010418 | -0.0041571 | -0.0010419 | 2.5229e-07 | -6.317e-08 | 0.006227 | 0.0062271 | 0.0062271 | 0.99345 | -0.12499 | 0.99338 | -0.12627 | 1.7107
71 | -0.0075594 | -0.0018944 | 0.0075601 | 0.0018947 | 6.587e-07 | 2.4415e-07 | 0.011323 | 0.011323 | 0.011323 | 0.99345 | -0.12499 | 0.99354 | -0.12317 | 3.1106
72 | 0.0032489 | 0.00081036 | -0.0032488 | -0.00081042 | 7.8502e-08 | -5.9646e-08 | 0.0049154 | 0.0049155 | 0.0049155 | 0.98325 | -0.32188 | 0.98322 | -0.32239 | 1.3504
73 | -0.0097099 | -0.0024296 | 0.009717 | 0.0024331 | 7.1081e-06 | 3.4347e-06 | 0.014693 | 0.014693 | 0.014693 | 0.98325 | -0.32188 | 0.98403 | -0.30651 | 4.0366
74 | 0.0028289 | 0.00070517 | -0.0028287 | -0.00070541 | 1.9637e-07 | -2.3685e-07 | 0.0042799 | 0.0042801 | 0.0042801 | 0.98322 | -0.32239 | 0.98315 | -0.32385 | 1.1758
75 | 0.00092411 | 0.00022807 | -0.00092399 | -0.00023017 | 1.2625e-07 | -2.1039e-06 | 0.0013974 | 0.0013982 | 0.0013982 | 0.98315 | -0.32385 | 0.983 | -0.32675 | 0.38412
76 | 0.00092399 | 0.00023017 | -0.0009239 | -0.00023155 | 8.2749e-08 | -1.3773e-06 | 0.0013982 | 0.0013987 | 0.0013987 | 0.983 | -0.32675 | 0.98291 | -0.32863 | 0.38426

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60808 | 0.15435

## res_load
| p_mw | q_mvar
0 | 0.0011054 | 0.00027704
1 | 0.01229 | 0.0030801
2 | 0.014421 | 0.0036143
3 | 0.0054822 | 0.001374
4 | 0.013798 | 0.0034581
5 | 0.00072571 | 0.00018188
6 | 0.0041691 | 0.0010449
7 | 0.00096171 | 0.00024103
8 | 0.0032136 | 0.0008054
9 | 0.0035729 | 0.00089545
10 | 0.0022334 | 0.00055975
11 | 0.00060307 | 0.00015114
12 | 0.0052005 | 0.0013034
13 | 0.0034213 | 0.00085745
14 | 0.00088496 | 0.00022179
15 | 0.0012101 | 0.00030328
16 | 0.0078689 | 0.0019721
17 | 0.014662 | 0.0036748
18 | 0.013469 | 0.0033756
19 | 0.029769 | 0.0074607
20 | 0.029988 | 0.0075156
21 | 0.013723 | 0.0034393
22 | 0.031484 | 0.0078906
23 | 0.032095 | 0.0080438
24 | 0.0012415 | 0.00031114
25 | 0.026467 | 0.0066332
26 | 0.0020387 | 0.00051094
27 | 0.0092567 | 0.0023199
28 | 0.026603 | 0.0066673
29 | 0.026981 | 0.0067621
30 | 0.03263 | 0.0081777
31 | 0.0055004 | 0.0013785
32 | 0.03955 | 0.0099123
33 | 0.005631 | 0.0014113
34 | 0.0047053 | 0.0011793
35 | 0.013909 | 0.0034858
36 | 0.029889 | 0.007491
37 | 0.0038652 | 0.00096871
38 | 0.00024759 | 6.2053e-05
39 | 0.0073583 | 0.0018442
40 | 0.032229 | 0.0080774
41 | 0.0021192 | 0.00053113
42 | 0.0037661 | 0.00094387
43 | 0.022458 | 0.0056286
44 | 0.020894 | 0.0052366
45 | 0.00052622 | 0.00013188
46 | 0.003402 | 0.00085263
47 | 0.0041571 | 0.0010419
48 | 0.003432 | 0.00086014
49 | 0.006461 | 0.0016193
50 | 0.00041992 | 0.00010524
51 | 0.00096479 | 0.0002418
52 | 0.0019046 | 0.00047734
53 | 0.0009239 | 0.00023155
54 | 0.014349 | 0.0035962

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1