## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-491_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-491_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_261-491_0_4_node_13 | 0.4 | n |  | TRUE
3 | bus_LV_261-491_0_4_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_261-491_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-491_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_261-491_0_4_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_261-491_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_261-491_0_4_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_261-491_0_4_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_261-491_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_261-491_0_4_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_261-491_0_4_node_38 | 0.4 | n |  | TRUE
13 | bus_LV_261-491_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_261-491_0_4_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_261-491_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_261-491_0_4_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_261-491_0_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_261-491_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_261-491_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_261-491_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_261-491_0_4_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_261-491_0_4_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_261-491_0_4_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_261-491_0_4_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_261-491_0_4_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_261-491_0_4_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_261-491_0_4_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_261-491_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_261-491_0_4_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_261-491_0_4_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_261-491_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_261-491_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_261-491_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_261-491_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_261-491_0_4_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_261-491_0_4_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_261-491_0_4_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_261-491_0_4_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_261-491_0_4_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_261-491_0_4_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_261-491_0_4_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_261-491_0_4_node_17 | 0.4 | n |  | TRUE
43 | bus_LV_261-491_0_4_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_261-491_0_4_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_261-491_0_4_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_261-491_0_4_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_261-491_0_4_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_261-491_0_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_261-491_0_4_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_261-491_0_4_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_261-491_0_4_node_50 | 0.4 | n |  | TRUE
52 | bus_MV_389_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-491_0_4_load_0 | 0 | 0.0085348 | 0.002139 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-491_0_4_load_32 | 6 | 0.010181 | 0.0025515 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-491_0_4_load_36 | 8 | 0.020512 | 0.0051407 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-491_0_4_load_34 | 9 | 0.029445 | 0.0073795 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-491_0_4_load_38 | 12 | 0.010248 | 0.0025684 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-491_0_4_load_27 | 14 | 0.0090577 | 0.0022701 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-491_0_4_load_26 | 16 | 0.0090465 | 0.0022673 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-491_0_4_load_18 | 17 | 0.018926 | 0.0047433 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-491_0_4_load_15 | 19 | 0.0018078 | 0.00045307 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-491_0_4_load_28 | 21 | 0.010871 | 0.0027245 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-491_0_4_load_39 | 23 | 0.010732 | 0.0026897 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-491_0_4_load_49 | 25 | 0.0015712 | 0.00039378 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-491_0_4_load_35 | 26 | 0.010249 | 0.0025687 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-491_0_4_load_30 | 29 | 0.0091917 | 0.0023037 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-491_0_4_load_31 | 30 | 0.011794 | 0.0029558 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-491_0_4_load_29 | 31 | 0.0056767 | 0.0014227 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-491_0_4_load_21 | 32 | 0.015841 | 0.00397 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-491_0_4_load_22 | 33 | 0.0028697 | 0.00071922 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-491_0_4_load_25 | 34 | 0.019539 | 0.004897 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-491_0_4_load_16 | 35 | 0.016562 | 0.0041508 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-491_0_4_load_42 | 37 | 0.0094561 | 0.0023699 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-491_0_4_load_40 | 38 | 0.0093634 | 0.0023467 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-491_0_4_load_55 | 39 | 0.033922 | 0.0085017 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-491_0_4_load_48 | 41 | 0.0017851 | 0.00044738 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-491_0_4_load_17 | 42 | 0.0017588 | 0.0004408 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-491_0_4_load_53 | 43 | 0.0017849 | 0.00044733 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-491_0_4_load_52 | 44 | 0.0017841 | 0.00044713 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-491_0_4_load_23 | 45 | 0.0079123 | 0.001983 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-491_0_4_load_24 | 46 | 0.016206 | 0.0040616 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-491_0_4_load_44 | 48 | 0.010746 | 0.0026932 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-491_0_4_load_47 | 49 | 0.0039325 | 0.00098558 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-491_0_4_load_46 | 50 | 0.010874 | 0.0027254 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-491_0_4_load_50 | 51 | 0.0038086 | 0.00095453 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-491_0_4_line_0 |  | 0 | 1 | 0.043228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-491_0_4_line_1 |  | 1 | 2 | 0.02437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-491_0_4_line_2 |  | 1 | 3 | 0.012026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-491_0_4_line_3 |  | 2 | 22 | 0.006014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-491_0_4_line_4 |  | 2 | 23 | 0.019959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-491_0_4_line_5 |  | 3 | 24 | 0.035442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-491_0_4_line_6 |  | 3 | 25 | 0.025968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-491_0_4_line_7 |  | 4 | 5 | 0.034864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-491_0_4_line_8 |  | 4 | 6 | 0.037673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-491_0_4_line_9 |  | 5 | 15 | 0.008036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_261-491_0_4_line_10 |  | 5 | 16 | 0.027122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_261-491_0_4_line_11 |  | 5 | 13 | 0.027141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-491_0_4_line_12 |  | 6 | 11 | 0.028091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-491_0_4_line_13 |  | 7 | 8 | 0.018231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-491_0_4_line_14 |  | 7 | 9 | 0.06661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-491_0_4_line_15 |  | 8 | 27 | 0.035263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-491_0_4_line_16 |  | 10 | 11 | 0.005033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-491_0_4_line_17 |  | 10 | 12 | 0.032362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-491_0_4_line_18 |  | 11 | 29 | 0.0049243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-491_0_4_line_19 |  | 12 | 27 | 0.00222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-491_0_4_line_20 |  | 13 | 14 | 0.048166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-491_0_4_line_21 |  | 14 | 20 | 0.046321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-491_0_4_line_22 |  | 15 | 17 | 0.077767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_261-491_0_4_line_23 |  | 16 | 34 | 0.020439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_261-491_0_4_line_24 |  | 17 | 18 | 0.020878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-491_0_4_line_25 |  | 18 | 19 | 0.041771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-491_0_4_line_26 |  | 19 | 35 | 0.003021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-491_0_4_line_27 |  | 20 | 21 | 0.039409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-491_0_4_line_28 |  | 22 | 36 | 0.014795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-491_0_4_line_29 |  | 22 | 37 | 0.02156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-491_0_4_line_30 |  | 23 | 38 | 0.00029849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-491_0_4_line_31 |  | 24 | 39 | 0.022235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-491_0_4_line_32 |  | 24 | 40 | 0.005122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-491_0_4_line_33 |  | 25 | 41 | 0.0050714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-491_0_4_line_34 |  | 26 | 27 | 0.029092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-491_0_4_line_35 |  | 28 | 29 | 0.032739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-491_0_4_line_36 |  | 28 | 30 | 0.012906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-491_0_4_line_37 |  | 28 | 31 | 0.039683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-491_0_4_line_38 |  | 32 | 33 | 0.048184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-491_0_4_line_39 |  | 33 | 45 | 0.030177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-491_0_4_line_40 |  | 34 | 46 | 0.0027009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_261-491_0_4_line_41 |  | 35 | 42 | 0.0020499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-491_0_4_line_42 |  | 36 | 47 | 0.001568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-491_0_4_line_43 |  | 36 | 48 | 0.024537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-491_0_4_line_44 |  | 40 | 44 | 0.0017068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-491_0_4_line_45 |  | 41 | 51 | 0.0034599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-491_0_4_line_46 |  | 42 | 43 | 0.0050384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-491_0_4_line_47 |  | 43 | 44 | 0.0050717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-491_0_4_line_48 |  | 45 | 46 | 0.029908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_261-491_0_4_line_49 |  | 47 | 49 | 0.020335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-491_0_4_line_50 |  | 47 | 50 | 0.02529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-491_0_4_trafo_23 | 0.63 MVA 20/0.4 kV | 52 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2678672.7303 | 1249035.8789 | 2678665.2286 | 1249024.1708 | 2678662.9127 | 1249023.9955 | 2678660.0348 | 1249021.7779 | 2678656.9788 | 1249021.0368 | 2678652.3376 | 1249021.9537 | 2678639.0794 | 1249029.9675
1 | 2678672.7303 | 1249035.8789 | 2678674.3556 | 1249028.3505 | 2678666.2045 | 1249013.7984
2 | 2678672.7303 | 1249035.8789 | 2678683.0304 | 1249029.6221
3 | 2678666.2045 | 1249013.7984 | 2678660.3006 | 1249012.5636
4 | 2678666.2045 | 1249013.7984 | 2678682.9259 | 1249002.9007
5 | 2678713.3754 | 1249011.1669 | 2678683.0304 | 1249029.6221
6 | 2678683.0304 | 1249029.6221 | 2678689.8273 | 1249041.5099 | 2678691.2248 | 1249043.1852 | 2678692.4548 | 1249043.8131 | 2678694.5299 | 1249044.4967 | 2678696.7664 | 1249044.4041 | 2678700.4258 | 1249042.169
7 | 2678727.612 | 1248884.8415 | 2678740.9803 | 1248879.5707 | 2678744.3144 | 1248878.1473 | 2678747.2932 | 1248876.7525 | 2678750.7996 | 1248875.4314 | 2678752.3144 | 1248879.0653 | 2678754.5755 | 1248884.5104
8 | 2678727.612 | 1248884.8415 | 2678724.4166 | 1248876.3929 | 2678722.086 | 1248873.3375 | 2678718.5569 | 1248870.6887 | 2678707.586 | 1248865.4504 | 2678700.0712 | 1248862.1009
9 | 2678754.5755 | 1248884.5104 | 2678762.1121 | 1248881.664
10 | 2678754.5755 | 1248884.5104 | 2678738.349 | 1248890.6216 | 2678736.1305 | 1248892.7715 | 2678729.9172 | 1248895.2605
11 | 2678754.5755 | 1248884.5104 | 2678752.3144 | 1248879.0653 | 2678750.7996 | 1248875.4314 | 2678766.8936 | 1248869.0628
12 | 2678674.4428 | 1248850.5997 | 2678678.7359 | 1248852.5914 | 2678700.0712 | 1248862.1009
13 | 2678691.0832 | 1248898.6222 | 2678690.4137 | 1248897.2901 | 2678685.189 | 1248894.9413 | 2678675.1517 | 1248890.4121
14 | 2678691.0832 | 1248898.6222 | 2678672.0736 | 1248906.1866 | 2678650.6608 | 1248915.0312 | 2678629.5852 | 1248924.1976
15 | 2678644.271 | 1248874.1611 | 2678647.9187 | 1248878.1234 | 2678675.1517 | 1248890.4121
16 | 2678672.4708 | 1248855.2324 | 2678674.4428 | 1248850.5997
17 | 2678672.4708 | 1248855.2324 | 2678671.1068 | 1248858.4278 | 2678646.1862 | 1248873.0382
18 | 2678674.4428 | 1248850.5997 | 2678669.976 | 1248848.5269
19 | 2678644.271 | 1248874.1611 | 2678646.1862 | 1248873.0382
20 | 2678766.8936 | 1248869.0628 | 2678763.8132 | 1248858.7921 | 2678760.977 | 1248851.7271 | 2678754.1733 | 1248837.5041 | 2678747.911 | 1248824.9117
21 | 2678726.8495 | 1248783.6575 | 2678740.0736 | 1248809.1517 | 2678747.911 | 1248824.9117
22 | 2678762.1121 | 1248881.664 | 2678763.2848 | 1248890.5861 | 2678763.9958 | 1248941.6217 | 2678764.2053 | 1248954.2671 | 2678764.5581 | 1248959.3351
23 | 2678710.9435 | 1248902.8613 | 2678729.9172 | 1248895.2605
24 | 2678768.7455 | 1248979.7015 | 2678765.8244 | 1248969.9445 | 2678764.8584 | 1248963.6492 | 2678764.5581 | 1248959.3351
25 | 2678768.7455 | 1248979.7015 | 2678761.3149 | 1248982.5382 | 2678732.2717 | 1248999.8613
26 | 2678732.2717 | 1248999.8613 | 2678729.6771 | 1249001.4088
27 | 2678726.8495 | 1248783.6575 | 2678701.6326 | 1248794.5863 | 2678691.3954 | 1248800.7043
28 | 2678652.8359 | 1248999.7775 | 2678660.3006 | 1249012.5636
29 | 2678660.3006 | 1249012.5636 | 2678641.8808 | 1249023.7682
30 | 2678682.9259 | 1249002.9007 | 2678683.176 | 1249002.7377
31 | 2678702.0078 | 1248992.0465 | 2678704.8425 | 1248996.3762 | 2678713.3754 | 1249011.1669
32 | 2678717.7679 | 1249008.5122 | 2678715.6136 | 1249009.8068 | 2678713.3754 | 1249011.1669
33 | 2678704.7538 | 1249039.5256 | 2678700.4258 | 1249042.169
34 | 2678644.271 | 1248874.1611 | 2678635.1629 | 1248879.344 | 2678619.1254 | 1248888.7906
35 | 2678640.2783 | 1248834.746 | 2678669.976 | 1248848.5269
36 | 2678640.2783 | 1248834.746 | 2678642.8583 | 1248833.2347 | 2678650.5051 | 1248826.9226
37 | 2678640.2783 | 1248834.746 | 2678605.637 | 1248818.9529 | 2678604.1634 | 1248818.3011
38 | 2678652.7443 | 1248926.4106 | 2678608.5142 | 1248945.5258
39 | 2678652.7443 | 1248926.4106 | 2678660.1806 | 1248923.1968 | 2678680.6734 | 1248914.9875
40 | 2678708.4364 | 1248903.8657 | 2678710.9435 | 1248902.8613
41 | 2678727.9166 | 1249002.4589 | 2678729.6771 | 1249001.4088
42 | 2678652.0459 | 1248998.4216 | 2678652.8359 | 1248999.7775
43 | 2678652.8359 | 1248999.7775 | 2678673.3494 | 1248986.3133
44 | 2678717.7679 | 1249008.5122 | 2678719.2337 | 1249007.6379
45 | 2678707.7065 | 1249037.7222 | 2678704.7538 | 1249039.5256
46 | 2678723.5895 | 1249005.0399 | 2678727.9166 | 1249002.4589
47 | 2678719.2337 | 1249007.6379 | 2678723.5895 | 1249005.0399
48 | 2678680.6734 | 1248914.9875 | 2678708.4364 | 1248903.8657
49 | 2678652.0459 | 1248998.4216 | 2678641.7826 | 1248980.8504
50 | 2678652.0459 | 1248998.4216 | 2678629.6211 | 1249010.1137

## bus_geodata
| x | y | coords
0 | 2678639.0794 | 1249029.9675
1 | 2678672.7303 | 1249035.8789
2 | 2678666.2045 | 1249013.7984
3 | 2678683.0304 | 1249029.6221
4 | 2678727.612 | 1248884.8415
5 | 2678754.5755 | 1248884.5104
6 | 2678700.0712 | 1248862.1009
7 | 2678691.0832 | 1248898.6222
8 | 2678675.1517 | 1248890.4121
9 | 2678629.5852 | 1248924.1976
10 | 2678672.4708 | 1248855.2324
11 | 2678674.4428 | 1248850.5997
12 | 2678646.1862 | 1248873.0382
13 | 2678766.8936 | 1248869.0628
14 | 2678747.911 | 1248824.9117
15 | 2678762.1121 | 1248881.664
16 | 2678729.9172 | 1248895.2605
17 | 2678764.5581 | 1248959.3351
18 | 2678768.7455 | 1248979.7015
19 | 2678732.2717 | 1248999.8613
20 | 2678726.8495 | 1248783.6575
21 | 2678691.3954 | 1248800.7043
22 | 2678660.3006 | 1249012.5636
23 | 2678682.9259 | 1249002.9007
24 | 2678713.3754 | 1249011.1669
25 | 2678700.4258 | 1249042.169
26 | 2678619.1254 | 1248888.7906
27 | 2678644.271 | 1248874.1611
28 | 2678640.2783 | 1248834.746
29 | 2678669.976 | 1248848.5269
30 | 2678650.5051 | 1248826.9226
31 | 2678604.1634 | 1248818.3011
32 | 2678608.5142 | 1248945.5258
33 | 2678652.7443 | 1248926.4106
34 | 2678710.9436 | 1248902.8613
35 | 2678729.6771 | 1249001.4088
36 | 2678652.8359 | 1248999.7775
37 | 2678641.8808 | 1249023.7682
38 | 2678683.176 | 1249002.7377
39 | 2678702.0078 | 1248992.0465
40 | 2678717.7679 | 1249008.5122
41 | 2678704.7538 | 1249039.5256
42 | 2678727.9166 | 1249002.4589
43 | 2678723.5895 | 1249005.0399
44 | 2678719.2337 | 1249007.6379
45 | 2678680.6734 | 1248914.9875
46 | 2678708.4364 | 1248903.8657
47 | 2678652.0459 | 1248998.4216
48 | 2678673.3494 | 1248986.3133
49 | 2678641.7826 | 1248980.8504
50 | 2678629.6211 | 1249010.1137
51 | 2678707.7065 | 1249037.7222
52 | 2678754.5755 | 1248884.5104

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97388 | -0.50283 | 0.0085348 | 0.002139
1 | 0.97423 | -0.49605 | 0 | 0
2 | 0.97298 | -0.52075 | 0 | 0
3 | 0.97494 | -0.48201 | 0 | 0
4 | 0.98924 | -0.20462 | 0 | 0
5 | 0.99271 | -0.13822 | 0 | 0
6 | 0.9855 | -0.2769 | 0.010181 | 0.0025515
7 | 0.97827 | -0.41783 | 0 | 0
8 | 0.97877 | -0.40805 | 0.020512 | 0.0051407
9 | 0.97645 | -0.45361 | 0.029445 | 0.0073795
10 | 0.98264 | -0.33238 | 0 | 0
11 | 0.98297 | -0.32599 | 0 | 0
12 | 0.98053 | -0.37363 | 0.010248 | 0.0025684
13 | 0.99221 | -0.14779 | 0 | 0
14 | 0.99133 | -0.16481 | 0.0090577 | 0.0022701
15 | 0.99234 | -0.14521 | 0 | 0
16 | 0.99501 | -0.094413 | 0.0090465 | 0.0022673
17 | 0.98701 | -0.24717 | 0.018926 | 0.0047433
18 | 0.98452 | -0.29527 | 0 | 0
19 | 0.97952 | -0.39223 | 0.0018078 | 0.00045307
20 | 0.99087 | -0.17374 | 0 | 0
21 | 0.99048 | -0.18135 | 0.010871 | 0.0027245
22 | 0.97278 | -0.52463 | 0 | 0
23 | 0.9726 | -0.52814 | 0.010732 | 0.0026897
24 | 0.97728 | -0.4361 | 0 | 0
25 | 0.97477 | -0.48542 | 0.0015712 | 0.00039378
26 | 0.98013 | -0.38146 | 0.010249 | 0.0025687
27 | 0.98041 | -0.37606 | 0 | 0
28 | 0.98232 | -0.33868 | 0 | 0
29 | 0.98285 | -0.32835 | 0.0091917 | 0.0023037
30 | 0.98218 | -0.34143 | 0.011794 | 0.0029558
31 | 0.98211 | -0.34275 | 0.0056767 | 0.0014227
32 | 0.99879 | -0.023174 | 0.015841 | 0.00397
33 | 0.99949 | -0.0098472 | 0.0028697 | 0.00071922
34 | 0.9968 | -0.060451 | 0.019539 | 0.004897
35 | 0.97917 | -0.39918 | 0.016562 | 0.0041508
36 | 0.97243 | -0.53159 | 0 | 0
37 | 0.97259 | -0.52838 | 0.0094561 | 0.0023699
38 | 0.9726 | -0.52819 | 0.0093634 | 0.0023467
39 | 0.97658 | -0.44987 | 0.033922 | 0.0085017
40 | 0.97778 | -0.42631 | 0 | 0
41 | 0.97474 | -0.48594 | 0.0017851 | 0.00044738
42 | 0.97896 | -0.40329 | 0.0017588 | 0.0004408
43 | 0.97845 | -0.41321 | 0.0017849 | 0.00044733
44 | 0.97795 | -0.42306 | 0.0017841 | 0.00044713
45 | 1 | 0 | -0.34531 | -0.088285
46 | 0.99705 | -0.055664 | 0.016206 | 0.0040616
47 | 0.97241 | -0.53202 | 0 | 0
48 | 0.97218 | -0.53645 | 0.010746 | 0.0026932
49 | 0.97233 | -0.5335 | 0.0039325 | 0.00098558
50 | 0.97215 | -0.53709 | 0.010874 | 0.0027254
51 | 0.97473 | -0.48618 | 0.0038086 | 0.00095453
52 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0085348 | -0.002139 | 0.0085376 | 0.0021403 | 2.7567e-06 | 1.2262e-06 | 0.013041 | 0.01304 | 0.013041 | 0.97388 | -0.50283 | 0.97423 | -0.49605 | 3.5826
1 | 0.055199 | 0.013869 | -0.055134 | -0.013828 | 6.4979e-05 | 4.1283e-05 | 0.084322 | 0.084322 | 0.084322 | 0.97423 | -0.49605 | 0.97298 | -0.52075 | 23.1654
2 | -0.063736 | -0.016009 | 0.063779 | 0.016036 | 4.275e-05 | 2.721e-05 | 0.097362 | 0.097362 | 0.097362 | 0.97423 | -0.49605 | 0.97494 | -0.48201 | 26.7479
3 | 0.035031 | 0.0087869 | -0.035025 | -0.0087829 | 6.4738e-06 | 4.0686e-06 | 0.053577 | 0.053577 | 0.053577 | 0.97298 | -0.52075 | 0.97278 | -0.52463 | 14.7191
4 | 0.020103 | 0.0050407 | -0.020096 | -0.0050364 | 7.0748e-06 | 4.2801e-06 | 0.030745 | 0.030745 | 0.030745 | 0.97298 | -0.52075 | 0.9726 | -0.52814 | 8.4464
5 | -0.070945 | -0.017833 | 0.071101 | 0.017932 | 0.00015589 | 9.9324e-05 | 0.1083 | 0.1083 | 0.1083 | 0.97494 | -0.48201 | 0.97728 | -0.4361 | 29.7527
6 | 0.0071662 | 0.0017961 | -0.0071651 | -0.0017957 | 1.165e-06 | 4.2182e-07 | 0.010938 | 0.010938 | 0.010938 | 0.97494 | -0.48201 | 0.97477 | -0.48542 | 3.0049
7 | -0.10823 | -0.027482 | 0.10857 | 0.027703 | 0.00034703 | 0.00022165 | 0.16292 | 0.16292 | 0.16292 | 0.98924 | -0.20462 | 0.99271 | -0.13822 | 44.7587
8 | 0.10823 | 0.027482 | -0.10785 | -0.027242 | 0.00037499 | 0.00023951 | 0.16292 | 0.16292 | 0.16292 | 0.98924 | -0.20462 | 0.9855 | -0.2769 | 44.7588
9 | 0.14959 | 0.038355 | -0.14954 | -0.038323 | 5.0643e-05 | 3.21e-05 | 0.22454 | 0.22454 | 0.22454 | 0.99271 | -0.13822 | 0.99234 | -0.14521 | 20.5619
10 | -0.27813 | -0.071073 | 0.27872 | 0.07145 | 0.00059061 | 0.00037693 | 0.41738 | 0.41738 | 0.41738 | 0.99271 | -0.13822 | 0.99501 | -0.094413 | 38.2219
11 | 0.019963 | 0.0050142 | -0.019953 | -0.0050087 | 9.1156e-06 | 5.4833e-06 | 0.029927 | 0.029927 | 0.029927 | 0.99271 | -0.13822 | 0.99221 | -0.14779 | 8.2217
12 | 0.097671 | 0.024691 | -0.097441 | -0.024544 | 0.00022934 | 0.00014642 | 0.14755 | 0.14755 | 0.14755 | 0.9855 | -0.2769 | 0.98297 | -0.32599 | 40.5358
13 | -0.029495 | -0.0074109 | 0.029509 | 0.0074195 | 1.3765e-05 | 8.5804e-06 | 0.04487 | 0.04487 | 0.04487 | 0.97827 | -0.41783 | 0.97877 | -0.40805 | 12.3271
14 | 0.029495 | 0.0074109 | -0.029445 | -0.0073795 | 5.0291e-05 | 3.1352e-05 | 0.04487 | 0.044871 | 0.044871 | 0.97827 | -0.41783 | 0.97645 | -0.45361 | 12.3271
15 | -0.05002 | -0.01256 | 0.050097 | 0.012609 | 7.6488e-05 | 4.8508e-05 | 0.076054 | 0.076054 | 0.076054 | 0.97877 | -0.40805 | 0.98041 | -0.37606 | 20.894
16 | -0.070743 | -0.01784 | 0.070765 | 0.017854 | 2.1676e-05 | 1.3809e-05 | 0.10717 | 0.10717 | 0.10717 | 0.98264 | -0.33238 | 0.98297 | -0.32599 | 29.4413
17 | 0.070743 | 0.01784 | -0.070604 | -0.017752 | 0.00013937 | 8.8791e-05 | 0.10717 | 0.10717 | 0.10717 | 0.98264 | -0.33238 | 0.98053 | -0.37363 | 29.4413
18 | 0.026676 | 0.0066901 | -0.026673 | -0.0066882 | 3.0116e-06 | 1.865e-06 | 0.040384 | 0.040384 | 0.040384 | 0.98297 | -0.32599 | 0.98285 | -0.32835 | 11.0945
19 | 0.060356 | 0.015183 | -0.060349 | -0.015179 | 6.9874e-06 | 4.444e-06 | 0.091614 | 0.091614 | 0.091614 | 0.98053 | -0.37363 | 0.98041 | -0.37606 | 25.1687
20 | 0.019953 | 0.0050087 | -0.019937 | -0.004999 | 1.6177e-05 | 9.7318e-06 | 0.029927 | 0.029927 | 0.029927 | 0.99221 | -0.14779 | 0.99133 | -0.16481 | 8.2218
21 | 0.01088 | 0.0027289 | -0.010875 | -0.0027266 | 4.633e-06 | 2.3682e-06 | 0.016331 | 0.016332 | 0.016332 | 0.99133 | -0.16481 | 0.99087 | -0.17374 | 4.4867
22 | 0.14954 | 0.038323 | -0.1488 | -0.037855 | 0.00073514 | 0.00046849 | 0.22454 | 0.22454 | 0.22454 | 0.99234 | -0.14521 | 0.98701 | -0.24717 | 30.8429
23 | -0.28776 | -0.073717 | 0.28824 | 0.07402 | 0.00047441 | 0.00030283 | 0.43091 | 0.43091 | 0.43091 | 0.99501 | -0.094413 | 0.9968 | -0.060451 | 39.4608
24 | 0.12988 | 0.033111 | -0.12958 | -0.032919 | 0.00030079 | 0.00019224 | 0.196 | 0.196 | 0.196 | 0.98701 | -0.24717 | 0.98452 | -0.29527 | 53.8473
25 | 0.12958 | 0.032919 | -0.12897 | -0.032535 | 0.00060178 | 0.00038461 | 0.196 | 0.196 | 0.196 | 0.98452 | -0.29527 | 0.97952 | -0.39223 | 53.8473
26 | 0.12717 | 0.032082 | -0.12712 | -0.032055 | 4.2311e-05 | 2.7041e-05 | 0.19326 | 0.19326 | 0.19326 | 0.97952 | -0.39223 | 0.97917 | -0.39918 | 53.0929
27 | 0.010875 | 0.0027266 | -0.010871 | -0.0027245 | 3.9418e-06 | 2.0153e-06 | 0.016332 | 0.016332 | 0.016332 | 0.99087 | -0.17374 | 0.99048 | -0.18135 | 4.4868
28 | 0.025567 | 0.0064121 | -0.025558 | -0.0064069 | 8.4865e-06 | 5.2477e-06 | 0.03911 | 0.03911 | 0.03911 | 0.97278 | -0.52463 | 0.97243 | -0.53159 | 10.7446
29 | 0.0094578 | 0.0023707 | -0.0094561 | -0.0023699 | 1.6922e-06 | 8.154e-07 | 0.014467 | 0.014467 | 0.014467 | 0.97278 | -0.52463 | 0.97259 | -0.52838 | 3.9745
30 | 0.0093634 | 0.0023467 | -0.0093634 | -0.0023467 | 2.2971e-08 | 1.0997e-08 | 0.014325 | 0.014325 | 0.014325 | 0.9726 | -0.52814 | 0.9726 | -0.52819 | 3.9355
31 | 0.033944 | 0.0085157 | -0.033922 | -0.0085017 | 2.2276e-05 | 1.3978e-05 | 0.051687 | 0.051687 | 0.051687 | 0.97728 | -0.4361 | 0.97658 | -0.44987 | 14.1998
32 | -0.10505 | -0.026448 | 0.10509 | 0.026479 | 4.9163e-05 | 3.14e-05 | 0.15999 | 0.15999 | 0.15999 | 0.97728 | -0.4361 | 0.97778 | -0.42631 | 43.9524
33 | 0.0055939 | 0.0014019 | -0.0055937 | -0.0014019 | 1.3867e-07 | 2.5535e-08 | 0.0085392 | 0.0085392 | 0.0085392 | 0.97477 | -0.48542 | 0.97474 | -0.48594 | 2.3459
34 | -0.010249 | -0.0025687 | 0.010252 | 0.0025701 | 2.6415e-06 | 1.3238e-06 | 0.01556 | 0.01556 | 0.01556 | 0.98013 | -0.38146 | 0.98041 | -0.37606 | 4.2748
35 | -0.017473 | -0.0043795 | 0.017482 | 0.0043846 | 8.6009e-06 | 5.0899e-06 | 0.026468 | 0.026468 | 0.026468 | 0.98232 | -0.33868 | 0.98285 | -0.32835 | 7.2715
36 | 0.011795 | 0.0029566 | -0.011794 | -0.0029558 | 1.545e-06 | 8.2545e-07 | 0.017867 | 0.017867 | 0.017867 | 0.98232 | -0.33868 | 0.98218 | -0.34143 | 4.9086
37 | 0.0056778 | 0.0014229 | -0.0056767 | -0.0014227 | 1.1008e-06 | 2.0226e-07 | 0.0086007 | 0.0086009 | 0.0086009 | 0.98232 | -0.33868 | 0.98211 | -0.34275 | 2.3629
38 | -0.015841 | -0.00397 | 0.015851 | 0.0039758 | 1.0063e-05 | 5.8094e-06 | 0.0236 | 0.023599 | 0.0236 | 0.99879 | -0.023174 | 0.99949 | -0.0098472 | 6.4834
39 | -0.01872 | -0.0046951 | 0.018729 | 0.0047003 | 8.7909e-06 | 5.2304e-06 | 0.027872 | 0.027872 | 0.027872 | 0.99949 | -0.0098472 | 1 | 0 | 7.6571
40 | -0.30778 | -0.078917 | 0.30785 | 0.078963 | 7.1463e-05 | 4.5631e-05 | 0.46008 | 0.46008 | 0.46008 | 0.9968 | -0.060451 | 0.99705 | -0.055664 | 42.1318
41 | 0.11056 | 0.027904 | -0.11054 | -0.02789 | 2.172e-05 | 1.3875e-05 | 0.16809 | 0.16809 | 0.16809 | 0.97917 | -0.39918 | 0.97896 | -0.40329 | 46.1783
42 | 0.01481 | 0.0037124 | -0.01481 | -0.0037123 | 3.02e-07 | 1.7383e-07 | 0.022663 | 0.022663 | 0.022663 | 0.97243 | -0.53159 | 0.97241 | -0.53202 | 6.2261
43 | 0.010748 | 0.0026945 | -0.010746 | -0.0026932 | 2.4892e-06 | 1.2888e-06 | 0.016447 | 0.016448 | 0.016448 | 0.97243 | -0.53159 | 0.97218 | -0.53645 | 4.5186
44 | -0.10509 | -0.026479 | 0.10511 | 0.026489 | 1.6382e-05 | 1.0463e-05 | 0.15999 | 0.15999 | 0.15999 | 0.97778 | -0.42631 | 0.97795 | -0.42306 | 43.9524
45 | 0.0038087 | 0.00095451 | -0.0038086 | -0.00095453 | 4.386e-08 | -1.5056e-08 | 0.0058142 | 0.0058142 | 0.0058142 | 0.97474 | -0.48594 | 0.97473 | -0.48618 | 1.5973
46 | 0.10878 | 0.027449 | -0.10873 | -0.027416 | 5.1698e-05 | 3.3023e-05 | 0.16542 | 0.16542 | 0.16542 | 0.97896 | -0.40329 | 0.97845 | -0.41321 | 45.4439
47 | 0.10695 | 0.026969 | -0.1069 | -0.026936 | 5.0347e-05 | 3.2158e-05 | 0.1627 | 0.1627 | 0.1627 | 0.97845 | -0.41321 | 0.97795 | -0.42306 | 44.6982
48 | 0.32493 | 0.083584 | -0.32405 | -0.083024 | 0.00087672 | 0.00055993 | 0.48426 | 0.48427 | 0.48427 | 1 | 0 | 0.99705 | -0.055664 | 44.3466
49 | 0.0039328 | 0.0009855 | -0.0039325 | -0.00098558 | 2.7618e-07 | -7.5485e-08 | 0.0060181 | 0.0060182 | 0.0060182 | 0.97241 | -0.53202 | 0.97233 | -0.5335 | 1.6533
50 | 0.010877 | 0.0027268 | -0.010874 | -0.0027254 | 2.6275e-06 | 1.3679e-06 | 0.016645 | 0.016645 | 0.016645 | 0.97241 | -0.53202 | 0.97215 | -0.53709 | 4.5728

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35322 | 0.090268

## res_load
| p_mw | q_mvar
0 | 0.0085348 | 0.002139
1 | 0.010181 | 0.0025515
2 | 0.020512 | 0.0051407
3 | 0.029445 | 0.0073795
4 | 0.010248 | 0.0025684
5 | 0.0090577 | 0.0022701
6 | 0.0090465 | 0.0022673
7 | 0.018926 | 0.0047433
8 | 0.0018078 | 0.00045307
9 | 0.010871 | 0.0027245
10 | 0.010732 | 0.0026897
11 | 0.0015712 | 0.00039378
12 | 0.010249 | 0.0025687
13 | 0.0091917 | 0.0023037
14 | 0.011794 | 0.0029558
15 | 0.0056767 | 0.0014227
16 | 0.015841 | 0.00397
17 | 0.0028697 | 0.00071922
18 | 0.019539 | 0.004897
19 | 0.016562 | 0.0041508
20 | 0.0094561 | 0.0023699
21 | 0.0093634 | 0.0023467
22 | 0.033922 | 0.0085017
23 | 0.0017851 | 0.00044738
24 | 0.0017588 | 0.0004408
25 | 0.0017849 | 0.00044733
26 | 0.0017841 | 0.00044713
27 | 0.0079123 | 0.001983
28 | 0.016206 | 0.0040616
29 | 0.010746 | 0.0026932
30 | 0.0039325 | 0.00098558
31 | 0.010874 | 0.0027254
32 | 0.0038086 | 0.00095453

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1