## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-495_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-495_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-495_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-495_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-495_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-495_0_5_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_261-495_0_5_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_261-495_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_261-495_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_261-495_0_5_node_60 | 0.4 | n |  | TRUE
10 | bus_LV_261-495_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_261-495_0_5_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_261-495_0_5_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_261-495_0_5_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_261-495_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_261-495_0_5_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_261-495_0_5_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_261-495_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_261-495_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_261-495_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_261-495_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_261-495_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_261-495_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_261-495_0_5_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_261-495_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_261-495_0_5_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_261-495_0_5_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_261-495_0_5_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_261-495_0_5_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_261-495_0_5_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_261-495_0_5_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_261-495_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_261-495_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_261-495_0_5_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_261-495_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_261-495_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_261-495_0_5_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_261-495_0_5_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_261-495_0_5_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_261-495_0_5_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_261-495_0_5_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_261-495_0_5_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_261-495_0_5_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_261-495_0_5_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_261-495_0_5_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_261-495_0_5_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_261-495_0_5_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_261-495_0_5_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_261-495_0_5_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_261-495_0_5_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_261-495_0_5_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_261-495_0_5_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_261-495_0_5_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_261-495_0_5_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_261-495_0_5_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_261-495_0_5_node_56 | 0.4 | n |  | TRUE
56 | bus_MV_537_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-495_0_5_load_0 | 0 | 0.027549 | 0.0069045 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-495_0_5_load_1 | 1 | 0.0286 | 0.0071678 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-495_0_5_load_4 | 4 | 0.019757 | 0.0049515 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-495_0_5_load_8 | 6 | 0.028896 | 0.007242 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-495_0_5_load_60 | 9 | 0.0081079 | 0.002032 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-495_0_5_load_29 | 11 | 0.011243 | 0.0028178 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-495_0_5_load_44 | 12 | 0.0082794 | 0.002075 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-495_0_5_load_16 | 13 | 0.049073 | 0.012299 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-495_0_5_load_9 | 14 | 0.018828 | 0.0047188 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-495_0_5_load_28 | 15 | 0.012198 | 0.0030571 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-495_0_5_load_10 | 17 | 0.018794 | 0.0047102 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-495_0_5_load_11 | 18 | 0.018706 | 0.0046882 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-495_0_5_load_13 | 20 | 0.019327 | 0.0048439 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-495_0_5_load_14 | 21 | 0.0093463 | 0.0023424 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-495_0_5_load_15 | 22 | 0.0060635 | 0.0015197 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-495_0_5_load_18 | 24 | 0.009344 | 0.0023418 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-495_0_5_load_41 | 27 | 0.0080477 | 0.0020169 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-495_0_5_load_57 | 28 | 0.050195 | 0.01258 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-495_0_5_load_42 | 29 | 0.010838 | 0.0027161 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-495_0_5_load_23 | 31 | 0.01228 | 0.0030776 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-495_0_5_load_24 | 32 | 0.0069403 | 0.0017394 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-495_0_5_load_25 | 33 | 0.01126 | 0.002822 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-495_0_5_load_26 | 34 | 0.0068759 | 0.0017233 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-495_0_5_load_27 | 35 | 0.0098719 | 0.0024741 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-495_0_5_load_30 | 36 | 0.0024546 | 0.00061519 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-495_0_5_load_33 | 38 | 0.0024539 | 0.00061501 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-495_0_5_load_37 | 39 | 0.0024505 | 0.00061415 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-495_0_5_load_35 | 40 | 0.014513 | 0.0036374 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-495_0_5_load_51 | 42 | 0.012636 | 0.0031668 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-495_0_5_load_52 | 43 | 0.014741 | 0.0036945 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-495_0_5_load_36 | 44 | 0.0043395 | 0.0010876 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-495_0_5_load_40 | 47 | 0.0024396 | 0.00061143 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-495_0_5_load_58 | 48 | 0.021357 | 0.0053526 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-495_0_5_load_49 | 49 | 0.0024787 | 0.00062122 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-495_0_5_load_43 | 50 | 0.011432 | 0.0028651 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-495_0_5_load_46 | 51 | 0.0078885 | 0.001977 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-495_0_5_load_45 | 52 | 0.015491 | 0.0038824 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-495_0_5_load_48 | 54 | 0.0098216 | 0.0024615 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-495_0_5_load_56 | 55 | 0.050333 | 0.012615 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-495_0_5_line_0 |  | 0 | 1 | 0.020678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-495_0_5_line_1 |  | 0 | 2 | 0.0083463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-495_0_5_line_2 |  | 1 | 3 | 0.012384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-495_0_5_line_3 |  | 2 | 4 | 0.017018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-495_0_5_line_4 |  | 3 | 5 | 0.039657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-495_0_5_line_5 |  | 4 | 6 | 9.5254e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-495_0_5_line_6 |  | 5 | 13 | 0.028996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-495_0_5_line_7 |  | 6 | 14 | 0.016848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-495_0_5_line_8 |  | 7 | 8 | 0.085639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-495_0_5_line_9 |  | 7 | 9 | 0.039035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-495_0_5_line_10 |  | 8 | 10 | 0.00469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-495_0_5_line_11 |  | 8 | 11 | 0.041511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-495_0_5_line_12 |  | 10 | 12 | 0.051571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-495_0_5_line_13 |  | 11 | 15 | 0.018689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-495_0_5_line_14 |  | 12 | 16 | 0.022464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_261-495_0_5_line_15 |  | 13 | 22 | 0.0041781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_261-495_0_5_line_16 |  | 15 | 35 | 0.0011391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-495_0_5_line_17 |  | 16 | 26 | 0.0345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-495_0_5_line_18 |  | 16 | 27 | 0.012192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-495_0_5_line_19 |  | 16 | 25 | 0.049061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_261-495_0_5_line_20 |  | 17 | 18 | 0.017158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_261-495_0_5_line_21 |  | 17 | 19 | 0.039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_261-495_0_5_line_22 |  | 18 | 20 | 0.017971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_261-495_0_5_line_23 |  | 19 | 21 | 0.03133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_261-495_0_5_line_24 |  | 20 | 22 | 0.018584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_261-495_0_5_line_25 |  | 21 | 23 | 0.01805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_261-495_0_5_line_26 |  | 23 | 24 | 0.00043308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_261-495_0_5_line_27 |  | 24 | 25 | 0.024024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_261-495_0_5_line_28 |  | 26 | 28 | 0.013179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-495_0_5_line_29 |  | 27 | 29 | 0.023472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-495_0_5_line_30 |  | 28 | 30 | 0.026193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-495_0_5_line_31 |  | 29 | 50 | 0.02019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-495_0_5_line_32 |  | 30 | 41 | 0.027959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-495_0_5_line_33 |  | 31 | 32 | 0.018926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-495_0_5_line_34 |  | 31 | 33 | 4.9212e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-495_0_5_line_35 |  | 32 | 34 | 0.0092013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-495_0_5_line_36 |  | 33 | 35 | 0.021035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-495_0_5_line_37 |  | 36 | 37 | 0.042694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-495_0_5_line_38 |  | 37 | 38 | 0.038631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-495_0_5_line_39 |  | 38 | 39 | 0.00015474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-495_0_5_line_40 |  | 39 | 40 | 0.029237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-495_0_5_line_41 |  | 40 | 44 | 5.1311e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-495_0_5_line_42 |  | 41 | 43 | 0.026577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-495_0_5_line_43 |  | 41 | 48 | 0.0020991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-495_0_5_line_44 |  | 42 | 43 | 0.0068489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-495_0_5_line_45 |  | 44 | 45 | 0.022229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-495_0_5_line_46 |  | 45 | 46 | 0.019354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-495_0_5_line_47 |  | 45 | 47 | 0.02489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-495_0_5_line_48 |  | 46 | 48 | 0.029261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-495_0_5_line_49 |  | 47 | 49 | 0.00237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-495_0_5_line_50 |  | 50 | 51 | 0.019058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-495_0_5_line_51 |  | 51 | 52 | 0.023845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-495_0_5_line_52 |  | 52 | 53 | 0.011711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-495_0_5_line_53 |  | 53 | 54 | 0.015385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-495_0_5_line_54 |  | 54 | 55 | 0.0065267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-495_0_5_trafo_44 | 0.63 MVA 20/0.4 kV | 56 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2683570.0535 | 1248592.4589 | 2683570.6316 | 1248571.789
1 | 2683569.8201 | 1248600.802 | 2683570.0535 | 1248592.4589
2 | 2683570.9779 | 1248559.4099 | 2683570.6316 | 1248571.789
3 | 2683569.8201 | 1248600.802 | 2683586.8317 | 1248601.276
4 | 2683572.126 | 1248519.7745 | 2683570.9779 | 1248559.4099
5 | 2683586.9269 | 1248601.2786 | 2683586.8317 | 1248601.276
6 | 2683572.126 | 1248519.7745 | 2683580.6271 | 1248523.7083 | 2683596.843 | 1248534.769
7 | 2683603.7686 | 1248601.7479 | 2683586.9269 | 1248601.2786
8 | 2683501.8277 | 1248676.4112 | 2683509.4398 | 1248666.789 | 2683522.0313 | 1248656.4476 | 2683537.5494 | 1248643.6901 | 2683550.3919 | 1248653.0446 | 2683567.4506 | 1248665.4609
9 | 2683501.8277 | 1248676.4112 | 2683497.9222 | 1248685.5963 | 2683495.5839 | 1248695.0481 | 2683491.9993 | 1248714.0301
10 | 2683568.414 | 1248660.8711 | 2683567.4506 | 1248665.4609
11 | 2683567.4506 | 1248665.4609 | 2683557.6556 | 1248705.8001
12 | 2683568.414 | 1248660.8711 | 2683610.9819 | 1248689.9828
13 | 2683553.2459 | 1248723.9611 | 2683557.6556 | 1248705.8001
14 | 2683629.5243 | 1248702.6636 | 2683610.9819 | 1248689.9828
15 | 2683600.2946 | 1248537.1232 | 2683596.843 | 1248534.769
16 | 2683553.2459 | 1248723.9611 | 2683552.9771 | 1248725.068
17 | 2683629.5243 | 1248702.6636 | 2683630.7914 | 1248703.3153 | 2683634.7954 | 1248705.3511 | 2683637.9668 | 1248707.5196 | 2683638.9916 | 1248708.2124 | 2683640.0306 | 1248708.972 | 2683642.7967 | 1248710.9681 | 2683644.0914 | 1248713.4104 | 2683645.7251 | 1248716.9805 | 2683646.3258 | 1248718.29 | 2683647.3876 | 1248719.0388 | 2683650.9765 | 1248721.5914 | 2683655.8395 | 1248720.5592
18 | 2683629.5243 | 1248702.6636 | 2683624.7895 | 1248713.8988
19 | 2683629.5243 | 1248702.6636 | 2683648.567 | 1248657.4321
20 | 2683644.668 | 1248567.3897 | 2683630.4937 | 1248557.7216
21 | 2683676.9511 | 1248589.271 | 2683669.9852 | 1248584.6581 | 2683644.668 | 1248567.3897
22 | 2683630.4937 | 1248557.7216 | 2683615.6472 | 1248547.595
23 | 2683676.9511 | 1248589.271 | 2683665.0709 | 1248618.2606
24 | 2683600.2946 | 1248537.1232 | 2683615.6472 | 1248547.595
25 | 2683658.2262 | 1248634.9628 | 2683665.0709 | 1248618.2606
26 | 2683658.0551 | 1248635.3607 | 2683658.2262 | 1248634.9628
27 | 2683648.567 | 1248657.4321 | 2683658.0551 | 1248635.3607
28 | 2683655.8395 | 1248720.5592 | 2683666.7565 | 1248727.9413
29 | 2683624.7895 | 1248713.8988 | 2683618.3585 | 1248729.1591 | 2683615.7065 | 1248735.5419
30 | 2683688.4545 | 1248742.6136 | 2683666.7565 | 1248727.9413
31 | 2683607.9598 | 1248754.1864 | 2683615.7065 | 1248735.5419
32 | 2683688.4545 | 1248742.6136 | 2683684.2336 | 1248751.6607 | 2683673.8984 | 1248766.3924
33 | 2683548.0022 | 1248745.5565 | 2683543.5365 | 1248763.9478
34 | 2683548.0138 | 1248745.5087 | 2683548.0022 | 1248745.5565
35 | 2683543.5365 | 1248763.9478 | 2683541.3654 | 1248772.8894
36 | 2683548.0138 | 1248745.5087 | 2683552.9771 | 1248725.068
37 | 2683718.881 | 1248863.4215 | 2683690.9259 | 1248895.6903
38 | 2683718.881 | 1248863.4215 | 2683689.6226 | 1248838.1972
39 | 2683689.5054 | 1248838.0962 | 2683689.6226 | 1248838.1972
40 | 2683667.3186 | 1248819.0548 | 2683678.465 | 1248828.5807 | 2683686.0604 | 1248835.1261 | 2683689.5054 | 1248838.0962
41 | 2683667.2796 | 1248819.0215 | 2683667.3186 | 1248819.0548
42 | 2683673.8984 | 1248766.3924 | 2683697.7729 | 1248770.4657 | 2683700.1124 | 1248770.7553
43 | 2683673.8984 | 1248766.3924 | 2683672.6603 | 1248768.0875
44 | 2683706.9094 | 1248771.5965 | 2683700.1124 | 1248770.7553
45 | 2683649.0828 | 1248807.0502 | 2683652.4363 | 1248807.5534 | 2683656.1468 | 1248809.5072 | 2683667.2796 | 1248819.0215
46 | 2683649.0828 | 1248807.0502 | 2683649.3544 | 1248794.2334 | 2683655.4012 | 1248791.7168
47 | 2683649.0828 | 1248807.0502 | 2683646.0556 | 1248808.0415 | 2683635.9016 | 1248821.7195 | 2683633.0519 | 1248824.0477 | 2683632.1949 | 1248824.5435
48 | 2683655.4012 | 1248791.7168 | 2683672.6603 | 1248768.0875
49 | 2683630.1434 | 1248825.7302 | 2683632.1949 | 1248824.5435
50 | 2683600.6472 | 1248771.7861 | 2683607.9598 | 1248754.1864
51 | 2683591.498 | 1248793.806 | 2683600.6472 | 1248771.7861
52 | 2683591.4421 | 1248805.2582 | 2683590.2483 | 1248799.9485 | 2683591.498 | 1248793.806
53 | 2683591.4421 | 1248805.2582 | 2683596.7822 | 1248800.908 | 2683598.249 | 1248798.6492 | 2683601.6039 | 1248793.9127
54 | 2683605.3764 | 1248788.5867 | 2683601.6039 | 1248793.9127

## bus_geodata
| x | y | coords
0 | 2683570.0535 | 1248592.4589
1 | 2683570.6316 | 1248571.789
2 | 2683569.8201 | 1248600.802
3 | 2683570.9779 | 1248559.4099
4 | 2683586.8317 | 1248601.276
5 | 2683572.126 | 1248519.7745
6 | 2683586.9269 | 1248601.2786
7 | 2683501.8277 | 1248676.4111
8 | 2683567.4506 | 1248665.4609
9 | 2683491.9993 | 1248714.0301
10 | 2683568.414 | 1248660.8711
11 | 2683557.6556 | 1248705.8001
12 | 2683610.9819 | 1248689.9828
13 | 2683596.843 | 1248534.769
14 | 2683603.7686 | 1248601.7479
15 | 2683553.2459 | 1248723.9611
16 | 2683629.5243 | 1248702.6636
17 | 2683644.668 | 1248567.3897
18 | 2683630.4937 | 1248557.7216
19 | 2683676.9511 | 1248589.271
20 | 2683615.6472 | 1248547.595
21 | 2683665.0709 | 1248618.2606
22 | 2683600.2946 | 1248537.1232
23 | 2683658.2262 | 1248634.9628
24 | 2683658.0551 | 1248635.3607
25 | 2683648.567 | 1248657.4321
26 | 2683655.8395 | 1248720.5592
27 | 2683624.7895 | 1248713.8988
28 | 2683666.7565 | 1248727.9413
29 | 2683615.7065 | 1248735.5419
30 | 2683688.4545 | 1248742.6136
31 | 2683548.0022 | 1248745.5565
32 | 2683543.5365 | 1248763.9478
33 | 2683548.0138 | 1248745.5087
34 | 2683541.3654 | 1248772.8894
35 | 2683552.9771 | 1248725.068
36 | 2683690.9259 | 1248895.6903
37 | 2683718.881 | 1248863.4215
38 | 2683689.6226 | 1248838.1972
39 | 2683689.5054 | 1248838.0962
40 | 2683667.3186 | 1248819.0548
41 | 2683673.8984 | 1248766.3924
42 | 2683706.9094 | 1248771.5965
43 | 2683700.1124 | 1248770.7553
44 | 2683667.2796 | 1248819.0215
45 | 2683649.0828 | 1248807.0502
46 | 2683655.4012 | 1248791.7168
47 | 2683632.1949 | 1248824.5435
48 | 2683672.6603 | 1248768.0875
49 | 2683630.1434 | 1248825.7302
50 | 2683607.9598 | 1248754.1864
51 | 2683600.6472 | 1248771.7861
52 | 2683591.498 | 1248793.806
53 | 2683591.4421 | 1248805.2582
54 | 2683601.6039 | 1248793.9127
55 | 2683605.3764 | 1248788.5867
56 | 2683629.5243 | 1248702.6636

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97427 | -0.49578 | 0.027549 | 0.0069045
1 | 0.9761 | -0.45977 | 0.0286 | 0.0071678
2 | 0.97375 | -0.50613 | 0 | 0
3 | 0.97753 | -0.4318 | 0 | 0
4 | 0.97268 | -0.52726 | 0.019757 | 0.0049515
5 | 0.9821 | -0.34279 | 0 | 0
6 | 0.97267 | -0.52735 | 0.028896 | 0.007242
7 | 0.99532 | -0.089783 | 0 | 0
8 | 0.99595 | -0.07757 | 0 | 0
9 | 0.99503 | -0.095353 | 0.0081079 | 0.002032
10 | 0.99629 | -0.07108 | 0 | 0
11 | 0.99327 | -0.12926 | 0.011243 | 0.0028178
12 | 1 | 0 | -0.58624 | -0.14946
13 | 0.98544 | -0.27822 | 0.049073 | 0.012299
14 | 0.97238 | -0.53319 | 0.018828 | 0.0047188
15 | 0.99225 | -0.1489 | 0.012198 | 0.0030571
16 | 0.99742 | -0.048896 | 0 | 0
17 | 0.98823 | -0.22433 | 0.018794 | 0.0047102
18 | 0.98737 | -0.24094 | 0.018706 | 0.0046882
19 | 0.99036 | -0.18342 | 0 | 0
20 | 0.98655 | -0.25686 | 0.019327 | 0.0048439
21 | 0.99207 | -0.15068 | 0.0093463 | 0.0023424
22 | 0.98577 | -0.27175 | 0.0060635 | 0.0015197
23 | 0.99309 | -0.13112 | 0 | 0
24 | 0.99312 | -0.13066 | 0.009344 | 0.0023418
25 | 0.99453 | -0.1037 | 0 | 0
26 | 0.9933 | -0.12784 | 0 | 0
27 | 0.99615 | -0.073246 | 0.0080477 | 0.0020169
28 | 0.99173 | -0.15817 | 0.050195 | 0.01258
29 | 0.99387 | -0.11697 | 0.010838 | 0.0027161
30 | 0.98981 | -0.19531 | 0 | 0
31 | 0.99148 | -0.1638 | 0.01228 | 0.0030776
32 | 0.99124 | -0.16843 | 0.0069403 | 0.0017394
33 | 0.99148 | -0.16377 | 0.01126 | 0.002822
34 | 0.99119 | -0.16956 | 0.0068759 | 0.0017233
35 | 0.9922 | -0.14985 | 0.0098719 | 0.0024741
36 | 0.98534 | -0.28211 | 0.0024546 | 0.00061519
37 | 0.98544 | -0.28022 | 0 | 0
38 | 0.98553 | -0.27852 | 0.0024539 | 0.00061501
39 | 0.98553 | -0.27851 | 0.0024505 | 0.00061415
40 | 0.98573 | -0.27465 | 0.014513 | 0.0036374
41 | 0.98776 | -0.23512 | 0 | 0
42 | 0.98701 | -0.24968 | 0.012636 | 0.0031668
43 | 0.98709 | -0.24813 | 0.014741 | 0.0036945
44 | 0.98573 | -0.27463 | 0.0043395 | 0.0010876
45 | 0.98626 | -0.26418 | 0 | 0
46 | 0.98682 | -0.25339 | 0 | 0
47 | 0.98615 | -0.26637 | 0.0024396 | 0.00061143
48 | 0.98765 | -0.23709 | 0.021357 | 0.0053526
49 | 0.98614 | -0.26648 | 0.0024787 | 0.00062122
50 | 0.99211 | -0.15086 | 0.011432 | 0.0028651
51 | 0.99065 | -0.17909 | 0.0078885 | 0.001977
52 | 0.98899 | -0.21118 | 0.015491 | 0.0038824
53 | 0.98835 | -0.22374 | 0 | 0
54 | 0.9875 | -0.24027 | 0.0098216 | 0.0024615
55 | 0.98719 | -0.24614 | 0.050333 | 0.012615
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.095137 | -0.023885 | 0.095301 | 0.023989 | 0.00016375 | 0.00010454 | 0.14532 | 0.14532 | 0.14532 | 0.97427 | -0.49578 | 0.9761 | -0.45977 | 39.9227
1 | 0.067588 | 0.01698 | -0.067554 | -0.016959 | 3.3361e-05 | 2.1247e-05 | 0.10324 | 0.10324 | 0.10324 | 0.97427 | -0.49578 | 0.97375 | -0.50613 | 28.3632
2 | -0.1239 | -0.031157 | 0.12407 | 0.031263 | 0.00016574 | 0.00010592 | 0.18892 | 0.18892 | 0.18892 | 0.9761 | -0.45977 | 0.97753 | -0.4318 | 51.9004
3 | 0.067554 | 0.016959 | -0.067486 | -0.016916 | 6.8023e-05 | 4.3324e-05 | 0.10324 | 0.10324 | 0.10324 | 0.97375 | -0.50613 | 0.97268 | -0.52726 | 28.3633
4 | -0.12407 | -0.031263 | 0.1246 | 0.031602 | 0.00053076 | 0.00033918 | 0.18892 | 0.18892 | 0.18892 | 0.97753 | -0.4318 | 0.9821 | -0.34279 | 51.9004
5 | 0.04773 | 0.011964 | -0.047729 | -0.011964 | 1.9045e-07 | 1.207e-07 | 0.073018 | 0.073018 | 0.073018 | 0.97268 | -0.52726 | 0.97267 | -0.52735 | 20.0599
6 | -0.1246 | -0.031602 | 0.12499 | 0.03185 | 0.00038807 | 0.000248 | 0.18892 | 0.18892 | 0.18892 | 0.9821 | -0.34279 | 0.98544 | -0.27822 | 51.9003
7 | 0.018834 | 0.004722 | -0.018828 | -0.0047188 | 5.2451e-06 | 3.1478e-06 | 0.028813 | 0.028813 | 0.028813 | 0.97267 | -0.52735 | 0.97238 | -0.53319 | 7.9156
8 | -0.00811 | -0.0020329 | 0.0081147 | 0.0020348 | 4.721e-06 | 1.9077e-06 | 0.012125 | 0.012124 | 0.012125 | 0.99532 | -0.089783 | 0.99595 | -0.07757 | 3.331
9 | 0.00811 | 0.0020329 | -0.0081079 | -0.002032 | 2.152e-06 | 8.7009e-07 | 0.012125 | 0.012125 | 0.012125 | 0.99532 | -0.089783 | 0.99503 | -0.095353 | 3.331
10 | -0.079044 | -0.019912 | 0.079069 | 0.019927 | 2.4544e-05 | 1.5647e-05 | 0.11813 | 0.11813 | 0.11813 | 0.99595 | -0.07757 | 0.99629 | -0.07108 | 32.4543
11 | 0.07093 | 0.017877 | -0.070755 | -0.017765 | 0.00017494 | 0.00011142 | 0.10601 | 0.10601 | 0.10601 | 0.99595 | -0.07757 | 0.99327 | -0.12926 | 29.1235
12 | -0.079069 | -0.019927 | 0.079339 | 0.020099 | 0.00026989 | 0.00017205 | 0.11813 | 0.11813 | 0.11813 | 0.99629 | -0.07108 | 1 | 0 | 32.4543
13 | 0.059512 | 0.014948 | -0.059456 | -0.014912 | 5.572e-05 | 3.5419e-05 | 0.089166 | 0.089166 | 0.089166 | 0.99327 | -0.12926 | 0.99225 | -0.1489 | 24.4963
14 | 0.50525 | 0.12936 | -0.50406 | -0.12859 | 0.0011935 | 0.00076264 | 0.75279 | 0.75279 | 0.75279 | 1 | 0 | 0.99742 | -0.048896 | 51.7029
15 | -0.17406 | -0.044149 | 0.17411 | 0.044183 | 5.4193e-05 | 3.4577e-05 | 0.26302 | 0.26302 | 0.26302 | 0.98544 | -0.27822 | 0.98577 | -0.27175 | 36.1286
16 | 0.047258 | 0.011855 | -0.047256 | -0.011854 | 2.1457e-06 | 1.3585e-06 | 0.070874 | 0.070874 | 0.070874 | 0.99225 | -0.1489 | 0.9922 | -0.14985 | 19.4709
17 | 0.13112 | 0.033269 | -0.13062 | -0.032952 | 0.00049575 | 0.00031683 | 0.19575 | 0.19575 | 0.19575 | 0.99742 | -0.048896 | 0.9933 | -0.12784 | 53.7784
18 | 0.11469 | 0.029069 | -0.11456 | -0.028983 | 0.00013403 | 8.5619e-05 | 0.17122 | 0.17122 | 0.17122 | 0.99742 | -0.048896 | 0.99615 | -0.073246 | 47.0374
19 | 0.25825 | 0.066257 | -0.25757 | -0.065822 | 0.00068468 | 0.00043564 | 0.38583 | 0.38583 | 0.38583 | 0.99742 | -0.048896 | 0.99453 | -0.1037 | 26.499
20 | 0.21867 | 0.055525 | -0.21849 | -0.055414 | 0.00017465 | 0.0001109 | 0.32951 | 0.32951 | 0.32951 | 0.98823 | -0.22433 | 0.98737 | -0.24094 | 22.6313
21 | -0.23746 | -0.060235 | 0.23793 | 0.060533 | 0.00046811 | 0.00029758 | 0.35781 | 0.35781 | 0.35781 | 0.98823 | -0.22433 | 0.99036 | -0.18342 | 24.5748
22 | 0.19979 | 0.050726 | -0.19963 | -0.050629 | 0.00015297 | 9.6982e-05 | 0.30132 | 0.30132 | 0.30132 | 0.98737 | -0.24094 | 0.98655 | -0.25686 | 20.6951
23 | -0.23793 | -0.060533 | 0.2383 | 0.060772 | 0.00037603 | 0.00023905 | 0.35781 | 0.35781 | 0.35781 | 0.99036 | -0.18342 | 0.99207 | -0.15068 | 24.5748
24 | 0.1803 | 0.045785 | -0.18018 | -0.045703 | 0.00012906 | 8.1648e-05 | 0.27217 | 0.27217 | 0.27217 | 0.98655 | -0.25686 | 0.98577 | -0.27175 | 18.6929
25 | -0.24765 | -0.063114 | 0.24788 | 0.063263 | 0.00023396 | 0.0001488 | 0.37183 | 0.37183 | 0.37183 | 0.99207 | -0.15068 | 0.99309 | -0.13112 | 25.5375
26 | -0.24788 | -0.063263 | 0.24789 | 0.063266 | 5.6134e-06 | 3.5701e-06 | 0.37183 | 0.37183 | 0.37183 | 0.99309 | -0.13112 | 0.99312 | -0.13066 | 25.5375
27 | -0.25723 | -0.065608 | 0.25757 | 0.065822 | 0.00033528 | 0.00021333 | 0.38583 | 0.38583 | 0.38583 | 0.99312 | -0.13066 | 0.99453 | -0.1037 | 26.4991
28 | 0.13062 | 0.032952 | -0.13043 | -0.032831 | 0.00018937 | 0.00012103 | 0.19575 | 0.19575 | 0.19575 | 0.9933 | -0.12784 | 0.99173 | -0.15817 | 53.7785
29 | 0.10651 | 0.026966 | -0.10628 | -0.026824 | 0.00022307 | 0.00014246 | 0.15919 | 0.15919 | 0.15919 | 0.99615 | -0.073246 | 0.99387 | -0.11697 | 43.7348
30 | 0.080237 | 0.020251 | -0.080094 | -0.02016 | 0.00014248 | 9.0851e-05 | 0.12044 | 0.12044 | 0.12044 | 0.99173 | -0.15817 | 0.98981 | -0.19531 | 33.0879
31 | 0.095447 | 0.024108 | -0.095292 | -0.024009 | 0.00015476 | 9.8783e-05 | 0.14297 | 0.14297 | 0.14297 | 0.99387 | -0.11697 | 0.99211 | -0.15086 | 39.2772
32 | 0.080094 | 0.02016 | -0.079942 | -0.020063 | 0.00015209 | 9.6977e-05 | 0.12044 | 0.12044 | 0.12044 | 0.98981 | -0.19531 | 0.98776 | -0.23512 | 33.0879
33 | 0.01382 | 0.0034645 | -0.013817 | -0.0034628 | 3.0531e-06 | 1.7099e-06 | 0.020741 | 0.020741 | 0.020741 | 0.99148 | -0.1638 | 0.99124 | -0.16843 | 5.698
34 | -0.026099 | -0.0065421 | 0.026099 | 0.0065421 | 2.8317e-08 | 1.7489e-08 | 0.03917 | 0.03917 | 0.03917 | 0.99148 | -0.1638 | 0.99148 | -0.16377 | 10.7611
35 | 0.0068762 | 0.0017234 | -0.0068759 | -0.0017233 | 3.6766e-07 | 1.167e-07 | 0.010322 | 0.010322 | 0.010322 | 0.99124 | -0.16843 | 0.99119 | -0.16956 | 2.8358
36 | -0.037359 | -0.0093641 | 0.037384 | 0.0093797 | 2.4798e-05 | 1.5599e-05 | 0.056069 | 0.056069 | 0.056069 | 0.99148 | -0.16377 | 0.9922 | -0.14985 | 15.4036
37 | -0.0024546 | -0.00061519 | 0.0024549 | 0.00061479 | 2.1998e-07 | -4.0308e-07 | 0.0037069 | 0.0037067 | 0.0037069 | 0.98534 | -0.28211 | 0.98544 | -0.28022 | 1.0184
38 | -0.0024549 | -0.00061479 | 0.0024551 | 0.00061442 | 1.9903e-07 | -3.6482e-07 | 0.0037067 | 0.0037065 | 0.0037067 | 0.98544 | -0.28022 | 0.98553 | -0.27852 | 1.0183
39 | -0.004909 | -0.0012294 | 0.004909 | 0.0012294 | 3.1887e-09 | 6.803e-11 | 0.0074116 | 0.0074116 | 0.0074116 | 0.98553 | -0.27852 | 0.98553 | -0.27851 | 2.0361
40 | -0.0073594 | -0.0018436 | 0.0073608 | 0.0018441 | 1.3537e-06 | 4.9371e-07 | 0.011111 | 0.011111 | 0.011111 | 0.98553 | -0.27851 | 0.98573 | -0.27465 | 3.0526
41 | -0.021874 | -0.0054815 | 0.021874 | 0.0054815 | 2.098e-08 | 1.2773e-08 | 0.03302 | 0.03302 | 0.03302 | 0.98573 | -0.27465 | 0.98573 | -0.27463 | 9.0715
42 | 0.027395 | 0.0068723 | -0.027378 | -0.0068618 | 1.6976e-05 | 1.0525e-05 | 0.041271 | 0.041271 | 0.041271 | 0.98776 | -0.23512 | 0.98709 | -0.24813 | 11.3383
43 | 0.052548 | 0.013191 | -0.052543 | -0.013187 | 4.9338e-06 | 3.1307e-06 | 0.079169 | 0.079169 | 0.079169 | 0.98776 | -0.23512 | 0.98765 | -0.23709 | 21.7496
44 | -0.012636 | -0.0031668 | 0.012636 | 0.0031673 | 9.3199e-07 | 5.0894e-07 | 0.019049 | 0.019049 | 0.019049 | 0.98701 | -0.24968 | 0.98709 | -0.24813 | 5.2334
45 | -0.026214 | -0.006569 | 0.026227 | 0.0065771 | 1.3053e-05 | 8.0702e-06 | 0.039571 | 0.039571 | 0.039571 | 0.98573 | -0.27463 | 0.98626 | -0.26418 | 10.8711
46 | -0.031146 | -0.0078098 | 0.031162 | 0.0078198 | 1.6027e-05 | 1.001e-05 | 0.046992 | 0.046992 | 0.046992 | 0.98626 | -0.26418 | 0.98682 | -0.25339 | 12.9099
47 | 0.0049189 | 0.0012326 | -0.0049183 | -0.0012326 | 5.1407e-07 | 1.1407e-08 | 0.0074212 | 0.0074213 | 0.0074213 | 0.98626 | -0.26418 | 0.98615 | -0.26637 | 2.0388
48 | -0.031162 | -0.0078198 | 0.031186 | 0.0078349 | 2.4231e-05 | 1.5134e-05 | 0.046992 | 0.046992 | 0.046992 | 0.98682 | -0.25339 | 0.98765 | -0.23709 | 12.9099
49 | 0.0024787 | 0.0006212 | -0.0024787 | -0.00062122 | 1.2432e-08 | -2.228e-08 | 0.0037401 | 0.0037401 | 0.0037401 | 0.98615 | -0.26637 | 0.98614 | -0.26648 | 1.0275
50 | 0.083861 | 0.021144 | -0.083747 | -0.021072 | 0.00011315 | 7.2168e-05 | 0.12582 | 0.12582 | 0.12582 | 0.99211 | -0.15086 | 0.99065 | -0.17909 | 34.5668
51 | 0.075859 | 0.019095 | -0.075743 | -0.019021 | 0.00011616 | 7.4033e-05 | 0.11397 | 0.11397 | 0.11397 | 0.99065 | -0.17909 | 0.98899 | -0.21118 | 31.3116
52 | 0.060252 | 0.015138 | -0.060216 | -0.015115 | 3.61e-05 | 2.2954e-05 | 0.090667 | 0.090667 | 0.090667 | 0.98899 | -0.21118 | 0.98835 | -0.22374 | 24.9085
53 | 0.060216 | 0.015115 | -0.060168 | -0.015085 | 4.7428e-05 | 3.0157e-05 | 0.090667 | 0.090667 | 0.090667 | 0.98835 | -0.22374 | 0.9875 | -0.24027 | 24.9085
54 | 0.050347 | 0.012623 | -0.050333 | -0.012615 | 1.4087e-05 | 8.9325e-06 | 0.075867 | 0.075867 | 0.075867 | 0.9875 | -0.24027 | 0.98719 | -0.24614 | 20.8426

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59452 | 0.15153

## res_load
| p_mw | q_mvar
0 | 0.027549 | 0.0069045
1 | 0.0286 | 0.0071678
2 | 0.019757 | 0.0049515
3 | 0.028896 | 0.007242
4 | 0.0081079 | 0.002032
5 | 0.011243 | 0.0028178
6 | 0.0082794 | 0.002075
7 | 0.049073 | 0.012299
8 | 0.018828 | 0.0047188
9 | 0.012198 | 0.0030571
10 | 0.018794 | 0.0047102
11 | 0.018706 | 0.0046882
12 | 0.019327 | 0.0048439
13 | 0.0093463 | 0.0023424
14 | 0.0060635 | 0.0015197
15 | 0.009344 | 0.0023418
16 | 0.0080477 | 0.0020169
17 | 0.050195 | 0.01258
18 | 0.010838 | 0.0027161
19 | 0.01228 | 0.0030776
20 | 0.0069403 | 0.0017394
21 | 0.01126 | 0.002822
22 | 0.0068759 | 0.0017233
23 | 0.0098719 | 0.0024741
24 | 0.0024546 | 0.00061519
25 | 0.0024539 | 0.00061501
26 | 0.0024505 | 0.00061415
27 | 0.014513 | 0.0036374
28 | 0.012636 | 0.0031668
29 | 0.014741 | 0.0036945
30 | 0.0043395 | 0.0010876
31 | 0.0024396 | 0.00061143
32 | 0.021357 | 0.0053526
33 | 0.0024787 | 0.00062122
34 | 0.011432 | 0.0028651
35 | 0.0078885 | 0.001977
36 | 0.015491 | 0.0038824
37 | 0.0098216 | 0.0024615
38 | 0.050333 | 0.012615

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1