## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-497_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-497_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-497_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-497_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_261-497_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-497_0_4_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_261-497_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_261-497_0_4_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_261-497_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_261-497_0_4_node_49 | 0.4 | n |  | TRUE
10 | bus_LV_261-497_0_4_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_261-497_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_261-497_0_4_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_261-497_0_4_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_261-497_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_261-497_0_4_node_50 | 0.4 | n |  | TRUE
16 | bus_LV_261-497_0_4_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_261-497_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_261-497_0_4_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_261-497_0_4_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_261-497_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_261-497_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_261-497_0_4_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_261-497_0_4_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_261-497_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_261-497_0_4_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_261-497_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_261-497_0_4_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_261-497_0_4_node_62 | 0.4 | n |  | TRUE
29 | bus_LV_261-497_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_261-497_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_261-497_0_4_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_261-497_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_261-497_0_4_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_261-497_0_4_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_261-497_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_261-497_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_261-497_0_4_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_261-497_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_261-497_0_4_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_261-497_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_261-497_0_4_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_261-497_0_4_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_261-497_0_4_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_261-497_0_4_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_261-497_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_261-497_0_4_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_261-497_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_261-497_0_4_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_261-497_0_4_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_261-497_0_4_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_261-497_0_4_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_261-497_0_4_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_261-497_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_261-497_0_4_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_261-497_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_261-497_0_4_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_261-497_0_4_node_68 | 0.4 | n |  | TRUE
58 | bus_LV_261-497_0_4_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_261-497_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_261-497_0_4_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_261-497_0_4_node_65 | 0.4 | n |  | TRUE
62 | bus_MV_542_0_node_97 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-497_0_4_load_0 | 0 | 0.011907 | 0.0029842 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-497_0_4_load_1 | 1 | 0.011743 | 0.0029432 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-497_0_4_load_28 | 7 | 0.023908 | 0.005992 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-497_0_4_load_49 | 9 | 0.010252 | 0.0025694 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-497_0_4_load_36 | 10 | 0.022885 | 0.0057355 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-497_0_4_load_60 | 12 | 0.02739 | 0.0068646 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-497_0_4_load_63 | 13 | 0.016228 | 0.0040672 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-497_0_4_load_50 | 15 | 0.0071654 | 0.0017958 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-497_0_4_load_56 | 16 | 0.0046504 | 0.0011655 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-497_0_4_load_55 | 18 | 0.0023101 | 0.00057897 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-497_0_4_load_52 | 19 | 0.0028214 | 0.00070712 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-497_0_4_load_59 | 22 | 0.0050602 | 0.0012682 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-497_0_4_load_67 | 23 | 0.0061054 | 0.0015302 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-497_0_4_load_34 | 25 | 0.010722 | 0.0026871 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-497_0_4_load_33 | 27 | 0.010528 | 0.0026387 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-497_0_4_load_62 | 28 | 0.013597 | 0.0034078 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-497_0_4_load_32 | 31 | 0.060598 | 0.015187 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-497_0_4_load_43 | 33 | 0.0046483 | 0.001165 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-497_0_4_load_35 | 34 | 0.060478 | 0.015157 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-497_0_4_load_38 | 37 | 0.015399 | 0.0038593 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-497_0_4_load_47 | 39 | 0.0048443 | 0.0012141 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-497_0_4_load_51 | 41 | 0.0024286 | 0.00060867 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-497_0_4_load_48 | 42 | 0.0024732 | 0.00061984 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-497_0_4_load_30 | 45 | 0.019959 | 0.0050023 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-497_0_4_load_45 | 46 | 0.0094776 | 0.0023753 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-497_0_4_load_37 | 47 | 0.012617 | 0.0031622 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-497_0_4_load_61 | 48 | 0.01611 | 0.0040376 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-497_0_4_load_64 | 49 | 0.016929 | 0.0042428 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-497_0_4_load_58 | 50 | 0.0030489 | 0.00076412 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-497_0_4_load_53 | 51 | 0.0032149 | 0.00080574 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-497_0_4_load_66 | 52 | 0.0060385 | 0.0015134 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-497_0_4_load_42 | 53 | 0.0041898 | 0.0010501 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-497_0_4_load_39 | 54 | 0.0028413 | 0.0007121 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-497_0_4_load_41 | 56 | 0.0025581 | 0.00064113 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-497_0_4_load_68 | 57 | 0.0024048 | 0.00060271 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-497_0_4_load_46 | 59 | 0.0065178 | 0.0016335 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-497_0_4_load_54 | 60 | 0.0050569 | 0.0012674 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-497_0_4_load_65 | 61 | 0.0059547 | 0.0014924 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-497_0_4_line_0 |  | 0 | 1 | 0.026016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-497_0_4_line_1 |  | 0 | 2 | 0.0087992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-497_0_4_line_2 |  | 2 | 3 | 0.021548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-497_0_4_line_3 |  | 3 | 8 | 0.011203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_261-497_0_4_line_4 |  | 3 | 6 | 0.047553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_261-497_0_4_line_5 |  | 3 | 9 | 0.0059905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-497_0_4_line_6 |  | 4 | 5 | 0.004194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-497_0_4_line_7 |  | 4 | 6 | 0.014083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-497_0_4_line_8 |  | 4 | 7 | 0.012731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-497_0_4_line_9 |  | 5 | 45 | 0.015146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-497_0_4_line_10 |  | 6 | 10 | 0.0014843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-497_0_4_line_11 |  | 8 | 13 | 0.030569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-497_0_4_line_12 |  | 8 | 11 | 0.002594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_261-497_0_4_line_13 |  | 9 | 15 | 0.023259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-497_0_4_line_14 |  | 10 | 47 | 0.039685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-497_0_4_line_15 |  | 11 | 12 | 0.015584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_261-497_0_4_line_16 |  | 12 | 48 | 0.021262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_261-497_0_4_line_17 |  | 13 | 49 | 0.018136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-497_0_4_line_18 |  | 14 | 15 | 0.015959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-497_0_4_line_19 |  | 14 | 16 | 0.035308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-497_0_4_line_20 |  | 17 | 18 | 0.033647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-497_0_4_line_21 |  | 17 | 19 | 0.016593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-497_0_4_line_22 |  | 18 | 32 | 0.010712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-497_0_4_line_23 |  | 19 | 51 | 0.0066836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-497_0_4_line_24 |  | 20 | 21 | 0.01059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-497_0_4_line_25 |  | 20 | 22 | 0.020654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-497_0_4_line_26 |  | 21 | 23 | 0.0098279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-497_0_4_line_27 |  | 22 | 50 | 0.031682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-497_0_4_line_28 |  | 23 | 52 | 0.021031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-497_0_4_line_29 |  | 24 | 25 | 0.034071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-497_0_4_line_30 |  | 24 | 26 | 0.016957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_261-497_0_4_line_31 |  | 24 | 27 | 0.011571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-497_0_4_line_32 |  | 25 | 34 | 0.0235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-497_0_4_line_33 |  | 26 | 28 | 0.01294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_261-497_0_4_line_34 |  | 28 | 48 | 0.018286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_261-497_0_4_line_35 |  | 29 | 30 | 0.025987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-497_0_4_line_36 |  | 29 | 31 | 0.01254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-497_0_4_line_37 |  | 30 | 34 | 0.012636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-497_0_4_line_38 |  | 32 | 33 | 0.04368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-497_0_4_line_39 |  | 33 | 53 | 0.023603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-497_0_4_line_40 |  | 35 | 36 | 0.04758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-497_0_4_line_41 |  | 35 | 37 | 0.017462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-497_0_4_line_42 |  | 36 | 46 | 0.0073886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-497_0_4_line_43 |  | 36 | 38 | 0.004125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-497_0_4_line_44 |  | 37 | 47 | 0.026586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-497_0_4_line_45 |  | 38 | 39 | 0.020322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-497_0_4_line_46 |  | 39 | 42 | 3.77e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-497_0_4_line_47 |  | 40 | 41 | 0.031226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-497_0_4_line_48 |  | 40 | 42 | 0.016745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-497_0_4_line_49 |  | 41 | 43 | 0.019388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-497_0_4_line_50 |  | 43 | 44 | 0.002295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-497_0_4_line_51 |  | 44 | 57 | 0.0127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-497_0_4_line_52 |  | 46 | 58 | 0.01174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-497_0_4_line_53 |  | 49 | 61 | 0.030805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-497_0_4_line_54 |  | 51 | 60 | 0.025211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-497_0_4_line_55 |  | 52 | 61 | 0.018529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-497_0_4_line_56 |  | 53 | 58 | 0.023529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-497_0_4_line_57 |  | 54 | 55 | 0.019486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-497_0_4_line_58 |  | 55 | 56 | 0.018412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-497_0_4_line_59 |  | 56 | 57 | 0.014233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-497_0_4_line_60 |  | 58 | 59 | 0.043116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-497_0_4_trafo_8 | 0.63 MVA 20/0.4 kV | 62 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2683592.1808 | 1250942.4859 | 2683616.4731 | 1250933.1744
1 | 2683584.0992 | 1250945.9137 | 2683585.675 | 1250944.9797 | 2683592.1808 | 1250942.4859
2 | 2683565.4256 | 1250953.734 | 2683567.211 | 1250953.459 | 2683570.2664 | 1250953.6022 | 2683575.8818 | 1250951.5465 | 2683582.4229 | 1250949.148 | 2683582.9636 | 1250947.2098 | 2683584.0992 | 1250945.9137
3 | 2683561.7475 | 1250943.152 | 2683563.6916 | 1250948.7503 | 2683565.4256 | 1250953.734
4 | 2683565.4256 | 1250953.734 | 2683567.211 | 1250953.459 | 2683570.2664 | 1250953.6022 | 2683571.8058 | 1250954.7136 | 2683572.9967 | 1250956.9876 | 2683574.805 | 1250960.9828 | 2683586.5489 | 1250992.7165
5 | 2683565.4256 | 1250953.734 | 2683561.8389 | 1250954.8621 | 2683559.7524 | 1250955.6511
6 | 2683598.864 | 1250988.2536 | 2683598.9256 | 1250992.4464
7 | 2683586.5489 | 1250992.7165 | 2683591.1346 | 1250990.335 | 2683597.3932 | 1250987.0986 | 2683598.864 | 1250988.2536
8 | 2683598.864 | 1250988.2536 | 2683600.5992 | 1250988.3336 | 2683604.217 | 1250987.1393 | 2683610.8753 | 1250984.4405
9 | 2683598.9256 | 1250992.4464 | 2683613.1157 | 1250987.1501
10 | 2683586.5489 | 1250992.7165 | 2683587.0928 | 1250994.0976
11 | 2683561.7475 | 1250943.152 | 2683559.0057 | 1250944.8591 | 2683533.4578 | 1250954.5925
12 | 2683563.1896 | 1250940.993 | 2683561.7475 | 1250943.152
13 | 2683559.7524 | 1250955.6511 | 2683537.9969 | 1250963.8779
14 | 2683601.635 | 1251031.0218 | 2683587.0928 | 1250994.0976
15 | 2683563.1896 | 1250940.993 | 2683564.483 | 1250938.6761 | 2683564.5515 | 1250933.8179 | 2683561.6666 | 1250926.2797
16 | 2683561.6666 | 1250926.2797 | 2683554.0669 | 1250906.4226
17 | 2683533.4578 | 1250954.5925 | 2683524.1073 | 1250958.1549 | 2683516.5725 | 1250961.207
18 | 2683524.6425 | 1250971.061 | 2683528.3063 | 1250969.8117 | 2683528.7946 | 1250968.373 | 2683529.5919 | 1250966.9721 | 2683534.3418 | 1250965.26 | 2683537.9969 | 1250963.8779
19 | 2683524.6425 | 1250971.061 | 2683528.2063 | 1250977.9719 | 2683537.92 | 1251003.7338
20 | 2683456.5723 | 1251046.603 | 2683466.2992 | 1251078.8138
21 | 2683456.5723 | 1251046.603 | 2683463.3739 | 1251044.4638 | 2683472.2176 | 1251041.0958
22 | 2683468.184 | 1251089.354 | 2683466.4965 | 1251079.4673 | 2683466.2992 | 1251078.8138
23 | 2683472.2176 | 1251041.0958 | 2683478.4636 | 1251038.717
24 | 2683441.5537 | 1250989.5267 | 2683443.4415 | 1250994.8461 | 2683445.097 | 1250999.5062
25 | 2683445.097 | 1250999.5062 | 2683464.3815 | 1250992.1095
26 | 2683441.5537 | 1250989.5267 | 2683450.7472 | 1250986.0528
27 | 2683464.3815 | 1250992.1095 | 2683493.9625 | 1250980.7634
28 | 2683470.4205 | 1250978.619 | 2683450.7472 | 1250986.0528
29 | 2683554.0829 | 1250881.7648 | 2683561.8012 | 1250878.8826 | 2683586.0033 | 1250869.8515
30 | 2683542.9057 | 1250877.2594 | 2683546.8824 | 1250875.7811 | 2683549.7874 | 1250883.3721 | 2683554.0829 | 1250881.7648
31 | 2683554.0829 | 1250881.7648 | 2683558.3727 | 1250892.5117
32 | 2683586.0033 | 1250869.8515 | 2683608.02 | 1250861.636
33 | 2683542.9057 | 1250877.2594 | 2683547.531 | 1250889.3448
34 | 2683547.531 | 1250889.3448 | 2683554.0669 | 1250906.4226
35 | 2683610.4393 | 1250832.9898 | 2683619.8585 | 1250857.2185
36 | 2683610.4393 | 1250832.9898 | 2683598.6609 | 1250837.2919
37 | 2683619.8585 | 1250857.2185 | 2683608.02 | 1250861.636
38 | 2683468.184 | 1251089.354 | 2683474.2037 | 1251089.1275 | 2683506.0688 | 1251084.2394 | 2683511.4124 | 1251083.3446
39 | 2683511.4124 | 1251083.3446 | 2683534.6914 | 1251079.4464
40 | 2683617.0942 | 1251072.2624 | 2683617.9197 | 1251079.0235 | 2683609.002 | 1251078.1193 | 2683577.2126 | 1251077.1035
41 | 2683617.0942 | 1251072.2624 | 2683611.2098 | 1251055.8213
42 | 2683577.2126 | 1251077.1035 | 2683569.8241 | 1251077.0851
43 | 2683577.1469 | 1251081.2279 | 2683577.2126 | 1251077.1035
44 | 2683601.635 | 1251031.0218 | 2683609.2942 | 1251050.4694 | 2683611.2098 | 1251055.8213
45 | 2683577.1469 | 1251081.2279 | 2683576.6039 | 1251101.5426
46 | 2683576.6029 | 1251101.5802 | 2683576.6039 | 1251101.5426
47 | 2683576.1554 | 1251118.3194 | 2683545.545 | 1251124.4869
48 | 2683576.1554 | 1251118.3194 | 2683576.6029 | 1251101.5802
49 | 2683526.5389 | 1251128.3163 | 2683545.545 | 1251124.4869
50 | 2683526.5389 | 1251128.3163 | 2683524.4641 | 1251129.31
51 | 2683524.4641 | 1251129.31 | 2683522.6502 | 1251125.7151 | 2683519.7956 | 1251118.8364 | 2683519.2837 | 1251117.7227
52 | 2683558.0842 | 1251077.056 | 2683569.8241 | 1251077.0851
53 | 2683516.5725 | 1250961.207 | 2683502.0892 | 1250967.0736 | 2683487.818 | 1250972.2434
54 | 2683478.4636 | 1251038.717 | 2683499.4403 | 1251030.7282 | 2683502.0241 | 1251029.7463
55 | 2683487.818 | 1250972.2434 | 2683475.1144 | 1250976.8453 | 2683470.4205 | 1250978.619
56 | 2683558.0842 | 1251077.056 | 2683548.8441 | 1251077.6039 | 2683535.4053 | 1251079.3269 | 2683534.6914 | 1251079.4464
57 | 2683508.1116 | 1251087.1259 | 2683500.1532 | 1251088.3257 | 2683490.7342 | 1251089.783 | 2683488.8504 | 1251090.0793
58 | 2683508.1116 | 1251087.1259 | 2683513.4629 | 1251104.7434
59 | 2683513.4629 | 1251104.7434 | 2683513.7458 | 1251105.6747 | 2683519.2837 | 1251117.7227
60 | 2683543.3619 | 1251036.5181 | 2683558.0842 | 1251077.056

## bus_geodata
| x | y | coords
0 | 2683592.1808 | 1250942.4859
1 | 2683616.4731 | 1250933.1744
2 | 2683584.0992 | 1250945.9137
3 | 2683565.4256 | 1250953.734
4 | 2683598.864 | 1250988.2535
5 | 2683598.9256 | 1250992.4464
6 | 2683586.5489 | 1250992.7165
7 | 2683610.8753 | 1250984.4405
8 | 2683561.7475 | 1250943.152
9 | 2683559.7524 | 1250955.6511
10 | 2683587.0928 | 1250994.0976
11 | 2683563.1896 | 1250940.993
12 | 2683561.6666 | 1250926.2797
13 | 2683533.4578 | 1250954.5925
14 | 2683524.6425 | 1250971.061
15 | 2683537.9969 | 1250963.8779
16 | 2683537.92 | 1251003.7338
17 | 2683456.5723 | 1251046.603
18 | 2683466.2992 | 1251078.8138
19 | 2683472.2176 | 1251041.0958
20 | 2683445.097 | 1250999.5062
21 | 2683441.5537 | 1250989.5267
22 | 2683464.3815 | 1250992.1095
23 | 2683450.7472 | 1250986.0528
24 | 2683554.0829 | 1250881.7648
25 | 2683586.0033 | 1250869.8515
26 | 2683542.9057 | 1250877.2594
27 | 2683558.3727 | 1250892.5117
28 | 2683547.531 | 1250889.3448
29 | 2683610.4393 | 1250832.9898
30 | 2683619.8585 | 1250857.2185
31 | 2683598.6609 | 1250837.2919
32 | 2683468.184 | 1251089.354
33 | 2683511.4124 | 1251083.3446
34 | 2683608.02 | 1250861.636
35 | 2683617.0942 | 1251072.2624
36 | 2683577.2126 | 1251077.1035
37 | 2683611.2098 | 1251055.8213
38 | 2683577.1469 | 1251081.2279
39 | 2683576.6039 | 1251101.5426
40 | 2683576.1554 | 1251118.3194
41 | 2683545.545 | 1251124.4869
42 | 2683576.6029 | 1251101.5802
43 | 2683526.5389 | 1251128.3163
44 | 2683524.4641 | 1251129.31
45 | 2683613.1157 | 1250987.1501
46 | 2683569.8241 | 1251077.0851
47 | 2683601.635 | 1251031.0218
48 | 2683554.0669 | 1250906.4226
49 | 2683516.5725 | 1250961.207
50 | 2683493.9625 | 1250980.7634
51 | 2683478.4636 | 1251038.717
52 | 2683470.4205 | 1250978.619
53 | 2683534.6914 | 1251079.4464
54 | 2683488.8504 | 1251090.0793
55 | 2683508.1116 | 1251087.1259
56 | 2683513.4629 | 1251104.7434
57 | 2683519.2836 | 1251117.7227
58 | 2683558.0842 | 1251077.056
59 | 2683543.3619 | 1251036.5181
60 | 2683502.0241 | 1251029.7463
61 | 2683487.818 | 1250972.2434
62 | 2683561.7475 | 1250943.152

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99804 | -0.037529 | 0.011907 | 0.0029842
1 | 0.99776 | -0.042876 | 0.011743 | 0.0029432
2 | 0.99823 | -0.033888 | 0 | 0
3 | 0.99869 | -0.024977 | 0 | 0
4 | 0.99485 | -0.098622 | 0 | 0
5 | 0.99478 | -0.1001 | 0 | 0
6 | 0.99541 | -0.087748 | 0 | 0
7 | 0.99457 | -0.10398 | 0.023908 | 0.005992
8 | 0.9997 | -0.0057815 | 0 | 0
9 | 0.99857 | -0.027288 | 0.010252 | 0.0025694
10 | 0.99527 | -0.090535 | 0.022885 | 0.0057355
11 | 1 | 0 | -0.46017 | -0.11625
12 | 0.99857 | -0.027123 | 0.02739 | 0.0068646
13 | 0.99805 | -0.037486 | 0.016228 | 0.0040672
14 | 0.99826 | -0.033392 | 0 | 0
15 | 0.99832 | -0.032094 | 0.0071654 | 0.0017958
16 | 0.99811 | -0.036265 | 0.0046504 | 0.0011655
17 | 0.98468 | -0.29544 | 0 | 0
18 | 0.98502 | -0.28873 | 0.0023101 | 0.00057897
19 | 0.98451 | -0.29875 | 0.0028214 | 0.00070712
20 | 0.99584 | -0.080096 | 0 | 0
21 | 0.99591 | -0.078587 | 0 | 0
22 | 0.99568 | -0.083041 | 0.0050602 | 0.0012682
23 | 0.99599 | -0.077186 | 0.0061054 | 0.0015302
24 | 0.99363 | -0.12167 | 0 | 0
25 | 0.98949 | -0.20127 | 0.010722 | 0.0026871
26 | 0.99474 | -0.10039 | 0 | 0
27 | 0.99352 | -0.12382 | 0.010528 | 0.0026387
28 | 0.99558 | -0.084181 | 0.013597 | 0.0034078
29 | 0.98472 | -0.29404 | 0 | 0
30 | 0.98617 | -0.26577 | 0 | 0
31 | 0.98402 | -0.3077 | 0.060598 | 0.015187
32 | 0.98515 | -0.28615 | 0 | 0
33 | 0.98569 | -0.27564 | 0.0046483 | 0.001165
34 | 0.98688 | -0.25206 | 0.060478 | 0.015157
35 | 0.98958 | -0.20014 | 0 | 0
36 | 0.98714 | -0.24752 | 0 | 0
37 | 0.99048 | -0.18282 | 0.015399 | 0.0038593
38 | 0.98707 | -0.24881 | 0 | 0
39 | 0.98674 | -0.2552 | 0.0048443 | 0.0012141
40 | 0.98659 | -0.25827 | 0 | 0
41 | 0.98629 | -0.264 | 0.0024286 | 0.00060867
42 | 0.98674 | -0.2552 | 0.0024732 | 0.00061984
43 | 0.98615 | -0.26671 | 0 | 0
44 | 0.98614 | -0.26703 | 0 | 0
45 | 0.9945 | -0.10542 | 0.019959 | 0.0050023
46 | 0.98688 | -0.25257 | 0.0094776 | 0.0023753
47 | 0.99222 | -0.14924 | 0.012617 | 0.0031622
48 | 0.99689 | -0.059145 | 0.01611 | 0.0040376
49 | 0.99734 | -0.051186 | 0.016929 | 0.0042428
50 | 0.9956 | -0.08474 | 0.0030489 | 0.00076412
51 | 0.98446 | -0.29974 | 0.0032149 | 0.00080574
52 | 0.99626 | -0.071934 | 0.0060385 | 0.0015134
53 | 0.98609 | -0.268 | 0.0041898 | 0.0010501
54 | 0.98588 | -0.27212 | 0.0028413 | 0.0007121
55 | 0.98593 | -0.27113 | 0 | 0
56 | 0.98598 | -0.27019 | 0.0025581 | 0.00064113
57 | 0.98605 | -0.26881 | 0.0024048 | 0.00060271
58 | 0.98657 | -0.25862 | 0 | 0
59 | 0.98631 | -0.26365 | 0.0065178 | 0.0016335
60 | 0.98434 | -0.30203 | 0.0050569 | 0.0012674
61 | 0.9966 | -0.065345 | 0.0059547 | 0.0014924
62 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.011746 | 0.0029447 | -0.011743 | -0.0029432 | 2.9924e-06 | 1.5752e-06 | 0.017513 | 0.017514 | 0.017514 | 0.99804 | -0.037529 | 0.99776 | -0.042876 | 4.8114
1 | -0.023654 | -0.005929 | 0.023658 | 0.0059315 | 4.1038e-06 | 2.5115e-06 | 0.035266 | 0.035266 | 0.035266 | 0.99804 | -0.037529 | 0.99823 | -0.033888 | 9.6885
2 | -0.023658 | -0.0059315 | 0.023668 | 0.0059376 | 1.005e-05 | 6.1499e-06 | 0.035266 | 0.035266 | 0.035266 | 0.99823 | -0.033888 | 0.99869 | -0.024977 | 9.6885
3 | -0.19739 | -0.049895 | 0.19757 | 0.050012 | 0.00018188 | 0.00011611 | 0.29426 | 0.29426 | 0.29426 | 0.99869 | -0.024977 | 0.9997 | -0.0057815 | 40.4198
4 | 0.15165 | 0.038424 | -0.15119 | -0.038134 | 0.00045581 | 0.00029048 | 0.2261 | 0.2261 | 0.2261 | 0.99869 | -0.024977 | 0.99541 | -0.087748 | 31.0578
5 | 0.022074 | 0.0055335 | -0.022071 | -0.0055321 | 2.4301e-06 | 1.4769e-06 | 0.03289 | 0.03289 | 0.03289 | 0.99869 | -0.024977 | 0.99857 | -0.027288 | 9.0356
6 | 0.019966 | 0.0050062 | -0.019964 | -0.0050053 | 1.4027e-06 | 8.4326e-07 | 0.029864 | 0.029864 | 0.029864 | 0.99485 | -0.098622 | 0.99478 | -0.1001 | 8.2044
7 | -0.04388 | -0.011002 | 0.043903 | 0.011016 | 2.275e-05 | 1.4377e-05 | 0.065634 | 0.065634 | 0.065634 | 0.99485 | -0.098622 | 0.99541 | -0.087748 | 18.0313
8 | 0.023914 | 0.0059957 | -0.023908 | -0.005992 | 6.1086e-06 | 3.7443e-06 | 0.03577 | 0.03577 | 0.03577 | 0.99485 | -0.098622 | 0.99457 | -0.10398 | 9.8269
9 | 0.019964 | 0.0050053 | -0.019959 | -0.0050023 | 5.0657e-06 | 3.0454e-06 | 0.029864 | 0.029864 | 0.029864 | 0.99478 | -0.1001 | 0.9945 | -0.10542 | 8.2044
10 | 0.10729 | 0.027117 | -0.10728 | -0.027108 | 1.4333e-05 | 9.1538e-06 | 0.16047 | 0.16047 | 0.16047 | 0.99541 | -0.087748 | 0.99527 | -0.090535 | 44.0843
11 | 0.059514 | 0.014971 | -0.059424 | -0.014914 | 8.9994e-05 | 5.7196e-05 | 0.088603 | 0.088604 | 0.088604 | 0.9997 | -0.0057815 | 0.99805 | -0.037486 | 24.3416
12 | -0.25709 | -0.064982 | 0.25716 | 0.065028 | 7.1293e-05 | 4.556e-05 | 0.38286 | 0.38286 | 0.38286 | 0.9997 | -0.0057815 | 1 | 0 | 52.5905
13 | 0.011819 | 0.0029627 | -0.011817 | -0.0029612 | 2.7057e-06 | 1.4275e-06 | 0.017613 | 0.017613 | 0.017613 | 0.99857 | -0.027288 | 0.99832 | -0.032094 | 4.8387
14 | 0.084392 | 0.021373 | -0.084154 | -0.021221 | 0.00023721 | 0.0001513 | 0.12625 | 0.12625 | 0.12625 | 0.99527 | -0.090535 | 0.99222 | -0.14924 | 34.6846
15 | 0.20136 | 0.051219 | -0.2011 | -0.051051 | 0.0002628 | 0.00016778 | 0.2999 | 0.2999 | 0.2999 | 1 | 0 | 0.99857 | -0.027123 | 41.195
16 | 0.17371 | 0.044186 | -0.17344 | -0.044015 | 0.0002676 | 0.00017071 | 0.25908 | 0.25908 | 0.25908 | 0.99857 | -0.027123 | 0.99689 | -0.059145 | 35.5885
17 | 0.043195 | 0.010846 | -0.043167 | -0.010829 | 2.8213e-05 | 1.7819e-05 | 0.064408 | 0.064408 | 0.064408 | 0.99805 | -0.037486 | 0.99734 | -0.051186 | 17.6946
18 | -0.004651 | -0.0011654 | 0.0046513 | 0.0011654 | 2.8764e-07 | -2.4566e-08 | 0.0069328 | 0.0069327 | 0.0069328 | 0.99826 | -0.033392 | 0.99832 | -0.032094 | 1.9046
19 | 0.004651 | 0.0011654 | -0.0046504 | -0.0011655 | 6.364e-07 | -5.4237e-08 | 0.0069328 | 0.0069329 | 0.0069329 | 0.99826 | -0.033392 | 0.99811 | -0.036265 | 1.9047
20 | -0.011096 | -0.0027813 | 0.0111 | 0.0027832 | 3.5477e-06 | 1.8424e-06 | 0.016768 | 0.016768 | 0.016768 | 0.98468 | -0.29544 | 0.98502 | -0.28873 | 4.6066
21 | 0.011096 | 0.0027813 | -0.011094 | -0.0027804 | 1.7496e-06 | 9.0869e-07 | 0.016768 | 0.016768 | 0.016768 | 0.98468 | -0.29544 | 0.98451 | -0.29875 | 4.6066
22 | -0.01341 | -0.0033622 | 0.013411 | 0.0033631 | 1.6485e-06 | 9.1868e-07 | 0.020258 | 0.020258 | 0.020258 | 0.98502 | -0.28873 | 0.98515 | -0.28615 | 5.5653
23 | 0.0082728 | 0.0020733 | -0.0082724 | -0.0020732 | 3.9185e-07 | 1.658e-07 | 0.012504 | 0.012504 | 0.012504 | 0.98451 | -0.29875 | 0.98446 | -0.29974 | 3.4351
24 | -0.0081105 | -0.0020325 | 0.008111 | 0.0020328 | 5.8324e-07 | 2.3549e-07 | 0.012119 | 0.012119 | 0.012119 | 0.99584 | -0.080096 | 0.99591 | -0.078587 | 3.3294
25 | 0.0081105 | 0.0020325 | -0.0081093 | -0.0020321 | 1.1376e-06 | 4.5936e-07 | 0.012119 | 0.012119 | 0.012119 | 0.99584 | -0.080096 | 0.99568 | -0.083041 | 3.3294
26 | -0.008111 | -0.0020328 | 0.0081116 | 0.002033 | 5.4127e-07 | 2.1852e-07 | 0.012119 | 0.012119 | 0.012119 | 0.99591 | -0.078587 | 0.99599 | -0.077186 | 3.3294
27 | 0.0030491 | 0.00076387 | -0.0030489 | -0.00076412 | 2.467e-07 | -2.5415e-07 | 0.0045567 | 0.0045568 | 0.0045568 | 0.99568 | -0.083041 | 0.9956 | -0.08474 | 1.2519
28 | -0.014217 | -0.0035631 | 0.014221 | 0.0035651 | 3.558e-06 | 2.0034e-06 | 0.02124 | 0.02124 | 0.02124 | 0.99599 | -0.077186 | 0.99626 | -0.071934 | 5.8353
29 | 0.13276 | 0.033645 | -0.13225 | -0.033322 | 0.0005057 | 0.00032321 | 0.19895 | 0.19895 | 0.19895 | 0.99363 | -0.12167 | 0.98949 | -0.20127 | 54.6557
30 | -0.14329 | -0.036285 | 0.14343 | 0.036378 | 0.00014658 | 9.3371e-05 | 0.21472 | 0.21472 | 0.21472 | 0.99363 | -0.12167 | 0.99474 | -0.10039 | 29.4939
31 | 0.010529 | 0.0026392 | -0.010528 | -0.0026387 | 1.079e-06 | 5.4067e-07 | 0.015769 | 0.015769 | 0.015769 | 0.99363 | -0.12167 | 0.99352 | -0.12382 | 4.332
32 | 0.12153 | 0.030635 | -0.12124 | -0.030447 | 0.00029455 | 0.00018821 | 0.18282 | 0.18282 | 0.18282 | 0.98949 | -0.20127 | 0.98688 | -0.25206 | 50.2263
33 | -0.14343 | -0.036378 | 0.14355 | 0.036449 | 0.00011186 | 7.1253e-05 | 0.21472 | 0.21472 | 0.21472 | 0.99474 | -0.10039 | 0.99558 | -0.084181 | 29.4938
34 | -0.15714 | -0.039857 | 0.15733 | 0.039978 | 0.0001894 | 0.00012074 | 0.23504 | 0.23504 | 0.23504 | 0.99558 | -0.084181 | 0.99689 | -0.059145 | 32.2854
35 | -0.060638 | -0.015212 | 0.06072 | 0.015264 | 8.183e-05 | 5.204e-05 | 0.091635 | 0.091635 | 0.091635 | 0.98472 | -0.29404 | 0.98617 | -0.26577 | 25.1746
36 | 0.060638 | 0.015212 | -0.060598 | -0.015187 | 3.9486e-05 | 2.5112e-05 | 0.091635 | 0.091635 | 0.091635 | 0.98472 | -0.29404 | 0.98402 | -0.3077 | 25.1746
37 | -0.06072 | -0.015264 | 0.060759 | 0.01529 | 3.9789e-05 | 2.5303e-05 | 0.091635 | 0.091635 | 0.091635 | 0.98617 | -0.26577 | 0.98688 | -0.25206 | 25.1745
38 | -0.013411 | -0.0033631 | 0.013418 | 0.0033668 | 6.7218e-06 | 3.7455e-06 | 0.020258 | 0.020257 | 0.020258 | 0.98515 | -0.28615 | 0.98569 | -0.27564 | 5.5653
39 | -0.018066 | -0.0045318 | 0.018073 | 0.0045357 | 6.5844e-06 | 3.913e-06 | 0.027275 | 0.027274 | 0.027275 | 0.98569 | -0.27564 | 0.98609 | -0.268 | 7.493
40 | 0.055977 | 0.014097 | -0.055851 | -0.014017 | 0.00012649 | 8.0342e-05 | 0.084196 | 0.084196 | 0.084196 | 0.98958 | -0.20014 | 0.98714 | -0.24752 | 23.1309
41 | -0.055977 | -0.014097 | 0.056024 | 0.014127 | 4.6421e-05 | 2.9485e-05 | 0.084196 | 0.084196 | 0.084196 | 0.98958 | -0.20014 | 0.99048 | -0.18282 | 23.1308
42 | 0.038287 | 0.0096121 | -0.038278 | -0.0096063 | 9.2309e-06 | 5.8133e-06 | 0.05772 | 0.05772 | 0.05772 | 0.98714 | -0.24752 | 0.98688 | -0.25257 | 15.8572
43 | 0.017564 | 0.0044049 | -0.017562 | -0.0044043 | 1.0844e-06 | 6.4126e-07 | 0.026476 | 0.026476 | 0.026476 | 0.98714 | -0.24752 | 0.98707 | -0.24881 | 7.2737
44 | -0.071422 | -0.017986 | 0.071537 | 0.018059 | 0.00011485 | 7.316e-05 | 0.10733 | 0.10733 | 0.10733 | 0.99048 | -0.18282 | 0.99222 | -0.14924 | 29.4862
45 | 0.017562 | 0.0044043 | -0.017557 | -0.0044011 | 5.3422e-06 | 3.1593e-06 | 0.026476 | 0.026477 | 0.026477 | 0.98707 | -0.24881 | 0.98674 | -0.2552 | 7.2738
46 | 0.012713 | 0.003187 | -0.012713 | -0.003187 | 5.2012e-09 | 2.8445e-09 | 0.019171 | 0.019171 | 0.019171 | 0.98674 | -0.2552 | 0.98674 | -0.2552 | 5.2668
47 | 0.010238 | 0.0025664 | -0.010235 | -0.002565 | 2.7922e-06 | 1.3884e-06 | 0.015442 | 0.015442 | 0.015442 | 0.98659 | -0.25827 | 0.98629 | -0.264 | 4.2423
48 | -0.010238 | -0.0025664 | 0.01024 | 0.0025672 | 1.4973e-06 | 7.4442e-07 | 0.015442 | 0.015442 | 0.015442 | 0.98659 | -0.25827 | 0.98674 | -0.2552 | 4.2423
49 | 0.0078067 | 0.0019564 | -0.0078057 | -0.001956 | 1.0086e-06 | 3.9808e-07 | 0.011778 | 0.011778 | 0.011778 | 0.98629 | -0.264 | 0.98615 | -0.26671 | 3.2357
50 | 0.0078057 | 0.001956 | -0.0078056 | -0.0019559 | 1.1939e-07 | 4.7127e-08 | 0.011778 | 0.011778 | 0.011778 | 0.98615 | -0.26671 | 0.98614 | -0.26703 | 3.2357
51 | 0.0078056 | 0.0019559 | -0.0078049 | -0.0019557 | 6.6066e-07 | 2.6081e-07 | 0.011778 | 0.011778 | 0.011778 | 0.98614 | -0.26703 | 0.98605 | -0.26881 | 3.2357
52 | 0.0288 | 0.007231 | -0.028792 | -0.0072258 | 8.3037e-06 | 5.1644e-06 | 0.04343 | 0.04343 | 0.04343 | 0.98688 | -0.25257 | 0.98657 | -0.25862 | 11.9313
53 | 0.026238 | 0.0065857 | -0.02622 | -0.0065748 | 1.7706e-05 | 1.093e-05 | 0.03915 | 0.03915 | 0.03915 | 0.99734 | -0.051186 | 0.9966 | -0.065345 | 10.7556
54 | 0.0050575 | 0.0012674 | -0.0050569 | -0.0012674 | 5.5246e-07 | 3.3069e-08 | 0.0076443 | 0.0076445 | 0.0076445 | 0.98446 | -0.29974 | 0.98434 | -0.30203 | 2.1001
55 | -0.020259 | -0.0050785 | 0.020265 | 0.0050824 | 6.3622e-06 | 3.8305e-06 | 0.030259 | 0.030259 | 0.030259 | 0.99626 | -0.071934 | 0.9966 | -0.065345 | 8.313
56 | -0.022263 | -0.0055858 | 0.022273 | 0.0055919 | 9.9594e-06 | 6.0737e-06 | 0.033597 | 0.033597 | 0.033597 | 0.98609 | -0.268 | 0.98657 | -0.25862 | 9.2299
57 | -0.0028413 | -0.0007121 | 0.0028415 | 0.00071194 | 1.3439e-07 | -1.6248e-07 | 0.0042885 | 0.0042884 | 0.0042885 | 0.98588 | -0.27212 | 0.98593 | -0.27113 | 1.1782
58 | -0.0028415 | -0.00071194 | 0.0028416 | 0.00071179 | 1.2698e-07 | -1.5355e-07 | 0.0042884 | 0.0042883 | 0.0042884 | 0.98593 | -0.27113 | 0.98598 | -0.27019 | 1.1781
59 | -0.0053997 | -0.0013529 | 0.0054001 | 0.001353 | 3.5444e-07 | 4.53e-08 | 0.008149 | 0.008149 | 0.008149 | 0.98598 | -0.27019 | 0.98605 | -0.26881 | 2.2387
60 | 0.0065193 | 0.001634 | -0.0065178 | -0.0016335 | 1.5633e-06 | 4.5011e-07 | 0.009833 | 0.0098331 | 0.0098331 | 0.98657 | -0.25862 | 0.98631 | -0.26365 | 2.7014

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.46017 | 0.11625

## res_load
| p_mw | q_mvar
0 | 0.011907 | 0.0029842
1 | 0.011743 | 0.0029432
2 | 0.023908 | 0.005992
3 | 0.010252 | 0.0025694
4 | 0.022885 | 0.0057355
5 | 0.02739 | 0.0068646
6 | 0.016228 | 0.0040672
7 | 0.0071654 | 0.0017958
8 | 0.0046504 | 0.0011655
9 | 0.0023101 | 0.00057897
10 | 0.0028214 | 0.00070712
11 | 0.0050602 | 0.0012682
12 | 0.0061054 | 0.0015302
13 | 0.010722 | 0.0026871
14 | 0.010528 | 0.0026387
15 | 0.013597 | 0.0034078
16 | 0.060598 | 0.015187
17 | 0.0046483 | 0.001165
18 | 0.060478 | 0.015157
19 | 0.015399 | 0.0038593
20 | 0.0048443 | 0.0012141
21 | 0.0024286 | 0.00060867
22 | 0.0024732 | 0.00061984
23 | 0.019959 | 0.0050023
24 | 0.0094776 | 0.0023753
25 | 0.012617 | 0.0031622
26 | 0.01611 | 0.0040376
27 | 0.016929 | 0.0042428
28 | 0.0030489 | 0.00076412
29 | 0.0032149 | 0.00080574
30 | 0.0060385 | 0.0015134
31 | 0.0041898 | 0.0010501
32 | 0.0028413 | 0.0007121
33 | 0.0025581 | 0.00064113
34 | 0.0024048 | 0.00060271
35 | 0.0065178 | 0.0016335
36 | 0.0050569 | 0.0012674
37 | 0.0059547 | 0.0014924

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1