## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-501_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-501_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-501_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-501_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-501_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-501_0_5_node_79 | 0.4 | n |  | TRUE
6 | bus_LV_261-501_0_5_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_261-501_0_5_node_78 | 0.4 | n |  | TRUE
8 | bus_LV_261-501_0_5_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_261-501_0_5_node_87 | 0.4 | n |  | TRUE
10 | bus_LV_261-501_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_261-501_0_5_node_92 | 0.4 | n |  | TRUE
12 | bus_LV_261-501_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_261-501_0_5_node_82 | 0.4 | n |  | TRUE
14 | bus_LV_261-501_0_5_node_91 | 0.4 | n |  | TRUE
15 | bus_LV_261-501_0_5_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_261-501_0_5_node_95 | 0.4 | n |  | TRUE
17 | bus_LV_261-501_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_261-501_0_5_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_261-501_0_5_node_96 | 0.4 | n |  | TRUE
20 | bus_LV_261-501_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_261-501_0_5_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_261-501_0_5_node_86 | 0.4 | n |  | TRUE
23 | bus_LV_261-501_0_5_node_85 | 0.4 | n |  | TRUE
24 | bus_LV_261-501_0_5_node_6 | 0.4 | n |  | TRUE
25 | bus_LV_261-501_0_5_node_5 | 0.4 | n |  | TRUE
26 | bus_LV_261-501_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_261-501_0_5_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_261-501_0_5_node_10 | 0.4 | n |  | TRUE
29 | bus_LV_261-501_0_5_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_261-501_0_5_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_261-501_0_5_node_11 | 0.4 | n |  | TRUE
32 | bus_LV_261-501_0_5_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_261-501_0_5_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_261-501_0_5_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_261-501_0_5_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_261-501_0_5_node_68 | 0.4 | n |  | TRUE
37 | bus_LV_261-501_0_5_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_261-501_0_5_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_261-501_0_5_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_261-501_0_5_node_17 | 0.4 | n |  | TRUE
41 | bus_LV_261-501_0_5_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_261-501_0_5_node_77 | 0.4 | n |  | TRUE
43 | bus_LV_261-501_0_5_node_93 | 0.4 | n |  | TRUE
44 | bus_LV_261-501_0_5_node_80 | 0.4 | n |  | TRUE
45 | bus_LV_261-501_0_5_node_90 | 0.4 | n |  | TRUE
46 | bus_LV_261-501_0_5_node_84 | 0.4 | n |  | TRUE
47 | bus_LV_261-501_0_5_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_261-501_0_5_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_261-501_0_5_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_261-501_0_5_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_261-501_0_5_node_76 | 0.4 | n |  | TRUE
52 | bus_LV_261-501_0_5_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_261-501_0_5_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_261-501_0_5_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_261-501_0_5_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_261-501_0_5_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_261-501_0_5_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_261-501_0_5_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_261-501_0_5_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_261-501_0_5_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_261-501_0_5_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_261-501_0_5_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_261-501_0_5_node_32 | 0.4 | n |  | TRUE
64 | bus_LV_261-501_0_5_node_31 | 0.4 | n |  | TRUE
65 | bus_LV_261-501_0_5_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_261-501_0_5_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_261-501_0_5_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_261-501_0_5_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_261-501_0_5_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_261-501_0_5_node_33 | 0.4 | n |  | TRUE
71 | bus_LV_261-501_0_5_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_261-501_0_5_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_261-501_0_5_node_40 | 0.4 | n |  | TRUE
74 | bus_LV_261-501_0_5_node_41 | 0.4 | n |  | TRUE
75 | bus_LV_261-501_0_5_node_46 | 0.4 | n |  | TRUE
76 | bus_LV_261-501_0_5_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_261-501_0_5_node_49 | 0.4 | n |  | TRUE
78 | bus_LV_261-501_0_5_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_261-501_0_5_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_261-501_0_5_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_261-501_0_5_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_261-501_0_5_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_261-501_0_5_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_261-501_0_5_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_261-501_0_5_node_89 | 0.4 | n |  | TRUE
86 | bus_LV_261-501_0_5_node_94 | 0.4 | n |  | TRUE
87 | bus_MV_528_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-501_0_5_load_0 | 0 | 0.0084697 | 0.0021227 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-501_0_5_load_1 | 1 | 0.011327 | 0.0028388 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-501_0_5_load_79 | 5 | 0.0062089 | 0.0015561 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-501_0_5_load_78 | 7 | 0.0024862 | 0.00062311 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-501_0_5_load_28 | 8 | 0.0071589 | 0.0017942 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-501_0_5_load_87 | 9 | 0.0020016 | 0.00050165 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-501_0_5_load_92 | 11 | 0.0098174 | 0.0024605 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-501_0_5_load_82 | 13 | 0.017746 | 0.0044477 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-501_0_5_load_91 | 14 | 0.0020025 | 0.00050188 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-501_0_5_load_95 | 16 | 0.0025643 | 0.00064267 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-501_0_5_load_96 | 19 | 0.0018569 | 0.00046538 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-501_0_5_load_86 | 22 | 0.039645 | 0.0099358 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-501_0_5_load_85 | 23 | 0.0030995 | 0.00077681 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-501_0_5_load_5 | 25 | 0.0030969 | 0.00077616 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-501_0_5_load_27 | 27 | 0.0020005 | 0.00050136 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-501_0_5_load_58 | 29 | 0.0035233 | 0.00088302 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-501_0_5_load_57 | 30 | 0.002844 | 0.00071277 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-501_0_5_load_59 | 32 | 0.0033101 | 0.00082959 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-501_0_5_load_69 | 34 | 0.0018583 | 0.00046572 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-501_0_5_load_39 | 35 | 0.0024876 | 0.00062346 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-501_0_5_load_68 | 36 | 0.013283 | 0.0033289 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-501_0_5_load_50 | 37 | 0.0018569 | 0.00046538 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-501_0_5_load_47 | 38 | 0.031847 | 0.0079817 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-501_0_5_load_51 | 39 | 0.0090872 | 0.0022775 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-501_0_5_load_42 | 41 | 0.0024862 | 0.00062311 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-501_0_5_load_77 | 42 | 0.0024869 | 0.00062327 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-501_0_5_load_93 | 43 | 0.0060909 | 0.0015265 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-501_0_5_load_80 | 44 | 0.0050314 | 0.001261 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-501_0_5_load_90 | 45 | 0.0020011 | 0.00050153 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-501_0_5_load_84 | 46 | 0.0030969 | 0.00077616 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-501_0_5_load_45 | 48 | 0.030035 | 0.0075275 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-501_0_5_load_72 | 49 | 0.0018588 | 0.00046587 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-501_0_5_load_38 | 50 | 0.050912 | 0.01276 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-501_0_5_load_76 | 51 | 0.001858 | 0.00046567 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-501_0_5_load_48 | 52 | 0.00186 | 0.00046616 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-501_0_5_load_56 | 55 | 0.0073653 | 0.0018459 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-501_0_5_load_63 | 56 | 0.0065391 | 0.0016389 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-501_0_5_load_35 | 58 | 0.00087227 | 0.00021861 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-501_0_5_load_53 | 60 | 0.0072298 | 0.001812 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-501_0_5_load_43 | 61 | 0.014678 | 0.0036785 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-501_0_5_load_32 | 63 | 0.0042239 | 0.0010586 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-501_0_5_load_31 | 64 | 0.005277 | 0.0013225 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-501_0_5_load_66 | 65 | 0.0077482 | 0.0019419 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-501_0_5_load_65 | 66 | 0.0087994 | 0.0022053 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-501_0_5_load_73 | 67 | 0.0043768 | 0.0010969 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-501_0_5_load_74 | 68 | 0.0043778 | 0.0010972 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-501_0_5_load_64 | 69 | 0.0080102 | 0.0020075 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-501_0_5_load_33 | 70 | 0.0029503 | 0.00073942 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-501_0_5_load_55 | 71 | 0.0081822 | 0.0020507 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-501_0_5_load_54 | 72 | 0.0077133 | 0.0019331 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-501_0_5_load_40 | 73 | 0.0024872 | 0.00062334 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-501_0_5_load_41 | 74 | 0.0024876 | 0.00062346 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-501_0_5_load_46 | 75 | 0.0058405 | 0.0014638 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-501_0_5_load_62 | 76 | 0.0095604 | 0.0023961 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-501_0_5_load_49 | 77 | 0.0018583 | 0.00046572 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-501_0_5_load_70 | 78 | 0.0018588 | 0.00046587 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-501_0_5_load_71 | 79 | 0.0018583 | 0.00046572 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_261-501_0_5_load_75 | 80 | 0.001858 | 0.00046567 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_261-501_0_5_load_67 | 81 | 0.00096104 | 0.00024086 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_261-501_0_5_load_88 | 82 | 0.0020016 | 0.00050165 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_261-501_0_5_load_81 | 83 | 0.0030983 | 0.00077651 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_261-501_0_5_load_83 | 84 | 0.0030983 | 0.00077651 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_261-501_0_5_load_89 | 85 | 0.0020022 | 0.00050181 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_261-501_0_5_load_94 | 86 | 0.021337 | 0.0053476 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-501_0_5_line_0 |  | 0 | 1 | 0.02643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-501_0_5_line_1 |  | 0 | 2 | 0.31107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-501_0_5_line_2 |  | 1 | 3 | 0.021586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-501_0_5_line_3 |  | 2 | 4 | 0.22613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-501_0_5_line_4 |  | 3 | 5 | 0.016051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_261-501_0_5_line_5 |  | 3 | 6 | 0.030744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-501_0_5_line_6 |  | 3 | 7 | 0.019636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-501_0_5_line_7 |  | 4 | 8 | 0.078158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-501_0_5_line_8 |  | 5 | 9 | 0.018443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_261-501_0_5_line_9 |  | 6 | 41 | 0.014012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-501_0_5_line_10 |  | 7 | 42 | 0.0072697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-501_0_5_line_11 |  | 9 | 82 | 0.0072286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_261-501_0_5_line_12 |  | 10 | 11 | 0.02436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-501_0_5_line_13 |  | 10 | 12 | 0.030285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_261-501_0_5_line_14 |  | 10 | 13 | 0.016281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-501_0_5_line_15 |  | 10 | 14 | 0.020041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_261-501_0_5_line_16 |  | 11 | 43 | 0.023413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-501_0_5_line_17 |  | 12 | 26 | 0.036512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_261-501_0_5_line_18 |  | 12 | 27 | 0.014118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-501_0_5_line_19 |  | 13 | 44 | 0.01787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-501_0_5_line_20 |  | 14 | 45 | 0.0072263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_261-501_0_5_line_21 |  | 15 | 16 | 0.012146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-501_0_5_line_22 |  | 15 | 17 | 0.030903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-501_0_5_line_23 |  | 17 | 34 | 0.018018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-501_0_5_line_24 |  | 17 | 35 | 0.034862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-501_0_5_line_25 |  | 17 | 36 | 0.022335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-501_0_5_line_26 |  | 18 | 19 | 0.014729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-501_0_5_line_27 |  | 18 | 20 | 0.031481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-501_0_5_line_28 |  | 20 | 37 | 0.017366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-501_0_5_line_29 |  | 20 | 38 | 0.030059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-501_0_5_line_30 |  | 21 | 22 | 0.033064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-501_0_5_line_31 |  | 21 | 23 | 0.017653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-501_0_5_line_32 |  | 21 | 24 | 0.03582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-501_0_5_line_33 |  | 23 | 46 | 0.0072609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-501_0_5_line_34 |  | 24 | 25 | 0.013842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-501_0_5_line_35 |  | 26 | 39 | 0.036413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-501_0_5_line_36 |  | 26 | 31 | 0.04922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-501_0_5_line_37 |  | 28 | 29 | 0.019721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-501_0_5_line_38 |  | 28 | 30 | 0.036513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-501_0_5_line_39 |  | 30 | 40 | 0.023715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-501_0_5_line_40 |  | 31 | 32 | 0.057416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-501_0_5_line_41 |  | 31 | 33 | 0.092009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-501_0_5_line_42 |  | 32 | 40 | 0.032095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-501_0_5_line_43 |  | 33 | 47 | 0.031162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-501_0_5_line_44 |  | 33 | 48 | 0.037358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-501_0_5_line_45 |  | 34 | 49 | 0.0063591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-501_0_5_line_46 |  | 35 | 50 | 0.0030701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-501_0_5_line_47 |  | 37 | 51 | 0.0063316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-501_0_5_line_48 |  | 38 | 52 | 0.0049427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-501_0_5_line_49 |  | 39 | 53 | 0.017019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-501_0_5_line_50 |  | 42 | 74 | 0.0072716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-501_0_5_line_51 |  | 43 | 86 | 0.00049067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-501_0_5_line_52 |  | 44 | 83 | 0.0072629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-501_0_5_line_53 |  | 45 | 85 | 0.0072246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_261-501_0_5_line_54 |  | 46 | 84 | 0.0072601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-501_0_5_line_55 |  | 47 | 76 | 0.046039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-501_0_5_line_56 |  | 47 | 75 | 0.014531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-501_0_5_line_57 |  | 49 | 79 | 0.0063591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-501_0_5_line_58 |  | 50 | 73 | 0.0042013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-501_0_5_line_59 |  | 51 | 80 | 0.0063335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-501_0_5_line_60 |  | 52 | 77 | 0.006361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-501_0_5_line_61 |  | 53 | 72 | 0.013944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-501_0_5_line_62 |  | 53 | 54 | 0.023435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-501_0_5_line_63 |  | 53 | 60 | 0.0083655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-501_0_5_line_64 |  | 54 | 55 | 0.016233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-501_0_5_line_65 |  | 54 | 56 | 0.025648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-501_0_5_line_66 |  | 55 | 71 | 0.00024536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-501_0_5_line_67 |  | 56 | 69 | 0.011212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-501_0_5_line_68 |  | 57 | 58 | 0.049471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-501_0_5_line_69 |  | 57 | 59 | 0.0252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-501_0_5_line_70 |  | 59 | 71 | 0.015994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-501_0_5_line_71 |  | 59 | 70 | 0.0066468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-501_0_5_line_72 |  | 61 | 62 | 0.024327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-501_0_5_line_73 |  | 62 | 75 | 0.066135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-501_0_5_line_74 |  | 63 | 64 | 0.010438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-501_0_5_line_75 |  | 64 | 70 | 0.015148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-501_0_5_line_76 |  | 65 | 66 | 0.022404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_261-501_0_5_line_77 |  | 66 | 72 | 0.022318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-501_0_5_line_78 |  | 67 | 68 | 0.0063299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_261-501_0_5_line_79 |  | 68 | 80 | 0.0063307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_261-501_0_5_line_80 |  | 73 | 74 | 0.0072715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_261-501_0_5_line_81 |  | 76 | 81 | 0.0031921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_261-501_0_5_line_82 |  | 77 | 78 | 0.0063591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_261-501_0_5_line_83 |  | 78 | 79 | 0.0063591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_261-501_0_5_line_84 |  | 82 | 85 | 0.0072262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_261-501_0_5_line_85 |  | 83 | 84 | 0.0072619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-501_0_5_trafo_79 | 0.63 MVA 20/0.4 kV | 87 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2682591.2604 | 1252379.8921 | 2682596.167 | 1252353.9219
1 | 2682596.3281 | 1252669.0316 | 2682602.6551 | 1252603.3817 | 2682607.7344 | 1252534.6677 | 2682611.6973 | 1252425.8859 | 2682583.6687 | 1252417.1109 | 2682584.4635 | 1252413.1523 | 2682586.9406 | 1252402.7568 | 2682591.2604 | 1252379.8921
2 | 2682600.1744 | 1252332.7111 | 2682596.167 | 1252353.9219
3 | 2682399.8611 | 1252575.6708 | 2682458.484 | 1252612.1469 | 2682502.4918 | 1252639.6579 | 2682574.1448 | 1252669.7897 | 2682595.169 | 1252674.7642 | 2682596.3281 | 1252669.0316
4 | 2682600.1744 | 1252332.7111 | 2682589.9981 | 1252330.7233 | 2682584.4293 | 1252329.5949
5 | 2682600.1744 | 1252332.7111 | 2682604.6448 | 1252309.2781 | 2682611.4037 | 1252310.6066
6 | 2682600.1744 | 1252332.7111 | 2682619.4264 | 1252336.5756
7 | 2682399.8611 | 1252575.6708 | 2682382.6567 | 1252642.7374 | 2682381.4745 | 1252651.5788
8 | 2682566.3272 | 1252326.0666 | 2682577.5049 | 1252328.1918 | 2682584.4293 | 1252329.5949
9 | 2682611.4037 | 1252310.6066 | 2682608.8393 | 1252324.3821
10 | 2682626.5539 | 1252338.0063 | 2682619.4264 | 1252336.5756
11 | 2682566.3272 | 1252326.0666 | 2682559.2259 | 1252324.7165
12 | 2682518.2418 | 1252316.9244 | 2682513.593 | 1252340.8372
13 | 2682518.2418 | 1252316.9244 | 2682522.746 | 1252293.7476 | 2682529.3024 | 1252294.9954
14 | 2682518.2418 | 1252316.9244 | 2682508.2668 | 1252315.1175 | 2682502.2311 | 1252313.971
15 | 2682518.2418 | 1252316.9244 | 2682537.9303 | 1252320.6677
16 | 2682513.593 | 1252340.8372 | 2682509.125 | 1252363.8204
17 | 2682529.3024 | 1252294.9954 | 2682530.3791 | 1252288.6834 | 2682537.8522 | 1252290.222 | 2682547.9637 | 1252289.8181 | 2682546.9365 | 1252285.0002 | 2682543.9707 | 1252286.0597 | 2682539.6952 | 1252285.7888
18 | 2682529.3024 | 1252294.9954 | 2682526.9308 | 1252308.9131
19 | 2682484.6701 | 1252310.6614 | 2682495.696 | 1252312.7296 | 2682502.2311 | 1252313.971
20 | 2682545.0294 | 1252322.0174 | 2682537.9303 | 1252320.6677
21 | 2682691.3424 | 1252338.3757 | 2682693.6072 | 1252326.4428
22 | 2682682.2095 | 1252348.6893 | 2682686.8634 | 1252325.1144 | 2682693.6072 | 1252326.4428
23 | 2682682.2095 | 1252348.6893 | 2682699.8925 | 1252352.1498
24 | 2682682.2095 | 1252348.6893 | 2682671.2957 | 1252346.5577 | 2682659.1123 | 1252344.5418 | 2682647.9418 | 1252342.2995
25 | 2682682.2095 | 1252348.6893 | 2682677.8887 | 1252370.6024
26 | 2682773.8422 | 1252356.7302 | 2682776.9341 | 1252342.3292
27 | 2682765.4637 | 1252364.897 | 2682769.9799 | 1252340.9311 | 2682776.9341 | 1252342.3292
28 | 2682765.4637 | 1252364.897 | 2682782.5392 | 1252368.0597
29 | 2682765.4637 | 1252364.897 | 2682755.5347 | 1252363.0459 | 2682741.3169 | 1252360.2563 | 2682735.9485 | 1252359.2058
30 | 2682438.7716 | 1252302.0517 | 2682432.6749 | 1252334.5489
31 | 2682438.7716 | 1252302.0517 | 2682456.1222 | 1252305.3063
32 | 2682447.715 | 1252279.3035 | 2682441.1195 | 1252275.987 | 2682436.423 | 1252301.6075 | 2682438.7716 | 1252302.0517
33 | 2682463.2587 | 1252306.645 | 2682456.1222 | 1252305.3063
34 | 2682447.715 | 1252279.3035 | 2682445.0134 | 1252292.8794
35 | 2682539.6952 | 1252285.7888 | 2682539.9322 | 1252276.3628 | 2682525.8719 | 1252273.6205 | 2682523.1597 | 1252261.2559
36 | 2682539.6952 | 1252285.7888 | 2682543.9707 | 1252286.0597 | 2682546.9365 | 1252285.0002 | 2682549.0285 | 1252282.1939 | 2682550.1834 | 1252278.396 | 2682558.3836 | 1252277.0426 | 2682564.9556 | 1252276.089 | 2682563.9524 | 1252271.7162 | 2682562.0278 | 1252262.5158 | 2682563.5472 | 1252261.8031 | 2682567.3455 | 1252261.6671
37 | 2682567.3282 | 1252112.9667 | 2682567.5556 | 1252121.0203 | 2682566.6571 | 1252124.8329 | 2682565.0792 | 1252128.1134 | 2682562.4836 | 1252131.3018
38 | 2682562.4836 | 1252131.3018 | 2682565.2612 | 1252133.4643 | 2682568.5125 | 1252137.913 | 2682570.3083 | 1252143.3643 | 2682572.4517 | 1252165.0018
39 | 2682574.757 | 1252188.6046 | 2682574.3376 | 1252184.0397 | 2682572.4517 | 1252165.0018
40 | 2682567.3455 | 1252261.6671 | 2682569.6475 | 1252259.4975 | 2682584.7029 | 1252257.4502 | 2682582.0139 | 1252218.484
41 | 2682654.6364 | 1252273.7374 | 2682649.8467 | 1252275.1495 | 2682618.5767 | 1252276.3143 | 2682609.2139 | 1252271.7359 | 2682590.3372 | 1252273.4074 | 2682575.4125 | 1252269.3297 | 2682567.3455 | 1252261.6671
42 | 2682574.757 | 1252188.6046 | 2682580.3833 | 1252194.8543 | 2682582.0139 | 1252218.484
43 | 2682685.7503 | 1252270.7804 | 2682654.6364 | 1252273.7374
44 | 2682654.6364 | 1252273.7374 | 2682651.8643 | 1252236.4827
45 | 2682706.1332 | 1252353.3711 | 2682699.8925 | 1252352.1498
46 | 2682647.9418 | 1252342.2995 | 2682644.9317 | 1252341.6953
47 | 2682788.7649 | 1252369.2128 | 2682782.5392 | 1252368.0597
48 | 2682735.9485 | 1252359.2058 | 2682731.0978 | 1252358.2565
49 | 2682519.5134 | 1252244.6325 | 2682523.1597 | 1252261.2559
50 | 2682633.6833 | 1252339.4374 | 2682626.5539 | 1252338.0063
51 | 2682509.0314 | 1252364.302 | 2682509.125 | 1252363.8204
52 | 2682484.6701 | 1252310.6614 | 2682477.5318 | 1252309.3223
53 | 2682552.1269 | 1252323.3668 | 2682545.0294 | 1252322.0174
54 | 2682470.3943 | 1252307.9835 | 2682463.2587 | 1252306.645
55 | 2682685.7503 | 1252270.7804 | 2682731.6494 | 1252267.1997
56 | 2682685.7503 | 1252270.7804 | 2682684.2388 | 1252256.328
57 | 2682712.3739 | 1252354.5923 | 2682706.1332 | 1252353.3711
58 | 2682640.8126 | 1252340.8684 | 2682644.9317 | 1252341.6953
59 | 2682794.9925 | 1252370.3663 | 2682788.7649 | 1252369.2128
60 | 2682731.0978 | 1252358.2565 | 2682724.8552 | 1252357.0349
61 | 2682519.5134 | 1252244.6325 | 2682505.7712 | 1252246.9948
62 | 2682515.1927 | 1252221.5995 | 2682516.8859 | 1252230.6188 | 2682519.1905 | 1252242.8934 | 2682519.5134 | 1252244.6325
63 | 2682519.5134 | 1252244.6325 | 2682527.7279 | 1252243.0502
64 | 2682515.1927 | 1252221.5995 | 2682513.4624 | 1252211.9905 | 2682512.3161 | 1252205.6231
65 | 2682515.1927 | 1252221.5995 | 2682489.9107 | 1252225.9156
66 | 2682512.3161 | 1252205.6231 | 2682512.2727 | 1252205.3816
67 | 2682489.9107 | 1252225.9156 | 2682478.8589 | 1252227.8022
68 | 2682534.3195 | 1252185.2053 | 2682525.3373 | 1252136.5563
69 | 2682509.4415 | 1252189.64 | 2682529.1538 | 1252185.9784 | 2682530.1068 | 1252185.836 | 2682534.3195 | 1252185.2053
70 | 2682509.4415 | 1252189.64 | 2682511.1366 | 1252199.0707 | 2682512.2727 | 1252205.3816
71 | 2682509.4415 | 1252189.64 | 2682508.3328 | 1252183.0863
72 | 2682681.6496 | 1252190.4186 | 2682680.0358 | 1252166.1454
73 | 2682681.6496 | 1252190.4186 | 2682684.7185 | 1252236.5737 | 2682683.3733 | 1252248.0524 | 2682684.2388 | 1252256.328
74 | 2682483.0985 | 1252187.3139 | 2682493.393 | 1252185.5892
75 | 2682508.3328 | 1252183.0863 | 2682508.3328 | 1252183.0863 | 2682493.393 | 1252185.5892
76 | 2682483.7753 | 1252250.7758 | 2682461.6951 | 1252254.5714
77 | 2682505.7712 | 1252246.9948 | 2682483.7753 | 1252250.7758
78 | 2682807.4414 | 1252372.6721 | 2682801.2174 | 1252371.5193
79 | 2682801.2174 | 1252371.5193 | 2682794.9925 | 1252370.3663
80 | 2682640.8126 | 1252340.8684 | 2682633.6833 | 1252339.4374
81 | 2682734.8318 | 1252266.9515 | 2682731.6494 | 1252267.1997
82 | 2682724.8552 | 1252357.0349 | 2682718.6146 | 1252355.8136
83 | 2682718.6146 | 1252355.8136 | 2682712.3739 | 1252354.5923
84 | 2682559.2259 | 1252324.7165 | 2682552.1269 | 1252323.3668
85 | 2682477.5318 | 1252309.3223 | 2682470.3943 | 1252307.9835

## bus_geodata
| x | y | coords
0 | 2682591.2604 | 1252379.8921
1 | 2682596.167 | 1252353.9219
2 | 2682596.3281 | 1252669.0316
3 | 2682600.1744 | 1252332.7111
4 | 2682399.8611 | 1252575.6708
5 | 2682584.4293 | 1252329.5949
6 | 2682611.4037 | 1252310.6066
7 | 2682619.4264 | 1252336.5756
8 | 2682381.4745 | 1252651.5788
9 | 2682566.3272 | 1252326.0666
10 | 2682518.2418 | 1252316.9244
11 | 2682513.593 | 1252340.8372
12 | 2682529.3024 | 1252294.9954
13 | 2682502.2311 | 1252313.971
14 | 2682537.9303 | 1252320.6677
15 | 2682693.6072 | 1252326.4428
16 | 2682691.3424 | 1252338.3757
17 | 2682682.2095 | 1252348.6893
18 | 2682776.9341 | 1252342.3292
19 | 2682773.8422 | 1252356.7302
20 | 2682765.4637 | 1252364.897
21 | 2682438.7716 | 1252302.0517
22 | 2682432.6749 | 1252334.5489
23 | 2682456.1222 | 1252305.3063
24 | 2682447.715 | 1252279.3035
25 | 2682445.0134 | 1252292.8794
26 | 2682539.6952 | 1252285.7888
27 | 2682526.9308 | 1252308.9131
28 | 2682562.4836 | 1252131.3018
29 | 2682567.3282 | 1252112.9667
30 | 2682572.4517 | 1252165.0018
31 | 2682567.3455 | 1252261.6671
32 | 2682582.0139 | 1252218.484
33 | 2682654.6364 | 1252273.7374
34 | 2682699.8925 | 1252352.1498
35 | 2682647.9418 | 1252342.2995
36 | 2682677.8887 | 1252370.6024
37 | 2682782.5392 | 1252368.0597
38 | 2682735.9485 | 1252359.2058
39 | 2682523.1597 | 1252261.2559
40 | 2682574.757 | 1252188.6046
41 | 2682608.8393 | 1252324.3821
42 | 2682626.5539 | 1252338.0063
43 | 2682509.125 | 1252363.8204
44 | 2682484.6701 | 1252310.6614
45 | 2682545.0294 | 1252322.0174
46 | 2682463.2587 | 1252306.645
47 | 2682685.7503 | 1252270.7804
48 | 2682651.8643 | 1252236.4827
49 | 2682706.1332 | 1252353.3711
50 | 2682644.9317 | 1252341.6953
51 | 2682788.7649 | 1252369.2128
52 | 2682731.0978 | 1252358.2565
53 | 2682519.5134 | 1252244.6325
54 | 2682515.1927 | 1252221.5995
55 | 2682512.3161 | 1252205.623
56 | 2682489.9107 | 1252225.9156
57 | 2682534.3195 | 1252185.2053
58 | 2682525.3373 | 1252136.5563
59 | 2682509.4415 | 1252189.64
60 | 2682527.7279 | 1252243.0502
61 | 2682680.0358 | 1252166.1454
62 | 2682681.6496 | 1252190.4186
63 | 2682483.0985 | 1252187.3139
64 | 2682493.393 | 1252185.5892
65 | 2682461.6951 | 1252254.5714
66 | 2682483.7753 | 1252250.7758
67 | 2682807.4414 | 1252372.6721
68 | 2682801.2174 | 1252371.5193
69 | 2682478.8589 | 1252227.8022
70 | 2682508.3328 | 1252183.0863
71 | 2682512.2727 | 1252205.3816
72 | 2682505.7712 | 1252246.9948
73 | 2682640.8126 | 1252340.8684
74 | 2682633.6833 | 1252339.4374
75 | 2682684.2388 | 1252256.328
76 | 2682731.6494 | 1252267.1997
77 | 2682724.8552 | 1252357.0349
78 | 2682718.6146 | 1252355.8136
79 | 2682712.3739 | 1252354.5923
80 | 2682794.9925 | 1252370.3663
81 | 2682734.8318 | 1252266.9515
82 | 2682559.2259 | 1252324.7165
83 | 2682477.5318 | 1252309.3223
84 | 2682470.3943 | 1252307.9835
85 | 2682552.1269 | 1252323.3668
86 | 2682509.0314 | 1252364.302
87 | 2682600.1744 | 1252332.7111

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99786 | -0.040925 | 0.0084697 | 0.0021227
1 | 0.99824 | -0.033688 | 0.011327 | 0.0028388
2 | 0.99583 | -0.08007 | 0 | 0
3 | 0.99877 | -0.023508 | 0 | 0
4 | 0.99436 | -0.10859 | 0 | 0
5 | 1 | 0 | -0.45601 | -0.11564
6 | 0.9987 | -0.024844 | 0 | 0
7 | 0.99628 | -0.071106 | 0.0024862 | 0.00062311
8 | 0.99384 | -0.11846 | 0.0071589 | 0.0017942
9 | 0.99841 | -0.030261 | 0.0020016 | 0.00050165
10 | 0.99428 | -0.10901 | 0 | 0
11 | 0.99345 | -0.12502 | 0.0098174 | 0.0024605
12 | 0.99282 | -0.13696 | 0 | 0
13 | 0.99312 | -0.1314 | 0.017746 | 0.0044477
14 | 0.99595 | -0.077035 | 0.0020025 | 0.00050188
15 | 0.99043 | -0.18385 | 0 | 0
16 | 0.9904 | -0.18441 | 0.0025643 | 0.00064267
17 | 0.9905 | -0.18245 | 0 | 0
18 | 0.98724 | -0.24579 | 0 | 0
19 | 0.98721 | -0.24628 | 0.0018569 | 0.00046538
20 | 0.98729 | -0.24474 | 0 | 0
21 | 0.9901 | -0.18983 | 0 | 0
22 | 0.9889 | -0.21317 | 0.039645 | 0.0099358
23 | 0.99079 | -0.17643 | 0.0030995 | 0.00077681
24 | 0.99 | -0.19181 | 0 | 0
25 | 0.98996 | -0.19257 | 0.0030969 | 0.00077616
26 | 0.99022 | -0.18705 | 0 | 0
27 | 0.9928 | -0.13746 | 0.0020005 | 0.00050136
28 | 0.98604 | -0.2678 | 0 | 0
29 | 0.98598 | -0.26904 | 0.0035233 | 0.00088302
30 | 0.98616 | -0.26549 | 0.002844 | 0.00071277
31 | 0.987 | -0.24917 | 0 | 0
32 | 0.98649 | -0.25912 | 0.0033101 | 0.00082959
33 | 0.9818 | -0.35026 | 0 | 0
34 | 0.98952 | -0.20141 | 0.0018583 | 0.00046572
35 | 0.9929 | -0.13608 | 0.0024876 | 0.00062346
36 | 0.99023 | -0.18772 | 0.013283 | 0.0033289
37 | 0.98706 | -0.24919 | 0.0018569 | 0.00046538
38 | 0.98774 | -0.23605 | 0.031847 | 0.0079817
39 | 0.9874 | -0.24158 | 0.0090872 | 0.0022775
40 | 0.9863 | -0.26278 | 0 | 0
41 | 0.99867 | -0.025453 | 0.0024862 | 0.00062311
42 | 0.99537 | -0.088471 | 0.0024869 | 0.00062327
43 | 0.99287 | -0.13637 | 0.0060909 | 0.0015265
44 | 0.99214 | -0.15042 | 0.0050314 | 0.001261
45 | 0.99656 | -0.065447 | 0.0020011 | 0.00050153
46 | 0.9911 | -0.17052 | 0.0030969 | 0.00077616
47 | 0.9809 | -0.36777 | 0 | 0
48 | 0.98076 | -0.37057 | 0.030035 | 0.0075275
49 | 0.98919 | -0.2079 | 0.0018588 | 0.00046587
50 | 0.99312 | -0.13188 | 0.050912 | 0.01276
51 | 0.98699 | -0.25061 | 0.001858 | 0.00046567
52 | 0.98796 | -0.2318 | 0.00186 | 0.00046616
53 | 0.98623 | -0.2644 | 0 | 0
54 | 0.98529 | -0.28266 | 0 | 0
55 | 0.98486 | -0.29108 | 0.0073653 | 0.0018459
56 | 0.98495 | -0.28936 | 0.0065391 | 0.0016389
57 | 0.98464 | -0.2954 | 0 | 0
58 | 0.9846 | -0.29617 | 0.00087227 | 0.00021861
59 | 0.98466 | -0.295 | 0 | 0
60 | 0.98617 | -0.26549 | 0.0072298 | 0.001812
61 | 0.9794 | -0.39727 | 0.014678 | 0.0036785
62 | 0.97973 | -0.39078 | 0 | 0
63 | 0.98441 | -0.29987 | 0.0042239 | 0.0010586
64 | 0.98445 | -0.29908 | 0.005277 | 0.0013225
65 | 0.98542 | -0.28021 | 0.0077482 | 0.0019419
66 | 0.98558 | -0.27709 | 0.0087994 | 0.0022053
67 | 0.98685 | -0.2533 | 0.0043768 | 0.0010969
68 | 0.98688 | -0.2528 | 0.0043778 | 0.0010972
69 | 0.98487 | -0.29097 | 0.0080102 | 0.0020075
70 | 0.98458 | -0.29649 | 0.0029503 | 0.00073942
71 | 0.98485 | -0.29117 | 0.0081822 | 0.0020507
72 | 0.98592 | -0.27047 | 0.0077133 | 0.0019331
73 | 0.99361 | -0.12234 | 0.0024872 | 0.00062334
74 | 0.99449 | -0.10555 | 0.0024876 | 0.00062346
75 | 0.98063 | -0.37317 | 0.0058405 | 0.0014638
76 | 0.98045 | -0.37655 | 0.0095604 | 0.0023961
77 | 0.98825 | -0.22614 | 0.0018583 | 0.00046572
78 | 0.98855 | -0.22027 | 0.0018588 | 0.00046587
79 | 0.98886 | -0.21419 | 0.0018583 | 0.00046572
80 | 0.98693 | -0.25181 | 0.001858 | 0.00046567
81 | 0.98045 | -0.3766 | 0.00096104 | 0.00024086
82 | 0.99779 | -0.042063 | 0.0020016 | 0.00050165
83 | 0.99177 | -0.15752 | 0.0030983 | 0.00077651
84 | 0.99142 | -0.16422 | 0.0030983 | 0.00077651
85 | 0.99717 | -0.053791 | 0.0020022 | 0.00050181
86 | 0.99286 | -0.13655 | 0.021337 | 0.0053476
87 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.015655 | -0.0039259 | 0.015661 | 0.003929 | 5.4018e-06 | 3.1118e-06 | 0.023346 | 0.023346 | 0.023346 | 0.99786 | -0.040925 | 0.99824 | -0.033688 | 6.4137
1 | 0.0071854 | 0.0018032 | -0.007172 | -0.0017986 | 1.3397e-05 | 4.5185e-06 | 0.010716 | 0.010717 | 0.010717 | 0.99786 | -0.040925 | 0.99583 | -0.08007 | 2.9443
2 | -0.026988 | -0.0067678 | 0.027001 | 0.0067759 | 1.3101e-05 | 8.1024e-06 | 0.04023 | 0.04023 | 0.04023 | 0.99824 | -0.033688 | 0.99877 | -0.023508 | 11.0523
3 | 0.007172 | 0.0017986 | -0.0071623 | -0.0017953 | 9.7407e-06 | 3.2964e-06 | 0.010717 | 0.010718 | 0.010718 | 0.99583 | -0.08007 | 0.99436 | -0.10859 | 2.9446
4 | -0.16891 | -0.042744 | 0.1691 | 0.042866 | 0.00019081 | 0.0001217 | 0.2518 | 0.2518 | 0.2518 | 0.99877 | -0.023508 | 1 | 0 | 34.5875
5 | 0.0024865 | 0.00062267 | -0.0024863 | -0.00062297 | 1.582e-07 | -3.0107e-07 | 0.0037043 | 0.0037044 | 0.0037044 | 0.99877 | -0.023508 | 0.9987 | -0.024844 | 1.0177
6 | 0.13942 | 0.035345 | -0.13911 | -0.035142 | 0.00031815 | 0.00020336 | 0.20786 | 0.20786 | 0.20786 | 0.99877 | -0.023508 | 0.99628 | -0.071106 | 57.1051
7 | 0.0071623 | 0.0017953 | -0.0071589 | -0.0017942 | 3.3672e-06 | 1.1417e-06 | 0.010718 | 0.010719 | 0.010719 | 0.99436 | -0.10859 | 0.99384 | -0.11846 | 2.9447
8 | 0.28526 | 0.072777 | -0.28485 | -0.072512 | 0.00041627 | 0.00026569 | 0.42493 | 0.42493 | 0.42493 | 1 | 0 | 0.99841 | -0.030261 | 38.9129
9 | 0.0024863 | 0.00062297 | -0.0024862 | -0.00062311 | 7.2108e-08 | -1.372e-07 | 0.0037044 | 0.0037045 | 0.0037045 | 0.9987 | -0.024844 | 0.99867 | -0.025453 | 1.0177
10 | 0.13662 | 0.034519 | -0.13651 | -0.034446 | 0.00011362 | 7.262e-05 | 0.20415 | 0.20415 | 0.20415 | 0.99628 | -0.071106 | 0.99537 | -0.088471 | 56.0849
11 | 0.28284 | 0.07201 | -0.28268 | -0.071907 | 0.00016087 | 0.00010267 | 0.42195 | 0.42195 | 0.42195 | 0.99841 | -0.030261 | 0.99779 | -0.042063 | 38.6397
12 | 0.037289 | 0.0093618 | -0.037261 | -0.0093439 | 2.8455e-05 | 1.7896e-05 | 0.055812 | 0.055812 | 0.055812 | 0.99428 | -0.10901 | 0.99345 | -0.12502 | 15.3329
13 | 0.15831 | 0.040271 | -0.1581 | -0.040136 | 0.00021287 | 0.00013506 | 0.23714 | 0.23714 | 0.23714 | 0.99428 | -0.10901 | 0.99282 | -0.13696 | 21.7157
14 | 0.078186 | 0.0197 | -0.078102 | -0.019646 | 8.3644e-05 | 5.3321e-05 | 0.11705 | 0.11705 | 0.11705 | 0.99428 | -0.10901 | 0.99312 | -0.1314 | 32.156
15 | -0.27379 | -0.069332 | 0.27421 | 0.069601 | 0.0004211 | 0.00026872 | 0.40999 | 0.40999 | 0.40999 | 0.99428 | -0.10901 | 0.99595 | -0.077035 | 37.5452
16 | 0.027443 | 0.0068835 | -0.027428 | -0.0068743 | 1.4836e-05 | 9.1923e-06 | 0.041107 | 0.041107 | 0.041107 | 0.99345 | -0.12502 | 0.99287 | -0.13637 | 11.2932
17 | 0.1561 | 0.039635 | -0.15572 | -0.039395 | 0.0003753 | 0.00023925 | 0.23414 | 0.23414 | 0.23414 | 0.99282 | -0.13696 | 0.99022 | -0.18705 | 32.1618
18 | 0.0020005 | 0.00050121 | -0.0020005 | -0.00050136 | 4.7594e-08 | -1.5211e-07 | 0.0029982 | 0.0029983 | 0.0029983 | 0.99282 | -0.13696 | 0.9928 | -0.13746 | 0.82371
19 | 0.060356 | 0.015199 | -0.060301 | -0.015164 | 5.4834e-05 | 3.4863e-05 | 0.090458 | 0.090458 | 0.090458 | 0.99312 | -0.1314 | 0.99214 | -0.15042 | 24.8511
20 | -0.27621 | -0.070103 | 0.27636 | 0.070201 | 0.00015406 | 9.8317e-05 | 0.41299 | 0.41299 | 0.41299 | 0.99595 | -0.077035 | 0.99656 | -0.065447 | 37.8192
21 | 0.0025643 | 0.00064256 | -0.0025643 | -0.00064267 | 6.7606e-08 | -1.1304e-07 | 0.0038526 | 0.0038527 | 0.0038527 | 0.99043 | -0.18385 | 0.9904 | -0.18441 | 1.0584
22 | -0.0025643 | -0.00064256 | 0.0025645 | 0.00064227 | 1.72e-07 | -2.8765e-07 | 0.0038526 | 0.0038525 | 0.0038526 | 0.99043 | -0.18385 | 0.9905 | -0.18245 | 1.0584
23 | 0.059337 | 0.014929 | -0.059284 | -0.014895 | 5.3717e-05 | 3.4147e-05 | 0.089162 | 0.089162 | 0.089162 | 0.9905 | -0.18245 | 0.98952 | -0.20141 | 24.4951
24 | -0.075188 | -0.018902 | 0.075355 | 0.019008 | 0.00016686 | 0.00010634 | 0.11297 | 0.11297 | 0.11297 | 0.9905 | -0.18245 | 0.9929 | -0.13608 | 31.0369
25 | 0.013286 | 0.0033308 | -0.013283 | -0.0033289 | 3.3367e-06 | 1.8481e-06 | 0.01996 | 0.01996 | 0.01996 | 0.9905 | -0.18245 | 0.99023 | -0.18772 | 5.4834
26 | 0.0018569 | 0.00046522 | -0.0018569 | -0.00046538 | 4.3266e-08 | -1.6064e-07 | 0.0027988 | 0.0027988 | 0.0027988 | 0.98724 | -0.24579 | 0.98721 | -0.24628 | 0.76891
27 | -0.0018569 | -0.00046522 | 0.001857 | 0.00046487 | 9.2469e-08 | -3.4338e-07 | 0.0027988 | 0.0027986 | 0.0027988 | 0.98724 | -0.24579 | 0.98729 | -0.24474 | 0.76889
28 | 0.014333 | 0.0035935 | -0.01433 | -0.0035918 | 3.039e-06 | 1.7229e-06 | 0.021602 | 0.021602 | 0.021602 | 0.98729 | -0.24474 | 0.98706 | -0.24919 | 5.9347
29 | -0.01619 | -0.0040584 | 0.016196 | 0.0040623 | 6.7114e-06 | 3.9107e-06 | 0.024401 | 0.024401 | 0.024401 | 0.98729 | -0.24474 | 0.98774 | -0.23605 | 6.7035
30 | 0.039689 | 0.0099637 | -0.039645 | -0.0099358 | 4.4123e-05 | 2.7814e-05 | 0.059654 | 0.059654 | 0.059654 | 0.9901 | -0.18983 | 0.9889 | -0.21317 | 16.3884
31 | -0.042786 | -0.010739 | 0.042813 | 0.010757 | 2.7377e-05 | 1.7294e-05 | 0.064309 | 0.064308 | 0.064309 | 0.9901 | -0.18983 | 0.99079 | -0.17643 | 17.6672
32 | 0.0030973 | 0.00077578 | -0.003097 | -0.00077605 | 2.9105e-07 | -2.7436e-07 | 0.0046548 | 0.0046549 | 0.0046549 | 0.9901 | -0.18983 | 0.99 | -0.19181 | 1.2788
33 | -0.045913 | -0.011534 | 0.045926 | 0.011542 | 1.295e-05 | 8.1943e-06 | 0.068963 | 0.068963 | 0.068963 | 0.99079 | -0.17643 | 0.9911 | -0.17052 | 18.946
34 | 0.003097 | 0.00077605 | -0.0030969 | -0.00077616 | 1.1248e-07 | -1.0599e-07 | 0.0046549 | 0.004655 | 0.004655 | 0.99 | -0.19181 | 0.98996 | -0.19257 | 1.2788
35 | 0.084373 | 0.021288 | -0.084153 | -0.021147 | 0.00021968 | 0.00014013 | 0.12684 | 0.12684 | 0.12684 | 0.99022 | -0.18705 | 0.9874 | -0.24158 | 34.8459
36 | 0.071349 | 0.018108 | -0.071137 | -0.017972 | 0.0002125 | 0.00013537 | 0.1073 | 0.1073 | 0.1073 | 0.99022 | -0.18705 | 0.987 | -0.24917 | 29.4777
37 | 0.0035235 | 0.0008829 | -0.0035233 | -0.00088302 | 2.0909e-07 | -1.1772e-07 | 0.0053172 | 0.0053173 | 0.0053173 | 0.98604 | -0.2678 | 0.98598 | -0.26904 | 1.4608
38 | -0.0035235 | -0.0008829 | 0.0035239 | 0.00088268 | 3.8711e-07 | -2.1805e-07 | 0.0053172 | 0.005317 | 0.0053172 | 0.98604 | -0.2678 | 0.98616 | -0.26549 | 1.4608
39 | -0.0063679 | -0.0015954 | 0.0063687 | 0.0015957 | 8.21e-07 | 2.2283e-07 | 0.0096083 | 0.0096082 | 0.0096083 | 0.98616 | -0.26549 | 0.9863 | -0.26278 | 2.6396
40 | 0.0096845 | 0.0024278 | -0.0096799 | -0.0024256 | 4.5901e-06 | 2.2043e-06 | 0.014601 | 0.014601 | 0.014601 | 0.987 | -0.24917 | 0.98649 | -0.25912 | 4.0113
41 | 0.061452 | 0.015545 | -0.061156 | -0.015356 | 0.00029649 | 0.00018858 | 0.092698 | 0.092699 | 0.092699 | 0.987 | -0.24917 | 0.9818 | -0.35026 | 25.4666
42 | 0.0063698 | 0.001596 | -0.0063687 | -0.0015957 | 1.1111e-06 | 3.0141e-07 | 0.009608 | 0.0096082 | 0.0096082 | 0.98649 | -0.25912 | 0.9863 | -0.26278 | 2.6396
43 | 0.031092 | 0.0078105 | -0.031066 | -0.0077943 | 2.5956e-05 | 1.6218e-05 | 0.04713 | 0.04713 | 0.04713 | 0.9818 | -0.35026 | 0.9809 | -0.36777 | 12.9477
44 | 0.030064 | 0.0075456 | -0.030035 | -0.0075275 | 2.9091e-05 | 1.8146e-05 | 0.045569 | 0.045569 | 0.045569 | 0.9818 | -0.35026 | 0.98076 | -0.37057 | 12.519
45 | 0.057425 | 0.014429 | -0.057408 | -0.014418 | 1.7788e-05 | 1.1303e-05 | 0.086368 | 0.086368 | 0.086368 | 0.98952 | -0.20141 | 0.98919 | -0.2079 | 23.7274
46 | -0.077842 | -0.019632 | 0.077858 | 0.019642 | 1.568e-05 | 9.9954e-06 | 0.1167 | 0.1167 | 0.1167 | 0.9929 | -0.13608 | 0.99312 | -0.13188 | 32.061
47 | 0.012473 | 0.0031264 | -0.012472 | -0.0031259 | 8.3946e-07 | 4.5633e-07 | 0.018803 | 0.018803 | 0.018803 | 0.98706 | -0.24919 | 0.98699 | -0.25061 | 5.1657
48 | -0.048044 | -0.012044 | 0.048053 | 0.01205 | 9.7098e-06 | 6.151e-06 | 0.072378 | 0.072378 | 0.072378 | 0.98774 | -0.23605 | 0.98796 | -0.2318 | 19.8841
49 | 0.075066 | 0.01887 | -0.074984 | -0.018818 | 8.1701e-05 | 5.2071e-05 | 0.11314 | 0.11314 | 0.11314 | 0.9874 | -0.24158 | 0.98623 | -0.2644 | 31.0838
50 | 0.13402 | 0.033823 | -0.13391 | -0.033753 | 0.00010954 | 7.0014e-05 | 0.20043 | 0.20043 | 0.20043 | 0.99537 | -0.088471 | 0.99449 | -0.10555 | 55.0636
51 | 0.021337 | 0.0053477 | -0.021337 | -0.0053476 | 1.8817e-07 | 1.1408e-07 | 0.031979 | 0.031979 | 0.031979 | 0.99287 | -0.13637 | 0.99286 | -0.13655 | 8.7853
52 | 0.055269 | 0.013903 | -0.055251 | -0.013891 | 1.8723e-05 | 1.1889e-05 | 0.082912 | 0.082912 | 0.082912 | 0.99214 | -0.15042 | 0.99177 | -0.15752 | 22.778
53 | -0.27836 | -0.070703 | 0.27852 | 0.070803 | 0.00015626 | 9.9725e-05 | 0.41597 | 0.41597 | 0.41597 | 0.99656 | -0.065447 | 0.99717 | -0.053791 | 38.0928
54 | -0.049023 | -0.012318 | 0.049037 | 0.012327 | 1.4753e-05 | 9.3484e-06 | 0.073613 | 0.073613 | 0.073613 | 0.9911 | -0.17052 | 0.99142 | -0.16422 | 20.2234
55 | 0.010526 | 0.0026391 | -0.010521 | -0.0026369 | 4.402e-06 | 2.2364e-06 | 0.015968 | 0.015968 | 0.015968 | 0.9809 | -0.36777 | 0.98045 | -0.37655 | 4.3868
56 | 0.02054 | 0.0051552 | -0.020535 | -0.005152 | 5.2915e-06 | 3.2032e-06 | 0.031162 | 0.031162 | 0.031162 | 0.9809 | -0.36777 | 0.98063 | -0.37317 | 8.5609
57 | 0.055549 | 0.013952 | -0.055532 | -0.013941 | 1.6655e-05 | 1.0578e-05 | 0.083572 | 0.083572 | 0.083572 | 0.98919 | -0.2079 | 0.98886 | -0.21419 | 22.9593
58 | -0.12877 | -0.032401 | 0.12883 | 0.032439 | 5.8677e-05 | 3.7499e-05 | 0.19298 | 0.19298 | 0.19298 | 0.99312 | -0.13188 | 0.99361 | -0.12234 | 53.0178
59 | 0.010614 | 0.0026603 | -0.010613 | -0.00266 | 6.0816e-07 | 3.0828e-07 | 0.016002 | 0.016002 | 0.016002 | 0.98699 | -0.25061 | 0.98693 | -0.25181 | 4.3961
60 | -0.049913 | -0.012516 | 0.049927 | 0.012525 | 1.3482e-05 | 8.547e-06 | 0.07518 | 0.075179 | 0.07518 | 0.98796 | -0.2318 | 0.98825 | -0.22614 | 20.6537
61 | 0.024274 | 0.0060882 | -0.024267 | -0.0060839 | 7.0146e-06 | 4.3115e-06 | 0.036627 | 0.036627 | 0.036627 | 0.98623 | -0.2644 | 0.98592 | -0.27047 | 10.0623
62 | 0.04348 | 0.010918 | -0.043442 | -0.010894 | 3.7829e-05 | 2.3912e-05 | 0.065609 | 0.06561 | 0.06561 | 0.98623 | -0.2644 | 0.98529 | -0.28266 | 18.0246
63 | 0.0072302 | 0.0018121 | -0.0072298 | -0.001812 | 3.7333e-07 | 1.3219e-07 | 0.010909 | 0.010909 | 0.010909 | 0.98623 | -0.2644 | 0.98617 | -0.26549 | 2.997
64 | 0.028887 | 0.0072445 | -0.028876 | -0.0072373 | 1.1587e-05 | 7.2091e-06 | 0.043628 | 0.043628 | 0.043628 | 0.98529 | -0.28266 | 0.98486 | -0.29108 | 11.9858
65 | 0.014555 | 0.0036493 | -0.01455 | -0.0036467 | 4.6472e-06 | 2.6477e-06 | 0.021981 | 0.021981 | 0.021981 | 0.98529 | -0.28266 | 0.98495 | -0.28936 | 6.0389
66 | 0.021511 | 0.0053913 | -0.02151 | -0.0053913 | 9.7188e-08 | 5.9078e-08 | 0.0325 | 0.0325 | 0.0325 | 0.98486 | -0.29108 | 0.98485 | -0.29117 | 8.9286
67 | 0.0080108 | 0.0020078 | -0.0080102 | -0.0020075 | 6.1581e-07 | 2.5143e-07 | 0.012102 | 0.012102 | 0.012102 | 0.98495 | -0.28936 | 0.98487 | -0.29097 | 3.3249
68 | 0.0008723 | 0.000218 | -0.00087227 | -0.00021861 | 3.2233e-08 | -6.0859e-07 | 0.001318 | 0.0013182 | 0.0013182 | 0.98464 | -0.2954 | 0.9846 | -0.29617 | 0.36216
69 | -0.0008723 | -0.000218 | 0.00087231 | 0.00021769 | 1.6415e-08 | -3.1003e-07 | 0.001318 | 0.0013179 | 0.001318 | 0.98464 | -0.2954 | 0.98466 | -0.295 | 0.36209
70 | -0.013326 | -0.0033393 | 0.013328 | 0.0033406 | 2.4323e-06 | 1.3532e-06 | 0.020138 | 0.020138 | 0.020138 | 0.98466 | -0.295 | 0.98485 | -0.29117 | 5.5324
71 | 0.012453 | 0.0031216 | -0.012453 | -0.0031211 | 8.8283e-07 | 4.8047e-07 | 0.01882 | 0.01882 | 0.01882 | 0.98466 | -0.295 | 0.98458 | -0.29649 | 5.1703
72 | -0.014678 | -0.0036785 | 0.014682 | 0.0036811 | 4.5365e-06 | 2.5971e-06 | 0.0223 | 0.0223 | 0.0223 | 0.9794 | -0.39727 | 0.97973 | -0.39078 | 6.1263
73 | -0.014682 | -0.0036811 | 0.014694 | 0.0036882 | 1.2333e-05 | 7.0593e-06 | 0.0223 | 0.022299 | 0.0223 | 0.97973 | -0.39078 | 0.98063 | -0.37317 | 6.1263
74 | -0.0042239 | -0.0010586 | 0.0042241 | 0.0010586 | 1.5957e-07 | -3.0584e-08 | 0.0063848 | 0.0063848 | 0.0063848 | 0.98441 | -0.29987 | 0.98445 | -0.29908 | 1.7541
75 | -0.0095011 | -0.0023811 | 0.0095023 | 0.0023817 | 1.1715e-06 | 5.5717e-07 | 0.014361 | 0.014361 | 0.014361 | 0.98445 | -0.29908 | 0.98458 | -0.29649 | 3.9454
76 | -0.0077482 | -0.0019419 | 0.0077494 | 0.0019423 | 1.1501e-06 | 4.506e-07 | 0.0117 | 0.0117 | 0.0117 | 0.98542 | -0.28021 | 0.98558 | -0.27709 | 3.2143
77 | -0.016549 | -0.0041477 | 0.016554 | 0.0041507 | 5.2247e-06 | 3.0593e-06 | 0.024985 | 0.024985 | 0.024985 | 0.98558 | -0.27709 | 0.98592 | -0.27047 | 6.8641
78 | -0.0043768 | -0.0010969 | 0.0043769 | 0.0010969 | 1.0338e-07 | -1.4711e-08 | 0.0065995 | 0.0065995 | 0.0065995 | 0.98685 | -0.2533 | 0.98688 | -0.2528 | 1.8131
79 | -0.0087548 | -0.0021941 | 0.0087552 | 0.0021943 | 4.1367e-07 | 1.8386e-07 | 0.0132 | 0.0132 | 0.0132 | 0.98688 | -0.2528 | 0.98693 | -0.25181 | 3.6265
80 | -0.13132 | -0.033062 | 0.13142 | 0.03313 | 0.00010551 | 6.7434e-05 | 0.19671 | 0.19671 | 0.19671 | 0.99361 | -0.12234 | 0.99449 | -0.10555 | 54.041
81 | 0.00096104 | 0.00024082 | -0.00096104 | -0.00024086 | 2.5465e-09 | -3.8627e-08 | 0.0014585 | 0.0014586 | 0.0014586 | 0.98045 | -0.37655 | 0.98045 | -0.3766 | 0.4007
82 | -0.051785 | -0.012991 | 0.0518 | 0.013 | 1.45e-05 | 9.1984e-06 | 0.077977 | 0.077977 | 0.077977 | 0.98825 | -0.22614 | 0.98855 | -0.22027 | 21.4224
83 | -0.053658 | -0.013466 | 0.053674 | 0.013475 | 1.5559e-05 | 9.8762e-06 | 0.080775 | 0.080775 | 0.080775 | 0.98855 | -0.22027 | 0.98886 | -0.21419 | 22.1911
84 | 0.28068 | 0.071406 | -0.28052 | -0.071304 | 0.00015855 | 0.00010119 | 0.41896 | 0.41896 | 0.41896 | 0.99779 | -0.042063 | 0.99717 | -0.053791 | 38.3664
85 | 0.052152 | 0.013114 | -0.052136 | -0.013104 | 1.668e-05 | 1.0582e-05 | 0.078263 | 0.078263 | 0.078263 | 0.99177 | -0.15752 | 0.99142 | -0.16422 | 21.5009

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.46222 | 0.1172

## res_load
| p_mw | q_mvar
0 | 0.0084697 | 0.0021227
1 | 0.011327 | 0.0028388
2 | 0.0062089 | 0.0015561
3 | 0.0024862 | 0.00062311
4 | 0.0071589 | 0.0017942
5 | 0.0020016 | 0.00050165
6 | 0.0098174 | 0.0024605
7 | 0.017746 | 0.0044477
8 | 0.0020025 | 0.00050188
9 | 0.0025643 | 0.00064267
10 | 0.0018569 | 0.00046538
11 | 0.039645 | 0.0099358
12 | 0.0030995 | 0.00077681
13 | 0.0030969 | 0.00077616
14 | 0.0020005 | 0.00050136
15 | 0.0035233 | 0.00088302
16 | 0.002844 | 0.00071277
17 | 0.0033101 | 0.00082959
18 | 0.0018583 | 0.00046572
19 | 0.0024876 | 0.00062346
20 | 0.013283 | 0.0033289
21 | 0.0018569 | 0.00046538
22 | 0.031847 | 0.0079817
23 | 0.0090872 | 0.0022775
24 | 0.0024862 | 0.00062311
25 | 0.0024869 | 0.00062327
26 | 0.0060909 | 0.0015265
27 | 0.0050314 | 0.001261
28 | 0.0020011 | 0.00050153
29 | 0.0030969 | 0.00077616
30 | 0.030035 | 0.0075275
31 | 0.0018588 | 0.00046587
32 | 0.050912 | 0.01276
33 | 0.001858 | 0.00046567
34 | 0.00186 | 0.00046616
35 | 0.0073653 | 0.0018459
36 | 0.0065391 | 0.0016389
37 | 0.00087227 | 0.00021861
38 | 0.0072298 | 0.001812
39 | 0.014678 | 0.0036785
40 | 0.0042239 | 0.0010586
41 | 0.005277 | 0.0013225
42 | 0.0077482 | 0.0019419
43 | 0.0087994 | 0.0022053
44 | 0.0043768 | 0.0010969
45 | 0.0043778 | 0.0010972
46 | 0.0080102 | 0.0020075
47 | 0.0029503 | 0.00073942
48 | 0.0081822 | 0.0020507
49 | 0.0077133 | 0.0019331
50 | 0.0024872 | 0.00062334
51 | 0.0024876 | 0.00062346
52 | 0.0058405 | 0.0014638
53 | 0.0095604 | 0.0023961
54 | 0.0018583 | 0.00046572
55 | 0.0018588 | 0.00046587
56 | 0.0018583 | 0.00046572
57 | 0.001858 | 0.00046567
58 | 0.00096104 | 0.00024086
59 | 0.0020016 | 0.00050165
60 | 0.0030983 | 0.00077651
61 | 0.0030983 | 0.00077651
62 | 0.0020022 | 0.00050181
63 | 0.021337 | 0.0053476

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1