## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-519_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-519_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-519_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-519_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_261-519_0_6_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_261-519_0_6_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_261-519_0_6_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_261-519_0_6_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_261-519_0_6_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_261-519_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_261-519_0_6_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_261-519_0_6_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_261-519_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_261-519_0_6_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_261-519_0_6_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_261-519_0_6_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_261-519_0_6_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_261-519_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_261-519_0_6_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_261-519_0_6_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_261-519_0_6_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_261-519_0_6_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_261-519_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_261-519_0_6_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_261-519_0_6_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_261-519_0_6_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_261-519_0_6_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_261-519_0_6_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_261-519_0_6_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_261-519_0_6_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_261-519_0_6_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_261-519_0_6_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_261-519_0_6_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_261-519_0_6_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_261-519_0_6_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_261-519_0_6_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_261-519_0_6_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_261-519_0_6_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_261-519_0_6_node_31 | 0.4 | n |  | TRUE
39 | bus_MV_547_0_node_92 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-519_0_6_load_0 | 0 | 0.03344 | 0.0083809 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-519_0_6_load_1 | 1 | 0.0059988 | 0.0015034 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-519_0_6_load_4 | 3 | 0.010878 | 0.0027262 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-519_0_6_load_33 | 8 | 0.0085198 | 0.0021353 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-519_0_6_load_36 | 11 | 0.014701 | 0.0036845 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-519_0_6_load_41 | 14 | 0.019411 | 0.004865 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-519_0_6_load_28 | 16 | 0.012653 | 0.0031711 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-519_0_6_load_26 | 18 | 0.06485 | 0.016253 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-519_0_6_load_16 | 19 | 0.011211 | 0.0028096 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-519_0_6_load_34 | 21 | 0.020765 | 0.0052043 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-519_0_6_load_30 | 23 | 0.016545 | 0.0041465 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-519_0_6_load_39 | 24 | 0.019717 | 0.0049415 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-519_0_6_load_38 | 25 | 0.017094 | 0.0042842 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-519_0_6_load_27 | 26 | 0.014882 | 0.0037299 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-519_0_6_load_21 | 27 | 0.018065 | 0.0045275 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-519_0_6_load_40 | 29 | 0.01775 | 0.0044487 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-519_0_6_load_20 | 31 | 0.016224 | 0.0040661 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-519_0_6_load_29 | 32 | 0.030715 | 0.0076978 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-519_0_6_load_17 | 33 | 0.016584 | 0.0041562 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-519_0_6_load_18 | 34 | 0.016086 | 0.0040316 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-519_0_6_load_22 | 36 | 0.017346 | 0.0043474 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-519_0_6_load_23 | 37 | 0.039535 | 0.0099084 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-519_0_6_load_31 | 38 | 0.016631 | 0.0041681 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-519_0_6_line_0 |  | 0 | 1 | 0.0015361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-519_0_6_line_1 |  | 0 | 2 | 0.0022357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-519_0_6_line_2 |  | 2 | 3 | 0.021231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-519_0_6_line_3 |  | 2 | 4 | 0.027635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-519_0_6_line_4 |  | 3 | 5 | 0.012029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-519_0_6_line_5 |  | 4 | 15 | 0.003926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-519_0_6_line_6 |  | 5 | 19 | 0.015553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-519_0_6_line_7 |  | 6 | 7 | 0.022203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-519_0_6_line_8 |  | 6 | 8 | 0.029756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-519_0_6_line_9 |  | 7 | 16 | 0.017583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-519_0_6_line_10 |  | 9 | 10 | 0.051713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_261-519_0_6_line_11 |  | 9 | 11 | 0.024855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_261-519_0_6_line_12 |  | 10 | 25 | 0.020719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_261-519_0_6_line_13 |  | 11 | 26 | 0.010042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_261-519_0_6_line_14 |  | 12 | 13 | 0.12563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-519_0_6_line_15 |  | 12 | 14 | 0.048656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-519_0_6_line_16 |  | 13 | 20 | 0.019485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_261-519_0_6_line_17 |  | 13 | 21 | 0.018868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_261-519_0_6_line_18 |  | 15 | 17 | 0.014027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-519_0_6_line_19 |  | 16 | 27 | 6.3413e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-519_0_6_line_20 |  | 17 | 18 | 0.025415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-519_0_6_line_21 |  | 18 | 28 | 0.0084531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-519_0_6_line_22 |  | 20 | 29 | 0.0092823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-519_0_6_line_23 |  | 20 | 30 | 0.031729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_261-519_0_6_line_24 |  | 21 | 31 | 0.017504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_261-519_0_6_line_25 |  | 22 | 23 | 0.03406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_261-519_0_6_line_26 |  | 22 | 24 | 0.026129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_261-519_0_6_line_27 |  | 23 | 32 | 0.0078807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_261-519_0_6_line_28 |  | 24 | 25 | 0.00062088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_261-519_0_6_line_29 |  | 26 | 28 | 0.013657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_261-519_0_6_line_30 |  | 27 | 35 | 0.031453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-519_0_6_line_31 |  | 28 | 37 | 0.029291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-519_0_6_line_32 |  | 30 | 38 | 0.029453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_261-519_0_6_line_33 |  | 31 | 34 | 0.015299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_261-519_0_6_line_34 |  | 32 | 38 | 0.0077086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_261-519_0_6_line_35 |  | 33 | 34 | 0.015492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_261-519_0_6_line_36 |  | 33 | 35 | 0.019694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_261-519_0_6_line_37 |  | 35 | 36 | 0.016747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-519_0_6_trafo_19 | 0.63 MVA 20/0.4 kV | 39 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2681531.4597 | 1245871.7883 | 2681529.9982 | 1245872.261
1 | 2681533.5869 | 1245871.1002 | 2681531.4597 | 1245871.7883
2 | 2681533.5869 | 1245871.1002 | 2681539.4536 | 1245869.1906 | 2681553.7422 | 1245864.4293
3 | 2681537.3099 | 1245850.9145 | 2681528.1174 | 1245854.0237 | 2681529.1684 | 1245857.2627 | 2681531.0747 | 1245863.1377 | 2681531.5603 | 1245864.6343 | 2681532.1753 | 1245866.6109 | 2681533.5869 | 1245871.1002
4 | 2681565.1545 | 1245860.6265 | 2681553.7422 | 1245864.4293
5 | 2681537.3099 | 1245850.9145 | 2681535.7197 | 1245847.3233
6 | 2681565.1545 | 1245860.6265 | 2681579.9086 | 1245855.706
7 | 2681645.2394 | 1245791.2332 | 2681651.7317 | 1245800.407 | 2681653.5244 | 1245807.3923 | 2681649.9283 | 1245808.4659
8 | 2681649.9283 | 1245808.4659 | 2681649.5621 | 1245810.3622 | 2681648.7972 | 1245812.1419 | 2681647.2435 | 1245814.133 | 2681645.1982 | 1245815.6171 | 2681625.3915 | 1245822.0828
9 | 2681645.2394 | 1245791.2332 | 2681628.5815 | 1245785.6043
10 | 2681611.9535 | 1245768.4253 | 2681605.7849 | 1245766.4612 | 2681592.2171 | 1245768.4983 | 2681561.8536 | 1245759.5187
11 | 2681561.8536 | 1245759.5187 | 2681554.5764 | 1245769.4814 | 2681547.8163 | 1245780.0163
12 | 2681611.9535 | 1245768.4253 | 2681624.6252 | 1245772.7472 | 2681631.5509 | 1245775.1493
13 | 2681547.8163 | 1245780.0163 | 2681545.6507 | 1245783.3911 | 2681543.8078 | 1245789.1345
14 | 2681627.724 | 1245694.2105 | 2681632.9974 | 1245688.212 | 2681638.8625 | 1245684.7902 | 2681644.9231 | 1245679.2362 | 2681683.9315 | 1245588.9075 | 2681687.4474 | 1245586.5431
15 | 2681687.4474 | 1245586.5431 | 2681691.883 | 1245587.0712 | 2681732.5732 | 1245604.3039
16 | 2681645.7621 | 1245701.7086 | 2681627.724 | 1245694.2105
17 | 2681627.724 | 1245694.2105 | 2681623.8304 | 1245698.2265 | 2681619.7292 | 1245710.8518
18 | 2681530.0407 | 1245834.4915 | 2681535.7197 | 1245847.3233
19 | 2681628.5214 | 1245785.584 | 2681628.5815 | 1245785.6043
20 | 2681530.0407 | 1245834.4915 | 2681538.4048 | 1245810.4925
21 | 2681541.1868 | 1245802.5103 | 2681538.4048 | 1245810.4925
22 | 2681645.7621 | 1245701.7086 | 2681641.2679 | 1245709.8304
23 | 2681675.1838 | 1245713.8002 | 2681645.7621 | 1245701.7086
24 | 2681614.3215 | 1245727.4994 | 2681619.7292 | 1245710.8518
25 | 2681655.7153 | 1245784.9173 | 2681654.6179 | 1245782.3114 | 2681649.9446 | 1245780.4012 | 2681652.7213 | 1245772.4447 | 2681657.0559 | 1245761.0961 | 2681659.0632 | 1245755.8591
26 | 2681655.7153 | 1245784.9173 | 2681652.6823 | 1245784.0527 | 2681648.1927 | 1245782.5231 | 2681646.5981 | 1245782.0008 | 2681641.8539 | 1245780.3009 | 2681641.1988 | 1245778.4906 | 2681639.5143 | 1245777.9114 | 2681632.1375 | 1245775.3528
27 | 2681659.0632 | 1245755.8591 | 2681661.8837 | 1245748.5004
28 | 2681632.1375 | 1245775.3528 | 2681631.5509 | 1245775.1493
29 | 2681541.1868 | 1245802.5103 | 2681542.8799 | 1245792.0259 | 2681543.8078 | 1245789.1345
30 | 2681598.7242 | 1245775.5151 | 2681628.5214 | 1245785.584
31 | 2681541.1868 | 1245802.5103 | 2681565.9726 | 1245811.6021 | 2681566.9628 | 1245814.3177
32 | 2681675.1838 | 1245713.8002 | 2681664.6426 | 1245741.3024
33 | 2681609.5948 | 1245742.0503 | 2681614.3215 | 1245727.4994
34 | 2681664.6426 | 1245741.3024 | 2681661.8837 | 1245748.5004
35 | 2681609.5948 | 1245742.0503 | 2681604.8084 | 1245756.7848
36 | 2681598.7242 | 1245775.5151 | 2681604.8084 | 1245756.7848
37 | 2681598.7242 | 1245775.5151 | 2681582.8921 | 1245770.0552

## bus_geodata
| x | y | coords
0 | 2681531.4597 | 1245871.7883
1 | 2681529.9982 | 1245872.261
2 | 2681533.5869 | 1245871.1002
3 | 2681553.7422 | 1245864.4293
4 | 2681537.3099 | 1245850.9145
5 | 2681565.1545 | 1245860.6265
6 | 2681649.9283 | 1245808.4659
7 | 2681645.2394 | 1245791.2332
8 | 2681625.3915 | 1245822.0828
9 | 2681561.8536 | 1245759.5187
10 | 2681611.9535 | 1245768.4253
11 | 2681547.8163 | 1245780.0163
12 | 2681687.4474 | 1245586.5431
13 | 2681627.724 | 1245694.2105
14 | 2681732.5732 | 1245604.3039
15 | 2681535.7197 | 1245847.3233
16 | 2681628.5815 | 1245785.6043
17 | 2681530.0407 | 1245834.4915
18 | 2681538.4048 | 1245810.4925
19 | 2681579.9086 | 1245855.706
20 | 2681645.7621 | 1245701.7086
21 | 2681619.7292 | 1245710.8518
22 | 2681655.7153 | 1245784.9173
23 | 2681659.0632 | 1245755.8591
24 | 2681632.1375 | 1245775.3528
25 | 2681631.5509 | 1245775.1493
26 | 2681543.8078 | 1245789.1345
27 | 2681628.5214 | 1245785.584
28 | 2681541.1868 | 1245802.5103
29 | 2681641.2679 | 1245709.8304
30 | 2681675.1838 | 1245713.8002
31 | 2681614.3215 | 1245727.4994
32 | 2681661.8837 | 1245748.5004
33 | 2681604.8084 | 1245756.7848
34 | 2681609.5948 | 1245742.0503
35 | 2681598.7242 | 1245775.5151
36 | 2681582.8921 | 1245770.0552
37 | 2681566.9628 | 1245814.3177
38 | 2681664.6426 | 1245741.3024
39 | 2681645.2394 | 1245791.2332

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97166 | -0.54719 | 0.03344 | 0.0083809
1 | 0.97165 | -0.54736 | 0.0059988 | 0.0015034
2 | 0.97174 | -0.54557 | 0 | 0
3 | 0.97131 | -0.55423 | 0.010878 | 0.0027262
4 | 0.97333 | -0.51423 | 0 | 0
5 | 0.97118 | -0.55672 | 0 | 0
6 | 0.99857 | -0.027484 | 0 | 0
7 | 0.99874 | -0.024177 | 0 | 0
8 | 0.99834 | -0.031916 | 0.0085198 | 0.0021353
9 | 0.97942 | -0.39469 | 0 | 0
10 | 0.98178 | -0.34887 | 0 | 0
11 | 0.97829 | -0.41679 | 0.014701 | 0.0036845
12 | 0.99034 | -0.18409 | 0 | 0
13 | 0.99258 | -0.14084 | 0 | 0
14 | 0.98948 | -0.20089 | 0.019411 | 0.004865
15 | 0.97356 | -0.50979 | 0 | 0
16 | 0.99888 | -0.021559 | 0.012653 | 0.0031711
17 | 0.97436 | -0.49393 | 0 | 0
18 | 0.97582 | -0.46526 | 0.06485 | 0.016253
19 | 0.97102 | -0.55994 | 0.011211 | 0.0028096
20 | 0.99116 | -0.16794 | 0 | 0
21 | 0.99403 | -0.11306 | 0.020765 | 0.0052043
22 | 0.98416 | -0.30264 | 0 | 0
23 | 0.986 | -0.2671 | 0.016545 | 0.0041465
24 | 0.98275 | -0.32998 | 0.019717 | 0.0049415
25 | 0.98272 | -0.33058 | 0.017094 | 0.0042842
26 | 0.97787 | -0.42506 | 0.014882 | 0.0037299
27 | 0.99888 | -0.021536 | 0.018065 | 0.0045275
28 | 0.97682 | -0.44573 | 0 | 0
29 | 0.99101 | -0.17086 | 0.01775 | 0.0044487
30 | 0.98898 | -0.20972 | 0 | 0
31 | 0.99547 | -0.08576 | 0.016224 | 0.0040661
32 | 0.98646 | -0.25832 | 0.030715 | 0.0076978
33 | 0.99817 | -0.034652 | 0.016584 | 0.0041562
34 | 0.99678 | -0.060875 | 0.016086 | 0.0040316
35 | 1 | 0 | -0.46792 | -0.11943
36 | 0.99974 | -0.0050647 | 0.017346 | 0.0043474
37 | 0.97574 | -0.46691 | 0.039535 | 0.0099084
38 | 0.98696 | -0.24867 | 0.016631 | 0.0041681
39 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0059988 | 0.0015035 | -0.0059988 | -0.0015034 | 4.8615e-08 | 1.2087e-08 | 0.0091867 | 0.0091867 | 0.0091867 | 0.97166 | -0.54719 | 0.97165 | -0.54736 | 2.5238
1 | -0.039439 | -0.0098843 | 0.039442 | 0.0098863 | 3.0583e-06 | 1.9296e-06 | 0.060397 | 0.060397 | 0.060397 | 0.97166 | -0.54719 | 0.97174 | -0.54557 | 16.5927
2 | 0.022101 | 0.0055431 | -0.022091 | -0.0055375 | 9.1191e-06 | 5.5734e-06 | 0.033844 | 0.033844 | 0.033844 | 0.97174 | -0.54557 | 0.97131 | -0.55423 | 9.2978
3 | -0.061543 | -0.015429 | 0.061635 | 0.015488 | 9.204e-05 | 5.8563e-05 | 0.094241 | 0.094241 | 0.094241 | 0.97174 | -0.54557 | 0.97333 | -0.51423 | 25.8904
4 | 0.011214 | 0.0028112 | -0.011212 | -0.0028105 | 1.3313e-06 | 7.0317e-07 | 0.017179 | 0.017179 | 0.017179 | 0.97131 | -0.55423 | 0.97118 | -0.55672 | 4.7196
5 | -0.061635 | -0.015488 | 0.061648 | 0.015496 | 1.3076e-05 | 8.3196e-06 | 0.094241 | 0.094241 | 0.094241 | 0.97333 | -0.51423 | 0.97356 | -0.50979 | 25.8904
6 | 0.011212 | 0.0028105 | -0.011211 | -0.0028096 | 1.7213e-06 | 9.0922e-07 | 0.017179 | 0.017179 | 0.017179 | 0.97118 | -0.55672 | 0.97102 | -0.55994 | 4.7196
7 | -0.0085216 | -0.002136 | 0.0085229 | 0.0021366 | 1.3426e-06 | 5.6877e-07 | 0.012699 | 0.012698 | 0.012699 | 0.99857 | -0.027484 | 0.99874 | -0.024177 | 3.4886
8 | 0.0085216 | 0.002136 | -0.0085198 | -0.0021353 | 1.7994e-06 | 7.6243e-07 | 0.012699 | 0.012699 | 0.012699 | 0.99857 | -0.027484 | 0.99834 | -0.031916 | 3.4886
9 | -0.0085229 | -0.0021366 | 0.008524 | 0.002137 | 1.0632e-06 | 4.5034e-07 | 0.012698 | 0.012698 | 0.012698 | 0.99874 | -0.024177 | 0.99888 | -0.021559 | 3.4886
10 | -0.19635 | -0.049538 | 0.19678 | 0.049812 | 0.00043176 | 0.00027372 | 0.29843 | 0.29843 | 0.29843 | 0.97942 | -0.39469 | 0.98178 | -0.34887 | 20.4964
11 | 0.19635 | 0.049538 | -0.19614 | -0.049407 | 0.00020752 | 0.00013156 | 0.29843 | 0.29843 | 0.29843 | 0.97942 | -0.39469 | 0.97829 | -0.41679 | 20.4964
12 | -0.19678 | -0.049812 | 0.19695 | 0.049922 | 0.00017299 | 0.00010966 | 0.29843 | 0.29843 | 0.29843 | 0.98178 | -0.34887 | 0.98272 | -0.33058 | 20.4963
13 | 0.18144 | 0.045722 | -0.18137 | -0.045677 | 7.1748e-05 | 4.5414e-05 | 0.27607 | 0.27607 | 0.27607 | 0.97829 | -0.41679 | 0.97787 | -0.42506 | 18.9606
14 | -0.019427 | -0.0048743 | 0.019467 | 0.0048984 | 4.0144e-05 | 2.4072e-05 | 0.029192 | 0.029191 | 0.029192 | 0.99034 | -0.18409 | 0.99258 | -0.14084 | 8.0196
15 | 0.019427 | 0.0048743 | -0.019411 | -0.004865 | 1.5548e-05 | 9.3254e-06 | 0.029192 | 0.029192 | 0.029192 | 0.99034 | -0.18409 | 0.98948 | -0.20089 | 8.0197
16 | 0.31794 | 0.081222 | -0.31752 | -0.080957 | 0.00041596 | 0.00026521 | 0.47719 | 0.47719 | 0.47719 | 0.99258 | -0.14084 | 0.99116 | -0.16794 | 32.7738
17 | -0.33741 | -0.08612 | 0.33786 | 0.086409 | 0.00045358 | 0.00028931 | 0.50638 | 0.50638 | 0.50638 | 0.99258 | -0.14084 | 0.99403 | -0.11306 | 34.7786
18 | -0.061648 | -0.015496 | 0.061695 | 0.015526 | 4.6717e-05 | 2.9724e-05 | 0.094241 | 0.094241 | 0.094241 | 0.97356 | -0.50979 | 0.97436 | -0.49393 | 25.8904
19 | -0.021177 | -0.0053082 | 0.021177 | 0.0053082 | 2.3668e-08 | 1.4314e-08 | 0.031547 | 0.031547 | 0.031547 | 0.99888 | -0.021559 | 0.99888 | -0.021536 | 8.6668
20 | -0.061695 | -0.015526 | 0.061779 | 0.01558 | 8.4644e-05 | 5.3855e-05 | 0.094241 | 0.094241 | 0.094241 | 0.97436 | -0.49393 | 0.97582 | -0.46526 | 25.8904
21 | -0.12663 | -0.031833 | 0.12675 | 0.031908 | 0.00011824 | 7.5565e-05 | 0.19313 | 0.19313 | 0.19313 | 0.97582 | -0.46526 | 0.97682 | -0.44573 | 53.0577
22 | 0.017753 | 0.0044501 | -0.01775 | -0.0044487 | 2.4727e-06 | 1.4629e-06 | 0.026653 | 0.026653 | 0.026653 | 0.99116 | -0.16794 | 0.99101 | -0.17086 | 7.3221
23 | 0.29977 | 0.076506 | -0.29917 | -0.076122 | 0.00060379 | 0.00038479 | 0.45053 | 0.45053 | 0.45053 | 0.99116 | -0.16794 | 0.98898 | -0.20972 | 30.9433
24 | -0.35863 | -0.091614 | 0.3591 | 0.091916 | 0.00047402 | 0.00030247 | 0.53746 | 0.53746 | 0.53746 | 0.99403 | -0.11306 | 0.99547 | -0.08576 | 36.9135
25 | -0.23408 | -0.059346 | 0.23448 | 0.059601 | 0.00040052 | 0.0002546 | 0.35416 | 0.35416 | 0.35416 | 0.98416 | -0.30264 | 0.986 | -0.2671 | 24.3244
26 | 0.23408 | 0.059346 | -0.23377 | -0.059151 | 0.00030725 | 0.00019532 | 0.35416 | 0.35416 | 0.35416 | 0.98416 | -0.30264 | 0.98275 | -0.32998 | 24.3244
27 | -0.25102 | -0.063748 | 0.25113 | 0.063815 | 0.0001062 | 6.7564e-05 | 0.37913 | 0.37913 | 0.37913 | 0.986 | -0.2671 | 0.98646 | -0.25832 | 26.0392
28 | 0.21405 | 0.05421 | -0.21405 | -0.054206 | 6.1221e-06 | 3.8867e-06 | 0.32431 | 0.32431 | 0.32431 | 0.98275 | -0.32998 | 0.98272 | -0.33058 | 22.274
29 | 0.16649 | 0.041947 | -0.16632 | -0.041842 | 0.00016445 | 0.00010491 | 0.25342 | 0.25342 | 0.25342 | 0.97787 | -0.42506 | 0.97682 | -0.44573 | 34.8106
30 | -0.039242 | -0.0098357 | 0.039282 | 0.0098611 | 4.0307e-05 | 2.5384e-05 | 0.058459 | 0.058458 | 0.058459 | 0.99888 | -0.021536 | 1 | 0 | 16.06
31 | 0.039575 | 0.0099335 | -0.039535 | -0.0099084 | 3.9927e-05 | 2.5187e-05 | 0.060291 | 0.060291 | 0.060291 | 0.97682 | -0.44573 | 0.97574 | -0.46691 | 16.5635
32 | 0.29917 | 0.076122 | -0.29861 | -0.075764 | 0.00056048 | 0.0003572 | 0.45053 | 0.45054 | 0.45054 | 0.98898 | -0.20972 | 0.98696 | -0.24867 | 30.9434
33 | -0.37532 | -0.095982 | 0.37578 | 0.096271 | 0.00045256 | 0.00028884 | 0.56171 | 0.56171 | 0.56171 | 0.99547 | -0.08576 | 0.99678 | -0.060875 | 38.5791
34 | -0.28184 | -0.071513 | 0.28198 | 0.071596 | 0.00013082 | 8.3329e-05 | 0.42546 | 0.42546 | 0.42546 | 0.98646 | -0.25832 | 0.98696 | -0.24867 | 29.2213
35 | 0.39236 | 0.10062 | -0.39186 | -0.1003 | 0.00049829 | 0.0003181 | 0.58572 | 0.58573 | 0.58573 | 0.99817 | -0.034652 | 0.99678 | -0.060875 | 40.2284
36 | -0.40894 | -0.10478 | 0.40963 | 0.10522 | 0.00068801 | 0.00043929 | 0.61045 | 0.61045 | 0.61045 | 0.99817 | -0.034652 | 1 | 0 | 41.9263
37 | 0.017351 | 0.0043499 | -0.017346 | -0.0043474 | 4.1863e-06 | 2.4596e-06 | 0.025818 | 0.025818 | 0.025818 | 1 | 0 | 0.99974 | -0.0050647 | 7.093

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.46792 | 0.11943

## res_load
| p_mw | q_mvar
0 | 0.03344 | 0.0083809
1 | 0.0059988 | 0.0015034
2 | 0.010878 | 0.0027262
3 | 0.0085198 | 0.0021353
4 | 0.014701 | 0.0036845
5 | 0.019411 | 0.004865
6 | 0.012653 | 0.0031711
7 | 0.06485 | 0.016253
8 | 0.011211 | 0.0028096
9 | 0.020765 | 0.0052043
10 | 0.016545 | 0.0041465
11 | 0.019717 | 0.0049415
12 | 0.017094 | 0.0042842
13 | 0.014882 | 0.0037299
14 | 0.018065 | 0.0045275
15 | 0.01775 | 0.0044487
16 | 0.016224 | 0.0040661
17 | 0.030715 | 0.0076978
18 | 0.016584 | 0.0041562
19 | 0.016086 | 0.0040316
20 | 0.017346 | 0.0043474
21 | 0.039535 | 0.0099084
22 | 0.016631 | 0.0041681

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1