## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-527_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-527_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-527_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-527_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-527_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-527_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-527_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_261-527_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_261-527_0_6_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_261-527_0_6_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_261-527_0_6_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_261-527_0_6_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_261-527_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_261-527_0_6_node_74 | 0.4 | n |  | TRUE
14 | bus_LV_261-527_0_6_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_261-527_0_6_node_84 | 0.4 | n |  | TRUE
16 | bus_LV_261-527_0_6_node_79 | 0.4 | n |  | TRUE
17 | bus_LV_261-527_0_6_node_64 | 0.4 | n |  | TRUE
18 | bus_LV_261-527_0_6_node_61 | 0.4 | n |  | TRUE
19 | bus_LV_261-527_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_261-527_0_6_node_69 | 0.4 | n |  | TRUE
21 | bus_LV_261-527_0_6_node_70 | 0.4 | n |  | TRUE
22 | bus_LV_261-527_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_261-527_0_6_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_261-527_0_6_node_75 | 0.4 | n |  | TRUE
25 | bus_LV_261-527_0_6_node_68 | 0.4 | n |  | TRUE
26 | bus_LV_261-527_0_6_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_261-527_0_6_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_261-527_0_6_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_261-527_0_6_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_261-527_0_6_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_261-527_0_6_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_261-527_0_6_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_261-527_0_6_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_261-527_0_6_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_261-527_0_6_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_261-527_0_6_node_85 | 0.4 | n |  | TRUE
37 | bus_LV_261-527_0_6_node_81 | 0.4 | n |  | TRUE
38 | bus_LV_261-527_0_6_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_261-527_0_6_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_261-527_0_6_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_261-527_0_6_node_80 | 0.4 | n |  | TRUE
42 | bus_LV_261-527_0_6_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_261-527_0_6_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_261-527_0_6_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_261-527_0_6_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_261-527_0_6_node_82 | 0.4 | n |  | TRUE
47 | bus_LV_261-527_0_6_node_83 | 0.4 | n |  | TRUE
48 | bus_LV_261-527_0_6_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_261-527_0_6_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_261-527_0_6_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_261-527_0_6_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_261-527_0_6_node_87 | 0.4 | n |  | TRUE
53 | bus_LV_261-527_0_6_node_88 | 0.4 | n |  | TRUE
54 | bus_LV_261-527_0_6_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_261-527_0_6_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_261-527_0_6_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_261-527_0_6_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_261-527_0_6_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_261-527_0_6_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_261-527_0_6_node_78 | 0.4 | n |  | TRUE
61 | bus_LV_261-527_0_6_node_76 | 0.4 | n |  | TRUE
62 | bus_LV_261-527_0_6_node_89 | 0.4 | n |  | TRUE
63 | bus_LV_261-527_0_6_node_90 | 0.4 | n |  | TRUE
64 | bus_LV_261-527_0_6_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_261-527_0_6_node_37 | 0.4 | n |  | TRUE
66 | bus_LV_261-527_0_6_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_261-527_0_6_node_33 | 0.4 | n |  | TRUE
68 | bus_LV_261-527_0_6_node_35 | 0.4 | n |  | TRUE
69 | bus_LV_261-527_0_6_node_38 | 0.4 | n |  | TRUE
70 | bus_LV_261-527_0_6_node_40 | 0.4 | n |  | TRUE
71 | bus_LV_261-527_0_6_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_261-527_0_6_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_261-527_0_6_node_46 | 0.4 | n |  | TRUE
74 | bus_LV_261-527_0_6_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_261-527_0_6_node_51 | 0.4 | n |  | TRUE
76 | bus_LV_261-527_0_6_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_261-527_0_6_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_261-527_0_6_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_261-527_0_6_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_261-527_0_6_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_261-527_0_6_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_261-527_0_6_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_261-527_0_6_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_261-527_0_6_node_86 | 0.4 | n |  | TRUE
85 | bus_MV_543_0_node_185 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-527_0_6_load_0 | 0 | 0.001601 | 0.00040125 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-527_0_6_load_1 | 1 | 0.0012512 | 0.00031357 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-527_0_6_load_3 | 3 | 0.0021265 | 0.00053295 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-527_0_6_load_4 | 4 | 0.0034407 | 0.00086233 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-527_0_6_load_5 | 5 | 0.0047169 | 0.0011822 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-527_0_6_load_6 | 6 | 0.0017441 | 0.00043711 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-527_0_6_load_31 | 11 | 0.0017813 | 0.00044645 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-527_0_6_load_74 | 13 | 0.0016513 | 0.00041386 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-527_0_6_load_84 | 15 | 0.0051882 | 0.0013003 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-527_0_6_load_79 | 16 | 0.0060939 | 0.0015273 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-527_0_6_load_64 | 17 | 0.0011158 | 0.00027965 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-527_0_6_load_61 | 18 | 0.0034373 | 0.00086146 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-527_0_6_load_69 | 20 | 0.0048898 | 0.0012255 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-527_0_6_load_70 | 21 | 0.0021142 | 0.00052986 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-527_0_6_load_62 | 23 | 0.0036449 | 0.0009135 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-527_0_6_load_75 | 24 | 0.0027235 | 0.00068257 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-527_0_6_load_68 | 25 | 0.0020142 | 0.0005048 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-527_0_6_load_49 | 29 | 0.024399 | 0.0061149 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-527_0_6_load_55 | 31 | 0.010805 | 0.002708 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-527_0_6_load_54 | 32 | 0.0024245 | 0.00060764 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-527_0_6_load_65 | 35 | 0.0019719 | 0.0004942 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-527_0_6_load_85 | 36 | 0.088655 | 0.022219 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-527_0_6_load_81 | 37 | 0.019653 | 0.0049256 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-527_0_6_load_44 | 39 | 0.075376 | 0.018891 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-527_0_6_load_53 | 40 | 0.0026061 | 0.00065314 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-527_0_6_load_80 | 41 | 0.015853 | 0.0039731 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-527_0_6_load_36 | 44 | 0.0025657 | 0.00064302 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-527_0_6_load_82 | 46 | 0.017123 | 0.0042914 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-527_0_6_load_83 | 47 | 0.012702 | 0.0031835 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-527_0_6_load_41 | 48 | 0.0048464 | 0.0012146 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-527_0_6_load_29 | 49 | 0.0053218 | 0.0013338 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-527_0_6_load_30 | 50 | 0.0030981 | 0.00077645 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-527_0_6_load_63 | 51 | 0.0042379 | 0.0010621 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-527_0_6_load_87 | 52 | 0.0094062 | 0.0023574 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-527_0_6_load_88 | 53 | 0.0055977 | 0.0014029 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-527_0_6_load_66 | 55 | 0.004407 | 0.0011045 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-527_0_6_load_43 | 56 | 0.012582 | 0.0031533 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-527_0_6_load_52 | 57 | 0.0051617 | 0.0012936 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-527_0_6_load_34 | 58 | 0.0014874 | 0.00037278 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-527_0_6_load_76 | 61 | 0.0096846 | 0.0024272 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-527_0_6_load_89 | 62 | 0.017133 | 0.004294 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-527_0_6_load_90 | 63 | 0.0026002 | 0.00065167 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-527_0_6_load_39 | 64 | 0.0027001 | 0.00067672 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-527_0_6_load_37 | 65 | 0.01634 | 0.0040951 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-527_0_6_load_45 | 66 | 0.013629 | 0.0034158 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-527_0_6_load_33 | 67 | 0.0026665 | 0.00066828 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-527_0_6_load_35 | 68 | 0.0023053 | 0.00057777 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-527_0_6_load_38 | 69 | 0.018198 | 0.0045609 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-527_0_6_load_40 | 70 | 0.011583 | 0.002903 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-527_0_6_load_56 | 71 | 0.010144 | 0.0025423 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-527_0_6_load_48 | 72 | 0.0030395 | 0.00076178 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-527_0_6_load_46 | 73 | 0.04227 | 0.010594 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-527_0_6_load_50 | 74 | 0.0015281 | 0.00038298 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-527_0_6_load_51 | 75 | 0.0026493 | 0.00066397 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-527_0_6_load_57 | 76 | 0.0052552 | 0.0013171 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-527_0_6_load_58 | 77 | 0.0050164 | 0.0012572 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-527_0_6_load_59 | 78 | 0.0060395 | 0.0015136 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_261-527_0_6_load_60 | 79 | 0.0052462 | 0.0013148 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_261-527_0_6_load_67 | 80 | 0.0036059 | 0.00090373 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_261-527_0_6_load_71 | 81 | 0.0043717 | 0.0010957 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_261-527_0_6_load_72 | 82 | 0.0087328 | 0.0021886 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_261-527_0_6_load_73 | 83 | 0.0042375 | 0.001062 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_261-527_0_6_load_86 | 84 | 0.0063035 | 0.0015798 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-527_0_6_line_0 |  | 0 | 1 | 0.0003849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-527_0_6_line_1 |  | 0 | 2 | 0.0082179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-527_0_6_line_2 |  | 1 | 3 | 0.022616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-527_0_6_line_3 |  | 2 | 4 | 0.013391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-527_0_6_line_4 |  | 2 | 5 | 0.056795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-527_0_6_line_5 |  | 3 | 6 | 0.013967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-527_0_6_line_6 |  | 6 | 7 | 0.022703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-527_0_6_line_7 |  | 7 | 8 | 0.056358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-527_0_6_line_8 |  | 8 | 16 | 0.0087594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-527_0_6_line_9 |  | 8 | 10 | 0.0093496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-527_0_6_line_10 |  | 9 | 10 | 0.009212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-527_0_6_line_11 |  | 9 | 11 | 0.021115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-527_0_6_line_12 |  | 10 | 18 | 0.013259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-527_0_6_line_13 |  | 11 | 50 | 0.0077756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-527_0_6_line_14 |  | 12 | 13 | 0.025315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-527_0_6_line_15 |  | 12 | 14 | 0.025053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-527_0_6_line_16 |  | 12 | 15 | 0.019548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-527_0_6_line_17 |  | 13 | 22 | 0.010868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-527_0_6_line_18 |  | 14 | 16 | 0.018964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-527_0_6_line_19 |  | 14 | 17 | 0.021139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-527_0_6_line_20 |  | 17 | 51 | 0.024616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-527_0_6_line_21 |  | 19 | 20 | 0.033767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-527_0_6_line_22 |  | 19 | 21 | 0.010904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-527_0_6_line_23 |  | 19 | 22 | 0.01873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-527_0_6_line_24 |  | 19 | 23 | 0.026373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-527_0_6_line_25 |  | 20 | 52 | 0.014115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-527_0_6_line_26 |  | 22 | 24 | 0.009817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-527_0_6_line_27 |  | 22 | 25 | 0.027985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-527_0_6_line_28 |  | 24 | 53 | 0.024323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-527_0_6_line_29 |  | 25 | 33 | 0.015194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-527_0_6_line_30 |  | 26 | 27 | 0.037803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-527_0_6_line_31 |  | 26 | 28 | 0.006437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-527_0_6_line_32 |  | 26 | 29 | 0.013483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-527_0_6_line_33 |  | 27 | 40 | 0.010611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-527_0_6_line_34 |  | 27 | 30 | 0.020951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-527_0_6_line_35 |  | 28 | 38 | 0.015003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_261-527_0_6_line_36 |  | 28 | 39 | 0.01557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-527_0_6_line_37 |  | 29 | 54 | 0.073096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-527_0_6_line_38 |  | 30 | 31 | 0.042622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-527_0_6_line_39 |  | 30 | 32 | 0.012844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-527_0_6_line_40 |  | 32 | 42 | 0.028226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-527_0_6_line_41 |  | 33 | 34 | 0.0097968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_261-527_0_6_line_42 |  | 33 | 35 | 0.03511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-527_0_6_line_43 |  | 34 | 36 | 0.018206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-527_0_6_line_44 |  | 34 | 37 | 0.0097467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_261-527_0_6_line_45 |  | 35 | 55 | 0.021297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-527_0_6_line_46 |  | 37 | 38 | 0.00018214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_261-527_0_6_line_47 |  | 38 | 41 | 0.027594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-527_0_6_line_48 |  | 39 | 56 | 0.029933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-527_0_6_line_49 |  | 40 | 57 | 0.0051581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-527_0_6_line_50 |  | 41 | 45 | 0.011415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-527_0_6_line_51 |  | 42 | 43 | 0.019213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-527_0_6_line_52 |  | 42 | 44 | 0.0090799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-527_0_6_line_53 |  | 43 | 48 | 0.014219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-527_0_6_line_54 |  | 44 | 58 | 0.0080889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-527_0_6_line_55 |  | 45 | 46 | 0.010211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-527_0_6_line_56 |  | 45 | 47 | 0.028583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-527_0_6_line_57 |  | 46 | 62 | 0.010655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-527_0_6_line_58 |  | 47 | 63 | 0.012034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-527_0_6_line_59 |  | 49 | 50 | 0.024668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-527_0_6_line_60 |  | 51 | 79 | 0.0081711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-527_0_6_line_61 |  | 52 | 60 | 0.002273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-527_0_6_line_62 |  | 54 | 66 | 0.022742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-527_0_6_line_63 |  | 55 | 80 | 0.019451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-527_0_6_line_64 |  | 56 | 70 | 0.01695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-527_0_6_line_65 |  | 57 | 74 | 0.0043784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-527_0_6_line_66 |  | 58 | 67 | 0.0097071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-527_0_6_line_67 |  | 59 | 60 | 0.021995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-527_0_6_line_68 |  | 59 | 61 | 0.014518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-527_0_6_line_69 |  | 64 | 65 | 0.015197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-527_0_6_line_70 |  | 65 | 69 | 0.016253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-527_0_6_line_71 |  | 66 | 73 | 0.037309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-527_0_6_line_72 |  | 67 | 68 | 0.0069328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-527_0_6_line_73 |  | 69 | 70 | 7.6819e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-527_0_6_line_74 |  | 71 | 72 | 0.025183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-527_0_6_line_75 |  | 72 | 73 | 0.0071493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-527_0_6_line_76 |  | 74 | 75 | 0.0094384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_261-527_0_6_line_77 |  | 76 | 77 | 0.011011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-527_0_6_line_78 |  | 76 | 78 | 0.020555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_261-527_0_6_line_79 |  | 77 | 79 | 0.017875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_261-527_0_6_line_80 |  | 80 | 81 | 0.0014262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_261-527_0_6_line_81 |  | 81 | 82 | 0.02584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_261-527_0_6_line_82 |  | 82 | 83 | 0.021893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_261-527_0_6_line_83 |  | 83 | 84 | 0.015817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-527_0_6_trafo_81 | 0.63 MVA 20/0.4 kV | 85 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2685108.3449 | 1250796.448 | 2685107.9777 | 1250796.5637
1 | 2685100.1393 | 1250799.0322 | 2685107.9777 | 1250796.5637
2 | 2685129.0726 | 1250787.4443 | 2685121.3439 | 1250791.2641 | 2685108.3449 | 1250796.448 | 2685108.3449 | 1250796.448
3 | 2685100.1393 | 1250799.0322 | 2685095.6366 | 1250808.1966 | 2685092.9913 | 1250809.9822
4 | 2685100.1393 | 1250799.0322 | 2685059.4532 | 1250811.8244 | 2685045.8022 | 1250815.5291
5 | 2685141.5935 | 1250781.255 | 2685141.1508 | 1250781.4746 | 2685129.0726 | 1250787.4443
6 | 2685161.9315 | 1250771.1654 | 2685141.5935 | 1250781.255
7 | 2685161.9315 | 1250771.1654 | 2685165.6632 | 1250776.7788 | 2685179.8073 | 1250786.4671 | 2685197.7062 | 1250796.4874 | 2685196.6731 | 1250799.03 | 2685198.6849 | 1250800.3488 | 2685200.0406 | 1250802.6701 | 2685199.7173 | 1250806.7796
8 | 2685199.7173 | 1250806.7796 | 2685199.0232 | 1250815.5115
9 | 2685199.7173 | 1250806.7796 | 2685203.3753 | 1250808.0665 | 2685208.5355 | 1250809.8865
10 | 2685208.5355 | 1250809.8865 | 2685211.1615 | 1250807.3446 | 2685213.6731 | 1250806.4578 | 2685214.4833 | 1250803.6673
11 | 2685214.4833 | 1250803.6673 | 2685234.6444 | 1250809.9429
12 | 2685208.5355 | 1250809.8865 | 2685207.2838 | 1250813.4601 | 2685206.3095 | 1250822.8823
13 | 2685234.6444 | 1250809.9429 | 2685242.0686 | 1250812.2539
14 | 2685194.9246 | 1250854.9802 | 2685194.3353 | 1250864.9904 | 2685194.8332 | 1250875.5054 | 2685195.559 | 1250880.2108
15 | 2685193.1487 | 1250831.4926 | 2685192.9169 | 1250835.0142 | 2685194.9362 | 1250836.3331 | 2685196.2932 | 1250838.5654 | 2685196.4227 | 1250842.1588 | 2685194.9246 | 1250854.9802
16 | 2685194.9246 | 1250854.9802 | 2685175.8698 | 1250859.3422
17 | 2685197.2155 | 1250890.9513 | 2685195.559 | 1250880.2108
18 | 2685193.1487 | 1250831.4926 | 2685193.3036 | 1250827.5475 | 2685196.8367 | 1250826.4974 | 2685198.4637 | 1250822.5512 | 2685199.0232 | 1250815.5115
19 | 2685193.1487 | 1250831.4926 | 2685181.7666 | 1250830.8063 | 2685172.0882 | 1250831.868
20 | 2685172.0882 | 1250831.868 | 2685148.7582 | 1250839.7209
21 | 2685203.3318 | 1250878.7856 | 2685235.3034 | 1250867.9225
22 | 2685203.3318 | 1250878.7856 | 2685205.3323 | 1250889.5048
23 | 2685197.2155 | 1250890.9513 | 2685200.4199 | 1250890.7083 | 2685198.5525 | 1250880.407 | 2685203.3318 | 1250878.7856
24 | 2685203.3318 | 1250878.7856 | 2685202.9044 | 1250873.8647 | 2685202.4329 | 1250861.5042 | 2685203.3101 | 1250852.4822
25 | 2685248.668 | 1250863.3815 | 2685235.3034 | 1250867.9225
26 | 2685197.2155 | 1250890.9513 | 2685187.4265 | 1250891.6912
27 | 2685197.2155 | 1250890.9513 | 2685199.8064 | 1250902.3971 | 2685203.0959 | 1250918.3107
28 | 2685187.4265 | 1250891.6912 | 2685173.3642 | 1250892.7543 | 2685173.3854 | 1250882.5333
29 | 2685205.0999 | 1250933.2519 | 2685205.4246 | 1250929.576 | 2685203.0959 | 1250918.3107
30 | 2685214.14 | 1250954.5089 | 2685207.3511 | 1250953.6107 | 2685176.5311 | 1250949.7092
31 | 2685220.5452 | 1250955.3128 | 2685214.14 | 1250954.5089
32 | 2685214.14 | 1250954.5089 | 2685214.5561 | 1250957.595 | 2685213.6343 | 1250967.9228
33 | 2685176.5311 | 1250949.7092 | 2685175.2302 | 1250960.2405
34 | 2685176.5311 | 1250949.7092 | 2685155.6884 | 1250947.041
35 | 2685220.5452 | 1250955.3128 | 2685221.763 | 1250947.2798 | 2685222.699 | 1250940.4659
36 | 2685220.5452 | 1250955.3128 | 2685235.9925 | 1250957.2608
37 | 2685208.8205 | 1251040.3747 | 2685212.5765 | 1250999.1644 | 2685211.1 | 1250996.3189 | 2685213.6343 | 1250967.9228
38 | 2685155.6884 | 1250947.041 | 2685150.5732 | 1250989.3549
39 | 2685155.6884 | 1250947.041 | 2685142.9487 | 1250945.4042
40 | 2685114.8159 | 1250943.4513 | 2685120.7279 | 1250943.3806 | 2685141.3639 | 1250945.2005 | 2685142.9487 | 1250945.4042
41 | 2685205.0999 | 1250933.2519 | 2685209.4034 | 1250934.2701 | 2685214.6322 | 1250935.5129
42 | 2685205.0999 | 1250933.2519 | 2685202.192 | 1250935.9788 | 2685198.8515 | 1250936.7647 | 2685188.1383 | 1250935.7767 | 2685171.3674 | 1250933.4405
43 | 2685214.6322 | 1250935.5129 | 2685213.2671 | 1250930.7007 | 2685210.7493 | 1250917.7393
44 | 2685214.6322 | 1250935.5129 | 2685216.8082 | 1250938.5353 | 2685220.21 | 1250939.7852 | 2685222.5233 | 1250940.4179
45 | 2685171.3674 | 1250933.4405 | 2685150.2745 | 1250930.5022
46 | 2685222.5233 | 1250940.4179 | 2685222.699 | 1250940.4659
47 | 2685222.699 | 1250940.4659 | 2685250.1039 | 1250943.6916
48 | 2685265.674 | 1250961.1223 | 2685261.056 | 1250960.4214 | 2685235.9925 | 1250957.2608
49 | 2685175.2302 | 1250960.2405 | 2685174.5978 | 1250965.3597
50 | 2685261.4355 | 1250945.0709 | 2685252.189 | 1250943.9371 | 2685250.1039 | 1250943.6916
51 | 2685114.8159 | 1250943.4513 | 2685095.5473 | 1250943.6636
52 | 2685114.8159 | 1250943.4513 | 2685114.6475 | 1250952.5296
53 | 2685095.5473 | 1250943.6636 | 2685095.5919 | 1250957.8828
54 | 2685114.6475 | 1250952.5296 | 2685114.5813 | 1250956.1018 | 2685114.6522 | 1250960.6173 | 2685114.6522 | 1250960.6173
55 | 2685261.4355 | 1250945.0709 | 2685271.5737 | 1250946.2897
56 | 2685261.4355 | 1250945.0709 | 2685266.0651 | 1250916.8657
57 | 2685271.5737 | 1250946.2897 | 2685282.1525 | 1250947.5614
58 | 2685268.0142 | 1250904.991 | 2685266.0651 | 1250916.8657
59 | 2685266.0899 | 1250817.6559 | 2685250.739 | 1250814.9527 | 2685242.0686 | 1250812.2539
60 | 2685141.014 | 1250842.3276 | 2685148.7582 | 1250839.7209
61 | 2685249.6957 | 1250865.4089 | 2685248.668 | 1250863.3815
62 | 2685208.8205 | 1251040.3747 | 2685231.4355 | 1251042.7739
63 | 2685150.2745 | 1250930.5022 | 2685140.1611 | 1250929.0934 | 2685130.9444 | 1250928.4333
64 | 2685265.674 | 1250961.1223 | 2685278.8633 | 1250963.1241 | 2685282.4553 | 1250963.4826
65 | 2685174.061 | 1250969.7051 | 2685174.5978 | 1250965.3597
66 | 2685123.2806 | 1250963.0491 | 2685115.6906 | 1250962.4336 | 2685114.6522 | 1250960.6173
67 | 2685259.612 | 1250885.0552 | 2685249.6957 | 1250865.4089
68 | 2685259.612 | 1250885.0552 | 2685273.5007 | 1250880.8287
69 | 2685313.8303 | 1250966.5393 | 2685312.8386 | 1250966.5156 | 2685298.7042 | 1250965.1046
70 | 2685282.5317 | 1250963.4903 | 2685298.7042 | 1250965.1046
71 | 2685231.4355 | 1251042.7739 | 2685268.536 | 1251046.7099
72 | 2685130.1907 | 1250963.6094 | 2685123.2806 | 1250963.0491
73 | 2685282.4553 | 1250963.4826 | 2685282.5317 | 1250963.4903
74 | 2685300.6881 | 1251050.1209 | 2685275.6454 | 1251047.4642
75 | 2685268.536 | 1251046.7099 | 2685275.6454 | 1251047.4642
76 | 2685174.061 | 1250969.7051 | 2685172.9039 | 1250979.0722
77 | 2685113.637 | 1250851.5428 | 2685124.0731 | 1250848.03
78 | 2685099.1548 | 1250864.923 | 2685107.3946 | 1250853.644 | 2685113.637 | 1250851.5428
79 | 2685141.014 | 1250842.3276 | 2685124.0731 | 1250848.03
80 | 2685129.5218 | 1250928.3315 | 2685130.9444 | 1250928.4333
81 | 2685129.5218 | 1250928.3315 | 2685117.6273 | 1250927.4796 | 2685103.716 | 1250927.8089
82 | 2685103.716 | 1250927.8089 | 2685095.7045 | 1250927.9986 | 2685081.8835 | 1250929.2639
83 | 2685081.8835 | 1250929.2639 | 2685072.188 | 1250930.1515 | 2685066.2002 | 1250931.2138

## bus_geodata
| x | y | coords
0 | 2685107.9777 | 1250796.5637
1 | 2685108.3449 | 1250796.448
2 | 2685100.1393 | 1250799.0322
3 | 2685129.0726 | 1250787.4443
4 | 2685092.9913 | 1250809.9822
5 | 2685045.8022 | 1250815.5291
6 | 2685141.5935 | 1250781.255
7 | 2685161.9315 | 1250771.1654
8 | 2685199.7173 | 1250806.7796
9 | 2685214.4833 | 1250803.6673
10 | 2685208.5355 | 1250809.8865
11 | 2685234.6444 | 1250809.9429
12 | 2685194.9246 | 1250854.9802
13 | 2685195.559 | 1250880.2108
14 | 2685193.1487 | 1250831.4926
15 | 2685175.8698 | 1250859.3422
16 | 2685199.0232 | 1250815.5115
17 | 2685172.0882 | 1250831.868
18 | 2685206.3095 | 1250822.8823
19 | 2685203.3318 | 1250878.7856
20 | 2685235.3034 | 1250867.9225
21 | 2685205.3323 | 1250889.5048
22 | 2685197.2155 | 1250890.9513
23 | 2685203.3101 | 1250852.4822
24 | 2685187.4265 | 1250891.6912
25 | 2685203.0959 | 1250918.3107
26 | 2685214.14 | 1250954.5089
27 | 2685176.5311 | 1250949.7092
28 | 2685220.5452 | 1250955.3128
29 | 2685213.6343 | 1250967.9228
30 | 2685155.6884 | 1250947.041
31 | 2685150.5732 | 1250989.3549
32 | 2685142.9487 | 1250945.4042
33 | 2685205.0999 | 1250933.2519
34 | 2685214.6322 | 1250935.5129
35 | 2685171.3674 | 1250933.4405
36 | 2685210.7493 | 1250917.7393
37 | 2685222.5233 | 1250940.4179
38 | 2685222.699 | 1250940.4659
39 | 2685235.9925 | 1250957.2608
40 | 2685175.2302 | 1250960.2405
41 | 2685250.1039 | 1250943.6916
42 | 2685114.8159 | 1250943.4513
43 | 2685095.5473 | 1250943.6636
44 | 2685114.6475 | 1250952.5296
45 | 2685261.4355 | 1250945.0709
46 | 2685271.5737 | 1250946.2897
47 | 2685266.0651 | 1250916.8657
48 | 2685095.5919 | 1250957.8828
49 | 2685266.0899 | 1250817.6559
50 | 2685242.0686 | 1250812.2539
51 | 2685148.7582 | 1250839.7209
52 | 2685248.668 | 1250863.3815
53 | 2685173.3854 | 1250882.5333
54 | 2685208.8205 | 1251040.3747
55 | 2685150.2745 | 1250930.5022
56 | 2685265.674 | 1250961.1223
57 | 2685174.5978 | 1250965.3597
58 | 2685114.6522 | 1250960.6173
59 | 2685259.612 | 1250885.0552
60 | 2685249.6957 | 1250865.4089
61 | 2685273.5007 | 1250880.8287
62 | 2685282.1525 | 1250947.5614
63 | 2685268.0142 | 1250904.991
64 | 2685313.8303 | 1250966.5393
65 | 2685298.7042 | 1250965.1046
66 | 2685231.4355 | 1251042.7739
67 | 2685123.2806 | 1250963.0491
68 | 2685130.1907 | 1250963.6094
69 | 2685282.5317 | 1250963.4903
70 | 2685282.4553 | 1250963.4826
71 | 2685300.6881 | 1251050.1209
72 | 2685275.6454 | 1251047.4642
73 | 2685268.536 | 1251046.7099
74 | 2685174.061 | 1250969.7051
75 | 2685172.9039 | 1250979.0722
76 | 2685113.637 | 1250851.5428
77 | 2685124.0731 | 1250848.03
78 | 2685099.1548 | 1250864.923
79 | 2685141.014 | 1250842.3276
80 | 2685130.9444 | 1250928.4333
81 | 2685129.5218 | 1250928.3315
82 | 2685103.716 | 1250927.8089
83 | 2685081.8835 | 1250929.2639
84 | 2685066.2002 | 1250931.2138
85 | 2685222.699 | 1250940.4659

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98849 | -0.22157 | 0.001601 | 0.00040125
1 | 0.9885 | -0.22151 | 0.0012512 | 0.00031357
2 | 0.98843 | -0.22277 | 0 | 0
3 | 0.98873 | -0.21706 | 0.0021265 | 0.00053295
4 | 0.98839 | -0.22359 | 0.0034407 | 0.00086233
5 | 0.98819 | -0.22755 | 0.0047169 | 0.0011822
6 | 0.98889 | -0.21379 | 0.0017441 | 0.00043711
7 | 0.9892 | -0.20777 | 0 | 0
8 | 0.98997 | -0.19284 | 0 | 0
9 | 0.98977 | -0.19678 | 0 | 0
10 | 0.98986 | -0.19511 | 0 | 0
11 | 0.98957 | -0.20061 | 0.0017813 | 0.00044645
12 | 0.99222 | -0.1494 | 0 | 0
13 | 0.99376 | -0.11954 | 0.0016513 | 0.00041386
14 | 0.9908 | -0.17673 | 0 | 0
15 | 0.99212 | -0.15119 | 0.0051882 | 0.0013003
16 | 0.9902 | -0.1884 | 0.0060939 | 0.0015273
17 | 0.99028 | -0.18684 | 0.0011158 | 0.00027965
18 | 0.98981 | -0.19592 | 0.0034373 | 0.00086146
19 | 0.99394 | -0.11626 | 0 | 0
20 | 0.9932 | -0.13055 | 0.0048898 | 0.0012255
21 | 0.99392 | -0.11666 | 0.0021142 | 0.00052986
22 | 0.99445 | -0.10643 | 0 | 0
23 | 0.99385 | -0.11795 | 0.0036449 | 0.0009135
24 | 0.99437 | -0.10787 | 0.0027235 | 0.00068257
25 | 0.99717 | -0.054074 | 0.0020142 | 0.0005048
26 | 0.99736 | -0.05057 | 0 | 0
27 | 0.99601 | -0.076473 | 0 | 0
28 | 0.99814 | -0.035633 | 0 | 0
29 | 0.9962 | -0.072682 | 0.024399 | 0.0061149
30 | 0.99549 | -0.086456 | 0 | 0
31 | 0.99508 | -0.094559 | 0.010805 | 0.002708
32 | 0.9953 | -0.090139 | 0.0024245 | 0.00060764
33 | 0.99868 | -0.025232 | 0 | 0
34 | 0.99932 | -0.013076 | 0 | 0
35 | 0.99761 | -0.045891 | 0.0019719 | 0.0004942
36 | 0.99785 | -0.041287 | 0.088655 | 0.022219
37 | 1 | 0 | -0.57002 | -0.14357
38 | 0.99998 | -0.00035422 | 0 | 0
39 | 0.9962 | -0.072963 | 0.075376 | 0.018891
40 | 0.9959 | -0.078701 | 0.0026061 | 0.00065314
41 | 0.99834 | -0.031868 | 0.015853 | 0.0039731
42 | 0.99495 | -0.097031 | 0 | 0
43 | 0.99486 | -0.098671 | 0 | 0
44 | 0.99487 | -0.098474 | 0.0025657 | 0.00064302
45 | 0.99783 | -0.041767 | 0 | 0
46 | 0.99751 | -0.047892 | 0.017123 | 0.0042914
47 | 0.99743 | -0.049427 | 0.012702 | 0.0031835
48 | 0.9948 | -0.099885 | 0.0048464 | 0.0012146
49 | 0.98939 | -0.20412 | 0.0053218 | 0.0013338
50 | 0.98951 | -0.20178 | 0.0030981 | 0.00077645
51 | 0.9897 | -0.19813 | 0.0042379 | 0.0010621
52 | 0.99295 | -0.13532 | 0.0094062 | 0.0023574
53 | 0.99425 | -0.11027 | 0.0055977 | 0.0014029
54 | 0.99157 | -0.16179 | 0 | 0
55 | 0.99699 | -0.057707 | 0.004407 | 0.0011045
56 | 0.99452 | -0.1053 | 0.012582 | 0.0031533
57 | 0.99585 | -0.079547 | 0.0051617 | 0.0012936
58 | 0.99483 | -0.099394 | 0.0014874 | 0.00037278
59 | 0.99274 | -0.13947 | 0 | 0
60 | 0.99293 | -0.13571 | 0 | 0
61 | 0.99261 | -0.14196 | 0.0096846 | 0.0024272
62 | 0.99734 | -0.05109 | 0.017133 | 0.004294
63 | 0.9974 | -0.049975 | 0.0026002 | 0.00065167
64 | 0.99344 | -0.12613 | 0.0027001 | 0.00067672
65 | 0.99348 | -0.12541 | 0.01634 | 0.0040951
66 | 0.99013 | -0.18968 | 0.013629 | 0.0034158
67 | 0.99478 | -0.10024 | 0.0026665 | 0.00066828
68 | 0.99477 | -0.10053 | 0.0023053 | 0.00057777
69 | 0.99376 | -0.11994 | 0.018198 | 0.0045609
70 | 0.99376 | -0.11989 | 0.011583 | 0.002903
71 | 0.98791 | -0.23278 | 0.010144 | 0.0025423
72 | 0.98814 | -0.22821 | 0.0030395 | 0.00076178
73 | 0.98823 | -0.22653 | 0.04227 | 0.010594
74 | 0.99584 | -0.079869 | 0.0015281 | 0.00038298
75 | 0.99581 | -0.080308 | 0.0026493 | 0.00066397
76 | 0.98916 | -0.20867 | 0.0052552 | 0.0013171
77 | 0.98927 | -0.20646 | 0.0050164 | 0.0012572
78 | 0.98904 | -0.21089 | 0.0060395 | 0.0015136
79 | 0.98954 | -0.20127 | 0.0052462 | 0.0013148
80 | 0.99651 | -0.067007 | 0.0036059 | 0.00090373
81 | 0.99648 | -0.067599 | 0.0043717 | 0.0010957
82 | 0.99603 | -0.076346 | 0.0087328 | 0.0021886
83 | 0.99582 | -0.080401 | 0.0042375 | 0.001062
84 | 0.99572 | -0.082154 | 0.0063035 | 0.0015798
85 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0097603 | -0.0024458 | 0.0097604 | 0.0024458 | 3.1158e-08 | 1.5007e-08 | 0.014692 | 0.014692 | 0.014692 | 0.98849 | -0.22157 | 0.9885 | -0.22151 | 4.0364
1 | 0.0081593 | 0.0020446 | -0.0081588 | -0.0020444 | 4.649e-07 | 1.922e-07 | 0.012282 | 0.012282 | 0.012282 | 0.98849 | -0.22157 | 0.98843 | -0.22277 | 3.3743
2 | -0.011012 | -0.0027594 | 0.011014 | 0.0027606 | 2.3302e-06 | 1.2013e-06 | 0.016576 | 0.016576 | 0.016576 | 0.9885 | -0.22151 | 0.98873 | -0.21706 | 4.5538
3 | 0.0034409 | 0.00086224 | -0.0034407 | -0.00086233 | 1.3474e-07 | -8.5399e-08 | 0.0051799 | 0.00518 | 0.00518 | 0.98843 | -0.22277 | 0.98839 | -0.22359 | 1.4231
4 | 0.004718 | 0.0011821 | -0.0047169 | -0.0011822 | 1.0744e-06 | -4.016e-08 | 0.0071025 | 0.0071027 | 0.0071027 | 0.98843 | -0.22277 | 0.98819 | -0.22755 | 1.9513
5 | -0.01314 | -0.0032936 | 0.013142 | 0.0032947 | 2.0484e-06 | 1.1318e-06 | 0.019776 | 0.019776 | 0.019776 | 0.98873 | -0.21706 | 0.98889 | -0.21379 | 5.433
6 | -0.014887 | -0.0037318 | 0.014891 | 0.0037342 | 4.272e-06 | 2.4427e-06 | 0.0224 | 0.0224 | 0.0224 | 0.98889 | -0.21379 | 0.9892 | -0.20777 | 6.154
7 | -0.014891 | -0.0037342 | 0.014901 | 0.0037403 | 1.0605e-05 | 6.0628e-06 | 0.0224 | 0.0224 | 0.0224 | 0.9892 | -0.20777 | 0.98997 | -0.19284 | 6.1539
8 | -0.028545 | -0.0071608 | 0.028551 | 0.0071645 | 6.0477e-06 | 3.7579e-06 | 0.042908 | 0.042908 | 0.042908 | 0.98997 | -0.19284 | 0.9902 | -0.1884 | 11.788
9 | 0.013644 | 0.0034205 | -0.013642 | -0.0034196 | 1.4746e-06 | 8.2356e-07 | 0.020508 | 0.020508 | 0.020508 | 0.98997 | -0.19284 | 0.98986 | -0.19511 | 5.6341
10 | -0.010204 | -0.0025579 | 0.010205 | 0.0025583 | 8.1301e-07 | 4.0192e-07 | 0.015341 | 0.015341 | 0.015341 | 0.98977 | -0.19678 | 0.98986 | -0.19511 | 4.2146
11 | 0.010204 | 0.0025579 | -0.010202 | -0.0025569 | 1.8635e-06 | 9.2135e-07 | 0.015341 | 0.015341 | 0.015341 | 0.98977 | -0.19678 | 0.98957 | -0.20061 | 4.2146
12 | 0.0034374 | 0.00086137 | -0.0034373 | -0.00086146 | 1.3276e-07 | -8.5463e-08 | 0.0051673 | 0.0051673 | 0.0051673 | 0.98986 | -0.19511 | 0.98981 | -0.19592 | 1.4196
13 | 0.008421 | 0.0021105 | -0.0084205 | -0.0021103 | 4.6753e-07 | 1.9933e-07 | 0.012663 | 0.012663 | 0.012663 | 0.98957 | -0.20061 | 0.98951 | -0.20178 | 3.4787
14 | -0.066881 | -0.016822 | 0.066976 | 0.016882 | 9.5543e-05 | 6.082e-05 | 0.10032 | 0.10032 | 0.10032 | 0.99222 | -0.1494 | 0.99376 | -0.11954 | 27.5608
15 | 0.061692 | 0.015521 | -0.061612 | -0.01547 | 8.0454e-05 | 5.1168e-05 | 0.09254 | 0.09254 | 0.09254 | 0.99222 | -0.1494 | 0.9908 | -0.17673 | 25.4231
16 | 0.0051887 | 0.0013003 | -0.0051882 | -0.0013003 | 4.4386e-07 | 3.1614e-08 | 0.0077813 | 0.0077814 | 0.0077814 | 0.99222 | -0.1494 | 0.99212 | -0.15119 | 2.1378
17 | -0.068628 | -0.017296 | 0.068671 | 0.017324 | 4.3062e-05 | 2.7419e-05 | 0.10279 | 0.10279 | 0.10279 | 0.99376 | -0.11954 | 0.99445 | -0.10643 | 28.2401
18 | 0.034665 | 0.0087039 | -0.034645 | -0.0086918 | 1.9279e-05 | 1.2094e-05 | 0.052066 | 0.052066 | 0.052066 | 0.9908 | -0.17673 | 0.9902 | -0.1884 | 14.3038
19 | 0.026947 | 0.0067662 | -0.026934 | -0.0067582 | 1.2986e-05 | 8.039e-06 | 0.040474 | 0.040474 | 0.040474 | 0.9908 | -0.17673 | 0.99028 | -0.18684 | 11.1193
20 | 0.025818 | 0.0064786 | -0.025804 | -0.00647 | 1.3895e-05 | 8.5764e-06 | 0.038798 | 0.038798 | 0.038798 | 0.99028 | -0.18684 | 0.9897 | -0.19813 | 10.6588
21 | 0.024004 | 0.0060242 | -0.023988 | -0.0060141 | 1.6356e-05 | 1.003e-05 | 0.03594 | 0.03594 | 0.03594 | 0.99394 | -0.11626 | 0.9932 | -0.13055 | 9.8735
22 | 0.0021142 | 0.00052974 | -0.0021142 | -0.00052986 | 4.0965e-08 | -1.1511e-07 | 0.0031651 | 0.0031652 | 0.0031652 | 0.99394 | -0.11626 | 0.99392 | -0.11666 | 0.86955
23 | -0.029764 | -0.0074673 | 0.029778 | 0.0074759 | 1.3947e-05 | 8.6833e-06 | 0.044562 | 0.044562 | 0.044562 | 0.99394 | -0.11626 | 0.99445 | -0.10643 | 12.2422
24 | 0.0036452 | 0.00091335 | -0.0036449 | -0.0009135 | 2.9453e-07 | -1.5329e-07 | 0.0054571 | 0.0054573 | 0.0054573 | 0.99394 | -0.11626 | 0.99385 | -0.11795 | 1.4992
25 | 0.019098 | 0.0047887 | -0.019094 | -0.0047861 | 4.3338e-06 | 2.591e-06 | 0.028614 | 0.028614 | 0.028614 | 0.9932 | -0.13055 | 0.99295 | -0.13532 | 7.861
26 | 0.0083224 | 0.0020858 | -0.0083218 | -0.0020856 | 5.709e-07 | 2.3802e-07 | 0.012453 | 0.012453 | 0.012453 | 0.99445 | -0.10643 | 0.99437 | -0.10787 | 3.4212
27 | -0.10677 | -0.026885 | 0.10704 | 0.027057 | 0.00026802 | 0.00017117 | 0.15981 | 0.15981 | 0.15981 | 0.99445 | -0.10643 | 0.99717 | -0.054074 | 43.9034
28 | 0.0055983 | 0.001403 | -0.0055977 | -0.0014029 | 6.4017e-07 | 9.4222e-08 | 0.0083775 | 0.0083776 | 0.0083776 | 0.99437 | -0.10787 | 0.99425 | -0.11027 | 2.3015
29 | -0.10905 | -0.027561 | 0.1092 | 0.027658 | 0.00015103 | 9.6464e-05 | 0.16281 | 0.16281 | 0.16281 | 0.99717 | -0.054074 | 0.99868 | -0.025232 | 44.7291
30 | 0.039122 | 0.0098315 | -0.039074 | -0.0098011 | 4.8312e-05 | 3.0427e-05 | 0.058378 | 0.058378 | 0.058378 | 0.99736 | -0.05057 | 0.99601 | -0.076473 | 16.0379
31 | -0.13319 | -0.033635 | 0.13329 | 0.033696 | 9.5406e-05 | 6.0976e-05 | 0.19881 | 0.19881 | 0.19881 | 0.99736 | -0.05057 | 0.99814 | -0.035633 | 54.6173
32 | 0.09407 | 0.023803 | -0.09397 | -0.02374 | 9.9708e-05 | 6.3637e-05 | 0.14043 | 0.14043 | 0.14043 | 0.99736 | -0.05057 | 0.9962 | -0.072682 | 38.5794
33 | 0.011947 | 0.0029945 | -0.011946 | -0.0029938 | 1.2676e-06 | 6.732e-07 | 0.017848 | 0.017848 | 0.017848 | 0.99601 | -0.076473 | 0.9959 | -0.078701 | 4.9034
34 | 0.027127 | 0.0068067 | -0.027114 | -0.0067987 | 1.2906e-05 | 7.9872e-06 | 0.04053 | 0.04053 | 0.04053 | 0.99601 | -0.076473 | 0.99549 | -0.086456 | 11.1346
35 | -0.27045 | -0.068217 | 0.2709 | 0.068509 | 0.00045761 | 0.00029248 | 0.40333 | 0.40333 | 0.40333 | 0.99814 | -0.035633 | 0.99998 | -0.00035422 | 55.4027
36 | 0.13716 | 0.034521 | -0.13691 | -0.034365 | 0.00024423 | 0.00015611 | 0.20453 | 0.20453 | 0.20453 | 0.99814 | -0.035633 | 0.9962 | -0.072963 | 56.1882
37 | 0.069572 | 0.017625 | -0.069275 | -0.017436 | 0.00029639 | 0.00018874 | 0.10399 | 0.10399 | 0.10399 | 0.9962 | -0.072682 | 0.99157 | -0.16179 | 28.5675
38 | 0.010809 | 0.0027101 | -0.010805 | -0.002708 | 4.1725e-06 | 2.1165e-06 | 0.016157 | 0.016157 | 0.016157 | 0.99549 | -0.086456 | 0.99508 | -0.094559 | 4.4388
39 | 0.016305 | 0.0040886 | -0.016302 | -0.0040869 | 2.8612e-06 | 1.6642e-06 | 0.024373 | 0.024373 | 0.024373 | 0.99549 | -0.086456 | 0.9953 | -0.090139 | 6.6958
40 | 0.013878 | 0.0034793 | -0.013873 | -0.0034767 | 4.5566e-06 | 2.5495e-06 | 0.020748 | 0.020748 | 0.020748 | 0.9953 | -0.090139 | 0.99495 | -0.097031 | 5.7
41 | -0.14291 | -0.036132 | 0.14299 | 0.036185 | 8.3372e-05 | 5.3101e-05 | 0.21304 | 0.21304 | 0.21304 | 0.99868 | -0.025232 | 0.99932 | -0.013076 | 29.2641
42 | 0.033705 | 0.0084744 | -0.033672 | -0.0084536 | 3.3218e-05 | 2.08e-05 | 0.050229 | 0.050229 | 0.050229 | 0.99868 | -0.025232 | 0.99761 | -0.045891 | 13.7992
43 | 0.088774 | 0.022295 | -0.088655 | -0.022219 | 0.00011932 | 7.613e-05 | 0.1322 | 0.1322 | 0.1322 | 0.99932 | -0.013076 | 0.99785 | -0.041287 | 36.3199
44 | -0.23177 | -0.058481 | 0.23191 | 0.058573 | 0.00014522 | 9.2557e-05 | 0.34525 | 0.34525 | 0.34525 | 0.99932 | -0.013076 | 1 | 0 | 31.616
45 | 0.0317 | 0.0079594 | -0.031682 | -0.0079482 | 1.7858e-05 | 1.1151e-05 | 0.047288 | 0.047288 | 0.047288 | 0.99761 | -0.045891 | 0.99699 | -0.057707 | 12.9912
46 | 0.33646 | 0.084995 | -0.33645 | -0.084991 | 5.7121e-06 | 3.6486e-06 | 0.50089 | 0.50089 | 0.50089 | 1 | 0 | 0.99998 | -0.00035422 | 45.8695
47 | 0.065552 | 0.016482 | -0.065453 | -0.016419 | 9.8496e-05 | 6.2676e-05 | 0.097563 | 0.097563 | 0.097563 | 0.99998 | -0.00035422 | 0.99834 | -0.031868 | 26.803
48 | 0.061537 | 0.015474 | -0.061442 | -0.015413 | 9.4875e-05 | 6.0331e-05 | 0.091936 | 0.091936 | 0.091936 | 0.9962 | -0.072963 | 0.99452 | -0.1053 | 25.2572
49 | 0.0093395 | 0.0023406 | -0.0093391 | -0.0023405 | 3.7667e-07 | 1.7395e-07 | 0.013955 | 0.013955 | 0.013955 | 0.9959 | -0.078701 | 0.99585 | -0.079547 | 3.8337
50 | 0.0496 | 0.012446 | -0.049577 | -0.012431 | 2.34e-05 | 1.4827e-05 | 0.073934 | 0.073934 | 0.073934 | 0.99834 | -0.031868 | 0.99783 | -0.041767 | 20.3116
51 | 0.004847 | 0.0012146 | -0.0048467 | -0.0012146 | 3.7861e-07 | -7.1874e-09 | 0.0072491 | 0.0072491 | 0.0072491 | 0.99495 | -0.097031 | 0.99486 | -0.098671 | 1.9915
52 | 0.009026 | 0.0022621 | -0.0090254 | -0.0022619 | 6.2047e-07 | 2.7919e-07 | 0.013499 | 0.013499 | 0.013499 | 0.99495 | -0.097031 | 0.99487 | -0.098474 | 3.7085
53 | 0.0048467 | 0.0012146 | -0.0048464 | -0.0012146 | 2.8021e-07 | -5.2881e-09 | 0.0072491 | 0.0072492 | 0.0072492 | 0.99486 | -0.098671 | 0.9948 | -0.099885 | 1.9915
54 | 0.0064597 | 0.0016188 | -0.0064594 | -0.0016188 | 2.8316e-07 | 7.6189e-08 | 0.0096616 | 0.0096617 | 0.0096617 | 0.99487 | -0.098474 | 0.99483 | -0.099394 | 2.6543
55 | 0.034269 | 0.0085932 | -0.034259 | -0.0085869 | 1.0001e-05 | 6.2672e-06 | 0.051105 | 0.051105 | 0.051105 | 0.99783 | -0.041767 | 0.99751 | -0.047892 | 14.0399
56 | 0.015308 | 0.0038383 | -0.015303 | -0.0038351 | 5.5862e-06 | 3.202e-06 | 0.022829 | 0.022829 | 0.022829 | 0.99783 | -0.041767 | 0.99743 | -0.049427 | 6.2718
57 | 0.017136 | 0.0042955 | -0.017133 | -0.004294 | 2.6109e-06 | 1.5319e-06 | 0.025562 | 0.025563 | 0.025563 | 0.99751 | -0.047892 | 0.99734 | -0.05109 | 7.0227
58 | 0.0026002 | 0.00065155 | -0.0026002 | -0.00065167 | 6.7905e-08 | -1.136e-07 | 0.0038791 | 0.0038792 | 0.0038792 | 0.99743 | -0.049427 | 0.9974 | -0.049975 | 1.0657
59 | -0.0053218 | -0.0013338 | 0.0053224 | 0.0013338 | 5.9259e-07 | 6.2425e-08 | 0.0080039 | 0.0080038 | 0.0080039 | 0.98939 | -0.20412 | 0.98951 | -0.20178 | 2.1989
60 | 0.021566 | 0.0054078 | -0.021563 | -0.0054059 | 3.2218e-06 | 1.957e-06 | 0.032426 | 0.032426 | 0.032426 | 0.9897 | -0.19813 | 0.98954 | -0.20127 | 8.9083
61 | 0.0096876 | 0.0024286 | -0.0096874 | -0.0024286 | 1.7966e-07 | 8.5579e-08 | 0.014518 | 0.014518 | 0.014518 | 0.99295 | -0.13532 | 0.99293 | -0.13571 | 3.9884
62 | 0.069275 | 0.017436 | -0.069183 | -0.017377 | 9.2216e-05 | 5.8725e-05 | 0.10399 | 0.10399 | 0.10399 | 0.99157 | -0.16179 | 0.99013 | -0.18968 | 28.5675
63 | 0.027275 | 0.0068437 | -0.027263 | -0.0068362 | 1.2089e-05 | 7.4836e-06 | 0.040711 | 0.040711 | 0.040711 | 0.99699 | -0.057707 | 0.99651 | -0.067007 | 11.1843
64 | 0.04886 | 0.01226 | -0.048826 | -0.012239 | 3.3976e-05 | 2.1525e-05 | 0.073111 | 0.073111 | 0.073111 | 0.99452 | -0.1053 | 0.99376 | -0.11989 | 20.0854
65 | 0.0041775 | 0.0010468 | -0.0041774 | -0.0010469 | 6.3973e-08 | -1.6023e-08 | 0.006242 | 0.006242 | 0.006242 | 0.99585 | -0.079547 | 0.99584 | -0.079869 | 1.7148
66 | 0.004972 | 0.001246 | -0.0049718 | -0.001246 | 2.0133e-07 | 2.8202e-09 | 0.0074369 | 0.0074369 | 0.0074369 | 0.99483 | -0.099394 | 0.99478 | -0.10024 | 2.0431
67 | -0.0096857 | -0.0024277 | 0.0096874 | 0.0024286 | 1.7385e-06 | 8.2818e-07 | 0.014518 | 0.014518 | 0.014518 | 0.99274 | -0.13947 | 0.99293 | -0.13571 | 3.9885
68 | 0.0096857 | 0.0024277 | -0.0096846 | -0.0024272 | 1.1475e-06 | 5.467e-07 | 0.014518 | 0.014518 | 0.014518 | 0.99274 | -0.13947 | 0.99261 | -0.14196 | 3.9885
69 | -0.0027001 | -0.00067672 | 0.0027002 | 0.00067658 | 9.3213e-08 | -1.3711e-07 | 0.0040444 | 0.0040443 | 0.0040444 | 0.99344 | -0.12613 | 0.99348 | -0.12541 | 1.1111
70 | -0.01904 | -0.0047717 | 0.019045 | 0.0047747 | 4.9567e-06 | 2.9618e-06 | 0.028518 | 0.028518 | 0.028518 | 0.99348 | -0.12541 | 0.99376 | -0.11994 | 7.8345
71 | 0.055554 | 0.013961 | -0.055456 | -0.0139 | 9.7554e-05 | 6.1956e-05 | 0.083503 | 0.083503 | 0.083503 | 0.99013 | -0.18968 | 0.98823 | -0.22653 | 22.9404
72 | 0.0023053 | 0.0005777 | -0.0023053 | -0.00057777 | 3.0915e-08 | -7.0219e-08 | 0.0034484 | 0.0034484 | 0.0034484 | 0.99478 | -0.10024 | 0.99477 | -0.10053 | 0.94736
73 | -0.037243 | -0.0093356 | 0.037243 | 0.0093356 | 8.959e-08 | 5.6341e-08 | 0.055767 | 0.055767 | 0.055767 | 0.99376 | -0.11994 | 0.99376 | -0.11989 | 15.3206
74 | -0.010144 | -0.0025423 | 0.010146 | 0.0025434 | 2.2046e-06 | 1.0884e-06 | 0.015279 | 0.015279 | 0.015279 | 0.98791 | -0.23278 | 0.98814 | -0.22821 | 4.1975
75 | -0.013186 | -0.0033051 | 0.013187 | 0.0033057 | 1.057e-06 | 5.8488e-07 | 0.019856 | 0.019856 | 0.019856 | 0.98814 | -0.22821 | 0.98823 | -0.22653 | 5.4549
76 | 0.0026493 | 0.00066388 | -0.0026493 | -0.00066397 | 5.5467e-08 | -8.7294e-08 | 0.0039587 | 0.0039587 | 0.0039587 | 0.99584 | -0.079869 | 0.99581 | -0.080308 | 1.0876
77 | -0.011295 | -0.0028308 | 0.011296 | 0.0028315 | 1.1922e-06 | 6.2165e-07 | 0.016992 | 0.016992 | 0.016992 | 0.98916 | -0.20867 | 0.98927 | -0.20646 | 4.6681
78 | 0.0060401 | 0.0015138 | -0.0060395 | -0.0015136 | 6.3638e-07 | 1.4347e-07 | 0.0090863 | 0.0090864 | 0.0090864 | 0.98916 | -0.20867 | 0.98904 | -0.21089 | 2.4963
79 | -0.016313 | -0.0040887 | 0.016317 | 0.0040911 | 4.0357e-06 | 2.3533e-06 | 0.024537 | 0.024537 | 0.024537 | 0.98927 | -0.20646 | 0.98954 | -0.20127 | 6.741
80 | 0.023657 | 0.0059325 | -0.023656 | -0.0059321 | 6.6744e-07 | 4.0858e-07 | 0.035326 | 0.035326 | 0.035326 | 0.99651 | -0.067007 | 0.99648 | -0.067599 | 9.705
81 | 0.019284 | 0.0048364 | -0.019276 | -0.0048316 | 8.0363e-06 | 4.8068e-06 | 0.028798 | 0.028798 | 0.028798 | 0.99648 | -0.067599 | 0.99603 | -0.076346 | 7.9116
82 | 0.010544 | 0.002643 | -0.010542 | -0.002642 | 2.037e-06 | 1.0188e-06 | 0.015752 | 0.015752 | 0.015752 | 0.99603 | -0.076346 | 0.99582 | -0.080401 | 4.3274
83 | 0.006304 | 0.0015799 | -0.0063035 | -0.0015798 | 5.2634e-07 | 1.311e-07 | 0.0094199 | 0.00942 | 0.00942 | 0.99582 | -0.080401 | 0.99572 | -0.082154 | 2.5879

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.58968 | 0.14849

## res_load
| p_mw | q_mvar
0 | 0.001601 | 0.00040125
1 | 0.0012512 | 0.00031357
2 | 0.0021265 | 0.00053295
3 | 0.0034407 | 0.00086233
4 | 0.0047169 | 0.0011822
5 | 0.0017441 | 0.00043711
6 | 0.0017813 | 0.00044645
7 | 0.0016513 | 0.00041386
8 | 0.0051882 | 0.0013003
9 | 0.0060939 | 0.0015273
10 | 0.0011158 | 0.00027965
11 | 0.0034373 | 0.00086146
12 | 0.0048898 | 0.0012255
13 | 0.0021142 | 0.00052986
14 | 0.0036449 | 0.0009135
15 | 0.0027235 | 0.00068257
16 | 0.0020142 | 0.0005048
17 | 0.024399 | 0.0061149
18 | 0.010805 | 0.002708
19 | 0.0024245 | 0.00060764
20 | 0.0019719 | 0.0004942
21 | 0.088655 | 0.022219
22 | 0.019653 | 0.0049256
23 | 0.075376 | 0.018891
24 | 0.0026061 | 0.00065314
25 | 0.015853 | 0.0039731
26 | 0.0025657 | 0.00064302
27 | 0.017123 | 0.0042914
28 | 0.012702 | 0.0031835
29 | 0.0048464 | 0.0012146
30 | 0.0053218 | 0.0013338
31 | 0.0030981 | 0.00077645
32 | 0.0042379 | 0.0010621
33 | 0.0094062 | 0.0023574
34 | 0.0055977 | 0.0014029
35 | 0.004407 | 0.0011045
36 | 0.012582 | 0.0031533
37 | 0.0051617 | 0.0012936
38 | 0.0014874 | 0.00037278
39 | 0.0096846 | 0.0024272
40 | 0.017133 | 0.004294
41 | 0.0026002 | 0.00065167
42 | 0.0027001 | 0.00067672
43 | 0.01634 | 0.0040951
44 | 0.013629 | 0.0034158
45 | 0.0026665 | 0.00066828
46 | 0.0023053 | 0.00057777
47 | 0.018198 | 0.0045609
48 | 0.011583 | 0.002903
49 | 0.010144 | 0.0025423
50 | 0.0030395 | 0.00076178
51 | 0.04227 | 0.010594
52 | 0.0015281 | 0.00038298
53 | 0.0026493 | 0.00066397
54 | 0.0052552 | 0.0013171
55 | 0.0050164 | 0.0012572
56 | 0.0060395 | 0.0015136
57 | 0.0052462 | 0.0013148
58 | 0.0036059 | 0.00090373
59 | 0.0043717 | 0.0010957
60 | 0.0087328 | 0.0021886
61 | 0.0042375 | 0.001062
62 | 0.0063035 | 0.0015798

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1