## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-529_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-529_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-529_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-529_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-529_0_8_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_261-529_0_8_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_261-529_0_8_node_62 | 0.4 | n |  | TRUE
7 | bus_LV_261-529_0_8_node_63 | 0.4 | n |  | TRUE
8 | bus_LV_261-529_0_8_node_61 | 0.4 | n |  | TRUE
9 | bus_LV_261-529_0_8_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_261-529_0_8_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_261-529_0_8_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_261-529_0_8_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_261-529_0_8_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_261-529_0_8_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_261-529_0_8_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_261-529_0_8_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_261-529_0_8_node_80 | 0.4 | n |  | TRUE
18 | bus_LV_261-529_0_8_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_261-529_0_8_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_261-529_0_8_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_261-529_0_8_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_261-529_0_8_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_261-529_0_8_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_261-529_0_8_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_261-529_0_8_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_261-529_0_8_node_77 | 0.4 | n |  | TRUE
27 | bus_LV_261-529_0_8_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_261-529_0_8_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_261-529_0_8_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_261-529_0_8_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_261-529_0_8_node_60 | 0.4 | n |  | TRUE
32 | bus_LV_261-529_0_8_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_261-529_0_8_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_261-529_0_8_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_261-529_0_8_node_81 | 0.4 | n |  | TRUE
36 | bus_LV_261-529_0_8_node_79 | 0.4 | n |  | TRUE
37 | bus_LV_261-529_0_8_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_261-529_0_8_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_261-529_0_8_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_261-529_0_8_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_261-529_0_8_node_74 | 0.4 | n |  | TRUE
42 | bus_LV_261-529_0_8_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_261-529_0_8_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_261-529_0_8_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_261-529_0_8_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_261-529_0_8_node_22 | 0.4 | n |  | TRUE
47 | bus_LV_261-529_0_8_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_261-529_0_8_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_261-529_0_8_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_261-529_0_8_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_261-529_0_8_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_261-529_0_8_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_261-529_0_8_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_261-529_0_8_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_261-529_0_8_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_261-529_0_8_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_261-529_0_8_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_261-529_0_8_node_75 | 0.4 | n |  | TRUE
59 | bus_LV_261-529_0_8_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_261-529_0_8_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_261-529_0_8_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_261-529_0_8_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_261-529_0_8_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_261-529_0_8_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_261-529_0_8_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_261-529_0_8_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_261-529_0_8_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_261-529_0_8_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_261-529_0_8_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_261-529_0_8_node_68 | 0.4 | n |  | TRUE
71 | bus_MV_537_0_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-529_0_8_load_0 | 0 | 0.0084919 | 0.0021283 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-529_0_8_load_3 | 3 | 0.0060914 | 0.0015266 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-529_0_8_load_62 | 6 | 0.0066536 | 0.0016675 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-529_0_8_load_63 | 7 | 0.0064946 | 0.0016277 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-529_0_8_load_61 | 8 | 0.012217 | 0.0030619 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-529_0_8_load_20 | 10 | 0.0089015 | 0.0022309 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-529_0_8_load_27 | 12 | 0.0093798 | 0.0023508 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-529_0_8_load_32 | 13 | 0.0084362 | 0.0021143 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-529_0_8_load_44 | 16 | 0.053176 | 0.013327 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-529_0_8_load_80 | 17 | 0.0024218 | 0.00060697 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-529_0_8_load_41 | 20 | 0.013112 | 0.0032862 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-529_0_8_load_40 | 22 | 0.041717 | 0.010455 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-529_0_8_load_38 | 23 | 0.0092269 | 0.0023125 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-529_0_8_load_58 | 24 | 0.025225 | 0.0063219 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-529_0_8_load_77 | 26 | 0.0071887 | 0.0018017 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-529_0_8_load_30 | 27 | 0.023267 | 0.0058312 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-529_0_8_load_24 | 28 | 0.0057288 | 0.0014358 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-529_0_8_load_23 | 29 | 0.0059672 | 0.0014955 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-529_0_8_load_60 | 31 | 0.023621 | 0.00592 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-529_0_8_load_21 | 32 | 0.0060208 | 0.001509 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-529_0_8_load_26 | 33 | 0.010309 | 0.0025837 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-529_0_8_load_31 | 34 | 0.0064833 | 0.0016249 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-529_0_8_load_81 | 35 | 0.0025161 | 0.0006306 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-529_0_8_load_79 | 36 | 0.0025226 | 0.00063221 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-529_0_8_load_78 | 38 | 0.0025267 | 0.00063324 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-529_0_8_load_33 | 39 | 0.0096795 | 0.0024259 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-529_0_8_load_35 | 40 | 0.0058251 | 0.0014599 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-529_0_8_load_74 | 41 | 0.0099798 | 0.0025012 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-529_0_8_load_71 | 42 | 0.015659 | 0.0039244 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-529_0_8_load_39 | 43 | 0.01591 | 0.0039874 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-529_0_8_load_59 | 44 | 0.014559 | 0.0036489 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-529_0_8_load_57 | 45 | 0.0076443 | 0.0019158 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-529_0_8_load_22 | 46 | 0.0052268 | 0.00131 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-529_0_8_load_28 | 47 | 0.012897 | 0.0032324 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-529_0_8_load_34 | 49 | 0.0037171 | 0.00093159 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-529_0_8_load_36 | 50 | 0.0041269 | 0.0010343 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-529_0_8_load_37 | 51 | 0.0021378 | 0.00053579 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-529_0_8_load_43 | 52 | 0.0031334 | 0.00078531 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-529_0_8_load_45 | 53 | 0.0045568 | 0.001142 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-529_0_8_load_46 | 54 | 0.0090199 | 0.0022606 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-529_0_8_load_48 | 56 | 0.0063999 | 0.001604 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-529_0_8_load_49 | 57 | 0.0053403 | 0.0013384 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-529_0_8_load_75 | 58 | 0.0038973 | 0.00097674 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-529_0_8_load_54 | 59 | 0.0064515 | 0.0016169 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-529_0_8_load_52 | 60 | 0.0042541 | 0.0010662 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-529_0_8_load_56 | 61 | 0.028104 | 0.0070436 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-529_0_8_load_51 | 63 | 0.024782 | 0.0062109 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-529_0_8_load_69 | 65 | 0.024923 | 0.0062462 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-529_0_8_load_65 | 66 | 0.010566 | 0.0026481 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-529_0_8_load_64 | 68 | 0.0074722 | 0.0018727 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-529_0_8_load_66 | 69 | 0.02595 | 0.0065036 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-529_0_8_load_68 | 70 | 0.0098397 | 0.0024661 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-529_0_8_line_0 |  | 0 | 1 | 0.020952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-529_0_8_line_1 |  | 0 | 2 | 0.032528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-529_0_8_line_2 |  | 1 | 3 | 0.022785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-529_0_8_line_3 |  | 2 | 4 | 0.018741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-529_0_8_line_4 |  | 4 | 9 | 0.038358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-529_0_8_line_5 |  | 4 | 10 | 0.0068672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-529_0_8_line_6 |  | 5 | 6 | 0.018355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_261-529_0_8_line_7 |  | 5 | 7 | 0.0089262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-529_0_8_line_8 |  | 5 | 8 | 0.023692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_261-529_0_8_line_9 |  | 6 | 30 | 0.03227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_261-529_0_8_line_10 |  | 8 | 31 | 0.020004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_261-529_0_8_line_11 |  | 9 | 18 | 0.050276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_261-529_0_8_line_12 |  | 9 | 19 | 0.014514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_261-529_0_8_line_13 |  | 9 | 20 | 0.022418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-529_0_8_line_14 |  | 10 | 32 | 0.019959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-529_0_8_line_15 |  | 11 | 12 | 0.017765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-529_0_8_line_16 |  | 11 | 13 | 0.033896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-529_0_8_line_17 |  | 12 | 33 | 0.004539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-529_0_8_line_18 |  | 13 | 34 | 0.011526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-529_0_8_line_19 |  | 14 | 15 | 0.021734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-529_0_8_line_20 |  | 14 | 16 | 0.0087419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-529_0_8_line_21 |  | 15 | 17 | 0.034961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-529_0_8_line_22 |  | 16 | 37 | 0.023959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-529_0_8_line_23 |  | 17 | 38 | 0.014269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-529_0_8_line_24 |  | 18 | 25 | 0.06305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-529_0_8_line_25 |  | 18 | 26 | 0.029177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_261-529_0_8_line_26 |  | 19 | 24 | 0.016081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_261-529_0_8_line_27 |  | 21 | 22 | 0.015064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-529_0_8_line_28 |  | 21 | 23 | 0.028292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-529_0_8_line_29 |  | 22 | 37 | 0.019706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-529_0_8_line_30 |  | 23 | 43 | 0.0098522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_261-529_0_8_line_31 |  | 24 | 44 | 0.012763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_261-529_0_8_line_32 |  | 25 | 27 | 0.024706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-529_0_8_line_33 |  | 26 | 45 | 0.011002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_261-529_0_8_line_34 |  | 28 | 29 | 0.011295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-529_0_8_line_35 |  | 29 | 46 | 0.018249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-529_0_8_line_36 |  | 30 | 66 | 0.027496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-529_0_8_line_37 |  | 30 | 64 | 0.011659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_261-529_0_8_line_38 |  | 31 | 44 | 0.013751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_261-529_0_8_line_39 |  | 32 | 46 | 0.011372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-529_0_8_line_40 |  | 33 | 47 | 0.024811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-529_0_8_line_41 |  | 35 | 36 | 0.0067312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-529_0_8_line_42 |  | 36 | 38 | 0.0067307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-529_0_8_line_43 |  | 37 | 52 | 0.012395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-529_0_8_line_44 |  | 39 | 40 | 0.01928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-529_0_8_line_45 |  | 40 | 49 | 0.017349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-529_0_8_line_46 |  | 41 | 42 | 0.013905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-529_0_8_line_47 |  | 42 | 67 | 0.01226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-529_0_8_line_48 |  | 43 | 48 | 0.0044073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_261-529_0_8_line_49 |  | 45 | 48 | 0.016493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_261-529_0_8_line_50 |  | 47 | 48 | 0.016563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-529_0_8_line_51 |  | 49 | 50 | 0.010424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-529_0_8_line_52 |  | 50 | 51 | 0.0066066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-529_0_8_line_53 |  | 51 | 52 | 0.013608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-529_0_8_line_54 |  | 53 | 54 | 0.0029657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-529_0_8_line_55 |  | 53 | 55 | 0.029175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-529_0_8_line_56 |  | 54 | 56 | 0.024171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-529_0_8_line_57 |  | 55 | 57 | 0.017926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-529_0_8_line_58 |  | 56 | 58 | 0.0059585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-529_0_8_line_59 |  | 57 | 59 | 0.030686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-529_0_8_line_60 |  | 59 | 60 | 0.00073199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-529_0_8_line_61 |  | 60 | 63 | 0.026644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-529_0_8_line_62 |  | 61 | 62 | 0.010658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-529_0_8_line_63 |  | 62 | 64 | 0.020652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-529_0_8_line_64 |  | 62 | 63 | 0.0064395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-529_0_8_line_65 |  | 64 | 65 | 0.0033362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-529_0_8_line_66 |  | 65 | 67 | 0.012968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-529_0_8_line_67 |  | 66 | 68 | 0.010191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-529_0_8_line_68 |  | 68 | 69 | 0.0074548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-529_0_8_line_69 |  | 69 | 70 | 0.0068881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-529_0_8_trafo_16 | 0.63 MVA 20/0.4 kV | 71 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2683824.186 | 1248447.3788 | 2683811.7756 | 1248464.2594
1 | 2683791.489 | 1248487.6465 | 2683792.2963 | 1248488.2361 | 2683793.1629 | 1248488.3707 | 2683794.0047 | 1248488.1269 | 2683794.6548 | 1248487.5467 | 2683811.7756 | 1248464.2594
2 | 2683824.186 | 1248447.3788 | 2683819.1312 | 1248443.8047 | 2683809.4261 | 1248439.5644 | 2683803.4944 | 1248440.4904
3 | 2683791.489 | 1248487.6465 | 2683791.2922 | 1248488.7445 | 2683791.3222 | 1248495.172 | 2683791.3677 | 1248506.3698
4 | 2683791.5353 | 1248544.7228 | 2683791.3677 | 1248506.3698
5 | 2683791.3677 | 1248506.3698 | 2683795.4381 | 1248500.8389
6 | 2683777.799 | 1248458.109 | 2683775.3741 | 1248458.1525 | 2683770.6647 | 1248462.7338 | 2683763.907 | 1248469.2102
7 | 2683777.799 | 1248458.109 | 2683777.7267 | 1248449.1831
8 | 2683777.799 | 1248458.109 | 2683777.5864 | 1248481.7998
9 | 2683739.1611 | 1248488.5969 | 2683744.5271 | 1248487.7832 | 2683763.907 | 1248469.2102
10 | 2683777.5864 | 1248481.7998 | 2683777.4069 | 1248501.8025
11 | 2683840.4415 | 1248556.0558 | 2683836.5012 | 1248554.321 | 2683794.1132 | 1248546.138 | 2683791.5353 | 1248544.7228
12 | 2683791.5353 | 1248544.7228 | 2683790.1914 | 1248544.6926 | 2683787.5188 | 1248544.6326 | 2683783.8723 | 1248544.5477 | 2683783.4117 | 1248544.5412 | 2683781.9848 | 1248544.5099 | 2683778.4289 | 1248544.4262 | 2683777.0246 | 1248544.3953
13 | 2683791.5353 | 1248544.7228 | 2683791.5331 | 1248567.141
14 | 2683795.4381 | 1248500.8389 | 2683807.2684 | 1248484.7638
15 | 2683920.4837 | 1248530.1689 | 2683916.3414 | 1248536.2926 | 2683910.8548 | 1248545.0943
16 | 2683920.4837 | 1248530.1689 | 2683946.977 | 1248551.3131
17 | 2683910.8548 | 1248545.0943 | 2683908.4536 | 1248548.9462
18 | 2683946.977 | 1248551.3131 | 2683955.9855 | 1248558.5027
19 | 2683875.6264 | 1248655.3381 | 2683877.3732 | 1248657.8424 | 2683878.9868 | 1248660.1559 | 2683880.2157 | 1248661.9079 | 2683881.881 | 1248664.2999 | 2683887.5184 | 1248660.31 | 2683891.1537 | 1248661.718
20 | 2683875.6264 | 1248655.3381 | 2683879.523 | 1248653.7587 | 2683883.509 | 1248651.5908
21 | 2683891.1537 | 1248661.718 | 2683894.8664 | 1248659.2576 | 2683919.8086 | 1248641.6916
22 | 2683902.7293 | 1248637.3082 | 2683884.584 | 1248651.006 | 2683883.509 | 1248651.5908
23 | 2683931.4747 | 1248633.4756 | 2683919.8086 | 1248641.6916
24 | 2683840.4415 | 1248556.0558 | 2683865.1245 | 1248524.4036 | 2683847.0473 | 1248510.3265
25 | 2683840.4415 | 1248556.0558 | 2683865.4076 | 1248571.156
26 | 2683777.0246 | 1248544.3953 | 2683777.1689 | 1248528.3149
27 | 2683870.6803 | 1248623.8225 | 2683884.5656 | 1248629.6652
28 | 2683870.6803 | 1248623.8225 | 2683882.8171 | 1248598.2664
29 | 2683902.7293 | 1248637.3082 | 2683884.5656 | 1248629.6652
30 | 2683882.8171 | 1248598.2664 | 2683887.0435 | 1248589.3668
31 | 2683777.1689 | 1248528.3149 | 2683777.2835 | 1248515.5526
32 | 2683847.0473 | 1248510.3265 | 2683841.3478 | 1248505.887 | 2683830.4493 | 1248519.5549
33 | 2683865.4076 | 1248571.156 | 2683874.8216 | 1248576.8499
34 | 2683824.7729 | 1248460.8677 | 2683831.3799 | 1248451.7066
35 | 2683814.009 | 1248475.6045 | 2683820.7827 | 1248466.4004 | 2683824.7729 | 1248460.8677
36 | 2683739.1611 | 1248488.5969 | 2683737.9486 | 1248475.5256 | 2683736.6184 | 1248461.2189
37 | 2683739.8046 | 1248500.2368 | 2683739.1611 | 1248488.5969
38 | 2683777.4069 | 1248501.8025 | 2683777.2835 | 1248515.5526
39 | 2683814.009 | 1248475.6045 | 2683807.2684 | 1248484.7638
40 | 2683896.365 | 1248570.5833 | 2683902.1533 | 1248559.0531 | 2683908.4536 | 1248548.9462
41 | 2683936.9776 | 1248629.6 | 2683942.4809 | 1248625.7242
42 | 2683931.4747 | 1248633.4756 | 2683936.9776 | 1248629.6
43 | 2683902.7293 | 1248637.3082 | 2683912.8141 | 1248630.102
44 | 2683951.8733 | 1248602.2231 | 2683967.7581 | 1248591.2963
45 | 2683951.8733 | 1248602.2231 | 2683950.7025 | 1248603.0285 | 2683937.7431 | 1248612.2887
46 | 2683740.6841 | 1248528.7769 | 2683740.6748 | 1248542.6815
47 | 2683740.6923 | 1248516.517 | 2683740.6841 | 1248528.7769
48 | 2683888.9342 | 1248585.3856 | 2683887.0435 | 1248589.3668
49 | 2683888.9342 | 1248585.3856 | 2683874.8216 | 1248576.8499
50 | 2683888.9342 | 1248585.3856 | 2683896.365 | 1248570.5833
51 | 2683929.2616 | 1248618.3493 | 2683937.7431 | 1248612.2887
52 | 2683929.2616 | 1248618.3493 | 2683923.8862 | 1248622.1903
53 | 2683912.8141 | 1248630.102 | 2683923.8862 | 1248622.1903
54 | 2683651.7383 | 1248457.5408 | 2683652.7696 | 1248454.7601
55 | 2683641.5928 | 1248484.8948 | 2683651.7383 | 1248457.5408
56 | 2683652.7696 | 1248454.7601 | 2683661.1751 | 1248432.0977
57 | 2683641.5928 | 1248484.8948 | 2683658.7712 | 1248490.0161
58 | 2683663.2472 | 1248426.511 | 2683661.1751 | 1248432.0977
59 | 2683658.7712 | 1248490.0161 | 2683688.178 | 1248498.7828
60 | 2683688.178 | 1248498.7828 | 2683688.8795 | 1248498.9919
61 | 2683714.5255 | 1248506.2089 | 2683713.9244 | 1248506.0201 | 2683695.7411 | 1248501.0375 | 2683688.8795 | 1248498.9919
62 | 2683720.6689 | 1248508.1391 | 2683716.2272 | 1248517.828
63 | 2683739.8046 | 1248500.2368 | 2683720.6689 | 1248508.1391
64 | 2683720.6689 | 1248508.1391 | 2683714.5255 | 1248506.2089
65 | 2683739.8046 | 1248500.2368 | 2683739.9863 | 1248503.568
66 | 2683740.6923 | 1248516.517 | 2683739.9863 | 1248503.568
67 | 2683735.6749 | 1248451.0712 | 2683736.6184 | 1248461.2189
68 | 2683735.6749 | 1248451.0712 | 2683734.9848 | 1248443.6483
69 | 2683734.9848 | 1248443.6483 | 2683734.3471 | 1248436.7898

## bus_geodata
| x | y | coords
0 | 2683811.7756 | 1248464.2594
1 | 2683824.186 | 1248447.3788
2 | 2683791.489 | 1248487.6465
3 | 2683803.4944 | 1248440.4904
4 | 2683791.3677 | 1248506.3698
5 | 2683777.799 | 1248458.109
6 | 2683763.907 | 1248469.2102
7 | 2683777.7267 | 1248449.1831
8 | 2683777.5864 | 1248481.7998
9 | 2683791.5353 | 1248544.7228
10 | 2683795.4381 | 1248500.8389
11 | 2683920.4837 | 1248530.1689
12 | 2683910.8548 | 1248545.0943
13 | 2683946.977 | 1248551.3131
14 | 2683875.6264 | 1248655.3381
15 | 2683891.1537 | 1248661.718
16 | 2683883.509 | 1248651.5908
17 | 2683919.8086 | 1248641.6916
18 | 2683840.4415 | 1248556.0558
19 | 2683777.0246 | 1248544.3953
20 | 2683791.5331 | 1248567.141
21 | 2683870.6803 | 1248623.8225
22 | 2683884.5656 | 1248629.6652
23 | 2683882.8171 | 1248598.2664
24 | 2683777.1689 | 1248528.3149
25 | 2683847.0473 | 1248510.3265
26 | 2683865.4076 | 1248571.156
27 | 2683830.4493 | 1248519.5549
28 | 2683831.3799 | 1248451.7066
29 | 2683824.7729 | 1248460.8677
30 | 2683739.1611 | 1248488.5969
31 | 2683777.4069 | 1248501.8025
32 | 2683807.2684 | 1248484.7638
33 | 2683908.4536 | 1248548.9462
34 | 2683955.9855 | 1248558.5027
35 | 2683942.4809 | 1248625.7242
36 | 2683936.9776 | 1248629.6
37 | 2683902.7293 | 1248637.3082
38 | 2683931.4747 | 1248633.4756
39 | 2683967.7581 | 1248591.2963
40 | 2683951.8733 | 1248602.2231
41 | 2683740.6748 | 1248542.6815
42 | 2683740.6841 | 1248528.7769
43 | 2683887.0435 | 1248589.3668
44 | 2683777.2835 | 1248515.5526
45 | 2683874.8216 | 1248576.8499
46 | 2683814.009 | 1248475.6045
47 | 2683896.365 | 1248570.5833
48 | 2683888.9342 | 1248585.3856
49 | 2683937.7431 | 1248612.2887
50 | 2683929.2616 | 1248618.3493
51 | 2683923.8862 | 1248622.1903
52 | 2683912.8141 | 1248630.102
53 | 2683651.7383 | 1248457.5408
54 | 2683652.7696 | 1248454.7601
55 | 2683641.5928 | 1248484.8948
56 | 2683661.1751 | 1248432.0977
57 | 2683658.7712 | 1248490.0161
58 | 2683663.2472 | 1248426.511
59 | 2683688.178 | 1248498.7828
60 | 2683688.8795 | 1248498.9919
61 | 2683716.2272 | 1248517.828
62 | 2683720.6689 | 1248508.1391
63 | 2683714.5255 | 1248506.2089
64 | 2683739.8046 | 1248500.2368
65 | 2683739.9863 | 1248503.568
66 | 2683736.6184 | 1248461.2189
67 | 2683740.6923 | 1248516.517
68 | 2683735.6749 | 1248451.0712
69 | 2683734.9848 | 1248443.6483
70 | 2683734.3471 | 1248436.7898
71 | 2683783.4117 | 1248544.5412

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9977 | -0.044179 | 0.0084919 | 0.0021283
1 | 0.99759 | -0.046414 | 0 | 0
2 | 0.99813 | -0.035876 | 0 | 0
3 | 0.99746 | -0.048846 | 0.0060914 | 0.0015266
4 | 0.99838 | -0.031094 | 0 | 0
5 | 0.99238 | -0.14577 | 0 | 0
6 | 0.99123 | -0.16787 | 0.0066536 | 0.0016675
7 | 0.99233 | -0.1468 | 0.0064946 | 0.0016277
8 | 0.99391 | -0.11642 | 0.012217 | 0.0030619
9 | 1 | 0 | -0.59707 | -0.15141
10 | 0.99818 | -0.034919 | 0.0089015 | 0.0022309
11 | 0.99065 | -0.17913 | 0 | 0
12 | 0.99089 | -0.17442 | 0.0093798 | 0.0023508
13 | 0.99019 | -0.18812 | 0.0084362 | 0.0021143
14 | 0.98316 | -0.32432 | 0 | 0
15 | 0.98296 | -0.32824 | 0 | 0
16 | 0.98324 | -0.32275 | 0.053176 | 0.013327
17 | 0.98264 | -0.33454 | 0.0024218 | 0.00060697
18 | 0.99624 | -0.071618 | 0 | 0
19 | 0.99873 | -0.024147 | 0 | 0
20 | 0.99973 | -0.0051249 | 0.013112 | 0.0032862
21 | 0.98816 | -0.22707 | 0 | 0
22 | 0.9863 | -0.26304 | 0.041717 | 0.010455
23 | 0.99164 | -0.15988 | 0.0092269 | 0.0023125
24 | 0.99732 | -0.050972 | 0.025225 | 0.0063219
25 | 0.9949 | -0.097417 | 0 | 0
26 | 0.99426 | -0.10944 | 0.0071887 | 0.0018017
27 | 0.99438 | -0.10754 | 0.023267 | 0.0058312
28 | 0.99734 | -0.051177 | 0.0057288 | 0.0014358
29 | 0.9974 | -0.050043 | 0.0059672 | 0.0014955
30 | 0.98928 | -0.20558 | 0 | 0
31 | 0.99527 | -0.090266 | 0.023621 | 0.00592
32 | 0.99777 | -0.042934 | 0.0060208 | 0.001509
33 | 0.991 | -0.17247 | 0.010309 | 0.0025837
34 | 0.99012 | -0.18945 | 0.0064833 | 0.0016249
35 | 0.98249 | -0.3374 | 0.0025161 | 0.0006306
36 | 0.98251 | -0.3371 | 0.0025226 | 0.00063221
37 | 0.98464 | -0.2955 | 0 | 0
38 | 0.98254 | -0.33649 | 0.0025267 | 0.00063324
39 | 0.98324 | -0.32272 | 0.0096795 | 0.0024259
40 | 0.98342 | -0.31935 | 0.0058251 | 0.0014599
41 | 0.98764 | -0.23751 | 0.0099798 | 0.0025012
42 | 0.98777 | -0.23503 | 0.015659 | 0.0039244
43 | 0.99229 | -0.14743 | 0.01591 | 0.0039874
44 | 0.99631 | -0.070431 | 0.014559 | 0.0036489
45 | 0.99354 | -0.12327 | 0.0076443 | 0.0019158
46 | 0.99759 | -0.046304 | 0.0052268 | 0.00131
47 | 0.99178 | -0.15724 | 0.012897 | 0.0032324
48 | 0.9925 | -0.14331 | 0 | 0
49 | 0.98366 | -0.31451 | 0.0037171 | 0.00093159
50 | 0.98385 | -0.3109 | 0.0041269 | 0.0010343
51 | 0.98399 | -0.30812 | 0.0021378 | 0.00053579
52 | 0.98431 | -0.30188 | 0.0031334 | 0.00078531
53 | 0.9835 | -0.31808 | 0.0045568 | 0.001142
54 | 0.98345 | -0.31911 | 0.0090199 | 0.0022606
55 | 0.98414 | -0.30553 | 0 | 0
56 | 0.98322 | -0.3236 | 0.0063999 | 0.001604
57 | 0.98454 | -0.29784 | 0.0053403 | 0.0013384
58 | 0.9832 | -0.32402 | 0.0038973 | 0.00097674
59 | 0.98536 | -0.28173 | 0.0064515 | 0.0016169
60 | 0.98539 | -0.28126 | 0.0042541 | 0.0010662
61 | 0.98648 | -0.26009 | 0.028104 | 0.0070436
62 | 0.98675 | -0.25472 | 0 | 0
63 | 0.98637 | -0.26218 | 0.024782 | 0.0062109
64 | 0.98852 | -0.22047 | 0 | 0
65 | 0.98836 | -0.22348 | 0.024923 | 0.0062462
66 | 0.98792 | -0.23197 | 0.010566 | 0.0026481
67 | 0.98806 | -0.22942 | 0 | 0
68 | 0.98752 | -0.23985 | 0.0074722 | 0.0018727
69 | 0.98727 | -0.24462 | 0.02595 | 0.0065036
70 | 0.98721 | -0.24583 | 0.0098397 | 0.0024661
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0060927 | 0.0015269 | -0.0060921 | -0.0015268 | 6.4877e-07 | 1.4163e-07 | 0.0090869 | 0.009087 | 0.009087 | 0.9977 | -0.044179 | 0.99759 | -0.046414 | 2.4964
1 | -0.014585 | -0.0036552 | 0.01459 | 0.0036585 | 5.7715e-06 | 3.2688e-06 | 0.021752 | 0.021752 | 0.021752 | 0.9977 | -0.044179 | 0.99813 | -0.035876 | 5.9759
2 | 0.0060921 | 0.0015268 | -0.0060914 | -0.0015266 | 7.0556e-07 | 1.5411e-07 | 0.009087 | 0.0090871 | 0.0090871 | 0.99759 | -0.046414 | 0.99746 | -0.048846 | 2.4965
3 | -0.01459 | -0.0036585 | 0.014594 | 0.0036604 | 3.3252e-06 | 1.8831e-06 | 0.021752 | 0.021752 | 0.021752 | 0.99813 | -0.035876 | 0.99838 | -0.031094 | 5.9758
4 | -0.046459 | -0.011653 | 0.046528 | 0.011697 | 6.8973e-05 | 4.3641e-05 | 0.069247 | 0.069246 | 0.069247 | 0.99838 | -0.031094 | 1 | 0 | 19.0238
5 | 0.031865 | 0.0079929 | -0.031859 | -0.0079892 | 5.809e-06 | 3.628e-06 | 0.047495 | 0.047495 | 0.047495 | 0.99838 | -0.031094 | 0.99818 | -0.034919 | 13.048
6 | 0.20491 | 0.051762 | -0.20469 | -0.051624 | 0.0002168 | 0.00013804 | 0.30739 | 0.30739 | 0.30739 | 0.99238 | -0.14577 | 0.99123 | -0.16787 | 28.1495
7 | 0.0064949 | 0.0016278 | -0.0064946 | -0.0016277 | 3.1747e-07 | 8.7862e-08 | 0.0097388 | 0.0097388 | 0.0097388 | 0.99238 | -0.14577 | 0.99233 | -0.1468 | 2.6755
8 | -0.2114 | -0.053389 | 0.2117 | 0.053579 | 0.00029784 | 0.0001897 | 0.31713 | 0.31713 | 0.31713 | 0.99238 | -0.14577 | 0.99391 | -0.11642 | 29.0413
9 | 0.19804 | 0.049956 | -0.19768 | -0.049729 | 0.00035679 | 0.0002271 | 0.2974 | 0.2974 | 0.2974 | 0.99123 | -0.16787 | 0.98928 | -0.20558 | 27.2349
10 | -0.22392 | -0.056641 | 0.2242 | 0.05682 | 0.00028132 | 0.00017926 | 0.33542 | 0.33542 | 0.33542 | 0.99391 | -0.11642 | 0.99527 | -0.090266 | 30.7162
11 | 0.24699 | 0.06296 | -0.24614 | -0.062417 | 0.0008506 | 0.00054241 | 0.3679 | 0.3679 | 0.3679 | 1 | 0 | 0.99624 | -0.071618 | 33.6902
12 | 0.28879 | 0.07347 | -0.28846 | -0.073256 | 0.00033564 | 0.00021424 | 0.43012 | 0.43012 | 0.43012 | 1 | 0 | 0.99873 | -0.024147 | 39.3879
13 | 0.013115 | 0.003288 | -0.013112 | -0.0032862 | 3.202e-06 | 1.7553e-06 | 0.019516 | 0.019516 | 0.019516 | 1 | 0 | 0.99973 | -0.0051249 | 5.3616
14 | 0.022958 | 0.0057583 | -0.022949 | -0.005753 | 8.7672e-06 | 5.3502e-06 | 0.034225 | 0.034225 | 0.034225 | 0.99818 | -0.034919 | 0.99777 | -0.042934 | 9.4025
15 | -0.014926 | -0.0037429 | 0.01493 | 0.0037449 | 3.3489e-06 | 1.9145e-06 | 0.022421 | 0.022421 | 0.022421 | 0.99065 | -0.17913 | 0.99089 | -0.17442 | 6.1596
16 | 0.014926 | 0.0037429 | -0.01492 | -0.0037393 | 6.3899e-06 | 3.6533e-06 | 0.022421 | 0.022421 | 0.022421 | 0.99065 | -0.17913 | 0.99019 | -0.18812 | 6.1596
17 | -0.024309 | -0.0060956 | 0.024312 | 0.006097 | 2.2684e-06 | 1.3933e-06 | 0.036506 | 0.036506 | 0.036506 | 0.99089 | -0.17442 | 0.991 | -0.17247 | 10.0292
18 | 0.0064837 | 0.001625 | -0.0064833 | -0.0016249 | 4.1033e-07 | 1.1436e-07 | 0.0097435 | 0.0097436 | 0.0097436 | 0.99019 | -0.18812 | 0.99012 | -0.18945 | 2.6768
19 | 0.009993 | 0.0025056 | -0.0099911 | -0.0025047 | 1.8644e-06 | 9.1767e-07 | 0.015125 | 0.015125 | 0.015125 | 0.98316 | -0.32432 | 0.98296 | -0.32824 | 4.1552
20 | -0.009993 | -0.0025056 | 0.0099937 | 0.002506 | 7.4992e-07 | 3.6908e-07 | 0.015125 | 0.015125 | 0.015125 | 0.98316 | -0.32432 | 0.98324 | -0.32275 | 4.1552
21 | 0.0099911 | 0.0025047 | -0.0099881 | -0.0025032 | 2.9992e-06 | 1.4765e-06 | 0.015125 | 0.015125 | 0.015125 | 0.98296 | -0.32824 | 0.98264 | -0.33454 | 4.1552
22 | -0.06317 | -0.015833 | 0.063252 | 0.015886 | 8.2114e-05 | 5.2249e-05 | 0.095601 | 0.095601 | 0.095601 | 0.98324 | -0.32275 | 0.98464 | -0.2955 | 26.2639
23 | 0.0075663 | 0.0018963 | -0.0075655 | -0.001896 | 7.0244e-07 | 2.6883e-07 | 0.011458 | 0.011458 | 0.011458 | 0.98264 | -0.33454 | 0.98254 | -0.33649 | 3.1477
24 | 0.023306 | 0.0058555 | -0.023278 | -0.005838 | 2.8661e-05 | 1.7523e-05 | 0.034816 | 0.034817 | 0.034817 | 0.99624 | -0.071618 | 0.9949 | -0.097417 | 9.565
25 | 0.22283 | 0.056562 | -0.22243 | -0.056304 | 0.00040463 | 0.00025783 | 0.33308 | 0.33308 | 0.33308 | 0.99624 | -0.071618 | 0.99426 | -0.10944 | 30.502
26 | 0.28846 | 0.073256 | -0.28809 | -0.073019 | 0.00037187 | 0.00023737 | 0.43012 | 0.43012 | 0.43012 | 0.99873 | -0.024147 | 0.99732 | -0.050972 | 39.3879
27 | 0.13399 | 0.033769 | -0.13376 | -0.033621 | 0.00023013 | 0.00014709 | 0.20184 | 0.20184 | 0.20184 | 0.98816 | -0.22707 | 0.9863 | -0.26304 | 55.4492
28 | -0.13399 | -0.033769 | 0.13442 | 0.034045 | 0.0004322 | 0.00027624 | 0.20184 | 0.20183 | 0.20184 | 0.98816 | -0.22707 | 0.99164 | -0.15988 | 55.4492
29 | 0.092042 | 0.023166 | -0.0919 | -0.023075 | 0.00014257 | 9.0992e-05 | 0.1389 | 0.1389 | 0.1389 | 0.9863 | -0.26304 | 0.98464 | -0.2955 | 38.1586
30 | -0.14365 | -0.036357 | 0.14373 | 0.036412 | 8.5932e-05 | 5.4742e-05 | 0.21568 | 0.21568 | 0.21568 | 0.99164 | -0.15988 | 0.99229 | -0.14743 | 29.6264
31 | 0.26286 | 0.066697 | -0.26262 | -0.06654 | 0.00024575 | 0.00015678 | 0.39248 | 0.39248 | 0.39248 | 0.99732 | -0.050972 | 0.99631 | -0.070431 | 35.9415
32 | 0.023278 | 0.005838 | -0.023267 | -0.0058312 | 1.1231e-05 | 6.8669e-06 | 0.034817 | 0.034817 | 0.034817 | 0.9949 | -0.097417 | 0.99438 | -0.10754 | 9.5651
33 | 0.21524 | 0.054502 | -0.21509 | -0.054411 | 0.00014288 | 9.1014e-05 | 0.32232 | 0.32232 | 0.32232 | 0.99426 | -0.10944 | 0.99354 | -0.12327 | 29.5167
34 | -0.0057288 | -0.0014358 | 0.0057291 | 0.0014358 | 3.0944e-07 | 5.0638e-08 | 0.0085473 | 0.0085473 | 0.0085473 | 0.99734 | -0.051177 | 0.9974 | -0.050043 | 2.3482
35 | -0.011696 | -0.0029314 | 0.011698 | 0.0029324 | 2.0838e-06 | 1.0954e-06 | 0.01745 | 0.01745 | 0.01745 | 0.9974 | -0.050043 | 0.99759 | -0.046304 | 4.7939
36 | 0.053921 | 0.013549 | -0.053853 | -0.013506 | 6.7845e-05 | 4.3068e-05 | 0.081116 | 0.081116 | 0.081116 | 0.98928 | -0.20558 | 0.98792 | -0.23197 | 22.2848
37 | 0.14376 | 0.03618 | -0.14366 | -0.036115 | 0.00010227 | 6.5151e-05 | 0.21629 | 0.21629 | 0.21629 | 0.98928 | -0.20558 | 0.98852 | -0.22047 | 29.7099
38 | -0.24782 | -0.06274 | 0.24806 | 0.062891 | 0.00023625 | 0.00015066 | 0.37074 | 0.37074 | 0.37074 | 0.99527 | -0.090266 | 0.99631 | -0.070431 | 33.9502
39 | 0.016928 | 0.004244 | -0.016925 | -0.0042424 | 2.7181e-06 | 1.5911e-06 | 0.025246 | 0.025246 | 0.025246 | 0.99777 | -0.042934 | 0.99759 | -0.046304 | 6.9357
40 | -0.034621 | -0.0086807 | 0.034646 | 0.0086965 | 2.5145e-05 | 1.5773e-05 | 0.051986 | 0.051985 | 0.051986 | 0.991 | -0.17247 | 0.99178 | -0.15724 | 14.2817
41 | -0.0025161 | -0.0006306 | 0.0025162 | 0.00063054 | 3.6656e-08 | -6.1784e-08 | 0.0038108 | 0.0038107 | 0.0038108 | 0.98249 | -0.3374 | 0.98251 | -0.3371 | 1.0469
42 | -0.0050387 | -0.0012628 | 0.0050389 | 0.0012628 | 1.4699e-07 | 8.8277e-09 | 0.0076312 | 0.0076311 | 0.0076312 | 0.98251 | -0.3371 | 0.98254 | -0.33649 | 2.0965
43 | 0.028648 | 0.0071896 | -0.028639 | -0.0071842 | 8.7133e-06 | 5.4189e-06 | 0.043297 | 0.043297 | 0.043297 | 0.98464 | -0.2955 | 0.98431 | -0.30188 | 11.8947
44 | -0.0096795 | -0.0024259 | 0.009681 | 0.0024267 | 1.5514e-06 | 7.4834e-07 | 0.014649 | 0.014649 | 0.014649 | 0.98324 | -0.32272 | 0.98342 | -0.31935 | 4.0244
45 | -0.015506 | -0.0038866 | 0.01551 | 0.0038886 | 3.5814e-06 | 2.0719e-06 | 0.023463 | 0.023462 | 0.023463 | 0.98342 | -0.31935 | 0.98366 | -0.31451 | 6.4458
46 | -0.0099798 | -0.0025012 | 0.009981 | 0.0025018 | 1.1788e-06 | 5.765e-07 | 0.015036 | 0.015036 | 0.015036 | 0.98764 | -0.23751 | 0.98777 | -0.23503 | 4.1308
47 | -0.02564 | -0.0064262 | 0.025646 | 0.0064304 | 6.8588e-06 | 4.2327e-06 | 0.038625 | 0.038625 | 0.038625 | 0.98777 | -0.23503 | 0.98806 | -0.22942 | 10.6112
48 | -0.15964 | -0.040399 | 0.15968 | 0.040419 | 3.1611e-05 | 2.006e-05 | 0.23954 | 0.23954 | 0.23954 | 0.99229 | -0.14743 | 0.9925 | -0.14331 | 21.9358
49 | 0.20745 | 0.052495 | -0.20725 | -0.052368 | 0.00019924 | 0.00012688 | 0.31087 | 0.31087 | 0.31087 | 0.99354 | -0.12327 | 0.9925 | -0.14331 | 28.4683
50 | -0.047543 | -0.011929 | 0.047575 | 0.011949 | 3.1607e-05 | 2.0014e-05 | 0.071336 | 0.071336 | 0.071336 | 0.99178 | -0.15724 | 0.9925 | -0.14331 | 19.5978
51 | -0.019227 | -0.0048202 | 0.01923 | 0.0048222 | 3.307e-06 | 1.9841e-06 | 0.029085 | 0.029085 | 0.029085 | 0.98366 | -0.31451 | 0.98385 | -0.3109 | 7.9905
52 | -0.023357 | -0.0058565 | 0.02336 | 0.0058584 | 3.0919e-06 | 1.8949e-06 | 0.035327 | 0.035327 | 0.035327 | 0.98385 | -0.3109 | 0.98399 | -0.30812 | 9.7052
53 | -0.025498 | -0.0063942 | 0.025505 | 0.0063989 | 7.5877e-06 | 4.6832e-06 | 0.03856 | 0.03856 | 0.03856 | 0.98399 | -0.30812 | 0.98431 | -0.30188 | 10.5934
54 | 0.01932 | 0.004843 | -0.019319 | -0.0048424 | 9.503e-07 | 5.7056e-07 | 0.029231 | 0.029231 | 0.029231 | 0.9835 | -0.31808 | 0.98345 | -0.31911 | 8.0306
55 | -0.023877 | -0.005985 | 0.023891 | 0.0059938 | 1.4278e-05 | 8.7676e-06 | 0.036126 | 0.036126 | 0.036126 | 0.9835 | -0.31808 | 0.98414 | -0.30553 | 9.9247
56 | 0.010299 | 0.0025818 | -0.010297 | -0.0025807 | 2.2013e-06 | 1.1022e-06 | 0.015584 | 0.015584 | 0.015584 | 0.98345 | -0.31911 | 0.98322 | -0.3236 | 4.2813
57 | -0.023891 | -0.0059938 | 0.0239 | 0.0059991 | 8.7727e-06 | 5.3867e-06 | 0.036126 | 0.036126 | 0.036126 | 0.98414 | -0.30553 | 0.98454 | -0.29784 | 9.9246
58 | 0.0038973 | 0.00097672 | -0.0038973 | -0.00097674 | 7.7736e-08 | -2.5817e-08 | 0.0058983 | 0.0058983 | 0.0058983 | 0.98322 | -0.3236 | 0.9832 | -0.32402 | 1.6204
59 | -0.02924 | -0.0073376 | 0.029263 | 0.0073515 | 2.2478e-05 | 1.3995e-05 | 0.044197 | 0.044197 | 0.044197 | 0.98454 | -0.29784 | 0.98536 | -0.28173 | 12.142
60 | -0.035714 | -0.0089685 | 0.035715 | 0.008969 | 7.9863e-07 | 5.018e-07 | 0.053939 | 0.053939 | 0.053939 | 0.98536 | -0.28173 | 0.98539 | -0.28126 | 14.8185
61 | -0.039969 | -0.010035 | 0.040006 | 0.010058 | 3.6406e-05 | 2.296e-05 | 0.060363 | 0.060363 | 0.060363 | 0.98539 | -0.28126 | 0.98637 | -0.26218 | 16.5833
62 | -0.028104 | -0.0070436 | 0.028112 | 0.0070481 | 7.1832e-06 | 4.4612e-06 | 0.042393 | 0.042393 | 0.042393 | 0.98648 | -0.26009 | 0.98675 | -0.25472 | 11.6465
63 | -0.092922 | -0.023332 | 0.093075 | 0.023429 | 0.0001521 | 9.708e-05 | 0.14014 | 0.14014 | 0.14014 | 0.98675 | -0.25472 | 0.98852 | -0.22047 | 38.5005
64 | 0.064811 | 0.016284 | -0.064788 | -0.016269 | 2.3073e-05 | 1.4684e-05 | 0.097749 | 0.097749 | 0.097749 | 0.98675 | -0.25472 | 0.98637 | -0.26218 | 26.8541
65 | 0.050584 | 0.012686 | -0.050576 | -0.012681 | 7.254e-06 | 4.5998e-06 | 0.076147 | 0.076147 | 0.076147 | 0.98852 | -0.22047 | 0.98836 | -0.22348 | 20.9194
66 | 0.025654 | 0.0064349 | -0.025646 | -0.0064304 | 7.255e-06 | 4.4771e-06 | 0.038625 | 0.038625 | 0.038625 | 0.98836 | -0.22348 | 0.98806 | -0.22942 | 10.6112
67 | 0.043287 | 0.010858 | -0.04327 | -0.010848 | 1.6248e-05 | 1.0268e-05 | 0.065202 | 0.065202 | 0.065202 | 0.98792 | -0.23197 | 0.98752 | -0.23985 | 17.9126
68 | 0.035798 | 0.0089751 | -0.03579 | -0.00897 | 8.1346e-06 | 5.1108e-06 | 0.053943 | 0.053943 | 0.053943 | 0.98752 | -0.23985 | 0.98727 | -0.24462 | 14.8194
69 | 0.0098402 | 0.0024663 | -0.0098397 | -0.0024661 | 5.6818e-07 | 2.7556e-07 | 0.014831 | 0.014831 | 0.014831 | 0.98727 | -0.24462 | 0.98721 | -0.24583 | 4.0745

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59707 | 0.15141

## res_load
| p_mw | q_mvar
0 | 0.0084919 | 0.0021283
1 | 0.0060914 | 0.0015266
2 | 0.0066536 | 0.0016675
3 | 0.0064946 | 0.0016277
4 | 0.012217 | 0.0030619
5 | 0.0089015 | 0.0022309
6 | 0.0093798 | 0.0023508
7 | 0.0084362 | 0.0021143
8 | 0.053176 | 0.013327
9 | 0.0024218 | 0.00060697
10 | 0.013112 | 0.0032862
11 | 0.041717 | 0.010455
12 | 0.0092269 | 0.0023125
13 | 0.025225 | 0.0063219
14 | 0.0071887 | 0.0018017
15 | 0.023267 | 0.0058312
16 | 0.0057288 | 0.0014358
17 | 0.0059672 | 0.0014955
18 | 0.023621 | 0.00592
19 | 0.0060208 | 0.001509
20 | 0.010309 | 0.0025837
21 | 0.0064833 | 0.0016249
22 | 0.0025161 | 0.0006306
23 | 0.0025226 | 0.00063221
24 | 0.0025267 | 0.00063324
25 | 0.0096795 | 0.0024259
26 | 0.0058251 | 0.0014599
27 | 0.0099798 | 0.0025012
28 | 0.015659 | 0.0039244
29 | 0.01591 | 0.0039874
30 | 0.014559 | 0.0036489
31 | 0.0076443 | 0.0019158
32 | 0.0052268 | 0.00131
33 | 0.012897 | 0.0032324
34 | 0.0037171 | 0.00093159
35 | 0.0041269 | 0.0010343
36 | 0.0021378 | 0.00053579
37 | 0.0031334 | 0.00078531
38 | 0.0045568 | 0.001142
39 | 0.0090199 | 0.0022606
40 | 0.0063999 | 0.001604
41 | 0.0053403 | 0.0013384
42 | 0.0038973 | 0.00097674
43 | 0.0064515 | 0.0016169
44 | 0.0042541 | 0.0010662
45 | 0.028104 | 0.0070436
46 | 0.024782 | 0.0062109
47 | 0.024923 | 0.0062462
48 | 0.010566 | 0.0026481
49 | 0.0074722 | 0.0018727
50 | 0.02595 | 0.0065036
51 | 0.0098397 | 0.0024661

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1