## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-538_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-538_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_261-538_0_3_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_261-538_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-538_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_261-538_0_3_node_80 | 0.4 | n |  | TRUE
6 | bus_LV_261-538_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_261-538_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_261-538_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_261-538_0_3_node_83 | 0.4 | n |  | TRUE
10 | bus_LV_261-538_0_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_261-538_0_3_node_89 | 0.4 | n |  | TRUE
12 | bus_LV_261-538_0_3_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_261-538_0_3_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_261-538_0_3_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_261-538_0_3_node_72 | 0.4 | n |  | TRUE
16 | bus_LV_261-538_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_261-538_0_3_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_261-538_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_261-538_0_3_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_261-538_0_3_node_91 | 0.4 | n |  | TRUE
21 | bus_LV_261-538_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_261-538_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_261-538_0_3_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_261-538_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_261-538_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_261-538_0_3_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_261-538_0_3_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_261-538_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_261-538_0_3_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_261-538_0_3_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_261-538_0_3_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_261-538_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_261-538_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_261-538_0_3_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_261-538_0_3_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_261-538_0_3_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_261-538_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_261-538_0_3_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_261-538_0_3_node_65 | 0.4 | n |  | TRUE
40 | bus_LV_261-538_0_3_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_261-538_0_3_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_261-538_0_3_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_261-538_0_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_261-538_0_3_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_261-538_0_3_node_67 | 0.4 | n |  | TRUE
46 | bus_LV_261-538_0_3_node_75 | 0.4 | n |  | TRUE
47 | bus_LV_261-538_0_3_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_261-538_0_3_node_81 | 0.4 | n |  | TRUE
49 | bus_LV_261-538_0_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_261-538_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_261-538_0_3_node_85 | 0.4 | n |  | TRUE
52 | bus_LV_261-538_0_3_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_261-538_0_3_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_261-538_0_3_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_261-538_0_3_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_261-538_0_3_node_90 | 0.4 | n |  | TRUE
57 | bus_LV_261-538_0_3_node_76 | 0.4 | n |  | TRUE
58 | bus_LV_261-538_0_3_node_86 | 0.4 | n |  | TRUE
59 | bus_LV_261-538_0_3_node_87 | 0.4 | n |  | TRUE
60 | bus_LV_261-538_0_3_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_261-538_0_3_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_261-538_0_3_node_71 | 0.4 | n |  | TRUE
63 | bus_LV_261-538_0_3_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_261-538_0_3_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_261-538_0_3_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_261-538_0_3_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_261-538_0_3_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_261-538_0_3_node_77 | 0.4 | n |  | TRUE
69 | bus_LV_261-538_0_3_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_261-538_0_3_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_261-538_0_3_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_261-538_0_3_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_261-538_0_3_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_261-538_0_3_node_78 | 0.4 | n |  | TRUE
75 | bus_LV_261-538_0_3_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_261-538_0_3_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_261-538_0_3_node_56 | 0.4 | n |  | TRUE
78 | bus_LV_261-538_0_3_node_57 | 0.4 | n |  | TRUE
79 | bus_LV_261-538_0_3_node_58 | 0.4 | n |  | TRUE
80 | bus_LV_261-538_0_3_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_261-538_0_3_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_261-538_0_3_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_261-538_0_3_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_261-538_0_3_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_261-538_0_3_node_88 | 0.4 | n |  | TRUE
86 | bus_MV_537_0_node_35 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-538_0_3_load_0 | 0 | 0.015226 | 0.0038161 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-538_0_3_load_80 | 5 | 0.0055238 | 0.0013844 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-538_0_3_load_83 | 9 | 0.0063827 | 0.0015997 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-538_0_3_load_89 | 11 | 0.0058611 | 0.0014689 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-538_0_3_load_29 | 12 | 0.0057877 | 0.0014505 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-538_0_3_load_38 | 13 | 0.0051053 | 0.0012795 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-538_0_3_load_72 | 15 | 0.0074504 | 0.0018672 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-538_0_3_load_41 | 17 | 0.0081196 | 0.002035 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-538_0_3_load_60 | 19 | 0.0022196 | 0.00055628 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-538_0_3_load_91 | 20 | 0.0024158 | 0.00060546 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-538_0_3_load_64 | 23 | 0.004197 | 0.0010519 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-538_0_3_load_45 | 26 | 0.0065425 | 0.0016397 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-538_0_3_load_32 | 29 | 0.0086714 | 0.0021733 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-538_0_3_load_46 | 30 | 0.0073487 | 0.0018418 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-538_0_3_load_44 | 31 | 0.0054615 | 0.0013688 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-538_0_3_load_39 | 34 | 0.0066803 | 0.0016742 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-538_0_3_load_49 | 35 | 0.0076572 | 0.0019191 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-538_0_3_load_43 | 36 | 0.0084595 | 0.0021201 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-538_0_3_load_31 | 37 | 0.0086413 | 0.0021657 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-538_0_3_load_65 | 39 | 0.0040507 | 0.0010152 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-538_0_3_load_30 | 41 | 0.0056423 | 0.0014141 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-538_0_3_load_27 | 42 | 0.012249 | 0.0030699 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-538_0_3_load_28 | 43 | 0.0049368 | 0.0012373 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-538_0_3_load_75 | 46 | 0.0048086 | 0.0012051 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-538_0_3_load_81 | 48 | 0.0068388 | 0.001714 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-538_0_3_load_36 | 49 | 0.007226 | 0.001811 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-538_0_3_load_35 | 50 | 0.0067897 | 0.0017017 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-538_0_3_load_85 | 51 | 0.0057889 | 0.0014508 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-538_0_3_load_37 | 52 | 0.0055689 | 0.0013957 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-538_0_3_load_55 | 53 | 0.0069973 | 0.0017537 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-538_0_3_load_40 | 54 | 0.0069941 | 0.0017529 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-538_0_3_load_48 | 55 | 0.0024123 | 0.00060458 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-538_0_3_load_90 | 56 | 0.0024941 | 0.00062508 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-538_0_3_load_76 | 57 | 0.0065525 | 0.0016422 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-538_0_3_load_86 | 58 | 0.0025104 | 0.00062916 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-538_0_3_load_87 | 59 | 0.0025046 | 0.00062772 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-538_0_3_load_47 | 60 | 0.0059726 | 0.0014969 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-538_0_3_load_42 | 61 | 0.007072 | 0.0017724 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-538_0_3_load_71 | 62 | 0.0018015 | 0.00045149 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-538_0_3_load_66 | 64 | 0.0036241 | 0.00090827 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-538_0_3_load_73 | 66 | 0.0052886 | 0.0013255 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-538_0_3_load_74 | 67 | 0.0047402 | 0.001188 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-538_0_3_load_77 | 68 | 0.0014011 | 0.00035114 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-538_0_3_load_50 | 69 | 0.0068423 | 0.0017148 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-538_0_3_load_51 | 70 | 0.0076974 | 0.0019292 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-538_0_3_load_53 | 72 | 0.0052864 | 0.0013249 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-538_0_3_load_54 | 73 | 0.006412 | 0.001607 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-538_0_3_load_78 | 74 | 0.0065887 | 0.0016513 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-538_0_3_load_70 | 75 | 0.0051305 | 0.0012858 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-538_0_3_load_79 | 76 | 0.0042468 | 0.0010643 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-538_0_3_load_56 | 77 | 0.01373 | 0.0034411 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-538_0_3_load_57 | 78 | 0.0087558 | 0.0021944 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-538_0_3_load_58 | 79 | 0.0088125 | 0.0022086 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-538_0_3_load_61 | 80 | 0.0047031 | 0.0011787 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-538_0_3_load_68 | 81 | 0.002159 | 0.00054109 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-538_0_3_load_69 | 82 | 0.002939 | 0.00073658 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-538_0_3_load_82 | 83 | 0.0076925 | 0.0019279 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_261-538_0_3_load_84 | 84 | 0.007727 | 0.0019366 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_261-538_0_3_load_88 | 85 | 0.0025005 | 0.00062669 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-538_0_3_line_0 |  | 0 | 1 | 0.013708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-538_0_3_line_1 |  | 1 | 2 | 0.011279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-538_0_3_line_2 |  | 2 | 12 | 0.011482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-538_0_3_line_3 |  | 2 | 13 | 0.022838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-538_0_3_line_4 |  | 2 | 4 | 0.0082894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-538_0_3_line_5 |  | 3 | 4 | 0.004957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-538_0_3_line_6 |  | 3 | 5 | 0.01233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-538_0_3_line_7 |  | 4 | 11 | 0.011377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-538_0_3_line_8 |  | 5 | 47 | 0.048593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-538_0_3_line_9 |  | 6 | 7 | 0.0080781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-538_0_3_line_10 |  | 6 | 8 | 0.006002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_261-538_0_3_line_11 |  | 6 | 9 | 0.011294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_261-538_0_3_line_12 |  | 7 | 10 | 0.001839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-538_0_3_line_13 |  | 8 | 14 | 0.006029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_261-538_0_3_line_14 |  | 8 | 15 | 0.037704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-538_0_3_line_15 |  | 9 | 48 | 0.012771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-538_0_3_line_16 |  | 10 | 30 | 0.011269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-538_0_3_line_17 |  | 11 | 51 | 0.0086176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-538_0_3_line_18 |  | 12 | 43 | 0.014896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-538_0_3_line_19 |  | 13 | 52 | 0.010877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-538_0_3_line_20 |  | 14 | 37 | 0.012287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-538_0_3_line_21 |  | 14 | 25 | 0.0079399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_261-538_0_3_line_22 |  | 15 | 53 | 0.0030459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-538_0_3_line_23 |  | 16 | 17 | 0.017293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-538_0_3_line_24 |  | 16 | 18 | 0.0081814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-538_0_3_line_25 |  | 18 | 19 | 0.012854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-538_0_3_line_26 |  | 18 | 20 | 0.019432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-538_0_3_line_27 |  | 19 | 55 | 0.0019719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-538_0_3_line_28 |  | 20 | 56 | 0.013818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-538_0_3_line_29 |  | 21 | 22 | 0.044767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-538_0_3_line_30 |  | 21 | 23 | 0.016584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-538_0_3_line_31 |  | 22 | 27 | 0.02508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-538_0_3_line_32 |  | 22 | 28 | 0.0086095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-538_0_3_line_33 |  | 22 | 29 | 0.015846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-538_0_3_line_34 |  | 24 | 25 | 0.001928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-538_0_3_line_35 |  | 24 | 26 | 0.010971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-538_0_3_line_36 |  | 25 | 31 | 0.018805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-538_0_3_line_37 |  | 27 | 57 | 0.01909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-538_0_3_line_38 |  | 27 | 38 | 0.004033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-538_0_3_line_39 |  | 28 | 35 | 0.031821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-538_0_3_line_40 |  | 28 | 36 | 0.013256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-538_0_3_line_41 |  | 30 | 60 | 0.013138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-538_0_3_line_42 |  | 31 | 61 | 0.017058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-538_0_3_line_43 |  | 32 | 33 | 0.010066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-538_0_3_line_44 |  | 32 | 34 | 0.012202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-538_0_3_line_45 |  | 33 | 35 | 0.0097266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-538_0_3_line_46 |  | 34 | 54 | 0.016555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-538_0_3_line_47 |  | 36 | 61 | 0.011476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-538_0_3_line_48 |  | 38 | 39 | 0.014443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-538_0_3_line_49 |  | 39 | 63 | 0.015006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-538_0_3_line_50 |  | 40 | 41 | 0.016054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-538_0_3_line_51 |  | 40 | 42 | 0.002747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-538_0_3_line_52 |  | 40 | 43 | 0.012486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-538_0_3_line_53 |  | 44 | 45 | 0.095143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-538_0_3_line_54 |  | 44 | 46 | 0.037651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-538_0_3_line_55 |  | 45 | 62 | 0.02756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-538_0_3_line_56 |  | 45 | 63 | 0.041363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-538_0_3_line_57 |  | 46 | 67 | 0.0079631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-538_0_3_line_58 |  | 47 | 78 | 0.014992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-538_0_3_line_59 |  | 48 | 83 | 0.018153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-538_0_3_line_60 |  | 49 | 50 | 0.010324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-538_0_3_line_61 |  | 50 | 52 | 0.017848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-538_0_3_line_62 |  | 51 | 84 | 0.016678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-538_0_3_line_63 |  | 55 | 60 | 0.027716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-538_0_3_line_64 |  | 56 | 85 | 0.0067312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-538_0_3_line_65 |  | 57 | 68 | 0.019704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-538_0_3_line_66 |  | 58 | 59 | 0.0067298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-538_0_3_line_67 |  | 59 | 85 | 0.0067307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-538_0_3_line_68 |  | 62 | 75 | 0.0020627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-538_0_3_line_69 |  | 63 | 64 | 0.011165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-538_0_3_line_70 |  | 63 | 65 | 0.012201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-538_0_3_line_71 |  | 65 | 80 | 0.016461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-538_0_3_line_72 |  | 66 | 67 | 0.020874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-538_0_3_line_73 |  | 68 | 82 | 0.0047595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-538_0_3_line_74 |  | 69 | 70 | 0.012504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-538_0_3_line_75 |  | 69 | 71 | 0.0035449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-538_0_3_line_76 |  | 70 | 72 | 0.011009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_261-538_0_3_line_77 |  | 71 | 73 | 0.01639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-538_0_3_line_78 |  | 72 | 74 | 0.0086704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_261-538_0_3_line_79 |  | 73 | 75 | 0.02243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_261-538_0_3_line_80 |  | 74 | 76 | 0.0094179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_261-538_0_3_line_81 |  | 77 | 78 | 0.0093524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_261-538_0_3_line_82 |  | 77 | 79 | 0.01058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_261-538_0_3_line_83 |  | 81 | 82 | 0.008004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_261-538_0_3_line_84 |  | 83 | 84 | 0.011026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-538_0_3_trafo_83 | 0.63 MVA 20/0.4 kV | 86 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2683979.8607 | 1248713.8902 | 2683971.3784 | 1248724.6586
1 | 2683979.8607 | 1248713.8902 | 2683983.4194 | 1248709.504 | 2683986.9629 | 1248705.1288
2 | 2683986.9629 | 1248705.1288 | 2683986.0157 | 1248704.8262 | 2683984.6901 | 1248705.1077 | 2683982.8065 | 1248705.3256 | 2683979.9734 | 1248703.8066 | 2683976.4018 | 1248701.9569
3 | 2683986.9629 | 1248705.1288 | 2684001.1078 | 1248687.1983
4 | 2683986.9629 | 1248705.1288 | 2683990.0137 | 1248707.2736 | 2683993.745 | 1248709.895
5 | 2683993.745 | 1248709.895 | 2683990.6242 | 1248713.7537
6 | 2683990.6242 | 1248713.7537 | 2684000.8441 | 1248720.6524
7 | 2683993.745 | 1248709.895 | 2684000.7707 | 1248700.9471
8 | 2684041.6394 | 1248746.6565 | 2684039.3935 | 1248746.3356 | 2684029.6269 | 1248740.0814 | 2684000.8441 | 1248720.6524
9 | 2684042.7328 | 1248634.4332 | 2684045.7378 | 1248636.6108 | 2684049.2736 | 1248639.1739
10 | 2684052.9659 | 1248634.4338 | 2684049.2736 | 1248639.1739
11 | 2684049.2736 | 1248639.1739 | 2684042.299 | 1248648.0568
12 | 2684043.8785 | 1248632.9928 | 2684042.7328 | 1248634.4332
13 | 2684052.9659 | 1248634.4338 | 2684056.6287 | 1248629.6378
14 | 2684052.9659 | 1248634.4338 | 2684082.3499 | 1248658.0597
15 | 2684034.4122 | 1248658.1014 | 2684042.299 | 1248648.0568
16 | 2684043.8785 | 1248632.9928 | 2684035.0918 | 1248625.9377
17 | 2684006.0926 | 1248694.1691 | 2684000.7707 | 1248700.9471
18 | 2683963.1747 | 1248695.107 | 2683976.4018 | 1248701.9569
19 | 2684007.8443 | 1248678.6589 | 2684001.1078 | 1248687.1983
20 | 2684056.6287 | 1248629.6378 | 2684064.2533 | 1248620.0027
21 | 2684050.3924 | 1248624.7235 | 2684053.3649 | 1248627.0674 | 2684056.6287 | 1248629.6378
22 | 2684084.7237 | 1248659.9683 | 2684082.3499 | 1248658.0597
23 | 2683998.3586 | 1248586.3577 | 2684011.9644 | 1248597.0309
24 | 2683991.676 | 1248591.0776 | 2683994.4221 | 1248589.1484 | 2683998.3586 | 1248586.3577
25 | 2683991.676 | 1248591.0776 | 2684001.6988 | 1248599.1253
26 | 2683991.676 | 1248591.0776 | 2683975.7884 | 1248602.2668
27 | 2684001.6988 | 1248599.1253 | 2684003.2365 | 1248600.3599
28 | 2683964.491 | 1248610.2232 | 2683975.7884 | 1248602.2668
29 | 2684094.5049 | 1248582.64 | 2684091.4557 | 1248579.8502 | 2684094.7851 | 1248575.6721 | 2684095.7929 | 1248572.7731 | 2684097.3499 | 1248565.7678 | 2684105.2215 | 1248564.0115 | 2684112.6953 | 1248561.0264 | 2684120.2029 | 1248556.1849
30 | 2684120.2029 | 1248556.1849 | 2684124.3229 | 1248562.8149 | 2684127.2995 | 1248563.8023 | 2684130.2984 | 1248568.5809
31 | 2684113.1673 | 1248598.5276 | 2684099.3654 | 1248583.921 | 2684094.5049 | 1248582.64
32 | 2684087.8994 | 1248577.1311 | 2684091.4557 | 1248579.8502 | 2684094.5049 | 1248582.64
33 | 2684094.5049 | 1248582.64 | 2684084.2882 | 1248594.7528
34 | 2684049.2003 | 1248626.2411 | 2684050.3924 | 1248624.7235
35 | 2684049.2003 | 1248626.2411 | 2684040.5684 | 1248619.4696
36 | 2684050.3924 | 1248624.7235 | 2684062.0379 | 1248609.9578
37 | 2684113.1673 | 1248598.5276 | 2684126.2838 | 1248612.398
38 | 2684113.1673 | 1248598.5276 | 2684116.062 | 1248595.711
39 | 2684087.8994 | 1248577.1311 | 2684087.3987 | 1248574.6333 | 2684086.7206 | 1248572.9224 | 2684084.618 | 1248571.0134 | 2684080.3707 | 1248568.0287 | 2684070.6648 | 1248559.6071 | 2684065.7481 | 1248555.2763
40 | 2684087.8994 | 1248577.1311 | 2684085.5687 | 1248580.1225 | 2684079.7081 | 1248587.5533
41 | 2684035.0918 | 1248625.9377 | 2684024.8477 | 1248617.7124
42 | 2684072.6015 | 1248596.5639 | 2684062.0379 | 1248609.9578
43 | 2684047.9607 | 1248551.2457 | 2684050.8607 | 1248550.186 | 2684054.3493 | 1248549.6906 | 2684057.8283 | 1248549.8734
44 | 2684047.9607 | 1248551.2457 | 2684038.0012 | 1248558.2957
45 | 2684057.8283 | 1248549.8734 | 2684060.9905 | 1248551.0858 | 2684065.7481 | 1248555.2763
46 | 2684038.0012 | 1248558.2957 | 2684024.4889 | 1248567.8608
47 | 2684072.6015 | 1248596.5639 | 2684079.7081 | 1248587.5533
48 | 2684116.062 | 1248595.711 | 2684118.9337 | 1248592.9163 | 2684126.1748 | 1248600.4306
49 | 2684136.5873 | 1248611.2359 | 2684126.1748 | 1248600.4306
50 | 2683953.805 | 1248694.796 | 2683952.5526 | 1248694.1778 | 2683950.3178 | 1248693.0675 | 2683939.4547 | 1248687.5985
51 | 2683953.805 | 1248694.796 | 2683952.5395 | 1248697.2354
52 | 2683953.805 | 1248694.796 | 2683955.6682 | 1248691.2197 | 2683963.1747 | 1248695.107
53 | 2684163.8677 | 1248636.0749 | 2684168.8458 | 1248637.58 | 2684179.6848 | 1248644.8948 | 2684205.1999 | 1248669.5754 | 2684207.3777 | 1248671.5078 | 2684208.2961 | 1248672.7773 | 2684214.9906 | 1248679.9778 | 2684215.4563 | 1248681.2186 | 2684215.4601 | 1248683.6093 | 2684215.1371 | 1248686.14 | 2684214.5526 | 1248688.4778 | 2684213.4289 | 1248691.5531 | 2684211.676 | 1248695.331 | 2684212.8695 | 1248696.9046 | 2684207.1452 | 1248703.8062
54 | 2684207.1452 | 1248703.8062 | 2684203.4833 | 1248708.0018 | 2684202.0183 | 1248708.5258 | 2684197.2607 | 1248713.8289 | 2684183.3084 | 1248728.9753 | 2684181.4272 | 1248731.0604
55 | 2684163.8677 | 1248636.0749 | 2684156.6243 | 1248645.1788 | 2684145.573 | 1248656.6459
56 | 2684136.5873 | 1248611.2359 | 2684134.0225 | 1248613.6903 | 2684143.7069 | 1248623.6128 | 2684148.0761 | 1248627.5778 | 2684155.5471 | 1248632.7543 | 2684163.8677 | 1248636.0749
57 | 2684181.4272 | 1248731.0604 | 2684176.093 | 1248736.9728
58 | 2684041.6394 | 1248746.6565 | 2684050.9771 | 1248734.9274
59 | 2684034.4122 | 1248658.1014 | 2684023.2019 | 1248672.3789
60 | 2684025.2928 | 1248656.5407 | 2684018.8983 | 1248664.6465
61 | 2684007.8443 | 1248678.6589 | 2684018.8983 | 1248664.6465
62 | 2684016.3924 | 1248681.0513 | 2684006.0926 | 1248694.1691
63 | 2684024.8477 | 1248617.7124 | 2684003.2365 | 1248600.3599
64 | 2683958.9877 | 1248614.099 | 2683964.491 | 1248610.2232
65 | 2684126.2838 | 1248612.398 | 2684128.8666 | 1248615.1293 | 2684140.1604 | 1248626.3844
66 | 2683947.9825 | 1248621.8496 | 2683953.4847 | 1248617.9746
67 | 2683953.4847 | 1248617.9746 | 2683958.9877 | 1248614.099
68 | 2684144.1416 | 1248658.1311 | 2684145.573 | 1248656.6459
69 | 2684136.5873 | 1248611.2359 | 2684144.5217 | 1248619.0915
70 | 2684136.5873 | 1248611.2359 | 2684145.4149 | 1248602.7883
71 | 2684145.4149 | 1248602.7883 | 2684146.9842 | 1248598.1071 | 2684151.8048 | 1248592.0933 | 2684152.1756 | 1248588.8517 | 2684152.5717 | 1248588.4651
72 | 2684162.2192 | 1248752.5681 | 2684171.6304 | 1248741.9191 | 2684176.093 | 1248736.9728
73 | 2684140.1604 | 1248626.3844 | 2684143.0377 | 1248629.2519 | 2684143.6133 | 1248629.6455
74 | 2684114.7698 | 1248688.6609 | 2684106.1862 | 1248697.7535
75 | 2684117.2032 | 1248686.0831 | 2684114.7698 | 1248688.6609
76 | 2684106.1862 | 1248697.7535 | 2684098.6289 | 1248705.759
77 | 2684117.2032 | 1248686.0831 | 2684128.5769 | 1248674.2815
78 | 2684092.6771 | 1248712.0639 | 2684098.6289 | 1248705.759
79 | 2684144.1416 | 1248658.1311 | 2684128.5769 | 1248674.2815
80 | 2684086.212 | 1248718.9123 | 2684092.6771 | 1248712.0639
81 | 2684056.8021 | 1248727.6105 | 2684050.9771 | 1248734.9274
82 | 2684063.3915 | 1248719.3335 | 2684056.8021 | 1248727.6105
83 | 2684143.6133 | 1248629.6455 | 2684147.7049 | 1248632.4428 | 2684150.0634 | 1248634.3729
84 | 2684023.2019 | 1248672.3789 | 2684016.3924 | 1248681.0513

## bus_geodata
| x | y | coords
0 | 2683971.3784 | 1248724.6586
1 | 2683979.8607 | 1248713.8902
2 | 2683986.9629 | 1248705.1288
3 | 2683990.6242 | 1248713.7537
4 | 2683993.745 | 1248709.895
5 | 2684000.8441 | 1248720.6524
6 | 2684049.2736 | 1248639.1739
7 | 2684042.7328 | 1248634.4332
8 | 2684052.9659 | 1248634.4338
9 | 2684042.299 | 1248648.0568
10 | 2684043.8785 | 1248632.9928
11 | 2684000.7707 | 1248700.9471
12 | 2683976.4018 | 1248701.9569
13 | 2684001.1078 | 1248687.1983
14 | 2684056.6287 | 1248629.6378
15 | 2684082.3499 | 1248658.0597
16 | 2683998.3586 | 1248586.3577
17 | 2684011.9644 | 1248597.0309
18 | 2683991.676 | 1248591.0776
19 | 2684001.6988 | 1248599.1253
20 | 2683975.7884 | 1248602.2668
21 | 2684120.2029 | 1248556.1849
22 | 2684094.5049 | 1248582.64
23 | 2684130.2984 | 1248568.5809
24 | 2684049.2003 | 1248626.2411
25 | 2684050.3924 | 1248624.7235
26 | 2684040.5684 | 1248619.4696
27 | 2684113.1673 | 1248598.5276
28 | 2684087.8994 | 1248577.1311
29 | 2684084.2882 | 1248594.7528
30 | 2684035.0918 | 1248625.9377
31 | 2684062.0379 | 1248609.9578
32 | 2684047.9607 | 1248551.2457
33 | 2684057.8283 | 1248549.8734
34 | 2684038.0012 | 1248558.2957
35 | 2684065.7481 | 1248555.2763
36 | 2684079.7081 | 1248587.5533
37 | 2684064.2533 | 1248620.0027
38 | 2684116.062 | 1248595.711
39 | 2684126.1748 | 1248600.4306
40 | 2683953.805 | 1248694.796
41 | 2683939.4547 | 1248687.5985
42 | 2683952.5395 | 1248697.2354
43 | 2683963.1747 | 1248695.107
44 | 2684207.1452 | 1248703.8062
45 | 2684163.8677 | 1248636.0749
46 | 2684181.4272 | 1248731.0604
47 | 2684041.6394 | 1248746.6565
48 | 2684034.4122 | 1248658.1014
49 | 2684025.2928 | 1248656.5407
50 | 2684018.8983 | 1248664.6465
51 | 2684006.0926 | 1248694.1691
52 | 2684007.8443 | 1248678.6589
53 | 2684084.7237 | 1248659.9683
54 | 2684024.4889 | 1248567.8608
55 | 2684003.2365 | 1248600.3599
56 | 2683964.491 | 1248610.2232
57 | 2684126.2838 | 1248612.398
58 | 2683947.9825 | 1248621.8496
59 | 2683953.4847 | 1248617.9746
60 | 2684024.8477 | 1248617.7124
61 | 2684072.6015 | 1248596.5639
62 | 2684145.573 | 1248656.6459
63 | 2684136.5873 | 1248611.2359
64 | 2684144.5217 | 1248619.0915
65 | 2684145.4149 | 1248602.7883
66 | 2684162.2192 | 1248752.5681
67 | 2684176.093 | 1248736.9728
68 | 2684140.1604 | 1248626.3844
69 | 2684114.7698 | 1248688.6609
70 | 2684106.1862 | 1248697.7535
71 | 2684117.2032 | 1248686.0831
72 | 2684098.6289 | 1248705.759
73 | 2684128.5769 | 1248674.2815
74 | 2684092.6771 | 1248712.0639
75 | 2684144.1416 | 1248658.1311
76 | 2684086.212 | 1248718.9123
77 | 2684056.8021 | 1248727.6105
78 | 2684050.9771 | 1248734.9274
79 | 2684063.3915 | 1248719.3335
80 | 2684152.5717 | 1248588.4651
81 | 2684150.0634 | 1248634.3729
82 | 2684143.6133 | 1248629.6455
83 | 2684023.2019 | 1248672.3789
84 | 2684016.3924 | 1248681.0513
85 | 2683958.9877 | 1248614.099
86 | 2684049.2736 | 1248639.1739

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99028 | -0.18684 | 0.015226 | 0.0038161
1 | 0.99047 | -0.18313 | 0 | 0
2 | 0.99063 | -0.18008 | 0 | 0
3 | 0.99098 | -0.17323 | 0 | 0
4 | 0.99115 | -0.16999 | 0 | 0
5 | 0.99056 | -0.18129 | 0.0055238 | 0.0013844
6 | 0.99892 | -0.020457 | 0 | 0
7 | 0.99864 | -0.025892 | 0 | 0
8 | 0.99846 | -0.029326 | 0 | 0
9 | 1 | 0 | -0.35169 | -0.08895
10 | 0.99858 | -0.027129 | 0 | 0
11 | 0.99224 | -0.14875 | 0.0058611 | 0.0014689
12 | 0.99032 | -0.18592 | 0.0057877 | 0.0014505
13 | 0.99011 | -0.1901 | 0.0051053 | 0.0012795
14 | 0.99803 | -0.037482 | 0 | 0
15 | 0.99796 | -0.038855 | 0.0074504 | 0.0018672
16 | 0.99683 | -0.060686 | 0 | 0
17 | 0.99671 | -0.06315 | 0.0081196 | 0.002035
18 | 0.9969 | -0.059521 | 0 | 0
19 | 0.99714 | -0.05489 | 0.0022196 | 0.00055628
20 | 0.99668 | -0.063757 | 0.0024158 | 0.00060546
21 | 0.98924 | -0.20592 | 0 | 0
22 | 0.98942 | -0.20257 | 0 | 0
23 | 0.98918 | -0.20716 | 0.004197 | 0.0010519
24 | 0.99748 | -0.047852 | 0 | 0
25 | 0.9975 | -0.047632 | 0 | 0
26 | 0.99742 | -0.04911 | 0.0065425 | 0.0016397
27 | 0.98746 | -0.24028 | 0 | 0
28 | 0.99019 | -0.18769 | 0 | 0
29 | 0.98929 | -0.20502 | 0.0086714 | 0.0021733
30 | 0.99818 | -0.034716 | 0.0073487 | 0.0018418
31 | 0.99508 | -0.093692 | 0.0054615 | 0.0013688
32 | 0.98932 | -0.20459 | 0 | 0
33 | 0.98944 | -0.20213 | 0 | 0
34 | 0.98916 | -0.20756 | 0.0066803 | 0.0016742
35 | 0.98956 | -0.19977 | 0.0076572 | 0.0019191
36 | 0.99163 | -0.15981 | 0.0084595 | 0.0021201
37 | 0.99793 | -0.03934 | 0.0086413 | 0.0021657
38 | 0.9872 | -0.24542 | 0 | 0
39 | 0.98625 | -0.26384 | 0.0040507 | 0.0010152
40 | 0.98981 | -0.19593 | 0 | 0
41 | 0.98973 | -0.19755 | 0.0056423 | 0.0014141
42 | 0.98978 | -0.19653 | 0.012249 | 0.0030699
43 | 0.99001 | -0.19196 | 0.0049368 | 0.0012373
44 | 0.98176 | -0.35122 | 0 | 0
45 | 0.98307 | -0.32572 | 0 | 0
46 | 0.98124 | -0.36133 | 0.0048086 | 0.0012051
47 | 0.98917 | -0.20835 | 0 | 0
48 | 0.99837 | -0.031051 | 0.0068388 | 0.001714
49 | 0.98962 | -0.19966 | 0.007226 | 0.001811
50 | 0.98968 | -0.19834 | 0.0067897 | 0.0017017
51 | 0.99312 | -0.1318 | 0.0057889 | 0.0014508
52 | 0.98991 | -0.19389 | 0.0055689 | 0.0013957
53 | 0.99794 | -0.039228 | 0.0069973 | 0.0017537
54 | 0.98906 | -0.20962 | 0.0069941 | 0.0017529
55 | 0.99718 | -0.054103 | 0.0024123 | 0.00060458
56 | 0.99655 | -0.066185 | 0.0024941 | 0.00062508
57 | 0.98723 | -0.24474 | 0.0065525 | 0.0016422
58 | 0.99646 | -0.067962 | 0.0025104 | 0.00062916
59 | 0.99647 | -0.067665 | 0.0025046 | 0.00062772
60 | 0.99781 | -0.041878 | 0.0059726 | 0.0014969
61 | 0.99298 | -0.13402 | 0.007072 | 0.0017724
62 | 0.98194 | -0.34762 | 0.0018015 | 0.00045149
63 | 0.98532 | -0.28192 | 0 | 0
64 | 0.98528 | -0.28264 | 0.0036241 | 0.00090827
65 | 0.98526 | -0.28295 | 0 | 0
66 | 0.98107 | -0.36477 | 0.0052886 | 0.0013255
67 | 0.98117 | -0.36278 | 0.0047402 | 0.001188
68 | 0.98712 | -0.24703 | 0.0014011 | 0.00035114
69 | 0.98053 | -0.37532 | 0.0068423 | 0.0017148
70 | 0.98025 | -0.38072 | 0.0076974 | 0.0019292
71 | 0.98063 | -0.37335 | 0 | 0
72 | 0.98009 | -0.38394 | 0.0052864 | 0.0013249
73 | 0.98109 | -0.36424 | 0.006412 | 0.001607
74 | 0.98 | -0.38564 | 0.0065887 | 0.0016513
75 | 0.98186 | -0.34919 | 0.0051305 | 0.0012858
76 | 0.97997 | -0.38637 | 0.0042468 | 0.0010643
77 | 0.98854 | -0.22047 | 0.01373 | 0.0034411
78 | 0.98874 | -0.21671 | 0.0087558 | 0.0021944
79 | 0.98846 | -0.22213 | 0.0088125 | 0.0022086
80 | 0.98519 | -0.28434 | 0.0047031 | 0.0011787
81 | 0.98708 | -0.24777 | 0.002159 | 0.00054109
82 | 0.98709 | -0.24746 | 0.002939 | 0.00073658
83 | 0.99617 | -0.073182 | 0.0076925 | 0.0019279
84 | 0.99491 | -0.09737 | 0.007727 | 0.0019366
85 | 0.9965 | -0.067073 | 0.0025005 | 0.00062669
86 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.015226 | -0.0038161 | 0.015229 | 0.0038176 | 2.6909e-06 | 1.5458e-06 | 0.022879 | 0.022879 | 0.022879 | 0.99028 | -0.18684 | 0.99047 | -0.18313 | 6.2856
1 | -0.015229 | -0.0038176 | 0.015231 | 0.0038189 | 2.214e-06 | 1.2718e-06 | 0.022879 | 0.022879 | 0.022879 | 0.99047 | -0.18313 | 0.99063 | -0.18008 | 6.2855
2 | 0.028634 | 0.007183 | -0.028626 | -0.0071781 | 7.9668e-06 | 4.951e-06 | 0.043014 | 0.043014 | 0.043014 | 0.99063 | -0.18008 | 0.99032 | -0.18592 | 11.817
3 | 0.024709 | 0.0061991 | -0.024697 | -0.0061918 | 1.1799e-05 | 7.2574e-06 | 0.037117 | 0.037117 | 0.037117 | 0.99063 | -0.18008 | 0.99011 | -0.1901 | 10.197
4 | -0.068574 | -0.017201 | 0.068607 | 0.017222 | 3.2985e-05 | 2.1004e-05 | 0.10301 | 0.10301 | 0.10301 | 0.99063 | -0.18008 | 0.99115 | -0.16999 | 28.2996
5 | -0.036894 | -0.0092733 | 0.0369 | 0.0092769 | 5.7069e-06 | 3.5886e-06 | 0.055409 | 0.055409 | 0.055409 | 0.99098 | -0.17323 | 0.99115 | -0.16999 | 15.2221
6 | 0.036894 | 0.0092733 | -0.03688 | -0.0092644 | 1.4196e-05 | 8.9266e-06 | 0.055409 | 0.055409 | 0.055409 | 0.99098 | -0.17323 | 0.99056 | -0.18129 | 15.2221
7 | -0.10551 | -0.026499 | 0.10561 | 0.026567 | 0.00010707 | 6.8376e-05 | 0.15842 | 0.15842 | 0.15842 | 0.99115 | -0.16999 | 0.99224 | -0.14875 | 43.5217
8 | 0.031356 | 0.00788 | -0.031316 | -0.0078547 | 4.0443e-05 | 2.5259e-05 | 0.047111 | 0.047111 | 0.047111 | 0.99056 | -0.18129 | 0.98917 | -0.20835 | 12.9426
9 | 0.038561 | 0.0096865 | -0.038551 | -0.0096803 | 9.9978e-06 | 6.2928e-06 | 0.057449 | 0.057449 | 0.057449 | 0.99892 | -0.020457 | 0.99864 | -0.025892 | 15.7826
10 | 0.17084 | 0.043486 | -0.17077 | -0.04344 | 7.302e-05 | 4.6576e-05 | 0.25473 | 0.25473 | 0.25473 | 0.99892 | -0.020457 | 0.99846 | -0.029326 | 34.9899
11 | -0.2094 | -0.053173 | 0.20961 | 0.053305 | 0.00020637 | 0.00013178 | 0.31217 | 0.31217 | 0.31217 | 0.99892 | -0.020457 | 1 | 0 | 42.8811
12 | 0.038551 | 0.0096803 | -0.038548 | -0.0096788 | 2.276e-06 | 1.4326e-06 | 0.057449 | 0.057449 | 0.057449 | 0.99864 | -0.025892 | 0.99858 | -0.027129 | 15.7826
13 | 0.15631 | 0.039815 | -0.15625 | -0.039776 | 6.1467e-05 | 3.9181e-05 | 0.23318 | 0.23318 | 0.23318 | 0.99846 | -0.029326 | 0.99803 | -0.037482 | 32.0308
14 | 0.014454 | 0.0036247 | -0.014448 | -0.003621 | 6.5615e-06 | 3.7065e-06 | 0.021542 | 0.021542 | 0.021542 | 0.99846 | -0.029326 | 0.99796 | -0.038855 | 5.9182
15 | 0.14043 | 0.035646 | -0.14022 | -0.035512 | 0.00020944 | 0.00013387 | 0.20912 | 0.20912 | 0.20912 | 1 | 0 | 0.99837 | -0.031051 | 57.4511
16 | 0.038548 | 0.0096788 | -0.038535 | -0.00967 | 1.3946e-05 | 8.7783e-06 | 0.057449 | 0.057449 | 0.057449 | 0.99858 | -0.027129 | 0.99818 | -0.034716 | 15.7826
17 | -0.11148 | -0.028036 | 0.11157 | 0.028094 | 9.0352e-05 | 5.7714e-05 | 0.16721 | 0.16721 | 0.16721 | 0.99224 | -0.14875 | 0.99312 | -0.1318 | 45.9364
18 | 0.022839 | 0.0057275 | -0.022832 | -0.0057235 | 6.5785e-06 | 4.0186e-06 | 0.034318 | 0.034318 | 0.034318 | 0.99032 | -0.18592 | 0.99001 | -0.19196 | 9.428
19 | 0.019592 | 0.0049123 | -0.019588 | -0.0049102 | 3.5362e-06 | 2.1233e-06 | 0.029445 | 0.029445 | 0.029445 | 0.99011 | -0.1901 | 0.98991 | -0.19389 | 8.0892
20 | 0.0086421 | 0.002166 | -0.0086413 | -0.0021657 | 7.6497e-07 | 3.2904e-07 | 0.012885 | 0.012885 | 0.012885 | 0.99803 | -0.037482 | 0.99793 | -0.03934 | 3.5398
21 | 0.14761 | 0.03761 | -0.14754 | -0.037564 | 7.225e-05 | 4.6033e-05 | 0.2203 | 0.2203 | 0.2203 | 0.99803 | -0.037482 | 0.9975 | -0.047632 | 30.2609
22 | 0.0069974 | 0.0017537 | -0.0069973 | -0.0017537 | 1.2434e-07 | 3.9781e-08 | 0.010433 | 0.010433 | 0.010433 | 0.99796 | -0.038855 | 0.99794 | -0.039228 | 2.8663
23 | 0.0081205 | 0.0020353 | -0.0081196 | -0.002035 | 9.5287e-07 | 3.8443e-07 | 0.012122 | 0.012122 | 0.012122 | 0.99683 | -0.060686 | 0.99671 | -0.06315 | 3.3302
24 | -0.0081205 | -0.0020353 | 0.008121 | 0.0020355 | 4.5081e-07 | 1.8186e-07 | 0.012122 | 0.012122 | 0.012122 | 0.99683 | -0.060686 | 0.9969 | -0.059521 | 3.3302
25 | -0.020551 | -0.0051516 | 0.020555 | 0.0051543 | 4.5357e-06 | 2.7352e-06 | 0.030675 | 0.030675 | 0.030675 | 0.9969 | -0.059521 | 0.99714 | -0.05489 | 8.4273
26 | 0.01243 | 0.0031161 | -0.012427 | -0.0031147 | 2.5085e-06 | 1.3521e-06 | 0.018553 | 0.018554 | 0.018554 | 0.9969 | -0.059521 | 0.99668 | -0.063757 | 5.0971
27 | -0.022775 | -0.0057106 | 0.022776 | 0.0057111 | 8.5421e-07 | 5.2097e-07 | 0.033987 | 0.033987 | 0.033987 | 0.99714 | -0.05489 | 0.99718 | -0.054103 | 9.3372
28 | 0.010011 | 0.0025093 | -0.01001 | -0.0025087 | 1.1576e-06 | 5.6083e-07 | 0.014947 | 0.014947 | 0.014947 | 0.99668 | -0.063757 | 0.99655 | -0.066185 | 4.1063
29 | -0.0041973 | -0.0010518 | 0.004198 | 0.0010517 | 6.6914e-07 | -1.4659e-07 | 0.0063135 | 0.0063133 | 0.0063135 | 0.98924 | -0.20592 | 0.98942 | -0.20257 | 1.7345
30 | 0.0041973 | 0.0010518 | -0.004197 | -0.0010519 | 2.4789e-07 | -5.4247e-08 | 0.0063135 | 0.0063136 | 0.0063136 | 0.98924 | -0.20592 | 0.98918 | -0.20716 | 1.7345
31 | 0.084821 | 0.021466 | -0.084668 | -0.021368 | 0.00015322 | 9.7742e-05 | 0.12764 | 0.12764 | 0.12764 | 0.98942 | -0.20257 | 0.98746 | -0.24028 | 35.0657
32 | -0.097691 | -0.024691 | 0.097761 | 0.024736 | 6.9762e-05 | 4.4537e-05 | 0.147 | 0.147 | 0.147 | 0.98942 | -0.20257 | 0.99019 | -0.18769 | 40.3833
33 | 0.0086724 | 0.0021737 | -0.0086714 | -0.0021733 | 1.0109e-06 | 4.4348e-07 | 0.013043 | 0.013043 | 0.013043 | 0.98942 | -0.20257 | 0.98929 | -0.20502 | 3.5832
34 | -0.0065428 | -0.0016398 | 0.0065429 | 0.0016398 | 6.8877e-08 | 1.8914e-08 | 0.0097604 | 0.0097604 | 0.0097604 | 0.99748 | -0.047852 | 0.9975 | -0.047632 | 2.6814
35 | 0.0065428 | 0.0016398 | -0.0065425 | -0.0016397 | 3.9194e-07 | 1.0764e-07 | 0.0097604 | 0.0097605 | 0.0097605 | 0.99748 | -0.047852 | 0.99742 | -0.04911 | 2.6814
36 | 0.141 | 0.035924 | -0.14068 | -0.035724 | 0.00031259 | 0.00019981 | 0.21054 | 0.21054 | 0.21054 | 0.9975 | -0.047632 | 0.99508 | -0.093692 | 57.8404
37 | 0.013055 | 0.0032727 | -0.013052 | -0.0032712 | 2.7707e-06 | 1.5291e-06 | 0.019673 | 0.019673 | 0.019673 | 0.98746 | -0.24028 | 0.98723 | -0.24474 | 5.4048
38 | 0.071612 | 0.018095 | -0.071595 | -0.018084 | 1.7629e-05 | 1.1231e-05 | 0.10797 | 0.10797 | 0.10797 | 0.98746 | -0.24028 | 0.9872 | -0.24542 | 29.661
39 | 0.02135 | 0.0053567 | -0.021337 | -0.0053493 | 1.2285e-05 | 7.4533e-06 | 0.032086 | 0.032086 | 0.032086 | 0.99019 | -0.18769 | 0.98956 | -0.19977 | 8.8148
40 | -0.11911 | -0.030092 | 0.11927 | 0.030194 | 0.00015942 | 0.00010186 | 0.17908 | 0.17908 | 0.17908 | 0.99019 | -0.18769 | 0.99163 | -0.15981 | 49.198
41 | 0.031186 | 0.0078283 | -0.031175 | -0.0078216 | 1.065e-05 | 6.6442e-06 | 0.046494 | 0.046494 | 0.046494 | 0.99818 | -0.034716 | 0.99781 | -0.041878 | 12.773
42 | 0.13522 | 0.034355 | -0.13496 | -0.034188 | 0.00026198 | 0.00016745 | 0.20237 | 0.20237 | 0.20237 | 0.99508 | -0.093692 | 0.99298 | -0.13402 | 55.5968
43 | -0.013677 | -0.0034284 | 0.013679 | 0.0034293 | 1.5974e-06 | 8.9309e-07 | 0.020572 | 0.020572 | 0.020572 | 0.98932 | -0.20459 | 0.98944 | -0.20213 | 5.6515
44 | 0.013677 | 0.0034284 | -0.013675 | -0.0034273 | 1.9365e-06 | 1.0827e-06 | 0.020572 | 0.020572 | 0.020572 | 0.98932 | -0.20459 | 0.98916 | -0.20756 | 5.6515
45 | -0.013679 | -0.0034293 | 0.01368 | 0.0034302 | 1.5436e-06 | 8.6294e-07 | 0.020572 | 0.020571 | 0.020572 | 0.98944 | -0.20213 | 0.98956 | -0.19977 | 5.6515
46 | 0.0069948 | 0.0017531 | -0.0069941 | -0.0017529 | 6.8738e-07 | 2.2744e-07 | 0.010522 | 0.010522 | 0.010522 | 0.98916 | -0.20756 | 0.98906 | -0.20962 | 2.8908
47 | -0.12773 | -0.032314 | 0.12789 | 0.032416 | 0.00015827 | 0.00010114 | 0.19177 | 0.19177 | 0.19177 | 0.99163 | -0.15981 | 0.99298 | -0.13402 | 52.6853
48 | 0.071595 | 0.018084 | -0.071532 | -0.018044 | 6.3132e-05 | 4.022e-05 | 0.10797 | 0.10797 | 0.10797 | 0.9872 | -0.24542 | 0.98625 | -0.26384 | 29.661
49 | 0.067481 | 0.017029 | -0.067423 | -0.016991 | 5.8378e-05 | 3.7171e-05 | 0.10185 | 0.10185 | 0.10185 | 0.98625 | -0.26384 | 0.98532 | -0.28192 | 27.982
50 | 0.0056427 | 0.0014142 | -0.0056423 | -0.0014141 | 4.3323e-07 | 7.0936e-08 | 0.0084829 | 0.008483 | 0.008483 | 0.98981 | -0.19593 | 0.98973 | -0.19755 | 2.3305
51 | 0.012249 | 0.00307 | -0.012249 | -0.0030699 | 3.4932e-07 | 1.8826e-07 | 0.018415 | 0.018415 | 0.018415 | 0.98981 | -0.19593 | 0.98978 | -0.19653 | 5.059
52 | -0.017892 | -0.0044842 | 0.017895 | 0.0044862 | 3.3875e-06 | 2.0075e-06 | 0.026898 | 0.026898 | 0.026898 | 0.98981 | -0.19593 | 0.99001 | -0.19196 | 7.3895
53 | -0.014846 | -0.0037231 | 0.014864 | 0.0037335 | 1.8065e-05 | 1.0357e-05 | 0.022502 | 0.022502 | 0.022502 | 0.98176 | -0.35122 | 0.98307 | -0.32572 | 6.1819
54 | 0.014846 | 0.0037231 | -0.014839 | -0.003719 | 7.1491e-06 | 4.0996e-06 | 0.022502 | 0.022502 | 0.022502 | 0.98176 | -0.35122 | 0.98124 | -0.36133 | 6.1819
55 | 0.044107 | 0.011093 | -0.044061 | -0.011063 | 4.6084e-05 | 2.9145e-05 | 0.066777 | 0.066777 | 0.066777 | 0.98307 | -0.32572 | 0.98194 | -0.34762 | 18.3453
56 | -0.058971 | -0.014826 | 0.059095 | 0.014905 | 0.00012363 | 7.86e-05 | 0.089278 | 0.089278 | 0.089278 | 0.98307 | -0.32572 | 0.98532 | -0.28192 | 24.527
57 | 0.01003 | 0.0025139 | -0.010029 | -0.0025135 | 6.9085e-07 | 3.4157e-07 | 0.01521 | 0.01521 | 0.01521 | 0.98124 | -0.36133 | 0.98117 | -0.36278 | 4.1786
58 | 0.031316 | 0.0078547 | -0.031303 | -0.007847 | 1.2478e-05 | 7.7935e-06 | 0.047111 | 0.047111 | 0.047111 | 0.98917 | -0.20835 | 0.98874 | -0.21671 | 12.9426
59 | 0.13338 | 0.033798 | -0.13311 | -0.033626 | 0.00026938 | 0.00017217 | 0.19893 | 0.19893 | 0.19893 | 0.99837 | -0.031051 | 0.99617 | -0.073182 | 54.6509
60 | -0.007226 | -0.001811 | 0.0072264 | 0.0018112 | 4.5706e-07 | 1.5986e-07 | 0.010865 | 0.010865 | 0.010865 | 0.98962 | -0.19966 | 0.98968 | -0.19834 | 2.9849
61 | -0.014016 | -0.0035128 | 0.014019 | 0.0035145 | 2.9723e-06 | 1.6729e-06 | 0.021074 | 0.021074 | 0.021074 | 0.98968 | -0.19834 | 0.98991 | -0.19389 | 5.7895
62 | -0.11735 | -0.029545 | 0.11755 | 0.029668 | 0.00019347 | 0.00012361 | 0.17588 | 0.17588 | 0.17588 | 0.99312 | -0.1318 | 0.99491 | -0.09737 | 48.3193
63 | -0.025188 | -0.0063157 | 0.025203 | 0.0063248 | 1.4684e-05 | 9.0357e-06 | 0.037587 | 0.037587 | 0.037587 | 0.99718 | -0.054103 | 0.99781 | -0.041878 | 10.3262
64 | 0.0075161 | 0.0018836 | -0.0075157 | -0.0018835 | 3.1792e-07 | 1.1577e-07 | 0.011223 | 0.011223 | 0.011223 | 0.99655 | -0.066185 | 0.9965 | -0.067073 | 3.0832
65 | 0.0064999 | 0.0016289 | -0.0064992 | -0.0016287 | 7.0919e-07 | 2.0197e-07 | 0.0097969 | 0.009797 | 0.009797 | 0.98723 | -0.24474 | 0.98712 | -0.24703 | 2.6915
66 | -0.0025104 | -0.00062916 | 0.0025104 | 0.0006291 | 3.5466e-08 | -6.4969e-08 | 0.0037488 | 0.0037488 | 0.0037488 | 0.99646 | -0.067962 | 0.99647 | -0.067665 | 1.0299
67 | -0.0050151 | -0.0012568 | 0.0050152 | 0.0012568 | 1.4156e-07 | 2.9124e-09 | 0.0074889 | 0.0074889 | 0.0074889 | 0.99647 | -0.067665 | 0.9965 | -0.067073 | 2.0574
68 | 0.04226 | 0.010612 | -0.042257 | -0.01061 | 3.173e-06 | 2.0046e-06 | 0.064047 | 0.064047 | 0.064047 | 0.98194 | -0.34762 | 0.98186 | -0.34919 | 17.5953
69 | 0.0036242 | 0.00090821 | -0.0036241 | -0.00090827 | 1.2543e-07 | -6.1934e-08 | 0.0054732 | 0.0054732 | 0.0054732 | 0.98532 | -0.28192 | 0.98528 | -0.28264 | 1.5036
70 | 0.0047036 | 0.0011787 | -0.0047034 | -0.0011787 | 2.3086e-07 | -7.6417e-09 | 0.0071033 | 0.0071034 | 0.0071034 | 0.98532 | -0.28192 | 0.98526 | -0.28295 | 1.9515
71 | 0.0047034 | 0.0011787 | -0.0047031 | -0.0011787 | 3.1147e-07 | -1.028e-08 | 0.0071034 | 0.0071035 | 0.0071035 | 0.98526 | -0.28295 | 0.98519 | -0.28434 | 1.9515
72 | -0.0052886 | -0.0013255 | 0.0052891 | 0.0013255 | 5.0365e-07 | 5.8732e-08 | 0.0080214 | 0.0080213 | 0.0080214 | 0.98107 | -0.36477 | 0.98117 | -0.36278 | 2.2037
73 | 0.0050981 | 0.0012776 | -0.005098 | -0.0012776 | 1.0541e-07 | 6.6212e-09 | 0.007685 | 0.007685 | 0.007685 | 0.98712 | -0.24703 | 0.98709 | -0.24746 | 2.1113
74 | 0.023829 | 0.0059753 | -0.023823 | -0.0059716 | 6.1323e-06 | 3.767e-06 | 0.036163 | 0.036163 | 0.036163 | 0.98053 | -0.37532 | 0.98025 | -0.38072 | 9.9349
75 | -0.030671 | -0.0076902 | 0.030674 | 0.007692 | 2.8802e-06 | 1.7986e-06 | 0.046547 | 0.046547 | 0.046547 | 0.98053 | -0.37532 | 0.98063 | -0.37335 | 12.7876
76 | 0.016125 | 0.0040424 | -0.016123 | -0.004041 | 2.4738e-06 | 1.4444e-06 | 0.024479 | 0.024479 | 0.024479 | 0.98025 | -0.38072 | 0.98009 | -0.38394 | 6.7249
77 | -0.030674 | -0.007692 | 0.030687 | 0.0077003 | 1.3317e-05 | 8.3158e-06 | 0.046547 | 0.046547 | 0.046547 | 0.98063 | -0.37335 | 0.98109 | -0.36424 | 12.7876
78 | 0.010837 | 0.0027161 | -0.010836 | -0.0027156 | 8.8011e-07 | 4.5402e-07 | 0.016453 | 0.016453 | 0.016453 | 0.98009 | -0.38394 | 0.98 | -0.38564 | 4.5199
79 | -0.037099 | -0.0093073 | 0.037126 | 0.009324 | 2.6634e-05 | 1.6762e-05 | 0.056272 | 0.056272 | 0.056272 | 0.98109 | -0.36424 | 0.98186 | -0.34919 | 15.4593
80 | 0.0042469 | 0.0010643 | -0.0042468 | -0.0010643 | 1.4686e-07 | -2.4671e-08 | 0.0064484 | 0.0064484 | 0.0064484 | 0.98 | -0.38564 | 0.97997 | -0.38637 | 1.7716
81 | -0.022544 | -0.0056501 | 0.022548 | 0.0056525 | 4.0385e-06 | 2.4647e-06 | 0.033934 | 0.033934 | 0.033934 | 0.98854 | -0.22047 | 0.98874 | -0.21671 | 9.3225
82 | 0.0088132 | 0.0022089 | -0.0088125 | -0.0022086 | 6.9824e-07 | 3.1125e-07 | 0.013266 | 0.013266 | 0.013266 | 0.98854 | -0.22047 | 0.98846 | -0.22213 | 3.6446
83 | -0.002159 | -0.00054109 | 0.002159 | 0.00054101 | 3.1794e-08 | -8.1964e-08 | 0.0032547 | 0.0032546 | 0.0032547 | 0.98708 | -0.24777 | 0.98709 | -0.24746 | 0.89414
84 | 0.12542 | 0.031698 | -0.12528 | -0.031605 | 0.00014527 | 9.283e-05 | 0.18744 | 0.18744 | 0.18744 | 0.99617 | -0.073182 | 0.99491 | -0.09737 | 51.4942

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35807 | 0.09055

## res_load
| p_mw | q_mvar
0 | 0.015226 | 0.0038161
1 | 0.0055238 | 0.0013844
2 | 0.0063827 | 0.0015997
3 | 0.0058611 | 0.0014689
4 | 0.0057877 | 0.0014505
5 | 0.0051053 | 0.0012795
6 | 0.0074504 | 0.0018672
7 | 0.0081196 | 0.002035
8 | 0.0022196 | 0.00055628
9 | 0.0024158 | 0.00060546
10 | 0.004197 | 0.0010519
11 | 0.0065425 | 0.0016397
12 | 0.0086714 | 0.0021733
13 | 0.0073487 | 0.0018418
14 | 0.0054615 | 0.0013688
15 | 0.0066803 | 0.0016742
16 | 0.0076572 | 0.0019191
17 | 0.0084595 | 0.0021201
18 | 0.0086413 | 0.0021657
19 | 0.0040507 | 0.0010152
20 | 0.0056423 | 0.0014141
21 | 0.012249 | 0.0030699
22 | 0.0049368 | 0.0012373
23 | 0.0048086 | 0.0012051
24 | 0.0068388 | 0.001714
25 | 0.007226 | 0.001811
26 | 0.0067897 | 0.0017017
27 | 0.0057889 | 0.0014508
28 | 0.0055689 | 0.0013957
29 | 0.0069973 | 0.0017537
30 | 0.0069941 | 0.0017529
31 | 0.0024123 | 0.00060458
32 | 0.0024941 | 0.00062508
33 | 0.0065525 | 0.0016422
34 | 0.0025104 | 0.00062916
35 | 0.0025046 | 0.00062772
36 | 0.0059726 | 0.0014969
37 | 0.007072 | 0.0017724
38 | 0.0018015 | 0.00045149
39 | 0.0036241 | 0.00090827
40 | 0.0052886 | 0.0013255
41 | 0.0047402 | 0.001188
42 | 0.0014011 | 0.00035114
43 | 0.0068423 | 0.0017148
44 | 0.0076974 | 0.0019292
45 | 0.0052864 | 0.0013249
46 | 0.006412 | 0.001607
47 | 0.0065887 | 0.0016513
48 | 0.0051305 | 0.0012858
49 | 0.0042468 | 0.0010643
50 | 0.01373 | 0.0034411
51 | 0.0087558 | 0.0021944
52 | 0.0088125 | 0.0022086
53 | 0.0047031 | 0.0011787
54 | 0.002159 | 0.00054109
55 | 0.002939 | 0.00073658
56 | 0.0076925 | 0.0019279
57 | 0.007727 | 0.0019366
58 | 0.0025005 | 0.00062669

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1